## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_114-5_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_114-5_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_114-5_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_114-5_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_114-5_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_114-5_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_114-5_0_2_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_114-5_0_2_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_114-5_0_2_node_35 | 0.4 | n |  | TRUE
9 | bus_LV_114-5_0_2_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_114-5_0_2_node_36 | 0.4 | n |  | TRUE
11 | bus_LV_114-5_0_2_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_114-5_0_2_node_32 | 0.4 | n |  | TRUE
13 | bus_LV_114-5_0_2_node_66 | 0.4 | n |  | TRUE
14 | bus_LV_114-5_0_2_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_114-5_0_2_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_114-5_0_2_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_114-5_0_2_node_55 | 0.4 | n |  | TRUE
18 | bus_LV_114-5_0_2_node_33 | 0.4 | n |  | TRUE
19 | bus_LV_114-5_0_2_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_114-5_0_2_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_114-5_0_2_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_114-5_0_2_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_114-5_0_2_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_114-5_0_2_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_114-5_0_2_node_54 | 0.4 | n |  | TRUE
26 | bus_LV_114-5_0_2_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_114-5_0_2_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_114-5_0_2_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_114-5_0_2_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_114-5_0_2_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_114-5_0_2_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_114-5_0_2_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_114-5_0_2_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_114-5_0_2_node_51 | 0.4 | n |  | TRUE
35 | bus_LV_114-5_0_2_node_52 | 0.4 | n |  | TRUE
36 | bus_LV_114-5_0_2_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_114-5_0_2_node_53 | 0.4 | n |  | TRUE
38 | bus_MV_0_node_5 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_114-5_0_2_load_0 | 0 | 0.00019976 | 5.0063e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_114-5_0_2_load_1 | 1 | 0.00080567 | 0.00020192 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_114-5_0_2_load_3 | 3 | 0.00017777 | 4.4554e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_114-5_0_2_load_22 | 7 | 0.00012241 | 3.0679e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_114-5_0_2_load_35 | 8 | 0.037933 | 0.0095069 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_114-5_0_2_load_36 | 10 | 0.002404 | 0.00060249 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_114-5_0_2_load_32 | 12 | 0.00022286 | 5.5853e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_114-5_0_2_load_66 | 13 | 0.00029175 | 7.3118e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_114-5_0_2_load_26 | 15 | 0.00080868 | 0.00020267 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_114-5_0_2_load_55 | 17 | 0.00010587 | 2.6533e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_114-5_0_2_load_33 | 18 | 0.00015725 | 3.9411e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_114-5_0_2_load_16 | 20 | 0.00019539 | 4.8969e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_114-5_0_2_load_14 | 21 | 0.00043657 | 0.00010942 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_114-5_0_2_load_15 | 22 | 0.00019817 | 4.9665e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_114-5_0_2_load_54 | 25 | 0.0035434 | 0.00088806 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_114-5_0_2_load_21 | 26 | 0.00023535 | 5.8983e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_114-5_0_2_load_24 | 27 | 9.8009e-05 | 2.4563e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_114-5_0_2_load_25 | 28 | 0.00019879 | 4.9821e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_114-5_0_2_load_27 | 29 | 0.00024534 | 6.1488e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_114-5_0_2_load_28 | 30 | 0.00024773 | 6.2088e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_114-5_0_2_load_30 | 32 | 0.0001136 | 2.8471e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_114-5_0_2_load_31 | 33 | 0.00012379 | 3.1024e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_114-5_0_2_load_51 | 34 | 8.9381e-05 | 2.2401e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_114-5_0_2_load_52 | 35 | 0.00011491 | 2.88e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_114-5_0_2_load_53 | 37 | 0.00016988 | 4.2575e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_114-5_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.011518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_114-5_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.20312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_114-5_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0076216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_114-5_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.14306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_114-5_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.25514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_114-5_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.50915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_114-5_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.34781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_114-5_0_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.028802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_114-5_0_2_line_8 | NAYY 4x150 SE | 6 | 13 | 0.008653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_114-5_0_2_line_9 | NAYY 4x150 SE | 6 | 14 | 0.98081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_114-5_0_2_line_10 | NAYY 4x150 SE | 6 | 11 | 0.75462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_114-5_0_2_line_11 | NAYY 4x150 SE | 7 | 16 | 0.0994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_114-5_0_2_line_12 | NAYY 4x150 SE | 8 | 9 | 0.25628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_114-5_0_2_line_13 | NAYY 4x150 SE | 9 | 10 | 0.019212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_114-5_0_2_line_14 | NAYY 4x150 SE | 10 | 17 | 0.51151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_114-5_0_2_line_15 | NAYY 4x150 SE | 11 | 12 | 0.033492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_114-5_0_2_line_16 | NAYY 4x150 SE | 12 | 18 | 0.2116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_114-5_0_2_line_17 | NAYY 4x150 SE | 14 | 15 | 0.041105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_114-5_0_2_line_18 | NAYY 4x150 SE | 15 | 19 | 0.024345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_114-5_0_2_line_19 | NAYY 4x150 SE | 16 | 28 | 0.092581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_114-5_0_2_line_20 | NAYY 4x150 SE | 16 | 27 | 0.064753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_114-5_0_2_line_21 | NAYY 4x150 SE | 17 | 26 | 0.3333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_114-5_0_2_line_22 | NAYY 4x150 SE | 18 | 36 | 0.13016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_114-5_0_2_line_23 | NAYY 4x150 SE | 19 | 20 | 0.014548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_114-5_0_2_line_24 | NAYY 4x150 SE | 20 | 21 | 0.015722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_114-5_0_2_line_25 | NAYY 4x150 SE | 21 | 22 | 0.012688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_114-5_0_2_line_26 | NAYY 4x150 SE | 22 | 23 | 0.33111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_114-5_0_2_line_27 | NAYY 4x150 SE | 23 | 24 | 0.4383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_114-5_0_2_line_28 | NAYY 4x150 SE | 24 | 25 | 0.012524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_114-5_0_2_line_29 | NAYY 4x150 SE | 29 | 30 | 0.032931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_114-5_0_2_line_30 | NAYY 4x150 SE | 29 | 31 | 0.02358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_114-5_0_2_line_31 | NAYY 4x150 SE | 31 | 32 | 0.010232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_114-5_0_2_line_32 | NAYY 4x150 SE | 31 | 33 | 0.016133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_114-5_0_2_line_33 | NAYY 4x150 SE | 33 | 34 | 0.012985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_114-5_0_2_line_34 | NAYY 4x150 SE | 34 | 35 | 0.015537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_114-5_0_2_line_35 | NAYY 4x150 SE | 35 | 36 | 0.029251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_114-5_0_2_line_36 | NAYY 4x150 SE | 36 | 37 | 0.039527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_114-5_0_2_trafo_5 | 0.25 MVA 20/0.4 kV | 38 | 5 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50 | x51 | y51 | x52 | y52 | x53 | y53 | x54 | y54 | x55 | y55 | x56 | y56 | x57 | y57 | x58 | y58 | x59 | y59 | x60 | y60 | x61 | y61 | x62 | y62 | x63 | y63 | x64 | y64 | x65 | y65 | x66 | y66 | x67 | y67 | x68 | y68 | x69 | y69 | x70 | y70 | x71 | y71 | x72 | y72 | x73 | y73 | x74 | y74 | x75 | y75 | x76 | y76 | x77 | y77 | x78 | y78 | x79 | y79 | x80 | y80 | x81 | y81 | x82 | y82 | x83 | y83 | x84 | y84 | x85 | y85 | x86 | y86 | x87 | y87 | x88 | y88 | x89 | y89 | x90 | y90 | x91 | y91 | x92 | y92 | x93 | y93 | x94 | y94 | x95 | y95 | x96 | y96 | x97 | y97 | x98 | y98 | x99 | y99 | x100 | y100 | x101 | y101 | x102 | y102 | x103 | y103 | x104 | y104 | x105 | y105 | x106 | y106 | x107 | y107 | x108 | y108 | x109 | y109 | x110 | y110 | x111 | y111 | x112 | y112 | x113 | y113 | x114 | y114 | x115 | y115 | x116 | y116 | x117 | y117 | x118 | y118
0 | 2713712.2192 | 1246307.4633 | 2713712.7244 | 1246305.5866 | 2713713.3924 | 1246303.064 | 2713714.1229 | 1246300.8318 | 2713714.929 | 1246299.3794 | 2713715.903 | 1246298.2416 | 2713717.0904 | 1246297.397
1 | 2713570.0279 | 1246394.8477 | 2713569.2618 | 1246390.6629 | 2713569.1748 | 1246386.9249 | 2713569.7288 | 1246382.0648 | 2713570.6831 | 1246376.8233 | 2713571.9753 | 1246373.6676 | 2713573.5193 | 1246370.7726 | 2713575.5072 | 1246368.3754 | 2713578.131 | 1246366.3128 | 2713581.4202 | 1246364.6189 | 2713584.3956 | 1246363.5305 | 2713587.6097 | 1246362.9917 | 2713591.0262 | 1246362.9348 | 2713594.3768 | 1246363.1659 | 2713598.2596 | 1246363.6184 | 2713611.8147 | 1246366.0244 | 2713624.242 | 1246367.7417 | 2713635.7775 | 1246369.0749 | 2713647.7275 | 1246370.0713 | 2713654.9309 | 1246370.3429 | 2713661.3789 | 1246370.2108 | 2713667.44 | 1246369.3707 | 2713672.9777 | 1246368.2426 | 2713677.261 | 1246366.7235 | 2713682.2437 | 1246363.8055 | 2713686.6827 | 1246360.8659 | 2713691.0153 | 1246356.779 | 2713694.8219 | 1246351.7478 | 2713697.1283 | 1246347.7221 | 2713699.0358 | 1246343.6109 | 2713706.1928 | 1246326.6119 | 2713708.8025 | 1246319.3783 | 2713710.6008 | 1246313.4746 | 2713712.2192 | 1246307.4633
2 | 2713717.0904 | 1246297.397 | 2713717.0904 | 1246297.397 | 2713718.9188 | 1246296.6203 | 2713720.9608 | 1246296.1368 | 2713723.9679 | 1246295.7608 | 2713724.4722 | 1246295.7176
3 | 2713570.0279 | 1246394.8477 | 2713571.0158 | 1246398.8921 | 2713572.2832 | 1246402.9419 | 2713575.5391 | 1246411.2666 | 2713580.1967 | 1246421.7533 | 2713581.9612 | 1246427.0692 | 2713583.3067 | 1246432.1658 | 2713584.1889 | 1246436.9978 | 2713584.7929 | 1246441.3573 | 2713585.0625 | 1246445.0322 | 2713585.2599 | 1246449.3172 | 2713585.1964 | 1246454.2089 | 2713584.7815 | 1246459.6943 | 2713583.9619 | 1246464.2157 | 2713582.9495 | 1246468.5443 | 2713581.5398 | 1246473.4991 | 2713577.8736 | 1246484.6157 | 2713574.3036 | 1246494.6556 | 2713571.7541 | 1246501.1232 | 2713569.021 | 1246506.5308 | 2713565.4741 | 1246511.4224 | 2713560.8825 | 1246516.4164 | 2713556.9821 | 1246520.0447 | 2713553.9063 | 1246522.8325 | 2713550.9421 | 1246525.3111
4 | 2713468.2143 | 1246164.4441 | 2713476.192 | 1246187.0374 | 2713477.7102 | 1246190.6249 | 2713491.258 | 1246224.2116 | 2713501.4287 | 1246249.082 | 2713503.7935 | 1246254.6207 | 2713505.7951 | 1246259.007 | 2713507.9874 | 1246263.297 | 2713510.5039 | 1246268.0156 | 2713513.1947 | 1246272.7154 | 2713515.8103 | 1246276.602 | 2713518.2505 | 1246279.7846 | 2713521.2737 | 1246283.3009 | 2713528.2946 | 1246291.1306 | 2713533.528 | 1246297.2135 | 2713537.1726 | 1246302.2096 | 2713540.4347 | 1246307.4541 | 2713543.7353 | 1246313.0552 | 2713555.1296 | 1246333.2009 | 2713556.9074 | 1246336.6378 | 2713557.9949 | 1246339.0383 | 2713559.1203 | 1246342.218 | 2713562.4288 | 1246356.4708 | 2713563.6455 | 1246363.9558 | 2713565.4179 | 1246380.6923 | 2713566.1764 | 1246384.8769 | 2713567.2985 | 1246388.6237 | 2713568.3776 | 1246391.4577 | 2713570.0279 | 1246394.8477
5 | 2713242.6302 | 1246882.5081 | 2713243.7796 | 1246882.063 | 2713245.0557 | 1246881.7093 | 2713252.3053 | 1246880.3244 | 2713254.0604 | 1246876.6549 | 2713255.6324 | 1246873.0709 | 2713257.3201 | 1246868.5772 | 2713258.4768 | 1246864.585 | 2713259.1855 | 1246861.5071 | 2713259.7641 | 1246858.1154 | 2713260.1782 | 1246854.6315 | 2713260.7314 | 1246847.0359 | 2713261.4639 | 1246837.9647 | 2713263.4215 | 1246823.3012 | 2713264.8702 | 1246810.3627 | 2713266.519 | 1246794.0698 | 2713266.8901 | 1246788.0942 | 2713267.0136 | 1246781.2354 | 2713270.3126 | 1246778.6185 | 2713271.7887 | 1246777.29 | 2713273.3303 | 1246775.696 | 2713274.7478 | 1246773.8771 | 2713276.169 | 1246771.8582 | 2713277.2869 | 1246769.9001 | 2713279.1001 | 1246766.3541 | 2713288.7104 | 1246745.0425 | 2713295.8676 | 1246730.3227 | 2713302.9599 | 1246717.4143 | 2713309.1008 | 1246706.8452 | 2713319.492 | 1246691.7314 | 2713327.6031 | 1246679.2873 | 2713333.1678 | 1246671.9877 | 2713345.6391 | 1246657.5476 | 2713355.8702 | 1246643.6985 | 2713363.9403 | 1246634.2005 | 2713374.1183 | 1246623.92 | 2713396.3932 | 1246603.7738 | 2713421.9625 | 1246580.8774 | 2713426.2107 | 1246577.2334 | 2713430.5492 | 1246574.0026 | 2713435.0886 | 1246571.3317 | 2713439.5433 | 1246569.1374 | 2713444.7694 | 1246567.3025 | 2713450.4473 | 1246565.9433 | 2713456.9912 | 1246564.7342 | 2713465.917 | 1246563.4372 | 2713472.207 | 1246562.4679 | 2713477.1461 | 1246561.4171 | 2713482.5277 | 1246560.1412 | 2713488.7433 | 1246558.3254 | 2713495.3439 | 1246555.7384 | 2713502.155 | 1246552.8108 | 2713509.3952 | 1246549.1798 | 2713518.3925 | 1246544.5482 | 2713528.4484 | 1246539.481 | 2713536.2796 | 1246535.372 | 2713542.3913 | 1246531.4858 | 2713547.262 | 1246528.0874 | 2713550.9421 | 1246525.3111
6 | 2713550.9421 | 1246525.3111 | 2713554.1328 | 1246524.4159 | 2713556.6565 | 1246523.6303 | 2713558.9555 | 1246522.7402 | 2713561.3575 | 1246521.5964 | 2713563.7255 | 1246520.2629 | 2713566.1818 | 1246518.653 | 2713589.3646 | 1246500.0818 | 2713623.2494 | 1246476.6562 | 2713626.9229 | 1246474.2245 | 2713630.4783 | 1246472.0464 | 2713635.3107 | 1246469.4703 | 2713640.2854 | 1246467.3527 | 2713645.1759 | 1246465.6895 | 2713660.1393 | 1246461.2393 | 2713666.4727 | 1246459.5927 | 2713671.5795 | 1246458.4674 | 2713676.7497 | 1246457.588 | 2713681.7036 | 1246456.9491 | 2713689.3288 | 1246456.1057 | 2713695.4532 | 1246455.5115 | 2713702.8521 | 1246455.0418 | 2713715.8756 | 1246454.4243 | 2713726.235 | 1246454.0338 | 2713730.7207 | 1246453.7751 | 2713734.93 | 1246453.3555 | 2713738.7348 | 1246452.7502 | 2713743.2321 | 1246451.8913 | 2713747.7414 | 1246450.7991 | 2713752.2785 | 1246449.4406 | 2713757.2868 | 1246447.5462 | 2713761.6755 | 1246445.651 | 2713775.7902 | 1246438.9719 | 2713781.3155 | 1246436.5203 | 2713786.4254 | 1246434.45 | 2713792.1925 | 1246432.3923 | 2713798.0543 | 1246430.5143 | 2713807.0742 | 1246427.8741 | 2713813.841 | 1246426.0914 | 2713818.09 | 1246424.783 | 2713821.6964 | 1246423.4956 | 2713825.93 | 1246421.8088 | 2713830.4655 | 1246419.7497 | 2713834.5459 | 1246417.782 | 2713838.4945 | 1246415.5893 | 2713841.8698 | 1246413.3523 | 2713863.4729 | 1246398.4103 | 2713866.4583 | 1246396.4104
7 | 2713468.2143 | 1246164.4441 | 2713465.7089 | 1246157.5572 | 2713464.2805 | 1246153.2263 | 2713463.0825 | 1246149.1 | 2713461.7492 | 1246143.7479 | 2713460.6274 | 1246138.3999 | 2713460.5013 | 1246136.7685
8 | 2713246.1811 | 1246874.6139 | 2713245.5564 | 1246876.0698 | 2713244.5219 | 1246878.4075 | 2713242.6302 | 1246882.5081
9 | 2713422.2974 | 1247127.064 | 2713424.3428 | 1247133.4862 | 2713425.8037 | 1247140.0528 | 2713426.6922 | 1247145.3408 | 2713426.8526 | 1247150.3814 | 2713425.9911 | 1247155.9139 | 2713424.9259 | 1247160.2526 | 2713423.2771 | 1247164.291 | 2713421.3049 | 1247167.467 | 2713418.8934 | 1247170.301 | 2713414.8097 | 1247173.659 | 2713411.0813 | 1247176.2231 | 2713407.0039 | 1247178.0689 | 2713402.034 | 1247179.5751 | 2713397.1975 | 1247180.4277 | 2713392.3892 | 1247180.5915 | 2713387.3312 | 1247180.3835 | 2713344.5996 | 1247176.4078 | 2713332.6845 | 1247175.6461 | 2713323.5727 | 1247175.2605 | 2713317.7516 | 1247175.4494 | 2713312.9711 | 1247176.1364 | 2713309.2344 | 1247177.5551 | 2713305.9696 | 1247179.5833 | 2713303.0693 | 1247182.6971 | 2713300.8181 | 1247186.635 | 2713296.6838 | 1247196.5976 | 2713293.7966 | 1247202.5806 | 2713290.6276 | 1247208.2914 | 2713285.5447 | 1247216.501 | 2713267.1247 | 1247240.6356 | 2713262.0193 | 1247247.655 | 2713258.0104 | 1247255.0178 | 2713255.6191 | 1247261.5441 | 2713254.1252 | 1247267.3648 | 2713253.4819 | 1247272.9571 | 2713253.4361 | 1247282.8643 | 2713254.2841 | 1247294.2343 | 2713256.3647 | 1247311.4659 | 2713257.4923 | 1247318.4821 | 2713261.2789 | 1247337.7702 | 2713270.0428 | 1247374.1229 | 2713270.7141 | 1247377.3384 | 2713270.9464 | 1247379.8115 | 2713270.9626 | 1247382.1248 | 2713270.5259 | 1247384.4183 | 2713269.8639 | 1247386.6409 | 2713268.5238 | 1247389.1618 | 2713266.7946 | 1247391.4862 | 2713264.7372 | 1247393.5931 | 2713262.2571 | 1247395.2804 | 2713259.4764 | 1247396.495 | 2713256.4687 | 1247397.3271 | 2713253.229 | 1247397.6544 | 2713249.5534 | 1247397.4618 | 2713245.6982 | 1247396.7876 | 2713241.8739 | 1247395.6803 | 2713237.2793 | 1247393.7688 | 2713233.3799 | 1247391.8483 | 2713229.9946 | 1247389.9043 | 2713225.5318 | 1247387.0279 | 2713221.6813 | 1247384.1297 | 2713214.808 | 1247378.505 | 2713206.8876 | 1247371.1367 | 2713200.1683 | 1247363.7801 | 2713176.9981 | 1247333.2796 | 2713172.3089 | 1247326.4289 | 2713171.0607 | 1247324.5369 | 2713169.7398 | 1247322.0986 | 2713168.4639 | 1247319.283 | 2713167.234 | 1247316.0347 | 2713165.9055 | 1247312.0171 | 2713164.9351 | 1247308.24 | 2713163.3805 | 1247300.2371 | 2713161.0055 | 1247285.3462 | 2713160.5714 | 1247281.9685 | 2713160.259 | 1247278.1483 | 2713159.9588 | 1247274.484 | 2713159.7493 | 1247269.6316 | 2713159.683 | 1247265.1934 | 2713159.359 | 1247250.5085 | 2713159.3157 | 1247246.0485 | 2713159.3704 | 1247242.0018 | 2713159.596 | 1247237.7026 | 2713159.9361 | 1247233.7391 | 2713160.4544 | 1247229.5456 | 2713162.4336 | 1247217.2956 | 2713165.6802 | 1247198.4199 | 2713173.1603 | 1247158.441 | 2713174.2493 | 1247150.4775 | 2713175.1192 | 1247141.3199 | 2713175.6624 | 1247124.7501 | 2713176.3934 | 1247090.4359 | 2713176.8871 | 1247082.7836 | 2713177.6061 | 1247075.9917 | 2713178.6499 | 1247067.2267 | 2713181.6205 | 1247049.3577 | 2713184.1688 | 1247036.1955 | 2713187.2173 | 1247023.3432 | 2713190.3301 | 1247012.2713 | 2713192.6299 | 1247005.7877 | 2713197.6429 | 1246991.3494 | 2713200.6368 | 1246982.9441 | 2713204.9519 | 1246971.0278 | 2713207.2508 | 1246964.989 | 2713210.1144 | 1246958.6607 | 2713214.0154 | 1246950.2283 | 2713219.5445 | 1246939.2359 | 2713239.224 | 1246902.6039 | 2713244.1051 | 1246894.2903 | 2713241.1754 | 1246887.4733 | 2713240.9158 | 1246886.8233 | 2713240.7529 | 1246886.2531 | 2713240.697 | 1246885.6182 | 2713240.7635 | 1246884.9078 | 2713240.9665 | 1246884.1666 | 2713241.3416 | 1246883.5177 | 2713241.8581 | 1246882.9826 | 2713242.6302 | 1246882.5081
10 | 2713242.6302 | 1246882.5081 | 2713243.7796 | 1246882.063 | 2713245.0557 | 1246881.7093 | 2713252.3053 | 1246880.3244 | 2713254.0604 | 1246876.6549 | 2713255.6324 | 1246873.0709 | 2713257.3201 | 1246868.5772 | 2713258.4768 | 1246864.585 | 2713259.1855 | 1246861.5071 | 2713259.7641 | 1246858.1154 | 2713260.1782 | 1246854.6315 | 2713260.7314 | 1246847.0359 | 2713261.4639 | 1246837.9647 | 2713263.4215 | 1246823.3012 | 2713265.2425 | 1246830.8088 | 2713267.9294 | 1246844.7937 | 2713268.7764 | 1246849.8919 | 2713269.2905 | 1246855.8065 | 2713269.3957 | 1246862.9477 | 2713269.1906 | 1246871.3062 | 2713268.8497 | 1246876.4928 | 2713268.2655 | 1246881.3634 | 2713267.481 | 1246886.0411 | 2713263.3424 | 1246904.5216 | 2713254.3806 | 1246936.5878 | 2713254.0278 | 1246939.2388 | 2713254.2821 | 1246941.7457 | 2713255.281 | 1246944.0333 | 2713256.9197 | 1246946.0552 | 2713258.6865 | 1246947.3011 | 2713260.9377 | 1246948.1114 | 2713263.5447 | 1246948.4837 | 2713266.3076 | 1246948.214 | 2713268.3836 | 1246947.5198 | 2713270.6533 | 1246946.1731 | 2713272.6491 | 1246944.5321 | 2713274.6763 | 1246942.4358 | 2713276.721 | 1246939.8172 | 2713277.8757 | 1246937.9043 | 2713278.8161 | 1246936.1431 | 2713291.9491 | 1246910.3729 | 2713294.953 | 1246904.6144 | 2713298.1514 | 1246899.349 | 2713300.8774 | 1246895.0865 | 2713314.2784 | 1246876.6497 | 2713321.377 | 1246865.7764 | 2713328.1154 | 1246855.9638 | 2713348.6759 | 1246828.2229 | 2713353.3323 | 1246822.5851 | 2713356.7056 | 1246818.8465 | 2713360.6085 | 1246815.0736 | 2713365.5505 | 1246810.6978 | 2713370.015 | 1246807.1914 | 2713374.8504 | 1246803.6476 | 2713383.048 | 1246798.5335 | 2713392.3544 | 1246793.9076 | 2713401.7877 | 1246789.7624 | 2713407.3018 | 1246787.8663 | 2713413.256 | 1246786.6681 | 2713417.107 | 1246786.397 | 2713421.4764 | 1246786.6808 | 2713424.8601 | 1246787.5351 | 2713428.4271 | 1246788.6821 | 2713435.6399 | 1246791.9894 | 2713439.1202 | 1246793.3237 | 2713442.3027 | 1246794.0296 | 2713445.2924 | 1246794.1536 | 2713448.4196 | 1246793.802 | 2713450.6913 | 1246792.7557 | 2713452.6042 | 1246791.5024 | 2713454.3905 | 1246789.7574 | 2713455.4037 | 1246788.1421 | 2713458.8782 | 1246779.9129 | 2713460.4971 | 1246776.6524 | 2713463.0792 | 1246772.8097 | 2713465.6094 | 1246769.7 | 2713469.8586 | 1246766.0005 | 2713474.5444 | 1246762.7764 | 2713478.7742 | 1246760.878 | 2713483.3869 | 1246759.1093 | 2713490.1654 | 1246757.0818 | 2713499.6573 | 1246754.617 | 2713572.4134 | 1246738.7524 | 2713595.0254 | 1246734.1484 | 2713600.6301 | 1246733.0548 | 2713605.6977 | 1246732.3847 | 2713610.1925 | 1246732.0372 | 2713616.5455 | 1246732.1145 | 2713623.2705 | 1246732.4881 | 2713631.168 | 1246733.1844 | 2713639.3628 | 1246734.1422 | 2713647.1077 | 1246735.3138 | 2713654.4419 | 1246736.6221 | 2713664.8514 | 1246738.7122 | 2713674.1976 | 1246741.0933 | 2713682.6845 | 1246743.7582 | 2713690.602 | 1246746.957 | 2713708.4473 | 1246754.9056 | 2713713.6732 | 1246757.4079
11 | 2713959.4374 | 1246407.0272 | 2713958.1052 | 1246405.9674 | 2713950.123 | 1246400.2204 | 2713945.5559 | 1246397.2413 | 2713942.6473 | 1246395.6397 | 2713939.837 | 1246394.4292 | 2713936.5867 | 1246393.3102 | 2713931.5738 | 1246391.9017 | 2713927.4604 | 1246390.8663 | 2713922.8626 | 1246389.8771 | 2713917.057 | 1246388.8203 | 2713912.0555 | 1246388.0014 | 2713907.9763 | 1246387.5449 | 2713904.1652 | 1246387.2937 | 2713899.7912 | 1246387.243 | 2713895.6247 | 1246387.3964 | 2713891.0237 | 1246387.7528 | 2713886.6691 | 1246388.2585 | 2713882.4763 | 1246389.0008 | 2713878.9443 | 1246389.956 | 2713876.1961 | 1246391.0152 | 2713872.8248 | 1246392.6518 | 2713869.5628 | 1246394.5018 | 2713866.4583 | 1246396.4104
12 | 2713450.5164 | 1245888.547 | 2713443.5163 | 1245911.9656 | 2713442.411 | 1245917.2043 | 2713442.0168 | 1245922.401 | 2713442.152 | 1245926.7849 | 2713442.9919 | 1245931.0712 | 2713444.2049 | 1245935.2088 | 2713455.7029 | 1245963.8077 | 2713457.7259 | 1245968.6614 | 2713460.2792 | 1245973.8367 | 2713462.8512 | 1245978.4341 | 2713465.0985 | 1245983.0142 | 2713466.9014 | 1245987.9193 | 2713468.0867 | 1245991.923 | 2713468.9732 | 1245995.7431 | 2713469.8577 | 1246000.4639 | 2713470.2183 | 1246004.5185 | 2713470.3295 | 1246008.5795 | 2713469.9509 | 1246032.3028 | 2713470.125 | 1246043.3373 | 2713470.3808 | 1246052.4719 | 2713470.2265 | 1246060.5311 | 2713469.9634 | 1246065.986 | 2713469.7898 | 1246073.0774 | 2713469.8366 | 1246080.8958 | 2713470.0248 | 1246088.0386 | 2713470.0249 | 1246093.5542 | 2713469.7698 | 1246098.1975 | 2713469.3082 | 1246101.7805 | 2713468.6536 | 1246105.5822 | 2713467.6011 | 1246109.6432 | 2713466.1784 | 1246113.697 | 2713464.1298 | 1246118.4729 | 2713462.6521 | 1246121.8473 | 2713461.572 | 1246124.5845 | 2713460.8421 | 1246127.5841 | 2713460.4829 | 1246130.5574 | 2713460.3873 | 1246133.9695 | 2713460.4578 | 1246136.206 | 2713460.5013 | 1246136.7685
13 | 2713450.5164 | 1245888.547 | 2713451.3878 | 1245887.6296 | 2713452.4248 | 1245886.3595 | 2713453.3613 | 1245884.8095 | 2713459.522 | 1245871.688
14 | 2713459.522 | 1245871.688 | 2713966.9285 | 1245807.0221
15 | 2713713.6732 | 1246757.4079 | 2713717.7288 | 1246759.8654 | 2713720.9737 | 1246762.4409 | 2713723.6886 | 1246765.0729 | 2713726.0648 | 1246767.6316 | 2713728.3409 | 1246770.6889 | 2713730.3306 | 1246773.7073 | 2713733.339 | 1246778.758 | 2713735.1967 | 1246782.3329
16 | 2713735.1967 | 1246782.3329 | 2713735.6562 | 1246783.2172 | 2713737.1901 | 1246787.5391 | 2713737.5746 | 1246792.3059 | 2713736.9006 | 1246795.9293 | 2713734.9609 | 1246800.1511 | 2713732.064 | 1246804.6437 | 2713726.4237 | 1246812.7088 | 2713723.6564 | 1246816.7479 | 2713720.4225 | 1246821.4787 | 2713716.3749 | 1246827.6617 | 2713707.9545 | 1246840.0437 | 2713705.0612 | 1246843.5578 | 2713702.4123 | 1246846.1535 | 2713698.953 | 1246848.845 | 2713695.1496 | 1246851.363 | 2713689.9957 | 1246854.956 | 2713685.1904 | 1246858.8894 | 2713679.7767 | 1246864.2122 | 2713677.1185 | 1246867.6863 | 2713675.0408 | 1246871.2271 | 2713673.2761 | 1246875.3856 | 2713671.9096 | 1246879.6629 | 2713670.7998 | 1246884.3455 | 2713667.5309 | 1246903.8988 | 2713665.2475 | 1246913.0403 | 2713659.7812 | 1246931.3506 | 2713658.7922 | 1246935.6462 | 2713657.9409 | 1246940.634 | 2713657.6403 | 1246944.0978 | 2713657.6966 | 1246947.0679 | 2713658.0348 | 1246949.9212 | 2713658.7668 | 1246953.1156 | 2713660.3341 | 1246958.4612 | 2713663.0486 | 1246967.1888
17 | 2713422.2974 | 1247127.064 | 2713415.8034 | 1247113.0617 | 2713413.1507 | 1247107.9735 | 2713409.6933 | 1247102.2916 | 2713405.5727 | 1247096.13 | 2713402.0565 | 1247091.4312
18 | 2713389.5486 | 1247070.825 | 2713390.1602 | 1247073.2165 | 2713390.9482 | 1247075.4667 | 2713391.8419 | 1247077.3298 | 2713392.9679 | 1247079.2862 | 2713402.0565 | 1247091.4312
19 | 2713959.4374 | 1246407.0272 | 2713962.8833 | 1246409.7623 | 2713970.6567 | 1246416.1502 | 2713974.097 | 1246418.7851 | 2713977.82 | 1246421.2587 | 2713982.3309 | 1246424.0143 | 2713986.2336 | 1246426.18 | 2713991.1644 | 1246428.7102 | 2713997.1524 | 1246431.6721 | 2714002.7255 | 1246434.2036 | 2714007.3066 | 1246436.0598 | 2714011.3138 | 1246437.5047 | 2714015.6784 | 1246438.8341 | 2714020.1894 | 1246440.0107 | 2714023.9973 | 1246440.8179 | 2714028.1002 | 1246441.6085 | 2714032.0991 | 1246442.3082 | 2714036.358 | 1246442.8461 | 2714039.435 | 1246443.15 | 2714042.4111 | 1246443.2072 | 2714042.7154 | 1246443.1947
20 | 2713959.4374 | 1246407.0272 | 2714004.7809 | 1246376.8517 | 2714005.9394 | 1246375.9398 | 2714006.9644 | 1246374.9031 | 2714007.6105 | 1246373.9148 | 2714008.0685 | 1246372.5002 | 2714008.5638 | 1246370.319 | 2714008.8388 | 1246369.3791 | 2714009.2297 | 1246368.6972 | 2714009.7774 | 1246368.1183
21 | 2714280.338 | 1245920.4308 | 2713966.9285 | 1245807.0221
22 | 2713740.5286 | 1247027.711 | 2713708.1242 | 1247039.0878 | 2713705.1153 | 1247039.9753 | 2713702.1703 | 1247040.675 | 2713699.1714 | 1247041.04 | 2713696.5576 | 1247041.0232 | 2713694.2207 | 1247040.7448 | 2713692.0968 | 1247040.0035 | 2713690.2585 | 1247038.9452 | 2713688.1449 | 1247037.2699 | 2713686.7949 | 1247035.5649 | 2713685.7581 | 1247033.6879 | 2713685.0067 | 1247031.8943 | 2713663.3159 | 1246968.0484 | 2713663.0486 | 1246967.1888
23 | 2713389.5486 | 1247070.825 | 2713389.3216 | 1247069.2639 | 2713389.2509 | 1247067.828 | 2713389.2689 | 1247066.4939 | 2713389.3992 | 1247064.8173 | 2713390.1795 | 1247058.7828 | 2713390.6136 | 1247056.3897
24 | 2713390.6136 | 1247056.3897 | 2713393.026 | 1247043.0911 | 2713393.4182 | 1247040.9195
25 | 2713393.4182 | 1247040.9195 | 2713393.7865 | 1247038.8799 | 2713394.8966 | 1247034.5643 | 2713396.5757 | 1247029.7369 | 2713397.0104 | 1247028.7833
26 | 2713534.2521 | 1247160.1446 | 2713530.9585 | 1247148.6832 | 2713526.2948 | 1247131.8357 | 2713522.973 | 1247119.8734 | 2713520.419 | 1247108.8488 | 2713519.0501 | 1247096.3012 | 2713518.772 | 1247087.1551 | 2713519.0685 | 1247079.5657 | 2713519.8011 | 1247068.5373 | 2713521.4712 | 1247055.9034 | 2713523.2789 | 1247045.1514 | 2713525.614 | 1247033.6867 | 2713527.8466 | 1247023.6323 | 2713530.7139 | 1247011.9999 | 2713531.3282 | 1247005.1728 | 2713530.7981 | 1247000.114 | 2713529.4439 | 1246994.6836 | 2713526.8145 | 1246989.5625 | 2713522.9998 | 1246984.3963 | 2713519.1979 | 1246980.5315 | 2713513.4255 | 1246976.9847 | 2713507.7288 | 1246974.6071 | 2713499.6202 | 1246972.3278 | 2713491.6823 | 1246971.3862 | 2713484.555 | 1246971.5166 | 2713477.3344 | 1246972.179 | 2713469.4651 | 1246973.574 | 2713460.8484 | 1246976.1223 | 2713453.4381 | 1246979.1942 | 2713444.7144 | 1246984.1758 | 2713437.4115 | 1246989.1402 | 2713428.3377 | 1246996.228 | 2713418.1171 | 1247004.8173 | 2713410.4319 | 1247011.5981 | 2713405.4518 | 1247015.9954 | 2713403.4057 | 1247018.2915 | 2713401.3928 | 1247020.8217 | 2713399.6343 | 1247023.4903 | 2713398.0583 | 1247026.4848 | 2713397.0104 | 1247028.7833
27 | 2713591.7116 | 1247532.8395 | 2713580.5783 | 1247532.715 | 2713578.4136 | 1247532.529 | 2713576.3587 | 1247532.1337 | 2713574.1597 | 1247531.3799 | 2713572.5671 | 1247530.5153 | 2713571.0121 | 1247529.2623 | 2713569.9332 | 1247528.0073 | 2713569.3952 | 1247526.9072 | 2713568.9333 | 1247525.386 | 2713568.7369 | 1247523.4139 | 2713568.3231 | 1247513.8648 | 2713567.6149 | 1247503.9098 | 2713565.7935 | 1247492.9103 | 2713564.7563 | 1247485.9291 | 2713563.8783 | 1247482.0758 | 2713562.7351 | 1247478.2619 | 2713561.4444 | 1247474.2561 | 2713559.9108 | 1247470.3124 | 2713549.6119 | 1247447.1406 | 2713542.0492 | 1247429.4146 | 2713539.3457 | 1247423.8361 | 2713536.5299 | 1247418.6001 | 2713532.7154 | 1247412.6444 | 2713528.2063 | 1247406.2751 | 2713516.9054 | 1247392.0137 | 2713509.1374 | 1247382.2347 | 2713506.133 | 1247378.1628 | 2713503.3606 | 1247374.2065 | 2713499.7506 | 1247368.2214 | 2713497.0667 | 1247364.3779 | 2713482.0821 | 1247344.03 | 2713480.7029 | 1247341.8797 | 2713479.5726 | 1247339.7563 | 2713478.7175 | 1247337.4603 | 2713478.0936 | 1247335.3244 | 2713477.8257 | 1247333.5289 | 2713477.7402 | 1247331.2921 | 2713478.0216 | 1247328.4284 | 2713478.5372 | 1247326.3588 | 2713479.1563 | 1247324.8027 | 2713479.9636 | 1247323.2836 | 2713480.9057 | 1247321.8227 | 2713482.1817 | 1247320.2903 | 2713484.0265 | 1247318.2461 | 2713488.4238 | 1247313.8934 | 2713500.5548 | 1247302.1826 | 2713511.2131 | 1247292.4231 | 2713514.0568 | 1247289.8976 | 2713518.4953 | 1247286.1573 | 2713522.1897 | 1247283.0032 | 2713524.4158 | 1247280.7774 | 2713526.3805 | 1247278.3908 | 2713528.0028 | 1247276.1311 | 2713529.2399 | 1247273.864 | 2713530.0371 | 1247271.6886 | 2713530.8419 | 1247268.7238 | 2713531.6067 | 1247265.4803 | 2713532.1542 | 1247262.5328 | 2713532.4315 | 1247259.8915 | 2713532.4851 | 1247257.4905 | 2713532.5464 | 1247255.0786 | 2713532.6884 | 1247252.7906 | 2713532.8812 | 1247250.6147 | 2713532.8946 | 1247248.7356 | 2713532.6824 | 1247246.0071 | 2713532.428 | 1247244.3009 | 2713531.9872 | 1247242.4687 | 2713531.0607 | 1247239.5597 | 2713530.5849 | 1247237.5823 | 2713530.1233 | 1247234.8601 | 2713529.9069 | 1247232.3539 | 2713529.7612 | 1247229.7045 | 2713529.7602 | 1247225.8124 | 2713529.7052 | 1247220.7961 | 2713529.8322 | 1247216.1392 | 2713530.1568 | 1247211.0301 | 2713530.8945 | 1247204.8614 | 2713533.1193 | 1247192.4494 | 2713533.3772 | 1247190.0301 | 2713533.4279 | 1247187.3845 | 2713533.3655 | 1247184.7255 | 2713533.1102 | 1247181.885 | 2713532.6361 | 1247179.0291 | 2713532.1221 | 1247175.8834 | 2713531.9505 | 1247173.0111 | 2713531.9319 | 1247170.0416 | 2713532.175 | 1247167.2106 | 2713532.7199 | 1247164.7968 | 2713534.2521 | 1247160.1446
28 | 2713591.7116 | 1247532.8395 | 2713591.4484 | 1247531.1998 | 2713591.5714 | 1247529.5119 | 2713591.9734 | 1247527.8515 | 2713592.8018 | 1247526.4107 | 2713594.1648 | 1247525.069 | 2713595.6961 | 1247524.3978 | 2713597.8926 | 1247524.1063
29 | 2713830.2612 | 1246990.3043 | 2713830.973 | 1246990.0266 | 2713835.7304 | 1246988.5834 | 2713839.5741 | 1246987.9011 | 2713843.8648 | 1246987.5498 | 2713848.899 | 1246987.4353 | 2713858.4091 | 1246987.5513 | 2713862.8492 | 1246987.5276
30 | 2713809.2091 | 1247000.8622 | 2713817.0058 | 1246996.5639 | 2713821.5869 | 1246994.072 | 2713826.6262 | 1246991.7223 | 2713830.2612 | 1246990.3043
31 | 2713809.2091 | 1247000.8622 | 2713805.4805 | 1246995.553 | 2713804.4858 | 1246993.8436 | 2713803.9362 | 1246992.165
32 | 2713809.2091 | 1247000.8622 | 2713804.5415 | 1247003.5304 | 2713800.4338 | 1247005.7645 | 2713796.0714 | 1247007.8825 | 2713794.9485 | 1247008.3884
33 | 2713782.9406 | 1247013.3175 | 2713783.1088 | 1247013.2604 | 2713787.3017 | 1247011.7063 | 2713791.8568 | 1247009.781 | 2713794.9485 | 1247008.3884
34 | 2713782.9406 | 1247013.3175 | 2713768.2279 | 1247018.3106
35 | 2713740.5286 | 1247027.711 | 2713768.2279 | 1247018.3106
36 | 2713740.5286 | 1247027.711 | 2713742.8569 | 1247018.5926 | 2713744.2744 | 1247014.4164 | 2713745.7882 | 1247010.7313 | 2713751.777 | 1246997.8801 | 2713755.163 | 1246991.1284

## bus_geodata
| x | y | coords
0 | 2713712.2192 | 1246307.4633
1 | 2713717.0904 | 1246297.397
2 | 2713570.0279 | 1246394.8477
3 | 2713724.4722 | 1246295.7176
4 | 2713550.9421 | 1246525.3111
5 | 2713468.2143 | 1246164.4441
6 | 2713242.6302 | 1246882.5081
7 | 2713866.4583 | 1246396.4104
8 | 2713460.5013 | 1246136.7685
9 | 2713450.5164 | 1245888.547
10 | 2713459.522 | 1245871.688
11 | 2713713.6732 | 1246757.4079
12 | 2713735.1967 | 1246782.3329
13 | 2713246.1811 | 1246874.6139
14 | 2713422.2974 | 1247127.064
15 | 2713402.0565 | 1247091.4312
16 | 2713959.4374 | 1246407.0272
17 | 2713966.9285 | 1245807.0221
18 | 2713663.0486 | 1246967.1888
19 | 2713389.5486 | 1247070.825
20 | 2713390.6136 | 1247056.3897
21 | 2713393.4182 | 1247040.9195
22 | 2713397.0104 | 1247028.7833
23 | 2713534.2521 | 1247160.1446
24 | 2713591.7116 | 1247532.8395
25 | 2713597.8926 | 1247524.1063
26 | 2714280.338 | 1245920.4308
27 | 2714009.7774 | 1246368.1183
28 | 2714042.7154 | 1246443.1947
29 | 2713830.2612 | 1246990.3043
30 | 2713862.8492 | 1246987.5276
31 | 2713809.2091 | 1247000.8622
32 | 2713803.9362 | 1246992.165
33 | 2713794.9485 | 1247008.3884
34 | 2713782.9406 | 1247013.3175
35 | 2713768.2279 | 1247018.3106
36 | 2713740.5286 | 1247027.711
37 | 2713755.163 | 1246991.1284
38 | 2713468.2143 | 1246164.4441

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9965 | -0.02548 | 0.00019976 | 5.0063e-05
1 | 0.99648 | -0.025594 | 0.00080567 | 0.00020192
2 | 0.99684 | -0.023041 | 0 | 0
3 | 0.99648 | -0.025608 | 0.00017777 | 4.4554e-05
4 | 0.99532 | -0.03426 | 0 | 0
5 | 1 | 0 | -0.050241 | -0.01234
6 | 0.99018 | -0.07183 | 0 | 0
7 | 0.99511 | -0.035876 | 0.00012241 | 3.0679e-05
8 | 0.99833 | -0.011744 | 0.037933 | 0.0095069
9 | 0.99732 | -0.019045 | 0 | 0
10 | 0.99725 | -0.01959 | 0.002404 | 0.00060249
11 | 0.98857 | -0.083939 | 0 | 0
12 | 0.9885 | -0.084465 | 0.00022286 | 5.5853e-05
13 | 0.99018 | -0.071855 | 0.00029175 | 7.3118e-05
14 | 0.98279 | -0.12527 | 0 | 0
15 | 0.98248 | -0.1275 | 0.00080868 | 0.00020267
16 | 0.99507 | -0.036193 | 0 | 0
17 | 0.997 | -0.021636 | 0.00010587 | 2.6533e-05
18 | 0.98811 | -0.087279 | 0.00015725 | 3.9411e-05
19 | 0.98233 | -0.12862 | 0 | 0
20 | 0.98224 | -0.12929 | 0.00019539 | 4.8969e-05
21 | 0.98214 | -0.12999 | 0.00043657 | 0.00010942
22 | 0.98207 | -0.13049 | 0.00019817 | 4.9665e-05
23 | 0.98036 | -0.14285 | 0 | 0
24 | 0.9781 | -0.15911 | 0 | 0
25 | 0.97804 | -0.15957 | 0.0035434 | 0.00088806
26 | 0.99689 | -0.022478 | 0.00023535 | 5.8983e-05
27 | 0.99506 | -0.036259 | 9.8009e-05 | 2.4563e-05
28 | 0.99504 | -0.036383 | 0.00019879 | 4.9821e-05
29 | 0.98781 | -0.089515 | 0.00024534 | 6.1488e-05
30 | 0.98779 | -0.089599 | 0.00024773 | 6.2088e-05
31 | 0.98782 | -0.089395 | 0 | 0
32 | 0.98782 | -0.089407 | 0.0001136 | 2.8471e-05
33 | 0.98784 | -0.089294 | 0.00012379 | 3.1024e-05
34 | 0.98785 | -0.089195 | 8.9381e-05 | 2.2401e-05
35 | 0.98787 | -0.089064 | 0.00011491 | 2.88e-05
36 | 0.98791 | -0.08878 | 0 | 0
37 | 0.9879 | -0.08885 | 0.00016988 | 4.2575e-05
38 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.00098345 | 0.00024623 | -0.00098344 | -0.00024637 | 1.5498e-08 | -1.4409e-07 | 0.0014684 | 0.0014685 | 0.0014685 | 0.9965 | -0.02548 | 0.99648 | -0.025594 | 0.54389
1 | -0.0011832 | -0.00029629 | 0.0011836 | 0.0002938 | 3.9542e-07 | -2.495e-06 | 0.0017667 | 0.0017658 | 0.0017667 | 0.9965 | -0.02548 | 0.99684 | -0.023041 | 0.65434
2 | 0.00017777 | 4.4454e-05 | -0.00017777 | -4.4554e-05 | 3.351e-10 | -9.916e-08 | 0.00026542 | 0.00026546 | 0.00026546 | 0.99648 | -0.025594 | 0.99648 | -0.025608 | 0.098318
3 | 0.007483 | 0.0018325 | -0.0074719 | -0.0018301 | 1.1109e-05 | 2.4105e-06 | 0.011155 | 0.011156 | 0.011156 | 0.99684 | -0.023041 | 0.99532 | -0.03426 | 4.1318
4 | -0.0086666 | -0.0021263 | 0.0086932 | 0.0021332 | 2.6577e-05 | 6.8852e-06 | 0.012921 | 0.01292 | 0.012921 | 0.99684 | -0.023041 | 1 | 0 | 4.7855
5 | 0.0070526 | 0.0017329 | -0.0070173 | -0.0017259 | 3.5246e-05 | 6.973e-06 | 0.010532 | 0.010534 | 0.010534 | 0.99532 | -0.03426 | 0.99018 | -0.07183 | 3.9014
6 | 0.00041931 | 9.7249e-05 | -0.00041923 | -0.00010174 | 8.4768e-08 | -4.4868e-06 | 0.00062421 | 0.00062573 | 0.00062573 | 0.99532 | -0.03426 | 0.99511 | -0.035876 | 0.23175
7 | 0.040747 | 0.010207 | -0.040681 | -0.010181 | 6.6068e-05 | 2.5034e-05 | 0.060631 | 0.060631 | 0.060631 | 1 | 0 | 0.99833 | -0.011744 | 22.4559
8 | 0.00029175 | 7.3007e-05 | -0.00029175 | -7.3118e-05 | 1.0378e-09 | -1.109e-07 | 0.00043839 | 0.00043843 | 0.00043843 | 0.99018 | -0.07183 | 0.99018 | -0.071855 | 0.16238
9 | 0.0052376 | 0.0012963 | -0.0051997 | -0.0012943 | 3.7881e-05 | 2.0474e-06 | 0.0078651 | 0.0078695 | 0.0078695 | 0.99018 | -0.07183 | 0.98279 | -0.12527 | 2.9146
10 | 0.001488 | 0.00035655 | -0.0014856 | -0.00036534 | 2.346e-06 | -8.7885e-06 | 0.0022304 | 0.0022337 | 0.0022337 | 0.99018 | -0.07183 | 0.98857 | -0.083939 | 0.82731
11 | 0.00029682 | 7.1057e-05 | -0.0002968 | -7.2343e-05 | 1.2167e-08 | -1.2866e-06 | 0.00044269 | 0.00044313 | 0.00044313 | 0.99511 | -0.035876 | 0.99507 | -0.036193 | 0.16412
12 | 0.0027482 | 0.00067454 | -0.0027455 | -0.00067686 | 2.6775e-06 | -2.3178e-06 | 0.0040912 | 0.0040924 | 0.0040924 | 0.99833 | -0.011744 | 0.99732 | -0.019045 | 1.5157
13 | 0.0027455 | 0.00067686 | -0.0027453 | -0.00067703 | 2.0078e-07 | -1.7346e-07 | 0.0040924 | 0.0040925 | 0.0040925 | 0.99732 | -0.019045 | 0.99725 | -0.01959 | 1.5157
14 | 0.00034132 | 7.454e-05 | -0.00034124 | -8.118e-05 | 8.1952e-08 | -6.6406e-06 | 0.00050566 | 0.00050781 | 0.00050781 | 0.99725 | -0.01959 | 0.997 | -0.021636 | 0.18808
15 | 0.0014856 | 0.00036534 | -0.0014855 | -0.00036573 | 1.0428e-07 | -3.8927e-07 | 0.0022337 | 0.0022339 | 0.0022339 | 0.98857 | -0.083939 | 0.9885 | -0.084465 | 0.82736
16 | 0.0012627 | 0.00030987 | -0.0012622 | -0.0003124 | 4.7609e-07 | -2.5283e-06 | 0.0018984 | 0.0018994 | 0.0018994 | 0.9885 | -0.084465 | 0.98811 | -0.087279 | 0.70347
17 | 0.0051997 | 0.0012943 | -0.0051981 | -0.0012942 | 1.5885e-06 | 9.0258e-08 | 0.0078695 | 0.0078697 | 0.0078697 | 0.98279 | -0.12527 | 0.98248 | -0.1275 | 2.9147
18 | 0.0043894 | 0.0010915 | -0.0043888 | -0.0010916 | 6.708e-07 | -5.0255e-08 | 0.006645 | 0.0066451 | 0.0066451 | 0.98248 | -0.1275 | 0.98233 | -0.12862 | 2.4611
19 | 0.00019879 | 4.8621e-05 | -0.00019879 | -4.9821e-05 | 5.0981e-09 | -1.2006e-06 | 0.00029686 | 0.00029728 | 0.00029728 | 0.99507 | -0.036193 | 0.99504 | -0.036383 | 0.1101
20 | 9.801e-05 | 2.3723e-05 | -9.8009e-05 | -2.4563e-05 | 8.6621e-10 | -8.4081e-07 | 0.00014627 | 0.00014656 | 0.00014656 | 0.99507 | -0.036193 | 0.99506 | -0.036259 | 0.054283
21 | 0.00023537 | 5.4647e-05 | -0.00023535 | -5.8983e-05 | 2.5556e-08 | -4.3361e-06 | 0.00034982 | 0.00035129 | 0.00035129 | 0.997 | -0.021636 | 0.99689 | -0.022478 | 0.13011
22 | 0.0011049 | 0.00027299 | -0.0011047 | -0.00027457 | 2.2457e-07 | -1.5805e-06 | 0.0016626 | 0.0016631 | 0.0016631 | 0.98811 | -0.087279 | 0.98791 | -0.08878 | 0.61598
23 | 0.0043888 | 0.0010916 | -0.0043884 | -0.0010916 | 4.0086e-07 | -2.998e-08 | 0.0066451 | 0.0066451 | 0.0066451 | 0.98233 | -0.12862 | 0.98224 | -0.12929 | 2.4612
24 | 0.004193 | 0.0010426 | -0.0041926 | -0.0010427 | 3.9549e-07 | -4.6873e-08 | 0.0063491 | 0.0063492 | 0.0063492 | 0.98224 | -0.12929 | 0.98214 | -0.12999 | 2.3516
25 | 0.003756 | 0.00093326 | -0.0037558 | -0.00093333 | 2.5613e-07 | -6.204e-08 | 0.0056878 | 0.0056878 | 0.0056878 | 0.98214 | -0.12999 | 0.98207 | -0.13049 | 2.1066
26 | 0.0035576 | 0.00088366 | -0.0035516 | -0.00088554 | 5.9988e-06 | -1.8751e-06 | 0.0053876 | 0.005389 | 0.005389 | 0.98207 | -0.13049 | 0.98036 | -0.14285 | 1.9959
27 | 0.0035516 | 0.00088554 | -0.0035436 | -0.00088799 | 7.9458e-06 | -2.4577e-06 | 0.005389 | 0.005391 | 0.005391 | 0.98036 | -0.14285 | 0.9781 | -0.15911 | 1.9967
28 | 0.0035436 | 0.00088799 | -0.0035434 | -0.00088806 | 2.2712e-07 | -6.9819e-08 | 0.005391 | 0.0053911 | 0.0053911 | 0.9781 | -0.15911 | 0.97804 | -0.15957 | 1.9967
29 | 0.00024774 | 6.1667e-05 | -0.00024773 | -6.2088e-05 | 2.8606e-09 | -4.2045e-07 | 0.00037304 | 0.00037319 | 0.00037319 | 0.98781 | -0.089515 | 0.98779 | -0.089599 | 0.13822
30 | -0.00049307 | -0.00012316 | 0.00049308 | 0.00012286 | 8.1132e-09 | -2.9874e-07 | 0.00074261 | 0.00074251 | 0.00074261 | 0.98781 | -0.089515 | 0.98782 | -0.089395 | 0.27504
31 | 0.0001136 | 2.834e-05 | -0.0001136 | -2.8471e-05 | 1.8691e-10 | -1.3091e-07 | 0.00017108 | 0.00017112 | 0.00017112 | 0.98782 | -0.089395 | 0.98782 | -0.089407 | 0.063379
32 | -0.00060668 | -0.0001512 | 0.00060669 | 0.00015099 | 8.4017e-09 | -2.0331e-07 | 0.00091358 | 0.00091351 | 0.00091358 | 0.98782 | -0.089395 | 0.98784 | -0.089294 | 0.33836
33 | -0.00073048 | -0.00018202 | 0.00073049 | 0.00018185 | 9.8036e-09 | -1.6247e-07 | 0.0011 | 0.0010999 | 0.0011 | 0.98784 | -0.089294 | 0.98785 | -0.089195 | 0.4074
34 | -0.00081987 | -0.00020426 | 0.00081989 | 0.00020406 | 1.4776e-08 | -1.9323e-07 | 0.0012346 | 0.0012345 | 0.0012346 | 0.98785 | -0.089195 | 0.98787 | -0.089064 | 0.45724
35 | -0.0009348 | -0.00023286 | 0.00093483 | 0.0002325 | 3.616e-08 | -3.606e-07 | 0.0014076 | 0.0014074 | 0.0014076 | 0.98787 | -0.089064 | 0.98791 | -0.08878 | 0.52132
36 | 0.00016988 | 4.207e-05 | -0.00016988 | -4.2575e-05 | 1.6137e-09 | -5.0547e-07 | 0.0002557 | 0.00025588 | 0.00025588 | 0.98791 | -0.08878 | 0.9879 | -0.08885 | 0.094769

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.050241 | 0.01234

## res_load
| p_mw | q_mvar
0 | 0.00019976 | 5.0063e-05
1 | 0.00080567 | 0.00020192
2 | 0.00017777 | 4.4554e-05
3 | 0.00012241 | 3.0679e-05
4 | 0.037933 | 0.0095069
5 | 0.002404 | 0.00060249
6 | 0.00022286 | 5.5853e-05
7 | 0.00029175 | 7.3118e-05
8 | 0.00080868 | 0.00020267
9 | 0.00010587 | 2.6533e-05
10 | 0.00015725 | 3.9411e-05
11 | 0.00019539 | 4.8969e-05
12 | 0.00043657 | 0.00010942
13 | 0.00019817 | 4.9665e-05
14 | 0.0035434 | 0.00088806
15 | 0.00023535 | 5.8983e-05
16 | 9.8009e-05 | 2.4563e-05
17 | 0.00019879 | 4.9821e-05
18 | 0.00024534 | 6.1488e-05
19 | 0.00024773 | 6.2088e-05
20 | 0.0001136 | 2.8471e-05
21 | 0.00012379 | 3.1024e-05
22 | 8.9381e-05 | 2.2401e-05
23 | 0.00011491 | 2.88e-05
24 | 0.00016988 | 4.2575e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1