## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_114-7_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_114-7_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_114-7_0_2_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_114-7_0_2_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_114-7_0_2_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_114-7_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_114-7_0_2_node_84 | 0.4 | n |  | TRUE
7 | bus_LV_114-7_0_2_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_114-7_0_2_node_76 | 0.4 | n |  | TRUE
9 | bus_LV_114-7_0_2_node_3 | 0.4 | n |  | TRUE
10 | bus_LV_114-7_0_2_node_77 | 0.4 | n |  | TRUE
11 | bus_LV_114-7_0_2_node_78 | 0.4 | n |  | TRUE
12 | bus_LV_114-7_0_2_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_114-7_0_2_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_114-7_0_2_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_114-7_0_2_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_114-7_0_2_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_114-7_0_2_node_50 | 0.4 | n |  | TRUE
18 | bus_LV_114-7_0_2_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_114-7_0_2_node_80 | 0.4 | n |  | TRUE
20 | bus_LV_114-7_0_2_node_53 | 0.4 | n |  | TRUE
21 | bus_LV_114-7_0_2_node_75 | 0.4 | n |  | TRUE
22 | bus_LV_114-7_0_2_node_63 | 0.4 | n |  | TRUE
23 | bus_LV_114-7_0_2_node_79 | 0.4 | n |  | TRUE
24 | bus_LV_114-7_0_2_node_51 | 0.4 | n |  | TRUE
25 | bus_LV_114-7_0_2_node_52 | 0.4 | n |  | TRUE
26 | bus_LV_114-7_0_2_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_114-7_0_2_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_114-7_0_2_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_114-7_0_2_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_114-7_0_2_node_85 | 0.4 | n |  | TRUE
31 | bus_LV_114-7_0_2_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_114-7_0_2_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_114-7_0_2_node_70 | 0.4 | n |  | TRUE
34 | bus_LV_114-7_0_2_node_72 | 0.4 | n |  | TRUE
35 | bus_LV_114-7_0_2_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_114-7_0_2_node_71 | 0.4 | n |  | TRUE
37 | bus_LV_114-7_0_2_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_114-7_0_2_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_114-7_0_2_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_114-7_0_2_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_114-7_0_2_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_114-7_0_2_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_114-7_0_2_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_114-7_0_2_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_114-7_0_2_node_27 | 0.4 | n |  | TRUE
46 | bus_LV_114-7_0_2_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_114-7_0_2_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_114-7_0_2_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_114-7_0_2_node_83 | 0.4 | n |  | TRUE
50 | bus_LV_114-7_0_2_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_114-7_0_2_node_74 | 0.4 | n |  | TRUE
52 | bus_LV_114-7_0_2_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_114-7_0_2_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_114-7_0_2_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_114-7_0_2_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_114-7_0_2_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_114-7_0_2_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_114-7_0_2_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_114-7_0_2_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_114-7_0_2_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_114-7_0_2_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_114-7_0_2_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_114-7_0_2_node_44 | 0.4 | n |  | TRUE
64 | bus_LV_114-7_0_2_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_114-7_0_2_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_114-7_0_2_node_69 | 0.4 | n |  | TRUE
67 | bus_LV_114-7_0_2_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_114-7_0_2_node_82 | 0.4 | n |  | TRUE
69 | bus_LV_114-7_0_2_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_114-7_0_2_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_114-7_0_2_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_114-7_0_2_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_114-7_0_2_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_114-7_0_2_node_66 | 0.4 | n |  | TRUE
75 | bus_LV_114-7_0_2_node_68 | 0.4 | n |  | TRUE
76 | bus_LV_114-7_0_2_node_58 | 0.4 | n |  | TRUE
77 | bus_LV_114-7_0_2_node_59 | 0.4 | n |  | TRUE
78 | bus_LV_114-7_0_2_node_60 | 0.4 | n |  | TRUE
79 | bus_LV_114-7_0_2_node_61 | 0.4 | n |  | TRUE
80 | bus_LV_114-7_0_2_node_62 | 0.4 | n |  | TRUE
81 | bus_LV_114-7_0_2_node_81 | 0.4 | n |  | TRUE
82 | bus_LV_114-7_0_2_node_73 | 0.4 | n |  | TRUE
83 | bus_MV_6_0_node_187 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_114-7_0_2_load_0 | 0 | 0.00027075 | 6.7857e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_114-7_0_2_load_1 | 1 | 0.0003507 | 8.7895e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_114-7_0_2_load_6 | 4 | 0.00021763 | 5.4544e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_114-7_0_2_load_84 | 6 | 0.00030902 | 7.7447e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_114-7_0_2_load_4 | 7 | 0.0002645 | 6.629e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_114-7_0_2_load_76 | 8 | 8.2569e-05 | 2.0694e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_114-7_0_2_load_3 | 9 | 0.0030448 | 0.0007631 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_114-7_0_2_load_77 | 10 | 0.00015832 | 3.9679e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_114-7_0_2_load_9 | 12 | 0.00088953 | 0.00022294 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_114-7_0_2_load_10 | 13 | 0.007693 | 0.0019281 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_114-7_0_2_load_50 | 17 | 0.006418 | 0.0016085 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_114-7_0_2_load_80 | 19 | 0.0031015 | 0.00077731 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_114-7_0_2_load_75 | 21 | 0.00048166 | 0.00012072 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_114-7_0_2_load_63 | 22 | 0.0013456 | 0.00033723 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_114-7_0_2_load_51 | 24 | 0.00066121 | 0.00016571 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_114-7_0_2_load_52 | 25 | 0.0010143 | 0.00025422 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_114-7_0_2_load_15 | 26 | 0.0019636 | 0.00049212 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_114-7_0_2_load_16 | 27 | 0.002409 | 0.00060375 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_114-7_0_2_load_18 | 28 | 0.00045351 | 0.00011366 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_114-7_0_2_load_85 | 30 | 0.00055227 | 0.00013841 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_114-7_0_2_load_20 | 31 | 0.0014236 | 0.00035679 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_114-7_0_2_load_72 | 34 | 0.0023221 | 0.00058197 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_114-7_0_2_load_36 | 35 | 0.00027217 | 6.8211e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_114-7_0_2_load_71 | 36 | 0.0054253 | 0.0013597 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_114-7_0_2_load_22 | 37 | 0.00013125 | 3.2894e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_114-7_0_2_load_23 | 38 | 0.00089459 | 0.0002242 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_114-7_0_2_load_24 | 39 | 0.00029047 | 7.2799e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_114-7_0_2_load_25 | 40 | 0.0011039 | 0.00027665 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_114-7_0_2_load_26 | 41 | 0.0011362 | 0.00028475 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_114-7_0_2_load_33 | 43 | 0.0030942 | 0.00077547 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_114-7_0_2_load_27 | 45 | 0.0012195 | 0.00030565 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_114-7_0_2_load_28 | 46 | 0.0008555 | 0.00021441 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_114-7_0_2_load_30 | 47 | 0.000744 | 0.00018647 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_114-7_0_2_load_32 | 48 | 0.0028197 | 0.00070667 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_114-7_0_2_load_34 | 50 | 0.0030797 | 0.00077185 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_114-7_0_2_load_35 | 52 | 0.00026863 | 6.7326e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_114-7_0_2_load_37 | 53 | 0.0039341 | 0.00098599 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_114-7_0_2_load_38 | 54 | 0.0008992 | 0.00022536 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_114-7_0_2_load_41 | 57 | 0.00074648 | 0.00018709 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_114-7_0_2_load_45 | 58 | 0.0044901 | 0.0011253 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_114-7_0_2_load_42 | 59 | 0.0052731 | 0.0013216 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_114-7_0_2_load_46 | 60 | 0.0010632 | 0.00026647 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_114-7_0_2_load_44 | 63 | 0.0015429 | 0.00038669 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_114-7_0_2_load_48 | 64 | 0.0022742 | 0.00056997 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_114-7_0_2_load_49 | 65 | 0.00096362 | 0.00024151 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_114-7_0_2_load_69 | 66 | 0.001389 | 0.00034813 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_114-7_0_2_load_82 | 68 | 0.001156 | 0.00028971 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_114-7_0_2_load_67 | 69 | 0.0017111 | 0.00042884 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_114-7_0_2_load_64 | 70 | 0.0029012 | 0.00072711 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_114-7_0_2_load_55 | 71 | 0.0083088 | 0.0020824 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_114-7_0_2_load_56 | 72 | 0.0096754 | 0.0024249 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_114-7_0_2_load_68 | 75 | 0.0035128 | 0.0008804 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_114-7_0_2_load_58 | 76 | 0.0013281 | 0.00033285 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_114-7_0_2_load_59 | 77 | 0.001546 | 0.00038747 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_114-7_0_2_load_61 | 79 | 0.0021174 | 0.00053068 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_114-7_0_2_load_62 | 80 | 0.0017595 | 0.00044098 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_114-7_0_2_load_81 | 81 | 0.0017084 | 0.00042816 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_114-7_0_2_load_73 | 82 | 0.0046306 | 0.0011605 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 73 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_114-7_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0044405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_114-7_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.21202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_114-7_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.019298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_114-7_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.052891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_114-7_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.02282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_114-7_0_2_line_5 | NAYY 4x150 SE | 3 | 6 | 0.17072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_114-7_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.010792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_114-7_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.16079 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_114-7_0_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.02832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_114-7_0_2_line_9 | NAYY 4x150 SE | 8 | 10 | 0.036062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_114-7_0_2_line_10 | NAYY 4x150 SE | 8 | 11 | 0.11736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_114-7_0_2_line_11 | NAYY 4x150 SE | 11 | 38 | 0.24088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_114-7_0_2_line_12 | NAYY 4x150 SE | 12 | 13 | 0.00052717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_114-7_0_2_line_13 | NAYY 4x150 SE | 12 | 14 | 0.013569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_114-7_0_2_line_14 | NAYY 4x150 SE | 13 | 15 | 0.013674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_114-7_0_2_line_15 | NAYY 4x150 SE | 14 | 16 | 0.00903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_114-7_0_2_line_16 | NAYY 4x150 SE | 15 | 17 | 0.016352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_114-7_0_2_line_17 | NAYY 4x150 SE | 15 | 18 | 0.005994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_114-7_0_2_line_18 | NAYY 4x150 SE | 16 | 19 | 0.029356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_114-7_0_2_line_19 | NAYY 4x150 SE | 16 | 20 | 0.029104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_114-7_0_2_line_20 | NAYY 4x150 SE | 17 | 22 | 0.013393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_114-7_0_2_line_21 | NAYY 4x150 SE | 18 | 21 | 0.059707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_114-7_0_2_line_22 | NAYY 4x150 SE | 19 | 23 | 0.035629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_114-7_0_2_line_23 | NAYY 4x150 SE | 20 | 24 | 0.017671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_114-7_0_2_line_24 | NAYY 4x150 SE | 23 | 58 | 0.030379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_114-7_0_2_line_25 | NAYY 4x150 SE | 24 | 25 | 0.0070609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_114-7_0_2_line_26 | NAYY 4x150 SE | 26 | 27 | 0.11917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_114-7_0_2_line_27 | NAYY 4x150 SE | 26 | 28 | 0.43547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_114-7_0_2_line_28 | NAYY 4x150 SE | 27 | 29 | 0.059858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_114-7_0_2_line_29 | NAYY 4x150 SE | 28 | 30 | 0.21896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_114-7_0_2_line_30 | NAYY 4x150 SE | 28 | 31 | 0.35671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_114-7_0_2_line_31 | NAYY 4x150 SE | 29 | 32 | 0.033299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_114-7_0_2_line_32 | NAYY 4x150 SE | 32 | 33 | 0.031529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_114-7_0_2_line_33 | NAYY 4x150 SE | 32 | 34 | 0.013206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_114-7_0_2_line_34 | NAYY 4x150 SE | 33 | 35 | 0.046116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_114-7_0_2_line_35 | NAYY 4x150 SE | 34 | 36 | 0.010575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_114-7_0_2_line_36 | NAYY 4x150 SE | 35 | 52 | 0.015762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_114-7_0_2_line_37 | NAYY 4x150 SE | 36 | 82 | 0.011019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_114-7_0_2_line_38 | NAYY 4x150 SE | 37 | 38 | 0.0037104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_114-7_0_2_line_39 | NAYY 4x150 SE | 37 | 39 | 0.0031028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_114-7_0_2_line_40 | NAYY 4x150 SE | 38 | 40 | 0.01507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_114-7_0_2_line_41 | NAYY 4x150 SE | 40 | 41 | 0.027592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_114-7_0_2_line_42 | NAYY 4x150 SE | 41 | 42 | 0.029562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_114-7_0_2_line_43 | NAYY 4x150 SE | 42 | 43 | 0.029037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_114-7_0_2_line_44 | NAYY 4x150 SE | 42 | 44 | 0.006537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_114-7_0_2_line_45 | NAYY 4x150 SE | 43 | 50 | 0.026307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_114-7_0_2_line_46 | NAYY 4x150 SE | 44 | 48 | 0.032366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_114-7_0_2_line_47 | NAYY 4x150 SE | 44 | 45 | 0.027594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_114-7_0_2_line_48 | NAYY 4x150 SE | 45 | 46 | 0.0076336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_114-7_0_2_line_49 | NAYY 4x150 SE | 46 | 47 | 0.0034894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_114-7_0_2_line_50 | NAYY 4x150 SE | 48 | 49 | 0.011556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_114-7_0_2_line_51 | NAYY 4x150 SE | 49 | 51 | 0.007382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_114-7_0_2_line_52 | NAYY 4x150 SE | 50 | 52 | 0.010553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_114-7_0_2_line_53 | NAYY 4x150 SE | 51 | 75 | 0.047321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_114-7_0_2_line_54 | NAYY 4x150 SE | 53 | 54 | 0.0056804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_114-7_0_2_line_55 | NAYY 4x150 SE | 53 | 55 | 0.016055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_114-7_0_2_line_56 | NAYY 4x150 SE | 55 | 56 | 0.051085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_114-7_0_2_line_57 | NAYY 4x150 SE | 55 | 57 | 0.021818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_114-7_0_2_line_58 | NAYY 4x150 SE | 56 | 58 | 0.038249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_114-7_0_2_line_59 | NAYY 4x150 SE | 56 | 59 | 0.014173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_114-7_0_2_line_60 | NAYY 4x150 SE | 57 | 60 | 0.016833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_114-7_0_2_line_61 | NAYY 4x150 SE | 59 | 61 | 0.01208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_114-7_0_2_line_62 | NAYY 4x150 SE | 60 | 62 | 0.012751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_114-7_0_2_line_63 | NAYY 4x150 SE | 61 | 63 | 0.013477 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_114-7_0_2_line_64 | NAYY 4x150 SE | 62 | 66 | 0.018205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_114-7_0_2_line_65 | NAYY 4x150 SE | 62 | 67 | 0.006609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_114-7_0_2_line_66 | NAYY 4x150 SE | 63 | 64 | 0.0016031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_114-7_0_2_line_67 | NAYY 4x150 SE | 64 | 65 | 0.0012915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_114-7_0_2_line_68 | NAYY 4x150 SE | 66 | 68 | 0.0086512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_114-7_0_2_line_69 | NAYY 4x150 SE | 67 | 69 | 0.012873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_114-7_0_2_line_70 | NAYY 4x150 SE | 67 | 70 | 0.017618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_114-7_0_2_line_71 | NAYY 4x150 SE | 68 | 81 | 0.006111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_114-7_0_2_line_72 | NAYY 4x150 SE | 70 | 74 | 0.018835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_114-7_0_2_line_73 | NAYY 4x150 SE | 71 | 72 | 0.012074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_114-7_0_2_line_74 | NAYY 4x150 SE | 72 | 73 | 0.012801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_114-7_0_2_line_75 | NAYY 4x150 SE | 73 | 74 | 0.016303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_114-7_0_2_line_76 | NAYY 4x150 SE | 74 | 75 | 0.010705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_114-7_0_2_line_77 | NAYY 4x150 SE | 76 | 77 | 0.0068934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_114-7_0_2_line_78 | NAYY 4x150 SE | 76 | 78 | 0.060553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_114-7_0_2_line_79 | NAYY 4x150 SE | 77 | 79 | 0.0032532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_114-7_0_2_line_80 | NAYY 4x150 SE | 78 | 80 | 0.049756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_114-7_0_2_line_81 | NAYY 4x150 SE | 79 | 81 | 0.011483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_114-7_0_2_trafo_57 | 0.25 MVA 20/0.4 kV | 83 | 73 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2711789.7599 | 1244228.8941 | 2711794.1812 | 1244228.4818
1 | 2711789.7599 | 1244228.8941 | 2711662.2199 | 1244398.2634
2 | 2711812.4584 | 1244222.996 | 2711801.1573 | 1244227.8314 | 2711794.1812 | 1244228.4818
3 | 2711662.2199 | 1244398.2634 | 2711642.2561 | 1244396.7309 | 2711630.8122 | 1244397.1381 | 2711609.4577 | 1244398.7826
4 | 2711827.7526 | 1244238.0853 | 2711812.5695 | 1244227.1237 | 2711812.4584 | 1244222.996
5 | 2711812.4584 | 1244222.996 | 2711864.5455 | 1244060.4135
6 | 2711827.7526 | 1244238.0853 | 2711838.0768 | 1244234.9441
7 | 2712021.2784 | 1244096.2884 | 2711864.5455 | 1244060.4135
8 | 2711866.247 | 1244237.3438 | 2711849.4424 | 1244235.1029 | 2711838.0768 | 1244234.9441
9 | 2712021.2784 | 1244096.2884 | 2712037.8176 | 1244106.6869 | 2712041.1505 | 1244113.1217 | 2712044.6389 | 1244117.3243 | 2712048.1943 | 1244118.713
10 | 2712017.5683 | 1243998.9955 | 2712014.508 | 1244016.5408 | 2712008.6505 | 1244029.296 | 2712002.5845 | 1244037.0878 | 2711993.3152 | 1244049.5895 | 2711991.3289 | 1244055.9016 | 2711992.8105 | 1244064.303 | 2711997.5069 | 1244078.1917 | 2712002.2736 | 1244084.3533 | 2712013.4847 | 1244090.7034 | 2712021.2784 | 1244096.2884
11 | 2712233.6387 | 1243892.523 | 2712017.5683 | 1243998.9955
12 | 2712201.1314 | 1243566.3943 | 2712200.9438 | 1243565.9016
13 | 2712196.1159 | 1243553.2209 | 2712200.9438 | 1243565.9016
14 | 2712205.9967 | 1243579.1731 | 2712201.1314 | 1243566.3943
15 | 2712192.2791 | 1243545.0418 | 2712196.1159 | 1243553.2209
16 | 2712205.9967 | 1243579.1731 | 2712192.6287 | 1243586.0926 | 2712192.2586 | 1243587.3379
17 | 2712205.9967 | 1243579.1731 | 2712209.7177 | 1243583.8806
18 | 2712192.2791 | 1243545.0418 | 2712188.8846 | 1243535.4588 | 2712185.5765 | 1243530.103 | 2712181.7269 | 1243527.7951 | 2712173.3211 | 1243527.7228
19 | 2712192.2791 | 1243545.0418 | 2712218.3263 | 1243532.0572
20 | 2712195.3007 | 1243599.8531 | 2712191.4095 | 1243590.195 | 2712192.2586 | 1243587.3379
21 | 2712209.7177 | 1243583.8806 | 2712218.2636 | 1243603.6693 | 2712230.8796 | 1243632.887 | 2712233.8415 | 1243638.4778
22 | 2712137.9841 | 1243530.2925 | 2712148.0239 | 1243527.8692 | 2712159.1041 | 1243527.6006 | 2712173.3211 | 1243527.7228
23 | 2712218.3263 | 1243532.0572 | 2712211.262 | 1243515.86
24 | 2712137.9841 | 1243530.2925 | 2712142.8682 | 1243551.8466 | 2712145.0396 | 1243559.8349
25 | 2712211.262 | 1243515.86 | 2712209.2841 | 1243511.3251 | 2712209.1685 | 1243510.2442 | 2712208.7858 | 1243509.2918
26 | 2712375.4896 | 1243872.5159 | 2712377.3123 | 1243848.1431 | 2712376.8512 | 1243823.4144 | 2712376.6824 | 1243805.9972 | 2712378.5598 | 1243795.0906 | 2712383.1757 | 1243784.0803 | 2712389.2608 | 1243777.3123 | 2712400.7736 | 1243774.1389 | 2712409.2869 | 1243773.591
27 | 2712409.2869 | 1243773.591 | 2712789.703 | 1243561.6607
28 | 2712371.7832 | 1243932.0617 | 2712373.3096 | 1243927.7093 | 2712373.8106 | 1243921.2135 | 2712374.4593 | 1243902.9444 | 2712375.1656 | 1243876.8478 | 2712375.4896 | 1243872.5159
29 | 2712789.703 | 1243561.6607 | 2713007.6946 | 1243582.2453
30 | 2712789.703 | 1243561.6607 | 2712665.3976 | 1243227.3055
31 | 2712371.7832 | 1243932.0617 | 2712363.1686 | 1243933.9 | 2712357.9866 | 1243934.9027 | 2712338.831 | 1243937.3197
32 | 2712312.3025 | 1243952.2406 | 2712316.8172 | 1243947.3555 | 2712325.0621 | 1243940.2948 | 2712338.831 | 1243937.3197
33 | 2712338.831 | 1243937.3197 | 2712343.9677 | 1243949.4861
34 | 2712312.3025 | 1243952.2406 | 2712311.3017 | 1243950.7983 | 2712303.2293 | 1243939.1806 | 2712293.0765 | 1243923.6537 | 2712287.3729 | 1243913.482
35 | 2712348.0807 | 1243959.2279 | 2712343.9677 | 1243949.4861
36 | 2712287.3729 | 1243913.482 | 2712287.3729 | 1243913.482 | 2712281.4908 | 1243898.8585
37 | 2712352.3668 | 1243969.3796 | 2712348.0807 | 1243959.2279
38 | 2712235.4582 | 1243895.7567 | 2712233.6387 | 1243892.523
39 | 2712236.9797 | 1243898.4608 | 2712235.4582 | 1243895.7567
40 | 2712233.6387 | 1243892.523 | 2712227.7211 | 1243882.0058 | 2712227.2399 | 1243879.0425
41 | 2712233.098 | 1243854.3337 | 2712224.9859 | 1243865.1627 | 2712227.2399 | 1243879.0425
42 | 2712256.8995 | 1243837.722 | 2712251.67 | 1243840.0361 | 2712237.6349 | 1243848.2772 | 2712233.098 | 1243854.3337
43 | 2712256.8995 | 1243837.722 | 2712267.7355 | 1243864.6612
44 | 2712254.4746 | 1243831.649 | 2712256.8995 | 1243837.722
45 | 2712267.7355 | 1243864.6612 | 2712277.5527 | 1243889.068
46 | 2712254.4746 | 1243831.649 | 2712242.0611 | 1243801.7584
47 | 2712254.4746 | 1243831.649 | 2712270.2577 | 1243825.3092 | 2712280.1903 | 1243821.6507
48 | 2712280.1903 | 1243821.6507 | 2712281.7146 | 1243821.0893 | 2712287.5823 | 1243819.7926
49 | 2712287.5823 | 1243819.7926 | 2712290.9895 | 1243819.0396
50 | 2712237.6291 | 1243791.0866 | 2712242.0611 | 1243801.7584
51 | 2712234.97 | 1243784.1974 | 2712237.6291 | 1243791.0866
52 | 2712277.5527 | 1243889.068 | 2712281.4908 | 1243898.8585
53 | 2712234.97 | 1243784.1974 | 2712220.7686 | 1243749.701 | 2712217.0457 | 1243740.4026
54 | 2712163.7637 | 1243647.695 | 2712158.2655 | 1243649.122
55 | 2712178.8544 | 1243642.4553 | 2712173.2227 | 1243645.24 | 2712163.7637 | 1243647.695
56 | 2712158.0412 | 1243595.7798 | 2712163.5832 | 1243607.7276 | 2712178.8544 | 1243642.4553
57 | 2712178.8544 | 1243642.4553 | 2712187.5778 | 1243662.4533
58 | 2712158.0412 | 1243595.7798 | 2712153.8369 | 1243585.4476 | 2712150.2583 | 1243576.0057 | 2712145.9004 | 1243563.0018 | 2712145.0396 | 1243559.8349
59 | 2712158.0412 | 1243595.7798 | 2712144.7427 | 1243600.6807
60 | 2712187.5778 | 1243662.4533 | 2712192.0409 | 1243672.6845 | 2712194.0418 | 1243677.9904
61 | 2712133.4063 | 1243604.8549 | 2712135.9413 | 1243603.9243 | 2712144.7427 | 1243600.6807
62 | 2712198.541 | 1243689.9213 | 2712194.0418 | 1243677.9904
63 | 2712133.4063 | 1243604.8549 | 2712131.2132 | 1243608.8945 | 2712134.5003 | 1243617.1444
64 | 2712198.541 | 1243689.9213 | 2712190.7859 | 1243692.2655 | 2712180.7805 | 1243693.6698
65 | 2712200.7667 | 1243696.1462 | 2712198.541 | 1243689.9213
66 | 2712135.0937 | 1243618.6337 | 2712134.5003 | 1243617.1444
67 | 2712135.0937 | 1243618.6337 | 2712135.5717 | 1243619.8335
68 | 2712180.7805 | 1243693.6698 | 2712172.2133 | 1243694.8723
69 | 2712200.7667 | 1243696.1462 | 2712212.5596 | 1243690.9843
70 | 2712200.7667 | 1243696.1462 | 2712201.5634 | 1243698.3853 | 2712203.4734 | 1243703.7146 | 2712204.4572 | 1243706.4576 | 2712206.7377 | 1243712.7216
71 | 2712172.2133 | 1243694.8723 | 2712166.1616 | 1243695.7216
72 | 2712213.181 | 1243730.4197 | 2712206.7377 | 1243712.7216
73 | 2712253.5409 | 1243723.2998 | 2712241.5579 | 1243724.7785
74 | 2712228.8534 | 1243726.3462 | 2712241.5579 | 1243724.7785
75 | 2712228.8534 | 1243726.3462 | 2712220.3972 | 1243727.3871 | 2712213.181 | 1243730.4197
76 | 2712213.181 | 1243730.4197 | 2712215.9324 | 1243737.622 | 2712217.0457 | 1243740.4026
77 | 2712147.4919 | 1243706.0104 | 2712148.6214 | 1243704.9008 | 2712153.136 | 1243702.1054
78 | 2712093.44 | 1243730.7122 | 2712115.2376 | 1243726.1315 | 2712122.0857 | 1243721.3793 | 2712135.7877 | 1243714.3659 | 2712142.4131 | 1243710.9995 | 2712147.4919 | 1243706.0104
79 | 2712153.136 | 1243702.1054 | 2712155.9019 | 1243700.3928
80 | 2712093.44 | 1243730.7122 | 2712090.8281 | 1243728.5167 | 2712091.0524 | 1243725.4518 | 2712097.6551 | 1243717.6813 | 2712111.4359 | 1243707.7003 | 2712112.9449 | 1243703.0584 | 2712112.173 | 1243698.707 | 2712108.9451 | 1243692.7079
81 | 2712155.9019 | 1243700.3928 | 2712162.65 | 1243696.2145 | 2712166.1616 | 1243695.7216

## bus_geodata
| x | y | coords
0 | 2711789.7599 | 1244228.8941
1 | 2711794.1812 | 1244228.4818
2 | 2711662.2199 | 1244398.2634
3 | 2711812.4584 | 1244222.996
4 | 2711609.4577 | 1244398.7826
5 | 2711827.7526 | 1244238.0853
6 | 2711864.5455 | 1244060.4135
7 | 2711838.0768 | 1244234.9441
8 | 2712021.2784 | 1244096.2884
9 | 2711866.247 | 1244237.3438
10 | 2712048.1943 | 1244118.713
11 | 2712017.5683 | 1243998.9955
12 | 2712200.9438 | 1243565.9016
13 | 2712201.1314 | 1243566.3943
14 | 2712196.1159 | 1243553.2209
15 | 2712205.9967 | 1243579.1731
16 | 2712192.2791 | 1243545.0418
17 | 2712192.2586 | 1243587.3379
18 | 2712209.7177 | 1243583.8806
19 | 2712173.3211 | 1243527.7228
20 | 2712218.3263 | 1243532.0572
21 | 2712233.8415 | 1243638.4778
22 | 2712195.3007 | 1243599.8531
23 | 2712137.9841 | 1243530.2925
24 | 2712211.262 | 1243515.86
25 | 2712208.7858 | 1243509.2918
26 | 2712409.2869 | 1243773.591
27 | 2712375.4896 | 1243872.5159
28 | 2712789.703 | 1243561.6607
29 | 2712371.7832 | 1243932.0617
30 | 2713007.6946 | 1243582.2453
31 | 2712665.3976 | 1243227.3055
32 | 2712338.831 | 1243937.3197
33 | 2712312.3025 | 1243952.2406
34 | 2712343.9677 | 1243949.4861
35 | 2712287.3729 | 1243913.482
36 | 2712348.0807 | 1243959.2279
37 | 2712235.4582 | 1243895.7567
38 | 2712233.6387 | 1243892.523
39 | 2712236.9797 | 1243898.4608
40 | 2712227.2399 | 1243879.0425
41 | 2712233.098 | 1243854.3337
42 | 2712256.8995 | 1243837.722
43 | 2712267.7355 | 1243864.6612
44 | 2712254.4746 | 1243831.649
45 | 2712280.1903 | 1243821.6507
46 | 2712287.5823 | 1243819.7926
47 | 2712290.9895 | 1243819.0396
48 | 2712242.0611 | 1243801.7584
49 | 2712237.6291 | 1243791.0866
50 | 2712277.5527 | 1243889.068
51 | 2712234.97 | 1243784.1974
52 | 2712281.4908 | 1243898.8585
53 | 2712163.7637 | 1243647.695
54 | 2712158.2655 | 1243649.122
55 | 2712178.8544 | 1243642.4553
56 | 2712158.0412 | 1243595.7798
57 | 2712187.5778 | 1243662.4533
58 | 2712145.0396 | 1243559.8349
59 | 2712144.7427 | 1243600.6807
60 | 2712194.0418 | 1243677.9904
61 | 2712133.4063 | 1243604.8549
62 | 2712198.541 | 1243689.9213
63 | 2712134.5003 | 1243617.1444
64 | 2712135.0937 | 1243618.6337
65 | 2712135.5717 | 1243619.8335
66 | 2712180.7805 | 1243693.6698
67 | 2712200.7667 | 1243696.1462
68 | 2712172.2133 | 1243694.8723
69 | 2712212.5596 | 1243690.9843
70 | 2712206.7377 | 1243712.7216
71 | 2712253.5409 | 1243723.2998
72 | 2712241.5579 | 1243724.7785
73 | 2712228.8534 | 1243726.3462
74 | 2712213.181 | 1243730.4197
75 | 2712217.0457 | 1243740.4026
76 | 2712147.4919 | 1243706.0104
77 | 2712153.136 | 1243702.1054
78 | 2712093.44 | 1243730.7122
79 | 2712155.9019 | 1243700.3928
80 | 2712108.9451 | 1243692.7079
81 | 2712166.1616 | 1243695.7216
82 | 2712352.3668 | 1243969.3796
83 | 2712213.181 | 1243730.4197

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9858 | -0.10049 | 0.00027075 | 6.7857e-05
1 | 0.98581 | -0.10046 | 0.0003507 | 8.7895e-05
2 | 0.98574 | -0.10099 | 0 | 0
3 | 0.98583 | -0.10029 | 0 | 0
4 | 0.98572 | -0.10111 | 0.00021763 | 5.4544e-05
5 | 0.98572 | -0.10107 | 0 | 0
6 | 0.98685 | -0.092954 | 0.00030902 | 7.7447e-05
7 | 0.98567 | -0.10144 | 0.0002645 | 6.629e-05
8 | 0.98789 | -0.085522 | 8.2569e-05 | 2.0694e-05
9 | 0.98554 | -0.10232 | 0.0030448 | 0.0007631
10 | 0.98788 | -0.085581 | 0.00015832 | 3.9679e-05
11 | 0.98868 | -0.079799 | 0 | 0
12 | 0.98348 | -0.11613 | 0.00088953 | 0.00022294
13 | 0.98347 | -0.11622 | 0.007693 | 0.0019281
14 | 0.98381 | -0.11377 | 0 | 0
15 | 0.9833 | -0.11738 | 0 | 0
16 | 0.98403 | -0.11221 | 0 | 0
17 | 0.98312 | -0.11869 | 0.006418 | 0.0016085
18 | 0.9833 | -0.11741 | 0 | 0
19 | 0.98482 | -0.10661 | 0.0031015 | 0.00077731
20 | 0.98396 | -0.11271 | 0 | 0
21 | 0.98326 | -0.11771 | 0.00048166 | 0.00012072
22 | 0.98309 | -0.11888 | 0.0013456 | 0.00033723
23 | 0.98593 | -0.098687 | 0 | 0
24 | 0.98392 | -0.11302 | 0.00066121 | 0.00016571
25 | 0.98391 | -0.11309 | 0.0010143 | 0.00025422
26 | 0.98456 | -0.10916 | 0.0019636 | 0.00049212
27 | 0.98532 | -0.10365 | 0.002409 | 0.00060375
28 | 0.98303 | -0.1204 | 0.00045351 | 0.00011366
29 | 0.98591 | -0.099395 | 0 | 0
30 | 0.98285 | -0.12167 | 0.00055227 | 0.00013841
31 | 0.98229 | -0.12571 | 0.0014236 | 0.00035679
32 | 0.98623 | -0.097031 | 0 | 0
33 | 0.98711 | -0.090792 | 0 | 0
34 | 0.986 | -0.098709 | 0.0023221 | 0.00058197
35 | 0.98839 | -0.081686 | 0.00027217 | 6.8211e-05
36 | 0.98584 | -0.099801 | 0.0054253 | 0.0013597
37 | 0.99032 | -0.068056 | 0.00013125 | 3.2894e-05
38 | 0.99032 | -0.06804 | 0.00089459 | 0.0002242
39 | 0.99032 | -0.068065 | 0.00029047 | 7.2799e-05
40 | 0.99045 | -0.067101 | 0.0011039 | 0.00027665
41 | 0.99073 | -0.065074 | 0.0011362 | 0.00028475
42 | 0.99109 | -0.062561 | 0 | 0
43 | 0.99 | -0.070248 | 0.0030942 | 0.00077547
44 | 0.99141 | -0.060277 | 0 | 0
45 | 0.9913 | -0.061068 | 0.0012195 | 0.00030565
46 | 0.99128 | -0.061192 | 0.0008555 | 0.00021441
47 | 0.99127 | -0.061218 | 0.000744 | 0.00018647
48 | 0.99314 | -0.048067 | 0.0028197 | 0.00070667
49 | 0.9938 | -0.043388 | 0 | 0
50 | 0.98913 | -0.076397 | 0.0030797 | 0.00077185
51 | 0.99422 | -0.040402 | 0 | 0
52 | 0.98883 | -0.078534 | 0.00026863 | 6.7326e-05
53 | 0.99089 | -0.063675 | 0.0039341 | 0.00098599
54 | 0.99088 | -0.063727 | 0.0008992 | 0.00022536
55 | 0.991 | -0.062886 | 0 | 0
56 | 0.98833 | -0.081723 | 0 | 0
57 | 0.99229 | -0.053802 | 0.00074648 | 0.00018709
58 | 0.98688 | -0.091947 | 0.0044901 | 0.0011253
59 | 0.98812 | -0.083179 | 0.0052731 | 0.0013216
60 | 0.99331 | -0.046682 | 0.0010632 | 0.00026647
61 | 0.98804 | -0.08377 | 0 | 0
62 | 0.9941 | -0.041161 | 0 | 0
63 | 0.98795 | -0.084429 | 0.0015429 | 0.00038669
64 | 0.98794 | -0.084482 | 0.0022742 | 0.00056997
65 | 0.98794 | -0.084495 | 0.00096362 | 0.00024151
66 | 0.99381 | -0.043188 | 0.001389 | 0.00034813
67 | 0.99461 | -0.037568 | 0 | 0
68 | 0.99369 | -0.04403 | 0.001156 | 0.00028971
69 | 0.99458 | -0.037791 | 0.0017111 | 0.00042884
70 | 0.99602 | -0.027705 | 0.0029012 | 0.00072711
71 | 0.99953 | -0.0033007 | 0.0083088 | 0.0020824
72 | 0.99967 | -0.0022986 | 0.0096754 | 0.0024249
73 | 1 | 0 | -0.12167 | -0.030407
74 | 0.99761 | -0.016642 | 0 | 0
75 | 0.99694 | -0.021322 | 0.0035128 | 0.0008804
76 | 0.99345 | -0.045707 | 0.0013281 | 0.00033285
77 | 0.99348 | -0.045491 | 0.001546 | 0.00038747
78 | 0.9933 | -0.046789 | 0 | 0
79 | 0.99351 | -0.045338 | 0.0021174 | 0.00053068
80 | 0.99317 | -0.047676 | 0.0017595 | 0.00044098
81 | 0.99362 | -0.044553 | 0.0017084 | 0.00042816
82 | 0.98577 | -0.10032 | 0.0046306 | 0.0011605
83 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0004884 | -0.00011903 | 0.00048841 | 0.00011897 | 1.5011e-09 | -5.6037e-08 | 0.00073603 | 0.00073601 | 0.00073603 | 0.9858 | -0.10049 | 0.98581 | -0.10046 | 0.27261
1 | 0.00021765 | 5.1174e-05 | -0.00021764 | -5.3871e-05 | 1.4218e-08 | -2.6975e-06 | 0.00032737 | 0.0003283 | 0.0003283 | 0.9858 | -0.10049 | 0.98574 | -0.10099 | 0.12159
2 | -0.00083911 | -0.00020687 | 0.00083913 | 0.00020663 | 1.928e-08 | -2.3864e-07 | 0.0012654 | 0.0012653 | 0.0012654 | 0.98581 | -0.10046 | 0.98583 | -0.10029 | 0.46866
3 | 0.00021764 | 5.3871e-05 | -0.00021763 | -5.4544e-05 | 3.5597e-09 | -6.7286e-07 | 0.0003283 | 0.00032854 | 0.00032854 | 0.98574 | -0.10099 | 0.98572 | -0.10111 | 0.12168
4 | 0.0033102 | 0.00082895 | -0.0033099 | -0.0008291 | 3.5546e-07 | -1.5421e-07 | 0.0049962 | 0.0049963 | 0.0049963 | 0.98583 | -0.10029 | 0.98572 | -0.10107 | 1.8505
5 | -0.0041493 | -0.0010356 | 0.0041535 | 0.001035 | 4.1762e-06 | -5.7277e-07 | 0.0062615 | 0.0062607 | 0.0062615 | 0.98583 | -0.10029 | 0.98685 | -0.092954 | 2.3191
6 | 0.0033099 | 0.0008291 | -0.0033097 | -0.00082918 | 1.681e-07 | -7.2901e-08 | 0.0049963 | 0.0049964 | 0.0049964 | 0.98572 | -0.10107 | 0.98567 | -0.10144 | 1.8505
7 | -0.0044625 | -0.0011125 | 0.0044671 | 0.0011121 | 4.5393e-06 | -3.1058e-07 | 0.0067267 | 0.0067259 | 0.0067267 | 0.98685 | -0.092954 | 0.98789 | -0.085522 | 2.4914
8 | 0.0030452 | 0.00076288 | -0.0030448 | -0.0007631 | 3.7347e-07 | -2.1728e-07 | 0.0045971 | 0.0045972 | 0.0045972 | 0.98567 | -0.10144 | 0.98554 | -0.10232 | 1.7027
9 | 0.00015832 | 3.9218e-05 | -0.00015832 | -3.9679e-05 | 1.2788e-09 | -4.6122e-07 | 0.00023831 | 0.00023847 | 0.00023847 | 0.98789 | -0.085522 | 0.98788 | -0.085581 | 0.088323
10 | -0.004708 | -0.0011721 | 0.0047116 | 0.001172 | 3.6795e-06 | -8.8601e-08 | 0.0070886 | 0.0070881 | 0.0070886 | 0.98789 | -0.085522 | 0.98868 | -0.079799 | 2.6254
11 | -0.0047116 | -0.001172 | 0.0047192 | 0.0011718 | 7.5505e-06 | -1.9012e-07 | 0.0070881 | 0.007087 | 0.0070881 | 0.98868 | -0.079799 | 0.99032 | -0.06804 | 2.6252
12 | 0.015941 | 0.0039943 | -0.015941 | -0.0039942 | 1.9136e-07 | 6.691e-08 | 0.024119 | 0.024119 | 0.024119 | 0.98348 | -0.11613 | 0.98347 | -0.11622 | 8.9329
13 | -0.016831 | -0.0042172 | 0.016836 | 0.0042191 | 5.4903e-06 | 1.9394e-06 | 0.025465 | 0.025465 | 0.025465 | 0.98348 | -0.11613 | 0.98381 | -0.11377 | 9.4314
14 | 0.008248 | 0.0020661 | -0.0082466 | -0.0020658 | 1.3287e-06 | 3.3758e-07 | 0.012479 | 0.012479 | 0.012479 | 0.98347 | -0.11622 | 0.9833 | -0.11738 | 4.6219
15 | -0.016836 | -0.0042191 | 0.01684 | 0.0042204 | 3.6538e-06 | 1.2906e-06 | 0.025465 | 0.025465 | 0.025465 | 0.98381 | -0.11377 | 0.98403 | -0.11221 | 9.4314
16 | 0.007765 | 0.0019459 | -0.0077636 | -0.0019456 | 1.4089e-06 | 3.3449e-07 | 0.011751 | 0.011751 | 0.011751 | 0.9833 | -0.11738 | 0.98312 | -0.11869 | 4.3521
17 | 0.00048169 | 0.00011989 | -0.00048168 | -0.00011997 | 1.9858e-09 | -7.5269e-08 | 0.00072863 | 0.00072866 | 0.00072866 | 0.9833 | -0.11738 | 0.9833 | -0.11741 | 0.26987
18 | -0.018516 | -0.0046397 | 0.01853 | 0.0046449 | 1.436e-05 | 5.1498e-06 | 0.027998 | 0.027998 | 0.027998 | 0.98403 | -0.11221 | 0.98482 | -0.10661 | 10.3698
19 | 0.0016757 | 0.00041932 | -0.0016756 | -0.00041965 | 1.166e-07 | -3.2486e-07 | 0.0025338 | 0.0025339 | 0.0025339 | 0.98403 | -0.11221 | 0.98396 | -0.11271 | 0.93848
20 | 0.0013456 | 0.00033707 | -0.0013456 | -0.00033723 | 3.4664e-08 | -1.5649e-07 | 0.0020366 | 0.0020366 | 0.0020366 | 0.98312 | -0.11869 | 0.98309 | -0.11888 | 0.75431
21 | 0.00048168 | 0.00011997 | -0.00048166 | -0.00012072 | 1.9789e-08 | -7.4973e-07 | 0.00072866 | 0.00072893 | 0.00072893 | 0.9833 | -0.11741 | 0.98326 | -0.11771 | 0.26997
22 | -0.021631 | -0.0054222 | 0.021655 | 0.0054309 | 2.375e-05 | 8.6809e-06 | 0.032685 | 0.032684 | 0.032685 | 0.98482 | -0.10661 | 0.98593 | -0.098687 | 12.1054
23 | 0.0016756 | 0.00041965 | -0.0016756 | -0.00041985 | 7.08e-08 | -1.9721e-07 | 0.0025339 | 0.002534 | 0.002534 | 0.98396 | -0.11271 | 0.98392 | -0.11302 | 0.93851
24 | -0.021655 | -0.0054309 | 0.021675 | 0.0054383 | 2.025e-05 | 7.4008e-06 | 0.032684 | 0.032684 | 0.032684 | 0.98593 | -0.098687 | 0.98688 | -0.091947 | 12.1053
25 | 0.0010143 | 0.00025413 | -0.0010143 | -0.00025422 | 1.0368e-08 | -8.569e-08 | 0.001534 | 0.001534 | 0.001534 | 0.98392 | -0.11302 | 0.98391 | -0.11309 | 0.56816
26 | -0.0043978 | -0.00109 | 0.004401 | 0.0010897 | 3.2806e-06 | -2.5494e-07 | 0.0066422 | 0.0066417 | 0.0066422 | 0.98456 | -0.10916 | 0.98532 | -0.10365 | 2.4601
27 | 0.0024342 | 0.00059788 | -0.0024305 | -0.000602 | 3.671e-06 | -4.1174e-06 | 0.0036746 | 0.0036765 | 0.0036765 | 0.98456 | -0.10916 | 0.98303 | -0.1204 | 1.3617
28 | -0.00681 | -0.0016935 | 0.006814 | 0.0016943 | 3.9469e-06 | 7.552e-07 | 0.01028 | 0.010279 | 0.01028 | 0.98532 | -0.10365 | 0.98591 | -0.099395 | 3.8073
29 | 0.00055237 | 0.00013567 | -0.00055227 | -0.00013841 | 9.5409e-08 | -2.7387e-06 | 0.00083515 | 0.00083613 | 0.00083613 | 0.98303 | -0.1204 | 0.98285 | -0.12167 | 0.30968
30 | 0.0014246 | 0.00035266 | -0.0014236 | -0.00035679 | 1.0344e-06 | -4.1211e-06 | 0.0021549 | 0.0021565 | 0.0021565 | 0.98303 | -0.1204 | 0.98229 | -0.12571 | 0.79871
31 | -0.006814 | -0.0016943 | 0.0068162 | 0.0016947 | 2.1956e-06 | 4.1969e-07 | 0.010279 | 0.010279 | 0.010279 | 0.98591 | -0.099395 | 0.98623 | -0.097031 | 3.8072
32 | -0.019199 | -0.0047983 | 0.019215 | 0.0048042 | 1.6503e-05 | 5.9446e-06 | 0.028962 | 0.028962 | 0.028962 | 0.98623 | -0.097031 | 0.98711 | -0.090792 | 10.7268
33 | 0.012383 | 0.0031036 | -0.01238 | -0.0031027 | 2.8765e-06 | 9.3787e-07 | 0.018683 | 0.018683 | 0.018683 | 0.98623 | -0.097031 | 0.986 | -0.098709 | 6.9197
34 | -0.019215 | -0.0048042 | 0.01924 | 0.0048129 | 2.4138e-05 | 8.6934e-06 | 0.028962 | 0.028962 | 0.028962 | 0.98711 | -0.090792 | 0.98839 | -0.081686 | 10.7268
35 | 0.010058 | 0.0025207 | -0.010056 | -0.0025203 | 1.5203e-06 | 4.4986e-07 | 0.015179 | 0.015179 | 0.015179 | 0.986 | -0.098709 | 0.98584 | -0.099801 | 5.6218
36 | -0.019512 | -0.0048811 | 0.01952 | 0.0048842 | 8.4851e-06 | 3.0614e-06 | 0.029372 | 0.029372 | 0.029372 | 0.98839 | -0.081686 | 0.98883 | -0.078534 | 10.8784
37 | 0.004631 | 0.0011605 | -0.0046306 | -0.0011605 | 3.3596e-07 | -1.1278e-08 | 0.0069899 | 0.0069899 | 0.0069899 | 0.98584 | -0.099801 | 0.98577 | -0.10032 | 2.5889
38 | -0.00042172 | -0.00010565 | 0.00042172 | 0.00010561 | 9.2959e-10 | -4.7383e-08 | 0.00063365 | 0.00063363 | 0.00063365 | 0.99032 | -0.068056 | 0.99032 | -0.06804 | 0.23468
39 | 0.00029047 | 7.2759e-05 | -0.00029047 | -7.2799e-05 | 3.6884e-10 | -3.978e-08 | 0.00043644 | 0.00043645 | 0.00043645 | 0.99032 | -0.068056 | 0.99032 | -0.068065 | 0.16165
40 | -0.0060355 | -0.0015016 | 0.0060363 | 0.0015017 | 7.7269e-07 | 1.0327e-07 | 0.0090648 | 0.0090647 | 0.0090648 | 0.99032 | -0.06804 | 0.99045 | -0.067101 | 3.3573
41 | -0.0071401 | -0.0017783 | 0.0071421 | 0.0017787 | 1.9797e-06 | 4.0623e-07 | 0.010723 | 0.010723 | 0.010723 | 0.99045 | -0.067101 | 0.99073 | -0.065074 | 3.9715
42 | -0.0082783 | -0.0020635 | 0.0082811 | 0.0020642 | 2.8498e-06 | 7.1526e-07 | 0.012429 | 0.012429 | 0.012429 | 0.99073 | -0.065074 | 0.99109 | -0.062561 | 4.6035
43 | 0.026016 | 0.0065184 | -0.025988 | -0.0065081 | 2.7643e-05 | 1.0258e-05 | 0.039059 | 0.03906 | 0.03906 | 0.99109 | -0.062561 | 0.99 | -0.070248 | 14.4665
44 | -0.034297 | -0.0085826 | 0.034308 | 0.0085866 | 1.0814e-05 | 4.075e-06 | 0.051489 | 0.051489 | 0.051489 | 0.99109 | -0.062561 | 0.99141 | -0.060277 | 19.0699
45 | 0.022894 | 0.0057326 | -0.022874 | -0.0057255 | 1.9436e-05 | 7.1373e-06 | 0.034409 | 0.034409 | 0.034409 | 0.99 | -0.070248 | 0.98913 | -0.076397 | 12.7441
46 | -0.037127 | -0.0092928 | 0.03719 | 0.0093165 | 6.2704e-05 | 2.3699e-05 | 0.05572 | 0.05572 | 0.05572 | 0.99141 | -0.060277 | 0.99314 | -0.048067 | 20.6371
47 | 0.0028194 | 0.00070615 | -0.0028191 | -0.00070639 | 3.0832e-07 | -2.3719e-07 | 0.0042315 | 0.0042316 | 0.0042316 | 0.99141 | -0.060277 | 0.9913 | -0.061068 | 1.5673
48 | 0.0015995 | 0.00040074 | -0.0015995 | -0.00040083 | 2.746e-08 | -8.7849e-08 | 0.002401 | 0.002401 | 0.002401 | 0.9913 | -0.061068 | 0.99128 | -0.061192 | 0.88926
49 | 0.00074401 | 0.00018642 | -0.000744 | -0.00018647 | 2.7159e-09 | -4.3939e-08 | 0.0011168 | 0.0011168 | 0.0011168 | 0.99128 | -0.061192 | 0.99127 | -0.061218 | 0.41364
50 | -0.040009 | -0.010023 | 0.040035 | 0.010033 | 2.5911e-05 | 9.816e-06 | 0.059945 | 0.059945 | 0.059945 | 0.99314 | -0.048067 | 0.9938 | -0.043388 | 22.2017
51 | -0.040035 | -0.010033 | 0.040052 | 0.010039 | 1.6552e-05 | 6.2706e-06 | 0.059945 | 0.059945 | 0.059945 | 0.9938 | -0.043388 | 0.99422 | -0.040402 | 22.2017
52 | 0.019795 | 0.0049536 | -0.019789 | -0.0049515 | 5.8383e-06 | 2.1101e-06 | 0.029776 | 0.029776 | 0.029776 | 0.98913 | -0.076397 | 0.98883 | -0.078534 | 11.0281
53 | -0.040052 | -0.010039 | 0.040158 | 0.010079 | 0.00010611 | 4.0195e-05 | 0.059945 | 0.059944 | 0.059945 | 0.99422 | -0.040402 | 0.99694 | -0.021322 | 22.2017
54 | 0.00089921 | 0.00022529 | -0.0008992 | -0.00022536 | 6.463e-09 | -7.0684e-08 | 0.0013503 | 0.0013503 | 0.0013503 | 0.99089 | -0.063675 | 0.99088 | -0.063727 | 0.50013
55 | -0.0048333 | -0.0012113 | 0.0048339 | 0.0012113 | 5.2777e-07 | -3.8434e-09 | 0.0072582 | 0.0072581 | 0.0072582 | 0.99089 | -0.063675 | 0.991 | -0.062886 | 2.6882
56 | 0.036355 | 0.0091336 | -0.03626 | -0.0090977 | 9.5015e-05 | 3.5888e-05 | 0.054595 | 0.054596 | 0.054596 | 0.991 | -0.062886 | 0.98833 | -0.081723 | 20.2206
57 | -0.041188 | -0.010345 | 0.041241 | 0.010365 | 5.2086e-05 | 1.9752e-05 | 0.061853 | 0.061853 | 0.061853 | 0.991 | -0.062886 | 0.99229 | -0.053802 | 22.9087
58 | 0.026203 | 0.0065774 | -0.026166 | -0.0065636 | 3.7153e-05 | 1.38e-05 | 0.039454 | 0.039454 | 0.039454 | 0.98833 | -0.081723 | 0.98688 | -0.091947 | 14.6127
59 | 0.010057 | 0.0025203 | -0.010055 | -0.0025197 | 2.0275e-06 | 5.9823e-07 | 0.015141 | 0.015141 | 0.015141 | 0.98833 | -0.081723 | 0.98812 | -0.083179 | 5.6079
60 | -0.041987 | -0.010552 | 0.042029 | 0.010568 | 4.1653e-05 | 1.5803e-05 | 0.062973 | 0.062973 | 0.062973 | 0.99229 | -0.053802 | 0.99331 | -0.046682 | 23.3232
61 | 0.0047816 | 0.0011981 | -0.0047812 | -0.0011981 | 3.9084e-07 | -4.4088e-09 | 0.0072005 | 0.0072006 | 0.0072006 | 0.98812 | -0.083179 | 0.98804 | -0.08377 | 2.6669
62 | -0.043092 | -0.010834 | 0.043125 | 0.010847 | 3.3169e-05 | 1.2592e-05 | 0.064565 | 0.064565 | 0.064565 | 0.99331 | -0.046682 | 0.9941 | -0.041161 | 23.9131
63 | 0.0047812 | 0.0011981 | -0.0047808 | -0.0011981 | 4.3604e-07 | -4.885e-09 | 0.0072006 | 0.0072006 | 0.0072006 | 0.98804 | -0.08377 | 0.98795 | -0.084429 | 2.6669
64 | 0.011011 | 0.0027582 | -0.011008 | -0.0027573 | 3.0856e-06 | 9.5081e-07 | 0.016481 | 0.016481 | 0.016481 | 0.9941 | -0.041161 | 0.99381 | -0.043188 | 6.104
65 | -0.054136 | -0.013605 | 0.054163 | 0.013615 | 2.7089e-05 | 1.0333e-05 | 0.081046 | 0.081046 | 0.081046 | 0.9941 | -0.041161 | 0.99461 | -0.037568 | 30.0171
66 | 0.0032379 | 0.00081145 | -0.0032378 | -0.00081146 | 2.3791e-08 | -1.1377e-08 | 0.0048768 | 0.0048768 | 0.0048768 | 0.98795 | -0.084429 | 0.98794 | -0.084482 | 1.8062
67 | 0.00096362 | 0.00024149 | -0.00096362 | -0.00024151 | 1.6977e-09 | -1.5885e-08 | 0.0014514 | 0.0014514 | 0.0014514 | 0.98794 | -0.084482 | 0.98794 | -0.084495 | 0.53755
68 | 0.0096185 | 0.0024091 | -0.0096174 | -0.0024088 | 1.1196e-06 | 3.1852e-07 | 0.014401 | 0.014401 | 0.014401 | 0.99381 | -0.043188 | 0.99369 | -0.04403 | 5.3338
69 | 0.0017112 | 0.0004287 | -0.0017111 | -0.00042884 | 5.2644e-08 | -1.4682e-07 | 0.00256 | 0.00256 | 0.00256 | 0.99461 | -0.037568 | 0.99458 | -0.037791 | 0.94816
70 | -0.055874 | -0.014044 | 0.055951 | 0.014073 | 7.6846e-05 | 2.9327e-05 | 0.083606 | 0.083606 | 0.083606 | 0.99461 | -0.037568 | 0.99602 | -0.027705 | 30.9652
71 | 0.0084614 | 0.0021191 | -0.0084608 | -0.002119 | 6.1215e-07 | 1.5629e-07 | 0.01267 | 0.01267 | 0.01267 | 0.99369 | -0.04403 | 0.99362 | -0.044553 | 4.6927
72 | -0.058852 | -0.0148 | 0.058943 | 0.014835 | 9.089e-05 | 3.4712e-05 | 0.08794 | 0.08794 | 0.08794 | 0.99602 | -0.027705 | 0.99761 | -0.016642 | 32.5705
73 | -0.0083088 | -0.0020824 | 0.00831 | 0.0020827 | 1.1527e-06 | 2.8509e-07 | 0.01237 | 0.012369 | 0.01237 | 0.99953 | -0.0033007 | 0.99967 | -0.0022986 | 4.5813
74 | -0.017985 | -0.0045076 | 0.017991 | 0.0045096 | 5.7249e-06 | 2.034e-06 | 0.026771 | 0.026771 | 0.026771 | 0.99967 | -0.0022986 | 1 | 0 | 9.9153
75 | 0.10288 | 0.025897 | -0.10264 | -0.025806 | 0.00023854 | 9.1533e-05 | 0.15313 | 0.15313 | 0.15313 | 1 | 0 | 0.99761 | -0.016642 | 56.714
76 | 0.043699 | 0.010971 | -0.043671 | -0.01096 | 2.8386e-05 | 1.0778e-05 | 0.065188 | 0.065188 | 0.065188 | 0.99761 | -0.016642 | 0.99694 | -0.021322 | 24.1436
77 | -0.0030881 | -0.00077258 | 0.0030882 | 0.00077253 | 9.2007e-08 | -5.3871e-08 | 0.0046249 | 0.0046249 | 0.0046249 | 0.99345 | -0.045707 | 0.99348 | -0.045491 | 1.7129
78 | 0.00176 | 0.00043974 | -0.0017597 | -0.00044042 | 2.6251e-07 | -6.8295e-07 | 0.0026357 | 0.002636 | 0.002636 | 0.99345 | -0.045707 | 0.9933 | -0.046789 | 0.97629
79 | -0.0046342 | -0.00116 | 0.0046343 | 0.00116 | 9.7783e-08 | -4.5166e-09 | 0.0069405 | 0.0069405 | 0.0069405 | 0.99348 | -0.045491 | 0.99351 | -0.045338 | 2.5705
80 | 0.0017597 | 0.00044042 | -0.0017595 | -0.00044098 | 2.1575e-07 | -5.6098e-07 | 0.002636 | 0.0026362 | 0.0026362 | 0.9933 | -0.046789 | 0.99317 | -0.047676 | 0.97637
81 | -0.0067517 | -0.0016907 | 0.0067525 | 0.0016908 | 7.3265e-07 | 1.3307e-07 | 0.010112 | 0.010112 | 0.010112 | 0.99351 | -0.045338 | 0.99362 | -0.044553 | 3.7451

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.12167 | 0.030407

## res_load
| p_mw | q_mvar
0 | 0.00027075 | 6.7857e-05
1 | 0.0003507 | 8.7895e-05
2 | 0.00021763 | 5.4544e-05
3 | 0.00030902 | 7.7447e-05
4 | 0.0002645 | 6.629e-05
5 | 8.2569e-05 | 2.0694e-05
6 | 0.0030448 | 0.0007631
7 | 0.00015832 | 3.9679e-05
8 | 0.00088953 | 0.00022294
9 | 0.007693 | 0.0019281
10 | 0.006418 | 0.0016085
11 | 0.0031015 | 0.00077731
12 | 0.00048166 | 0.00012072
13 | 0.0013456 | 0.00033723
14 | 0.00066121 | 0.00016571
15 | 0.0010143 | 0.00025422
16 | 0.0019636 | 0.00049212
17 | 0.002409 | 0.00060375
18 | 0.00045351 | 0.00011366
19 | 0.00055227 | 0.00013841
20 | 0.0014236 | 0.00035679
21 | 0.0023221 | 0.00058197
22 | 0.00027217 | 6.8211e-05
23 | 0.0054253 | 0.0013597
24 | 0.00013125 | 3.2894e-05
25 | 0.00089459 | 0.0002242
26 | 0.00029047 | 7.2799e-05
27 | 0.0011039 | 0.00027665
28 | 0.0011362 | 0.00028475
29 | 0.0030942 | 0.00077547
30 | 0.0012195 | 0.00030565
31 | 0.0008555 | 0.00021441
32 | 0.000744 | 0.00018647
33 | 0.0028197 | 0.00070667
34 | 0.0030797 | 0.00077185
35 | 0.00026863 | 6.7326e-05
36 | 0.0039341 | 0.00098599
37 | 0.0008992 | 0.00022536
38 | 0.00074648 | 0.00018709
39 | 0.0044901 | 0.0011253
40 | 0.0052731 | 0.0013216
41 | 0.0010632 | 0.00026647
42 | 0.0015429 | 0.00038669
43 | 0.0022742 | 0.00056997
44 | 0.00096362 | 0.00024151
45 | 0.001389 | 0.00034813
46 | 0.001156 | 0.00028971
47 | 0.0017111 | 0.00042884
48 | 0.0029012 | 0.00072711
49 | 0.0083088 | 0.0020824
50 | 0.0096754 | 0.0024249
51 | 0.0035128 | 0.0008804
52 | 0.0013281 | 0.00033285
53 | 0.001546 | 0.00038747
54 | 0.0021174 | 0.00053068
55 | 0.0017595 | 0.00044098
56 | 0.0017084 | 0.00042816
57 | 0.0046306 | 0.0011605

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1