## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1143-12_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1143-12_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1143-12_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1143-12_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1143-12_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1143-12_0_2_node_30 | 0.4 | n |  | TRUE
6 | bus_LV_1143-12_0_2_node_27 | 0.4 | n |  | TRUE
7 | bus_LV_1143-12_0_2_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1143-12_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1143-12_0_2_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_1143-12_0_2_node_42 | 0.4 | n |  | TRUE
11 | bus_LV_1143-12_0_2_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_1143-12_0_2_node_52 | 0.4 | n |  | TRUE
13 | bus_LV_1143-12_0_2_node_81 | 0.4 | n |  | TRUE
14 | bus_LV_1143-12_0_2_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_1143-12_0_2_node_65 | 0.4 | n |  | TRUE
16 | bus_LV_1143-12_0_2_node_80 | 0.4 | n |  | TRUE
17 | bus_LV_1143-12_0_2_node_57 | 0.4 | n |  | TRUE
18 | bus_LV_1143-12_0_2_node_50 | 0.4 | n |  | TRUE
19 | bus_LV_1143-12_0_2_node_28 | 0.4 | n |  | TRUE
20 | bus_LV_1143-12_0_2_node_43 | 0.4 | n |  | TRUE
21 | bus_LV_1143-12_0_2_node_78 | 0.4 | n |  | TRUE
22 | bus_LV_1143-12_0_2_node_79 | 0.4 | n |  | TRUE
23 | bus_LV_1143-12_0_2_node_66 | 0.4 | n |  | TRUE
24 | bus_LV_1143-12_0_2_node_64 | 0.4 | n |  | TRUE
25 | bus_LV_1143-12_0_2_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_1143-12_0_2_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_1143-12_0_2_node_38 | 0.4 | n |  | TRUE
28 | bus_LV_1143-12_0_2_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_1143-12_0_2_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_1143-12_0_2_node_37 | 0.4 | n |  | TRUE
31 | bus_LV_1143-12_0_2_node_44 | 0.4 | n |  | TRUE
32 | bus_LV_1143-12_0_2_node_48 | 0.4 | n |  | TRUE
33 | bus_LV_1143-12_0_2_node_76 | 0.4 | n |  | TRUE
34 | bus_LV_1143-12_0_2_node_75 | 0.4 | n |  | TRUE
35 | bus_LV_1143-12_0_2_node_71 | 0.4 | n |  | TRUE
36 | bus_LV_1143-12_0_2_node_74 | 0.4 | n |  | TRUE
37 | bus_LV_1143-12_0_2_node_77 | 0.4 | n |  | TRUE
38 | bus_LV_1143-12_0_2_node_82 | 0.4 | n |  | TRUE
39 | bus_MV_131_0_node_44 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1143-12_0_2_load_0 | 0 | 0.0016509 | 0.00041376 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1143-12_0_2_load_1 | 1 | 0.0087433 | 0.0021913 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1143-12_0_2_load_3 | 3 | 0.0036566 | 0.00091644 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1143-12_0_2_load_30 | 5 | 0.0024628 | 0.00061723 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1143-12_0_2_load_27 | 6 | 0.0059977 | 0.0015032 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1143-12_0_2_load_42 | 10 | 0.0045444 | 0.0011389 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1143-12_0_2_load_52 | 12 | 0.0030231 | 0.00075767 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1143-12_0_2_load_81 | 13 | 0.003029 | 0.00075915 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1143-12_0_2_load_80 | 16 | 0.0015221 | 0.00038149 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1143-12_0_2_load_57 | 17 | 0.0057658 | 0.0014451 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1143-12_0_2_load_50 | 18 | 0.0024579 | 0.000616 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1143-12_0_2_load_28 | 19 | 0.0022687 | 0.00056859 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1143-12_0_2_load_43 | 20 | 0.0013844 | 0.00034697 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1143-12_0_2_load_78 | 21 | 0.00076742 | 0.00019233 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1143-12_0_2_load_79 | 22 | 0.0011135 | 0.00027908 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1143-12_0_2_load_66 | 23 | 0.0020661 | 0.0005178 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1143-12_0_2_load_64 | 24 | 0.0033699 | 0.00084457 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1143-12_0_2_load_29 | 25 | 0.0022669 | 0.00056815 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1143-12_0_2_load_39 | 26 | 0.0022697 | 0.00056885 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1143-12_0_2_load_38 | 27 | 0.0022673 | 0.00056824 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1143-12_0_2_load_49 | 28 | 0.002461 | 0.00061679 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1143-12_0_2_load_36 | 29 | 0.0054606 | 0.0013686 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1143-12_0_2_load_37 | 30 | 0.0022687 | 0.00056858 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1143-12_0_2_load_44 | 31 | 0.0013844 | 0.00034697 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1143-12_0_2_load_48 | 32 | 0.0024592 | 0.00061632 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1143-12_0_2_load_76 | 33 | 0.010272 | 0.0025745 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1143-12_0_2_load_75 | 34 | 0.0022098 | 0.00055384 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1143-12_0_2_load_71 | 35 | 0.0080273 | 0.0020118 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1143-12_0_2_load_82 | 38 | 0.00085628 | 0.0002146 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1143-12_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.019974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1143-12_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.012114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1143-12_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0099957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1143-12_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.020527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1143-12_0_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.017883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1143-12_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.023387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1143-12_0_2_line_6 | NAYY 4x150 SE | 5 | 18 | 0.0052485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1143-12_0_2_line_7 | NAYY 4x150 SE | 6 | 19 | 0.0040773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1143-12_0_2_line_8 | NAYY 4x150 SE | 7 | 8 | 0.031857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1143-12_0_2_line_9 | NAYY 4x150 SE | 7 | 9 | 0.024672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1143-12_0_2_line_10 | NAYY 4x150 SE | 7 | 10 | 0.0097452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1143-12_0_2_line_11 | NAYY 4x150 SE | 8 | 11 | 0.029067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1143-12_0_2_line_12 | NAYY 4x150 SE | 8 | 12 | 0.024388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1143-12_0_2_line_13 | NAYY 4x150 SE | 9 | 17 | 0.01127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1143-12_0_2_line_14 | NAYY 4x150 SE | 10 | 20 | 0.017261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1143-12_0_2_line_15 | NAYY 4x150 SE | 11 | 13 | 0.016876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1143-12_0_2_line_16 | NAYY 4x150 SE | 13 | 16 | 0.024002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1143-12_0_2_line_17 | NAYY 4x150 SE | 14 | 15 | 0.004966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1143-12_0_2_line_18 | NAYY 4x150 SE | 14 | 16 | 0.016349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1143-12_0_2_line_19 | NAYY 4x150 SE | 15 | 23 | 0.026329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1143-12_0_2_line_20 | NAYY 4x150 SE | 15 | 24 | 0.049802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1143-12_0_2_line_21 | NAYY 4x150 SE | 18 | 28 | 0.0052462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1143-12_0_2_line_22 | NAYY 4x150 SE | 19 | 25 | 0.005775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1143-12_0_2_line_23 | NAYY 4x150 SE | 20 | 31 | 0.0093251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1143-12_0_2_line_24 | NAYY 4x150 SE | 21 | 22 | 0.028356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1143-12_0_2_line_25 | NAYY 4x150 SE | 22 | 37 | 0.016977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1143-12_0_2_line_26 | NAYY 4x150 SE | 23 | 33 | 0.0079347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1143-12_0_2_line_27 | NAYY 4x150 SE | 25 | 26 | 0.0057745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1143-12_0_2_line_28 | NAYY 4x150 SE | 26 | 27 | 0.005773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1143-12_0_2_line_29 | NAYY 4x150 SE | 27 | 29 | 0.0049136 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1143-12_0_2_line_30 | NAYY 4x150 SE | 28 | 32 | 0.0052497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1143-12_0_2_line_31 | NAYY 4x150 SE | 29 | 30 | 0.00086127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1143-12_0_2_line_32 | NAYY 4x150 SE | 31 | 32 | 0.026732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1143-12_0_2_line_33 | NAYY 4x150 SE | 33 | 34 | 0.0091519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1143-12_0_2_line_34 | NAYY 4x150 SE | 34 | 36 | 0.021865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1143-12_0_2_line_35 | NAYY 4x150 SE | 35 | 36 | 0.039207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1143-12_0_2_line_36 | NAYY 4x150 SE | 36 | 37 | 0.02438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1143-12_0_2_line_37 | NAYY 4x150 SE | 37 | 38 | 0.042785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1143-12_0_2_trafo_43 | 0.25 MVA 20/0.4 kV | 39 | 20 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2641790.9647 | 1224907.2891 | 2641798.8061 | 1224888.9188
1 | 2641784.4907 | 1224917.3588 | 2641788.7939 | 1224912.3748 | 2641790.9647 | 1224907.2891
2 | 2641798.8061 | 1224888.9188 | 2641802.7303 | 1224879.7256
3 | 2641784.4907 | 1224917.3588 | 2641768.4941 | 1224904.4387
4 | 2641768.4941 | 1224904.4387 | 2641754.5794 | 1224893.2063
5 | 2641768.4941 | 1224904.4387 | 2641766.5517 | 1224906.8266 | 2641760.8429 | 1224926.3171
6 | 2641754.5794 | 1224893.2063 | 2641750.4954 | 1224889.9095
7 | 2641760.8429 | 1224926.3171 | 2641759.6968 | 1224930.2301
8 | 2641694.7717 | 1224842.04 | 2641679.0737 | 1224825.3867 | 2641675.9707 | 1224823.5416 | 2641671.771 | 1224822.4116 | 2641670.7418 | 1224822.1376
9 | 2641705.4031 | 1224820.0344 | 2641700.2347 | 1224832.7392 | 2641697.7585 | 1224838.8145 | 2641694.7717 | 1224842.04
10 | 2641694.7717 | 1224842.04 | 2641701.5839 | 1224849.0086
11 | 2641667.3741 | 1224800.701 | 2641672.286 | 1224801.9027 | 2641676.2283 | 1224802.9865 | 2641673.998 | 1224810.7645 | 2641670.7418 | 1224822.1376
12 | 2641670.7418 | 1224822.1376 | 2641668.4338 | 1224830.193 | 2641664.7659 | 1224842.9862 | 2641664.0155 | 1224845.5798
13 | 2641705.4031 | 1224820.0344 | 2641709.6573 | 1224809.5985
14 | 2641714.2717 | 1224860.6683 | 2641708.1553 | 1224855.7309 | 2641701.5839 | 1224849.0086
15 | 2641667.3741 | 1224800.701 | 2641661.9645 | 1224816.6868
16 | 2641655.7802 | 1224839.8741 | 2641661.4287 | 1224818.2701 | 2641661.9645 | 1224816.6868
17 | 2641646.8632 | 1224854.3012 | 2641651.6448 | 1224855.6911
18 | 2641651.6448 | 1224855.6911 | 2641655.7802 | 1224839.8741
19 | 2641646.8632 | 1224854.3012 | 2641621.5979 | 1224846.8919
20 | 2641646.8632 | 1224854.3012 | 2641646.2072 | 1224857.0316 | 2641632.4552 | 1224901.9683
21 | 2641746.4133 | 1224886.6143 | 2641750.4954 | 1224889.9095
22 | 2641759.6968 | 1224930.2301 | 2641758.0735 | 1224935.7723
23 | 2641721.5277 | 1224866.5256 | 2641714.2717 | 1224860.6683
24 | 2641559.245 | 1224899.5431 | 2641569.4902 | 1224873.1024
25 | 2641575.624 | 1224857.2721 | 2641569.4902 | 1224873.1024
26 | 2641621.5979 | 1224846.8919 | 2641613.9839 | 1224844.659
27 | 2641758.0735 | 1224935.7723 | 2641756.4503 | 1224941.3139
28 | 2641756.4503 | 1224941.3139 | 2641754.8276 | 1224946.8542
29 | 2641754.8276 | 1224946.8542 | 2641753.4464 | 1224951.5696
30 | 2641742.3285 | 1224883.3168 | 2641746.4133 | 1224886.6143
31 | 2641753.2044 | 1224952.3962 | 2641753.4464 | 1224951.5696
32 | 2641721.5277 | 1224866.5256 | 2641742.3285 | 1224883.3168
33 | 2641605.2018 | 1224842.0835 | 2641613.9839 | 1224844.659
34 | 2641584.743 | 1224834.6554 | 2641593.0886 | 1224837.0262 | 2641599.6377 | 1224840.4518 | 2641605.2018 | 1224842.0835
35 | 2641584.743 | 1224834.6554 | 2641601.956 | 1224799.4285
36 | 2641575.624 | 1224857.2721 | 2641576.4733 | 1224855.0656 | 2641584.743 | 1224834.6554
37 | 2641575.624 | 1224857.2721 | 2641565.1522 | 1224853.2299 | 2641533.5963 | 1224852.7264

## bus_geodata
| x | y | coords
0 | 2641790.9647 | 1224907.2891
1 | 2641798.8061 | 1224888.9188
2 | 2641784.4907 | 1224917.3588
3 | 2641802.7303 | 1224879.7256
4 | 2641768.4941 | 1224904.4387
5 | 2641754.5794 | 1224893.2063
6 | 2641760.8429 | 1224926.3171
7 | 2641694.7717 | 1224842.04
8 | 2641670.7418 | 1224822.1376
9 | 2641705.4031 | 1224820.0344
10 | 2641701.5839 | 1224849.0086
11 | 2641667.3741 | 1224800.701
12 | 2641664.0155 | 1224845.5798
13 | 2641661.9645 | 1224816.6868
14 | 2641651.6448 | 1224855.6911
15 | 2641646.8632 | 1224854.3012
16 | 2641655.7802 | 1224839.8741
17 | 2641709.6573 | 1224809.5985
18 | 2641750.4954 | 1224889.9095
19 | 2641759.6968 | 1224930.2301
20 | 2641714.2717 | 1224860.6683
21 | 2641559.245 | 1224899.5431
22 | 2641569.4902 | 1224873.1024
23 | 2641621.5979 | 1224846.8919
24 | 2641632.4552 | 1224901.9683
25 | 2641758.0735 | 1224935.7723
26 | 2641756.4503 | 1224941.3139
27 | 2641754.8276 | 1224946.8542
28 | 2641746.4133 | 1224886.6143
29 | 2641753.4464 | 1224951.5696
30 | 2641753.2044 | 1224952.3962
31 | 2641721.5277 | 1224866.5256
32 | 2641742.3285 | 1224883.3168
33 | 2641613.9839 | 1224844.659
34 | 2641605.2018 | 1224842.0835
35 | 2641601.956 | 1224799.4285
36 | 2641584.743 | 1224834.6554
37 | 2641575.624 | 1224857.2721
38 | 2641533.5963 | 1224852.7264
39 | 2641694.7717 | 1224842.04

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99503 | -0.034834 | 0.0016509 | 0.00041376
1 | 0.99467 | -0.037332 | 0.0087433 | 0.0021913
2 | 0.99527 | -0.033118 | 0 | 0
3 | 0.99462 | -0.037701 | 0.0036566 | 0.00091644
4 | 0.99568 | -0.030212 | 0 | 0
5 | 0.99663 | -0.023583 | 0.0024628 | 0.00061723
6 | 0.99492 | -0.035585 | 0.0059977 | 0.0015032
7 | 0.99826 | -0.012143 | 0 | 0
8 | 0.9966 | -0.023742 | 0 | 0
9 | 0.99806 | -0.013568 | 0 | 0
10 | 0.99885 | -0.0080393 | 0.0045444 | 0.0011389
11 | 0.99521 | -0.033472 | 0 | 0
12 | 0.99649 | -0.024483 | 0.0030231 | 0.00075767
13 | 0.9944 | -0.039133 | 0.003029 | 0.00075915
14 | 0.99269 | -0.051216 | 0 | 0
15 | 0.99248 | -0.05266 | 0 | 0
16 | 0.99336 | -0.046465 | 0.0015221 | 0.00038149
17 | 0.99796 | -0.014219 | 0.0057658 | 0.0014451
18 | 0.99692 | -0.021509 | 0.0024579 | 0.000616
19 | 0.99482 | -0.036276 | 0.0022687 | 0.00056859
20 | 1 | 0 | -0.095967 | -0.023913
21 | 0.99058 | -0.06613 | 0.00076742 | 0.00019233
22 | 0.99061 | -0.065909 | 0.0011135 | 0.00027908
23 | 0.99152 | -0.059424 | 0.0020661 | 0.0005178
24 | 0.99224 | -0.054362 | 0.0033699 | 0.00084457
25 | 0.9947 | -0.037123 | 0.0022669 | 0.00056815
26 | 0.9946 | -0.037838 | 0.0022697 | 0.00056885
27 | 0.99452 | -0.03842 | 0.0022673 | 0.00056824
28 | 0.99724 | -0.019309 | 0.002461 | 0.00061679
29 | 0.99446 | -0.038803 | 0.0054606 | 0.0013686
30 | 0.99446 | -0.038823 | 0.0022687 | 0.00056858
31 | 0.99936 | -0.0044788 | 0.0013844 | 0.00034697
32 | 0.99757 | -0.016978 | 0.0024592 | 0.00061632
33 | 0.99126 | -0.061299 | 0.010272 | 0.0025745
34 | 0.99109 | -0.062507 | 0.0022098 | 0.00055384
35 | 0.9903 | -0.068105 | 0.0080273 | 0.0020118
36 | 0.99075 | -0.064902 | 0 | 0
37 | 0.99065 | -0.065583 | 0 | 0
38 | 0.9906 | -0.065957 | 0.00085628 | 0.0002146
39 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.012404 | 0.0031091 | -0.0124 | -0.0031077 | 4.289e-06 | 1.3903e-06 | 0.01855 | 0.01855 | 0.01855 | 0.99503 | -0.034834 | 0.99467 | -0.037332 | 6.8705
1 | -0.014055 | -0.0035228 | 0.014059 | 0.0035239 | 3.3397e-06 | 1.1271e-06 | 0.021019 | 0.021019 | 0.021019 | 0.99503 | -0.034834 | 0.99527 | -0.033118 | 7.7849
2 | 0.0036568 | 0.00091638 | -0.0036566 | -0.00091644 | 1.8666e-07 | -5.7942e-08 | 0.0054705 | 0.0054706 | 0.0054706 | 0.99467 | -0.037332 | 0.99462 | -0.037701 | 2.0261
3 | -0.014059 | -0.0035239 | 0.014064 | 0.0035259 | 5.659e-06 | 1.9097e-06 | 0.021019 | 0.021019 | 0.021019 | 0.99527 | -0.033118 | 0.99568 | -0.030212 | 7.7849
4 | -0.036887 | -0.0092481 | 0.036921 | 0.0092609 | 3.3911e-05 | 1.281e-05 | 0.055127 | 0.055127 | 0.055127 | 0.99568 | -0.030212 | 0.99663 | -0.023583 | 20.4175
5 | 0.022822 | 0.0057222 | -0.022805 | -0.005716 | 1.6978e-05 | 6.226e-06 | 0.034108 | 0.034108 | 0.034108 | 0.99568 | -0.030212 | 0.99492 | -0.035585 | 12.6327
6 | -0.039383 | -0.0098781 | 0.039395 | 0.0098824 | 1.1325e-05 | 4.2874e-06 | 0.058804 | 0.058804 | 0.058804 | 0.99663 | -0.023583 | 0.99692 | -0.021509 | 21.7793
7 | 0.016808 | 0.0042128 | -0.016806 | -0.0042122 | 1.6078e-06 | 5.6542e-07 | 0.025138 | 0.025138 | 0.025138 | 0.99492 | -0.035585 | 0.99482 | -0.036276 | 9.3103
8 | 0.036483 | 0.0091684 | -0.036424 | -0.0091462 | 5.8809e-05 | 2.2203e-05 | 0.054391 | 0.054391 | 0.054391 | 0.99826 | -0.012143 | 0.9966 | -0.023742 | 20.1448
9 | 0.0057675 | 0.0014452 | -0.0057664 | -0.0014451 | 1.1379e-06 | 1.1516e-07 | 0.008597 | 0.0085971 | 0.0085971 | 0.99826 | -0.012143 | 0.99806 | -0.013568 | 3.1841
10 | -0.04225 | -0.010614 | 0.042275 | 0.010623 | 2.4126e-05 | 9.1517e-06 | 0.062988 | 0.062988 | 0.062988 | 0.99826 | -0.012143 | 0.99885 | -0.0080393 | 23.3288
11 | 0.033401 | 0.0083888 | -0.033356 | -0.0083718 | 4.5121e-05 | 1.6976e-05 | 0.049877 | 0.049877 | 0.049877 | 0.9966 | -0.023742 | 0.99521 | -0.033472 | 18.4729
12 | 0.0030234 | 0.00075747 | -0.0030231 | -0.00075767 | 3.1012e-07 | -1.9847e-07 | 0.0045142 | 0.0045143 | 0.0045143 | 0.9966 | -0.023742 | 0.99649 | -0.024483 | 1.672
13 | 0.0057664 | 0.0014451 | -0.0057658 | -0.0014451 | 5.1976e-07 | 5.2647e-08 | 0.0085971 | 0.0085972 | 0.0085972 | 0.99806 | -0.013568 | 0.99796 | -0.014219 | 3.1841
14 | -0.046819 | -0.011762 | 0.046871 | 0.011782 | 5.2413e-05 | 1.9933e-05 | 0.069758 | 0.069758 | 0.069758 | 0.99885 | -0.0080393 | 1 | 0 | 25.8362
15 | 0.033356 | 0.0083718 | -0.033329 | -0.0083619 | 2.6197e-05 | 9.8568e-06 | 0.049877 | 0.049877 | 0.049877 | 0.99521 | -0.033472 | 0.9944 | -0.039133 | 18.4729
16 | 0.0303 | 0.0076028 | -0.03027 | -0.0075912 | 3.0794e-05 | 1.1533e-05 | 0.045344 | 0.045344 | 0.045344 | 0.9944 | -0.039133 | 0.99336 | -0.046465 | 16.7942
17 | 0.028729 | 0.0072027 | -0.028723 | -0.0072005 | 5.7468e-06 | 2.1461e-06 | 0.043064 | 0.043064 | 0.043064 | 0.99269 | -0.051216 | 0.99248 | -0.05266 | 15.9498
18 | -0.028729 | -0.0072027 | 0.028747 | 0.0072098 | 1.8919e-05 | 7.0651e-06 | 0.043064 | 0.043064 | 0.043064 | 0.99269 | -0.051216 | 0.99336 | -0.046465 | 15.9498
19 | 0.025352 | 0.0063563 | -0.025328 | -0.0063475 | 2.3738e-05 | 8.7901e-06 | 0.038011 | 0.038011 | 0.038011 | 0.99248 | -0.05266 | 0.99152 | -0.059424 | 14.0782
20 | 0.0033707 | 0.00084423 | -0.0033699 | -0.00084457 | 7.9363e-07 | -3.3818e-07 | 0.0050534 | 0.0050536 | 0.0050536 | 0.99248 | -0.05266 | 0.99224 | -0.054362 | 1.8717
21 | -0.041853 | -0.010498 | 0.041865 | 0.010503 | 1.2776e-05 | 4.8456e-06 | 0.062473 | 0.062473 | 0.062473 | 0.99692 | -0.021509 | 0.99724 | -0.019309 | 23.1381
22 | 0.014537 | 0.0036437 | -0.014536 | -0.0036431 | 1.7039e-06 | 5.8036e-07 | 0.021745 | 0.021745 | 0.021745 | 0.99482 | -0.036276 | 0.9947 | -0.037123 | 8.0535
23 | 0.048296 | 0.012131 | -0.048266 | -0.01212 | 3.006e-05 | 1.1439e-05 | 0.071874 | 0.071874 | 0.071874 | 1 | 0 | 0.99936 | -0.0044788 | 26.6201
24 | -0.00076742 | -0.00019233 | 0.00076745 | 0.00019198 | 2.3512e-08 | -3.56e-07 | 0.0011528 | 0.0011527 | 0.0011528 | 0.99058 | -0.06613 | 0.99061 | -0.065909 | 0.42696
25 | -0.001881 | -0.00047106 | 0.0018811 | 0.00047087 | 8.4564e-08 | -1.8605e-07 | 0.0028254 | 0.0028253 | 0.0028254 | 0.99061 | -0.065909 | 0.99065 | -0.065583 | 1.0464
26 | 0.023262 | 0.0058297 | -0.023256 | -0.0058275 | 6.0343e-06 | 2.2186e-06 | 0.03491 | 0.034911 | 0.034911 | 0.99152 | -0.059424 | 0.99126 | -0.061299 | 12.9298
27 | 0.012269 | 0.0030749 | -0.012267 | -0.0030745 | 1.2137e-06 | 3.9188e-07 | 0.018353 | 0.018353 | 0.018353 | 0.9947 | -0.037123 | 0.9946 | -0.037838 | 6.7975
28 | 0.0099978 | 0.0025057 | -0.009997 | -0.0025055 | 8.0596e-07 | 2.3507e-07 | 0.014958 | 0.014958 | 0.014958 | 0.9946 | -0.037838 | 0.99452 | -0.03842 | 5.5399
29 | 0.0077297 | 0.0019372 | -0.0077293 | -0.0019371 | 4.1011e-07 | 9.3979e-08 | 0.011565 | 0.011565 | 0.011565 | 0.99452 | -0.03842 | 0.99446 | -0.038803 | 4.2835
30 | -0.044326 | -0.01112 | 0.044341 | 0.011125 | 1.4332e-05 | 5.4438e-06 | 0.066145 | 0.066145 | 0.066145 | 0.99724 | -0.019309 | 0.99757 | -0.016978 | 24.4981
31 | 0.0022687 | 0.00056858 | -0.0022687 | -0.00056858 | 6.193e-09 | -8.7924e-09 | 0.0033946 | 0.0033946 | 0.0033946 | 0.99446 | -0.038803 | 0.99446 | -0.038823 | 1.2573
32 | 0.046881 | 0.011773 | -0.0468 | -0.011742 | 8.1301e-05 | 3.092e-05 | 0.069813 | 0.069813 | 0.069813 | 0.99936 | -0.0044788 | 0.99757 | -0.016978 | 25.8567
33 | 0.012984 | 0.0032531 | -0.012982 | -0.0032523 | 2.1694e-06 | 7.1644e-07 | 0.019491 | 0.019491 | 0.019491 | 0.99126 | -0.061299 | 0.99109 | -0.062507 | 7.2187
34 | 0.010772 | 0.0026985 | -0.010769 | -0.0026974 | 3.5687e-06 | 1.0909e-06 | 0.016173 | 0.016173 | 0.016173 | 0.99109 | -0.062507 | 0.99075 | -0.064902 | 5.9899
35 | -0.0080273 | -0.0020118 | 0.0080309 | 0.0020127 | 3.5593e-06 | 8.6431e-07 | 0.012062 | 0.012062 | 0.012062 | 0.9903 | -0.068105 | 0.99075 | -0.064902 | 4.4673
36 | 0.0027377 | 0.00068472 | -0.0027374 | -0.00068494 | 2.5714e-07 | -2.1503e-07 | 0.0041112 | 0.0041113 | 0.0041113 | 0.99075 | -0.064902 | 0.99065 | -0.065583 | 1.5227
37 | 0.00085632 | 0.00021407 | -0.00085628 | -0.0002146 | 4.4162e-08 | -5.3385e-07 | 0.001286 | 0.0012862 | 0.0012862 | 0.99065 | -0.065583 | 0.9906 | -0.065957 | 0.47639

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.097352 | 0.02426

## res_load
| p_mw | q_mvar
0 | 0.0016509 | 0.00041376
1 | 0.0087433 | 0.0021913
2 | 0.0036566 | 0.00091644
3 | 0.0024628 | 0.00061723
4 | 0.0059977 | 0.0015032
5 | 0.0045444 | 0.0011389
6 | 0.0030231 | 0.00075767
7 | 0.003029 | 0.00075915
8 | 0.0015221 | 0.00038149
9 | 0.0057658 | 0.0014451
10 | 0.0024579 | 0.000616
11 | 0.0022687 | 0.00056859
12 | 0.0013844 | 0.00034697
13 | 0.00076742 | 0.00019233
14 | 0.0011135 | 0.00027908
15 | 0.0020661 | 0.0005178
16 | 0.0033699 | 0.00084457
17 | 0.0022669 | 0.00056815
18 | 0.0022697 | 0.00056885
19 | 0.0022673 | 0.00056824
20 | 0.002461 | 0.00061679
21 | 0.0054606 | 0.0013686
22 | 0.0022687 | 0.00056858
23 | 0.0013844 | 0.00034697
24 | 0.0024592 | 0.00061632
25 | 0.010272 | 0.0025745
26 | 0.0022098 | 0.00055384
27 | 0.0080273 | 0.0020118
28 | 0.00085628 | 0.0002146

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1