## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1143-17_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1143-17_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1143-17_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1143-17_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1143-17_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1143-17_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1143-17_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1143-17_0_3_node_21 | 0.4 | n |  | TRUE
8 | bus_LV_1143-17_0_3_node_26 | 0.4 | n |  | TRUE
9 | bus_LV_1143-17_0_3_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_1143-17_0_3_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_1143-17_0_3_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_1143-17_0_3_node_27 | 0.4 | n |  | TRUE
13 | bus_LV_1143-17_0_3_node_14 | 0.4 | n |  | TRUE
14 | bus_LV_1143-17_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_1143-17_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_1143-17_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1143-17_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1143-17_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1143-17_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_1143-17_0_3_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_1143-17_0_3_node_50 | 0.4 | n |  | TRUE
22 | bus_LV_1143-17_0_3_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_1143-17_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_1143-17_0_3_node_43 | 0.4 | n |  | TRUE
25 | bus_LV_1143-17_0_3_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_1143-17_0_3_node_44 | 0.4 | n |  | TRUE
27 | bus_LV_1143-17_0_3_node_36 | 0.4 | n |  | TRUE
28 | bus_LV_1143-17_0_3_node_35 | 0.4 | n |  | TRUE
29 | bus_LV_1143-17_0_3_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_1143-17_0_3_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_1143-17_0_3_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_1143-17_0_3_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_1143-17_0_3_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_1143-17_0_3_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_1143-17_0_3_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_1143-17_0_3_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_1143-17_0_3_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_1143-17_0_3_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_1143-17_0_3_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_1143-17_0_3_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_1143-17_0_3_node_49 | 0.4 | n |  | TRUE
42 | bus_LV_1143-17_0_3_node_48 | 0.4 | n |  | TRUE
43 | bus_LV_1143-17_0_3_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_1143-17_0_3_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_1143-17_0_3_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_1143-17_0_3_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_1143-17_0_3_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_1143-17_0_3_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_1143-17_0_3_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_1143-17_0_3_node_47 | 0.4 | n |  | TRUE
51 | bus_MV_131_0_node_59 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1143-17_0_3_load_0 | 0 | 0.0051219 | 0.0012837 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1143-17_0_3_load_1 | 1 | 0.0026688 | 0.00066886 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1143-17_0_3_load_3 | 3 | 0.00091725 | 0.00022988 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1143-17_0_3_load_5 | 5 | 0.0028133 | 0.00070508 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1143-17_0_3_load_6 | 6 | 0.0025898 | 0.00064907 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1143-17_0_3_load_21 | 7 | 0.0037491 | 0.00093961 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1143-17_0_3_load_26 | 8 | 0.0042158 | 0.0010566 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1143-17_0_3_load_9 | 10 | 0.0031934 | 0.00080034 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1143-17_0_3_load_27 | 12 | 0.0036841 | 0.00092332 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1143-17_0_3_load_14 | 13 | 0.0034196 | 0.00085704 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1143-17_0_3_load_7 | 14 | 0.0031064 | 0.00077853 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1143-17_0_3_load_8 | 15 | 0.0039893 | 0.00099981 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1143-17_0_3_load_10 | 16 | 0.0067934 | 0.0017026 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1143-17_0_3_load_12 | 18 | 0.0017123 | 0.00042913 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1143-17_0_3_load_50 | 21 | 0.0039102 | 0.00097999 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1143-17_0_3_load_19 | 22 | 0.0025535 | 0.00063996 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1143-17_0_3_load_16 | 23 | 0.0023158 | 0.00058038 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1143-17_0_3_load_43 | 24 | 0.0010317 | 0.00025858 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1143-17_0_3_load_20 | 25 | 0.0038699 | 0.00096989 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1143-17_0_3_load_44 | 26 | 0.0017954 | 0.00044997 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1143-17_0_3_load_36 | 27 | 0.0015506 | 0.00038862 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1143-17_0_3_load_35 | 28 | 0.0026882 | 0.00067372 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1143-17_0_3_load_22 | 29 | 0.0062015 | 0.0015542 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1143-17_0_3_load_23 | 30 | 0.0014802 | 0.00037098 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1143-17_0_3_load_24 | 31 | 0.0025977 | 0.00065104 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1143-17_0_3_load_25 | 32 | 0.004583 | 0.0011486 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1143-17_0_3_load_38 | 34 | 0.0019643 | 0.0004923 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1143-17_0_3_load_34 | 35 | 0.0030674 | 0.00076875 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1143-17_0_3_load_33 | 36 | 0.0025419 | 0.00063706 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1143-17_0_3_load_29 | 37 | 0.0052837 | 0.0013242 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1143-17_0_3_load_30 | 38 | 0.00095211 | 0.00023862 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1143-17_0_3_load_32 | 39 | 0.0016412 | 0.00041133 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1143-17_0_3_load_28 | 40 | 0.0025245 | 0.00063269 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1143-17_0_3_load_49 | 41 | 0.0011939 | 0.00029923 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1143-17_0_3_load_48 | 42 | 0.0014457 | 0.00036234 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1143-17_0_3_load_37 | 43 | 0.0037899 | 0.00094983 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1143-17_0_3_load_39 | 44 | 0.0010312 | 0.00025844 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1143-17_0_3_load_40 | 45 | 0.0015079 | 0.00037791 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1143-17_0_3_load_41 | 46 | 0.0010312 | 0.00025844 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1143-17_0_3_load_42 | 47 | 0.0012008 | 0.00030095 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1143-17_0_3_load_45 | 48 | 0.0012008 | 0.00030095 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1143-17_0_3_load_46 | 49 | 0.001542 | 0.00038646 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1143-17_0_3_load_47 | 50 | 0.0011939 | 0.00029923 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1143-17_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0019238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1143-17_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.01707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1143-17_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.019878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1143-17_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.004472 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1143-17_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.023925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1143-17_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.011548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1143-17_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.01572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1143-17_0_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.019148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1143-17_0_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.03607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1143-17_0_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.0027819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1143-17_0_3_line_10 | NAYY 4x150 SE | 7 | 11 | 0.02229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1143-17_0_3_line_11 | NAYY 4x150 SE | 8 | 12 | 0.015936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1143-17_0_3_line_12 | NAYY 4x150 SE | 9 | 13 | 0.020097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1143-17_0_3_line_13 | NAYY 4x150 SE | 11 | 25 | 0.015844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1143-17_0_3_line_14 | NAYY 4x150 SE | 11 | 23 | 0.02174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1143-17_0_3_line_15 | NAYY 4x150 SE | 12 | 40 | 0.0096258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1143-17_0_3_line_16 | NAYY 4x150 SE | 14 | 15 | 0.0011003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1143-17_0_3_line_17 | NAYY 4x150 SE | 15 | 16 | 0.009906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1143-17_0_3_line_18 | NAYY 4x150 SE | 16 | 17 | 0.024158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1143-17_0_3_line_19 | NAYY 4x150 SE | 17 | 18 | 0.010991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1143-17_0_3_line_20 | NAYY 4x150 SE | 17 | 19 | 0.017384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1143-17_0_3_line_21 | NAYY 4x150 SE | 18 | 20 | 0.020619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1143-17_0_3_line_22 | NAYY 4x150 SE | 19 | 21 | 0.034008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1143-17_0_3_line_23 | NAYY 4x150 SE | 20 | 22 | 0.017634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1143-17_0_3_line_24 | NAYY 4x150 SE | 20 | 23 | 0.0054072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1143-17_0_3_line_25 | NAYY 4x150 SE | 21 | 24 | 0.026666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1143-17_0_3_line_26 | NAYY 4x150 SE | 22 | 26 | 0.014117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1143-17_0_3_line_27 | NAYY 4x150 SE | 24 | 46 | 0.0078826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1143-17_0_3_line_28 | NAYY 4x150 SE | 25 | 27 | 0.017813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_1143-17_0_3_line_29 | NAYY 4x150 SE | 27 | 28 | 0.026361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1143-17_0_3_line_30 | NAYY 4x150 SE | 28 | 43 | 0.0034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1143-17_0_3_line_31 | NAYY 4x150 SE | 29 | 30 | 0.021619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1143-17_0_3_line_32 | NAYY 4x150 SE | 29 | 31 | 0.0040498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1143-17_0_3_line_33 | NAYY 4x150 SE | 30 | 32 | 0.018034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1143-17_0_3_line_34 | NAYY 4x150 SE | 31 | 33 | 0.053611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1143-17_0_3_line_35 | NAYY 4x150 SE | 32 | 36 | 0.020428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1143-17_0_3_line_36 | NAYY 4x150 SE | 32 | 34 | 0.045988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1143-17_0_3_line_37 | NAYY 4x150 SE | 33 | 37 | 0.022742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1143-17_0_3_line_38 | NAYY 4x150 SE | 34 | 35 | 0.00090724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1143-17_0_3_line_39 | NAYY 4x150 SE | 35 | 40 | 0.020522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1143-17_0_3_line_40 | NAYY 4x150 SE | 37 | 38 | 0.018978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1143-17_0_3_line_41 | NAYY 4x150 SE | 38 | 39 | 0.0043089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1143-17_0_3_line_42 | NAYY 4x150 SE | 41 | 42 | 0.0050511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1143-17_0_3_line_43 | NAYY 4x150 SE | 42 | 50 | 0.0028515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1143-17_0_3_line_44 | NAYY 4x150 SE | 44 | 45 | 0.012751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1143-17_0_3_line_45 | NAYY 4x150 SE | 44 | 46 | 0.0079787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1143-17_0_3_line_46 | NAYY 4x150 SE | 45 | 47 | 0.015699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1143-17_0_3_line_47 | NAYY 4x150 SE | 47 | 48 | 0.0080585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1143-17_0_3_line_48 | NAYY 4x150 SE | 48 | 49 | 0.012922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1143-17_0_3_line_49 | NAYY 4x150 SE | 49 | 50 | 0.015567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1143-17_0_3_trafo_36 | 0.25 MVA 20/0.4 kV | 51 | 27 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2641365.0177 | 1224223.8476 | 2641364.5848 | 1224221.9731
1 | 2641368.1788 | 1224240.5764 | 2641367.9638 | 1224236.6058 | 2641365.0177 | 1224223.8476
2 | 2641364.5848 | 1224221.9731 | 2641360.1123 | 1224202.6046
3 | 2641368.1788 | 1224240.5764 | 2641363.6966 | 1224240.7454
4 | 2641368.1788 | 1224240.5764 | 2641377.9418 | 1224239.8771 | 2641385.1993 | 1224238.5711 | 2641391.5982 | 1224236.3822
5 | 2641357.4524 | 1224191.3676 | 2641358.1152 | 1224193.9561 | 2641360.1123 | 1224202.6046
6 | 2641363.6966 | 1224240.7454 | 2641347.9768 | 1224240.7972
7 | 2641363.6966 | 1224240.7454 | 2641364.7799 | 1224259.8626
8 | 2641424.2697 | 1224221.121 | 2641393.1946 | 1224235.8361 | 2641391.5982 | 1224236.3822
9 | 2641356.7623 | 1224188.6726 | 2641357.4524 | 1224191.3676
10 | 2641325.687 | 1224240.8706 | 2641347.9768 | 1224240.7972
11 | 2641364.7799 | 1224259.8626 | 2641365.6815 | 1224275.7731
12 | 2641424.2697 | 1224221.121 | 2641429.5759 | 1224240.5047
13 | 2641325.687 | 1224240.8706 | 2641328.566 | 1224256.4506
14 | 2641325.687 | 1224240.8706 | 2641303.948 | 1224241.1204
15 | 2641365.6815 | 1224275.7731 | 2641366.2261 | 1224285.3835
16 | 2641259.6777 | 1224207.898 | 2641259.3773 | 1224206.8395
17 | 2641259.6777 | 1224207.898 | 2641261.5734 | 1224214.577 | 2641262.1589 | 1224217.4817
18 | 2641266.9317 | 1224241.1635 | 2641262.1589 | 1224217.4817
19 | 2641266.9317 | 1224241.1635 | 2641277.9225 | 1224241.1701
20 | 2641266.9317 | 1224241.1635 | 2641249.5643 | 1224239.6312
21 | 2641298.5411 | 1224241.1826 | 2641277.9225 | 1224241.1701
22 | 2641249.5643 | 1224239.6312 | 2641255.6101 | 1224254.5266 | 2641261.8364 | 1224271.3432
23 | 2641298.5411 | 1224241.1826 | 2641298.499 | 1224245.0624 | 2641301.6314 | 1224258.4544
24 | 2641298.5411 | 1224241.1826 | 2641303.948 | 1224241.1204
25 | 2641261.8364 | 1224271.3432 | 2641271.095 | 1224296.3499
26 | 2641304.8465 | 1224272.2006 | 2641301.6314 | 1224258.4544
27 | 2641271.095 | 1224296.3499 | 2641273.832 | 1224303.7421
28 | 2641328.566 | 1224256.4506 | 2641331.803 | 1224273.9673
29 | 2641336.5931 | 1224299.8894 | 2641331.803 | 1224273.9673
30 | 2641337.211 | 1224303.2327 | 2641336.5931 | 1224299.8894
31 | 2641414.9142 | 1224344.1088 | 2641414.0721 | 1224322.5059
32 | 2641414.9142 | 1224344.1088 | 2641415.0719 | 1224348.1556
33 | 2641414.0721 | 1224322.5059 | 2641413.3696 | 1224304.4857
34 | 2641415.0719 | 1224348.1556 | 2641417.1601 | 1224401.7254
35 | 2641412.5739 | 1224284.073 | 2641413.3696 | 1224304.4857
36 | 2641367.4384 | 1224306.778 | 2641413.3696 | 1224304.4857
37 | 2641417.1601 | 1224401.7254 | 2641407.2981 | 1224402.524 | 2641394.5316 | 1224403.9682
38 | 2641367.4384 | 1224306.778 | 2641367.387 | 1224305.8722
39 | 2641367.387 | 1224305.8722 | 2641366.2261 | 1224285.3835
40 | 2641394.5316 | 1224403.9682 | 2641392.206 | 1224404.2313 | 2641378.2078 | 1224406.7133 | 2641375.8473 | 1224407.2515
41 | 2641375.8473 | 1224407.2515 | 2641371.6462 | 1224408.2092
42 | 2641300.6169 | 1224374.6818 | 2641302.4044 | 1224379.4061
43 | 2641300.6169 | 1224374.6818 | 2641299.6079 | 1224372.0148
44 | 2641276.6069 | 1224311.2227 | 2641281.1193 | 1224323.149
45 | 2641276.6069 | 1224311.2227 | 2641276.3603 | 1224310.5709 | 2641273.832 | 1224303.7421
46 | 2641281.1193 | 1224323.149 | 2641286.6747 | 1224337.8322
47 | 2641289.5264 | 1224345.3693 | 2641286.6747 | 1224337.8322
48 | 2641289.5264 | 1224345.3693 | 2641294.0992 | 1224357.4551
49 | 2641294.0992 | 1224357.4551 | 2641299.6079 | 1224372.0148

## bus_geodata
| x | y | coords
0 | 2641365.0177 | 1224223.8476
1 | 2641364.5848 | 1224221.9731
2 | 2641368.1788 | 1224240.5764
3 | 2641360.1123 | 1224202.6046
4 | 2641363.6966 | 1224240.7454
5 | 2641391.5982 | 1224236.3822
6 | 2641357.4524 | 1224191.3676
7 | 2641347.9768 | 1224240.7972
8 | 2641364.7799 | 1224259.8626
9 | 2641424.2697 | 1224221.121
10 | 2641356.7623 | 1224188.6726
11 | 2641325.687 | 1224240.8706
12 | 2641365.6815 | 1224275.7731
13 | 2641429.5759 | 1224240.5047
14 | 2641259.3773 | 1224206.8395
15 | 2641259.6777 | 1224207.898
16 | 2641262.1589 | 1224217.4817
17 | 2641266.9317 | 1224241.1635
18 | 2641277.9225 | 1224241.1701
19 | 2641249.5643 | 1224239.6312
20 | 2641298.5411 | 1224241.1826
21 | 2641261.8364 | 1224271.3432
22 | 2641301.6314 | 1224258.4544
23 | 2641303.948 | 1224241.1204
24 | 2641271.095 | 1224296.3499
25 | 2641328.566 | 1224256.4506
26 | 2641304.8465 | 1224272.2006
27 | 2641331.803 | 1224273.9673
28 | 2641336.5931 | 1224299.8894
29 | 2641414.9142 | 1224344.1088
30 | 2641414.0721 | 1224322.5059
31 | 2641415.0719 | 1224348.1556
32 | 2641413.3696 | 1224304.4857
33 | 2641417.1601 | 1224401.7254
34 | 2641367.4384 | 1224306.778
35 | 2641367.387 | 1224305.8722
36 | 2641412.5739 | 1224284.073
37 | 2641394.5316 | 1224403.9682
38 | 2641375.8473 | 1224407.2515
39 | 2641371.6462 | 1224408.2092
40 | 2641366.2261 | 1224285.3835
41 | 2641302.4044 | 1224379.4061
42 | 2641300.6169 | 1224374.6818
43 | 2641337.211 | 1224303.2327
44 | 2641276.6069 | 1224311.2227
45 | 2641281.1193 | 1224323.149
46 | 2641273.832 | 1224303.7421
47 | 2641286.6747 | 1224337.8322
48 | 2641289.5264 | 1224345.3693
49 | 2641294.0992 | 1224357.4551
50 | 2641299.6079 | 1224372.0148
51 | 2641337.211 | 1224303.2327

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99228 | -0.053971 | 0.0051219 | 0.0012837
1 | 0.99226 | -0.054154 | 0.0026688 | 0.00066886
2 | 0.99264 | -0.051464 | 0 | 0
3 | 0.99207 | -0.055504 | 0.00091725 | 0.00022988
4 | 0.99277 | -0.050524 | 0 | 0
5 | 0.99242 | -0.052976 | 0.0028133 | 0.00070508
6 | 0.99197 | -0.056182 | 0.0025898 | 0.00064907
7 | 0.99416 | -0.040748 | 0.0037491 | 0.00093961
8 | 0.99165 | -0.058437 | 0.0042158 | 0.0010566
9 | 0.99225 | -0.054227 | 0 | 0
10 | 0.99196 | -0.056272 | 0.0031934 | 0.00080034
11 | 0.99626 | -0.026092 | 0 | 0
12 | 0.99081 | -0.064353 | 0.0036841 | 0.00092332
13 | 0.99215 | -0.054924 | 0.0034196 | 0.00085704
14 | 0.99276 | -0.050654 | 0.0031064 | 0.00077853
15 | 0.99277 | -0.050619 | 0.0039893 | 0.00099981
16 | 0.99287 | -0.049907 | 0.0067934 | 0.0017026
17 | 0.99335 | -0.046512 | 0 | 0
18 | 0.99383 | -0.043156 | 0.0017123 | 0.00042913
19 | 0.99294 | -0.04938 | 0 | 0
20 | 0.99477 | -0.036514 | 0 | 0
21 | 0.99215 | -0.054996 | 0.0039102 | 0.00097999
22 | 0.99466 | -0.037288 | 0.0025535 | 0.00063996
23 | 0.99505 | -0.034536 | 0.0023158 | 0.00058038
24 | 0.99167 | -0.058347 | 0.0010317 | 0.00025858
25 | 0.99862 | -0.0095877 | 0.0038699 | 0.00096989
26 | 0.99462 | -0.037543 | 0.0017954 | 0.00044997
27 | 1 | 0 | -0.11585 | -0.02895
28 | 0.99976 | -0.0017051 | 0.0026882 | 0.00067372
29 | 0.98674 | -0.093093 | 0.0062015 | 0.0015542
30 | 0.98726 | -0.089397 | 0.0014802 | 0.00037098
31 | 0.98668 | -0.093529 | 0.0025977 | 0.00065104
32 | 0.98774 | -0.086044 | 0.004583 | 0.0011486
33 | 0.98607 | -0.097864 | 0 | 0
34 | 0.98942 | -0.074162 | 0.0019643 | 0.0004923
35 | 0.98945 | -0.07391 | 0.0030674 | 0.00076875
36 | 0.98766 | -0.086575 | 0.0025419 | 0.00063706
37 | 0.98581 | -0.099704 | 0.0052837 | 0.0013242
38 | 0.98574 | -0.10021 | 0.00095211 | 0.00023862
39 | 0.98573 | -0.10028 | 0.0016412 | 0.00041133
40 | 0.99035 | -0.06757 | 0.0025245 | 0.00063269
41 | 0.9908 | -0.064526 | 0.0011939 | 0.00029923
42 | 0.99081 | -0.064465 | 0.0014457 | 0.00036234
43 | 0.99974 | -0.0018338 | 0.0037899 | 0.00094983
44 | 0.99142 | -0.060092 | 0.0010312 | 0.00025844
45 | 0.99125 | -0.061295 | 0.0015079 | 0.00037791
46 | 0.99154 | -0.059256 | 0.0010312 | 0.00025844
47 | 0.99108 | -0.062536 | 0.0012008 | 0.00030095
48 | 0.991 | -0.063075 | 0.0012008 | 0.00030095
49 | 0.9909 | -0.063782 | 0.001542 | 0.00038646
50 | 0.99082 | -0.064388 | 0.0011939 | 0.00029923
51 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0093713 | 0.0023485 | -0.0093711 | -0.0023484 | 2.3708e-07 | 6.6333e-08 | 0.014053 | 0.014053 | 0.014053 | 0.99228 | -0.053971 | 0.99226 | -0.054154 | 5.2048
1 | -0.014493 | -0.0036322 | 0.014498 | 0.0036339 | 5.0315e-06 | 1.7146e-06 | 0.021734 | 0.021734 | 0.021734 | 0.99228 | -0.053971 | 0.99264 | -0.051464 | 8.0496
2 | 0.0067023 | 0.0016796 | -0.0067011 | -0.0016793 | 1.2531e-06 | 2.2524e-07 | 0.010051 | 0.010051 | 0.010051 | 0.99226 | -0.054154 | 0.99207 | -0.055504 | 3.7226
3 | -0.020733 | -0.0051958 | 0.020736 | 0.0051968 | 2.6956e-06 | 9.7896e-07 | 0.03108 | 0.03108 | 0.03108 | 0.99264 | -0.051464 | 0.99277 | -0.050524 | 11.5112
4 | 0.0062352 | 0.0015619 | -0.0062339 | -0.0015618 | 1.3042e-06 | 1.9241e-07 | 0.0093466 | 0.0093467 | 0.0093467 | 0.99264 | -0.051464 | 0.99242 | -0.052976 | 3.4617
5 | 0.0057838 | 0.0014495 | -0.0057833 | -0.0014494 | 5.4232e-07 | 5.9491e-08 | 0.0086752 | 0.0086753 | 0.0086753 | 0.99207 | -0.055504 | 0.99197 | -0.056182 | 3.2131
6 | -0.061657 | -0.015474 | 0.061741 | 0.015506 | 8.379e-05 | 3.2023e-05 | 0.092423 | 0.092422 | 0.092423 | 0.99277 | -0.050524 | 0.99416 | -0.040748 | 34.2306
7 | 0.040921 | 0.010277 | -0.040876 | -0.01026 | 4.496e-05 | 1.7045e-05 | 0.061342 | 0.061342 | 0.061342 | 0.99277 | -0.050524 | 0.99165 | -0.058437 | 22.7194
8 | 0.0034206 | 0.00085667 | -0.00342 | -0.00085691 | 5.9201e-07 | -2.3829e-07 | 0.0051285 | 0.0051287 | 0.0051287 | 0.99242 | -0.052976 | 0.99225 | -0.054227 | 1.8995
9 | 0.0031935 | 0.00080032 | -0.0031934 | -0.00080034 | 3.9835e-08 | -2.0591e-08 | 0.0047904 | 0.0047904 | 0.0047904 | 0.99197 | -0.056182 | 0.99196 | -0.056272 | 1.7742
10 | -0.06549 | -0.016445 | 0.065624 | 0.016496 | 0.00013367 | 5.1123e-05 | 0.098034 | 0.098034 | 0.098034 | 0.99416 | -0.040748 | 0.99626 | -0.026092 | 36.3089
11 | 0.03666 | 0.0092033 | -0.03663 | -0.0091919 | 3.0099e-05 | 1.1371e-05 | 0.055016 | 0.055016 | 0.055016 | 0.99165 | -0.058437 | 0.99081 | -0.064353 | 20.3765
12 | 0.00342 | 0.00085691 | -0.0034196 | -0.00085704 | 3.2986e-07 | -1.3269e-07 | 0.0051287 | 0.0051287 | 0.0051287 | 0.99225 | -0.054227 | 0.99215 | -0.054924 | 1.8995
13 | -0.10432 | -0.026209 | 0.10456 | 0.026301 | 0.00024008 | 9.2132e-05 | 0.15583 | 0.15583 | 0.15583 | 0.99626 | -0.026092 | 0.99862 | -0.0095877 | 57.7157
14 | 0.038694 | 0.0097123 | -0.038648 | -0.0096952 | 4.532e-05 | 1.7148e-05 | 0.057798 | 0.057799 | 0.057799 | 0.99626 | -0.026092 | 0.99505 | -0.034536 | 21.4069
15 | 0.032946 | 0.0082686 | -0.032932 | -0.0082631 | 1.4708e-05 | 5.5329e-06 | 0.049484 | 0.049484 | 0.049484 | 0.99081 | -0.064353 | 0.99035 | -0.06757 | 18.3273
16 | -0.0031064 | -0.00077853 | 0.0031064 | 0.00077852 | 1.4884e-08 | -8.5021e-09 | 0.004656 | 0.004656 | 0.004656 | 0.99276 | -0.050654 | 0.99277 | -0.050619 | 1.7245
17 | -0.0070957 | -0.0017783 | 0.0070964 | 0.0017785 | 6.9917e-07 | 1.4081e-07 | 0.010635 | 0.010635 | 0.010635 | 0.99277 | -0.050619 | 0.99287 | -0.049907 | 3.939
18 | -0.01389 | -0.0034811 | 0.013896 | 0.0034833 | 6.5323e-06 | 2.1998e-06 | 0.020817 | 0.020817 | 0.020817 | 0.99287 | -0.049907 | 0.99335 | -0.046512 | 7.7099
19 | -0.030218 | -0.0075759 | 0.030232 | 0.0075811 | 1.4053e-05 | 5.2625e-06 | 0.045266 | 0.045266 | 0.045266 | 0.99335 | -0.046512 | 0.99383 | -0.043156 | 16.7652
20 | 0.016321 | 0.0040926 | -0.016315 | -0.0040903 | 6.4845e-06 | 2.2691e-06 | 0.02445 | 0.02445 | 0.02445 | 0.99335 | -0.046512 | 0.99294 | -0.04938 | 9.0554
21 | -0.031944 | -0.0080103 | 0.031973 | 0.0080213 | 2.9433e-05 | 1.1053e-05 | 0.04783 | 0.04783 | 0.04783 | 0.99383 | -0.043156 | 0.99477 | -0.036514 | 17.7147
22 | 0.016315 | 0.0040903 | -0.016302 | -0.0040859 | 1.2686e-05 | 4.4396e-06 | 0.02445 | 0.02445 | 0.02445 | 0.99294 | -0.04938 | 0.99215 | -0.054996 | 9.0555
23 | 0.0043494 | 0.0010897 | -0.0043489 | -0.0010898 | 4.6574e-07 | -4.9771e-08 | 0.0065059 | 0.006506 | 0.006506 | 0.99477 | -0.036514 | 0.99466 | -0.037288 | 2.4096
24 | -0.036323 | -0.009111 | 0.036333 | 0.0091148 | 9.9615e-06 | 3.7611e-06 | 0.054336 | 0.054336 | 0.054336 | 0.99477 | -0.036514 | 0.99505 | -0.034536 | 20.1243
25 | 0.012392 | 0.0031059 | -0.012386 | -0.003104 | 5.7475e-06 | 1.8664e-06 | 0.018585 | 0.018585 | 0.018585 | 0.99215 | -0.054996 | 0.99167 | -0.058347 | 6.8835
26 | 0.0017955 | 0.00044981 | -0.0017954 | -0.00044997 | 6.3554e-08 | -1.5878e-07 | 0.002686 | 0.002686 | 0.002686 | 0.99466 | -0.037288 | 0.99462 | -0.037543 | 0.99483
27 | 0.011354 | 0.0028455 | -0.011353 | -0.002845 | 1.4278e-06 | 4.4746e-07 | 0.017037 | 0.017037 | 0.017037 | 0.99167 | -0.058347 | 0.99154 | -0.059256 | 6.3101
28 | -0.10843 | -0.027271 | 0.10857 | 0.027326 | 0.00014514 | 5.5355e-05 | 0.1616 | 0.1616 | 0.1616 | 0.99862 | -0.0095877 | 1 | 0 | 29.9257
29 | 0.0064796 | 0.0016238 | -0.0064781 | -0.0016235 | 1.5292e-06 | 2.4239e-07 | 0.0096417 | 0.0096418 | 0.0096418 | 1 | 0 | 0.99976 | -0.0017051 | 3.571
30 | 0.0037899 | 0.00094981 | -0.0037899 | -0.00094983 | 6.7507e-08 | -1.8619e-08 | 0.0056408 | 0.0056408 | 0.0056408 | 0.99976 | -0.0017051 | 0.99974 | -0.0018338 | 2.0892
31 | -0.016684 | -0.004181 | 0.016692 | 0.0041841 | 8.5393e-06 | 3.008e-06 | 0.025159 | 0.025159 | 0.025159 | 0.98674 | -0.093093 | 0.98726 | -0.089397 | 9.3182
32 | 0.010482 | 0.0026268 | -0.010482 | -0.0026266 | 6.3145e-07 | 1.9114e-07 | 0.015807 | 0.015807 | 0.015807 | 0.98674 | -0.093093 | 0.98668 | -0.093529 | 5.8546
33 | -0.018173 | -0.004555 | 0.018181 | 0.0045581 | 8.4423e-06 | 3.0163e-06 | 0.02739 | 0.02739 | 0.02739 | 0.98726 | -0.089397 | 0.98774 | -0.086044 | 10.1445
34 | 0.007884 | 0.0019756 | -0.0078793 | -0.0019744 | 4.7292e-06 | 1.1346e-06 | 0.01189 | 0.01189 | 0.01189 | 0.98668 | -0.093529 | 0.98607 | -0.097864 | 4.4037
35 | 0.0025421 | 0.00063687 | -0.0025419 | -0.00063706 | 1.8695e-07 | -1.8955e-07 | 0.0038296 | 0.0038296 | 0.0038296 | 0.98774 | -0.086044 | 0.98766 | -0.086575 | 1.4184
36 | -0.025306 | -0.0063435 | 0.025348 | 0.006359 | 4.1708e-05 | 1.5452e-05 | 0.038124 | 0.038124 | 0.038124 | 0.98774 | -0.086044 | 0.98942 | -0.074162 | 14.1199
37 | 0.0078793 | 0.0019744 | -0.0078773 | -0.001974 | 2.0062e-06 | 4.816e-07 | 0.01189 | 0.01189 | 0.01189 | 0.98607 | -0.097864 | 0.98581 | -0.099704 | 4.4037
38 | -0.027312 | -0.0068513 | 0.027313 | 0.0068516 | 9.5526e-07 | 3.5576e-07 | 0.041078 | 0.041078 | 0.041078 | 0.98942 | -0.074162 | 0.98945 | -0.07391 | 15.214
39 | -0.03038 | -0.0076204 | 0.030407 | 0.0076304 | 2.6733e-05 | 1.0018e-05 | 0.045691 | 0.045691 | 0.045691 | 0.98945 | -0.07391 | 0.99035 | -0.06757 | 16.9225
40 | 0.0025935 | 0.00064973 | -0.0025933 | -0.0006499 | 1.8148e-07 | -1.7215e-07 | 0.0039146 | 0.0039147 | 0.0039147 | 0.98581 | -0.099704 | 0.98574 | -0.10021 | 1.4499
41 | 0.0016412 | 0.00041128 | -0.0016412 | -0.00041133 | 1.6503e-08 | -4.858e-08 | 0.0024775 | 0.0024775 | 0.0024775 | 0.98574 | -0.10021 | 0.98573 | -0.10028 | 0.91759
42 | -0.0011939 | -0.00029923 | 0.0011939 | 0.00029917 | 1.0134e-08 | -6.1156e-08 | 0.0017931 | 0.0017931 | 0.0017931 | 0.9908 | -0.064526 | 0.99081 | -0.064465 | 0.66411
43 | -0.0026397 | -0.00066151 | 0.0026397 | 0.00066148 | 2.7964e-08 | -2.597e-08 | 0.0039643 | 0.0039643 | 0.0039643 | 0.99081 | -0.064465 | 0.99082 | -0.064388 | 1.4683
44 | 0.0092894 | 0.0023278 | -0.0092879 | -0.0023273 | 1.5467e-06 | 4.3048e-07 | 0.013942 | 0.013942 | 0.013942 | 0.99142 | -0.060092 | 0.99125 | -0.061295 | 5.1638
45 | -0.010321 | -0.0025862 | 0.010322 | 0.0025866 | 1.1946e-06 | 3.5655e-07 | 0.01549 | 0.01549 | 0.01549 | 0.99142 | -0.060092 | 0.99154 | -0.059256 | 5.737
46 | 0.00778 | 0.0019494 | -0.0077786 | -0.0019491 | 1.3361e-06 | 3.1156e-07 | 0.011679 | 0.011679 | 0.011679 | 0.99125 | -0.061295 | 0.99108 | -0.062536 | 4.3255
47 | 0.0065778 | 0.0016482 | -0.0065773 | -0.0016481 | 4.9045e-07 | 8.4797e-08 | 0.0098759 | 0.0098759 | 0.0098759 | 0.99108 | -0.062536 | 0.991 | -0.063075 | 3.6577
48 | 0.0053765 | 0.0013471 | -0.005376 | -0.0013471 | 5.255e-07 | 3.564e-08 | 0.0080728 | 0.0080729 | 0.0080729 | 0.991 | -0.063075 | 0.9909 | -0.063782 | 2.99
49 | 0.003834 | 0.00096063 | -0.0038337 | -0.00096071 | 3.2198e-07 | -7.6671e-08 | 0.0057573 | 0.0057574 | 0.0057574 | 0.9909 | -0.063782 | 0.99082 | -0.064388 | 2.1324

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.1174 | 0.029339

## res_load
| p_mw | q_mvar
0 | 0.0051219 | 0.0012837
1 | 0.0026688 | 0.00066886
2 | 0.00091725 | 0.00022988
3 | 0.0028133 | 0.00070508
4 | 0.0025898 | 0.00064907
5 | 0.0037491 | 0.00093961
6 | 0.0042158 | 0.0010566
7 | 0.0031934 | 0.00080034
8 | 0.0036841 | 0.00092332
9 | 0.0034196 | 0.00085704
10 | 0.0031064 | 0.00077853
11 | 0.0039893 | 0.00099981
12 | 0.0067934 | 0.0017026
13 | 0.0017123 | 0.00042913
14 | 0.0039102 | 0.00097999
15 | 0.0025535 | 0.00063996
16 | 0.0023158 | 0.00058038
17 | 0.0010317 | 0.00025858
18 | 0.0038699 | 0.00096989
19 | 0.0017954 | 0.00044997
20 | 0.0015506 | 0.00038862
21 | 0.0026882 | 0.00067372
22 | 0.0062015 | 0.0015542
23 | 0.0014802 | 0.00037098
24 | 0.0025977 | 0.00065104
25 | 0.004583 | 0.0011486
26 | 0.0019643 | 0.0004923
27 | 0.0030674 | 0.00076875
28 | 0.0025419 | 0.00063706
29 | 0.0052837 | 0.0013242
30 | 0.00095211 | 0.00023862
31 | 0.0016412 | 0.00041133
32 | 0.0025245 | 0.00063269
33 | 0.0011939 | 0.00029923
34 | 0.0014457 | 0.00036234
35 | 0.0037899 | 0.00094983
36 | 0.0010312 | 0.00025844
37 | 0.0015079 | 0.00037791
38 | 0.0010312 | 0.00025844
39 | 0.0012008 | 0.00030095
40 | 0.0012008 | 0.00030095
41 | 0.001542 | 0.00038646
42 | 0.0011939 | 0.00029923

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1