## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1143-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1143-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1143-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1143-3_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1143-3_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1143-3_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1143-3_0_3_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_1143-3_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1143-3_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_1143-3_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_1143-3_0_3_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_1143-3_0_3_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_1143-3_0_3_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_1143-3_0_3_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_1143-3_0_3_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_1143-3_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1143-3_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1143-3_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1143-3_0_3_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_1143-3_0_3_node_24 | 0.4 | n |  | TRUE
20 | bus_LV_1143-3_0_3_node_29 | 0.4 | n |  | TRUE
21 | bus_LV_1143-3_0_3_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_1143-3_0_3_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_1143-3_0_3_node_30 | 0.4 | n |  | TRUE
24 | bus_LV_1143-3_0_3_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_1143-3_0_3_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_1143-3_0_3_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_1143-3_0_3_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_1143-3_0_3_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_1143-3_0_3_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_1143-3_0_3_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_1143-3_0_3_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_1143-3_0_3_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_1143-3_0_3_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_1143-3_0_3_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_1143-3_0_3_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_1143-3_0_3_node_34 | 0.4 | n |  | TRUE
37 | bus_MV_131_0_node_69 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1143-3_0_3_load_0 | 0 | 0.00070718 | 0.00017724 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1143-3_0_3_load_1 | 1 | 0.001096 | 0.00027467 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1143-3_0_3_load_2 | 2 | 0.0071349 | 0.0017882 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1143-3_0_3_load_3 | 3 | 0.0012641 | 0.00031681 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1143-3_0_3_load_14 | 6 | 0.012222 | 0.003063 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1143-3_0_3_load_7 | 7 | 0.019341 | 0.0048473 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1143-3_0_3_load_8 | 8 | 0.00073781 | 0.00018491 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1143-3_0_3_load_5 | 9 | 0.00083025 | 0.00020808 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1143-3_0_3_load_12 | 10 | 0.02062 | 0.0051678 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1143-3_0_3_load_16 | 11 | 0.008007 | 0.0020068 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1143-3_0_3_load_19 | 12 | 0.0047479 | 0.0011899 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1143-3_0_3_load_15 | 13 | 0.014697 | 0.0036833 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1143-3_0_3_load_10 | 16 | 0.0001387 | 3.4762e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1143-3_0_3_load_18 | 18 | 0.00078921 | 0.00019779 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1143-3_0_3_load_24 | 19 | 0.0011372 | 0.00028501 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1143-3_0_3_load_29 | 20 | 0.0018255 | 0.0004575 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1143-3_0_3_load_13 | 21 | 0.039222 | 0.0098299 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1143-3_0_3_load_17 | 22 | 0.014576 | 0.0036531 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1143-3_0_3_load_36 | 25 | 0.0003536 | 8.8622e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1143-3_0_3_load_23 | 26 | 0.0022751 | 0.0005702 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1143-3_0_3_load_21 | 27 | 0.0012592 | 0.00031558 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1143-3_0_3_load_25 | 28 | 0.00044091 | 0.0001105 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1143-3_0_3_load_28 | 30 | 0.00057126 | 0.00014317 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1143-3_0_3_load_31 | 33 | 0.0032715 | 0.0008199 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1143-3_0_3_load_32 | 34 | 0.001844 | 0.00046216 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1143-3_0_3_load_33 | 35 | 0.0022757 | 0.00057034 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1143-3_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.015886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1143-3_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.030703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1143-3_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.016099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1143-3_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.014525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1143-3_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.025752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1143-3_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.029983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1143-3_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.11187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_1143-3_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.16371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1143-3_0_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.023695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1143-3_0_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.010608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1143-3_0_3_line_10 | NAYY 4x150 SE | 7 | 11 | 0.017828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1143-3_0_3_line_11 | NAYY 4x150 SE | 8 | 12 | 0.013129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1143-3_0_3_line_12 | NAYY 4x150 SE | 10 | 21 | 0.028832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1143-3_0_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.011145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1143-3_0_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.063213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1143-3_0_3_line_15 | NAYY 4x150 SE | 13 | 22 | 0.025159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1143-3_0_3_line_16 | NAYY 4x150 SE | 14 | 23 | 0.01184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1143-3_0_3_line_17 | NAYY 4x150 SE | 14 | 24 | 0.016067 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1143-3_0_3_line_18 | NAYY 4x150 SE | 15 | 16 | 0.11627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1143-3_0_3_line_19 | NAYY 4x150 SE | 15 | 17 | 0.1979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1143-3_0_3_line_20 | NAYY 4x150 SE | 16 | 18 | 0.013244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1143-3_0_3_line_21 | NAYY 4x150 SE | 17 | 19 | 0.10715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1143-3_0_3_line_22 | NAYY 4x150 SE | 19 | 20 | 0.02728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1143-3_0_3_line_23 | NAYY 4x150 SE | 20 | 30 | 0.0014566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1143-3_0_3_line_24 | NAYY 4x150 SE | 23 | 25 | 0.20976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1143-3_0_3_line_25 | NAYY 4x150 SE | 24 | 26 | 0.010882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1143-3_0_3_line_26 | NAYY 4x150 SE | 24 | 27 | 0.079757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1143-3_0_3_line_27 | NAYY 4x150 SE | 25 | 32 | 0.012646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1143-3_0_3_line_28 | NAYY 4x150 SE | 26 | 28 | 0.011824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1143-3_0_3_line_29 | NAYY 4x150 SE | 28 | 29 | 0.19622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1143-3_0_3_line_30 | NAYY 4x150 SE | 29 | 31 | 0.27483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1143-3_0_3_line_31 | NAYY 4x150 SE | 30 | 31 | 0.14862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1143-3_0_3_line_32 | NAYY 4x150 SE | 32 | 36 | 0.036777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1143-3_0_3_line_33 | NAYY 4x150 SE | 33 | 34 | 0.0043251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1143-3_0_3_line_34 | NAYY 4x150 SE | 33 | 35 | 0.028854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1143-3_0_3_line_35 | NAYY 4x150 SE | 35 | 36 | 0.013168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1143-3_0_3_trafo_7 | 0.25 MVA 20/0.4 kV | 37 | 7 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2640121.7663 | 1225288.1045 | 2640127.7853 | 1225280.5011 | 2640132.1395 | 1225276.103
1 | 2640121.7663 | 1225288.1045 | 2640118.4881 | 1225292.2456 | 2640114.1577 | 1225298.1311 | 2640110.8847 | 1225302.3672 | 2640103.2746 | 1225312.6113
2 | 2640132.1395 | 1225276.103 | 2640143.4658 | 1225264.6626
3 | 2640094.6131 | 1225324.271 | 2640103.2746 | 1225312.6113
4 | 2640162.343 | 1225247.1915 | 2640158.318 | 1225251.6338 | 2640143.585 | 1225264.5423 | 2640143.4658 | 1225264.6626
5 | 2640094.6131 | 1225324.271 | 2640097.6437 | 1225333.5192 | 2640102.2238 | 1225347.9365 | 2640104.8386 | 1225351.4007 | 2640105.5341 | 1225351.7609
6 | 2640162.343 | 1225247.1915 | 2640163.3565 | 1225257.6491 | 2640165.2807 | 1225266.8232 | 2640168.6001 | 1225279.331 | 2640185.1099 | 1225322.1572 | 2640187.1473 | 1225329.153 | 2640192.1966 | 1225354.5149
7 | 2640162.343 | 1225247.1915 | 2640167.2661 | 1225237.719 | 2640172.3222 | 1225207.4236 | 2640190.4338 | 1225098.324 | 2640190.7554 | 1225086.603
8 | 2640162.343 | 1225247.1915 | 2640171.113 | 1225246.1945 | 2640185.5703 | 1225249.6656
9 | 2640105.5341 | 1225351.7609 | 2640114.9537 | 1225356.6386 | 2640114.9537 | 1225356.6386
10 | 2640192.1966 | 1225354.5149 | 2640194.3107 | 1225365.1342 | 2640194.7639 | 1225372.1193 | 2640194.7639 | 1225372.1193
11 | 2640190.7554 | 1225086.603 | 2640191.027 | 1225076.7038 | 2640190.7194 | 1225073.4924
12 | 2640114.9537 | 1225356.6386 | 2640118.635 | 1225359.3095 | 2640121.2472 | 1225363.1516 | 2640128.3629 | 1225381.4549
13 | 2640194.3194 | 1225383.2551 | 2640194.7639 | 1225372.1193
14 | 2640182.3209 | 1225010.8941 | 2640187.4365 | 1225039.2235 | 2640190.7194 | 1225073.4924
15 | 2640194.3194 | 1225383.2551 | 2640193.9701 | 1225392.0038 | 2640194.7228 | 1225408.3894
16 | 2640171.1348 | 1225014.8655 | 2640182.3209 | 1225010.8941
17 | 2640197.1389 | 1225004.6013 | 2640188.8424 | 1225008.3921 | 2640182.3209 | 1225010.8941
18 | 2640611.0249 | 1225368.2733 | 2640612.3214 | 1225377.132 | 2640621.4756 | 1225436.4749 | 2640629.3985 | 1225483.082
19 | 2640611.0249 | 1225368.2733 | 2640605.9639 | 1225337.8426 | 2640601.2744 | 1225301.8443 | 2640601.1158 | 1225275.0826 | 2640613.2476 | 1225203.5663 | 2640615.4023 | 1225172.1953
20 | 2640629.3985 | 1225483.082 | 2640631.5475 | 1225495.724 | 2640631.605 | 1225496.1405
21 | 2640615.4023 | 1225172.1953 | 2640615.2927 | 1225139.3635 | 2640614.0049 | 1225096.9846 | 2640610.5607 | 1225068.4549 | 2640609.9813 | 1225065.3211
22 | 2640609.9813 | 1225065.3211 | 2640605.0212 | 1225038.4956
23 | 2640604.7564 | 1225037.0633 | 2640605.0212 | 1225038.4956
24 | 2640171.1348 | 1225014.8655 | 2640156.6266 | 1225020.2043 | 2640096.7088 | 1225041.2023 | 2640065.1079 | 1225054.0864 | 2640038.3741 | 1225066.9701 | 2639978.6689 | 1225097.3863
25 | 2640197.1389 | 1225004.6013 | 2640206.7455 | 1224999.4892
26 | 2640197.1389 | 1225004.6013 | 2640199.9144 | 1225010.0901 | 2640221.9712 | 1225018.5441 | 2640252.3779 | 1225032.1243 | 2640267.526 | 1225039.1145
27 | 2639967.401 | 1225103.1266 | 2639978.6689 | 1225097.3863
28 | 2640216.9689 | 1224993.5511 | 2640207.8667 | 1224998.8925 | 2640206.7455 | 1224999.4892
29 | 2640337.1295 | 1224841.3819 | 2640292.5209 | 1224915.3916 | 2640275.1187 | 1224940.5558 | 2640256.4927 | 1224962.8546 | 2640234.4234 | 1224982.0282 | 2640218.393 | 1224992.7154 | 2640216.9689 | 1224993.5511
30 | 2640337.1295 | 1224841.3819 | 2640608.435 | 1224889.9321
31 | 2640608.435 | 1224889.9321 | 2640597.5124 | 1224958.5882 | 2640596.921 | 1224986.401 | 2640600.259 | 1225012.7398 | 2640604.7564 | 1225037.0633
32 | 2639933.844 | 1225118.3886 | 2639967.401 | 1225103.1266
33 | 2639969.1968 | 1225141.1047 | 2639972.8355 | 1225143.4428
34 | 2639969.1968 | 1225141.1047 | 2639944.9224 | 1225125.5071
35 | 2639933.844 | 1225118.3886 | 2639944.9224 | 1225125.5071

## bus_geodata
| x | y | coords
0 | 2640121.7663 | 1225288.1045
1 | 2640132.1395 | 1225276.103
2 | 2640103.2746 | 1225312.6113
3 | 2640143.4658 | 1225264.6626
4 | 2640094.6131 | 1225324.271
5 | 2640162.343 | 1225247.1915
6 | 2640105.5341 | 1225351.7609
7 | 2640192.1966 | 1225354.5149
8 | 2640190.7554 | 1225086.603
9 | 2640185.5703 | 1225249.6656
10 | 2640114.9537 | 1225356.6386
11 | 2640194.7639 | 1225372.1193
12 | 2640190.7194 | 1225073.4924
13 | 2640194.3194 | 1225383.2551
14 | 2640182.3209 | 1225010.8941
15 | 2640611.0249 | 1225368.2733
16 | 2640629.3985 | 1225483.082
17 | 2640615.4023 | 1225172.1953
18 | 2640631.605 | 1225496.1405
19 | 2640609.9813 | 1225065.3211
20 | 2640605.0212 | 1225038.4956
21 | 2640128.3629 | 1225381.4549
22 | 2640194.7228 | 1225408.3894
23 | 2640171.1348 | 1225014.8655
24 | 2640197.1389 | 1225004.6013
25 | 2639978.6689 | 1225097.3863
26 | 2640206.7455 | 1224999.4892
27 | 2640267.526 | 1225039.1145
28 | 2640216.9689 | 1224993.5511
29 | 2640337.1295 | 1224841.3819
30 | 2640604.7564 | 1225037.0633
31 | 2640608.435 | 1224889.9321
32 | 2639967.401 | 1225103.1266
33 | 2639969.1968 | 1225141.1047
34 | 2639972.8355 | 1225143.4428
35 | 2639944.9224 | 1225125.5071
36 | 2639933.844 | 1225118.3886
37 | 2640162.343 | 1225247.1915

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9846 | -0.10707 | 0.00070718 | 0.00017724
1 | 0.98645 | -0.094027 | 0.001096 | 0.00027467
2 | 0.98104 | -0.1322 | 0.0071349 | 0.0017882
3 | 0.98836 | -0.080676 | 0.0012641 | 0.00031681
4 | 0.97951 | -0.14307 | 0 | 0
5 | 0.99145 | -0.059096 | 0 | 0
6 | 0.97635 | -0.16562 | 0.012222 | 0.003063
7 | 1 | 0 | -0.14526 | -0.036502
8 | 0.98631 | -0.095563 | 0.00073781 | 0.00018491
9 | 0.99142 | -0.059296 | 0.00083025 | 0.00020808
10 | 0.97542 | -0.17228 | 0.02062 | 0.0051678
11 | 0.99905 | -0.00664 | 0.008007 | 0.0020068
12 | 0.98591 | -0.098403 | 0.0047479 | 0.0011899
13 | 0.99859 | -0.009904 | 0.014697 | 0.0036833
14 | 0.98442 | -0.10902 | 0 | 0
15 | 0.97951 | -0.14462 | 0 | 0
16 | 0.97935 | -0.14575 | 0.0001387 | 3.4762e-05
17 | 0.97978 | -0.14267 | 0 | 0
18 | 0.97934 | -0.14586 | 0.00078921 | 0.00019779
19 | 0.97992 | -0.1416 | 0.0011372 | 0.00028501
20 | 0.98 | -0.141 | 0.0018255 | 0.0004575
21 | 0.97377 | -0.18416 | 0.039222 | 0.0098299
22 | 0.99806 | -0.013576 | 0.014576 | 0.0036531
23 | 0.98429 | -0.10997 | 0 | 0
24 | 0.98423 | -0.11043 | 0 | 0
25 | 0.98193 | -0.12678 | 0.0003536 | 8.8622e-05
26 | 0.98411 | -0.11125 | 0.0022751 | 0.0005702
27 | 0.98408 | -0.11147 | 0.0012592 | 0.00031558
28 | 0.98403 | -0.11186 | 0.00044091 | 0.0001105
29 | 0.98276 | -0.12108 | 0 | 0
30 | 0.98001 | -0.14094 | 0.00057126 | 0.00014317
31 | 0.98098 | -0.13398 | 0 | 0
32 | 0.9818 | -0.12775 | 0 | 0
33 | 0.98105 | -0.13311 | 0.0032715 | 0.0008199
34 | 0.98103 | -0.13319 | 0.001844 | 0.00046216
35 | 0.98126 | -0.13158 | 0.0022757 | 0.00057034
36 | 0.9814 | -0.13057 | 0 | 0
37 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.080641 | -0.020308 | 0.080788 | 0.020364 | 0.00014732 | 5.646e-05 | 0.12191 | 0.12191 | 0.12191 | 0.9846 | -0.10707 | 0.98645 | -0.094027 | 45.1509
1 | 0.079934 | 0.02013 | -0.079654 | -0.020023 | 0.00027976 | 0.00010721 | 0.12084 | 0.12084 | 0.12084 | 0.9846 | -0.10707 | 0.98104 | -0.1322 | 44.7551
2 | -0.081884 | -0.020639 | 0.082038 | 0.020698 | 0.00015337 | 5.8782e-05 | 0.12356 | 0.12356 | 0.12356 | 0.98645 | -0.094027 | 0.98836 | -0.080676 | 45.7632
3 | 0.072519 | 0.018235 | -0.07241 | -0.018193 | 0.0001097 | 4.201e-05 | 0.11002 | 0.11002 | 0.11002 | 0.98104 | -0.1322 | 0.97951 | -0.14307 | 40.747
4 | -0.083302 | -0.021014 | 0.083555 | 0.021111 | 0.00025295 | 9.6956e-05 | 0.12546 | 0.12546 | 0.12546 | 0.98836 | -0.080676 | 0.99145 | -0.059096 | 46.468
5 | 0.07241 | 0.018193 | -0.072183 | -0.018106 | 0.00022645 | 8.6721e-05 | 0.11002 | 0.11002 | 0.11002 | 0.97951 | -0.14307 | 0.97635 | -0.16562 | 40.747
6 | -0.10624 | -0.0268 | 0.10713 | 0.027138 | 0.00088805 | 0.00033865 | 0.15951 | 0.15951 | 0.15951 | 0.99145 | -0.059096 | 1 | 0 | 29.5394
7 | 0.021856 | 0.0054806 | -0.021746 | -0.0054404 | 0.00010993 | 4.0179e-05 | 0.032804 | 0.032804 | 0.032804 | 0.99145 | -0.059096 | 0.98631 | -0.095563 | 12.1497
8 | 0.00083027 | 0.00020778 | -0.00083025 | -0.00020808 | 2.2957e-08 | -2.9673e-07 | 0.001246 | 0.0012461 | 0.0012461 | 0.99145 | -0.059096 | 0.99142 | -0.059296 | 0.46152
9 | 0.059962 | 0.015043 | -0.059906 | -0.015022 | 5.5285e-05 | 2.1131e-05 | 0.091391 | 0.091391 | 0.091391 | 0.97635 | -0.16562 | 0.97542 | -0.17228 | 33.8484
10 | 0.037335 | 0.0093636 | -0.0373 | -0.0093506 | 3.4336e-05 | 1.2973e-05 | 0.055557 | 0.055557 | 0.055557 | 1 | 0 | 0.99905 | -0.00664 | 20.5767
11 | 0.021008 | 0.0052555 | -0.021 | -0.0052525 | 8.228e-06 | 2.9971e-06 | 0.031691 | 0.031691 | 0.031691 | 0.98631 | -0.095563 | 0.98591 | -0.098403 | 11.7375
12 | 0.039287 | 0.0098544 | -0.039222 | -0.0098299 | 6.4628e-05 | 2.4498e-05 | 0.059935 | 0.059935 | 0.059935 | 0.97542 | -0.17228 | 0.97377 | -0.18416 | 22.1982
13 | 0.029293 | 0.0073439 | -0.02928 | -0.0073389 | 1.3239e-05 | 4.9459e-06 | 0.043631 | 0.043631 | 0.043631 | 0.99905 | -0.00664 | 0.99859 | -0.009904 | 16.1597
14 | 0.016252 | 0.0040626 | -0.016228 | -0.0040543 | 2.3726e-05 | 8.3205e-06 | 0.024525 | 0.024526 | 0.024526 | 0.98591 | -0.098403 | 0.98442 | -0.10902 | 9.0835
15 | 0.014583 | 0.0036556 | -0.014576 | -0.0036531 | 7.4138e-06 | 2.5225e-06 | 0.021731 | 0.021731 | 0.021731 | 0.99859 | -0.009904 | 0.99806 | -0.013576 | 8.0486
16 | 0.0077698 | 0.0019466 | -0.0077688 | -0.0019464 | 1.0191e-06 | 2.4143e-07 | 0.011744 | 0.011744 | 0.011744 | 0.98442 | -0.10902 | 0.98429 | -0.10997 | 4.3498
17 | 0.0084585 | 0.0021076 | -0.0084569 | -0.0021072 | 1.6378e-06 | 4.257e-07 | 0.012781 | 0.012781 | 0.012781 | 0.98442 | -0.10902 | 0.98423 | -0.11043 | 4.7338
18 | 0.00092807 | 0.00023099 | -0.00092792 | -0.00023239 | 1.4415e-07 | -1.4079e-06 | 0.0014093 | 0.0014098 | 0.0014098 | 0.97951 | -0.14462 | 0.97935 | -0.14575 | 0.52215
19 | -0.00092807 | -0.00023099 | 0.00092831 | 0.00022859 | 2.451e-07 | -2.3974e-06 | 0.0014093 | 0.0014084 | 0.0014093 | 0.97951 | -0.14462 | 0.97978 | -0.14267 | 0.52196
20 | 0.00078922 | 0.00019763 | -0.00078921 | -0.00019779 | 1.1883e-08 | -1.6208e-07 | 0.0011991 | 0.0011991 | 0.0011991 | 0.97935 | -0.14575 | 0.97934 | -0.14586 | 0.44412
21 | -0.00092831 | -0.00022859 | 0.00092844 | 0.00022729 | 1.3259e-07 | -1.2987e-06 | 0.0014084 | 0.0014079 | 0.0014084 | 0.97978 | -0.14267 | 0.97992 | -0.1416 | 0.52163
22 | -0.0020656 | -0.0005123 | 0.0020658 | 0.00051202 | 1.6727e-07 | -2.7936e-07 | 0.0031347 | 0.0031346 | 0.0031347 | 0.97992 | -0.1416 | 0.98 | -0.141 | 1.161
23 | -0.0038913 | -0.00096952 | 0.0038913 | 0.00096951 | 3.1708e-08 | -6.158e-09 | 0.0059064 | 0.0059063 | 0.0059064 | 0.98 | -0.141 | 0.98001 | -0.14094 | 2.1875
24 | 0.0077688 | 0.0019464 | -0.0077508 | -0.0019421 | 1.8055e-05 | 4.2846e-06 | 0.011744 | 0.011745 | 0.011745 | 0.98429 | -0.10997 | 0.98193 | -0.12678 | 4.3501
25 | 0.0071975 | 0.0017925 | -0.0071967 | -0.0017924 | 8.0347e-07 | 1.7075e-07 | 0.010878 | 0.010878 | 0.010878 | 0.98423 | -0.11043 | 0.98411 | -0.11125 | 4.0288
26 | 0.0012594 | 0.00031464 | -0.0012592 | -0.00031558 | 1.8039e-07 | -9.4408e-07 | 0.0019036 | 0.001904 | 0.001904 | 0.98423 | -0.11043 | 0.98408 | -0.11147 | 0.70519
27 | 0.0073972 | 0.0018535 | -0.0073962 | -0.0018533 | 9.9153e-07 | 2.2142e-07 | 0.011209 | 0.01121 | 0.01121 | 0.98193 | -0.12678 | 0.9818 | -0.12775 | 4.1517
28 | 0.0049216 | 0.0012222 | -0.0049212 | -0.0012222 | 4.0814e-07 | 6.7605e-09 | 0.0074376 | 0.0074377 | 0.0074377 | 0.98411 | -0.11125 | 0.98403 | -0.11186 | 2.7547
29 | 0.0044803 | 0.0011117 | -0.0044747 | -0.001112 | 5.614e-06 | -3.3019e-07 | 0.0067709 | 0.0067718 | 0.0067718 | 0.98403 | -0.11186 | 0.98276 | -0.12108 | 2.5081
30 | 0.0044747 | 0.001112 | -0.0044668 | -0.0011124 | 7.8658e-06 | -4.5072e-07 | 0.0067718 | 0.0067731 | 0.0067731 | 0.98276 | -0.12108 | 0.98098 | -0.13398 | 2.5085
31 | -0.0044625 | -0.0011127 | 0.0044668 | 0.0011124 | 4.2549e-06 | -2.3803e-07 | 0.0067737 | 0.0067731 | 0.0067737 | 0.98001 | -0.14094 | 0.98098 | -0.13398 | 2.5088
32 | 0.0073962 | 0.0018533 | -0.0073933 | -0.0018526 | 2.8837e-06 | 6.4421e-07 | 0.01121 | 0.01121 | 0.01121 | 0.9818 | -0.12775 | 0.9814 | -0.13057 | 4.1517
33 | 0.0018441 | 0.00046211 | -0.001844 | -0.00046216 | 2.1113e-08 | -4.649e-08 | 0.002797 | 0.002797 | 0.002797 | 0.98105 | -0.13311 | 0.98103 | -0.13319 | 1.0359
34 | -0.0051155 | -0.001282 | 0.0051166 | 0.0012821 | 1.0839e-06 | 5.2481e-08 | 0.007759 | 0.0077589 | 0.007759 | 0.98105 | -0.13311 | 0.98126 | -0.13158 | 2.8737
35 | -0.0073923 | -0.0018524 | 0.0073933 | 0.0018526 | 1.0325e-06 | 2.3076e-07 | 0.01121 | 0.01121 | 0.01121 | 0.98126 | -0.13158 | 0.9814 | -0.13057 | 4.1518

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.1646 | 0.041349

## res_load
| p_mw | q_mvar
0 | 0.00070718 | 0.00017724
1 | 0.001096 | 0.00027467
2 | 0.0071349 | 0.0017882
3 | 0.0012641 | 0.00031681
4 | 0.012222 | 0.003063
5 | 0.019341 | 0.0048473
6 | 0.00073781 | 0.00018491
7 | 0.00083025 | 0.00020808
8 | 0.02062 | 0.0051678
9 | 0.008007 | 0.0020068
10 | 0.0047479 | 0.0011899
11 | 0.014697 | 0.0036833
12 | 0.0001387 | 3.4762e-05
13 | 0.00078921 | 0.00019779
14 | 0.0011372 | 0.00028501
15 | 0.0018255 | 0.0004575
16 | 0.039222 | 0.0098299
17 | 0.014576 | 0.0036531
18 | 0.0003536 | 8.8622e-05
19 | 0.0022751 | 0.0005702
20 | 0.0012592 | 0.00031558
21 | 0.00044091 | 0.0001105
22 | 0.00057126 | 0.00014317
23 | 0.0032715 | 0.0008199
24 | 0.001844 | 0.00046216
25 | 0.0022757 | 0.00057034

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1