## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1143-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1143-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1143-5_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1143-5_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1143-5_0_3_node_14 | 0.4 | n |  | TRUE
5 | bus_LV_1143-5_0_3_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_1143-5_0_3_node_64 | 0.4 | n |  | TRUE
7 | bus_LV_1143-5_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1143-5_0_3_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_1143-5_0_3_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_1143-5_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1143-5_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1143-5_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_1143-5_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_1143-5_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_1143-5_0_3_node_47 | 0.4 | n |  | TRUE
16 | bus_LV_1143-5_0_3_node_26 | 0.4 | n |  | TRUE
17 | bus_LV_1143-5_0_3_node_65 | 0.4 | n |  | TRUE
18 | bus_LV_1143-5_0_3_node_66 | 0.4 | n |  | TRUE
19 | bus_LV_1143-5_0_3_node_37 | 0.4 | n |  | TRUE
20 | bus_LV_1143-5_0_3_node_38 | 0.4 | n |  | TRUE
21 | bus_LV_1143-5_0_3_node_39 | 0.4 | n |  | TRUE
22 | bus_LV_1143-5_0_3_node_40 | 0.4 | n |  | TRUE
23 | bus_LV_1143-5_0_3_node_41 | 0.4 | n |  | TRUE
24 | bus_LV_1143-5_0_3_node_61 | 0.4 | n |  | TRUE
25 | bus_LV_1143-5_0_3_node_42 | 0.4 | n |  | TRUE
26 | bus_LV_1143-5_0_3_node_43 | 0.4 | n |  | TRUE
27 | bus_LV_1143-5_0_3_node_44 | 0.4 | n |  | TRUE
28 | bus_LV_1143-5_0_3_node_45 | 0.4 | n |  | TRUE
29 | bus_LV_1143-5_0_3_node_46 | 0.4 | n |  | TRUE
30 | bus_LV_1143-5_0_3_node_48 | 0.4 | n |  | TRUE
31 | bus_MV_0_node_3 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1143-5_0_3_load_0 | 0 | 0.00044227 | 0.00011084 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1143-5_0_3_load_14 | 4 | 0.00075504 | 0.00018923 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1143-5_0_3_load_12 | 5 | 0.0061232 | 0.0015346 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1143-5_0_3_load_64 | 6 | 0.000332 | 8.3206e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1143-5_0_3_load_13 | 9 | 0.0011092 | 0.000278 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1143-5_0_3_load_6 | 10 | 0.00029027 | 7.2748e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1143-5_0_3_load_7 | 11 | 0.0015354 | 0.00038481 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1143-5_0_3_load_9 | 12 | 0.00034459 | 8.6364e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1143-5_0_3_load_11 | 14 | 0.003835 | 0.00096113 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1143-5_0_3_load_65 | 17 | 0.00021532 | 5.3963e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1143-5_0_3_load_37 | 19 | 0.00041671 | 0.00010444 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1143-5_0_3_load_38 | 20 | 0.00078453 | 0.00019662 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1143-5_0_3_load_39 | 21 | 0.00038605 | 9.6754e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1143-5_0_3_load_40 | 22 | 0.0012517 | 0.0003137 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1143-5_0_3_load_41 | 23 | 0.00017431 | 4.3686e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1143-5_0_3_load_61 | 24 | 0.00015244 | 3.8204e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1143-5_0_3_load_42 | 25 | 0.00050801 | 0.00012732 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1143-5_0_3_load_43 | 26 | 0.00038599 | 9.6737e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1143-5_0_3_load_44 | 27 | 0.00085886 | 0.00021525 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1143-5_0_3_load_45 | 28 | 7.8614e-05 | 1.9703e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1143-5_0_3_load_46 | 29 | 0.00023797 | 5.964e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1143-5_0_3_load_48 | 30 | 0.00040344 | 0.00010111 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 2 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1143-5_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.017675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1143-5_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1143-5_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.11502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1143-5_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1143-5_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.12891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1143-5_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.24972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1143-5_0_3_line_6 | NAYY 4x150 SE | 4 | 15 | 0.023106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1143-5_0_3_line_7 | NAYY 4x150 SE | 5 | 14 | 0.060383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1143-5_0_3_line_8 | NAYY 4x150 SE | 6 | 30 | 0.026355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1143-5_0_3_line_9 | NAYY 4x150 SE | 7 | 8 | 0.075714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1143-5_0_3_line_10 | NAYY 4x150 SE | 7 | 9 | 0.082117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1143-5_0_3_line_11 | NAYY 4x150 SE | 8 | 12 | 0.035019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1143-5_0_3_line_12 | NAYY 4x150 SE | 9 | 13 | 0.02708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1143-5_0_3_line_13 | NAYY 4x150 SE | 10 | 11 | 0.054944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1143-5_0_3_line_14 | NAYY 4x150 SE | 11 | 12 | 0.036031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1143-5_0_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.058078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1143-5_0_3_line_16 | NAYY 4x150 SE | 15 | 17 | 0.052365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1143-5_0_3_line_17 | NAYY 4x150 SE | 16 | 17 | 0.3087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1143-5_0_3_line_18 | NAYY 4x150 SE | 16 | 18 | 0.36935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1143-5_0_3_line_19 | NAYY 4x150 SE | 18 | 24 | 0.44863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1143-5_0_3_line_20 | NAYY 4x150 SE | 19 | 20 | 0.01865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1143-5_0_3_line_21 | NAYY 4x150 SE | 19 | 21 | 0.0099643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1143-5_0_3_line_22 | NAYY 4x150 SE | 20 | 22 | 0.00060286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1143-5_0_3_line_23 | NAYY 4x150 SE | 21 | 23 | 0.0078835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1143-5_0_3_line_24 | NAYY 4x150 SE | 22 | 24 | 0.037473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1143-5_0_3_line_25 | NAYY 4x150 SE | 23 | 25 | 0.015721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1143-5_0_3_line_26 | NAYY 4x150 SE | 25 | 26 | 0.019101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1143-5_0_3_line_27 | NAYY 4x150 SE | 27 | 28 | 0.013183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1143-5_0_3_line_28 | NAYY 4x150 SE | 27 | 29 | 0.0048525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1143-5_0_3_line_29 | NAYY 4x150 SE | 29 | 30 | 0.0062695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1143-5_0_3_trafo_3 | 0.25 MVA 20/0.4 kV | 31 | 2 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2640711.1953 | 1223175.675 | 2640706.456 | 1223183.4028 | 2640702.738 | 1223191.1682
1 | 2640872.7147 | 1223312.5965 | 2640849.6614 | 1223288.3126 | 2640822.2481 | 1223261.7421 | 2640789.1644 | 1223232.6425 | 2640750.5464 | 1223202.1488 | 2640711.1953 | 1223175.675
2 | 2640612.8007 | 1223115.6341 | 2640711.1953 | 1223175.675
3 | 2640872.7147 | 1223312.5965 | 2640884.6661 | 1223300.4044 | 2640907.6874 | 1223265.2857 | 2640945.5022 | 1223208.3666 | 2640965.6722 | 1223174.4403 | 2640979.1566 | 1223153.3425 | 2640983.5184 | 1223147.6246 | 2640989.5866 | 1223140.8067 | 2640995.1436 | 1223136.6424 | 2640999.1561 | 1223134.3131 | 2641003.0563 | 1223132.8724 | 2641008.8527 | 1223131.3891 | 2641035.4382 | 1223126.4287
4 | 2640872.7147 | 1223312.5965 | 2640892.2399 | 1223338.2348 | 2640916.4838 | 1223375.6904 | 2640935.2891 | 1223413.3423 | 2640939.1728 | 1223422.5352
5 | 2640612.8007 | 1223115.6341 | 2640719.229 | 1222891.2808 | 2640719.9112 | 1222890.0513
6 | 2641057.9304 | 1223124.0448 | 2641054.5547 | 1223123.0988 | 2641050.1894 | 1223122.7018 | 2641036.3781 | 1223126.2533 | 2641035.4382 | 1223126.4287
7 | 2640962.6719 | 1223478.1579 | 2640939.1728 | 1223422.5352
8 | 2640719.9112 | 1222890.0513 | 2640732.6984 | 1222867.0067
9 | 2640853.4163 | 1223644.0975 | 2640855.0904 | 1223638.828 | 2640864.5065 | 1223628.0194 | 2640872.5461 | 1223615.6004 | 2640880.6102 | 1223595.21 | 2640884.7345 | 1223582.0637 | 2640886.6496 | 1223577.0294
10 | 2640886.6496 | 1223577.0294 | 2640889.5179 | 1223573.4358 | 2640898.8391 | 1223567.6518 | 2640960.2746 | 1223542.0679
11 | 2640853.4163 | 1223644.0975 | 2640855.5541 | 1223648.6038 | 2640864.4457 | 1223656.7808 | 2640880.3885 | 1223665.0322
12 | 2640985.274 | 1223531.6573 | 2640960.2746 | 1223542.0679
13 | 2640964.222 | 1223700.3352 | 2640913.5176 | 1223679.1713
14 | 2640880.3885 | 1223665.0322 | 2640883.4942 | 1223666.6396 | 2640913.5176 | 1223679.1713
15 | 2640985.274 | 1223531.6573 | 2640962.6719 | 1223478.1579
16 | 2641057.9304 | 1223124.0448 | 2641059.7099 | 1223125.5247 | 2641062.5886 | 1223129.2578 | 2641086.7693 | 1223167.6075
17 | 2641196.9989 | 1223454.7041 | 2641171.7946 | 1223383.1534 | 2641154.1208 | 1223334.5019 | 2641130.0171 | 1223291.2094 | 2641113.049 | 1223244.5975 | 2641099.2724 | 1223191.5149 | 2641094.6945 | 1223180.1765 | 2641086.7693 | 1223167.6075
18 | 2641196.9989 | 1223454.7041 | 2641203.4343 | 1223472.615 | 2641223.4883 | 1223527.8426 | 2641240.1517 | 1223552.495 | 2641265.285 | 1223525.7306 | 2641282.6533 | 1223513.21 | 2641317.2334 | 1223483.4428 | 2641354.4274 | 1223457.3406 | 2641370.2833 | 1223430.0786 | 2641362.9832 | 1223396.9746 | 2641342.9646 | 1223354.2543
19 | 2641342.9646 | 1223354.2543 | 2641340.0539 | 1223332.2319 | 2641335.2808 | 1223307.5617 | 2641326.1672 | 1223280.0375 | 2641318.1496 | 1223246.4505 | 2641304.4164 | 1223187.3863 | 2641306.4868 | 1223152.3684 | 2641321.105 | 1223110.1221 | 2641337.7951 | 1223068.7795 | 2641340.1885 | 1223048.4394 | 2641339.5223 | 1223025.332 | 2641318.9961 | 1222918.1149
20 | 2641301.3178 | 1222864.7226 | 2641303.3246 | 1222877.8699 | 2641305.6545 | 1222882.6862
21 | 2641301.3178 | 1222864.7226 | 2641299.8143 | 1222854.8724
22 | 2641305.6545 | 1222882.6862 | 2641305.917 | 1222883.2289
23 | 2641298.6247 | 1222847.0792 | 2641299.8143 | 1222854.8724
24 | 2641305.917 | 1222883.2289 | 2641315.3096 | 1222902.6457 | 2641318.7381 | 1222916.7668 | 2641318.9961 | 1222918.1149
25 | 2641298.6247 | 1222847.0792 | 2641296.2525 | 1222831.5383
26 | 2641292.7962 | 1222812.7604 | 2641294.9459 | 1222822.9788 | 2641296.2525 | 1222831.5383
27 | 2640739.7068 | 1222858.4863 | 2640740.4198 | 1222857.761 | 2640751.8405 | 1222853.5669
28 | 2640739.7068 | 1222858.4863 | 2640736.3051 | 1222861.9467
29 | 2640732.6984 | 1222867.0067 | 2640734.4706 | 1222863.8129 | 2640736.3051 | 1222861.9467

## bus_geodata
| x | y | coords
0 | 2640702.738 | 1223191.1682
1 | 2640711.1953 | 1223175.675
2 | 2640872.7147 | 1223312.5965
3 | 2640612.8007 | 1223115.6341
4 | 2641035.4382 | 1223126.4287
5 | 2640939.1728 | 1223422.5352
6 | 2640719.9112 | 1222890.0513
7 | 2640886.6496 | 1223577.0294
8 | 2640853.4163 | 1223644.0975
9 | 2640960.2746 | 1223542.0679
10 | 2640964.222 | 1223700.3352
11 | 2640913.5176 | 1223679.1713
12 | 2640880.3885 | 1223665.0322
13 | 2640985.274 | 1223531.6573
14 | 2640962.6719 | 1223478.1579
15 | 2641057.9304 | 1223124.0448
16 | 2641196.9989 | 1223454.7041
17 | 2641086.7693 | 1223167.6075
18 | 2641342.9646 | 1223354.2543
19 | 2641301.3178 | 1222864.7226
20 | 2641305.6545 | 1222882.6862
21 | 2641299.8143 | 1222854.8724
22 | 2641305.917 | 1222883.2289
23 | 2641298.6247 | 1222847.0792
24 | 2641318.9961 | 1222918.1149
25 | 2641296.2525 | 1222831.5383
26 | 2641292.7962 | 1222812.7604
27 | 2640739.7068 | 1222858.4863
28 | 2640751.8405 | 1222853.5669
29 | 2640736.3051 | 1222861.9467
30 | 2640732.6984 | 1222867.0067
31 | 2640872.7147 | 1223312.5965

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99928 | -0.0051723 | 0.00044227 | 0.00011084
1 | 0.99929 | -0.005094 | 0 | 0
2 | 1 | 0 | -0.021501 | -0.0051628
3 | 0.99897 | -0.0073317 | 0 | 0
4 | 0.99815 | -0.013284 | 0.00075504 | 0.00018923
5 | 0.99756 | -0.017135 | 0.0061232 | 0.0015346
6 | 0.99829 | -0.01215 | 0.000332 | 8.3206e-05
7 | 0.99629 | -0.026113 | 0 | 0
8 | 0.99606 | -0.027777 | 0 | 0
9 | 0.99655 | -0.024302 | 0.0011092 | 0.000278
10 | 0.99583 | -0.029372 | 0.00029027 | 7.2748e-05
11 | 0.99585 | -0.02921 | 0.0015354 | 0.00038481
12 | 0.99595 | -0.028546 | 0.00034459 | 8.6364e-05
13 | 0.99667 | -0.023402 | 0 | 0
14 | 0.99695 | -0.021469 | 0.003835 | 0.00096113
15 | 0.998 | -0.014303 | 0 | 0
16 | 0.99588 | -0.029524 | 0 | 0
17 | 0.99768 | -0.016611 | 0.00021532 | 5.3963e-05
18 | 0.99373 | -0.044913 | 0 | 0
19 | 0.99084 | -0.065378 | 0.00041671 | 0.00010444
20 | 0.99089 | -0.065023 | 0.00078453 | 0.00019662
21 | 0.99082 | -0.065526 | 0.00038605 | 9.6754e-05
22 | 0.9909 | -0.065006 | 0.0012517 | 0.0003137
23 | 0.99081 | -0.065612 | 0.00017431 | 4.3686e-05
24 | 0.99111 | -0.063515 | 0.00015244 | 3.8204e-05
25 | 0.99079 | -0.065755 | 0.00050801 | 0.00012732
26 | 0.99078 | -0.065831 | 0.00038599 | 9.6737e-05
27 | 0.99822 | -0.012687 | 0.00085886 | 0.00021525
28 | 0.99822 | -0.012698 | 7.8614e-05 | 1.9703e-05
29 | 0.99822 | -0.012642 | 0.00023797 | 5.964e-05
30 | 0.99823 | -0.012568 | 0.00040344 | 0.00010111
31 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00044227 | -0.00011084 | 0.00044228 | 0.00011061 | 4.7831e-09 | -2.2971e-07 | 0.00065858 | 0.0006585 | 0.00065858 | 0.99928 | -0.0051723 | 0.99929 | -0.005094 | 0.24392
1 | -0.0023551 | -0.00058484 | 0.0023567 | 0.00058269 | 1.6248e-06 | -2.1545e-06 | 0.003505 | 0.0035041 | 0.003505 | 0.99929 | -0.005094 | 1 | 0 | 1.2982
2 | 0.0019128 | 0.00047423 | -0.0019122 | -0.00047551 | 5.8168e-07 | -1.2827e-06 | 0.0028465 | 0.0028471 | 0.0028471 | 0.99929 | -0.005094 | 0.99897 | -0.0073317 | 1.0545
3 | 0.0050682 | 0.0012549 | -0.0050591 | -0.0012548 | 9.1094e-06 | 1.3824e-07 | 0.0075362 | 0.0075374 | 0.0075374 | 1 | 0 | 0.99815 | -0.013284 | 2.7916
4 | 0.013276 | 0.0033251 | -0.013245 | -0.0033147 | 3.1391e-05 | 1.0386e-05 | 0.019754 | 0.019755 | 0.019755 | 1 | 0 | 0.99756 | -0.017135 | 7.3166
5 | 0.0019122 | 0.00047551 | -0.001911 | -0.00047829 | 1.2636e-06 | -2.7812e-06 | 0.0028471 | 0.0028482 | 0.0028482 | 0.99897 | -0.0073317 | 0.99829 | -0.01215 | 1.0549
6 | 0.004304 | 0.0010656 | -0.0043035 | -0.0010656 | 5.9275e-07 | -7.3984e-08 | 0.0064118 | 0.0064119 | 0.0064119 | 0.99815 | -0.013284 | 0.998 | -0.014303 | 2.3748
7 | 0.0071214 | 0.0017801 | -0.0071172 | -0.0017793 | 4.2505e-06 | 8.4699e-07 | 0.010621 | 0.010621 | 0.010621 | 0.99756 | -0.017135 | 0.99695 | -0.021469 | 3.9338
8 | 0.001579 | 0.00039508 | -0.0015789 | -0.00039539 | 9.1082e-08 | -3.0952e-07 | 0.0023533 | 0.0023535 | 0.0023535 | 0.99829 | -0.01215 | 0.99823 | -0.012568 | 0.87165
9 | 0.0021712 | 0.00054164 | -0.0021707 | -0.00054243 | 4.9659e-07 | -7.9473e-07 | 0.0032419 | 0.0032422 | 0.0032422 | 0.99629 | -0.026113 | 0.99606 | -0.027777 | 1.2008
10 | -0.0021712 | -0.00054164 | 0.0021717 | 0.00054078 | 5.3847e-07 | -8.6252e-07 | 0.0032419 | 0.0032415 | 0.0032419 | 0.99629 | -0.026113 | 0.99655 | -0.024302 | 1.2007
11 | 0.0021707 | 0.00054243 | -0.0021704 | -0.0005428 | 2.2972e-07 | -3.6741e-07 | 0.0032422 | 0.0032424 | 0.0032424 | 0.99606 | -0.027777 | 0.99595 | -0.028546 | 1.2009
12 | -0.0032809 | -0.00081877 | 0.0032813 | 0.00081858 | 4.0534e-07 | -1.9697e-07 | 0.0048978 | 0.0048976 | 0.0048978 | 0.99655 | -0.024302 | 0.99667 | -0.023402 | 1.814
13 | -0.00029027 | -7.2748e-05 | 0.00029027 | 7.2035e-05 | 6.446e-09 | -7.1237e-07 | 0.00043373 | 0.00043348 | 0.00043373 | 0.99583 | -0.029372 | 0.99585 | -0.02921 | 0.16064
14 | -0.0018257 | -0.00045684 | 0.0018258 | 0.00045644 | 1.6727e-07 | -4.045e-07 | 0.0027277 | 0.0027275 | 0.0027277 | 0.99585 | -0.02921 | 0.99595 | -0.028546 | 1.0103
15 | -0.0032813 | -0.00081858 | 0.0032822 | 0.00081816 | 8.6925e-07 | -4.2276e-07 | 0.0048976 | 0.0048974 | 0.0048976 | 0.99667 | -0.023402 | 0.99695 | -0.021469 | 1.8139
16 | 0.0043035 | 0.0010656 | -0.0043021 | -0.0010658 | 1.3434e-06 | -1.6733e-07 | 0.0064119 | 0.0064121 | 0.0064121 | 0.998 | -0.014303 | 0.99768 | -0.016611 | 2.3749
17 | -0.0040796 | -0.0010131 | 0.0040868 | 0.0010118 | 7.1484e-06 | -1.2746e-06 | 0.0060924 | 0.006091 | 0.0060924 | 0.99588 | -0.029524 | 0.99768 | -0.016611 | 2.2564
18 | 0.0040796 | 0.0010131 | -0.0040711 | -0.0010146 | 8.557e-06 | -1.5042e-06 | 0.0060924 | 0.0060941 | 0.0060941 | 0.99588 | -0.029524 | 0.99373 | -0.044913 | 2.2571
19 | 0.0040711 | 0.0010146 | -0.0040607 | -0.0010164 | 1.04e-05 | -1.7968e-06 | 0.0060941 | 0.0060961 | 0.0060961 | 0.99373 | -0.044913 | 0.99111 | -0.063515 | 2.2578
20 | -0.0018711 | -0.00046828 | 0.0018712 | 0.00046807 | 9.1873e-08 | -2.0489e-07 | 0.0028098 | 0.0028097 | 0.0028098 | 0.99084 | -0.065378 | 0.99089 | -0.065023 | 1.0407
21 | 0.0014544 | 0.00036384 | -0.0014544 | -0.00036396 | 2.9657e-08 | -1.1693e-07 | 0.002184 | 0.002184 | 0.002184 | 0.99084 | -0.065378 | 0.99082 | -0.065526 | 0.80889
22 | -0.0026557 | -0.00066469 | 0.0026558 | 0.00066469 | 5.9822e-09 | -5.4648e-09 | 0.0039878 | 0.0039878 | 0.0039878 | 0.99089 | -0.065023 | 0.9909 | -0.065006 | 1.477
23 | 0.0010683 | 0.0002672 | -0.0010683 | -0.0002673 | 1.266e-08 | -9.6666e-08 | 0.0016042 | 0.0016043 | 0.0016043 | 0.99082 | -0.065526 | 0.99081 | -0.065612 | 0.59417
24 | -0.0039074 | -0.00097839 | 0.0039083 | 0.00097822 | 8.0499e-07 | -1.732e-07 | 0.0058674 | 0.0058673 | 0.0058674 | 0.9909 | -0.065006 | 0.99111 | -0.063515 | 2.1731
25 | 0.00089402 | 0.00022362 | -0.000894 | -0.00022381 | 1.7681e-08 | -1.9567e-07 | 0.0013425 | 0.0013426 | 0.0013426 | 0.99081 | -0.065612 | 0.99079 | -0.065755 | 0.49725
26 | 0.00038599 | 9.6493e-05 | -0.00038599 | -9.6737e-05 | 4.0047e-09 | -2.4445e-07 | 0.00057961 | 0.0005797 | 0.0005797 | 0.99079 | -0.065755 | 0.99078 | -0.065831 | 0.2147
27 | 7.8615e-05 | 1.953e-05 | -7.8614e-05 | -1.9703e-05 | 1.1292e-10 | -1.723e-07 | 0.00011713 | 0.00011719 | 0.00011719 | 0.99822 | -0.012687 | 0.99822 | -0.012698 | 0.043403
28 | -0.00093747 | -0.00023478 | 0.00093748 | 0.00023472 | 5.9127e-09 | -6.116e-08 | 0.0013974 | 0.0013974 | 0.0013974 | 0.99822 | -0.012687 | 0.99822 | -0.012642 | 0.51756
29 | -0.0011754 | -0.00029436 | 0.0011755 | 0.00029428 | 1.201e-08 | -7.7341e-08 | 0.0017521 | 0.0017521 | 0.0017521 | 0.99822 | -0.012642 | 0.99823 | -0.012568 | 0.64893

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.021501 | 0.0051628

## res_load
| p_mw | q_mvar
0 | 0.00044227 | 0.00011084
1 | 0.00075504 | 0.00018923
2 | 0.0061232 | 0.0015346
3 | 0.000332 | 8.3206e-05
4 | 0.0011092 | 0.000278
5 | 0.00029027 | 7.2748e-05
6 | 0.0015354 | 0.00038481
7 | 0.00034459 | 8.6364e-05
8 | 0.003835 | 0.00096113
9 | 0.00021532 | 5.3963e-05
10 | 0.00041671 | 0.00010444
11 | 0.00078453 | 0.00019662
12 | 0.00038605 | 9.6754e-05
13 | 0.0012517 | 0.0003137
14 | 0.00017431 | 4.3686e-05
15 | 0.00015244 | 3.8204e-05
16 | 0.00050801 | 0.00012732
17 | 0.00038599 | 9.6737e-05
18 | 0.00085886 | 0.00021525
19 | 7.8614e-05 | 1.9703e-05
20 | 0.00023797 | 5.964e-05
21 | 0.00040344 | 0.00010111

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1