## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1143-8_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1143-8_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1143-8_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1143-8_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1143-8_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1143-8_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1143-8_0_6_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_1143-8_0_6_node_23 | 0.4 | n |  | TRUE
8 | bus_LV_1143-8_0_6_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1143-8_0_6_node_24 | 0.4 | n |  | TRUE
10 | bus_LV_1143-8_0_6_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_1143-8_0_6_node_29 | 0.4 | n |  | TRUE
12 | bus_LV_1143-8_0_6_node_35 | 0.4 | n |  | TRUE
13 | bus_LV_1143-8_0_6_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_1143-8_0_6_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1143-8_0_6_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_1143-8_0_6_node_28 | 0.4 | n |  | TRUE
17 | bus_LV_1143-8_0_6_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_1143-8_0_6_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_1143-8_0_6_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_1143-8_0_6_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_1143-8_0_6_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_1143-8_0_6_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_1143-8_0_6_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_1143-8_0_6_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_1143-8_0_6_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_1143-8_0_6_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_1143-8_0_6_node_44 | 0.4 | n |  | TRUE
28 | bus_LV_1143-8_0_6_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_1143-8_0_6_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_1143-8_0_6_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_1143-8_0_6_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_1143-8_0_6_node_46 | 0.4 | n |  | TRUE
33 | bus_LV_1143-8_0_6_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_1143-8_0_6_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_1143-8_0_6_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_1143-8_0_6_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_1143-8_0_6_node_42 | 0.4 | n |  | TRUE
38 | bus_LV_1143-8_0_6_node_50 | 0.4 | n |  | TRUE
39 | bus_LV_1143-8_0_6_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_1143-8_0_6_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_1143-8_0_6_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_1143-8_0_6_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_1143-8_0_6_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_1143-8_0_6_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_1143-8_0_6_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_1143-8_0_6_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_1143-8_0_6_node_47 | 0.4 | n |  | TRUE
48 | bus_MV_131_0_node_170 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1143-8_0_6_load_0 | 0 | 0.00086027 | 0.00021561 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1143-8_0_6_load_1 | 1 | 0.00114 | 0.0002857 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1143-8_0_6_load_2 | 2 | 0.0010972 | 0.00027499 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1143-8_0_6_load_4 | 4 | 0.0013125 | 0.00032895 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1143-8_0_6_load_5 | 5 | 0.00069961 | 0.00017534 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1143-8_0_6_load_7 | 6 | 0.0013587 | 0.00034052 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1143-8_0_6_load_23 | 7 | 0.00097656 | 0.00024475 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1143-8_0_6_load_6 | 8 | 0.0016407 | 0.00041119 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1143-8_0_6_load_24 | 9 | 0.0058231 | 0.0014594 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1143-8_0_6_load_29 | 11 | 0.00074478 | 0.00018666 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1143-8_0_6_load_35 | 12 | 0.00088108 | 0.00022082 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1143-8_0_6_load_11 | 13 | 0.0016731 | 0.00041933 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1143-8_0_6_load_8 | 14 | 0.005935 | 0.0014875 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1143-8_0_6_load_28 | 16 | 0.00037139 | 9.3078e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1143-8_0_6_load_14 | 19 | 0.0030801 | 0.00077194 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1143-8_0_6_load_13 | 20 | 0.0021762 | 0.00054542 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1143-8_0_6_load_22 | 25 | 0.0042525 | 0.0010658 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1143-8_0_6_load_26 | 29 | 0.0044244 | 0.0011089 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1143-8_0_6_load_27 | 30 | 0.0036943 | 0.00092587 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1143-8_0_6_load_21 | 31 | 0.0023542 | 0.00059002 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1143-8_0_6_load_34 | 33 | 0.0014111 | 0.00035366 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1143-8_0_6_load_30 | 34 | 0.011779 | 0.0029522 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1143-8_0_6_load_31 | 35 | 0.0019078 | 0.00047814 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1143-8_0_6_load_42 | 37 | 0.0028766 | 0.00072094 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1143-8_0_6_load_50 | 38 | 0.016782 | 0.0042059 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1143-8_0_6_load_41 | 39 | 0.00025546 | 6.4026e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1143-8_0_6_load_49 | 40 | 0.0011789 | 0.00029545 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1143-8_0_6_load_32 | 41 | 0.0032788 | 0.00082174 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1143-8_0_6_load_38 | 42 | 0.042477 | 0.010646 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1143-8_0_6_load_40 | 43 | 0.020195 | 0.0050614 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1143-8_0_6_load_43 | 44 | 0.0010937 | 0.00027411 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1143-8_0_6_load_45 | 45 | 0.0056339 | 0.001412 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1143-8_0_6_load_48 | 46 | 0.00089532 | 0.00022439 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1143-8_0_6_load_47 | 47 | 0.00071412 | 0.00017897 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1143-8_0_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.058947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
1 | LV_1143-8_0_6_line_1 | NAYY 4x150 SE | 0 | 2 | 0.036036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
2 | LV_1143-8_0_6_line_2 | NAYY 4x150 SE | 1 | 3 | 0.022398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_1143-8_0_6_line_3 | NAYY 4x150 SE | 2 | 4 | 0.029006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
4 | LV_1143-8_0_6_line_4 | NAYY 4x150 SE | 3 | 5 | 0.016574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_1143-8_0_6_line_5 | NAYY 4x150 SE | 4 | 6 | 0.012537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
6 | LV_1143-8_0_6_line_6 | NAYY 4x150 SE | 5 | 7 | 0.066147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_1143-8_0_6_line_7 | NAYY 4x150 SE | 6 | 10 | 0.037211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
8 | LV_1143-8_0_6_line_8 | NAYY 4x150 SE | 7 | 11 | 0.022239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_1143-8_0_6_line_9 | NAYY 4x150 SE | 8 | 9 | 0.015332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1143-8_0_6_line_10 | NAYY 4x150 SE | 9 | 12 | 0.036809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1143-8_0_6_line_11 | NAYY 4x150 SE | 10 | 13 | 0.034661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_1143-8_0_6_line_12 | NAYY 4x150 SE | 10 | 14 | 0.034387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1143-8_0_6_line_13 | NAYY 4x150 SE | 11 | 23 | 0.013485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_1143-8_0_6_line_14 | NAYY 4x150 SE | 12 | 16 | 0.014412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1143-8_0_6_line_15 | NAYY 4x150 SE | 13 | 15 | 0.039256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1143-8_0_6_line_16 | NAYY 4x150 SE | 15 | 16 | 0.027516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1143-8_0_6_line_17 | NAYY 4x150 SE | 15 | 17 | 0.037486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1143-8_0_6_line_18 | NAYY 4x150 SE | 17 | 18 | 0.005988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1143-8_0_6_line_19 | NAYY 4x150 SE | 17 | 19 | 0.028059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1143-8_0_6_line_20 | NAYY 4x150 SE | 18 | 28 | 0.056051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1143-8_0_6_line_21 | NAYY 4x150 SE | 18 | 29 | 0.041166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1143-8_0_6_line_22 | NAYY 4x150 SE | 18 | 30 | 0.029866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1143-8_0_6_line_23 | NAYY 4x150 SE | 20 | 21 | 0.065525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1143-8_0_6_line_24 | NAYY 4x150 SE | 21 | 22 | 0.005376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_1143-8_0_6_line_25 | NAYY 4x150 SE | 21 | 23 | 0.049745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_1143-8_0_6_line_26 | NAYY 4x150 SE | 22 | 24 | 0.078715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_1143-8_0_6_line_27 | NAYY 4x150 SE | 22 | 25 | 0.034443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1143-8_0_6_line_28 | NAYY 4x150 SE | 23 | 26 | 0.033723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1143-8_0_6_line_29 | NAYY 4x150 SE | 24 | 27 | 0.1139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_1143-8_0_6_line_30 | NAYY 4x150 SE | 26 | 33 | 0.17233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1143-8_0_6_line_31 | NAYY 4x150 SE | 27 | 37 | 0.13675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_1143-8_0_6_line_32 | NAYY 4x150 SE | 28 | 39 | 0.032277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1143-8_0_6_line_33 | NAYY 4x150 SE | 28 | 31 | 0.078699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1143-8_0_6_line_34 | NAYY 4x150 SE | 31 | 32 | 0.1702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1143-8_0_6_line_35 | NAYY 4x150 SE | 32 | 38 | 0.077114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1143-8_0_6_line_36 | NAYY 4x150 SE | 34 | 35 | 0.0402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_1143-8_0_6_line_37 | NAYY 4x150 SE | 34 | 36 | 0.04597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_1143-8_0_6_line_38 | NAYY 4x150 SE | 35 | 41 | 0.040856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1143-8_0_6_line_39 | NAYY 4x150 SE | 35 | 37 | 0.13426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
40 | LV_1143-8_0_6_line_40 | NAYY 4x150 SE | 36 | 42 | 0.10013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_1143-8_0_6_line_41 | NAYY 4x150 SE | 37 | 44 | 0.0083212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1143-8_0_6_line_42 | NAYY 4x150 SE | 39 | 40 | 0.01946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1143-8_0_6_line_43 | NAYY 4x150 SE | 40 | 46 | 0.029019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1143-8_0_6_line_44 | NAYY 4x150 SE | 42 | 43 | 0.049219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1143-8_0_6_line_45 | NAYY 4x150 SE | 44 | 45 | 0.030191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1143-8_0_6_line_46 | NAYY 4x150 SE | 46 | 47 | 0.025623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1143-8_0_6_trafo_19 | 0.25 MVA 20/0.4 kV | 48 | 24 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2642484.004 | 1223723.419 | 2642437.8337 | 1223760.0663
1 | 2642484.004 | 1223723.419 | 2642499.0578 | 1223711.4702 | 2642510.4511 | 1223699.101
2 | 2642420.2903 | 1223773.9912 | 2642437.8337 | 1223760.0663
3 | 2642510.4511 | 1223699.101 | 2642512.4771 | 1223696.9015 | 2642520.0948 | 1223682.4582 | 2642521.5103 | 1223672.8759
4 | 2642420.2903 | 1223773.9912 | 2642408.0587 | 1223785.1753
5 | 2642521.5103 | 1223672.8759 | 2642521.7043 | 1223671.5631 | 2642521.9318 | 1223660.3556
6 | 2642359.1529 | 1223829.7126 | 2642367.2152 | 1223822.5208 | 2642408.0587 | 1223785.1753
7 | 2642522.6869 | 1223623.1519 | 2642521.9318 | 1223660.3556
8 | 2642342.557 | 1223844.5165 | 2642359.1529 | 1223829.7126
9 | 2642416.1819 | 1223706.7886 | 2642424.6499 | 1223694.0074
10 | 2642424.6499 | 1223694.0074 | 2642444.9797 | 1223663.3222
11 | 2642522.6869 | 1223623.1519 | 2642488.0293 | 1223622.6544
12 | 2642522.6869 | 1223623.1519 | 2642557.0735 | 1223623.0871
13 | 2642332.4942 | 1223853.4928 | 2642342.557 | 1223844.5165
14 | 2642449.1976 | 1223649.5415 | 2642444.9797 | 1223663.3222 | 2642444.9797 | 1223663.3222
15 | 2642448.7768 | 1223622.091 | 2642488.0293 | 1223622.6544
16 | 2642448.7768 | 1223622.091 | 2642449.5602 | 1223648.3569 | 2642449.1976 | 1223649.5415
17 | 2642448.7768 | 1223622.091 | 2642426.5917 | 1223621.7661 | 2642411.5639 | 1223618.3682
18 | 2642406.0453 | 1223616.0053 | 2642411.5639 | 1223618.3682
19 | 2642411.5639 | 1223618.3682 | 2642398.4132 | 1223643.1541
20 | 2642354.2269 | 1223594.2791 | 2642381.9293 | 1223605.7052 | 2642406.0453 | 1223616.0053
21 | 2642406.0453 | 1223616.0053 | 2642386.5571 | 1223652.2663
22 | 2642406.0453 | 1223616.0053 | 2642420.4518 | 1223589.8442
23 | 2642320.9736 | 1223817.6003 | 2642345.8427 | 1223756.9777
24 | 2642315.9141 | 1223815.741 | 2642320.9736 | 1223817.6003
25 | 2642320.9736 | 1223817.6003 | 2642311.7847 | 1223841.972 | 2642332.4942 | 1223853.4928
26 | 2642315.9141 | 1223815.741 | 2642305.6729 | 1223845.2084 | 2642290.8694 | 1223880.7693 | 2642287.2999 | 1223889.049
27 | 2642315.9141 | 1223815.741 | 2642320.4008 | 1223802.1758 | 2642327.1549 | 1223783.1864
28 | 2642360.7524 | 1223871.8936 | 2642355.1013 | 1223867.9289 | 2642337.2129 | 1223857.4398 | 2642332.4942 | 1223853.4928
29 | 2642287.2999 | 1223889.049 | 2642173.5109 | 1223894.1678
30 | 2642360.7524 | 1223871.8936 | 2642516.4137 | 1223916.585 | 2642526.5613 | 1223918.7922
31 | 2642173.5109 | 1223894.1678 | 2642161.5564 | 1223907.6469 | 2642095.6947 | 1223961.3138 | 2642091.5817 | 1223967.1549 | 2642089.2933 | 1223974.4432 | 2642085.551 | 1223985.7681 | 2642081.039 | 1223991.2061
32 | 2642354.2269 | 1223594.2791 | 2642368.304 | 1223565.2341
33 | 2642354.2269 | 1223594.2791 | 2642353.1111 | 1223596.5726 | 2642328.4173 | 1223656.8669 | 2642324.1392 | 1223666.9938
34 | 2642324.1392 | 1223666.9938 | 2642162.7338 | 1223721.0089
35 | 2642162.7338 | 1223721.0089 | 2642160.4703 | 1223724.7618 | 2642129.5843 | 1223768.9368 | 2642118.4127 | 1223784.0941
36 | 2642186.5423 | 1224074.2464 | 2642198.6442 | 1224055.0433 | 2642208.1808 | 1224040.3682
37 | 2642208.1808 | 1224040.3682 | 2642252.3559 | 1224053.0894
38 | 2642163.0155 | 1224107.6148 | 2642179.1969 | 1224085.902 | 2642186.5423 | 1224074.2464
39 | 2642186.5423 | 1224074.2464 | 2642081.039 | 1223991.2061
40 | 2642252.3559 | 1224053.0894 | 2642350.4872 | 1224073.011
41 | 2642081.039 | 1223991.2061 | 2642081.039 | 1223991.2061 | 2642073.3496 | 1223994.3869
42 | 2642368.304 | 1223565.2341 | 2642376.7912 | 1223547.7225
43 | 2642390.9661 | 1223522.4006 | 2642376.7912 | 1223547.7225 | 2642376.7912 | 1223547.7225
44 | 2642350.4872 | 1224073.011 | 2642398.7222 | 1224082.8033
45 | 2642073.3496 | 1223994.3869 | 2642045.4518 | 1224005.9271
46 | 2642401.4154 | 1223499.0654 | 2642395.3322 | 1223514.601 | 2642390.9661 | 1223522.4006

## bus_geodata
| x | y | coords
0 | 2642484.004 | 1223723.419
1 | 2642437.8337 | 1223760.0663
2 | 2642510.4511 | 1223699.101
3 | 2642420.2903 | 1223773.9912
4 | 2642521.5103 | 1223672.8759
5 | 2642408.0587 | 1223785.1753
6 | 2642521.9318 | 1223660.3556
7 | 2642359.1529 | 1223829.7126
8 | 2642416.1819 | 1223706.7886
9 | 2642424.6499 | 1223694.0074
10 | 2642522.6869 | 1223623.1519
11 | 2642342.557 | 1223844.5165
12 | 2642444.9797 | 1223663.3222
13 | 2642488.0293 | 1223622.6544
14 | 2642557.0735 | 1223623.0871
15 | 2642448.7768 | 1223622.091
16 | 2642449.1976 | 1223649.5415
17 | 2642411.5639 | 1223618.3682
18 | 2642406.0453 | 1223616.0053
19 | 2642398.4132 | 1223643.1541
20 | 2642345.8427 | 1223756.9777
21 | 2642320.9736 | 1223817.6003
22 | 2642315.9141 | 1223815.741
23 | 2642332.4942 | 1223853.4928
24 | 2642287.2999 | 1223889.049
25 | 2642327.1549 | 1223783.1864
26 | 2642360.7524 | 1223871.8936
27 | 2642173.5109 | 1223894.1678
28 | 2642354.2269 | 1223594.2791
29 | 2642386.5571 | 1223652.2663
30 | 2642420.4518 | 1223589.8442
31 | 2642324.1392 | 1223666.9938
32 | 2642162.7338 | 1223721.0089
33 | 2642526.5613 | 1223918.7922
34 | 2642208.1808 | 1224040.3682
35 | 2642186.5423 | 1224074.2464
36 | 2642252.3559 | 1224053.0894
37 | 2642081.039 | 1223991.2061
38 | 2642118.4127 | 1223784.0941
39 | 2642368.304 | 1223565.2341
40 | 2642376.7912 | 1223547.7225
41 | 2642163.0155 | 1224107.6148
42 | 2642350.4872 | 1224073.011
43 | 2642398.7222 | 1224082.8033
44 | 2642073.3496 | 1223994.3869
45 | 2642045.4518 | 1224005.9271
46 | 2642390.9661 | 1223522.4006
47 | 2642401.4154 | 1223499.0654
48 | 2642291.4113 | 1223890.9571

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99052 | -0.065977 | 0.00086027 | 0.00021561
1 | 0.99207 | -0.05511 | 0.00114 | 0.0002857
2 | 0.98958 | -0.07253 | 0.0010972 | 0.00027499
3 | 0.99267 | -0.050902 | 0 | 0
4 | 0.98884 | -0.077705 | 0.0013125 | 0.00032895
5 | 0.99312 | -0.047792 | 0.00069961 | 0.00017534
6 | 0.98853 | -0.079887 | 0.0013587 | 0.00034052
7 | 0.99492 | -0.035248 | 0.00097656 | 0.00024475
8 | 0.98317 | -0.11781 | 0.0016407 | 0.00041119
9 | 0.9832 | -0.11755 | 0.0058231 | 0.0014594
10 | 0.98764 | -0.086201 | 0 | 0
11 | 0.99553 | -0.030967 | 0.00074478 | 0.00018666
12 | 0.9836 | -0.11472 | 0.00088108 | 0.00022082
13 | 0.98653 | -0.093984 | 0.0016731 | 0.00041933
14 | 0.98734 | -0.08829 | 0.005935 | 0.0014875
15 | 0.98412 | -0.111 | 0 | 0
16 | 0.98377 | -0.11347 | 0.00037139 | 9.3078e-05
17 | 0.9823 | -0.12394 | 0 | 0
18 | 0.98203 | -0.12582 | 0 | 0
19 | 0.98217 | -0.12483 | 0.0030801 | 0.00077194
20 | 0.99713 | -0.019859 | 0.0021762 | 0.00054542
21 | 0.99734 | -0.018426 | 0 | 0
22 | 0.9975 | -0.017317 | 0 | 0
23 | 0.99591 | -0.02834 | 0 | 0
24 | 1 | 0 | -0.15877 | -0.039938
25 | 0.99729 | -0.018787 | 0.0042525 | 0.0010658
26 | 0.99584 | -0.028825 | 0 | 0
27 | 0.99506 | -0.034042 | 0 | 0
28 | 0.98021 | -0.13873 | 0 | 0
29 | 0.98177 | -0.12771 | 0.0044244 | 0.0011089
30 | 0.98187 | -0.12696 | 0.0036943 | 0.00092587
31 | 0.978 | -0.15443 | 0.0023542 | 0.00059002
32 | 0.97382 | -0.18439 | 0 | 0
33 | 0.99549 | -0.031288 | 0.0014111 | 0.00035366
34 | 0.98249 | -0.12223 | 0.011779 | 0.0029522
35 | 0.98394 | -0.11192 | 0.0019078 | 0.00047814
36 | 0.98108 | -0.13218 | 0 | 0
37 | 0.98914 | -0.075343 | 0.0028766 | 0.00072094
38 | 0.97192 | -0.19804 | 0.016782 | 0.0042059
39 | 0.98007 | -0.13976 | 0.00025546 | 6.4026e-05
40 | 0.97999 | -0.14032 | 0.0011789 | 0.00029545
41 | 0.98375 | -0.11331 | 0.0032788 | 0.00082174
42 | 0.9765 | -0.16487 | 0.042477 | 0.010646
43 | 0.97505 | -0.17529 | 0.020195 | 0.0050614
44 | 0.98906 | -0.075915 | 0.0010937 | 0.00027411
45 | 0.98881 | -0.077651 | 0.0056339 | 0.001412
46 | 0.97992 | -0.14081 | 0.00089532 | 0.00022439
47 | 0.97989 | -0.141 | 0.00071412 | 0.00017897
48 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.054892 | -0.013817 | 0.054975 | 0.013847 | 8.3417e-05 | 2.9804e-05 | 0.082484 | 0.082483 | 0.082484 | 0.99052 | -0.065977 | 0.99207 | -0.05511 | 10.1832
1 | 0.054032 | 0.013601 | -0.053982 | -0.013584 | 4.9411e-05 | 1.7614e-05 | 0.081191 | 0.081192 | 0.081192 | 0.99052 | -0.065977 | 0.98958 | -0.07253 | 10.0237
2 | -0.056115 | -0.014132 | 0.056148 | 0.014144 | 3.3023e-05 | 1.1833e-05 | 0.084193 | 0.084192 | 0.084193 | 0.99207 | -0.05511 | 0.99267 | -0.050902 | 10.3942
3 | 0.052885 | 0.013309 | -0.052847 | -0.013295 | 3.8172e-05 | 1.3564e-05 | 0.079542 | 0.079542 | 0.079542 | 0.98958 | -0.07253 | 0.98884 | -0.077705 | 9.82
4 | -0.056148 | -0.014144 | 0.056173 | 0.014153 | 2.4436e-05 | 8.7555e-06 | 0.084192 | 0.084192 | 0.084192 | 0.99267 | -0.050902 | 0.99312 | -0.047792 | 10.3941
5 | 0.051534 | 0.012966 | -0.051519 | -0.012961 | 1.5689e-05 | 5.5521e-06 | 0.077567 | 0.077567 | 0.077567 | 0.98884 | -0.077705 | 0.98853 | -0.079887 | 9.5762
6 | -0.056873 | -0.014328 | 0.056972 | 0.014364 | 9.9968e-05 | 3.5877e-05 | 0.08524 | 0.085239 | 0.08524 | 0.99312 | -0.047792 | 0.99492 | -0.035248 | 10.5235
7 | 0.05016 | 0.01262 | -0.050116 | -0.012605 | 4.4146e-05 | 1.5549e-05 | 0.075522 | 0.075523 | 0.075523 | 0.98853 | -0.079887 | 0.98764 | -0.086201 | 9.3238
8 | -0.057949 | -0.014609 | 0.057984 | 0.014622 | 3.4771e-05 | 1.2507e-05 | 0.0867 | 0.0867 | 0.0867 | 0.99492 | -0.035248 | 0.99553 | -0.030967 | 10.7037
9 | -0.0016407 | -0.00041119 | 0.0016407 | 0.00041102 | 5.8989e-08 | -1.7175e-07 | 0.0024831 | 0.0024831 | 0.0024831 | 0.98317 | -0.11781 | 0.9832 | -0.11755 | 0.91968
10 | -0.0074638 | -0.0018704 | 0.0074668 | 0.0018711 | 2.9307e-06 | 6.602e-07 | 0.011296 | 0.011296 | 0.011296 | 0.9832 | -0.11755 | 0.9836 | -0.11472 | 4.1837
11 | 0.044179 | 0.011117 | -0.044131 | -0.011099 | 4.7936e-05 | 1.7551e-05 | 0.066578 | 0.066578 | 0.066578 | 0.98764 | -0.086201 | 0.98653 | -0.093984 | 12.3293
12 | 0.0059368 | 0.0014877 | -0.005935 | -0.0014875 | 1.7167e-06 | 2.2036e-07 | 0.0089445 | 0.0089446 | 0.0089446 | 0.98764 | -0.086201 | 0.98734 | -0.08829 | 3.3128
13 | -0.058729 | -0.014808 | 0.05875 | 0.014816 | 2.1628e-05 | 7.7922e-06 | 0.087813 | 0.087813 | 0.087813 | 0.99553 | -0.030967 | 0.99591 | -0.02834 | 10.8411
14 | -0.0083479 | -0.0020919 | 0.0083493 | 0.0020923 | 1.4342e-06 | 3.6868e-07 | 0.012629 | 0.012629 | 0.012629 | 0.9836 | -0.11472 | 0.98377 | -0.11347 | 4.6773
15 | 0.042458 | 0.01068 | -0.042358 | -0.010642 | 0.00010051 | 3.8157e-05 | 0.064055 | 0.064055 | 0.064055 | 0.98653 | -0.093984 | 0.98412 | -0.111 | 23.7241
16 | 0.0087237 | 0.0021862 | -0.0087207 | -0.0021854 | 2.9874e-06 | 7.995e-07 | 0.01319 | 0.01319 | 0.01319 | 0.98412 | -0.111 | 0.98377 | -0.11347 | 4.8853
17 | 0.033634 | 0.0084558 | -0.033573 | -0.008433 | 6.0519e-05 | 2.2801e-05 | 0.050865 | 0.050865 | 0.050865 | 0.98412 | -0.111 | 0.9823 | -0.12394 | 18.8388
18 | 0.030493 | 0.0076612 | -0.030485 | -0.0076582 | 7.9749e-06 | 2.9915e-06 | 0.046199 | 0.046199 | 0.046199 | 0.9823 | -0.12394 | 0.98203 | -0.12582 | 17.1106
19 | 0.0030805 | 0.00077174 | -0.0030801 | -0.00077194 | 3.8125e-07 | -2.0851e-07 | 0.0046663 | 0.0046664 | 0.0046664 | 0.9823 | -0.12394 | 0.98217 | -0.12483 | 1.7283
20 | 0.022365 | 0.0056237 | -0.022324 | -0.005609 | 4.0182e-05 | 1.4747e-05 | 0.033894 | 0.033895 | 0.033895 | 0.98203 | -0.12582 | 0.98021 | -0.13873 | 12.5536
21 | 0.0044256 | 0.0011088 | -0.0044244 | -0.0011089 | 1.1551e-06 | -7.6422e-08 | 0.0067057 | 0.0067059 | 0.0067059 | 0.98203 | -0.12582 | 0.98177 | -0.12771 | 2.4837
22 | 0.0036948 | 0.00092572 | -0.0036943 | -0.00092587 | 5.8413e-07 | -1.5313e-07 | 0.0055985 | 0.0055986 | 0.0055986 | 0.98203 | -0.12582 | 0.98187 | -0.12696 | 2.0736
23 | -0.0021762 | -0.00054542 | 0.0021767 | 0.00054473 | 4.312e-07 | -6.8906e-07 | 0.0032476 | 0.0032473 | 0.0032476 | 0.99713 | -0.019859 | 0.99734 | -0.018426 | 1.2028
24 | -0.062422 | -0.015742 | 0.062432 | 0.015746 | 9.7063e-06 | 3.5227e-06 | 0.093168 | 0.093168 | 0.093168 | 0.99734 | -0.018426 | 0.9975 | -0.017317 | 11.5022
25 | 0.060246 | 0.015197 | -0.060162 | -0.015167 | 8.3662e-05 | 3.0233e-05 | 0.08992 | 0.089921 | 0.089921 | 0.99734 | -0.018426 | 0.99591 | -0.02834 | 11.1014
26 | -0.066685 | -0.016811 | 0.066847 | 0.016871 | 0.00016213 | 5.9268e-05 | 0.099512 | 0.099511 | 0.099512 | 0.9975 | -0.017317 | 1 | 0 | 12.2855
27 | 0.0042533 | 0.0010657 | -0.0042525 | -0.0010658 | 8.6522e-07 | -1.1673e-07 | 0.0063448 | 0.0063449 | 0.0063449 | 0.9975 | -0.017317 | 0.99729 | -0.018787 | 2.35
28 | 0.0014117 | 0.0003512 | -0.0014116 | -0.00035161 | 9.3548e-08 | -4.028e-07 | 0.0021084 | 0.0021085 | 0.0021085 | 0.99591 | -0.02834 | 0.99584 | -0.028825 | 0.78093
29 | 0.091124 | 0.023068 | -0.090688 | -0.022904 | 0.00043612 | 0.00016328 | 0.13568 | 0.13568 | 0.13568 | 1 | 0 | 0.99506 | -0.034042 | 16.7502
30 | 0.0014116 | 0.00035161 | -0.0014111 | -0.00035366 | 4.7827e-07 | -2.0574e-06 | 0.0021085 | 0.0021093 | 0.0021093 | 0.99584 | -0.028825 | 0.99549 | -0.031288 | 0.78122
31 | 0.090688 | 0.022904 | -0.090164 | -0.022708 | 0.00052361 | 0.00019609 | 0.13568 | 0.13568 | 0.13568 | 0.99506 | -0.034042 | 0.98914 | -0.075343 | 16.7504
32 | 0.0030445 | 0.0007618 | -0.0030441 | -0.00076204 | 4.3015e-07 | -2.4135e-07 | 0.0046213 | 0.0046215 | 0.0046215 | 0.98021 | -0.13873 | 0.98007 | -0.13976 | 1.7117
33 | 0.01928 | 0.0048472 | -0.019238 | -0.004832 | 4.2083e-05 | 1.5196e-05 | 0.029273 | 0.029274 | 0.029274 | 0.98021 | -0.13873 | 0.978 | -0.15443 | 10.8421
34 | 0.016884 | 0.004242 | -0.016813 | -0.0042171 | 7.0106e-05 | 2.4837e-05 | 0.025692 | 0.025693 | 0.025693 | 0.978 | -0.15443 | 0.97382 | -0.18439 | 9.5158
35 | 0.016813 | 0.0042171 | -0.016782 | -0.0042059 | 3.1764e-05 | 1.1259e-05 | 0.025693 | 0.025693 | 0.025693 | 0.97382 | -0.18439 | 0.97192 | -0.19804 | 9.5159
36 | -0.074853 | -0.018809 | 0.074961 | 0.018849 | 0.0001075 | 3.9816e-05 | 0.11339 | 0.11339 | 0.11339 | 0.98249 | -0.12223 | 0.98394 | -0.11192 | 13.9982
37 | 0.063074 | 0.015857 | -0.062987 | -0.015825 | 8.729e-05 | 3.1829e-05 | 0.095545 | 0.095546 | 0.095546 | 0.98249 | -0.12223 | 0.98108 | -0.13218 | 11.7958
38 | 0.0032794 | 0.00082146 | -0.0032788 | -0.00082174 | 6.2705e-07 | -2.7765e-07 | 0.0049593 | 0.0049595 | 0.0049595 | 0.98394 | -0.11192 | 0.98375 | -0.11331 | 1.8368
39 | -0.080148 | -0.020148 | 0.080558 | 0.020301 | 0.00041042 | 0.00015271 | 0.12123 | 0.12123 | 0.12123 | 0.98394 | -0.11192 | 0.98914 | -0.075343 | 14.9666
40 | 0.062987 | 0.015825 | -0.062701 | -0.015718 | 0.00028521 | 0.00010718 | 0.095546 | 0.095547 | 0.095547 | 0.98108 | -0.13218 | 0.9765 | -0.16487 | 17.6939
41 | 0.0067295 | 0.0016863 | -0.006729 | -0.0016862 | 5.3215e-07 | 9.7873e-08 | 0.010124 | 0.010124 | 0.010124 | 0.98914 | -0.075343 | 0.98906 | -0.075915 | 3.7495
42 | 0.0027886 | 0.00069801 | -0.0027884 | -0.00069817 | 2.1765e-07 | -1.6149e-07 | 0.0042336 | 0.0042337 | 0.0042337 | 0.98007 | -0.13976 | 0.97999 | -0.14032 | 1.568
43 | 0.0016096 | 0.00040272 | -0.0016095 | -0.00040305 | 1.0814e-07 | -3.2401e-07 | 0.0024437 | 0.0024439 | 0.0024439 | 0.97999 | -0.14032 | 0.97992 | -0.14081 | 0.90513
44 | 0.020224 | 0.005072 | -0.020195 | -0.0050614 | 2.9172e-05 | 1.0605e-05 | 0.030819 | 0.03082 | 0.03082 | 0.9765 | -0.16487 | 0.97505 | -0.17529 | 11.4146
45 | 0.0056353 | 0.0014121 | -0.0056339 | -0.001412 | 1.3541e-06 | 1.3346e-07 | 0.0084781 | 0.0084782 | 0.0084782 | 0.98906 | -0.075915 | 0.98881 | -0.077651 | 3.1401
46 | 0.00071414 | 0.00017866 | -0.00071412 | -0.00017897 | 1.88e-08 | -3.1555e-07 | 0.0010843 | 0.0010844 | 0.0010844 | 0.97992 | -0.14081 | 0.97989 | -0.141 | 0.40164

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.15877 | 0.039938

## res_load
| p_mw | q_mvar
0 | 0.00086027 | 0.00021561
1 | 0.00114 | 0.0002857
2 | 0.0010972 | 0.00027499
3 | 0.0013125 | 0.00032895
4 | 0.00069961 | 0.00017534
5 | 0.0013587 | 0.00034052
6 | 0.00097656 | 0.00024475
7 | 0.0016407 | 0.00041119
8 | 0.0058231 | 0.0014594
9 | 0.00074478 | 0.00018666
10 | 0.00088108 | 0.00022082
11 | 0.0016731 | 0.00041933
12 | 0.005935 | 0.0014875
13 | 0.00037139 | 9.3078e-05
14 | 0.0030801 | 0.00077194
15 | 0.0021762 | 0.00054542
16 | 0.0042525 | 0.0010658
17 | 0.0044244 | 0.0011089
18 | 0.0036943 | 0.00092587
19 | 0.0023542 | 0.00059002
20 | 0.0014111 | 0.00035366
21 | 0.011779 | 0.0029522
22 | 0.0019078 | 0.00047814
23 | 0.0028766 | 0.00072094
24 | 0.016782 | 0.0042059
25 | 0.00025546 | 6.4026e-05
26 | 0.0011789 | 0.00029545
27 | 0.0032788 | 0.00082174
28 | 0.042477 | 0.010646
29 | 0.020195 | 0.0050614
30 | 0.0010937 | 0.00027411
31 | 0.0056339 | 0.001412
32 | 0.00089532 | 0.00022439
33 | 0.00071412 | 0.00017897

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1