## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1145-2_1_2_node_153 | 0.4 | n |  | TRUE
1 | bus_LV_1145-2_1_2_node_151 | 0.4 | n |  | TRUE
2 | bus_LV_1145-2_1_2_node_185 | 0.4 | n |  | TRUE
3 | bus_LV_1145-2_1_2_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_1145-2_1_2_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_1145-2_1_2_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_1145-2_1_2_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_1145-2_1_2_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_1145-2_1_2_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_1145-2_1_2_node_40 | 0.4 | n |  | TRUE
10 | bus_LV_1145-2_1_2_node_30 | 0.4 | n |  | TRUE
11 | bus_LV_1145-2_1_2_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_1145-2_1_2_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_1145-2_1_2_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_1145-2_1_2_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_1145-2_1_2_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_1145-2_1_2_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_1145-2_1_2_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_1145-2_1_2_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_1145-2_1_2_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_1145-2_1_2_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_1145-2_1_2_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_1145-2_1_2_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_1145-2_1_2_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_1145-2_1_2_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_1145-2_1_2_node_49 | 0.4 | n |  | TRUE
26 | bus_LV_1145-2_1_2_node_142 | 0.4 | n |  | TRUE
27 | bus_LV_1145-2_1_2_node_141 | 0.4 | n |  | TRUE
28 | bus_LV_1145-2_1_2_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_1145-2_1_2_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_1145-2_1_2_node_46 | 0.4 | n |  | TRUE
31 | bus_LV_1145-2_1_2_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_1145-2_1_2_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_1145-2_1_2_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_1145-2_1_2_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_1145-2_1_2_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_1145-2_1_2_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_1145-2_1_2_node_140 | 0.4 | n |  | TRUE
38 | bus_LV_1145-2_1_2_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_1145-2_1_2_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_1145-2_1_2_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_1145-2_1_2_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_1145-2_1_2_node_50 | 0.4 | n |  | TRUE
43 | bus_LV_1145-2_1_2_node_154 | 0.4 | n |  | TRUE
44 | bus_LV_1145-2_1_2_node_155 | 0.4 | n |  | TRUE
45 | bus_LV_1145-2_1_2_node_158 | 0.4 | n |  | TRUE
46 | bus_LV_1145-2_1_2_node_159 | 0.4 | n |  | TRUE
47 | bus_LV_1145-2_1_2_node_181 | 0.4 | n |  | TRUE
48 | bus_LV_1145-2_1_2_node_157 | 0.4 | n |  | TRUE
49 | bus_LV_1145-2_1_2_node_149 | 0.4 | n |  | TRUE
50 | bus_LV_1145-2_1_2_node_150 | 0.4 | n |  | TRUE
51 | bus_LV_1145-2_1_2_node_152 | 0.4 | n |  | TRUE
52 | bus_MV_0_node_13 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1145-2_1_2_load_153 | 0 | 0.00073327 | 0.00018377 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1145-2_1_2_load_185 | 2 | 7.3406e-05 | 1.8397e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1145-2_1_2_load_5 | 3 | 0.00020639 | 5.1727e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1145-2_1_2_load_6 | 4 | 0.00014566 | 3.6505e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1145-2_1_2_load_7 | 5 | 7.3352e-05 | 1.8384e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1145-2_1_2_load_8 | 6 | 0.00010422 | 2.6119e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1145-2_1_2_load_9 | 7 | 0.00069685 | 0.00017465 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1145-2_1_2_load_10 | 8 | 8.2408e-05 | 2.0653e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1145-2_1_2_load_30 | 10 | 0.00014638 | 3.6687e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1145-2_1_2_load_11 | 11 | 0.00081752 | 0.00020489 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1145-2_1_2_load_12 | 12 | 0.0062748 | 0.0015726 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1145-2_1_2_load_15 | 14 | 0.0073539 | 0.0018431 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1145-2_1_2_load_24 | 16 | 0.00026041 | 6.5266e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1145-2_1_2_load_17 | 17 | 0.00026839 | 6.7265e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1145-2_1_2_load_25 | 18 | 0.002384 | 0.00059747 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1145-2_1_2_load_16 | 19 | 0.00077975 | 0.00019542 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1145-2_1_2_load_18 | 20 | 0.00017412 | 4.3639e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1145-2_1_2_load_19 | 21 | 0.00014543 | 3.6449e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1145-2_1_2_load_20 | 23 | 0.00028464 | 7.1337e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1145-2_1_2_load_21 | 24 | 0.0012206 | 0.00030592 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1145-2_1_2_load_142 | 26 | 0.00021879 | 5.4833e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1145-2_1_2_load_141 | 27 | 0.0009407 | 0.00023576 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1145-2_1_2_load_46 | 30 | 0.00011035 | 2.7656e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1145-2_1_2_load_32 | 31 | 0.00031016 | 7.7734e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1145-2_1_2_load_36 | 32 | 0.00010544 | 2.6426e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1145-2_1_2_load_31 | 34 | 4.6371e-05 | 1.1622e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1145-2_1_2_load_140 | 37 | 0.00036537 | 9.1571e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1145-2_1_2_load_37 | 38 | 0.00034858 | 8.7362e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1145-2_1_2_load_38 | 39 | 0.00080288 | 0.00020122 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1145-2_1_2_load_47 | 41 | 0.0005345 | 0.00013396 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1145-2_1_2_load_50 | 42 | 0.0031357 | 0.00078587 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1145-2_1_2_load_154 | 43 | 0.00074018 | 0.00018551 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1145-2_1_2_load_158 | 45 | 0.00034999 | 8.7716e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1145-2_1_2_load_159 | 46 | 9.4142e-05 | 2.3594e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1145-2_1_2_load_181 | 47 | 0.00013616 | 3.4125e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1145-2_1_2_load_157 | 48 | 0.00017933 | 4.4944e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1145-2_1_2_load_149 | 49 | 0.00027265 | 6.8332e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1145-2_1_2_load_150 | 50 | 0.0001195 | 2.995e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1145-2_1_2_load_152 | 51 | 0.00014385 | 3.6053e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1145-2_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.041083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1145-2_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.01901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1145-2_1_2_line_2 | NAYY 4x150 SE | 1 | 26 | 0.044058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1145-2_1_2_line_3 | NAYY 4x150 SE | 1 | 49 | 0.029259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1145-2_1_2_line_4 | NAYY 4x150 SE | 2 | 45 | 0.010678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1145-2_1_2_line_5 | NAYY 4x150 SE | 3 | 4 | 0.012299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1145-2_1_2_line_6 | NAYY 4x150 SE | 3 | 5 | 0.0095347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1145-2_1_2_line_7 | NAYY 4x150 SE | 4 | 6 | 0.014005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1145-2_1_2_line_8 | NAYY 4x150 SE | 5 | 7 | 0.031046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1145-2_1_2_line_9 | NAYY 4x150 SE | 6 | 8 | 0.010173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1145-2_1_2_line_10 | NAYY 4x150 SE | 7 | 9 | 0.064874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1145-2_1_2_line_11 | NAYY 4x150 SE | 8 | 10 | 0.0089164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1145-2_1_2_line_12 | NAYY 4x150 SE | 9 | 41 | 0.16893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1145-2_1_2_line_13 | NAYY 4x150 SE | 10 | 33 | 0.040792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1145-2_1_2_line_14 | NAYY 4x150 SE | 11 | 12 | 0.0081005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1145-2_1_2_line_15 | NAYY 4x150 SE | 11 | 13 | 0.2582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1145-2_1_2_line_16 | NAYY 4x150 SE | 12 | 14 | 0.022724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1145-2_1_2_line_17 | NAYY 4x150 SE | 13 | 15 | 0.005616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1145-2_1_2_line_18 | NAYY 4x150 SE | 14 | 18 | 0.094509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1145-2_1_2_line_19 | NAYY 4x150 SE | 15 | 16 | 0.074322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1145-2_1_2_line_20 | NAYY 4x150 SE | 15 | 17 | 0.024946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1145-2_1_2_line_21 | NAYY 4x150 SE | 17 | 19 | 0.021955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1145-2_1_2_line_22 | NAYY 4x150 SE | 19 | 20 | 0.037337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1145-2_1_2_line_23 | NAYY 4x150 SE | 20 | 21 | 0.0011253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1145-2_1_2_line_24 | NAYY 4x150 SE | 21 | 22 | 0.047327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1145-2_1_2_line_25 | NAYY 4x150 SE | 22 | 28 | 0.021424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1145-2_1_2_line_26 | NAYY 4x150 SE | 22 | 29 | 0.016064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1145-2_1_2_line_27 | NAYY 4x150 SE | 23 | 24 | 0.0099938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1145-2_1_2_line_28 | NAYY 4x150 SE | 24 | 25 | 0.26483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1145-2_1_2_line_29 | NAYY 4x150 SE | 25 | 40 | 0.072755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1145-2_1_2_line_30 | NAYY 4x150 SE | 26 | 27 | 0.012949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1145-2_1_2_line_31 | NAYY 4x150 SE | 27 | 37 | 0.014365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1145-2_1_2_line_32 | NAYY 4x150 SE | 28 | 30 | 0.048553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1145-2_1_2_line_33 | NAYY 4x150 SE | 28 | 31 | 0.055974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1145-2_1_2_line_34 | NAYY 4x150 SE | 29 | 32 | 0.020742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1145-2_1_2_line_35 | NAYY 4x150 SE | 30 | 36 | 0.056431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1145-2_1_2_line_36 | NAYY 4x150 SE | 31 | 34 | 0.022772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1145-2_1_2_line_37 | NAYY 4x150 SE | 33 | 35 | 0.009275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1145-2_1_2_line_38 | NAYY 4x150 SE | 34 | 35 | 0.096197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1145-2_1_2_line_39 | NAYY 4x150 SE | 36 | 37 | 0.25539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1145-2_1_2_line_40 | NAYY 4x150 SE | 38 | 39 | 0.019277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1145-2_1_2_line_41 | NAYY 4x150 SE | 39 | 40 | 0.059451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1145-2_1_2_line_42 | NAYY 4x150 SE | 39 | 41 | 0.31169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1145-2_1_2_line_43 | NAYY 4x150 SE | 40 | 42 | 0.053218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1145-2_1_2_line_44 | NAYY 4x150 SE | 43 | 44 | 0.060975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1145-2_1_2_line_45 | NAYY 4x150 SE | 44 | 48 | 0.019097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1145-2_1_2_line_46 | NAYY 4x150 SE | 44 | 45 | 0.12187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1145-2_1_2_line_47 | NAYY 4x150 SE | 46 | 47 | 0.056317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1145-2_1_2_line_48 | NAYY 4x150 SE | 47 | 48 | 0.035311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1145-2_1_2_line_49 | NAYY 4x150 SE | 49 | 50 | 0.0065682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1145-2_1_2_line_50 | NAYY 4x150 SE | 50 | 51 | 0.019101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1145-2_1_2_trafo_13 | 0.25 MVA 20/0.4 kV | 52 | 13 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2633383.2149 | 1217926.6566 | 2633372.6612 | 1217886.9526
1 | 2633366.6765 | 1217868.9326 | 2633370.7936 | 1217879.9265 | 2633372.6612 | 1217886.9526
2 | 2633383.2149 | 1217926.6566 | 2633340.3296 | 1217936.7556
3 | 2633383.2149 | 1217926.6566 | 2633411.3666 | 1217918.6832
4 | 2633366.6765 | 1217868.9326 | 2633364.2351 | 1217862.413 | 2633362.4245 | 1217859.1681
5 | 2633505.0682 | 1218242.7774 | 2633493.1619 | 1218239.6934
6 | 2633514.2983 | 1218245.1682 | 2633505.0682 | 1218242.7774
7 | 2633479.4092 | 1218237.0803 | 2633490.9075 | 1218239.1094 | 2633493.1619 | 1218239.6934
8 | 2633514.2983 | 1218245.1682 | 2633544.3524 | 1218252.953
9 | 2633479.4092 | 1218237.0803 | 2633469.3914 | 1218235.3124
10 | 2633607.038 | 1218269.658 | 2633563.7371 | 1218257.9741 | 2633544.3524 | 1218252.953
11 | 2633460.6107 | 1218233.7628 | 2633469.3914 | 1218235.3124
12 | 2633607.038 | 1218269.658 | 2633601.9763 | 1218293.7992 | 2633598.2489 | 1218304.7402 | 2633592.8963 | 1218315.8721 | 2633574.0148 | 1218341.2918 | 2633563.9597 | 1218357.3113 | 2633556.9311 | 1218376.3384 | 2633554.9639 | 1218400.8862 | 2633556.3335 | 1218411.0443 | 2633561.7515 | 1218424.6716
13 | 2633420.4397 | 1218226.6737 | 2633460.6107 | 1218233.7628
14 | 2632900.9907 | 1218467.8723 | 2632908.9001 | 1218466.1227
15 | 2633153.6344 | 1218383.8327 | 2632908.9001 | 1218466.1227
16 | 2632900.9907 | 1218467.8723 | 2632879.6573 | 1218475.6988
17 | 2633153.6344 | 1218383.8327 | 2633152.215 | 1218378.3994
18 | 2632788.0521 | 1218495.3138 | 2632798.2112 | 1218495.1001 | 2632825.8944 | 1218492.7732 | 2632843.4297 | 1218489.2565 | 2632866.7166 | 1218480.4463 | 2632879.6573 | 1218475.6988
19 | 2633152.215 | 1218378.3994 | 2633149.4432 | 1218367.7778 | 2633148.8813 | 1218359.6477 | 2633151.7757 | 1218350.9476 | 2633157.9324 | 1218342.4546 | 2633167.7547 | 1218333.982 | 2633188.2397 | 1218324.5189
20 | 2633152.215 | 1218378.3994 | 2633175.2643 | 1218368.858
21 | 2633196.1145 | 1218365.2155 | 2633187.3818 | 1218363.842 | 2633175.2643 | 1218368.858
22 | 2633232.3349 | 1218359.3576 | 2633223.7683 | 1218363.3219 | 2633201.7436 | 1218366.1009 | 2633196.1145 | 1218365.2155
23 | 2633233.3561 | 1218358.885 | 2633232.3349 | 1218359.3576
24 | 2633269.5935 | 1218329.2685 | 2633244.5867 | 1218353.6878 | 2633233.3561 | 1218358.885
25 | 2633269.5935 | 1218329.2685 | 2633271.5036 | 1218307.9333
26 | 2633269.5935 | 1218329.2685 | 2633268.0774 | 1218345.2582
27 | 2633814.8974 | 1218372.5575 | 2633817.3809 | 1218362.8771
28 | 2633814.8974 | 1218372.5575 | 2633794.8483 | 1218636.6226
29 | 2633794.8483 | 1218636.6226 | 2633773.163 | 1218655.9778 | 2633748.362 | 1218685.4659 | 2633745.3325 | 1218689.7512
30 | 2633328.1076 | 1217940.9792 | 2633337.6987 | 1217937.3751 | 2633340.3296 | 1217936.7556
31 | 2633328.1076 | 1217940.9792 | 2633328.1076 | 1217940.9792 | 2633322.5877 | 1217945.4176 | 2633318.8867 | 1217951.6895
32 | 2633271.5036 | 1218307.9333 | 2633274.7804 | 1218268.8287 | 2633274.7549 | 1218259.5177
33 | 2633271.5036 | 1218307.9333 | 2633281.6745 | 1218310.4693 | 2633287.991 | 1218310.1043 | 2633324.0739 | 1218300.1555 | 2633325.7152 | 1218299.5905
34 | 2633268.0774 | 1218345.2582 | 2633265.6901 | 1218365.862
35 | 2633274.0011 | 1218203.1082 | 2633273.6923 | 1218214.9245 | 2633274.7155 | 1218245.0922 | 2633274.7549 | 1218259.5177
36 | 2633347.2474 | 1218292.1792 | 2633325.7152 | 1218299.5905
37 | 2633411.2805 | 1218225.0548 | 2633420.4397 | 1218226.6737
38 | 2633411.2805 | 1218225.0548 | 2633403.2164 | 1218235.2489 | 2633389.0112 | 1218261.9184 | 2633379.9961 | 1218273.886 | 2633370.3871 | 1218282.1482 | 2633361.1973 | 1218287.3777 | 2633347.2474 | 1218292.1792
39 | 2633274.0011 | 1218203.1082 | 2633318.8867 | 1217951.6895
40 | 2633672.1085 | 1218716.3748 | 2633676.6815 | 1218714.0998 | 2633683.6477 | 1218710.148 | 2633689.6796 | 1218708.8974
41 | 2633745.3325 | 1218689.7512 | 2633712.5212 | 1218705.2304 | 2633704.9524 | 1218707.0331 | 2633690.9037 | 1218708.6436 | 2633689.6796 | 1218708.8974
42 | 2633561.7515 | 1218424.6716 | 2633689.6796 | 1218708.8974
43 | 2633716.5379 | 1218734.3924 | 2633729.671 | 1218716.2004 | 2633737.4911 | 1218700.8245 | 2633745.3325 | 1218689.7512
44 | 2633251.0698 | 1217837.489 | 2633217.9186 | 1217852.0573 | 2633195.2256 | 1217858.6571 | 2633194.1278 | 1217858.9278
45 | 2633251.0698 | 1217837.489 | 2633232.0067 | 1217838.6262
46 | 2633251.0698 | 1217837.489 | 2633285.3252 | 1217837.2354 | 2633324.0189 | 1217834.6165 | 2633337.856 | 1217835.9056 | 2633347.865 | 1217840.4086 | 2633357.3215 | 1217850.0226 | 2633362.4245 | 1217859.1681
47 | 2633202.9497 | 1217823.8997 | 2633198.6759 | 1217823.767 | 2633184.6778 | 1217825.4902 | 2633168.1004 | 1217829.6893 | 2633153.0613 | 1217837.0878 | 2633149.7528 | 1217839.4689
48 | 2633232.0067 | 1217838.6262 | 2633223.6301 | 1217839.126 | 2633219.7649 | 1217838.0927 | 2633216.5247 | 1217835.2286 | 2633210.0601 | 1217826.6654 | 2633205.6576 | 1217823.9838 | 2633202.9497 | 1217823.8997
49 | 2633411.3666 | 1217918.6832 | 2633417.6862 | 1217916.8933
50 | 2633435.8769 | 1217911.1149 | 2633428.8272 | 1217913.7378 | 2633417.6862 | 1217916.8933

## bus_geodata
| x | y | coords
0 | 2633372.6612 | 1217886.9526
1 | 2633383.2149 | 1217926.6566
2 | 2633366.6765 | 1217868.9326
3 | 2633505.0682 | 1218242.7774
4 | 2633493.1619 | 1218239.6934
5 | 2633514.2983 | 1218245.1682
6 | 2633479.4092 | 1218237.0803
7 | 2633544.3524 | 1218252.953
8 | 2633469.3914 | 1218235.3124
9 | 2633607.038 | 1218269.658
10 | 2633460.6107 | 1218233.7628
11 | 2632908.9001 | 1218466.1227
12 | 2632900.9907 | 1218467.8723
13 | 2633153.6344 | 1218383.8327
14 | 2632879.6573 | 1218475.6988
15 | 2633152.215 | 1218378.3994
16 | 2633188.2397 | 1218324.5189
17 | 2633175.2643 | 1218368.858
18 | 2632788.0521 | 1218495.3138
19 | 2633196.1145 | 1218365.2155
20 | 2633232.3349 | 1218359.3576
21 | 2633233.3561 | 1218358.885
22 | 2633269.5935 | 1218329.2685
23 | 2633817.3809 | 1218362.8771
24 | 2633814.8974 | 1218372.5575
25 | 2633794.8483 | 1218636.6226
26 | 2633340.3296 | 1217936.7556
27 | 2633328.1076 | 1217940.9792
28 | 2633271.5036 | 1218307.9333
29 | 2633268.0774 | 1218345.2582
30 | 2633274.7549 | 1218259.5177
31 | 2633325.7152 | 1218299.5905
32 | 2633265.6901 | 1218365.862
33 | 2633420.4397 | 1218226.6737
34 | 2633347.2474 | 1218292.1792
35 | 2633411.2805 | 1218225.0548
36 | 2633274.0011 | 1218203.1082
37 | 2633318.8867 | 1217951.6895
38 | 2633672.1085 | 1218716.3748
39 | 2633689.6795 | 1218708.8974
40 | 2633745.3325 | 1218689.7512
41 | 2633561.7515 | 1218424.6716
42 | 2633716.5379 | 1218734.3924
43 | 2633194.1278 | 1217858.9278
44 | 2633251.0698 | 1217837.489
45 | 2633362.4245 | 1217859.1681
46 | 2633149.7528 | 1217839.4689
47 | 2633202.9497 | 1217823.8997
48 | 2633232.0067 | 1217838.6262
49 | 2633411.3666 | 1217918.6832
50 | 2633417.6862 | 1217916.8933
51 | 2633435.8769 | 1217911.1149
52 | 2633153.6344 | 1218383.8327

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99425 | -0.040845 | 0.00073327 | 0.00018377
1 | 0.99439 | -0.039875 | 0 | 0
2 | 0.99421 | -0.041153 | 7.3406e-05 | 1.8397e-05
3 | 0.99393 | -0.043047 | 0.00020639 | 5.1727e-05
4 | 0.99406 | -0.042127 | 0.00014566 | 3.6505e-05
5 | 0.99383 | -0.043741 | 7.3352e-05 | 1.8384e-05
6 | 0.99421 | -0.041059 | 0.00010422 | 2.6119e-05
7 | 0.99352 | -0.045976 | 0.00069685 | 0.00017465
8 | 0.99432 | -0.040273 | 8.2408e-05 | 2.0653e-05
9 | 0.99293 | -0.050191 | 0 | 0
10 | 0.99442 | -0.039576 | 0.00014638 | 3.6687e-05
11 | 0.99376 | -0.043705 | 0.00081752 | 0.00020489
12 | 0.99358 | -0.045018 | 0.0062748 | 0.0015726
13 | 1 | 0 | -0.032197 | -0.0078613
14 | 0.99326 | -0.047258 | 0.0073539 | 0.0018431
15 | 0.99988 | -0.00081769 | 0 | 0
16 | 0.99986 | -0.0010136 | 0.00026041 | 6.5266e-05
17 | 0.99938 | -0.004385 | 0.00026839 | 6.7265e-05
18 | 0.99294 | -0.049542 | 0.002384 | 0.00059747
19 | 0.99894 | -0.0074681 | 0.00077975 | 0.00019542
20 | 0.99824 | -0.012425 | 0.00017412 | 4.3639e-05
21 | 0.99822 | -0.012572 | 0.00014543 | 3.6449e-05
22 | 0.99736 | -0.018712 | 0 | 0
23 | 0.98765 | -0.087872 | 0.00028464 | 7.1337e-05
24 | 0.98765 | -0.087843 | 0.0012206 | 0.00030592
25 | 0.98823 | -0.083729 | 0 | 0
26 | 0.99457 | -0.038592 | 0.00021879 | 5.4833e-05
27 | 0.99463 | -0.038186 | 0.0009407 | 0.00023576
28 | 0.99697 | -0.02147 | 0 | 0
29 | 0.99736 | -0.018729 | 0 | 0
30 | 0.99666 | -0.023693 | 0.00011035 | 2.7656e-05
31 | 0.99631 | -0.026118 | 0.00031016 | 7.7734e-05
32 | 0.99735 | -0.018751 | 0.00010544 | 2.6426e-05
33 | 0.99488 | -0.036329 | 0 | 0
34 | 0.99606 | -0.027939 | 4.6371e-05 | 1.1622e-05
35 | 0.99498 | -0.035591 | 0 | 0
36 | 0.99631 | -0.026213 | 0 | 0
37 | 0.99471 | -0.037599 | 0.00036537 | 9.1571e-05
38 | 0.98878 | -0.079815 | 0.00034858 | 8.7362e-05
39 | 0.98878 | -0.079746 | 0.00080288 | 0.00020122
40 | 0.98839 | -0.082588 | 0 | 0
41 | 0.99139 | -0.061171 | 0.0005345 | 0.00013396
42 | 0.98815 | -0.084295 | 0.0031357 | 0.00078587
43 | 0.99392 | -0.043218 | 0.00074018 | 0.00018551
44 | 0.99399 | -0.042761 | 0 | 0
45 | 0.99419 | -0.041318 | 0.00034999 | 8.7716e-05
46 | 0.99396 | -0.042981 | 9.4142e-05 | 2.3594e-05
47 | 0.99396 | -0.042926 | 0.00013616 | 3.4125e-05
48 | 0.99398 | -0.042841 | 0.00017933 | 4.4944e-05
49 | 0.99437 | -0.040034 | 0.00027265 | 6.8332e-05
50 | 0.99436 | -0.040052 | 0.0001195 | 2.995e-05
51 | 0.99436 | -0.04008 | 0.00014385 | 3.6053e-05
52 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0023069 | -0.00057401 | 0.0023072 | 0.0005736 | 3.0529e-07 | -4.1545e-07 | 0.003451 | 0.0034508 | 0.003451 | 0.99425 | -0.040845 | 0.99439 | -0.039875 | 1.2782
1 | 0.0015736 | 0.00039024 | -0.0015735 | -0.00039046 | 6.5711e-08 | -2.2125e-07 | 0.0023536 | 0.0023537 | 0.0023537 | 0.99425 | -0.040845 | 0.99421 | -0.041153 | 0.87173
2 | -0.0028432 | -0.00070722 | 0.0028437 | 0.00070684 | 4.9718e-07 | -3.8043e-07 | 0.0042527 | 0.0042525 | 0.0042527 | 0.99439 | -0.039875 | 0.99457 | -0.038592 | 1.5751
3 | 0.00053601 | 0.00013363 | -0.000536 | -0.000134 | 1.1741e-08 | -3.7504e-07 | 0.00080185 | 0.00080198 | 0.00080198 | 0.99439 | -0.039875 | 0.99437 | -0.040034 | 0.29703
4 | 0.0015001 | 0.00037206 | -0.0015001 | -0.00037219 | 3.3546e-08 | -1.2556e-07 | 0.0022438 | 0.0022439 | 0.0022439 | 0.99421 | -0.041153 | 0.99419 | -0.041318 | 0.83106
5 | -0.007338 | -0.00183 | 0.0073389 | 0.0018302 | 9.2568e-07 | 1.966e-07 | 0.010982 | 0.010982 | 0.010982 | 0.99393 | -0.043047 | 0.99406 | -0.042127 | 4.0676
6 | 0.0071316 | 0.0017783 | -0.0071309 | -0.0017781 | 6.7781e-07 | 1.3713e-07 | 0.010673 | 0.010674 | 0.010674 | 0.99393 | -0.043047 | 0.99383 | -0.043741 | 3.9532
7 | -0.0074845 | -0.0018667 | 0.0074856 | 0.0018669 | 1.0963e-06 | 2.4007e-07 | 0.0112 | 0.0112 | 0.0112 | 0.99406 | -0.042127 | 0.99421 | -0.041059 | 4.1483
8 | 0.0070575 | 0.0017597 | -0.0070554 | -0.0017593 | 2.1619e-06 | 4.2932e-07 | 0.010564 | 0.010564 | 0.010564 | 0.99383 | -0.043741 | 0.99352 | -0.045976 | 3.9125
9 | -0.0075899 | -0.001893 | 0.0075907 | 0.0018932 | 8.1864e-07 | 1.8293e-07 | 0.011356 | 0.011356 | 0.011356 | 0.99421 | -0.041059 | 0.99432 | -0.040273 | 4.2061
10 | 0.0063585 | 0.0015847 | -0.0063549 | -0.0015841 | 3.6691e-06 | 5.7158e-07 | 0.0095202 | 0.0095204 | 0.0095204 | 0.99352 | -0.045976 | 0.99293 | -0.050191 | 3.5261
11 | -0.0076731 | -0.0019139 | 0.0076738 | 0.001914 | 7.3321e-07 | 1.6634e-07 | 0.01148 | 0.01148 | 0.01148 | 0.99432 | -0.040273 | 0.99442 | -0.039576 | 4.2517
12 | 0.0063549 | 0.0015841 | -0.0063453 | -0.0015826 | 9.5553e-06 | 1.4935e-06 | 0.0095204 | 0.0095212 | 0.0095212 | 0.99293 | -0.050191 | 0.99139 | -0.061171 | 3.5264
13 | -0.0078202 | -0.0019507 | 0.0078237 | 0.0019515 | 3.4835e-06 | 8.1038e-07 | 0.011699 | 0.011698 | 0.011699 | 0.99442 | -0.039576 | 0.99488 | -0.036329 | 4.3328
14 | 0.016019 | 0.0040141 | -0.016016 | -0.0040131 | 2.9082e-06 | 1.0136e-06 | 0.023986 | 0.023986 | 0.023986 | 0.99376 | -0.043705 | 0.99358 | -0.045018 | 8.8838
15 | -0.016837 | -0.004219 | 0.016939 | 0.004255 | 0.00010239 | 3.6016e-05 | 0.02521 | 0.025209 | 0.02521 | 0.99376 | -0.043705 | 1 | 0 | 9.3372
16 | 0.0097416 | 0.0024405 | -0.0097386 | -0.0024396 | 3.018e-06 | 8.6656e-07 | 0.014589 | 0.014589 | 0.014589 | 0.99358 | -0.045018 | 0.99326 | -0.047258 | 5.4034
17 | 0.014458 | 0.0036063 | -0.014457 | -0.0036057 | 1.6211e-06 | 5.4983e-07 | 0.021508 | 0.021508 | 0.021508 | 1 | 0 | 0.99988 | -0.00081769 | 7.9659
18 | 0.0023847 | 0.00059654 | -0.0023839 | -0.00059747 | 7.5261e-07 | -9.3337e-07 | 0.0035722 | 0.0035726 | 0.0035726 | 0.99326 | -0.047258 | 0.99294 | -0.049542 | 1.3232
19 | 0.00026042 | 6.4294e-05 | -0.00026041 | -6.5266e-05 | 6.9597e-09 | -9.7213e-07 | 0.00038722 | 0.00038756 | 0.00038756 | 0.99988 | -0.00081769 | 0.99986 | -0.0010136 | 0.14354
20 | 0.014196 | 0.0035414 | -0.014189 | -0.0035391 | 6.944e-06 | 2.3437e-06 | 0.021121 | 0.021121 | 0.021121 | 0.99988 | -0.00081769 | 0.99938 | -0.004385 | 7.8225
21 | 0.013921 | 0.0034718 | -0.013915 | -0.0034698 | 5.8823e-06 | 1.9749e-06 | 0.020721 | 0.020721 | 0.020721 | 0.99938 | -0.004385 | 0.99894 | -0.0074681 | 7.6746
22 | 0.013135 | 0.0032744 | -0.013126 | -0.0032715 | 8.9137e-06 | 2.9399e-06 | 0.01956 | 0.01956 | 0.01956 | 0.99894 | -0.0074681 | 0.99824 | -0.012425 | 7.2444
23 | 0.012952 | 0.0032278 | -0.012952 | -0.0032277 | 2.6158e-07 | 8.5896e-08 | 0.0193 | 0.0193 | 0.0193 | 0.99824 | -0.012425 | 0.99822 | -0.012572 | 7.1483
24 | 0.012806 | 0.0031913 | -0.012796 | -0.0031878 | 1.0755e-05 | 3.5185e-06 | 0.019084 | 0.019084 | 0.019084 | 0.99822 | -0.012572 | 0.99736 | -0.018712 | 7.0681
25 | 0.01269 | 0.0031618 | -0.012685 | -0.0031603 | 4.7889e-06 | 1.5624e-06 | 0.018927 | 0.018927 | 0.018927 | 0.99736 | -0.018712 | 0.99697 | -0.02147 | 7.0099
26 | 0.00010544 | 2.5946e-05 | -0.00010544 | -2.6155e-05 | 2.4765e-10 | -2.0954e-07 | 0.00015715 | 0.00015722 | 0.00015722 | 0.99736 | -0.018712 | 0.99736 | -0.018729 | 0.05823
27 | -0.00028464 | -7.1336e-05 | 0.00028464 | 7.1209e-05 | 1.1468e-09 | -1.2745e-07 | 0.00042884 | 0.0004288 | 0.00042884 | 0.98765 | -0.087872 | 0.98765 | -0.087843 | 0.15883
28 | -0.0015053 | -0.00037712 | 0.0015061 | 0.00037406 | 8.4942e-07 | -3.0643e-06 | 0.0022678 | 0.0022666 | 0.0022678 | 0.98765 | -0.087843 | 0.98823 | -0.083729 | 0.83992
29 | -0.0015061 | -0.00037406 | 0.0015063 | 0.00037321 | 2.332e-07 | -8.4261e-07 | 0.0022666 | 0.0022663 | 0.0022666 | 0.98823 | -0.083729 | 0.98839 | -0.082588 | 0.83948
30 | -0.0030625 | -0.00076168 | 0.0030626 | 0.00076157 | 1.6947e-07 | -1.0287e-07 | 0.0045798 | 0.0045798 | 0.0045798 | 0.99457 | -0.038592 | 0.99463 | -0.038186 | 1.6962
31 | -0.0040033 | -0.00099733 | 0.0040036 | 0.00099727 | 3.2131e-07 | -6.2877e-08 | 0.0059871 | 0.005987 | 0.0059871 | 0.99463 | -0.038186 | 0.99471 | -0.037599 | 2.2174
32 | 0.004489 | 0.0011155 | -0.0044877 | -0.0011156 | 1.3587e-06 | -1.1034e-07 | 0.0066967 | 0.0066969 | 0.0066969 | 0.99697 | -0.02147 | 0.99666 | -0.023693 | 2.4803
33 | 0.0081964 | 0.0020447 | -0.0081912 | -0.0020435 | 5.2245e-06 | 1.28e-06 | 0.01223 | 0.01223 | 0.01223 | 0.99697 | -0.02147 | 0.99631 | -0.026118 | 4.5298
34 | 0.00010544 | 2.6155e-05 | -0.00010544 | -2.6426e-05 | 3.2011e-10 | -2.7055e-07 | 0.00015722 | 0.00015731 | 0.00015731 | 0.99736 | -0.018729 | 0.99735 | -0.018751 | 0.058265
35 | 0.0043773 | 0.001088 | -0.0043758 | -0.0010881 | 1.5026e-06 | -1.5722e-07 | 0.0065322 | 0.0065324 | 0.0065324 | 0.99666 | -0.023693 | 0.99631 | -0.026213 | 2.4194
36 | 0.007881 | 0.0019657 | -0.0078791 | -0.0019653 | 1.9676e-06 | 4.6028e-07 | 0.011767 | 0.011767 | 0.011767 | 0.99631 | -0.026118 | 0.99606 | -0.027939 | 4.3582
37 | -0.0078237 | -0.0019515 | 0.0078245 | 0.0019517 | 7.9205e-07 | 1.8419e-07 | 0.011698 | 0.011698 | 0.011698 | 0.99488 | -0.036329 | 0.99498 | -0.035591 | 4.3328
38 | 0.0078327 | 0.0019536 | -0.0078245 | -0.0019517 | 8.2146e-06 | 1.9087e-06 | 0.011698 | 0.011698 | 0.011698 | 0.99606 | -0.027939 | 0.99498 | -0.035591 | 4.3327
39 | 0.0043758 | 0.0010881 | -0.004369 | -0.0010888 | 6.8018e-06 | -7.0448e-07 | 0.0065324 | 0.0065336 | 0.0065336 | 0.99631 | -0.026213 | 0.99471 | -0.037599 | 2.4199
40 | -0.00034858 | -8.7362e-05 | 0.00034858 | 8.7116e-05 | 3.3096e-09 | -2.4598e-07 | 0.00052458 | 0.00052449 | 0.00052458 | 0.98878 | -0.079815 | 0.98878 | -0.079746 | 0.19429
41 | 0.0046446 | 0.0011586 | -0.0046427 | -0.0011587 | 1.8114e-06 | -6.5546e-08 | 0.0069876 | 0.0069879 | 0.0069879 | 0.98878 | -0.079746 | 0.98839 | -0.082588 | 2.5881
42 | -0.005796 | -0.001447 | 0.0058108 | 0.0014486 | 1.4788e-05 | 1.6792e-06 | 0.0087204 | 0.008719 | 0.0087204 | 0.98878 | -0.079746 | 0.99139 | -0.061171 | 3.2298
43 | 0.0031364 | 0.00078547 | -0.0031357 | -0.00078587 | 7.4038e-07 | -3.9713e-07 | 0.0047217 | 0.0047219 | 0.0047219 | 0.98839 | -0.082588 | 0.98815 | -0.084295 | 1.7489
44 | -0.00074018 | -0.00018551 | 0.00074022 | 0.00018473 | 4.671e-08 | -7.7234e-07 | 0.0011081 | 0.0011079 | 0.0011081 | 0.99392 | -0.043218 | 0.99399 | -0.042761 | 0.41042
45 | 0.00040964 | 0.00010123 | -0.00040963 | -0.00010148 | 4.4746e-09 | -2.4581e-07 | 0.00061273 | 0.00061282 | 0.00061282 | 0.99399 | -0.042761 | 0.99398 | -0.042841 | 0.22697
46 | -0.0011499 | -0.00028596 | 0.0011501 | 0.00028447 | 2.2506e-07 | -1.4934e-06 | 0.0017206 | 0.00172 | 0.0017206 | 0.99399 | -0.042761 | 0.99419 | -0.041318 | 0.63725
47 | -9.4142e-05 | -2.3594e-05 | 9.4142e-05 | 2.2864e-05 | 6.9675e-10 | -7.2968e-07 | 0.00014094 | 0.00014068 | 0.00014094 | 0.99396 | -0.042981 | 0.99396 | -0.042926 | 0.052198
48 | -0.0002303 | -5.6989e-05 | 0.0002303 | 5.6532e-05 | 2.614e-09 | -4.5667e-07 | 0.00034452 | 0.00034436 | 0.00034452 | 0.99396 | -0.042926 | 0.99398 | -0.042841 | 0.1276
49 | 0.00026335 | 6.567e-05 | -0.00026335 | -6.5755e-05 | 6.3621e-10 | -8.4957e-08 | 0.00039398 | 0.00039401 | 0.00039401 | 0.99437 | -0.040034 | 0.99436 | -0.040052 | 0.14593
50 | 0.00014385 | 3.5805e-05 | -0.00014385 | -3.6052e-05 | 5.521e-10 | -2.4756e-07 | 0.00021518 | 0.00021527 | 0.00021527 | 0.99436 | -0.040052 | 0.99436 | -0.04008 | 0.079728

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.032197 | 0.0078613

## res_load
| p_mw | q_mvar
0 | 0.00073327 | 0.00018377
1 | 7.3406e-05 | 1.8397e-05
2 | 0.00020639 | 5.1727e-05
3 | 0.00014566 | 3.6505e-05
4 | 7.3352e-05 | 1.8384e-05
5 | 0.00010422 | 2.6119e-05
6 | 0.00069685 | 0.00017465
7 | 8.2408e-05 | 2.0653e-05
8 | 0.00014638 | 3.6687e-05
9 | 0.00081752 | 0.00020489
10 | 0.0062748 | 0.0015726
11 | 0.0073539 | 0.0018431
12 | 0.00026041 | 6.5266e-05
13 | 0.00026839 | 6.7265e-05
14 | 0.002384 | 0.00059747
15 | 0.00077975 | 0.00019542
16 | 0.00017412 | 4.3639e-05
17 | 0.00014543 | 3.6449e-05
18 | 0.00028464 | 7.1337e-05
19 | 0.0012206 | 0.00030592
20 | 0.00021879 | 5.4833e-05
21 | 0.0009407 | 0.00023576
22 | 0.00011035 | 2.7656e-05
23 | 0.00031016 | 7.7734e-05
24 | 0.00010544 | 2.6426e-05
25 | 4.6371e-05 | 1.1622e-05
26 | 0.00036537 | 9.1571e-05
27 | 0.00034858 | 8.7362e-05
28 | 0.00080288 | 0.00020122
29 | 0.0005345 | 0.00013396
30 | 0.0031357 | 0.00078587
31 | 0.00074018 | 0.00018551
32 | 0.00034999 | 8.7716e-05
33 | 9.4142e-05 | 2.3594e-05
34 | 0.00013616 | 3.4125e-05
35 | 0.00017933 | 4.4944e-05
36 | 0.00027265 | 6.8332e-05
37 | 0.0001195 | 2.995e-05
38 | 0.00014385 | 3.6053e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1