## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1145-2_2_2_node_143 | 0.4 | n |  | TRUE
1 | bus_LV_1145-2_2_2_node_144 | 0.4 | n |  | TRUE
2 | bus_LV_1145-2_2_2_node_145 | 0.4 | n |  | TRUE
3 | bus_LV_1145-2_2_2_node_146 | 0.4 | n |  | TRUE
4 | bus_LV_1145-2_2_2_node_161 | 0.4 | n |  | TRUE
5 | bus_LV_1145-2_2_2_node_187 | 0.4 | n |  | TRUE
6 | bus_LV_1145-2_2_2_node_148 | 0.4 | n |  | TRUE
7 | bus_LV_1145-2_2_2_node_182 | 0.4 | n |  | TRUE
8 | bus_LV_1145-2_2_2_node_160 | 0.4 | n |  | TRUE
9 | bus_LV_1145-2_2_2_node_179 | 0.4 | n |  | TRUE
10 | bus_LV_1145-2_2_2_node_162 | 0.4 | n |  | TRUE
11 | bus_LV_1145-2_2_2_node_163 | 0.4 | n |  | TRUE
12 | bus_LV_1145-2_2_2_node_164 | 0.4 | n |  | TRUE
13 | bus_LV_1145-2_2_2_node_184 | 0.4 | n |  | TRUE
14 | bus_LV_1145-2_2_2_node_166 | 0.4 | n |  | TRUE
15 | bus_LV_1145-2_2_2_node_183 | 0.4 | n |  | TRUE
16 | bus_LV_1145-2_2_2_node_167 | 0.4 | n |  | TRUE
17 | bus_LV_1145-2_2_2_node_168 | 0.4 | n |  | TRUE
18 | bus_LV_1145-2_2_2_node_169 | 0.4 | n |  | TRUE
19 | bus_LV_1145-2_2_2_node_170 | 0.4 | n |  | TRUE
20 | bus_LV_1145-2_2_2_node_171 | 0.4 | n |  | TRUE
21 | bus_LV_1145-2_2_2_node_172 | 0.4 | n |  | TRUE
22 | bus_LV_1145-2_2_2_node_178 | 0.4 | n |  | TRUE
23 | bus_LV_1145-2_2_2_node_186 | 0.4 | n |  | TRUE
24 | bus_LV_1145-2_2_2_node_173 | 0.4 | n |  | TRUE
25 | bus_LV_1145-2_2_2_node_174 | 0.4 | n |  | TRUE
26 | bus_LV_1145-2_2_2_node_175 | 0.4 | n |  | TRUE
27 | bus_LV_1145-2_2_2_node_197 | 0.4 | n |  | TRUE
28 | bus_LV_1145-2_2_2_node_176 | 0.4 | n |  | TRUE
29 | bus_LV_1145-2_2_2_node_177 | 0.4 | n |  | TRUE
30 | bus_LV_1145-2_2_2_node_180 | 0.4 | n |  | TRUE
31 | bus_LV_1145-2_2_2_node_194 | 0.4 | n |  | TRUE
32 | bus_LV_1145-2_2_2_node_195 | 0.4 | n |  | TRUE
33 | bus_LV_1145-2_2_2_node_196 | 0.4 | n |  | TRUE
34 | bus_LV_1145-2_2_2_node_202 | 0.4 | n |  | TRUE
35 | bus_LV_1145-2_2_2_node_198 | 0.4 | n |  | TRUE
36 | bus_LV_1145-2_2_2_node_199 | 0.4 | n |  | TRUE
37 | bus_LV_1145-2_2_2_node_200 | 0.4 | n |  | TRUE
38 | bus_LV_1145-2_2_2_node_201 | 0.4 | n |  | TRUE
39 | bus_MV_0_node_160 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1145-2_2_2_load_143 | 0 | 0.00048683 | 0.00012201 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1145-2_2_2_load_146 | 3 | 0.0022132 | 0.00055468 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1145-2_2_2_load_161 | 4 | 0.001193 | 0.00029899 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1145-2_2_2_load_148 | 6 | 0.00048295 | 0.00012104 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1145-2_2_2_load_182 | 7 | 6.2295e-05 | 1.5613e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1145-2_2_2_load_160 | 8 | 5.7086e-05 | 1.4307e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1145-2_2_2_load_179 | 9 | 0.00010497 | 2.6308e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1145-2_2_2_load_162 | 10 | 0.0023214 | 0.0005818 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1145-2_2_2_load_163 | 11 | 0.00028855 | 7.2317e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1145-2_2_2_load_184 | 13 | 0.00086246 | 0.00021615 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1145-2_2_2_load_183 | 15 | 0.00011034 | 2.7653e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1145-2_2_2_load_167 | 16 | 0.00094079 | 0.00023578 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1145-2_2_2_load_172 | 21 | 0.00043375 | 0.00010871 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1145-2_2_2_load_178 | 22 | 0.00010904 | 2.7329e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1145-2_2_2_load_186 | 23 | 0.001118 | 0.00028019 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1145-2_2_2_load_173 | 24 | 0.00074801 | 0.00018747 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1145-2_2_2_load_174 | 25 | 0.0053567 | 0.0013425 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1145-2_2_2_load_175 | 26 | 0.0029075 | 0.00072869 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1145-2_2_2_load_197 | 27 | 5.6232e-05 | 1.4093e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1145-2_2_2_load_177 | 29 | 0.0005988 | 0.00015007 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1145-2_2_2_load_180 | 30 | 0.00048219 | 0.00012085 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1145-2_2_2_load_194 | 31 | 0.00013489 | 3.3807e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1145-2_2_2_load_195 | 32 | 0.00054718 | 0.00013714 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1145-2_2_2_load_198 | 35 | 0.00050982 | 0.00012777 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1145-2_2_2_load_200 | 37 | 0.00066389 | 0.00016639 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1145-2_2_2_load_201 | 38 | 0.00036046 | 9.0341e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1145-2_2_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.021732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1145-2_2_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.22005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1145-2_2_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.014103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1145-2_2_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.035264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1145-2_2_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.086505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1145-2_2_2_line_5 | NAYY 4x150 SE | 4 | 8 | 0.0045265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1145-2_2_2_line_6 | NAYY 4x150 SE | 5 | 28 | 0.024725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1145-2_2_2_line_7 | NAYY 4x150 SE | 6 | 7 | 0.035258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1145-2_2_2_line_8 | NAYY 4x150 SE | 7 | 14 | 0.012984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1145-2_2_2_line_9 | NAYY 4x150 SE | 8 | 9 | 0.29022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1145-2_2_2_line_10 | NAYY 4x150 SE | 9 | 30 | 0.010681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1145-2_2_2_line_11 | NAYY 4x150 SE | 9 | 29 | 0.11596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1145-2_2_2_line_12 | NAYY 4x150 SE | 10 | 11 | 0.067206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1145-2_2_2_line_13 | NAYY 4x150 SE | 11 | 12 | 0.0037806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1145-2_2_2_line_14 | NAYY 4x150 SE | 12 | 13 | 0.037519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1145-2_2_2_line_15 | NAYY 4x150 SE | 13 | 20 | 0.44238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1145-2_2_2_line_16 | NAYY 4x150 SE | 14 | 15 | 0.069711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1145-2_2_2_line_17 | NAYY 4x150 SE | 15 | 19 | 0.25553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1145-2_2_2_line_18 | NAYY 4x150 SE | 16 | 17 | 0.033617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1145-2_2_2_line_19 | NAYY 4x150 SE | 16 | 18 | 0.19919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1145-2_2_2_line_20 | NAYY 4x150 SE | 17 | 19 | 0.005824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1145-2_2_2_line_21 | NAYY 4x150 SE | 18 | 20 | 0.11859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1145-2_2_2_line_22 | NAYY 4x150 SE | 18 | 21 | 0.16071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1145-2_2_2_line_23 | NAYY 4x150 SE | 19 | 22 | 0.027637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1145-2_2_2_line_24 | NAYY 4x150 SE | 20 | 23 | 0.080712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1145-2_2_2_line_25 | NAYY 4x150 SE | 21 | 24 | 0.013792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1145-2_2_2_line_26 | NAYY 4x150 SE | 22 | 29 | 0.014943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1145-2_2_2_line_27 | NAYY 4x150 SE | 25 | 26 | 0.001625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1145-2_2_2_line_28 | NAYY 4x150 SE | 25 | 27 | 0.54407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1145-2_2_2_line_29 | NAYY 4x150 SE | 26 | 28 | 0.05835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1145-2_2_2_line_30 | NAYY 4x150 SE | 27 | 35 | 0.18391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1145-2_2_2_line_31 | NAYY 4x150 SE | 31 | 32 | 0.010049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1145-2_2_2_line_32 | NAYY 4x150 SE | 31 | 33 | 0.20592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1145-2_2_2_line_33 | NAYY 4x150 SE | 33 | 34 | 0.27485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1145-2_2_2_line_34 | NAYY 4x150 SE | 34 | 36 | 0.18618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1145-2_2_2_line_35 | NAYY 4x150 SE | 34 | 38 | 0.0053248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1145-2_2_2_line_36 | NAYY 4x150 SE | 35 | 36 | 0.032498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1145-2_2_2_line_37 | NAYY 4x150 SE | 37 | 38 | 0.035224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1145-2_2_2_trafo_160 | 0.25 MVA 20/0.4 kV | 39 | 8 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2634050.549 | 1217890.6509 | 2634039.1491 | 1217890.5858 | 2634028.949 | 1217892.2319
1 | 2634002.424 | 1217679.731 | 2634007.4487 | 1217691.7333 | 2634028.8413 | 1217735.0695 | 2634036.5933 | 1217757.2489 | 2634043.0354 | 1217780.199 | 2634045.1128 | 1217797.8879 | 2634044.6903 | 1217812.0715 | 2634043.371 | 1217829.1184 | 2634043.9075 | 1217841.4954 | 2634050.971 | 1217877.8903 | 2634051.3947 | 1217884.7745 | 2634050.549 | 1217890.6509
2 | 2634050.549 | 1217890.6509 | 2634056.55 | 1217903.4136
3 | 2634002.424 | 1217679.731 | 2634005.1462 | 1217674.8881 | 2634008.699 | 1217661.4783 | 2634011.0924 | 1217645.8238
4 | 2634130.4263 | 1217938.413 | 2634124.3096 | 1217939.6009 | 2634114.1984 | 1217938.5091 | 2634075.9491 | 1217924.5046 | 2634065.8019 | 1217917.7538 | 2634059.7427 | 1217910.2037 | 2634056.55 | 1217903.4136
5 | 2634011.7766 | 1217641.3493 | 2634011.0924 | 1217645.8238
6 | 2634148.0311 | 1217921.8707 | 2634143.571 | 1217929.3384 | 2634138.5968 | 1217933.7904 | 2634130.4263 | 1217938.413
7 | 2633705.7521 | 1217938.1959 | 2633686.4284 | 1217937.1113 | 2633670.7353 | 1217934.5324
8 | 2633658.2897 | 1217930.8599 | 2633669.7535 | 1217934.3711 | 2633670.7353 | 1217934.5324
9 | 2634011.7766 | 1217641.3493 | 2633763.5519 | 1217490.9666
10 | 2633767.1879 | 1217480.9236 | 2633763.5519 | 1217490.9666
11 | 2633763.5519 | 1217490.9666 | 2633759.1221 | 1217503.202 | 2633757.9139 | 1217511.4889 | 2633759.2368 | 1217517.8112 | 2633764.9014 | 1217534.8754 | 2633764.6615 | 1217542.3785 | 2633760.3289 | 1217551.4926 | 2633748.8377 | 1217567.4591 | 2633736.2812 | 1217581.2073 | 2633725.2167 | 1217590.1765
12 | 2633651.6549 | 1216926.2281 | 2633652.7903 | 1216926.7543 | 2633657.8433 | 1216928.595 | 2633663.2801 | 1216929.6707 | 2633668.5995 | 1216930.0454 | 2633673.3011 | 1216929.5827 | 2633693.5764 | 1216924.3608 | 2633697.706 | 1216924.373 | 2633716.5665 | 1216930.7554
13 | 2633648.2247 | 1216924.6384 | 2633651.6549 | 1216926.2281
14 | 2633648.2247 | 1216924.6384 | 2633646.2849 | 1216933.4326 | 2633643.1253 | 1216945.8331 | 2633648.3708 | 1216960.6491
15 | 2633451.3513 | 1217356.739 | 2633648.3708 | 1216960.6491
16 | 2633658.2897 | 1217930.8599 | 2633694.3909 | 1217871.1733
17 | 2633694.3909 | 1217871.1733 | 2633691.379 | 1217615.6626
18 | 2633685.5999 | 1217614.8184 | 2633682.8592 | 1217606.8649 | 2633676.3288 | 1217597.9228 | 2633666.1224 | 1217588.1483
19 | 2633529.4546 | 1217444.0393 | 2633552.6802 | 1217465.9048 | 2633565.8229 | 1217482.8331 | 2633578.7427 | 1217501.5722 | 2633591.6895 | 1217516.8651 | 2633666.1224 | 1217588.1483
20 | 2633685.5999 | 1217614.8184 | 2633691.379 | 1217615.6626
21 | 2633529.4546 | 1217444.0393 | 2633478.9461 | 1217399.5298 | 2633466.8061 | 1217386.4763 | 2633459.1333 | 1217374.0482 | 2633451.3513 | 1217356.739
22 | 2633529.4546 | 1217444.0393 | 2633534.9085 | 1217440.6458 | 2633541.2344 | 1217437.4239 | 2633554.4936 | 1217433.6518 | 2633592.0529 | 1217426.7368 | 2633608.4985 | 1217424.6171 | 2633618.0556 | 1217425.8828 | 2633639.4572 | 1217433.2966 | 2633649.9625 | 1217436.013 | 2633679.9521 | 1217436.16 | 2633685.3864 | 1217437.021
23 | 2633691.379 | 1217615.6626 | 2633695.8441 | 1217613.9868 | 2633713.6085 | 1217599.5864
24 | 2633451.3513 | 1217356.739 | 2633438.6698 | 1217356.2787 | 2633429.9686 | 1217358.031 | 2633398.3355 | 1217372.0621 | 2633377.3244 | 1217384.742
25 | 2633698.1823 | 1217441.9663 | 2633688.0289 | 1217437.4397 | 2633685.3864 | 1217437.021
26 | 2633713.6085 | 1217599.5864 | 2633725.2167 | 1217590.1765
27 | 2634140.4165 | 1217864.1677 | 2634140.163 | 1217862.5626
28 | 2634140.163 | 1217862.5626 | 2634650.4796 | 1217673.9224
29 | 2634148.0311 | 1217921.8707 | 2634148.4717 | 1217915.1804 | 2634140.4165 | 1217864.1677
30 | 2634650.4796 | 1217673.9224 | 2634652.7882 | 1217661.9621 | 2634656.906 | 1217653.47 | 2634668.6257 | 1217633.8488 | 2634673.9861 | 1217623.1181 | 2634694.7041 | 1217561.1357 | 2634704.9802 | 1217528.7654 | 2634713.4893 | 1217501.958
31 | 2634379.4872 | 1217076.6616 | 2634386.9737 | 1217083.3655
32 | 2634589.0513 | 1217061.4082 | 2634581.1274 | 1217063.8192 | 2634568.2888 | 1217066.791 | 2634524.2771 | 1217071.8058 | 2634495.5498 | 1217074.8859 | 2634452.937 | 1217084.79 | 2634418.7012 | 1217090.0733 | 2634408.5219 | 1217090.0146 | 2634397.9444 | 1217087.9301 | 2634387.4471 | 1217083.7894 | 2634386.9737 | 1217083.3655
33 | 2634638.0068 | 1217331.8612 | 2634589.0513 | 1217061.4082
34 | 2634638.0068 | 1217331.8612 | 2634648.2505 | 1217333.8107 | 2634656.9321 | 1217334.2058 | 2634670.9891 | 1217333.0756 | 2634677.2522 | 1217386.4655 | 2634682.1648 | 1217405.7942 | 2634697.0298 | 1217440.5898 | 2634706.7655 | 1217458.0789 | 2634713.5809 | 1217466.0565 | 2634723.3213 | 1217470.9827
35 | 2634638.0068 | 1217331.8612 | 2634632.7711 | 1217332.8313 | 2634632.7711 | 1217332.8313
36 | 2634723.3213 | 1217470.9827 | 2634713.4893 | 1217501.958
37 | 2634620.7794 | 1217362.7848 | 2634620.132 | 1217360.3741 | 2634618.9547 | 1217352.6628 | 2634620.0048 | 1217346.9878 | 2634624.7879 | 1217340.2894 | 2634632.7711 | 1217332.8313

## bus_geodata
| x | y | coords
0 | 2634028.949 | 1217892.2319
1 | 2634050.549 | 1217890.6509
2 | 2634002.424 | 1217679.731
3 | 2634056.55 | 1217903.4136
4 | 2634011.0924 | 1217645.8238
5 | 2634130.4263 | 1217938.413
6 | 2633705.7521 | 1217938.1959
7 | 2633670.7353 | 1217934.5324
8 | 2634011.7766 | 1217641.3493
9 | 2633763.5519 | 1217490.9666
10 | 2633716.5665 | 1216930.7554
11 | 2633651.6549 | 1216926.2281
12 | 2633648.2247 | 1216924.6384
13 | 2633648.3708 | 1216960.6491
14 | 2633658.2897 | 1217930.8599
15 | 2633694.3909 | 1217871.1733
16 | 2633666.1224 | 1217588.1483
17 | 2633685.5999 | 1217614.8184
18 | 2633529.4546 | 1217444.0393
19 | 2633691.379 | 1217615.6626
20 | 2633451.3513 | 1217356.739
21 | 2633685.3864 | 1217437.021
22 | 2633713.6085 | 1217599.5864
23 | 2633377.3244 | 1217384.742
24 | 2633698.1823 | 1217441.9663
25 | 2634140.163 | 1217862.5626
26 | 2634140.4165 | 1217864.1677
27 | 2634650.4796 | 1217673.9224
28 | 2634148.0311 | 1217921.8707
29 | 2633725.2167 | 1217590.1765
30 | 2633767.1879 | 1217480.9236
31 | 2634386.9737 | 1217083.3655
32 | 2634379.4872 | 1217076.6616
33 | 2634589.0513 | 1217061.4082
34 | 2634638.0068 | 1217331.8612
35 | 2634713.4893 | 1217501.958
36 | 2634723.3213 | 1217470.9827
37 | 2634620.7794 | 1217362.7848
38 | 2634632.7711 | 1217332.8313
39 | 2634011.7766 | 1217641.3493

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99504 | -0.035114 | 0.00048683 | 0.00012201
1 | 0.99505 | -0.035007 | 0 | 0
2 | 0.99924 | -0.0053882 | 0 | 0
3 | 0.9948 | -0.036842 | 0.0022132 | 0.00055468
4 | 0.99991 | -0.00066039 | 0.001193 | 0.00029899
5 | 0.99349 | -0.046182 | 0 | 0
6 | 0.99426 | -0.040947 | 0.00048295 | 0.00012104
7 | 0.99429 | -0.040775 | 6.2295e-05 | 1.5613e-05
8 | 1 | 0 | -0.024063 | -0.005802
9 | 0.99639 | -0.025705 | 0.00010497 | 2.6308e-05
10 | 0.98918 | -0.077163 | 0.0023214 | 0.0005818
11 | 0.98941 | -0.075569 | 0.00028855 | 7.2317e-05
12 | 0.98942 | -0.075469 | 0 | 0
13 | 0.98956 | -0.074467 | 0.00086246 | 0.00021615
14 | 0.9943 | -0.040703 | 0 | 0
15 | 0.99435 | -0.040313 | 0.00011034 | 2.7653e-05
16 | 0.99421 | -0.041278 | 0.00094079 | 0.00023578
17 | 0.99454 | -0.038963 | 0 | 0
18 | 0.99256 | -0.053104 | 0 | 0
19 | 0.99459 | -0.038561 | 0 | 0
20 | 0.99177 | -0.058703 | 0 | 0
21 | 0.99229 | -0.055044 | 0.00043375 | 0.00010871
22 | 0.99488 | -0.036466 | 0.00010904 | 2.7329e-05
23 | 0.99164 | -0.059622 | 0.001118 | 0.00028019
24 | 0.99227 | -0.055148 | 0.00074801 | 0.00018747
25 | 0.99221 | -0.055295 | 0.0053567 | 0.0013425
26 | 0.99223 | -0.055167 | 0.0029075 | 0.00072869
27 | 0.99043 | -0.06849 | 5.6232e-05 | 1.4093e-05
28 | 0.99311 | -0.048854 | 0 | 0
29 | 0.99504 | -0.035316 | 0.0005988 | 0.00015007
30 | 0.99638 | -0.025756 | 0.00048219 | 0.00012085
31 | 0.98884 | -0.080194 | 0.00013489 | 3.3807e-05
32 | 0.98883 | -0.08025 | 0.00054718 | 0.00013714
33 | 0.98904 | -0.078737 | 0 | 0
34 | 0.98931 | -0.07673 | 0 | 0
35 | 0.98985 | -0.072791 | 0.00050982 | 0.00012777
36 | 0.98977 | -0.073379 | 0 | 0
37 | 0.98927 | -0.077025 | 0.00066389 | 0.00016639
38 | 0.9893 | -0.076786 | 0.00036046 | 9.0341e-05
39 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00048683 | -0.00012201 | 0.00048684 | 0.00012173 | 7.1865e-09 | -2.7953e-07 | 0.00072802 | 0.00072792 | 0.00072802 | 0.99504 | -0.035114 | 0.99505 | -0.035007 | 0.26964
1 | -0.013273 | -0.0033097 | 0.013327 | 0.0033276 | 5.4062e-05 | 1.7923e-05 | 0.019843 | 0.019842 | 0.019843 | 0.99505 | -0.035007 | 0.99924 | -0.0053882 | 7.3491
2 | 0.012786 | 0.003188 | -0.012783 | -0.0031869 | 3.2154e-06 | 1.0536e-06 | 0.019115 | 0.019115 | 0.019115 | 0.99505 | -0.035007 | 0.9948 | -0.036842 | 7.0796
3 | -0.013327 | -0.0033276 | 0.013336 | 0.0033305 | 8.6631e-06 | 2.8697e-06 | 0.019842 | 0.019842 | 0.019842 | 0.99924 | -0.0053882 | 0.99991 | -0.00066039 | 7.3488
4 | 0.01057 | 0.0026322 | -0.010556 | -0.0026282 | 1.3483e-05 | 4.0642e-06 | 0.015804 | 0.015805 | 0.015805 | 0.9948 | -0.036842 | 0.99349 | -0.046182 | 5.8536
5 | -0.014529 | -0.0036295 | 0.01453 | 0.0036299 | 1.3199e-06 | 4.4827e-07 | 0.021617 | 0.021617 | 0.021617 | 0.99991 | -0.00066039 | 1 | 0 | 8.0063
6 | 0.010556 | 0.0026282 | -0.010552 | -0.002627 | 3.8539e-06 | 1.1622e-06 | 0.015805 | 0.015805 | 0.015805 | 0.99349 | -0.046182 | 0.99311 | -0.048854 | 5.8536
7 | -0.00048295 | -0.00012104 | 0.00048296 | 0.00012058 | 1.1491e-08 | -4.5286e-07 | 0.00072278 | 0.00072262 | 0.00072278 | 0.99426 | -0.040947 | 0.99429 | -0.040775 | 0.2677
8 | -0.00054525 | -0.0001362 | 0.00054526 | 0.00013603 | 5.3925e-09 | -1.6633e-07 | 0.00081585 | 0.00081579 | 0.00081585 | 0.99429 | -0.040775 | 0.9943 | -0.040703 | 0.30217
9 | 0.0087325 | 0.0021719 | -0.0087019 | -0.002164 | 3.0554e-05 | 7.9576e-06 | 0.012988 | 0.01299 | 0.01299 | 1 | 0 | 0.99639 | -0.025705 | 4.8109
10 | 0.00048219 | 0.00012071 | -0.00048219 | -0.00012085 | 3.4559e-09 | -1.3779e-07 | 0.00072006 | 0.00072011 | 0.00072011 | 0.99639 | -0.025705 | 0.99638 | -0.025756 | 0.26671
11 | 0.0081147 | 0.002017 | -0.0081041 | -0.0020144 | 1.0617e-05 | 2.5751e-06 | 0.012113 | 0.012113 | 0.012113 | 0.99639 | -0.025705 | 0.99504 | -0.035316 | 4.4864
12 | -0.0023214 | -0.0005818 | 0.0023219 | 0.00058113 | 5.1136e-07 | -6.6624e-07 | 0.0034921 | 0.0034918 | 0.0034921 | 0.98918 | -0.077163 | 0.98941 | -0.075569 | 1.2934
13 | -0.0026105 | -0.00065345 | 0.0026105 | 0.00065342 | 3.6357e-08 | -3.4571e-08 | 0.0039257 | 0.0039257 | 0.0039257 | 0.98941 | -0.075569 | 0.98942 | -0.075469 | 1.454
14 | -0.0026105 | -0.00065342 | 0.0026109 | 0.00065307 | 3.608e-07 | -3.4317e-07 | 0.0039257 | 0.0039256 | 0.0039257 | 0.98942 | -0.075469 | 0.98956 | -0.074467 | 1.454
15 | -0.0034733 | -0.00086923 | 0.0034809 | 0.00086643 | 7.526e-06 | -2.8013e-06 | 0.0052225 | 0.0052204 | 0.0052225 | 0.98956 | -0.074467 | 0.99177 | -0.058703 | 1.9342
16 | -0.00054526 | -0.00013603 | 0.00054529 | 0.00013514 | 2.8938e-08 | -8.9308e-07 | 0.00081579 | 0.00081547 | 0.00081579 | 0.9943 | -0.040703 | 0.99435 | -0.040313 | 0.30214
17 | -0.00065562 | -0.00016279 | 0.00065578 | 0.00015953 | 1.5314e-07 | -3.2565e-06 | 0.00098059 | 0.00097944 | 0.00098059 | 0.99435 | -0.040313 | 0.99459 | -0.038561 | 0.36318
18 | -0.0067347 | -0.0016763 | 0.0067369 | 0.0016767 | 2.1295e-06 | 3.8297e-07 | 0.010076 | 0.010076 | 0.010076 | 0.99421 | -0.041278 | 0.99454 | -0.038963 | 3.7317
19 | 0.0057939 | 0.0014405 | -0.0057846 | -0.0014395 | 9.3389e-06 | 1.0131e-06 | 0.0086676 | 0.0086685 | 0.0086685 | 0.99421 | -0.041278 | 0.99256 | -0.053104 | 3.2106
20 | -0.0067369 | -0.0016767 | 0.0067372 | 0.0016767 | 3.6893e-07 | 6.6316e-08 | 0.010076 | 0.010075 | 0.010076 | 0.99454 | -0.038963 | 0.99459 | -0.038561 | 3.7317
21 | 0.0046025 | 0.0011455 | -0.004599 | -0.0011456 | 3.5204e-06 | -1.775e-07 | 0.0068971 | 0.0068977 | 0.0068977 | 0.99256 | -0.053104 | 0.99177 | -0.058703 | 2.5547
22 | 0.0011821 | 0.00029405 | -0.0011818 | -0.000296 | 3.148e-07 | -1.9555e-06 | 0.0017714 | 0.0017721 | 0.0017721 | 0.99256 | -0.053104 | 0.99229 | -0.055044 | 0.65634
23 | -0.007393 | -0.0018363 | 0.0073951 | 0.0018367 | 2.1076e-06 | 4.5183e-07 | 0.011055 | 0.011055 | 0.011055 | 0.99459 | -0.038561 | 0.99488 | -0.036466 | 4.0944
24 | 0.0011181 | 0.00027921 | -0.001118 | -0.00028019 | 1.4171e-07 | -9.8689e-07 | 0.0016772 | 0.0016776 | 0.0016776 | 0.99177 | -0.058703 | 0.99164 | -0.059622 | 0.62133
25 | 0.00074802 | 0.00018729 | -0.00074801 | -0.00018747 | 1.0828e-08 | -1.74e-07 | 0.0011217 | 0.0011217 | 0.0011217 | 0.99229 | -0.055044 | 0.99227 | -0.055148 | 0.41545
26 | -0.0075042 | -0.0018641 | 0.0075053 | 0.0018643 | 1.1734e-06 | 2.5723e-07 | 0.011218 | 0.011218 | 0.011218 | 0.99488 | -0.036466 | 0.99504 | -0.035316 | 4.1548
27 | -0.0076357 | -0.0018955 | 0.0076358 | 0.0018956 | 1.3282e-07 | 3.0096e-08 | 0.011445 | 0.011445 | 0.011445 | 0.99221 | -0.055295 | 0.99223 | -0.055167 | 4.2388
28 | 0.002279 | 0.00055302 | -0.002275 | -0.00055851 | 3.9538e-06 | -5.4938e-06 | 0.0034114 | 0.0034138 | 0.0034138 | 0.99221 | -0.055295 | 0.99043 | -0.06849 | 1.2644
29 | -0.010543 | -0.0026243 | 0.010552 | 0.002627 | 9.0951e-06 | 2.7438e-06 | 0.015805 | 0.015805 | 0.015805 | 0.99223 | -0.055167 | 0.99311 | -0.048854 | 5.8537
30 | 0.0022188 | 0.00054442 | -0.0022175 | -0.00054629 | 1.2724e-06 | -1.8761e-06 | 0.0033294 | 0.0033302 | 0.0033302 | 0.99043 | -0.06849 | 0.98985 | -0.072791 | 1.2334
31 | 0.00054718 | 0.00013701 | -0.00054718 | -0.00013714 | 4.2514e-09 | -1.2728e-07 | 0.00082336 | 0.00082341 | 0.00082341 | 0.98884 | -0.080194 | 0.98883 | -0.08025 | 0.30497
32 | -0.00068207 | -0.00017081 | 0.00068221 | 0.00016822 | 1.3523e-07 | -2.5901e-06 | 0.0010263 | 0.0010254 | 0.0010263 | 0.98884 | -0.080194 | 0.98904 | -0.078737 | 0.38013
33 | -0.00068221 | -0.00016822 | 0.00068239 | 0.00016477 | 1.8012e-07 | -3.4589e-06 | 0.0010254 | 0.0010242 | 0.0010254 | 0.98904 | -0.078737 | 0.98931 | -0.07673 | 0.37978
34 | -0.0017068 | -0.00042098 | 0.0017075 | 0.00041889 | 7.6397e-07 | -2.0979e-06 | 0.0025648 | 0.0025639 | 0.0025648 | 0.98931 | -0.07673 | 0.98977 | -0.073379 | 0.94991
35 | 0.0010244 | 0.00025622 | -0.0010244 | -0.00025628 | 7.8862e-09 | -6.5338e-08 | 0.0015406 | 0.0015406 | 0.0015406 | 0.98931 | -0.07673 | 0.9893 | -0.076786 | 0.5706
36 | 0.0017077 | 0.00041852 | -0.0017075 | -0.00041889 | 1.333e-07 | -3.6644e-07 | 0.0025638 | 0.0025639 | 0.0025639 | 0.98985 | -0.072791 | 0.98977 | -0.073379 | 0.94961
37 | -0.00066389 | -0.00016639 | 0.00066392 | 0.00016594 | 2.1915e-08 | -4.4384e-07 | 0.0009986 | 0.00099844 | 0.0009986 | 0.98927 | -0.077025 | 0.9893 | -0.076786 | 0.36985

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.02412 | 0.0058163

## res_load
| p_mw | q_mvar
0 | 0.00048683 | 0.00012201
1 | 0.0022132 | 0.00055468
2 | 0.001193 | 0.00029899
3 | 0.00048295 | 0.00012104
4 | 6.2295e-05 | 1.5613e-05
5 | 5.7086e-05 | 1.4307e-05
6 | 0.00010497 | 2.6308e-05
7 | 0.0023214 | 0.0005818
8 | 0.00028855 | 7.2317e-05
9 | 0.00086246 | 0.00021615
10 | 0.00011034 | 2.7653e-05
11 | 0.00094079 | 0.00023578
12 | 0.00043375 | 0.00010871
13 | 0.00010904 | 2.7329e-05
14 | 0.001118 | 0.00028019
15 | 0.00074801 | 0.00018747
16 | 0.0053567 | 0.0013425
17 | 0.0029075 | 0.00072869
18 | 5.6232e-05 | 1.4093e-05
19 | 0.0005988 | 0.00015007
20 | 0.00048219 | 0.00012085
21 | 0.00013489 | 3.3807e-05
22 | 0.00054718 | 0.00013714
23 | 0.00050982 | 0.00012777
24 | 0.00066389 | 0.00016639
25 | 0.00036046 | 9.0341e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1