## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1146-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1146-4_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1146-4_0_4_node_39 | 0.4 | n |  | TRUE
3 | bus_LV_1146-4_0_4_node_11 | 0.4 | n |  | TRUE
4 | bus_LV_1146-4_0_4_node_38 | 0.4 | n |  | TRUE
5 | bus_LV_1146-4_0_4_node_52 | 0.4 | n |  | TRUE
6 | bus_LV_1146-4_0_4_node_53 | 0.4 | n |  | TRUE
7 | bus_LV_1146-4_0_4_node_26 | 0.4 | n |  | TRUE
8 | bus_LV_1146-4_0_4_node_3 | 0.4 | n |  | TRUE
9 | bus_LV_1146-4_0_4_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_1146-4_0_4_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_1146-4_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1146-4_0_4_node_69 | 0.4 | n |  | TRUE
13 | bus_LV_1146-4_0_4_node_70 | 0.4 | n |  | TRUE
14 | bus_LV_1146-4_0_4_node_68 | 0.4 | n |  | TRUE
15 | bus_LV_1146-4_0_4_node_35 | 0.4 | n |  | TRUE
16 | bus_LV_1146-4_0_4_node_65 | 0.4 | n |  | TRUE
17 | bus_LV_1146-4_0_4_node_64 | 0.4 | n |  | TRUE
18 | bus_LV_1146-4_0_4_node_66 | 0.4 | n |  | TRUE
19 | bus_LV_1146-4_0_4_node_63 | 0.4 | n |  | TRUE
20 | bus_LV_1146-4_0_4_node_5 | 0.4 | n |  | TRUE
21 | bus_LV_1146-4_0_4_node_6 | 0.4 | n |  | TRUE
22 | bus_LV_1146-4_0_4_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_1146-4_0_4_node_50 | 0.4 | n |  | TRUE
24 | bus_LV_1146-4_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_1146-4_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_1146-4_0_4_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_1146-4_0_4_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_1146-4_0_4_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_1146-4_0_4_node_61 | 0.4 | n |  | TRUE
30 | bus_LV_1146-4_0_4_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_1146-4_0_4_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_1146-4_0_4_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_1146-4_0_4_node_8 | 0.4 | n |  | TRUE
34 | bus_LV_1146-4_0_4_node_9 | 0.4 | n |  | TRUE
35 | bus_LV_1146-4_0_4_node_10 | 0.4 | n |  | TRUE
36 | bus_LV_1146-4_0_4_node_12 | 0.4 | n |  | TRUE
37 | bus_LV_1146-4_0_4_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_1146-4_0_4_node_19 | 0.4 | n |  | TRUE
39 | bus_LV_1146-4_0_4_node_14 | 0.4 | n |  | TRUE
40 | bus_LV_1146-4_0_4_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_1146-4_0_4_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_1146-4_0_4_node_13 | 0.4 | n |  | TRUE
43 | bus_LV_1146-4_0_4_node_57 | 0.4 | n |  | TRUE
44 | bus_LV_1146-4_0_4_node_56 | 0.4 | n |  | TRUE
45 | bus_LV_1146-4_0_4_node_55 | 0.4 | n |  | TRUE
46 | bus_LV_1146-4_0_4_node_54 | 0.4 | n |  | TRUE
47 | bus_LV_1146-4_0_4_node_18 | 0.4 | n |  | TRUE
48 | bus_LV_1146-4_0_4_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_1146-4_0_4_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_1146-4_0_4_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_1146-4_0_4_node_22 | 0.4 | n |  | TRUE
52 | bus_LV_1146-4_0_4_node_25 | 0.4 | n |  | TRUE
53 | bus_LV_1146-4_0_4_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_1146-4_0_4_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_1146-4_0_4_node_47 | 0.4 | n |  | TRUE
56 | bus_LV_1146-4_0_4_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_1146-4_0_4_node_62 | 0.4 | n |  | TRUE
58 | bus_LV_1146-4_0_4_node_67 | 0.4 | n |  | TRUE
59 | bus_LV_1146-4_0_4_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_1146-4_0_4_node_27 | 0.4 | n |  | TRUE
61 | bus_LV_1146-4_0_4_node_28 | 0.4 | n |  | TRUE
62 | bus_LV_1146-4_0_4_node_29 | 0.4 | n |  | TRUE
63 | bus_LV_1146-4_0_4_node_34 | 0.4 | n |  | TRUE
64 | bus_LV_1146-4_0_4_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_1146-4_0_4_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_1146-4_0_4_node_42 | 0.4 | n |  | TRUE
67 | bus_LV_1146-4_0_4_node_43 | 0.4 | n |  | TRUE
68 | bus_MV_131_0_node_87 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1146-4_0_4_load_0 | 0 | 0.0084963 | 0.0021294 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1146-4_0_4_load_11 | 3 | 0.0064381 | 0.0016135 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1146-4_0_4_load_52 | 5 | 0.00354 | 0.0008872 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1146-4_0_4_load_53 | 6 | 0.0068138 | 0.0017077 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1146-4_0_4_load_26 | 7 | 0.0030718 | 0.00076987 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1146-4_0_4_load_3 | 8 | 0.0018328 | 0.00045933 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1146-4_0_4_load_4 | 9 | 0.0019207 | 0.00048137 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1146-4_0_4_load_23 | 10 | 0.0039405 | 0.00098757 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1146-4_0_4_load_7 | 11 | 0.0019978 | 0.0005007 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1146-4_0_4_load_69 | 12 | 0.0015827 | 0.00039666 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1146-4_0_4_load_70 | 13 | 0.0013269 | 0.00033256 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1146-4_0_4_load_68 | 14 | 0.0022187 | 0.00055605 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1146-4_0_4_load_35 | 15 | 0.0045105 | 0.0011304 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1146-4_0_4_load_65 | 16 | 0.0014486 | 0.00036304 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1146-4_0_4_load_64 | 17 | 0.00081323 | 0.00020381 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1146-4_0_4_load_66 | 18 | 0.0012487 | 0.00031294 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1146-4_0_4_load_63 | 19 | 0.00053645 | 0.00013445 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1146-4_0_4_load_5 | 20 | 0.0019471 | 0.00048798 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1146-4_0_4_load_6 | 21 | 0.0014456 | 0.00036231 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1146-4_0_4_load_31 | 22 | 0.0014277 | 0.00035781 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1146-4_0_4_load_50 | 23 | 0.0026551 | 0.00066542 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1146-4_0_4_load_15 | 24 | 0.0022577 | 0.00056583 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1146-4_0_4_load_16 | 25 | 0.00089146 | 0.00022342 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1146-4_0_4_load_17 | 26 | 0.0022674 | 0.00056828 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1146-4_0_4_load_30 | 27 | 0.0018662 | 0.00046772 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1146-4_0_4_load_49 | 28 | 0.0052959 | 0.0013273 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1146-4_0_4_load_24 | 31 | 0.0039674 | 0.00099431 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1146-4_0_4_load_20 | 32 | 0.0050777 | 0.0012726 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1146-4_0_4_load_8 | 33 | 0.0086468 | 0.0021671 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1146-4_0_4_load_9 | 34 | 0.0017631 | 0.00044187 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1146-4_0_4_load_10 | 35 | 0.0026442 | 0.0006627 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1146-4_0_4_load_12 | 36 | 0.0024783 | 0.00062111 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1146-4_0_4_load_37 | 37 | 0.0026128 | 0.00065482 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1146-4_0_4_load_19 | 38 | 0.0048451 | 0.0012143 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1146-4_0_4_load_14 | 39 | 0.0025677 | 0.00064351 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1146-4_0_4_load_32 | 40 | 0.0072419 | 0.001815 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1146-4_0_4_load_13 | 42 | 0.0028186 | 0.0007064 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1146-4_0_4_load_57 | 43 | 0.0051283 | 0.0012853 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1146-4_0_4_load_56 | 44 | 0.0043438 | 0.0010887 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1146-4_0_4_load_55 | 45 | 0.0022551 | 0.00056518 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1146-4_0_4_load_54 | 46 | 0.0034365 | 0.00086127 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1146-4_0_4_load_18 | 47 | 0.0061074 | 0.0015307 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1146-4_0_4_load_36 | 48 | 0.0044327 | 0.0011109 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1146-4_0_4_load_45 | 49 | 0.0023502 | 0.00058902 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1146-4_0_4_load_44 | 50 | 0.00092182 | 0.00023103 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1146-4_0_4_load_25 | 52 | 0.003792 | 0.00095037 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1146-4_0_4_load_40 | 53 | 0.0033482 | 0.00083913 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1146-4_0_4_load_46 | 54 | 0.0015824 | 0.00039659 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1146-4_0_4_load_47 | 55 | 0.00023907 | 5.9918e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1146-4_0_4_load_48 | 56 | 0.0016172 | 0.00040532 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1146-4_0_4_load_62 | 57 | 0.00061264 | 0.00015354 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1146-4_0_4_load_67 | 58 | 0.0014004 | 0.00035097 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1146-4_0_4_load_41 | 59 | 0.0034192 | 0.00085694 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1146-4_0_4_load_27 | 60 | 0.0038389 | 0.00096212 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1146-4_0_4_load_28 | 61 | 0.0012109 | 0.00030348 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1146-4_0_4_load_29 | 62 | 0.0076224 | 0.0019104 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1146-4_0_4_load_58 | 64 | 0.0061414 | 0.0015392 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1146-4_0_4_load_59 | 65 | 0.0061301 | 0.0015363 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1146-4_0_4_load_42 | 66 | 0.0043614 | 0.0010931 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1146-4_0_4_load_43 | 67 | 0.0016573 | 0.00041536 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1146-4_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.052422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1146-4_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.10432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1146-4_0_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.038894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
3 | LV_1146-4_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.047906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_1146-4_0_4_line_4 | NAYY 4x150 SE | 3 | 34 | 0.038972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_1146-4_0_4_line_5 | NAYY 4x150 SE | 4 | 64 | 0.013112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1146-4_0_4_line_6 | NAYY 4x150 SE | 4 | 63 | 0.005114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1146-4_0_4_line_7 | NAYY 4x150 SE | 5 | 6 | 0.058977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1146-4_0_4_line_8 | NAYY 4x150 SE | 5 | 7 | 0.022867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1146-4_0_4_line_9 | NAYY 4x150 SE | 6 | 40 | 0.039764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1146-4_0_4_line_10 | NAYY 4x150 SE | 6 | 41 | 0.030347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1146-4_0_4_line_11 | NAYY 4x150 SE | 7 | 51 | 0.022828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1146-4_0_4_line_12 | NAYY 4x150 SE | 8 | 9 | 0.043306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1146-4_0_4_line_13 | NAYY 4x150 SE | 8 | 10 | 0.082439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1146-4_0_4_line_14 | NAYY 4x150 SE | 9 | 11 | 0.037263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1146-4_0_4_line_15 | NAYY 4x150 SE | 10 | 15 | 0.028536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1146-4_0_4_line_16 | NAYY 4x150 SE | 11 | 16 | 0.058785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1146-4_0_4_line_17 | NAYY 4x150 SE | 12 | 13 | 0.0033142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1146-4_0_4_line_18 | NAYY 4x150 SE | 12 | 14 | 0.017342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1146-4_0_4_line_19 | NAYY 4x150 SE | 14 | 58 | 0.0028248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1146-4_0_4_line_20 | NAYY 4x150 SE | 15 | 48 | 0.041674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1146-4_0_4_line_21 | NAYY 4x150 SE | 16 | 19 | 0.00036798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1146-4_0_4_line_22 | NAYY 4x150 SE | 16 | 29 | 0.11497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1146-4_0_4_line_23 | NAYY 4x150 SE | 17 | 18 | 0.0069394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1146-4_0_4_line_24 | NAYY 4x150 SE | 17 | 19 | 0.017816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1146-4_0_4_line_25 | NAYY 4x150 SE | 18 | 58 | 0.018429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1146-4_0_4_line_26 | NAYY 4x150 SE | 20 | 21 | 0.010934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1146-4_0_4_line_27 | NAYY 4x150 SE | 21 | 22 | 0.051798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1146-4_0_4_line_28 | NAYY 4x150 SE | 21 | 23 | 0.01834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1146-4_0_4_line_29 | NAYY 4x150 SE | 22 | 27 | 0.023173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1146-4_0_4_line_30 | NAYY 4x150 SE | 23 | 28 | 0.0021657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1146-4_0_4_line_31 | NAYY 4x150 SE | 24 | 25 | 0.031624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
32 | LV_1146-4_0_4_line_32 | NAYY 4x150 SE | 24 | 26 | 0.027854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_1146-4_0_4_line_33 | NAYY 4x150 SE | 25 | 47 | 0.041719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1146-4_0_4_line_34 | NAYY 4x150 SE | 26 | 38 | 0.032929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_1146-4_0_4_line_35 | NAYY 4x150 SE | 27 | 61 | 0.025133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1146-4_0_4_line_36 | NAYY 4x150 SE | 28 | 49 | 0.031487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1146-4_0_4_line_37 | NAYY 4x150 SE | 29 | 57 | 0.080429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1146-4_0_4_line_38 | NAYY 4x150 SE | 30 | 31 | 0.016936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1146-4_0_4_line_39 | NAYY 4x150 SE | 30 | 32 | 0.024483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1146-4_0_4_line_40 | NAYY 4x150 SE | 32 | 51 | 0.066254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1146-4_0_4_line_41 | NAYY 4x150 SE | 33 | 34 | 0.053404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
42 | LV_1146-4_0_4_line_42 | NAYY 4x150 SE | 33 | 35 | 0.045102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_1146-4_0_4_line_43 | NAYY 4x150 SE | 35 | 36 | 0.016455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_1146-4_0_4_line_44 | NAYY 4x150 SE | 36 | 39 | 0.018468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1146-4_0_4_line_45 | NAYY 4x150 SE | 36 | 37 | 0.046864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
46 | LV_1146-4_0_4_line_46 | NAYY 4x150 SE | 37 | 38 | 0.037081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
47 | LV_1146-4_0_4_line_47 | NAYY 4x150 SE | 38 | 46 | 0.018944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1146-4_0_4_line_48 | NAYY 4x150 SE | 39 | 42 | 0.02516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1146-4_0_4_line_49 | NAYY 4x150 SE | 41 | 63 | 0.003989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1146-4_0_4_line_50 | NAYY 4x150 SE | 43 | 44 | 0.0057518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1146-4_0_4_line_51 | NAYY 4x150 SE | 44 | 45 | 0.021651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1146-4_0_4_line_52 | NAYY 4x150 SE | 44 | 62 | 0.046898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1146-4_0_4_line_53 | NAYY 4x150 SE | 45 | 46 | 0.021848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1146-4_0_4_line_54 | NAYY 4x150 SE | 47 | 48 | 0.02991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1146-4_0_4_line_55 | NAYY 4x150 SE | 49 | 50 | 0.021677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1146-4_0_4_line_56 | NAYY 4x150 SE | 50 | 67 | 0.055567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1146-4_0_4_line_57 | NAYY 4x150 SE | 51 | 52 | 0.0014294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1146-4_0_4_line_58 | NAYY 4x150 SE | 52 | 53 | 0.021213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1146-4_0_4_line_59 | NAYY 4x150 SE | 53 | 59 | 0.011625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1146-4_0_4_line_60 | NAYY 4x150 SE | 54 | 55 | 0.021222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1146-4_0_4_line_61 | NAYY 4x150 SE | 54 | 56 | 0.023984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1146-4_0_4_line_62 | NAYY 4x150 SE | 55 | 57 | 0.049841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1146-4_0_4_line_63 | NAYY 4x150 SE | 59 | 66 | 0.011647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1146-4_0_4_line_64 | NAYY 4x150 SE | 60 | 61 | 0.010217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1146-4_0_4_line_65 | NAYY 4x150 SE | 60 | 62 | 0.012349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1146-4_0_4_line_66 | NAYY 4x150 SE | 64 | 65 | 0.031258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1146-4_0_4_trafo_16 | 0.25 MVA 20/0.4 kV | 68 | 25 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2645019.3098 | 1226177.7769 | 2645018.7186 | 1226166.7545 | 2645005.7576 | 1226127.4527
1 | 2645052.8904 | 1226276.547 | 2645019.3098 | 1226177.7769
2 | 2645052.8904 | 1226276.547 | 2645057.1521 | 1226273.2773 | 2645063.3954 | 1226272.5685 | 2645090.634 | 1226272.5777
3 | 2645052.8904 | 1226276.547 | 2645050.3741 | 1226281.5311 | 2645045.05 | 1226316.0231 | 2645052.4509 | 1226316.5794
4 | 2645129.5404 | 1226271.3935 | 2645118.6878 | 1226272.5872 | 2645090.634 | 1226272.5777
5 | 2645052.4509 | 1226316.5794 | 2645065.5317 | 1226317.4868
6 | 2645052.0864 | 1226321.6798 | 2645052.4509 | 1226316.5794
7 | 2645007.9348 | 1226353.8213 | 2645023.336 | 1226353.9378 | 2645066.8685 | 1226352.0034
8 | 2645007.9348 | 1226353.8213 | 2644999.7578 | 1226353.7595 | 2644987.2217 | 1226352.7197 | 2644985.1187 | 1226352.5448
9 | 2645066.8685 | 1226352.0034 | 2645099.1265 | 1226328.7523
10 | 2645066.8685 | 1226352.0034 | 2645051.8061 | 1226325.6579
11 | 2644962.3692 | 1226350.6529 | 2644985.1187 | 1226352.5448
12 | 2644968.0398 | 1226472.4483 | 2644958.4318 | 1226473.5543 | 2644940.8636 | 1226475.4896 | 2644925.1151 | 1226478.0769
13 | 2644970.3172 | 1226390.041 | 2644968.0398 | 1226472.4483
14 | 2644888.4202 | 1226484.5173 | 2644896.9328 | 1226482.7071 | 2644925.1151 | 1226478.0769
15 | 2644998.7438 | 1226387.5445 | 2644970.3172 | 1226390.041
16 | 2644905.2585 | 1226540.8386 | 2644888.4202 | 1226484.5173
17 | 2644968.9561 | 1226539.1993 | 2644972.2692 | 1226539.1141
18 | 2644968.9561 | 1226539.1993 | 2644951.6203 | 1226539.6455
19 | 2644948.7964 | 1226539.7182 | 2644951.6203 | 1226539.6455
20 | 2644998.7438 | 1226387.5445 | 2645000.3144 | 1226387.4066 | 2645040.1319 | 1226382.6765
21 | 2644905.6263 | 1226540.8291 | 2644905.2585 | 1226540.8386
22 | 2644905.2585 | 1226540.8386 | 2644844.1388 | 1226638.2161
23 | 2644923.4361 | 1226540.3708 | 2644930.3732 | 1226540.1923
24 | 2644905.6263 | 1226540.8291 | 2644923.4361 | 1226540.3708
25 | 2644948.7964 | 1226539.7182 | 2644930.3732 | 1226540.1923
26 | 2645161.6018 | 1226451.5558 | 2645150.7834 | 1226453.1381
27 | 2645161.6018 | 1226451.5558 | 2645163.013 | 1226447.3751 | 2645165.5397 | 1226444.0033 | 2645191.136 | 1226423.9184 | 2645197.6663 | 1226420.3213 | 2645200.6889 | 1226419.3303
28 | 2645161.6018 | 1226451.5558 | 2645179.5595 | 1226447.8311
29 | 2645222.9826 | 1226413.1463 | 2645213.9722 | 1226414.9751 | 2645200.6889 | 1226419.3303
30 | 2645179.5595 | 1226447.8311 | 2645180.838 | 1226447.5659 | 2645181.6762 | 1226447.3733
31 | 2645111.2614 | 1226374.2269 | 2645142.6643 | 1226370.4964
32 | 2645170.3239 | 1226367.2107 | 2645142.6643 | 1226370.4964
33 | 2645069.8332 | 1226379.1482 | 2645111.2614 | 1226374.2269
34 | 2645203.0233 | 1226363.3262 | 2645170.3239 | 1226367.2107
35 | 2645222.9826 | 1226413.1463 | 2645247.6134 | 1226408.1471
36 | 2645212.3633 | 1226440.3198 | 2645181.6762 | 1226447.3733
37 | 2644844.1388 | 1226638.2161 | 2644891.128 | 1226635.3239 | 2644924.4781 | 1226635.5517
38 | 2644883.1877 | 1226386.7445 | 2644866.3045 | 1226385.4082
39 | 2644883.1877 | 1226386.7445 | 2644886.8804 | 1226382.5253 | 2644892.389 | 1226379.7206 | 2644905.0166 | 1226378.419
40 | 2644962.3692 | 1226350.6529 | 2644958.4322 | 1226357.1161 | 2644952.9006 | 1226362.9557 | 2644944.3574 | 1226367.1271 | 2644933.7191 | 1226371.7274 | 2644920.88 | 1226375.6886 | 2644908.8718 | 1226378.0217 | 2644905.0166 | 1226378.419
41 | 2645182.8853 | 1226270.0785 | 2645139.2076 | 1226270.3302 | 2645129.5404 | 1226271.3935
42 | 2645182.8853 | 1226270.0785 | 2645201.658 | 1226269.9703 | 2645207.3453 | 1226270.625 | 2645211.1587 | 1226272.4995 | 2645213.1622 | 1226276.1614 | 2645215.2144 | 1226288.1681
43 | 2645222.6234 | 1226300.4916 | 2645222.1559 | 1226300.5225 | 2645218.9107 | 1226299.6862 | 2645216.6597 | 1226297.6679 | 2645216.2827 | 1226294.4186 | 2645215.2144 | 1226288.1681
44 | 2645241.0515 | 1226299.2734 | 2645222.6234 | 1226300.4916
45 | 2645186.3739 | 1226330.1931 | 2645222.6234 | 1226300.4916
46 | 2645203.0233 | 1226363.3262 | 2645186.3739 | 1226330.1931
47 | 2645221.8657 | 1226361.3742 | 2645205.3927 | 1226363.0447 | 2645203.0233 | 1226363.3262
48 | 2645266.1565 | 1226297.6139 | 2645241.0515 | 1226299.2734
49 | 2645052.0864 | 1226321.6798 | 2645051.8061 | 1226325.6579
50 | 2645270.8655 | 1226356.4049 | 2645265.143 | 1226356.9853
51 | 2645265.143 | 1226356.9853 | 2645243.6022 | 1226359.1698
52 | 2645265.143 | 1226356.9853 | 2645269.7286 | 1226403.6584
53 | 2645221.8657 | 1226361.3742 | 2645243.6022 | 1226359.1698
54 | 2645069.8332 | 1226379.1482 | 2645040.1319 | 1226382.6765
55 | 2645212.3633 | 1226440.3198 | 2645233.4895 | 1226435.464
56 | 2645288.7268 | 1226429.6166 | 2645274.5163 | 1226430.8782 | 2645236.0891 | 1226434.8665 | 2645233.4895 | 1226435.464
57 | 2644962.3692 | 1226350.6529 | 2644960.9447 | 1226350.5347
58 | 2644939.8045 | 1226348.7805 | 2644960.9447 | 1226350.5347
59 | 2644939.8045 | 1226348.7805 | 2644928.2197 | 1226347.8191
60 | 2644975.2589 | 1226594.907 | 2644972.4834 | 1226594.9684 | 2644958.6615 | 1226594.6528 | 2644954.1165 | 1226595.4812
61 | 2644975.2589 | 1226594.907 | 2644979.6014 | 1226594.811 | 2644985.1067 | 1226592.4289 | 2644993.9016 | 1226584.9907 | 2644995.7846 | 1226584.0104
62 | 2644954.1165 | 1226595.4812 | 2644924.4781 | 1226635.5517
63 | 2644928.2197 | 1226347.8191 | 2644916.6127 | 1226346.8559
64 | 2645257.6266 | 1226406.1147 | 2645247.6134 | 1226408.1471
65 | 2645269.7286 | 1226403.6584 | 2645257.6266 | 1226406.1147
66 | 2645096.7145 | 1226319.6497 | 2645065.5317 | 1226317.4868

## bus_geodata
| x | y | coords
0 | 2645005.7576 | 1226127.4527
1 | 2645019.3098 | 1226177.7769
2 | 2645052.8904 | 1226276.547
3 | 2645090.634 | 1226272.5777
4 | 2645052.4509 | 1226316.5794
5 | 2645007.9348 | 1226353.8213
6 | 2645066.8685 | 1226352.0034
7 | 2644985.1187 | 1226352.5448
8 | 2644968.0398 | 1226472.4483
9 | 2644925.1151 | 1226478.077
10 | 2644970.3172 | 1226390.041
11 | 2644888.4202 | 1226484.5173
12 | 2644968.9561 | 1226539.1993
13 | 2644972.2692 | 1226539.1141
14 | 2644951.6203 | 1226539.6455
15 | 2644998.7438 | 1226387.5445
16 | 2644905.2585 | 1226540.8386
17 | 2644923.4361 | 1226540.3708
18 | 2644930.3732 | 1226540.1923
19 | 2644905.6263 | 1226540.8291
20 | 2645150.7834 | 1226453.1381
21 | 2645161.6018 | 1226451.5558
22 | 2645200.6889 | 1226419.3303
23 | 2645179.5595 | 1226447.8311
24 | 2645142.6643 | 1226370.4964
25 | 2645111.2614 | 1226374.2269
26 | 2645170.3239 | 1226367.2107
27 | 2645222.9826 | 1226413.1463
28 | 2645181.6762 | 1226447.3733
29 | 2644844.1388 | 1226638.2161
30 | 2644883.1877 | 1226386.7445
31 | 2644866.3045 | 1226385.4082
32 | 2644905.0166 | 1226378.419
33 | 2645182.8853 | 1226270.0785
34 | 2645129.5404 | 1226271.3935
35 | 2645215.2144 | 1226288.1681
36 | 2645222.6234 | 1226300.4916
37 | 2645186.3739 | 1226330.1931
38 | 2645203.0233 | 1226363.3262
39 | 2645241.0515 | 1226299.2734
40 | 2645099.1265 | 1226328.7523
41 | 2645051.8061 | 1226325.6579
42 | 2645266.1565 | 1226297.6139
43 | 2645270.8655 | 1226356.4049
44 | 2645265.143 | 1226356.9853
45 | 2645243.6022 | 1226359.1698
46 | 2645221.8657 | 1226361.3742
47 | 2645069.8332 | 1226379.1482
48 | 2645040.1319 | 1226382.6765
49 | 2645212.3633 | 1226440.3198
50 | 2645233.4895 | 1226435.464
51 | 2644962.3692 | 1226350.6529
52 | 2644960.9447 | 1226350.5347
53 | 2644939.8045 | 1226348.7805
54 | 2644975.2589 | 1226594.907
55 | 2644954.1165 | 1226595.4812
56 | 2644995.7846 | 1226584.0104
57 | 2644924.4781 | 1226635.5517
58 | 2644948.7964 | 1226539.7182
59 | 2644928.2197 | 1226347.8191
60 | 2645257.6266 | 1226406.1147
61 | 2645247.6134 | 1226408.1471
62 | 2645269.7286 | 1226403.6584
63 | 2645052.0864 | 1226321.6798
64 | 2645065.5317 | 1226317.4868
65 | 2645096.7145 | 1226319.6497
66 | 2644916.6127 | 1226346.8559
67 | 2645288.7268 | 1226429.6166
68 | 2645283.5133 | 1226355.1223

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98056 | -0.13623 | 0.0084963 | 0.0021294
1 | 0.9812 | -0.13161 | 0 | 0
2 | 0.98249 | -0.12243 | 0 | 0
3 | 0.98373 | -0.11366 | 0.0064381 | 0.0016135
4 | 0.9805 | -0.13656 | 0 | 0
5 | 0.97528 | -0.17378 | 0.00354 | 0.0008872
6 | 0.97793 | -0.1549 | 0.0068138 | 0.0017077
7 | 0.97438 | -0.18028 | 0.0030718 | 0.00076987
8 | 0.99105 | -0.062695 | 0.0018328 | 0.00045933
9 | 0.98989 | -0.070886 | 0.0019207 | 0.00048137
10 | 0.99348 | -0.045624 | 0.0039405 | 0.00098757
11 | 0.989 | -0.077217 | 0.0019978 | 0.0005007
12 | 0.98719 | -0.090075 | 0.0015827 | 0.00039666
13 | 0.98718 | -0.09012 | 0.0013269 | 0.00033256
14 | 0.98726 | -0.089558 | 0.0022187 | 0.00055605
15 | 0.99448 | -0.038597 | 0.0045105 | 0.0011304
16 | 0.98776 | -0.086023 | 0.0014486 | 0.00036304
17 | 0.98753 | -0.087625 | 0.00081323 | 0.00020381
18 | 0.98745 | -0.088177 | 0.0012487 | 0.00031294
19 | 0.98775 | -0.086058 | 0.00053645 | 0.00013445
20 | 0.98382 | -0.11345 | 0.0019471 | 0.00048798
21 | 0.98385 | -0.11323 | 0.0014456 | 0.00036231
22 | 0.98507 | -0.10454 | 0.0014277 | 0.00035781
23 | 0.98351 | -0.11567 | 0.0026551 | 0.00066542
24 | 0.99767 | -0.016065 | 0.0022577 | 0.00056583
25 | 1 | 0 | -0.1952 | -0.049072
26 | 0.99566 | -0.030065 | 0.0022674 | 0.00056828
27 | 0.98567 | -0.10032 | 0.0018662 | 0.00046772
28 | 0.98347 | -0.1159 | 0.0052959 | 0.0013273
29 | 0.98709 | -0.090817 | 0 | 0
30 | 0.97256 | -0.19338 | 0 | 0
31 | 0.97246 | -0.19409 | 0.0039674 | 0.00099431
32 | 0.9727 | -0.19236 | 0.0050777 | 0.0012726
33 | 0.987 | -0.090575 | 0.0086468 | 0.0021671
34 | 0.98509 | -0.10404 | 0.0017631 | 0.00044187
35 | 0.9888 | -0.077914 | 0.0026442 | 0.0006627
36 | 0.98948 | -0.073158 | 0.0024783 | 0.00062111
37 | 0.99159 | -0.058399 | 0.0026128 | 0.00065482
38 | 0.9933 | -0.046437 | 0.0048451 | 0.0012143
39 | 0.98934 | -0.074172 | 0.0025677 | 0.00064351
40 | 0.97751 | -0.1579 | 0.0072419 | 0.001815
41 | 0.97991 | -0.14078 | 0 | 0
42 | 0.98924 | -0.074896 | 0.0028186 | 0.0007064
43 | 0.98927 | -0.074806 | 0.0051283 | 0.0012853
44 | 0.98931 | -0.074505 | 0.0043438 | 0.0010887
45 | 0.99062 | -0.065301 | 0.0022551 | 0.00056518
46 | 0.99201 | -0.055539 | 0.0034365 | 0.00086127
47 | 0.99764 | -0.016459 | 0.0061074 | 0.0015307
48 | 0.99621 | -0.026469 | 0.0044327 | 0.0011109
49 | 0.98325 | -0.1175 | 0.0023502 | 0.00058902
50 | 0.98317 | -0.11808 | 0.00092182 | 0.00023103
51 | 0.97358 | -0.18604 | 0 | 0
52 | 0.97355 | -0.18626 | 0.003792 | 0.00095037
53 | 0.9732 | -0.18875 | 0.0033482 | 0.00083913
54 | 0.98627 | -0.096626 | 0.0015824 | 0.00039659
55 | 0.98637 | -0.095928 | 0.00023907 | 5.9918e-05
56 | 0.98621 | -0.097024 | 0.0016172 | 0.00040532
57 | 0.98661 | -0.094167 | 0.00061264 | 0.00015354
58 | 0.98728 | -0.08941 | 0.0014004 | 0.00035097
59 | 0.97307 | -0.1897 | 0.0034192 | 0.00085694
60 | 0.98669 | -0.093088 | 0.0038389 | 0.00096212
61 | 0.98638 | -0.095267 | 0.0012109 | 0.00030348
62 | 0.98713 | -0.08997 | 0.0076224 | 0.0019104
63 | 0.98017 | -0.13893 | 0 | 0
64 | 0.98027 | -0.13823 | 0.0061414 | 0.0015392
65 | 0.97999 | -0.14022 | 0.0061301 | 0.0015363
66 | 0.97299 | -0.19024 | 0.0043614 | 0.0010931
67 | 0.98304 | -0.11903 | 0.0016573 | 0.00041536
68 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0084963 | -0.0021294 | 0.0085017 | 0.0021308 | 5.4378e-06 | 1.4298e-06 | 0.012893 | 0.012893 | 0.012893 | 0.98056 | -0.13623 | 0.9812 | -0.13161 | 4.7753
1 | -0.0085017 | -0.0021308 | 0.0085126 | 0.0021336 | 1.0821e-05 | 2.8425e-06 | 0.012893 | 0.012893 | 0.012893 | 0.9812 | -0.13161 | 0.98249 | -0.12243 | 4.7752
2 | -0.06579 | -0.016533 | 0.065871 | 0.016562 | 8.0345e-05 | 2.9422e-05 | 0.099657 | 0.099657 | 0.099657 | 0.98249 | -0.12243 | 0.98373 | -0.11366 | 12.3034
3 | 0.057278 | 0.014399 | -0.057165 | -0.014357 | 0.00011252 | 4.2066e-05 | 0.086765 | 0.086765 | 0.086765 | 0.98249 | -0.12243 | 0.9805 | -0.13656 | 16.0676
4 | -0.072309 | -0.018176 | 0.072406 | 0.018212 | 9.7008e-05 | 3.5825e-05 | 0.1094 | 0.10939 | 0.1094 | 0.98373 | -0.11366 | 0.98509 | -0.10404 | 13.5056
5 | 0.012276 | 0.0030767 | -0.012273 | -0.0030758 | 2.8399e-06 | 9.2692e-07 | 0.01863 | 0.01863 | 0.01863 | 0.9805 | -0.13656 | 0.98027 | -0.13823 | 6.9001
6 | 0.044889 | 0.01128 | -0.044874 | -0.011275 | 1.4814e-05 | 5.6334e-06 | 0.068135 | 0.068135 | 0.068135 | 0.9805 | -0.13656 | 0.98017 | -0.13893 | 25.2352
7 | -0.030636 | -0.0076833 | 0.030716 | 0.0077135 | 8.041e-05 | 3.0189e-05 | 0.046744 | 0.046743 | 0.046744 | 0.97528 | -0.17378 | 0.97793 | -0.1549 | 17.3125
8 | 0.027096 | 0.0067961 | -0.027071 | -0.006787 | 2.4388e-05 | 9.0951e-06 | 0.041343 | 0.041343 | 0.041343 | 0.97528 | -0.17378 | 0.97438 | -0.18028 | 15.3121
9 | 0.0072449 | 0.0018157 | -0.0072419 | -0.001815 | 3.0155e-06 | 6.6111e-07 | 0.011024 | 0.011024 | 0.011024 | 0.97793 | -0.1549 | 0.97751 | -0.1579 | 4.083
10 | -0.044775 | -0.011237 | 0.044863 | 0.01127 | 8.7912e-05 | 3.3431e-05 | 0.068135 | 0.068135 | 0.068135 | 0.97793 | -0.1549 | 0.97991 | -0.14078 | 25.2352
11 | 0.024 | 0.0060172 | -0.02398 | -0.0060101 | 1.9135e-05 | 7.0757e-06 | 0.036652 | 0.036652 | 0.036652 | 0.97438 | -0.18028 | 0.97358 | -0.18604 | 13.5747
12 | 0.018609 | 0.0046659 | -0.018588 | -0.0046583 | 2.1096e-05 | 7.5566e-06 | 0.027941 | 0.027941 | 0.027941 | 0.99105 | -0.062695 | 0.98989 | -0.070886 | 10.3485
13 | -0.020441 | -0.0051252 | 0.02049 | 0.0051428 | 4.8459e-05 | 1.7573e-05 | 0.030693 | 0.030692 | 0.030693 | 0.99105 | -0.062695 | 0.99348 | -0.045624 | 11.3676
14 | 0.016667 | 0.004177 | -0.016652 | -0.0041718 | 1.4595e-05 | 5.135e-06 | 0.025054 | 0.025054 | 0.025054 | 0.98989 | -0.070886 | 0.989 | -0.077217 | 9.2792
15 | -0.02443 | -0.0061304 | 0.024454 | 0.0061392 | 2.3845e-05 | 8.8013e-06 | 0.036594 | 0.036594 | 0.036594 | 0.99348 | -0.045624 | 0.99448 | -0.038597 | 13.5534
16 | 0.014655 | 0.0036711 | -0.014637 | -0.003665 | 1.7832e-05 | 6.105e-06 | 0.022048 | 0.022048 | 0.022048 | 0.989 | -0.077217 | 0.98776 | -0.086023 | 8.1661
17 | 0.001327 | 0.00033252 | -0.0013269 | -0.00033256 | 8.2734e-09 | -3.919e-08 | 0.0020001 | 0.0020002 | 0.0020002 | 0.98719 | -0.090075 | 0.98718 | -0.09012 | 0.7408
18 | -0.0029096 | -0.00072918 | 0.0029098 | 0.00072904 | 2.0814e-07 | -1.4168e-07 | 0.0043857 | 0.0043857 | 0.0043857 | 0.98719 | -0.090075 | 0.98726 | -0.089558 | 1.6244
19 | -0.0051285 | -0.0012851 | 0.0051286 | 0.0012851 | 1.0532e-07 | 4.3845e-09 | 0.0077297 | 0.0077297 | 0.0077297 | 0.98726 | -0.089558 | 0.98728 | -0.08941 | 2.8629
20 | -0.028965 | -0.0072696 | 0.029014 | 0.0072879 | 4.8852e-05 | 1.8248e-05 | 0.043343 | 0.043343 | 0.043343 | 0.99448 | -0.038597 | 0.99621 | -0.026469 | 16.0529
21 | 0.0091309 | 0.0022881 | -0.0091309 | -0.0022881 | 4.3446e-08 | 1.2e-08 | 0.013755 | 0.013755 | 0.013755 | 0.98776 | -0.086023 | 0.98775 | -0.086058 | 5.0945
22 | 0.0040572 | 0.0010139 | -0.0040545 | -0.0010143 | 2.6793e-06 | -4.4013e-07 | 0.0061109 | 0.0061114 | 0.0061114 | 0.98776 | -0.086023 | 0.98709 | -0.090817 | 2.2635
23 | 0.0077794 | 0.0019493 | -0.0077788 | -0.0019492 | 5.9498e-07 | 1.4006e-07 | 0.011722 | 0.011722 | 0.011722 | 0.98753 | -0.087625 | 0.98745 | -0.088177 | 4.3414
24 | -0.0085926 | -0.0021532 | 0.0085945 | 0.0021536 | 1.8635e-06 | 4.8875e-07 | 0.012947 | 0.012947 | 0.012947 | 0.98753 | -0.087625 | 0.98775 | -0.086058 | 4.7953
25 | 0.0065301 | 0.0016363 | -0.006529 | -0.0016361 | 1.1135e-06 | 1.9258e-07 | 0.0098402 | 0.0098403 | 0.0098403 | 0.98745 | -0.088177 | 0.98728 | -0.08941 | 3.6446
26 | -0.0019471 | -0.00048798 | 0.0019471 | 0.00048786 | 5.9167e-08 | -1.1608e-07 | 0.0029449 | 0.0029449 | 0.0029449 | 0.98382 | -0.11345 | 0.98385 | -0.11323 | 1.0907
27 | -0.016279 | -0.004079 | 0.016299 | 0.0040859 | 1.9593e-05 | 6.8773e-06 | 0.024621 | 0.024621 | 0.024621 | 0.98385 | -0.11323 | 0.98507 | -0.10454 | 9.1189
28 | 0.012886 | 0.0032288 | -0.012882 | -0.0032274 | 4.3471e-06 | 1.4391e-06 | 0.01949 | 0.01949 | 0.01949 | 0.98385 | -0.11323 | 0.98351 | -0.11567 | 7.2185
29 | -0.017727 | -0.0044437 | 0.017737 | 0.0044474 | 1.0368e-05 | 3.6926e-06 | 0.026777 | 0.026777 | 0.026777 | 0.98507 | -0.10454 | 0.98567 | -0.10032 | 9.9176
30 | 0.010227 | 0.002562 | -0.010227 | -0.0025619 | 3.2354e-07 | 9.6956e-08 | 0.015473 | 0.015473 | 0.015473 | 0.98351 | -0.11567 | 0.98347 | -0.1159 | 5.7307
31 | -0.15436 | -0.038957 | 0.15471 | 0.03909 | 0.00034894 | 0.00013296 | 0.23032 | 0.23032 | 0.23032 | 0.99767 | -0.016065 | 1 | 0 | 28.4349
32 | 0.1521 | 0.038391 | -0.1518 | -0.038278 | 0.00029842 | 0.00011369 | 0.22696 | 0.22696 | 0.22696 | 0.99767 | -0.016065 | 0.99566 | -0.030065 | 28.0192
33 | 0.039691 | 0.0099814 | -0.0396 | -0.009947 | 9.0845e-05 | 3.4394e-05 | 0.059073 | 0.059073 | 0.059073 | 1 | 0 | 0.99764 | -0.016459 | 21.879
34 | 0.14954 | 0.037709 | -0.14919 | -0.037579 | 0.00034234 | 0.00013039 | 0.22357 | 0.22357 | 0.22357 | 0.99566 | -0.030065 | 0.9933 | -0.046437 | 27.6009
35 | -0.019603 | -0.0049151 | 0.019617 | 0.0049201 | 1.3736e-05 | 4.9624e-06 | 0.029595 | 0.029595 | 0.029595 | 0.98567 | -0.10032 | 0.98638 | -0.095267 | 10.961
36 | 0.0049308 | 0.0012346 | -0.0049297 | -0.0012346 | 1.0935e-06 | 2.1109e-08 | 0.00746 | 0.0074602 | 0.0074602 | 0.98347 | -0.1159 | 0.98325 | -0.1175 | 2.763
37 | 0.0040545 | 0.0010143 | -0.0040526 | -0.0010146 | 1.8746e-06 | -3.066e-07 | 0.0061114 | 0.0061118 | 0.0061118 | 0.98709 | -0.090817 | 0.98661 | -0.094167 | 2.2636
38 | 0.0039677 | 0.00099425 | -0.0039674 | -0.00099431 | 3.8946e-07 | -6.0346e-08 | 0.0060706 | 0.0060707 | 0.0060707 | 0.97256 | -0.19338 | 0.97246 | -0.19409 | 2.2484
39 | -0.0039677 | -0.00099425 | 0.0039683 | 0.00099416 | 5.6299e-07 | -8.732e-08 | 0.0060706 | 0.0060705 | 0.0060706 | 0.97256 | -0.19338 | 0.9727 | -0.19236 | 2.2484
40 | -0.009046 | -0.0022668 | 0.009054 | 0.002269 | 7.9168e-06 | 2.2218e-06 | 0.013838 | 0.013838 | 0.013838 | 0.9727 | -0.19236 | 0.97358 | -0.18604 | 5.1253
41 | 0.074308 | 0.018705 | -0.074169 | -0.018653 | 0.00013948 | 5.1603e-05 | 0.11206 | 0.11206 | 0.11206 | 0.987 | -0.090575 | 0.98509 | -0.10404 | 13.8343
42 | -0.082955 | -0.020872 | 0.083102 | 0.020927 | 0.0001468 | 5.4729e-05 | 0.12509 | 0.12509 | 0.12509 | 0.987 | -0.090575 | 0.9888 | -0.077914 | 15.4436
43 | -0.085746 | -0.02159 | 0.085803 | 0.021611 | 5.702e-05 | 2.1297e-05 | 0.12907 | 0.12907 | 0.12907 | 0.9888 | -0.077914 | 0.98948 | -0.073158 | 15.9348
44 | 0.0053873 | 0.0013498 | -0.0053865 | -0.0013497 | 7.5638e-07 | 5.3729e-08 | 0.0081014 | 0.0081015 | 0.0081015 | 0.98948 | -0.073158 | 0.98934 | -0.074172 | 3.0006
45 | -0.093669 | -0.023582 | 0.093862 | 0.023654 | 0.00019352 | 7.262e-05 | 0.1409 | 0.1409 | 0.1409 | 0.98948 | -0.073158 | 0.99159 | -0.058399 | 17.395
46 | -0.096475 | -0.024309 | 0.096637 | 0.02437 | 0.00016176 | 6.0778e-05 | 0.14482 | 0.14482 | 0.14482 | 0.99159 | -0.058399 | 0.9933 | -0.046437 | 17.879
47 | 0.047713 | 0.011995 | -0.047653 | -0.011972 | 6.0413e-05 | 2.2991e-05 | 0.07149 | 0.07149 | 0.07149 | 0.9933 | -0.046437 | 0.99201 | -0.055539 | 26.4777
48 | 0.0028189 | 0.00070619 | -0.0028186 | -0.0007064 | 2.822e-07 | -2.1451e-07 | 0.0042396 | 0.0042397 | 0.0042397 | 0.98934 | -0.074172 | 0.98924 | -0.074896 | 1.5703
49 | -0.044863 | -0.01127 | 0.044874 | 0.011275 | 1.1556e-05 | 4.3942e-06 | 0.068135 | 0.068135 | 0.068135 | 0.97991 | -0.14078 | 0.98017 | -0.13893 | 25.2352
50 | -0.0051283 | -0.0012853 | 0.0051285 | 0.0012853 | 2.1356e-07 | 8.2848e-09 | 0.0077137 | 0.0077137 | 0.0077137 | 0.98927 | -0.074806 | 0.98931 | -0.074505 | 2.8569
51 | -0.041848 | -0.010502 | 0.041901 | 0.010523 | 5.3534e-05 | 2.0312e-05 | 0.062948 | 0.062948 | 0.062948 | 0.98931 | -0.074505 | 0.99062 | -0.065301 | 23.314
52 | 0.032375 | 0.0081284 | -0.032306 | -0.0081023 | 6.9408e-05 | 2.6094e-05 | 0.048701 | 0.048701 | 0.048701 | 0.98931 | -0.074505 | 0.98713 | -0.08997 | 18.0373
53 | -0.044156 | -0.011088 | 0.044216 | 0.011111 | 5.999e-05 | 2.2791e-05 | 0.066335 | 0.066335 | 0.066335 | 0.99062 | -0.065301 | 0.99201 | -0.055539 | 24.5685
54 | 0.033493 | 0.0084163 | -0.033446 | -0.0083988 | 4.6592e-05 | 1.753e-05 | 0.049964 | 0.049964 | 0.049964 | 0.99764 | -0.016459 | 0.99621 | -0.026469 | 18.5051
55 | 0.0025795 | 0.00064557 | -0.0025793 | -0.00064577 | 2.0611e-07 | -1.9565e-07 | 0.0039035 | 0.0039036 | 0.0039036 | 0.98325 | -0.1175 | 0.98317 | -0.11808 | 1.4458
56 | 0.0016575 | 0.00041474 | -0.0016573 | -0.00041536 | 2.1819e-07 | -6.2066e-07 | 0.0025084 | 0.0025086 | 0.0025086 | 0.98317 | -0.11808 | 0.98304 | -0.11903 | 0.92912
57 | 0.014926 | 0.0037411 | -0.014926 | -0.003741 | 4.6424e-07 | 1.6078e-07 | 0.022814 | 0.022814 | 0.022814 | 0.97358 | -0.18604 | 0.97355 | -0.18626 | 8.4495
58 | 0.011134 | 0.0027906 | -0.01113 | -0.0027894 | 3.8335e-06 | 1.2107e-06 | 0.017018 | 0.017018 | 0.017018 | 0.97355 | -0.18626 | 0.9732 | -0.18875 | 6.3029
59 | 0.007782 | 0.0019502 | -0.007781 | -0.00195 | 1.027e-06 | 2.5056e-07 | 0.011899 | 0.011899 | 0.011899 | 0.9732 | -0.18875 | 0.97307 | -0.1897 | 4.4069
60 | -0.0031998 | -0.00080164 | 0.0032001 | 0.00080149 | 3.086e-07 | -1.5215e-07 | 0.0048275 | 0.0048274 | 0.0048275 | 0.98627 | -0.096626 | 0.98637 | -0.095928 | 1.7879
61 | 0.0016173 | 0.00040505 | -0.0016172 | -0.00040532 | 8.9105e-08 | -2.7178e-07 | 0.00244 | 0.0024401 | 0.0024401 | 0.98627 | -0.096626 | 0.98621 | -0.097024 | 0.90375
62 | -0.0034391 | -0.0008614 | 0.00344 | 0.00086109 | 8.3705e-07 | -3.1438e-07 | 0.005188 | 0.0051878 | 0.005188 | 0.98637 | -0.095928 | 0.98661 | -0.094167 | 1.9215
63 | 0.0043618 | 0.0010931 | -0.0043614 | -0.0010931 | 3.2333e-07 | -2.031e-08 | 0.00667 | 0.00667 | 0.00667 | 0.97307 | -0.1897 | 0.97299 | -0.19024 | 2.4704
64 | 0.020834 | 0.0052259 | -0.020828 | -0.0052236 | 6.2946e-06 | 2.2906e-06 | 0.031421 | 0.031421 | 0.031421 | 0.98669 | -0.093088 | 0.98638 | -0.095267 | 11.6375
65 | -0.024673 | -0.006188 | 0.024684 | 0.0061919 | 1.0669e-05 | 3.9458e-06 | 0.037211 | 0.037211 | 0.037211 | 0.98669 | -0.093088 | 0.98713 | -0.08997 | 13.7817
66 | 0.0061317 | 0.0015366 | -0.0061301 | -0.0015363 | 1.6898e-06 | 2.5599e-07 | 0.0093078 | 0.0093079 | 0.0093079 | 0.98027 | -0.13823 | 0.97999 | -0.14022 | 3.4474

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.19609 | 0.049295

## res_load
| p_mw | q_mvar
0 | 0.0084963 | 0.0021294
1 | 0.0064381 | 0.0016135
2 | 0.00354 | 0.0008872
3 | 0.0068138 | 0.0017077
4 | 0.0030718 | 0.00076987
5 | 0.0018328 | 0.00045933
6 | 0.0019207 | 0.00048137
7 | 0.0039405 | 0.00098757
8 | 0.0019978 | 0.0005007
9 | 0.0015827 | 0.00039666
10 | 0.0013269 | 0.00033256
11 | 0.0022187 | 0.00055605
12 | 0.0045105 | 0.0011304
13 | 0.0014486 | 0.00036304
14 | 0.00081323 | 0.00020381
15 | 0.0012487 | 0.00031294
16 | 0.00053645 | 0.00013445
17 | 0.0019471 | 0.00048798
18 | 0.0014456 | 0.00036231
19 | 0.0014277 | 0.00035781
20 | 0.0026551 | 0.00066542
21 | 0.0022577 | 0.00056583
22 | 0.00089146 | 0.00022342
23 | 0.0022674 | 0.00056828
24 | 0.0018662 | 0.00046772
25 | 0.0052959 | 0.0013273
26 | 0.0039674 | 0.00099431
27 | 0.0050777 | 0.0012726
28 | 0.0086468 | 0.0021671
29 | 0.0017631 | 0.00044187
30 | 0.0026442 | 0.0006627
31 | 0.0024783 | 0.00062111
32 | 0.0026128 | 0.00065482
33 | 0.0048451 | 0.0012143
34 | 0.0025677 | 0.00064351
35 | 0.0072419 | 0.001815
36 | 0.0028186 | 0.0007064
37 | 0.0051283 | 0.0012853
38 | 0.0043438 | 0.0010887
39 | 0.0022551 | 0.00056518
40 | 0.0034365 | 0.00086127
41 | 0.0061074 | 0.0015307
42 | 0.0044327 | 0.0011109
43 | 0.0023502 | 0.00058902
44 | 0.00092182 | 0.00023103
45 | 0.003792 | 0.00095037
46 | 0.0033482 | 0.00083913
47 | 0.0015824 | 0.00039659
48 | 0.00023907 | 5.9918e-05
49 | 0.0016172 | 0.00040532
50 | 0.00061264 | 0.00015354
51 | 0.0014004 | 0.00035097
52 | 0.0034192 | 0.00085694
53 | 0.0038389 | 0.00096212
54 | 0.0012109 | 0.00030348
55 | 0.0076224 | 0.0019104
56 | 0.0061414 | 0.0015392
57 | 0.0061301 | 0.0015363
58 | 0.0043614 | 0.0010931
59 | 0.0016573 | 0.00041536

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1