## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1146-6_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1146-6_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1146-6_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1146-6_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1146-6_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1146-6_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1146-6_0_3_node_19 | 0.4 | n |  | TRUE
7 | bus_LV_1146-6_0_3_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_1146-6_0_3_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_1146-6_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1146-6_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1146-6_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1146-6_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_1146-6_0_3_node_37 | 0.4 | n |  | TRUE
14 | bus_LV_1146-6_0_3_node_45 | 0.4 | n |  | TRUE
15 | bus_LV_1146-6_0_3_node_46 | 0.4 | n |  | TRUE
16 | bus_LV_1146-6_0_3_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_1146-6_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1146-6_0_3_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_1146-6_0_3_node_41 | 0.4 | n |  | TRUE
20 | bus_LV_1146-6_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_1146-6_0_3_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_1146-6_0_3_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_1146-6_0_3_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_1146-6_0_3_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_1146-6_0_3_node_36 | 0.4 | n |  | TRUE
26 | bus_LV_1146-6_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_1146-6_0_3_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_1146-6_0_3_node_44 | 0.4 | n |  | TRUE
29 | bus_LV_1146-6_0_3_node_39 | 0.4 | n |  | TRUE
30 | bus_LV_1146-6_0_3_node_52 | 0.4 | n |  | TRUE
31 | bus_LV_1146-6_0_3_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_1146-6_0_3_node_42 | 0.4 | n |  | TRUE
33 | bus_LV_1146-6_0_3_node_43 | 0.4 | n |  | TRUE
34 | bus_LV_1146-6_0_3_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_1146-6_0_3_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_1146-6_0_3_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_1146-6_0_3_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_1146-6_0_3_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_1146-6_0_3_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_1146-6_0_3_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_1146-6_0_3_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_1146-6_0_3_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_1146-6_0_3_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_1146-6_0_3_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_1146-6_0_3_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_1146-6_0_3_node_54 | 0.4 | n |  | TRUE
47 | bus_LV_1146-6_0_3_node_55 | 0.4 | n |  | TRUE
48 | bus_LV_1146-6_0_3_node_51 | 0.4 | n |  | TRUE
49 | bus_LV_1146-6_0_3_node_53 | 0.4 | n |  | TRUE
50 | bus_LV_1146-6_0_3_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_1146-6_0_3_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_1146-6_0_3_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_1146-6_0_3_node_50 | 0.4 | n |  | TRUE
54 | bus_MV_131_0_node_96 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1146-6_0_3_load_0 | 0 | 0.0035666 | 0.00089387 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1146-6_0_3_load_1 | 1 | 0.0011299 | 0.00028317 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1146-6_0_3_load_3 | 3 | 0.0036185 | 0.00090689 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1146-6_0_3_load_4 | 4 | 0.0009854 | 0.00024696 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1146-6_0_3_load_19 | 6 | 0.01075 | 0.0026942 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1146-6_0_3_load_18 | 8 | 0.0094232 | 0.0023617 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1146-6_0_3_load_37 | 13 | 0.0099576 | 0.0024956 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1146-6_0_3_load_45 | 14 | 0.002571 | 0.00064434 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1146-6_0_3_load_46 | 15 | 0.013463 | 0.0033741 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1146-6_0_3_load_20 | 16 | 0.013346 | 0.0033449 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1146-6_0_3_load_25 | 18 | 0.00921 | 0.0023082 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1146-6_0_3_load_41 | 19 | 0.0051662 | 0.0012948 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1146-6_0_3_load_30 | 22 | 0.0032105 | 0.00080462 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1146-6_0_3_load_36 | 25 | 0.005121 | 0.0012834 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1146-6_0_3_load_44 | 28 | 0.0025999 | 0.00065159 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1146-6_0_3_load_52 | 30 | 0.036981 | 0.0092683 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1146-6_0_3_load_42 | 32 | 0.0028016 | 0.00070214 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1146-6_0_3_load_43 | 33 | 0.0033768 | 0.0008463 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1146-6_0_3_load_21 | 34 | 0.0017313 | 0.00043391 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1146-6_0_3_load_22 | 35 | 0.009248 | 0.0023178 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1146-6_0_3_load_24 | 36 | 0.00175 | 0.00043859 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1146-6_0_3_load_31 | 37 | 0.0042789 | 0.0010724 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1146-6_0_3_load_26 | 38 | 0.0040576 | 0.0010169 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1146-6_0_3_load_27 | 39 | 0.0014026 | 0.00035153 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1146-6_0_3_load_29 | 40 | 0.0016799 | 0.00042103 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1146-6_0_3_load_34 | 42 | 0.016238 | 0.0040697 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1146-6_0_3_load_35 | 43 | 0.0017894 | 0.00044846 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1146-6_0_3_load_40 | 44 | 0.0042073 | 0.0010544 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1146-6_0_3_load_38 | 45 | 0.0042932 | 0.001076 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1146-6_0_3_load_54 | 46 | 0.0071563 | 0.0017935 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1146-6_0_3_load_55 | 47 | 0.0047023 | 0.0011785 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1146-6_0_3_load_51 | 48 | 0.0023101 | 0.00057896 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1146-6_0_3_load_53 | 49 | 0.015295 | 0.0038333 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1146-6_0_3_load_47 | 50 | 0.0019699 | 0.0004937 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1146-6_0_3_load_48 | 51 | 0.0018753 | 0.00047 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1146-6_0_3_load_49 | 52 | 0.0023668 | 0.00059318 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1146-6_0_3_load_50 | 53 | 0.0047572 | 0.0011923 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1146-6_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.022283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_1146-6_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.025486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_1146-6_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0063806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_1146-6_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.034033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1146-6_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.026976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_1146-6_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.046822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_1146-6_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.008602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1146-6_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.024038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_1146-6_0_3_line_8 | NAYY 4x150 SE | 6 | 26 | 0.02938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1146-6_0_3_line_9 | NAYY 4x150 SE | 7 | 15 | 0.060775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1146-6_0_3_line_10 | NAYY 4x150 SE | 8 | 9 | 0.020288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_1146-6_0_3_line_11 | NAYY 4x150 SE | 9 | 10 | 0.0078765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_1146-6_0_3_line_12 | NAYY 4x150 SE | 10 | 14 | 0.019654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1146-6_0_3_line_13 | NAYY 4x150 SE | 10 | 11 | 0.020713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_1146-6_0_3_line_14 | NAYY 4x150 SE | 11 | 12 | 0.017407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1146-6_0_3_line_15 | NAYY 4x150 SE | 11 | 13 | 0.024239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_1146-6_0_3_line_16 | NAYY 4x150 SE | 12 | 16 | 0.052778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1146-6_0_3_line_17 | NAYY 4x150 SE | 13 | 25 | 0.039115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_1146-6_0_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.011605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_1146-6_0_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.025146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_1146-6_0_3_line_20 | NAYY 4x150 SE | 18 | 21 | 0.01475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_1146-6_0_3_line_21 | NAYY 4x150 SE | 19 | 24 | 0.021797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_1146-6_0_3_line_22 | NAYY 4x150 SE | 20 | 21 | 0.007213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1146-6_0_3_line_23 | NAYY 4x150 SE | 20 | 22 | 0.019781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1146-6_0_3_line_24 | NAYY 4x150 SE | 21 | 34 | 0.030494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_1146-6_0_3_line_25 | NAYY 4x150 SE | 23 | 24 | 0.021763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_1146-6_0_3_line_26 | NAYY 4x150 SE | 23 | 25 | 0.014371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_1146-6_0_3_line_27 | NAYY 4x150 SE | 26 | 27 | 0.0079042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1146-6_0_3_line_28 | NAYY 4x150 SE | 27 | 28 | 0.044106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1146-6_0_3_line_29 | NAYY 4x150 SE | 28 | 33 | 0.017032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1146-6_0_3_line_30 | NAYY 4x150 SE | 29 | 30 | 0.025194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1146-6_0_3_line_31 | NAYY 4x150 SE | 29 | 31 | 0.040746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_1146-6_0_3_line_32 | NAYY 4x150 SE | 30 | 49 | 0.039583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1146-6_0_3_line_33 | NAYY 4x150 SE | 31 | 44 | 0.043547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1146-6_0_3_line_34 | NAYY 4x150 SE | 31 | 45 | 0.01415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1146-6_0_3_line_35 | NAYY 4x150 SE | 31 | 37 | 0.01993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_1146-6_0_3_line_36 | NAYY 4x150 SE | 32 | 33 | 0.014223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1146-6_0_3_line_37 | NAYY 4x150 SE | 34 | 35 | 0.012622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_1146-6_0_3_line_38 | NAYY 4x150 SE | 35 | 36 | 0.0063756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_1146-6_0_3_line_39 | NAYY 4x150 SE | 36 | 37 | 0.028438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_1146-6_0_3_line_40 | NAYY 4x150 SE | 38 | 39 | 0.0020596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1146-6_0_3_line_41 | NAYY 4x150 SE | 39 | 40 | 0.030965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1146-6_0_3_line_42 | NAYY 4x150 SE | 40 | 41 | 0.034234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1146-6_0_3_line_43 | NAYY 4x150 SE | 41 | 42 | 0.037887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1146-6_0_3_line_44 | NAYY 4x150 SE | 41 | 43 | 0.03826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1146-6_0_3_line_45 | NAYY 4x150 SE | 42 | 45 | 0.013676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1146-6_0_3_line_46 | NAYY 4x150 SE | 43 | 47 | 0.0081115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1146-6_0_3_line_47 | NAYY 4x150 SE | 44 | 46 | 0.029272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1146-6_0_3_line_48 | NAYY 4x150 SE | 47 | 48 | 0.021109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1146-6_0_3_line_49 | NAYY 4x150 SE | 48 | 52 | 0.021462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1146-6_0_3_line_50 | NAYY 4x150 SE | 50 | 51 | 0.022482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1146-6_0_3_line_51 | NAYY 4x150 SE | 50 | 52 | 0.0048489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1146-6_0_3_line_52 | NAYY 4x150 SE | 51 | 53 | 0.004817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1146-6_0_3_trafo_39 | 0.25 MVA 20/0.4 kV | 54 | 29 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2643983.0059 | 1226163.7034 | 2643969.2047 | 1226161.366 | 2643960.9868 | 1226160.3131
1 | 2644006.364 | 1226160.8402 | 2644003.5565 | 1226164.3327 | 2643999.5357 | 1226165.8372 | 2643995.7684 | 1226165.865 | 2643983.0059 | 1226163.7034
2 | 2643960.9868 | 1226160.3131 | 2643954.6579 | 1226159.5022
3 | 2644006.364 | 1226160.8402 | 2644006.9145 | 1226157.1197 | 2644006.7714 | 1226150.8482 | 2644001.8475 | 1226127.3594
4 | 2644006.364 | 1226160.8402 | 2644012.2166 | 1226160.6944 | 2644016.2047 | 1226160.5349 | 2644016.689 | 1226162.6843 | 2644019.4207 | 1226167.3962 | 2644024.3947 | 1226171.2576 | 2644027.311 | 1226172.5355
5 | 2643908.1388 | 1226154.201 | 2643942.6859 | 1226157.9682 | 2643954.6579 | 1226159.5022
6 | 2644024.1669 | 1226180.5394 | 2644026.011 | 1226176.1392 | 2644027.311 | 1226172.5355
7 | 2644027.311 | 1226172.5355 | 2644039.31 | 1226176.5822 | 2644049.8908 | 1226180.7586
8 | 2643878.9317 | 1226151.0162 | 2643908.1388 | 1226154.201
9 | 2644024.1669 | 1226180.5394 | 2644022.651 | 1226184.6307 | 2643999.7832 | 1226179.5252 | 2643985.3644 | 1226177.7954 | 2643983.1105 | 1226180.2136 | 2643980.7563 | 1226195.1832
10 | 2644068.7617 | 1226188.2072 | 2644049.8908 | 1226180.7586
11 | 2644065.8727 | 1226195.5348 | 2644067.549 | 1226191.2779 | 2644068.7617 | 1226188.2072
12 | 2644065.8727 | 1226195.5348 | 2644060.4038 | 1226192.9927 | 2644047.7048 | 1226188.0616
13 | 2644065.8727 | 1226195.5348 | 2644084.6884 | 1226204.3127
14 | 2644084.6884 | 1226204.3127 | 2644087.1388 | 1226199.9282 | 2644091.8134 | 1226202.242 | 2644094.0273 | 1226203.1812 | 2644096.0073 | 1226198.8487
15 | 2644084.6884 | 1226204.3127 | 2644094.6227 | 1226208.7557 | 2644107.1029 | 1226213.3064 | 2644107.1732 | 1226213.3234
16 | 2644096.0073 | 1226198.8487 | 2644108.8792 | 1226172.0276 | 2644131.3573 | 1226177.0292
17 | 2644145.4838 | 1226221.1428 | 2644120.8049 | 1226216.621 | 2644107.1732 | 1226213.3234
18 | 2644162.8364 | 1226275.502 | 2644158.9005 | 1226286.4195
19 | 2644162.8364 | 1226275.502 | 2644170.9405 | 1226254.8606 | 2644172.0184 | 1226252.092
20 | 2644153.8981 | 1226300.2954 | 2644158.9005 | 1226286.4195
21 | 2644179.9268 | 1226231.7797 | 2644172.0184 | 1226252.092
22 | 2644160.9346 | 1226301.9708 | 2644153.8981 | 1226300.2954
23 | 2644160.9346 | 1226301.9708 | 2644156.6349 | 1226321.2788
24 | 2644153.8981 | 1226300.2954 | 2644124.2349 | 1226293.224
25 | 2644179.9268 | 1226231.7797 | 2644159.5502 | 1226223.9794
26 | 2644159.5502 | 1226223.9794 | 2644158.2426 | 1226223.4805 | 2644145.4838 | 1226221.1428
27 | 2643877.9567 | 1226158.8582 | 2643878.4993 | 1226155.1711 | 2643878.9317 | 1226151.0162
28 | 2643877.9567 | 1226158.8582 | 2643921.7606 | 1226164.0089
29 | 2643938.6756 | 1226165.9979 | 2643921.7606 | 1226164.0089
30 | 2644033.8987 | 1226254.3677 | 2644009.1442 | 1226249.6833
31 | 2644058.7011 | 1226277.6209 | 2644060.6097 | 1226269.6302 | 2644034.3766 | 1226258.407 | 2644033.8987 | 1226254.3677
32 | 2643970.2514 | 1226242.3234 | 2644009.1442 | 1226249.6833
33 | 2644058.7011 | 1226277.6209 | 2644016.3099 | 1226267.6534
34 | 2644058.7011 | 1226277.6209 | 2644055.7366 | 1226291.4567
35 | 2644058.7011 | 1226277.6209 | 2644064.0808 | 1226278.8837 | 2644078.0925 | 1226282.224
36 | 2643952.8013 | 1226167.6589 | 2643938.6756 | 1226165.9979
37 | 2644124.2349 | 1226293.224 | 2644111.9574 | 1226290.2971
38 | 2644105.7556 | 1226288.8187 | 2644111.9574 | 1226290.2971
39 | 2644105.7556 | 1226288.8187 | 2644078.0925 | 1226282.224
40 | 2644103.8083 | 1226349.7584 | 2644105.8159 | 1226350.2182
41 | 2644073.429 | 1226343.9942 | 2644083.6757 | 1226345.1472 | 2644103.8083 | 1226349.7584
42 | 2644039.6771 | 1226340.0296 | 2644046.2912 | 1226342.4467 | 2644068.2341 | 1226343.4096 | 2644073.429 | 1226343.9942
43 | 2644039.6771 | 1226340.0296 | 2644043.5518 | 1226322.403 | 2644048.4518 | 1226306.5406 | 2644050.0893 | 1226303.748
44 | 2644039.6771 | 1226340.0296 | 2644034.9376 | 1226338.3046 | 2644016.7258 | 1226326.8185 | 2644005.7133 | 1226322.9112
45 | 2644050.0893 | 1226303.748 | 2644054.8386 | 1226295.6479 | 2644055.7366 | 1226291.4567
46 | 2643998.0687 | 1226320.1988 | 2644005.7133 | 1226322.9112
47 | 2644016.3099 | 1226267.6534 | 2643987.8153 | 1226260.9535
48 | 2643977.1159 | 1226317.6388 | 2643998.0687 | 1226320.1988 | 2643998.0687 | 1226320.1988
49 | 2643977.1159 | 1226317.6388 | 2643955.8124 | 1226315.036
50 | 2643950.9993 | 1226314.4479 | 2643928.6833 | 1226311.7214
51 | 2643950.9993 | 1226314.4479 | 2643955.8124 | 1226315.036
52 | 2643928.6833 | 1226311.7214 | 2643923.9019 | 1226311.1372

## bus_geodata
| x | y | coords
0 | 2643983.0059 | 1226163.7034
1 | 2643960.9868 | 1226160.3131
2 | 2644006.364 | 1226160.8402
3 | 2643954.6579 | 1226159.5022
4 | 2644001.8475 | 1226127.3594
5 | 2644027.311 | 1226172.5355
6 | 2643908.1388 | 1226154.201
7 | 2644024.1669 | 1226180.5394
8 | 2644049.8908 | 1226180.7586
9 | 2644068.7617 | 1226188.2072
10 | 2644065.8727 | 1226195.5348
11 | 2644084.6884 | 1226204.3127
12 | 2644096.0073 | 1226198.8487
13 | 2644107.1732 | 1226213.3234
14 | 2644047.7048 | 1226188.0616
15 | 2643980.7563 | 1226195.1832
16 | 2644131.3573 | 1226177.0292
17 | 2644162.8364 | 1226275.502
18 | 2644158.9005 | 1226286.4195
19 | 2644172.0184 | 1226252.092
20 | 2644160.9346 | 1226301.9708
21 | 2644153.8981 | 1226300.2954
22 | 2644156.6349 | 1226321.2788
23 | 2644159.5502 | 1226223.9794
24 | 2644179.9268 | 1226231.7797
25 | 2644145.4838 | 1226221.1428
26 | 2643878.9317 | 1226151.0162
27 | 2643877.9567 | 1226158.8582
28 | 2643921.7606 | 1226164.0089
29 | 2644033.8987 | 1226254.3677
30 | 2644009.1442 | 1226249.6833
31 | 2644058.7011 | 1226277.6209
32 | 2643952.8013 | 1226167.6589
33 | 2643938.6756 | 1226165.9979
34 | 2644124.2349 | 1226293.224
35 | 2644111.9574 | 1226290.2971
36 | 2644105.7556 | 1226288.8187
37 | 2644078.0925 | 1226282.224
38 | 2644105.8159 | 1226350.2182
39 | 2644103.8083 | 1226349.7584
40 | 2644073.429 | 1226343.9942
41 | 2644039.6771 | 1226340.0296
42 | 2644050.0893 | 1226303.748
43 | 2644005.7133 | 1226322.9112
44 | 2644016.3099 | 1226267.6534
45 | 2644055.7366 | 1226291.4567
46 | 2643987.8153 | 1226260.9535
47 | 2643998.0687 | 1226320.1988
48 | 2643977.1159 | 1226317.6388
49 | 2643970.2514 | 1226242.3234
50 | 2643950.9993 | 1226314.4479
51 | 2643928.6833 | 1226311.7214
52 | 2643955.8124 | 1226315.036
53 | 2643923.9019 | 1226311.1372
54 | 2644058.7011 | 1226277.6209

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.973 | -0.18992 | 0.0035666 | 0.00089387
1 | 0.9726 | -0.19277 | 0.0011299 | 0.00028317
2 | 0.97352 | -0.18618 | 0 | 0
3 | 0.97249 | -0.19355 | 0.0036185 | 0.00090689
4 | 0.97347 | -0.18653 | 0.0009854 | 0.00024696
5 | 0.97409 | -0.18208 | 0 | 0
6 | 0.97182 | -0.19838 | 0.01075 | 0.0026942
7 | 0.97392 | -0.1833 | 0 | 0
8 | 0.97483 | -0.17673 | 0.0094232 | 0.0023617
9 | 0.9756 | -0.17122 | 0 | 0
10 | 0.9759 | -0.16908 | 0 | 0
11 | 0.97672 | -0.16319 | 0 | 0
12 | 0.97638 | -0.16562 | 0 | 0
13 | 0.97792 | -0.15462 | 0.0099576 | 0.0024956
14 | 0.97583 | -0.16961 | 0.002571 | 0.00064434
15 | 0.97272 | -0.19192 | 0.013463 | 0.0033741
16 | 0.97536 | -0.17301 | 0.013346 | 0.0033449
17 | 0.98527 | -0.10259 | 0 | 0
18 | 0.98601 | -0.097342 | 0.00921 | 0.0023082
19 | 0.98365 | -0.11398 | 0.0051662 | 0.0012948
20 | 0.98703 | -0.09023 | 0 | 0
21 | 0.98706 | -0.089992 | 0 | 0
22 | 0.98693 | -0.090881 | 0.0032105 | 0.00080462
23 | 0.98102 | -0.13263 | 0 | 0
24 | 0.98233 | -0.1233 | 0 | 0
25 | 0.98015 | -0.1388 | 0.005121 | 0.0012834
26 | 0.97144 | -0.20111 | 0 | 0
27 | 0.97134 | -0.20185 | 0 | 0
28 | 0.97077 | -0.20595 | 0.0025999 | 0.00065159
29 | 1 | 0 | -0.23229 | -0.058409
30 | 0.99812 | -0.01317 | 0.036981 | 0.0092683
31 | 0.9948 | -0.036028 | 0 | 0
32 | 0.97056 | -0.20749 | 0.0028016 | 0.00070214
33 | 0.97062 | -0.20706 | 0.0033768 | 0.0008463
34 | 0.98929 | -0.074346 | 0.0017313 | 0.00043391
35 | 0.99023 | -0.06778 | 0.009248 | 0.0023178
36 | 0.99075 | -0.064167 | 0.00175 | 0.00043859
37 | 0.99309 | -0.047849 | 0.0042789 | 0.0010724
38 | 0.99091 | -0.063409 | 0.0040576 | 0.0010169
39 | 0.99092 | -0.063324 | 0.0014026 | 0.00035153
40 | 0.99116 | -0.061606 | 0.0016799 | 0.00042103
41 | 0.99151 | -0.059122 | 0 | 0
42 | 0.99298 | -0.048779 | 0.016238 | 0.0040697
43 | 0.99042 | -0.066813 | 0.0017894 | 0.00044846
44 | 0.99409 | -0.041024 | 0.0042073 | 0.0010544
45 | 0.99383 | -0.042808 | 0.0042932 | 0.001076
46 | 0.99379 | -0.043141 | 0.0071563 | 0.0017935
47 | 0.99021 | -0.068298 | 0.0047023 | 0.0011785
48 | 0.98981 | -0.071154 | 0.0023101 | 0.00057896
49 | 0.99725 | -0.019242 | 0.015295 | 0.0038333
50 | 0.98941 | -0.073979 | 0.0019699 | 0.0004937
51 | 0.9892 | -0.0755 | 0.0018753 | 0.00047
52 | 0.98947 | -0.073554 | 0.0023668 | 0.00059318
53 | 0.98916 | -0.075734 | 0.0047572 | 0.0011923
54 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.024312 | 0.0060947 | -0.024303 | -0.0060916 | 9.6113e-06 | 3.1434e-06 | 0.037182 | 0.037182 | 0.037182 | 0.973 | -0.18992 | 0.9726 | -0.19277 | 6.8855
1 | -0.027879 | -0.0069886 | 0.027893 | 0.0069935 | 1.4455e-05 | 4.926e-06 | 0.042636 | 0.042636 | 0.042636 | 0.973 | -0.18992 | 0.97352 | -0.18618 | 7.8956
2 | 0.023173 | 0.0058084 | -0.02317 | -0.0058076 | 2.5022e-06 | 8.0405e-07 | 0.035453 | 0.035453 | 0.035453 | 0.9726 | -0.19277 | 0.97249 | -0.19355 | 6.5654
3 | 0.00098544 | 0.00024656 | -0.0009854 | -0.00024696 | 4.8177e-08 | -4.0461e-07 | 0.0015061 | 0.0015062 | 0.0015062 | 0.97352 | -0.18618 | 0.97347 | -0.18653 | 0.55787
4 | -0.028879 | -0.0072401 | 0.028895 | 0.0072457 | 1.64e-05 | 5.6364e-06 | 0.044142 | 0.044142 | 0.044142 | 0.97352 | -0.18618 | 0.97409 | -0.18208 | 8.1744
5 | 0.019552 | 0.0049007 | -0.019539 | -0.0048968 | 1.3075e-05 | 3.8676e-06 | 0.029916 | 0.029917 | 0.029917 | 0.97249 | -0.19355 | 0.97182 | -0.19838 | 5.5402
6 | 0.013481 | 0.0033803 | -0.013479 | -0.0033796 | 2.2766e-06 | 7.6857e-07 | 0.020595 | 0.020595 | 0.020595 | 0.97409 | -0.18208 | 0.97392 | -0.1833 | 7.6277
7 | -0.042377 | -0.010626 | 0.042408 | 0.010638 | 3.1431e-05 | 1.149e-05 | 0.064736 | 0.064736 | 0.064736 | 0.97409 | -0.18208 | 0.97483 | -0.17673 | 11.9882
8 | 0.0087885 | 0.0022026 | -0.0087852 | -0.0022017 | 3.3199e-06 | 9.1298e-07 | 0.013457 | 0.013457 | 0.013457 | 0.97182 | -0.19838 | 0.97144 | -0.20111 | 4.984
9 | 0.013479 | 0.0033796 | -0.013463 | -0.0033741 | 1.6085e-05 | 5.4313e-06 | 0.020595 | 0.020595 | 0.020595 | 0.97392 | -0.1833 | 0.97272 | -0.19192 | 7.6278
10 | -0.051831 | -0.012999 | 0.051871 | 0.013014 | 3.9624e-05 | 1.4734e-05 | 0.07912 | 0.07912 | 0.07912 | 0.97483 | -0.17673 | 0.9756 | -0.17122 | 14.6518
11 | -0.051871 | -0.013014 | 0.051886 | 0.01302 | 1.5384e-05 | 5.72e-06 | 0.07912 | 0.07912 | 0.07912 | 0.9756 | -0.17122 | 0.9759 | -0.16908 | 14.6518
12 | 0.0025712 | 0.00064417 | -0.002571 | -0.00064434 | 1.8849e-07 | -1.7305e-07 | 0.0039203 | 0.0039204 | 0.0039204 | 0.9759 | -0.16908 | 0.97583 | -0.16961 | 1.452
13 | -0.054457 | -0.013664 | 0.054502 | 0.01368 | 4.4563e-05 | 1.6621e-05 | 0.08304 | 0.08304 | 0.08304 | 0.9759 | -0.16908 | 0.97672 | -0.16319 | 15.3778
14 | 0.013365 | 0.003351 | -0.01336 | -0.0033495 | 4.5032e-06 | 1.5142e-06 | 0.020361 | 0.020361 | 0.020361 | 0.97672 | -0.16319 | 0.97638 | -0.16562 | 7.5412
15 | -0.067866 | -0.017032 | 0.067947 | 0.017062 | 8.0857e-05 | 3.0491e-05 | 0.1034 | 0.1034 | 0.1034 | 0.97672 | -0.16319 | 0.97792 | -0.15462 | 19.1483
16 | 0.01336 | 0.0033495 | -0.013346 | -0.0033449 | 1.3654e-05 | 4.592e-06 | 0.020361 | 0.020362 | 0.020362 | 0.97638 | -0.16562 | 0.97536 | -0.17301 | 7.5413
17 | -0.077905 | -0.019558 | 0.078076 | 0.019623 | 0.00017152 | 6.4985e-05 | 0.11855 | 0.11855 | 0.11855 | 0.97792 | -0.15462 | 0.98015 | -0.1388 | 21.9541
18 | -0.088793 | -0.022364 | 0.088858 | 0.022389 | 6.5152e-05 | 2.4763e-05 | 0.13414 | 0.13414 | 0.13414 | 0.98527 | -0.10259 | 0.98601 | -0.097342 | 24.8409
19 | 0.088793 | 0.022364 | -0.088652 | -0.02231 | 0.00014117 | 5.3658e-05 | 0.13414 | 0.13414 | 0.13414 | 0.98527 | -0.10259 | 0.98365 | -0.11398 | 24.8409
20 | -0.098068 | -0.024697 | 0.098169 | 0.024735 | 0.00010086 | 3.8414e-05 | 0.14804 | 0.14804 | 0.14804 | 0.98601 | -0.097342 | 0.98706 | -0.089992 | 27.4148
21 | 0.083486 | 0.021015 | -0.083377 | -0.020974 | 0.00010853 | 4.1189e-05 | 0.12633 | 0.12633 | 0.12633 | 0.98365 | -0.11398 | 0.98233 | -0.1233 | 23.3937
22 | -0.0032108 | -0.00080448 | 0.0032109 | 0.00080443 | 1.0545e-07 | -5.1634e-08 | 0.0048404 | 0.0048404 | 0.0048404 | 0.98703 | -0.09023 | 0.98706 | -0.089992 | 1.7927
23 | 0.0032108 | 0.00080448 | -0.0032105 | -0.00080462 | 2.892e-07 | -1.4157e-07 | 0.0048404 | 0.0048405 | 0.0048405 | 0.98703 | -0.09023 | 0.98693 | -0.090881 | 1.7928
24 | -0.10138 | -0.02554 | 0.1016 | 0.025625 | 0.00022237 | 8.4745e-05 | 0.15288 | 0.15288 | 0.15288 | 0.98706 | -0.089992 | 0.98929 | -0.074346 | 28.3111
25 | -0.083269 | -0.020933 | 0.083377 | 0.020974 | 0.00010836 | 4.1126e-05 | 0.12633 | 0.12633 | 0.12633 | 0.98102 | -0.13263 | 0.98233 | -0.1233 | 23.3938
26 | 0.083269 | 0.020933 | -0.083197 | -0.020906 | 7.1552e-05 | 2.7157e-05 | 0.12633 | 0.12633 | 0.12633 | 0.98102 | -0.13263 | 0.98015 | -0.1388 | 23.3938
27 | 0.0087852 | 0.0022017 | -0.0087843 | -0.0022014 | 8.9316e-07 | 2.4567e-07 | 0.013457 | 0.013457 | 0.013457 | 0.97144 | -0.20111 | 0.97134 | -0.20185 | 4.984
28 | 0.0087843 | 0.0022014 | -0.0087793 | -0.0022001 | 4.9839e-06 | 1.3713e-06 | 0.013457 | 0.013457 | 0.013457 | 0.97134 | -0.20185 | 0.97077 | -0.20595 | 4.9841
29 | 0.0061795 | 0.0015485 | -0.0061785 | -0.0015483 | 9.535e-07 | 1.5619e-07 | 0.0094719 | 0.009472 | 0.009472 | 0.97077 | -0.20595 | 0.97062 | -0.20706 | 3.5081
30 | 0.052384 | 0.013142 | -0.052289 | -0.013106 | 9.5533e-05 | 3.6414e-05 | 0.077954 | 0.077954 | 0.077954 | 1 | 0 | 0.99812 | -0.01317 | 28.8718
31 | 0.1791 | 0.045267 | -0.1782 | -0.04492 | 0.00090384 | 0.00034657 | 0.26664 | 0.26664 | 0.26664 | 1 | 0 | 0.9948 | -0.036028 | 49.378
32 | 0.015308 | 0.0038377 | -0.015295 | -0.0038333 | 1.2865e-05 | 4.431e-06 | 0.022822 | 0.022822 | 0.022822 | 0.99812 | -0.01317 | 0.99725 | -0.019242 | 8.4526
33 | 0.011374 | 0.0028509 | -0.011366 | -0.0028484 | 7.865e-06 | 2.46e-06 | 0.017013 | 0.017013 | 0.017013 | 0.9948 | -0.036028 | 0.99409 | -0.041024 | 6.3011
34 | 0.047602 | 0.011948 | -0.047557 | -0.011931 | 4.4772e-05 | 1.7036e-05 | 0.071209 | 0.071209 | 0.071209 | 0.9948 | -0.036028 | 0.99383 | -0.042808 | 26.3737
35 | 0.11922 | 0.030121 | -0.11903 | -0.030045 | 0.00019795 | 7.5618e-05 | 0.17842 | 0.17842 | 0.17842 | 0.9948 | -0.036028 | 0.99309 | -0.047849 | 33.0407
36 | -0.0028016 | -0.00070214 | 0.0028017 | 0.00070203 | 1.6374e-07 | -1.1281e-07 | 0.0042952 | 0.0042952 | 0.0042952 | 0.97056 | -0.20749 | 0.97062 | -0.20706 | 1.5908
37 | -0.10333 | -0.026058 | 0.10343 | 0.026095 | 9.52e-05 | 3.6291e-05 | 0.15548 | 0.15548 | 0.15548 | 0.98929 | -0.074346 | 0.99023 | -0.06778 | 28.7933
38 | -0.11268 | -0.028412 | 0.11273 | 0.028434 | 5.7069e-05 | 2.1786e-05 | 0.16938 | 0.16938 | 0.16938 | 0.99023 | -0.06778 | 0.99075 | -0.064167 | 31.3668
39 | -0.11448 | -0.028873 | 0.11475 | 0.028973 | 0.00026252 | 0.00010023 | 0.17201 | 0.17201 | 0.17201 | 0.99075 | -0.064167 | 0.99309 | -0.047849 | 31.8535
40 | -0.0040576 | -0.0010169 | 0.0040576 | 0.0010169 | 4.7715e-08 | -8.1797e-09 | 0.0060932 | 0.0060932 | 0.0060932 | 0.99091 | -0.063409 | 0.99092 | -0.063324 | 2.2567
41 | -0.0054603 | -0.0013685 | 0.0054616 | 0.0013686 | 1.299e-06 | 1.0063e-07 | 0.0081994 | 0.0081993 | 0.0081994 | 0.99092 | -0.063324 | 0.99116 | -0.061606 | 3.0368
42 | -0.0071415 | -0.0017896 | 0.007144 | 0.0017901 | 2.4554e-06 | 5.0303e-07 | 0.010721 | 0.010721 | 0.010721 | 0.99116 | -0.061606 | 0.99151 | -0.059122 | 3.9709
43 | -0.026951 | -0.0067573 | 0.026989 | 0.0067717 | 3.8677e-05 | 1.4386e-05 | 0.040447 | 0.040447 | 0.040447 | 0.99151 | -0.059122 | 0.99298 | -0.048779 | 14.9805
44 | 0.019807 | 0.0049673 | -0.019786 | -0.0049596 | 2.1096e-05 | 7.6211e-06 | 0.029726 | 0.029726 | 0.029726 | 0.99151 | -0.059122 | 0.99042 | -0.066813 | 11.0097
45 | -0.043228 | -0.010841 | 0.043264 | 0.010855 | 3.5813e-05 | 1.3597e-05 | 0.064781 | 0.064781 | 0.064781 | 0.99298 | -0.048779 | 0.99383 | -0.042808 | 23.993
46 | 0.017996 | 0.0045112 | -0.017993 | -0.0045099 | 3.7002e-06 | 1.3188e-06 | 0.027038 | 0.027038 | 0.027038 | 0.99042 | -0.066813 | 0.99021 | -0.068298 | 10.014
47 | 0.0071584 | 0.001794 | -0.0071563 | -0.0017935 | 2.0972e-06 | 4.2723e-07 | 0.010715 | 0.010715 | 0.010715 | 0.99409 | -0.041024 | 0.99379 | -0.043141 | 3.9686
48 | 0.01329 | 0.0033313 | -0.013285 | -0.0033296 | 5.2538e-06 | 1.7493e-06 | 0.019972 | 0.019972 | 0.019972 | 0.99021 | -0.068298 | 0.98981 | -0.071154 | 7.3969
49 | 0.010975 | 0.0027506 | -0.010971 | -0.0027495 | 3.6456e-06 | 1.1264e-06 | 0.016499 | 0.016499 | 0.016499 | 0.98981 | -0.071154 | 0.98947 | -0.073554 | 6.1108
50 | 0.006634 | 0.0016625 | -0.0066326 | -0.0016623 | 1.3965e-06 | 2.4844e-07 | 0.0099772 | 0.0099773 | 0.0099773 | 0.98941 | -0.073979 | 0.9892 | -0.0755 | 3.6953
51 | -0.0086039 | -0.0021562 | 0.0086044 | 0.0021563 | 5.0662e-07 | 1.3258e-07 | 0.01294 | 0.01294 | 0.01294 | 0.98941 | -0.073979 | 0.98947 | -0.073554 | 4.7925
52 | 0.0047573 | 0.0011923 | -0.0047572 | -0.0011923 | 1.5393e-07 | -2.6303e-09 | 0.0071562 | 0.0071563 | 0.0071563 | 0.9892 | -0.0755 | 0.98916 | -0.075734 | 2.6505

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.23229 | 0.058409

## res_load
| p_mw | q_mvar
0 | 0.0035666 | 0.00089387
1 | 0.0011299 | 0.00028317
2 | 0.0036185 | 0.00090689
3 | 0.0009854 | 0.00024696
4 | 0.01075 | 0.0026942
5 | 0.0094232 | 0.0023617
6 | 0.0099576 | 0.0024956
7 | 0.002571 | 0.00064434
8 | 0.013463 | 0.0033741
9 | 0.013346 | 0.0033449
10 | 0.00921 | 0.0023082
11 | 0.0051662 | 0.0012948
12 | 0.0032105 | 0.00080462
13 | 0.005121 | 0.0012834
14 | 0.0025999 | 0.00065159
15 | 0.036981 | 0.0092683
16 | 0.0028016 | 0.00070214
17 | 0.0033768 | 0.0008463
18 | 0.0017313 | 0.00043391
19 | 0.009248 | 0.0023178
20 | 0.00175 | 0.00043859
21 | 0.0042789 | 0.0010724
22 | 0.0040576 | 0.0010169
23 | 0.0014026 | 0.00035153
24 | 0.0016799 | 0.00042103
25 | 0.016238 | 0.0040697
26 | 0.0017894 | 0.00044846
27 | 0.0042073 | 0.0010544
28 | 0.0042932 | 0.001076
29 | 0.0071563 | 0.0017935
30 | 0.0047023 | 0.0011785
31 | 0.0023101 | 0.00057896
32 | 0.015295 | 0.0038333
33 | 0.0019699 | 0.0004937
34 | 0.0018753 | 0.00047
35 | 0.0023668 | 0.00059318
36 | 0.0047572 | 0.0011923

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1