## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1146-7_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1146-7_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1146-7_0_3_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_1146-7_0_3_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_1146-7_0_3_node_25 | 0.4 | n |  | TRUE
5 | bus_LV_1146-7_0_3_node_24 | 0.4 | n |  | TRUE
6 | bus_LV_1146-7_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1146-7_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1146-7_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_1146-7_0_3_node_28 | 0.4 | n |  | TRUE
10 | bus_LV_1146-7_0_3_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_1146-7_0_3_node_51 | 0.4 | n |  | TRUE
12 | bus_LV_1146-7_0_3_node_30 | 0.4 | n |  | TRUE
13 | bus_LV_1146-7_0_3_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_1146-7_0_3_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_1146-7_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1146-7_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1146-7_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1146-7_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1146-7_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_1146-7_0_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_1146-7_0_3_node_47 | 0.4 | n |  | TRUE
22 | bus_LV_1146-7_0_3_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_1146-7_0_3_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_1146-7_0_3_node_50 | 0.4 | n |  | TRUE
25 | bus_LV_1146-7_0_3_node_46 | 0.4 | n |  | TRUE
26 | bus_LV_1146-7_0_3_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_1146-7_0_3_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_1146-7_0_3_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_1146-7_0_3_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_1146-7_0_3_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_1146-7_0_3_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_1146-7_0_3_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_1146-7_0_3_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_1146-7_0_3_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_1146-7_0_3_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_1146-7_0_3_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_1146-7_0_3_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_1146-7_0_3_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_1146-7_0_3_node_48 | 0.4 | n |  | TRUE
40 | bus_LV_1146-7_0_3_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_1146-7_0_3_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_1146-7_0_3_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_1146-7_0_3_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_1146-7_0_3_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_1146-7_0_3_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_1146-7_0_3_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_1146-7_0_3_node_45 | 0.4 | n |  | TRUE
48 | bus_MV_131_0_node_92 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1146-7_0_3_load_0 | 0 | 0.00044835 | 0.00011237 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1146-7_0_3_load_4 | 2 | 0.0015499 | 0.00038845 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1146-7_0_3_load_25 | 4 | 0.0018758 | 0.00047013 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1146-7_0_3_load_24 | 5 | 0.0019576 | 0.00049061 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1146-7_0_3_load_5 | 6 | 0.00077688 | 0.0001947 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1146-7_0_3_load_6 | 7 | 0.0017787 | 0.00044578 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1146-7_0_3_load_51 | 11 | 0.0026406 | 0.00066179 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1146-7_0_3_load_16 | 13 | 0.035198 | 0.0088213 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1146-7_0_3_load_26 | 14 | 0.00027777 | 6.9615e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1146-7_0_3_load_9 | 15 | 0.0030583 | 0.00076649 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1146-7_0_3_load_14 | 20 | 0.003994 | 0.001001 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1146-7_0_3_load_47 | 21 | 0.016216 | 0.0040641 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1146-7_0_3_load_33 | 22 | 0.0014022 | 0.00035143 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1146-7_0_3_load_31 | 23 | 0.001577 | 0.00039522 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1146-7_0_3_load_50 | 24 | 0.04481 | 0.011231 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1146-7_0_3_load_46 | 25 | 0.0019319 | 0.00048417 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1146-7_0_3_load_35 | 26 | 0.0029923 | 0.00074994 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1146-7_0_3_load_15 | 27 | 0.017916 | 0.0044901 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1146-7_0_3_load_19 | 29 | 0.005965 | 0.001495 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1146-7_0_3_load_20 | 30 | 0.004852 | 0.001216 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1146-7_0_3_load_22 | 32 | 0.030064 | 0.0075347 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1146-7_0_3_load_23 | 33 | 0.022031 | 0.0055215 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1146-7_0_3_load_39 | 35 | 0.002211 | 0.00055412 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1146-7_0_3_load_27 | 37 | 0.0013244 | 0.00033192 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1146-7_0_3_load_29 | 38 | 0.0026503 | 0.00066422 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1146-7_0_3_load_48 | 39 | 0.0026519 | 0.00066462 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1146-7_0_3_load_49 | 40 | 0.0026505 | 0.00066427 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1146-7_0_3_load_34 | 41 | 0.0029409 | 0.00073706 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1146-7_0_3_load_36 | 42 | 0.0064063 | 0.0016056 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1146-7_0_3_load_41 | 43 | 0.0021342 | 0.00053488 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1146-7_0_3_load_42 | 44 | 0.0028197 | 0.00070669 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1146-7_0_3_load_43 | 45 | 0.0026146 | 0.00065528 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1146-7_0_3_load_44 | 46 | 0.0030608 | 0.00076712 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1146-7_0_3_load_45 | 47 | 0.0027507 | 0.0006894 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 27 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1146-7_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0024436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1146-7_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.016318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1146-7_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.025424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1146-7_0_3_line_3 | NAYY 4x150 SE | 3 | 6 | 0.0070112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1146-7_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.027616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1146-7_0_3_line_5 | NAYY 4x150 SE | 5 | 33 | 0.00013934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1146-7_0_3_line_6 | NAYY 4x150 SE | 6 | 7 | 0.016284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1146-7_0_3_line_7 | NAYY 4x150 SE | 7 | 8 | 0.017699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1146-7_0_3_line_8 | NAYY 4x150 SE | 8 | 9 | 0.0070373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1146-7_0_3_line_9 | NAYY 4x150 SE | 9 | 14 | 0.015559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1146-7_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.073165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1146-7_0_3_line_11 | NAYY 4x150 SE | 10 | 11 | 0.017816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1146-7_0_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.048358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1146-7_0_3_line_13 | NAYY 4x150 SE | 10 | 13 | 0.016132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1146-7_0_3_line_14 | NAYY 4x150 SE | 12 | 24 | 0.022288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_1146-7_0_3_line_15 | NAYY 4x150 SE | 12 | 18 | 0.004534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1146-7_0_3_line_16 | NAYY 4x150 SE | 14 | 37 | 0.0066831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1146-7_0_3_line_17 | NAYY 4x150 SE | 15 | 16 | 0.010026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1146-7_0_3_line_18 | NAYY 4x150 SE | 15 | 17 | 0.016248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1146-7_0_3_line_19 | NAYY 4x150 SE | 16 | 18 | 0.02237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1146-7_0_3_line_20 | NAYY 4x150 SE | 17 | 19 | 0.0081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1146-7_0_3_line_21 | NAYY 4x150 SE | 17 | 20 | 0.032794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1146-7_0_3_line_22 | NAYY 4x150 SE | 18 | 21 | 0.028729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1146-7_0_3_line_23 | NAYY 4x150 SE | 19 | 22 | 0.0047941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1146-7_0_3_line_24 | NAYY 4x150 SE | 19 | 23 | 0.056672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1146-7_0_3_line_25 | NAYY 4x150 SE | 21 | 25 | 0.028622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1146-7_0_3_line_26 | NAYY 4x150 SE | 22 | 26 | 0.025897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1146-7_0_3_line_27 | NAYY 4x150 SE | 24 | 31 | 0.026611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_1146-7_0_3_line_28 | NAYY 4x150 SE | 25 | 36 | 0.063787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1146-7_0_3_line_29 | NAYY 4x150 SE | 26 | 41 | 0.0083252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1146-7_0_3_line_30 | NAYY 4x150 SE | 27 | 28 | 0.02927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
31 | LV_1146-7_0_3_line_31 | NAYY 4x150 SE | 28 | 29 | 0.013071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1146-7_0_3_line_32 | NAYY 4x150 SE | 28 | 30 | 0.032644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1146-7_0_3_line_33 | NAYY 4x150 SE | 28 | 31 | 0.004236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_1146-7_0_3_line_34 | NAYY 4x150 SE | 29 | 32 | 0.013172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1146-7_0_3_line_35 | NAYY 4x150 SE | 32 | 33 | 0.014566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1146-7_0_3_line_36 | NAYY 4x150 SE | 34 | 35 | 0.092918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1146-7_0_3_line_37 | NAYY 4x150 SE | 34 | 36 | 0.084936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1146-7_0_3_line_38 | NAYY 4x150 SE | 35 | 43 | 0.0084298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1146-7_0_3_line_39 | NAYY 4x150 SE | 37 | 38 | 0.030595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1146-7_0_3_line_40 | NAYY 4x150 SE | 38 | 39 | 0.03093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1146-7_0_3_line_41 | NAYY 4x150 SE | 39 | 40 | 0.030664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1146-7_0_3_line_42 | NAYY 4x150 SE | 41 | 42 | 0.01314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1146-7_0_3_line_43 | NAYY 4x150 SE | 43 | 44 | 0.016702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1146-7_0_3_line_44 | NAYY 4x150 SE | 44 | 45 | 0.0060075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1146-7_0_3_line_45 | NAYY 4x150 SE | 45 | 46 | 0.015257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1146-7_0_3_line_46 | NAYY 4x150 SE | 46 | 47 | 0.0067826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1146-7_0_3_trafo_15 | 0.25 MVA 20/0.4 kV | 48 | 27 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2644469.5909 | 1226372.2996 | 2644471.8669 | 1226373.189
1 | 2644469.5909 | 1226372.2996 | 2644466.0088 | 1226388.2194
2 | 2644464.8166 | 1226412.7888 | 2644462.206 | 1226405.1202 | 2644466.0088 | 1226388.2194
3 | 2644464.8166 | 1226412.7888 | 2644459.7586 | 1226414.1519 | 2644458.1932 | 1226414.9838
4 | 2644388.5867 | 1226310.1963 | 2644416.187 | 1226311.1395
5 | 2644388.5867 | 1226310.1963 | 2644388.4474 | 1226310.1915
6 | 2644458.1932 | 1226414.9838 | 2644454.8276 | 1226416.7722 | 2644449.5088 | 1226421.5911 | 2644446.0758 | 1226425.6229
7 | 2644435.3145 | 1226439.6295 | 2644439.0486 | 1226433.8761 | 2644446.0758 | 1226425.6229
8 | 2644429.9785 | 1226439.6564 | 2644433.9266 | 1226441.7761 | 2644435.3145 | 1226439.6295
9 | 2644429.9785 | 1226439.6564 | 2644426.0761 | 1226446.6427 | 2644419.9418 | 1226451.0552
10 | 2644372.8197 | 1226398.416 | 2644371.4542 | 1226399.5955 | 2644390.9752 | 1226417.3296 | 2644400.4845 | 1226423.7934 | 2644429.9785 | 1226439.6564
11 | 2644388.6636 | 1226394.9542 | 2644378.7012 | 1226393.3456 | 2644372.8197 | 1226398.416
12 | 2644342.3163 | 1226363.3673 | 2644349.528 | 1226374.0498 | 2644371.4542 | 1226399.5955 | 2644372.8197 | 1226398.416
13 | 2644372.8197 | 1226398.416 | 2644362.5481 | 1226385.977
14 | 2644342.3163 | 1226363.3673 | 2644340.43 | 1226351.0235 | 2644341.9785 | 1226341.3458
15 | 2644340.4739 | 1226367.5117 | 2644342.3163 | 1226363.3673
16 | 2644413.2854 | 1226451.2429 | 2644414.4516 | 1226451.4256 | 2644419.9418 | 1226451.0552
17 | 2644331.3779 | 1226387.9566 | 2644329.4931 | 1226397.8041
18 | 2644321.5208 | 1226411.8979 | 2644324.1385 | 1226408.4708 | 2644329.4931 | 1226397.8041
19 | 2644331.3779 | 1226387.9566 | 2644340.4739 | 1226367.5117
20 | 2644321.5208 | 1226411.8979 | 2644316.2 | 1226418.0176
21 | 2644352.7855 | 1226422.0813 | 2644321.5208 | 1226411.8979
22 | 2644340.4739 | 1226367.5117 | 2644312.4051 | 1226361.3892
23 | 2644316.2 | 1226418.0176 | 2644311.4959 | 1226418.9419
24 | 2644316.2 | 1226418.0176 | 2644308.274 | 1226426.9197 | 2644271.8965 | 1226452.9873
25 | 2644284.4402 | 1226355.2894 | 2644312.4051 | 1226361.3892
26 | 2644285.7147 | 1226418.7405 | 2644306.9321 | 1226419.8387 | 2644311.4959 | 1226418.9419
27 | 2644344.3524 | 1226314.8972 | 2644343.9517 | 1226329.014 | 2644341.9785 | 1226341.3458
28 | 2644260.8742 | 1226316.6884 | 2644255.2016 | 1226340.5609 | 2644254.0877 | 1226348.6687 | 2644284.4402 | 1226355.2894
29 | 2644277.4006 | 1226418.3101 | 2644285.7147 | 1226418.7405
30 | 2644348.2308 | 1226313.1694 | 2644349.9702 | 1226320.8093 | 2644345.4118 | 1226341.7532
31 | 2644348.2308 | 1226313.1694 | 2644353.6835 | 1226310.7308 | 2644360.7502 | 1226310.0656
32 | 2644348.2308 | 1226313.1694 | 2644344.5854 | 1226306.0046 | 2644340.5384 | 1226302.8948 | 2644335.1189 | 1226300.8865 | 2644327.1705 | 1226299.5376 | 2644321.5199 | 1226299.2219
33 | 2644344.3524 | 1226314.8972 | 2644348.2308 | 1226313.1694
34 | 2644360.7502 | 1226310.0656 | 2644367.1465 | 1226309.4636 | 2644373.89 | 1226309.6941
35 | 2644373.89 | 1226309.6941 | 2644388.4474 | 1226310.1915
36 | 2644223.2797 | 1226256.55 | 2644226.137 | 1226254.5367 | 2644230.5948 | 1226252.3573 | 2644255.6209 | 1226250.5199 | 2644267.6401 | 1226250.7872 | 2644314.6577 | 1226256.3418
37 | 2644223.2797 | 1226256.55 | 2644221.1387 | 1226258.0573 | 2644246.2396 | 1226279.8015 | 2644244.5602 | 1226288.5388 | 2644243.9729 | 1226291.0805 | 2644253.6064 | 1226300.2577 | 2644248.2928 | 1226305.3991 | 2644260.8742 | 1226316.6884
38 | 2644323.0293 | 1226257.3308 | 2644314.6577 | 1226256.3418
39 | 2644383.0593 | 1226446.5073 | 2644413.2854 | 1226451.2429
40 | 2644383.0593 | 1226446.5073 | 2644352.5018 | 1226441.7197
41 | 2644352.5018 | 1226441.7197 | 2644322.2073 | 1226436.9734
42 | 2644277.4006 | 1226418.3101 | 2644264.2785 | 1226417.6309
43 | 2644323.0293 | 1226257.3308 | 2644339.616 | 1226259.2904
44 | 2644345.582 | 1226259.9952 | 2644339.616 | 1226259.2904
45 | 2644345.582 | 1226259.9952 | 2644360.734 | 1226261.7853
46 | 2644367.4698 | 1226262.581 | 2644360.734 | 1226261.7853

## bus_geodata
| x | y | coords
0 | 2644471.8669 | 1226373.189
1 | 2644469.5909 | 1226372.2996
2 | 2644466.0088 | 1226388.2194
3 | 2644464.8166 | 1226412.7888
4 | 2644416.1869 | 1226311.1395
5 | 2644388.5867 | 1226310.1963
6 | 2644458.1932 | 1226414.9838
7 | 2644446.0758 | 1226425.6229
8 | 2644435.3145 | 1226439.6295
9 | 2644429.9785 | 1226439.6564
10 | 2644372.8197 | 1226398.416
11 | 2644388.6636 | 1226394.9542
12 | 2644342.3163 | 1226363.3673
13 | 2644362.5481 | 1226385.977
14 | 2644419.9418 | 1226451.0552
15 | 2644329.4931 | 1226397.8041
16 | 2644331.3779 | 1226387.9566
17 | 2644321.5208 | 1226411.8979
18 | 2644340.4739 | 1226367.5117
19 | 2644316.2 | 1226418.0176
20 | 2644352.7855 | 1226422.0813
21 | 2644312.4051 | 1226361.3892
22 | 2644311.4959 | 1226418.9419
23 | 2644271.8965 | 1226452.9873
24 | 2644341.9785 | 1226341.3458
25 | 2644284.4402 | 1226355.2894
26 | 2644285.7147 | 1226418.7405
27 | 2644345.4118 | 1226341.7532
28 | 2644348.2308 | 1226313.1694
29 | 2644360.7502 | 1226310.0656
30 | 2644321.5199 | 1226299.2219
31 | 2644344.3524 | 1226314.8972
32 | 2644373.89 | 1226309.6941
33 | 2644388.4474 | 1226310.1915
34 | 2644223.2797 | 1226256.55
35 | 2644314.6577 | 1226256.3418
36 | 2644260.8742 | 1226316.6884
37 | 2644413.2854 | 1226451.2429
38 | 2644383.0593 | 1226446.5073
39 | 2644352.5018 | 1226441.7197
40 | 2644322.2073 | 1226436.9734
41 | 2644277.4006 | 1226418.3101
42 | 2644264.2785 | 1226417.6309
43 | 2644323.0293 | 1226257.3308
44 | 2644339.616 | 1226259.2904
45 | 2644345.582 | 1226259.9952
46 | 2644360.734 | 1226261.7853
47 | 2644367.4698 | 1226262.581
48 | 2644348.2308 | 1226313.1694

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98747 | -0.087938 | 0.00044835 | 0.00011237
1 | 0.98748 | -0.087926 | 0 | 0
2 | 0.98749 | -0.087851 | 0.0015499 | 0.00038845
3 | 0.98756 | -0.087331 | 0 | 0
4 | 0.99409 | -0.041351 | 0.0018758 | 0.00047013
5 | 0.99416 | -0.040828 | 0.0019576 | 0.00049061
6 | 0.98758 | -0.087187 | 0.00077688 | 0.0001947
7 | 0.98765 | -0.086724 | 0.0017787 | 0.00044578
8 | 0.98776 | -0.085898 | 0 | 0
9 | 0.98781 | -0.085569 | 0 | 0
10 | 0.9893 | -0.07501 | 0 | 0
11 | 0.98923 | -0.07549 | 0.0026406 | 0.00066179
12 | 0.99292 | -0.049471 | 0 | 0
13 | 0.98848 | -0.080805 | 0.035198 | 0.0088213
14 | 0.98759 | -0.087092 | 0.00027777 | 6.9615e-05
15 | 0.99151 | -0.059405 | 0.0030583 | 0.00076649
16 | 0.99184 | -0.057127 | 0 | 0
17 | 0.99106 | -0.062595 | 0 | 0
18 | 0.99256 | -0.05205 | 0 | 0
19 | 0.99088 | -0.063857 | 0 | 0
20 | 0.99087 | -0.063926 | 0.003994 | 0.001001
21 | 0.99116 | -0.061892 | 0.016216 | 0.0040641
22 | 0.99079 | -0.064526 | 0.0014022 | 0.00035143
23 | 0.99075 | -0.064767 | 0.001577 | 0.00039522
24 | 0.99466 | -0.037292 | 0.04481 | 0.011231
25 | 0.99043 | -0.067 | 0.0019319 | 0.00048417
26 | 0.99033 | -0.067778 | 0.0029923 | 0.00074994
27 | 1 | 0 | -0.22219 | -0.055709
28 | 0.99692 | -0.021462 | 0 | 0
29 | 0.99576 | -0.029596 | 0.005965 | 0.001495
30 | 0.99669 | -0.023053 | 0.004852 | 0.001216
31 | 0.99661 | -0.023631 | 0 | 0
32 | 0.99471 | -0.03702 | 0.030064 | 0.0075347
33 | 0.99416 | -0.040822 | 0.022031 | 0.0055215
34 | 0.98707 | -0.090703 | 0 | 0
35 | 0.98498 | -0.10558 | 0.002211 | 0.00055412
36 | 0.98899 | -0.077149 | 0 | 0
37 | 0.9875 | -0.087727 | 0.0013244 | 0.00033192
38 | 0.98715 | -0.09022 | 0.0026503 | 0.00066422
39 | 0.98692 | -0.091902 | 0.0026519 | 0.00066462
40 | 0.9868 | -0.092735 | 0.0026505 | 0.00066427
41 | 0.99022 | -0.06857 | 0.0029409 | 0.00073706
42 | 0.99009 | -0.069427 | 0.0064063 | 0.0016056
43 | 0.98481 | -0.10674 | 0.0021342 | 0.00053488
44 | 0.98454 | -0.10868 | 0.0028197 | 0.00070669
45 | 0.98447 | -0.1092 | 0.0026146 | 0.00065528
46 | 0.98434 | -0.11011 | 0.0030608 | 0.00076712
47 | 0.98431 | -0.11031 | 0.0027507 | 0.0006894
48 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00044835 | -0.00011237 | 0.00044835 | 0.00011234 | 6.9607e-10 | -3.0993e-08 | 0.00067562 | 0.00067561 | 0.00067562 | 0.98747 | -0.087938 | 0.98748 | -0.087926 | 0.25023
1 | -0.00044835 | -0.00011234 | 0.00044836 | 0.00011213 | 4.6472e-09 | -2.0697e-07 | 0.00067561 | 0.00067553 | 0.00067561 | 0.98748 | -0.087926 | 0.98749 | -0.087851 | 0.25023
2 | -0.0019983 | -0.00050058 | 0.0019984 | 0.00050031 | 1.4383e-07 | -2.6996e-07 | 0.0030111 | 0.003011 | 0.0030111 | 0.98749 | -0.087851 | 0.98756 | -0.087331 | 1.1152
3 | -0.0019984 | -0.00050031 | 0.0019985 | 0.00050023 | 3.9663e-08 | -7.4455e-08 | 0.003011 | 0.0030109 | 0.003011 | 0.98756 | -0.087331 | 0.98758 | -0.087187 | 1.1152
4 | -0.0018758 | -0.00047013 | 0.001876 | 0.00046982 | 1.3586e-07 | -3.0581e-07 | 0.0028078 | 0.0028077 | 0.0028078 | 0.99409 | -0.041351 | 0.99416 | -0.040828 | 1.0399
5 | -0.0038335 | -0.00096043 | 0.0038335 | 0.00096043 | 2.8629e-09 | -7.0587e-10 | 0.0057377 | 0.0057377 | 0.0057377 | 0.99416 | -0.040828 | 0.99416 | -0.040822 | 2.1251
6 | -0.0027753 | -0.00069494 | 0.0027755 | 0.0006948 | 1.7766e-07 | -1.4004e-07 | 0.0041815 | 0.0041814 | 0.0041815 | 0.98758 | -0.087187 | 0.98765 | -0.086724 | 1.5487
7 | -0.0045542 | -0.0011406 | 0.0045547 | 0.0011405 | 5.199e-07 | -2.6558e-08 | 0.0068612 | 0.0068611 | 0.0068612 | 0.98765 | -0.086724 | 0.98776 | -0.085898 | 2.5412
8 | -0.0045547 | -0.0011405 | 0.0045549 | 0.0011405 | 2.0672e-07 | -1.0576e-08 | 0.0068611 | 0.0068611 | 0.0068611 | 0.98776 | -0.085898 | 0.98781 | -0.085569 | 2.5412
9 | 0.0095619 | 0.0023959 | -0.0095598 | -0.0023953 | 2.0142e-06 | 5.7557e-07 | 0.014404 | 0.014404 | 0.014404 | 0.98781 | -0.085569 | 0.98759 | -0.087092 | 5.3347
10 | -0.014117 | -0.0035365 | 0.014137 | 0.0035435 | 2.0644e-05 | 7.0021e-06 | 0.021265 | 0.021264 | 0.021265 | 0.98781 | -0.085569 | 0.9893 | -0.07501 | 7.8758
11 | 0.0026408 | 0.00066163 | -0.0026406 | -0.00066179 | 1.7539e-07 | -1.6128e-07 | 0.0039719 | 0.003972 | 0.003972 | 0.9893 | -0.07501 | 0.98923 | -0.07549 | 1.4711
12 | -0.052004 | -0.013037 | 0.052189 | 0.013107 | 0.00018463 | 7.0389e-05 | 0.078221 | 0.078221 | 0.078221 | 0.9893 | -0.07501 | 0.99292 | -0.049471 | 28.9708
13 | 0.035226 | 0.008832 | -0.035198 | -0.0088213 | 2.826e-05 | 1.0662e-05 | 0.052985 | 0.052985 | 0.052985 | 0.9893 | -0.07501 | 0.98848 | -0.080805 | 19.624
14 | -0.10851 | -0.027245 | 0.1087 | 0.027315 | 0.00018393 | 7.0165e-05 | 0.16264 | 0.16263 | 0.16264 | 0.99292 | -0.049471 | 0.99466 | -0.037292 | 30.1176
15 | 0.056323 | 0.014137 | -0.056303 | -0.01413 | 2.016e-05 | 7.6953e-06 | 0.084414 | 0.084414 | 0.084414 | 0.99292 | -0.049471 | 0.99256 | -0.05205 | 31.2645
16 | 0.0092821 | 0.0023257 | -0.0092813 | -0.0023255 | 8.1564e-07 | 2.282e-07 | 0.013985 | 0.013985 | 0.013985 | 0.98759 | -0.087092 | 0.9875 | -0.087727 | 5.1797
17 | -0.022392 | -0.0056126 | 0.022399 | 0.0056152 | 7.0653e-06 | 2.5881e-06 | 0.033605 | 0.033605 | 0.033605 | 0.99151 | -0.059405 | 0.99184 | -0.057127 | 12.4462
18 | 0.019334 | 0.0048461 | -0.019325 | -0.004843 | 8.5354e-06 | 3.0734e-06 | 0.029015 | 0.029015 | 0.029015 | 0.99151 | -0.059405 | 0.99106 | -0.062595 | 10.7463
19 | -0.022399 | -0.0056152 | 0.022415 | 0.0056209 | 1.5763e-05 | 5.774e-06 | 0.033605 | 0.033605 | 0.033605 | 0.99184 | -0.057127 | 0.99256 | -0.05205 | 12.4462
20 | 0.01533 | 0.0038421 | -0.015328 | -0.0038412 | 2.6778e-06 | 9.2557e-07 | 0.023017 | 0.023017 | 0.023017 | 0.99106 | -0.062595 | 0.99088 | -0.063857 | 8.525
21 | 0.0039948 | 0.0010009 | -0.003994 | -0.001001 | 7.3616e-07 | -1.3936e-07 | 0.0059978 | 0.0059979 | 0.0059979 | 0.99106 | -0.062595 | 0.99087 | -0.063926 | 2.2215
22 | 0.033888 | 0.0085086 | -0.033842 | -0.0084911 | 4.628e-05 | 1.7429e-05 | 0.050809 | 0.05081 | 0.05081 | 0.99256 | -0.05205 | 0.99116 | -0.061892 | 18.8184
23 | 0.01375 | 0.0034466 | -0.013749 | -0.0034462 | 1.2755e-06 | 4.2885e-07 | 0.020649 | 0.020649 | 0.020649 | 0.99088 | -0.063857 | 0.99079 | -0.064526 | 7.6479
24 | 0.0015772 | 0.00039457 | -0.001577 | -0.00039522 | 1.9835e-07 | -6.5362e-07 | 0.0023682 | 0.0023684 | 0.0023684 | 0.99088 | -0.063857 | 0.99075 | -0.064767 | 0.8772
25 | 0.017626 | 0.0044271 | -0.017613 | -0.0044226 | 1.2509e-05 | 4.4426e-06 | 0.026465 | 0.026465 | 0.026465 | 0.99116 | -0.061892 | 0.99043 | -0.067 | 9.8018
26 | 0.012347 | 0.0030948 | -0.012341 | -0.003093 | 5.5566e-06 | 1.8038e-06 | 0.018543 | 0.018543 | 0.018543 | 0.99079 | -0.064526 | 0.99033 | -0.067778 | 6.8679
27 | -0.15351 | -0.038545 | 0.1538 | 0.038657 | 0.00029197 | 0.00011126 | 0.22967 | 0.22967 | 0.22967 | 0.99466 | -0.037292 | 0.99661 | -0.023631 | 28.3545
28 | 0.015681 | 0.0039384 | -0.015659 | -0.0039308 | 2.2099e-05 | 7.6798e-06 | 0.023562 | 0.023563 | 0.023563 | 0.99043 | -0.067 | 0.98899 | -0.077149 | 8.727
29 | 0.009349 | 0.002343 | -0.009348 | -0.0023428 | 1.0251e-06 | 2.8717e-07 | 0.014047 | 0.014047 | 0.014047 | 0.99033 | -0.067778 | 0.99022 | -0.06857 | 5.2027
30 | 0.22139 | 0.055709 | -0.22073 | -0.055456 | 0.00066104 | 0.0002531 | 0.32951 | 0.32951 | 0.32951 | 1 | 0 | 0.99692 | -0.021462 | 40.6807
31 | 0.062034 | 0.015565 | -0.061964 | -0.015539 | 6.9939e-05 | 2.6729e-05 | 0.0926 | 0.0926 | 0.0926 | 0.99692 | -0.021462 | 0.99576 | -0.029596 | 34.2961
32 | 0.0048531 | 0.001216 | -0.004852 | -0.001216 | 1.0688e-06 | -1.4446e-08 | 0.0072436 | 0.0072438 | 0.0072438 | 0.99692 | -0.021462 | 0.99669 | -0.023053 | 2.6829
33 | 0.15384 | 0.038674 | -0.1538 | -0.038657 | 4.6476e-05 | 1.771e-05 | 0.22967 | 0.22967 | 0.22967 | 0.99692 | -0.021462 | 0.99661 | -0.023631 | 28.3544
34 | 0.055999 | 0.014044 | -0.055942 | -0.014022 | 5.7562e-05 | 2.1968e-05 | 0.083686 | 0.083686 | 0.083686 | 0.99576 | -0.029596 | 0.99471 | -0.03702 | 30.9948
35 | 0.025878 | 0.0064869 | -0.025864 | -0.0064819 | 1.3621e-05 | 5.05e-06 | 0.038712 | 0.038712 | 0.038712 | 0.99471 | -0.03702 | 0.99416 | -0.040822 | 14.3379
36 | 0.01563 | 0.0039205 | -0.015598 | -0.0039093 | 3.2193e-05 | 1.1197e-05 | 0.023563 | 0.023564 | 0.023564 | 0.98707 | -0.090703 | 0.98498 | -0.10558 | 8.7273
37 | -0.01563 | -0.0039205 | 0.015659 | 0.0039308 | 2.9426e-05 | 1.023e-05 | 0.023563 | 0.023563 | 0.023563 | 0.98707 | -0.090703 | 0.98899 | -0.077149 | 8.7271
38 | 0.013387 | 0.0033552 | -0.013385 | -0.0033545 | 2.1513e-06 | 7.2016e-07 | 0.020223 | 0.020223 | 0.020223 | 0.98498 | -0.10558 | 0.98481 | -0.10674 | 7.4902
39 | 0.0079569 | 0.0019936 | -0.0079541 | -0.0019929 | 2.7444e-06 | 6.6426e-07 | 0.01199 | 0.01199 | 0.01199 | 0.9875 | -0.087727 | 0.98715 | -0.09022 | 4.4406
40 | 0.0053039 | 0.0013287 | -0.0053026 | -0.0013286 | 1.2336e-06 | 7.9147e-08 | 0.0079948 | 0.0079949 | 0.0079949 | 0.98715 | -0.09022 | 0.98692 | -0.091902 | 2.9611
41 | 0.0026508 | 0.00066399 | -0.0026505 | -0.00066427 | 3.0563e-07 | -2.7423e-07 | 0.0039966 | 0.0039967 | 0.0039967 | 0.98692 | -0.091902 | 0.9868 | -0.092735 | 1.4803
42 | 0.0064071 | 0.0016057 | -0.0064063 | -0.0016056 | 7.6005e-07 | 1.2332e-07 | 0.009628 | 0.009628 | 0.009628 | 0.99022 | -0.06857 | 0.99009 | -0.069427 | 3.5659
43 | 0.01125 | 0.0028196 | -0.011247 | -0.0028187 | 3.0116e-06 | 9.4584e-07 | 0.016999 | 0.016999 | 0.016999 | 0.98481 | -0.10674 | 0.98454 | -0.10868 | 6.2959
44 | 0.0084276 | 0.002112 | -0.0084269 | -0.0021118 | 6.0817e-07 | 1.5752e-07 | 0.012737 | 0.012737 | 0.012737 | 0.98454 | -0.10868 | 0.98447 | -0.1092 | 4.7175
45 | 0.0058124 | 0.0014565 | -0.0058116 | -0.0014565 | 7.3482e-07 | 8.865e-08 | 0.0087853 | 0.0087853 | 0.0087853 | 0.98447 | -0.1092 | 0.98434 | -0.11011 | 3.2538
46 | 0.0027508 | 0.00068934 | -0.0027507 | -0.0006894 | 7.3185e-08 | -5.8068e-08 | 0.0041583 | 0.0041584 | 0.0041584 | 0.98434 | -0.11011 | 0.98431 | -0.11031 | 1.5401

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.24011 | 0.060199

## res_load
| p_mw | q_mvar
0 | 0.00044835 | 0.00011237
1 | 0.0015499 | 0.00038845
2 | 0.0018758 | 0.00047013
3 | 0.0019576 | 0.00049061
4 | 0.00077688 | 0.0001947
5 | 0.0017787 | 0.00044578
6 | 0.0026406 | 0.00066179
7 | 0.035198 | 0.0088213
8 | 0.00027777 | 6.9615e-05
9 | 0.0030583 | 0.00076649
10 | 0.003994 | 0.001001
11 | 0.016216 | 0.0040641
12 | 0.0014022 | 0.00035143
13 | 0.001577 | 0.00039522
14 | 0.04481 | 0.011231
15 | 0.0019319 | 0.00048417
16 | 0.0029923 | 0.00074994
17 | 0.017916 | 0.0044901
18 | 0.005965 | 0.001495
19 | 0.004852 | 0.001216
20 | 0.030064 | 0.0075347
21 | 0.022031 | 0.0055215
22 | 0.002211 | 0.00055412
23 | 0.0013244 | 0.00033192
24 | 0.0026503 | 0.00066422
25 | 0.0026519 | 0.00066462
26 | 0.0026505 | 0.00066427
27 | 0.0029409 | 0.00073706
28 | 0.0064063 | 0.0016056
29 | 0.0021342 | 0.00053488
30 | 0.0028197 | 0.00070669
31 | 0.0026146 | 0.00065528
32 | 0.0030608 | 0.00076712
33 | 0.0027507 | 0.0006894

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1