## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1151-11_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1151-11_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1151-11_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1151-11_0_3_node_35 | 0.4 | n |  | TRUE
4 | bus_LV_1151-11_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1151-11_0_3_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_1151-11_0_3_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_1151-11_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1151-11_0_3_node_39 | 0.4 | n |  | TRUE
9 | bus_LV_1151-11_0_3_node_36 | 0.4 | n |  | TRUE
10 | bus_LV_1151-11_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1151-11_0_3_node_41 | 0.4 | n |  | TRUE
12 | bus_LV_1151-11_0_3_node_40 | 0.4 | n |  | TRUE
13 | bus_LV_1151-11_0_3_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_1151-11_0_3_node_30 | 0.4 | n |  | TRUE
15 | bus_LV_1151-11_0_3_node_31 | 0.4 | n |  | TRUE
16 | bus_LV_1151-11_0_3_node_45 | 0.4 | n |  | TRUE
17 | bus_LV_1151-11_0_3_node_44 | 0.4 | n |  | TRUE
18 | bus_LV_1151-11_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1151-11_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_1151-11_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_1151-11_0_3_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_1151-11_0_3_node_34 | 0.4 | n |  | TRUE
23 | bus_LV_1151-11_0_3_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_1151-11_0_3_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_1151-11_0_3_node_33 | 0.4 | n |  | TRUE
26 | bus_LV_1151-11_0_3_node_37 | 0.4 | n |  | TRUE
27 | bus_LV_1151-11_0_3_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_1151-11_0_3_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_1151-11_0_3_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_1151-11_0_3_node_42 | 0.4 | n |  | TRUE
31 | bus_LV_1151-11_0_3_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_1151-11_0_3_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_1151-11_0_3_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_1151-11_0_3_node_38 | 0.4 | n |  | TRUE
35 | bus_LV_1151-11_0_3_node_46 | 0.4 | n |  | TRUE
36 | bus_LV_1151-11_0_3_node_43 | 0.4 | n |  | TRUE
37 | bus_LV_1151-11_0_3_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_1151-11_0_3_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_1151-11_0_3_node_28 | 0.4 | n |  | TRUE
40 | bus_MV_128_0_node_277 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1151-11_0_3_load_0 | 0 | 0.036851 | 0.0092357 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1151-11_0_3_load_3 | 2 | 0.00085148 | 0.0002134 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1151-11_0_3_load_35 | 3 | 0.00048772 | 0.00012223 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1151-11_0_3_load_13 | 5 | 0.00096591 | 0.00024208 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1151-11_0_3_load_10 | 6 | 0.0094736 | 0.0023743 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1151-11_0_3_load_39 | 8 | 0.0059205 | 0.0014838 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1151-11_0_3_load_36 | 9 | 0.010311 | 0.0025842 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1151-11_0_3_load_41 | 11 | 0.011844 | 0.0029683 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1151-11_0_3_load_40 | 12 | 0.0055706 | 0.0013961 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1151-11_0_3_load_11 | 13 | 0.0078971 | 0.0019792 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1151-11_0_3_load_30 | 14 | 0.0094429 | 0.0023666 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1151-11_0_3_load_31 | 15 | 0.0040253 | 0.0010088 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1151-11_0_3_load_45 | 16 | 0.0087917 | 0.0022034 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1151-11_0_3_load_44 | 17 | 0.0073428 | 0.0018403 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1151-11_0_3_load_12 | 18 | 0.0047445 | 0.0011891 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1151-11_0_3_load_14 | 19 | 0.00059292 | 0.0001486 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1151-11_0_3_load_15 | 20 | 0.00078281 | 0.00019619 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1151-11_0_3_load_34 | 22 | 0.0010242 | 0.00025668 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1151-11_0_3_load_32 | 23 | 0.00095629 | 0.00023967 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1151-11_0_3_load_33 | 25 | 0.0014269 | 0.0003576 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1151-11_0_3_load_37 | 26 | 0.0012828 | 0.00032149 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1151-11_0_3_load_42 | 30 | 0.020262 | 0.0050781 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1151-11_0_3_load_38 | 34 | 0.0085207 | 0.0021355 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1151-11_0_3_load_46 | 35 | 0.0075957 | 0.0019037 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1151-11_0_3_load_43 | 36 | 0.003469 | 0.00086941 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1151-11_0_3_load_29 | 37 | 0.017739 | 0.0044458 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1151-11_0_3_load_26 | 38 | 0.010413 | 0.0026097 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1151-11_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1151-11_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.003981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1151-11_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.00095657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1151-11_0_3_line_3 | NAYY 4x150 SE | 3 | 5 | 0.0086425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1151-11_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.0058935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1151-11_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0033927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1151-11_0_3_line_6 | NAYY 4x150 SE | 6 | 13 | 0.0098895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1151-11_0_3_line_7 | NAYY 4x150 SE | 7 | 8 | 0.01391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_1151-11_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.0072537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1151-11_0_3_line_9 | NAYY 4x150 SE | 8 | 11 | 0.0095436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1151-11_0_3_line_10 | NAYY 4x150 SE | 8 | 14 | 0.0051317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1151-11_0_3_line_11 | NAYY 4x150 SE | 9 | 15 | 0.0081133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1151-11_0_3_line_12 | NAYY 4x150 SE | 10 | 11 | 0.020321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1151-11_0_3_line_13 | NAYY 4x150 SE | 10 | 12 | 0.011271 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1151-11_0_3_line_14 | NAYY 4x150 SE | 13 | 18 | 0.0074529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1151-11_0_3_line_15 | NAYY 4x150 SE | 14 | 39 | 0.0075559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1151-11_0_3_line_16 | NAYY 4x150 SE | 15 | 18 | 0.0051932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1151-11_0_3_line_17 | NAYY 4x150 SE | 16 | 17 | 0.010303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1151-11_0_3_line_18 | NAYY 4x150 SE | 17 | 36 | 0.03395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1151-11_0_3_line_19 | NAYY 4x150 SE | 19 | 20 | 0.03298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1151-11_0_3_line_20 | NAYY 4x150 SE | 20 | 21 | 0.00076627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1151-11_0_3_line_21 | NAYY 4x150 SE | 21 | 22 | 0.012909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1151-11_0_3_line_22 | NAYY 4x150 SE | 21 | 23 | 0.020953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1151-11_0_3_line_23 | NAYY 4x150 SE | 22 | 34 | 0.039555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1151-11_0_3_line_24 | NAYY 4x150 SE | 23 | 25 | 0.010514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1151-11_0_3_line_25 | NAYY 4x150 SE | 24 | 25 | 0.01306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1151-11_0_3_line_26 | NAYY 4x150 SE | 24 | 26 | 0.040781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1151-11_0_3_line_27 | NAYY 4x150 SE | 27 | 28 | 0.025777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1151-11_0_3_line_28 | NAYY 4x150 SE | 27 | 29 | 0.024129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1151-11_0_3_line_29 | NAYY 4x150 SE | 27 | 30 | 0.016217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1151-11_0_3_line_30 | NAYY 4x150 SE | 28 | 36 | 0.014132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1151-11_0_3_line_31 | NAYY 4x150 SE | 29 | 35 | 0.018974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1151-11_0_3_line_32 | NAYY 4x150 SE | 30 | 31 | 0.016658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1151-11_0_3_line_33 | NAYY 4x150 SE | 31 | 32 | 0.0082114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1151-11_0_3_line_34 | NAYY 4x150 SE | 32 | 33 | 0.02458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1151-11_0_3_line_35 | NAYY 4x150 SE | 32 | 34 | 0.013542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1151-11_0_3_line_36 | NAYY 4x150 SE | 33 | 37 | 0.0094645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1151-11_0_3_line_37 | NAYY 4x150 SE | 37 | 39 | 0.0065062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1151-11_0_3_line_38 | NAYY 4x150 SE | 38 | 39 | 0.0041676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1151-11_0_3_trafo_6 | 0.25 MVA 20/0.4 kV | 40 | 7 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2641810.981 | 1218892.4335 | 2641843.8543 | 1218905.2954
1 | 2641807.2805 | 1218890.9401 | 2641810.981 | 1218892.4335
2 | 2641806.7275 | 1218891.7206 | 2641807.2805 | 1218890.9401
3 | 2641801.7312 | 1218898.7725 | 2641806.7275 | 1218891.7206
4 | 2641800.5448 | 1218904.5454 | 2641801.7312 | 1218898.7725
5 | 2641800.5448 | 1218904.5454 | 2641799.9544 | 1218907.8864
6 | 2641799.9544 | 1218907.8864 | 2641799.6834 | 1218909.42 | 2641799.2562 | 1218917.7412
7 | 2641795.182 | 1218959.3737 | 2641797.82 | 1218945.7174
8 | 2641797.82 | 1218945.7174 | 2641798.1919 | 1218938.4733
9 | 2641795.182 | 1218959.3737 | 2641804.1488 | 1218962.6413
10 | 2641795.182 | 1218959.3737 | 2641790.3569 | 1218957.6267
11 | 2641798.1919 | 1218938.4733 | 2641798.6079 | 1218930.3707
12 | 2641823.2419 | 1218969.5988 | 2641804.1488 | 1218962.6413
13 | 2641823.2419 | 1218969.5988 | 2641825.2527 | 1218958.5088
14 | 2641798.8741 | 1218925.1843 | 2641799.2562 | 1218917.7412
15 | 2641783.2524 | 1218955.0542 | 2641790.3569 | 1218957.6267
16 | 2641798.8741 | 1218925.1843 | 2641798.6079 | 1218930.3707
17 | 2641799.536 | 1219007.2267 | 2641809.2811 | 1219010.5705
18 | 2641768.2217 | 1218994.26 | 2641784.4709 | 1219002.0574 | 2641799.536 | 1219007.2267
19 | 2641772.3387 | 1218845.0124 | 2641767.557 | 1218857.842 | 2641762.7475 | 1218876.5209
20 | 2641762.5564 | 1218877.263 | 2641762.7475 | 1218876.5209
21 | 2641762.5564 | 1218877.263 | 2641759.3387 | 1218889.7646
22 | 2641762.5564 | 1218877.263 | 2641757.8801 | 1218875.318 | 2641742.49 | 1218871.3699
23 | 2641759.3387 | 1218889.7646 | 2641749.4792 | 1218928.0712
24 | 2641732.078 | 1218870.3622 | 2641739.4343 | 1218870.586 | 2641742.49 | 1218871.3699
25 | 2641719.0245 | 1218869.9651 | 2641732.078 | 1218870.3622
26 | 2641719.0245 | 1218869.9651 | 2641717.7652 | 1218829.2038
27 | 2641732.4012 | 1218976.5332 | 2641755.4808 | 1218988.1461
28 | 2641732.4012 | 1218976.5332 | 2641731.4135 | 1218978.8721 | 2641728.4194 | 1218985.9665 | 2641726.131 | 1218990.8978 | 2641728.7354 | 1218993.9401 | 2641731.1071 | 1218997.7034
29 | 2641732.4012 | 1218976.5332 | 2641736.9911 | 1218960.9789
30 | 2641755.4808 | 1218988.1461 | 2641768.2217 | 1218994.26
31 | 2641731.1071 | 1218997.7034 | 2641734.1233 | 1219005.8738 | 2641735.7693 | 1219016.006
32 | 2641741.7058 | 1218945.0018 | 2641736.9911 | 1218960.9789
33 | 2641741.7058 | 1218945.0018 | 2641743.1362 | 1218940.1422 | 2641746.1037 | 1218941.1858
34 | 2641746.1037 | 1218941.1858 | 2641762.1711 | 1218948.5027 | 2641768.7583 | 1218950.639
35 | 2641746.1037 | 1218941.1858 | 2641749.4792 | 1218928.0712
36 | 2641768.7583 | 1218950.639 | 2641771.652 | 1218953.561 | 2641776.7477 | 1218955.1976
37 | 2641783.2524 | 1218955.0542 | 2641776.7477 | 1218955.1976
38 | 2641783.2524 | 1218955.0542 | 2641779.2908 | 1218953.7603

## bus_geodata
| x | y | coords
0 | 2641843.8543 | 1218905.2954
1 | 2641810.981 | 1218892.4336
2 | 2641807.2805 | 1218890.9401
3 | 2641806.7275 | 1218891.7206
4 | 2641800.5448 | 1218904.5454
5 | 2641801.7312 | 1218898.7725
6 | 2641799.9544 | 1218907.8864
7 | 2641797.82 | 1218945.7174
8 | 2641795.182 | 1218959.3737
9 | 2641798.1919 | 1218938.4733
10 | 2641823.2419 | 1218969.5988
11 | 2641804.1488 | 1218962.6413
12 | 2641825.2527 | 1218958.5088
13 | 2641799.2562 | 1218917.7412
14 | 2641790.3569 | 1218957.6267
15 | 2641798.6079 | 1218930.3707
16 | 2641809.2811 | 1219010.5705
17 | 2641799.536 | 1219007.2267
18 | 2641798.8741 | 1218925.1843
19 | 2641772.3387 | 1218845.0124
20 | 2641762.7475 | 1218876.5209
21 | 2641762.5564 | 1218877.263
22 | 2641759.3387 | 1218889.7646
23 | 2641742.49 | 1218871.3699
24 | 2641719.0245 | 1218869.9651
25 | 2641732.078 | 1218870.3622
26 | 2641717.7652 | 1218829.2038
27 | 2641732.4012 | 1218976.5332
28 | 2641755.4808 | 1218988.1461
29 | 2641731.1071 | 1218997.7034
30 | 2641736.9911 | 1218960.9789
31 | 2641741.7058 | 1218945.0017
32 | 2641746.1037 | 1218941.1858
33 | 2641768.7583 | 1218950.639
34 | 2641749.4792 | 1218928.0712
35 | 2641735.7693 | 1219016.006
36 | 2641768.2217 | 1218994.26
37 | 2641776.7477 | 1218955.1976
38 | 2641779.2908 | 1218953.7603
39 | 2641783.2524 | 1218955.0542
40 | 2641795.182 | 1218959.3737

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99358 | -0.044964 | 0.036851 | 0.0092357
1 | 0.99545 | -0.031837 | 0 | 0
2 | 0.99566 | -0.030359 | 0.00085148 | 0.0002134
3 | 0.99571 | -0.029996 | 0.00048772 | 0.00012223
4 | 0.99652 | -0.024355 | 0 | 0
5 | 0.99619 | -0.026675 | 0.00096591 | 0.00024208
6 | 0.99671 | -0.02302 | 0.0094736 | 0.0023743
7 | 1 | 0 | -0.20039 | -0.05015
8 | 0.99877 | -0.0085498 | 0.0059205 | 0.0014838
9 | 0.99921 | -0.0054785 | 0.010311 | 0.0025842
10 | 0.99837 | -0.011347 | 0 | 0
11 | 0.99854 | -0.010213 | 0.011844 | 0.0029683
12 | 0.99829 | -0.011976 | 0.0055706 | 0.0013961
13 | 0.9974 | -0.018191 | 0.0078971 | 0.0019792
14 | 0.99804 | -0.013671 | 0.0094429 | 0.0023666
15 | 0.99846 | -0.010779 | 0.0040253 | 0.0010088
16 | 0.9889 | -0.077963 | 0.0087917 | 0.0022034
17 | 0.98903 | -0.077038 | 0.0073428 | 0.0018403
18 | 0.998 | -0.013966 | 0.0047445 | 0.0011891
19 | 0.99253 | -0.05235 | 0.00059292 | 0.0001486
20 | 0.99255 | -0.052151 | 0.00078281 | 0.00019619
21 | 0.99256 | -0.05214 | 0 | 0
22 | 0.99265 | -0.051479 | 0.0010242 | 0.00025668
23 | 0.99245 | -0.05292 | 0.00095629 | 0.00023967
24 | 0.99238 | -0.05338 | 0 | 0
25 | 0.9924 | -0.053209 | 0.0014269 | 0.0003576
26 | 0.99231 | -0.053911 | 0.0012828 | 0.00032149
27 | 0.99094 | -0.06349 | 0 | 0
28 | 0.99021 | -0.068631 | 0 | 0
29 | 0.99068 | -0.065354 | 0 | 0
30 | 0.99158 | -0.059007 | 0.020262 | 0.0050781
31 | 0.99272 | -0.050989 | 0 | 0
32 | 0.99328 | -0.047043 | 0 | 0
33 | 0.99547 | -0.03164 | 0 | 0
34 | 0.99299 | -0.049044 | 0.0085207 | 0.0021355
35 | 0.99047 | -0.06682 | 0.0075957 | 0.0019037
36 | 0.98982 | -0.071453 | 0.003469 | 0.00086941
37 | 0.99632 | -0.025727 | 0.017739 | 0.0044458
38 | 0.997 | -0.020945 | 0.010413 | 0.0026097
39 | 0.99706 | -0.02051 | 0 | 0
40 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.036851 | -0.0092357 | 0.036918 | 0.0092611 | 6.7091e-05 | 2.5346e-05 | 0.055189 | 0.055189 | 0.055189 | 0.99358 | -0.044964 | 0.99545 | -0.031837 | 20.4404
1 | -0.036918 | -0.0092611 | 0.036926 | 0.0092639 | 7.5662e-06 | 2.8583e-06 | 0.055189 | 0.055189 | 0.055189 | 0.99545 | -0.031837 | 0.99566 | -0.030359 | 20.4403
2 | -0.037777 | -0.0094774 | 0.037779 | 0.0094781 | 1.9028e-06 | 7.1942e-07 | 0.056461 | 0.056461 | 0.056461 | 0.99566 | -0.030359 | 0.99571 | -0.029996 | 20.9116
3 | -0.038267 | -0.0096003 | 0.038284 | 0.009607 | 1.7639e-05 | 6.6716e-06 | 0.05719 | 0.05719 | 0.05719 | 0.99571 | -0.029996 | 0.99619 | -0.026675 | 21.1816
4 | 0.039263 | 0.0098538 | -0.03925 | -0.0098491 | 1.2643e-05 | 4.7859e-06 | 0.058633 | 0.058633 | 0.058633 | 0.99652 | -0.024355 | 0.99619 | -0.026675 | 21.7159
5 | -0.039263 | -0.0098538 | 0.03927 | 0.0098566 | 7.2781e-06 | 2.7551e-06 | 0.058633 | 0.058633 | 0.058633 | 0.99652 | -0.024355 | 0.99671 | -0.02302 | 21.7159
6 | -0.048744 | -0.012231 | 0.048777 | 0.012243 | 3.2684e-05 | 1.2442e-05 | 0.072776 | 0.072776 | 0.072776 | 0.99671 | -0.02302 | 0.9974 | -0.018191 | 26.9542
7 | 0.12367 | 0.031082 | -0.12352 | -0.031026 | 0.00014702 | 5.6182e-05 | 0.18406 | 0.18406 | 0.18406 | 1 | 0 | 0.99877 | -0.0085498 | 34.0845
8 | 0.075921 | 0.019068 | -0.075863 | -0.019046 | 5.7782e-05 | 2.2129e-05 | 0.11299 | 0.11299 | 0.11299 | 1 | 0 | 0.99921 | -0.0054785 | 41.8466
9 | 0.01742 | 0.004366 | -0.017416 | -0.0043646 | 4.0111e-06 | 1.4179e-06 | 0.025953 | 0.025953 | 0.025953 | 0.99877 | -0.0085498 | 0.99854 | -0.010213 | 9.6121
10 | 0.10018 | 0.025176 | -0.10011 | -0.025149 | 7.1361e-05 | 2.738e-05 | 0.14928 | 0.14928 | 0.14928 | 0.99877 | -0.0085498 | 0.99804 | -0.013671 | 55.29
11 | 0.065552 | 0.016462 | -0.065504 | -0.016444 | 4.8257e-05 | 1.8454e-05 | 0.097631 | 0.097631 | 0.097631 | 0.99921 | -0.0054785 | 0.99846 | -0.010779 | 36.1597
12 | -0.0055711 | -0.0013962 | 0.005572 | 0.0013962 | 8.7425e-07 | 7.0472e-08 | 0.0083033 | 0.0083032 | 0.0083033 | 0.99837 | -0.011347 | 0.99854 | -0.010213 | 3.0753
13 | 0.0055711 | 0.0013962 | -0.0055706 | -0.0013961 | 4.849e-07 | 3.9126e-08 | 0.0083033 | 0.0083034 | 0.0083034 | 0.99837 | -0.011347 | 0.99829 | -0.011976 | 3.0753
14 | -0.056674 | -0.014223 | 0.056707 | 0.014235 | 3.3252e-05 | 1.2692e-05 | 0.084558 | 0.084558 | 0.084558 | 0.9974 | -0.018191 | 0.998 | -0.013966 | 31.3178
15 | 0.09067 | 0.022782 | -0.090584 | -0.022749 | 8.6189e-05 | 3.3051e-05 | 0.1352 | 0.1352 | 0.1352 | 0.99804 | -0.013671 | 0.99706 | -0.02051 | 50.0757
16 | 0.061479 | 0.015435 | -0.061451 | -0.015424 | 2.7209e-05 | 1.0397e-05 | 0.091632 | 0.091632 | 0.091632 | 0.99846 | -0.010779 | 0.998 | -0.013966 | 33.9378
17 | -0.0087917 | -0.0022034 | 0.0087928 | 0.0022037 | 1.1251e-06 | 3.0054e-07 | 0.013229 | 0.013229 | 0.013229 | 0.9889 | -0.077963 | 0.98903 | -0.077038 | 4.8997
18 | -0.016136 | -0.004044 | 0.016148 | 0.0040484 | 1.2485e-05 | 4.366e-06 | 0.024276 | 0.024276 | 0.024276 | 0.98903 | -0.077038 | 0.98982 | -0.071453 | 8.9913
19 | -0.00059292 | -0.0001486 | 0.00059294 | 0.00014818 | 1.6259e-08 | -4.1999e-07 | 0.00088892 | 0.00088877 | 0.00088892 | 0.99253 | -0.05235 | 0.99255 | -0.052151 | 0.32923
20 | -0.0013757 | -0.00034437 | 0.0013757 | 0.00034436 | 2.0337e-09 | -9.1216e-09 | 0.0020623 | 0.0020623 | 0.0020623 | 0.99255 | -0.052151 | 0.99256 | -0.05214 | 0.76383
21 | -0.0050423 | -0.0012623 | 0.0050427 | 0.0012623 | 4.6023e-07 | 1.0151e-08 | 0.0075588 | 0.0075587 | 0.0075588 | 0.99256 | -0.05214 | 0.99265 | -0.051479 | 2.7995
22 | 0.0036665 | 0.0009179 | -0.0036661 | -0.00091802 | 3.95e-07 | -1.1886e-07 | 0.0054964 | 0.0054965 | 0.0054965 | 0.99256 | -0.05214 | 0.99245 | -0.05292 | 2.0357
23 | -0.0060669 | -0.001519 | 0.006069 | 0.0015192 | 2.0412e-06 | 2.7357e-07 | 0.009094 | 0.0090938 | 0.009094 | 0.99265 | -0.051479 | 0.99299 | -0.049044 | 3.3681
24 | 0.0027098 | 0.00067835 | -0.0027097 | -0.00067845 | 1.0829e-07 | -9.4207e-08 | 0.0040627 | 0.0040628 | 0.0040628 | 0.99245 | -0.05292 | 0.9924 | -0.053209 | 1.5047
25 | -0.0012829 | -0.000321 | 0.0012829 | 0.00032084 | 3.0146e-08 | -1.5714e-07 | 0.0019234 | 0.0019233 | 0.0019234 | 0.99238 | -0.05338 | 0.9924 | -0.053209 | 0.71236
26 | 0.0012829 | 0.000321 | -0.0012828 | -0.00032149 | 9.4148e-08 | -4.9064e-07 | 0.0019234 | 0.0019236 | 0.0019236 | 0.99238 | -0.05338 | 0.99231 | -0.053911 | 0.71243
27 | 0.019639 | 0.0049256 | -0.019625 | -0.0049205 | 1.399e-05 | 5.0488e-06 | 0.029491 | 0.029491 | 0.029491 | 0.99094 | -0.06349 | 0.99021 | -0.068631 | 10.9227
28 | 0.0075992 | 0.0019045 | -0.0075973 | -0.001904 | 1.9605e-06 | 4.4329e-07 | 0.011411 | 0.011411 | 0.011411 | 0.99094 | -0.06349 | 0.99068 | -0.065354 | 4.2264
29 | -0.027238 | -0.00683 | 0.027255 | 0.0068363 | 1.693e-05 | 6.3025e-06 | 0.040902 | 0.040902 | 0.040902 | 0.99094 | -0.06349 | 0.99158 | -0.059007 | 15.149
30 | 0.019625 | 0.0049205 | -0.019617 | -0.0049178 | 7.6696e-06 | 2.7681e-06 | 0.029491 | 0.029491 | 0.029491 | 0.99021 | -0.068631 | 0.98982 | -0.071453 | 10.9227
31 | 0.0075973 | 0.001904 | -0.0075957 | -0.0019037 | 1.5418e-06 | 3.4873e-07 | 0.011411 | 0.011411 | 0.011411 | 0.99068 | -0.065354 | 0.99047 | -0.06682 | 4.2264
32 | -0.047517 | -0.011914 | 0.04757 | 0.011935 | 5.2856e-05 | 2.0114e-05 | 0.071308 | 0.071308 | 0.071308 | 0.99158 | -0.059007 | 0.99272 | -0.050989 | 26.4104
33 | -0.04757 | -0.011935 | 0.047596 | 0.011944 | 2.6054e-05 | 9.9146e-06 | 0.071308 | 0.071308 | 0.071308 | 0.99272 | -0.050989 | 0.99328 | -0.047043 | 26.4104
34 | -0.062189 | -0.015601 | 0.062322 | 0.015651 | 0.00013314 | 5.089e-05 | 0.09317 | 0.09317 | 0.09317 | 0.99328 | -0.047043 | 0.99547 | -0.03164 | 34.5074
35 | 0.014594 | 0.0036561 | -0.01459 | -0.0036547 | 4.0388e-06 | 1.3782e-06 | 0.021862 | 0.021862 | 0.021862 | 0.99328 | -0.047043 | 0.99299 | -0.049044 | 8.0971
36 | -0.062322 | -0.015651 | 0.062374 | 0.015671 | 5.1266e-05 | 1.9595e-05 | 0.09317 | 0.09317 | 0.09317 | 0.99547 | -0.03164 | 0.99632 | -0.025727 | 34.5074
37 | -0.080113 | -0.020117 | 0.080171 | 0.020139 | 5.8134e-05 | 2.2275e-05 | 0.11966 | 0.11966 | 0.11966 | 0.99632 | -0.025727 | 0.99706 | -0.02051 | 44.3197
38 | -0.010413 | -0.0026097 | 0.010413 | 0.0026099 | 6.281e-07 | 1.8723e-07 | 0.015541 | 0.015541 | 0.015541 | 0.997 | -0.020945 | 0.99706 | -0.02051 | 5.756

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.20039 | 0.05015

## res_load
| p_mw | q_mvar
0 | 0.036851 | 0.0092357
1 | 0.00085148 | 0.0002134
2 | 0.00048772 | 0.00012223
3 | 0.00096591 | 0.00024208
4 | 0.0094736 | 0.0023743
5 | 0.0059205 | 0.0014838
6 | 0.010311 | 0.0025842
7 | 0.011844 | 0.0029683
8 | 0.0055706 | 0.0013961
9 | 0.0078971 | 0.0019792
10 | 0.0094429 | 0.0023666
11 | 0.0040253 | 0.0010088
12 | 0.0087917 | 0.0022034
13 | 0.0073428 | 0.0018403
14 | 0.0047445 | 0.0011891
15 | 0.00059292 | 0.0001486
16 | 0.00078281 | 0.00019619
17 | 0.0010242 | 0.00025668
18 | 0.00095629 | 0.00023967
19 | 0.0014269 | 0.0003576
20 | 0.0012828 | 0.00032149
21 | 0.020262 | 0.0050781
22 | 0.0085207 | 0.0021355
23 | 0.0075957 | 0.0019037
24 | 0.003469 | 0.00086941
25 | 0.017739 | 0.0044458
26 | 0.010413 | 0.0026097

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1