## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1151-14_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1151-14_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1151-14_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1151-14_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1151-14_0_3_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_1151-14_0_3_node_29 | 0.4 | n |  | TRUE
6 | bus_LV_1151-14_0_3_node_23 | 0.4 | n |  | TRUE
7 | bus_LV_1151-14_0_3_node_27 | 0.4 | n |  | TRUE
8 | bus_LV_1151-14_0_3_node_37 | 0.4 | n |  | TRUE
9 | bus_LV_1151-14_0_3_node_32 | 0.4 | n |  | TRUE
10 | bus_LV_1151-14_0_3_node_21 | 0.4 | n |  | TRUE
11 | bus_LV_1151-14_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1151-14_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_1151-14_0_3_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_1151-14_0_3_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_1151-14_0_3_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_1151-14_0_3_node_36 | 0.4 | n |  | TRUE
17 | bus_LV_1151-14_0_3_node_38 | 0.4 | n |  | TRUE
18 | bus_LV_1151-14_0_3_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_1151-14_0_3_node_34 | 0.4 | n |  | TRUE
20 | bus_LV_1151-14_0_3_node_30 | 0.4 | n |  | TRUE
21 | bus_LV_1151-14_0_3_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_1151-14_0_3_node_28 | 0.4 | n |  | TRUE
23 | bus_LV_1151-14_0_3_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_1151-14_0_3_node_33 | 0.4 | n |  | TRUE
25 | bus_LV_1151-14_0_3_node_40 | 0.4 | n |  | TRUE
26 | bus_LV_1151-14_0_3_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_1151-14_0_3_node_42 | 0.4 | n |  | TRUE
28 | bus_LV_1151-14_0_3_node_35 | 0.4 | n |  | TRUE
29 | bus_LV_1151-14_0_3_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_1151-14_0_3_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_1151-14_0_3_node_41 | 0.4 | n |  | TRUE
32 | bus_LV_1151-14_0_3_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_1151-14_0_3_node_26 | 0.4 | n |  | TRUE
34 | bus_MV_128_0_node_115 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1151-14_0_3_load_0 | 0 | 0.0071393 | 0.0017893 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1151-14_0_3_load_3 | 3 | 0.0080957 | 0.002029 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1151-14_0_3_load_6 | 4 | 0.0183 | 0.0045863 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1151-14_0_3_load_29 | 5 | 0.02742 | 0.0068722 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1151-14_0_3_load_27 | 7 | 0.024328 | 0.0060971 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1151-14_0_3_load_37 | 8 | 0.03701 | 0.0092757 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1151-14_0_3_load_21 | 10 | 0.006066 | 0.0015203 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1151-14_0_3_load_7 | 11 | 0.0028214 | 0.00070711 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1151-14_0_3_load_38 | 17 | 0.0036253 | 0.00090859 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1151-14_0_3_load_30 | 20 | 0.014881 | 0.0037296 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1151-14_0_3_load_19 | 21 | 0.0064145 | 0.0016076 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1151-14_0_3_load_25 | 23 | 0.0076396 | 0.0019147 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1151-14_0_3_load_40 | 25 | 0.0024063 | 0.00060308 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1151-14_0_3_load_39 | 26 | 0.0033431 | 0.00083785 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1151-14_0_3_load_42 | 27 | 0.01855 | 0.0046491 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1151-14_0_3_load_35 | 28 | 0.0049315 | 0.001236 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1151-14_0_3_load_24 | 29 | 0.010959 | 0.0027467 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1151-14_0_3_load_22 | 30 | 0.0057368 | 0.0014378 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1151-14_0_3_load_41 | 31 | 0.005254 | 0.0013168 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1151-14_0_3_load_26 | 33 | 0.013633 | 0.0034168 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1151-14_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.026168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1151-14_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0064756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1151-14_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.029939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1151-14_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.017473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1151-14_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.030864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1151-14_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.007262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1151-14_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.023226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1151-14_0_3_line_7 | NAYY 4x150 SE | 6 | 10 | 0.0064568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1151-14_0_3_line_8 | NAYY 4x150 SE | 7 | 33 | 0.0052804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_1151-14_0_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.0224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1151-14_0_3_line_10 | NAYY 4x150 SE | 9 | 18 | 0.005847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1151-14_0_3_line_11 | NAYY 4x150 SE | 10 | 30 | 0.0072894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1151-14_0_3_line_12 | NAYY 4x150 SE | 11 | 12 | 0.02406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1151-14_0_3_line_13 | NAYY 4x150 SE | 12 | 13 | 0.007556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1151-14_0_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.007861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1151-14_0_3_line_15 | NAYY 4x150 SE | 13 | 21 | 0.0091607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1151-14_0_3_line_16 | NAYY 4x150 SE | 14 | 22 | 0.004316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1151-14_0_3_line_17 | NAYY 4x150 SE | 14 | 23 | 0.022082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1151-14_0_3_line_18 | NAYY 4x150 SE | 15 | 16 | 0.024374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1151-14_0_3_line_19 | NAYY 4x150 SE | 15 | 17 | 0.010743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1151-14_0_3_line_20 | NAYY 4x150 SE | 16 | 31 | 0.020565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1151-14_0_3_line_21 | NAYY 4x150 SE | 16 | 22 | 0.004437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1151-14_0_3_line_22 | NAYY 4x150 SE | 18 | 19 | 0.050703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1151-14_0_3_line_23 | NAYY 4x150 SE | 18 | 20 | 0.041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1151-14_0_3_line_24 | NAYY 4x150 SE | 19 | 27 | 0.020107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1151-14_0_3_line_25 | NAYY 4x150 SE | 20 | 32 | 0.011436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1151-14_0_3_line_26 | NAYY 4x150 SE | 22 | 32 | 0.032196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1151-14_0_3_line_27 | NAYY 4x150 SE | 22 | 28 | 0.034865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1151-14_0_3_line_28 | NAYY 4x150 SE | 23 | 33 | 0.0096231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_1151-14_0_3_line_29 | NAYY 4x150 SE | 24 | 25 | 0.012399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1151-14_0_3_line_30 | NAYY 4x150 SE | 24 | 26 | 0.0027211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1151-14_0_3_line_31 | NAYY 4x150 SE | 25 | 31 | 0.014242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1151-14_0_3_line_32 | NAYY 4x150 SE | 29 | 30 | 0.0073128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1151-14_0_3_trafo_27 | 0.25 MVA 20/0.4 kV | 34 | 7 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2641999.2211 | 1218919.628 | 2641997.3496 | 1218922.4499 | 2641987.9037 | 1218925.3629 | 2641989.3297 | 1218934.0781 | 2641987.0638 | 1218937.454
1 | 2641983.455 | 1218942.8308 | 2641987.0638 | 1218937.454
2 | 2641999.2211 | 1218919.628 | 2642006.1564 | 1218918.6874 | 2642009.8788 | 1218937.5138 | 2642010.5134 | 1218941.2096
3 | 2641983.455 | 1218942.8308 | 2641985.3892 | 1218946.202 | 2641987.3369 | 1218959.6483
4 | 2642010.5134 | 1218941.2096 | 2642013.8662 | 1218960.7334 | 2642015.8863 | 1218964.8279 | 2642019.8432 | 1218969.9703
5 | 2641988.378 | 1218966.8353 | 2641987.3369 | 1218959.6483
6 | 2642019.8432 | 1218969.9703 | 2642022.3459 | 1218973.2229 | 2642024.7343 | 1218977.8202 | 2642027.0096 | 1218989.8434 | 2642027.134 | 1218991.5438
7 | 2641988.378 | 1218966.8353 | 2641989.2264 | 1218973.2361
8 | 2642027.5195 | 1218996.81 | 2642027.134 | 1218991.5438
9 | 2642080.7104 | 1218969.0319 | 2642077.1854 | 1218964.1931 | 2642075.6674 | 1218961.0027 | 2642074.2754 | 1218955.0115 | 2642073.3539 | 1218948.3452
10 | 2642084.0992 | 1218973.8031 | 2642080.7104 | 1218969.0319
11 | 2641989.2264 | 1218973.2361 | 2641990.1841 | 1218980.4623
12 | 2642021.9593 | 1219028.0528 | 2642020.6205 | 1219052.0755
13 | 2642021.9593 | 1219028.0528 | 2642014.388 | 1219027.7326
14 | 2642021.9593 | 1219028.0528 | 2642027.6109 | 1219028.3261 | 2642029.8337 | 1219028.4307
15 | 2642014.388 | 1219027.7326 | 2642008.1215 | 1219027.4772 | 2642005.2434 | 1219027.2255
16 | 2642029.8337 | 1219028.4307 | 2642034.1578 | 1219028.6391
17 | 2642029.8337 | 1219028.4307 | 2642028.2219 | 1219006.4075
18 | 2642038.4086 | 1219053.217 | 2642038.4625 | 1219043.4227 | 2642038.6033 | 1219028.8483
19 | 2642038.4086 | 1219053.217 | 2642048.9772 | 1219055.1462
20 | 2642038.6033 | 1219028.8483 | 2642038.8383 | 1219024.5808 | 2642039.1269 | 1219021.3142 | 2642039.6915 | 1219018.7389 | 2642040.555 | 1219016.8105 | 2642041.7202 | 1219015.151 | 2642043.4488 | 1219013.2287 | 2642045.5015 | 1219011.6312 | 2642046.3621 | 1219011.0323
21 | 2642038.6033 | 1219028.8483 | 2642034.1578 | 1219028.6391
22 | 2642084.0992 | 1218973.8031 | 2642088.0871 | 1218971.1186 | 2642091.9377 | 1218968.5331 | 2642094.1691 | 1218969.5606 | 2642096.6951 | 1218969.7229 | 2642100.0249 | 1218968.8793 | 2642107.0564 | 1218961.8247 | 2642123.1985 | 1218945.618
23 | 2642084.0992 | 1218973.8031 | 2642085.2278 | 1218977.3354 | 2642085.1363 | 1218980.6145 | 2642083.662 | 1218985.2068 | 2642076.1581 | 1218993.6144 | 2642069.0736 | 1219000.6575 | 2642065.9211 | 1219002.1806 | 2642061.5506 | 1219002.8915
24 | 2642123.1985 | 1218945.618 | 2642107.0464 | 1218933.6434
25 | 2642050.2628 | 1219004.7273 | 2642061.5506 | 1219002.8915
26 | 2642034.1578 | 1219028.6391 | 2642034.4963 | 1219019.3804 | 2642035.9736 | 1219014.3545 | 2642040.5267 | 1219008.9834 | 2642045.7453 | 1219006.1074 | 2642050.2628 | 1219004.7273
27 | 2642034.1578 | 1219028.6391 | 2642034.4423 | 1219063.5026
28 | 2642028.2219 | 1219006.4075 | 2642027.5195 | 1218996.81
29 | 2642072.2048 | 1219006.4497 | 2642065.5871 | 1219006.5031 | 2642059.8516 | 1219007.2309
30 | 2642072.2048 | 1219006.4497 | 2642074.9103 | 1219006.7405
31 | 2642046.3621 | 1219011.0323 | 2642048.0638 | 1219009.8482 | 2642050.9261 | 1219008.5898 | 2642053.1231 | 1219008.0383 | 2642055.3787 | 1219007.7985 | 2642059.8516 | 1219007.2309
32 | 2641991.145 | 1218987.7117 | 2641990.1841 | 1218980.4623

## bus_geodata
| x | y | coords
0 | 2641987.0638 | 1218937.454
1 | 2641999.2211 | 1218919.628
2 | 2641983.455 | 1218942.8308
3 | 2642010.5134 | 1218941.2096
4 | 2641987.3369 | 1218959.6483
5 | 2642019.8432 | 1218969.9703
6 | 2641988.378 | 1218966.8353
7 | 2642027.134 | 1218991.5438
8 | 2642073.3539 | 1218948.3452
9 | 2642080.7104 | 1218969.0319
10 | 2641989.2264 | 1218973.2361
11 | 2642020.6205 | 1219052.0755
12 | 2642021.9593 | 1219028.0528
13 | 2642014.388 | 1219027.7326
14 | 2642029.8337 | 1219028.4307
15 | 2642038.4086 | 1219053.217
16 | 2642038.6033 | 1219028.8483
17 | 2642048.9772 | 1219055.1462
18 | 2642084.0992 | 1218973.8031
19 | 2642123.1985 | 1218945.618
20 | 2642061.5506 | 1219002.8915
21 | 2642005.2434 | 1219027.2255
22 | 2642034.1578 | 1219028.6391
23 | 2642028.2219 | 1219006.4075
24 | 2642072.2048 | 1219006.4497
25 | 2642059.8516 | 1219007.2309
26 | 2642074.9103 | 1219006.7405
27 | 2642107.0464 | 1218933.6434
28 | 2642034.4423 | 1219063.5026
29 | 2641991.145 | 1218987.7117
30 | 2641990.1841 | 1218980.4623
31 | 2642046.3621 | 1219011.0323
32 | 2642050.2628 | 1219004.7273
33 | 2642027.5195 | 1218996.81
34 | 2642029.8337 | 1219028.4307

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99081 | -0.064341 | 0.0071393 | 0.0017893
1 | 0.99263 | -0.051539 | 0 | 0
2 | 0.99043 | -0.067045 | 0 | 0
3 | 0.99471 | -0.03695 | 0.0080957 | 0.002029
4 | 0.98939 | -0.074353 | 0.0183 | 0.0045863
5 | 0.99721 | -0.019464 | 0.02742 | 0.0068722
6 | 0.98915 | -0.076039 | 0 | 0
7 | 1 | 0 | -0.20672 | -0.051829
8 | 0.98584 | -0.099328 | 0.03701 | 0.0092757
9 | 0.98704 | -0.090825 | 0 | 0
10 | 0.98894 | -0.077539 | 0.006066 | 0.0015203
11 | 0.99544 | -0.031737 | 0.0028214 | 0.00070711
12 | 0.99554 | -0.031053 | 0 | 0
13 | 0.99547 | -0.031541 | 0 | 0
14 | 0.99564 | -0.030321 | 0 | 0
15 | 0.99486 | -0.035782 | 0 | 0
16 | 0.99499 | -0.03489 | 0 | 0
17 | 0.99481 | -0.036175 | 0.0036253 | 0.00090859
18 | 0.98735 | -0.088608 | 0 | 0
19 | 0.98599 | -0.098253 | 0 | 0
20 | 0.99064 | -0.06536 | 0.014881 | 0.0037296
21 | 0.99539 | -0.032133 | 0.0064145 | 0.0016076
22 | 0.99508 | -0.034236 | 0 | 0
23 | 0.9988 | -0.0083206 | 0.0076396 | 0.0019147
24 | 0.99449 | -0.038418 | 0 | 0
25 | 0.99455 | -0.037999 | 0.0024063 | 0.00060308
26 | 0.99448 | -0.03851 | 0.0033431 | 0.00083785
27 | 0.98545 | -0.10208 | 0.01855 | 0.0046491
28 | 0.99484 | -0.03597 | 0.0049315 | 0.001236
29 | 0.98865 | -0.079599 | 0.010959 | 0.0027467
30 | 0.98877 | -0.078781 | 0.0057368 | 0.0014378
31 | 0.99467 | -0.037173 | 0.005254 | 0.0013168
32 | 0.99181 | -0.057175 | 0 | 0
33 | 0.99954 | -0.0031779 | 0.013633 | 0.0034168
34 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.048272 | -0.012107 | 0.048358 | 0.01214 | 8.5826e-05 | 3.2673e-05 | 0.072499 | 0.072499 | 0.072499 | 0.99081 | -0.064341 | 0.99263 | -0.051539 | 26.8516
1 | 0.041133 | 0.010318 | -0.041118 | -0.010312 | 1.5422e-05 | 5.848e-06 | 0.061777 | 0.061777 | 0.061777 | 0.99081 | -0.064341 | 0.99043 | -0.067045 | 22.8805
2 | -0.048358 | -0.01214 | 0.048456 | 0.012177 | 9.8196e-05 | 3.738e-05 | 0.072499 | 0.072499 | 0.072499 | 0.99263 | -0.051539 | 0.99471 | -0.03695 | 26.8516
3 | 0.041118 | 0.010312 | -0.041076 | -0.010296 | 4.1612e-05 | 1.578e-05 | 0.061777 | 0.061778 | 0.061778 | 0.99043 | -0.067045 | 0.98939 | -0.074353 | 22.8806
4 | -0.056552 | -0.014206 | 0.05669 | 0.014259 | 0.00013787 | 5.2626e-05 | 0.08461 | 0.08461 | 0.08461 | 0.99471 | -0.03695 | 0.99721 | -0.019464 | 31.3369
5 | 0.022776 | 0.0057098 | -0.022771 | -0.0057079 | 5.3174e-06 | 1.9519e-06 | 0.034255 | 0.034255 | 0.034255 | 0.98939 | -0.074353 | 0.98915 | -0.076039 | 12.6872
6 | -0.08411 | -0.021131 | 0.084339 | 0.021218 | 0.00022837 | 8.7529e-05 | 0.12553 | 0.12553 | 0.12553 | 0.99721 | -0.019464 | 1 | 0 | 46.4911
7 | 0.022771 | 0.0057079 | -0.022766 | -0.0057061 | 4.7278e-06 | 1.7355e-06 | 0.034255 | 0.034255 | 0.034255 | 0.98915 | -0.076039 | 0.98894 | -0.077539 | 12.6872
8 | 0.12159 | 0.030611 | -0.12153 | -0.03059 | 5.3955e-05 | 2.0613e-05 | 0.18097 | 0.18097 | 0.18097 | 1 | 0 | 0.99954 | -0.0031779 | 33.5129
9 | -0.03701 | -0.0092757 | 0.037054 | 0.0092922 | 4.362e-05 | 1.6491e-05 | 0.055863 | 0.055863 | 0.055863 | 0.98584 | -0.099328 | 0.98704 | -0.090825 | 20.6901
10 | -0.037054 | -0.0092922 | 0.037065 | 0.0092965 | 1.1386e-05 | 4.3044e-06 | 0.055863 | 0.055863 | 0.055863 | 0.98704 | -0.090825 | 0.98735 | -0.088608 | 20.69
11 | 0.0167 | 0.0041859 | -0.016697 | -0.0041848 | 2.8721e-06 | 1.0111e-06 | 0.025128 | 0.025128 | 0.025128 | 0.98894 | -0.077539 | 0.98877 | -0.078781 | 9.3068
12 | -0.0028214 | -0.00070711 | 0.0028217 | 0.0007069 | 2.6704e-07 | -2.101e-07 | 0.0042175 | 0.0042174 | 0.0042175 | 0.99544 | -0.031737 | 0.99554 | -0.031053 | 1.562
13 | 0.0064154 | 0.0016078 | -0.006415 | -0.0016077 | 4.3354e-07 | 6.8505e-08 | 0.009589 | 0.009589 | 0.009589 | 0.99554 | -0.031053 | 0.99547 | -0.031541 | 3.5515
14 | -0.0092371 | -0.0023147 | 0.009238 | 0.0023149 | 9.3502e-07 | 2.574e-07 | 0.013806 | 0.013806 | 0.013806 | 0.99554 | -0.031053 | 0.99564 | -0.030321 | 5.1135
15 | 0.006415 | 0.0016077 | -0.0064145 | -0.0016076 | 5.2562e-07 | 8.3074e-08 | 0.009589 | 0.0095891 | 0.0095891 | 0.99547 | -0.031541 | 0.99539 | -0.032133 | 3.5515
16 | 0.090636 | 0.022796 | -0.090586 | -0.022777 | 4.9437e-05 | 1.8958e-05 | 0.13549 | 0.13549 | 0.13549 | 0.99564 | -0.030321 | 0.99508 | -0.034236 | 50.18
17 | -0.099874 | -0.025111 | 0.10018 | 0.025229 | 0.00030711 | 0.00011783 | 0.14929 | 0.14929 | 0.14929 | 0.99564 | -0.030321 | 0.9988 | -0.0083206 | 55.2935
18 | -0.0036255 | -0.00090853 | 0.003626 | 0.00090839 | 4.4723e-07 | -1.4452e-07 | 0.0054227 | 0.0054225 | 0.0054227 | 0.99486 | -0.035782 | 0.99499 | -0.03489 | 2.0084
19 | 0.0036255 | 0.00090853 | -0.0036253 | -0.00090859 | 1.9713e-07 | -6.3673e-08 | 0.0054227 | 0.0054227 | 0.0054227 | 0.99486 | -0.035782 | 0.99481 | -0.036175 | 2.0084
20 | 0.011008 | 0.0027587 | -0.011004 | -0.0027577 | 3.4777e-06 | 1.0705e-06 | 0.016462 | 0.016462 | 0.016462 | 0.99499 | -0.03489 | 0.99467 | -0.037173 | 6.0971
21 | -0.014634 | -0.0036671 | 0.014635 | 0.0036676 | 1.326e-06 | 4.5238e-07 | 0.021885 | 0.021885 | 0.021885 | 0.99499 | -0.03489 | 0.99508 | -0.034236 | 8.1054
22 | 0.018585 | 0.0046615 | -0.01856 | -0.0046526 | 2.4823e-05 | 8.8996e-06 | 0.02801 | 0.02801 | 0.02801 | 0.98735 | -0.088608 | 0.98599 | -0.098253 | 10.3742
23 | -0.05565 | -0.013958 | 0.05583 | 0.014027 | 0.00017998 | 6.8695e-05 | 0.083873 | 0.083873 | 0.083873 | 0.98735 | -0.088608 | 0.99064 | -0.06536 | 31.0641
24 | 0.01856 | 0.0046526 | -0.01855 | -0.0046491 | 9.8438e-06 | 3.5298e-06 | 0.02801 | 0.02801 | 0.02801 | 0.98599 | -0.098253 | 0.98545 | -0.10208 | 10.3742
25 | -0.070711 | -0.017756 | 0.070792 | 0.017787 | 8.0523e-05 | 3.0823e-05 | 0.10623 | 0.10623 | 0.10623 | 0.99064 | -0.06536 | 0.99181 | -0.057175 | 39.3428
26 | 0.071019 | 0.017874 | -0.070792 | -0.017787 | 0.0002267 | 8.6774e-05 | 0.10623 | 0.10623 | 0.10623 | 0.99508 | -0.034236 | 0.99181 | -0.057175 | 39.3428
27 | 0.0049327 | 0.001236 | -0.0049315 | -0.001236 | 1.1837e-06 | 2.4575e-09 | 0.0073761 | 0.0073762 | 0.0073762 | 0.99508 | -0.034236 | 0.99484 | -0.03597 | 2.7319
28 | -0.10782 | -0.027144 | 0.1079 | 0.027173 | 7.751e-05 | 2.956e-05 | 0.16067 | 0.16067 | 0.16067 | 0.9988 | -0.0083206 | 0.99954 | -0.0031779 | 29.7544
29 | -0.0033431 | -0.00083783 | 0.0033433 | 0.00083774 | 1.9359e-07 | -8.6434e-08 | 0.0050021 | 0.0050021 | 0.0050021 | 0.99449 | -0.038418 | 0.99455 | -0.037999 | 1.8526
30 | 0.0033431 | 0.00083783 | -0.0033431 | -0.00083785 | 4.2485e-08 | -1.8965e-08 | 0.0050021 | 0.0050021 | 0.0050021 | 0.99449 | -0.038418 | 0.99448 | -0.03851 | 1.8526
31 | -0.0057496 | -0.0014408 | 0.0057502 | 0.0014409 | 6.5764e-07 | 6.8101e-08 | 0.0086023 | 0.0086023 | 0.0086023 | 0.99455 | -0.037999 | 0.99467 | -0.037173 | 3.186
32 | -0.010959 | -0.0027467 | 0.010961 | 0.0027471 | 1.2416e-06 | 3.8374e-07 | 0.016495 | 0.016495 | 0.016495 | 0.98865 | -0.079599 | 0.98877 | -0.078781 | 6.1092

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.23105 | 0.057926

## res_load
| p_mw | q_mvar
0 | 0.0071393 | 0.0017893
1 | 0.0080957 | 0.002029
2 | 0.0183 | 0.0045863
3 | 0.02742 | 0.0068722
4 | 0.024328 | 0.0060971
5 | 0.03701 | 0.0092757
6 | 0.006066 | 0.0015203
7 | 0.0028214 | 0.00070711
8 | 0.0036253 | 0.00090859
9 | 0.014881 | 0.0037296
10 | 0.0064145 | 0.0016076
11 | 0.0076396 | 0.0019147
12 | 0.0024063 | 0.00060308
13 | 0.0033431 | 0.00083785
14 | 0.01855 | 0.0046491
15 | 0.0049315 | 0.001236
16 | 0.010959 | 0.0027467
17 | 0.0057368 | 0.0014378
18 | 0.005254 | 0.0013168
19 | 0.013633 | 0.0034168

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1