## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1151-23_1_2_node_8 | 0.4 | n |  | TRUE
1 | bus_LV_1151-23_1_2_node_18 | 0.4 | n |  | TRUE
2 | bus_LV_1151-23_1_2_node_59 | 0.4 | n |  | TRUE
3 | bus_LV_1151-23_1_2_node_61 | 0.4 | n |  | TRUE
4 | bus_LV_1151-23_1_2_node_56 | 0.4 | n |  | TRUE
5 | bus_LV_1151-23_1_2_node_62 | 0.4 | n |  | TRUE
6 | bus_LV_1151-23_1_2_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_1151-23_1_2_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_1151-23_1_2_node_26 | 0.4 | n |  | TRUE
9 | bus_LV_1151-23_1_2_node_28 | 0.4 | n |  | TRUE
10 | bus_LV_1151-23_1_2_node_49 | 0.4 | n |  | TRUE
11 | bus_LV_1151-23_1_2_node_45 | 0.4 | n |  | TRUE
12 | bus_LV_1151-23_1_2_node_30 | 0.4 | n |  | TRUE
13 | bus_LV_1151-23_1_2_node_31 | 0.4 | n |  | TRUE
14 | bus_LV_1151-23_1_2_node_32 | 0.4 | n |  | TRUE
15 | bus_LV_1151-23_1_2_node_33 | 0.4 | n |  | TRUE
16 | bus_LV_1151-23_1_2_node_34 | 0.4 | n |  | TRUE
17 | bus_LV_1151-23_1_2_node_35 | 0.4 | n |  | TRUE
18 | bus_LV_1151-23_1_2_node_48 | 0.4 | n |  | TRUE
19 | bus_LV_1151-23_1_2_node_42 | 0.4 | n |  | TRUE
20 | bus_LV_1151-23_1_2_node_36 | 0.4 | n |  | TRUE
21 | bus_LV_1151-23_1_2_node_37 | 0.4 | n |  | TRUE
22 | bus_LV_1151-23_1_2_node_38 | 0.4 | n |  | TRUE
23 | bus_LV_1151-23_1_2_node_39 | 0.4 | n |  | TRUE
24 | bus_LV_1151-23_1_2_node_40 | 0.4 | n |  | TRUE
25 | bus_LV_1151-23_1_2_node_43 | 0.4 | n |  | TRUE
26 | bus_LV_1151-23_1_2_node_44 | 0.4 | n |  | TRUE
27 | bus_LV_1151-23_1_2_node_46 | 0.4 | n |  | TRUE
28 | bus_LV_1151-23_1_2_node_47 | 0.4 | n |  | TRUE
29 | bus_LV_1151-23_1_2_node_50 | 0.4 | n |  | TRUE
30 | bus_LV_1151-23_1_2_node_51 | 0.4 | n |  | TRUE
31 | bus_LV_1151-23_1_2_node_58 | 0.4 | n |  | TRUE
32 | bus_LV_1151-23_1_2_node_65 | 0.4 | n |  | TRUE
33 | bus_LV_1151-23_1_2_node_55 | 0.4 | n |  | TRUE
34 | bus_LV_1151-23_1_2_node_66 | 0.4 | n |  | TRUE
35 | bus_LV_1151-23_1_2_node_52 | 0.4 | n |  | TRUE
36 | bus_LV_1151-23_1_2_node_53 | 0.4 | n |  | TRUE
37 | bus_LV_1151-23_1_2_node_54 | 0.4 | n |  | TRUE
38 | bus_LV_1151-23_1_2_node_63 | 0.4 | n |  | TRUE
39 | bus_LV_1151-23_1_2_node_64 | 0.4 | n |  | TRUE
40 | bus_MV_128_0_node_145 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1151-23_1_2_load_59 | 2 | 0.001793 | 0.00044937 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1151-23_1_2_load_61 | 3 | 0.002963 | 0.00074259 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1151-23_1_2_load_62 | 5 | 0.0081005 | 0.0020302 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1151-23_1_2_load_24 | 6 | 0.0015667 | 0.00039266 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1151-23_1_2_load_25 | 7 | 0.0028973 | 0.00072613 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1151-23_1_2_load_26 | 8 | 0.0019446 | 0.00048737 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1151-23_1_2_load_28 | 9 | 0.0049244 | 0.0012342 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1151-23_1_2_load_49 | 10 | 0.0019438 | 0.00048716 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1151-23_1_2_load_45 | 11 | 0.0033697 | 0.00084454 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1151-23_1_2_load_30 | 12 | 0.0010667 | 0.00026735 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1151-23_1_2_load_31 | 13 | 0.0012634 | 0.00031665 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1151-23_1_2_load_32 | 14 | 0.0026715 | 0.00066953 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1151-23_1_2_load_33 | 15 | 0.00082188 | 0.00020598 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1151-23_1_2_load_34 | 16 | 0.0053896 | 0.0013508 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1151-23_1_2_load_35 | 17 | 0.0011895 | 0.00029811 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1151-23_1_2_load_48 | 18 | 0.00095519 | 0.00023939 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1151-23_1_2_load_36 | 20 | 0.0013518 | 0.0003388 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1151-23_1_2_load_37 | 21 | 0.0018389 | 0.00046088 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1151-23_1_2_load_38 | 22 | 0.008915 | 0.0022343 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1151-23_1_2_load_39 | 23 | 0.0039417 | 0.00098788 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1151-23_1_2_load_43 | 25 | 0.0011733 | 0.00029405 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1151-23_1_2_load_46 | 27 | 0.0022482 | 0.00056344 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1151-23_1_2_load_47 | 28 | 0.0023428 | 0.00058716 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1151-23_1_2_load_50 | 29 | 0.0013553 | 0.00033968 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1151-23_1_2_load_51 | 30 | 0.0022138 | 0.00055483 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1151-23_1_2_load_58 | 31 | 0.0011262 | 0.00028225 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1151-23_1_2_load_65 | 32 | 0.0037268 | 0.00093401 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1151-23_1_2_load_55 | 33 | 0.00091091 | 0.0002283 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1151-23_1_2_load_66 | 34 | 0.0022787 | 0.00057111 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1151-23_1_2_load_52 | 35 | 0.00079021 | 0.00019805 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1151-23_1_2_load_53 | 36 | 0.00079155 | 0.00019838 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1151-23_1_2_load_63 | 38 | 0.008238 | 0.0020646 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1151-23_1_2_load_64 | 39 | 0.0082922 | 0.0020782 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1151-23_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.049525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1151-23_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.036322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1151-23_1_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.021321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1151-23_1_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.070619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1151-23_1_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0039322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1151-23_1_2_line_5 | NAYY 4x150 SE | 4 | 37 | 0.056146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1151-23_1_2_line_6 | NAYY 4x150 SE | 5 | 38 | 0.011801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1151-23_1_2_line_7 | NAYY 4x150 SE | 6 | 7 | 0.066046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1151-23_1_2_line_8 | NAYY 4x150 SE | 7 | 8 | 0.034621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1151-23_1_2_line_9 | NAYY 4x150 SE | 8 | 9 | 0.00062651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1151-23_1_2_line_10 | NAYY 4x150 SE | 9 | 10 | 0.0085017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1151-23_1_2_line_11 | NAYY 4x150 SE | 10 | 11 | 0.031734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1151-23_1_2_line_12 | NAYY 4x150 SE | 11 | 26 | 0.02254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1151-23_1_2_line_13 | NAYY 4x150 SE | 12 | 13 | 0.010792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1151-23_1_2_line_14 | NAYY 4x150 SE | 12 | 14 | 0.017448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1151-23_1_2_line_15 | NAYY 4x150 SE | 13 | 15 | 0.0094589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1151-23_1_2_line_16 | NAYY 4x150 SE | 14 | 16 | 0.0011209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1151-23_1_2_line_17 | NAYY 4x150 SE | 15 | 17 | 0.010601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1151-23_1_2_line_18 | NAYY 4x150 SE | 17 | 18 | 0.00079655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1151-23_1_2_line_19 | NAYY 4x150 SE | 18 | 19 | 0.038058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1151-23_1_2_line_20 | NAYY 4x150 SE | 19 | 25 | 0.022304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1151-23_1_2_line_21 | NAYY 4x150 SE | 19 | 24 | 0.083781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1151-23_1_2_line_22 | NAYY 4x150 SE | 20 | 21 | 0.010751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1151-23_1_2_line_23 | NAYY 4x150 SE | 20 | 22 | 0.0066249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1151-23_1_2_line_24 | NAYY 4x150 SE | 21 | 23 | 0.014312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1151-23_1_2_line_25 | NAYY 4x150 SE | 22 | 24 | 0.040551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1151-23_1_2_line_26 | NAYY 4x150 SE | 25 | 26 | 0.085638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1151-23_1_2_line_27 | NAYY 4x150 SE | 26 | 27 | 0.012139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1151-23_1_2_line_28 | NAYY 4x150 SE | 26 | 28 | 0.02584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1151-23_1_2_line_29 | NAYY 4x150 SE | 27 | 29 | 0.010723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1151-23_1_2_line_30 | NAYY 4x150 SE | 28 | 30 | 0.018038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1151-23_1_2_line_31 | NAYY 4x150 SE | 29 | 31 | 0.01997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1151-23_1_2_line_32 | NAYY 4x150 SE | 30 | 32 | 0.001974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1151-23_1_2_line_33 | NAYY 4x150 SE | 31 | 33 | 0.014198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1151-23_1_2_line_34 | NAYY 4x150 SE | 32 | 34 | 0.02138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1151-23_1_2_line_35 | NAYY 4x150 SE | 33 | 36 | 0.013884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1151-23_1_2_line_36 | NAYY 4x150 SE | 35 | 36 | 0.0072386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1151-23_1_2_line_37 | NAYY 4x150 SE | 35 | 37 | 0.0046162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1151-23_1_2_line_38 | NAYY 4x150 SE | 38 | 39 | 0.020244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1151-23_1_2_trafo_49 | 0.25 MVA 20/0.4 kV | 40 | 10 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2642155.1699 | 1219467.0324 | 2642163.0693 | 1219471.3019 | 2642172.7212 | 1219473.4826 | 2642181.9786 | 1219472.4363 | 2642181.7365 | 1219493.7695
1 | 2642181.7365 | 1219493.7695 | 2642181.6592 | 1219500.4063 | 2642185.3147 | 1219529.8647
2 | 2642155.1699 | 1219467.0324 | 2642142.6587 | 1219477.5391 | 2642138.1515 | 1219479.6641
3 | 2642169.7549 | 1219592.4214 | 2642176.0114 | 1219588.6412 | 2642181.7186 | 1219583.1338 | 2642186.8871 | 1219574.3985 | 2642189.149 | 1219567.8773 | 2642189.453 | 1219558.1625 | 2642187.1867 | 1219544.9497 | 2642185.3147 | 1219529.8647
4 | 2642138.1515 | 1219479.6641 | 2642138.1515 | 1219479.6641 | 2642134.2549 | 1219479.1362
5 | 2642129.0777 | 1219559.9256 | 2642145.3813 | 1219583.9774 | 2642152.7126 | 1219590.2218 | 2642160.554 | 1219593.0234 | 2642169.7549 | 1219592.4214
6 | 2642134.2549 | 1219479.1362 | 2642134.2549 | 1219479.1362 | 2642124.6215 | 1219472.3196
7 | 2641991.6835 | 1219451.5756 | 2641986.982 | 1219449.3241 | 2641965.2974 | 1219442.5229 | 2641927.632 | 1219436.8101 | 2641927.6226 | 1219436.8043
8 | 2641991.6835 | 1219451.5756 | 2641995.9589 | 1219453.6232 | 2642001.758 | 1219459.8344 | 2642006.9125 | 1219470.2992 | 2642009.9348 | 1219475.3679 | 2642013.1488 | 1219477.425
9 | 2642013.1488 | 1219477.425 | 2642013.6765 | 1219477.7627
10 | 2642013.6765 | 1219477.7627 | 2642016.3632 | 1219479.4823 | 2642021.3373 | 1219481.3461
11 | 2642021.3373 | 1219481.3461 | 2642051.0534 | 1219492.4804
12 | 2642071.0927 | 1219502.582 | 2642060.0918 | 1219495.8671 | 2642051.0534 | 1219492.4804
13 | 2641898.6776 | 1219507.2469 | 2641906.5612 | 1219508.8827 | 2641909.1916 | 1219509.653
14 | 2641898.6776 | 1219507.2469 | 2641881.5937 | 1219503.7019
15 | 2641909.1916 | 1219509.653 | 2641918.2693 | 1219512.3111
16 | 2641880.4961 | 1219503.4742 | 2641881.5937 | 1219503.7019
17 | 2641928.4433 | 1219515.2902 | 2641918.2693 | 1219512.3111
18 | 2641928.4433 | 1219515.2902 | 2641929.2078 | 1219515.514
19 | 2641966.8626 | 1219518.7349 | 2641944.3624 | 1219518.9656 | 2641934.0266 | 1219516.9251 | 2641929.2078 | 1219515.514
20 | 2641966.8626 | 1219518.7349 | 2641985.3786 | 1219511.0385 | 2641987.5418 | 1219510.4131
21 | 2641966.8626 | 1219518.7349 | 2641943.5263 | 1219534.2466 | 2641933.0605 | 1219544.2234 | 2641928.1114 | 1219555.2508 | 2641926.8877 | 1219566.3265 | 2641930.9594 | 1219584.0102
22 | 2641890.4054 | 1219595.343 | 2641884.5536 | 1219604.3614
23 | 2641890.4054 | 1219595.343 | 2641890.4054 | 1219595.343 | 2641891.7385 | 1219588.8537
24 | 2641884.5536 | 1219604.3614 | 2641879.7196 | 1219611.8111 | 2641875.0337 | 1219614.5576
25 | 2641930.9594 | 1219584.0102 | 2641925.2032 | 1219586.8047 | 2641891.906 | 1219588.0381 | 2641891.7385 | 1219588.8537
26 | 2642071.0927 | 1219502.582 | 2642067.2597 | 1219504.8786 | 2642030.587 | 1219500.484 | 2642007.5279 | 1219504.6351 | 2641987.5418 | 1219510.4131
27 | 2642071.0927 | 1219502.582 | 2642081.7066 | 1219508.4733
28 | 2642071.0927 | 1219502.582 | 2642068.6202 | 1219511.014 | 2642069.5156 | 1219520.6817 | 2642071.7035 | 1219527.6919
29 | 2642081.7066 | 1219508.4733 | 2642086.9579 | 1219511.3881 | 2642090.4517 | 1219514.558
30 | 2642077.0777 | 1219544.9109 | 2642071.7035 | 1219527.6919
31 | 2642105.1978 | 1219528.0246 | 2642097.5664 | 1219521.0132 | 2642090.4517 | 1219514.558
32 | 2642077.0777 | 1219544.9109 | 2642077.6658 | 1219546.7953
33 | 2642105.1978 | 1219528.0246 | 2642108.566 | 1219531.1191 | 2642114.1482 | 1219538.9586
34 | 2642077.6658 | 1219546.7953 | 2642084.0357 | 1219567.2046
35 | 2642114.1482 | 1219538.9586 | 2642122.2015 | 1219550.2687
36 | 2642126.4002 | 1219556.1653 | 2642122.2015 | 1219550.2687
37 | 2642129.0777 | 1219559.9256 | 2642126.4002 | 1219556.1653
38 | 2642108.0965 | 1219460.6265 | 2642124.6215 | 1219472.3196

## bus_geodata
| x | y | coords
0 | 2642181.7365 | 1219493.7695
1 | 2642155.1699 | 1219467.0324
2 | 2642185.3147 | 1219529.8647
3 | 2642138.1515 | 1219479.6641
4 | 2642169.7549 | 1219592.4214
5 | 2642134.2549 | 1219479.1362
6 | 2641927.6226 | 1219436.8043
7 | 2641991.6835 | 1219451.5756
8 | 2642013.1488 | 1219477.425
9 | 2642013.6765 | 1219477.7627
10 | 2642021.3373 | 1219481.3461
11 | 2642051.0534 | 1219492.4804
12 | 2641898.6776 | 1219507.2469
13 | 2641909.1916 | 1219509.653
14 | 2641881.5937 | 1219503.7019
15 | 2641918.2693 | 1219512.3111
16 | 2641880.4961 | 1219503.4742
17 | 2641928.4433 | 1219515.2902
18 | 2641929.2078 | 1219515.514
19 | 2641966.8626 | 1219518.7349
20 | 2641890.4054 | 1219595.343
21 | 2641884.5536 | 1219604.3614
22 | 2641891.7385 | 1219588.8537
23 | 2641875.0337 | 1219614.5576
24 | 2641930.9594 | 1219584.0102
25 | 2641987.5418 | 1219510.4131
26 | 2642071.0927 | 1219502.582
27 | 2642081.7066 | 1219508.4733
28 | 2642071.7035 | 1219527.6919
29 | 2642090.4517 | 1219514.558
30 | 2642077.0777 | 1219544.9109
31 | 2642105.1978 | 1219528.0246
32 | 2642077.6658 | 1219546.7953
33 | 2642114.1482 | 1219538.9586
34 | 2642084.0357 | 1219567.2046
35 | 2642126.4002 | 1219556.1653
36 | 2642122.2015 | 1219550.2687
37 | 2642129.0777 | 1219559.9256
38 | 2642124.6215 | 1219472.3196
39 | 2642108.0965 | 1219460.6265
40 | 2642071.0927 | 1219502.582

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98293 | -0.11953 | 0 | 0
1 | 0.98094 | -0.13368 | 0 | 0
2 | 0.98439 | -0.10919 | 0.001793 | 0.00044937
3 | 0.98009 | -0.13979 | 0.002963 | 0.00074259
4 | 0.98741 | -0.087866 | 0 | 0
5 | 0.97995 | -0.14079 | 0.0081005 | 0.0020302
6 | 0.99949 | -0.0035845 | 0.0015667 | 0.00039266
7 | 0.99964 | -0.0025488 | 0.0028973 | 0.00072613
8 | 0.99986 | -0.0010028 | 0.0019446 | 0.00048737
9 | 0.99986 | -0.00096261 | 0.0049244 | 0.0012342
10 | 1 | 0 | -0.094368 | -0.023588
11 | 0.99628 | -0.025812 | 0.0033697 | 0.00084454
12 | 0.98781 | -0.085301 | 0.0010667 | 0.00026735
13 | 0.98795 | -0.084294 | 0.0012634 | 0.00031665
14 | 0.98761 | -0.08674 | 0.0026715 | 0.00066953
15 | 0.9881 | -0.083288 | 0.00082188 | 0.00020598
16 | 0.9876 | -0.086802 | 0.0053896 | 0.0013508
17 | 0.98827 | -0.082073 | 0.0011895 | 0.00029811
18 | 0.98828 | -0.081972 | 0.00095519 | 0.00023939
19 | 0.98901 | -0.076779 | 0 | 0
20 | 0.98606 | -0.097692 | 0.0013518 | 0.0003388
21 | 0.98597 | -0.09833 | 0.0018389 | 0.00046088
22 | 0.98613 | -0.097207 | 0.008915 | 0.0022343
23 | 0.98589 | -0.09891 | 0.0039417 | 0.00098788
24 | 0.98707 | -0.090533 | 0 | 0
25 | 0.98996 | -0.070088 | 0.0011733 | 0.00029405
26 | 0.99374 | -0.043496 | 0 | 0
27 | 0.9931 | -0.047994 | 0.0022482 | 0.00056344
28 | 0.99335 | -0.046256 | 0.0023428 | 0.00058716
29 | 0.99256 | -0.051728 | 0.0013553 | 0.00033968
30 | 0.99314 | -0.047757 | 0.0022138 | 0.00055483
31 | 0.99161 | -0.058418 | 0.0011262 | 0.00028225
32 | 0.99312 | -0.047877 | 0.0037268 | 0.00093401
33 | 0.99095 | -0.063019 | 0.00091091 | 0.0002283
34 | 0.99305 | -0.04837 | 0.0022787 | 0.00057111
35 | 0.99001 | -0.069621 | 0.00079021 | 0.00019805
36 | 0.99032 | -0.067396 | 0.00079155 | 0.00019838
37 | 0.98981 | -0.071004 | 0 | 0
38 | 0.97966 | -0.14282 | 0.008238 | 0.0020646
39 | 0.97942 | -0.14457 | 0.0082922 | 0.0020782
40 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.027681 | 0.006948 | -0.027627 | -0.0069278 | 5.428e-05 | 2.025e-05 | 0.041909 | 0.04191 | 0.04191 | 0.98293 | -0.11953 | 0.98094 | -0.13368 | 15.5221
1 | -0.027681 | -0.006948 | 0.027721 | 0.0069629 | 3.9808e-05 | 1.485e-05 | 0.041909 | 0.041909 | 0.041909 | 0.98293 | -0.11953 | 0.98439 | -0.10919 | 15.522
2 | 0.027627 | 0.0069278 | -0.027604 | -0.0069191 | 2.3368e-05 | 8.7187e-06 | 0.04191 | 0.04191 | 0.04191 | 0.98094 | -0.13368 | 0.98009 | -0.13979 | 15.5221
3 | -0.029514 | -0.0074123 | 0.029602 | 0.0074451 | 8.7732e-05 | 3.2842e-05 | 0.04462 | 0.044619 | 0.04462 | 0.98439 | -0.10919 | 0.98741 | -0.087866 | 16.5258
4 | 0.024641 | 0.0061765 | -0.024637 | -0.0061752 | 3.4342e-06 | 1.2713e-06 | 0.037411 | 0.037411 | 0.037411 | 0.98009 | -0.13979 | 0.97995 | -0.14079 | 13.856
5 | -0.029602 | -0.0074451 | 0.029672 | 0.0074712 | 6.975e-05 | 2.6107e-05 | 0.044619 | 0.044619 | 0.044619 | 0.98741 | -0.087866 | 0.98981 | -0.071004 | 16.5257
6 | 0.016537 | 0.004145 | -0.016532 | -0.0041434 | 4.6434e-06 | 1.6373e-06 | 0.025111 | 0.025111 | 0.025111 | 0.97995 | -0.14079 | 0.97966 | -0.14282 | 9.3003
7 | -0.0015667 | -0.00039266 | 0.001567 | 0.00039188 | 2.2419e-07 | -7.7949e-07 | 0.0023325 | 0.0023322 | 0.0023325 | 0.99949 | -0.0035845 | 0.99964 | -0.0025488 | 0.86389
8 | -0.0044642 | -0.001118 | 0.0044652 | 0.0011179 | 9.5389e-07 | -8.7091e-08 | 0.006645 | 0.0066448 | 0.006645 | 0.99964 | -0.0025488 | 0.99986 | -0.0010028 | 2.4611
9 | -0.0064098 | -0.0016053 | 0.0064098 | 0.0016053 | 3.5572e-08 | 5.4644e-09 | 0.0095388 | 0.0095388 | 0.0095388 | 0.99986 | -0.0010028 | 0.99986 | -0.00096261 | 3.5329
10 | -0.011334 | -0.0028395 | 0.011336 | 0.0028399 | 1.5093e-06 | 4.6899e-07 | 0.016867 | 0.016867 | 0.016867 | 0.99986 | -0.00096261 | 1 | 0 | 6.2472
11 | 0.082233 | 0.020748 | -0.081936 | -0.020634 | 0.00029672 | 0.00011371 | 0.12241 | 0.12241 | 0.12241 | 1 | 0 | 0.99628 | -0.025812 | 45.3379
12 | 0.078566 | 0.01979 | -0.078372 | -0.019715 | 0.00019379 | 7.4242e-05 | 0.11738 | 0.11738 | 0.11738 | 0.99628 | -0.025812 | 0.99374 | -0.043496 | 43.4739
13 | -0.0091295 | -0.002288 | 0.0091308 | 0.0022884 | 1.2737e-06 | 3.517e-07 | 0.013752 | 0.013752 | 0.013752 | 0.98781 | -0.085301 | 0.98795 | -0.084294 | 5.0935
14 | 0.0080627 | 0.0020207 | -0.0080611 | -0.0020203 | 1.6061e-06 | 3.944e-07 | 0.012146 | 0.012146 | 0.012146 | 0.98781 | -0.085301 | 0.98761 | -0.08674 | 4.4984
15 | -0.010394 | -0.002605 | 0.010396 | 0.0026055 | 1.4466e-06 | 4.3525e-07 | 0.015655 | 0.015655 | 0.015655 | 0.98795 | -0.084294 | 0.9881 | -0.083288 | 5.7983
16 | 0.0053897 | 0.0013508 | -0.0053896 | -0.0013508 | 4.6125e-08 | 3.3968e-09 | 0.0081206 | 0.0081206 | 0.0081206 | 0.98761 | -0.08674 | 0.9876 | -0.086802 | 3.0076
17 | -0.011218 | -0.0028115 | 0.011219 | 0.0028121 | 1.8878e-06 | 5.9026e-07 | 0.016893 | 0.016893 | 0.016893 | 0.9881 | -0.083288 | 0.98827 | -0.082073 | 6.2567
18 | -0.012409 | -0.0031102 | 0.012409 | 0.0031102 | 1.7351e-07 | 5.653e-08 | 0.018684 | 0.018684 | 0.018684 | 0.98827 | -0.082073 | 0.98828 | -0.081972 | 6.92
19 | -0.013364 | -0.0033496 | 0.013374 | 0.0033528 | 9.6155e-06 | 3.2102e-06 | 0.020122 | 0.020122 | 0.020122 | 0.98828 | -0.081972 | 0.98901 | -0.076779 | 7.4526
20 | -0.029468 | -0.0073907 | 0.029495 | 0.0074009 | 2.736e-05 | 1.0236e-05 | 0.044338 | 0.044338 | 0.044338 | 0.98901 | -0.076779 | 0.98996 | -0.070088 | 16.4215
21 | 0.016094 | 0.0040379 | -0.016064 | -0.0040272 | 3.0658e-05 | 1.0718e-05 | 0.024216 | 0.024216 | 0.024216 | 0.98901 | -0.076779 | 0.98707 | -0.090533 | 8.969
22 | 0.0057815 | 0.0014488 | -0.0057809 | -0.0014487 | 5.1061e-07 | 5.9266e-08 | 0.0087244 | 0.0087245 | 0.0087245 | 0.98606 | -0.097692 | 0.98597 | -0.09833 | 3.2313
23 | -0.0071333 | -0.0017876 | 0.0071338 | 0.0017877 | 4.79e-07 | 9.9719e-08 | 0.010764 | 0.010764 | 0.010764 | 0.98606 | -0.097692 | 0.98613 | -0.097207 | 3.9868
24 | 0.003942 | 0.00098782 | -0.0039417 | -0.00098788 | 3.1609e-07 | -6.0946e-08 | 0.0059492 | 0.0059493 | 0.0059493 | 0.98597 | -0.09833 | 0.98589 | -0.09891 | 2.2034
25 | -0.016049 | -0.004022 | 0.016064 | 0.0040272 | 1.4839e-05 | 5.1896e-06 | 0.024217 | 0.024216 | 0.024217 | 0.98613 | -0.097207 | 0.98707 | -0.090533 | 8.9691
26 | -0.030669 | -0.007695 | 0.030782 | 0.0077376 | 0.00011357 | 4.2577e-05 | 0.046101 | 0.046101 | 0.046101 | 0.98996 | -0.070088 | 0.99374 | -0.043496 | 17.0746
27 | 0.037022 | 0.0093294 | -0.036999 | -0.0093206 | 2.3294e-05 | 8.802e-06 | 0.055454 | 0.055454 | 0.055454 | 0.99374 | -0.043496 | 0.9931 | -0.047994 | 20.5385
28 | 0.010568 | 0.0026485 | -0.010564 | -0.0026473 | 4.0377e-06 | 1.2183e-06 | 0.015824 | 0.015825 | 0.015825 | 0.99374 | -0.043496 | 0.99335 | -0.046256 | 5.861
29 | 0.03475 | 0.0087571 | -0.034732 | -0.0087503 | 1.8153e-05 | 6.8433e-06 | 0.052085 | 0.052086 | 0.052086 | 0.9931 | -0.047994 | 0.99256 | -0.051728 | 19.2909
30 | 0.0082213 | 0.0020602 | -0.0082196 | -0.0020597 | 1.7071e-06 | 4.2312e-07 | 0.012315 | 0.012315 | 0.012315 | 0.99335 | -0.046256 | 0.99314 | -0.047757 | 4.5612
31 | 0.033377 | 0.0084106 | -0.033346 | -0.0083989 | 3.122e-05 | 1.175e-05 | 0.050054 | 0.050054 | 0.050054 | 0.99256 | -0.051728 | 0.99161 | -0.058418 | 18.5384
32 | 0.0060058 | 0.0015049 | -0.0060057 | -0.0015049 | 9.9736e-08 | 1.2817e-08 | 0.0089983 | 0.0089983 | 0.0089983 | 0.99314 | -0.047757 | 0.99312 | -0.047877 | 3.3327
33 | 0.03222 | 0.0081166 | -0.032199 | -0.0081088 | 2.0723e-05 | 7.7872e-06 | 0.048364 | 0.048364 | 0.048364 | 0.99161 | -0.058418 | 0.99095 | -0.063019 | 17.9125
34 | 0.0022789 | 0.00057089 | -0.0022787 | -0.00057111 | 1.5554e-07 | -2.1681e-07 | 0.0034144 | 0.0034145 | 0.0034145 | 0.99312 | -0.047877 | 0.99305 | -0.04837 | 1.2646
35 | 0.031288 | 0.0078805 | -0.031269 | -0.0078733 | 1.9135e-05 | 7.1809e-06 | 0.046996 | 0.046996 | 0.046996 | 0.99095 | -0.063019 | 0.99032 | -0.067396 | 17.406
36 | -0.030468 | -0.0076714 | 0.030477 | 0.007675 | 9.4776e-06 | 3.5521e-06 | 0.045807 | 0.045807 | 0.045807 | 0.99001 | -0.069621 | 0.99032 | -0.067396 | 16.9655
37 | 0.029678 | 0.0074734 | -0.029672 | -0.0074712 | 5.7348e-06 | 2.1463e-06 | 0.044619 | 0.044619 | 0.044619 | 0.99001 | -0.069621 | 0.98981 | -0.071004 | 16.5256
38 | 0.0082942 | 0.0020787 | -0.0082922 | -0.0020782 | 2.0049e-06 | 5.1628e-07 | 0.012598 | 0.012598 | 0.012598 | 0.97966 | -0.14282 | 0.97942 | -0.14457 | 4.666

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.096312 | 0.024075

## res_load
| p_mw | q_mvar
0 | 0.001793 | 0.00044937
1 | 0.002963 | 0.00074259
2 | 0.0081005 | 0.0020302
3 | 0.0015667 | 0.00039266
4 | 0.0028973 | 0.00072613
5 | 0.0019446 | 0.00048737
6 | 0.0049244 | 0.0012342
7 | 0.0019438 | 0.00048716
8 | 0.0033697 | 0.00084454
9 | 0.0010667 | 0.00026735
10 | 0.0012634 | 0.00031665
11 | 0.0026715 | 0.00066953
12 | 0.00082188 | 0.00020598
13 | 0.0053896 | 0.0013508
14 | 0.0011895 | 0.00029811
15 | 0.00095519 | 0.00023939
16 | 0.0013518 | 0.0003388
17 | 0.0018389 | 0.00046088
18 | 0.008915 | 0.0022343
19 | 0.0039417 | 0.00098788
20 | 0.0011733 | 0.00029405
21 | 0.0022482 | 0.00056344
22 | 0.0023428 | 0.00058716
23 | 0.0013553 | 0.00033968
24 | 0.0022138 | 0.00055483
25 | 0.0011262 | 0.00028225
26 | 0.0037268 | 0.00093401
27 | 0.00091091 | 0.0002283
28 | 0.0022787 | 0.00057111
29 | 0.00079021 | 0.00019805
30 | 0.00079155 | 0.00019838
31 | 0.008238 | 0.0020646
32 | 0.0082922 | 0.0020782

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1