## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1151-25_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1151-25_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1151-25_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1151-25_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1151-25_0_3_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_1151-25_0_3_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_1151-25_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1151-25_0_3_node_24 | 0.4 | n |  | TRUE
8 | bus_LV_1151-25_0_3_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_1151-25_0_3_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_1151-25_0_3_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_1151-25_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1151-25_0_3_node_23 | 0.4 | n |  | TRUE
13 | bus_LV_1151-25_0_3_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_1151-25_0_3_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_1151-25_0_3_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_1151-25_0_3_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_1151-25_0_3_node_28 | 0.4 | n |  | TRUE
18 | bus_LV_1151-25_0_3_node_27 | 0.4 | n |  | TRUE
19 | bus_LV_1151-25_0_3_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_1151-25_0_3_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_1151-25_0_3_node_29 | 0.4 | n |  | TRUE
22 | bus_LV_1151-25_0_3_node_38 | 0.4 | n |  | TRUE
23 | bus_LV_1151-25_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_1151-25_0_3_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_1151-25_0_3_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_1151-25_0_3_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_1151-25_0_3_node_44 | 0.4 | n |  | TRUE
28 | bus_LV_1151-25_0_3_node_39 | 0.4 | n |  | TRUE
29 | bus_LV_1151-25_0_3_node_37 | 0.4 | n |  | TRUE
30 | bus_LV_1151-25_0_3_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_1151-25_0_3_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_1151-25_0_3_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_1151-25_0_3_node_50 | 0.4 | n |  | TRUE
34 | bus_LV_1151-25_0_3_node_55 | 0.4 | n |  | TRUE
35 | bus_LV_1151-25_0_3_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_1151-25_0_3_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_1151-25_0_3_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_1151-25_0_3_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_1151-25_0_3_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_1151-25_0_3_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_1151-25_0_3_node_45 | 0.4 | n |  | TRUE
42 | bus_LV_1151-25_0_3_node_49 | 0.4 | n |  | TRUE
43 | bus_LV_1151-25_0_3_node_51 | 0.4 | n |  | TRUE
44 | bus_LV_1151-25_0_3_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_1151-25_0_3_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_1151-25_0_3_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_1151-25_0_3_node_60 | 0.4 | n |  | TRUE
48 | bus_LV_1151-25_0_3_node_59 | 0.4 | n |  | TRUE
49 | bus_LV_1151-25_0_3_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_1151-25_0_3_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_1151-25_0_3_node_57 | 0.4 | n |  | TRUE
52 | bus_LV_1151-25_0_3_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_1151-25_0_3_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_1151-25_0_3_node_58 | 0.4 | n |  | TRUE
55 | bus_LV_1151-25_0_3_node_56 | 0.4 | n |  | TRUE
56 | bus_MV_128_0_node_152 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1151-25_0_3_load_0 | 0 | 0.00074228 | 0.00018603 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1151-25_0_3_load_3 | 3 | 0.0049189 | 0.0012328 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1151-25_0_3_load_24 | 7 | 0.0028048 | 0.00070296 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1151-25_0_3_load_22 | 9 | 0.0098176 | 0.0024605 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1151-25_0_3_load_23 | 12 | 0.0050301 | 0.0012607 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1151-25_0_3_load_13 | 13 | 0.0032061 | 0.00080353 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1151-25_0_3_load_18 | 14 | 0.012728 | 0.0031898 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1151-25_0_3_load_15 | 15 | 0.012856 | 0.0032219 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1151-25_0_3_load_19 | 16 | 0.010789 | 0.002704 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1151-25_0_3_load_28 | 17 | 0.0065406 | 0.0016392 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1151-25_0_3_load_27 | 18 | 0.0013139 | 0.0003293 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1151-25_0_3_load_26 | 19 | 0.0019043 | 0.00047727 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1151-25_0_3_load_25 | 20 | 0.0032846 | 0.0008232 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1151-25_0_3_load_29 | 21 | 0.0079088 | 0.0019821 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1151-25_0_3_load_38 | 22 | 0.0097466 | 0.0024427 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1151-25_0_3_load_16 | 23 | 0.0096349 | 0.0024147 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1151-25_0_3_load_21 | 24 | 0.0016739 | 0.00041952 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1151-25_0_3_load_20 | 26 | 0.0016747 | 0.00041971 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1151-25_0_3_load_44 | 27 | 0.0026705 | 0.00066928 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1151-25_0_3_load_39 | 28 | 0.0098746 | 0.0024748 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1151-25_0_3_load_37 | 29 | 0.0028232 | 0.00070755 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1151-25_0_3_load_31 | 31 | 0.0011469 | 0.00028743 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1151-25_0_3_load_32 | 32 | 0.0022122 | 0.00055443 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1151-25_0_3_load_33 | 36 | 0.0028 | 0.00070175 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1151-25_0_3_load_34 | 37 | 0.0033404 | 0.00083719 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1151-25_0_3_load_35 | 38 | 0.0055637 | 0.0013944 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1151-25_0_3_load_36 | 39 | 0.002717 | 0.00068094 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1151-25_0_3_load_46 | 40 | 0.0028566 | 0.00071594 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1151-25_0_3_load_45 | 41 | 0.002605 | 0.00065287 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1151-25_0_3_load_49 | 42 | 0.0026841 | 0.00067271 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1151-25_0_3_load_41 | 44 | 0.0025697 | 0.00064402 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1151-25_0_3_load_42 | 45 | 0.0026122 | 0.00065468 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1151-25_0_3_load_43 | 46 | 0.0027833 | 0.00069755 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1151-25_0_3_load_60 | 47 | 0.0027634 | 0.00069257 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1151-25_0_3_load_59 | 48 | 0.0034687 | 0.00086933 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1151-25_0_3_load_47 | 49 | 0.002943 | 0.00073759 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1151-25_0_3_load_52 | 52 | 0.0031518 | 0.00078992 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1151-25_0_3_load_54 | 53 | 0.0041878 | 0.0010496 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1151-25_0_3_load_58 | 54 | 0.0017998 | 0.00045108 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1151-25_0_3_load_56 | 55 | 0.0038077 | 0.00095429 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1151-25_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.018246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1151-25_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.03515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1151-25_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.014216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1151-25_0_3_line_3 | NAYY 4x150 SE | 1 | 4 | 0.040217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1151-25_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.0090017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1151-25_0_3_line_5 | NAYY 4x150 SE | 4 | 10 | 0.055768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1151-25_0_3_line_6 | NAYY 4x150 SE | 5 | 16 | 0.013152 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1151-25_0_3_line_7 | NAYY 4x150 SE | 6 | 7 | 0.017323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1151-25_0_3_line_8 | NAYY 4x150 SE | 6 | 8 | 0.068159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1151-25_0_3_line_9 | NAYY 4x150 SE | 6 | 9 | 0.02132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1151-25_0_3_line_10 | NAYY 4x150 SE | 7 | 19 | 0.024246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1151-25_0_3_line_11 | NAYY 4x150 SE | 8 | 13 | 0.011676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1151-25_0_3_line_12 | NAYY 4x150 SE | 9 | 12 | 0.023248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1151-25_0_3_line_13 | NAYY 4x150 SE | 10 | 14 | 0.01586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_1151-25_0_3_line_14 | NAYY 4x150 SE | 10 | 15 | 0.027937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_1151-25_0_3_line_15 | NAYY 4x150 SE | 10 | 11 | 0.035255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1151-25_0_3_line_16 | NAYY 4x150 SE | 11 | 12 | 0.0041812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1151-25_0_3_line_17 | NAYY 4x150 SE | 14 | 22 | 0.027268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_1151-25_0_3_line_18 | NAYY 4x150 SE | 15 | 23 | 0.036131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1151-25_0_3_line_19 | NAYY 4x150 SE | 17 | 18 | 0.023078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1151-25_0_3_line_20 | NAYY 4x150 SE | 18 | 19 | 0.052872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1151-25_0_3_line_21 | NAYY 4x150 SE | 20 | 21 | 0.0060963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1151-25_0_3_line_22 | NAYY 4x150 SE | 21 | 30 | 0.030508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1151-25_0_3_line_23 | NAYY 4x150 SE | 22 | 28 | 0.036646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_1151-25_0_3_line_24 | NAYY 4x150 SE | 24 | 25 | 0.024525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1151-25_0_3_line_25 | NAYY 4x150 SE | 25 | 26 | 0.018745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1151-25_0_3_line_26 | NAYY 4x150 SE | 26 | 27 | 0.014274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1151-25_0_3_line_27 | NAYY 4x150 SE | 27 | 29 | 0.0062599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1151-25_0_3_line_28 | NAYY 4x150 SE | 28 | 35 | 0.035428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1151-25_0_3_line_29 | NAYY 4x150 SE | 29 | 38 | 0.0097982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1151-25_0_3_line_30 | NAYY 4x150 SE | 30 | 31 | 0.013349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1151-25_0_3_line_31 | NAYY 4x150 SE | 30 | 32 | 0.0046548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1151-25_0_3_line_32 | NAYY 4x150 SE | 32 | 33 | 0.01668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1151-25_0_3_line_33 | NAYY 4x150 SE | 33 | 34 | 0.028116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1151-25_0_3_line_34 | NAYY 4x150 SE | 33 | 35 | 0.005875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1151-25_0_3_line_35 | NAYY 4x150 SE | 34 | 53 | 0.040111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1151-25_0_3_line_36 | NAYY 4x150 SE | 35 | 42 | 0.06818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1151-25_0_3_line_37 | NAYY 4x150 SE | 36 | 37 | 0.018737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1151-25_0_3_line_38 | NAYY 4x150 SE | 36 | 38 | 0.010298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1151-25_0_3_line_39 | NAYY 4x150 SE | 37 | 39 | 0.0020646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1151-25_0_3_line_40 | NAYY 4x150 SE | 39 | 40 | 0.021285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1151-25_0_3_line_41 | NAYY 4x150 SE | 40 | 41 | 0.0011655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1151-25_0_3_line_42 | NAYY 4x150 SE | 41 | 49 | 0.0091091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1151-25_0_3_line_43 | NAYY 4x150 SE | 42 | 43 | 0.065968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1151-25_0_3_line_44 | NAYY 4x150 SE | 43 | 52 | 0.037288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1151-25_0_3_line_45 | NAYY 4x150 SE | 43 | 50 | 0.021956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1151-25_0_3_line_46 | NAYY 4x150 SE | 44 | 45 | 0.020817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1151-25_0_3_line_47 | NAYY 4x150 SE | 45 | 46 | 0.00029186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1151-25_0_3_line_48 | NAYY 4x150 SE | 46 | 47 | 0.017321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1151-25_0_3_line_49 | NAYY 4x150 SE | 47 | 48 | 0.0046045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1151-25_0_3_line_50 | NAYY 4x150 SE | 48 | 54 | 0.0082626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1151-25_0_3_line_51 | NAYY 4x150 SE | 49 | 50 | 0.026853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1151-25_0_3_line_52 | NAYY 4x150 SE | 50 | 51 | 0.02749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1151-25_0_3_line_53 | NAYY 4x150 SE | 51 | 54 | 0.037741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1151-25_0_3_line_54 | NAYY 4x150 SE | 51 | 55 | 0.019977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1151-25_0_3_trafo_15 | 0.25 MVA 20/0.4 kV | 56 | 15 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2642148.4973 | 1219280.7186 | 2642143.9505 | 1219280.9088 | 2642140.0293 | 1219279.558 | 2642137.2935 | 1219276.9038 | 2642133.8431 | 1219272.3216
1 | 2642112.7866 | 1219244.1778 | 2642115.5369 | 1219248.0106 | 2642133.8431 | 1219272.3216
2 | 2642148.4973 | 1219280.7186 | 2642150.2839 | 1219280.2531 | 2642162.1558 | 1219276.7774
3 | 2642148.4973 | 1219280.7186 | 2642154.6694 | 1219286.7658 | 2642159.7337 | 1219291.7268 | 2642158.1144 | 1219294.2946 | 2642157.7426 | 1219297.505 | 2642158.9599 | 1219301.3493 | 2642159.8011 | 1219302.5893 | 2642154.0185 | 1219306.9177 | 2642149.6396 | 1219310.1886
4 | 2642105.7729 | 1219249.8205 | 2642109.337 | 1219246.9551 | 2642112.7866 | 1219244.1778
5 | 2642149.6396 | 1219310.1886 | 2642167.4656 | 1219334.7182 | 2642168.1584 | 1219336.5464 | 2642168.0668 | 1219339.8366 | 2642166.6025 | 1219343.017 | 2642168.8257 | 1219346.268 | 2642162.8122 | 1219351.0617 | 2642159.8842 | 1219355.199
6 | 2642105.7729 | 1219249.8205 | 2642113.5041 | 1219260.4599
7 | 2642214.1075 | 1219398.4084 | 2642224.2484 | 1219412.4531
8 | 2642214.1075 | 1219398.4084 | 2642219.9832 | 1219394.859 | 2642248.8212 | 1219435.154 | 2642253.2739 | 1219441.8006 | 2642254.0965 | 1219438.1487
9 | 2642214.1075 | 1219398.4084 | 2642201.4822 | 1219381.2282
10 | 2642224.2484 | 1219412.4531 | 2642238.4417 | 1219432.1104
11 | 2642254.0965 | 1219438.1487 | 2642256.6552 | 1219426.7569
12 | 2642201.4822 | 1219381.2282 | 2642187.7152 | 1219362.4944
13 | 2642159.8842 | 1219355.199 | 2642158.3546 | 1219362.248 | 2642159.7284 | 1219370.785
14 | 2642159.8842 | 1219355.199 | 2642144.8045 | 1219351.1567 | 2642133.7479 | 1219345.712
15 | 2642159.8842 | 1219355.199 | 2642162.8122 | 1219351.0617 | 2642168.8257 | 1219346.268 | 2642172.0478 | 1219350.9714 | 2642175.0784 | 1219350.5593 | 2642177.7667 | 1219351.3454 | 2642181.2783 | 1219353.7383 | 2642185.2392 | 1219359.1251
16 | 2642185.2392 | 1219359.1251 | 2642187.7152 | 1219362.4944
17 | 2642169.5881 | 1219396.158 | 2642163.8642 | 1219379.3304 | 2642159.7284 | 1219370.785
18 | 2642133.7479 | 1219345.712 | 2642101.3334 | 1219329.7501
19 | 2642269.8874 | 1219474.6004 | 2642275.4228 | 1219482.5819 | 2642279.8519 | 1219493.6199 | 2642280.5692 | 1219494.905
20 | 2642269.8874 | 1219474.6004 | 2642263.6526 | 1219465.6106 | 2642247.4717 | 1219444.6167 | 2642238.4417 | 1219432.1104
21 | 2642207.3935 | 1219509.4429 | 2642201.3036 | 1219509.7217
22 | 2642181.7365 | 1219493.7695 | 2642186.2366 | 1219506.5868 | 2642188.7533 | 1219510.1512 | 2642191.5001 | 1219510.1706 | 2642201.3036 | 1219509.7217
23 | 2642169.5881 | 1219396.158 | 2642178.33 | 1219421.8581 | 2642179.8763 | 1219431.2315
24 | 2642038.2175 | 1219295.4711 | 2642019.2693 | 1219290.101 | 2642014.5796 | 1219288.9415
25 | 2642038.2175 | 1219295.4711 | 2642027.4127 | 1219310.7891
26 | 2642027.4127 | 1219310.7891 | 2642019.1853 | 1219322.453
27 | 2642023.0494 | 1219327.3781 | 2642019.1853 | 1219322.453 | 2642019.1853 | 1219322.453
28 | 2642181.7925 | 1219466.5648 | 2642180.8475 | 1219437.1183 | 2642179.8763 | 1219431.2315
29 | 2642023.0494 | 1219327.3781 | 2642029.0975 | 1219335.0868
30 | 2642181.7365 | 1219493.7695 | 2642181.6592 | 1219500.4063 | 2642182.4857 | 1219507.067
31 | 2642181.7365 | 1219493.7695 | 2642181.7893 | 1219489.115
32 | 2642181.9786 | 1219472.4363 | 2642181.7893 | 1219489.115
33 | 2642155.1699 | 1219467.0324 | 2642163.0693 | 1219471.3019 | 2642172.7212 | 1219473.4826 | 2642181.9786 | 1219472.4363
34 | 2642181.7925 | 1219466.5648 | 2642181.9786 | 1219472.4363
35 | 2642155.1699 | 1219467.0324 | 2642142.6587 | 1219477.5391 | 2642138.1515 | 1219479.6641 | 2642134.2549 | 1219479.1362 | 2642122.1265 | 1219470.5542
36 | 2642181.7925 | 1219466.5648 | 2642167.5709 | 1219465.6859 | 2642158.2349 | 1219461.762 | 2642120.1791 | 1219440.0688
37 | 2642035.8428 | 1219342.8642 | 2642048.3108 | 1219356.8514
38 | 2642035.8428 | 1219342.8642 | 2642030.474 | 1219336.8412 | 2642029.0975 | 1219335.0868
39 | 2642048.3108 | 1219356.8514 | 2642049.6846 | 1219358.3927
40 | 2642063.8479 | 1219374.2818 | 2642049.6846 | 1219358.3927
41 | 2642064.6234 | 1219375.1518 | 2642063.8479 | 1219374.2818
42 | 2642064.6234 | 1219375.1518 | 2642070.6847 | 1219381.9516
43 | 2642066.9646 | 1219402.6377 | 2642077.1479 | 1219415.5395 | 2642120.1791 | 1219440.0688
44 | 2642066.9646 | 1219402.6377 | 2642100.7945 | 1219418.5304
45 | 2642066.9646 | 1219402.6377 | 2642059.3409 | 1219399.0596 | 2642047.62 | 1219392.1951
46 | 2641966.5275 | 1219322.8463 | 2641981.4776 | 1219337.3322
47 | 2641981.4776 | 1219337.3322 | 2641981.6872 | 1219337.5353
48 | 2641981.6872 | 1219337.5353 | 2641994.1265 | 1219349.5884
49 | 2641997.4333 | 1219352.7926 | 2641994.1265 | 1219349.5884
50 | 2641997.4333 | 1219352.7926 | 2641999.8175 | 1219355.1027 | 2642002.237 | 1219359.4129
51 | 2642047.62 | 1219392.1951 | 2642056.5462 | 1219392.9251 | 2642070.6847 | 1219381.9516
52 | 2642028.5111 | 1219379.5195 | 2642044.1659 | 1219381.6422 | 2642047.0586 | 1219384.6422 | 2642047.62 | 1219392.1951
53 | 2642028.5111 | 1219379.5195 | 2642023.6664 | 1219381.0751 | 2642018.1785 | 1219380.2248 | 2642012.2803 | 1219377.3038 | 2642002.237 | 1219359.4129
54 | 2642028.5111 | 1219379.5195 | 2642022.2482 | 1219376.6625 | 2642013.3368 | 1219367.0693

## bus_geodata
| x | y | coords
0 | 2642133.8431 | 1219272.3216
1 | 2642148.4973 | 1219280.7186
2 | 2642112.7866 | 1219244.1778
3 | 2642162.1558 | 1219276.7774
4 | 2642149.6396 | 1219310.1886
5 | 2642105.7729 | 1219249.8205
6 | 2642214.1075 | 1219398.4084
7 | 2642224.2484 | 1219412.4531
8 | 2642254.0965 | 1219438.1487
9 | 2642201.4822 | 1219381.2282
10 | 2642159.8842 | 1219355.199
11 | 2642185.2392 | 1219359.1251
12 | 2642187.7152 | 1219362.4944
13 | 2642256.6552 | 1219426.7569
14 | 2642159.7284 | 1219370.785
15 | 2642133.7479 | 1219345.712
16 | 2642113.5041 | 1219260.4599
17 | 2642280.5692 | 1219494.905
18 | 2642269.8874 | 1219474.6004
19 | 2642238.4417 | 1219432.1104
20 | 2642207.3935 | 1219509.4429
21 | 2642201.3036 | 1219509.7217
22 | 2642169.5881 | 1219396.158
23 | 2642101.3334 | 1219329.7501
24 | 2642014.5796 | 1219288.9415
25 | 2642038.2175 | 1219295.4711
26 | 2642027.4127 | 1219310.7891
27 | 2642019.1853 | 1219322.453
28 | 2642179.8763 | 1219431.2315
29 | 2642023.0494 | 1219327.3781
30 | 2642181.7365 | 1219493.7695
31 | 2642182.4857 | 1219507.067
32 | 2642181.7893 | 1219489.115
33 | 2642181.9786 | 1219472.4363
34 | 2642155.1699 | 1219467.0324
35 | 2642181.7925 | 1219466.5648
36 | 2642035.8428 | 1219342.8642
37 | 2642048.3108 | 1219356.8514
38 | 2642029.0975 | 1219335.0868
39 | 2642049.6846 | 1219358.3926
40 | 2642063.8479 | 1219374.2818
41 | 2642064.6234 | 1219375.1518
42 | 2642120.1791 | 1219440.0688
43 | 2642066.9646 | 1219402.6377
44 | 2641966.5275 | 1219322.8463
45 | 2641981.4776 | 1219337.3322
46 | 2641981.6872 | 1219337.5353
47 | 2641994.1265 | 1219349.5884
48 | 2641997.4333 | 1219352.7926
49 | 2642070.6847 | 1219381.9516
50 | 2642047.62 | 1219392.1951
51 | 2642028.5111 | 1219379.5195
52 | 2642100.7945 | 1219418.5304
53 | 2642122.1265 | 1219470.5542
54 | 2642002.237 | 1219359.4129
55 | 2642013.3368 | 1219367.0693
56 | 2642159.8842 | 1219355.199

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99429 | -0.039791 | 0.00074228 | 0.00018603
1 | 0.99459 | -0.037666 | 0 | 0
2 | 0.99375 | -0.043623 | 0 | 0
3 | 0.99449 | -0.038372 | 0.0049189 | 0.0012328
4 | 0.99554 | -0.030994 | 0 | 0
5 | 0.99361 | -0.044605 | 0 | 0
6 | 0.99379 | -0.043323 | 0 | 0
7 | 0.99348 | -0.045525 | 0.0028048 | 0.00070296
8 | 0.99348 | -0.045535 | 0 | 0
9 | 0.99427 | -0.039923 | 0.0098176 | 0.0024605
10 | 0.99686 | -0.021759 | 0 | 0
11 | 0.99531 | -0.032626 | 0 | 0
12 | 0.99513 | -0.033917 | 0.0050301 | 0.0012607
13 | 0.99342 | -0.045914 | 0.0032061 | 0.00080353
14 | 0.99561 | -0.030409 | 0.012728 | 0.0031898
15 | 1 | 0 | -0.16817 | -0.042233
16 | 0.9934 | -0.04604 | 0.010789 | 0.002704
17 | 0.99232 | -0.053657 | 0.0065406 | 0.0016392
18 | 0.99254 | -0.052128 | 0.0013139 | 0.0003293
19 | 0.99314 | -0.04792 | 0.0019043 | 0.00047727
20 | 0.98637 | -0.094938 | 0.0032846 | 0.0008232
21 | 0.9864 | -0.094733 | 0.0079088 | 0.0019821
22 | 0.99371 | -0.043577 | 0.0097466 | 0.0024427
23 | 0.9995 | -0.0034767 | 0.0096349 | 0.0024147
24 | 0.97131 | -0.20194 | 0.0016739 | 0.00041952
25 | 0.97137 | -0.2015 | 0 | 0
26 | 0.97142 | -0.20117 | 0.0016747 | 0.00041971
27 | 0.97149 | -0.20066 | 0.0026705 | 0.00066928
28 | 0.99142 | -0.059539 | 0.0098746 | 0.0024748
29 | 0.97154 | -0.20027 | 0.0028232 | 0.00070755
30 | 0.98689 | -0.091231 | 0 | 0
31 | 0.98687 | -0.091388 | 0.0011469 | 0.00028743
32 | 0.98697 | -0.090642 | 0.0022122 | 0.00055443
33 | 0.98732 | -0.088155 | 0 | 0
34 | 0.98715 | -0.089362 | 0 | 0
35 | 0.98748 | -0.087027 | 0 | 0
36 | 0.97189 | -0.19778 | 0.0028 | 0.00070175
37 | 0.97236 | -0.19437 | 0.0033404 | 0.00083719
38 | 0.97167 | -0.19935 | 0.0055637 | 0.0013944
39 | 0.97242 | -0.19393 | 0.002717 | 0.00068094
40 | 0.97315 | -0.1887 | 0.0028566 | 0.00071594
41 | 0.97319 | -0.18838 | 0.002605 | 0.00065287
42 | 0.98176 | -0.12728 | 0.0026841 | 0.00067271
43 | 0.97648 | -0.16482 | 0 | 0
44 | 0.97261 | -0.19256 | 0.0025697 | 0.00064402
45 | 0.97269 | -0.19199 | 0.0026122 | 0.00065468
46 | 0.97269 | -0.19198 | 0.0027833 | 0.00069755
47 | 0.9729 | -0.19052 | 0.0027634 | 0.00069257
48 | 0.97297 | -0.19 | 0.0034687 | 0.00086933
49 | 0.97358 | -0.18562 | 0.002943 | 0.00073759
50 | 0.97482 | -0.17668 | 0 | 0
51 | 0.97403 | -0.1824 | 0 | 0
52 | 0.97631 | -0.16605 | 0.0031518 | 0.00078992
53 | 0.98691 | -0.091084 | 0.0041878 | 0.0010496
54 | 0.97314 | -0.18876 | 0.0017998 | 0.00045108
55 | 0.97391 | -0.1832 | 0.0038077 | 0.00095429
56 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.011541 | -0.0028929 | 0.011544 | 0.002894 | 3.3964e-06 | 1.0696e-06 | 0.017272 | 0.017272 | 0.017272 | 0.99429 | -0.039791 | 0.99459 | -0.037666 | 6.3969
1 | 0.010798 | 0.0027069 | -0.010793 | -0.0027051 | 5.7285e-06 | 1.7476e-06 | 0.016161 | 0.016161 | 0.016161 | 0.99429 | -0.039791 | 0.99375 | -0.043623 | 5.9855
2 | 0.0049194 | 0.0012328 | -0.0049189 | -0.0012328 | 4.8054e-07 | 3.4268e-10 | 0.0073599 | 0.00736 | 0.00736 | 0.99459 | -0.037666 | 0.99449 | -0.038372 | 2.7259
3 | -0.016464 | -0.0041268 | 0.016479 | 0.0041321 | 1.5226e-05 | 5.3336e-06 | 0.024631 | 0.024631 | 0.024631 | 0.99459 | -0.037666 | 0.99554 | -0.030994 | 9.1228
4 | 0.010793 | 0.0027051 | -0.010791 | -0.0027047 | 1.4671e-06 | 4.4764e-07 | 0.016161 | 0.016161 | 0.016161 | 0.99375 | -0.043623 | 0.99361 | -0.044605 | 5.9855
5 | -0.016479 | -0.0041321 | 0.0165 | 0.0041395 | 2.1112e-05 | 7.3941e-06 | 0.024631 | 0.024631 | 0.024631 | 0.99554 | -0.030994 | 0.99686 | -0.021759 | 9.1227
6 | 0.010791 | 0.0027047 | -0.010789 | -0.002704 | 2.1434e-06 | 6.5408e-07 | 0.016161 | 0.016161 | 0.016161 | 0.99361 | -0.044605 | 0.9934 | -0.04604 | 5.9856
7 | 0.012577 | 0.0031523 | -0.012573 | -0.003151 | 3.8334e-06 | 1.25e-06 | 0.018831 | 0.018832 | 0.018832 | 0.99379 | -0.043323 | 0.99348 | -0.045525 | 6.9747
8 | 0.0032073 | 0.00080294 | -0.0032063 | -0.00080345 | 9.808e-07 | -5.0562e-07 | 0.004802 | 0.0048023 | 0.0048023 | 0.99379 | -0.043323 | 0.99348 | -0.045535 | 1.7786
9 | -0.015784 | -0.0039552 | 0.015791 | 0.0039578 | 7.4307e-06 | 2.5816e-06 | 0.023633 | 0.023633 | 0.023633 | 0.99379 | -0.043323 | 0.99427 | -0.039923 | 8.7531
10 | 0.0097681 | 0.0024481 | -0.0097649 | -0.0024471 | 3.2385e-06 | 9.3173e-07 | 0.01463 | 0.014631 | 0.014631 | 0.99348 | -0.045525 | 0.99314 | -0.04792 | 5.4187
11 | 0.0032063 | 0.00080345 | -0.0032061 | -0.00080353 | 1.6802e-07 | -8.6551e-08 | 0.0048023 | 0.0048024 | 0.0048024 | 0.99348 | -0.045535 | 0.99342 | -0.045914 | 1.7787
12 | -0.025609 | -0.0064183 | 0.02563 | 0.0064262 | 2.1309e-05 | 7.8941e-06 | 0.038326 | 0.038326 | 0.038326 | 0.99427 | -0.039923 | 0.99513 | -0.033917 | 14.1949
13 | 0.11004 | 0.027787 | -0.1099 | -0.027736 | 0.00013362 | 5.0979e-05 | 0.16433 | 0.16433 | 0.16433 | 0.99686 | -0.021759 | 0.99561 | -0.030409 | 30.4309
14 | -0.15725 | -0.039633 | 0.15773 | 0.039817 | 0.00048055 | 0.0001841 | 0.23481 | 0.2348 | 0.23481 | 0.99686 | -0.021759 | 1 | 0 | 43.4824
15 | 0.030712 | 0.0077063 | -0.030666 | -0.0076889 | 4.6243e-05 | 1.7327e-05 | 0.045848 | 0.045848 | 0.045848 | 0.99686 | -0.021759 | 0.99531 | -0.032626 | 16.9806
16 | 0.030666 | 0.0076889 | -0.030661 | -0.0076869 | 5.4844e-06 | 2.055e-06 | 0.045848 | 0.045848 | 0.045848 | 0.99531 | -0.032626 | 0.99513 | -0.033917 | 16.9806
17 | 0.097176 | 0.024546 | -0.096996 | -0.024478 | 0.00017963 | 6.8379e-05 | 0.1453 | 0.1453 | 0.1453 | 0.99561 | -0.030409 | 0.99371 | -0.043577 | 26.9083
18 | 0.0096395 | 0.002416 | -0.0096349 | -0.0024147 | 4.6388e-06 | 1.3104e-06 | 0.014344 | 0.014344 | 0.014344 | 1 | 0 | 0.9995 | -0.0034767 | 5.3126
19 | -0.0065406 | -0.0016392 | 0.006542 | 0.0016395 | 1.3853e-06 | 2.3459e-07 | 0.0098079 | 0.0098078 | 0.0098079 | 0.99232 | -0.053657 | 0.99254 | -0.052128 | 3.6325
20 | -0.0078559 | -0.0019688 | 0.0078605 | 0.0019698 | 4.5763e-06 | 1.0764e-06 | 0.011778 | 0.011777 | 0.011778 | 0.99254 | -0.052128 | 0.99314 | -0.04792 | 4.3621
21 | -0.0032846 | -0.0008232 | 0.0032847 | 0.00082316 | 9.3402e-08 | -4.1892e-08 | 0.0049551 | 0.0049551 | 0.0049551 | 0.98637 | -0.094938 | 0.9864 | -0.094733 | 1.8352
22 | -0.011193 | -0.0028053 | 0.011199 | 0.002807 | 5.428e-06 | 1.6981e-06 | 0.016886 | 0.016886 | 0.016886 | 0.9864 | -0.094733 | 0.98689 | -0.091231 | 6.254
23 | 0.08725 | 0.022035 | -0.087054 | -0.021961 | 0.00019534 | 7.4185e-05 | 0.13071 | 0.13071 | 0.13071 | 0.99371 | -0.043577 | 0.99142 | -0.059539 | 24.2056
24 | -0.0016739 | -0.00041952 | 0.001674 | 0.00041925 | 1.0063e-07 | -2.6487e-07 | 0.0025644 | 0.0025643 | 0.0025644 | 0.97131 | -0.20194 | 0.97137 | -0.2015 | 0.94976
25 | -0.001674 | -0.00041925 | 0.0016741 | 0.00041905 | 7.691e-08 | -2.0248e-07 | 0.0025643 | 0.0025642 | 0.0025643 | 0.97137 | -0.2015 | 0.97142 | -0.20117 | 0.94972
26 | -0.0033487 | -0.00083876 | 0.003349 | 0.00083868 | 2.3434e-07 | -8.6589e-08 | 0.0051294 | 0.0051294 | 0.0051294 | 0.97142 | -0.20117 | 0.97149 | -0.20066 | 1.8998
27 | -0.0060194 | -0.001508 | 0.0060198 | 0.001508 | 3.3203e-07 | 5.0192e-08 | 0.0092197 | 0.0092196 | 0.0092197 | 0.97149 | -0.20066 | 0.97154 | -0.20027 | 3.4147
28 | 0.07718 | 0.019486 | -0.076883 | -0.019372 | 0.00029691 | 0.00011374 | 0.11589 | 0.11589 | 0.11589 | 0.99142 | -0.059539 | 0.98748 | -0.087027 | 42.9221
29 | -0.0088429 | -0.0022156 | 0.0088441 | 0.0022159 | 1.1215e-06 | 3.1e-07 | 0.013544 | 0.013544 | 0.013544 | 0.97154 | -0.20027 | 0.97167 | -0.19935 | 5.0162
30 | 0.0011469 | 0.00028727 | -0.0011469 | -0.00028743 | 2.4907e-08 | -1.6098e-07 | 0.0017292 | 0.0017292 | 0.0017292 | 0.98689 | -0.091231 | 0.98687 | -0.091388 | 0.64046
31 | -0.012346 | -0.0030942 | 0.012347 | 0.0030946 | 1.0065e-06 | 3.2762e-07 | 0.018615 | 0.018615 | 0.018615 | 0.98689 | -0.091231 | 0.98697 | -0.090642 | 6.8944
32 | -0.014559 | -0.003649 | 0.014564 | 0.0036507 | 5.0147e-06 | 1.7155e-06 | 0.02195 | 0.02195 | 0.02195 | 0.98697 | -0.090642 | 0.98732 | -0.088155 | 8.1296
33 | 0.0041895 | 0.0010493 | -0.0041888 | -0.0010494 | 6.994e-07 | -9.0507e-08 | 0.0063138 | 0.0063139 | 0.0063139 | 0.98732 | -0.088155 | 0.98715 | -0.089362 | 2.3385
34 | -0.018753 | -0.0047001 | 0.018756 | 0.0047011 | 2.9285e-06 | 1.0512e-06 | 0.028264 | 0.028264 | 0.028264 | 0.98732 | -0.088155 | 0.98748 | -0.087027 | 10.468
35 | 0.0041888 | 0.0010494 | -0.0041878 | -0.0010496 | 9.9782e-07 | -1.2889e-07 | 0.0063139 | 0.0063141 | 0.0063141 | 0.98715 | -0.089362 | 0.98691 | -0.091084 | 2.3386
36 | 0.058126 | 0.014671 | -0.0578 | -0.014546 | 0.00032667 | 0.00012478 | 0.087626 | 0.087626 | 0.087626 | 0.98748 | -0.087027 | 0.98176 | -0.12728 | 32.4542
37 | -0.017211 | -0.0043131 | 0.017219 | 0.004316 | 8.1186e-06 | 2.8902e-06 | 0.026351 | 0.026351 | 0.026351 | 0.97189 | -0.19778 | 0.97236 | -0.19437 | 9.7595
38 | 0.014411 | 0.0036113 | -0.014408 | -0.0036103 | 3.1284e-06 | 1.0756e-06 | 0.022064 | 0.022064 | 0.022064 | 0.97189 | -0.19778 | 0.97167 | -0.19935 | 8.1718
39 | -0.020559 | -0.0051532 | 0.020561 | 0.0051536 | 1.2753e-06 | 4.6489e-07 | 0.031463 | 0.031463 | 0.031463 | 0.97236 | -0.19437 | 0.97242 | -0.19393 | 11.6528
40 | -0.023278 | -0.0058346 | 0.023295 | 0.0058408 | 1.6852e-05 | 6.2173e-06 | 0.03562 | 0.03562 | 0.03562 | 0.97242 | -0.19393 | 0.97315 | -0.1887 | 13.1926
41 | -0.026151 | -0.0065567 | 0.026152 | 0.0065572 | 1.1629e-06 | 4.3279e-07 | 0.039988 | 0.039988 | 0.039988 | 0.97315 | -0.1887 | 0.97319 | -0.18838 | 14.8104
42 | -0.028757 | -0.00721 | 0.028768 | 0.0072141 | 1.099e-05 | 4.1137e-06 | 0.043971 | 0.043971 | 0.043971 | 0.97319 | -0.18838 | 0.97358 | -0.18562 | 16.2856
43 | 0.055115 | 0.013874 | -0.054828 | -0.013764 | 0.00028741 | 0.00010971 | 0.083558 | 0.083558 | 0.083558 | 0.98176 | -0.12728 | 0.97648 | -0.16482 | 30.9475
44 | 0.0031524 | 0.00078966 | -0.0031518 | -0.00078992 | 5.3691e-07 | -2.5986e-07 | 0.0048036 | 0.0048038 | 0.0048038 | 0.97648 | -0.16482 | 0.97631 | -0.16605 | 1.7792
45 | 0.051676 | 0.012974 | -0.051591 | -0.012942 | 8.4975e-05 | 3.2409e-05 | 0.078755 | 0.078755 | 0.078755 | 0.97648 | -0.16482 | 0.97482 | -0.17668 | 29.1684
46 | -0.0025697 | -0.00064402 | 0.0025699 | 0.00064384 | 2.0076e-07 | -1.8116e-07 | 0.0039314 | 0.0039313 | 0.0039314 | 0.97261 | -0.19256 | 0.97269 | -0.19199 | 1.4561
47 | -0.0051821 | -0.0012985 | 0.0051821 | 0.0012985 | 1.1444e-08 | 7.7923e-10 | 0.0079274 | 0.0079274 | 0.0079274 | 0.97269 | -0.19199 | 0.97269 | -0.19198 | 2.9361
48 | -0.0079654 | -0.0019961 | 0.007967 | 0.0019965 | 1.6048e-06 | 4.0219e-07 | 0.012185 | 0.012185 | 0.012185 | 0.97269 | -0.19198 | 0.9729 | -0.19052 | 4.5131
49 | -0.01073 | -0.0026891 | 0.010731 | 0.0026893 | 7.7388e-07 | 2.4046e-07 | 0.016412 | 0.016412 | 0.016412 | 0.9729 | -0.19052 | 0.97297 | -0.19 | 6.0784
50 | -0.0142 | -0.0035586 | 0.014202 | 0.0035595 | 2.4315e-06 | 8.3257e-07 | 0.021717 | 0.021717 | 0.021717 | 0.97297 | -0.19 | 0.97314 | -0.18876 | 8.0432
51 | -0.031711 | -0.0079517 | 0.031751 | 0.0079665 | 3.9365e-05 | 1.4806e-05 | 0.048469 | 0.048469 | 0.048469 | 0.97358 | -0.18562 | 0.97482 | -0.17668 | 17.9515
52 | 0.01984 | 0.0049754 | -0.019824 | -0.0049697 | 1.5734e-05 | 5.7091e-06 | 0.030286 | 0.030286 | 0.030286 | 0.97482 | -0.17668 | 0.97403 | -0.1824 | 11.217
53 | 0.016016 | 0.0040155 | -0.016002 | -0.0040105 | 1.41e-05 | 4.9536e-06 | 0.024468 | 0.024469 | 0.024469 | 0.97403 | -0.1824 | 0.97314 | -0.18876 | 9.0624
54 | 0.0038081 | 0.00095421 | -0.0038077 | -0.00095429 | 4.219e-07 | -8.6353e-08 | 0.0058176 | 0.0058176 | 0.0058176 | 0.97403 | -0.1824 | 0.97391 | -0.1832 | 2.1547

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.18102 | 0.045455

## res_load
| p_mw | q_mvar
0 | 0.00074228 | 0.00018603
1 | 0.0049189 | 0.0012328
2 | 0.0028048 | 0.00070296
3 | 0.0098176 | 0.0024605
4 | 0.0050301 | 0.0012607
5 | 0.0032061 | 0.00080353
6 | 0.012728 | 0.0031898
7 | 0.012856 | 0.0032219
8 | 0.010789 | 0.002704
9 | 0.0065406 | 0.0016392
10 | 0.0013139 | 0.0003293
11 | 0.0019043 | 0.00047727
12 | 0.0032846 | 0.0008232
13 | 0.0079088 | 0.0019821
14 | 0.0097466 | 0.0024427
15 | 0.0096349 | 0.0024147
16 | 0.0016739 | 0.00041952
17 | 0.0016747 | 0.00041971
18 | 0.0026705 | 0.00066928
19 | 0.0098746 | 0.0024748
20 | 0.0028232 | 0.00070755
21 | 0.0011469 | 0.00028743
22 | 0.0022122 | 0.00055443
23 | 0.0028 | 0.00070175
24 | 0.0033404 | 0.00083719
25 | 0.0055637 | 0.0013944
26 | 0.002717 | 0.00068094
27 | 0.0028566 | 0.00071594
28 | 0.002605 | 0.00065287
29 | 0.0026841 | 0.00067271
30 | 0.0025697 | 0.00064402
31 | 0.0026122 | 0.00065468
32 | 0.0027833 | 0.00069755
33 | 0.0027634 | 0.00069257
34 | 0.0034687 | 0.00086933
35 | 0.002943 | 0.00073759
36 | 0.0031518 | 0.00078992
37 | 0.0041878 | 0.0010496
38 | 0.0017998 | 0.00045108
39 | 0.0038077 | 0.00095429

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1