## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1151-41_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1151-41_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1151-41_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1151-41_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1151-41_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1151-41_0_3_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_1151-41_0_3_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_1151-41_0_3_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_1151-41_0_3_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_1151-41_0_3_node_34 | 0.4 | n |  | TRUE
10 | bus_LV_1151-41_0_3_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_1151-41_0_3_node_54 | 0.4 | n |  | TRUE
12 | bus_LV_1151-41_0_3_node_49 | 0.4 | n |  | TRUE
13 | bus_LV_1151-41_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1151-41_0_3_node_53 | 0.4 | n |  | TRUE
15 | bus_LV_1151-41_0_3_node_56 | 0.4 | n |  | TRUE
16 | bus_LV_1151-41_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1151-41_0_3_node_31 | 0.4 | n |  | TRUE
18 | bus_LV_1151-41_0_3_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_1151-41_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_1151-41_0_3_node_52 | 0.4 | n |  | TRUE
21 | bus_LV_1151-41_0_3_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_1151-41_0_3_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_1151-41_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_1151-41_0_3_node_48 | 0.4 | n |  | TRUE
25 | bus_LV_1151-41_0_3_node_33 | 0.4 | n |  | TRUE
26 | bus_LV_1151-41_0_3_node_41 | 0.4 | n |  | TRUE
27 | bus_LV_1151-41_0_3_node_55 | 0.4 | n |  | TRUE
28 | bus_LV_1151-41_0_3_node_43 | 0.4 | n |  | TRUE
29 | bus_LV_1151-41_0_3_node_51 | 0.4 | n |  | TRUE
30 | bus_LV_1151-41_0_3_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_1151-41_0_3_node_50 | 0.4 | n |  | TRUE
32 | bus_LV_1151-41_0_3_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_1151-41_0_3_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_1151-41_0_3_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_1151-41_0_3_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_1151-41_0_3_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_1151-41_0_3_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_1151-41_0_3_node_19 | 0.4 | n |  | TRUE
39 | bus_LV_1151-41_0_3_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_1151-41_0_3_node_59 | 0.4 | n |  | TRUE
41 | bus_LV_1151-41_0_3_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_1151-41_0_3_node_57 | 0.4 | n |  | TRUE
43 | bus_LV_1151-41_0_3_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_1151-41_0_3_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_1151-41_0_3_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_1151-41_0_3_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_1151-41_0_3_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_1151-41_0_3_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_1151-41_0_3_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_1151-41_0_3_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_1151-41_0_3_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_1151-41_0_3_node_58 | 0.4 | n |  | TRUE
53 | bus_LV_1151-41_0_3_node_60 | 0.4 | n |  | TRUE
54 | bus_LV_1151-41_0_3_node_61 | 0.4 | n |  | TRUE
55 | bus_MV_128_0_node_204 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1151-41_0_3_load_0 | 0 | 0.0078207 | 0.00196 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1151-41_0_3_load_3 | 3 | 0.007866 | 0.0019714 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1151-41_0_3_load_4 | 4 | 0.0087564 | 0.0021946 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1151-41_0_3_load_13 | 6 | 0.0057619 | 0.0014441 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1151-41_0_3_load_14 | 7 | 0.0025896 | 0.00064902 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1151-41_0_3_load_15 | 8 | 0.0093672 | 0.0023476 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1151-41_0_3_load_34 | 9 | 0.00053771 | 0.00013476 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1151-41_0_3_load_54 | 11 | 0.0031211 | 0.00078222 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1151-41_0_3_load_49 | 12 | 0.0068093 | 0.0017066 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1151-41_0_3_load_56 | 15 | 0.019849 | 0.0049747 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1151-41_0_3_load_17 | 18 | 0.0075587 | 0.0018944 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1151-41_0_3_load_52 | 20 | 0.0076387 | 0.0019144 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1151-41_0_3_load_27 | 21 | 0.0066433 | 0.001665 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1151-41_0_3_load_30 | 22 | 0.0025148 | 0.00063026 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1151-41_0_3_load_48 | 24 | 0.0020496 | 0.00051369 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1151-41_0_3_load_55 | 27 | 0.011726 | 0.0029387 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1151-41_0_3_load_51 | 29 | 0.0023286 | 0.0005836 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1151-41_0_3_load_39 | 30 | 0.014923 | 0.0037399 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1151-41_0_3_load_50 | 31 | 0.0049937 | 0.0012515 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1151-41_0_3_load_29 | 32 | 0.0023849 | 0.00059772 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1151-41_0_3_load_35 | 34 | 0.013017 | 0.0032624 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1151-41_0_3_load_22 | 35 | 0.0077044 | 0.0019309 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1151-41_0_3_load_19 | 38 | 0.0016282 | 0.00040806 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1151-41_0_3_load_23 | 39 | 0.0015871 | 0.00039778 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1151-41_0_3_load_38 | 41 | 0.0020722 | 0.00051934 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1151-41_0_3_load_57 | 42 | 0.0014891 | 0.0003732 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1151-41_0_3_load_45 | 44 | 0.0022089 | 0.0005536 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1151-41_0_3_load_40 | 45 | 0.0028823 | 0.00072236 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1151-41_0_3_load_36 | 46 | 0.0024358 | 0.00061047 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1151-41_0_3_load_37 | 47 | 0.0020099 | 0.00050372 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1151-41_0_3_load_28 | 48 | 0.0067415 | 0.0016896 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1151-41_0_3_load_44 | 49 | 0.0056973 | 0.0014279 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1151-41_0_3_load_46 | 50 | 0.0071274 | 0.0017863 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1151-41_0_3_load_47 | 51 | 0.0045292 | 0.0011351 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1151-41_0_3_load_58 | 52 | 0.002056 | 0.00051528 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1151-41_0_3_load_61 | 54 | 0.0030193 | 0.0007567 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1151-41_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.045398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1151-41_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.017322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1151-41_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.016428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1151-41_0_3_line_3 | NAYY 4x150 SE | 1 | 4 | 0.024437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1151-41_0_3_line_4 | NAYY 4x150 SE | 1 | 5 | 0.085665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1151-41_0_3_line_5 | NAYY 4x150 SE | 2 | 6 | 0.012979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1151-41_0_3_line_6 | NAYY 4x150 SE | 2 | 7 | 0.016848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1151-41_0_3_line_7 | NAYY 4x150 SE | 3 | 8 | 0.031157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1151-41_0_3_line_8 | NAYY 4x150 SE | 4 | 9 | 0.026915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1151-41_0_3_line_9 | NAYY 4x150 SE | 5 | 12 | 0.017256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1151-41_0_3_line_10 | NAYY 4x150 SE | 5 | 10 | 0.030059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1151-41_0_3_line_11 | NAYY 4x150 SE | 6 | 21 | 0.00481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1151-41_0_3_line_12 | NAYY 4x150 SE | 7 | 22 | 0.0064087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1151-41_0_3_line_13 | NAYY 4x150 SE | 8 | 23 | 0.021158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1151-41_0_3_line_14 | NAYY 4x150 SE | 10 | 11 | 0.034736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1151-41_0_3_line_15 | NAYY 4x150 SE | 12 | 24 | 0.028921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1151-41_0_3_line_16 | NAYY 4x150 SE | 13 | 14 | 0.049823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1151-41_0_3_line_17 | NAYY 4x150 SE | 13 | 15 | 0.046633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1151-41_0_3_line_18 | NAYY 4x150 SE | 14 | 28 | 0.003349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1151-41_0_3_line_19 | NAYY 4x150 SE | 14 | 29 | 0.040355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1151-41_0_3_line_20 | NAYY 4x150 SE | 15 | 27 | 0.11261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1151-41_0_3_line_21 | NAYY 4x150 SE | 16 | 17 | 0.010372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1151-41_0_3_line_22 | NAYY 4x150 SE | 16 | 18 | 0.017737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1151-41_0_3_line_23 | NAYY 4x150 SE | 17 | 30 | 0.067165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_1151-41_0_3_line_24 | NAYY 4x150 SE | 17 | 19 | 0.023036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1151-41_0_3_line_25 | NAYY 4x150 SE | 18 | 23 | 0.023736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1151-41_0_3_line_26 | NAYY 4x150 SE | 19 | 20 | 0.014339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1151-41_0_3_line_27 | NAYY 4x150 SE | 20 | 28 | 0.10438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1151-41_0_3_line_28 | NAYY 4x150 SE | 22 | 32 | 0.0061913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1151-41_0_3_line_29 | NAYY 4x150 SE | 24 | 31 | 0.021638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1151-41_0_3_line_30 | NAYY 4x150 SE | 25 | 26 | 0.038587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1151-41_0_3_line_31 | NAYY 4x150 SE | 25 | 27 | 0.055043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1151-41_0_3_line_32 | NAYY 4x150 SE | 26 | 45 | 0.069288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1151-41_0_3_line_33 | NAYY 4x150 SE | 29 | 43 | 0.00889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1151-41_0_3_line_34 | NAYY 4x150 SE | 30 | 36 | 0.0031465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1151-41_0_3_line_35 | NAYY 4x150 SE | 32 | 48 | 0.015546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1151-41_0_3_line_36 | NAYY 4x150 SE | 33 | 34 | 0.029293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1151-41_0_3_line_37 | NAYY 4x150 SE | 33 | 35 | 0.0086635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1151-41_0_3_line_38 | NAYY 4x150 SE | 34 | 36 | 0.033717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1151-41_0_3_line_39 | NAYY 4x150 SE | 35 | 37 | 0.018822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1151-41_0_3_line_40 | NAYY 4x150 SE | 37 | 39 | 0.01346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1151-41_0_3_line_41 | NAYY 4x150 SE | 37 | 38 | 0.021717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1151-41_0_3_line_42 | NAYY 4x150 SE | 39 | 40 | 0.030488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1151-41_0_3_line_43 | NAYY 4x150 SE | 40 | 41 | 0.017021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1151-41_0_3_line_44 | NAYY 4x150 SE | 40 | 42 | 0.022976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1151-41_0_3_line_45 | NAYY 4x150 SE | 41 | 47 | 0.010439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1151-41_0_3_line_46 | NAYY 4x150 SE | 42 | 52 | 0.002447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1151-41_0_3_line_47 | NAYY 4x150 SE | 43 | 44 | 0.038531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1151-41_0_3_line_48 | NAYY 4x150 SE | 44 | 49 | 0.009081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1151-41_0_3_line_49 | NAYY 4x150 SE | 46 | 47 | 0.022233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1151-41_0_3_line_50 | NAYY 4x150 SE | 49 | 50 | 0.03314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1151-41_0_3_line_51 | NAYY 4x150 SE | 50 | 51 | 0.049629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1151-41_0_3_line_52 | NAYY 4x150 SE | 52 | 53 | 0.10084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1151-41_0_3_line_53 | NAYY 4x150 SE | 53 | 54 | 0.060573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1151-41_0_3_trafo_39 | 0.25 MVA 20/0.4 kV | 55 | 30 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2641460.2223 | 1218904.5808 | 2641473.5813 | 1218861.1929
1 | 2641479.881 | 1218845.1822 | 2641477.1408 | 1218849.6324 | 2641473.5813 | 1218861.1929
2 | 2641460.2223 | 1218904.5808 | 2641444.1817 | 1218901.0325
3 | 2641460.2223 | 1218904.5808 | 2641483.5682 | 1218911.8009
4 | 2641460.2223 | 1218904.5808 | 2641459.2611 | 1218907.4869 | 2641457.7318 | 1218914.5916 | 2641456.9663 | 1218918.8222 | 2641520.9712 | 1218937.2451 | 2641520.0682 | 1218941.5858
5 | 2641479.881 | 1218845.1822 | 2641485.3315 | 1218843.8526 | 2641492.6111 | 1218844.9953
6 | 2641479.881 | 1218845.1822 | 2641465.3812 | 1218836.6021
7 | 2641413.3203 | 1218896.8172 | 2641441.7491 | 1218900.4944 | 2641444.1817 | 1218901.0325
8 | 2641509.2819 | 1218919.7534 | 2641483.5682 | 1218911.8009
9 | 2641520.0682 | 1218941.5858 | 2641503.4755 | 1218936.8474
10 | 2641510.0779 | 1218969.3216 | 2641514.4933 | 1218964.0604 | 2641516.7309 | 1218957.6721 | 2641520.0682 | 1218941.5858
11 | 2641492.6111 | 1218844.9953 | 2641497.3628 | 1218845.7412
12 | 2641459.8658 | 1218833.3384 | 2641465.3812 | 1218836.6021
13 | 2641392.3369 | 1218894.103 | 2641413.3203 | 1218896.8172
14 | 2641510.0779 | 1218969.3216 | 2641505.3715 | 1218971.6903 | 2641500.1863 | 1218971.9877 | 2641484.3404 | 1218968.7978 | 2641480.4992 | 1218970.0718 | 2641478.0634 | 1218973.3235
15 | 2641475.6658 | 1218928.9057 | 2641503.4755 | 1218936.8474
16 | 2641218.6391 | 1218822.235 | 2641212.1142 | 1218825.3028 | 2641196.1715 | 1218831.652 | 2641193.9441 | 1218831.103 | 2641193.0469 | 1218830.2518 | 2641187.9711 | 1218826.7814 | 2641183.8897 | 1218825.4746 | 2641180.2829 | 1218825.7721 | 2641172.5362 | 1218827.7309
17 | 2641172.5362 | 1218827.7309 | 2641169.3074 | 1218811.7658 | 2641163.0098 | 1218798.4033 | 2641154.2168 | 1218785.5514
18 | 2641218.6391 | 1218822.235 | 2641221.6845 | 1218820.8219
19 | 2641218.6391 | 1218822.235 | 2641217.3335 | 1218817.8901 | 2641217.0444 | 1218815.809 | 2641217.5536 | 1218811.3099 | 2641218.9273 | 1218804.7043 | 2641225.8696 | 1218783.3631
20 | 2641095.409 | 1218690.4466 | 2641113.2357 | 1218730.9866 | 2641127.6102 | 1218751.7647 | 2641145.2561 | 1218772.4542 | 2641154.2168 | 1218785.5514
21 | 2641352.1076 | 1218884.3625 | 2641350.5524 | 1218878.8151 | 2641348.8367 | 1218874.534
22 | 2641352.1076 | 1218884.3625 | 2641369.0488 | 1218889.6169
23 | 2641348.8367 | 1218874.534 | 2641347.742 | 1218867.1443 | 2641347.4015 | 1218863.7177 | 2641349.377 | 1218854.6259 | 2641355.2872 | 1218837.3567 | 2641362.7076 | 1218815.7064 | 2641365.2738 | 1218810.4962
24 | 2641348.8367 | 1218874.534 | 2641338.8752 | 1218871.9523 | 2641326.5134 | 1218868.598
25 | 2641392.3369 | 1218894.103 | 2641371.8342 | 1218890.4808 | 2641369.0488 | 1218889.6169
26 | 2641326.5134 | 1218868.598 | 2641327.5855 | 1218865.0144 | 2641317.4486 | 1218861.9203
27 | 2641221.6845 | 1218820.8219 | 2641224.4329 | 1218822.8421 | 2641274.1418 | 1218844.5766 | 2641296.1632 | 1218854.6795 | 2641309.9937 | 1218859.6449 | 2641317.4486 | 1218861.9203
28 | 2641459.8658 | 1218833.3384 | 2641454.5375 | 1218830.1854
29 | 2641475.6658 | 1218928.9057 | 2641458.2966 | 1218923.9456 | 2641454.7941 | 1218923.2347
30 | 2641080.7804 | 1218606.111 | 2641078.5101 | 1218611.7765 | 2641070.8885 | 1218635.2046 | 2641069.1544 | 1218640.1511 | 2641068.2724 | 1218642.6021
31 | 2641068.2724 | 1218642.6021 | 2641092.7776 | 1218684.4624 | 2641095.409 | 1218690.4466
32 | 2641080.7804 | 1218606.111 | 2641082.9163 | 1218610.0281 | 2641085.9259 | 1218609.404 | 2641096.4636 | 1218622.0619 | 2641102.7461 | 1218632.1667 | 2641108.557 | 1218638.0102 | 2641120.5496 | 1218646.5758 | 2641127.2181 | 1218654.5636
33 | 2641228.6197 | 1218774.9092 | 2641225.8696 | 1218783.3631
34 | 2641366.6641 | 1218807.6735 | 2641365.2738 | 1218810.4962
35 | 2641454.5375 | 1218830.1854 | 2641441.1585 | 1218822.2685
36 | 2641424.0907 | 1218803.1917 | 2641419.7961 | 1218807.4421 | 2641413.8249 | 1218809.4463 | 2641407.4889 | 1218809.3244 | 2641397.441 | 1218805.902
37 | 2641424.0907 | 1218803.1917 | 2641428.0553 | 1218795.4885
38 | 2641366.6641 | 1218807.6735 | 2641371.1498 | 1218803.2131 | 2641377.9045 | 1218800.9475 | 2641385.2981 | 1218801.7659 | 2641397.441 | 1218805.902
39 | 2641436.6686 | 1218778.7534 | 2641428.0553 | 1218795.4885
40 | 2641436.6686 | 1218778.7534 | 2641439.2106 | 1218768.9652 | 2641439.339 | 1218765.6202
41 | 2641436.6686 | 1218778.7534 | 2641458.2277 | 1218781.3637
42 | 2641440.5082 | 1218735.1542 | 2641439.339 | 1218765.6202
43 | 2641440.5082 | 1218735.1542 | 2641442.8227 | 1218729.7226 | 2641447.3156 | 1218727.5192 | 2641453.4259 | 1218727.3615
44 | 2641440.5082 | 1218735.1542 | 2641440.1031 | 1218712.1815
45 | 2641453.4259 | 1218727.3615 | 2641453.4259 | 1218727.3615 | 2641457.7384 | 1218730.3488 | 2641460.4201 | 1218734.7955
46 | 2641440.1031 | 1218712.1815 | 2641440.0599 | 1218709.7349
47 | 2641228.6197 | 1218774.9092 | 2641227.576 | 1218769.9991 | 2641224.8168 | 1218766.2444 | 2641197.504 | 1218756.947
48 | 2641188.9073 | 1218754.0206 | 2641197.504 | 1218756.947
49 | 2641471.9019 | 1218753.8344 | 2641460.4201 | 1218734.7955
50 | 2641188.9073 | 1218754.0206 | 2641157.5347 | 1218743.3412
51 | 2641127.4503 | 1218706.3657 | 2641136.3936 | 1218726.0544 | 2641143.3961 | 1218735.1748 | 2641151.8756 | 1218741.4148 | 2641157.5347 | 1218743.3412
52 | 2641372.7015 | 1218648.5542 | 2641379.0346 | 1218652.3893 | 2641389.4437 | 1218656.1304 | 2641413.2646 | 1218660.7207 | 2641419.1653 | 1218664.5195 | 2641427.5143 | 1218674.2166 | 2641435.9262 | 1218689.0394 | 2641439.9421 | 1218703.0534 | 2641440.0599 | 1218709.7349
53 | 2641372.7015 | 1218648.5542 | 2641364.2028 | 1218708.5197

## bus_geodata
| x | y | coords
0 | 2641473.5813 | 1218861.1929
1 | 2641460.2223 | 1218904.5808
2 | 2641479.881 | 1218845.1822
3 | 2641444.1817 | 1218901.0325
4 | 2641483.5682 | 1218911.8009
5 | 2641520.0682 | 1218941.5858
6 | 2641492.6111 | 1218844.9953
7 | 2641465.3812 | 1218836.6021
8 | 2641413.3203 | 1218896.8172
9 | 2641509.2819 | 1218919.7534
10 | 2641510.0779 | 1218969.3216
11 | 2641478.0634 | 1218973.3235
12 | 2641503.4755 | 1218936.8474
13 | 2641172.5362 | 1218827.7309
14 | 2641218.6391 | 1218822.235
15 | 2641154.2168 | 1218785.5514
16 | 2641352.1076 | 1218884.3626
17 | 2641348.8367 | 1218874.534
18 | 2641369.0488 | 1218889.6169
19 | 2641326.5134 | 1218868.598
20 | 2641317.4486 | 1218861.9203
21 | 2641497.3628 | 1218845.7412
22 | 2641459.8658 | 1218833.3384
23 | 2641392.3369 | 1218894.103
24 | 2641475.6658 | 1218928.9057
25 | 2641068.2724 | 1218642.6021
26 | 2641080.7804 | 1218606.111
27 | 2641095.409 | 1218690.4466
28 | 2641221.6845 | 1218820.8219
29 | 2641225.8696 | 1218783.3631
30 | 2641365.2738 | 1218810.4962
31 | 2641454.7941 | 1218923.2347
32 | 2641454.5375 | 1218830.1854
33 | 2641424.0907 | 1218803.1917
34 | 2641397.441 | 1218805.902
35 | 2641428.0553 | 1218795.4885
36 | 2641366.6641 | 1218807.6735
37 | 2641436.6686 | 1218778.7534
38 | 2641458.2277 | 1218781.3637
39 | 2641439.339 | 1218765.6202
40 | 2641440.5082 | 1218735.1542
41 | 2641453.4259 | 1218727.3615
42 | 2641440.1031 | 1218712.1815
43 | 2641228.6197 | 1218774.9092
44 | 2641197.504 | 1218756.947
45 | 2641127.2181 | 1218654.5636
46 | 2641471.9019 | 1218753.8344
47 | 2641460.4201 | 1218734.7955
48 | 2641441.1585 | 1218822.2685
49 | 2641188.9073 | 1218754.0206
50 | 2641157.5347 | 1218743.3412
51 | 2641127.4503 | 1218706.3657
52 | 2641440.0599 | 1218709.7349
53 | 2641372.7015 | 1218648.5542
54 | 2641364.2028 | 1218708.5197
55 | 2641366.6641 | 1218807.6735

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97723 | -0.15966 | 0.0078207 | 0.00196
1 | 0.97951 | -0.14334 | 0 | 0
2 | 0.97655 | -0.16448 | 0 | 0
3 | 0.98097 | -0.13297 | 0.007866 | 0.0019714
4 | 0.97918 | -0.14571 | 0.0087564 | 0.0021946
5 | 0.97739 | -0.15851 | 0 | 0
6 | 0.97632 | -0.16617 | 0.0057619 | 0.0014441
7 | 0.9762 | -0.16699 | 0.0025896 | 0.00064902
8 | 0.98408 | -0.11087 | 0.0093672 | 0.0023476
9 | 0.97916 | -0.14586 | 0.00053771 | 0.00013476
10 | 0.97725 | -0.1595 | 0 | 0
11 | 0.9771 | -0.16063 | 0.0031211 | 0.00078222
12 | 0.97704 | -0.16101 | 0.0068093 | 0.0017066
13 | 0.97781 | -0.15528 | 0 | 0
14 | 0.98032 | -0.13739 | 0 | 0
15 | 0.97546 | -0.1721 | 0.019849 | 0.0049747
16 | 0.99139 | -0.059518 | 0 | 0
17 | 0.99268 | -0.050518 | 0 | 0
18 | 0.98918 | -0.074963 | 0.0075587 | 0.0018944
19 | 0.99053 | -0.065494 | 0 | 0
20 | 0.98919 | -0.074849 | 0.0076387 | 0.0019144
21 | 0.97627 | -0.1665 | 0.0066433 | 0.001665
22 | 0.9761 | -0.16777 | 0.0025148 | 0.00063026
23 | 0.98649 | -0.0939 | 0 | 0
24 | 0.97674 | -0.16315 | 0.0020496 | 0.00051369
25 | 0.97282 | -0.19111 | 0 | 0
26 | 0.97266 | -0.19228 | 0 | 0
27 | 0.97305 | -0.18943 | 0.011726 | 0.0029387
28 | 0.9806 | -0.13543 | 0 | 0
29 | 0.97904 | -0.14658 | 0.0023286 | 0.0005836
30 | 1 | 0 | -0.19066 | -0.04801
31 | 0.97659 | -0.16428 | 0.0049937 | 0.0012515
32 | 0.97601 | -0.16837 | 0.0023849 | 0.00059772
33 | 0.99704 | -0.020721 | 0 | 0
34 | 0.99805 | -0.01366 | 0.013017 | 0.0032624
35 | 0.99674 | -0.022812 | 0.0077044 | 0.0019309
36 | 0.99983 | -0.0011639 | 0 | 0
37 | 0.9963 | -0.025901 | 0 | 0
38 | 0.99625 | -0.026257 | 0.0016282 | 0.00040806
39 | 0.99602 | -0.02789 | 0.0015871 | 0.00039778
40 | 0.99545 | -0.031913 | 0 | 0
41 | 0.99529 | -0.033031 | 0.0020722 | 0.00051934
42 | 0.99523 | -0.033436 | 0.0014891 | 0.0003732
43 | 0.97878 | -0.14839 | 0 | 0
44 | 0.97768 | -0.15626 | 0.0022089 | 0.0005536
45 | 0.97236 | -0.19439 | 0.0028823 | 0.00072236
46 | 0.99515 | -0.034045 | 0.0024358 | 0.00061047
47 | 0.99523 | -0.033499 | 0.0020099 | 0.00050372
48 | 0.97586 | -0.16947 | 0.0067415 | 0.0016896
49 | 0.97745 | -0.1579 | 0.0056973 | 0.0014279
50 | 0.97689 | -0.16194 | 0.0071274 | 0.0017863
51 | 0.97656 | -0.1643 | 0.0045292 | 0.0011351
52 | 0.99522 | -0.033562 | 0.002056 | 0.00051528
53 | 0.99478 | -0.036642 | 0 | 0
54 | 0.99452 | -0.038488 | 0.0030193 | 0.0007567
55 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.034486 | -0.0086458 | 0.034564 | 0.0086753 | 7.8116e-05 | 2.9474e-05 | 0.052512 | 0.052512 | 0.052512 | 0.97723 | -0.15966 | 0.97951 | -0.14334 | 19.4489
1 | 0.026665 | 0.0066858 | -0.026647 | -0.0066791 | 1.7821e-05 | 6.6372e-06 | 0.040604 | 0.040604 | 0.040604 | 0.97723 | -0.15966 | 0.97655 | -0.16448 | 15.0384
2 | -0.060879 | -0.015273 | 0.060967 | 0.015307 | 8.7692e-05 | 3.3521e-05 | 0.092489 | 0.092489 | 0.092489 | 0.97951 | -0.14334 | 0.98097 | -0.13297 | 34.2554
3 | 0.0092971 | 0.0023298 | -0.0092941 | -0.002329 | 3.0417e-06 | 8.6241e-07 | 0.014124 | 0.014124 | 0.014124 | 0.97951 | -0.14334 | 0.97918 | -0.14571 | 5.231
4 | 0.017018 | 0.0042683 | -0.016982 | -0.0042557 | 3.5731e-05 | 1.2667e-05 | 0.025854 | 0.025854 | 0.025854 | 0.97951 | -0.14334 | 0.97739 | -0.15851 | 9.5757
5 | 0.012408 | 0.0031101 | -0.012406 | -0.0031091 | 2.8953e-06 | 9.5122e-07 | 0.018907 | 0.018907 | 0.018907 | 0.97655 | -0.16448 | 0.97632 | -0.16617 | 7.0028
6 | 0.014239 | 0.0035691 | -0.014234 | -0.0035674 | 4.949e-06 | 1.6927e-06 | 0.021696 | 0.021696 | 0.021696 | 0.97655 | -0.16448 | 0.9762 | -0.16699 | 8.0357
7 | -0.068833 | -0.017278 | 0.069045 | 0.01736 | 0.00021199 | 8.1141e-05 | 0.10442 | 0.10442 | 0.10442 | 0.98097 | -0.13297 | 0.98408 | -0.11087 | 38.6745
8 | 0.00053772 | 0.00013443 | -0.00053771 | -0.00013476 | 1.1213e-08 | -3.3424e-07 | 0.00081703 | 0.00081715 | 0.00081715 | 0.97918 | -0.14571 | 0.97916 | -0.14586 | 0.30265
9 | 0.01386 | 0.0034739 | -0.013856 | -0.0034723 | 4.7946e-06 | 1.6279e-06 | 0.021102 | 0.021102 | 0.021102 | 0.97739 | -0.15851 | 0.97704 | -0.16101 | 7.8154
10 | 0.003122 | 0.00078176 | -0.0031216 | -0.00078198 | 4.2372e-07 | -2.137e-07 | 0.0047528 | 0.004753 | 0.004753 | 0.97739 | -0.15851 | 0.97725 | -0.1595 | 1.7604
11 | 0.0066436 | 0.001665 | -0.0066433 | -0.001665 | 3.0773e-07 | 5.821e-08 | 0.010126 | 0.010126 | 0.010126 | 0.97632 | -0.16617 | 0.97627 | -0.1665 | 3.7502
12 | 0.011644 | 0.0029184 | -0.011643 | -0.002918 | 1.2598e-06 | 4.0443e-07 | 0.017749 | 0.017749 | 0.017749 | 0.9762 | -0.16699 | 0.9761 | -0.16777 | 6.5738
13 | -0.078412 | -0.019707 | 0.078598 | 0.019778 | 0.00018566 | 7.1139e-05 | 0.11859 | 0.11858 | 0.11859 | 0.98408 | -0.11087 | 0.98649 | -0.0939 | 43.9204
14 | 0.0031216 | 0.00078198 | -0.0031211 | -0.00078222 | 4.8968e-07 | -2.4681e-07 | 0.004753 | 0.0047531 | 0.0047531 | 0.97725 | -0.1595 | 0.9771 | -0.16063 | 1.7604
15 | 0.0070462 | 0.0017657 | -0.0070442 | -0.0017653 | 2.0783e-06 | 4.3725e-07 | 0.010731 | 0.010731 | 0.010731 | 0.97704 | -0.16101 | 0.97674 | -0.16315 | 3.9746
16 | -0.034575 | -0.008677 | 0.034661 | 0.0087095 | 8.608e-05 | 3.2481e-05 | 0.052619 | 0.052619 | 0.052619 | 0.97781 | -0.15528 | 0.98032 | -0.13739 | 19.4887
17 | 0.034575 | 0.008677 | -0.034494 | -0.0086466 | 8.0569e-05 | 3.0404e-05 | 0.052619 | 0.05262 | 0.05262 | 0.97781 | -0.15528 | 0.97546 | -0.1721 | 19.4887
18 | -0.056618 | -0.014219 | 0.056634 | 0.014225 | 1.5438e-05 | 5.8955e-06 | 0.08595 | 0.08595 | 0.08595 | 0.98032 | -0.13739 | 0.9806 | -0.13543 | 31.8335
19 | 0.021958 | 0.0055097 | -0.02193 | -0.0054994 | 2.7976e-05 | 1.0252e-05 | 0.033331 | 0.033332 | 0.033332 | 0.98032 | -0.13739 | 0.97904 | -0.14658 | 12.345
20 | 0.014645 | 0.0036719 | -0.01461 | -0.0036598 | 3.5073e-05 | 1.2087e-05 | 0.022341 | 0.022341 | 0.022341 | 0.97546 | -0.1721 | 0.97305 | -0.18943 | 8.2745
21 | -0.086552 | -0.021824 | 0.086661 | 0.021866 | 0.0001093 | 4.1906e-05 | 0.12996 | 0.12996 | 0.12996 | 0.99139 | -0.059518 | 0.99268 | -0.050518 | 48.1316
22 | 0.086552 | 0.021824 | -0.086365 | -0.021753 | 0.00018692 | 7.1665e-05 | 0.12996 | 0.12996 | 0.12996 | 0.99139 | -0.059518 | 0.98918 | -0.074963 | 48.1316
23 | -0.15164 | -0.038274 | 0.15272 | 0.038689 | 0.0010836 | 0.00041501 | 0.2274 | 0.2274 | 0.2274 | 0.99268 | -0.050518 | 1 | 0 | 42.1103
24 | 0.064975 | 0.016408 | -0.064839 | -0.016356 | 0.00013648 | 5.2195e-05 | 0.09744 | 0.097441 | 0.097441 | 0.99268 | -0.050518 | 0.99053 | -0.065494 | 36.0891
25 | 0.078806 | 0.019858 | -0.078598 | -0.019778 | 0.00020829 | 7.9806e-05 | 0.11858 | 0.11858 | 0.11858 | 0.98918 | -0.074963 | 0.98649 | -0.0939 | 43.9204
26 | 0.064839 | 0.016356 | -0.064754 | -0.016323 | 8.4954e-05 | 3.249e-05 | 0.097441 | 0.097441 | 0.097441 | 0.99053 | -0.065494 | 0.98919 | -0.074849 | 36.0891
27 | 0.057115 | 0.014409 | -0.056634 | -0.014225 | 0.00048117 | 0.00018374 | 0.08595 | 0.08595 | 0.08595 | 0.98919 | -0.074849 | 0.9806 | -0.13543 | 31.8335
28 | 0.0091282 | 0.0022877 | -0.0091274 | -0.0022875 | 7.4811e-07 | 2.1035e-07 | 0.013915 | 0.013916 | 0.013916 | 0.9761 | -0.16777 | 0.97601 | -0.16837 | 5.1539
29 | 0.0049945 | 0.0012516 | -0.0049937 | -0.0012515 | 7.8168e-07 | 2.9872e-08 | 0.0076088 | 0.0076089 | 0.0076089 | 0.97674 | -0.16315 | 0.97659 | -0.16428 | 2.8181
30 | 0.0028836 | 0.00072153 | -0.0028831 | -0.00072183 | 4.6835e-07 | -2.9887e-07 | 0.0044103 | 0.0044104 | 0.0044104 | 0.97282 | -0.19111 | 0.97266 | -0.19228 | 1.6335
31 | -0.0028836 | -0.00072153 | 0.0028842 | 0.0007211 | 6.6802e-07 | -4.2663e-07 | 0.0044103 | 0.00441 | 0.0044103 | 0.97282 | -0.19111 | 0.97305 | -0.18943 | 1.6334
32 | 0.0028831 | 0.00072183 | -0.0028823 | -0.00072236 | 8.4108e-07 | -5.3623e-07 | 0.0044104 | 0.0044108 | 0.0044108 | 0.97266 | -0.19228 | 0.97236 | -0.19439 | 1.6336
33 | 0.019601 | 0.0049158 | -0.019596 | -0.0049141 | 4.9237e-06 | 1.782e-06 | 0.029792 | 0.029792 | 0.029792 | 0.97904 | -0.14658 | 0.97878 | -0.14839 | 11.0342
34 | 0.037143 | 0.0093205 | -0.037137 | -0.0093182 | 5.9987e-06 | 2.2659e-06 | 0.055274 | 0.055274 | 0.055274 | 1 | 0 | 0.99983 | -0.0011639 | 20.4718
35 | 0.0067425 | 0.0016898 | -0.0067415 | -0.0016896 | 1.0251e-06 | 2e-07 | 0.010279 | 0.01028 | 0.01028 | 0.97601 | -0.16837 | 0.97586 | -0.16947 | 3.8072
36 | -0.024032 | -0.0060228 | 0.024056 | 0.0060315 | 2.3514e-05 | 8.6613e-06 | 0.035866 | 0.035866 | 0.035866 | 0.99704 | -0.020721 | 0.99805 | -0.01366 | 13.2839
37 | 0.024032 | 0.0060228 | -0.024025 | -0.0060203 | 6.9544e-06 | 2.5618e-06 | 0.035866 | 0.035866 | 0.035866 | 0.99704 | -0.020721 | 0.99674 | -0.022812 | 13.2839
38 | -0.037073 | -0.0092939 | 0.037137 | 0.0093182 | 6.428e-05 | 2.4282e-05 | 0.055274 | 0.055274 | 0.055274 | 0.99805 | -0.01366 | 0.99983 | -0.0011639 | 20.4719
39 | 0.016321 | 0.0040894 | -0.016314 | -0.0040869 | 6.9721e-06 | 2.4364e-06 | 0.024365 | 0.024365 | 0.024365 | 0.99674 | -0.022812 | 0.9963 | -0.025901 | 9.024
40 | 0.014686 | 0.0036791 | -0.014682 | -0.0036777 | 4.0406e-06 | 1.3788e-06 | 0.021933 | 0.021933 | 0.021933 | 0.9963 | -0.025901 | 0.99602 | -0.02789 | 8.1234
41 | 0.0016282 | 0.00040781 | -0.0016282 | -0.00040806 | 8.0137e-08 | -2.5197e-07 | 0.0024317 | 0.0024318 | 0.0024318 | 0.9963 | -0.025901 | 0.99625 | -0.026257 | 0.90068
42 | 0.013095 | 0.00328 | -0.013087 | -0.0032776 | 7.2803e-06 | 2.4035e-06 | 0.019562 | 0.019562 | 0.019562 | 0.99602 | -0.02789 | 0.99545 | -0.031913 | 7.2452
43 | 0.0065193 | 0.0016335 | -0.0065183 | -0.0016333 | 1.0086e-06 | 1.667e-07 | 0.0097451 | 0.0097451 | 0.0097451 | 0.99545 | -0.031913 | 0.99529 | -0.033031 | 3.6093
44 | 0.0065679 | 0.0016441 | -0.0065665 | -0.0016439 | 1.3818e-06 | 2.3282e-07 | 0.0098171 | 0.0098172 | 0.0098172 | 0.99545 | -0.031913 | 0.99523 | -0.033436 | 3.636
45 | 0.0044462 | 0.001114 | -0.0044459 | -0.001114 | 2.8781e-07 | -2.4958e-08 | 0.0066471 | 0.0066472 | 0.0066472 | 0.99529 | -0.033031 | 0.99523 | -0.033499 | 2.4619
46 | 0.0050774 | 0.0012707 | -0.0050773 | -0.0012707 | 8.798e-08 | 2.0418e-09 | 0.0075908 | 0.0075908 | 0.0075908 | 0.99523 | -0.033436 | 0.99522 | -0.033562 | 2.8114
47 | 0.019596 | 0.0049141 | -0.019575 | -0.0049063 | 2.1341e-05 | 7.7242e-06 | 0.029792 | 0.029793 | 0.029793 | 0.97878 | -0.14839 | 0.97768 | -0.15626 | 11.0343
48 | 0.017366 | 0.0043527 | -0.017362 | -0.0043513 | 3.9586e-06 | 1.4087e-06 | 0.026431 | 0.026431 | 0.026431 | 0.97768 | -0.15626 | 0.97745 | -0.1579 | 9.7892
49 | -0.0024358 | -0.00061047 | 0.002436 | 0.00061025 | 1.8404e-07 | -2.181e-07 | 0.0036422 | 0.0036421 | 0.0036422 | 0.99515 | -0.034045 | 0.99523 | -0.033499 | 1.349
50 | 0.011665 | 0.0029235 | -0.011658 | -0.0029214 | 6.521e-06 | 2.0929e-06 | 0.017758 | 0.017758 | 0.017758 | 0.97745 | -0.1579 | 0.97689 | -0.16194 | 6.5769
51 | 0.0045307 | 0.0011351 | -0.0045292 | -0.0011351 | 1.4749e-06 | -5.3867e-08 | 0.0069011 | 0.0069013 | 0.0069013 | 0.97689 | -0.16194 | 0.97656 | -0.1643 | 2.556
52 | 0.0030213 | 0.00075539 | -0.00302 | -0.00075621 | 1.2839e-06 | -8.1598e-07 | 0.0045167 | 0.0045172 | 0.0045172 | 0.99522 | -0.033562 | 0.99478 | -0.036642 | 1.673
53 | 0.00302 | 0.00075621 | -0.0030193 | -0.0007567 | 7.7131e-07 | -4.8954e-07 | 0.0045172 | 0.0045175 | 0.0045175 | 0.99478 | -0.036642 | 0.99452 | -0.038488 | 1.6731

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.20559 | 0.05175

## res_load
| p_mw | q_mvar
0 | 0.0078207 | 0.00196
1 | 0.007866 | 0.0019714
2 | 0.0087564 | 0.0021946
3 | 0.0057619 | 0.0014441
4 | 0.0025896 | 0.00064902
5 | 0.0093672 | 0.0023476
6 | 0.00053771 | 0.00013476
7 | 0.0031211 | 0.00078222
8 | 0.0068093 | 0.0017066
9 | 0.019849 | 0.0049747
10 | 0.0075587 | 0.0018944
11 | 0.0076387 | 0.0019144
12 | 0.0066433 | 0.001665
13 | 0.0025148 | 0.00063026
14 | 0.0020496 | 0.00051369
15 | 0.011726 | 0.0029387
16 | 0.0023286 | 0.0005836
17 | 0.014923 | 0.0037399
18 | 0.0049937 | 0.0012515
19 | 0.0023849 | 0.00059772
20 | 0.013017 | 0.0032624
21 | 0.0077044 | 0.0019309
22 | 0.0016282 | 0.00040806
23 | 0.0015871 | 0.00039778
24 | 0.0020722 | 0.00051934
25 | 0.0014891 | 0.0003732
26 | 0.0022089 | 0.0005536
27 | 0.0028823 | 0.00072236
28 | 0.0024358 | 0.00061047
29 | 0.0020099 | 0.00050372
30 | 0.0067415 | 0.0016896
31 | 0.0056973 | 0.0014279
32 | 0.0071274 | 0.0017863
33 | 0.0045292 | 0.0011351
34 | 0.002056 | 0.00051528
35 | 0.0030193 | 0.0007567

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1