## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1151-42_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1151-42_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1151-42_0_3_node_7 | 0.4 | n |  | TRUE
3 | bus_LV_1151-42_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1151-42_0_3_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_1151-42_0_3_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_1151-42_0_3_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_1151-42_0_3_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_1151-42_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1151-42_0_3_node_26 | 0.4 | n |  | TRUE
10 | bus_LV_1151-42_0_3_node_33 | 0.4 | n |  | TRUE
11 | bus_LV_1151-42_0_3_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_1151-42_0_3_node_44 | 0.4 | n |  | TRUE
13 | bus_LV_1151-42_0_3_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_1151-42_0_3_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_1151-42_0_3_node_46 | 0.4 | n |  | TRUE
16 | bus_LV_1151-42_0_3_node_45 | 0.4 | n |  | TRUE
17 | bus_LV_1151-42_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_1151-42_0_3_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_1151-42_0_3_node_32 | 0.4 | n |  | TRUE
20 | bus_LV_1151-42_0_3_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_1151-42_0_3_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_1151-42_0_3_node_29 | 0.4 | n |  | TRUE
23 | bus_LV_1151-42_0_3_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_1151-42_0_3_node_30 | 0.4 | n |  | TRUE
25 | bus_LV_1151-42_0_3_node_43 | 0.4 | n |  | TRUE
26 | bus_LV_1151-42_0_3_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_1151-42_0_3_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_1151-42_0_3_node_36 | 0.4 | n |  | TRUE
29 | bus_LV_1151-42_0_3_node_39 | 0.4 | n |  | TRUE
30 | bus_LV_1151-42_0_3_node_40 | 0.4 | n |  | TRUE
31 | bus_LV_1151-42_0_3_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_1151-42_0_3_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_1151-42_0_3_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_1151-42_0_3_node_41 | 0.4 | n |  | TRUE
35 | bus_LV_1151-42_0_3_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_1151-42_0_3_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_1151-42_0_3_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_1151-42_0_3_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_1151-42_0_3_node_42 | 0.4 | n |  | TRUE
40 | bus_MV_128_0_node_205 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1151-42_0_3_load_0 | 0 | 0.0042017 | 0.001053 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1151-42_0_3_load_16 | 6 | 0.0025793 | 0.00064642 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1151-42_0_3_load_22 | 7 | 0.0035422 | 0.00088776 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1151-42_0_3_load_33 | 10 | 0.0054197 | 0.0013583 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1151-42_0_3_load_27 | 11 | 0.0030246 | 0.00075805 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1151-42_0_3_load_44 | 12 | 0.010339 | 0.0025912 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1151-42_0_3_load_21 | 13 | 0.0026099 | 0.00065411 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1151-42_0_3_load_20 | 14 | 0.0035792 | 0.00089703 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1151-42_0_3_load_46 | 15 | 0.0043792 | 0.0010975 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1151-42_0_3_load_45 | 16 | 0.0035189 | 0.00088192 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1151-42_0_3_load_14 | 17 | 0.0034713 | 0.00087 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1151-42_0_3_load_25 | 18 | 0.011699 | 0.002932 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1151-42_0_3_load_32 | 19 | 0.0057698 | 0.0014461 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1151-42_0_3_load_18 | 20 | 0.0037971 | 0.00095164 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1151-42_0_3_load_19 | 21 | 0.0035644 | 0.00089333 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1151-42_0_3_load_29 | 22 | 0.0041332 | 0.0010359 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1151-42_0_3_load_31 | 23 | 0.0044191 | 0.0011075 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1151-42_0_3_load_30 | 24 | 0.0045067 | 0.0011295 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1151-42_0_3_load_43 | 25 | 0.0055927 | 0.0014017 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1151-42_0_3_load_23 | 26 | 0.0044965 | 0.0011269 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1151-42_0_3_load_35 | 27 | 0.0022567 | 0.00056558 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1151-42_0_3_load_36 | 28 | 0.0049648 | 0.0012443 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1151-42_0_3_load_39 | 29 | 0.0039133 | 0.00098077 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1151-42_0_3_load_40 | 30 | 0.0050779 | 0.0012726 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1151-42_0_3_load_15 | 31 | 0.0034589 | 0.00086689 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1151-42_0_3_load_17 | 32 | 0.0038959 | 0.0009764 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1151-42_0_3_load_38 | 33 | 0.0037181 | 0.00093186 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1151-42_0_3_load_24 | 35 | 0.0029227 | 0.00073251 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1151-42_0_3_load_28 | 36 | 0.0027978 | 0.00070119 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1151-42_0_3_load_34 | 37 | 0.0056898 | 0.001426 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1151-42_0_3_load_37 | 38 | 0.0041319 | 0.0010356 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1151-42_0_3_load_42 | 39 | 0.0073078 | 0.0018315 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1151-42_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.017252 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1151-42_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.031064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1151-42_0_3_line_2 | NAYY 4x150 SE | 2 | 9 | 0.019332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1151-42_0_3_line_3 | NAYY 4x150 SE | 2 | 11 | 0.070549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1151-42_0_3_line_4 | NAYY 4x150 SE | 3 | 4 | 0.019153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1151-42_0_3_line_5 | NAYY 4x150 SE | 3 | 5 | 0.050628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1151-42_0_3_line_6 | NAYY 4x150 SE | 3 | 6 | 0.017526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1151-42_0_3_line_7 | NAYY 4x150 SE | 3 | 7 | 0.016554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1151-42_0_3_line_8 | NAYY 4x150 SE | 4 | 12 | 0.037614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1151-42_0_3_line_9 | NAYY 4x150 SE | 5 | 13 | 0.011598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1151-42_0_3_line_10 | NAYY 4x150 SE | 5 | 14 | 0.02144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1151-42_0_3_line_11 | NAYY 4x150 SE | 5 | 8 | 0.013519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1151-42_0_3_line_12 | NAYY 4x150 SE | 6 | 17 | 0.005042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1151-42_0_3_line_13 | NAYY 4x150 SE | 8 | 9 | 0.053749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1151-42_0_3_line_14 | NAYY 4x150 SE | 8 | 10 | 0.029788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_1151-42_0_3_line_15 | NAYY 4x150 SE | 9 | 18 | 0.023083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1151-42_0_3_line_16 | NAYY 4x150 SE | 10 | 19 | 0.0038606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_1151-42_0_3_line_17 | NAYY 4x150 SE | 11 | 22 | 0.023825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1151-42_0_3_line_18 | NAYY 4x150 SE | 12 | 25 | 0.025528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1151-42_0_3_line_19 | NAYY 4x150 SE | 13 | 26 | 0.024027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1151-42_0_3_line_20 | NAYY 4x150 SE | 14 | 21 | 0.023122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1151-42_0_3_line_21 | NAYY 4x150 SE | 15 | 16 | 0.024792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1151-42_0_3_line_22 | NAYY 4x150 SE | 16 | 34 | 0.013481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1151-42_0_3_line_23 | NAYY 4x150 SE | 17 | 31 | 0.0092156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1151-42_0_3_line_24 | NAYY 4x150 SE | 19 | 37 | 0.016707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1151-42_0_3_line_25 | NAYY 4x150 SE | 20 | 21 | 0.02596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1151-42_0_3_line_26 | NAYY 4x150 SE | 22 | 36 | 0.023884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1151-42_0_3_line_27 | NAYY 4x150 SE | 23 | 24 | 0.028964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1151-42_0_3_line_28 | NAYY 4x150 SE | 24 | 36 | 0.02518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1151-42_0_3_line_29 | NAYY 4x150 SE | 25 | 39 | 0.0062046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1151-42_0_3_line_30 | NAYY 4x150 SE | 26 | 35 | 0.0095309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1151-42_0_3_line_31 | NAYY 4x150 SE | 27 | 28 | 0.024303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1151-42_0_3_line_32 | NAYY 4x150 SE | 28 | 38 | 0.0013891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1151-42_0_3_line_33 | NAYY 4x150 SE | 29 | 30 | 0.00026725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1151-42_0_3_line_34 | NAYY 4x150 SE | 30 | 34 | 0.011023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1151-42_0_3_line_35 | NAYY 4x150 SE | 31 | 32 | 0.021677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1151-42_0_3_line_36 | NAYY 4x150 SE | 32 | 33 | 0.011579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1151-42_0_3_line_37 | NAYY 4x150 SE | 33 | 34 | 0.020326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1151-42_0_3_line_38 | NAYY 4x150 SE | 38 | 39 | 0.030628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1151-42_0_3_trafo_32 | 0.25 MVA 20/0.4 kV | 40 | 19 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2641644.2376 | 1218710.0584 | 2641645.2626 | 1218692.8371
1 | 2641644.2376 | 1218710.0584 | 2641636.1778 | 1218700.2963 | 2641641.1865 | 1218694.8948 | 2641642.995 | 1218689.1262 | 2641638.1228 | 1218688.036
2 | 2641638.1228 | 1218688.036 | 2641639.1258 | 1218685.6971 | 2641642.2052 | 1218672.911 | 2641642.5113 | 1218669.2888
3 | 2641638.1228 | 1218688.036 | 2641634.6816 | 1218696.1167 | 2641632.1109 | 1218699.0894 | 2641629.3007 | 1218700.4929 | 2641622.9746 | 1218701.1158 | 2641619.0469 | 1218700.6325 | 2641575.9565 | 1218690.0095
4 | 2641563.9496 | 1218599.4659 | 2641569.5947 | 1218594.2133 | 2641572.3599 | 1218591.6421 | 2641576.0464 | 1218595.1699 | 2641578.0234 | 1218593.5383
5 | 2641578.0234 | 1218593.5383 | 2641581.1441 | 1218596.5841 | 2641603.4831 | 1218617.7858 | 2641614.8766 | 1218628.3605
6 | 2641578.0234 | 1218593.5383 | 2641591.5486 | 1218582.3924
7 | 2641578.0234 | 1218593.5383 | 2641566.405 | 1218581.746
8 | 2641563.9496 | 1218599.4659 | 2641563.644 | 1218599.7529 | 2641550.888 | 1218610.4259 | 2641546.4325 | 1218611.6066 | 2641541.7425 | 1218611.574 | 2641537.0729 | 1218610.8076 | 2641530.7766 | 1218609.0735
9 | 2641614.8766 | 1218628.3605 | 2641621.878 | 1218623.4175 | 2641624.4948 | 1218621.8944
10 | 2641614.8766 | 1218628.3605 | 2641625.8248 | 1218638.5652 | 2641630.6029 | 1218642.9328
11 | 2641604.5101 | 1218637.0044 | 2641609.4674 | 1218632.4251 | 2641611.6962 | 1218630.6063 | 2641614.8766 | 1218628.3605
12 | 2641595.4396 | 1218579.1858 | 2641591.5486 | 1218582.3924
13 | 2641642.5113 | 1218669.2888 | 2641642.2044 | 1218665.4177 | 2641640.1311 | 1218662.3792 | 2641614.9981 | 1218639.2122 | 2641611.9743 | 1218637.5123 | 2641610.1826 | 1218637.5999 | 2641607.083 | 1218639.1569 | 2641604.5101 | 1218637.0044
14 | 2641604.5101 | 1218637.0044 | 2641603.0588 | 1218638.3395 | 2641593.0255 | 1218644.929 | 2641587.9924 | 1218646.228 | 2641577.5911 | 1218644.1118
15 | 2641642.5113 | 1218669.2888 | 2641625.3097 | 1218665.5998 | 2641623.9557 | 1218670.921
16 | 2641577.5911 | 1218644.1118 | 2641573.8081 | 1218643.3422
17 | 2641575.9565 | 1218690.0095 | 2641552.8237 | 1218684.3066
18 | 2641505.9536 | 1218603.2486 | 2641515.4547 | 1218604.8536 | 2641530.7766 | 1218609.0735
19 | 2641645.2603 | 1218609.8079 | 2641624.4948 | 1218621.8944
20 | 2641648.0656 | 1218658.075 | 2641639.5269 | 1218651.0905 | 2641630.6029 | 1218642.9328
21 | 2641664.9139 | 1218533.6647 | 2641663.5512 | 1218534.2666 | 2641658.8933 | 1218536.1574 | 2641657.0231 | 1218537.712 | 2641656.7266 | 1218538.8661 | 2641656.4605 | 1218545.446 | 2641656.2991 | 1218553.5111
22 | 2641656.0292 | 1218566.9891 | 2641656.2991 | 1218553.5111
23 | 2641595.4396 | 1218579.1858 | 2641597.488 | 1218577.4978 | 2641603.3006 | 1218574.4541
24 | 2641557.4361 | 1218640.0113 | 2641573.8081 | 1218643.3422
25 | 2641668.2489 | 1218674.4004 | 2641656.2791 | 1218664.7934 | 2641648.0656 | 1218658.075
26 | 2641529.6341 | 1218678.5897 | 2641552.8237 | 1218684.3066
27 | 2641477.9424 | 1218662.6541 | 2641492.6339 | 1218668.0879 | 2641505.324 | 1218672.0686
28 | 2641505.324 | 1218672.0686 | 2641513.1859 | 1218674.5347 | 2641529.6341 | 1218678.5897
29 | 2641505.9536 | 1218603.2486 | 2641499.8357 | 1218602.2152
30 | 2641645.2603 | 1218609.8079 | 2641653.4976 | 1218605.0135
31 | 2641444.3023 | 1218592.8344 | 2641468.2657 | 1218596.8823
32 | 2641468.2657 | 1218596.8823 | 2641469.6353 | 1218597.1137
33 | 2641667.2267 | 1218568.4355 | 2641666.9616 | 1218568.4013
34 | 2641656.0292 | 1218566.9891 | 2641666.9616 | 1218568.4013
35 | 2641603.3006 | 1218574.4541 | 2641605.1356 | 1218573.4932 | 2641624.4978 | 1218570.4129
36 | 2641635.9329 | 1218568.5938 | 2641624.4978 | 1218570.4129
37 | 2641656.0292 | 1218566.9891 | 2641650.5244 | 1218566.2724 | 2641635.9329 | 1218568.5938
38 | 2641469.6353 | 1218597.1137 | 2641499.8357 | 1218602.2152

## bus_geodata
| x | y | coords
0 | 2641645.2626 | 1218692.8371
1 | 2641644.2376 | 1218710.0584
2 | 2641638.1228 | 1218688.036
3 | 2641578.0234 | 1218593.5383
4 | 2641563.9496 | 1218599.4659
5 | 2641614.8766 | 1218628.3605
6 | 2641591.5486 | 1218582.3924
7 | 2641566.405 | 1218581.746
8 | 2641604.5101 | 1218637.0044
9 | 2641642.5113 | 1218669.2888
10 | 2641577.5911 | 1218644.1118
11 | 2641575.9565 | 1218690.0095
12 | 2641530.7766 | 1218609.0735
13 | 2641624.4948 | 1218621.8944
14 | 2641630.6029 | 1218642.9328
15 | 2641664.9139 | 1218533.6647
16 | 2641656.2991 | 1218553.5111
17 | 2641595.4396 | 1218579.1858
18 | 2641623.9557 | 1218670.921
19 | 2641573.8081 | 1218643.3422
20 | 2641668.2489 | 1218674.4004
21 | 2641648.0656 | 1218658.075
22 | 2641552.8237 | 1218684.3066
23 | 2641477.9424 | 1218662.6541
24 | 2641505.324 | 1218672.0686
25 | 2641505.9536 | 1218603.2486
26 | 2641645.2603 | 1218609.8079
27 | 2641444.3023 | 1218592.8344
28 | 2641468.2657 | 1218596.8823
29 | 2641667.2267 | 1218568.4355
30 | 2641666.9616 | 1218568.4013
31 | 2641603.3006 | 1218574.4541
32 | 2641624.4978 | 1218570.4129
33 | 2641635.9329 | 1218568.5938
34 | 2641656.0292 | 1218566.9891
35 | 2641653.4976 | 1218605.0135
36 | 2641529.6341 | 1218678.5897
37 | 2641557.4361 | 1218640.0113
38 | 2641469.6353 | 1218597.1137
39 | 2641499.8357 | 1218602.2152
40 | 2641557.4361 | 1218640.0113

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99327 | -0.047069 | 0.0042017 | 0.001053
1 | 0.99337 | -0.046336 | 0 | 0
2 | 0.99356 | -0.045015 | 0 | 0
3 | 0.98979 | -0.071362 | 0 | 0
4 | 0.98884 | -0.07812 | 0 | 0
5 | 0.99507 | -0.034333 | 0 | 0
6 | 0.98893 | -0.077442 | 0.0025793 | 0.00064642
7 | 0.98971 | -0.071959 | 0.0035422 | 0.00088776
8 | 0.99689 | -0.021661 | 0 | 0
9 | 0.9942 | -0.040502 | 0 | 0
10 | 0.99963 | -0.0025709 | 0.0054197 | 0.0013583
11 | 0.99164 | -0.058518 | 0.0030246 | 0.00075805
12 | 0.98696 | -0.09143 | 0.010339 | 0.0025912
13 | 0.9949 | -0.035506 | 0.0026099 | 0.00065411
14 | 0.99473 | -0.036699 | 0.0035792 | 0.00089703
15 | 0.98641 | -0.095294 | 0.0043792 | 0.0010975
16 | 0.98657 | -0.09418 | 0.0035189 | 0.00088192
17 | 0.9887 | -0.07906 | 0.0034713 | 0.00087
18 | 0.99381 | -0.04323 | 0.011699 | 0.002932
19 | 1 | 0 | -0.14112 | -0.035334
20 | 0.99435 | -0.039412 | 0.0037971 | 0.00095164
21 | 0.99449 | -0.038417 | 0.0035644 | 0.00089333
22 | 0.9911 | -0.062356 | 0.0041332 | 0.0010359
23 | 0.99019 | -0.068794 | 0.0044191 | 0.0011075
24 | 0.99037 | -0.067491 | 0.0045067 | 0.0011295
25 | 0.98606 | -0.097782 | 0.0055927 | 0.0014017
26 | 0.99465 | -0.037304 | 0.0044965 | 0.0011269
27 | 0.9853 | -0.10321 | 0.0022567 | 0.00056558
28 | 0.98538 | -0.10265 | 0.0049648 | 0.0012443
29 | 0.98658 | -0.094115 | 0.0039133 | 0.00098077
30 | 0.98658 | -0.094104 | 0.0050779 | 0.0012726
31 | 0.98833 | -0.081693 | 0.0034589 | 0.00086689
32 | 0.98757 | -0.087126 | 0.0038959 | 0.0009764
33 | 0.98722 | -0.08957 | 0.0037181 | 0.00093186
34 | 0.98672 | -0.093088 | 0 | 0
35 | 0.99461 | -0.037585 | 0.0029227 | 0.00073251
36 | 0.99069 | -0.065204 | 0.0027978 | 0.00070119
37 | 0.99986 | -0.00094901 | 0.0056898 | 0.001426
38 | 0.98539 | -0.10254 | 0.0041319 | 0.0010356
39 | 0.98589 | -0.098971 | 0.0073078 | 0.0018315
40 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0042017 | -0.001053 | 0.0042021 | 0.001053 | 4.2653e-07 | -5.9268e-08 | 0.0062946 | 0.0062945 | 0.0062946 | 0.99327 | -0.047069 | 0.99337 | -0.046336 | 2.3313
1 | -0.0042021 | -0.001053 | 0.0042029 | 0.0010529 | 7.6798e-07 | -1.0685e-07 | 0.0062945 | 0.0062944 | 0.0062945 | 0.99337 | -0.046336 | 0.99356 | -0.045015 | 2.3313
2 | -0.023136 | -0.0058028 | 0.023151 | 0.0058081 | 1.4485e-05 | 5.3206e-06 | 0.034652 | 0.034652 | 0.034652 | 0.99356 | -0.045015 | 0.9942 | -0.040502 | 12.8341
3 | 0.018934 | 0.0047499 | -0.018898 | -0.0047372 | 3.5402e-05 | 1.2704e-05 | 0.028358 | 0.028358 | 0.028358 | 0.99356 | -0.045015 | 0.99164 | -0.058518 | 10.503
4 | 0.03472 | 0.0087167 | -0.034687 | -0.0087044 | 3.2567e-05 | 1.228e-05 | 0.052201 | 0.052201 | 0.052201 | 0.98979 | -0.071362 | 0.98884 | -0.07812 | 19.3339
5 | -0.072358 | -0.018159 | 0.072732 | 0.018302 | 0.00037389 | 0.00014315 | 0.10879 | 0.10879 | 0.10879 | 0.98979 | -0.071362 | 0.99507 | -0.034333 | 40.292
6 | 0.034096 | 0.0085546 | -0.034067 | -0.0085437 | 2.8738e-05 | 1.0828e-05 | 0.051261 | 0.051262 | 0.051262 | 0.98979 | -0.071362 | 0.98893 | -0.077442 | 18.9857
7 | 0.0035425 | 0.00088766 | -0.0035422 | -0.00088776 | 2.9298e-07 | -1.0007e-07 | 0.0053256 | 0.0053256 | 0.0053256 | 0.98979 | -0.071362 | 0.98971 | -0.071959 | 1.9725
8 | 0.034687 | 0.0087044 | -0.034623 | -0.0086803 | 6.3958e-05 | 2.4118e-05 | 0.052201 | 0.052202 | 0.052202 | 0.98884 | -0.07812 | 0.98696 | -0.09143 | 19.3339
9 | 0.010033 | 0.0025143 | -0.010031 | -0.0025139 | 1.629e-06 | 4.759e-07 | 0.015003 | 0.015003 | 0.015003 | 0.99507 | -0.034333 | 0.9949 | -0.035506 | 5.5566
10 | 0.010947 | 0.0027433 | -0.010943 | -0.0027422 | 3.5849e-06 | 1.1004e-06 | 0.016369 | 0.016369 | 0.016369 | 0.99507 | -0.034333 | 0.99473 | -0.036699 | 6.0627
11 | -0.093711 | -0.02356 | 0.093877 | 0.023623 | 0.00016572 | 6.3562e-05 | 0.14016 | 0.14016 | 0.14016 | 0.99507 | -0.034333 | 0.99689 | -0.021661 | 51.9112
12 | 0.031488 | 0.0078973 | -0.031481 | -0.0078947 | 7.063e-06 | 2.6519e-06 | 0.047381 | 0.047381 | 0.047381 | 0.98893 | -0.077442 | 0.9887 | -0.07906 | 17.5484
13 | 0.034945 | 0.008776 | -0.034854 | -0.0087415 | 9.1278e-05 | 3.4408e-05 | 0.052168 | 0.052168 | 0.052168 | 0.99689 | -0.021661 | 0.9942 | -0.040502 | 19.3216
14 | -0.12882 | -0.032399 | 0.12917 | 0.032531 | 0.00034378 | 0.00013144 | 0.19233 | 0.19233 | 0.19233 | 0.99689 | -0.021661 | 0.99963 | -0.0025709 | 35.6163
15 | 0.011703 | 0.0029334 | -0.011699 | -0.002932 | 4.4195e-06 | 1.4006e-06 | 0.017516 | 0.017516 | 0.017516 | 0.9942 | -0.040502 | 0.99381 | -0.04323 | 6.4876
16 | -0.13459 | -0.033889 | 0.13463 | 0.033908 | 4.837e-05 | 1.8503e-05 | 0.2004 | 0.2004 | 0.2004 | 0.99963 | -0.0025709 | 1 | 0 | 37.1103
17 | 0.015873 | 0.0039792 | -0.015865 | -0.0039763 | 8.435e-06 | 2.937e-06 | 0.023819 | 0.023819 | 0.023819 | 0.99164 | -0.058518 | 0.9911 | -0.062356 | 8.822
18 | 0.024284 | 0.0060891 | -0.024263 | -0.0060812 | 2.1355e-05 | 7.8875e-06 | 0.036614 | 0.036614 | 0.036614 | 0.98696 | -0.09143 | 0.98606 | -0.097782 | 13.5607
19 | 0.0074212 | 0.0018597 | -0.0074193 | -0.0018594 | 1.8471e-06 | 3.9847e-07 | 0.011099 | 0.011099 | 0.011099 | 0.9949 | -0.035506 | 0.99465 | -0.037304 | 4.1109
20 | 0.0073638 | 0.0018452 | -0.007362 | -0.0018448 | 1.7507e-06 | 3.7326e-07 | 0.011015 | 0.011015 | 0.011015 | 0.99473 | -0.036699 | 0.99449 | -0.038417 | 4.0798
21 | -0.0043792 | -0.0010975 | 0.0043799 | 0.0010975 | 6.7513e-07 | -5.6866e-08 | 0.0066061 | 0.006606 | 0.0066061 | 0.98641 | -0.095294 | 0.98657 | -0.09418 | 2.4467
22 | -0.0078988 | -0.0019794 | 0.0079 | 0.0019797 | 1.1939e-06 | 2.8703e-07 | 0.011913 | 0.011913 | 0.011913 | 0.98657 | -0.09418 | 0.98672 | -0.093088 | 4.4124
23 | 0.028009 | 0.0070247 | -0.027999 | -0.0070209 | 1.022e-05 | 3.8125e-06 | 0.042156 | 0.042156 | 0.042156 | 0.9887 | -0.07906 | 0.98833 | -0.081693 | 15.6134
24 | 0.0056906 | 0.0014261 | -0.0056898 | -0.001426 | 7.4751e-07 | 6.8344e-08 | 0.0084676 | 0.0084677 | 0.0084677 | 1 | 0 | 0.99986 | -0.00094901 | 3.1362
25 | -0.0037971 | -0.00095164 | 0.0037976 | 0.0009515 | 5.2301e-07 | -1.3562e-07 | 0.0056822 | 0.0056821 | 0.0056822 | 0.99435 | -0.039412 | 0.99449 | -0.038417 | 2.1045
26 | 0.011732 | 0.0029404 | -0.011727 | -0.0029389 | 4.6239e-06 | 1.4708e-06 | 0.017614 | 0.017614 | 0.017614 | 0.9911 | -0.062356 | 0.99069 | -0.065204 | 6.5238
27 | -0.0044191 | -0.0011075 | 0.0044199 | 0.0011075 | 7.9704e-07 | -6.608e-08 | 0.0066409 | 0.0066407 | 0.0066409 | 0.99019 | -0.068794 | 0.99037 | -0.067491 | 2.4596
28 | -0.0089266 | -0.002237 | 0.0089295 | 0.0022377 | 2.8264e-06 | 7.6294e-07 | 0.013412 | 0.013412 | 0.013412 | 0.99037 | -0.067491 | 0.99069 | -0.065204 | 4.9674
29 | 0.01867 | 0.0046796 | -0.018667 | -0.0046785 | 3.0733e-06 | 1.1029e-06 | 0.028174 | 0.028174 | 0.028174 | 0.98606 | -0.097782 | 0.98589 | -0.098971 | 10.4349
30 | 0.0029229 | 0.00073243 | -0.0029227 | -0.00073251 | 1.1371e-07 | -7.9964e-08 | 0.0043726 | 0.0043727 | 0.0043727 | 0.99465 | -0.037304 | 0.99461 | -0.037585 | 1.6195
31 | -0.0022567 | -0.00056558 | 0.0022569 | 0.00056534 | 1.7614e-07 | -2.4181e-07 | 0.0034081 | 0.003408 | 0.0034081 | 0.9853 | -0.10321 | 0.98538 | -0.10265 | 1.2623
32 | -0.0072216 | -0.0018096 | 0.0072217 | 0.0018096 | 1.0308e-07 | 2.1952e-08 | 0.010905 | 0.010905 | 0.010905 | 0.98538 | -0.10265 | 0.98539 | -0.10254 | 4.039
33 | -0.0039133 | -0.00098077 | 0.0039133 | 0.00098077 | 5.8094e-09 | -1.1782e-09 | 0.0059023 | 0.0059023 | 0.0059023 | 0.98658 | -0.094115 | 0.98658 | -0.094104 | 2.186
34 | -0.0089912 | -0.0022534 | 0.0089925 | 0.0022538 | 1.265e-06 | 3.4574e-07 | 0.013561 | 0.013561 | 0.013561 | 0.98658 | -0.094104 | 0.98672 | -0.093088 | 5.0226
35 | 0.02454 | 0.006154 | -0.024522 | -0.0061471 | 1.8466e-05 | 6.8249e-06 | 0.036949 | 0.036949 | 0.036949 | 0.98833 | -0.081693 | 0.98757 | -0.087126 | 13.6847
36 | 0.020626 | 0.0051707 | -0.020619 | -0.0051682 | 6.9787e-06 | 2.536e-06 | 0.031079 | 0.031079 | 0.031079 | 0.98757 | -0.087126 | 0.98722 | -0.08957 | 11.5106
37 | 0.016901 | 0.0042363 | -0.016892 | -0.0042334 | 8.2309e-06 | 2.906e-06 | 0.025474 | 0.025474 | 0.025474 | 0.98722 | -0.08957 | 0.98672 | -0.093088 | 9.435
38 | -0.011354 | -0.0028452 | 0.011359 | 0.002847 | 5.6178e-06 | 1.7703e-06 | 0.017145 | 0.017145 | 0.017145 | 0.98539 | -0.10254 | 0.98589 | -0.098971 | 6.3499

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.14689 | 0.03678

## res_load
| p_mw | q_mvar
0 | 0.0042017 | 0.001053
1 | 0.0025793 | 0.00064642
2 | 0.0035422 | 0.00088776
3 | 0.0054197 | 0.0013583
4 | 0.0030246 | 0.00075805
5 | 0.010339 | 0.0025912
6 | 0.0026099 | 0.00065411
7 | 0.0035792 | 0.00089703
8 | 0.0043792 | 0.0010975
9 | 0.0035189 | 0.00088192
10 | 0.0034713 | 0.00087
11 | 0.011699 | 0.002932
12 | 0.0057698 | 0.0014461
13 | 0.0037971 | 0.00095164
14 | 0.0035644 | 0.00089333
15 | 0.0041332 | 0.0010359
16 | 0.0044191 | 0.0011075
17 | 0.0045067 | 0.0011295
18 | 0.0055927 | 0.0014017
19 | 0.0044965 | 0.0011269
20 | 0.0022567 | 0.00056558
21 | 0.0049648 | 0.0012443
22 | 0.0039133 | 0.00098077
23 | 0.0050779 | 0.0012726
24 | 0.0034589 | 0.00086689
25 | 0.0038959 | 0.0009764
26 | 0.0037181 | 0.00093186
27 | 0.0029227 | 0.00073251
28 | 0.0027978 | 0.00070119
29 | 0.0056898 | 0.001426
30 | 0.0041319 | 0.0010356
31 | 0.0073078 | 0.0018315

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1