## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1151-43_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1151-43_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1151-43_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1151-43_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1151-43_0_3_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_1151-43_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1151-43_0_3_node_94 | 0.4 | n |  | TRUE
7 | bus_LV_1151-43_0_3_node_40 | 0.4 | n |  | TRUE
8 | bus_LV_1151-43_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_1151-43_0_3_node_54 | 0.4 | n |  | TRUE
10 | bus_LV_1151-43_0_3_node_38 | 0.4 | n |  | TRUE
11 | bus_LV_1151-43_0_3_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_1151-43_0_3_node_63 | 0.4 | n |  | TRUE
13 | bus_LV_1151-43_0_3_node_66 | 0.4 | n |  | TRUE
14 | bus_LV_1151-43_0_3_node_39 | 0.4 | n |  | TRUE
15 | bus_LV_1151-43_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_1151-43_0_3_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_1151-43_0_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_1151-43_0_3_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_1151-43_0_3_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_1151-43_0_3_node_21 | 0.4 | n |  | TRUE
21 | bus_LV_1151-43_0_3_node_61 | 0.4 | n |  | TRUE
22 | bus_LV_1151-43_0_3_node_46 | 0.4 | n |  | TRUE
23 | bus_LV_1151-43_0_3_node_64 | 0.4 | n |  | TRUE
24 | bus_LV_1151-43_0_3_node_65 | 0.4 | n |  | TRUE
25 | bus_LV_1151-43_0_3_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_1151-43_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_1151-43_0_3_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_1151-43_0_3_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_1151-43_0_3_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_1151-43_0_3_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_1151-43_0_3_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_1151-43_0_3_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_1151-43_0_3_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_1151-43_0_3_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_1151-43_0_3_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_1151-43_0_3_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_1151-43_0_3_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_1151-43_0_3_node_68 | 0.4 | n |  | TRUE
39 | bus_LV_1151-43_0_3_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_1151-43_0_3_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_1151-43_0_3_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_1151-43_0_3_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_1151-43_0_3_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_1151-43_0_3_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_1151-43_0_3_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_1151-43_0_3_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_1151-43_0_3_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_1151-43_0_3_node_52 | 0.4 | n |  | TRUE
49 | bus_LV_1151-43_0_3_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_1151-43_0_3_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_1151-43_0_3_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_1151-43_0_3_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_1151-43_0_3_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_1151-43_0_3_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_1151-43_0_3_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_1151-43_0_3_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_1151-43_0_3_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_1151-43_0_3_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_1151-43_0_3_node_81 | 0.4 | n |  | TRUE
60 | bus_LV_1151-43_0_3_node_79 | 0.4 | n |  | TRUE
61 | bus_LV_1151-43_0_3_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_1151-43_0_3_node_85 | 0.4 | n |  | TRUE
63 | bus_LV_1151-43_0_3_node_77 | 0.4 | n |  | TRUE
64 | bus_LV_1151-43_0_3_node_80 | 0.4 | n |  | TRUE
65 | bus_LV_1151-43_0_3_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_1151-43_0_3_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_1151-43_0_3_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_1151-43_0_3_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_1151-43_0_3_node_58 | 0.4 | n |  | TRUE
70 | bus_LV_1151-43_0_3_node_73 | 0.4 | n |  | TRUE
71 | bus_LV_1151-43_0_3_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_1151-43_0_3_node_87 | 0.4 | n |  | TRUE
73 | bus_LV_1151-43_0_3_node_93 | 0.4 | n |  | TRUE
74 | bus_LV_1151-43_0_3_node_90 | 0.4 | n |  | TRUE
75 | bus_LV_1151-43_0_3_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_1151-43_0_3_node_88 | 0.4 | n |  | TRUE
77 | bus_LV_1151-43_0_3_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_1151-43_0_3_node_76 | 0.4 | n |  | TRUE
79 | bus_LV_1151-43_0_3_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_1151-43_0_3_node_92 | 0.4 | n |  | TRUE
81 | bus_LV_1151-43_0_3_node_78 | 0.4 | n |  | TRUE
82 | bus_LV_1151-43_0_3_node_82 | 0.4 | n |  | TRUE
83 | bus_LV_1151-43_0_3_node_84 | 0.4 | n |  | TRUE
84 | bus_LV_1151-43_0_3_node_83 | 0.4 | n |  | TRUE
85 | bus_LV_1151-43_0_3_node_72 | 0.4 | n |  | TRUE
86 | bus_LV_1151-43_0_3_node_75 | 0.4 | n |  | TRUE
87 | bus_LV_1151-43_0_3_node_89 | 0.4 | n |  | TRUE
88 | bus_MV_128_0_node_282 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1151-43_0_3_load_0 | 0 | 0.014173 | 0.003552 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1151-43_0_3_load_3 | 2 | 0.0085967 | 0.0021545 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1151-43_0_3_load_94 | 6 | 0.0015188 | 0.00038065 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1151-43_0_3_load_40 | 7 | 0.0013689 | 0.00034308 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1151-43_0_3_load_54 | 9 | 0.0017362 | 0.00043513 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1151-43_0_3_load_38 | 10 | 0.0021051 | 0.00052758 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1151-43_0_3_load_66 | 13 | 0.0042117 | 0.0010555 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1151-43_0_3_load_39 | 14 | 0.0012039 | 0.00030172 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1151-43_0_3_load_11 | 15 | 0.0030311 | 0.00075967 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1151-43_0_3_load_13 | 17 | 0.0044286 | 0.0011099 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1151-43_0_3_load_14 | 18 | 0.004574 | 0.0011463 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1151-43_0_3_load_22 | 19 | 0.0019577 | 0.00049064 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1151-43_0_3_load_21 | 20 | 0.0010842 | 0.00027174 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1151-43_0_3_load_61 | 21 | 0.0022885 | 0.00057355 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1151-43_0_3_load_46 | 22 | 0.0012998 | 0.00032576 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1151-43_0_3_load_64 | 23 | 0.0080675 | 0.0020219 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1151-43_0_3_load_15 | 25 | 0.0074785 | 0.0018743 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1151-43_0_3_load_16 | 26 | 0.012863 | 0.0032237 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1151-43_0_3_load_18 | 28 | 0.0035957 | 0.00090117 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1151-43_0_3_load_19 | 29 | 0.011868 | 0.0029745 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1151-43_0_3_load_20 | 30 | 0.0025705 | 0.00064423 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1151-43_0_3_load_24 | 31 | 0.013031 | 0.0032659 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1151-43_0_3_load_35 | 32 | 0.0025716 | 0.00064451 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1151-43_0_3_load_34 | 33 | 0.0025677 | 0.00064353 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1151-43_0_3_load_33 | 36 | 0.0025695 | 0.00064399 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1151-43_0_3_load_25 | 37 | 0.012573 | 0.0031511 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1151-43_0_3_load_68 | 38 | 0.001177 | 0.00029497 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1151-43_0_3_load_26 | 39 | 0.0032637 | 0.00081795 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1151-43_0_3_load_27 | 40 | 0.0013686 | 0.00034301 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1151-43_0_3_load_28 | 41 | 0.0022204 | 0.0005565 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1151-43_0_3_load_29 | 42 | 0.0013709 | 0.00034358 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1151-43_0_3_load_30 | 43 | 0.0013696 | 0.00034326 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1151-43_0_3_load_32 | 44 | 0.0013683 | 0.00034292 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1151-43_0_3_load_37 | 45 | 0.011251 | 0.0028198 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1151-43_0_3_load_41 | 46 | 0.0018958 | 0.00047514 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1151-43_0_3_load_52 | 48 | 0.0021364 | 0.00053544 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1151-43_0_3_load_50 | 49 | 0.0026413 | 0.00066197 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1151-43_0_3_load_43 | 50 | 0.0016128 | 0.00040421 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1151-43_0_3_load_44 | 51 | 0.0020138 | 0.00050471 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1151-43_0_3_load_48 | 54 | 0.002634 | 0.00066013 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1151-43_0_3_load_57 | 56 | 0.0043882 | 0.0010998 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1151-43_0_3_load_55 | 57 | 0.0026017 | 0.00065205 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1151-43_0_3_load_53 | 58 | 0.0015404 | 0.00038606 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1151-43_0_3_load_79 | 60 | 0.0010533 | 0.00026399 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1151-43_0_3_load_62 | 61 | 0.0019229 | 0.00048192 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1151-43_0_3_load_85 | 62 | 0.0026736 | 0.00067007 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1151-43_0_3_load_80 | 64 | 0.0014429 | 0.00036162 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1151-43_0_3_load_51 | 65 | 0.0030725 | 0.00077005 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1151-43_0_3_load_60 | 68 | 0.0073734 | 0.001848 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1151-43_0_3_load_73 | 70 | 0.001605 | 0.00040226 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1151-43_0_3_load_70 | 71 | 0.0060343 | 0.0015123 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1151-43_0_3_load_87 | 72 | 0.0020939 | 0.00052479 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1151-43_0_3_load_93 | 73 | 0.0079793 | 0.0019998 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1151-43_0_3_load_90 | 74 | 0.0058418 | 0.0014641 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1151-43_0_3_load_71 | 75 | 0.0024285 | 0.00060864 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1151-43_0_3_load_88 | 76 | 0.0015483 | 0.00038804 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1151-43_0_3_load_69 | 77 | 0.0063975 | 0.0016034 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1151-43_0_3_load_74 | 79 | 0.0018937 | 0.00047461 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1151-43_0_3_load_92 | 80 | 0.0013735 | 0.00034424 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1151-43_0_3_load_82 | 82 | 0.0011184 | 0.00028029 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1151-43_0_3_load_84 | 83 | 0.001299 | 0.00032556 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1151-43_0_3_load_83 | 84 | 0.0018324 | 0.00045924 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1151-43_0_3_load_89 | 87 | 0.0015489 | 0.00038819 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 77 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1151-43_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.037864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1151-43_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.012512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1151-43_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.040219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1151-43_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.011033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1151-43_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0053319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1151-43_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.023532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1151-43_0_3_line_6 | NAYY 4x150 SE | 4 | 11 | 0.021968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1151-43_0_3_line_7 | NAYY 4x150 SE | 5 | 7 | 0.015304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1151-43_0_3_line_8 | NAYY 4x150 SE | 7 | 14 | 0.018622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1151-43_0_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.039521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
10 | LV_1151-43_0_3_line_10 | NAYY 4x150 SE | 8 | 10 | 0.022578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_1151-43_0_3_line_11 | NAYY 4x150 SE | 9 | 12 | 0.010524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_1151-43_0_3_line_12 | NAYY 4x150 SE | 10 | 17 | 0.030708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_1151-43_0_3_line_13 | NAYY 4x150 SE | 11 | 12 | 0.003203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1151-43_0_3_line_14 | NAYY 4x150 SE | 11 | 13 | 0.03265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1151-43_0_3_line_15 | NAYY 4x150 SE | 12 | 21 | 0.039837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_1151-43_0_3_line_16 | NAYY 4x150 SE | 13 | 22 | 0.0091841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1151-43_0_3_line_17 | NAYY 4x150 SE | 14 | 46 | 0.030541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1151-43_0_3_line_18 | NAYY 4x150 SE | 15 | 16 | 0.022096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1151-43_0_3_line_19 | NAYY 4x150 SE | 16 | 17 | 0.020611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_1151-43_0_3_line_20 | NAYY 4x150 SE | 16 | 18 | 0.01351 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_1151-43_0_3_line_21 | NAYY 4x150 SE | 18 | 23 | 0.034004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_1151-43_0_3_line_22 | NAYY 4x150 SE | 19 | 20 | 0.0098345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1151-43_0_3_line_23 | NAYY 4x150 SE | 20 | 34 | 0.056088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1151-43_0_3_line_24 | NAYY 4x150 SE | 21 | 61 | 0.020976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_1151-43_0_3_line_25 | NAYY 4x150 SE | 22 | 51 | 0.0076893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1151-43_0_3_line_26 | NAYY 4x150 SE | 23 | 24 | 0.020638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
27 | LV_1151-43_0_3_line_27 | NAYY 4x150 SE | 24 | 38 | 0.029837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_1151-43_0_3_line_28 | NAYY 4x150 SE | 24 | 37 | 0.04548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1151-43_0_3_line_29 | NAYY 4x150 SE | 25 | 26 | 0.0040031 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1151-43_0_3_line_30 | NAYY 4x150 SE | 25 | 27 | 0.017228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1151-43_0_3_line_31 | NAYY 4x150 SE | 26 | 28 | 0.020885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1151-43_0_3_line_32 | NAYY 4x150 SE | 27 | 29 | 0.0071618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1151-43_0_3_line_33 | NAYY 4x150 SE | 27 | 30 | 0.018165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1151-43_0_3_line_34 | NAYY 4x150 SE | 28 | 31 | 0.0074467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1151-43_0_3_line_35 | NAYY 4x150 SE | 29 | 32 | 0.0073796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1151-43_0_3_line_36 | NAYY 4x150 SE | 30 | 33 | 0.0065617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1151-43_0_3_line_37 | NAYY 4x150 SE | 31 | 34 | 0.0094581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1151-43_0_3_line_38 | NAYY 4x150 SE | 32 | 35 | 0.017257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1151-43_0_3_line_39 | NAYY 4x150 SE | 33 | 36 | 0.0065621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1151-43_0_3_line_40 | NAYY 4x150 SE | 34 | 37 | 0.023333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1151-43_0_3_line_41 | NAYY 4x150 SE | 35 | 45 | 0.0095155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1151-43_0_3_line_42 | NAYY 4x150 SE | 36 | 44 | 0.023963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1151-43_0_3_line_43 | NAYY 4x150 SE | 38 | 77 | 0.0039122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
44 | LV_1151-43_0_3_line_44 | NAYY 4x150 SE | 39 | 40 | 0.0017567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1151-43_0_3_line_45 | NAYY 4x150 SE | 39 | 41 | 0.023464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1151-43_0_3_line_46 | NAYY 4x150 SE | 40 | 42 | 0.0065555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1151-43_0_3_line_47 | NAYY 4x150 SE | 41 | 43 | 0.0081029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1151-43_0_3_line_48 | NAYY 4x150 SE | 42 | 44 | 0.0065546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1151-43_0_3_line_49 | NAYY 4x150 SE | 46 | 47 | 0.059452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1151-43_0_3_line_50 | NAYY 4x150 SE | 47 | 48 | 0.036014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1151-43_0_3_line_51 | NAYY 4x150 SE | 48 | 49 | 0.047121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1151-43_0_3_line_52 | NAYY 4x150 SE | 49 | 65 | 0.047409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1151-43_0_3_line_53 | NAYY 4x150 SE | 50 | 51 | 0.025332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1151-43_0_3_line_54 | NAYY 4x150 SE | 52 | 53 | 0.003741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
55 | LV_1151-43_0_3_line_55 | NAYY 4x150 SE | 52 | 54 | 0.021899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1151-43_0_3_line_56 | NAYY 4x150 SE | 52 | 55 | 0.002757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1151-43_0_3_line_57 | NAYY 4x150 SE | 53 | 56 | 0.022437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
58 | LV_1151-43_0_3_line_58 | NAYY 4x150 SE | 53 | 57 | 0.014123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1151-43_0_3_line_59 | NAYY 4x150 SE | 54 | 58 | 0.026903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1151-43_0_3_line_60 | NAYY 4x150 SE | 55 | 59 | 0.061858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1151-43_0_3_line_61 | NAYY 4x150 SE | 55 | 60 | 0.01684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1151-43_0_3_line_62 | NAYY 4x150 SE | 56 | 61 | 0.031717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
63 | LV_1151-43_0_3_line_63 | NAYY 4x150 SE | 59 | 62 | 0.012355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1151-43_0_3_line_64 | NAYY 4x150 SE | 59 | 63 | 0.008733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1151-43_0_3_line_65 | NAYY 4x150 SE | 60 | 64 | 0.026313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1151-43_0_3_line_66 | NAYY 4x150 SE | 62 | 81 | 0.024372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_1151-43_0_3_line_67 | NAYY 4x150 SE | 63 | 80 | 0.037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_1151-43_0_3_line_68 | NAYY 4x150 SE | 63 | 78 | 0.044803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_1151-43_0_3_line_69 | NAYY 4x150 SE | 66 | 67 | 0.022323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_1151-43_0_3_line_70 | NAYY 4x150 SE | 66 | 68 | 0.082717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_1151-43_0_3_line_71 | NAYY 4x150 SE | 67 | 72 | 0.034912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_1151-43_0_3_line_72 | NAYY 4x150 SE | 68 | 73 | 0.010823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_1151-43_0_3_line_73 | NAYY 4x150 SE | 69 | 70 | 0.0053766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_1151-43_0_3_line_74 | NAYY 4x150 SE | 69 | 71 | 0.02522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_1151-43_0_3_line_75 | NAYY 4x150 SE | 70 | 74 | 0.12493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_1151-43_0_3_line_76 | NAYY 4x150 SE | 71 | 75 | 0.029979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_1151-43_0_3_line_77 | NAYY 4x150 SE | 72 | 76 | 0.022911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_1151-43_0_3_line_78 | NAYY 4x150 SE | 75 | 85 | 0.036621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_1151-43_0_3_line_79 | NAYY 4x150 SE | 76 | 87 | 0.0088922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_1151-43_0_3_line_80 | NAYY 4x150 SE | 78 | 79 | 0.010792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_1151-43_0_3_line_81 | NAYY 4x150 SE | 79 | 86 | 0.033481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_1151-43_0_3_line_82 | NAYY 4x150 SE | 80 | 87 | 0.0091101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
83 | LV_1151-43_0_3_line_83 | NAYY 4x150 SE | 81 | 82 | 0.0074397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
84 | LV_1151-43_0_3_line_84 | NAYY 4x150 SE | 82 | 84 | 0.022494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
85 | LV_1151-43_0_3_line_85 | NAYY 4x150 SE | 83 | 84 | 0.012379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
86 | LV_1151-43_0_3_line_86 | NAYY 4x150 SE | 85 | 86 | 0.042984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1151-43_0_3_trafo_69 | 0.25 MVA 20/0.4 kV | 88 | 77 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2641698.5289 | 1219097.446 | 2641704.6544 | 1219074.464 | 2641702.5249 | 1219074.0489 | 2641705.3464 | 1219062.4779
1 | 2641698.5289 | 1219097.446 | 2641686.4 | 1219094.3716
2 | 2641736.7443 | 1219105.1512 | 2641735.5185 | 1219106.8103 | 2641698.5289 | 1219097.446
3 | 2641675.7049 | 1219091.6607 | 2641686.4 | 1219094.3716
4 | 2641733.5802 | 1219109.4427 | 2641735.5185 | 1219106.8103 | 2641736.7443 | 1219105.1512
5 | 2641736.7443 | 1219105.1512 | 2641740.4068 | 1219107.7228 | 2641758.2779 | 1219114.3408
6 | 2641675.7049 | 1219091.6607 | 2641654.3504 | 1219086.2528
7 | 2641733.5802 | 1219109.4427 | 2641728.1394 | 1219123.7468
8 | 2641721.7466 | 1219141.2121 | 2641721.9143 | 1219140.1127 | 2641728.1394 | 1219123.7468
9 | 2641664.8159 | 1219037.2967 | 2641654.0925 | 1219075.3349
10 | 2641664.8159 | 1219037.2967 | 2641654.7503 | 1219037.7267 | 2641642.4132 | 1219039.7596
11 | 2641651.237 | 1219085.4639 | 2641654.0925 | 1219075.3349
12 | 2641642.4132 | 1219039.7596 | 2641637.7928 | 1219040.521 | 2641612.8777 | 1219048.0402
13 | 2641651.237 | 1219085.4639 | 2641654.3504 | 1219086.2528
14 | 2641654.3504 | 1219086.2528 | 2641650.4435 | 1219094.7527 | 2641641.2941 | 1219107.4408 | 2641635.7872 | 1219112.7544
15 | 2641651.237 | 1219085.4639 | 2641649.6885 | 1219090.9563 | 2641642.714 | 1219102.9814 | 2641633.1419 | 1219110.986 | 2641626.4081 | 1219114.8256
16 | 2641628.2208 | 1219117.9266 | 2641634.9452 | 1219113.5668 | 2641635.7872 | 1219112.7544
17 | 2641721.7466 | 1219141.2121 | 2641720.4827 | 1219149.4972 | 2641724.7179 | 1219158.043 | 2641732.6828 | 1219167.1597 | 2641733.0227 | 1219167.5488
18 | 2641593.1456 | 1219053.9952 | 2641593.3299 | 1219048.2487 | 2641597.4668 | 1219032.4339
19 | 2641593.1456 | 1219053.9952 | 2641612.8777 | 1219048.0402
20 | 2641593.1456 | 1219053.9952 | 2641580.5773 | 1219058.9518
21 | 2641580.5773 | 1219058.9518 | 2641573.2008 | 1219061.8609 | 2641556.8706 | 1219066.1385 | 2641547.7565 | 1219067.3411
22 | 2641472.29 | 1218999.1227 | 2641474.4376 | 1218989.5256
23 | 2641460.0414 | 1219053.8572 | 2641472.29 | 1218999.1227
24 | 2641626.4081 | 1219114.8256 | 2641623.2602 | 1219116.6204 | 2641606.1369 | 1219119.4287
25 | 2641628.2208 | 1219117.9266 | 2641626.8189 | 1219118.8355 | 2641621.129 | 1219120.7969 | 2641621.129 | 1219120.7969
26 | 2641527.1879 | 1219068.8111 | 2641541.3451 | 1219068.1871 | 2641547.7565 | 1219067.3411
27 | 2641527.1879 | 1219068.8111 | 2641526.8991 | 1219089.577 | 2641522.9388 | 1219092.6957 | 2641518.9117 | 1219092.7691
28 | 2641527.1879 | 1219068.8111 | 2641511.6804 | 1219066.1015 | 2641482.7453 | 1219059.2406
29 | 2641419.3105 | 1219044.4971 | 2641423.2118 | 1219045.3936
30 | 2641402.5201 | 1219040.6386 | 2641419.3105 | 1219044.4971
31 | 2641423.2118 | 1219045.3936 | 2641443.5661 | 1219050.0711
32 | 2641402.5201 | 1219040.6386 | 2641395.5583 | 1219038.9576
33 | 2641402.5201 | 1219040.6386 | 2641404.2132 | 1219033.9686 | 2641406.8947 | 1219023.0088
34 | 2641450.8236 | 1219051.7389 | 2641443.5661 | 1219050.0711
35 | 2641395.5583 | 1219038.9576 | 2641388.3849 | 1219037.2255
36 | 2641408.4542 | 1219016.6351 | 2641406.8947 | 1219023.0088
37 | 2641460.0414 | 1219053.8572 | 2641450.8236 | 1219051.7389
38 | 2641371.6101 | 1219033.1752 | 2641388.3849 | 1219037.2255
39 | 2641410.0137 | 1219010.261 | 2641408.4542 | 1219016.6351
40 | 2641460.0414 | 1219053.8572 | 2641482.7453 | 1219059.2406
41 | 2641371.6101 | 1219033.1752 | 2641362.3649 | 1219030.9235
42 | 2641410.0137 | 1219010.261 | 2641415.7087 | 1218986.985
43 | 2641515.0001 | 1219092.8405 | 2641518.9117 | 1219092.7691
44 | 2641419.2419 | 1218972.5442 | 2641418.8244 | 1218974.2506
45 | 2641419.2419 | 1218972.5442 | 2641423.3959 | 1218955.5663 | 2641417.6193 | 1218954.0012
46 | 2641418.8244 | 1218974.2506 | 2641417.2664 | 1218980.6182
47 | 2641409.7983 | 1218951.8822 | 2641417.6193 | 1218954.0012
48 | 2641417.2664 | 1218980.6182 | 2641415.7087 | 1218986.985
49 | 2641781.0739 | 1219200.8408 | 2641756.951 | 1219189.8876 | 2641745.3376 | 1219181.6458 | 2641733.0227 | 1219167.5488
50 | 2641781.0739 | 1219200.8408 | 2641772.3623 | 1219205.1713 | 2641747.9423 | 1219195.4453
51 | 2641704.3401 | 1219177.5848 | 2641725.3084 | 1219186.4307 | 2641747.9423 | 1219195.4453
52 | 2641704.3401 | 1219177.5848 | 2641666.6478 | 1219161.6836 | 2641660.411 | 1219159.8525
53 | 2641596.1056 | 1219124.7234 | 2641605.3947 | 1219123.422 | 2641621.129 | 1219120.7969
54 | 2641552.5597 | 1219127.167 | 2641553.9926 | 1219130.6234
55 | 2641553.9926 | 1219130.6234 | 2641556.0971 | 1219135.7078 | 2641560.2981 | 1219138.3275 | 2641571.6771 | 1219139.5617
56 | 2641551.2296 | 1219130.7376 | 2641553.9926 | 1219130.6234
57 | 2641552.5597 | 1219127.167 | 2641570.0717 | 1219125.3435 | 2641574.8381 | 1219124.5618
58 | 2641552.5597 | 1219127.167 | 2641538.4401 | 1219127.4641
59 | 2641571.6771 | 1219139.5617 | 2641598.4235 | 1219142.4625
60 | 2641547.2603 | 1219190.6678 | 2641546.6363 | 1219169.1507 | 2641544.1238 | 1219149.6549 | 2641544.5746 | 1219143.7656 | 2641546.4387 | 1219138.709 | 2641550.1392 | 1219133.6651 | 2641551.2296 | 1219130.7376
61 | 2641551.2296 | 1219130.7376 | 2641542.6719 | 1219129.3327 | 2641534.5049 | 1219129.4694
62 | 2641574.8381 | 1219124.5618 | 2641606.1369 | 1219119.4287
63 | 2641547.2603 | 1219190.6678 | 2641559.4961 | 1219192.3763
64 | 2641547.2603 | 1219190.6678 | 2641538.5876 | 1219189.4511
65 | 2641534.5049 | 1219129.4694 | 2641511.2439 | 1219129.8586 | 2641508.1994 | 1219130.0162
66 | 2641583.6345 | 1219195.7466 | 2641559.4961 | 1219192.3763
67 | 2641538.5876 | 1219189.4511 | 2641503.7868 | 1219176.8843
68 | 2641538.5876 | 1219189.4511 | 2641543.7524 | 1219196.4024 | 2641546.1963 | 1219206.1363 | 2641546.3087 | 1219223.7698 | 2641546.4165 | 1219232.2423
69 | 2641415.7658 | 1219139.5227 | 2641417.766 | 1219145.4401 | 2641421.613 | 1219148.7688 | 2641432.0606 | 1219152.2991
70 | 2641415.7658 | 1219139.5227 | 2641404.6032 | 1219141.6798 | 2641395.5016 | 1219141.0051 | 2641361.2562 | 1219133.1072 | 2641357.1378 | 1219134.9798 | 2641354.029 | 1219142.2737 | 2641348.6212 | 1219144.0483 | 2641339.8974 | 1219142.1284
71 | 2641432.0606 | 1219152.2991 | 2641465.1383 | 1219163.4672
72 | 2641339.8974 | 1219142.1284 | 2641329.3277 | 1219139.8021
73 | 2641405.4303 | 1219233.4401 | 2641400.4064 | 1219231.5246
74 | 2641405.4303 | 1219233.4401 | 2641409.1544 | 1219238.0688 | 2641414.4363 | 1219244.5649 | 2641422.0356 | 1219252.3888
75 | 2641400.4064 | 1219231.5246 | 2641289.2169 | 1219189.1302 | 2641284.6202 | 1219185.3808
76 | 2641422.0356 | 1219252.3888 | 2641427.2977 | 1219257.8065 | 2641437.9735 | 1219262.3278 | 2641448.3598 | 1219263.7342 | 2641448.6784 | 1219263.8826
77 | 2641465.1383 | 1219163.4672 | 2641486.8455 | 1219170.7963
78 | 2641481.8754 | 1219279.3432 | 2641448.6784 | 1219263.8826
79 | 2641486.8455 | 1219170.7963 | 2641488.1068 | 1219171.2222 | 2641495.2182 | 1219173.7902
80 | 2641546.4165 | 1219232.2423 | 2641540.0491 | 1219236.7005 | 2641537.1596 | 1219237.5754
81 | 2641514.1489 | 1219257.5326 | 2641517.6994 | 1219246.762 | 2641520.3566 | 1219243.3118 | 2641524.6501 | 1219241.3627 | 2641537.1596 | 1219237.5754
82 | 2641503.7868 | 1219176.8843 | 2641495.2182 | 1219173.7902
83 | 2641583.6345 | 1219195.7466 | 2641590.9695 | 1219196.9903
84 | 2641590.9695 | 1219196.9903 | 2641613.1468 | 1219200.7506
85 | 2641625.3518 | 1219202.8201 | 2641613.1468 | 1219200.7506
86 | 2641514.1489 | 1219257.5326 | 2641511.668 | 1219265.0754 | 2641509.0036 | 1219269.5595 | 2641503.1526 | 1219275.0665 | 2641495.894 | 1219277.8398 | 2641481.8754 | 1219279.3432

## bus_geodata
| x | y | coords
0 | 2641705.3464 | 1219062.4779
1 | 2641698.5289 | 1219097.446
2 | 2641686.4 | 1219094.3716
3 | 2641736.7443 | 1219105.1512
4 | 2641675.7049 | 1219091.6607
5 | 2641733.5802 | 1219109.4427
6 | 2641758.2779 | 1219114.3408
7 | 2641728.1394 | 1219123.7468
8 | 2641664.8159 | 1219037.2967
9 | 2641654.0925 | 1219075.3349
10 | 2641642.4132 | 1219039.7596
11 | 2641654.3504 | 1219086.2528
12 | 2641651.237 | 1219085.4639
13 | 2641635.7872 | 1219112.7544
14 | 2641721.7466 | 1219141.2121
15 | 2641597.4668 | 1219032.4339
16 | 2641593.1456 | 1219053.9952
17 | 2641612.8777 | 1219048.0402
18 | 2641580.5773 | 1219058.9518
19 | 2641474.4376 | 1218989.5256
20 | 2641472.29 | 1218999.1227
21 | 2641626.4081 | 1219114.8256
22 | 2641628.2208 | 1219117.9266
23 | 2641547.7565 | 1219067.3411
24 | 2641527.1879 | 1219068.8111
25 | 2641419.3105 | 1219044.4971
26 | 2641423.2118 | 1219045.3936
27 | 2641402.5201 | 1219040.6386
28 | 2641443.5661 | 1219050.0711
29 | 2641395.5583 | 1219038.9576
30 | 2641406.8947 | 1219023.0088
31 | 2641450.8236 | 1219051.7389
32 | 2641388.3849 | 1219037.2255
33 | 2641408.4542 | 1219016.6351
34 | 2641460.0414 | 1219053.8572
35 | 2641371.6101 | 1219033.1752
36 | 2641410.0137 | 1219010.261
37 | 2641482.7453 | 1219059.2406
38 | 2641518.9117 | 1219092.7691
39 | 2641419.2419 | 1218972.5442
40 | 2641418.8244 | 1218974.2506
41 | 2641417.6193 | 1218954.0012
42 | 2641417.2664 | 1218980.6182
43 | 2641409.7983 | 1218951.8822
44 | 2641415.7087 | 1218986.985
45 | 2641362.3649 | 1219030.9235
46 | 2641733.0227 | 1219167.5488
47 | 2641781.0739 | 1219200.8408
48 | 2641747.9423 | 1219195.4453
49 | 2641704.3401 | 1219177.5848
50 | 2641596.1056 | 1219124.7234
51 | 2641621.129 | 1219120.7969
52 | 2641553.9926 | 1219130.6234
53 | 2641552.5597 | 1219127.167
54 | 2641571.6771 | 1219139.5617
55 | 2641551.2296 | 1219130.7376
56 | 2641574.8381 | 1219124.5618
57 | 2641538.4401 | 1219127.4641
58 | 2641598.4235 | 1219142.4625
59 | 2641547.2603 | 1219190.6678
60 | 2641534.5049 | 1219129.4694
61 | 2641606.1369 | 1219119.4287
62 | 2641559.4961 | 1219192.3763
63 | 2641538.5876 | 1219189.4511
64 | 2641508.1994 | 1219130.0162
65 | 2641660.411 | 1219159.8525
66 | 2641415.7658 | 1219139.5227
67 | 2641432.0606 | 1219152.2991
68 | 2641339.8974 | 1219142.1284
69 | 2641405.4303 | 1219233.4401
70 | 2641400.4064 | 1219231.5246
71 | 2641422.0356 | 1219252.3888
72 | 2641465.1383 | 1219163.4672
73 | 2641329.3277 | 1219139.8021
74 | 2641284.6202 | 1219185.3808
75 | 2641448.6784 | 1219263.8826
76 | 2641486.8455 | 1219170.7963
77 | 2641515.0001 | 1219092.8405
78 | 2641546.4165 | 1219232.2423
79 | 2641537.1596 | 1219237.5754
80 | 2641503.7868 | 1219176.8843
81 | 2641583.6345 | 1219195.7466
82 | 2641590.9695 | 1219196.9903
83 | 2641625.3518 | 1219202.8201
84 | 2641613.1468 | 1219200.7506
85 | 2641481.8754 | 1219279.3432
86 | 2641514.1489 | 1219257.5326
87 | 2641495.2182 | 1219173.7902
88 | 2641527.1879 | 1219068.8111

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98192 | -0.12652 | 0.014173 | 0.003552
1 | 0.9827 | -0.12097 | 0 | 0
2 | 0.98321 | -0.11735 | 0.0085967 | 0.0021545
3 | 0.98189 | -0.12674 | 0 | 0
4 | 0.98379 | -0.11317 | 0 | 0
5 | 0.98179 | -0.12742 | 0 | 0
6 | 0.98184 | -0.12711 | 0.0015188 | 0.00038065
7 | 0.98152 | -0.12938 | 0.0013689 | 0.00034308
8 | 0.98789 | -0.08425 | 0 | 0
9 | 0.98574 | -0.099393 | 0.0017362 | 0.00043513
10 | 0.98912 | -0.075627 | 0.0021051 | 0.00052758
11 | 0.98496 | -0.10488 | 0 | 0
12 | 0.98517 | -0.10337 | 0 | 0
13 | 0.98453 | -0.10796 | 0.0042117 | 0.0010555
14 | 0.98122 | -0.13149 | 0.0012039 | 0.00030172
15 | 0.99191 | -0.056111 | 0.0030311 | 0.00075967
16 | 0.992 | -0.055432 | 0 | 0
17 | 0.99082 | -0.063714 | 0.0044286 | 0.0011099
18 | 0.9928 | -0.049875 | 0.004574 | 0.0011463
19 | 0.9867 | -0.092797 | 0.0019577 | 0.00049064
20 | 0.98673 | -0.092599 | 0.0010842 | 0.00027174
21 | 0.98392 | -0.11221 | 0.0022885 | 0.00057355
22 | 0.98446 | -0.10842 | 0.0012998 | 0.00032576
23 | 0.99488 | -0.035405 | 0.0080675 | 0.0020219
24 | 0.99622 | -0.026094 | 0 | 0
25 | 0.98286 | -0.12004 | 0.0074785 | 0.0018743
26 | 0.98316 | -0.1179 | 0.012863 | 0.0032237
27 | 0.98175 | -0.12795 | 0 | 0
28 | 0.98512 | -0.10397 | 0.0035957 | 0.00090117
29 | 0.98148 | -0.12985 | 0.011868 | 0.0029745
30 | 0.98126 | -0.13146 | 0.0025705 | 0.00064423
31 | 0.98586 | -0.098741 | 0.013031 | 0.0032659
32 | 0.98133 | -0.13091 | 0.0025716 | 0.00064451
33 | 0.9811 | -0.13256 | 0.0025677 | 0.00064353
34 | 0.98698 | -0.090849 | 0 | 0
35 | 0.98105 | -0.13292 | 0 | 0
36 | 0.98097 | -0.13348 | 0.0025695 | 0.00064399
37 | 0.98983 | -0.070731 | 0.012573 | 0.0031511
38 | 0.99956 | -0.0030283 | 0.001177 | 0.00029497
39 | 0.9804 | -0.13754 | 0.0032637 | 0.00081795
40 | 0.98042 | -0.13742 | 0.0013686 | 0.00034301
41 | 0.98028 | -0.13842 | 0.0022204 | 0.0005565
42 | 0.9805 | -0.13686 | 0.0013709 | 0.00034358
43 | 0.98027 | -0.13853 | 0.0013696 | 0.00034326
44 | 0.98059 | -0.13621 | 0.0013683 | 0.00034292
45 | 0.9809 | -0.13403 | 0.011251 | 0.0028198
46 | 0.98079 | -0.13459 | 0.0018958 | 0.00047514
47 | 0.98011 | -0.13944 | 0 | 0
48 | 0.9797 | -0.14238 | 0.0021364 | 0.00053544
49 | 0.97931 | -0.14519 | 0.0026413 | 0.00066197
50 | 0.98437 | -0.10913 | 0.0016128 | 0.00040421
51 | 0.98442 | -0.10871 | 0.0020138 | 0.00050471
52 | 0.98165 | -0.12833 | 0 | 0
53 | 0.98174 | -0.12764 | 0 | 0
54 | 0.98151 | -0.12927 | 0.002634 | 0.00066013
55 | 0.98145 | -0.12973 | 0 | 0
56 | 0.98235 | -0.1233 | 0.0043882 | 0.0010998
57 | 0.98169 | -0.12802 | 0.0026017 | 0.00065205
58 | 0.98145 | -0.1297 | 0.0015404 | 0.00038606
59 | 0.97722 | -0.1598 | 0 | 0
60 | 0.98139 | -0.13017 | 0.0010533 | 0.00026399
61 | 0.98329 | -0.1167 | 0.0019229 | 0.00048192
62 | 0.9771 | -0.16069 | 0.0026736 | 0.00067007
63 | 0.97671 | -0.16343 | 0 | 0
64 | 0.98133 | -0.13056 | 0.0014429 | 0.00036162
65 | 0.9791 | -0.1467 | 0.0030725 | 0.00077005
66 | 0.97312 | -0.18913 | 0 | 0
67 | 0.97363 | -0.18552 | 0 | 0
68 | 0.97126 | -0.20254 | 0.0073734 | 0.001848
69 | 0.97175 | -0.19903 | 0 | 0
70 | 0.97169 | -0.19946 | 0.001605 | 0.00040226
71 | 0.97203 | -0.19705 | 0.0060343 | 0.0015123
72 | 0.97441 | -0.17987 | 0.0020939 | 0.00052479
73 | 0.97113 | -0.20346 | 0.0079793 | 0.0019998
74 | 0.97062 | -0.20719 | 0.0058418 | 0.0014641
75 | 0.97262 | -0.19277 | 0.0024285 | 0.00060864
76 | 0.975 | -0.17567 | 0.0015483 | 0.00038804
77 | 1 | 0 | -0.23726 | -0.059782
78 | 0.97554 | -0.1718 | 0 | 0
79 | 0.97526 | -0.17382 | 0.0018937 | 0.00047461
80 | 0.97552 | -0.17193 | 0.0013735 | 0.00034424
81 | 0.97694 | -0.16178 | 0 | 0
82 | 0.9769 | -0.16211 | 0.0011184 | 0.00028029
83 | 0.97677 | -0.16301 | 0.001299 | 0.00032556
84 | 0.9768 | -0.16284 | 0.0018324 | 0.00045924
85 | 0.97348 | -0.18663 | 0 | 0
86 | 0.97448 | -0.17942 | 0 | 0
87 | 0.97525 | -0.1739 | 0.0015489 | 0.00038819
88 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.014173 | -0.003552 | 0.014183 | 0.0035557 | 1.0898e-05 | 3.7124e-06 | 0.021477 | 0.021477 | 0.021477 | 0.98192 | -0.12652 | 0.9827 | -0.12097 | 7.9545
1 | -0.028056 | -0.0070329 | 0.02807 | 0.0070381 | 1.4091e-05 | 5.2611e-06 | 0.042483 | 0.042483 | 0.042483 | 0.9827 | -0.12097 | 0.98321 | -0.11735 | 15.7343
2 | 0.013872 | 0.0034772 | -0.013861 | -0.0034735 | 1.1074e-05 | 3.75e-06 | 0.021006 | 0.021006 | 0.021006 | 0.9827 | -0.12097 | 0.98189 | -0.12674 | 7.7799
3 | -0.036666 | -0.0091927 | 0.036688 | 0.0092007 | 2.1202e-05 | 8.0145e-06 | 0.055493 | 0.055493 | 0.055493 | 0.98321 | -0.11735 | 0.98379 | -0.11317 | 20.553
4 | 0.012342 | 0.0030931 | -0.012341 | -0.0030927 | 1.1639e-06 | 3.8024e-07 | 0.018704 | 0.018704 | 0.018704 | 0.98189 | -0.12674 | 0.98179 | -0.12742 | 6.9274
5 | 0.0015189 | 0.00038038 | -0.0015188 | -0.00038065 | 7.7799e-08 | -2.6771e-07 | 0.0023017 | 0.0023018 | 0.0023018 | 0.98189 | -0.12674 | 0.98184 | -0.12711 | 0.85253
6 | -0.036688 | -0.0092007 | 0.03673 | 0.0092167 | 4.2213e-05 | 1.5957e-05 | 0.055493 | 0.055493 | 0.055493 | 0.98379 | -0.11317 | 0.98496 | -0.10488 | 20.553
7 | 0.012341 | 0.0030927 | -0.012338 | -0.0030916 | 3.3408e-06 | 1.0915e-06 | 0.018704 | 0.018704 | 0.018704 | 0.98179 | -0.12742 | 0.98152 | -0.12938 | 6.9274
8 | 0.010969 | 0.0027485 | -0.010966 | -0.0027475 | 3.2131e-06 | 1.0005e-06 | 0.016629 | 0.016629 | 0.016629 | 0.98152 | -0.12938 | 0.98122 | -0.13149 | 6.1588
9 | 0.11306 | 0.028454 | -0.11282 | -0.028364 | 0.00023851 | 9.0221e-05 | 0.17034 | 0.17034 | 0.17034 | 0.98789 | -0.08425 | 0.98574 | -0.099393 | 21.0294
10 | -0.11306 | -0.028454 | 0.11319 | 0.028506 | 0.00013626 | 5.154e-05 | 0.17034 | 0.17034 | 0.17034 | 0.98789 | -0.08425 | 0.98912 | -0.075627 | 21.0293
11 | 0.11108 | 0.027929 | -0.11102 | -0.027906 | 6.1573e-05 | 2.328e-05 | 0.16772 | 0.16772 | 0.16772 | 0.98574 | -0.099393 | 0.98517 | -0.10337 | 20.7059
12 | -0.1153 | -0.029033 | 0.11549 | 0.029106 | 0.00019228 | 7.2769e-05 | 0.1735 | 0.1735 | 0.1735 | 0.98912 | -0.075627 | 0.99082 | -0.063714 | 21.4203
13 | -0.045872 | -0.011508 | 0.045882 | 0.011511 | 9.5999e-06 | 3.6515e-06 | 0.069305 | 0.069305 | 0.069305 | 0.98496 | -0.10488 | 0.98517 | -0.10337 | 25.6684
14 | 0.0091425 | 0.002291 | -0.0091387 | -0.0022899 | 3.8867e-06 | 1.0795e-06 | 0.013812 | 0.013812 | 0.013812 | 0.98496 | -0.10488 | 0.98453 | -0.10796 | 5.1155
15 | 0.06514 | 0.016394 | -0.06506 | -0.016365 | 8.0253e-05 | 2.9347e-05 | 0.098413 | 0.098413 | 0.098413 | 0.98517 | -0.10337 | 0.98392 | -0.11221 | 12.1498
16 | 0.004927 | 0.0012344 | -0.0049267 | -0.0012344 | 3.1778e-07 | 5.4411e-09 | 0.0074465 | 0.0074465 | 0.0074465 | 0.98453 | -0.10796 | 0.98446 | -0.10842 | 2.758
17 | 0.0097616 | 0.0024458 | -0.0097574 | -0.0024446 | 4.1762e-06 | 1.2206e-06 | 0.014803 | 0.014803 | 0.014803 | 0.98122 | -0.13149 | 0.98079 | -0.13459 | 5.4827
18 | -0.0030311 | -0.00075967 | 0.0030314 | 0.00075949 | 2.8508e-07 | -1.756e-07 | 0.0045471 | 0.004547 | 0.0045471 | 0.99191 | -0.056111 | 0.992 | -0.055432 | 1.6841
19 | 0.12006 | 0.030269 | -0.11992 | -0.030216 | 0.00013914 | 5.2719e-05 | 0.18015 | 0.18015 | 0.18015 | 0.992 | -0.055432 | 0.99082 | -0.063714 | 22.2413
20 | -0.12309 | -0.031028 | 0.12319 | 0.031065 | 9.5867e-05 | 3.6348e-05 | 0.1847 | 0.1847 | 0.1847 | 0.992 | -0.055432 | 0.9928 | -0.049875 | 22.8027
21 | -0.12776 | -0.032211 | 0.12802 | 0.032309 | 0.00025953 | 9.8496e-05 | 0.19156 | 0.19156 | 0.19156 | 0.9928 | -0.049875 | 0.99488 | -0.035405 | 23.649
22 | -0.0019577 | -0.00049064 | 0.0019577 | 0.00049054 | 5.3489e-08 | -1.0504e-07 | 0.0029523 | 0.0029523 | 0.0029523 | 0.9867 | -0.092797 | 0.98673 | -0.092599 | 1.0935
23 | -0.003042 | -0.00076228 | 0.0030427 | 0.00076184 | 7.3648e-07 | -4.3336e-07 | 0.0045874 | 0.0045871 | 0.0045874 | 0.98673 | -0.092599 | 0.98698 | -0.090849 | 1.699
24 | 0.062771 | 0.015791 | -0.062732 | -0.015777 | 3.9336e-05 | 1.4331e-05 | 0.094952 | 0.094953 | 0.094953 | 0.98392 | -0.11221 | 0.98329 | -0.1167 | 11.7225
25 | 0.0036269 | 0.00090859 | -0.0036267 | -0.00090864 | 1.4419e-07 | -4.2306e-08 | 0.0054819 | 0.0054819 | 0.0054819 | 0.98446 | -0.10842 | 0.98442 | -0.10871 | 2.0303
26 | -0.13609 | -0.034331 | 0.13627 | 0.034399 | 0.00017798 | 6.765e-05 | 0.20362 | 0.20362 | 0.20362 | 0.99488 | -0.035405 | 0.99622 | -0.026094 | 25.1386
27 | -0.23442 | -0.059157 | 0.23518 | 0.059448 | 0.00076148 | 0.00029171 | 0.35029 | 0.35029 | 0.35029 | 0.99622 | -0.026094 | 0.99956 | -0.0030283 | 43.2453
28 | 0.098154 | 0.024758 | -0.097544 | -0.024523 | 0.00061046 | 0.0002342 | 0.14666 | 0.14666 | 0.14666 | 0.99622 | -0.026094 | 0.98983 | -0.070731 | 54.3203
29 | -0.051921 | -0.013021 | 0.051936 | 0.013027 | 1.5436e-05 | 5.886e-06 | 0.078609 | 0.078609 | 0.078609 | 0.98286 | -0.12004 | 0.98316 | -0.1179 | 29.1145
30 | 0.044442 | 0.011147 | -0.044393 | -0.011129 | 4.8672e-05 | 1.8502e-05 | 0.067287 | 0.067287 | 0.067287 | 0.98286 | -0.12004 | 0.98175 | -0.12795 | 24.9211
31 | -0.064799 | -0.016251 | 0.064924 | 0.016299 | 0.00012536 | 4.7949e-05 | 0.098077 | 0.098077 | 0.098077 | 0.98316 | -0.1179 | 0.98512 | -0.10397 | 36.3247
32 | 0.025705 | 0.0064435 | -0.025698 | -0.006441 | 6.7836e-06 | 2.5185e-06 | 0.03896 | 0.038961 | 0.038961 | 0.98175 | -0.12795 | 0.98148 | -0.12985 | 14.4298
33 | 0.018689 | 0.0046852 | -0.01868 | -0.0046819 | 9.0949e-06 | 3.2685e-06 | 0.028327 | 0.028327 | 0.028327 | 0.98175 | -0.12795 | 0.98126 | -0.13146 | 10.4914
34 | -0.06852 | -0.0172 | 0.068569 | 0.017219 | 4.9785e-05 | 1.9053e-05 | 0.10351 | 0.10351 | 0.10351 | 0.98512 | -0.10397 | 0.98586 | -0.098741 | 38.3363
35 | 0.01383 | 0.0034665 | -0.013828 | -0.0034658 | 2.0244e-06 | 6.8536e-07 | 0.020967 | 0.020967 | 0.020967 | 0.98148 | -0.12985 | 0.98133 | -0.13091 | 7.7656
36 | 0.016109 | 0.0040377 | -0.016107 | -0.0040368 | 2.4435e-06 | 8.5691e-07 | 0.024429 | 0.024429 | 0.024429 | 0.98126 | -0.13146 | 0.9811 | -0.13256 | 9.0477
37 | -0.081601 | -0.020485 | 0.08169 | 0.020519 | 8.9546e-05 | 3.432e-05 | 0.12318 | 0.12318 | 0.12318 | 0.98586 | -0.098741 | 0.98698 | -0.090849 | 45.621
38 | 0.011256 | 0.0028213 | -0.011253 | -0.0028203 | 3.1369e-06 | 9.8853e-07 | 0.017068 | 0.017068 | 0.017068 | 0.98133 | -0.13091 | 0.98105 | -0.13292 | 6.3214
39 | 0.013539 | 0.0033933 | -0.013537 | -0.0033927 | 1.7266e-06 | 5.8122e-07 | 0.020534 | 0.020534 | 0.020534 | 0.9811 | -0.13256 | 0.98097 | -0.13348 | 7.6053
40 | -0.084733 | -0.021281 | 0.084971 | 0.021372 | 0.00023767 | 9.1113e-05 | 0.12776 | 0.12776 | 0.12776 | 0.98698 | -0.090849 | 0.98983 | -0.070731 | 47.3199
41 | 0.011253 | 0.0028203 | -0.011251 | -0.0028198 | 1.7297e-06 | 5.4514e-07 | 0.017068 | 0.017068 | 0.017068 | 0.98105 | -0.13292 | 0.9809 | -0.13403 | 6.3214
42 | 0.010968 | 0.0027487 | -0.010964 | -0.0027474 | 4.1386e-06 | 1.2894e-06 | 0.016637 | 0.016637 | 0.016637 | 0.98097 | -0.13348 | 0.98059 | -0.13621 | 6.1618
43 | -0.23636 | -0.059743 | 0.23646 | 0.059782 | 0.00010085 | 3.8633e-05 | 0.35204 | 0.35204 | 0.35204 | 0.99956 | -0.0030283 | 1 | 0 | 43.4616
44 | -0.0068542 | -0.0017175 | 0.0068543 | 0.0017175 | 1.1863e-07 | 2.3473e-08 | 0.010403 | 0.010403 | 0.010403 | 0.9804 | -0.13754 | 0.98042 | -0.13742 | 3.8529
45 | 0.0035905 | 0.00089953 | -0.0035901 | -0.00089966 | 4.348e-07 | -1.2861e-07 | 0.0054494 | 0.0054495 | 0.0054495 | 0.9804 | -0.13754 | 0.98028 | -0.13842 | 2.0183
46 | -0.0082229 | -0.0020605 | 0.0082236 | 0.0020607 | 6.3712e-07 | 1.6237e-07 | 0.01248 | 0.01248 | 0.01248 | 0.98042 | -0.13742 | 0.9805 | -0.13686 | 4.6222
47 | 0.0013696 | 0.00034316 | -0.0013696 | -0.00034326 | 2.1855e-08 | -9.3746e-08 | 0.002079 | 0.002079 | 0.002079 | 0.98028 | -0.13842 | 0.98027 | -0.13853 | 0.77001
48 | -0.0095945 | -0.0024043 | 0.0095953 | 0.0024045 | 8.6713e-07 | 2.5083e-07 | 0.014561 | 0.01456 | 0.014561 | 0.9805 | -0.13686 | 0.98059 | -0.13621 | 5.3928
49 | 0.0078616 | 0.0019694 | -0.0078563 | -0.0019681 | 5.2775e-06 | 1.28e-06 | 0.011927 | 0.011927 | 0.011927 | 0.98079 | -0.13459 | 0.98011 | -0.13944 | 4.4175
50 | 0.0078563 | 0.0019681 | -0.0078531 | -0.0019674 | 3.197e-06 | 7.7594e-07 | 0.011927 | 0.011927 | 0.011927 | 0.98011 | -0.13944 | 0.9797 | -0.14238 | 4.4176
51 | 0.0057167 | 0.0014319 | -0.0057145 | -0.0014317 | 2.2167e-06 | 2.5945e-07 | 0.0086825 | 0.0086827 | 0.0086827 | 0.9797 | -0.14238 | 0.97931 | -0.14519 | 3.2158
52 | 0.0030732 | 0.0007697 | -0.0030725 | -0.00077005 | 6.4504e-07 | -3.4828e-07 | 0.0046694 | 0.0046696 | 0.0046696 | 0.97931 | -0.14519 | 0.9791 | -0.1467 | 1.7295
53 | -0.0016128 | -0.00040421 | 0.0016129 | 0.00040393 | 9.3951e-08 | -2.8591e-07 | 0.002438 | 0.0024379 | 0.002438 | 0.98437 | -0.10913 | 0.98442 | -0.10871 | 0.90297
54 | -0.053724 | -0.013509 | 0.053729 | 0.013511 | 5.1626e-06 | 1.8437e-06 | 0.081453 | 0.081453 | 0.081453 | 0.98165 | -0.12833 | 0.98174 | -0.12764 | 10.0559
55 | 0.004175 | 0.0010458 | -0.0041745 | -0.0010459 | 5.4729e-07 | -6.6321e-08 | 0.0063284 | 0.0063285 | 0.0063285 | 0.98165 | -0.12833 | 0.98151 | -0.12927 | 2.3439
56 | 0.049549 | 0.012463 | -0.049539 | -0.01246 | 9.7092e-06 | 3.6995e-06 | 0.075125 | 0.075125 | 0.075125 | 0.98165 | -0.12833 | 0.98145 | -0.12973 | 27.8239
57 | -0.056331 | -0.014163 | 0.056365 | 0.014175 | 3.4033e-05 | 1.2238e-05 | 0.085396 | 0.085396 | 0.085396 | 0.98174 | -0.12764 | 0.98235 | -0.1233 | 10.5428
58 | 0.0026018 | 0.00065192 | -0.0026017 | -0.00065205 | 1.3705e-07 | -1.2586e-07 | 0.0039435 | 0.0039436 | 0.0039436 | 0.98174 | -0.12764 | 0.98169 | -0.12802 | 1.4606
59 | 0.0015405 | 0.00038576 | -0.0015404 | -0.00038606 | 9.1562e-08 | -3.0479e-07 | 0.0023354 | 0.0023355 | 0.0023355 | 0.98151 | -0.12927 | 0.98145 | -0.1297 | 0.86499
60 | 0.047043 | 0.011834 | -0.046846 | -0.01176 | 0.00019645 | 7.4778e-05 | 0.07134 | 0.07134 | 0.07134 | 0.98145 | -0.12973 | 0.97722 | -0.1598 | 26.4222
61 | 0.0024964 | 0.00062515 | -0.0024963 | -0.0006253 | 1.5053e-07 | -1.549e-07 | 0.0037848 | 0.0037848 | 0.0037848 | 0.98145 | -0.12973 | 0.98139 | -0.13017 | 1.4018
62 | -0.060753 | -0.015275 | 0.060809 | 0.015295 | 5.589e-05 | 2.029e-05 | 0.092043 | 0.092043 | 0.092043 | 0.98235 | -0.1233 | 0.98329 | -0.1167 | 11.3634
63 | 0.0069254 | 0.001735 | -0.0069245 | -0.0017348 | 8.5726e-07 | 1.7495e-07 | 0.010545 | 0.010545 | 0.010545 | 0.97722 | -0.1598 | 0.9771 | -0.16069 | 3.9056
64 | 0.039921 | 0.010025 | -0.039901 | -0.010017 | 2.0141e-05 | 7.6372e-06 | 0.060795 | 0.060795 | 0.060795 | 0.97722 | -0.1598 | 0.97671 | -0.16343 | 22.5167
65 | 0.001443 | 0.00036132 | -0.0014429 | -0.00036162 | 7.8592e-08 | -3.0223e-07 | 0.0021878 | 0.0021879 | 0.0021879 | 0.98139 | -0.13017 | 0.98133 | -0.13056 | 0.81033
66 | 0.0042509 | 0.0010647 | -0.0042503 | -0.0010648 | 6.3734e-07 | -6.0093e-08 | 0.0064735 | 0.0064736 | 0.0064736 | 0.9771 | -0.16069 | 0.97694 | -0.16178 | 2.3976
67 | 0.022013 | 0.005527 | -0.021987 | -0.0055175 | 2.5974e-05 | 9.5273e-06 | 0.033541 | 0.033541 | 0.033541 | 0.97671 | -0.16343 | 0.97552 | -0.17193 | 12.4225
68 | 0.017888 | 0.00449 | -0.017867 | -0.0044826 | 2.0767e-05 | 7.4272e-06 | 0.027254 | 0.027255 | 0.027255 | 0.97671 | -0.16343 | 0.97554 | -0.1718 | 10.0943
69 | -0.015382 | -0.003858 | 0.01539 | 0.0038607 | 7.7072e-06 | 2.6868e-06 | 0.023522 | 0.023522 | 0.023522 | 0.97312 | -0.18913 | 0.97363 | -0.18552 | 8.712
70 | 0.015382 | 0.003858 | -0.015354 | -0.003848 | 2.8559e-05 | 9.9586e-06 | 0.023522 | 0.023523 | 0.023523 | 0.97312 | -0.18913 | 0.97126 | -0.20254 | 8.7121
71 | -0.01539 | -0.0038607 | 0.015402 | 0.0038649 | 1.2054e-05 | 4.2014e-06 | 0.023522 | 0.023522 | 0.023522 | 0.97363 | -0.18552 | 0.97441 | -0.17987 | 8.7119
72 | 0.0079803 | 0.0020001 | -0.0079793 | -0.0019998 | 1.0095e-06 | 2.5434e-07 | 0.012226 | 0.012226 | 0.012226 | 0.97126 | -0.20254 | 0.97113 | -0.20346 | 4.5283
73 | 0.0074535 | 0.0018673 | -0.0074531 | -0.0018672 | 4.3703e-07 | 1.0148e-07 | 0.011413 | 0.011413 | 0.011413 | 0.97175 | -0.19903 | 0.97169 | -0.19946 | 4.2271
74 | -0.0074535 | -0.0018673 | 0.0074556 | 0.0018678 | 2.0499e-06 | 4.759e-07 | 0.011413 | 0.011413 | 0.011413 | 0.97175 | -0.19903 | 0.97203 | -0.19705 | 4.2271
75 | 0.0058481 | 0.001465 | -0.0058418 | -0.0014641 | 6.2522e-06 | 8.5889e-07 | 0.0089553 | 0.0089558 | 0.0089558 | 0.97169 | -0.19946 | 0.97062 | -0.20719 | 3.317
76 | -0.01349 | -0.0033801 | 0.013498 | 0.0033828 | 7.9774e-06 | 2.6964e-06 | 0.020651 | 0.02065 | 0.020651 | 0.97203 | -0.19705 | 0.97262 | -0.19277 | 7.6484
77 | -0.017496 | -0.0043896 | 0.017506 | 0.0043933 | 1.0207e-05 | 3.6401e-06 | 0.02672 | 0.02672 | 0.02672 | 0.97441 | -0.17987 | 0.975 | -0.17567 | 9.8962
78 | -0.015926 | -0.0039915 | 0.01594 | 0.0039962 | 1.3567e-05 | 4.763e-06 | 0.024366 | 0.024366 | 0.024366 | 0.97262 | -0.19277 | 0.97348 | -0.18663 | 9.0244
79 | -0.019054 | -0.0047813 | 0.019059 | 0.004783 | 4.693e-06 | 1.6941e-06 | 0.029082 | 0.029082 | 0.029082 | 0.975 | -0.17567 | 0.97525 | -0.1739 | 10.7713
80 | 0.017867 | 0.0044826 | -0.017862 | -0.0044808 | 5.0023e-06 | 1.7893e-06 | 0.027255 | 0.027255 | 0.027255 | 0.97554 | -0.1718 | 0.97526 | -0.17382 | 10.0943
81 | 0.015968 | 0.0040062 | -0.015956 | -0.0040018 | 1.2403e-05 | 4.353e-06 | 0.024365 | 0.024365 | 0.024365 | 0.97526 | -0.17382 | 0.97448 | -0.17942 | 9.0242
82 | 0.020614 | 0.0051733 | -0.020608 | -0.0051712 | 5.6212e-06 | 2.0483e-06 | 0.031446 | 0.031446 | 0.031446 | 0.97552 | -0.17193 | 0.97525 | -0.1739 | 11.6466
83 | 0.0042503 | 0.0010648 | -0.0042501 | -0.0010648 | 1.9455e-07 | -1.8323e-08 | 0.0064736 | 0.0064736 | 0.0064736 | 0.97694 | -0.16178 | 0.9769 | -0.16211 | 2.3976
84 | 0.0031318 | 0.0007845 | -0.0031314 | -0.00078466 | 3.1939e-07 | -1.5875e-07 | 0.0047702 | 0.0047703 | 0.0047703 | 0.9769 | -0.16211 | 0.9768 | -0.16284 | 1.7668
85 | -0.001299 | -0.00032556 | 0.001299 | 0.00032542 | 3.025e-08 | -1.4332e-07 | 0.0019789 | 0.0019789 | 0.0019789 | 0.97677 | -0.16301 | 0.9768 | -0.16284 | 0.73294
86 | -0.01594 | -0.0039962 | 0.015956 | 0.0040018 | 1.5924e-05 | 5.5896e-06 | 0.024366 | 0.024365 | 0.024366 | 0.97348 | -0.18663 | 0.97448 | -0.17942 | 9.0243

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.24366 | 0.061385

## res_load
| p_mw | q_mvar
0 | 0.014173 | 0.003552
1 | 0.0085967 | 0.0021545
2 | 0.0015188 | 0.00038065
3 | 0.0013689 | 0.00034308
4 | 0.0017362 | 0.00043513
5 | 0.0021051 | 0.00052758
6 | 0.0042117 | 0.0010555
7 | 0.0012039 | 0.00030172
8 | 0.0030311 | 0.00075967
9 | 0.0044286 | 0.0011099
10 | 0.004574 | 0.0011463
11 | 0.0019577 | 0.00049064
12 | 0.0010842 | 0.00027174
13 | 0.0022885 | 0.00057355
14 | 0.0012998 | 0.00032576
15 | 0.0080675 | 0.0020219
16 | 0.0074785 | 0.0018743
17 | 0.012863 | 0.0032237
18 | 0.0035957 | 0.00090117
19 | 0.011868 | 0.0029745
20 | 0.0025705 | 0.00064423
21 | 0.013031 | 0.0032659
22 | 0.0025716 | 0.00064451
23 | 0.0025677 | 0.00064353
24 | 0.0025695 | 0.00064399
25 | 0.012573 | 0.0031511
26 | 0.001177 | 0.00029497
27 | 0.0032637 | 0.00081795
28 | 0.0013686 | 0.00034301
29 | 0.0022204 | 0.0005565
30 | 0.0013709 | 0.00034358
31 | 0.0013696 | 0.00034326
32 | 0.0013683 | 0.00034292
33 | 0.011251 | 0.0028198
34 | 0.0018958 | 0.00047514
35 | 0.0021364 | 0.00053544
36 | 0.0026413 | 0.00066197
37 | 0.0016128 | 0.00040421
38 | 0.0020138 | 0.00050471
39 | 0.002634 | 0.00066013
40 | 0.0043882 | 0.0010998
41 | 0.0026017 | 0.00065205
42 | 0.0015404 | 0.00038606
43 | 0.0010533 | 0.00026399
44 | 0.0019229 | 0.00048192
45 | 0.0026736 | 0.00067007
46 | 0.0014429 | 0.00036162
47 | 0.0030725 | 0.00077005
48 | 0.0073734 | 0.001848
49 | 0.001605 | 0.00040226
50 | 0.0060343 | 0.0015123
51 | 0.0020939 | 0.00052479
52 | 0.0079793 | 0.0019998
53 | 0.0058418 | 0.0014641
54 | 0.0024285 | 0.00060864
55 | 0.0015483 | 0.00038804
56 | 0.0063975 | 0.0016034
57 | 0.0018937 | 0.00047461
58 | 0.0013735 | 0.00034424
59 | 0.0011184 | 0.00028029
60 | 0.001299 | 0.00032556
61 | 0.0018324 | 0.00045924
62 | 0.0015489 | 0.00038819

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1