## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1151-44_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1151-44_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1151-44_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1151-44_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1151-44_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1151-44_0_3_node_56 | 0.4 | n |  | TRUE
6 | bus_LV_1151-44_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1151-44_0_3_node_34 | 0.4 | n |  | TRUE
8 | bus_LV_1151-44_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1151-44_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1151-44_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1151-44_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_1151-44_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_1151-44_0_3_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_1151-44_0_3_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_1151-44_0_3_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_1151-44_0_3_node_54 | 0.4 | n |  | TRUE
17 | bus_LV_1151-44_0_3_node_51 | 0.4 | n |  | TRUE
18 | bus_LV_1151-44_0_3_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_1151-44_0_3_node_57 | 0.4 | n |  | TRUE
20 | bus_LV_1151-44_0_3_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_1151-44_0_3_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_1151-44_0_3_node_38 | 0.4 | n |  | TRUE
23 | bus_LV_1151-44_0_3_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_1151-44_0_3_node_44 | 0.4 | n |  | TRUE
25 | bus_LV_1151-44_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_1151-44_0_3_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_1151-44_0_3_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_1151-44_0_3_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_1151-44_0_3_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_1151-44_0_3_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_1151-44_0_3_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_1151-44_0_3_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_1151-44_0_3_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_1151-44_0_3_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_1151-44_0_3_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_1151-44_0_3_node_47 | 0.4 | n |  | TRUE
37 | bus_LV_1151-44_0_3_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_1151-44_0_3_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_1151-44_0_3_node_49 | 0.4 | n |  | TRUE
40 | bus_LV_1151-44_0_3_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_1151-44_0_3_node_42 | 0.4 | n |  | TRUE
42 | bus_LV_1151-44_0_3_node_52 | 0.4 | n |  | TRUE
43 | bus_LV_1151-44_0_3_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_1151-44_0_3_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_1151-44_0_3_node_55 | 0.4 | n |  | TRUE
46 | bus_LV_1151-44_0_3_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_1151-44_0_3_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_1151-44_0_3_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_1151-44_0_3_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_1151-44_0_3_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_1151-44_0_3_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_1151-44_0_3_node_53 | 0.4 | n |  | TRUE
53 | bus_LV_1151-44_0_3_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_1151-44_0_3_node_32 | 0.4 | n |  | TRUE
55 | bus_LV_1151-44_0_3_node_33 | 0.4 | n |  | TRUE
56 | bus_LV_1151-44_0_3_node_35 | 0.4 | n |  | TRUE
57 | bus_MV_128_0_node_286 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1151-44_0_3_load_0 | 0 | 0.0026417 | 0.00066207 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1151-44_0_3_load_4 | 4 | 0.0019821 | 0.00049675 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1151-44_0_3_load_56 | 5 | 0.0028809 | 0.00072202 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1151-44_0_3_load_5 | 6 | 0.0019227 | 0.00048188 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1151-44_0_3_load_34 | 7 | 0.0039131 | 0.00098071 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1151-44_0_3_load_6 | 8 | 0.0025432 | 0.00063737 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1151-44_0_3_load_7 | 9 | 0.0062967 | 0.0015781 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1151-44_0_3_load_9 | 11 | 0.0038063 | 0.00095396 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1151-44_0_3_load_10 | 12 | 0.0021027 | 0.000527 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1151-44_0_3_load_11 | 13 | 0.002876 | 0.0007208 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1151-44_0_3_load_54 | 16 | 0.0023918 | 0.00059944 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1151-44_0_3_load_51 | 17 | 0.0022429 | 0.00056212 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1151-44_0_3_load_57 | 19 | 0.0046032 | 0.0011537 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1151-44_0_3_load_38 | 22 | 0.0047222 | 0.0011835 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1151-44_0_3_load_44 | 24 | 0.0026284 | 0.00065875 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1151-44_0_3_load_29 | 26 | 0.0034276 | 0.00085905 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1151-44_0_3_load_28 | 28 | 0.0035083 | 0.00087926 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1151-44_0_3_load_27 | 30 | 0.0094136 | 0.0023593 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1151-44_0_3_load_26 | 32 | 0.012943 | 0.0032438 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1151-44_0_3_load_47 | 36 | 0.0021061 | 0.00052784 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1151-44_0_3_load_45 | 38 | 0.0023392 | 0.00058626 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1151-44_0_3_load_49 | 39 | 0.00502 | 0.0012581 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1151-44_0_3_load_39 | 40 | 0.010074 | 0.0025249 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1151-44_0_3_load_42 | 41 | 0.0026488 | 0.00066385 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1151-44_0_3_load_52 | 42 | 0.0023741 | 0.00059501 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1151-44_0_3_load_41 | 43 | 0.0028896 | 0.00072421 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1151-44_0_3_load_36 | 44 | 0.0034259 | 0.00085861 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1151-44_0_3_load_55 | 45 | 0.0022137 | 0.00055481 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1151-44_0_3_load_48 | 46 | 0.0056097 | 0.0014059 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1151-44_0_3_load_31 | 47 | 0.0034933 | 0.0008755 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1151-44_0_3_load_46 | 48 | 0.0036831 | 0.00092308 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1151-44_0_3_load_50 | 49 | 0.0025133 | 0.00062988 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1151-44_0_3_load_40 | 50 | 0.0059546 | 0.0014924 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1151-44_0_3_load_43 | 51 | 0.0049418 | 0.0012385 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1151-44_0_3_load_53 | 52 | 0.002305 | 0.00057768 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1151-44_0_3_load_37 | 53 | 0.002744 | 0.00068771 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1151-44_0_3_load_32 | 54 | 0.0021363 | 0.00053542 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1151-44_0_3_load_33 | 55 | 0.0021383 | 0.00053591 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1151-44_0_3_load_35 | 56 | 0.0046773 | 0.0011722 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1151-44_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.024435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1151-44_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.023711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1151-44_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.24727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1151-44_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.019593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1151-44_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.055045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1151-44_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0012804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1151-44_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.052756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1151-44_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.010358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1151-44_0_3_line_8 | NAYY 4x150 SE | 7 | 37 | 0.018465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1151-44_0_3_line_9 | NAYY 4x150 SE | 9 | 10 | 0.019186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1151-44_0_3_line_10 | NAYY 4x150 SE | 10 | 11 | 0.019025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1151-44_0_3_line_11 | NAYY 4x150 SE | 10 | 12 | 0.011382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1151-44_0_3_line_12 | NAYY 4x150 SE | 10 | 13 | 0.022302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1151-44_0_3_line_13 | NAYY 4x150 SE | 12 | 14 | 0.014675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1151-44_0_3_line_14 | NAYY 4x150 SE | 14 | 15 | 0.033098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1151-44_0_3_line_15 | NAYY 4x150 SE | 15 | 16 | 0.012053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1151-44_0_3_line_16 | NAYY 4x150 SE | 15 | 17 | 0.018463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1151-44_0_3_line_17 | NAYY 4x150 SE | 16 | 18 | 0.023112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1151-44_0_3_line_18 | NAYY 4x150 SE | 17 | 42 | 0.006415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1151-44_0_3_line_19 | NAYY 4x150 SE | 18 | 19 | 0.013632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1151-44_0_3_line_20 | NAYY 4x150 SE | 20 | 21 | 0.023167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1151-44_0_3_line_21 | NAYY 4x150 SE | 20 | 22 | 0.045314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1151-44_0_3_line_22 | NAYY 4x150 SE | 21 | 35 | 0.024596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1151-44_0_3_line_23 | NAYY 4x150 SE | 21 | 39 | 0.013896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1151-44_0_3_line_24 | NAYY 4x150 SE | 21 | 23 | 0.012643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1151-44_0_3_line_25 | NAYY 4x150 SE | 23 | 24 | 0.022557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1151-44_0_3_line_26 | NAYY 4x150 SE | 24 | 43 | 0.021495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1151-44_0_3_line_27 | NAYY 4x150 SE | 25 | 26 | 0.014256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1151-44_0_3_line_28 | NAYY 4x150 SE | 25 | 27 | 0.0092485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1151-44_0_3_line_29 | NAYY 4x150 SE | 25 | 28 | 0.019817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1151-44_0_3_line_30 | NAYY 4x150 SE | 26 | 44 | 0.013587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1151-44_0_3_line_31 | NAYY 4x150 SE | 27 | 40 | 0.019125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1151-44_0_3_line_32 | NAYY 4x150 SE | 28 | 31 | 0.014983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1151-44_0_3_line_33 | NAYY 4x150 SE | 29 | 30 | 0.016219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1151-44_0_3_line_34 | NAYY 4x150 SE | 29 | 31 | 0.0091901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1151-44_0_3_line_35 | NAYY 4x150 SE | 29 | 32 | 0.035248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1151-44_0_3_line_36 | NAYY 4x150 SE | 30 | 45 | 0.033576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1151-44_0_3_line_37 | NAYY 4x150 SE | 31 | 37 | 0.001546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1151-44_0_3_line_38 | NAYY 4x150 SE | 33 | 34 | 0.030066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1151-44_0_3_line_39 | NAYY 4x150 SE | 33 | 35 | 0.030519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1151-44_0_3_line_40 | NAYY 4x150 SE | 33 | 36 | 0.035376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1151-44_0_3_line_41 | NAYY 4x150 SE | 34 | 38 | 0.01786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1151-44_0_3_line_42 | NAYY 4x150 SE | 35 | 41 | 0.015936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1151-44_0_3_line_43 | NAYY 4x150 SE | 36 | 46 | 0.0031926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1151-44_0_3_line_44 | NAYY 4x150 SE | 37 | 47 | 0.032393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1151-44_0_3_line_45 | NAYY 4x150 SE | 38 | 48 | 0.027527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1151-44_0_3_line_46 | NAYY 4x150 SE | 39 | 49 | 0.0086497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1151-44_0_3_line_47 | NAYY 4x150 SE | 40 | 50 | 0.029256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1151-44_0_3_line_48 | NAYY 4x150 SE | 41 | 51 | 0.01962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1151-44_0_3_line_49 | NAYY 4x150 SE | 42 | 52 | 0.0068228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1151-44_0_3_line_50 | NAYY 4x150 SE | 43 | 50 | 0.022415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1151-44_0_3_line_51 | NAYY 4x150 SE | 44 | 53 | 0.018581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1151-44_0_3_line_52 | NAYY 4x150 SE | 45 | 52 | 0.006584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1151-44_0_3_line_53 | NAYY 4x150 SE | 47 | 54 | 0.0036064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1151-44_0_3_line_54 | NAYY 4x150 SE | 54 | 55 | 0.020369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1151-44_0_3_line_55 | NAYY 4x150 SE | 55 | 56 | 0.0041963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1151-44_0_3_trafo_18 | 0.25 MVA 20/0.4 kV | 57 | 25 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2641250.593 | 1218731.691 | 2641242.5145 | 1218754.7524
1 | 2641234.6755 | 1218777.1302 | 2641242.5145 | 1218754.7524
2 | 2641250.593 | 1218731.691 | 2641262.0373 | 1218740.4643 | 2641276.1042 | 1218747.4992 | 2641313.5992 | 1218764.2799 | 2641341.1952 | 1218767.2395 | 2641364.4831 | 1218778.5744 | 2641403.2236 | 1218790.7949 | 2641418.6812 | 1218790.969 | 2641426.3806 | 1218787.098 | 2641430.7778 | 1218781.1806 | 2641436.6686 | 1218778.7534 | 2641439.2106 | 1218768.9652 | 2641440.5082 | 1218735.1542
3 | 2641234.6755 | 1218777.1302 | 2641253.1407 | 1218783.6816
4 | 2641440.5082 | 1218735.1542 | 2641439.9421 | 1218703.0534 | 2641435.9262 | 1218689.0394 | 2641431.7997 | 1218681.768
5 | 2641254.3474 | 1218784.1098 | 2641253.1407 | 1218783.6816
6 | 2641389.4437 | 1218656.1304 | 2641413.2646 | 1218660.7207 | 2641419.1653 | 1218664.5195 | 2641427.5143 | 1218674.2166 | 2641431.7997 | 1218681.768
7 | 2641264.1093 | 1218787.5733 | 2641254.3474 | 1218784.1098
8 | 2641372.7015 | 1218648.5542 | 2641379.0346 | 1218652.3893 | 2641389.4437 | 1218656.1304
9 | 2641419.9468 | 1218585.9116 | 2641411.6972 | 1218588.1112 | 2641401.1614 | 1218586.5713
10 | 2641419.9468 | 1218585.9116 | 2641416.651 | 1218591.6699 | 2641414.4261 | 1218603.8617
11 | 2641419.9468 | 1218585.9116 | 2641417.9584 | 1218580.4612 | 2641418.7557 | 1218574.9384
12 | 2641419.9468 | 1218585.9116 | 2641422.8948 | 1218588.7115 | 2641427.5228 | 1218590 | 2641440.7669 | 1218592.2372
13 | 2641420.8526 | 1218560.4138 | 2641418.7557 | 1218574.9384
14 | 2641420.8526 | 1218560.4138 | 2641414.7341 | 1218559.5375 | 2641413.5981 | 1218558.0954 | 2641411.2166 | 1218556.7892 | 2641407.5878 | 1218555.8635 | 2641389.0495 | 1218553.3333
15 | 2641389.0495 | 1218553.3333 | 2641377.0972 | 1218551.7762
16 | 2641389.0495 | 1218553.3333 | 2641388.6662 | 1218556.0767 | 2641386.2634 | 1218571.5845
17 | 2641354.1285 | 1218549.3331 | 2641361.4646 | 1218549.7398 | 2641377.0972 | 1218551.7762
18 | 2641386.2634 | 1218571.5845 | 2641385.2812 | 1218577.9239
19 | 2641354.1285 | 1218549.3331 | 2641352.2135 | 1218562.8278
20 | 2641210.5975 | 1218597.9351 | 2641211.3752 | 1218601.8095 | 2641214.5151 | 1218607.5901 | 2641219.3097 | 1218613.3378 | 2641223.6541 | 1218616.1473
21 | 2641210.5975 | 1218597.9351 | 2641192.6928 | 1218602.5808 | 2641186.9063 | 1218604.1752 | 2641186.4756 | 1218608.2969 | 2641184.7557 | 1218624.8785
22 | 2641245.5865 | 1218627.1721 | 2641239.9386 | 1218625.1986 | 2641231.3531 | 1218621.1146 | 2641223.6541 | 1218616.1473
23 | 2641223.6541 | 1218616.1473 | 2641216.9266 | 1218626.518 | 2641216.4216 | 1218627.9664
24 | 2641223.6541 | 1218616.1473 | 2641225.2705 | 1218613.9683 | 2641226.2293 | 1218614.6975 | 2641230.1287 | 1218617.1037 | 2641230.5518 | 1218612.982
25 | 2641230.5518 | 1218612.982 | 2641236.0687 | 1218616.3332 | 2641251.107 | 1218622.088
26 | 2641251.107 | 1218622.088 | 2641251.6612 | 1218622.3001 | 2641270.242 | 1218628.5324 | 2641271.5046 | 1218628.8549
27 | 2641337.876 | 1218646.1779 | 2641336.228 | 1218660.3384
28 | 2641337.876 | 1218646.1779 | 2641338.2068 | 1218643.3452 | 2641340.8476 | 1218643.3858 | 2641341.2605 | 1218639.6531
29 | 2641337.876 | 1218646.1779 | 2641357.6875 | 1218646.6509
30 | 2641334.6574 | 1218673.8344 | 2641336.228 | 1218660.3384
31 | 2641341.2605 | 1218639.6531 | 2641329.3779 | 1218639.3594 | 2641322.1654 | 1218638.7482
32 | 2641372.6666 | 1218647.0086 | 2641357.6875 | 1218646.6509
33 | 2641375.6041 | 1218640.3806 | 2641378.0874 | 1218624.3531
34 | 2641372.6666 | 1218647.0086 | 2641372.589 | 1218643.984 | 2641375.0322 | 1218644.0566 | 2641375.6041 | 1218640.3806
35 | 2641375.6041 | 1218640.3806 | 2641398.2518 | 1218641.2494 | 2641410.6884 | 1218643.1673
36 | 2641378.0874 | 1218624.3531 | 2641383.2284 | 1218591.1726
37 | 2641372.7015 | 1218648.5542 | 2641372.6666 | 1218647.0086
38 | 2641304.2186 | 1218642.8094 | 2641274.7797 | 1218636.3017
39 | 2641245.5865 | 1218627.1721 | 2641258.0254 | 1218631.5274 | 2641274.7797 | 1218636.3017
40 | 2641274.7797 | 1218636.3017 | 2641273.489 | 1218641.8517 | 2641270.899 | 1218662.9796 | 2641262.5365 | 1218662.2774
41 | 2641304.2186 | 1218642.8094 | 2641302.062 | 1218660.5389
42 | 2641245.5865 | 1218627.1721 | 2641243.1884 | 1218642.9263
43 | 2641259.355 | 1218662.0103 | 2641262.5365 | 1218662.2774
44 | 2641372.7015 | 1218648.5542 | 2641368.156 | 1218680.6262
45 | 2641298.7382 | 1218687.8649 | 2641302.062 | 1218660.5389
46 | 2641213.574 | 1218636.1339 | 2641216.4216 | 1218627.9664
47 | 2641322.1654 | 1218638.7482 | 2641320.5189 | 1218638.6087 | 2641299.2767 | 1218635.3374 | 2641293.2919 | 1218634.1018
48 | 2641240.2358 | 1218662.3227 | 2641243.1884 | 1218642.9263
49 | 2641385.2812 | 1218577.9239 | 2641384.2365 | 1218584.6662
50 | 2641293.2919 | 1218634.1018 | 2641286.7951 | 1218632.7606 | 2641271.5046 | 1218628.8549
51 | 2641332.5094 | 1218692.2904 | 2641334.6574 | 1218673.8344
52 | 2641384.2365 | 1218584.6662 | 2641383.2284 | 1218591.1726
53 | 2641368.156 | 1218680.6262 | 2641367.65 | 1218684.197
54 | 2641364.7917 | 1218704.3649 | 2641367.65 | 1218684.197
55 | 2641364.2028 | 1218708.5197 | 2641364.7917 | 1218704.3649

## bus_geodata
| x | y | coords
0 | 2641242.5145 | 1218754.7524
1 | 2641250.593 | 1218731.691
2 | 2641234.6755 | 1218777.1302
3 | 2641440.5082 | 1218735.1542
4 | 2641253.1407 | 1218783.6816
5 | 2641431.7997 | 1218681.768
6 | 2641254.3474 | 1218784.1098
7 | 2641389.4437 | 1218656.1304
8 | 2641264.1093 | 1218787.5733
9 | 2641401.1614 | 1218586.5713
10 | 2641419.9468 | 1218585.9116
11 | 2641414.4261 | 1218603.8617
12 | 2641418.7557 | 1218574.9384
13 | 2641440.7669 | 1218592.2372
14 | 2641420.8526 | 1218560.4138
15 | 2641389.0495 | 1218553.3333
16 | 2641377.0972 | 1218551.7762
17 | 2641386.2634 | 1218571.5845
18 | 2641354.1285 | 1218549.3331
19 | 2641352.2135 | 1218562.8278
20 | 2641210.5975 | 1218597.9351
21 | 2641223.6541 | 1218616.1473
22 | 2641184.7557 | 1218624.8785
23 | 2641230.5518 | 1218612.982
24 | 2641251.107 | 1218622.088
25 | 2641337.876 | 1218646.1779
26 | 2641336.228 | 1218660.3384
27 | 2641341.2605 | 1218639.6531
28 | 2641357.6875 | 1218646.6509
29 | 2641375.6041 | 1218640.3806
30 | 2641378.0874 | 1218624.3531
31 | 2641372.6666 | 1218647.0086
32 | 2641410.6884 | 1218643.1673
33 | 2641274.7797 | 1218636.3017
34 | 2641304.2186 | 1218642.8094
35 | 2641245.5865 | 1218627.1721
36 | 2641262.5364 | 1218662.2774
37 | 2641372.7015 | 1218648.5542
38 | 2641302.062 | 1218660.5389
39 | 2641216.4216 | 1218627.9664
40 | 2641322.1654 | 1218638.7482
41 | 2641243.1884 | 1218642.9263
42 | 2641385.2812 | 1218577.9239
43 | 2641271.5046 | 1218628.8549
44 | 2641334.6574 | 1218673.8344
45 | 2641383.2284 | 1218591.1726
46 | 2641259.355 | 1218662.0103
47 | 2641368.156 | 1218680.6262
48 | 2641298.7382 | 1218687.8649
49 | 2641213.574 | 1218636.1339
50 | 2641293.2919 | 1218634.1018
51 | 2641240.2358 | 1218662.3227
52 | 2641384.2365 | 1218584.6662
53 | 2641332.5094 | 1218692.2904
54 | 2641367.65 | 1218684.197
55 | 2641364.7917 | 1218704.3649
56 | 2641364.2028 | 1218708.5197
57 | 2641338.2068 | 1218643.3452

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99014 | -0.069256 | 0.0026417 | 0.00066207
1 | 0.99046 | -0.066994 | 0 | 0
2 | 0.98992 | -0.070814 | 0 | 0
3 | 0.9937 | -0.044154 | 0 | 0
4 | 0.98974 | -0.072101 | 0.0019821 | 0.00049675
5 | 0.99442 | -0.039081 | 0.0028809 | 0.00072202
6 | 0.98973 | -0.072159 | 0.0019227 | 0.00048188
7 | 0.99532 | -0.032692 | 0.0039131 | 0.00098071
8 | 0.98969 | -0.072428 | 0.0025432 | 0.00063737
9 | 0.98987 | -0.07108 | 0.0062967 | 0.0015781
10 | 0.99005 | -0.069849 | 0 | 0
11 | 0.98994 | -0.070587 | 0.0038063 | 0.00095396
12 | 0.99026 | -0.068345 | 0.0021027 | 0.000527
13 | 0.98996 | -0.070503 | 0.002876 | 0.0007208
14 | 0.99058 | -0.066092 | 0 | 0
15 | 0.9913 | -0.061015 | 0 | 0
16 | 0.99118 | -0.061872 | 0.0023918 | 0.00059944
17 | 0.99189 | -0.056875 | 0.0022429 | 0.00056212
18 | 0.99102 | -0.062954 | 0 | 0
19 | 0.99093 | -0.063591 | 0.0046032 | 0.0011537
20 | 0.99162 | -0.058715 | 0 | 0
21 | 0.99178 | -0.057603 | 0 | 0
22 | 0.99131 | -0.060888 | 0.0047222 | 0.0011835
23 | 0.99239 | -0.053294 | 0 | 0
24 | 0.99348 | -0.045618 | 0.0026284 | 0.00065875
25 | 1 | 0 | -0.15192 | -0.037988
26 | 0.9998 | -0.0013664 | 0.0034276 | 0.00085905
27 | 0.99927 | -0.0050963 | 0 | 0
28 | 0.99757 | -0.016949 | 0.0035083 | 0.00087926
29 | 0.9951 | -0.03425 | 0 | 0
30 | 0.99415 | -0.040902 | 0.0094136 | 0.0023593
31 | 0.99581 | -0.029289 | 0 | 0
32 | 0.99445 | -0.038852 | 0.012943 | 0.0032438
33 | 0.99042 | -0.067202 | 0 | 0
34 | 0.99016 | -0.069046 | 0 | 0
35 | 0.99102 | -0.062935 | 0 | 0
36 | 0.99003 | -0.069981 | 0.0021061 | 0.00052784
37 | 0.99575 | -0.029731 | 0 | 0
38 | 0.99 | -0.070142 | 0.0023392 | 0.00058626
39 | 0.99163 | -0.058666 | 0.00502 | 0.0012581
40 | 0.99775 | -0.015658 | 0.010074 | 0.0025249
41 | 0.99085 | -0.064165 | 0.0026488 | 0.00066385
42 | 0.99211 | -0.055291 | 0.0023741 | 0.00059501
43 | 0.9946 | -0.037749 | 0.0028896 | 0.00072421
44 | 0.99969 | -0.0022038 | 0.0034259 | 0.00085861
45 | 0.99265 | -0.051508 | 0.0022137 | 0.00055481
46 | 0.99 | -0.070163 | 0.0056097 | 0.0014059
47 | 0.99517 | -0.033793 | 0.0034933 | 0.0008755
48 | 0.98986 | -0.071175 | 0.0036831 | 0.00092308
49 | 0.9916 | -0.058887 | 0.0025133 | 0.00062988
50 | 0.99586 | -0.02891 | 0.0059546 | 0.0014924
51 | 0.99071 | -0.065151 | 0.0049418 | 0.0012385
52 | 0.99237 | -0.053444 | 0.002305 | 0.00057768
53 | 0.99961 | -0.0027131 | 0.002744 | 0.00068771
54 | 0.99512 | -0.034118 | 0.0021363 | 0.00053542
55 | 0.99492 | -0.035518 | 0.0021383 | 0.00053591
56 | 0.99489 | -0.035716 | 0.0046773 | 0.0011722
57 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0090923 | -0.0022784 | 0.0090951 | 0.0022792 | 2.8468e-06 | 7.8055e-07 | 0.013664 | 0.013664 | 0.013664 | 0.99014 | -0.069256 | 0.99046 | -0.066994 | 5.0608
1 | 0.0064506 | 0.0016163 | -0.0064492 | -0.0016161 | 1.3904e-06 | 2.2988e-07 | 0.0096941 | 0.0096942 | 0.0096942 | 0.99014 | -0.069256 | 0.98992 | -0.070814 | 3.5904
2 | -0.0090951 | -0.0022792 | 0.0091239 | 0.0022871 | 2.8806e-05 | 7.8862e-06 | 0.013664 | 0.013663 | 0.013664 | 0.99046 | -0.066994 | 0.9937 | -0.044154 | 5.0607
3 | 0.0064492 | 0.0016161 | -0.0064481 | -0.0016159 | 1.149e-06 | 1.9007e-07 | 0.0096942 | 0.0096943 | 0.0096943 | 0.98992 | -0.070814 | 0.98974 | -0.072101 | 3.5905
4 | -0.0091239 | -0.0022871 | 0.0091303 | 0.0022888 | 6.4117e-06 | 1.7524e-06 | 0.013663 | 0.013663 | 0.013663 | 0.9937 | -0.044154 | 0.99442 | -0.039081 | 5.0603
5 | 0.004466 | 0.0011191 | -0.004466 | -0.0011191 | 3.6019e-08 | -2.6012e-09 | 0.0067143 | 0.0067143 | 0.0067143 | 0.98974 | -0.072101 | 0.98973 | -0.072159 | 2.4868
6 | -0.012011 | -0.0030108 | 0.012022 | 0.0030142 | 1.0634e-05 | 3.4051e-06 | 0.017973 | 0.017973 | 0.017973 | 0.99442 | -0.039081 | 0.99532 | -0.032692 | 6.6568
7 | 0.0025432 | 0.00063727 | -0.0025432 | -0.00063737 | 9.4498e-08 | -9.6764e-08 | 0.0038236 | 0.0038237 | 0.0038237 | 0.98973 | -0.072159 | 0.98969 | -0.072428 | 1.4162
8 | -0.015935 | -0.0039949 | 0.015941 | 0.0039972 | 6.5393e-06 | 2.275e-06 | 0.023823 | 0.023823 | 0.023823 | 0.99532 | -0.032692 | 0.99575 | -0.029731 | 8.8234
9 | -0.0062967 | -0.0015781 | 0.0062978 | 0.0015783 | 1.0726e-06 | 1.6587e-07 | 0.0094655 | 0.0094654 | 0.0094655 | 0.98987 | -0.07108 | 0.99005 | -0.069849 | 3.5057
10 | 0.0038067 | 0.00095386 | -0.0038063 | -0.00095395 | 3.886e-07 | -9.5163e-08 | 0.0057213 | 0.0057214 | 0.0057214 | 0.99005 | -0.069849 | 0.98994 | -0.070587 | 2.119
11 | -0.012981 | -0.0032527 | 0.012984 | 0.0032536 | 2.7033e-06 | 8.9333e-07 | 0.01951 | 0.01951 | 0.01951 | 0.99005 | -0.069849 | 0.99026 | -0.068345 | 7.2258
12 | 0.0028763 | 0.00072061 | -0.002876 | -0.0007208 | 2.6006e-07 | -1.8674e-07 | 0.0043229 | 0.004323 | 0.004323 | 0.99005 | -0.069849 | 0.98996 | -0.070503 | 1.6011
13 | -0.015086 | -0.0037806 | 0.015091 | 0.0037823 | 4.7059e-06 | 1.6211e-06 | 0.022669 | 0.022669 | 0.022669 | 0.99026 | -0.068345 | 0.99058 | -0.066092 | 8.396
14 | -0.015091 | -0.0037823 | 0.015102 | 0.0037859 | 1.0613e-05 | 3.6557e-06 | 0.022669 | 0.022669 | 0.022669 | 0.99058 | -0.066092 | 0.9913 | -0.061015 | 8.396
15 | 0.006997 | 0.0017532 | -0.0069961 | -0.0017531 | 8.2968e-07 | 1.6373e-07 | 0.010503 | 0.010503 | 0.010503 | 0.9913 | -0.061015 | 0.99118 | -0.061872 | 3.89
16 | -0.022099 | -0.0055391 | 0.022111 | 0.0055438 | 1.2677e-05 | 4.6377e-06 | 0.033172 | 0.033172 | 0.033172 | 0.9913 | -0.061015 | 0.99189 | -0.056875 | 12.2859
17 | 0.0046043 | 0.0011536 | -0.0046036 | -0.0011537 | 6.8907e-07 | -3.2815e-08 | 0.0069122 | 0.0069123 | 0.0069123 | 0.99118 | -0.061872 | 0.99102 | -0.062954 | 2.5601
18 | -0.024354 | -0.0061059 | 0.024359 | 0.0061079 | 5.3436e-06 | 1.9724e-06 | 0.036537 | 0.036536 | 0.036537 | 0.99189 | -0.056875 | 0.99211 | -0.055291 | 13.532
19 | 0.0046036 | 0.0011537 | -0.0046032 | -0.0011537 | 4.0644e-07 | -1.9308e-08 | 0.0069123 | 0.0069124 | 0.0069124 | 0.99102 | -0.062954 | 0.99093 | -0.063591 | 2.5601
20 | -0.0047237 | -0.0011835 | 0.0047244 | 0.0011834 | 7.2629e-07 | -1.9568e-08 | 0.0070881 | 0.007088 | 0.0070881 | 0.99162 | -0.058715 | 0.99178 | -0.057603 | 2.6252
21 | 0.0047237 | 0.0011835 | -0.0047222 | -0.0011835 | 1.4207e-06 | -3.7976e-08 | 0.0070881 | 0.0070883 | 0.0070883 | 0.99162 | -0.058715 | 0.99131 | -0.060888 | 2.6253
22 | 0.021361 | 0.0053551 | -0.021345 | -0.0053494 | 1.5765e-05 | 5.7461e-06 | 0.032049 | 0.032049 | 0.032049 | 0.99178 | -0.057603 | 0.99102 | -0.062935 | 11.8701
23 | 0.0075345 | 0.0018882 | -0.0075333 | -0.0018879 | 1.108e-06 | 2.4688e-07 | 0.011304 | 0.011304 | 0.011304 | 0.99178 | -0.057603 | 0.99163 | -0.058666 | 4.1868
24 | -0.03362 | -0.0084267 | 0.03364 | 0.0084343 | 2.0073e-05 | 7.5571e-06 | 0.050441 | 0.050441 | 0.050441 | 0.99178 | -0.057603 | 0.99239 | -0.053294 | 18.682
25 | -0.03364 | -0.0084343 | 0.033675 | 0.0084478 | 3.5813e-05 | 1.3482e-05 | 0.050441 | 0.050441 | 0.050441 | 0.99239 | -0.053294 | 0.99348 | -0.045618 | 18.682
26 | -0.036304 | -0.0091065 | 0.036344 | 0.0091215 | 3.9661e-05 | 1.4976e-05 | 0.054378 | 0.054378 | 0.054378 | 0.99348 | -0.045618 | 0.9946 | -0.037749 | 20.14
27 | 0.0096003 | 0.0024058 | -0.0095985 | -0.0024053 | 1.8154e-06 | 5.1122e-07 | 0.014285 | 0.014285 | 0.014285 | 1 | 0 | 0.9998 | -0.0013664 | 5.2909
28 | 0.055515 | 0.013959 | -0.055475 | -0.013944 | 3.9396e-05 | 1.5031e-05 | 0.082623 | 0.082623 | 0.082623 | 1 | 0 | 0.99927 | -0.0050963 | 30.601
29 | 0.086002 | 0.021623 | -0.085799 | -0.021545 | 0.00020259 | 7.766e-05 | 0.128 | 0.128 | 0.128 | 1 | 0 | 0.99757 | -0.016949 | 47.4059
30 | 0.0061708 | 0.0015463 | -0.0061701 | -0.0015462 | 7.1511e-07 | 9.688e-08 | 0.009184 | 0.009184 | 0.009184 | 0.9998 | -0.0013664 | 0.99969 | -0.0022038 | 3.4015
31 | 0.055475 | 0.013944 | -0.055394 | -0.013913 | 8.1466e-05 | 3.1083e-05 | 0.082623 | 0.082623 | 0.082623 | 0.99927 | -0.0050963 | 0.99775 | -0.015658 | 30.6011
32 | 0.082291 | 0.020666 | -0.08215 | -0.020612 | 0.00014091 | 5.3999e-05 | 0.12276 | 0.12276 | 0.12276 | 0.99757 | -0.016949 | 0.99581 | -0.029289 | 45.4677
33 | 0.040764 | 0.010232 | -0.040727 | -0.010217 | 3.7611e-05 | 1.4255e-05 | 0.060962 | 0.060962 | 0.060962 | 0.9951 | -0.03425 | 0.99415 | -0.040902 | 22.5784
34 | -0.053715 | -0.013478 | 0.053752 | 0.013492 | 3.7004e-05 | 1.4113e-05 | 0.080329 | 0.080329 | 0.080329 | 0.9951 | -0.03425 | 0.99581 | -0.029289 | 29.7513
35 | 0.012951 | 0.0032466 | -0.012943 | -0.0032438 | 8.2498e-06 | 2.7154e-06 | 0.019367 | 0.019367 | 0.019367 | 0.9951 | -0.03425 | 0.99445 | -0.038852 | 7.173
36 | 0.031313 | 0.0078581 | -0.031267 | -0.0078408 | 4.603e-05 | 1.7269e-05 | 0.046872 | 0.046872 | 0.046872 | 0.99415 | -0.040902 | 0.99265 | -0.051508 | 17.36
37 | 0.028397 | 0.0071195 | -0.028396 | -0.0071189 | 1.7371e-06 | 6.4801e-07 | 0.042434 | 0.042434 | 0.042434 | 0.99581 | -0.029289 | 0.99575 | -0.029731 | 15.7164
38 | 0.0060253 | 0.0015095 | -0.0060238 | -0.0015093 | 1.5374e-06 | 2.0448e-07 | 0.0090523 | 0.0090524 | 0.0090524 | 0.99042 | -0.067202 | 0.99016 | -0.069046 | 3.3527
39 | -0.013744 | -0.003444 | 0.013752 | 0.0034467 | 8.12e-06 | 2.7301e-06 | 0.020649 | 0.020649 | 0.020649 | 0.99042 | -0.067202 | 0.99102 | -0.062935 | 7.6479
40 | 0.0077189 | 0.0019345 | -0.0077159 | -0.0019338 | 2.9688e-06 | 6.8678e-07 | 0.011597 | 0.011597 | 0.011597 | 0.99042 | -0.067202 | 0.99003 | -0.069981 | 4.2952
41 | 0.0060238 | 0.0015093 | -0.0060229 | -0.0015092 | 9.1328e-07 | 1.2157e-07 | 0.0090524 | 0.0090525 | 0.0090525 | 0.99016 | -0.069046 | 0.99 | -0.070142 | 3.3528
42 | 0.0075926 | 0.0019027 | -0.0075913 | -0.0019024 | 1.2923e-06 | 2.9177e-07 | 0.0114 | 0.0114 | 0.0114 | 0.99102 | -0.062935 | 0.99085 | -0.064165 | 4.2223
43 | 0.0056099 | 0.0014059 | -0.0056097 | -0.0014059 | 1.4163e-07 | 1.342e-08 | 0.0084316 | 0.0084316 | 0.0084316 | 0.99003 | -0.069981 | 0.99 | -0.070163 | 3.1228
44 | 0.012454 | 0.0031217 | -0.012447 | -0.0031194 | 7.0013e-06 | 2.2717e-06 | 0.018611 | 0.018611 | 0.018611 | 0.99575 | -0.029731 | 0.99517 | -0.033793 | 6.8931
45 | 0.0036837 | 0.00092293 | -0.0036831 | -0.00092308 | 5.2656e-07 | -1.5138e-07 | 0.0055366 | 0.0055367 | 0.0055367 | 0.99 | -0.070142 | 0.98986 | -0.071175 | 2.0506
46 | 0.0025133 | 0.0006298 | -0.0025133 | -0.00062988 | 7.6771e-08 | -8.2055e-08 | 0.0037714 | 0.0037714 | 0.0037714 | 0.99163 | -0.058666 | 0.9916 | -0.058887 | 1.3968
47 | 0.045319 | 0.011388 | -0.045236 | -0.011356 | 8.342e-05 | 3.1703e-05 | 0.067598 | 0.067598 | 0.067598 | 0.99775 | -0.015658 | 0.99586 | -0.02891 | 25.0364
48 | 0.0049425 | 0.0012385 | -0.0049418 | -0.0012385 | 6.7448e-07 | 6.7426e-09 | 0.0074224 | 0.0074225 | 0.0074225 | 0.99085 | -0.064165 | 0.99071 | -0.065151 | 2.7491
49 | -0.026734 | -0.0067029 | 0.02674 | 0.0067054 | 6.8451e-06 | 2.5446e-06 | 0.040097 | 0.040097 | 0.040097 | 0.99211 | -0.055291 | 0.99237 | -0.053444 | 14.8509
50 | -0.039233 | -0.0098457 | 0.039281 | 0.009864 | 4.8197e-05 | 1.8246e-05 | 0.058701 | 0.058701 | 0.058701 | 0.9946 | -0.037749 | 0.99586 | -0.02891 | 21.7412
51 | 0.0027442 | 0.00068754 | -0.002744 | -0.00068771 | 1.9344e-07 | -1.6919e-07 | 0.0040846 | 0.0040847 | 0.0040847 | 0.99969 | -0.0022038 | 0.99961 | -0.0027131 | 1.5129
52 | 0.029053 | 0.007286 | -0.029045 | -0.0072831 | 7.7933e-06 | 2.9123e-06 | 0.043553 | 0.043554 | 0.043554 | 0.99265 | -0.051508 | 0.99237 | -0.053444 | 16.1309
53 | 0.0089538 | 0.0022439 | -0.0089534 | -0.0022438 | 4.0336e-07 | 1.0828e-07 | 0.013388 | 0.013388 | 0.013388 | 0.99517 | -0.033793 | 0.99512 | -0.034118 | 4.9585
54 | 0.006817 | 0.0017084 | -0.0068157 | -0.0017081 | 1.3207e-06 | 2.434e-07 | 0.010194 | 0.010194 | 0.010194 | 0.99512 | -0.034118 | 0.99492 | -0.035518 | 3.7754
55 | 0.0046774 | 0.0011722 | -0.0046773 | -0.0011722 | 1.2814e-07 | -5.2076e-09 | 0.0069955 | 0.0069956 | 0.0069956 | 0.99492 | -0.035518 | 0.99489 | -0.035716 | 2.5909

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.15192 | 0.037988

## res_load
| p_mw | q_mvar
0 | 0.0026417 | 0.00066207
1 | 0.0019821 | 0.00049675
2 | 0.0028809 | 0.00072202
3 | 0.0019227 | 0.00048188
4 | 0.0039131 | 0.00098071
5 | 0.0025432 | 0.00063737
6 | 0.0062967 | 0.0015781
7 | 0.0038063 | 0.00095396
8 | 0.0021027 | 0.000527
9 | 0.002876 | 0.0007208
10 | 0.0023918 | 0.00059944
11 | 0.0022429 | 0.00056212
12 | 0.0046032 | 0.0011537
13 | 0.0047222 | 0.0011835
14 | 0.0026284 | 0.00065875
15 | 0.0034276 | 0.00085905
16 | 0.0035083 | 0.00087926
17 | 0.0094136 | 0.0023593
18 | 0.012943 | 0.0032438
19 | 0.0021061 | 0.00052784
20 | 0.0023392 | 0.00058626
21 | 0.00502 | 0.0012581
22 | 0.010074 | 0.0025249
23 | 0.0026488 | 0.00066385
24 | 0.0023741 | 0.00059501
25 | 0.0028896 | 0.00072421
26 | 0.0034259 | 0.00085861
27 | 0.0022137 | 0.00055481
28 | 0.0056097 | 0.0014059
29 | 0.0034933 | 0.0008755
30 | 0.0036831 | 0.00092308
31 | 0.0025133 | 0.00062988
32 | 0.0059546 | 0.0014924
33 | 0.0049418 | 0.0012385
34 | 0.002305 | 0.00057768
35 | 0.002744 | 0.00068771
36 | 0.0021363 | 0.00053542
37 | 0.0021383 | 0.00053591
38 | 0.0046773 | 0.0011722

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1