## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1151-49_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1151-49_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1151-49_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1151-49_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1151-49_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1151-49_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1151-49_0_4_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_1151-49_0_4_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_1151-49_0_4_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_1151-49_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1151-49_0_4_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_1151-49_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_1151-49_0_4_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_1151-49_0_4_node_28 | 0.4 | n |  | TRUE
14 | bus_LV_1151-49_0_4_node_31 | 0.4 | n |  | TRUE
15 | bus_LV_1151-49_0_4_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_1151-49_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1151-49_0_4_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_1151-49_0_4_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_1151-49_0_4_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_1151-49_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_1151-49_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_1151-49_0_4_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_1151-49_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_1151-49_0_4_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_1151-49_0_4_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_1151-49_0_4_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_1151-49_0_4_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_1151-49_0_4_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_1151-49_0_4_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_1151-49_0_4_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_1151-49_0_4_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_1151-49_0_4_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_1151-49_0_4_node_47 | 0.4 | n |  | TRUE
34 | bus_LV_1151-49_0_4_node_52 | 0.4 | n |  | TRUE
35 | bus_LV_1151-49_0_4_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_1151-49_0_4_node_46 | 0.4 | n |  | TRUE
37 | bus_LV_1151-49_0_4_node_50 | 0.4 | n |  | TRUE
38 | bus_LV_1151-49_0_4_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_1151-49_0_4_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_1151-49_0_4_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_1151-49_0_4_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_1151-49_0_4_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_1151-49_0_4_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_1151-49_0_4_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_1151-49_0_4_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_1151-49_0_4_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_1151-49_0_4_node_44 | 0.4 | n |  | TRUE
48 | bus_LV_1151-49_0_4_node_56 | 0.4 | n |  | TRUE
49 | bus_LV_1151-49_0_4_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_1151-49_0_4_node_54 | 0.4 | n |  | TRUE
51 | bus_LV_1151-49_0_4_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_1151-49_0_4_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_1151-49_0_4_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_1151-49_0_4_node_55 | 0.4 | n |  | TRUE
55 | bus_LV_1151-49_0_4_node_57 | 0.4 | n |  | TRUE
56 | bus_LV_1151-49_0_4_node_58 | 0.4 | n |  | TRUE
57 | bus_MV_128_0_node_210 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1151-49_0_4_load_0 | 0 | 0.0067392 | 0.001689 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1151-49_0_4_load_1 | 1 | 0.00053911 | 0.00013511 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1151-49_0_4_load_2 | 2 | 0.0019067 | 0.00047786 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1151-49_0_4_load_3 | 3 | 0.010382 | 0.0026021 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1151-49_0_4_load_4 | 4 | 0.0020753 | 0.00052012 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1151-49_0_4_load_25 | 7 | 0.0018377 | 0.00046058 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1151-49_0_4_load_11 | 8 | 0.0021354 | 0.00053519 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1151-49_0_4_load_7 | 9 | 0.0023882 | 0.00059853 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1151-49_0_4_load_24 | 10 | 0.0019157 | 0.00048012 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1151-49_0_4_load_6 | 11 | 0.0008004 | 0.0002006 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1151-49_0_4_load_31 | 14 | 0.032548 | 0.0081572 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1151-49_0_4_load_10 | 16 | 0.0010064 | 0.00025223 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1151-49_0_4_load_18 | 17 | 0.0047363 | 0.001187 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1151-49_0_4_load_15 | 18 | 0.0015462 | 0.0003875 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1151-49_0_4_load_9 | 19 | 0.003866 | 0.00096891 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1151-49_0_4_load_12 | 20 | 0.016247 | 0.004072 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1151-49_0_4_load_13 | 21 | 0.011961 | 0.0029977 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1151-49_0_4_load_16 | 23 | 0.0030147 | 0.00075555 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1151-49_0_4_load_23 | 24 | 0.011318 | 0.0028366 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1151-49_0_4_load_21 | 25 | 0.00085062 | 0.00021319 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1151-49_0_4_load_26 | 27 | 0.0092496 | 0.0023182 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1151-49_0_4_load_32 | 28 | 0.0063499 | 0.0015914 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1151-49_0_4_load_20 | 29 | 0.0029607 | 0.00074201 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1151-49_0_4_load_27 | 30 | 0.0038852 | 0.00097371 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1151-49_0_4_load_29 | 31 | 0.0036069 | 0.00090399 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1151-49_0_4_load_35 | 32 | 0.0033317 | 0.00083501 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1151-49_0_4_load_47 | 33 | 0.003789 | 0.00094961 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1151-49_0_4_load_34 | 35 | 0.0033287 | 0.00083426 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1151-49_0_4_load_46 | 36 | 0.0039632 | 0.00099328 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1151-49_0_4_load_50 | 37 | 0.0035406 | 0.00088736 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1151-49_0_4_load_37 | 39 | 0.006796 | 0.0017032 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1151-49_0_4_load_36 | 40 | 0.010643 | 0.0026673 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1151-49_0_4_load_38 | 41 | 0.0038543 | 0.00096598 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1151-49_0_4_load_39 | 42 | 0.0039756 | 0.00099638 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1151-49_0_4_load_40 | 43 | 0.0040895 | 0.0010249 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1151-49_0_4_load_41 | 44 | 0.0035787 | 0.00089692 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1151-49_0_4_load_42 | 45 | 0.0038491 | 0.00096467 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1151-49_0_4_load_43 | 46 | 0.003531 | 0.00088495 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1151-49_0_4_load_44 | 47 | 0.0036862 | 0.00092384 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1151-49_0_4_load_56 | 48 | 0.0035788 | 0.00089694 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1151-49_0_4_load_45 | 49 | 0.0040545 | 0.0010161 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1151-49_0_4_load_54 | 50 | 0.0028706 | 0.00071945 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1151-49_0_4_load_48 | 51 | 0.0032536 | 0.00081542 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1151-49_0_4_load_49 | 52 | 0.0041016 | 0.0010279 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1151-49_0_4_load_53 | 53 | 0.0034264 | 0.00085874 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1151-49_0_4_load_55 | 54 | 0.0021903 | 0.00054893 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1151-49_0_4_load_57 | 55 | 0.0021166 | 0.00053046 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1151-49_0_4_load_58 | 56 | 0.0018914 | 0.00047404 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1151-49_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.012778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1151-49_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.016034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1151-49_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0053643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1151-49_0_4_line_3 | NAYY 4x150 SE | 3 | 4 | 0.022976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1151-49_0_4_line_4 | NAYY 4x150 SE | 4 | 5 | 0.013113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1151-49_0_4_line_5 | NAYY 4x150 SE | 5 | 6 | 0.003299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1151-49_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.01363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1151-49_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0099405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1151-49_0_4_line_8 | NAYY 4x150 SE | 6 | 9 | 0.029649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1151-49_0_4_line_9 | NAYY 4x150 SE | 7 | 10 | 0.028011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1151-49_0_4_line_10 | NAYY 4x150 SE | 8 | 16 | 0.0092701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1151-49_0_4_line_11 | NAYY 4x150 SE | 9 | 11 | 0.01109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1151-49_0_4_line_12 | NAYY 4x150 SE | 10 | 17 | 0.032075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1151-49_0_4_line_13 | NAYY 4x150 SE | 12 | 13 | 0.060128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1151-49_0_4_line_14 | NAYY 4x150 SE | 12 | 14 | 0.030943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_1151-49_0_4_line_15 | NAYY 4x150 SE | 12 | 15 | 0.036413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1151-49_0_4_line_16 | NAYY 4x150 SE | 13 | 26 | 0.059851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1151-49_0_4_line_17 | NAYY 4x150 SE | 13 | 27 | 0.029123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1151-49_0_4_line_18 | NAYY 4x150 SE | 14 | 28 | 0.042339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_1151-49_0_4_line_19 | NAYY 4x150 SE | 15 | 17 | 0.031289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1151-49_0_4_line_20 | NAYY 4x150 SE | 15 | 18 | 0.024702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1151-49_0_4_line_21 | NAYY 4x150 SE | 16 | 19 | 0.0090368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1151-49_0_4_line_22 | NAYY 4x150 SE | 18 | 22 | 0.011346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1151-49_0_4_line_23 | NAYY 4x150 SE | 20 | 21 | 0.025353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1151-49_0_4_line_24 | NAYY 4x150 SE | 20 | 22 | 0.01275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1151-49_0_4_line_25 | NAYY 4x150 SE | 22 | 23 | 0.01813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1151-49_0_4_line_26 | NAYY 4x150 SE | 23 | 24 | 0.0042904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1151-49_0_4_line_27 | NAYY 4x150 SE | 24 | 25 | 0.015286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1151-49_0_4_line_28 | NAYY 4x150 SE | 25 | 29 | 0.023918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1151-49_0_4_line_29 | NAYY 4x150 SE | 26 | 33 | 0.017359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1151-49_0_4_line_30 | NAYY 4x150 SE | 26 | 34 | 0.028235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1151-49_0_4_line_31 | NAYY 4x150 SE | 27 | 30 | 0.0002487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1151-49_0_4_line_32 | NAYY 4x150 SE | 28 | 38 | 0.15996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1151-49_0_4_line_33 | NAYY 4x150 SE | 30 | 31 | 0.033838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1151-49_0_4_line_34 | NAYY 4x150 SE | 31 | 32 | 0.00092194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1151-49_0_4_line_35 | NAYY 4x150 SE | 32 | 35 | 0.00024162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1151-49_0_4_line_36 | NAYY 4x150 SE | 33 | 36 | 0.0018595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1151-49_0_4_line_37 | NAYY 4x150 SE | 34 | 37 | 0.014445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1151-49_0_4_line_38 | NAYY 4x150 SE | 35 | 40 | 0.021119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1151-49_0_4_line_39 | NAYY 4x150 SE | 36 | 49 | 0.00057389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1151-49_0_4_line_40 | NAYY 4x150 SE | 37 | 51 | 0.026563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1151-49_0_4_line_41 | NAYY 4x150 SE | 38 | 39 | 0.12103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1151-49_0_4_line_42 | NAYY 4x150 SE | 41 | 42 | 0.0029216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1151-49_0_4_line_43 | NAYY 4x150 SE | 41 | 43 | 0.00074021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1151-49_0_4_line_44 | NAYY 4x150 SE | 42 | 44 | 0.015698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1151-49_0_4_line_45 | NAYY 4x150 SE | 43 | 45 | 0.00099773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1151-49_0_4_line_46 | NAYY 4x150 SE | 44 | 46 | 0.0017598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1151-49_0_4_line_47 | NAYY 4x150 SE | 45 | 47 | 0.02535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1151-49_0_4_line_48 | NAYY 4x150 SE | 46 | 48 | 0.00065232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1151-49_0_4_line_49 | NAYY 4x150 SE | 47 | 49 | 0.0068954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1151-49_0_4_line_50 | NAYY 4x150 SE | 48 | 50 | 0.016186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1151-49_0_4_line_51 | NAYY 4x150 SE | 50 | 53 | 0.0090522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1151-49_0_4_line_52 | NAYY 4x150 SE | 51 | 52 | 0.0053183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1151-49_0_4_line_53 | NAYY 4x150 SE | 53 | 54 | 0.00090033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1151-49_0_4_line_54 | NAYY 4x150 SE | 54 | 55 | 0.016166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1151-49_0_4_line_55 | NAYY 4x150 SE | 55 | 56 | 0.0079657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1151-49_0_4_trafo_32 | 0.25 MVA 20/0.4 kV | 57 | 28 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2640896.3607 | 1218819.5466 | 2640902.6046 | 1218808.3979
1 | 2640888.5257 | 1218833.5359 | 2640896.3607 | 1218819.5466
2 | 2640902.6046 | 1218808.3979 | 2640905.2259 | 1218803.7176
3 | 2640905.2259 | 1218803.7176 | 2640909.516 | 1218796.0576 | 2640910.0462 | 1218792.8816 | 2640908.3528 | 1218789.7237 | 2640903.3182 | 1218784.3099
4 | 2640895.8723 | 1218773.7397 | 2640897.9265 | 1218778.5122 | 2640903.3182 | 1218784.3099
5 | 2640894.5726 | 1218770.7068 | 2640895.8723 | 1218773.7397
6 | 2640895.8723 | 1218773.7397 | 2640904.3988 | 1218772.0416 | 2640909.0031 | 1218770.2631
7 | 2640894.5726 | 1218770.7068 | 2640891.7751 | 1218762.5494 | 2640890.9838 | 1218761.4969
8 | 2640894.5726 | 1218770.7068 | 2640885.1862 | 1218770.5423 | 2640865.0757 | 1218768.075
9 | 2640909.0031 | 1218770.2631 | 2640915.3713 | 1218767.8032 | 2640931.9 | 1218758.9892 | 2640934.2869 | 1218758.4286
10 | 2640884.1878 | 1218755.3797 | 2640888.6241 | 1218758.3586 | 2640890.9838 | 1218761.4969
11 | 2640865.0757 | 1218768.075 | 2640854.0681 | 1218766.7246
12 | 2640964.6788 | 1218765.5399 | 2640952.0898 | 1218759.6615 | 2640942.4901 | 1218757.3832 | 2640938.3383 | 1218757.4769 | 2640934.2869 | 1218758.4286
13 | 2641022.3029 | 1218780.701 | 2641022.7673 | 1218779.3812 | 2641025.5071 | 1218771.6399 | 2641035.637 | 1218745.394 | 2641043.2193 | 1218724.3337
14 | 2641022.3029 | 1218780.701 | 2640993.3501 | 1218769.7825
15 | 2640993.2845 | 1218778.2 | 2640995.3408 | 1218773.8449 | 2641005.0352 | 1218778.8812 | 2641020.9195 | 1218784.327 | 2641022.3029 | 1218780.701
16 | 2641043.2193 | 1218724.3337 | 2641060.6966 | 1218667.0867
17 | 2641043.2193 | 1218724.3337 | 2641016.9635 | 1218711.7321
18 | 2640993.3501 | 1218769.7825 | 2640989.3912 | 1218768.2896 | 2640967.1024 | 1218758.3416 | 2640954.7743 | 1218752.3659
19 | 2640993.2845 | 1218778.2 | 2640979.1791 | 1218772.3107 | 2640964.6788 | 1218765.5399
20 | 2640993.2845 | 1218778.2 | 2640982.7301 | 1218800.5334
21 | 2640884.1878 | 1218755.3797 | 2640876.6855 | 1218750.342
22 | 2640977.8824 | 1218810.7913 | 2640982.7301 | 1218800.5334
23 | 2640961.0893 | 1218844.9939 | 2640972.2632 | 1218822.236
24 | 2640977.8824 | 1218810.7913 | 2640972.2632 | 1218822.236
25 | 2640977.8824 | 1218810.7913 | 2640994.6173 | 1218817.7654
26 | 2640998.5776 | 1218819.4158 | 2640994.6173 | 1218817.7654
27 | 2641012.6871 | 1218825.2959 | 2640998.5776 | 1218819.4158
28 | 2641012.6871 | 1218825.2959 | 2641034.7644 | 1218834.4964
29 | 2641060.6966 | 1218667.0867 | 2641046.3755 | 1218660.5286 | 2641045.0395 | 1218659.6342
30 | 2641069.1544 | 1218640.1511 | 2641068.2724 | 1218642.6021 | 2641060.6966 | 1218667.0867
31 | 2641016.7393 | 1218711.6245 | 2641016.9635 | 1218711.7321
32 | 2640825.6172 | 1218660.1465 | 2640838.4772 | 1218673.9761 | 2640858.3698 | 1218692.5789 | 2640869.7244 | 1218702.3514 | 2640881.1853 | 1218711.0018 | 2640893.8773 | 1218719.4049 | 2640903.3392 | 1218725.1843 | 2640942.2778 | 1218746.3085 | 2640954.7743 | 1218752.3659
33 | 2640985.4943 | 1218698.6563 | 2641012.0098 | 1218709.3545 | 2641016.7393 | 1218711.6245
34 | 2640984.6393 | 1218698.3114 | 2640985.4943 | 1218698.6563
35 | 2640984.4153 | 1218698.221 | 2640984.6393 | 1218698.3114
36 | 2641043.4943 | 1218658.5997 | 2641045.0395 | 1218659.6342
37 | 2641069.1544 | 1218640.1511 | 2641061.6627 | 1218627.801
38 | 2640964.8302 | 1218690.319 | 2640984.4153 | 1218698.221
39 | 2641043.4943 | 1218658.5997 | 2641043.0174 | 1218658.2804
40 | 2641049.8609 | 1218604.0525 | 2641057.2756 | 1218620.5688 | 2641061.6627 | 1218627.801
41 | 2640825.6172 | 1218660.1465 | 2640830.6699 | 1218657.0681 | 2640909.2895 | 1218716.2754 | 2640924.1583 | 1218723.8569
42 | 2641014.9576 | 1218639.1528 | 2641012.4713 | 1218637.6184
43 | 2641015.5875 | 1218639.5415 | 2641014.9576 | 1218639.1528
44 | 2641012.4713 | 1218637.6184 | 2640999.1121 | 1218629.3739
45 | 2641016.4365 | 1218640.0655 | 2641015.5875 | 1218639.5415
46 | 2640998.4811 | 1218627.7312 | 2640999.1121 | 1218629.3739 | 2640999.1121 | 1218629.3739
47 | 2641037.2876 | 1218654.4444 | 2641026.4925 | 1218647.2173 | 2641020.8463 | 1218642.7869 | 2641016.4365 | 1218640.0655
48 | 2640998.4811 | 1218627.7312 | 2640998.2472 | 1218627.1222 | 2640998.2472 | 1218627.1222
49 | 2641037.2876 | 1218654.4444 | 2641043.0174 | 1218658.2804
50 | 2641004.2224 | 1218612.4212 | 2641004.2224 | 1218612.4212 | 2640998.068 | 1218624.4861 | 2640998.2472 | 1218627.1222
51 | 2641009.5492 | 1218605.2129 | 2641006.3834 | 1218610.4905 | 2641004.2224 | 1218612.4212
52 | 2641049.8609 | 1218604.0525 | 2641049.8609 | 1218604.0525 | 2641048.7972 | 1218598.8417
53 | 2641009.5492 | 1218605.2129 | 2641010.0124 | 1218604.4409
54 | 2641019.205 | 1218591.1966 | 2641014.6058 | 1218596.7834 | 2641010.0124 | 1218604.4409
55 | 2641019.205 | 1218591.1966 | 2641024.2677 | 1218585.0468

## bus_geodata
| x | y | coords
0 | 2640896.3607 | 1218819.5466
1 | 2640902.6046 | 1218808.3979
2 | 2640888.5257 | 1218833.5359
3 | 2640905.2259 | 1218803.7176
4 | 2640903.3182 | 1218784.3099
5 | 2640895.8723 | 1218773.7397
6 | 2640894.5726 | 1218770.7068
7 | 2640909.0031 | 1218770.2631
8 | 2640890.9838 | 1218761.4969
9 | 2640865.0757 | 1218768.075
10 | 2640934.2869 | 1218758.4286
11 | 2640854.0681 | 1218766.7246
12 | 2641022.3029 | 1218780.701
13 | 2641043.2193 | 1218724.3337
14 | 2640993.3501 | 1218769.7825
15 | 2640993.2845 | 1218778.2
16 | 2640884.1878 | 1218755.3797
17 | 2640964.6788 | 1218765.5399
18 | 2640982.7301 | 1218800.5334
19 | 2640876.6855 | 1218750.342
20 | 2640972.2632 | 1218822.236
21 | 2640961.0893 | 1218844.9939
22 | 2640977.8825 | 1218810.7913
23 | 2640994.6173 | 1218817.7654
24 | 2640998.5776 | 1218819.4158
25 | 2641012.6871 | 1218825.2959
26 | 2641060.6966 | 1218667.0867
27 | 2641016.9635 | 1218711.7321
28 | 2640954.7743 | 1218752.3659
29 | 2641034.7644 | 1218834.4964
30 | 2641016.7393 | 1218711.6245
31 | 2640985.4943 | 1218698.6563
32 | 2640984.6393 | 1218698.3114
33 | 2641045.0395 | 1218659.6342
34 | 2641069.1544 | 1218640.1511
35 | 2640984.4153 | 1218698.221
36 | 2641043.4943 | 1218658.5997
37 | 2641061.6627 | 1218627.801
38 | 2640825.6172 | 1218660.1465
39 | 2640924.1583 | 1218723.8569
40 | 2640964.8302 | 1218690.319
41 | 2641014.9576 | 1218639.1528
42 | 2641012.4713 | 1218637.6184
43 | 2641015.5875 | 1218639.5415
44 | 2640999.1121 | 1218629.3739
45 | 2641016.4365 | 1218640.0655
46 | 2640998.4811 | 1218627.7312
47 | 2641037.2876 | 1218654.4444
48 | 2640998.2472 | 1218627.1222
49 | 2641043.0174 | 1218658.2804
50 | 2641004.2224 | 1218612.4212
51 | 2641049.8609 | 1218604.0525
52 | 2641048.7972 | 1218598.8417
53 | 2641009.5492 | 1218605.2129
54 | 2641010.0124 | 1218604.4409
55 | 2641019.205 | 1218591.1966
56 | 2641024.2677 | 1218585.0468
57 | 2640954.7743 | 1218752.3659

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9798 | -0.14161 | 0.0067392 | 0.001689
1 | 0.97996 | -0.14046 | 0.00053911 | 0.00013511
2 | 0.97976 | -0.14193 | 0.0019067 | 0.00047786
3 | 0.98004 | -0.13995 | 0.010382 | 0.0026021
4 | 0.98069 | -0.13528 | 0.0020753 | 0.00052012
5 | 0.9811 | -0.13234 | 0 | 0
6 | 0.98105 | -0.13268 | 0 | 0
7 | 0.98173 | -0.12784 | 0.0018377 | 0.00046058
8 | 0.98095 | -0.13341 | 0.0021354 | 0.00053519
9 | 0.98092 | -0.13367 | 0.0023882 | 0.00059853
10 | 0.98311 | -0.11808 | 0.0019157 | 0.00048012
11 | 0.9809 | -0.13376 | 0.0008004 | 0.0002006
12 | 0.99126 | -0.060534 | 0 | 0
13 | 0.98253 | -0.12179 | 0 | 0
14 | 0.99549 | -0.031164 | 0.032548 | 0.0081572
15 | 0.9866 | -0.093333 | 0 | 0
16 | 0.98089 | -0.13388 | 0.0010064 | 0.00025223
17 | 0.98476 | -0.1063 | 0.0047363 | 0.001187
18 | 0.98488 | -0.10549 | 0.0015462 | 0.0003875
19 | 0.98084 | -0.13424 | 0.003866 | 0.00096891
20 | 0.9836 | -0.11461 | 0.016247 | 0.004072
21 | 0.98316 | -0.11774 | 0.011961 | 0.0029977
22 | 0.98412 | -0.11091 | 0 | 0
23 | 0.98364 | -0.1143 | 0.0030147 | 0.00075555
24 | 0.98355 | -0.11497 | 0.011318 | 0.0028366
25 | 0.98347 | -0.11557 | 0.00085062 | 0.00021319
26 | 0.97681 | -0.16247 | 0 | 0
27 | 0.98109 | -0.13206 | 0.0092496 | 0.0023182
28 | 1 | 0 | -0.23182 | -0.058426
29 | 0.98336 | -0.1163 | 0.0029607 | 0.00074201
30 | 0.98108 | -0.13212 | 0.0038852 | 0.00097371
31 | 0.98005 | -0.13947 | 0.0036069 | 0.00090399
32 | 0.98003 | -0.13963 | 0.0033317 | 0.00083501
33 | 0.97542 | -0.17237 | 0.003789 | 0.00094961
34 | 0.97636 | -0.16569 | 0 | 0
35 | 0.98002 | -0.13967 | 0.0033287 | 0.00083426
36 | 0.97529 | -0.17336 | 0.0039632 | 0.00099328
37 | 0.97613 | -0.16734 | 0.0035406 | 0.00088736
38 | 0.99845 | -0.010897 | 0 | 0
39 | 0.99727 | -0.019149 | 0.006796 | 0.0017032
40 | 0.9797 | -0.14201 | 0.010643 | 0.0026673
41 | 0.97328 | -0.18773 | 0.0038543 | 0.00096598
42 | 0.97317 | -0.18857 | 0.0039756 | 0.00099638
43 | 0.97332 | -0.18749 | 0.0040895 | 0.0010249
44 | 0.97263 | -0.1924 | 0.0035787 | 0.00089692
45 | 0.97337 | -0.18712 | 0.0038491 | 0.00096467
46 | 0.97258 | -0.19277 | 0.003531 | 0.00088495
47 | 0.97482 | -0.17673 | 0.0036862 | 0.00092384
48 | 0.97257 | -0.19288 | 0.0035788 | 0.00089694
49 | 0.97525 | -0.17364 | 0.0040545 | 0.0010161
50 | 0.97227 | -0.19501 | 0.0028706 | 0.00071945
51 | 0.97584 | -0.16939 | 0.0032536 | 0.00081542
52 | 0.97581 | -0.16962 | 0.0041016 | 0.0010279
53 | 0.97214 | -0.19593 | 0.0034264 | 0.00085874
54 | 0.97214 | -0.19599 | 0.0021903 | 0.00054893
55 | 0.97204 | -0.19668 | 0.0021166 | 0.00053046
56 | 0.97202 | -0.19684 | 0.0018914 | 0.00047404
57 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.008646 | -0.0021667 | 0.0086474 | 0.0021671 | 1.3747e-06 | 3.6777e-07 | 0.01313 | 0.01313 | 0.01313 | 0.9798 | -0.14161 | 0.97996 | -0.14046 | 4.8631
1 | 0.0019068 | 0.00047769 | -0.0019067 | -0.00047786 | 8.3898e-08 | -1.6967e-07 | 0.0028957 | 0.0028958 | 0.0028958 | 0.9798 | -0.14161 | 0.97976 | -0.14193 | 1.0725
2 | -0.0091865 | -0.0023022 | 0.0091871 | 0.0023024 | 6.5131e-07 | 1.8291e-07 | 0.013949 | 0.013949 | 0.013949 | 0.97996 | -0.14046 | 0.98004 | -0.13995 | 5.1663
3 | -0.01957 | -0.0049045 | 0.019582 | 0.004909 | 1.2657e-05 | 4.5786e-06 | 0.029713 | 0.029713 | 0.029713 | 0.98004 | -0.13995 | 0.98069 | -0.13528 | 11.0048
4 | -0.021658 | -0.0054292 | 0.021666 | 0.0054324 | 8.8364e-06 | 3.2331e-06 | 0.032862 | 0.032862 | 0.032862 | 0.98069 | -0.13528 | 0.9811 | -0.13234 | 12.171
5 | 0.010199 | 0.0025554 | -0.010198 | -0.0025552 | 4.9251e-07 | 1.4777e-07 | 0.015468 | 0.015468 | 0.015468 | 0.9811 | -0.13234 | 0.98105 | -0.13268 | 5.7288
6 | -0.031865 | -0.0079878 | 0.031885 | 0.0079952 | 1.9865e-05 | 7.4683e-06 | 0.048329 | 0.048329 | 0.048329 | 0.9811 | -0.13234 | 0.98173 | -0.12784 | 17.8998
7 | 0.007009 | 0.0017564 | -0.0070083 | -0.0017563 | 7.0103e-07 | 1.4412e-07 | 0.010631 | 0.010631 | 0.010631 | 0.98105 | -0.13268 | 0.98095 | -0.13341 | 3.9374
8 | 0.003189 | 0.00079879 | -0.0031886 | -0.00079899 | 4.3283e-07 | -2.0785e-07 | 0.0048368 | 0.0048369 | 0.0048369 | 0.98105 | -0.13268 | 0.98092 | -0.13367 | 1.7914
9 | -0.033723 | -0.0084558 | 0.033768 | 0.008473 | 4.5667e-05 | 1.7209e-05 | 0.051115 | 0.051115 | 0.051115 | 0.98173 | -0.12784 | 0.98311 | -0.11808 | 18.9314
10 | 0.0048729 | 0.0012211 | -0.0048726 | -0.0012211 | 3.1605e-07 | 4.5388e-09 | 0.0073917 | 0.0073918 | 0.0073918 | 0.98095 | -0.13341 | 0.98089 | -0.13388 | 2.7377
11 | 0.00080041 | 0.00020046 | -0.0008004 | -0.0002006 | 1.0202e-08 | -1.3607e-07 | 0.0012141 | 0.0012142 | 0.0012142 | 0.98092 | -0.13367 | 0.9809 | -0.13376 | 0.4497
12 | -0.035684 | -0.0089531 | 0.035742 | 0.0089752 | 5.8393e-05 | 2.2052e-05 | 0.054014 | 0.054014 | 0.054014 | 0.98311 | -0.11808 | 0.98476 | -0.1063 | 20.0053
13 | 0.10089 | 0.02548 | -0.10002 | -0.02515 | 0.00086131 | 0.00033051 | 0.15151 | 0.15151 | 0.15151 | 0.99126 | -0.060534 | 0.98253 | -0.12179 | 56.1162
14 | -0.18989 | -0.047885 | 0.19067 | 0.048186 | 0.00078501 | 0.00030112 | 0.28515 | 0.28515 | 0.28515 | 0.99126 | -0.060534 | 0.99549 | -0.031164 | 52.8061
15 | 0.089002 | 0.022405 | -0.088596 | -0.022249 | 0.0004058 | 0.00015561 | 0.13364 | 0.13364 | 0.13364 | 0.99126 | -0.060534 | 0.9866 | -0.093333 | 49.4961
16 | 0.065906 | 0.01659 | -0.065534 | -0.016448 | 0.00037227 | 0.00014243 | 0.099839 | 0.099839 | 0.099839 | 0.98253 | -0.12179 | 0.97681 | -0.16247 | 36.9774
17 | 0.034119 | 0.0085598 | -0.03407 | -0.0085415 | 4.8527e-05 | 1.8296e-05 | 0.051675 | 0.051675 | 0.051675 | 0.98253 | -0.12179 | 0.98109 | -0.13206 | 19.139
18 | -0.22322 | -0.056343 | 0.2242 | 0.056719 | 0.00098127 | 0.00037575 | 0.3338 | 0.3338 | 0.3338 | 0.99549 | -0.031164 | 1 | 0 | 41.2103
19 | 0.040552 | 0.01019 | -0.040479 | -0.010162 | 7.3057e-05 | 2.77e-05 | 0.061171 | 0.061171 | 0.061171 | 0.9866 | -0.093333 | 0.98476 | -0.1063 | 22.6559
20 | 0.048045 | 0.012059 | -0.047964 | -0.012028 | 8.095e-05 | 3.082e-05 | 0.072469 | 0.072469 | 0.072469 | 0.9866 | -0.093333 | 0.98488 | -0.10549 | 26.8404
21 | 0.0038662 | 0.00096887 | -0.003866 | -0.00096891 | 1.9397e-07 | -3.9457e-08 | 0.005865 | 0.0058651 | 0.0058651 | 0.98089 | -0.13388 | 0.98084 | -0.13424 | 2.1722
22 | 0.046418 | 0.011641 | -0.046383 | -0.011627 | 3.4822e-05 | 1.3249e-05 | 0.070133 | 0.070133 | 0.070133 | 0.98488 | -0.10549 | 0.98412 | -0.11091 | 25.9752
23 | 0.011966 | 0.0029994 | -0.011961 | -0.0029977 | 5.1846e-06 | 1.6724e-06 | 0.018103 | 0.018103 | 0.018103 | 0.9836 | -0.11461 | 0.98316 | -0.11774 | 6.7048
24 | -0.028214 | -0.0070714 | 0.028228 | 0.0070768 | 1.4494e-05 | 5.4127e-06 | 0.042682 | 0.042682 | 0.042682 | 0.9836 | -0.11461 | 0.98412 | -0.11091 | 15.8083
25 | 0.018155 | 0.0045506 | -0.018146 | -0.0045476 | 8.5249e-06 | 3.0485e-06 | 0.027451 | 0.027451 | 0.027451 | 0.98412 | -0.11091 | 0.98364 | -0.1143 | 10.1669
26 | 0.015132 | 0.003792 | -0.01513 | -0.0037916 | 1.4028e-06 | 4.8507e-07 | 0.02289 | 0.02289 | 0.02289 | 0.98364 | -0.1143 | 0.98355 | -0.11497 | 8.4779
27 | 0.0038119 | 0.00095494 | -0.0038116 | -0.00095501 | 3.1722e-07 | -7.197e-08 | 0.0057669 | 0.005767 | 0.005767 | 0.98355 | -0.11497 | 0.98347 | -0.11557 | 2.1359
28 | 0.002961 | 0.00074182 | -0.0029607 | -0.00074201 | 2.9954e-07 | -1.8825e-07 | 0.0044799 | 0.0044801 | 0.0044801 | 0.98347 | -0.11557 | 0.98336 | -0.1163 | 1.6593
29 | 0.054628 | 0.013714 | -0.054553 | -0.013686 | 7.503e-05 | 2.8641e-05 | 0.083226 | 0.083226 | 0.083226 | 0.97681 | -0.16247 | 0.97542 | -0.17237 | 30.8246
30 | 0.010905 | 0.0027335 | -0.0109 | -0.0027319 | 4.8623e-06 | 1.5169e-06 | 0.016613 | 0.016613 | 0.016613 | 0.97681 | -0.16247 | 0.97636 | -0.16569 | 6.1529
31 | 0.024821 | 0.0062233 | -0.02482 | -0.0062233 | 2.1994e-07 | 8.1452e-08 | 0.037646 | 0.037646 | 0.037646 | 0.98109 | -0.13206 | 0.98108 | -0.13212 | 13.9431
32 | 0.006814 | 0.0017065 | -0.0068037 | -0.0017046 | 1.0261e-05 | 1.8514e-06 | 0.010139 | 0.01014 | 0.01014 | 1 | 0 | 0.99845 | -0.010897 | 3.7554
33 | 0.020935 | 0.0052495 | -0.020914 | -0.0052418 | 2.129e-05 | 7.7618e-06 | 0.031754 | 0.031754 | 0.031754 | 0.98108 | -0.13212 | 0.98005 | -0.13947 | 11.7607
34 | 0.017307 | 0.0043378 | -0.017307 | -0.0043377 | 3.9724e-07 | 1.4117e-07 | 0.026277 | 0.026277 | 0.026277 | 0.98005 | -0.13947 | 0.98003 | -0.13963 | 9.7324
35 | 0.013975 | 0.0035027 | -0.013975 | -0.0035026 | 6.7882e-08 | 2.3064e-08 | 0.021219 | 0.021219 | 0.021219 | 0.98003 | -0.13963 | 0.98002 | -0.13967 | 7.8588
36 | 0.050764 | 0.012736 | -0.050757 | -0.012733 | 6.9594e-06 | 2.6535e-06 | 0.077446 | 0.077446 | 0.077446 | 0.97542 | -0.17237 | 0.97529 | -0.17336 | 28.6838
37 | 0.0109 | 0.0027319 | -0.010898 | -0.0027312 | 2.4876e-06 | 7.7616e-07 | 0.016613 | 0.016613 | 0.016613 | 0.97636 | -0.16569 | 0.97613 | -0.16734 | 6.1529
38 | 0.010646 | 0.0026684 | -0.010643 | -0.0026673 | 3.4434e-06 | 1.0584e-06 | 0.016165 | 0.016165 | 0.016165 | 0.98002 | -0.13967 | 0.9797 | -0.14201 | 5.9869
39 | 0.046794 | 0.01174 | -0.046792 | -0.011739 | 1.8256e-06 | 6.9498e-07 | 0.071399 | 0.071399 | 0.071399 | 0.97529 | -0.17336 | 0.97525 | -0.17364 | 26.4442
40 | 0.0073573 | 0.0018438 | -0.0073552 | -0.0018433 | 2.085e-06 | 4.6997e-07 | 0.011216 | 0.011216 | 0.011216 | 0.97613 | -0.16734 | 0.97584 | -0.16939 | 4.1539
41 | 0.0068037 | 0.0017046 | -0.006796 | -0.0017032 | 7.7649e-06 | 1.4055e-06 | 0.01014 | 0.01014 | 0.01014 | 0.99845 | -0.010897 | 0.99727 | -0.019149 | 3.7556
42 | 0.027182 | 0.0068144 | -0.027178 | -0.0068133 | 3.1486e-06 | 1.1747e-06 | 0.041558 | 0.041558 | 0.041558 | 0.97328 | -0.18773 | 0.97317 | -0.18857 | 15.3917
43 | -0.031036 | -0.0077804 | 0.031037 | 0.0077808 | 1.04e-06 | 3.9078e-07 | 0.04745 | 0.04745 | 0.04745 | 0.97328 | -0.18773 | 0.97332 | -0.18749 | 17.5742
44 | 0.023203 | 0.0058169 | -0.023191 | -0.0058123 | 1.233e-05 | 4.5475e-06 | 0.035479 | 0.035479 | 0.035479 | 0.97317 | -0.18857 | 0.97263 | -0.1924 | 13.1403
45 | -0.035126 | -0.0088057 | 0.035128 | 0.0088064 | 1.7955e-06 | 6.7818e-07 | 0.053702 | 0.053702 | 0.053702 | 0.97332 | -0.18749 | 0.97337 | -0.18712 | 19.8898
46 | 0.019612 | 0.0049154 | -0.019611 | -0.004915 | 9.8855e-07 | 3.5837e-07 | 0.030004 | 0.030004 | 0.030004 | 0.97263 | -0.1924 | 0.97258 | -0.19277 | 11.1125
47 | -0.038977 | -0.0097711 | 0.039034 | 0.0097924 | 5.6164e-05 | 2.1286e-05 | 0.059587 | 0.059586 | 0.059587 | 0.97337 | -0.18712 | 0.97482 | -0.17673 | 22.0691
48 | 0.01608 | 0.0040301 | -0.01608 | -0.00403 | 2.4636e-07 | 8.6658e-08 | 0.024602 | 0.024602 | 0.024602 | 0.97258 | -0.19277 | 0.97257 | -0.19288 | 9.1117
49 | -0.04272 | -0.010716 | 0.042738 | 0.010723 | 1.8298e-05 | 6.9519e-06 | 0.065213 | 0.065213 | 0.065213 | 0.97482 | -0.17673 | 0.97525 | -0.17364 | 24.1531
50 | 0.012501 | 0.0031331 | -0.012497 | -0.0031319 | 3.6947e-06 | 1.2202e-06 | 0.019126 | 0.019126 | 0.019126 | 0.97257 | -0.19288 | 0.97227 | -0.19501 | 7.0837
51 | 0.0096264 | 0.0024124 | -0.0096252 | -0.002412 | 1.226e-06 | 3.593e-07 | 0.014733 | 0.014733 | 0.014733 | 0.97227 | -0.19501 | 0.97214 | -0.19593 | 5.4566
52 | 0.0041017 | 0.0010279 | -0.0041016 | -0.0010279 | 1.2982e-07 | -1.651e-08 | 0.0062544 | 0.0062545 | 0.0062545 | 0.97584 | -0.16939 | 0.97581 | -0.16962 | 2.3165
53 | 0.0061987 | 0.0015533 | -0.0061987 | -0.0015533 | 5.0576e-08 | 8.2894e-09 | 0.009488 | 0.009488 | 0.009488 | 0.97214 | -0.19593 | 0.97214 | -0.19599 | 3.5141
54 | 0.0040084 | 0.0010044 | -0.004008 | -0.0010044 | 3.7974e-07 | -5.4357e-08 | 0.0061355 | 0.0061356 | 0.0061356 | 0.97214 | -0.19599 | 0.97204 | -0.19668 | 2.2724
55 | 0.0018915 | 0.00047396 | -0.0018914 | -0.00047404 | 4.1673e-08 | -8.2712e-08 | 0.0028955 | 0.0028955 | 0.0028955 | 0.97204 | -0.19668 | 0.97202 | -0.19684 | 1.0724

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.23817 | 0.060017

## res_load
| p_mw | q_mvar
0 | 0.0067392 | 0.001689
1 | 0.00053911 | 0.00013511
2 | 0.0019067 | 0.00047786
3 | 0.010382 | 0.0026021
4 | 0.0020753 | 0.00052012
5 | 0.0018377 | 0.00046058
6 | 0.0021354 | 0.00053519
7 | 0.0023882 | 0.00059853
8 | 0.0019157 | 0.00048012
9 | 0.0008004 | 0.0002006
10 | 0.032548 | 0.0081572
11 | 0.0010064 | 0.00025223
12 | 0.0047363 | 0.001187
13 | 0.0015462 | 0.0003875
14 | 0.003866 | 0.00096891
15 | 0.016247 | 0.004072
16 | 0.011961 | 0.0029977
17 | 0.0030147 | 0.00075555
18 | 0.011318 | 0.0028366
19 | 0.00085062 | 0.00021319
20 | 0.0092496 | 0.0023182
21 | 0.0063499 | 0.0015914
22 | 0.0029607 | 0.00074201
23 | 0.0038852 | 0.00097371
24 | 0.0036069 | 0.00090399
25 | 0.0033317 | 0.00083501
26 | 0.003789 | 0.00094961
27 | 0.0033287 | 0.00083426
28 | 0.0039632 | 0.00099328
29 | 0.0035406 | 0.00088736
30 | 0.006796 | 0.0017032
31 | 0.010643 | 0.0026673
32 | 0.0038543 | 0.00096598
33 | 0.0039756 | 0.00099638
34 | 0.0040895 | 0.0010249
35 | 0.0035787 | 0.00089692
36 | 0.0038491 | 0.00096467
37 | 0.003531 | 0.00088495
38 | 0.0036862 | 0.00092384
39 | 0.0035788 | 0.00089694
40 | 0.0040545 | 0.0010161
41 | 0.0028706 | 0.00071945
42 | 0.0032536 | 0.00081542
43 | 0.0041016 | 0.0010279
44 | 0.0034264 | 0.00085874
45 | 0.0021903 | 0.00054893
46 | 0.0021166 | 0.00053046
47 | 0.0018914 | 0.00047404

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1