## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1151-52_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1151-52_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1151-52_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1151-52_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1151-52_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1151-52_0_2_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_1151-52_0_2_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_1151-52_0_2_node_24 | 0.4 | n |  | TRUE
8 | bus_LV_1151-52_0_2_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1151-52_0_2_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1151-52_0_2_node_43 | 0.4 | n |  | TRUE
11 | bus_LV_1151-52_0_2_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_1151-52_0_2_node_56 | 0.4 | n |  | TRUE
13 | bus_LV_1151-52_0_2_node_53 | 0.4 | n |  | TRUE
14 | bus_LV_1151-52_0_2_node_41 | 0.4 | n |  | TRUE
15 | bus_LV_1151-52_0_2_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_1151-52_0_2_node_31 | 0.4 | n |  | TRUE
17 | bus_LV_1151-52_0_2_node_42 | 0.4 | n |  | TRUE
18 | bus_LV_1151-52_0_2_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_1151-52_0_2_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_1151-52_0_2_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_1151-52_0_2_node_50 | 0.4 | n |  | TRUE
22 | bus_LV_1151-52_0_2_node_49 | 0.4 | n |  | TRUE
23 | bus_LV_1151-52_0_2_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_1151-52_0_2_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_1151-52_0_2_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_1151-52_0_2_node_29 | 0.4 | n |  | TRUE
27 | bus_LV_1151-52_0_2_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_1151-52_0_2_node_65 | 0.4 | n |  | TRUE
29 | bus_LV_1151-52_0_2_node_48 | 0.4 | n |  | TRUE
30 | bus_LV_1151-52_0_2_node_54 | 0.4 | n |  | TRUE
31 | bus_LV_1151-52_0_2_node_66 | 0.4 | n |  | TRUE
32 | bus_LV_1151-52_0_2_node_52 | 0.4 | n |  | TRUE
33 | bus_LV_1151-52_0_2_node_67 | 0.4 | n |  | TRUE
34 | bus_MV_128_0_node_278 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1151-52_0_2_load_0 | 0 | 0.0096632 | 0.0024218 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1151-52_0_2_load_1 | 1 | 0.0025511 | 0.00063935 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1151-52_0_2_load_3 | 3 | 0.0031342 | 0.00078551 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1151-52_0_2_load_11 | 5 | 0.0029042 | 0.00072786 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1151-52_0_2_load_24 | 7 | 0.013601 | 0.0034087 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1151-52_0_2_load_43 | 10 | 0.0038777 | 0.00097184 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1151-52_0_2_load_56 | 12 | 0.0016861 | 0.00042257 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1151-52_0_2_load_53 | 13 | 0.012747 | 0.0031947 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1151-52_0_2_load_41 | 14 | 0.003922 | 0.00098294 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1151-52_0_2_load_16 | 15 | 0.0044473 | 0.0011146 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1151-52_0_2_load_42 | 17 | 0.0033242 | 0.00083312 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1151-52_0_2_load_21 | 18 | 0.002193 | 0.00054961 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1151-52_0_2_load_22 | 19 | 0.0018329 | 0.00045936 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1151-52_0_2_load_23 | 20 | 0.0022024 | 0.00055198 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1151-52_0_2_load_50 | 21 | 0.0019593 | 0.00049105 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1151-52_0_2_load_26 | 23 | 0.0012846 | 0.00032196 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1151-52_0_2_load_27 | 24 | 0.0017023 | 0.00042663 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1151-52_0_2_load_29 | 26 | 0.0018811 | 0.00047146 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1151-52_0_2_load_30 | 27 | 0.0018404 | 0.00046124 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1151-52_0_2_load_65 | 28 | 0.0015482 | 0.00038803 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1151-52_0_2_load_48 | 29 | 0.0023529 | 0.00058968 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1151-52_0_2_load_54 | 30 | 0.0025479 | 0.00063857 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1151-52_0_2_load_66 | 31 | 0.0017203 | 0.00043115 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1151-52_0_2_load_67 | 33 | 0.0018917 | 0.0004741 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1151-52_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.035666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1151-52_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.024865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1151-52_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0098286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1151-52_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.019527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1151-52_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.018672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1151-52_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.020039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1151-52_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.027604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1151-52_0_2_line_7 | NAYY 4x150 SE | 6 | 13 | 0.017035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1151-52_0_2_line_8 | NAYY 4x150 SE | 7 | 11 | 0.0024832 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1151-52_0_2_line_9 | NAYY 4x150 SE | 8 | 9 | 0.004369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1151-52_0_2_line_10 | NAYY 4x150 SE | 8 | 10 | 0.016486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1151-52_0_2_line_11 | NAYY 4x150 SE | 9 | 11 | 0.004105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1151-52_0_2_line_12 | NAYY 4x150 SE | 9 | 12 | 0.045362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1151-52_0_2_line_13 | NAYY 4x150 SE | 10 | 14 | 0.030236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1151-52_0_2_line_14 | NAYY 4x150 SE | 11 | 15 | 0.089772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1151-52_0_2_line_15 | NAYY 4x150 SE | 12 | 16 | 0.015818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1151-52_0_2_line_16 | NAYY 4x150 SE | 14 | 17 | 0.023748 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1151-52_0_2_line_17 | NAYY 4x150 SE | 16 | 30 | 0.018396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1151-52_0_2_line_18 | NAYY 4x150 SE | 16 | 25 | 0.007233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1151-52_0_2_line_19 | NAYY 4x150 SE | 18 | 19 | 0.015867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1151-52_0_2_line_20 | NAYY 4x150 SE | 19 | 20 | 0.013741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1151-52_0_2_line_21 | NAYY 4x150 SE | 20 | 21 | 0.0082352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1151-52_0_2_line_22 | NAYY 4x150 SE | 21 | 22 | 0.033185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1151-52_0_2_line_23 | NAYY 4x150 SE | 22 | 32 | 0.010671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1151-52_0_2_line_24 | NAYY 4x150 SE | 22 | 29 | 0.01939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1151-52_0_2_line_25 | NAYY 4x150 SE | 23 | 24 | 0.017999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1151-52_0_2_line_26 | NAYY 4x150 SE | 23 | 25 | 0.029648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1151-52_0_2_line_27 | NAYY 4x150 SE | 24 | 26 | 0.0012403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1151-52_0_2_line_28 | NAYY 4x150 SE | 25 | 27 | 0.041862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1151-52_0_2_line_29 | NAYY 4x150 SE | 26 | 28 | 0.02199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1151-52_0_2_line_30 | NAYY 4x150 SE | 27 | 29 | 0.00055106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1151-52_0_2_line_31 | NAYY 4x150 SE | 28 | 31 | 0.0020685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1151-52_0_2_line_32 | NAYY 4x150 SE | 32 | 33 | 0.005191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1151-52_0_2_trafo_5 | 0.25 MVA 20/0.4 kV | 34 | 8 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2641501.5072 | 1218561.9548 | 2641486.3355 | 1218560.0466 | 2641466.1772 | 1218557.0824
1 | 2641524.6379 | 1218555.8106 | 2641521.7048 | 1218558.5029 | 2641516.2374 | 1218561.1331 | 2641509.0816 | 1218562.0949 | 2641503.9273 | 1218562.2592 | 2641501.5072 | 1218561.9548
2 | 2641456.4532 | 1218555.6525 | 2641466.1772 | 1218557.0824
3 | 2641524.6379 | 1218555.8106 | 2641525.8272 | 1218552.8616 | 2641525.91 | 1218548.5929 | 2641524.568 | 1218545.1371 | 2641528.6422 | 1218543.1421 | 2641532.0843 | 1218541.4539
4 | 2641456.4532 | 1218555.6525 | 2641437.9796 | 1218552.936
5 | 2641532.0843 | 1218541.4539 | 2641537.1201 | 1218545.2246 | 2641539.4997 | 1218545.7303 | 2641542.5621 | 1218545.1624 | 2641550.2258 | 1218542.114
6 | 2641532.0843 | 1218541.4539 | 2641520.405 | 1218528.287 | 2641516.0202 | 1218522.5864 | 2641514.8936 | 1218520.0106
7 | 2641550.2258 | 1218542.114 | 2641559.4359 | 1218539.321 | 2641566.8304 | 1218538.8266
8 | 2641513.8986 | 1218517.7354 | 2641514.8936 | 1218520.0106
9 | 2641509.8265 | 1218518.3408 | 2641505.4465 | 1218518.4659
10 | 2641505.4465 | 1218518.4659 | 2641488.9651 | 1218518.0905
11 | 2641513.8986 | 1218517.7354 | 2641509.8265 | 1218518.3408
12 | 2641509.8265 | 1218518.3408 | 2641507.0006 | 1218509.994 | 2641505.7799 | 1218502.2031 | 2641505.5998 | 1218495.3644 | 2641507.4038 | 1218473.6158
13 | 2641458.737 | 1218517.4021 | 2641488.9651 | 1218518.0905
14 | 2641513.8986 | 1218517.7354 | 2641512.3821 | 1218514.2673 | 2641510.4298 | 1218507.9944 | 2641509.5289 | 1218497.8599 | 2641510.9485 | 1218468.3856 | 2641511.6521 | 1218465.4332 | 2641513.0298 | 1218462.6745 | 2641515.1861 | 1218460.3659 | 2641518.8102 | 1218457.6228 | 2641521.245 | 1218456.7281 | 2641544.5615 | 1218456.9188
15 | 2641511.6005 | 1218458.6733 | 2641509.3065 | 1218462.2261 | 2641507.8947 | 1218467.6973 | 2641507.4038 | 1218473.6158
16 | 2641458.737 | 1218517.4021 | 2641456.245 | 1218517.3453 | 2641439.3778 | 1218517.8728 | 2641434.9985 | 1218517.7985
17 | 2641511.6005 | 1218458.6733 | 2641517.2558 | 1218454.1433 | 2641524.5776 | 1218452.2487 | 2641528.1642 | 1218452.3062
18 | 2641505.7102 | 1218454.452 | 2641511.6005 | 1218458.6733
19 | 2641449.7697 | 1218390.7175 | 2641433.9156 | 1218390.0773
20 | 2641449.7697 | 1218390.7175 | 2641463.4996 | 1218391.2719
21 | 2641471.7281 | 1218391.6042 | 2641463.4996 | 1218391.2719
22 | 2641504.8862 | 1218392.9431 | 2641471.7281 | 1218391.6042
23 | 2641505.3551 | 1218382.2845 | 2641504.8862 | 1218392.9431
24 | 2641504.8862 | 1218392.9431 | 2641505.4291 | 1218397.8164 | 2641507.1246 | 1218412.2036
25 | 2641458.3035 | 1218452.2281 | 2641476.2785 | 1218453.1519
26 | 2641505.7102 | 1218454.452 | 2641503.3478 | 1218453.6573 | 2641500.8084 | 1218453.2172 | 2641497.3933 | 1218453.1934 | 2641493.5951 | 1218453.6895 | 2641487.9178 | 1218453.75 | 2641476.2785 | 1218453.1519
27 | 2641458.3035 | 1218452.2281 | 2641457.0648 | 1218452.1645
28 | 2641505.7102 | 1218454.452 | 2641506.3475 | 1218450.1205 | 2641508.1781 | 1218423.7398 | 2641507.973 | 1218419.4025 | 2641507.1891 | 1218412.7509
29 | 2641435.1196 | 1218450.7753 | 2641448.3835 | 1218451.7184 | 2641457.0648 | 1218452.1645
30 | 2641507.1891 | 1218412.7509 | 2641507.1246 | 1218412.2036
31 | 2641433.0563 | 1218450.6286 | 2641435.1196 | 1218450.7753
32 | 2641505.3551 | 1218382.2845 | 2641510.5615 | 1218382.2874

## bus_geodata
| x | y | coords
0 | 2641501.5072 | 1218561.9548
1 | 2641466.1772 | 1218557.0824
2 | 2641524.6379 | 1218555.8106
3 | 2641456.4532 | 1218555.6525
4 | 2641532.0843 | 1218541.4539
5 | 2641437.9796 | 1218552.936
6 | 2641550.2258 | 1218542.114
7 | 2641514.8936 | 1218520.0106
8 | 2641505.4465 | 1218518.4659
9 | 2641509.8265 | 1218518.3408
10 | 2641488.9651 | 1218518.0905
11 | 2641513.8986 | 1218517.7354
12 | 2641507.4038 | 1218473.6158
13 | 2641566.8304 | 1218538.8266
14 | 2641458.737 | 1218517.4021
15 | 2641544.5615 | 1218456.9188
16 | 2641511.6005 | 1218458.6733
17 | 2641434.9985 | 1218517.7985
18 | 2641433.9156 | 1218390.0774
19 | 2641449.7697 | 1218390.7175
20 | 2641463.4996 | 1218391.2719
21 | 2641471.7281 | 1218391.6042
22 | 2641504.8862 | 1218392.9431
23 | 2641476.2785 | 1218453.1519
24 | 2641458.3035 | 1218452.2281
25 | 2641505.7102 | 1218454.452
26 | 2641457.0648 | 1218452.1645
27 | 2641507.1891 | 1218412.7509
28 | 2641435.1196 | 1218450.7753
29 | 2641507.1246 | 1218412.2036
30 | 2641528.1642 | 1218452.3062
31 | 2641433.0563 | 1218450.6286
32 | 2641505.3551 | 1218382.2845
33 | 2641510.5615 | 1218382.2874
34 | 2641509.8265 | 1218518.3408

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9967 | -0.02313 | 0.0096632 | 0.0024218
1 | 0.99626 | -0.026211 | 0.0025511 | 0.00063935
2 | 0.99735 | -0.018572 | 0 | 0
3 | 0.99618 | -0.026808 | 0.0031342 | 0.00078551
4 | 0.99786 | -0.014996 | 0 | 0
5 | 0.9961 | -0.027354 | 0.0029042 | 0.00072786
6 | 0.99749 | -0.017558 | 0 | 0
7 | 0.99908 | -0.0064251 | 0.013601 | 0.0034087
8 | 1 | 0 | -0.087835 | -0.021834
9 | 0.99953 | -0.0033045 | 0 | 0
10 | 0.99974 | -0.0018317 | 0.0038777 | 0.00097184
11 | 0.99924 | -0.0053175 | 0 | 0
12 | 0.9978 | -0.015412 | 0.0016861 | 0.00042257
13 | 0.99718 | -0.019737 | 0.012747 | 0.0031947
14 | 0.99943 | -0.0040213 | 0.003922 | 0.00098294
15 | 0.99867 | -0.0093143 | 0.0044473 | 0.0011146
16 | 0.99723 | -0.019375 | 0 | 0
17 | 0.99931 | -0.0048105 | 0.0033242 | 0.00083312
18 | 0.99526 | -0.033212 | 0.002193 | 0.00054961
19 | 0.99531 | -0.032862 | 0.0018329 | 0.00045936
20 | 0.99539 | -0.032304 | 0.0022024 | 0.00055198
21 | 0.99547 | -0.031787 | 0.0019593 | 0.00049105
22 | 0.99586 | -0.02905 | 0 | 0
23 | 0.99666 | -0.023428 | 0.0012846 | 0.00032196
24 | 0.99648 | -0.024668 | 0.0017023 | 0.00042663
25 | 0.997 | -0.021004 | 0 | 0
26 | 0.99647 | -0.024733 | 0.0018811 | 0.00047146
27 | 0.99615 | -0.027013 | 0.0018404 | 0.00046124
28 | 0.99637 | -0.025455 | 0.0015482 | 0.00038803
29 | 0.99614 | -0.027082 | 0.0023529 | 0.00058968
30 | 0.99717 | -0.019846 | 0.0025479 | 0.00063857
31 | 0.99636 | -0.025491 | 0.0017203 | 0.00043115
32 | 0.99583 | -0.029253 | 0 | 0
33 | 0.99581 | -0.029352 | 0.0018917 | 0.0004741
34 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0085938 | 0.0021536 | -0.0085902 | -0.0021526 | 3.6636e-06 | 9.4444e-07 | 0.01283 | 0.01283 | 0.01283 | 0.9967 | -0.02313 | 0.99626 | -0.026211 | 4.7519
1 | -0.018257 | -0.0045754 | 0.018269 | 0.0045795 | 1.1527e-05 | 4.1091e-06 | 0.027257 | 0.027257 | 0.027257 | 0.9967 | -0.02313 | 0.99735 | -0.018572 | 10.0951
2 | 0.0060391 | 0.0015133 | -0.0060386 | -0.0015132 | 4.9898e-07 | 6.3946e-08 | 0.0090199 | 0.00902 | 0.00902 | 0.99626 | -0.026211 | 0.99618 | -0.026808 | 3.3407
3 | -0.018269 | -0.0045795 | 0.018278 | 0.0045827 | 9.0522e-06 | 3.2267e-06 | 0.027257 | 0.027256 | 0.027257 | 0.99735 | -0.018572 | 0.99786 | -0.014996 | 10.095
4 | 0.0029044 | 0.0007277 | -0.0029042 | -0.00072786 | 2.193e-07 | -1.5873e-07 | 0.0043383 | 0.0043384 | 0.0043384 | 0.99618 | -0.026808 | 0.9961 | -0.027354 | 1.6068
5 | 0.012755 | 0.0031974 | -0.012751 | -0.003196 | 4.5242e-06 | 1.4784e-06 | 0.019021 | 0.019021 | 0.019021 | 0.99786 | -0.014996 | 0.99749 | -0.017558 | 7.0449
6 | -0.031033 | -0.0077802 | 0.03107 | 0.007794 | 3.6889e-05 | 1.3827e-05 | 0.046278 | 0.046278 | 0.046278 | 0.99786 | -0.014996 | 0.99908 | -0.0064251 | 17.1399
7 | 0.012751 | 0.003196 | -0.012747 | -0.0031947 | 3.8461e-06 | 1.257e-06 | 0.019021 | 0.019021 | 0.019021 | 0.99749 | -0.017558 | 0.99718 | -0.019737 | 7.045
8 | -0.044671 | -0.011203 | 0.044678 | 0.011205 | 6.8596e-06 | 2.6058e-06 | 0.066535 | 0.066535 | 0.066535 | 0.99908 | -0.0064251 | 0.99924 | -0.0053175 | 24.6425
9 | 0.075906 | 0.019045 | -0.075871 | -0.019032 | 3.4785e-05 | 1.3322e-05 | 0.11296 | 0.11296 | 0.11296 | 1 | 0 | 0.99953 | -0.0033045 | 41.8358
10 | 0.011129 | 0.002789 | -0.011126 | -0.0027882 | 2.8212e-06 | 8.6886e-07 | 0.01656 | 0.016561 | 0.016561 | 1 | 0 | 0.99974 | -0.0018317 | 6.1335
11 | 0.049141 | 0.012325 | -0.049128 | -0.01232 | 1.3711e-05 | 5.2195e-06 | 0.073161 | 0.073161 | 0.073161 | 0.99953 | -0.0033045 | 0.99924 | -0.0053175 | 27.0966
12 | 0.02673 | 0.0067068 | -0.026685 | -0.0066901 | 4.4829e-05 | 1.6649e-05 | 0.039796 | 0.039796 | 0.039796 | 0.99953 | -0.0033045 | 0.9978 | -0.015412 | 14.7394
13 | 0.0072487 | 0.0018163 | -0.0072466 | -0.0018159 | 2.1962e-06 | 4.4835e-07 | 0.010789 | 0.010789 | 0.010789 | 0.99974 | -0.0018317 | 0.99943 | -0.0040213 | 3.996
14 | 0.0044498 | 0.0011144 | -0.0044473 | -0.0011146 | 2.4596e-06 | -2.2928e-07 | 0.0066261 | 0.0066265 | 0.0066265 | 0.99924 | -0.0053175 | 0.99867 | -0.0093143 | 2.4543
15 | 0.024999 | 0.0062676 | -0.024985 | -0.0062625 | 1.372e-05 | 5.0703e-06 | 0.037282 | 0.037282 | 0.037282 | 0.9978 | -0.015412 | 0.99723 | -0.019375 | 13.8081
16 | 0.0033246 | 0.00083295 | -0.0033242 | -0.00083312 | 3.6307e-07 | -1.7152e-07 | 0.0049497 | 0.0049499 | 0.0049499 | 0.99943 | -0.0040213 | 0.99931 | -0.0048105 | 1.8333
17 | 0.0025481 | 0.00063839 | -0.0025479 | -0.00063857 | 1.6594e-07 | -1.7617e-07 | 0.003802 | 0.0038021 | 0.0038021 | 0.99723 | -0.019375 | 0.99717 | -0.019846 | 1.4082
18 | 0.022437 | 0.0056241 | -0.022432 | -0.0056222 | 5.0591e-06 | 1.8515e-06 | 0.03348 | 0.03348 | 0.03348 | 0.99723 | -0.019375 | 0.997 | -0.021004 | 12.4
19 | -0.002193 | -0.00054961 | 0.0021931 | 0.00054945 | 1.0643e-07 | -1.6527e-07 | 0.0032787 | 0.0032787 | 0.0032787 | 0.99526 | -0.033212 | 0.99531 | -0.032862 | 1.2143
20 | -0.004026 | -0.0010088 | 0.0040263 | 0.0010088 | 3.1062e-07 | -5.9133e-08 | 0.0060189 | 0.0060188 | 0.0060189 | 0.99531 | -0.032862 | 0.99539 | -0.032304 | 2.2292
21 | -0.0062287 | -0.0015607 | 0.0062292 | 0.0015608 | 4.4553e-07 | 6.4301e-08 | 0.0093112 | 0.0093112 | 0.0093112 | 0.99539 | -0.032304 | 0.99547 | -0.031787 | 3.4486
22 | -0.0081885 | -0.0020518 | 0.0081916 | 0.0020526 | 3.1023e-06 | 7.6159e-07 | 0.01224 | 0.01224 | 0.01224 | 0.99547 | -0.031787 | 0.99586 | -0.02905 | 4.5333
23 | 0.0018918 | 0.00047392 | -0.0018917 | -0.00047404 | 5.3202e-08 | -1.1837e-07 | 0.0028266 | 0.0028266 | 0.0028266 | 0.99586 | -0.02905 | 0.99583 | -0.029253 | 1.0469
24 | -0.010083 | -0.0025265 | 0.010086 | 0.0025273 | 2.7465e-06 | 8.04e-07 | 0.015066 | 0.015066 | 0.015066 | 0.99586 | -0.02905 | 0.99614 | -0.027082 | 5.5801
25 | 0.0068535 | 0.0017173 | -0.0068523 | -0.0017171 | 1.1759e-06 | 2.1776e-07 | 0.010232 | 0.010232 | 0.010232 | 0.99666 | -0.023428 | 0.99648 | -0.024668 | 3.7897
26 | -0.0081382 | -0.0020393 | 0.0081409 | 0.0020399 | 2.7311e-06 | 6.6393e-07 | 0.01215 | 0.01215 | 0.01215 | 0.99666 | -0.023428 | 0.997 | -0.021004 | 4.5001
27 | 0.0051501 | 0.0012904 | -0.00515 | -0.0012904 | 4.5771e-08 | 1.4474e-09 | 0.0076904 | 0.0076904 | 0.0076904 | 0.99648 | -0.024668 | 0.99647 | -0.024733 | 2.8483
28 | 0.014291 | 0.0035823 | -0.014279 | -0.0035783 | 1.1885e-05 | 4.0256e-06 | 0.02133 | 0.02133 | 0.02133 | 0.997 | -0.021004 | 0.99615 | -0.027013 | 7.9
29 | 0.0032689 | 0.00081899 | -0.0032685 | -0.00081915 | 3.2695e-07 | -1.6068e-07 | 0.0048813 | 0.0048814 | 0.0048814 | 0.99647 | -0.024733 | 0.99637 | -0.025455 | 1.8079
30 | 0.012439 | 0.0031171 | -0.012439 | -0.003117 | 1.1872e-07 | 3.8487e-08 | 0.018581 | 0.018581 | 0.018581 | 0.99615 | -0.027013 | 0.99614 | -0.027082 | 6.8818
31 | 0.0017203 | 0.00043112 | -0.0017203 | -0.00043115 | 8.5198e-09 | -2.3664e-08 | 0.0025692 | 0.0025692 | 0.0025692 | 0.99637 | -0.025455 | 0.99636 | -0.025491 | 0.95155
32 | 0.0018917 | 0.00047404 | -0.0018917 | -0.0004741 | 2.5881e-08 | -5.758e-08 | 0.0028266 | 0.0028267 | 0.0028267 | 0.99583 | -0.029253 | 0.99581 | -0.029352 | 1.0469

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.087835 | 0.021834

## res_load
| p_mw | q_mvar
0 | 0.0096632 | 0.0024218
1 | 0.0025511 | 0.00063935
2 | 0.0031342 | 0.00078551
3 | 0.0029042 | 0.00072786
4 | 0.013601 | 0.0034087
5 | 0.0038777 | 0.00097184
6 | 0.0016861 | 0.00042257
7 | 0.012747 | 0.0031947
8 | 0.003922 | 0.00098294
9 | 0.0044473 | 0.0011146
10 | 0.0033242 | 0.00083312
11 | 0.002193 | 0.00054961
12 | 0.0018329 | 0.00045936
13 | 0.0022024 | 0.00055198
14 | 0.0019593 | 0.00049105
15 | 0.0012846 | 0.00032196
16 | 0.0017023 | 0.00042663
17 | 0.0018811 | 0.00047146
18 | 0.0018404 | 0.00046124
19 | 0.0015482 | 0.00038803
20 | 0.0023529 | 0.00058968
21 | 0.0025479 | 0.00063857
22 | 0.0017203 | 0.00043115
23 | 0.0018917 | 0.0004741

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1