## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1151-52_1_2_node_8 | 0.4 | n |  | TRUE
1 | bus_LV_1151-52_1_2_node_19 | 0.4 | n |  | TRUE
2 | bus_LV_1151-52_1_2_node_15 | 0.4 | n |  | TRUE
3 | bus_LV_1151-52_1_2_node_18 | 0.4 | n |  | TRUE
4 | bus_LV_1151-52_1_2_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_1151-52_1_2_node_20 | 0.4 | n |  | TRUE
6 | bus_LV_1151-52_1_2_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_1151-52_1_2_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_1151-52_1_2_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_1151-52_1_2_node_32 | 0.4 | n |  | TRUE
10 | bus_LV_1151-52_1_2_node_55 | 0.4 | n |  | TRUE
11 | bus_LV_1151-52_1_2_node_33 | 0.4 | n |  | TRUE
12 | bus_LV_1151-52_1_2_node_34 | 0.4 | n |  | TRUE
13 | bus_LV_1151-52_1_2_node_35 | 0.4 | n |  | TRUE
14 | bus_LV_1151-52_1_2_node_36 | 0.4 | n |  | TRUE
15 | bus_LV_1151-52_1_2_node_37 | 0.4 | n |  | TRUE
16 | bus_LV_1151-52_1_2_node_38 | 0.4 | n |  | TRUE
17 | bus_LV_1151-52_1_2_node_39 | 0.4 | n |  | TRUE
18 | bus_LV_1151-52_1_2_node_40 | 0.4 | n |  | TRUE
19 | bus_LV_1151-52_1_2_node_45 | 0.4 | n |  | TRUE
20 | bus_LV_1151-52_1_2_node_57 | 0.4 | n |  | TRUE
21 | bus_LV_1151-52_1_2_node_44 | 0.4 | n |  | TRUE
22 | bus_LV_1151-52_1_2_node_46 | 0.4 | n |  | TRUE
23 | bus_LV_1151-52_1_2_node_47 | 0.4 | n |  | TRUE
24 | bus_LV_1151-52_1_2_node_59 | 0.4 | n |  | TRUE
25 | bus_LV_1151-52_1_2_node_51 | 0.4 | n |  | TRUE
26 | bus_LV_1151-52_1_2_node_61 | 0.4 | n |  | TRUE
27 | bus_LV_1151-52_1_2_node_58 | 0.4 | n |  | TRUE
28 | bus_LV_1151-52_1_2_node_60 | 0.4 | n |  | TRUE
29 | bus_LV_1151-52_1_2_node_64 | 0.4 | n |  | TRUE
30 | bus_LV_1151-52_1_2_node_62 | 0.4 | n |  | TRUE
31 | bus_LV_1151-52_1_2_node_63 | 0.4 | n |  | TRUE
32 | bus_MV_0_node_13 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1151-52_1_2_load_19 | 1 | 0.0026633 | 0.00066748 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1151-52_1_2_load_15 | 2 | 0.0076613 | 0.0019201 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1151-52_1_2_load_18 | 3 | 0.0022264 | 0.00055799 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1151-52_1_2_load_20 | 5 | 0.0024686 | 0.00061869 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1151-52_1_2_load_13 | 6 | 0.0057697 | 0.001446 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1151-52_1_2_load_14 | 7 | 0.0044873 | 0.0011246 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1151-52_1_2_load_17 | 8 | 0.0067581 | 0.0016937 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1151-52_1_2_load_32 | 9 | 0.0042616 | 0.001068 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1151-52_1_2_load_55 | 10 | 0.0025447 | 0.00063777 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1151-52_1_2_load_33 | 11 | 0.002169 | 0.00054361 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1151-52_1_2_load_34 | 12 | 0.0020893 | 0.00052362 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1151-52_1_2_load_35 | 13 | 0.00054389 | 0.00013631 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1151-52_1_2_load_38 | 16 | 0.0021017 | 0.00052673 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1151-52_1_2_load_39 | 17 | 0.0022761 | 0.00057044 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1151-52_1_2_load_45 | 19 | 0.00036783 | 9.2187e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1151-52_1_2_load_57 | 20 | 0.00083263 | 0.00020868 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1151-52_1_2_load_44 | 21 | 0.00043168 | 0.00010819 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1151-52_1_2_load_46 | 22 | 0.0028985 | 0.00072643 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1151-52_1_2_load_47 | 23 | 0.0004328 | 0.00010847 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1151-52_1_2_load_59 | 24 | 0.0018257 | 0.00045755 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1151-52_1_2_load_51 | 25 | 0.0015305 | 0.00038359 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1151-52_1_2_load_61 | 26 | 0.0013741 | 0.00034438 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1151-52_1_2_load_58 | 27 | 0.0010738 | 0.00026913 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1151-52_1_2_load_60 | 28 | 0.00032508 | 8.1473e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1151-52_1_2_load_64 | 29 | 0.0012865 | 0.00032243 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1151-52_1_2_load_62 | 30 | 0.0014695 | 0.00036828 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1151-52_1_2_load_63 | 31 | 0.0017789 | 0.00044582 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1151-52_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.063553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1151-52_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.003504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1151-52_1_2_line_2 | NAYY 4x150 SE | 0 | 3 | 0.0033775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1151-52_1_2_line_3 | NAYY 4x150 SE | 1 | 9 | 0.031195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1151-52_1_2_line_4 | NAYY 4x150 SE | 2 | 8 | 0.067086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1151-52_1_2_line_5 | NAYY 4x150 SE | 2 | 6 | 0.080337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1151-52_1_2_line_6 | NAYY 4x150 SE | 3 | 4 | 0.035425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1151-52_1_2_line_7 | NAYY 4x150 SE | 4 | 5 | 0.039567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1151-52_1_2_line_8 | NAYY 4x150 SE | 5 | 10 | 0.032385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1151-52_1_2_line_9 | NAYY 4x150 SE | 6 | 7 | 0.039851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1151-52_1_2_line_10 | NAYY 4x150 SE | 9 | 11 | 0.027585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1151-52_1_2_line_11 | NAYY 4x150 SE | 10 | 16 | 0.033894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1151-52_1_2_line_12 | NAYY 4x150 SE | 11 | 12 | 0.030319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1151-52_1_2_line_13 | NAYY 4x150 SE | 13 | 14 | 0.013154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1151-52_1_2_line_14 | NAYY 4x150 SE | 13 | 15 | 0.0033889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1151-52_1_2_line_15 | NAYY 4x150 SE | 14 | 16 | 0.014336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1151-52_1_2_line_16 | NAYY 4x150 SE | 14 | 17 | 0.032755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1151-52_1_2_line_17 | NAYY 4x150 SE | 15 | 18 | 0.15862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1151-52_1_2_line_18 | NAYY 4x150 SE | 17 | 19 | 0.001073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1151-52_1_2_line_19 | NAYY 4x150 SE | 18 | 20 | 0.070872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1151-52_1_2_line_20 | NAYY 4x150 SE | 19 | 21 | 0.021165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1151-52_1_2_line_21 | NAYY 4x150 SE | 20 | 27 | 0.018511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1151-52_1_2_line_22 | NAYY 4x150 SE | 21 | 22 | 0.0015124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1151-52_1_2_line_23 | NAYY 4x150 SE | 22 | 23 | 0.021977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1151-52_1_2_line_24 | NAYY 4x150 SE | 23 | 24 | 0.00080097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1151-52_1_2_line_25 | NAYY 4x150 SE | 24 | 28 | 0.022154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1151-52_1_2_line_26 | NAYY 4x150 SE | 25 | 26 | 0.00073881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1151-52_1_2_line_27 | NAYY 4x150 SE | 26 | 30 | 0.021494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1151-52_1_2_line_28 | NAYY 4x150 SE | 28 | 29 | 0.001413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1151-52_1_2_line_29 | NAYY 4x150 SE | 29 | 31 | 0.02072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1151-52_1_2_line_30 | NAYY 4x150 SE | 30 | 31 | 0.00096609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1151-52_1_2_trafo_13 | 0.25 MVA 20/0.4 kV | 32 | 6 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2641662.079 | 1218509.2748 | 2641662.1671 | 1218496.6791 | 2641662.7378 | 1218469.3113 | 2641662.0183 | 1218463.6695 | 2641660.8021 | 1218460.6815 | 2641657.6009 | 1218457.2015 | 2641653.3888 | 1218455.0375 | 2641648.2105 | 1218454.5053
1 | 2641662.079 | 1218509.2748 | 2641658.5649 | 1218509.3059
2 | 2641662.079 | 1218509.2748 | 2641665.4564 | 1218509.254
3 | 2641648.2105 | 1218454.5053 | 2641645.0312 | 1218454.1786 | 2641617.0357 | 1218453.7301
4 | 2641658.5649 | 1218509.3059 | 2641658.2923 | 1218514.6516 | 2641657.3459 | 1218518.6696 | 2641654.495 | 1218522.6298 | 2641651.5132 | 1218524.688 | 2641631.76 | 1218532.0211 | 2641620.5084 | 1218534.7997 | 2641607.3165 | 1218536.1196 | 2641604.1389 | 1218536.332
5 | 2641658.5649 | 1218509.3059 | 2641659.5197 | 1218471.5123 | 2641658.6315 | 1218466.114 | 2641657.1482 | 1218463.3464 | 2641655.1672 | 1218461.198 | 2641652.5981 | 1218459.5791 | 2641648.912 | 1218458.1525 | 2641641.7203 | 1218457.7131 | 2641624.9173 | 1218457.5758
6 | 2641693.7674 | 1218515.3777 | 2641682.5058 | 1218516.3329 | 2641671.9933 | 1218518.6719 | 2641668.9528 | 1218518.2726 | 2641667.0648 | 1218516.9364 | 2641666.1726 | 1218515.3737 | 2641665.7612 | 1218513.4252 | 2641665.4564 | 1218509.254
7 | 2641693.7674 | 1218515.3777 | 2641693.7644 | 1218475.8106
8 | 2641693.7619 | 1218443.4252 | 2641693.7644 | 1218475.8106
9 | 2641585.0676 | 1218457.25 | 2641624.9173 | 1218457.5758
10 | 2641589.4538 | 1218453.2881 | 2641617.0357 | 1218453.7301
11 | 2641693.7619 | 1218443.4252 | 2641693.7592 | 1218409.5312
12 | 2641589.4538 | 1218453.2881 | 2641559.1388 | 1218452.8024
13 | 2641693.7581 | 1218395.1951 | 2641694.2337 | 1218382.5465 | 2641694.3618 | 1218382.0672
14 | 2641695.8293 | 1218379.0334 | 2641694.5688 | 1218381.2925 | 2641694.3618 | 1218382.0672
15 | 2641693.7581 | 1218395.1951 | 2641693.7592 | 1218409.5312
16 | 2641693.7581 | 1218395.1951 | 2641661.0054 | 1218394.8046
17 | 2641695.8293 | 1218379.0334 | 2641695.2048 | 1218377.1723 | 2641694.6297 | 1218374.7558 | 2641694.1524 | 1218371.3838 | 2641693.7974 | 1218364.6217 | 2641694.0227 | 1218220.6601
18 | 2641659.9325 | 1218394.7918 | 2641661.0054 | 1218394.8046
19 | 2641694.0227 | 1218220.6601 | 2641690.1464 | 1218210.6048 | 2641686.0218 | 1218202.4044 | 2641682.1626 | 1218196.3961 | 2641679.6894 | 1218192.9879 | 2641676.6463 | 1218189.6758 | 2641673.5994 | 1218186.9084 | 2641669.5282 | 1218184.1005 | 2641665.3926 | 1218181.8036 | 2641662.4483 | 1218180.6379 | 2641658.2034 | 1218179.8745 | 2641653.3934 | 1218179.5962 | 2641644.4325 | 1218180.1182
20 | 2641638.7685 | 1218394.5395 | 2641659.9325 | 1218394.7918
21 | 2641625.9528 | 1218181.1945 | 2641644.4325 | 1218180.1182
22 | 2641638.7685 | 1218394.5395 | 2641637.2563 | 1218394.5214
23 | 2641615.2807 | 1218394.2594 | 2641637.2563 | 1218394.5214
24 | 2641615.2807 | 1218394.2594 | 2641614.4798 | 1218394.2498
25 | 2641592.3275 | 1218393.9857 | 2641614.4798 | 1218394.2498
26 | 2641547.738 | 1218393.454 | 2641546.9992 | 1218393.4452
27 | 2641569.2301 | 1218393.7103 | 2641547.738 | 1218393.454
28 | 2641592.3275 | 1218393.9857 | 2641590.9146 | 1218393.9689
29 | 2641590.9146 | 1218393.9689 | 2641570.1961 | 1218393.7218
30 | 2641570.1961 | 1218393.7218 | 2641569.2301 | 1218393.7103

## bus_geodata
| x | y | coords
0 | 2641662.079 | 1218509.2748
1 | 2641648.2105 | 1218454.5053
2 | 2641658.5649 | 1218509.3059
3 | 2641665.4564 | 1218509.254
4 | 2641693.7674 | 1218515.3777
5 | 2641693.7644 | 1218475.8106
6 | 2641624.9173 | 1218457.5758
7 | 2641585.0676 | 1218457.25
8 | 2641604.1389 | 1218536.332
9 | 2641617.0357 | 1218453.7301
10 | 2641693.7619 | 1218443.4252
11 | 2641589.4538 | 1218453.2881
12 | 2641559.1388 | 1218452.8024
13 | 2641694.3618 | 1218382.0672
14 | 2641693.7581 | 1218395.1951
15 | 2641695.8293 | 1218379.0334
16 | 2641693.7592 | 1218409.5312
17 | 2641661.0054 | 1218394.8046
18 | 2641694.0227 | 1218220.6601
19 | 2641659.9325 | 1218394.7918
20 | 2641644.4325 | 1218180.1182
21 | 2641638.7685 | 1218394.5395
22 | 2641637.2563 | 1218394.5214
23 | 2641615.2807 | 1218394.2594
24 | 2641614.4798 | 1218394.2498
25 | 2641546.9992 | 1218393.4452
26 | 2641547.738 | 1218393.454
27 | 2641625.9528 | 1218181.1945
28 | 2641592.3275 | 1218393.9857
29 | 2641590.9146 | 1218393.9689
30 | 2641569.2301 | 1218393.7103
31 | 2641570.1961 | 1218393.7218
32 | 2641624.9173 | 1218457.5758

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99363 | -0.044521 | 0 | 0
1 | 0.99261 | -0.051721 | 0.0026633 | 0.00066748
2 | 0.99383 | -0.043139 | 0.0076613 | 0.0019201
3 | 0.9935 | -0.045472 | 0.0022264 | 0.00055799
4 | 0.99219 | -0.054659 | 0 | 0
5 | 0.99073 | -0.064948 | 0.0024686 | 0.00061869
6 | 1 | 0 | -0.05918 | -0.014687
7 | 0.99975 | -0.001786 | 0.0044873 | 0.0011246
8 | 0.99318 | -0.047725 | 0.0067581 | 0.0016937
9 | 0.99223 | -0.054416 | 0.0042616 | 0.001068
10 | 0.98965 | -0.072576 | 0.0025447 | 0.00063777
11 | 0.99206 | -0.055608 | 0.002169 | 0.00054361
12 | 0.99197 | -0.056251 | 0.0020893 | 0.00052362
13 | 0.98821 | -0.082736 | 0.00054389 | 0.00013631
14 | 0.98826 | -0.082403 | 0 | 0
15 | 0.98821 | -0.082802 | 0 | 0
16 | 0.98864 | -0.079696 | 0.0021017 | 0.00052673
17 | 0.9875 | -0.087766 | 0.0022761 | 0.00057044
18 | 0.98777 | -0.08592 | 0 | 0
19 | 0.98748 | -0.087917 | 0.00036783 | 9.2187e-05
20 | 0.98757 | -0.087307 | 0.00083263 | 0.00020868
21 | 0.98707 | -0.090813 | 0.00043168 | 0.00010819
22 | 0.98705 | -0.091013 | 0.0028985 | 0.00072643
23 | 0.98673 | -0.093272 | 0.0004328 | 0.00010847
24 | 0.98672 | -0.093351 | 0.0018257 | 0.00045755
25 | 0.98617 | -0.097228 | 0.0015305 | 0.00038359
26 | 0.98617 | -0.097216 | 0.0013741 | 0.00034438
27 | 0.98755 | -0.08751 | 0.0010738 | 0.00026913
28 | 0.98647 | -0.095116 | 0.00032508 | 8.1473e-05
29 | 0.98645 | -0.095224 | 0.0012865 | 0.00032243
30 | 0.98626 | -0.096575 | 0.0014695 | 0.00036828
31 | 0.98627 | -0.096532 | 0.0017789 | 0.00044582
32 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.011198 | 0.0028066 | -0.011187 | -0.0028032 | 1.1153e-05 | 3.4674e-06 | 0.01677 | 0.01677 | 0.01677 | 0.99363 | -0.044521 | 0.99261 | -0.051721 | 6.2113
1 | -0.039138 | -0.0098218 | 0.039145 | 0.0098246 | 7.5123e-06 | 2.844e-06 | 0.058616 | 0.058616 | 0.058616 | 0.99363 | -0.044521 | 0.99383 | -0.043139 | 21.7095
2 | 0.02794 | 0.0070152 | -0.027936 | -0.0070138 | 3.6904e-06 | 1.3756e-06 | 0.041846 | 0.041846 | 0.041846 | 0.99363 | -0.044521 | 0.9935 | -0.045472 | 15.4983
3 | 0.0085239 | 0.0021357 | -0.0085207 | -0.0021349 | 3.1783e-06 | 8.1935e-07 | 0.012778 | 0.012778 | 0.012778 | 0.99261 | -0.051721 | 0.99223 | -0.054416 | 4.7326
4 | 0.0067624 | 0.0016945 | -0.0067581 | -0.0016937 | 4.2916e-06 | 7.8189e-07 | 0.010125 | 0.010125 | 0.010125 | 0.99383 | -0.043139 | 0.99318 | -0.047725 | 3.7501
5 | -0.053569 | -0.013439 | 0.053892 | 0.013562 | 0.00032253 | 0.000123 | 0.080211 | 0.080211 | 0.080211 | 0.99383 | -0.043139 | 1 | 0 | 29.708
6 | 0.025709 | 0.0064558 | -0.025677 | -0.0064437 | 3.2784e-05 | 1.2151e-05 | 0.038511 | 0.038511 | 0.038511 | 0.9935 | -0.045472 | 0.99219 | -0.054659 | 14.2634
7 | 0.025677 | 0.0064436 | -0.02564 | -0.0064301 | 3.6618e-05 | 1.3574e-05 | 0.038511 | 0.038511 | 0.038511 | 0.99219 | -0.054659 | 0.99073 | -0.064948 | 14.2634
8 | 0.023171 | 0.0058114 | -0.023147 | -0.0058024 | 2.4478e-05 | 8.9982e-06 | 0.034804 | 0.034804 | 0.034804 | 0.99073 | -0.064948 | 0.98965 | -0.072576 | 12.8903
9 | 0.0044885 | 0.0011245 | -0.0044873 | -0.0011246 | 1.1092e-06 | -9.6051e-08 | 0.0066788 | 0.0066789 | 0.0066789 | 1 | 0 | 0.99975 | -0.001786 | 2.4737
10 | 0.0042592 | 0.0010668 | -0.0042585 | -0.0010669 | 7.0224e-07 | -8.6145e-08 | 0.0063871 | 0.0063873 | 0.0063873 | 0.99223 | -0.054416 | 0.99206 | -0.055608 | 2.3657
11 | 0.020602 | 0.0051646 | -0.020582 | -0.0051572 | 2.0296e-05 | 7.371e-06 | 0.030978 | 0.030978 | 0.030978 | 0.98965 | -0.072576 | 0.98864 | -0.079696 | 11.4732
12 | 0.0020895 | 0.0005233 | -0.0020893 | -0.00052362 | 1.8582e-07 | -3.1996e-07 | 0.0031339 | 0.003134 | 0.003134 | 0.99206 | -0.055608 | 0.99197 | -0.056251 | 1.1608
13 | -0.0024516 | -0.00061137 | 0.0024517 | 0.00061124 | 1.1178e-07 | -1.2554e-07 | 0.0036904 | 0.0036904 | 0.0036904 | 0.98821 | -0.082736 | 0.98826 | -0.082403 | 1.3668
14 | 0.0019077 | 0.00047506 | -0.0019077 | -0.0004751 | 1.7436e-08 | -3.6711e-08 | 0.0028715 | 0.0028715 | 0.0028715 | 0.98821 | -0.082736 | 0.98821 | -0.082802 | 1.0635
15 | -0.018473 | -0.004628 | 0.01848 | 0.0046305 | 6.9208e-06 | 2.4781e-06 | 0.027814 | 0.027814 | 0.027814 | 0.98826 | -0.082403 | 0.98864 | -0.079696 | 10.3017
16 | 0.016022 | 0.0040168 | -0.01601 | -0.0040126 | 1.1895e-05 | 4.1557e-06 | 0.024124 | 0.024124 | 0.024124 | 0.98826 | -0.082403 | 0.9875 | -0.087766 | 8.9349
17 | 0.0019077 | 0.0004751 | -0.0019069 | -0.00047681 | 8.163e-07 | -1.7173e-06 | 0.0028715 | 0.0028722 | 0.0028722 | 0.98821 | -0.082802 | 0.98777 | -0.08592 | 1.0638
18 | 0.013734 | 0.0034422 | -0.013733 | -0.0034421 | 2.8676e-07 | 9.6563e-08 | 0.020695 | 0.020695 | 0.020695 | 0.9875 | -0.087766 | 0.98748 | -0.087917 | 7.6646
19 | 0.0019069 | 0.00047681 | -0.0019065 | -0.00047758 | 3.6487e-07 | -7.6667e-07 | 0.0028722 | 0.0028725 | 0.0028725 | 0.98777 | -0.08592 | 0.98757 | -0.087307 | 1.0639
20 | 0.013366 | 0.0033499 | -0.01336 | -0.0033481 | 5.3573e-06 | 1.7898e-06 | 0.02014 | 0.02014 | 0.02014 | 0.98748 | -0.087917 | 0.98707 | -0.090813 | 7.4594
21 | 0.0010739 | 0.0002689 | -0.0010738 | -0.00026913 | 3.024e-08 | -2.2522e-07 | 0.001618 | 0.0016181 | 0.0016181 | 0.98757 | -0.087307 | 0.98755 | -0.08751 | 0.59928
22 | 0.012928 | 0.0032399 | -0.012928 | -0.0032398 | 3.5847e-07 | 1.1854e-07 | 0.01949 | 0.01949 | 0.01949 | 0.98707 | -0.090813 | 0.98705 | -0.091013 | 7.2184
23 | 0.01003 | 0.0025134 | -0.010026 | -0.0025125 | 3.1352e-06 | 9.2502e-07 | 0.01512 | 0.01512 | 0.01512 | 0.98705 | -0.091013 | 0.98673 | -0.093272 | 5.6
24 | 0.0095937 | 0.002404 | -0.0095936 | -0.002404 | 1.0461e-07 | 3.0004e-08 | 0.014467 | 0.014467 | 0.014467 | 0.98673 | -0.093272 | 0.98672 | -0.093351 | 5.3583
25 | 0.0077679 | 0.0019464 | -0.007766 | -0.001946 | 1.897e-06 | 4.4671e-07 | 0.011714 | 0.011714 | 0.011714 | 0.98672 | -0.093351 | 0.98647 | -0.095116 | 4.3386
26 | -0.0015305 | -0.00038359 | 0.0015305 | 0.00038358 | 2.4587e-09 | -8.4807e-09 | 0.0023094 | 0.0023094 | 0.0023094 | 0.98617 | -0.097228 | 0.98617 | -0.097216 | 0.85533
27 | -0.0029046 | -0.00072795 | 0.0029049 | 0.00072777 | 2.5761e-07 | -1.7518e-07 | 0.0043827 | 0.0043826 | 0.0043827 | 0.98617 | -0.097216 | 0.98626 | -0.096575 | 1.6232
28 | 0.0074409 | 0.0018645 | -0.0074408 | -0.0018645 | 1.1107e-07 | 2.4682e-08 | 0.011224 | 0.011224 | 0.011224 | 0.98647 | -0.095116 | 0.98645 | -0.095224 | 4.157
29 | 0.0061543 | 0.001542 | -0.0061532 | -0.0015419 | 1.1143e-06 | 1.641e-07 | 0.0092834 | 0.0092835 | 0.0092835 | 0.98645 | -0.095224 | 0.98627 | -0.096532 | 3.4383
30 | -0.0043743 | -0.0010961 | 0.0043744 | 0.0010961 | 2.6257e-08 | -2.2298e-09 | 0.0065997 | 0.0065997 | 0.0065997 | 0.98626 | -0.096575 | 0.98627 | -0.096532 | 2.4443

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.06495 | 0.016133

## res_load
| p_mw | q_mvar
0 | 0.0026633 | 0.00066748
1 | 0.0076613 | 0.0019201
2 | 0.0022264 | 0.00055799
3 | 0.0024686 | 0.00061869
4 | 0.0057697 | 0.001446
5 | 0.0044873 | 0.0011246
6 | 0.0067581 | 0.0016937
7 | 0.0042616 | 0.001068
8 | 0.0025447 | 0.00063777
9 | 0.002169 | 0.00054361
10 | 0.0020893 | 0.00052362
11 | 0.00054389 | 0.00013631
12 | 0.0021017 | 0.00052673
13 | 0.0022761 | 0.00057044
14 | 0.00036783 | 9.2187e-05
15 | 0.00083263 | 0.00020868
16 | 0.00043168 | 0.00010819
17 | 0.0028985 | 0.00072643
18 | 0.0004328 | 0.00010847
19 | 0.0018257 | 0.00045755
20 | 0.0015305 | 0.00038359
21 | 0.0013741 | 0.00034438
22 | 0.0010738 | 0.00026913
23 | 0.00032508 | 8.1473e-05
24 | 0.0012865 | 0.00032243
25 | 0.0014695 | 0.00036828
26 | 0.0017789 | 0.00044582

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1