## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1151-54_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1151-54_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1151-54_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1151-54_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1151-54_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1151-54_0_2_node_41 | 0.4 | n |  | TRUE
6 | bus_LV_1151-54_0_2_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1151-54_0_2_node_40 | 0.4 | n |  | TRUE
8 | bus_LV_1151-54_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1151-54_0_2_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_1151-54_0_2_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_1151-54_0_2_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1151-54_0_2_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1151-54_0_2_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_1151-54_0_2_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_1151-54_0_2_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_1151-54_0_2_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_1151-54_0_2_node_21 | 0.4 | n |  | TRUE
18 | bus_LV_1151-54_0_2_node_35 | 0.4 | n |  | TRUE
19 | bus_LV_1151-54_0_2_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_1151-54_0_2_node_36 | 0.4 | n |  | TRUE
21 | bus_LV_1151-54_0_2_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_1151-54_0_2_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_1151-54_0_2_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_1151-54_0_2_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_1151-54_0_2_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_1151-54_0_2_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_1151-54_0_2_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_1151-54_0_2_node_39 | 0.4 | n |  | TRUE
29 | bus_LV_1151-54_0_2_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_1151-54_0_2_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_1151-54_0_2_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_1151-54_0_2_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_1151-54_0_2_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_1151-54_0_2_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_1151-54_0_2_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_1151-54_0_2_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_1151-54_0_2_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_1151-54_0_2_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_1151-54_0_2_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_1151-54_0_2_node_33 | 0.4 | n |  | TRUE
41 | bus_MV_128_0_node_221 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1151-54_0_2_load_0 | 0 | 0.0059697 | 0.0014961 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1151-54_0_2_load_1 | 1 | 0.0044763 | 0.0011219 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1151-54_0_2_load_2 | 2 | 0.0015471 | 0.00038773 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1151-54_0_2_load_3 | 3 | 0.0041766 | 0.0010468 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1151-54_0_2_load_4 | 4 | 0.0024536 | 0.00061493 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1151-54_0_2_load_41 | 5 | 0.0027958 | 0.0007007 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1151-54_0_2_load_5 | 6 | 0.0018726 | 0.00046931 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1151-54_0_2_load_40 | 7 | 0.0033347 | 0.00083577 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1151-54_0_2_load_6 | 8 | 0.002638 | 0.00066115 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1151-54_0_2_load_12 | 9 | 0.0031294 | 0.00078429 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1151-54_0_2_load_7 | 11 | 0.0073354 | 0.0018384 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1151-54_0_2_load_8 | 12 | 0.013458 | 0.0033729 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1151-54_0_2_load_10 | 13 | 0.013901 | 0.003484 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1151-54_0_2_load_14 | 14 | 0.010706 | 0.0026833 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1151-54_0_2_load_11 | 15 | 0.007576 | 0.0018987 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1151-54_0_2_load_35 | 18 | 0.0016776 | 0.00042045 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1151-54_0_2_load_34 | 21 | 0.0029355 | 0.0007357 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1151-54_0_2_load_23 | 23 | 0.0035162 | 0.00088125 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1151-54_0_2_load_18 | 24 | 0.0052744 | 0.0013219 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1151-54_0_2_load_15 | 25 | 0.0031655 | 0.00079334 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1151-54_0_2_load_16 | 26 | 0.001234 | 0.00030927 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1151-54_0_2_load_17 | 27 | 0.0079401 | 0.00199 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1151-54_0_2_load_39 | 28 | 0.0029385 | 0.00073645 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1151-54_0_2_load_24 | 29 | 0.00022144 | 5.5498e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1151-54_0_2_load_25 | 30 | 0.0066158 | 0.0016581 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1151-54_0_2_load_26 | 31 | 0.00022172 | 5.5567e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1151-54_0_2_load_27 | 32 | 0.00022322 | 5.5943e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1151-54_0_2_load_28 | 33 | 0.0011705 | 0.00029335 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1151-54_0_2_load_37 | 34 | 0.000223 | 5.5888e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1151-54_0_2_load_31 | 35 | 0.0011701 | 0.00029325 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1151-54_0_2_load_29 | 37 | 0.00060605 | 0.00015189 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1151-54_0_2_load_30 | 38 | 0.0012247 | 0.00030693 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1151-54_0_2_load_32 | 39 | 0.0012254 | 0.00030711 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1151-54_0_2_load_33 | 40 | 0.0021433 | 0.00053716 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1151-54_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.014889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1151-54_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0066879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1151-54_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0082881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1151-54_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.014836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1151-54_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.013916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1151-54_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.006348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1151-54_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.00791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1151-54_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.014948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1151-54_0_2_line_8 | NAYY 4x150 SE | 7 | 23 | 0.011404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1151-54_0_2_line_9 | NAYY 4x150 SE | 8 | 9 | 0.0075968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1151-54_0_2_line_10 | NAYY 4x150 SE | 9 | 10 | 0.019439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1151-54_0_2_line_11 | NAYY 4x150 SE | 10 | 17 | 0.028251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1151-54_0_2_line_12 | NAYY 4x150 SE | 10 | 15 | 0.039771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1151-54_0_2_line_13 | NAYY 4x150 SE | 11 | 12 | 0.036331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1151-54_0_2_line_14 | NAYY 4x150 SE | 12 | 13 | 0.034749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1151-54_0_2_line_15 | NAYY 4x150 SE | 13 | 14 | 0.032791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1151-54_0_2_line_16 | NAYY 4x150 SE | 14 | 16 | 0.020241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1151-54_0_2_line_17 | NAYY 4x150 SE | 16 | 22 | 0.027358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1151-54_0_2_line_18 | NAYY 4x150 SE | 17 | 18 | 0.053258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1151-54_0_2_line_19 | NAYY 4x150 SE | 18 | 21 | 0.040734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1151-54_0_2_line_20 | NAYY 4x150 SE | 19 | 20 | 0.003636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1151-54_0_2_line_21 | NAYY 4x150 SE | 19 | 21 | 0.017435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1151-54_0_2_line_22 | NAYY 4x150 SE | 20 | 28 | 0.014683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1151-54_0_2_line_23 | NAYY 4x150 SE | 22 | 23 | 0.016445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1151-54_0_2_line_24 | NAYY 4x150 SE | 22 | 24 | 0.013603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1151-54_0_2_line_25 | NAYY 4x150 SE | 24 | 27 | 0.0098889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1151-54_0_2_line_26 | NAYY 4x150 SE | 25 | 26 | 0.00023277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1151-54_0_2_line_27 | NAYY 4x150 SE | 26 | 27 | 0.021188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1151-54_0_2_line_28 | NAYY 4x150 SE | 28 | 36 | 0.032517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1151-54_0_2_line_29 | NAYY 4x150 SE | 29 | 30 | 0.003284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1151-54_0_2_line_30 | NAYY 4x150 SE | 29 | 31 | 0.00036319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1151-54_0_2_line_31 | NAYY 4x150 SE | 30 | 32 | 0.029738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1151-54_0_2_line_32 | NAYY 4x150 SE | 31 | 33 | 0.024532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1151-54_0_2_line_33 | NAYY 4x150 SE | 32 | 34 | 0.00029497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1151-54_0_2_line_34 | NAYY 4x150 SE | 33 | 35 | 0.0002261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1151-54_0_2_line_35 | NAYY 4x150 SE | 34 | 36 | 0.017596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1151-54_0_2_line_36 | NAYY 4x150 SE | 35 | 37 | 0.017557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1151-54_0_2_line_37 | NAYY 4x150 SE | 37 | 38 | 0.0046305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1151-54_0_2_line_38 | NAYY 4x150 SE | 38 | 39 | 0.0006843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1151-54_0_2_line_39 | NAYY 4x150 SE | 39 | 40 | 0.014458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1151-54_0_2_trafo_3 | 0.25 MVA 20/0.4 kV | 41 | 3 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2642462.0926 | 1218300.2872 | 2642461.9646 | 1218300.948 | 2642458.1235 | 1218314.6347
1 | 2642462.0926 | 1218300.2872 | 2642463.3646 | 1218293.7213
2 | 2642455.8841 | 1218322.6145 | 2642458.1235 | 1218314.6347
3 | 2642466.1862 | 1218279.1562 | 2642463.3646 | 1218293.7213
4 | 2642451.9136 | 1218335.9379 | 2642452.5576 | 1218334.4676 | 2642455.8841 | 1218322.6145
5 | 2642466.1862 | 1218279.1562 | 2642466.9759 | 1218275.0794 | 2642467.1296 | 1218272.8894
6 | 2642451.9136 | 1218335.9379 | 2642448.7401 | 1218343.1834
7 | 2642467.1296 | 1218272.8894 | 2642468.1757 | 1218257.9778
8 | 2642444.1649 | 1218353.6293 | 2642448.7401 | 1218343.1834
9 | 2642468.7074 | 1218250.3996 | 2642468.1757 | 1218257.9778
10 | 2642470.0678 | 1218231.0085 | 2642468.7074 | 1218250.3996
11 | 2642442.0334 | 1218227.518 | 2642445.3624 | 1218227.9308 | 2642470.0678 | 1218231.0085
12 | 2642470.0678 | 1218231.0085 | 2642509.5619 | 1218235.6948
13 | 2642529.8376 | 1218297.9353 | 2642516.8736 | 1218331.8748
14 | 2642516.8736 | 1218331.8748 | 2642504.4744 | 1218364.3358
15 | 2642482.3352 | 1218377.9109 | 2642489.1377 | 1218380.4999 | 2642491.4336 | 1218381.0166 | 2642493.2401 | 1218380.985 | 2642495.0034 | 1218380.6418 | 2642496.8763 | 1218379.8102 | 2642498.6247 | 1218378.3551 | 2642499.8295 | 1218376.4959 | 2642504.4744 | 1218364.3358
16 | 2642463.4181 | 1218370.7109 | 2642482.3352 | 1218377.9109
17 | 2642437.5673 | 1218368.6924 | 2642445.2174 | 1218365.5227 | 2642447.3286 | 1218365.3376 | 2642450.3464 | 1218365.7371 | 2642463.4181 | 1218370.7109
18 | 2642442.0334 | 1218227.518 | 2642440.9497 | 1218253.9371 | 2642439.618 | 1218267.2133 | 2642437.6114 | 1218278.2945 | 2642436.957 | 1218280.4078
19 | 2642420.8845 | 1218317.7047 | 2642426.364 | 1218308.0766 | 2642434.2244 | 1218289.2325 | 2642436.957 | 1218280.4078
20 | 2642412.2607 | 1218332.8577 | 2642408.901 | 1218331.4441
21 | 2642412.2607 | 1218332.8577 | 2642420.8845 | 1218317.7047
22 | 2642408.901 | 1218331.4441 | 2642395.3633 | 1218325.7588
23 | 2642437.5673 | 1218368.6924 | 2642444.1649 | 1218353.6293
24 | 2642437.5673 | 1218368.6924 | 2642439.1576 | 1218371.3164 | 2642440.0413 | 1218374.0576 | 2642440.2155 | 1218376.2379 | 2642439.8034 | 1218378.6809 | 2642439.2086 | 1218381.2115 | 2642439.0559 | 1218381.5711
25 | 2642439.0559 | 1218381.5711 | 2642435.1896 | 1218390.6728
26 | 2642426.8147 | 1218410.3888 | 2642426.9057 | 1218410.1745
27 | 2642435.1896 | 1218390.6728 | 2642426.9057 | 1218410.1745
28 | 2642365.3831 | 1218313.1684 | 2642395.3633 | 1218325.7588
29 | 2642380.1339 | 1218264.4389 | 2642379.1824 | 1218267.5821
30 | 2642380.2391 | 1218264.0913 | 2642380.1339 | 1218264.4389
31 | 2642379.1824 | 1218267.5821 | 2642370.5666 | 1218296.0446
32 | 2642387.3467 | 1218240.6113 | 2642380.2391 | 1218264.0913
33 | 2642370.5666 | 1218296.0446 | 2642370.4811 | 1218296.3269
34 | 2642387.4122 | 1218240.3949 | 2642387.3467 | 1218240.6113
35 | 2642365.3831 | 1218313.1684 | 2642370.4811 | 1218296.3269
36 | 2642390.8698 | 1218223.2008 | 2642388.3733 | 1218237.2199 | 2642387.4122 | 1218240.3949
37 | 2642390.8698 | 1218223.2008 | 2642391.6816 | 1218218.642
38 | 2642391.8016 | 1218217.9682 | 2642391.6816 | 1218218.642
39 | 2642394.3364 | 1218203.734 | 2642391.8016 | 1218217.9682

## bus_geodata
| x | y | coords
0 | 2642462.0926 | 1218300.2872
1 | 2642458.1235 | 1218314.6347
2 | 2642463.3646 | 1218293.7213
3 | 2642455.8841 | 1218322.6145
4 | 2642466.1862 | 1218279.1563
5 | 2642451.9136 | 1218335.9379
6 | 2642467.1296 | 1218272.8894
7 | 2642448.7401 | 1218343.1834
8 | 2642468.1757 | 1218257.9778
9 | 2642468.7074 | 1218250.3996
10 | 2642470.0678 | 1218231.0085
11 | 2642529.8376 | 1218297.9353
12 | 2642516.8736 | 1218331.8748
13 | 2642504.4744 | 1218364.3358
14 | 2642482.3352 | 1218377.9109
15 | 2642509.5619 | 1218235.6948
16 | 2642463.4181 | 1218370.7109
17 | 2642442.0334 | 1218227.518
18 | 2642436.957 | 1218280.4078
19 | 2642412.2607 | 1218332.8577
20 | 2642408.901 | 1218331.4441
21 | 2642420.8845 | 1218317.7047
22 | 2642437.5673 | 1218368.6924
23 | 2642444.1649 | 1218353.6293
24 | 2642439.0559 | 1218381.5711
25 | 2642426.8147 | 1218410.3888
26 | 2642426.9057 | 1218410.1745
27 | 2642435.1896 | 1218390.6728
28 | 2642395.3633 | 1218325.7588
29 | 2642380.1339 | 1218264.4389
30 | 2642379.1824 | 1218267.5821
31 | 2642380.2391 | 1218264.0913
32 | 2642370.5666 | 1218296.0446
33 | 2642387.3467 | 1218240.6113
34 | 2642370.4811 | 1218296.3269
35 | 2642387.4122 | 1218240.3949
36 | 2642365.3831 | 1218313.1684
37 | 2642390.8698 | 1218223.2008
38 | 2642391.6816 | 1218218.642
39 | 2642391.8016 | 1218217.9682
40 | 2642394.3364 | 1218203.734
41 | 2642437.5673 | 1218368.6924

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99836 | -0.011451 | 0.0059697 | 0.0014961
1 | 0.99938 | -0.0043289 | 0.0044763 | 0.0011219
2 | 0.99796 | -0.014255 | 0.0015471 | 0.00038773
3 | 1 | 0 | -0.12661 | -0.03164
4 | 0.9971 | -0.020253 | 0.0024536 | 0.00061493
5 | 0.99855 | -0.01011 | 0.0027958 | 0.0007007
6 | 0.99675 | -0.022665 | 0.0018726 | 0.00046931
7 | 0.99775 | -0.015647 | 0.0033347 | 0.00083577
8 | 0.99598 | -0.028072 | 0.002638 | 0.00066115
9 | 0.99562 | -0.030621 | 0.0031294 | 0.00078429
10 | 0.99477 | -0.036538 | 0 | 0
11 | 0.989 | -0.077185 | 0.0073354 | 0.0018384
12 | 0.98938 | -0.074467 | 0.013458 | 0.0033729
13 | 0.99042 | -0.067106 | 0.013901 | 0.003484
14 | 0.99206 | -0.055547 | 0.010706 | 0.0026833
15 | 0.99434 | -0.039579 | 0.007576 | 0.0018987
16 | 0.99339 | -0.046238 | 0 | 0
17 | 0.99385 | -0.04299 | 0 | 0
18 | 0.99212 | -0.055184 | 0.0016776 | 0.00042045
19 | 0.99044 | -0.067034 | 0 | 0
20 | 0.99034 | -0.0677 | 0 | 0
21 | 0.99089 | -0.063843 | 0.0029355 | 0.0007357
22 | 0.99517 | -0.033695 | 0 | 0
23 | 0.99666 | -0.023265 | 0.0035162 | 0.00088125
24 | 0.99483 | -0.036111 | 0.0052744 | 0.0013219
25 | 0.99452 | -0.03829 | 0.0031655 | 0.00079334
26 | 0.99452 | -0.038283 | 0.001234 | 0.00030927
27 | 0.99465 | -0.037342 | 0.0079401 | 0.00199
28 | 0.98996 | -0.070391 | 0.0029385 | 0.00073645
29 | 0.9882 | -0.082832 | 0.00022144 | 5.5498e-05
30 | 0.98824 | -0.082564 | 0.0066158 | 0.0016581
31 | 0.9882 | -0.082861 | 0.00022172 | 5.5567e-05
32 | 0.98887 | -0.078128 | 0.00022322 | 5.5943e-05
33 | 0.98793 | -0.084753 | 0.0011705 | 0.00029335
34 | 0.98887 | -0.078083 | 0.000223 | 5.5888e-05
35 | 0.98793 | -0.084768 | 0.0011701 | 0.00029325
36 | 0.98926 | -0.07538 | 0 | 0
37 | 0.9878 | -0.085702 | 0.00060605 | 0.00015189
38 | 0.98777 | -0.085919 | 0.0012247 | 0.00030693
39 | 0.98776 | -0.085943 | 0.0012254 | 0.00030711
40 | 0.98772 | -0.08626 | 0.0021433 | 0.00053716
41 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.048042 | -0.01207 | 0.048089 | 0.012088 | 4.7648e-05 | 1.8131e-05 | 0.071615 | 0.071615 | 0.071615 | 0.99836 | -0.011451 | 0.99938 | -0.0043289 | 26.524
1 | 0.042072 | 0.010574 | -0.042056 | -0.010567 | 1.6415e-05 | 6.2262e-06 | 0.062717 | 0.062717 | 0.062717 | 0.99836 | -0.011451 | 0.99796 | -0.014255 | 23.2286
2 | -0.052566 | -0.01321 | 0.052597 | 0.013222 | 3.1691e-05 | 1.208e-05 | 0.07828 | 0.07828 | 0.07828 | 0.99938 | -0.0043289 | 1 | 0 | 28.9925
3 | 0.040509 | 0.01018 | -0.040475 | -0.010167 | 3.3785e-05 | 1.2801e-05 | 0.060411 | 0.060411 | 0.060411 | 0.99796 | -0.014255 | 0.9971 | -0.020253 | 22.3743
4 | 0.073208 | 0.018418 | -0.073105 | -0.018378 | 0.00010309 | 3.9469e-05 | 0.10896 | 0.10896 | 0.10896 | 1 | 0 | 0.99855 | -0.01011 | 40.3555
5 | 0.038021 | 0.0095519 | -0.038008 | -0.0095471 | 1.2757e-05 | 4.8237e-06 | 0.056749 | 0.056749 | 0.056749 | 0.9971 | -0.020253 | 0.99675 | -0.022665 | 21.0182
6 | 0.070309 | 0.017678 | -0.070255 | -0.017657 | 5.4204e-05 | 2.0744e-05 | 0.10479 | 0.10479 | 0.10479 | 0.99855 | -0.01011 | 0.99775 | -0.015647 | 38.8125
7 | 0.036136 | 0.0090778 | -0.036109 | -0.0090675 | 2.7153e-05 | 1.0249e-05 | 0.053954 | 0.053954 | 0.053954 | 0.99675 | -0.022665 | 0.99598 | -0.028072 | 19.9828
8 | 0.066921 | 0.016821 | -0.06685 | -0.016794 | 7.0905e-05 | 2.7122e-05 | 0.09982 | 0.09982 | 0.09982 | 0.99775 | -0.015647 | 0.99666 | -0.023265 | 36.9705
9 | 0.033471 | 0.0084064 | -0.033459 | -0.0084019 | 1.1857e-05 | 4.4615e-06 | 0.050012 | 0.050012 | 0.050012 | 0.99598 | -0.028072 | 0.99562 | -0.030621 | 18.5231
10 | 0.03033 | 0.0076176 | -0.030305 | -0.0076083 | 2.493e-05 | 9.336e-06 | 0.045335 | 0.045335 | 0.045335 | 0.99562 | -0.030621 | 0.99477 | -0.036538 | 16.7909
11 | 0.022725 | 0.0057088 | -0.022705 | -0.0057014 | 2.0376e-05 | 7.4707e-06 | 0.033998 | 0.033998 | 0.033998 | 0.99477 | -0.036538 | 0.99385 | -0.04299 | 12.592
12 | 0.0075792 | 0.0018994 | -0.007576 | -0.0018987 | 3.1899e-06 | 7.1078e-07 | 0.011337 | 0.011337 | 0.011337 | 0.99477 | -0.036538 | 0.99434 | -0.039579 | 4.1991
13 | -0.0073354 | -0.0018384 | 0.0073381 | 0.001839 | 2.7614e-06 | 5.9567e-07 | 0.011037 | 0.011036 | 0.011037 | 0.989 | -0.077185 | 0.98938 | -0.074467 | 4.0876
14 | -0.020796 | -0.0052119 | 0.020817 | 0.0052196 | 2.1212e-05 | 7.7116e-06 | 0.031277 | 0.031277 | 0.031277 | 0.98938 | -0.074467 | 0.99042 | -0.067106 | 11.5841
15 | -0.034719 | -0.0087036 | 0.034774 | 0.0087246 | 5.5675e-05 | 2.0991e-05 | 0.052162 | 0.052162 | 0.052162 | 0.99042 | -0.067106 | 0.99206 | -0.055547 | 19.3194
16 | -0.045481 | -0.011408 | 0.04554 | 0.01143 | 5.8783e-05 | 2.2347e-05 | 0.068221 | 0.068221 | 0.068221 | 0.99206 | -0.055547 | 0.99339 | -0.046238 | 25.2671
17 | -0.04554 | -0.01143 | 0.045619 | 0.01146 | 7.9452e-05 | 3.0204e-05 | 0.068221 | 0.068221 | 0.068221 | 0.99339 | -0.046238 | 0.99517 | -0.033695 | 25.267
18 | 0.022705 | 0.0057014 | -0.022667 | -0.0056873 | 3.8414e-05 | 1.4086e-05 | 0.033998 | 0.033999 | 0.033999 | 0.99385 | -0.04299 | 0.99212 | -0.055184 | 12.592
19 | 0.020989 | 0.0052668 | -0.020964 | -0.0052577 | 2.5193e-05 | 9.1643e-06 | 0.031482 | 0.031483 | 0.031483 | 0.99212 | -0.055184 | 0.99089 | -0.063843 | 11.6602
20 | 0.01802 | 0.0045191 | -0.018019 | -0.0045185 | 1.6631e-06 | 5.9288e-07 | 0.027074 | 0.027074 | 0.027074 | 0.99044 | -0.067034 | 0.99034 | -0.0677 | 10.0276
21 | -0.01802 | -0.0045191 | 0.018028 | 0.004522 | 7.9749e-06 | 2.8428e-06 | 0.027074 | 0.027074 | 0.027074 | 0.99044 | -0.067034 | 0.99089 | -0.063843 | 10.0276
22 | 0.018019 | 0.0045185 | -0.018012 | -0.0045161 | 6.7161e-06 | 2.3943e-06 | 0.027074 | 0.027075 | 0.027075 | 0.99034 | -0.0677 | 0.98996 | -0.070391 | 10.0276
23 | -0.063242 | -0.015878 | 0.063333 | 0.015913 | 9.1774e-05 | 3.5084e-05 | 0.094571 | 0.094571 | 0.094571 | 0.99517 | -0.033695 | 0.99666 | -0.023265 | 35.0262
24 | 0.017623 | 0.0044172 | -0.017617 | -0.0044151 | 5.8938e-06 | 2.0902e-06 | 0.02635 | 0.02635 | 0.02635 | 0.99517 | -0.033695 | 0.99483 | -0.036111 | 9.7593
25 | 0.012342 | 0.0030932 | -0.01234 | -0.0030925 | 2.103e-06 | 6.8047e-07 | 0.018461 | 0.018461 | 0.018461 | 0.99483 | -0.036111 | 0.99465 | -0.037342 | 6.8374
26 | -0.0031655 | -0.00079334 | 0.0031655 | 0.00079334 | 3.258e-09 | -1.767e-09 | 0.0047362 | 0.0047362 | 0.0047362 | 0.99452 | -0.03829 | 0.99452 | -0.038283 | 1.7542
27 | -0.0043995 | -0.0011026 | 0.0044001 | 0.0011026 | 5.7288e-07 | -5.4636e-08 | 0.0065826 | 0.0065825 | 0.0065826 | 0.99452 | -0.038283 | 0.99465 | -0.037342 | 2.438
28 | 0.015073 | 0.0037797 | -0.015063 | -0.0037761 | 1.0417e-05 | 3.5886e-06 | 0.022658 | 0.022658 | 0.022658 | 0.98996 | -0.070391 | 0.98926 | -0.07538 | 8.3918
29 | -0.0079861 | -0.0020011 | 0.0079864 | 0.0020012 | 2.9632e-07 | 7.1895e-08 | 0.012025 | 0.012025 | 0.012025 | 0.9882 | -0.082832 | 0.98824 | -0.082564 | 4.4537
30 | 0.0077646 | 0.0019456 | -0.0077646 | -0.0019456 | 3.0979e-08 | 7.2621e-09 | 0.011692 | 0.011692 | 0.011692 | 0.9882 | -0.082832 | 0.9882 | -0.082861 | 4.3303
31 | -0.014602 | -0.0036592 | 0.014611 | 0.0036623 | 8.9704e-06 | 3.0689e-06 | 0.021987 | 0.021986 | 0.021987 | 0.98824 | -0.082564 | 0.98887 | -0.078128 | 8.1432
32 | 0.0075429 | 0.00189 | -0.0075409 | -0.0018896 | 1.9748e-06 | 4.4532e-07 | 0.011358 | 0.011358 | 0.011358 | 0.9882 | -0.082861 | 0.98793 | -0.084753 | 4.2066
33 | -0.014834 | -0.0037182 | 0.014834 | 0.0037183 | 9.1716e-08 | 3.1491e-08 | 0.022322 | 0.022322 | 0.022322 | 0.98887 | -0.078128 | 0.98887 | -0.078083 | 8.2675
34 | 0.0063704 | 0.0015962 | -0.0063704 | -0.0015962 | 1.2989e-08 | 2.1007e-09 | 0.009595 | 0.009595 | 0.009595 | 0.98793 | -0.084753 | 0.98793 | -0.084768 | 3.5537
35 | -0.015057 | -0.0037742 | 0.015063 | 0.0037761 | 5.6369e-06 | 1.9422e-06 | 0.022658 | 0.022658 | 0.022658 | 0.98887 | -0.078083 | 0.98926 | -0.07538 | 8.3918
36 | 0.0052003 | 0.001303 | -0.0051997 | -0.0013029 | 6.7212e-07 | 3.3731e-08 | 0.0078326 | 0.0078327 | 0.0078327 | 0.98793 | -0.084768 | 0.9878 | -0.085702 | 2.901
37 | 0.0045936 | 0.001151 | -0.0045935 | -0.0011511 | 1.3835e-07 | -6.0608e-09 | 0.0069197 | 0.0069197 | 0.0069197 | 0.9878 | -0.085702 | 0.98777 | -0.085919 | 2.5629
38 | 0.0033688 | 0.00084412 | -0.0033688 | -0.00084412 | 1.0997e-08 | -4.5295e-09 | 0.0050748 | 0.0050748 | 0.0050748 | 0.98777 | -0.085919 | 0.98776 | -0.085943 | 1.8796
39 | 0.0021434 | 0.00053701 | -0.0021433 | -0.00053716 | 9.4059e-08 | -1.4888e-07 | 0.0032288 | 0.0032289 | 0.0032289 | 0.98776 | -0.085943 | 0.98772 | -0.08626 | 1.1959

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.13078 | 0.032686

## res_load
| p_mw | q_mvar
0 | 0.0059697 | 0.0014961
1 | 0.0044763 | 0.0011219
2 | 0.0015471 | 0.00038773
3 | 0.0041766 | 0.0010468
4 | 0.0024536 | 0.00061493
5 | 0.0027958 | 0.0007007
6 | 0.0018726 | 0.00046931
7 | 0.0033347 | 0.00083577
8 | 0.002638 | 0.00066115
9 | 0.0031294 | 0.00078429
10 | 0.0073354 | 0.0018384
11 | 0.013458 | 0.0033729
12 | 0.013901 | 0.003484
13 | 0.010706 | 0.0026833
14 | 0.007576 | 0.0018987
15 | 0.0016776 | 0.00042045
16 | 0.0029355 | 0.0007357
17 | 0.0035162 | 0.00088125
18 | 0.0052744 | 0.0013219
19 | 0.0031655 | 0.00079334
20 | 0.001234 | 0.00030927
21 | 0.0079401 | 0.00199
22 | 0.0029385 | 0.00073645
23 | 0.00022144 | 5.5498e-05
24 | 0.0066158 | 0.0016581
25 | 0.00022172 | 5.5567e-05
26 | 0.00022322 | 5.5943e-05
27 | 0.0011705 | 0.00029335
28 | 0.000223 | 5.5888e-05
29 | 0.0011701 | 0.00029325
30 | 0.00060605 | 0.00015189
31 | 0.0012247 | 0.00030693
32 | 0.0012254 | 0.00030711
33 | 0.0021433 | 0.00053716

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1