## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1151-63_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1151-63_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1151-63_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1151-63_0_4_node_20 | 0.4 | n |  | TRUE
4 | bus_LV_1151-63_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1151-63_0_4_node_37 | 0.4 | n |  | TRUE
6 | bus_LV_1151-63_0_4_node_26 | 0.4 | n |  | TRUE
7 | bus_LV_1151-63_0_4_node_35 | 0.4 | n |  | TRUE
8 | bus_LV_1151-63_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1151-63_0_4_node_84 | 0.4 | n |  | TRUE
10 | bus_LV_1151-63_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1151-63_0_4_node_55 | 0.4 | n |  | TRUE
12 | bus_LV_1151-63_0_4_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_1151-63_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_1151-63_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_1151-63_0_4_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_1151-63_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_1151-63_0_4_node_41 | 0.4 | n |  | TRUE
18 | bus_LV_1151-63_0_4_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_1151-63_0_4_node_39 | 0.4 | n |  | TRUE
20 | bus_LV_1151-63_0_4_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_1151-63_0_4_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_1151-63_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1151-63_0_4_node_43 | 0.4 | n |  | TRUE
24 | bus_LV_1151-63_0_4_node_42 | 0.4 | n |  | TRUE
25 | bus_LV_1151-63_0_4_node_40 | 0.4 | n |  | TRUE
26 | bus_LV_1151-63_0_4_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_1151-63_0_4_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_1151-63_0_4_node_38 | 0.4 | n |  | TRUE
29 | bus_LV_1151-63_0_4_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_1151-63_0_4_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_1151-63_0_4_node_56 | 0.4 | n |  | TRUE
32 | bus_LV_1151-63_0_4_node_90 | 0.4 | n |  | TRUE
33 | bus_LV_1151-63_0_4_node_44 | 0.4 | n |  | TRUE
34 | bus_LV_1151-63_0_4_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_1151-63_0_4_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_1151-63_0_4_node_57 | 0.4 | n |  | TRUE
37 | bus_LV_1151-63_0_4_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_1151-63_0_4_node_66 | 0.4 | n |  | TRUE
39 | bus_LV_1151-63_0_4_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_1151-63_0_4_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_1151-63_0_4_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_1151-63_0_4_node_64 | 0.4 | n |  | TRUE
43 | bus_LV_1151-63_0_4_node_63 | 0.4 | n |  | TRUE
44 | bus_LV_1151-63_0_4_node_88 | 0.4 | n |  | TRUE
45 | bus_LV_1151-63_0_4_node_54 | 0.4 | n |  | TRUE
46 | bus_LV_1151-63_0_4_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_1151-63_0_4_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_1151-63_0_4_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_1151-63_0_4_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_1151-63_0_4_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_1151-63_0_4_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_1151-63_0_4_node_85 | 0.4 | n |  | TRUE
53 | bus_LV_1151-63_0_4_node_71 | 0.4 | n |  | TRUE
54 | bus_LV_1151-63_0_4_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_1151-63_0_4_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_1151-63_0_4_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_1151-63_0_4_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_1151-63_0_4_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_1151-63_0_4_node_68 | 0.4 | n |  | TRUE
60 | bus_LV_1151-63_0_4_node_80 | 0.4 | n |  | TRUE
61 | bus_LV_1151-63_0_4_node_72 | 0.4 | n |  | TRUE
62 | bus_LV_1151-63_0_4_node_87 | 0.4 | n |  | TRUE
63 | bus_LV_1151-63_0_4_node_67 | 0.4 | n |  | TRUE
64 | bus_LV_1151-63_0_4_node_78 | 0.4 | n |  | TRUE
65 | bus_LV_1151-63_0_4_node_73 | 0.4 | n |  | TRUE
66 | bus_LV_1151-63_0_4_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_1151-63_0_4_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_1151-63_0_4_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_1151-63_0_4_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_1151-63_0_4_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_1151-63_0_4_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_1151-63_0_4_node_82 | 0.4 | n |  | TRUE
73 | bus_LV_1151-63_0_4_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_1151-63_0_4_node_83 | 0.4 | n |  | TRUE
75 | bus_LV_1151-63_0_4_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_1151-63_0_4_node_76 | 0.4 | n |  | TRUE
77 | bus_LV_1151-63_0_4_node_86 | 0.4 | n |  | TRUE
78 | bus_LV_1151-63_0_4_node_75 | 0.4 | n |  | TRUE
79 | bus_LV_1151-63_0_4_node_89 | 0.4 | n |  | TRUE
80 | bus_LV_1151-63_0_4_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_1151-63_0_4_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_1151-63_0_4_node_79 | 0.4 | n |  | TRUE
83 | bus_LV_1151-63_0_4_node_81 | 0.4 | n |  | TRUE
84 | bus_MV_128_0_node_237 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1151-63_0_4_load_0 | 0 | 0.0027813 | 0.00069707 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1151-63_0_4_load_1 | 1 | 0.0023865 | 0.00059811 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1151-63_0_4_load_3 | 2 | 0.001622 | 0.00040652 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1151-63_0_4_load_20 | 3 | 0.0020835 | 0.00052219 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1151-63_0_4_load_37 | 5 | 0.0021075 | 0.00052818 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1151-63_0_4_load_26 | 6 | 0.010754 | 0.0026951 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1151-63_0_4_load_35 | 7 | 0.002395 | 0.00060024 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1151-63_0_4_load_84 | 9 | 0.0024343 | 0.00061009 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1151-63_0_4_load_55 | 11 | 0.0060069 | 0.0015055 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1151-63_0_4_load_21 | 15 | 0.0030373 | 0.00076122 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1151-63_0_4_load_41 | 17 | 0.0028773 | 0.00072112 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1151-63_0_4_load_39 | 19 | 0.011893 | 0.0029807 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1151-63_0_4_load_43 | 23 | 0.0092799 | 0.0023258 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1151-63_0_4_load_42 | 24 | 0.0020849 | 0.00052252 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1151-63_0_4_load_40 | 25 | 0.023113 | 0.0057928 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1151-63_0_4_load_34 | 26 | 0.0038344 | 0.00096099 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1151-63_0_4_load_33 | 27 | 0.0040215 | 0.0010079 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1151-63_0_4_load_38 | 28 | 0.00050215 | 0.00012585 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1151-63_0_4_load_22 | 29 | 0.0008663 | 0.00021712 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1151-63_0_4_load_56 | 31 | 0.0085456 | 0.0021417 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1151-63_0_4_load_90 | 32 | 0.013492 | 0.0033814 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1151-63_0_4_load_44 | 33 | 0.0017777 | 0.00044553 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1151-63_0_4_load_36 | 34 | 0.0014704 | 0.00036853 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1151-63_0_4_load_25 | 37 | 0.001364 | 0.00034185 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1151-63_0_4_load_66 | 38 | 0.0093266 | 0.0023375 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1151-63_0_4_load_31 | 39 | 0.0022025 | 0.000552 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1151-63_0_4_load_32 | 40 | 0.000715 | 0.0001792 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1151-63_0_4_load_64 | 42 | 0.0039471 | 0.00098924 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1151-63_0_4_load_63 | 43 | 0.00077369 | 0.00019391 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1151-63_0_4_load_88 | 44 | 0.0036996 | 0.0009272 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1151-63_0_4_load_27 | 46 | 0.0042121 | 0.0010556 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1151-63_0_4_load_29 | 47 | 0.0012281 | 0.00030778 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1151-63_0_4_load_45 | 48 | 0.0024993 | 0.00062639 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1151-63_0_4_load_46 | 49 | 0.0032085 | 0.00080413 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1151-63_0_4_load_47 | 50 | 0.0034482 | 0.00086419 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1151-63_0_4_load_48 | 51 | 0.0046208 | 0.0011581 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1151-63_0_4_load_85 | 52 | 0.002931 | 0.00073458 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1151-63_0_4_load_49 | 54 | 0.0015869 | 0.00039771 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1151-63_0_4_load_50 | 55 | 0.0018204 | 0.00045623 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1151-63_0_4_load_53 | 57 | 0.0012712 | 0.0003186 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1151-63_0_4_load_68 | 59 | 0.00062403 | 0.0001564 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1151-63_0_4_load_80 | 60 | 0.0016234 | 0.00040687 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1151-63_0_4_load_72 | 61 | 0.0012995 | 0.00032569 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1151-63_0_4_load_87 | 62 | 0.002356 | 0.00059046 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1151-63_0_4_load_67 | 63 | 0.0036567 | 0.00091647 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1151-63_0_4_load_78 | 64 | 0.0013123 | 0.00032888 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1151-63_0_4_load_73 | 65 | 0.0018789 | 0.00047091 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1151-63_0_4_load_58 | 66 | 0.00037343 | 9.3589e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1151-63_0_4_load_60 | 67 | 0.00035838 | 8.9819e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1151-63_0_4_load_59 | 68 | 0.00050318 | 0.00012611 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1151-63_0_4_load_61 | 69 | 0.0038128 | 0.00095557 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1151-63_0_4_load_62 | 70 | 0.00083412 | 0.00020905 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1151-63_0_4_load_82 | 72 | 0.00027507 | 6.8939e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1151-63_0_4_load_70 | 73 | 0.0029132 | 0.00073011 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1151-63_0_4_load_83 | 74 | 0.000411 | 0.00010301 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1151-63_0_4_load_65 | 75 | 0.003223 | 0.00080776 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1151-63_0_4_load_76 | 76 | 0.0026504 | 0.00066424 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1151-63_0_4_load_75 | 78 | 0.0032739 | 0.00082052 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1151-63_0_4_load_89 | 79 | 0.0026231 | 0.00065741 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1151-63_0_4_load_74 | 80 | 0.0015488 | 0.00038817 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1151-63_0_4_load_77 | 81 | 0.0012783 | 0.00032038 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1151-63_0_4_load_81 | 83 | 0.0018519 | 0.00046413 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 75 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1151-63_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.038215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1151-63_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.08703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1151-63_0_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.025728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1151-63_0_4_line_3 | NAYY 4x150 SE | 3 | 33 | 0.024908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1151-63_0_4_line_4 | NAYY 4x150 SE | 4 | 5 | 0.013697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1151-63_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.023208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1151-63_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.049228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1151-63_0_4_line_7 | NAYY 4x150 SE | 5 | 10 | 0.0087425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1151-63_0_4_line_8 | NAYY 4x150 SE | 6 | 37 | 0.010595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1151-63_0_4_line_9 | NAYY 4x150 SE | 7 | 34 | 0.053921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1151-63_0_4_line_10 | NAYY 4x150 SE | 8 | 9 | 0.0033209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_1151-63_0_4_line_11 | NAYY 4x150 SE | 8 | 10 | 0.0087974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_1151-63_0_4_line_12 | NAYY 4x150 SE | 8 | 11 | 0.013571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1151-63_0_4_line_13 | NAYY 4x150 SE | 9 | 38 | 0.040644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_1151-63_0_4_line_14 | NAYY 4x150 SE | 10 | 12 | 0.01105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_1151-63_0_4_line_15 | NAYY 4x150 SE | 11 | 33 | 0.036367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1151-63_0_4_line_16 | NAYY 4x150 SE | 12 | 26 | 0.021396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_1151-63_0_4_line_17 | NAYY 4x150 SE | 12 | 27 | 0.032174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1151-63_0_4_line_18 | NAYY 4x150 SE | 13 | 14 | 0.0079694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1151-63_0_4_line_19 | NAYY 4x150 SE | 13 | 15 | 0.011087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1151-63_0_4_line_20 | NAYY 4x150 SE | 14 | 24 | 0.008226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1151-63_0_4_line_21 | NAYY 4x150 SE | 15 | 29 | 0.026668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1151-63_0_4_line_22 | NAYY 4x150 SE | 16 | 17 | 0.0045784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1151-63_0_4_line_23 | NAYY 4x150 SE | 16 | 18 | 0.039427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
24 | LV_1151-63_0_4_line_24 | NAYY 4x150 SE | 16 | 19 | 0.026599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_1151-63_0_4_line_25 | NAYY 4x150 SE | 18 | 28 | 0.050309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
26 | LV_1151-63_0_4_line_26 | NAYY 4x150 SE | 18 | 29 | 0.023906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1151-63_0_4_line_27 | NAYY 4x150 SE | 19 | 22 | 0.022298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_1151-63_0_4_line_28 | NAYY 4x150 SE | 20 | 21 | 0.01987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_1151-63_0_4_line_29 | NAYY 4x150 SE | 20 | 22 | 0.0086494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_1151-63_0_4_line_30 | NAYY 4x150 SE | 20 | 23 | 0.044368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1151-63_0_4_line_31 | NAYY 4x150 SE | 21 | 32 | 0.005157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1151-63_0_4_line_32 | NAYY 4x150 SE | 21 | 30 | 0.004188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
33 | LV_1151-63_0_4_line_33 | NAYY 4x150 SE | 22 | 25 | 0.010307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1151-63_0_4_line_34 | NAYY 4x150 SE | 26 | 28 | 0.024664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_1151-63_0_4_line_35 | NAYY 4x150 SE | 27 | 39 | 0.023598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1151-63_0_4_line_36 | NAYY 4x150 SE | 30 | 31 | 0.012895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_1151-63_0_4_line_37 | NAYY 4x150 SE | 31 | 35 | 0.0074438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_1151-63_0_4_line_38 | NAYY 4x150 SE | 35 | 36 | 0.023448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_1151-63_0_4_line_39 | NAYY 4x150 SE | 36 | 44 | 0.012739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1151-63_0_4_line_40 | NAYY 4x150 SE | 36 | 45 | 0.017225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_1151-63_0_4_line_41 | NAYY 4x150 SE | 37 | 46 | 0.026938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1151-63_0_4_line_42 | NAYY 4x150 SE | 38 | 75 | 0.032088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
43 | LV_1151-63_0_4_line_43 | NAYY 4x150 SE | 39 | 41 | 0.029708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1151-63_0_4_line_44 | NAYY 4x150 SE | 40 | 41 | 0.01799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1151-63_0_4_line_45 | NAYY 4x150 SE | 41 | 47 | 0.012015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1151-63_0_4_line_46 | NAYY 4x150 SE | 42 | 43 | 0.019895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1151-63_0_4_line_47 | NAYY 4x150 SE | 43 | 75 | 0.019862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1151-63_0_4_line_48 | NAYY 4x150 SE | 45 | 62 | 0.030496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1151-63_0_4_line_49 | NAYY 4x150 SE | 45 | 56 | 0.02168 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
50 | LV_1151-63_0_4_line_50 | NAYY 4x150 SE | 48 | 49 | 0.0095227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1151-63_0_4_line_51 | NAYY 4x150 SE | 48 | 50 | 0.0099451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1151-63_0_4_line_52 | NAYY 4x150 SE | 49 | 51 | 0.0094007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1151-63_0_4_line_53 | NAYY 4x150 SE | 51 | 52 | 0.012426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1151-63_0_4_line_54 | NAYY 4x150 SE | 52 | 53 | 0.012981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_1151-63_0_4_line_55 | NAYY 4x150 SE | 53 | 77 | 0.027402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1151-63_0_4_line_56 | NAYY 4x150 SE | 53 | 71 | 0.046821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_1151-63_0_4_line_57 | NAYY 4x150 SE | 54 | 55 | 0.029891 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1151-63_0_4_line_58 | NAYY 4x150 SE | 54 | 56 | 0.0070935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1151-63_0_4_line_59 | NAYY 4x150 SE | 56 | 57 | 0.0209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
60 | LV_1151-63_0_4_line_60 | NAYY 4x150 SE | 57 | 61 | 0.019726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
61 | LV_1151-63_0_4_line_61 | NAYY 4x150 SE | 58 | 59 | 0.016296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
62 | LV_1151-63_0_4_line_62 | NAYY 4x150 SE | 58 | 60 | 0.031617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
63 | LV_1151-63_0_4_line_63 | NAYY 4x150 SE | 59 | 63 | 0.024129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
64 | LV_1151-63_0_4_line_64 | NAYY 4x150 SE | 60 | 64 | 0.030328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
65 | LV_1151-63_0_4_line_65 | NAYY 4x150 SE | 61 | 65 | 0.023022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
66 | LV_1151-63_0_4_line_66 | NAYY 4x150 SE | 63 | 71 | 0.01361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
67 | LV_1151-63_0_4_line_67 | NAYY 4x150 SE | 64 | 81 | 0.0086357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_1151-63_0_4_line_68 | NAYY 4x150 SE | 65 | 80 | 0.027546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
69 | LV_1151-63_0_4_line_69 | NAYY 4x150 SE | 66 | 67 | 0.026808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_1151-63_0_4_line_70 | NAYY 4x150 SE | 67 | 70 | 0.017626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_1151-63_0_4_line_71 | NAYY 4x150 SE | 68 | 69 | 0.018397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_1151-63_0_4_line_72 | NAYY 4x150 SE | 69 | 71 | 0.010683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_1151-63_0_4_line_73 | NAYY 4x150 SE | 70 | 72 | 0.0022393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_1151-63_0_4_line_74 | NAYY 4x150 SE | 71 | 73 | 0.016487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
75 | LV_1151-63_0_4_line_75 | NAYY 4x150 SE | 72 | 74 | 0.024869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_1151-63_0_4_line_76 | NAYY 4x150 SE | 73 | 76 | 0.011971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
77 | LV_1151-63_0_4_line_77 | NAYY 4x150 SE | 74 | 83 | 0.042226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_1151-63_0_4_line_78 | NAYY 4x150 SE | 76 | 78 | 0.010655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
79 | LV_1151-63_0_4_line_79 | NAYY 4x150 SE | 77 | 79 | 0.06806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_1151-63_0_4_line_80 | NAYY 4x150 SE | 78 | 80 | 0.021234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
81 | LV_1151-63_0_4_line_81 | NAYY 4x150 SE | 81 | 82 | 0.035817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_1151-63_0_4_line_82 | NAYY 4x150 SE | 82 | 83 | 0.031183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1151-63_0_4_trafo_65 | 0.25 MVA 20/0.4 kV | 84 | 75 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2640843.4511 | 1221331.9523 | 2640812.6539 | 1221336.8754 | 2640805.6896 | 1221337.8126
1 | 2640805.6896 | 1221337.8126 | 2640788.676 | 1221340.1021 | 2640766.9192 | 1221342.4547 | 2640755.7475 | 1221343.2677 | 2640733.699 | 1221343.8951 | 2640718.9816 | 1221343.5798
2 | 2640718.9816 | 1221343.5798 | 2640717.6955 | 1221343.5523 | 2640698.2336 | 1221341.9851 | 2640693.358 | 1221341.351
3 | 2640668.6853 | 1221337.946 | 2640679.3771 | 1221339.5327 | 2640693.358 | 1221341.351
4 | 2640639.2175 | 1221340.7484 | 2640636.809 | 1221340.1983 | 2640626.0335 | 1221337.0474
5 | 2640639.2175 | 1221340.7484 | 2640638.8827 | 1221343.1253 | 2640637.484 | 1221363.8861
6 | 2640639.2175 | 1221340.7484 | 2640653.7595 | 1221344.0606 | 2640670.6615 | 1221347.2445 | 2640687.575 | 1221349.8615
7 | 2640617.7099 | 1221334.3758 | 2640624.4689 | 1221336.5898 | 2640626.0335 | 1221337.0474
8 | 2640636.7719 | 1221374.4574 | 2640637.484 | 1221363.8861
9 | 2640687.575 | 1221349.8615 | 2640699.0132 | 1221351.1292 | 2640720.7287 | 1221352.5895 | 2640741.3767 | 1221352.6806
10 | 2640620.2554 | 1221325.9548 | 2640617.1012 | 1221324.9159
11 | 2640617.7099 | 1221334.3758 | 2640618.9283 | 1221330.3483 | 2640620.2554 | 1221325.9548
12 | 2640620.2554 | 1221325.9548 | 2640627.1278 | 1221328.2252 | 2640633.2509 | 1221329.8442
13 | 2640578.9989 | 1221310.8177 | 2640593.1014 | 1221316.6198 | 2640608.1227 | 1221321.9586 | 2640617.1012 | 1221324.9159
14 | 2640607.1817 | 1221330.9242 | 2640617.7099 | 1221334.3758
15 | 2640668.6853 | 1221337.946 | 2640665.9488 | 1221337.5399 | 2640646.9818 | 1221333.4748 | 2640633.2509 | 1221329.8442
16 | 2640607.1817 | 1221330.9242 | 2640603.6016 | 1221329.7436 | 2640595.5915 | 1221326.3425 | 2640587.2361 | 1221323.2069
17 | 2640607.1817 | 1221330.9242 | 2640599.2287 | 1221362.1002
18 | 2640477.4405 | 1221335.7225 | 2640481.0122 | 1221337.0031 | 2640484.9396 | 1221338.4195
19 | 2640484.9396 | 1221338.4195 | 2640489.0356 | 1221328.1165
20 | 2640477.4405 | 1221335.7225 | 2640480.4421 | 1221328.0637
21 | 2640489.0356 | 1221328.1165 | 2640489.6782 | 1221326.5001 | 2640499.2249 | 1221303.4725
22 | 2640481.3697 | 1221281.0387 | 2640485.3506 | 1221283.3002
23 | 2640481.3697 | 1221281.0387 | 2640485.8049 | 1221282.5253 | 2640500.3686 | 1221288.261 | 2640518.0552 | 1221295.4632
24 | 2640481.3697 | 1221281.0387 | 2640456.6022 | 1221271.3381
25 | 2640518.0552 | 1221295.4632 | 2640534.3584 | 1221305.3022 | 2640541.9126 | 1221308.8223 | 2640556.3008 | 1221313.5786 | 2640563.8287 | 1221315.5383
26 | 2640518.0552 | 1221295.4632 | 2640509.8217 | 1221293.6618 | 2640507.7106 | 1221293.992 | 2640504.6824 | 1221295.3278 | 2640501.2928 | 1221298.4845 | 2640499.2249 | 1221303.4725
27 | 2640435.8394 | 1221263.2079 | 2640443.4127 | 1221266.1722 | 2640456.6022 | 1221271.3381
28 | 2640438.7621 | 1221255.0673 | 2640441.2753 | 1221254.7286 | 2640443.0104 | 1221253.9066 | 2640445.1664 | 1221252.5537 | 2640448.1195 | 1221248.8827 | 2640449.0255 | 1221247.2767 | 2640452.0973 | 1221241.7609
29 | 2640435.8394 | 1221263.2079 | 2640436.2182 | 1221262.1543 | 2640437.3084 | 1221259.1154 | 2640438.5379 | 1221255.6884 | 2640438.7621 | 1221255.0673
30 | 2640438.7621 | 1221255.0673 | 2640425.7142 | 1221249.5088 | 2640397.6663 | 1221238.3516
31 | 2640447.4088 | 1221239.5834 | 2640452.0973 | 1221241.7609
32 | 2640455.9086 | 1221243.5212 | 2640452.0973 | 1221241.7609
33 | 2640435.8394 | 1221263.2079 | 2640426.24 | 1221259.4551
34 | 2640563.8287 | 1221315.5383 | 2640573.5354 | 1221318.0652 | 2640587.2361 | 1221323.2069
35 | 2640593.3958 | 1221384.9656 | 2640599.2287 | 1221362.1002
36 | 2640455.9086 | 1221243.5212 | 2640462.5438 | 1221232.4645
37 | 2640466.3741 | 1221226.0818 | 2640462.5438 | 1221232.4645
38 | 2640466.3741 | 1221226.0818 | 2640472.7506 | 1221219.8658 | 2640475.9955 | 1221216.786 | 2640483.792 | 1221210.3573
39 | 2640483.792 | 1221210.3573 | 2640474.4303 | 1221201.7175
40 | 2640499.311 | 1221202.7915 | 2640483.792 | 1221210.3573
41 | 2640634.9611 | 1221401.3345 | 2640636.7719 | 1221374.4574
42 | 2640578.9989 | 1221310.8177 | 2640559.6886 | 1221302.873 | 2640549.2733 | 1221298.7354
43 | 2640586.0525 | 1221413.7521 | 2640593.3958 | 1221384.9656
44 | 2640586.0525 | 1221413.7521 | 2640571.3142 | 1221403.4363
45 | 2640586.0525 | 1221413.7521 | 2640595.842 | 1221420.7183
46 | 2640530.8143 | 1221291.4025 | 2640529.1928 | 1221290.7583 | 2640512.3527 | 1221283.9873
47 | 2640530.8143 | 1221291.4025 | 2640549.2733 | 1221298.7354
48 | 2640499.311 | 1221202.7915 | 2640504.8461 | 1221197.6038 | 2640507.2635 | 1221191.272 | 2640505.9631 | 1221182.8248 | 2640501.9125 | 1221176.4118
49 | 2640520.8693 | 1221204.0388 | 2640509.5338 | 1221202.1161 | 2640499.311 | 1221202.7915
50 | 2640681.5812 | 1221254.1684 | 2640681.6369 | 1221244.6458
51 | 2640681.523 | 1221264.1133 | 2640681.5812 | 1221254.1684
52 | 2640681.6369 | 1221244.6458 | 2640681.6919 | 1221235.2453
53 | 2640681.7646 | 1221222.8196 | 2640681.6919 | 1221235.2453
54 | 2640681.8405 | 1221209.8385 | 2640681.7646 | 1221222.8196
55 | 2640707.5098 | 1221200.0524 | 2640681.8405 | 1221209.8385
56 | 2640681.8405 | 1221209.8385 | 2640648.0948 | 1221222.6049 | 2640637.3066 | 1221223.8765
57 | 2640527.4673 | 1221206.6432 | 2640552.9398 | 1221216.6977 | 2640555.3511 | 1221217.3784
58 | 2640520.8693 | 1221204.0388 | 2640527.4673 | 1221206.6432
59 | 2640520.8693 | 1221204.0388 | 2640529.481 | 1221211.5907 | 2640537.4543 | 1221216.6558
60 | 2640537.4543 | 1221216.6558 | 2640549.5953 | 1221224.3685 | 2640554.6667 | 1221226.0497
61 | 2640586.499 | 1221206.7869 | 2640601.6403 | 1221212.8123
62 | 2640586.499 | 1221206.7869 | 2640590.3176 | 1221198.5635 | 2640591.1769 | 1221189.3527 | 2640588.4719 | 1221179.9731 | 2640586.3789 | 1221177.121
63 | 2640624.0598 | 1221221.734 | 2640601.6403 | 1221212.8123
64 | 2640586.3789 | 1221177.121 | 2640583.872 | 1221173.7047 | 2640576.1187 | 1221168.2042 | 2640560.7263 | 1221162.0295
65 | 2640554.6667 | 1221226.0497 | 2640576.5187 | 1221233.294
66 | 2640637.3066 | 1221223.8765 | 2640628.7667 | 1221223.6071 | 2640624.0598 | 1221221.734
67 | 2640553.1816 | 1221157.9556 | 2640556.5246 | 1221160.344 | 2640560.7263 | 1221162.0295
68 | 2640602.6654 | 1221241.9621 | 2640576.5187 | 1221233.294
69 | 2640679.6463 | 1221150.5098 | 2640653.3358 | 1221145.3674
70 | 2640653.3358 | 1221145.3674 | 2640636.0375 | 1221141.9865
71 | 2640639.1821 | 1221213.4046 | 2640640.2596 | 1221210.2107 | 2640646.2026 | 1221200.8456 | 2640648.9186 | 1221197.9986
72 | 2640637.3066 | 1221223.8765 | 2640638.2389 | 1221216.2005 | 2640639.1821 | 1221213.4046
73 | 2640633.8398 | 1221141.5569 | 2640636.0375 | 1221141.9865
74 | 2640637.3066 | 1221223.8765 | 2640634.7738 | 1221240.1683
75 | 2640633.8398 | 1221141.5569 | 2640609.4322 | 1221136.7865
76 | 2640632.935 | 1221251.9969 | 2640632.935 | 1221251.9969 | 2640634.7738 | 1221240.1683
77 | 2640609.4322 | 1221136.7865 | 2640593.5967 | 1221133.6915 | 2640567.6303 | 1221131.1495
78 | 2640622.8208 | 1221248.6439 | 2640632.935 | 1221251.9969
79 | 2640707.5098 | 1221200.0524 | 2640713.2731 | 1221267.8677
80 | 2640602.6654 | 1221241.9621 | 2640622.8208 | 1221248.6439
81 | 2640536.5956 | 1221128.1114 | 2640537.4338 | 1221137.6005 | 2640542.9626 | 1221148.9449 | 2640548.7791 | 1221154.8102 | 2640553.1816 | 1221157.9556
82 | 2640536.5956 | 1221128.1114 | 2640567.6303 | 1221131.1495

## bus_geodata
| x | y | coords
0 | 2640843.4511 | 1221331.9524
1 | 2640805.6896 | 1221337.8126
2 | 2640718.9816 | 1221343.5798
3 | 2640693.358 | 1221341.351
4 | 2640639.2175 | 1221340.7484
5 | 2640626.0335 | 1221337.0474
6 | 2640637.484 | 1221363.8861
7 | 2640687.575 | 1221349.8615
8 | 2640620.2554 | 1221325.9548
9 | 2640617.1012 | 1221324.9159
10 | 2640617.7099 | 1221334.3758
11 | 2640633.2509 | 1221329.8442
12 | 2640607.1817 | 1221330.9242
13 | 2640484.9396 | 1221338.4195
14 | 2640477.4405 | 1221335.7225
15 | 2640489.0356 | 1221328.1165
16 | 2640481.3697 | 1221281.0387
17 | 2640485.3506 | 1221283.3002
18 | 2640518.0552 | 1221295.4632
19 | 2640456.6022 | 1221271.3381
20 | 2640438.7621 | 1221255.0673
21 | 2640452.0973 | 1221241.7609
22 | 2640435.8394 | 1221263.2079
23 | 2640397.6663 | 1221238.3516
24 | 2640480.4421 | 1221328.0637
25 | 2640426.24 | 1221259.4551
26 | 2640587.2361 | 1221323.2069
27 | 2640599.2287 | 1221362.1002
28 | 2640563.8287 | 1221315.5383
29 | 2640499.2249 | 1221303.4725
30 | 2640455.9086 | 1221243.5212
31 | 2640462.5438 | 1221232.4645
32 | 2640447.4088 | 1221239.5834
33 | 2640668.6853 | 1221337.946
34 | 2640741.3767 | 1221352.6806
35 | 2640466.3741 | 1221226.0818
36 | 2640483.792 | 1221210.3573
37 | 2640636.7719 | 1221374.4574
38 | 2640578.9989 | 1221310.8177
39 | 2640593.3958 | 1221384.9656
40 | 2640571.3142 | 1221403.4363
41 | 2640586.0525 | 1221413.7521
42 | 2640512.3527 | 1221283.9873
43 | 2640530.8143 | 1221291.4025
44 | 2640474.4303 | 1221201.7175
45 | 2640499.311 | 1221202.7915
46 | 2640634.9611 | 1221401.3345
47 | 2640595.842 | 1221420.7183
48 | 2640681.5812 | 1221254.1684
49 | 2640681.6369 | 1221244.6458
50 | 2640681.523 | 1221264.1133
51 | 2640681.6919 | 1221235.2453
52 | 2640681.7646 | 1221222.8196
53 | 2640681.8405 | 1221209.8385
54 | 2640527.4673 | 1221206.6432
55 | 2640555.3511 | 1221217.3784
56 | 2640520.8693 | 1221204.0388
57 | 2640537.4543 | 1221216.6558
58 | 2640586.499 | 1221206.7869
59 | 2640601.6403 | 1221212.8123
60 | 2640586.3789 | 1221177.121
61 | 2640554.6667 | 1221226.0497
62 | 2640501.9125 | 1221176.4118
63 | 2640624.0598 | 1221221.734
64 | 2640560.7263 | 1221162.0295
65 | 2640576.5187 | 1221233.294
66 | 2640679.6463 | 1221150.5098
67 | 2640653.3358 | 1221145.3674
68 | 2640648.9187 | 1221197.9986
69 | 2640639.1821 | 1221213.4046
70 | 2640636.0375 | 1221141.9865
71 | 2640637.3066 | 1221223.8765
72 | 2640633.8398 | 1221141.5569
73 | 2640634.7738 | 1221240.1683
74 | 2640609.4322 | 1221136.7865
75 | 2640549.2733 | 1221298.7354
76 | 2640632.935 | 1221251.9969
77 | 2640707.5098 | 1221200.0524
78 | 2640622.8208 | 1221248.6439
79 | 2640713.2731 | 1221267.8677
80 | 2640602.6654 | 1221241.9621
81 | 2640553.1816 | 1221157.9556
82 | 2640536.5956 | 1221128.1114
83 | 2640567.6303 | 1221131.1495
84 | 2640620.2554 | 1221325.9548

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99062 | -0.065281 | 0.0027813 | 0.00069707
1 | 0.99078 | -0.0642 | 0.0023865 | 0.00059811
2 | 0.99142 | -0.059623 | 0.001622 | 0.00040652
3 | 0.99167 | -0.057846 | 0.0020835 | 0.00052219
4 | 0.99147 | -0.059238 | 0 | 0
5 | 0.99187 | -0.056428 | 0.0021075 | 0.00052818
6 | 0.99092 | -0.063089 | 0.010754 | 0.0026951
7 | 0.99119 | -0.061174 | 0.002395 | 0.00060024
8 | 0.99287 | -0.049375 | 0 | 0
9 | 0.99317 | -0.047274 | 0.0024343 | 0.00061009
10 | 0.99215 | -0.054449 | 0 | 0
11 | 0.99255 | -0.051667 | 0.0060069 | 0.0015055
12 | 0.99135 | -0.059999 | 0 | 0
13 | 0.9845 | -0.10811 | 0 | 0
14 | 0.98447 | -0.10829 | 0 | 0
15 | 0.98453 | -0.10788 | 0.0030373 | 0.00076122
16 | 0.98245 | -0.12261 | 0 | 0
17 | 0.98243 | -0.12274 | 0.0028773 | 0.00072112
18 | 0.98493 | -0.10499 | 0 | 0
19 | 0.9808 | -0.13427 | 0.011893 | 0.0029807
20 | 0.97917 | -0.14593 | 0 | 0
21 | 0.97837 | -0.15164 | 0 | 0
22 | 0.97955 | -0.14317 | 0 | 0
23 | 0.97857 | -0.15022 | 0.0092799 | 0.0023258
24 | 0.98445 | -0.10846 | 0.0020849 | 0.00052252
25 | 0.97921 | -0.14564 | 0.023113 | 0.0057928
26 | 0.98989 | -0.070175 | 0.0038344 | 0.00096099
27 | 0.99097 | -0.062671 | 0.0040215 | 0.0010079
28 | 0.98826 | -0.08162 | 0.00050215 | 0.00012585
29 | 0.98473 | -0.10647 | 0.0008663 | 0.00021712
30 | 0.97823 | -0.15264 | 0 | 0
31 | 0.97779 | -0.15575 | 0.0085456 | 0.0021417
32 | 0.97827 | -0.15236 | 0.013492 | 0.0033814
33 | 0.99199 | -0.0556 | 0.0017777 | 0.00044553
34 | 0.99108 | -0.061981 | 0.0014704 | 0.00036853
35 | 0.97757 | -0.15732 | 0 | 0
36 | 0.97688 | -0.16228 | 0 | 0
37 | 0.99084 | -0.06369 | 0.001364 | 0.00034185
38 | 0.99691 | -0.021337 | 0.0093266 | 0.0023375
39 | 0.99083 | -0.063667 | 0.0022025 | 0.000552
40 | 0.99073 | -0.064386 | 0.000715 | 0.0001792
41 | 0.99075 | -0.064255 | 0 | 0
42 | 0.99975 | -0.0017207 | 0.0039471 | 0.00098924
43 | 0.99987 | -0.00093652 | 0.00077369 | 0.00019391
44 | 0.97681 | -0.16277 | 0.0036996 | 0.0009272
45 | 0.9764 | -0.1657 | 0 | 0
46 | 0.99067 | -0.064844 | 0.0042121 | 0.0010556
47 | 0.99073 | -0.064406 | 0.0012281 | 0.00030778
48 | 0.97138 | -0.20181 | 0.0024993 | 0.00062639
49 | 0.97146 | -0.20121 | 0.0032085 | 0.00080413
50 | 0.97133 | -0.20217 | 0.0034482 | 0.00086419
51 | 0.97159 | -0.2003 | 0.0046208 | 0.0011581
52 | 0.97184 | -0.19849 | 0.002931 | 0.00073458
53 | 0.972 | -0.19734 | 0 | 0
54 | 0.97579 | -0.17009 | 0.0015869 | 0.00039771
55 | 0.97571 | -0.17066 | 0.0018204 | 0.00045623
56 | 0.97582 | -0.16984 | 0 | 0
57 | 0.9753 | -0.17358 | 0.0012712 | 0.0003186
58 | 0.97218 | -0.196 | 0 | 0
59 | 0.97225 | -0.19552 | 0.00062403 | 0.0001564
60 | 0.97206 | -0.19693 | 0.0016234 | 0.00040687
61 | 0.97482 | -0.17702 | 0.0012995 | 0.00032569
62 | 0.97629 | -0.16645 | 0.002356 | 0.00059046
63 | 0.97236 | -0.19476 | 0.0036567 | 0.00091647
64 | 0.97196 | -0.19765 | 0.0013123 | 0.00032888
65 | 0.97427 | -0.18094 | 0.0018789 | 0.00047091
66 | 0.97124 | -0.20283 | 0.00037343 | 9.3589e-05
67 | 0.97125 | -0.20273 | 0.00035838 | 8.9819e-05
68 | 0.97236 | -0.19474 | 0.00050318 | 0.00012611
69 | 0.97237 | -0.19464 | 0.0038128 | 0.00095557
70 | 0.97127 | -0.20259 | 0.00083412 | 0.00020905
71 | 0.97244 | -0.19415 | 0 | 0
72 | 0.97128 | -0.20255 | 0.00027507 | 6.8939e-05
73 | 0.97273 | -0.19205 | 0.0029132 | 0.00073011
74 | 0.97135 | -0.20207 | 0.000411 | 0.00010301
75 | 1 | 0 | -0.20813 | -0.052408
76 | 0.97296 | -0.19039 | 0.0026504 | 0.00066424
77 | 0.97189 | -0.1981 | 0 | 0
78 | 0.97318 | -0.18883 | 0.0032739 | 0.00082052
79 | 0.97163 | -0.19999 | 0.0026231 | 0.00065741
80 | 0.97365 | -0.18546 | 0.0015488 | 0.00038817
81 | 0.97189 | -0.19814 | 0.0012783 | 0.00032038
82 | 0.97167 | -0.1997 | 0 | 0
83 | 0.97148 | -0.20106 | 0.0018519 | 0.00046413
84 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0027813 | -0.00069707 | 0.0027817 | 0.00069673 | 4.162e-07 | -3.32e-07 | 0.0041778 | 0.0041777 | 0.0041778 | 0.99062 | -0.065281 | 0.99078 | -0.0642 | 1.5473
1 | -0.0051682 | -0.0012948 | 0.0051715 | 0.001295 | 3.2716e-06 | 1.3678e-07 | 0.0077619 | 0.0077615 | 0.0077619 | 0.99078 | -0.0642 | 0.99142 | -0.059623 | 2.8748
2 | -0.0067935 | -0.0017015 | 0.0067952 | 0.0017018 | 1.6689e-06 | 3.1005e-07 | 0.010196 | 0.010196 | 0.010196 | 0.99142 | -0.059623 | 0.99167 | -0.057846 | 3.7763
3 | -0.0088787 | -0.002224 | 0.0088815 | 0.0022247 | 2.7584e-06 | 7.3949e-07 | 0.013322 | 0.013322 | 0.013322 | 0.99167 | -0.057846 | 0.99199 | -0.0556 | 4.9341
4 | -0.020206 | -0.0050635 | 0.020214 | 0.0050664 | 7.8604e-06 | 2.8465e-06 | 0.030326 | 0.030326 | 0.030326 | 0.99147 | -0.059238 | 0.99187 | -0.056428 | 11.2318
5 | 0.01634 | 0.0040956 | -0.016331 | -0.0040926 | 8.7092e-06 | 3.0506e-06 | 0.024523 | 0.024523 | 0.024523 | 0.99147 | -0.059238 | 0.99092 | -0.063089 | 9.0827
6 | 0.0038666 | 0.0009679 | -0.0038656 | -0.00096814 | 1.0344e-06 | -2.3685e-07 | 0.0058027 | 0.0058029 | 0.0058029 | 0.99147 | -0.059238 | 0.99119 | -0.061174 | 2.1492
7 | -0.022322 | -0.0055946 | 0.022328 | 0.0055968 | 6.1176e-06 | 2.2401e-06 | 0.033487 | 0.033487 | 0.033487 | 0.99187 | -0.056428 | 0.99215 | -0.054449 | 12.4028
8 | 0.0055772 | 0.0013975 | -0.0055768 | -0.0013974 | 4.6372e-07 | 4.1876e-08 | 0.0083749 | 0.008375 | 0.008375 | 0.99092 | -0.063089 | 0.99084 | -0.06369 | 3.1018
9 | 0.0014706 | 0.00036789 | -0.0014704 | -0.00036853 | 1.6398e-07 | -6.3185e-07 | 0.0022075 | 0.0022077 | 0.0022077 | 0.99119 | -0.061174 | 0.99108 | -0.061981 | 0.81768
10 | -0.18948 | -0.047756 | 0.18954 | 0.047777 | 5.5739e-05 | 2.1309e-05 | 0.28407 | 0.28407 | 0.28407 | 0.99287 | -0.049375 | 0.99317 | -0.047274 | 35.0701
11 | 0.1728 | 0.043576 | -0.17268 | -0.043529 | 0.00012282 | 4.6897e-05 | 0.25907 | 0.25907 | 0.25907 | 0.99287 | -0.049375 | 0.99215 | -0.054449 | 31.9845
12 | 0.016677 | 0.0041794 | -0.016672 | -0.0041775 | 5.2902e-06 | 1.8592e-06 | 0.024994 | 0.024994 | 0.024994 | 0.99287 | -0.049375 | 0.99255 | -0.051667 | 9.257
13 | -0.19197 | -0.048387 | 0.19267 | 0.048655 | 0.00069982 | 0.00026758 | 0.28772 | 0.28771 | 0.28772 | 0.99317 | -0.047274 | 0.99691 | -0.021337 | 35.5204
14 | 0.15035 | 0.037933 | -0.15024 | -0.037888 | 0.00011696 | 4.4559e-05 | 0.22559 | 0.22559 | 0.22559 | 0.99215 | -0.054449 | 0.99135 | -0.059999 | 27.8503
15 | 0.010665 | 0.002672 | -0.010659 | -0.0026703 | 5.8011e-06 | 1.7614e-06 | 0.015989 | 0.015989 | 0.015989 | 0.99255 | -0.051667 | 0.99199 | -0.0556 | 5.9217
16 | 0.14206 | 0.035841 | -0.14186 | -0.035764 | 0.00020253 | 7.7068e-05 | 0.21332 | 0.21332 | 0.21332 | 0.99135 | -0.059999 | 0.98989 | -0.070175 | 26.3362
17 | 0.0081709 | 0.0020468 | -0.0081679 | -0.0020461 | 3.0198e-06 | 7.4678e-07 | 0.012264 | 0.012264 | 0.012264 | 0.99135 | -0.059999 | 0.99097 | -0.062671 | 4.5423
18 | 0.002085 | 0.00052235 | -0.0020849 | -0.00052243 | 4.9384e-08 | -8.2339e-08 | 0.0031513 | 0.0031513 | 0.0031513 | 0.9845 | -0.10811 | 0.98447 | -0.10829 | 1.1672
19 | -0.002085 | -0.00052235 | 0.002085 | 0.00052224 | 6.8703e-08 | -1.1456e-07 | 0.0031513 | 0.0031512 | 0.0031513 | 0.9845 | -0.10811 | 0.98453 | -0.10788 | 1.1671
20 | 0.0020849 | 0.00052243 | -0.0020849 | -0.00052252 | 5.0975e-08 | -8.4985e-08 | 0.0031513 | 0.0031513 | 0.0031513 | 0.98447 | -0.10829 | 0.98445 | -0.10846 | 1.1672
21 | -0.0051224 | -0.0012835 | 0.0051234 | 0.0012835 | 9.9734e-07 | 4.4407e-08 | 0.0077418 | 0.0077417 | 0.0077418 | 0.98453 | -0.10788 | 0.98473 | -0.10647 | 2.8673
22 | 0.0028773 | 0.00072108 | -0.0028773 | -0.00072112 | 5.4259e-08 | -3.7105e-08 | 0.004358 | 0.004358 | 0.004358 | 0.98245 | -0.12261 | 0.98243 | -0.12274 | 1.6141
23 | -0.13055 | -0.0328 | 0.13087 | 0.032922 | 0.00032071 | 0.00012185 | 0.19775 | 0.19775 | 0.19775 | 0.98245 | -0.12261 | 0.98493 | -0.10499 | 24.4141
24 | 0.12767 | 0.032079 | -0.12746 | -0.032001 | 0.00020693 | 7.8581e-05 | 0.1934 | 0.1934 | 0.1934 | 0.98245 | -0.12261 | 0.9808 | -0.13427 | 23.8761
25 | -0.13686 | -0.034423 | 0.1373 | 0.034593 | 0.00044753 | 0.0001702 | 0.2068 | 0.2068 | 0.2068 | 0.98493 | -0.10499 | 0.98826 | -0.08162 | 25.5314
26 | 0.0059909 | 0.0015008 | -0.0059897 | -0.0015006 | 1.222e-06 | 1.658e-07 | 0.0090506 | 0.0090507 | 0.0090507 | 0.98493 | -0.10499 | 0.98473 | -0.10647 | 3.3521
27 | 0.11557 | 0.02902 | -0.11543 | -0.028966 | 0.00014261 | 5.4007e-05 | 0.17535 | 0.17535 | 0.17535 | 0.9808 | -0.13427 | 0.97955 | -0.14317 | 21.6485
28 | 0.082983 | 0.02083 | -0.082917 | -0.020805 | 6.5739e-05 | 2.4535e-05 | 0.12612 | 0.12612 | 0.12612 | 0.97917 | -0.14593 | 0.97837 | -0.15164 | 15.5703
29 | -0.092268 | -0.023157 | 0.092304 | 0.02317 | 3.5378e-05 | 1.328e-05 | 0.14023 | 0.14023 | 0.14023 | 0.97917 | -0.14593 | 0.97955 | -0.14317 | 17.3123
30 | 0.0092854 | 0.0023273 | -0.0092799 | -0.0023258 | 5.5127e-06 | 1.5625e-06 | 0.014111 | 0.014111 | 0.014111 | 0.97917 | -0.14593 | 0.97857 | -0.15022 | 5.2263
31 | 0.013493 | 0.0033819 | -0.013492 | -0.0033814 | 1.3553e-06 | 4.5652e-07 | 0.020522 | 0.020522 | 0.020522 | 0.97837 | -0.15164 | 0.97827 | -0.15236 | 7.6009
32 | 0.069424 | 0.017423 | -0.069414 | -0.01742 | 9.7134e-06 | 3.5782e-06 | 0.1056 | 0.1056 | 0.1056 | 0.97837 | -0.15164 | 0.97823 | -0.15264 | 13.0366
33 | 0.023121 | 0.0057957 | -0.023113 | -0.0057928 | 7.9343e-06 | 2.9219e-06 | 0.035123 | 0.035123 | 0.035123 | 0.97955 | -0.14317 | 0.97921 | -0.14564 | 13.0087
34 | 0.13803 | 0.034803 | -0.13781 | -0.034719 | 0.00022101 | 8.4054e-05 | 0.20756 | 0.20756 | 0.20756 | 0.98989 | -0.070175 | 0.98826 | -0.08162 | 25.6247
35 | 0.0041463 | 0.0010382 | -0.0041458 | -0.0010383 | 5.7074e-07 | -8.4461e-08 | 0.0062257 | 0.0062258 | 0.0062258 | 0.99097 | -0.062671 | 0.99083 | -0.063667 | 2.3059
36 | 0.069414 | 0.01742 | -0.069384 | -0.017409 | 2.9908e-05 | 1.1017e-05 | 0.1056 | 0.1056 | 0.1056 | 0.97823 | -0.15264 | 0.97779 | -0.15575 | 13.0367
37 | 0.060839 | 0.015267 | -0.060825 | -0.015262 | 1.3274e-05 | 4.8254e-06 | 0.092592 | 0.092592 | 0.092592 | 0.97779 | -0.15575 | 0.97757 | -0.15732 | 11.4311
38 | 0.060825 | 0.015262 | -0.060784 | -0.015247 | 4.1814e-05 | 1.5201e-05 | 0.092592 | 0.092593 | 0.092593 | 0.97757 | -0.15732 | 0.97688 | -0.16228 | 11.4312
39 | 0.0036998 | 0.00092714 | -0.0036996 | -0.0009272 | 2.5248e-07 | -6.2371e-08 | 0.0056357 | 0.0056357 | 0.0056357 | 0.97688 | -0.16228 | 0.97681 | -0.16277 | 2.0873
40 | 0.057084 | 0.01432 | -0.057057 | -0.01431 | 2.7091e-05 | 9.7731e-06 | 0.086957 | 0.086957 | 0.086957 | 0.97688 | -0.16228 | 0.9764 | -0.1657 | 10.7355
41 | 0.0042128 | 0.0010556 | -0.0042121 | -0.0010556 | 6.7281e-07 | -8.8132e-08 | 0.0063265 | 0.0063267 | 0.0063267 | 0.99084 | -0.06369 | 0.99067 | -0.064844 | 2.3432
42 | -0.202 | -0.050992 | 0.2026 | 0.051224 | 0.00060725 | 0.0002323 | 0.30164 | 0.30164 | 0.30164 | 0.99691 | -0.021337 | 1 | 0 | 37.239
43 | 0.0019433 | 0.00048629 | -0.0019431 | -0.00048661 | 1.5787e-07 | -3.2189e-07 | 0.0029181 | 0.0029182 | 0.0029182 | 0.99083 | -0.063667 | 0.99075 | -0.064255 | 1.0808
44 | -0.000715 | -0.0001792 | 0.00071501 | 0.00017897 | 1.2945e-08 | -2.2668e-07 | 0.0010739 | 0.0010738 | 0.0010739 | 0.99073 | -0.064386 | 0.99075 | -0.064255 | 0.39774
45 | 0.0012281 | 0.00030764 | -0.0012281 | -0.00030778 | 2.5507e-08 | -1.4491e-07 | 0.0018444 | 0.0018445 | 0.0018445 | 0.99075 | -0.064255 | 0.99073 | -0.064406 | 0.68315
46 | -0.0039471 | -0.00098924 | 0.0039475 | 0.00098914 | 4.2846e-07 | -9.6118e-08 | 0.0058748 | 0.0058747 | 0.0058748 | 0.99975 | -0.0017207 | 0.99987 | -0.00093652 | 2.1759
47 | -0.0047212 | -0.001183 | 0.0047218 | 0.001183 | 6.1185e-07 | -2.5219e-08 | 0.0070261 | 0.0070261 | 0.0070261 | 0.99987 | -0.00093652 | 1 | 0 | 2.6023
48 | 0.0023562 | 0.00059018 | -0.002356 | -0.00059046 | 2.4536e-07 | -2.8701e-07 | 0.0035907 | 0.0035909 | 0.0035909 | 0.9764 | -0.1657 | 0.97629 | -0.16645 | 1.3299
49 | 0.0547 | 0.01372 | -0.054669 | -0.013709 | 3.1341e-05 | 1.1241e-05 | 0.083366 | 0.083367 | 0.083367 | 0.9764 | -0.1657 | 0.97582 | -0.16984 | 10.2922
50 | -0.0059477 | -0.0014905 | 0.0059482 | 0.0014906 | 4.9326e-07 | 7.1823e-08 | 0.009111 | 0.0091109 | 0.009111 | 0.97138 | -0.20181 | 0.97146 | -0.20121 | 3.3744
51 | 0.0034483 | 0.00086414 | -0.0034482 | -0.00086419 | 1.7316e-07 | -5.6504e-08 | 0.0052823 | 0.0052824 | 0.0052824 | 0.97138 | -0.20181 | 0.97133 | -0.20217 | 1.9564
52 | -0.0091567 | -0.0022947 | 0.0091579 | 0.0022951 | 1.1539e-06 | 3.2742e-07 | 0.014026 | 0.014026 | 0.014026 | 0.97146 | -0.20121 | 0.97159 | -0.2003 | 5.1946
53 | -0.013779 | -0.0034531 | 0.013782 | 0.0034543 | 3.4528e-06 | 1.1741e-06 | 0.021102 | 0.021102 | 0.021102 | 0.97159 | -0.2003 | 0.97184 | -0.19849 | 7.8157
54 | -0.016713 | -0.0041889 | 0.016716 | 0.0041896 | 2.6522e-06 | 6.9834e-07 | 0.02559 | 0.02559 | 0.02559 | 0.97184 | -0.19849 | 0.972 | -0.19734 | 4.7389
55 | 0.0026241 | 0.0006566 | -0.0026238 | -0.00065683 | 2.7589e-07 | -2.3349e-07 | 0.0040168 | 0.0040169 | 0.0040169 | 0.972 | -0.19734 | 0.97189 | -0.1981 | 1.4877
56 | -0.01934 | -0.0048462 | 0.019348 | 0.0048477 | 8.5364e-06 | 1.5414e-06 | 0.029607 | 0.029606 | 0.029607 | 0.972 | -0.19734 | 0.97244 | -0.19415 | 3.6551
57 | 0.0018205 | 0.00045591 | -0.0018204 | -0.00045623 | 1.4374e-07 | -3.1807e-07 | 0.002776 | 0.0027762 | 0.0027762 | 0.97579 | -0.17009 | 0.97571 | -0.17066 | 1.0282
58 | -0.0034074 | -0.00085362 | 0.0034075 | 0.00085358 | 1.195e-07 | -4.265e-08 | 0.005196 | 0.0051959 | 0.005196 | 0.97579 | -0.17009 | 0.97582 | -0.16984 | 1.9244
59 | 0.051262 | 0.012855 | -0.051235 | -0.012846 | 2.6564e-05 | 9.4342e-06 | 0.078171 | 0.078171 | 0.078171 | 0.97582 | -0.16984 | 0.9753 | -0.17358 | 9.6508
60 | 0.049964 | 0.012527 | -0.04994 | -0.012519 | 2.3844e-05 | 8.4327e-06 | 0.076232 | 0.076232 | 0.076232 | 0.9753 | -0.17358 | 0.97482 | -0.17702 | 9.4113
61 | -0.0083222 | -0.0020816 | 0.0083227 | 0.0020812 | 5.4983e-07 | -3.9477e-07 | 0.012736 | 0.012736 | 0.012736 | 0.97218 | -0.196 | 0.97225 | -0.19552 | 1.5724
62 | 0.0083222 | 0.0020816 | -0.0083211 | -0.0020824 | 1.0668e-06 | -7.6565e-07 | 0.012736 | 0.012737 | 0.012737 | 0.97218 | -0.196 | 0.97206 | -0.19693 | 1.5724
63 | -0.0089467 | -0.0022376 | 0.0089477 | 0.0022371 | 9.4077e-07 | -5.3597e-07 | 0.013691 | 0.013691 | 0.013691 | 0.97225 | -0.19552 | 0.97236 | -0.19476 | 1.6903
64 | 0.0066977 | 0.0016755 | -0.006697 | -0.0016764 | 6.63e-07 | -8.7276e-07 | 0.010252 | 0.010252 | 0.010252 | 0.97206 | -0.19693 | 0.97196 | -0.19765 | 1.2657
65 | 0.04864 | 0.012193 | -0.048614 | -0.012184 | 2.6398e-05 | 9.2925e-06 | 0.074248 | 0.074248 | 0.074248 | 0.97482 | -0.17702 | 0.97427 | -0.18094 | 9.1665
66 | -0.012604 | -0.0031536 | 0.012605 | 0.0031535 | 1.053e-06 | -1.0149e-07 | 0.019287 | 0.019287 | 0.019287 | 0.97236 | -0.19476 | 0.97244 | -0.19415 | 2.3811
67 | 0.0053847 | 0.0013475 | -0.0053844 | -0.0013475 | 3.6615e-07 | 3.3805e-08 | 0.008243 | 0.0082431 | 0.0082431 | 0.97196 | -0.19765 | 0.97189 | -0.19814 | 3.053
68 | 0.046735 | 0.011713 | -0.046706 | -0.011703 | 2.9192e-05 | 1.0199e-05 | 0.071379 | 0.071379 | 0.071379 | 0.97427 | -0.18094 | 0.97365 | -0.18546 | 8.8122
69 | -0.00037343 | -9.3589e-05 | 0.00037343 | 9.326e-05 | 5.4744e-09 | -3.2967e-07 | 0.00057212 | 0.000572 | 0.00057212 | 0.97124 | -0.20283 | 0.97125 | -0.20273 | 0.2119
70 | -0.00073181 | -0.00018308 | 0.00073183 | 0.00018287 | 1.3821e-08 | -2.1282e-07 | 0.0011211 | 0.001121 | 0.0011211 | 0.97125 | -0.20273 | 0.97127 | -0.20259 | 0.41521
71 | -0.00050318 | -0.00012611 | 0.00050319 | 0.00012588 | 6.8061e-09 | -2.2558e-07 | 0.00077002 | 0.00076994 | 0.00077002 | 0.97236 | -0.19474 | 0.97237 | -0.19464 | 0.28519
72 | -0.0043159 | -0.0010815 | 0.0043162 | 0.0010814 | 2.9078e-07 | -2.0687e-08 | 0.0066046 | 0.0066045 | 0.0066046 | 0.97237 | -0.19464 | 0.97244 | -0.19415 | 2.4461
73 | -0.0015659 | -0.00039192 | 0.001566 | 0.00039189 | 8.0411e-09 | -2.4622e-08 | 0.0023989 | 0.0023989 | 0.0023989 | 0.97127 | -0.20259 | 0.97128 | -0.20255 | 0.88847
74 | -0.03627 | -0.0090826 | 0.036281 | 0.0090861 | 1.0562e-05 | 3.4486e-06 | 0.055497 | 0.055497 | 0.055497 | 0.97244 | -0.19415 | 0.97273 | -0.19205 | 6.8515
75 | -0.001841 | -0.00046083 | 0.0018411 | 0.00046057 | 1.2343e-07 | -2.6034e-07 | 0.0028203 | 0.0028202 | 0.0028203 | 0.97128 | -0.20255 | 0.97135 | -0.20207 | 1.0445
76 | -0.039194 | -0.0098162 | 0.039203 | 0.0098192 | 8.9497e-06 | 2.9963e-06 | 0.059953 | 0.059953 | 0.059953 | 0.97273 | -0.19205 | 0.97296 | -0.19039 | 7.4017
77 | -0.0022521 | -0.00056358 | 0.0022525 | 0.00056317 | 3.1356e-07 | -4.0215e-07 | 0.0034498 | 0.0034496 | 0.0034498 | 0.97135 | -0.20207 | 0.97148 | -0.20106 | 1.2777
78 | -0.041853 | -0.010483 | 0.041862 | 0.010487 | 9.08e-06 | 3.0952e-06 | 0.064007 | 0.064007 | 0.064007 | 0.97296 | -0.19039 | 0.97318 | -0.18883 | 7.9021
79 | 0.0026238 | 0.00065683 | -0.0026231 | -0.00065741 | 6.8531e-07 | -5.796e-07 | 0.0040169 | 0.0040172 | 0.0040172 | 0.97189 | -0.1981 | 0.97163 | -0.19999 | 1.4879
80 | -0.045136 | -0.011307 | 0.045157 | 0.011314 | 2.1035e-05 | 7.2986e-06 | 0.069012 | 0.069012 | 0.069012 | 0.97318 | -0.18883 | 0.97365 | -0.18546 | 8.52
81 | 0.004106 | 0.0010271 | -0.0041051 | -0.0010272 | 8.8311e-07 | -1.0409e-07 | 0.0062858 | 0.006286 | 0.006286 | 0.97189 | -0.19814 | 0.97167 | -0.1997 | 2.3281
82 | 0.0041051 | 0.0010272 | -0.0041044 | -0.0010273 | 7.6889e-07 | -9.045e-08 | 0.006286 | 0.0062861 | 0.0062861 | 0.97167 | -0.1997 | 0.97148 | -0.20106 | 2.3282

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.21135 | 0.053215

## res_load
| p_mw | q_mvar
0 | 0.0027813 | 0.00069707
1 | 0.0023865 | 0.00059811
2 | 0.001622 | 0.00040652
3 | 0.0020835 | 0.00052219
4 | 0.0021075 | 0.00052818
5 | 0.010754 | 0.0026951
6 | 0.002395 | 0.00060024
7 | 0.0024343 | 0.00061009
8 | 0.0060069 | 0.0015055
9 | 0.0030373 | 0.00076122
10 | 0.0028773 | 0.00072112
11 | 0.011893 | 0.0029807
12 | 0.0092799 | 0.0023258
13 | 0.0020849 | 0.00052252
14 | 0.023113 | 0.0057928
15 | 0.0038344 | 0.00096099
16 | 0.0040215 | 0.0010079
17 | 0.00050215 | 0.00012585
18 | 0.0008663 | 0.00021712
19 | 0.0085456 | 0.0021417
20 | 0.013492 | 0.0033814
21 | 0.0017777 | 0.00044553
22 | 0.0014704 | 0.00036853
23 | 0.001364 | 0.00034185
24 | 0.0093266 | 0.0023375
25 | 0.0022025 | 0.000552
26 | 0.000715 | 0.0001792
27 | 0.0039471 | 0.00098924
28 | 0.00077369 | 0.00019391
29 | 0.0036996 | 0.0009272
30 | 0.0042121 | 0.0010556
31 | 0.0012281 | 0.00030778
32 | 0.0024993 | 0.00062639
33 | 0.0032085 | 0.00080413
34 | 0.0034482 | 0.00086419
35 | 0.0046208 | 0.0011581
36 | 0.002931 | 0.00073458
37 | 0.0015869 | 0.00039771
38 | 0.0018204 | 0.00045623
39 | 0.0012712 | 0.0003186
40 | 0.00062403 | 0.0001564
41 | 0.0016234 | 0.00040687
42 | 0.0012995 | 0.00032569
43 | 0.002356 | 0.00059046
44 | 0.0036567 | 0.00091647
45 | 0.0013123 | 0.00032888
46 | 0.0018789 | 0.00047091
47 | 0.00037343 | 9.3589e-05
48 | 0.00035838 | 8.9819e-05
49 | 0.00050318 | 0.00012611
50 | 0.0038128 | 0.00095557
51 | 0.00083412 | 0.00020905
52 | 0.00027507 | 6.8939e-05
53 | 0.0029132 | 0.00073011
54 | 0.000411 | 0.00010301
55 | 0.003223 | 0.00080776
56 | 0.0026504 | 0.00066424
57 | 0.0032739 | 0.00082052
58 | 0.0026231 | 0.00065741
59 | 0.0015488 | 0.00038817
60 | 0.0012783 | 0.00032038
61 | 0.0018519 | 0.00046413

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1