## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1202-17_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1202-17_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1202-17_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1202-17_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1202-17_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1202-17_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1202-17_0_3_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_1202-17_0_3_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_1202-17_0_3_node_25 | 0.4 | n |  | TRUE
9 | bus_LV_1202-17_0_3_node_34 | 0.4 | n |  | TRUE
10 | bus_LV_1202-17_0_3_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_1202-17_0_3_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_1202-17_0_3_node_23 | 0.4 | n |  | TRUE
13 | bus_LV_1202-17_0_3_node_26 | 0.4 | n |  | TRUE
14 | bus_LV_1202-17_0_3_node_31 | 0.4 | n |  | TRUE
15 | bus_LV_1202-17_0_3_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_1202-17_0_3_node_35 | 0.4 | n |  | TRUE
17 | bus_LV_1202-17_0_3_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_1202-17_0_3_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_1202-17_0_3_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_1202-17_0_3_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_1202-17_0_3_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_1202-17_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1202-17_0_3_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_1202-17_0_3_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_1202-17_0_3_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_1202-17_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_1202-17_0_3_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_1202-17_0_3_node_38 | 0.4 | n |  | TRUE
29 | bus_LV_1202-17_0_3_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_1202-17_0_3_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_1202-17_0_3_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_1202-17_0_3_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_1202-17_0_3_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_1202-17_0_3_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_1202-17_0_3_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_1202-17_0_3_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_1202-17_0_3_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_1202-17_0_3_node_41 | 0.4 | n |  | TRUE
39 | bus_MV_132_0_node_28 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1202-17_0_3_load_0 | 0 | 0.0058671 | 0.0014704 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1202-17_0_3_load_4 | 4 | 0.0071495 | 0.0017918 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1202-17_0_3_load_11 | 7 | 0.010008 | 0.0025083 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1202-17_0_3_load_34 | 9 | 0.0026288 | 0.00065884 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1202-17_0_3_load_14 | 11 | 0.0087773 | 0.0021998 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1202-17_0_3_load_31 | 14 | 0.0013559 | 0.00033982 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1202-17_0_3_load_21 | 15 | 0.0013837 | 0.00034679 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1202-17_0_3_load_35 | 16 | 0.011707 | 0.0029339 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1202-17_0_3_load_7 | 17 | 0.0038101 | 0.00095491 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1202-17_0_3_load_8 | 18 | 0.0023028 | 0.00057714 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1202-17_0_3_load_9 | 19 | 0.0092495 | 0.0023181 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1202-17_0_3_load_12 | 21 | 0.023566 | 0.0059062 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1202-17_0_3_load_13 | 22 | 0.014175 | 0.0035526 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1202-17_0_3_load_16 | 26 | 0.031261 | 0.0078346 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1202-17_0_3_load_36 | 29 | 0.031108 | 0.0077963 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1202-17_0_3_load_39 | 30 | 0.029656 | 0.0074326 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1202-17_0_3_load_22 | 31 | 0.0018029 | 0.00045185 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1202-17_0_3_load_24 | 32 | 0.0020496 | 0.00051369 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1202-17_0_3_load_27 | 33 | 0.001767 | 0.00044284 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1202-17_0_3_load_30 | 34 | 0.0017457 | 0.00043751 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1202-17_0_3_load_28 | 35 | 0.0025163 | 0.00063065 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1202-17_0_3_load_29 | 36 | 0.0099241 | 0.0024872 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1202-17_0_3_load_32 | 37 | 0.0059453 | 0.00149 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1202-17_0_3_load_41 | 38 | 0.0034 | 0.00085213 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1202-17_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0040395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_1202-17_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.029483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_1202-17_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.027506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_1202-17_0_3_line_3 | NAYY 4x150 SE | 1 | 4 | 0.012346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1202-17_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.052336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_1202-17_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.033066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_1202-17_0_3_line_6 | NAYY 4x150 SE | 3 | 7 | 0.013069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1202-17_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.12102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_1202-17_0_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.10431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1202-17_0_3_line_9 | NAYY 4x150 SE | 6 | 10 | 0.035442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1202-17_0_3_line_10 | NAYY 4x150 SE | 6 | 11 | 0.013553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_1202-17_0_3_line_11 | NAYY 4x150 SE | 8 | 12 | 0.13925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_1202-17_0_3_line_12 | NAYY 4x150 SE | 9 | 16 | 0.0036999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1202-17_0_3_line_13 | NAYY 4x150 SE | 10 | 26 | 0.0037594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1202-17_0_3_line_14 | NAYY 4x150 SE | 11 | 21 | 0.023218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_1202-17_0_3_line_15 | NAYY 4x150 SE | 12 | 15 | 0.056719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1202-17_0_3_line_16 | NAYY 4x150 SE | 12 | 13 | 0.15834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1202-17_0_3_line_17 | NAYY 4x150 SE | 13 | 14 | 0.1155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1202-17_0_3_line_18 | NAYY 4x150 SE | 14 | 34 | 0.0026986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1202-17_0_3_line_19 | NAYY 4x150 SE | 15 | 31 | 0.013635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1202-17_0_3_line_20 | NAYY 4x150 SE | 17 | 18 | 0.0094157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1202-17_0_3_line_21 | NAYY 4x150 SE | 17 | 19 | 0.018907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1202-17_0_3_line_22 | NAYY 4x150 SE | 18 | 20 | 0.040319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1202-17_0_3_line_23 | NAYY 4x150 SE | 20 | 21 | 0.032425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1202-17_0_3_line_24 | NAYY 4x150 SE | 20 | 22 | 0.037061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1202-17_0_3_line_25 | NAYY 4x150 SE | 23 | 24 | 0.006059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1202-17_0_3_line_26 | NAYY 4x150 SE | 23 | 25 | 0.009699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1202-17_0_3_line_27 | NAYY 4x150 SE | 24 | 29 | 0.0070682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1202-17_0_3_line_28 | NAYY 4x150 SE | 25 | 26 | 0.029699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1202-17_0_3_line_29 | NAYY 4x150 SE | 27 | 28 | 0.003505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1202-17_0_3_line_30 | NAYY 4x150 SE | 27 | 29 | 0.010601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1202-17_0_3_line_31 | NAYY 4x150 SE | 28 | 30 | 0.0189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1202-17_0_3_line_32 | NAYY 4x150 SE | 31 | 32 | 0.0098659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1202-17_0_3_line_33 | NAYY 4x150 SE | 32 | 33 | 0.0047296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1202-17_0_3_line_34 | NAYY 4x150 SE | 34 | 37 | 0.06232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1202-17_0_3_line_35 | NAYY 4x150 SE | 34 | 35 | 0.013091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1202-17_0_3_line_36 | NAYY 4x150 SE | 35 | 36 | 0.019712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1202-17_0_3_line_37 | NAYY 4x150 SE | 37 | 38 | 0.083512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1202-17_0_3_trafo_12 | 0.25 MVA 20/0.4 kV | 39 | 21 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2688585.1359 | 1165610.9266 | 2688583.4878 | 1165614.6147
1 | 2688571.4591 | 1165641.5325 | 2688583.4878 | 1165614.6147
2 | 2688585.1359 | 1165610.9266 | 2688596.3655 | 1165585.8103
3 | 2688585.1359 | 1165610.9266 | 2688573.9294 | 1165605.7471
4 | 2688550.3595 | 1165689.4395 | 2688571.4591 | 1165641.5325
5 | 2688610.0049 | 1165555.682 | 2688607.0853 | 1165562.5542 | 2688596.3655 | 1165585.8103
6 | 2688596.3655 | 1165585.8103 | 2688608.061 | 1165591.6422
7 | 2688478.3853 | 1165728.2031 | 2688487.007 | 1165731.9212 | 2688508.4292 | 1165742.643 | 2688512.715 | 1165743.8624 | 2688518.4879 | 1165745.504 | 2688520.2853 | 1165746.1753 | 2688529.4967 | 1165750.9249 | 2688533.3444 | 1165738.7409 | 2688537.1626 | 1165727.0011 | 2688541.4589 | 1165714.001 | 2688550.3595 | 1165689.4395
8 | 2688550.3595 | 1165689.4395 | 2688573.626 | 1165698.1764 | 2688581.1429 | 1165695.7969 | 2688609.4286 | 1165671.5991 | 2688616.7114 | 1165668.4824 | 2688631.412 | 1165669.1995 | 2688642.1437 | 1165673.8863
9 | 2688610.0049 | 1165555.682 | 2688625.7515 | 1165523.9171
10 | 2688610.0049 | 1165555.682 | 2688618.8581 | 1165559.2924 | 2688622.5159 | 1165560.8914
11 | 2688478.3853 | 1165728.2031 | 2688487.007 | 1165731.9212 | 2688508.4292 | 1165742.643 | 2688512.715 | 1165743.8624 | 2688518.4879 | 1165745.504 | 2688520.2853 | 1165746.1753 | 2688529.4967 | 1165750.9249 | 2688525.6325 | 1165772.5477 | 2688538.431 | 1165776.0383 | 2688570.3763 | 1165787.1823 | 2688583.463 | 1165792.4228
12 | 2688645.5343 | 1165675.367 | 2688642.1437 | 1165673.8863
13 | 2688625.7515 | 1165523.9171 | 2688627.447 | 1165520.5618
14 | 2688622.5159 | 1165560.8914 | 2688625.3334 | 1165562.123 | 2688643.8357 | 1165570.0862
15 | 2688583.463 | 1165792.4228 | 2688592.454 | 1165796.013 | 2688604.2066 | 1165799.7996 | 2688617.1475 | 1165800.3796 | 2688624.9742 | 1165795.6811 | 2688629.4396 | 1165785.7631 | 2688630.0259 | 1165784.1347
16 | 2688583.463 | 1165792.4228 | 2688570.3763 | 1165787.1823 | 2688538.431 | 1165776.0383 | 2688525.6325 | 1165772.5477 | 2688524.333 | 1165778.6212 | 2688522.1287 | 1165791.0184 | 2688564.8873 | 1165808.8812 | 2688572.1476 | 1165811.9567 | 2688594.0219 | 1165822.1074
17 | 2688594.0219 | 1165822.1074 | 2688626.8656 | 1165831.5084 | 2688637.8425 | 1165832.3263 | 2688648.2067 | 1165829.5219 | 2688657.2947 | 1165820.8284 | 2688667.3247 | 1165802.2651 | 2688674.2333 | 1165796.9972 | 2688677.9381 | 1165795.5509 | 2688682.8381 | 1165797.1798 | 2688689.8175 | 1165801.2676
18 | 2688692.1462 | 1165802.6315 | 2688692.1462 | 1165802.6315 | 2688689.8175 | 1165801.2676
19 | 2688634.6446 | 1165771.306 | 2688630.0259 | 1165784.1347
20 | 2688650.2184 | 1165625.3882 | 2688654.2496 | 1165619.2839 | 2688655.6357 | 1165617.7056
21 | 2688650.2184 | 1165625.3882 | 2688649.1816 | 1165626.9582 | 2688633.937 | 1165619.3765
22 | 2688673.6575 | 1165582.8147 | 2688668.0907 | 1165603.5229 | 2688655.6357 | 1165617.7056
23 | 2688673.6575 | 1165582.8147 | 2688669.0139 | 1165580.9229 | 2688643.8357 | 1165570.0862
24 | 2688673.6575 | 1165582.8147 | 2688667.7273 | 1165559.1352 | 2688664.9588 | 1165546.7918
25 | 2688655.6943 | 1165495.9529 | 2688653.451 | 1165497.9877 | 2688650.5944 | 1165499.0351
26 | 2688642.3528 | 1165494.9666 | 2688644.8848 | 1165497.7612 | 2688648.4188 | 1165499.0808 | 2688650.5944 | 1165499.0351
27 | 2688655.6943 | 1165495.9529 | 2688657.1282 | 1165492.7165 | 2688657.0041 | 1165489.1903
28 | 2688642.3528 | 1165494.9666 | 2688635.5177 | 1165504.5828 | 2688630.5872 | 1165514.3493 | 2688628.9858 | 1165517.5165 | 2688627.447 | 1165520.5618
29 | 2688649.0265 | 1165483.3247 | 2688650.5511 | 1165480.1675
30 | 2688649.0265 | 1165483.3247 | 2688652.5014 | 1165483.9763 | 2688655.3499 | 1165486.0751 | 2688657.0041 | 1165489.1903
31 | 2688650.5511 | 1165480.1675 | 2688654.6269 | 1165471.7558 | 2688656.1126 | 1165469.1651 | 2688659.3566 | 1165463.6651 | 2688659.4488 | 1165463.5088
32 | 2688637.9866 | 1165762.0234 | 2688634.6446 | 1165771.306
33 | 2688639.5887 | 1165757.5735 | 2688637.9866 | 1165762.0234
34 | 2688692.1462 | 1165802.6315 | 2688737.4601 | 1165759.8483
35 | 2688692.8284 | 1165815.7044 | 2688692.1462 | 1165802.6315
36 | 2688692.8284 | 1165815.7044 | 2688693.149 | 1165821.8468 | 2688686.4217 | 1165833.6214
37 | 2688737.4601 | 1165759.8483 | 2688790.1015 | 1165824.6798

## bus_geodata
| x | y | coords
0 | 2688583.4878 | 1165614.6147
1 | 2688585.1359 | 1165610.9266
2 | 2688571.4591 | 1165641.5325
3 | 2688596.3655 | 1165585.8103
4 | 2688573.9294 | 1165605.7471
5 | 2688550.3595 | 1165689.4395
6 | 2688610.0049 | 1165555.682
7 | 2688608.061 | 1165591.6422
8 | 2688478.3853 | 1165728.2031
9 | 2688642.1437 | 1165673.8863
10 | 2688625.7515 | 1165523.9171
11 | 2688622.5159 | 1165560.8914
12 | 2688583.463 | 1165792.4228
13 | 2688594.0219 | 1165822.1074
14 | 2688689.8175 | 1165801.2676
15 | 2688630.0259 | 1165784.1347
16 | 2688645.5343 | 1165675.367
17 | 2688650.2184 | 1165625.3882
18 | 2688655.6357 | 1165617.7056
19 | 2688633.937 | 1165619.3765
20 | 2688673.6575 | 1165582.8147
21 | 2688643.8357 | 1165570.0862
22 | 2688664.9588 | 1165546.7918
23 | 2688650.5944 | 1165499.0351
24 | 2688655.6943 | 1165495.9529
25 | 2688642.3528 | 1165494.9666
26 | 2688627.447 | 1165520.5618
27 | 2688649.0265 | 1165483.3247
28 | 2688650.5511 | 1165480.1675
29 | 2688657.0041 | 1165489.1903
30 | 2688659.4488 | 1165463.5088
31 | 2688634.6446 | 1165771.306
32 | 2688637.9866 | 1165762.0234
33 | 2688639.5887 | 1165757.5735
34 | 2688692.1462 | 1165802.6315
35 | 2688692.8284 | 1165815.7044
36 | 2688686.4217 | 1165833.6214
37 | 2688737.4601 | 1165759.8483
38 | 2688790.1015 | 1165824.6798
39 | 2688643.8357 | 1165570.0862

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99257 | -0.051674 | 0.0058671 | 0.0014704
1 | 0.99272 | -0.050606 | 0 | 0
2 | 0.99158 | -0.058603 | 0 | 0
3 | 0.99391 | -0.042346 | 0 | 0
4 | 0.9926 | -0.0515 | 0.0071495 | 0.0017918
5 | 0.98982 | -0.070934 | 0 | 0
6 | 0.99557 | -0.030775 | 0 | 0
7 | 0.99372 | -0.043668 | 0.010008 | 0.0025083
8 | 0.987 | -0.090702 | 0 | 0
9 | 0.98766 | -0.086205 | 0.0026288 | 0.00065884
10 | 0.99085 | -0.063777 | 0 | 0
11 | 0.99715 | -0.019777 | 0.0087773 | 0.0021998
12 | 0.98375 | -0.11357 | 0 | 0
13 | 0.97798 | -0.15451 | 0 | 0
14 | 0.97377 | -0.18466 | 0.0013559 | 0.00033982
15 | 0.98318 | -0.11767 | 0.0013837 | 0.00034679
16 | 0.9876 | -0.086648 | 0.011707 | 0.0029339
17 | 0.99757 | -0.017015 | 0.0038101 | 0.00095491
18 | 0.99775 | -0.015782 | 0.0023028 | 0.00057714
19 | 0.99732 | -0.01877 | 0.0092495 | 0.0023181
20 | 0.99863 | -0.0095758 | 0 | 0
21 | 1 | 0 | -0.20279 | -0.05092
22 | 0.99788 | -0.014838 | 0.014175 | 0.0035526
23 | 0.98689 | -0.091744 | 0 | 0
24 | 0.98636 | -0.095519 | 0 | 0
25 | 0.98774 | -0.08571 | 0 | 0
26 | 0.99035 | -0.067296 | 0.031261 | 0.0078346
27 | 0.98528 | -0.10316 | 0 | 0
28 | 0.98513 | -0.10423 | 0 | 0
29 | 0.98574 | -0.099928 | 0.031108 | 0.0077963
30 | 0.98432 | -0.11 | 0.029656 | 0.0074326
31 | 0.98306 | -0.11846 | 0.0018029 | 0.00045185
32 | 0.98301 | -0.11885 | 0.0020496 | 0.00051369
33 | 0.983 | -0.11894 | 0.001767 | 0.00044284
34 | 0.97368 | -0.18533 | 0.0017457 | 0.00043751
35 | 0.97344 | -0.18704 | 0.0025163 | 0.00063065
36 | 0.97315 | -0.1891 | 0.0099241 | 0.0024872
37 | 0.97282 | -0.19147 | 0.0059453 | 0.00149
38 | 0.97241 | -0.19447 | 0.0034 | 0.00085213
39 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.052712 | -0.013277 | 0.05272 | 0.01328 | 7.875e-06 | 2.9244e-06 | 0.079047 | 0.079047 | 0.079047 | 0.99257 | -0.051674 | 0.99272 | -0.050606 | 14.6383
1 | 0.046845 | 0.011806 | -0.046799 | -0.01179 | 4.5398e-05 | 1.6699e-05 | 0.070251 | 0.070251 | 0.070251 | 0.99257 | -0.051674 | 0.99158 | -0.058603 | 13.0095
2 | -0.05987 | -0.015072 | 0.059939 | 0.015098 | 6.915e-05 | 2.5884e-05 | 0.089764 | 0.089764 | 0.089764 | 0.99272 | -0.050606 | 0.99391 | -0.042346 | 16.623
3 | 0.0071504 | 0.001792 | -0.0071495 | -0.0017918 | 8.8494e-07 | 1.8077e-07 | 0.010718 | 0.010718 | 0.010718 | 0.99272 | -0.050606 | 0.9926 | -0.0515 | 3.9696
4 | 0.046799 | 0.01179 | -0.046719 | -0.01176 | 8.0587e-05 | 2.9647e-05 | 0.070251 | 0.070252 | 0.070252 | 0.99158 | -0.058603 | 0.98982 | -0.070934 | 13.0096
5 | -0.069949 | -0.017607 | 0.070063 | 0.017649 | 0.0001132 | 4.268e-05 | 0.10475 | 0.10475 | 0.10475 | 0.99391 | -0.042346 | 0.99557 | -0.030775 | 19.3983
6 | 0.01001 | 0.0025088 | -0.010008 | -0.0025083 | 1.8316e-06 | 5.3511e-07 | 0.014986 | 0.014987 | 0.014987 | 0.99391 | -0.042346 | 0.99372 | -0.043668 | 5.5506
7 | 0.032352 | 0.0081567 | -0.032263 | -0.0081254 | 8.9383e-05 | 3.1276e-05 | 0.048653 | 0.048654 | 0.048654 | 0.98982 | -0.070934 | 0.987 | -0.090702 | 9.0101
8 | 0.014366 | 0.0036034 | -0.014336 | -0.003593 | 3.0365e-05 | 1.0341e-05 | 0.021598 | 0.021599 | 0.021599 | 0.98982 | -0.070934 | 0.98766 | -0.086205 | 7.9996
9 | 0.092813 | 0.023365 | -0.092387 | -0.023202 | 0.00042582 | 0.00016332 | 0.13876 | 0.13876 | 0.13876 | 0.99557 | -0.030775 | 0.99085 | -0.063777 | 51.3924
10 | -0.16288 | -0.041014 | 0.16313 | 0.04111 | 0.00025074 | 9.6086e-05 | 0.24351 | 0.24351 | 0.24351 | 0.99557 | -0.030775 | 0.99715 | -0.019777 | 45.0944
11 | 0.032263 | 0.0081254 | -0.03216 | -0.0080894 | 0.00010285 | 3.6009e-05 | 0.048654 | 0.048656 | 0.048656 | 0.987 | -0.090702 | 0.98375 | -0.11357 | 9.0103
12 | 0.011707 | 0.0029342 | -0.011707 | -0.0029339 | 7.1826e-07 | 2.2891e-07 | 0.017638 | 0.017638 | 0.017638 | 0.98766 | -0.086205 | 0.9876 | -0.086648 | 6.5327
13 | 0.092387 | 0.023202 | -0.092342 | -0.023185 | 4.5167e-05 | 1.7324e-05 | 0.13876 | 0.13876 | 0.13876 | 0.99085 | -0.063777 | 0.99035 | -0.067296 | 51.3924
14 | -0.1719 | -0.04331 | 0.17238 | 0.043493 | 0.000477 | 0.00018285 | 0.25661 | 0.25661 | 0.25661 | 0.99715 | -0.019777 | 1 | 0 | 47.52
15 | 0.007008 | 0.0017559 | -0.007004 | -0.0017551 | 3.9769e-06 | 8.0987e-07 | 0.0106 | 0.0106 | 0.0106 | 0.98375 | -0.11357 | 0.98318 | -0.11767 | 3.9261
16 | 0.025152 | 0.0063335 | -0.025009 | -0.0062804 | 0.00014309 | 5.3037e-05 | 0.038055 | 0.038056 | 0.038056 | 0.98375 | -0.11357 | 0.97798 | -0.15451 | 14.0949
17 | 0.025009 | 0.0062804 | -0.024905 | -0.0062417 | 0.00010438 | 3.8704e-05 | 0.038056 | 0.038057 | 0.038057 | 0.97798 | -0.15451 | 0.97377 | -0.18466 | 14.0951
18 | 0.023549 | 0.0059019 | -0.023547 | -0.0059011 | 2.1805e-06 | 8.051e-07 | 0.035985 | 0.035985 | 0.035985 | 0.97377 | -0.18466 | 0.97368 | -0.18533 | 13.3277
19 | 0.0056203 | 0.0014083 | -0.0056197 | -0.0014083 | 6.1561e-07 | 6.3881e-08 | 0.0085062 | 0.0085062 | 0.0085062 | 0.98318 | -0.11767 | 0.98306 | -0.11846 | 3.1505
20 | -0.013062 | -0.0032737 | 0.013064 | 0.0032744 | 2.2304e-06 | 7.3489e-07 | 0.019484 | 0.019484 | 0.019484 | 0.99757 | -0.017015 | 0.99775 | -0.015782 | 7.2162
21 | 0.0092518 | 0.0023188 | -0.0092495 | -0.0023181 | 2.247e-06 | 6.1743e-07 | 0.0138 | 0.0138 | 0.0138 | 0.99757 | -0.017015 | 0.99732 | -0.01877 | 5.1113
22 | -0.015367 | -0.0038515 | 0.01538 | 0.0038561 | 1.3214e-05 | 4.5553e-06 | 0.022918 | 0.022918 | 0.022918 | 0.99775 | -0.015782 | 0.99863 | -0.0095758 | 8.4881
23 | -0.029566 | -0.0074122 | 0.029605 | 0.0074269 | 3.927e-05 | 1.4679e-05 | 0.044055 | 0.044055 | 0.044055 | 0.99863 | -0.0095758 | 1 | 0 | 16.3167
24 | 0.014185 | 0.0035561 | -0.014175 | -0.0035526 | 1.0332e-05 | 3.4895e-06 | 0.021137 | 0.021137 | 0.021137 | 0.99863 | -0.0095758 | 0.99788 | -0.014838 | 7.8287
25 | 0.060874 | 0.015271 | -0.060843 | -0.015259 | 3.1855e-05 | 1.2175e-05 | 0.09179 | 0.091791 | 0.091791 | 0.98689 | -0.091744 | 0.98636 | -0.095519 | 33.9965
26 | -0.060874 | -0.015271 | 0.060925 | 0.01529 | 5.0993e-05 | 1.9488e-05 | 0.09179 | 0.09179 | 0.09179 | 0.98689 | -0.091744 | 0.98774 | -0.08571 | 33.9965
27 | 0.060843 | 0.015259 | -0.060805 | -0.015244 | 3.7161e-05 | 1.4203e-05 | 0.091791 | 0.091791 | 0.091791 | 0.98636 | -0.095519 | 0.98574 | -0.099928 | 33.9965
28 | -0.060925 | -0.01529 | 0.061082 | 0.01535 | 0.00015614 | 5.9674e-05 | 0.09179 | 0.09179 | 0.09179 | 0.98774 | -0.08571 | 0.99035 | -0.067296 | 33.9965
29 | 0.029684 | 0.0074431 | -0.02968 | -0.0074414 | 4.3959e-06 | 1.6461e-06 | 0.044832 | 0.044832 | 0.044832 | 0.98528 | -0.10316 | 0.98513 | -0.10423 | 16.6044
30 | -0.029684 | -0.0074431 | 0.029698 | 0.0074481 | 1.3295e-05 | 4.9785e-06 | 0.044832 | 0.044832 | 0.044832 | 0.98528 | -0.10316 | 0.98574 | -0.099928 | 16.6044
31 | 0.02968 | 0.0074414 | -0.029656 | -0.0074326 | 2.3705e-05 | 8.8767e-06 | 0.044832 | 0.044832 | 0.044832 | 0.98513 | -0.10423 | 0.98432 | -0.11 | 16.6044
32 | 0.0038168 | 0.00095643 | -0.0038166 | -0.00095648 | 2.0548e-07 | -4.6048e-08 | 0.0057773 | 0.0057773 | 0.0057773 | 0.98306 | -0.11846 | 0.98301 | -0.11885 | 2.1398
33 | 0.001767 | 0.00044279 | -0.001767 | -0.00044284 | 2.1114e-08 | -5.1837e-08 | 0.0026747 | 0.0026747 | 0.0026747 | 0.98301 | -0.11885 | 0.983 | -0.11894 | 0.99065
34 | 0.0093547 | 0.0023439 | -0.0093467 | -0.0023417 | 7.9479e-06 | 2.2824e-06 | 0.014296 | 0.014296 | 0.014296 | 0.97368 | -0.18533 | 0.97282 | -0.19147 | 5.2949
35 | 0.012446 | 0.0031197 | -0.012443 | -0.0031187 | 2.9554e-06 | 9.739e-07 | 0.019021 | 0.019021 | 0.019021 | 0.97368 | -0.18533 | 0.97344 | -0.18704 | 7.0448
36 | 0.0099269 | 0.002488 | -0.0099241 | -0.0024872 | 2.8323e-06 | 8.4437e-07 | 0.015175 | 0.015175 | 0.015175 | 0.97344 | -0.18704 | 0.97315 | -0.1891 | 5.6202
37 | 0.0034014 | 0.00085163 | -0.0034 | -0.00085213 | 1.4105e-06 | -4.9391e-07 | 0.0052025 | 0.0052029 | 0.0052029 | 0.97282 | -0.19147 | 0.97241 | -0.19447 | 1.927

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.22635 | 0.056826

## res_load
| p_mw | q_mvar
0 | 0.0058671 | 0.0014704
1 | 0.0071495 | 0.0017918
2 | 0.010008 | 0.0025083
3 | 0.0026288 | 0.00065884
4 | 0.0087773 | 0.0021998
5 | 0.0013559 | 0.00033982
6 | 0.0013837 | 0.00034679
7 | 0.011707 | 0.0029339
8 | 0.0038101 | 0.00095491
9 | 0.0023028 | 0.00057714
10 | 0.0092495 | 0.0023181
11 | 0.023566 | 0.0059062
12 | 0.014175 | 0.0035526
13 | 0.031261 | 0.0078346
14 | 0.031108 | 0.0077963
15 | 0.029656 | 0.0074326
16 | 0.0018029 | 0.00045185
17 | 0.0020496 | 0.00051369
18 | 0.001767 | 0.00044284
19 | 0.0017457 | 0.00043751
20 | 0.0025163 | 0.00063065
21 | 0.0099241 | 0.0024872
22 | 0.0059453 | 0.00149
23 | 0.0034 | 0.00085213

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1