## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1202-7_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1202-7_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1202-7_0_4_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_1202-7_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1202-7_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1202-7_0_4_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_1202-7_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_1202-7_0_4_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_1202-7_0_4_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_1202-7_0_4_node_35 | 0.4 | n |  | TRUE
10 | bus_LV_1202-7_0_4_node_34 | 0.4 | n |  | TRUE
11 | bus_LV_1202-7_0_4_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_1202-7_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_1202-7_0_4_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_1202-7_0_4_node_36 | 0.4 | n |  | TRUE
15 | bus_LV_1202-7_0_4_node_33 | 0.4 | n |  | TRUE
16 | bus_LV_1202-7_0_4_node_32 | 0.4 | n |  | TRUE
17 | bus_LV_1202-7_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_1202-7_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_1202-7_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_1202-7_0_4_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_1202-7_0_4_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_1202-7_0_4_node_39 | 0.4 | n |  | TRUE
23 | bus_LV_1202-7_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_1202-7_0_4_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_1202-7_0_4_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_1202-7_0_4_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_1202-7_0_4_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_1202-7_0_4_node_38 | 0.4 | n |  | TRUE
29 | bus_LV_1202-7_0_4_node_37 | 0.4 | n |  | TRUE
30 | bus_LV_1202-7_0_4_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_1202-7_0_4_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_1202-7_0_4_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_1202-7_0_4_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_1202-7_0_4_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_1202-7_0_4_node_29 | 0.4 | n |  | TRUE
36 | bus_MV_132_0_node_43 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1202-7_0_4_load_0 | 0 | 0.036812 | 0.0092259 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1202-7_0_4_load_15 | 7 | 0.0026577 | 0.00066608 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1202-7_0_4_load_35 | 9 | 0.0055329 | 0.0013867 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1202-7_0_4_load_34 | 10 | 0.011175 | 0.0028006 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1202-7_0_4_load_14 | 11 | 0.0082009 | 0.0020553 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1202-7_0_4_load_9 | 12 | 0.0038907 | 0.00097511 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1202-7_0_4_load_12 | 13 | 0.0083365 | 0.0020893 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1202-7_0_4_load_36 | 14 | 0.0049226 | 0.0012337 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1202-7_0_4_load_33 | 15 | 0.0072477 | 0.0018164 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1202-7_0_4_load_10 | 17 | 0.015204 | 0.0038105 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1202-7_0_4_load_11 | 18 | 0.0028166 | 0.00070589 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1202-7_0_4_load_24 | 20 | 0.027061 | 0.006782 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1202-7_0_4_load_39 | 22 | 0.0015784 | 0.00039559 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1202-7_0_4_load_20 | 24 | 0.0037766 | 0.00094651 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1202-7_0_4_load_16 | 25 | 0.0040525 | 0.0010157 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1202-7_0_4_load_17 | 26 | 0.0041476 | 0.0010395 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1202-7_0_4_load_19 | 27 | 0.013042 | 0.0032685 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1202-7_0_4_load_38 | 28 | 0.0086238 | 0.0021613 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1202-7_0_4_load_37 | 29 | 0.0053724 | 0.0013465 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1202-7_0_4_load_31 | 30 | 0.0078045 | 0.001956 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1202-7_0_4_load_25 | 31 | 0.020875 | 0.0052317 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1202-7_0_4_load_26 | 32 | 0.010587 | 0.0026533 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1202-7_0_4_load_27 | 33 | 0.0097053 | 0.0024324 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1202-7_0_4_load_29 | 35 | 0.01447 | 0.0036265 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1202-7_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0059183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1202-7_0_4_line_1 | NAYY 4x150 SE | 1 | 5 | 0.012426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1202-7_0_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.023056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1202-7_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.01392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1202-7_0_4_line_4 | NAYY 4x150 SE | 3 | 6 | 0.013034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1202-7_0_4_line_5 | NAYY 4x150 SE | 3 | 7 | 0.0042148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1202-7_0_4_line_6 | NAYY 4x150 SE | 4 | 10 | 0.03293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1202-7_0_4_line_7 | NAYY 4x150 SE | 4 | 11 | 0.017462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1202-7_0_4_line_8 | NAYY 4x150 SE | 4 | 8 | 0.039982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_1202-7_0_4_line_9 | NAYY 4x150 SE | 5 | 11 | 0.0054793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1202-7_0_4_line_10 | NAYY 4x150 SE | 5 | 13 | 0.011579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1202-7_0_4_line_11 | NAYY 4x150 SE | 6 | 12 | 0.031299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1202-7_0_4_line_12 | NAYY 4x150 SE | 8 | 9 | 0.021492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_1202-7_0_4_line_13 | NAYY 4x150 SE | 9 | 14 | 0.011509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_1202-7_0_4_line_14 | NAYY 4x150 SE | 13 | 17 | 0.0085295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1202-7_0_4_line_15 | NAYY 4x150 SE | 14 | 29 | 0.0094671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_1202-7_0_4_line_16 | NAYY 4x150 SE | 15 | 16 | 0.016341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1202-7_0_4_line_17 | NAYY 4x150 SE | 16 | 35 | 0.029825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1202-7_0_4_line_18 | NAYY 4x150 SE | 17 | 18 | 0.019605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1202-7_0_4_line_19 | NAYY 4x150 SE | 18 | 19 | 0.0064711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1202-7_0_4_line_20 | NAYY 4x150 SE | 19 | 20 | 0.011784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1202-7_0_4_line_21 | NAYY 4x150 SE | 21 | 22 | 0.061512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1202-7_0_4_line_22 | NAYY 4x150 SE | 21 | 23 | 0.058602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1202-7_0_4_line_23 | NAYY 4x150 SE | 23 | 24 | 0.020973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1202-7_0_4_line_24 | NAYY 4x150 SE | 23 | 25 | 0.0201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1202-7_0_4_line_25 | NAYY 4x150 SE | 24 | 29 | 0.010538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_1202-7_0_4_line_26 | NAYY 4x150 SE | 25 | 26 | 0.0032399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1202-7_0_4_line_27 | NAYY 4x150 SE | 26 | 27 | 0.0034243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1202-7_0_4_line_28 | NAYY 4x150 SE | 27 | 28 | 0.0086428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1202-7_0_4_line_29 | NAYY 4x150 SE | 28 | 30 | 0.0067955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1202-7_0_4_line_30 | NAYY 4x150 SE | 30 | 34 | 0.017539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1202-7_0_4_line_31 | NAYY 4x150 SE | 31 | 32 | 0.0046313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1202-7_0_4_line_32 | NAYY 4x150 SE | 31 | 33 | 0.006694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1202-7_0_4_line_33 | NAYY 4x150 SE | 32 | 34 | 0.011251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1202-7_0_4_line_34 | NAYY 4x150 SE | 33 | 35 | 0.013958 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1202-7_0_4_trafo_36 | 0.25 MVA 20/0.4 kV | 36 | 14 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2688523.525 | 1165378.6899 | 2688518.2841 | 1165375.9403
1 | 2688523.525 | 1165378.6899 | 2688527.7813 | 1165370.492 | 2688528.9737 | 1165367.53
2 | 2688489.7412 | 1165385.6189 | 2688488.5894 | 1165382.1888 | 2688494.4782 | 1165373.3812 | 2688499.3884 | 1165366.0269
3 | 2688508.8073 | 1165357.2491 | 2688505.3815 | 1165357.421 | 2688503.0062 | 1165360.6213 | 2688499.3884 | 1165366.0269
4 | 2688499.5119 | 1165393.5119 | 2688490.5554 | 1165388.0546 | 2688489.7412 | 1165385.6189
5 | 2688489.7412 | 1165385.6189 | 2688487.135 | 1165388.9313
6 | 2688508.8073 | 1165357.2491 | 2688527.9717 | 1165343.5341 | 2688534.9893 | 1165338.6901 | 2688535.661 | 1165338.1923
7 | 2688508.8073 | 1165357.2491 | 2688511.4611 | 1165360.101 | 2688523.2954 | 1165364.6447 | 2688524.0888 | 1165365.0479
8 | 2688473.306 | 1165342.4732 | 2688490.7003 | 1165355.337 | 2688501.7869 | 1165357.6126 | 2688505.3815 | 1165357.421 | 2688508.8073 | 1165357.2491
9 | 2688528.9737 | 1165367.53 | 2688524.0888 | 1165365.0479
10 | 2688528.9737 | 1165367.53 | 2688535.5777 | 1165370.4846 | 2688539.8877 | 1165371.0256
11 | 2688499.5119 | 1165393.5119 | 2688512.4348 | 1165399.5392 | 2688520.781 | 1165404.3094 | 2688528.0412 | 1165402.7487
12 | 2688473.306 | 1165342.4732 | 2688479.8404 | 1165327.7938 | 2688482.6455 | 1165323.1515
13 | 2688488.5977 | 1165313.3009 | 2688482.6455 | 1165323.1515
14 | 2688548.3508 | 1165372.0877 | 2688539.8877 | 1165371.0256
15 | 2688488.5977 | 1165313.3009 | 2688493.4938 | 1165305.1981
16 | 2688437.4561 | 1165312.3386 | 2688449.561 | 1165323.3153
17 | 2688437.4561 | 1165312.3386 | 2688437.6919 | 1165301.0019 | 2688437.5615 | 1165297.3756 | 2688437.5917 | 1165288.5596 | 2688439.5106 | 1165282.8318
18 | 2688548.3508 | 1165372.0877 | 2688560.1693 | 1165373.5709 | 2688567.8368 | 1165372.9352
19 | 2688574.2857 | 1165372.4004 | 2688567.8368 | 1165372.9352
20 | 2688574.2857 | 1165372.4004 | 2688585.6833 | 1165375.3924
21 | 2688531.5424 | 1165223.87 | 2688517.3552 | 1165220.9816 | 2688506.7815 | 1165220.7924 | 2688497.9467 | 1165224.2089 | 2688479.3793 | 1165219.2104 | 2688473.9011 | 1165213.7182
22 | 2688508.5954 | 1165277.5423 | 2688518.744 | 1165256.6791 | 2688520.4577 | 1165253.1578 | 2688528.8521 | 1165235.4485 | 2688531.5424 | 1165223.87
23 | 2688508.5954 | 1165277.5423 | 2688498.5797 | 1165295.9696
24 | 2688508.5954 | 1165277.5423 | 2688502.1279 | 1165275.1901 | 2688495.4503 | 1165272.0232 | 2688490.3463 | 1165269.2107
25 | 2688498.5797 | 1165295.9696 | 2688494.1898 | 1165304.0462 | 2688493.4938 | 1165305.1981
26 | 2688487.5087 | 1165267.6471 | 2688490.3463 | 1165269.2107
27 | 2688484.5096 | 1165265.9945 | 2688487.5087 | 1165267.6471
28 | 2688484.5096 | 1165265.9945 | 2688476.94 | 1165261.8234
29 | 2688470.9882 | 1165258.5438 | 2688476.94 | 1165261.8234
30 | 2688455.6273 | 1165250.0795 | 2688470.9882 | 1165258.5438
31 | 2688448.4337 | 1165264.2389 | 2688450.5314 | 1165260.1099
32 | 2688445.4016 | 1165270.2069 | 2688448.4337 | 1165264.2389
33 | 2688455.6273 | 1165250.0795 | 2688450.5314 | 1165260.1099
34 | 2688445.4016 | 1165270.2069 | 2688440.5235 | 1165279.8085 | 2688439.5106 | 1165282.8318

## bus_geodata
| x | y | coords
0 | 2688518.2841 | 1165375.9403
1 | 2688523.525 | 1165378.6899
2 | 2688499.3884 | 1165366.0269
3 | 2688489.7412 | 1165385.6189
4 | 2688508.8073 | 1165357.2491
5 | 2688528.9737 | 1165367.53
6 | 2688499.5119 | 1165393.5119
7 | 2688487.135 | 1165388.9313
8 | 2688473.306 | 1165342.4732
9 | 2688482.6455 | 1165323.1515
10 | 2688535.661 | 1165338.1923
11 | 2688524.0888 | 1165365.0479
12 | 2688528.0412 | 1165402.7487
13 | 2688539.8877 | 1165371.0256
14 | 2688488.5977 | 1165313.3009
15 | 2688449.561 | 1165323.3153
16 | 2688437.4561 | 1165312.3386
17 | 2688548.3508 | 1165372.0877
18 | 2688567.8368 | 1165372.9352
19 | 2688574.2857 | 1165372.4004
20 | 2688585.6833 | 1165375.3924
21 | 2688531.5424 | 1165223.87
22 | 2688473.9011 | 1165213.7182
23 | 2688508.5954 | 1165277.5423
24 | 2688498.5797 | 1165295.9696
25 | 2688490.3463 | 1165269.2107
26 | 2688487.5087 | 1165267.6471
27 | 2688484.5096 | 1165265.9945
28 | 2688476.94 | 1165261.8234
29 | 2688493.4938 | 1165305.1981
30 | 2688470.9882 | 1165258.5438
31 | 2688448.4337 | 1165264.2389
32 | 2688450.5314 | 1165260.1099
33 | 2688445.4016 | 1165270.2069
34 | 2688455.6273 | 1165250.0795
35 | 2688439.5106 | 1165282.8318
36 | 2688473.306 | 1165342.4732

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98969 | -0.072205 | 0.036812 | 0.0092259
1 | 0.99 | -0.069986 | 0 | 0
2 | 0.99372 | -0.043817 | 0 | 0
3 | 0.9935 | -0.045344 | 0 | 0
4 | 0.99385 | -0.042894 | 0 | 0
5 | 0.99066 | -0.065331 | 0 | 0
6 | 0.99343 | -0.045858 | 0 | 0
7 | 0.99349 | -0.045458 | 0.0026577 | 0.00066608
8 | 0.99719 | -0.019506 | 0 | 0
9 | 0.99899 | -0.0069978 | 0.0055329 | 0.0013867
10 | 0.99332 | -0.046615 | 0.011175 | 0.0028006
11 | 0.99137 | -0.060307 | 0.0082009 | 0.0020553
12 | 0.99326 | -0.04709 | 0.0038907 | 0.00097511
13 | 0.98977 | -0.071627 | 0.0083365 | 0.0020893
14 | 1 | 0 | -0.23611 | -0.059279
15 | 0.98565 | -0.1007 | 0.0072477 | 0.0018164
16 | 0.98582 | -0.099484 | 0 | 0
17 | 0.98921 | -0.075547 | 0.015204 | 0.0038105
18 | 0.98837 | -0.081527 | 0.0028166 | 0.00070589
19 | 0.98812 | -0.083316 | 0 | 0
20 | 0.98766 | -0.086577 | 0.027061 | 0.006782
21 | 0.99521 | -0.033301 | 0 | 0
22 | 0.99508 | -0.034282 | 0.0015784 | 0.00039559
23 | 0.99535 | -0.032364 | 0 | 0
24 | 0.99844 | -0.010847 | 0.0037766 | 0.00094651
25 | 0.99243 | -0.052787 | 0.0040525 | 0.0010157
26 | 0.99198 | -0.055957 | 0.0041476 | 0.0010395
27 | 0.99152 | -0.059166 | 0.013042 | 0.0032685
28 | 0.99053 | -0.066133 | 0.0086238 | 0.0021613
29 | 0.99924 | -0.0052626 | 0.0053724 | 0.0013465
30 | 0.98984 | -0.071023 | 0.0078045 | 0.001956
31 | 0.98688 | -0.091997 | 0.020875 | 0.0052317
32 | 0.98723 | -0.089516 | 0.010587 | 0.0026533
33 | 0.98657 | -0.094154 | 0.0097053 | 0.0024324
34 | 0.98825 | -0.082277 | 0 | 0
35 | 0.98613 | -0.097264 | 0.01447 | 0.0036265
36 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.036812 | -0.0092259 | 0.036823 | 0.0092302 | 1.1313e-05 | 4.275e-06 | 0.055347 | 0.055347 | 0.055347 | 0.98969 | -0.072205 | 0.99 | -0.069986 | 20.4989
1 | -0.036823 | -0.0092302 | 0.036847 | 0.0092391 | 2.3752e-05 | 8.9756e-06 | 0.055347 | 0.055347 | 0.055347 | 0.99 | -0.069986 | 0.99066 | -0.065331 | 20.4989
2 | 0.0065508 | 0.0016412 | -0.0065494 | -0.0016409 | 1.3843e-06 | 2.338e-07 | 0.0098091 | 0.0098092 | 0.0098092 | 0.99372 | -0.043817 | 0.9935 | -0.045344 | 3.633
3 | -0.0065508 | -0.0016412 | 0.0065516 | 0.0016413 | 8.3576e-07 | 1.4109e-07 | 0.0098091 | 0.009809 | 0.0098091 | 0.99372 | -0.043817 | 0.99385 | -0.042894 | 3.633
4 | 0.0038917 | 0.0009749 | -0.0038914 | -0.00097496 | 2.7631e-07 | -6.2498e-08 | 0.0058286 | 0.0058286 | 0.0058286 | 0.9935 | -0.045344 | 0.99343 | -0.045858 | 2.1588
5 | 0.0026578 | 0.00066605 | -0.0026577 | -0.00066608 | 4.1674e-08 | -3.8549e-08 | 0.0039806 | 0.0039806 | 0.0039806 | 0.9935 | -0.045344 | 0.99349 | -0.045458 | 1.4743
6 | 0.01118 | 0.0028024 | -0.011175 | -0.0028006 | 5.7579e-06 | 1.7881e-06 | 0.01674 | 0.01674 | 0.01674 | 0.99385 | -0.042894 | 0.99332 | -0.046615 | 6.1999
7 | 0.098882 | 0.024842 | -0.098643 | -0.02475 | 0.0002389 | 9.1659e-05 | 0.14807 | 0.14807 | 0.14807 | 0.99385 | -0.042894 | 0.99137 | -0.060307 | 54.8407
8 | -0.11661 | -0.029285 | 0.11699 | 0.02943 | 0.00038036 | 0.00014525 | 0.17462 | 0.17462 | 0.17462 | 0.99385 | -0.042894 | 0.99719 | -0.019506 | 32.3367
9 | -0.090379 | -0.02267 | 0.090442 | 0.022695 | 6.3017e-05 | 2.4167e-05 | 0.13576 | 0.13576 | 0.13576 | 0.99066 | -0.065331 | 0.99137 | -0.060307 | 50.2817
10 | 0.053533 | 0.013431 | -0.053486 | -0.013413 | 4.672e-05 | 1.782e-05 | 0.080414 | 0.080414 | 0.080414 | 0.99066 | -0.065331 | 0.98977 | -0.071627 | 29.7828
11 | 0.0038914 | 0.00097496 | -0.0038907 | -0.00097511 | 6.6352e-07 | -1.4997e-07 | 0.0058286 | 0.0058288 | 0.0058288 | 0.99343 | -0.045858 | 0.99326 | -0.04709 | 2.1588
12 | -0.11699 | -0.02943 | 0.1172 | 0.029509 | 0.00020446 | 7.8077e-05 | 0.17462 | 0.17462 | 0.17462 | 0.99719 | -0.019506 | 0.99899 | -0.0069978 | 32.3367
13 | -0.12273 | -0.030895 | 0.12285 | 0.030941 | 0.00012007 | 4.5879e-05 | 0.18286 | 0.18286 | 0.18286 | 0.99899 | -0.0069978 | 1 | 0 | 33.8628
14 | 0.045149 | 0.011324 | -0.045125 | -0.011315 | 2.4524e-05 | 9.3229e-06 | 0.067881 | 0.067881 | 0.067881 | 0.98977 | -0.071627 | 0.98921 | -0.075547 | 25.141
15 | 0.11246 | 0.028337 | -0.11237 | -0.028306 | 8.2763e-05 | 3.1584e-05 | 0.16739 | 0.16739 | 0.16739 | 1 | 0 | 0.99924 | -0.0052626 | 30.9983
16 | -0.0072477 | -0.0018164 | 0.0072489 | 0.0018167 | 1.2207e-06 | 2.612e-07 | 0.010942 | 0.010942 | 0.010942 | 0.98565 | -0.1007 | 0.98582 | -0.099484 | 4.0525
17 | -0.0072489 | -0.0018167 | 0.0072511 | 0.0018172 | 2.228e-06 | 4.7654e-07 | 0.010942 | 0.010941 | 0.010942 | 0.98582 | -0.099484 | 0.98613 | -0.097264 | 4.0524
18 | 0.029921 | 0.0075043 | -0.029896 | -0.007495 | 2.4784e-05 | 9.2809e-06 | 0.04501 | 0.04501 | 0.04501 | 0.98921 | -0.075547 | 0.98837 | -0.081527 | 16.6705
19 | 0.02708 | 0.0067891 | -0.027073 | -0.0067866 | 6.7118e-06 | 2.4986e-06 | 0.04077 | 0.04077 | 0.04077 | 0.98837 | -0.081527 | 0.98812 | -0.083316 | 15.1
20 | 0.027073 | 0.0067866 | -0.027061 | -0.006782 | 1.2222e-05 | 4.55e-06 | 0.04077 | 0.04077 | 0.04077 | 0.98812 | -0.083316 | 0.98766 | -0.086577 | 15.1
21 | 0.0015786 | 0.00039487 | -0.0015784 | -0.00039559 | 2.1382e-07 | -7.1694e-07 | 0.0023601 | 0.0023603 | 0.0023603 | 0.99521 | -0.033301 | 0.99508 | -0.034282 | 0.8742
22 | -0.0015786 | -0.00039487 | 0.0015788 | 0.00039419 | 2.0365e-07 | -6.8325e-07 | 0.0023601 | 0.0023598 | 0.0023601 | 0.99521 | -0.033301 | 0.99535 | -0.032364 | 0.8741
23 | -0.10283 | -0.025862 | 0.10314 | 0.025981 | 0.00030942 | 0.00011873 | 0.15376 | 0.15376 | 0.15376 | 0.99535 | -0.032364 | 0.99844 | -0.010847 | 56.9489
24 | 0.10125 | 0.025468 | -0.10097 | -0.025358 | 0.00028751 | 0.00011032 | 0.1514 | 0.1514 | 0.1514 | 0.99535 | -0.032364 | 0.99243 | -0.052787 | 56.0749
25 | -0.10692 | -0.026927 | 0.107 | 0.026959 | 8.3532e-05 | 3.1852e-05 | 0.15939 | 0.15939 | 0.15939 | 0.99844 | -0.010847 | 0.99924 | -0.0052626 | 29.5167
26 | 0.096913 | 0.024342 | -0.09687 | -0.024326 | 4.2698e-05 | 1.638e-05 | 0.14533 | 0.14533 | 0.14533 | 0.99243 | -0.052787 | 0.99198 | -0.055957 | 53.8245
27 | 0.092722 | 0.023286 | -0.092681 | -0.02327 | 4.1346e-05 | 1.5858e-05 | 0.1391 | 0.1391 | 0.1391 | 0.99198 | -0.055957 | 0.99152 | -0.059166 | 51.5202
28 | 0.079639 | 0.020002 | -0.079562 | -0.019972 | 7.7056e-05 | 2.9526e-05 | 0.11953 | 0.11953 | 0.11953 | 0.99152 | -0.059166 | 0.99053 | -0.066133 | 44.2713
29 | 0.070938 | 0.017811 | -0.07089 | -0.017793 | 4.8166e-05 | 1.8438e-05 | 0.10658 | 0.10658 | 0.10658 | 0.99053 | -0.066133 | 0.98984 | -0.071023 | 39.4732
30 | 0.063086 | 0.015837 | -0.062987 | -0.015799 | 9.8449e-05 | 3.764e-05 | 0.094845 | 0.094845 | 0.094845 | 0.98984 | -0.071023 | 0.98825 | -0.082277 | 35.1279
31 | -0.05232 | -0.013115 | 0.052338 | 0.013122 | 1.7985e-05 | 6.8582e-06 | 0.078888 | 0.078888 | 0.078888 | 0.98688 | -0.091997 | 0.98723 | -0.089516 | 29.218
32 | 0.031445 | 0.007883 | -0.031436 | -0.0078794 | 9.3903e-06 | 3.5261e-06 | 0.047414 | 0.047414 | 0.047414 | 0.98688 | -0.091997 | 0.98657 | -0.094154 | 17.5606
33 | -0.062924 | -0.015775 | 0.062987 | 0.015799 | 6.3153e-05 | 2.4146e-05 | 0.094845 | 0.094845 | 0.094845 | 0.98723 | -0.089516 | 0.98825 | -0.082277 | 35.1279
34 | 0.02173 | 0.0054471 | -0.021721 | -0.0054436 | 9.3564e-06 | 3.4205e-06 | 0.032775 | 0.032775 | 0.032775 | 0.98657 | -0.094154 | 0.98613 | -0.097264 | 12.139

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.24103 | 0.060512

## res_load
| p_mw | q_mvar
0 | 0.036812 | 0.0092259
1 | 0.0026577 | 0.00066608
2 | 0.0055329 | 0.0013867
3 | 0.011175 | 0.0028006
4 | 0.0082009 | 0.0020553
5 | 0.0038907 | 0.00097511
6 | 0.0083365 | 0.0020893
7 | 0.0049226 | 0.0012337
8 | 0.0072477 | 0.0018164
9 | 0.015204 | 0.0038105
10 | 0.0028166 | 0.00070589
11 | 0.027061 | 0.006782
12 | 0.0015784 | 0.00039559
13 | 0.0037766 | 0.00094651
14 | 0.0040525 | 0.0010157
15 | 0.0041476 | 0.0010395
16 | 0.013042 | 0.0032685
17 | 0.0086238 | 0.0021613
18 | 0.0053724 | 0.0013465
19 | 0.0078045 | 0.001956
20 | 0.020875 | 0.0052317
21 | 0.010587 | 0.0026533
22 | 0.0097053 | 0.0024324
23 | 0.01447 | 0.0036265

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1