## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1208-4_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1208-4_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1208-4_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1208-4_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1208-4_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1208-4_0_2_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1208-4_0_2_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_1208-4_0_2_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_1208-4_0_2_node_68 | 0.4 | n |  | TRUE
9 | bus_LV_1208-4_0_2_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_1208-4_0_2_node_27 | 0.4 | n |  | TRUE
11 | bus_LV_1208-4_0_2_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_1208-4_0_2_node_59 | 0.4 | n |  | TRUE
13 | bus_LV_1208-4_0_2_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_1208-4_0_2_node_51 | 0.4 | n |  | TRUE
15 | bus_LV_1208-4_0_2_node_46 | 0.4 | n |  | TRUE
16 | bus_LV_1208-4_0_2_node_38 | 0.4 | n |  | TRUE
17 | bus_LV_1208-4_0_2_node_37 | 0.4 | n |  | TRUE
18 | bus_LV_1208-4_0_2_node_50 | 0.4 | n |  | TRUE
19 | bus_LV_1208-4_0_2_node_43 | 0.4 | n |  | TRUE
20 | bus_LV_1208-4_0_2_node_44 | 0.4 | n |  | TRUE
21 | bus_LV_1208-4_0_2_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_1208-4_0_2_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_1208-4_0_2_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_1208-4_0_2_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_1208-4_0_2_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_1208-4_0_2_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_1208-4_0_2_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_1208-4_0_2_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_1208-4_0_2_node_56 | 0.4 | n |  | TRUE
30 | bus_LV_1208-4_0_2_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_1208-4_0_2_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_1208-4_0_2_node_53 | 0.4 | n |  | TRUE
33 | bus_LV_1208-4_0_2_node_54 | 0.4 | n |  | TRUE
34 | bus_LV_1208-4_0_2_node_45 | 0.4 | n |  | TRUE
35 | bus_LV_1208-4_0_2_node_63 | 0.4 | n |  | TRUE
36 | bus_LV_1208-4_0_2_node_64 | 0.4 | n |  | TRUE
37 | bus_LV_1208-4_0_2_node_42 | 0.4 | n |  | TRUE
38 | bus_LV_1208-4_0_2_node_65 | 0.4 | n |  | TRUE
39 | bus_LV_1208-4_0_2_node_19 | 0.4 | n |  | TRUE
40 | bus_LV_1208-4_0_2_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_1208-4_0_2_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_1208-4_0_2_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_1208-4_0_2_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_1208-4_0_2_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_1208-4_0_2_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_1208-4_0_2_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_1208-4_0_2_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_1208-4_0_2_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_1208-4_0_2_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_1208-4_0_2_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_1208-4_0_2_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_1208-4_0_2_node_69 | 0.4 | n |  | TRUE
53 | bus_LV_1208-4_0_2_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_1208-4_0_2_node_67 | 0.4 | n |  | TRUE
55 | bus_LV_1208-4_0_2_node_62 | 0.4 | n |  | TRUE
56 | bus_LV_1208-4_0_2_node_60 | 0.4 | n |  | TRUE
57 | bus_LV_1208-4_0_2_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_1208-4_0_2_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_1208-4_0_2_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_1208-4_0_2_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_1208-4_0_2_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_1208-4_0_2_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_1208-4_0_2_node_61 | 0.4 | n |  | TRUE
64 | bus_LV_1208-4_0_2_node_66 | 0.4 | n |  | TRUE
65 | bus_MV_132_0_node_76 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1208-4_0_2_load_0 | 0 | 0.0010012 | 0.00025093 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1208-4_0_2_load_1 | 1 | 0.00096371 | 0.00024153 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1208-4_0_2_load_2 | 2 | 0.0010803 | 0.00027074 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1208-4_0_2_load_16 | 6 | 0.0026817 | 0.00067209 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1208-4_0_2_load_12 | 7 | 0.0016016 | 0.0004014 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1208-4_0_2_load_68 | 8 | 0.0096539 | 0.0024195 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1208-4_0_2_load_27 | 10 | 0.0037302 | 0.00093487 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1208-4_0_2_load_25 | 11 | 0.0060099 | 0.0015062 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1208-4_0_2_load_59 | 12 | 0.0007089 | 0.00017767 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1208-4_0_2_load_11 | 13 | 0.00070062 | 0.00017559 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1208-4_0_2_load_51 | 14 | 0.021805 | 0.0054648 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1208-4_0_2_load_38 | 16 | 0.0010617 | 0.00026609 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1208-4_0_2_load_37 | 17 | 0.0064255 | 0.0016104 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1208-4_0_2_load_50 | 18 | 0.0024944 | 0.00062516 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1208-4_0_2_load_43 | 19 | 0.0019948 | 0.00049994 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1208-4_0_2_load_44 | 20 | 0.00072452 | 0.00018158 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1208-4_0_2_load_26 | 22 | 0.015415 | 0.0038634 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1208-4_0_2_load_23 | 23 | 0.0059781 | 0.0014983 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1208-4_0_2_load_22 | 24 | 0.003218 | 0.0008065 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1208-4_0_2_load_28 | 25 | 0.0048498 | 0.0012155 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1208-4_0_2_load_14 | 27 | 0.0010907 | 0.00027336 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1208-4_0_2_load_15 | 28 | 0.00144 | 0.00036089 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1208-4_0_2_load_56 | 29 | 0.00079387 | 0.00019896 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1208-4_0_2_load_17 | 30 | 0.0020772 | 0.0005206 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1208-4_0_2_load_53 | 32 | 0.00053216 | 0.00013337 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1208-4_0_2_load_54 | 33 | 0.0040273 | 0.0010093 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1208-4_0_2_load_45 | 34 | 0.0027555 | 0.0006906 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1208-4_0_2_load_63 | 35 | 0.0010824 | 0.00027127 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1208-4_0_2_load_64 | 36 | 0.00024321 | 6.0955e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1208-4_0_2_load_42 | 37 | 0.00020943 | 5.2488e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1208-4_0_2_load_65 | 38 | 0.00098242 | 0.00024622 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1208-4_0_2_load_19 | 39 | 0.0081533 | 0.0020434 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1208-4_0_2_load_20 | 40 | 0.0080889 | 0.0020273 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1208-4_0_2_load_21 | 41 | 0.0082407 | 0.0020653 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1208-4_0_2_load_33 | 42 | 0.008432 | 0.0021133 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1208-4_0_2_load_35 | 43 | 0.010978 | 0.0027514 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1208-4_0_2_load_29 | 44 | 0.003527 | 0.00088394 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1208-4_0_2_load_30 | 45 | 0.00097979 | 0.00024556 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1208-4_0_2_load_31 | 46 | 0.0032672 | 0.00081883 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1208-4_0_2_load_34 | 48 | 0.0076834 | 0.0019256 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1208-4_0_2_load_36 | 49 | 0.0068294 | 0.0017116 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1208-4_0_2_load_39 | 50 | 0.0038319 | 0.00096036 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1208-4_0_2_load_69 | 52 | 0.0014205 | 0.00035601 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1208-4_0_2_load_41 | 53 | 0.00037222 | 9.3287e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1208-4_0_2_load_67 | 54 | 0.00083082 | 0.00020822 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1208-4_0_2_load_62 | 55 | 0.00083235 | 0.00020861 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1208-4_0_2_load_60 | 56 | 0.0011768 | 0.00029494 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1208-4_0_2_load_47 | 58 | 0.0034526 | 0.0008653 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1208-4_0_2_load_48 | 59 | 0.0047069 | 0.0011797 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1208-4_0_2_load_55 | 60 | 0.0011963 | 0.00029983 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1208-4_0_2_load_57 | 61 | 0.00071013 | 0.00017798 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1208-4_0_2_load_58 | 62 | 0.00031541 | 7.9049e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1208-4_0_2_load_61 | 63 | 0.00029797 | 7.4678e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1208-4_0_2_load_66 | 64 | 0.00038208 | 9.5759e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1208-4_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.021443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_1208-4_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.023353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_1208-4_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.11359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_1208-4_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0078951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_1208-4_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.15264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_1208-4_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.022462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_1208-4_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.0022328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1208-4_0_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.047201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_1208-4_0_2_line_8 | NAYY 4x150 SE | 5 | 9 | 0.050296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_1208-4_0_2_line_9 | NAYY 4x150 SE | 6 | 12 | 0.0056867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_1208-4_0_2_line_10 | NAYY 4x150 SE | 7 | 13 | 0.0086106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1208-4_0_2_line_11 | NAYY 4x150 SE | 9 | 10 | 0.0083949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1208-4_0_2_line_12 | NAYY 4x150 SE | 9 | 11 | 0.030615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1208-4_0_2_line_13 | NAYY 4x150 SE | 10 | 25 | 0.0057584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1208-4_0_2_line_14 | NAYY 4x150 SE | 11 | 22 | 0.037002 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1208-4_0_2_line_15 | NAYY 4x150 SE | 12 | 34 | 0.025162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_1208-4_0_2_line_16 | NAYY 4x150 SE | 13 | 26 | 0.011695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1208-4_0_2_line_17 | NAYY 4x150 SE | 14 | 15 | 0.020656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1208-4_0_2_line_18 | NAYY 4x150 SE | 15 | 18 | 0.058197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1208-4_0_2_line_19 | NAYY 4x150 SE | 16 | 17 | 0.025166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1208-4_0_2_line_20 | NAYY 4x150 SE | 17 | 49 | 0.0044581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1208-4_0_2_line_21 | NAYY 4x150 SE | 18 | 57 | 0.056868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1208-4_0_2_line_22 | NAYY 4x150 SE | 19 | 20 | 0.01001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1208-4_0_2_line_23 | NAYY 4x150 SE | 20 | 34 | 0.015555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1208-4_0_2_line_24 | NAYY 4x150 SE | 21 | 22 | 0.018408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1208-4_0_2_line_25 | NAYY 4x150 SE | 21 | 23 | 0.021659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1208-4_0_2_line_26 | NAYY 4x150 SE | 23 | 24 | 0.025467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1208-4_0_2_line_27 | NAYY 4x150 SE | 25 | 44 | 0.021021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1208-4_0_2_line_28 | NAYY 4x150 SE | 26 | 27 | 0.011486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1208-4_0_2_line_29 | NAYY 4x150 SE | 26 | 28 | 0.015608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1208-4_0_2_line_30 | NAYY 4x150 SE | 28 | 29 | 0.01959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1208-4_0_2_line_31 | NAYY 4x150 SE | 29 | 33 | 0.015936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1208-4_0_2_line_32 | NAYY 4x150 SE | 30 | 31 | 0.078018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1208-4_0_2_line_33 | NAYY 4x150 SE | 30 | 32 | 0.14369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1208-4_0_2_line_34 | NAYY 4x150 SE | 31 | 35 | 0.043307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1208-4_0_2_line_35 | NAYY 4x150 SE | 31 | 36 | 0.032947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1208-4_0_2_line_36 | NAYY 4x150 SE | 33 | 60 | 0.00077121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1208-4_0_2_line_37 | NAYY 4x150 SE | 34 | 57 | 0.020484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1208-4_0_2_line_38 | NAYY 4x150 SE | 35 | 37 | 0.015977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1208-4_0_2_line_39 | NAYY 4x150 SE | 36 | 38 | 0.087007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1208-4_0_2_line_40 | NAYY 4x150 SE | 37 | 51 | 0.044003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1208-4_0_2_line_41 | NAYY 4x150 SE | 38 | 64 | 0.031241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1208-4_0_2_line_42 | NAYY 4x150 SE | 39 | 40 | 0.026598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1208-4_0_2_line_43 | NAYY 4x150 SE | 40 | 41 | 0.015829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1208-4_0_2_line_44 | NAYY 4x150 SE | 41 | 42 | 0.0071776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1208-4_0_2_line_45 | NAYY 4x150 SE | 42 | 43 | 0.0064119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1208-4_0_2_line_46 | NAYY 4x150 SE | 43 | 47 | 0.017985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1208-4_0_2_line_47 | NAYY 4x150 SE | 44 | 45 | 0.0046122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1208-4_0_2_line_48 | NAYY 4x150 SE | 45 | 46 | 0.011359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1208-4_0_2_line_49 | NAYY 4x150 SE | 46 | 47 | 0.028355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1208-4_0_2_line_50 | NAYY 4x150 SE | 47 | 48 | 0.022611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1208-4_0_2_line_51 | NAYY 4x150 SE | 48 | 49 | 0.025007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1208-4_0_2_line_52 | NAYY 4x150 SE | 50 | 51 | 0.074919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1208-4_0_2_line_53 | NAYY 4x150 SE | 50 | 52 | 0.071897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1208-4_0_2_line_54 | NAYY 4x150 SE | 51 | 53 | 0.019356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1208-4_0_2_line_55 | NAYY 4x150 SE | 52 | 54 | 0.11708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1208-4_0_2_line_56 | NAYY 4x150 SE | 53 | 55 | 0.00035329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1208-4_0_2_line_57 | NAYY 4x150 SE | 55 | 56 | 0.026189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1208-4_0_2_line_58 | NAYY 4x150 SE | 56 | 63 | 0.0084198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1208-4_0_2_line_59 | NAYY 4x150 SE | 57 | 58 | 0.029286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1208-4_0_2_line_60 | NAYY 4x150 SE | 58 | 59 | 0.019482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1208-4_0_2_line_61 | NAYY 4x150 SE | 60 | 61 | 0.04186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1208-4_0_2_line_62 | NAYY 4x150 SE | 61 | 62 | 0.00086931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1208-4_0_2_line_63 | NAYY 4x150 SE | 62 | 63 | 0.014337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1208-4_0_2_trafo_68 | 0.25 MVA 20/0.4 kV | 65 | 8 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2687693.2691 | 1169241.8201 | 2687714.5892 | 1169244.1141
1 | 2687693.2691 | 1169241.8201 | 2687692.0686 | 1169241.691 | 2687677.0837 | 1169238.5037 | 2687670.5064 | 1169236.6807
2 | 2687825.1737 | 1169230.4395 | 2687806.1264 | 1169239.1886 | 2687786.4516 | 1169244.7934 | 2687763.5226 | 1169247.36 | 2687743.8394 | 1169247.2613 | 2687714.5892 | 1169244.1141
3 | 2687662.8981 | 1169234.5721 | 2687670.5064 | 1169236.6807
4 | 2687825.1737 | 1169230.4395 | 2687848.2113 | 1169217.324 | 2687864.1647 | 1169206.6174 | 2687874.082 | 1169198.8911 | 2687904.7637 | 1169214.1381 | 2687959.4031 | 1169239.1418
5 | 2687662.8981 | 1169234.5721 | 2687676.6429 | 1169216.8063
6 | 2687662.8981 | 1169234.5721 | 2687660.7555 | 1169233.9438
7 | 2687959.4031 | 1169239.1418 | 2687958.9002 | 1169238.9899 | 2687953.4581 | 1169239.0214 | 2687950.5587 | 1169241.0246 | 2687948.6501 | 1169244.8768 | 2687943.8567 | 1169277.96
8 | 2687959.4031 | 1169239.1418 | 2687979.2765 | 1169245.0697 | 2688006.3885 | 1169256.8406
9 | 2687676.6429 | 1169216.8063 | 2687676.6429 | 1169216.8063 | 2687682.0572 | 1169215.0674
10 | 2687652.4927 | 1169231.5211 | 2687660.7555 | 1169233.9438
11 | 2688006.3885 | 1169256.8406 | 2688004.2782 | 1169264.9659
12 | 2688006.3885 | 1169256.8406 | 2688013.6426 | 1169253.2781 | 2688024.6899 | 1169244.7014 | 2688029.0755 | 1169244.1653 | 2688032.8572 | 1169245.8232
13 | 2688002.8306 | 1169270.5394 | 2688004.2782 | 1169264.9659
14 | 2688067.0594 | 1169259.9394 | 2688065.5052 | 1169259.3529 | 2688038.1643 | 1169248.0564 | 2688034.6116 | 1169246.5924 | 2688032.8572 | 1169245.8232
15 | 2687706.9439 | 1169212.5571 | 2687687.1391 | 1169213.4352 | 2687682.0572 | 1169215.0674
16 | 2687641.2701 | 1169228.2305 | 2687652.4927 | 1169231.5211
17 | 2687768.6768 | 1169128.7969 | 2687768.4675 | 1169122.1676 | 2687769.5444 | 1169108.1859
18 | 2687768.6768 | 1169128.7969 | 2687746.4008 | 1169131.1618 | 2687722.0426 | 1169141.4234 | 2687713.3051 | 1169144.791
19 | 2688020.7131 | 1169347.8612 | 2688002.7514 | 1169347.2977 | 2687995.8087 | 1169349.188
20 | 2688016.749 | 1169345.8215 | 2688020.7131 | 1169347.8612 | 2688020.7131 | 1169347.8612
21 | 2687703.3581 | 1169192.3926 | 2687701.4413 | 1169181.6248 | 2687697.6529 | 1169156.4653 | 2687700.1689 | 1169151.3657 | 2687704.7553 | 1169148.0862 | 2687713.3051 | 1169144.791
22 | 2687732.4238 | 1169210.4761 | 2687722.4471 | 1169211.2909
23 | 2687706.9439 | 1169212.5571 | 2687722.4471 | 1169211.2909
24 | 2688084.9415 | 1169262.1951 | 2688074.4865 | 1169262.7421 | 2688067.0594 | 1169259.9394
25 | 2688084.9415 | 1169262.1951 | 2688080.8249 | 1169240.9305
26 | 2688080.8249 | 1169240.9305 | 2688077.1797 | 1169222.1014 | 2688075.5763 | 1169216.0211
27 | 2688002.8306 | 1169270.5394 | 2687999.5508 | 1169283.1675 | 2688001.2647 | 1169290.9547
28 | 2687641.2701 | 1169228.2305 | 2687629.7988 | 1169227.6481
29 | 2687641.2701 | 1169228.2305 | 2687628.1329 | 1169219.802
30 | 2687611.5966 | 1169209.3018 | 2687613.2528 | 1169210.2554 | 2687628.1329 | 1169219.802
31 | 2687597.7862 | 1169201.3506 | 2687611.5966 | 1169209.3018
32 | 2687472.6048 | 1169199.733 | 2687481.0974 | 1169200.9796 | 2687504.4425 | 1169209.2468 | 2687544.5033 | 1169229.0065
33 | 2687544.5033 | 1169229.0065 | 2687550.0272 | 1169372.5858
34 | 2687472.6048 | 1169199.733 | 2687455.4387 | 1169172.8891 | 2687452.6997 | 1169161.7779
35 | 2687472.6048 | 1169199.733 | 2687459.5425 | 1169200.1097 | 2687439.6644 | 1169200.2764
36 | 2687597.1178 | 1169200.9658 | 2687597.7862 | 1169201.3506
37 | 2687706.9439 | 1169212.5571 | 2687703.3581 | 1169192.3926
38 | 2687452.6997 | 1169161.7779 | 2687452.0061 | 1169158.964 | 2687456.4254 | 1169146.6542
39 | 2687439.6644 | 1169200.2764 | 2687418.8515 | 1169200.451 | 2687407.1403 | 1169198.9686 | 2687373.5748 | 1169190.3641 | 2687366.0656 | 1169189.3876 | 2687354.2619 | 1169192.3326
40 | 2687499.3867 | 1169147.5803 | 2687468.8908 | 1169142.611 | 2687456.4254 | 1169146.6542
41 | 2687354.2619 | 1169192.3326 | 2687347.7916 | 1169193.9469 | 2687325.6052 | 1169204.5098
42 | 2688069.5965 | 1169349.5522 | 2688078.6125 | 1169355.0363 | 2688085.0861 | 1169369.7179
43 | 2688069.5965 | 1169349.5522 | 2688059.527 | 1169343.4273 | 2688055.9224 | 1169341.5974
44 | 2688049.5224 | 1169338.3483 | 2688055.9224 | 1169341.5974
45 | 2688045.0702 | 1169333.7368 | 2688049.4916 | 1169338.3327 | 2688049.5224 | 1169338.3483
46 | 2688033.4896 | 1169319.9871 | 2688042.8955 | 1169331.4763 | 2688045.0702 | 1169333.7368
47 | 2688002.256 | 1169295.4591 | 2688001.2647 | 1169290.9547
48 | 2688002.256 | 1169295.4591 | 2688002.256 | 1169295.4591 | 2688011.1578 | 1169302.5147
49 | 2688033.4896 | 1169319.9871 | 2688017.0617 | 1169307.1942 | 2688011.1578 | 1169302.5147
50 | 2688033.4896 | 1169319.9871 | 2688024.0288 | 1169321.1158 | 2688013.2898 | 1169328.5887
51 | 2688016.749 | 1169345.8215 | 2688010.8383 | 1169342.7801 | 2688006.8323 | 1169333.0822 | 2688013.2898 | 1169328.5887
52 | 2687499.3867 | 1169147.5803 | 2687471.6483 | 1169130.8997 | 2687439.9281 | 1169102.5375
53 | 2687439.9281 | 1169102.5375 | 2687476.3475 | 1169040.5468
54 | 2687499.3867 | 1169147.5803 | 2687516.54 | 1169156.5484
55 | 2687476.3475 | 1169040.5468 | 2687586.7922 | 1169001.6875
56 | 2687516.54 | 1169156.5484 | 2687516.8531 | 1169156.7121
57 | 2687540.0611 | 1169168.8458 | 2687516.8531 | 1169156.7121
58 | 2687540.0611 | 1169168.8458 | 2687547.5227 | 1169172.7469
59 | 2687703.3581 | 1169192.3926 | 2687722.5782 | 1169183.868 | 2687726.8645 | 1169178.6052 | 2687727.6495 | 1169177.3587
60 | 2687727.6495 | 1169177.3587 | 2687735.1621 | 1169165.4295 | 2687739.3221 | 1169162.0104
61 | 2687597.1178 | 1169200.9658 | 2687560.8407 | 1169180.0795
62 | 2687560.0873 | 1169179.6458 | 2687560.8407 | 1169180.0795
63 | 2687560.0873 | 1169179.6458 | 2687553.8552 | 1169176.0577 | 2687547.5227 | 1169172.7469

## bus_geodata
| x | y | coords
0 | 2687693.2691 | 1169241.8201
1 | 2687714.5892 | 1169244.1141
2 | 2687670.5064 | 1169236.6807
3 | 2687825.1737 | 1169230.4395
4 | 2687662.8981 | 1169234.5721
5 | 2687959.4031 | 1169239.1418
6 | 2687676.6429 | 1169216.8063
7 | 2687660.7555 | 1169233.9438
8 | 2687943.8567 | 1169277.96
9 | 2688006.3885 | 1169256.8406
10 | 2688004.2782 | 1169264.9659
11 | 2688032.8572 | 1169245.8232
12 | 2687682.0572 | 1169215.0674
13 | 2687652.4927 | 1169231.5211
14 | 2687769.5444 | 1169108.1859
15 | 2687768.6768 | 1169128.7969
16 | 2687995.8087 | 1169349.188
17 | 2688020.7131 | 1169347.8612
18 | 2687713.3051 | 1169144.791
19 | 2687732.4238 | 1169210.4761
20 | 2687722.4471 | 1169211.2909
21 | 2688084.9415 | 1169262.1951
22 | 2688067.0594 | 1169259.9394
23 | 2688080.8249 | 1169240.9305
24 | 2688075.5763 | 1169216.0211
25 | 2688002.8306 | 1169270.5394
26 | 2687641.2701 | 1169228.2305
27 | 2687629.7988 | 1169227.6481
28 | 2687628.1329 | 1169219.802
29 | 2687611.5966 | 1169209.3018
30 | 2687544.5033 | 1169229.0065
31 | 2687472.6048 | 1169199.733
32 | 2687550.0272 | 1169372.5858
33 | 2687597.7862 | 1169201.3506
34 | 2687706.9439 | 1169212.5571
35 | 2687452.6997 | 1169161.7779
36 | 2687439.6644 | 1169200.2764
37 | 2687456.4254 | 1169146.6542
38 | 2687354.2619 | 1169192.3326
39 | 2688085.0861 | 1169369.7179
40 | 2688069.5965 | 1169349.5522
41 | 2688055.9224 | 1169341.5974
42 | 2688049.5224 | 1169338.3483
43 | 2688045.0702 | 1169333.7368
44 | 2688001.2647 | 1169290.9547
45 | 2688002.256 | 1169295.4591
46 | 2688011.1578 | 1169302.5147
47 | 2688033.4896 | 1169319.9871
48 | 2688013.2898 | 1169328.5887
49 | 2688016.749 | 1169345.8215
50 | 2687439.9281 | 1169102.5375
51 | 2687499.3867 | 1169147.5803
52 | 2687476.3475 | 1169040.5468
53 | 2687516.54 | 1169156.5484
54 | 2687586.7922 | 1169001.6875
55 | 2687516.8531 | 1169156.7121
56 | 2687540.0611 | 1169168.8458
57 | 2687703.3581 | 1169192.3926
58 | 2687727.6495 | 1169177.3587
59 | 2687739.322 | 1169162.0104
60 | 2687597.1178 | 1169200.9658
61 | 2687560.8407 | 1169180.0795
62 | 2687560.0873 | 1169179.6458
63 | 2687547.5227 | 1169172.7469
64 | 2687325.6052 | 1169204.5098
65 | 2687959.4031 | 1169239.1418

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97886 | -0.14771 | 0.0010012 | 0.00025093
1 | 0.97995 | -0.13994 | 0.00096371 | 0.00024153
2 | 0.97768 | -0.15608 | 0.0010803 | 0.00027074
3 | 0.98581 | -0.098482 | 0 | 0
4 | 0.97729 | -0.15886 | 0 | 0
5 | 0.9937 | -0.043522 | 0 | 0
6 | 0.97661 | -0.16372 | 0.0026817 | 0.00067209
7 | 0.97721 | -0.15948 | 0.0016016 | 0.0004014
8 | 1 | 0 | -0.18799 | -0.047393
9 | 0.98958 | -0.07234 | 0 | 0
10 | 0.98858 | -0.079386 | 0.0037302 | 0.00093487
11 | 0.98823 | -0.081911 | 0.0060099 | 0.0015062
12 | 0.97645 | -0.16487 | 0.0007089 | 0.00017767
13 | 0.9769 | -0.16169 | 0.00070062 | 0.00017559
14 | 0.97022 | -0.20959 | 0.021805 | 0.0054648
15 | 0.97088 | -0.20482 | 0 | 0
16 | 0.98001 | -0.14012 | 0.0010617 | 0.00026609
17 | 0.98005 | -0.13984 | 0.0064255 | 0.0016104
18 | 0.97275 | -0.1914 | 0.0024944 | 0.00062516
19 | 0.97566 | -0.17053 | 0.0019948 | 0.00049994
20 | 0.97569 | -0.17032 | 0.00072452 | 0.00018158
21 | 0.98667 | -0.092969 | 0 | 0
22 | 0.98691 | -0.091233 | 0.015415 | 0.0038634
23 | 0.98638 | -0.095012 | 0.0059781 | 0.0014983
24 | 0.98626 | -0.095854 | 0.003218 | 0.0008065
25 | 0.98792 | -0.084008 | 0.0048498 | 0.0012155
26 | 0.97649 | -0.16462 | 0 | 0
27 | 0.97647 | -0.16475 | 0.0010907 | 0.00027336
28 | 0.97597 | -0.16835 | 0.00144 | 0.00036089
29 | 0.97536 | -0.17275 | 0.00079387 | 0.00019896
30 | 0.97156 | -0.2002 | 0.0020772 | 0.0005206
31 | 0.97186 | -0.19804 | 0 | 0
32 | 0.97145 | -0.20102 | 0.00053216 | 0.00013337
33 | 0.97488 | -0.17619 | 0.0040273 | 0.0010093
34 | 0.97575 | -0.16987 | 0.0027555 | 0.0006906
35 | 0.97212 | -0.19609 | 0.0010824 | 0.00027127
36 | 0.97178 | -0.1986 | 0.00024321 | 6.0955e-05
37 | 0.97225 | -0.19519 | 0.00020943 | 5.2488e-05
38 | 0.9716 | -0.19986 | 0.00098242 | 0.00024622
39 | 0.97894 | -0.14776 | 0.0081533 | 0.0020434
40 | 0.97925 | -0.1455 | 0.0080889 | 0.0020273
41 | 0.97963 | -0.14282 | 0.0082407 | 0.0020653
42 | 0.97988 | -0.141 | 0.008432 | 0.0021133
43 | 0.98019 | -0.1388 | 0.010978 | 0.0027514
44 | 0.98567 | -0.099883 | 0.003527 | 0.00088394
45 | 0.9852 | -0.10321 | 0.00097979 | 0.00024556
46 | 0.98406 | -0.1113 | 0.0032672 | 0.00081883
47 | 0.98134 | -0.13061 | 0 | 0
48 | 0.98061 | -0.13577 | 0.0076834 | 0.0019256
49 | 0.98009 | -0.13949 | 0.0068294 | 0.0017116
50 | 0.97194 | -0.19744 | 0.0038319 | 0.00096036
51 | 0.9726 | -0.19261 | 0 | 0
52 | 0.9717 | -0.19916 | 0.0014205 | 0.00035601
53 | 0.97293 | -0.19023 | 0.00037222 | 9.3287e-05
54 | 0.97156 | -0.2002 | 0.00083082 | 0.00020822
55 | 0.97294 | -0.19019 | 0.00083235 | 0.00020861
56 | 0.97343 | -0.18664 | 0.0011768 | 0.00029494
57 | 0.97478 | -0.17685 | 0 | 0
58 | 0.97443 | -0.17936 | 0.0034526 | 0.0008653
59 | 0.97429 | -0.18033 | 0.0047069 | 0.0011797
60 | 0.97486 | -0.17633 | 0.0011963 | 0.00029983
61 | 0.97392 | -0.18309 | 0.00071013 | 0.00017798
62 | 0.9739 | -0.18323 | 0.00031541 | 7.9049e-05
63 | 0.9736 | -0.18539 | 0.00029797 | 7.4678e-05
64 | 0.97159 | -0.19999 | 0.00038208 | 9.5759e-05
65 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.069955 | -0.01757 | 0.070031 | 0.017598 | 7.5678e-05 | 2.8567e-05 | 0.10636 | 0.10636 | 0.10636 | 0.97886 | -0.14771 | 0.97995 | -0.13994 | 19.6956
1 | 0.068954 | 0.017319 | -0.068874 | -0.017289 | 8.0076e-05 | 3.0212e-05 | 0.10483 | 0.10483 | 0.10483 | 0.97886 | -0.14771 | 0.97768 | -0.15608 | 19.4138
2 | -0.070994 | -0.01784 | 0.071406 | 0.017995 | 0.000412 | 0.00015558 | 0.10782 | 0.10782 | 0.10782 | 0.97995 | -0.13994 | 0.98581 | -0.098482 | 19.9666
3 | 0.067794 | 0.017018 | -0.067767 | -0.017008 | 2.623e-05 | 9.8903e-06 | 0.10319 | 0.10319 | 0.10319 | 0.97768 | -0.15608 | 0.97729 | -0.15886 | 19.1093
4 | -0.071406 | -0.017995 | 0.07196 | 0.018204 | 0.00055362 | 0.00020901 | 0.10782 | 0.10782 | 0.10782 | 0.98581 | -0.098482 | 0.9937 | -0.043522 | 19.9664
5 | 0.041524 | 0.01043 | -0.041496 | -0.010419 | 2.8021e-05 | 1.0215e-05 | 0.063233 | 0.063233 | 0.063233 | 0.97729 | -0.15886 | 0.97661 | -0.16372 | 11.7098
6 | 0.026243 | 0.0065782 | -0.026241 | -0.0065774 | 2.2245e-06 | 8.2761e-07 | 0.039958 | 0.039958 | 0.039958 | 0.97729 | -0.15886 | 0.97721 | -0.15948 | 14.7991
7 | -0.18605 | -0.046955 | 0.18719 | 0.047393 | 0.001144 | 0.00043876 | 0.27871 | 0.27871 | 0.27871 | 0.9937 | -0.043522 | 1 | 0 | 51.6134
8 | 0.11409 | 0.02875 | -0.11363 | -0.028575 | 0.0004583 | 0.00017497 | 0.1709 | 0.1709 | 0.1709 | 0.9937 | -0.043522 | 0.98958 | -0.07234 | 31.6474
9 | 0.038815 | 0.0097473 | -0.038809 | -0.0097451 | 6.207e-06 | 2.245e-06 | 0.059147 | 0.059147 | 0.059147 | 0.97661 | -0.16372 | 0.97645 | -0.16487 | 10.9532
10 | 0.024639 | 0.006176 | -0.024631 | -0.0061732 | 7.5634e-06 | 2.8012e-06 | 0.037519 | 0.037519 | 0.037519 | 0.97721 | -0.15948 | 0.9769 | -0.16169 | 13.8959
11 | 0.08293 | 0.020873 | -0.082848 | -0.020841 | 8.1499e-05 | 3.1238e-05 | 0.12473 | 0.12473 | 0.12473 | 0.98958 | -0.07234 | 0.98858 | -0.079386 | 46.1969
12 | 0.030699 | 0.0077025 | -0.030658 | -0.0076873 | 4.0713e-05 | 1.5266e-05 | 0.046164 | 0.046164 | 0.046164 | 0.98958 | -0.07234 | 0.98823 | -0.081911 | 17.0979
13 | 0.079118 | 0.019907 | -0.079067 | -0.019887 | 5.0984e-05 | 1.9536e-05 | 0.11912 | 0.11912 | 0.11912 | 0.98858 | -0.079386 | 0.98792 | -0.084008 | 44.1174
14 | 0.024648 | 0.006181 | -0.024616 | -0.0061693 | 3.1806e-05 | 1.176e-05 | 0.037115 | 0.037115 | 0.037115 | 0.98823 | -0.081911 | 0.98691 | -0.091233 | 13.7464
15 | 0.0381 | 0.0095674 | -0.038073 | -0.0095579 | 2.647e-05 | 9.5518e-06 | 0.058067 | 0.058067 | 0.058067 | 0.97645 | -0.16487 | 0.97575 | -0.16987 | 10.7532
16 | 0.023931 | 0.0059976 | -0.023921 | -0.005994 | 9.6967e-06 | 3.5831e-06 | 0.036452 | 0.036452 | 0.036452 | 0.9769 | -0.16169 | 0.97649 | -0.16462 | 13.5006
17 | -0.021805 | -0.0054648 | 0.021819 | 0.0054701 | 1.4415e-05 | 5.2888e-06 | 0.033442 | 0.033442 | 0.033442 | 0.97022 | -0.20959 | 0.97088 | -0.20482 | 12.3859
18 | -0.021819 | -0.0054701 | 0.02186 | 0.005485 | 4.0612e-05 | 1.4899e-05 | 0.033442 | 0.033442 | 0.033442 | 0.97088 | -0.20482 | 0.97275 | -0.1914 | 12.3859
19 | -0.0010617 | -0.00026609 | 0.0010617 | 0.00026579 | 4.0807e-08 | -3.0141e-07 | 0.0016121 | 0.0016119 | 0.0016121 | 0.98001 | -0.14012 | 0.98005 | -0.13984 | 0.59706
20 | -0.0074872 | -0.0018762 | 0.0074876 | 0.0018762 | 3.5949e-07 | 8.2087e-08 | 0.011368 | 0.011368 | 0.011368 | 0.98005 | -0.13984 | 0.98009 | -0.13949 | 4.2103
21 | -0.024354 | -0.0061102 | 0.024404 | 0.0061284 | 4.9257e-05 | 1.8238e-05 | 0.037257 | 0.037257 | 0.037257 | 0.97275 | -0.1914 | 0.97478 | -0.17685 | 13.799
22 | -0.0019948 | -0.00049994 | 0.0019948 | 0.00049983 | 5.7811e-08 | -1.0278e-07 | 0.0030423 | 0.0030423 | 0.0030423 | 0.97566 | -0.17053 | 0.97569 | -0.17032 | 1.1268
23 | -0.0027193 | -0.00068142 | 0.0027195 | 0.00068129 | 1.6694e-07 | -1.3007e-07 | 0.0041472 | 0.0041471 | 0.0041472 | 0.97569 | -0.17032 | 0.97575 | -0.16987 | 1.536
24 | -0.0091991 | -0.0023053 | 0.0092013 | 0.0023059 | 2.2107e-06 | 6.1513e-07 | 0.013873 | 0.013873 | 0.013873 | 0.98667 | -0.092969 | 0.98691 | -0.091233 | 5.1383
25 | 0.0091991 | 0.0023053 | -0.0091965 | -0.0023046 | 2.6013e-06 | 7.2396e-07 | 0.013873 | 0.013873 | 0.013873 | 0.98667 | -0.092969 | 0.98638 | -0.095012 | 5.1383
26 | 0.0032184 | 0.00080632 | -0.003218 | -0.0008065 | 3.7459e-07 | -1.8096e-07 | 0.004855 | 0.0048551 | 0.0048551 | 0.98638 | -0.095012 | 0.98626 | -0.095854 | 1.7982
27 | 0.074217 | 0.018672 | -0.074053 | -0.018609 | 0.00016399 | 6.2803e-05 | 0.11181 | 0.11181 | 0.11181 | 0.98792 | -0.084008 | 0.98567 | -0.099883 | 41.4119
28 | 0.0010907 | 0.00027322 | -0.0010907 | -0.00027336 | 1.9799e-08 | -1.3607e-07 | 0.001662 | 0.0016621 | 0.0016621 | 0.97649 | -0.16462 | 0.97647 | -0.16475 | 0.61559
29 | 0.02283 | 0.0057208 | -0.022819 | -0.0057165 | 1.1788e-05 | 4.3387e-06 | 0.03479 | 0.03479 | 0.03479 | 0.97649 | -0.16462 | 0.97597 | -0.16835 | 12.8851
30 | 0.021379 | 0.0053556 | -0.021366 | -0.0053508 | 1.2987e-05 | 4.7504e-06 | 0.032594 | 0.032594 | 0.032594 | 0.97597 | -0.16835 | 0.97536 | -0.17275 | 12.072
31 | 0.020572 | 0.0051519 | -0.020562 | -0.0051483 | 9.7939e-06 | 3.5681e-06 | 0.031383 | 0.031383 | 0.031383 | 0.97536 | -0.17275 | 0.97488 | -0.17619 | 11.6234
32 | -0.0026094 | -0.00065222 | 0.0026102 | 0.00065155 | 7.7728e-07 | -6.6749e-07 | 0.0039959 | 0.0039956 | 0.0039959 | 0.97156 | -0.2002 | 0.97186 | -0.19804 | 1.48
33 | 0.00053222 | 0.00013162 | -0.00053216 | -0.00013337 | 5.9528e-08 | -1.7562e-06 | 0.0008145 | 0.00081514 | 0.00081514 | 0.97156 | -0.2002 | 0.97145 | -0.20102 | 0.3019
34 | -0.0042183 | -0.0010528 | 0.0042194 | 0.0010526 | 1.1267e-06 | -1.0344e-07 | 0.0064571 | 0.0064569 | 0.0064571 | 0.97186 | -0.19804 | 0.97212 | -0.19609 | 2.3915
35 | 0.0016081 | 0.0004012 | -0.001608 | -0.00040156 | 1.2457e-07 | -3.603e-07 | 0.0024615 | 0.0024616 | 0.0024616 | 0.97186 | -0.19804 | 0.97178 | -0.1986 | 0.91172
36 | 0.016535 | 0.004139 | -0.016534 | -0.0041389 | 3.0648e-07 | 1.0826e-07 | 0.025236 | 0.025236 | 0.025236 | 0.97488 | -0.17619 | 0.97486 | -0.17633 | 9.3467
37 | 0.032598 | 0.008186 | -0.032567 | -0.0081741 | 3.1595e-05 | 1.1896e-05 | 0.049718 | 0.049718 | 0.049718 | 0.97575 | -0.16987 | 0.97478 | -0.17685 | 18.414
38 | -0.0053018 | -0.0013239 | 0.0053025 | 0.001324 | 6.5632e-07 | 5.4321e-08 | 0.0081137 | 0.0081136 | 0.0081137 | 0.97212 | -0.19609 | 0.97225 | -0.19519 | 3.0051
39 | 0.0013647 | 0.00034061 | -0.0013645 | -0.00034159 | 2.3702e-07 | -9.866e-07 | 0.0020892 | 0.0020896 | 0.0020896 | 0.97178 | -0.1986 | 0.9716 | -0.19986 | 0.77393
40 | -0.0055119 | -0.0013765 | 0.0055139 | 0.0013767 | 1.9532e-06 | 2.0533e-07 | 0.0084342 | 0.008434 | 0.0084342 | 0.97225 | -0.19519 | 0.9726 | -0.19261 | 3.1238
41 | 0.00038209 | 9.5375e-05 | -0.00038208 | -9.5759e-05 | 6.6739e-09 | -3.8434e-07 | 0.00058503 | 0.00058517 | 0.00058517 | 0.9716 | -0.19986 | 0.97159 | -0.19999 | 0.21673
42 | -0.0081533 | -0.0020434 | 0.0081558 | 0.002044 | 2.5492e-06 | 6.4595e-07 | 0.012393 | 0.012393 | 0.012393 | 0.97894 | -0.14776 | 0.97925 | -0.1455 | 4.5901
43 | -0.016245 | -0.0040713 | 0.016251 | 0.0040734 | 6.0183e-06 | 2.1155e-06 | 0.024685 | 0.024685 | 0.024685 | 0.97925 | -0.1455 | 0.97963 | -0.14282 | 9.1424
44 | -0.024491 | -0.0061388 | 0.024498 | 0.0061411 | 6.1986e-06 | 2.2937e-06 | 0.037202 | 0.037202 | 0.037202 | 0.97963 | -0.14282 | 0.97988 | -0.141 | 13.7785
45 | -0.03293 | -0.0082543 | 0.03294 | 0.0082581 | 1.0005e-05 | 3.7673e-06 | 0.050006 | 0.050006 | 0.050006 | 0.97988 | -0.141 | 0.98019 | -0.1388 | 18.5209
46 | -0.043918 | -0.01101 | 0.043968 | 0.011028 | 4.9887e-05 | 1.8961e-05 | 0.066673 | 0.066672 | 0.066673 | 0.98019 | -0.1388 | 0.98134 | -0.13061 | 24.6935
47 | 0.070526 | 0.017725 | -0.070494 | -0.017712 | 3.2635e-05 | 1.2493e-05 | 0.10649 | 0.10649 | 0.10649 | 0.98567 | -0.099883 | 0.9852 | -0.10321 | 39.4399
48 | 0.069514 | 0.017467 | -0.069436 | -0.017437 | 7.8156e-05 | 2.9916e-05 | 0.10501 | 0.10501 | 0.10501 | 0.9852 | -0.10321 | 0.98406 | -0.1113 | 38.8918
49 | 0.066169 | 0.016618 | -0.065991 | -0.01655 | 0.00017717 | 6.7785e-05 | 0.10007 | 0.10007 | 0.10007 | 0.98406 | -0.1113 | 0.98134 | -0.13061 | 37.0621
50 | 0.022023 | 0.0055218 | -0.022008 | -0.005516 | 1.5735e-05 | 5.7666e-06 | 0.033395 | 0.033395 | 0.033395 | 0.98134 | -0.13061 | 0.98061 | -0.13577 | 12.3686
51 | 0.014324 | 0.0035904 | -0.014317 | -0.0035878 | 7.3726e-06 | 2.5203e-06 | 0.021736 | 0.021736 | 0.021736 | 0.98061 | -0.13577 | 0.98009 | -0.13949 | 8.0505
52 | -0.0060838 | -0.0015225 | 0.0060879 | 0.0015231 | 4.0549e-06 | 6.3044e-07 | 0.0093134 | 0.0093131 | 0.0093134 | 0.97194 | -0.19744 | 0.9726 | -0.19261 | 3.4494
53 | 0.002252 | 0.00056214 | -0.0022514 | -0.00056283 | 5.3308e-07 | -6.8579e-07 | 0.0034469 | 0.0034472 | 0.0034472 | 0.97194 | -0.19744 | 0.9717 | -0.19916 | 1.2767
54 | -0.011602 | -0.0028998 | 0.011606 | 0.002901 | 3.8041e-06 | 1.2228e-06 | 0.017747 | 0.017747 | 0.017747 | 0.9726 | -0.19261 | 0.97293 | -0.19023 | 6.573
55 | 0.00083094 | 0.00020682 | -0.00083082 | -0.00020822 | 1.1825e-07 | -1.4046e-06 | 0.0012719 | 0.0012725 | 0.0012725 | 0.9717 | -0.19916 | 0.97156 | -0.2002 | 0.47129
56 | -0.011978 | -0.0029943 | 0.011978 | 0.0029943 | 7.3958e-08 | 2.4058e-08 | 0.018316 | 0.018316 | 0.018316 | 0.97293 | -0.19023 | 0.97294 | -0.19019 | 6.7838
57 | -0.01281 | -0.0032029 | 0.012816 | 0.003205 | 6.2709e-06 | 2.0865e-06 | 0.019589 | 0.019589 | 0.019589 | 0.97294 | -0.19019 | 0.97343 | -0.18664 | 7.2553
58 | -0.013993 | -0.0035 | 0.013996 | 0.0035008 | 2.4034e-06 | 8.197e-07 | 0.021388 | 0.021388 | 0.021388 | 0.97343 | -0.18664 | 0.9736 | -0.18539 | 7.9215
59 | 0.0081629 | 0.0020457 | -0.0081601 | -0.002045 | 2.8376e-06 | 7.2644e-07 | 0.012461 | 0.012461 | 0.012461 | 0.97478 | -0.17685 | 0.97443 | -0.17936 | 4.6152
60 | 0.0047075 | 0.0011797 | -0.0047069 | -0.0011797 | 6.2824e-07 | -1.0256e-09 | 0.0071886 | 0.0071887 | 0.0071887 | 0.97443 | -0.17936 | 0.97429 | -0.18033 | 2.6625
61 | 0.015338 | 0.003839 | -0.015324 | -0.003834 | 1.4315e-05 | 4.9844e-06 | 0.02341 | 0.02341 | 0.02341 | 0.97486 | -0.17633 | 0.97392 | -0.18309 | 8.6705
62 | 0.014614 | 0.0036561 | -0.014613 | -0.003656 | 2.7037e-07 | 9.317e-08 | 0.022325 | 0.022325 | 0.022325 | 0.97392 | -0.18309 | 0.9739 | -0.18323 | 8.2686
63 | 0.014298 | 0.0035769 | -0.014294 | -0.0035755 | 4.2686e-06 | 1.4634e-06 | 0.021843 | 0.021843 | 0.021843 | 0.9739 | -0.18323 | 0.9736 | -0.18539 | 8.0901

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.19764 | 0.049813

## res_load
| p_mw | q_mvar
0 | 0.0010012 | 0.00025093
1 | 0.00096371 | 0.00024153
2 | 0.0010803 | 0.00027074
3 | 0.0026817 | 0.00067209
4 | 0.0016016 | 0.0004014
5 | 0.0096539 | 0.0024195
6 | 0.0037302 | 0.00093487
7 | 0.0060099 | 0.0015062
8 | 0.0007089 | 0.00017767
9 | 0.00070062 | 0.00017559
10 | 0.021805 | 0.0054648
11 | 0.0010617 | 0.00026609
12 | 0.0064255 | 0.0016104
13 | 0.0024944 | 0.00062516
14 | 0.0019948 | 0.00049994
15 | 0.00072452 | 0.00018158
16 | 0.015415 | 0.0038634
17 | 0.0059781 | 0.0014983
18 | 0.003218 | 0.0008065
19 | 0.0048498 | 0.0012155
20 | 0.0010907 | 0.00027336
21 | 0.00144 | 0.00036089
22 | 0.00079387 | 0.00019896
23 | 0.0020772 | 0.0005206
24 | 0.00053216 | 0.00013337
25 | 0.0040273 | 0.0010093
26 | 0.0027555 | 0.0006906
27 | 0.0010824 | 0.00027127
28 | 0.00024321 | 6.0955e-05
29 | 0.00020943 | 5.2488e-05
30 | 0.00098242 | 0.00024622
31 | 0.0081533 | 0.0020434
32 | 0.0080889 | 0.0020273
33 | 0.0082407 | 0.0020653
34 | 0.008432 | 0.0021133
35 | 0.010978 | 0.0027514
36 | 0.003527 | 0.00088394
37 | 0.00097979 | 0.00024556
38 | 0.0032672 | 0.00081883
39 | 0.0076834 | 0.0019256
40 | 0.0068294 | 0.0017116
41 | 0.0038319 | 0.00096036
42 | 0.0014205 | 0.00035601
43 | 0.00037222 | 9.3287e-05
44 | 0.00083082 | 0.00020822
45 | 0.00083235 | 0.00020861
46 | 0.0011768 | 0.00029494
47 | 0.0034526 | 0.0008653
48 | 0.0047069 | 0.0011797
49 | 0.0011963 | 0.00029983
50 | 0.00071013 | 0.00017798
51 | 0.00031541 | 7.9049e-05
52 | 0.00029797 | 7.4678e-05
53 | 0.00038208 | 9.5759e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1