## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1209-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1209-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1209-2_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1209-2_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1209-2_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1209-2_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1209-2_0_4_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_1209-2_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1209-2_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1209-2_0_4_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_1209-2_0_4_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_1209-2_0_4_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_1209-2_0_4_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_1209-2_0_4_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_1209-2_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1209-2_0_4_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1209-2_0_4_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1209-2_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1209-2_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1209-2_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_1209-2_0_4_node_37 | 0.4 | n |  | TRUE
21 | bus_LV_1209-2_0_4_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_1209-2_0_4_node_28 | 0.4 | n |  | TRUE
23 | bus_LV_1209-2_0_4_node_38 | 0.4 | n |  | TRUE
24 | bus_LV_1209-2_0_4_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_1209-2_0_4_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_1209-2_0_4_node_41 | 0.4 | n |  | TRUE
27 | bus_LV_1209-2_0_4_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_1209-2_0_4_node_42 | 0.4 | n |  | TRUE
29 | bus_LV_1209-2_0_4_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_1209-2_0_4_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_1209-2_0_4_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_1209-2_0_4_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_1209-2_0_4_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_1209-2_0_4_node_21 | 0.4 | n |  | TRUE
35 | bus_LV_1209-2_0_4_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_1209-2_0_4_node_43 | 0.4 | n |  | TRUE
37 | bus_LV_1209-2_0_4_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_1209-2_0_4_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_1209-2_0_4_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_1209-2_0_4_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_1209-2_0_4_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_1209-2_0_4_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_1209-2_0_4_node_39 | 0.4 | n |  | TRUE
44 | bus_MV_11_0_node_51 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1209-2_0_4_load_0 | 0 | 0.0029831 | 0.00074763 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1209-2_0_4_load_1 | 1 | 0.0041213 | 0.0010329 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1209-2_0_4_load_3 | 3 | 0.0035228 | 0.00088289 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1209-2_0_4_load_5 | 5 | 0.0038443 | 0.00096347 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1209-2_0_4_load_7 | 7 | 0.010226 | 0.0025629 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1209-2_0_4_load_6 | 8 | 0.00077167 | 0.0001934 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1209-2_0_4_load_18 | 9 | 0.0022249 | 0.00055762 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1209-2_0_4_load_16 | 11 | 0.0050416 | 0.0012636 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1209-2_0_4_load_19 | 12 | 0.0054381 | 0.0013629 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1209-2_0_4_load_17 | 13 | 0.0028722 | 0.00071984 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1209-2_0_4_load_8 | 14 | 0.015885 | 0.0039811 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1209-2_0_4_load_9 | 15 | 0.0027082 | 0.00067874 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1209-2_0_4_load_11 | 17 | 0.0029625 | 0.00074248 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1209-2_0_4_load_12 | 18 | 0.0031188 | 0.00078164 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1209-2_0_4_load_13 | 19 | 0.0030249 | 0.00075811 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1209-2_0_4_load_37 | 20 | 0.0044996 | 0.0011277 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1209-2_0_4_load_26 | 21 | 0.0043893 | 0.0011001 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1209-2_0_4_load_28 | 22 | 0.0038474 | 0.00096425 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1209-2_0_4_load_38 | 23 | 0.0030628 | 0.00076761 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1209-2_0_4_load_25 | 24 | 0.0019869 | 0.00049796 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1209-2_0_4_load_29 | 25 | 0.016583 | 0.0041561 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1209-2_0_4_load_41 | 26 | 0.0029027 | 0.00072748 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1209-2_0_4_load_24 | 27 | 0.0041918 | 0.0010506 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1209-2_0_4_load_42 | 28 | 0.014459 | 0.0036237 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1209-2_0_4_load_23 | 29 | 0.0052791 | 0.0013231 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1209-2_0_4_load_32 | 32 | 0.0063812 | 0.0015993 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1209-2_0_4_load_20 | 33 | 0.0041665 | 0.0010442 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1209-2_0_4_load_21 | 34 | 0.002005 | 0.00050249 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1209-2_0_4_load_22 | 35 | 0.0047532 | 0.0011913 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1209-2_0_4_load_43 | 36 | 0.0035036 | 0.0008781 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1209-2_0_4_load_27 | 37 | 0.0037786 | 0.00094701 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1209-2_0_4_load_31 | 39 | 0.020057 | 0.0050267 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1209-2_0_4_load_33 | 40 | 0.0061564 | 0.0015429 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1209-2_0_4_load_35 | 41 | 0.0035969 | 0.00090146 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1209-2_0_4_load_40 | 42 | 0.0061897 | 0.0015513 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1209-2_0_4_load_39 | 43 | 0.0035654 | 0.00089357 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1209-2_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.032341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1209-2_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.030784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1209-2_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.065325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1209-2_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.10583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1209-2_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.12356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1209-2_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.058817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1209-2_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.053574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1209-2_0_4_line_7 | NAYY 4x150 SE | 4 | 8 | 0.018042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1209-2_0_4_line_8 | NAYY 4x150 SE | 5 | 9 | 0.001942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1209-2_0_4_line_9 | NAYY 4x150 SE | 6 | 10 | 0.1268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1209-2_0_4_line_10 | NAYY 4x150 SE | 7 | 11 | 0.038452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1209-2_0_4_line_11 | NAYY 4x150 SE | 9 | 12 | 0.017164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1209-2_0_4_line_12 | NAYY 4x150 SE | 10 | 26 | 0.0070249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1209-2_0_4_line_13 | NAYY 4x150 SE | 10 | 27 | 0.016641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1209-2_0_4_line_14 | NAYY 4x150 SE | 11 | 13 | 0.0095056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1209-2_0_4_line_15 | NAYY 4x150 SE | 14 | 15 | 0.0038408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1209-2_0_4_line_16 | NAYY 4x150 SE | 14 | 16 | 0.054736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1209-2_0_4_line_17 | NAYY 4x150 SE | 15 | 17 | 0.023354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1209-2_0_4_line_18 | NAYY 4x150 SE | 16 | 18 | 0.030355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1209-2_0_4_line_19 | NAYY 4x150 SE | 16 | 19 | 0.010547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1209-2_0_4_line_20 | NAYY 4x150 SE | 17 | 20 | 0.015334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1209-2_0_4_line_21 | NAYY 4x150 SE | 18 | 21 | 0.014574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1209-2_0_4_line_22 | NAYY 4x150 SE | 19 | 22 | 0.018444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1209-2_0_4_line_23 | NAYY 4x150 SE | 20 | 23 | 0.0006986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1209-2_0_4_line_24 | NAYY 4x150 SE | 21 | 24 | 0.019263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1209-2_0_4_line_25 | NAYY 4x150 SE | 22 | 25 | 0.037635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1209-2_0_4_line_26 | NAYY 4x150 SE | 23 | 43 | 0.012288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1209-2_0_4_line_27 | NAYY 4x150 SE | 24 | 37 | 0.0067024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1209-2_0_4_line_28 | NAYY 4x150 SE | 25 | 38 | 0.16313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1209-2_0_4_line_29 | NAYY 4x150 SE | 26 | 28 | 0.012277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1209-2_0_4_line_30 | NAYY 4x150 SE | 27 | 29 | 0.020702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1209-2_0_4_line_31 | NAYY 4x150 SE | 28 | 31 | 0.0066556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1209-2_0_4_line_32 | NAYY 4x150 SE | 30 | 31 | 0.008763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1209-2_0_4_line_33 | NAYY 4x150 SE | 30 | 32 | 0.037619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_1209-2_0_4_line_34 | NAYY 4x150 SE | 31 | 36 | 0.010605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1209-2_0_4_line_35 | NAYY 4x150 SE | 32 | 40 | 0.0077709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_1209-2_0_4_line_36 | NAYY 4x150 SE | 33 | 34 | 0.02702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1209-2_0_4_line_37 | NAYY 4x150 SE | 34 | 35 | 0.0018545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1209-2_0_4_line_38 | NAYY 4x150 SE | 35 | 36 | 0.015515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1209-2_0_4_line_39 | NAYY 4x150 SE | 38 | 39 | 0.11143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1209-2_0_4_line_40 | NAYY 4x150 SE | 40 | 41 | 0.0040566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1209-2_0_4_line_41 | NAYY 4x150 SE | 41 | 42 | 0.01122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1209-2_0_4_line_42 | NAYY 4x150 SE | 42 | 43 | 0.0019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1209-2_0_4_trafo_32 | 0.25 MVA 20/0.4 kV | 44 | 32 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2690303.6783 | 1175882.0425 | 2690319.1703 | 1175910.4318
1 | 2690288.9321 | 1175855.0199 | 2690303.6783 | 1175882.0425
2 | 2690359.0419 | 1175959.8424 | 2690357.5116 | 1175957.849 | 2690338.4214 | 1175945.7096 | 2690319.1703 | 1175910.4318
3 | 2690288.9321 | 1175855.0199 | 2690280.4533 | 1175845.8978 | 2690248.8985 | 1175790.2333 | 2690239.2074 | 1175779.8701 | 2690230.2067 | 1175778.5006 | 2690224.0413 | 1175779.2305
4 | 2690288.9321 | 1175855.0199 | 2690276.2636 | 1175824.5772 | 2690261.0302 | 1175774.0613 | 2690248.6572 | 1175751.3946 | 2690243.7664 | 1175740.4342
5 | 2690382.1404 | 1176008.2955 | 2690369.8439 | 1176001.4171 | 2690363.3914 | 1175988.7455 | 2690362.5926 | 1175974.2801 | 2690363.5473 | 1175965.7114 | 2690359.0419 | 1175959.8424
6 | 2690224.0413 | 1175779.2305 | 2690225.8561 | 1175794.7897 | 2690245.1259 | 1175822.4743 | 2690246.943 | 1175826.2369
7 | 2690224.0413 | 1175779.2305 | 2690215.5146 | 1175773.7879 | 2690208.3409 | 1175770.4167
8 | 2690243.7664 | 1175740.4342 | 2690242.975 | 1175738.6607
9 | 2690382.1404 | 1176008.2955 | 2690383.292 | 1176001.3752 | 2690399.0591 | 1175968.1922 | 2690402.1357 | 1175956.309 | 2690394.986 | 1175939.6799 | 2690385.3556 | 1175925.8263 | 2690402.2798 | 1175913.2734 | 2690401.4088 | 1175906.6451 | 2690404.7453 | 1175899.3242
10 | 2690263.6645 | 1175860.8623 | 2690246.943 | 1175826.2369
11 | 2690235.9807 | 1175722.9864 | 2690242.975 | 1175738.6607
12 | 2690404.7453 | 1175899.3242 | 2690405.048 | 1175892.3058
13 | 2690404.7453 | 1175899.3242 | 2690408.8803 | 1175913.0838 | 2690410.2567 | 1175914.8938
14 | 2690267.7983 | 1175869.422 | 2690263.6645 | 1175860.8623
15 | 2690427.152 | 1175753.3604 | 2690428.6656 | 1175755.3956 | 2690429.5319 | 1175756.3708
16 | 2690457.6945 | 1175760.981 | 2690455.3687 | 1175764.6371 | 2690453.3817 | 1175766.108 | 2690451.0382 | 1175766.8843 | 2690448.5612 | 1175766.8803 | 2690446.2183 | 1175766.1001 | 2690444.2376 | 1175764.6137 | 2690442.8232 | 1175762.5912 | 2690442.1171 | 1175760.2346 | 2690439.5379 | 1175750.2785 | 2690438.9252 | 1175747.8122 | 2690437.4114 | 1175745.7881 | 2690435.2293 | 1175744.4767 | 2690432.7196 | 1175744.1053 | 2690430.2562 | 1175744.7241 | 2690428.2152 | 1175746.2276 | 2690426.9057 | 1175748.3981 | 2690426.5391 | 1175750.9052 | 2690427.152 | 1175753.3604
17 | 2690433.3561 | 1175778.4046 | 2690433.9458 | 1175771.7964 | 2690433.7608 | 1175763.7887 | 2690432.2891 | 1175759.475 | 2690429.5319 | 1175756.3708
18 | 2690457.6945 | 1175760.981 | 2690445.1342 | 1175747.2387 | 2690437.2174 | 1175738.573
19 | 2690457.6945 | 1175760.981 | 2690464.983 | 1175768.6043
20 | 2690432.1678 | 1175793.6921 | 2690433.0719 | 1175781.5893 | 2690433.3561 | 1175778.4046
21 | 2690437.2174 | 1175738.573 | 2690427.3875 | 1175727.8133
22 | 2690477.7332 | 1175781.9322 | 2690477 | 1175781.1734 | 2690464.983 | 1175768.6043
23 | 2690432.1678 | 1175793.6921 | 2690432.1157 | 1175794.3888
24 | 2690415.0404 | 1175713.0332 | 2690425.1129 | 1175725.3235 | 2690427.3875 | 1175727.8133
25 | 2690477.7332 | 1175781.9322 | 2690503.8847 | 1175808.9973
26 | 2690431.2003 | 1175806.6428 | 2690432.1157 | 1175794.3888
27 | 2690415.0404 | 1175713.0332 | 2690410.7919 | 1175707.8493
28 | 2690592.2128 | 1175944.7014 | 2690585.6951 | 1175927.7704 | 2690577.5344 | 1175911.2926 | 2690548.9156 | 1175863.9092 | 2690538.5625 | 1175847.8097 | 2690534.5751 | 1175842.524 | 2690527.9339 | 1175834.2632 | 2690520.999 | 1175826.7095 | 2690503.8847 | 1175808.9973
29 | 2690405.048 | 1175892.3058 | 2690405.145 | 1175890.0578 | 2690408.7552 | 1175880.7034
30 | 2690423.5698 | 1175930.6845 | 2690418.3483 | 1175925.5342 | 2690410.2567 | 1175914.8938
31 | 2690411.1516 | 1175874.4942 | 2690408.7552 | 1175880.7034
32 | 2690414.1427 | 1175866.2564 | 2690411.1516 | 1175874.4942
33 | 2690414.1427 | 1175866.2564 | 2690415.9815 | 1175861.937 | 2690425.9005 | 1175839.9173 | 2690427.2735 | 1175831.2517
34 | 2690411.1516 | 1175874.4942 | 2690420.6433 | 1175879.2249
35 | 2690427.2735 | 1175831.2517 | 2690427.6579 | 1175828.8258 | 2690428.646 | 1175823.6038
36 | 2690436.3801 | 1175886.0723 | 2690442.9456 | 1175885.7803 | 2690450.268 | 1175886.391 | 2690459.0501 | 1175889.0695 | 2690462.3784 | 1175891.1375
37 | 2690436.3801 | 1175886.0723 | 2690434.5456 | 1175886.1539 | 2690434.5293 | 1175886.1458
38 | 2690434.5293 | 1175886.1458 | 2690420.6433 | 1175879.2249
39 | 2690592.2128 | 1175944.7014 | 2690584.3686 | 1175942.704 | 2690575.7102 | 1175932.3558 | 2690566.3803 | 1175925.4663 | 2690554.811 | 1175917.5201 | 2690532.4177 | 1175893.2673 | 2690507.8973 | 1175873.6853
40 | 2690428.646 | 1175823.6038 | 2690429.4002 | 1175819.6179
41 | 2690431.0588 | 1175808.5375 | 2690430.773 | 1175812.3626 | 2690429.4002 | 1175819.6179
42 | 2690431.0588 | 1175808.5375 | 2690431.2003 | 1175806.6428

## bus_geodata
| x | y | coords
0 | 2690303.6783 | 1175882.0425
1 | 2690319.1703 | 1175910.4318
2 | 2690288.9321 | 1175855.0199
3 | 2690359.0419 | 1175959.8424
4 | 2690224.0413 | 1175779.2305
5 | 2690243.7664 | 1175740.4342
6 | 2690382.1404 | 1176008.2955
7 | 2690246.943 | 1175826.2369
8 | 2690208.3409 | 1175770.4167
9 | 2690242.975 | 1175738.6607
10 | 2690404.7453 | 1175899.3242
11 | 2690263.6645 | 1175860.8623
12 | 2690235.9807 | 1175722.9864
13 | 2690267.7983 | 1175869.422
14 | 2690427.152 | 1175753.3604
15 | 2690429.5319 | 1175756.3708
16 | 2690457.6945 | 1175760.981
17 | 2690433.3561 | 1175778.4046
18 | 2690437.2174 | 1175738.573
19 | 2690464.983 | 1175768.6043
20 | 2690432.1678 | 1175793.6921
21 | 2690427.3875 | 1175727.8133
22 | 2690477.7332 | 1175781.9322
23 | 2690432.1157 | 1175794.3888
24 | 2690415.0404 | 1175713.0332
25 | 2690503.8847 | 1175808.9973
26 | 2690405.048 | 1175892.3058
27 | 2690410.2567 | 1175914.8938
28 | 2690408.7552 | 1175880.7034
29 | 2690423.5698 | 1175930.6845
30 | 2690414.1427 | 1175866.2564
31 | 2690411.1516 | 1175874.4942
32 | 2690427.2735 | 1175831.2517
33 | 2690462.3784 | 1175891.1375
34 | 2690436.3801 | 1175886.0723
35 | 2690434.5293 | 1175886.1458
36 | 2690420.6433 | 1175879.2249
37 | 2690410.7919 | 1175707.8493
38 | 2690592.2128 | 1175944.7014
39 | 2690507.8973 | 1175873.6853
40 | 2690428.646 | 1175823.6038
41 | 2690429.4002 | 1175819.6179
42 | 2690431.0588 | 1175808.5375
43 | 2690431.2003 | 1175806.6428
44 | 2690414.1427 | 1175866.2564

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97829 | -0.15201 | 0.0029831 | 0.00074763
1 | 0.97987 | -0.14075 | 0.0041213 | 0.0010329
2 | 0.97691 | -0.1618 | 0 | 0
3 | 0.98345 | -0.11533 | 0.0035228 | 0.00088289
4 | 0.97398 | -0.18281 | 0 | 0
5 | 0.97484 | -0.17671 | 0.0038443 | 0.00096347
6 | 0.98698 | -0.090479 | 0 | 0
7 | 0.97256 | -0.19305 | 0.010226 | 0.0025629
8 | 0.97396 | -0.18296 | 0.00077167 | 0.0001934
9 | 0.97481 | -0.17687 | 0.0022249 | 0.00055762
10 | 0.99459 | -0.037487 | 0 | 0
11 | 0.97211 | -0.19627 | 0.0050416 | 0.0012636
12 | 0.97468 | -0.17785 | 0.0054381 | 0.0013629
13 | 0.97207 | -0.19655 | 0.0028722 | 0.00071984
14 | 0.99072 | -0.064607 | 0.015885 | 0.0039811
15 | 0.99112 | -0.061768 | 0.0027082 | 0.00067874
16 | 0.9862 | -0.09638 | 0 | 0
17 | 0.99367 | -0.043918 | 0.0029625 | 0.00074248
18 | 0.98562 | -0.10052 | 0.0031188 | 0.00078164
19 | 0.98553 | -0.1011 | 0.0030249 | 0.00075811
20 | 0.99542 | -0.03179 | 0.0044996 | 0.0011277
21 | 0.9854 | -0.10204 | 0.0043893 | 0.0011001
22 | 0.98444 | -0.10878 | 0.0038474 | 0.00096425
23 | 0.9955 | -0.031206 | 0.0030628 | 0.00076761
24 | 0.98524 | -0.10318 | 0.0019869 | 0.00049796
25 | 0.98243 | -0.12302 | 0.016583 | 0.0041561
26 | 0.99511 | -0.033904 | 0.0029027 | 0.00072748
27 | 0.99436 | -0.039078 | 0.0041918 | 0.0010506
28 | 0.99606 | -0.027292 | 0.014459 | 0.0036237
29 | 0.99421 | -0.040182 | 0.0052791 | 0.0013231
30 | 0.99776 | -0.015501 | 0 | 0
31 | 0.99672 | -0.022746 | 0 | 0
32 | 1 | 0 | -0.19105 | -0.048002
33 | 0.99608 | -0.027236 | 0.0041665 | 0.0010442
34 | 0.99624 | -0.026103 | 0.002005 | 0.00050249
35 | 0.99626 | -0.025988 | 0.0047532 | 0.0011913
36 | 0.9965 | -0.024284 | 0.0035036 | 0.0008781
37 | 0.9852 | -0.10344 | 0.0037786 | 0.00094701
38 | 0.97765 | -0.15705 | 0 | 0
39 | 0.97438 | -0.18047 | 0.020057 | 0.0050267
40 | 0.99941 | -0.0040921 | 0.0061564 | 0.0015429
41 | 0.99883 | -0.0081197 | 0.0035969 | 0.00090146
42 | 0.99727 | -0.018879 | 0.0061897 | 0.0015513
43 | 0.99703 | -0.020586 | 0.0035654 | 0.00089357
44 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.033553 | -0.0084244 | 0.033605 | 0.0084442 | 5.2575e-05 | 1.9814e-05 | 0.051041 | 0.051041 | 0.051041 | 0.97829 | -0.15201 | 0.97987 | -0.14075 | 18.9041
1 | 0.03057 | 0.0076768 | -0.030528 | -0.0076612 | 4.1542e-05 | 1.5592e-05 | 0.046504 | 0.046504 | 0.046504 | 0.97829 | -0.15201 | 0.97691 | -0.1618 | 17.2236
2 | -0.037727 | -0.0094771 | 0.037861 | 0.0095278 | 0.00013383 | 5.0648e-05 | 0.057299 | 0.057299 | 0.057299 | 0.97987 | -0.14075 | 0.98345 | -0.11533 | 21.222
3 | 0.018996 | 0.0047694 | -0.018941 | -0.0047495 | 5.53e-05 | 1.9948e-05 | 0.028938 | 0.028938 | 0.028938 | 0.97691 | -0.1618 | 0.97398 | -0.18281 | 10.7179
4 | 0.011532 | 0.0028917 | -0.011508 | -0.0028841 | 2.3792e-05 | 7.6069e-06 | 0.017566 | 0.017567 | 0.017567 | 0.97691 | -0.1618 | 0.97484 | -0.17671 | 6.5061
5 | -0.041383 | -0.010411 | 0.041527 | 0.010465 | 0.00014396 | 5.462e-05 | 0.062629 | 0.062629 | 0.062629 | 0.98345 | -0.11533 | 0.98698 | -0.090479 | 23.196
6 | 0.018169 | 0.0045563 | -0.018143 | -0.0045471 | 2.5761e-05 | 9.2422e-06 | 0.027759 | 0.02776 | 0.02776 | 0.97398 | -0.18281 | 0.97256 | -0.19305 | 10.2813
7 | 0.00077169 | 0.00019318 | -0.00077167 | -0.0001934 | 1.5647e-08 | -2.1852e-07 | 0.0011789 | 0.001179 | 0.001179 | 0.97398 | -0.18281 | 0.97396 | -0.18296 | 0.43665
8 | 0.007664 | 0.0019207 | -0.0076638 | -0.0019206 | 1.6584e-07 | 3.9575e-08 | 0.011698 | 0.011698 | 0.011698 | 0.97484 | -0.17671 | 0.97481 | -0.17687 | 4.3328
9 | -0.041527 | -0.010465 | 0.041838 | 0.010583 | 0.00031036 | 0.00011774 | 0.062629 | 0.062628 | 0.062629 | 0.98698 | -0.090479 | 0.99459 | -0.037487 | 23.1959
10 | 0.0079175 | 0.0019842 | -0.0079139 | -0.0019833 | 3.5209e-06 | 8.7728e-07 | 0.012114 | 0.012114 | 0.012114 | 0.97256 | -0.19305 | 0.97211 | -0.19627 | 4.4866
11 | 0.0054389 | 0.001363 | -0.0054381 | -0.0013629 | 7.3823e-07 | 6.9985e-08 | 0.0083022 | 0.0083023 | 0.0083023 | 0.97481 | -0.17687 | 0.97468 | -0.17785 | 3.0749
12 | -0.051312 | -0.012957 | 0.051337 | 0.012967 | 2.5857e-05 | 9.8536e-06 | 0.076802 | 0.076802 | 0.076802 | 0.99459 | -0.037487 | 0.99511 | -0.033904 | 28.4452
13 | 0.0094738 | 0.0023743 | -0.0094717 | -0.0023737 | 2.0862e-06 | 5.8645e-07 | 0.014174 | 0.014174 | 0.014174 | 0.99459 | -0.037487 | 0.99436 | -0.039078 | 5.2496
14 | 0.0028723 | 0.00071976 | -0.0028722 | -0.00071984 | 1.1466e-07 | -7.3744e-08 | 0.0043966 | 0.0043967 | 0.0043967 | 0.97211 | -0.19627 | 0.97207 | -0.19655 | 1.6284
15 | -0.073241 | -0.018426 | 0.07327 | 0.018438 | 2.9015e-05 | 1.111e-05 | 0.11003 | 0.11003 | 0.11003 | 0.99072 | -0.064607 | 0.99112 | -0.061768 | 40.7518
16 | 0.057356 | 0.014445 | -0.057103 | -0.014349 | 0.00025362 | 9.6845e-05 | 0.086172 | 0.086172 | 0.086172 | 0.99072 | -0.064607 | 0.9862 | -0.09638 | 31.9156
17 | -0.075978 | -0.019116 | 0.076168 | 0.019189 | 0.00018971 | 7.2663e-05 | 0.1141 | 0.1141 | 0.1141 | 0.99112 | -0.061768 | 0.99367 | -0.043918 | 42.2577
18 | 0.013284 | 0.0033299 | -0.013277 | -0.0033274 | 7.6102e-06 | 2.5399e-06 | 0.020044 | 0.020044 | 0.020044 | 0.9862 | -0.09638 | 0.98562 | -0.10052 | 7.4238
19 | 0.043818 | 0.011019 | -0.04379 | -0.011008 | 2.8779e-05 | 1.0935e-05 | 0.066128 | 0.066128 | 0.066128 | 0.9862 | -0.09638 | 0.98553 | -0.1011 | 24.4918
20 | -0.07913 | -0.019931 | 0.079265 | 0.019983 | 0.00013443 | 5.1506e-05 | 0.11853 | 0.11853 | 0.11853 | 0.99367 | -0.043918 | 0.99542 | -0.03179 | 43.9007
21 | 0.010158 | 0.0025457 | -0.010156 | -0.0025451 | 2.1388e-06 | 6.3692e-07 | 0.015336 | 0.015336 | 0.015336 | 0.98562 | -0.10052 | 0.9854 | -0.10204 | 5.6799
22 | 0.040765 | 0.01025 | -0.040721 | -0.010233 | 4.3617e-05 | 1.6541e-05 | 0.061561 | 0.061561 | 0.061561 | 0.98553 | -0.1011 | 0.98444 | -0.10878 | 22.8003
23 | -0.083764 | -0.021111 | 0.083771 | 0.021113 | 6.8395e-06 | 2.6215e-06 | 0.12526 | 0.12526 | 0.12526 | 0.99542 | -0.03179 | 0.9955 | -0.031206 | 46.3919
24 | 0.0057665 | 0.001445 | -0.0057656 | -0.0014449 | 9.1143e-07 | 1.052e-07 | 0.0087078 | 0.0087079 | 0.0087079 | 0.9854 | -0.10204 | 0.98524 | -0.10318 | 3.2251
25 | 0.036874 | 0.0092688 | -0.036801 | -0.0092412 | 7.2979e-05 | 2.7591e-05 | 0.055745 | 0.055746 | 0.055746 | 0.98444 | -0.10878 | 0.98243 | -0.12302 | 20.6465
26 | -0.086834 | -0.021881 | 0.086963 | 0.02193 | 0.00012926 | 4.9555e-05 | 0.12984 | 0.12984 | 0.12984 | 0.9955 | -0.031206 | 0.99703 | -0.020586 | 48.0875
27 | 0.0037787 | 0.00094697 | -0.0037786 | -0.00094701 | 1.3622e-07 | -3.2959e-08 | 0.005707 | 0.0057071 | 0.0057071 | 0.98524 | -0.10318 | 0.9852 | -0.10344 | 2.1137
28 | 0.020218 | 0.0050851 | -0.020122 | -0.0050504 | 9.5495e-05 | 3.4673e-05 | 0.030628 | 0.030629 | 0.030629 | 0.98243 | -0.12302 | 0.97765 | -0.15705 | 11.3441
29 | -0.05424 | -0.013695 | 0.054291 | 0.013714 | 5.044e-05 | 1.924e-05 | 0.081143 | 0.081143 | 0.081143 | 0.99511 | -0.033904 | 0.99606 | -0.027292 | 30.0528
30 | 0.0052799 | 0.0013231 | -0.0052791 | -0.0013231 | 8.0643e-07 | 4.1668e-08 | 0.007901 | 0.0079011 | 0.0079011 | 0.99436 | -0.039078 | 0.99421 | -0.040182 | 2.9263
31 | -0.068749 | -0.017338 | 0.068793 | 0.017354 | 4.384e-05 | 1.6775e-05 | 0.10274 | 0.10274 | 0.10274 | 0.99606 | -0.027292 | 0.99672 | -0.022746 | 38.0526
32 | 0.083312 | 0.021004 | -0.083228 | -0.020972 | 8.4474e-05 | 3.2376e-05 | 0.12429 | 0.12429 | 0.12429 | 0.99776 | -0.015501 | 0.99672 | -0.022746 | 46.0341
33 | -0.083312 | -0.021004 | 0.083493 | 0.021073 | 0.00018132 | 6.8753e-05 | 0.12429 | 0.12429 | 0.12429 | 0.99776 | -0.015501 | 1 | 0 | 23.017
34 | 0.014435 | 0.0036178 | -0.014432 | -0.0036168 | 3.0732e-06 | 1.0438e-06 | 0.02155 | 0.02155 | 0.02155 | 0.99672 | -0.022746 | 0.9965 | -0.024284 | 7.9814
35 | 0.10676 | 0.026929 | -0.1067 | -0.026906 | 6.123e-05 | 2.3346e-05 | 0.15892 | 0.15892 | 0.15892 | 1 | 0 | 0.99941 | -0.0040921 | 29.4292
36 | -0.0041665 | -0.0010442 | 0.0041672 | 0.0010441 | 6.5318e-07 | -1.0054e-07 | 0.0062243 | 0.0062241 | 0.0062243 | 0.99608 | -0.027236 | 0.99624 | -0.026103 | 2.3053
37 | -0.0061721 | -0.0015466 | 0.0061722 | 0.0015466 | 9.8347e-08 | 1.3678e-08 | 0.0092188 | 0.0092188 | 0.0092188 | 0.99624 | -0.026103 | 0.99626 | -0.025988 | 3.4144
38 | -0.010925 | -0.0027379 | 0.010928 | 0.0027387 | 2.578e-06 | 7.8946e-07 | 0.016318 | 0.016318 | 0.016318 | 0.99626 | -0.025988 | 0.9965 | -0.024284 | 6.0438
39 | 0.020122 | 0.0050504 | -0.020057 | -0.0050267 | 6.5232e-05 | 2.3697e-05 | 0.030629 | 0.03063 | 0.03063 | 0.97765 | -0.15705 | 0.97438 | -0.18047 | 11.3443
40 | 0.10054 | 0.025363 | -0.10048 | -0.025341 | 5.6765e-05 | 2.178e-05 | 0.14975 | 0.14975 | 0.14975 | 0.99941 | -0.0040921 | 0.99883 | -0.0081197 | 55.4634
41 | 0.096886 | 0.02444 | -0.09674 | -0.024384 | 0.00014597 | 5.5995e-05 | 0.14439 | 0.14439 | 0.14439 | 0.99883 | -0.0081197 | 0.99727 | -0.018879 | 53.4788
42 | 0.09055 | 0.022832 | -0.090529 | -0.022824 | 2.1658e-05 | 8.3054e-06 | 0.13516 | 0.13516 | 0.13516 | 0.99727 | -0.018879 | 0.99703 | -0.020586 | 50.0583

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.19743 | 0.049602

## res_load
| p_mw | q_mvar
0 | 0.0029831 | 0.00074763
1 | 0.0041213 | 0.0010329
2 | 0.0035228 | 0.00088289
3 | 0.0038443 | 0.00096347
4 | 0.010226 | 0.0025629
5 | 0.00077167 | 0.0001934
6 | 0.0022249 | 0.00055762
7 | 0.0050416 | 0.0012636
8 | 0.0054381 | 0.0013629
9 | 0.0028722 | 0.00071984
10 | 0.015885 | 0.0039811
11 | 0.0027082 | 0.00067874
12 | 0.0029625 | 0.00074248
13 | 0.0031188 | 0.00078164
14 | 0.0030249 | 0.00075811
15 | 0.0044996 | 0.0011277
16 | 0.0043893 | 0.0011001
17 | 0.0038474 | 0.00096425
18 | 0.0030628 | 0.00076761
19 | 0.0019869 | 0.00049796
20 | 0.016583 | 0.0041561
21 | 0.0029027 | 0.00072748
22 | 0.0041918 | 0.0010506
23 | 0.014459 | 0.0036237
24 | 0.0052791 | 0.0013231
25 | 0.0063812 | 0.0015993
26 | 0.0041665 | 0.0010442
27 | 0.002005 | 0.00050249
28 | 0.0047532 | 0.0011913
29 | 0.0035036 | 0.0008781
30 | 0.0037786 | 0.00094701
31 | 0.020057 | 0.0050267
32 | 0.0061564 | 0.0015429
33 | 0.0035969 | 0.00090146
34 | 0.0061897 | 0.0015513
35 | 0.0035654 | 0.00089357

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1