## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1210-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1210-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1210-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1210-2_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1210-2_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_1210-2_0_3_node_44 | 0.4 | n |  | TRUE
6 | bus_LV_1210-2_0_3_node_48 | 0.4 | n |  | TRUE
7 | bus_LV_1210-2_0_3_node_57 | 0.4 | n |  | TRUE
8 | bus_LV_1210-2_0_3_node_58 | 0.4 | n |  | TRUE
9 | bus_LV_1210-2_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_1210-2_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1210-2_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1210-2_0_3_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_1210-2_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_1210-2_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_1210-2_0_3_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_1210-2_0_3_node_51 | 0.4 | n |  | TRUE
17 | bus_LV_1210-2_0_3_node_55 | 0.4 | n |  | TRUE
18 | bus_LV_1210-2_0_3_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_1210-2_0_3_node_42 | 0.4 | n |  | TRUE
20 | bus_LV_1210-2_0_3_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_1210-2_0_3_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_1210-2_0_3_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_1210-2_0_3_node_54 | 0.4 | n |  | TRUE
24 | bus_LV_1210-2_0_3_node_53 | 0.4 | n |  | TRUE
25 | bus_LV_1210-2_0_3_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_1210-2_0_3_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_1210-2_0_3_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_1210-2_0_3_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_1210-2_0_3_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_1210-2_0_3_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_1210-2_0_3_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_1210-2_0_3_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_1210-2_0_3_node_52 | 0.4 | n |  | TRUE
34 | bus_LV_1210-2_0_3_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_1210-2_0_3_node_43 | 0.4 | n |  | TRUE
36 | bus_LV_1210-2_0_3_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_1210-2_0_3_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_1210-2_0_3_node_49 | 0.4 | n |  | TRUE
39 | bus_LV_1210-2_0_3_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_1210-2_0_3_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_1210-2_0_3_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_1210-2_0_3_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_1210-2_0_3_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_1210-2_0_3_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_1210-2_0_3_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_1210-2_0_3_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_1210-2_0_3_node_56 | 0.4 | n |  | TRUE
48 | bus_LV_1210-2_0_3_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_1210-2_0_3_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_1210-2_0_3_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_1210-2_0_3_node_33 | 0.4 | n |  | TRUE
52 | bus_LV_1210-2_0_3_node_34 | 0.4 | n |  | TRUE
53 | bus_LV_1210-2_0_3_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_1210-2_0_3_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_1210-2_0_3_node_46 | 0.4 | n |  | TRUE
56 | bus_MV_132_0_node_54 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1210-2_0_3_load_0 | 0 | 0.016678 | 0.0041798 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1210-2_0_3_load_1 | 1 | 0.0085548 | 0.002144 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1210-2_0_3_load_2 | 2 | 0.0065056 | 0.0016305 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1210-2_0_3_load_3 | 4 | 0.0069297 | 0.0017367 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1210-2_0_3_load_57 | 7 | 0.0036211 | 0.00090753 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1210-2_0_3_load_58 | 8 | 0.010327 | 0.0025881 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1210-2_0_3_load_5 | 9 | 0.0029363 | 0.00073591 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1210-2_0_3_load_6 | 10 | 0.0034773 | 0.0008715 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1210-2_0_3_load_24 | 12 | 0.002263 | 0.00056717 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1210-2_0_3_load_8 | 13 | 0.0028423 | 0.00071234 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1210-2_0_3_load_22 | 15 | 0.0044495 | 0.0011152 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1210-2_0_3_load_51 | 16 | 0.0028638 | 0.00071773 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1210-2_0_3_load_55 | 17 | 0.0044062 | 0.0011043 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1210-2_0_3_load_42 | 19 | 0.0030799 | 0.0007719 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1210-2_0_3_load_10 | 20 | 0.0037185 | 0.00093195 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1210-2_0_3_load_11 | 21 | 0.0016235 | 0.00040688 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1210-2_0_3_load_54 | 23 | 0.0026167 | 0.00065582 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1210-2_0_3_load_53 | 24 | 0.0027068 | 0.00067838 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1210-2_0_3_load_13 | 25 | 0.0069036 | 0.0017302 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1210-2_0_3_load_16 | 28 | 0.0083718 | 0.0020982 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1210-2_0_3_load_17 | 29 | 0.016096 | 0.0040339 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1210-2_0_3_load_52 | 33 | 0.010378 | 0.0026009 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1210-2_0_3_load_32 | 34 | 0.0073669 | 0.0018463 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1210-2_0_3_load_43 | 35 | 0.010889 | 0.0027292 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1210-2_0_3_load_35 | 36 | 0.0042526 | 0.0010658 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1210-2_0_3_load_31 | 37 | 0.0022401 | 0.00056143 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1210-2_0_3_load_49 | 38 | 0.0040324 | 0.0010106 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1210-2_0_3_load_40 | 39 | 0.002436 | 0.00061053 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1210-2_0_3_load_41 | 40 | 0.0029525 | 0.00073996 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1210-2_0_3_load_21 | 41 | 0.0017862 | 0.00044766 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1210-2_0_3_load_23 | 42 | 0.0028076 | 0.00070365 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1210-2_0_3_load_39 | 43 | 0.0033612 | 0.0008424 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1210-2_0_3_load_25 | 44 | 0.0097208 | 0.0024363 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1210-2_0_3_load_26 | 45 | 0.0068661 | 0.0017208 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1210-2_0_3_load_56 | 47 | 0.0086203 | 0.0021604 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1210-2_0_3_load_38 | 50 | 0.0011548 | 0.00028943 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1210-2_0_3_load_33 | 51 | 0.0033974 | 0.00085148 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1210-2_0_3_load_34 | 52 | 0.0022521 | 0.00056444 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1210-2_0_3_load_37 | 53 | 0.0039841 | 0.00099851 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1210-2_0_3_load_45 | 54 | 0.0086167 | 0.0021595 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1210-2_0_3_load_46 | 55 | 0.0035274 | 0.00088404 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1210-2_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.011138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1210-2_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0064632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1210-2_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.010514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1210-2_0_3_line_3 | NAYY 4x150 SE | 3 | 5 | 0.010648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1210-2_0_3_line_4 | NAYY 4x150 SE | 3 | 6 | 0.01573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1210-2_0_3_line_5 | NAYY 4x150 SE | 4 | 5 | 0.0075296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1210-2_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.011167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1210-2_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0044052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1210-2_0_3_line_8 | NAYY 4x150 SE | 7 | 48 | 0.0052417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1210-2_0_3_line_9 | NAYY 4x150 SE | 8 | 29 | 0.005402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1210-2_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.02415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1210-2_0_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.024412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1210-2_0_3_line_12 | NAYY 4x150 SE | 9 | 12 | 0.03689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1210-2_0_3_line_13 | NAYY 4x150 SE | 10 | 13 | 0.023592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1210-2_0_3_line_14 | NAYY 4x150 SE | 11 | 14 | 0.003515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1210-2_0_3_line_15 | NAYY 4x150 SE | 12 | 15 | 0.023456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1210-2_0_3_line_16 | NAYY 4x150 SE | 13 | 16 | 0.013637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1210-2_0_3_line_17 | NAYY 4x150 SE | 14 | 17 | 0.032768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1210-2_0_3_line_18 | NAYY 4x150 SE | 15 | 41 | 0.00094172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1210-2_0_3_line_19 | NAYY 4x150 SE | 16 | 18 | 0.024691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1210-2_0_3_line_20 | NAYY 4x150 SE | 17 | 19 | 0.021532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1210-2_0_3_line_21 | NAYY 4x150 SE | 18 | 33 | 0.01531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1210-2_0_3_line_22 | NAYY 4x150 SE | 19 | 40 | 0.022517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1210-2_0_3_line_23 | NAYY 4x150 SE | 20 | 21 | 0.018769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1210-2_0_3_line_24 | NAYY 4x150 SE | 21 | 22 | 0.023533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1210-2_0_3_line_25 | NAYY 4x150 SE | 22 | 23 | 0.0074051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1210-2_0_3_line_26 | NAYY 4x150 SE | 23 | 24 | 0.0011966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1210-2_0_3_line_27 | NAYY 4x150 SE | 24 | 53 | 0.012308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1210-2_0_3_line_28 | NAYY 4x150 SE | 25 | 26 | 0.024341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_1210-2_0_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.0098634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1210-2_0_3_line_30 | NAYY 4x150 SE | 26 | 28 | 0.0038476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1210-2_0_3_line_31 | NAYY 4x150 SE | 26 | 29 | 0.01293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_1210-2_0_3_line_32 | NAYY 4x150 SE | 27 | 30 | 0.037192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1210-2_0_3_line_33 | NAYY 4x150 SE | 27 | 31 | 0.003695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1210-2_0_3_line_34 | NAYY 4x150 SE | 28 | 32 | 0.01373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1210-2_0_3_line_35 | NAYY 4x150 SE | 30 | 33 | 0.0066695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1210-2_0_3_line_36 | NAYY 4x150 SE | 30 | 34 | 0.026241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1210-2_0_3_line_37 | NAYY 4x150 SE | 31 | 35 | 0.0064968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1210-2_0_3_line_38 | NAYY 4x150 SE | 32 | 36 | 0.013525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1210-2_0_3_line_39 | NAYY 4x150 SE | 34 | 37 | 0.010539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1210-2_0_3_line_40 | NAYY 4x150 SE | 35 | 38 | 0.035189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1210-2_0_3_line_41 | NAYY 4x150 SE | 36 | 49 | 0.01063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1210-2_0_3_line_42 | NAYY 4x150 SE | 37 | 51 | 0.032622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1210-2_0_3_line_43 | NAYY 4x150 SE | 39 | 40 | 0.012264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1210-2_0_3_line_44 | NAYY 4x150 SE | 41 | 42 | 0.02195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1210-2_0_3_line_45 | NAYY 4x150 SE | 42 | 43 | 0.029027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1210-2_0_3_line_46 | NAYY 4x150 SE | 44 | 45 | 0.0016463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1210-2_0_3_line_47 | NAYY 4x150 SE | 45 | 46 | 0.010768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1210-2_0_3_line_48 | NAYY 4x150 SE | 46 | 47 | 0.011277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1210-2_0_3_line_49 | NAYY 4x150 SE | 47 | 48 | 0.0077825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1210-2_0_3_line_50 | NAYY 4x150 SE | 48 | 55 | 0.0096798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1210-2_0_3_line_51 | NAYY 4x150 SE | 49 | 53 | 0.0045822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1210-2_0_3_line_52 | NAYY 4x150 SE | 49 | 50 | 0.012674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1210-2_0_3_line_53 | NAYY 4x150 SE | 51 | 52 | 0.0090428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1210-2_0_3_line_54 | NAYY 4x150 SE | 54 | 55 | 0.0014616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1210-2_0_3_trafo_13 | 0.25 MVA 20/0.4 kV | 56 | 25 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2686504.0239 | 1163757.1658 | 2686508.01 | 1163758.0459 | 2686513.3536 | 1163762.6534
1 | 2686504.0239 | 1163757.1658 | 2686504.0239 | 1163757.1658 | 2686499.6303 | 1163752.4257
2 | 2686492.4827 | 1163744.7145 | 2686499.6303 | 1163752.4257
3 | 2686492.4827 | 1163744.7145 | 2686482.1122 | 1163747.2558
4 | 2686504.7514 | 1163734.8295 | 2686492.4827 | 1163744.7145
5 | 2686482.1122 | 1163747.2558 | 2686483.136 | 1163754.7155
6 | 2686482.1122 | 1163747.2558 | 2686474.5237 | 1163739.064
7 | 2686504.7514 | 1163734.8295 | 2686507.7395 | 1163732.1376 | 2686508.0253 | 1163731.8821
8 | 2686474.354 | 1163733.8251 | 2686474.5237 | 1163739.064
9 | 2686508.0253 | 1163731.8821 | 2686512.0526 | 1163728.2818
10 | 2686667.1982 | 1163789.5791 | 2686658.0245 | 1163782.9652 | 2686647.5745 | 1163778.2673 | 2686646.2312 | 1163777.9354
11 | 2686683.0788 | 1163808.1191 | 2686667.1982 | 1163789.5791
12 | 2686667.1982 | 1163789.5791 | 2686676.2649 | 1163753.8206
13 | 2686623.3278 | 1163772.2757 | 2686646.2312 | 1163777.9354
14 | 2686680.4105 | 1163810.4153 | 2686683.0788 | 1163808.1191
15 | 2686659.9402 | 1163736.9775 | 2686676.2649 | 1163753.8206
16 | 2686623.3278 | 1163772.2757 | 2686610.089 | 1163769.0042
17 | 2686680.4105 | 1163810.4153 | 2686669.9601 | 1163797.2568 | 2686660.6635 | 1163788.5399 | 2686657.7745 | 1163787.1169
18 | 2686659.9402 | 1163736.9775 | 2686659.2847 | 1163736.3012
19 | 2686587.5245 | 1163759.6801 | 2686595.2995 | 1163764.4838 | 2686598.1724 | 1163766.0595 | 2686610.089 | 1163769.0042
20 | 2686657.7745 | 1163787.1169 | 2686644.7586 | 1163780.706 | 2686637.9296 | 1163779.0657
21 | 2686587.5245 | 1163759.6801 | 2686590.2006 | 1163750.4576 | 2686588.6336 | 1163744.9703
22 | 2686616.0353 | 1163773.8069 | 2686637.9296 | 1163779.0657
23 | 2686547.4661 | 1163650.8746 | 2686554.6146 | 1163655.4774 | 2686556.7051 | 1163660.3215 | 2686553.6512 | 1163664.2692
24 | 2686534.6907 | 1163666.575 | 2686541.124 | 1163669.8696 | 2686545.4608 | 1163671.9332 | 2686549.0242 | 1163670.2502 | 2686553.6512 | 1163664.2692
25 | 2686534.6907 | 1163666.575 | 2686530.7507 | 1163672.845
26 | 2686530.7507 | 1163672.845 | 2686530.114 | 1163673.8582
27 | 2686523.5652 | 1163684.2797 | 2686530.114 | 1163673.8582
28 | 2686521.6925 | 1163719.6642 | 2686534.4988 | 1163730.9775 | 2686541.1202 | 1163733.9371
29 | 2686550.1251 | 1163737.9621 | 2686541.1202 | 1163733.9371
30 | 2686521.6925 | 1163719.6642 | 2686518.7194 | 1163717.2218
31 | 2686521.6925 | 1163719.6642 | 2686512.0526 | 1163728.2818
32 | 2686550.1251 | 1163737.9621 | 2686558.9955 | 1163736.9225 | 2686574.0846 | 1163736.5283 | 2686580.8023 | 1163739.2155 | 2686586.8023 | 1163738.5571
33 | 2686547.8614 | 1163740.8868 | 2686550.1251 | 1163737.9621
34 | 2686508.1103 | 1163708.5066 | 2686518.7194 | 1163717.2218
35 | 2686586.8023 | 1163738.5571 | 2686588.6336 | 1163744.9703
36 | 2686586.8023 | 1163738.5571 | 2686586.6248 | 1163731.2057 | 2686594.7208 | 1163714.1416
37 | 2686547.8614 | 1163740.8868 | 2686545.5621 | 1163746.9631
38 | 2686508.1103 | 1163708.5066 | 2686515.3987 | 1163697.1138
39 | 2686594.7208 | 1163714.1416 | 2686599.2385 | 1163704.6196
40 | 2686548.8332 | 1163778.8961 | 2686542.1329 | 1163768.9767 | 2686540.3351 | 1163764.0256 | 2686540.8695 | 1163759.3639 | 2686545.5621 | 1163746.9631
41 | 2686521.1272 | 1163688.1594 | 2686515.3987 | 1163697.1138
42 | 2686620.4076 | 1163683.7982 | 2686613.7464 | 1163684.1793 | 2686603.9307 | 1163692.3317 | 2686601.9278 | 1163698.9512 | 2686599.2385 | 1163704.6196
43 | 2686616.0353 | 1163773.8069 | 2686604.1104 | 1163770.9427
44 | 2686643.669 | 1163720.8758 | 2686658.0266 | 1163735.0032 | 2686659.2847 | 1163736.3012
45 | 2686664.8115 | 1163700.9866 | 2686643.669 | 1163720.8758
46 | 2686481.1099 | 1163707.0781 | 2686481.7536 | 1163705.5629
47 | 2686481.762 | 1163716.7659 | 2686479.0984 | 1163711.8135 | 2686481.1099 | 1163707.0781
48 | 2686481.762 | 1163716.7659 | 2686481.7607 | 1163721.1129 | 2686478.2719 | 1163727.1007
49 | 2686474.354 | 1163733.8251 | 2686478.2719 | 1163727.1007
50 | 2686474.354 | 1163733.8251 | 2686467.0203 | 1163727.5072
51 | 2686521.1272 | 1163688.1594 | 2686523.5652 | 1163684.2797
52 | 2686521.1272 | 1163688.1594 | 2686509.9921 | 1163682.1061
53 | 2686620.4076 | 1163683.7982 | 2686621.1985 | 1163683.753 | 2686629.0203 | 1163686.3784
54 | 2686465.9129 | 1163726.5533 | 2686467.0203 | 1163727.5072

## bus_geodata
| x | y | coords
0 | 2686504.0239 | 1163757.1658
1 | 2686513.3536 | 1163762.6534
2 | 2686499.6303 | 1163752.4257
3 | 2686492.4827 | 1163744.7145
4 | 2686483.136 | 1163754.7155
5 | 2686482.1122 | 1163747.2558
6 | 2686504.7514 | 1163734.8295
7 | 2686474.5237 | 1163739.064
8 | 2686508.0253 | 1163731.8821
9 | 2686667.1982 | 1163789.5791
10 | 2686646.2312 | 1163777.9354
11 | 2686683.0788 | 1163808.1191
12 | 2686676.2649 | 1163753.8206
13 | 2686623.3278 | 1163772.2757
14 | 2686680.4105 | 1163810.4153
15 | 2686659.9402 | 1163736.9775
16 | 2686610.089 | 1163769.0042
17 | 2686657.7745 | 1163787.1169
18 | 2686587.5245 | 1163759.6801
19 | 2686637.9296 | 1163779.0657
20 | 2686547.4661 | 1163650.8746
21 | 2686553.6512 | 1163664.2692
22 | 2686534.6907 | 1163666.575
23 | 2686530.7507 | 1163672.845
24 | 2686530.114 | 1163673.8582
25 | 2686541.1202 | 1163733.9371
26 | 2686521.6925 | 1163719.6642
27 | 2686550.1251 | 1163737.9621
28 | 2686518.7194 | 1163717.2218
29 | 2686512.0526 | 1163728.2818
30 | 2686586.8023 | 1163738.5571
31 | 2686547.8614 | 1163740.8868
32 | 2686508.1103 | 1163708.5066
33 | 2686588.6336 | 1163744.9703
34 | 2686594.7208 | 1163714.1416
35 | 2686545.5621 | 1163746.9631
36 | 2686515.3987 | 1163697.1138
37 | 2686599.2385 | 1163704.6196
38 | 2686548.8332 | 1163778.8961
39 | 2686604.1104 | 1163770.9427
40 | 2686616.0353 | 1163773.8069
41 | 2686659.2847 | 1163736.3012
42 | 2686643.669 | 1163720.8758
43 | 2686664.8115 | 1163700.9866
44 | 2686481.7536 | 1163705.5629
45 | 2686481.1099 | 1163707.0781
46 | 2686481.762 | 1163716.7658
47 | 2686478.2719 | 1163727.1007
48 | 2686474.354 | 1163733.8251
49 | 2686521.1272 | 1163688.1594
50 | 2686509.9921 | 1163682.1061
51 | 2686620.4076 | 1163683.7982
52 | 2686629.0203 | 1163686.3784
53 | 2686523.5652 | 1163684.2797
54 | 2686465.9129 | 1163726.5533
55 | 2686467.0203 | 1163727.5072
56 | 2686550.1251 | 1163737.9621

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99295 | -0.049347 | 0.016678 | 0.0041798
1 | 0.99282 | -0.050312 | 0.0085548 | 0.002144
2 | 0.99319 | -0.047697 | 0.0065056 | 0.0016305
3 | 0.99367 | -0.044322 | 0 | 0
4 | 0.99286 | -0.05001 | 0.0069297 | 0.0017367
5 | 0.99293 | -0.049482 | 0 | 0
6 | 0.99547 | -0.03168 | 0 | 0
7 | 0.99228 | -0.054117 | 0.0036211 | 0.00090753
8 | 0.99597 | -0.028148 | 0.010327 | 0.0025881
9 | 0.98967 | -0.072446 | 0.0029363 | 0.00073591
10 | 0.99073 | -0.064948 | 0.0034773 | 0.0008715
11 | 0.98921 | -0.075652 | 0 | 0
12 | 0.98889 | -0.077967 | 0.002263 | 0.00056717
13 | 0.99188 | -0.056806 | 0.0028423 | 0.00071234
14 | 0.98915 | -0.076114 | 0 | 0
15 | 0.98847 | -0.080939 | 0.0044495 | 0.0011152
16 | 0.99261 | -0.051715 | 0.0028638 | 0.00071773
17 | 0.98854 | -0.080423 | 0.0044062 | 0.0011043
18 | 0.99402 | -0.041802 | 0 | 0
19 | 0.98828 | -0.082286 | 0.0030799 | 0.0007719
20 | 0.99584 | -0.029112 | 0.0037185 | 0.00093195
21 | 0.99594 | -0.02841 | 0.0016235 | 0.00040688
22 | 0.99612 | -0.027144 | 0 | 0
23 | 0.99618 | -0.026746 | 0.0026167 | 0.00065582
24 | 0.99619 | -0.02665 | 0.0027068 | 0.00067838
25 | 1 | 0 | -0.21687 | -0.054324
26 | 0.99765 | -0.016378 | 0 | 0
27 | 0.99886 | -0.0079104 | 0 | 0
28 | 0.9975 | -0.017475 | 0.0083718 | 0.0020982
29 | 0.99667 | -0.023261 | 0.016096 | 0.0040339
30 | 0.99537 | -0.032304 | 0 | 0
31 | 0.99879 | -0.0084622 | 0 | 0
32 | 0.9971 | -0.02024 | 0 | 0
33 | 0.99489 | -0.035669 | 0.010378 | 0.0026009
34 | 0.9948 | -0.03634 | 0.0073669 | 0.0018463
35 | 0.99865 | -0.0094324 | 0.010889 | 0.0027292
36 | 0.99671 | -0.022965 | 0.0042526 | 0.0010658
37 | 0.99468 | -0.03718 | 0.0022401 | 0.00056143
38 | 0.99844 | -0.010853 | 0.0040324 | 0.0010106
39 | 0.98806 | -0.083833 | 0.002436 | 0.00061053
40 | 0.9881 | -0.083527 | 0.0029525 | 0.00073996
41 | 0.98846 | -0.081016 | 0.0017862 | 0.00044766
42 | 0.98826 | -0.0824 | 0.0028076 | 0.00070365
43 | 0.98812 | -0.083398 | 0.0033612 | 0.0008424
44 | 0.99116 | -0.061968 | 0.0097208 | 0.0024363
45 | 0.99119 | -0.061806 | 0.0068661 | 0.0017208
46 | 0.99144 | -0.059992 | 0 | 0
47 | 0.99171 | -0.058093 | 0.0086203 | 0.0021604
48 | 0.992 | -0.056102 | 0 | 0
49 | 0.99647 | -0.024654 | 0 | 0
50 | 0.99645 | -0.024802 | 0.0011548 | 0.00028943
51 | 0.99442 | -0.03904 | 0.0033974 | 0.00085148
52 | 0.99439 | -0.039246 | 0.0022521 | 0.00056444
53 | 0.99638 | -0.025329 | 0.0039841 | 0.00099851
54 | 0.99181 | -0.057423 | 0.0086167 | 0.0021595
55 | 0.99183 | -0.057295 | 0.0035274 | 0.00088404
56 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0085559 | 0.0021443 | -0.0085548 | -0.002144 | 1.1426e-06 | 2.954e-07 | 0.012822 | 0.012822 | 0.012822 | 0.99295 | -0.049347 | 0.99282 | -0.050312 | 4.7488
1 | -0.025234 | -0.0063241 | 0.025239 | 0.0063263 | 5.767e-06 | 2.1344e-06 | 0.037814 | 0.037814 | 0.037814 | 0.99295 | -0.049347 | 0.99319 | -0.047697 | 14.0054
2 | -0.031745 | -0.0079567 | 0.03176 | 0.0079623 | 1.4841e-05 | 5.572e-06 | 0.047561 | 0.047561 | 0.047561 | 0.99319 | -0.047697 | 0.99367 | -0.044322 | 17.6153
3 | 0.047991 | 0.012039 | -0.047957 | -0.012026 | 3.4321e-05 | 1.3062e-05 | 0.071871 | 0.071871 | 0.071871 | 0.99367 | -0.044322 | 0.99293 | -0.049482 | 26.6188
4 | -0.079751 | -0.020001 | 0.079891 | 0.020055 | 0.00014001 | 5.3645e-05 | 0.11943 | 0.11943 | 0.11943 | 0.99367 | -0.044322 | 0.99547 | -0.03168 | 44.2341
5 | -0.0069297 | -0.0017367 | 0.0069302 | 0.0017368 | 5.0678e-07 | 9.7531e-08 | 0.010386 | 0.010386 | 0.010386 | 0.99286 | -0.05001 | 0.99293 | -0.049482 | 3.8465
6 | 0.041027 | 0.010289 | -0.041 | -0.010279 | 2.6342e-05 | 9.9871e-06 | 0.061485 | 0.061485 | 0.061485 | 0.99293 | -0.049482 | 0.99228 | -0.054117 | 22.7723
7 | -0.079891 | -0.020055 | 0.07993 | 0.02007 | 3.9209e-05 | 1.5023e-05 | 0.11943 | 0.11943 | 0.11943 | 0.99547 | -0.03168 | 0.99597 | -0.028148 | 44.2341
8 | 0.037379 | 0.0093713 | -0.037369 | -0.0093674 | 1.0277e-05 | 3.8852e-06 | 0.056055 | 0.056055 | 0.056055 | 0.99228 | -0.054117 | 0.992 | -0.056102 | 20.7612
9 | -0.090257 | -0.022658 | 0.090318 | 0.022681 | 6.1307e-05 | 2.3509e-05 | 0.13486 | 0.13486 | 0.13486 | 0.99597 | -0.028148 | 0.99667 | -0.023261 | 49.9483
10 | -0.030514 | -0.0076493 | 0.030546 | 0.0076612 | 3.1722e-05 | 1.189e-05 | 0.04588 | 0.04588 | 0.04588 | 0.98967 | -0.072446 | 0.99073 | -0.064948 | 16.9926
11 | 0.012892 | 0.0032319 | -0.012886 | -0.00323 | 5.7238e-06 | 1.8879e-06 | 0.019384 | 0.019384 | 0.019384 | 0.98967 | -0.072446 | 0.98921 | -0.075652 | 7.1794
12 | 0.014686 | 0.0036815 | -0.014674 | -0.0036777 | 1.1224e-05 | 3.8431e-06 | 0.022081 | 0.022081 | 0.022081 | 0.98967 | -0.072446 | 0.98889 | -0.077967 | 8.1782
13 | -0.034023 | -0.0085327 | 0.034061 | 0.0085472 | 3.8445e-05 | 1.4482e-05 | 0.051103 | 0.051103 | 0.051103 | 0.99073 | -0.064948 | 0.99188 | -0.056806 | 18.9269
14 | 0.012886 | 0.00323 | -0.012886 | -0.0032297 | 8.2416e-07 | 2.7186e-07 | 0.019384 | 0.019384 | 0.019384 | 0.98921 | -0.075652 | 0.98915 | -0.076114 | 7.1794
15 | 0.012411 | 0.0031105 | -0.012406 | -0.0031088 | 5.1051e-06 | 1.6627e-06 | 0.018676 | 0.018676 | 0.018676 | 0.98889 | -0.077967 | 0.98847 | -0.080939 | 6.917
16 | -0.036904 | -0.0092595 | 0.03693 | 0.0092694 | 2.6085e-05 | 9.8567e-06 | 0.055367 | 0.055366 | 0.055367 | 0.99188 | -0.056806 | 0.99261 | -0.051715 | 20.5061
17 | 0.012886 | 0.0032297 | -0.012878 | -0.0032272 | 7.6832e-06 | 2.5347e-06 | 0.019384 | 0.019385 | 0.019385 | 0.98915 | -0.076114 | 0.98854 | -0.080423 | 7.1795
18 | 0.0079567 | 0.0019937 | -0.0079566 | -0.0019937 | 8.4305e-08 | 2.0354e-08 | 0.011978 | 0.011978 | 0.011978 | 0.98847 | -0.080939 | 0.98846 | -0.081016 | 4.4362
19 | -0.039794 | -0.0099871 | 0.039848 | 0.010008 | 5.4838e-05 | 2.0772e-05 | 0.05966 | 0.059659 | 0.05966 | 0.99261 | -0.051715 | 0.99402 | -0.041802 | 22.0961
20 | 0.0084716 | 0.0021229 | -0.0084695 | -0.0021223 | 2.1849e-06 | 5.6437e-07 | 0.012752 | 0.012752 | 0.012752 | 0.98854 | -0.080423 | 0.98828 | -0.082286 | 4.723
21 | -0.039848 | -0.010008 | 0.039882 | 0.010021 | 3.4002e-05 | 1.2879e-05 | 0.059659 | 0.059659 | 0.059659 | 0.99402 | -0.041802 | 0.99489 | -0.035669 | 22.0961
22 | 0.0053896 | 0.0013504 | -0.0053886 | -0.0013504 | 9.2524e-07 | 6.739e-08 | 0.0081148 | 0.0081149 | 0.0081149 | 0.98828 | -0.082286 | 0.9881 | -0.083527 | 3.0055
23 | -0.0037185 | -0.00093195 | 0.0037189 | 0.00093184 | 3.6157e-07 | -1.0515e-07 | 0.0055563 | 0.0055562 | 0.0055563 | 0.99584 | -0.029112 | 0.99594 | -0.02841 | 2.0579
24 | -0.0053424 | -0.0013387 | 0.0053433 | 0.0013388 | 9.3556e-07 | 5.3535e-08 | 0.0079819 | 0.0079817 | 0.0079819 | 0.99594 | -0.02841 | 0.99612 | -0.027144 | 2.9562
25 | -0.0053433 | -0.0013388 | 0.0053436 | 0.0013388 | 2.9438e-07 | 1.6821e-08 | 0.0079817 | 0.0079817 | 0.0079817 | 0.99612 | -0.027144 | 0.99618 | -0.026746 | 2.9562
26 | -0.0079603 | -0.0019946 | 0.0079604 | 0.0019946 | 1.0557e-07 | 2.5024e-08 | 0.01189 | 0.01189 | 0.01189 | 0.99618 | -0.026746 | 0.99619 | -0.02665 | 4.4039
27 | -0.010667 | -0.002673 | 0.010669 | 0.0026736 | 1.9499e-06 | 5.8967e-07 | 0.015934 | 0.015933 | 0.015934 | 0.99619 | -0.02665 | 0.99638 | -0.025329 | 5.9013
28 | 0.13528 | 0.034006 | -0.13497 | -0.033888 | 0.00030784 | 0.00011776 | 0.20134 | 0.20134 | 0.20134 | 1 | 0 | 0.99765 | -0.016378 | 37.2844
29 | 0.080789 | 0.020318 | -0.0807 | -0.020283 | 8.8983e-05 | 3.4095e-05 | 0.12024 | 0.12024 | 0.12024 | 1 | 0 | 0.99886 | -0.0079104 | 44.5333
30 | 0.028457 | 0.0071342 | -0.028453 | -0.0071326 | 4.3255e-06 | 1.6134e-06 | 0.042445 | 0.042445 | 0.042445 | 0.99765 | -0.016378 | 0.9975 | -0.017475 | 15.7204
31 | 0.10652 | 0.026754 | -0.10641 | -0.026715 | 0.00010185 | 3.8835e-05 | 0.15889 | 0.15889 | 0.15889 | 0.99765 | -0.016378 | 0.99667 | -0.023261 | 29.4242
32 | 0.065774 | 0.016543 | -0.065551 | -0.016457 | 0.00022291 | 8.5249e-05 | 0.098005 | 0.098005 | 0.098005 | 0.99886 | -0.0079104 | 0.99537 | -0.032304 | 36.2981
33 | 0.014926 | 0.0037407 | -0.014925 | -0.0037403 | 1.1399e-06 | 3.9007e-07 | 0.022235 | 0.022235 | 0.022235 | 0.99886 | -0.0079104 | 0.99879 | -0.0084622 | 8.2352
34 | 0.020081 | 0.0050344 | -0.020073 | -0.0050317 | 7.6883e-06 | 2.7779e-06 | 0.029956 | 0.029956 | 0.029956 | 0.9975 | -0.017475 | 0.9971 | -0.02024 | 11.095
35 | 0.050284 | 0.012631 | -0.05026 | -0.012622 | 2.3523e-05 | 8.9607e-06 | 0.075181 | 0.075181 | 0.075181 | 0.99537 | -0.032304 | 0.99489 | -0.035669 | 27.8447
36 | 0.015268 | 0.0038269 | -0.015259 | -0.0038239 | 8.5301e-06 | 2.9399e-06 | 0.022824 | 0.022824 | 0.022824 | 0.99537 | -0.032304 | 0.9948 | -0.03634 | 8.4535
37 | 0.014925 | 0.0037403 | -0.014923 | -0.0037396 | 2.0043e-06 | 6.8587e-07 | 0.022235 | 0.022235 | 0.022235 | 0.99879 | -0.0084622 | 0.99865 | -0.0094324 | 8.2353
38 | 0.020073 | 0.0050317 | -0.020066 | -0.0050289 | 7.5735e-06 | 2.7365e-06 | 0.029956 | 0.029957 | 0.029957 | 0.9971 | -0.02024 | 0.99671 | -0.022965 | 11.095
39 | 0.0078922 | 0.0019776 | -0.0078912 | -0.0019774 | 9.1649e-07 | 2.1568e-07 | 0.011805 | 0.011805 | 0.011805 | 0.9948 | -0.03634 | 0.99468 | -0.03718 | 4.3722
40 | 0.0040332 | 0.0010105 | -0.0040324 | -0.0010106 | 7.9301e-07 | -1.5531e-07 | 0.0060095 | 0.0060096 | 0.0060096 | 0.99865 | -0.0094324 | 0.99844 | -0.010853 | 2.2258
41 | 0.015813 | 0.0039631 | -0.015809 | -0.0039619 | 3.6968e-06 | 1.2833e-06 | 0.023608 | 0.023608 | 0.023608 | 0.99671 | -0.022965 | 0.99647 | -0.024654 | 8.7436
42 | 0.0056511 | 0.001416 | -0.0056496 | -0.0014158 | 1.4548e-06 | 1.3622e-07 | 0.0084538 | 0.0084539 | 0.0084539 | 0.99468 | -0.03718 | 0.99442 | -0.03904 | 3.1311
43 | -0.002436 | -0.00061052 | 0.0024361 | 0.00061041 | 1.03e-07 | -1.1747e-07 | 0.0036687 | 0.0036686 | 0.0036687 | 0.98806 | -0.083833 | 0.9881 | -0.083527 | 1.3588
44 | 0.0061704 | 0.001546 | -0.0061693 | -0.0015458 | 1.1818e-06 | 1.7324e-07 | 0.0092888 | 0.0092889 | 0.0092889 | 0.98846 | -0.081016 | 0.98826 | -0.0824 | 3.4403
45 | 0.0033617 | 0.0008422 | -0.0033612 | -0.00084239 | 4.6405e-07 | -1.934e-07 | 0.0050615 | 0.0050616 | 0.0050616 | 0.98826 | -0.0824 | 0.98812 | -0.083398 | 1.8747
46 | -0.0097208 | -0.0024363 | 0.0097211 | 0.0024363 | 2.1879e-07 | 6.2931e-08 | 0.014594 | 0.014594 | 0.014594 | 0.99116 | -0.061968 | 0.99119 | -0.061806 | 5.4051
47 | -0.016587 | -0.0041571 | 0.016591 | 0.0041586 | 4.1665e-06 | 1.4637e-06 | 0.024901 | 0.024901 | 0.024901 | 0.99119 | -0.061806 | 0.99144 | -0.059992 | 9.2227
48 | -0.016591 | -0.0041586 | 0.016596 | 0.0041601 | 4.3634e-06 | 1.5328e-06 | 0.024901 | 0.024901 | 0.024901 | 0.99144 | -0.059992 | 0.99171 | -0.058093 | 9.2227
49 | -0.025216 | -0.0063206 | 0.025223 | 0.0063231 | 6.9519e-06 | 2.5734e-06 | 0.037836 | 0.037836 | 0.037836 | 0.99171 | -0.058093 | 0.992 | -0.056102 | 14.0132
50 | 0.012146 | 0.0030443 | -0.012144 | -0.0030436 | 2.0051e-06 | 6.4624e-07 | 0.01822 | 0.01822 | 0.01822 | 0.992 | -0.056102 | 0.99183 | -0.057295 | 6.748
51 | 0.014655 | 0.0036726 | -0.014653 | -0.0036721 | 1.3693e-06 | 4.6695e-07 | 0.021883 | 0.021883 | 0.021883 | 0.99647 | -0.024654 | 0.99638 | -0.025329 | 8.105
52 | 0.0011548 | 0.00028927 | -0.0011548 | -0.00028943 | 2.3519e-08 | -1.5606e-07 | 0.0017245 | 0.0017245 | 0.0017245 | 0.99647 | -0.024654 | 0.99645 | -0.024802 | 0.63871
53 | 0.0022522 | 0.00056435 | -0.0022521 | -0.00056444 | 6.4088e-08 | -9.2661e-08 | 0.0033701 | 0.0033701 | 0.0033701 | 0.99442 | -0.03904 | 0.99439 | -0.039246 | 1.2482
54 | -0.0086167 | -0.0021595 | 0.0086168 | 0.0021596 | 1.5243e-07 | 3.9763e-08 | 0.012928 | 0.012928 | 0.012928 | 0.99181 | -0.057423 | 0.99183 | -0.057295 | 4.788

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.22377 | 0.056054

## res_load
| p_mw | q_mvar
0 | 0.016678 | 0.0041798
1 | 0.0085548 | 0.002144
2 | 0.0065056 | 0.0016305
3 | 0.0069297 | 0.0017367
4 | 0.0036211 | 0.00090753
5 | 0.010327 | 0.0025881
6 | 0.0029363 | 0.00073591
7 | 0.0034773 | 0.0008715
8 | 0.002263 | 0.00056717
9 | 0.0028423 | 0.00071234
10 | 0.0044495 | 0.0011152
11 | 0.0028638 | 0.00071773
12 | 0.0044062 | 0.0011043
13 | 0.0030799 | 0.0007719
14 | 0.0037185 | 0.00093195
15 | 0.0016235 | 0.00040688
16 | 0.0026167 | 0.00065582
17 | 0.0027068 | 0.00067838
18 | 0.0069036 | 0.0017302
19 | 0.0083718 | 0.0020982
20 | 0.016096 | 0.0040339
21 | 0.010378 | 0.0026009
22 | 0.0073669 | 0.0018463
23 | 0.010889 | 0.0027292
24 | 0.0042526 | 0.0010658
25 | 0.0022401 | 0.00056143
26 | 0.0040324 | 0.0010106
27 | 0.002436 | 0.00061053
28 | 0.0029525 | 0.00073996
29 | 0.0017862 | 0.00044766
30 | 0.0028076 | 0.00070365
31 | 0.0033612 | 0.0008424
32 | 0.0097208 | 0.0024363
33 | 0.0068661 | 0.0017208
34 | 0.0086203 | 0.0021604
35 | 0.0011548 | 0.00028943
36 | 0.0033974 | 0.00085148
37 | 0.0022521 | 0.00056444
38 | 0.0039841 | 0.00099851
39 | 0.0086167 | 0.0021595
40 | 0.0035274 | 0.00088404

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1