## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1215-1_1_2_node_102 | 0.4 | n |  | TRUE
1 | bus_LV_1215-1_1_2_node_104 | 0.4 | n |  | TRUE
2 | bus_LV_1215-1_1_2_node_100 | 0.4 | n |  | TRUE
3 | bus_LV_1215-1_1_2_node_58 | 0.4 | n |  | TRUE
4 | bus_LV_1215-1_1_2_node_59 | 0.4 | n |  | TRUE
5 | bus_LV_1215-1_1_2_node_60 | 0.4 | n |  | TRUE
6 | bus_LV_1215-1_1_2_node_61 | 0.4 | n |  | TRUE
7 | bus_LV_1215-1_1_2_node_62 | 0.4 | n |  | TRUE
8 | bus_LV_1215-1_1_2_node_114 | 0.4 | n |  | TRUE
9 | bus_LV_1215-1_1_2_node_67 | 0.4 | n |  | TRUE
10 | bus_LV_1215-1_1_2_node_65 | 0.4 | n |  | TRUE
11 | bus_LV_1215-1_1_2_node_63 | 0.4 | n |  | TRUE
12 | bus_LV_1215-1_1_2_node_64 | 0.4 | n |  | TRUE
13 | bus_LV_1215-1_1_2_node_66 | 0.4 | n |  | TRUE
14 | bus_LV_1215-1_1_2_node_68 | 0.4 | n |  | TRUE
15 | bus_LV_1215-1_1_2_node_89 | 0.4 | n |  | TRUE
16 | bus_LV_1215-1_1_2_node_74 | 0.4 | n |  | TRUE
17 | bus_LV_1215-1_1_2_node_90 | 0.4 | n |  | TRUE
18 | bus_LV_1215-1_1_2_node_75 | 0.4 | n |  | TRUE
19 | bus_LV_1215-1_1_2_node_69 | 0.4 | n |  | TRUE
20 | bus_LV_1215-1_1_2_node_70 | 0.4 | n |  | TRUE
21 | bus_LV_1215-1_1_2_node_71 | 0.4 | n |  | TRUE
22 | bus_LV_1215-1_1_2_node_72 | 0.4 | n |  | TRUE
23 | bus_LV_1215-1_1_2_node_73 | 0.4 | n |  | TRUE
24 | bus_LV_1215-1_1_2_node_77 | 0.4 | n |  | TRUE
25 | bus_LV_1215-1_1_2_node_82 | 0.4 | n |  | TRUE
26 | bus_LV_1215-1_1_2_node_79 | 0.4 | n |  | TRUE
27 | bus_LV_1215-1_1_2_node_91 | 0.4 | n |  | TRUE
28 | bus_LV_1215-1_1_2_node_78 | 0.4 | n |  | TRUE
29 | bus_LV_1215-1_1_2_node_97 | 0.4 | n |  | TRUE
30 | bus_LV_1215-1_1_2_node_80 | 0.4 | n |  | TRUE
31 | bus_LV_1215-1_1_2_node_81 | 0.4 | n |  | TRUE
32 | bus_LV_1215-1_1_2_node_88 | 0.4 | n |  | TRUE
33 | bus_LV_1215-1_1_2_node_83 | 0.4 | n |  | TRUE
34 | bus_LV_1215-1_1_2_node_84 | 0.4 | n |  | TRUE
35 | bus_LV_1215-1_1_2_node_85 | 0.4 | n |  | TRUE
36 | bus_LV_1215-1_1_2_node_86 | 0.4 | n |  | TRUE
37 | bus_LV_1215-1_1_2_node_87 | 0.4 | n |  | TRUE
38 | bus_LV_1215-1_1_2_node_125 | 0.4 | n |  | TRUE
39 | bus_LV_1215-1_1_2_node_130 | 0.4 | n |  | TRUE
40 | bus_LV_1215-1_1_2_node_98 | 0.4 | n |  | TRUE
41 | bus_LV_1215-1_1_2_node_92 | 0.4 | n |  | TRUE
42 | bus_LV_1215-1_1_2_node_93 | 0.4 | n |  | TRUE
43 | bus_LV_1215-1_1_2_node_94 | 0.4 | n |  | TRUE
44 | bus_LV_1215-1_1_2_node_95 | 0.4 | n |  | TRUE
45 | bus_LV_1215-1_1_2_node_96 | 0.4 | n |  | TRUE
46 | bus_LV_1215-1_1_2_node_99 | 0.4 | n |  | TRUE
47 | bus_LV_1215-1_1_2_node_123 | 0.4 | n |  | TRUE
48 | bus_LV_1215-1_1_2_node_124 | 0.4 | n |  | TRUE
49 | bus_LV_1215-1_1_2_node_101 | 0.4 | n |  | TRUE
50 | bus_LV_1215-1_1_2_node_103 | 0.4 | n |  | TRUE
51 | bus_LV_1215-1_1_2_node_111 | 0.4 | n |  | TRUE
52 | bus_LV_1215-1_1_2_node_109 | 0.4 | n |  | TRUE
53 | bus_LV_1215-1_1_2_node_110 | 0.4 | n |  | TRUE
54 | bus_LV_1215-1_1_2_node_122 | 0.4 | n |  | TRUE
55 | bus_LV_1215-1_1_2_node_121 | 0.4 | n |  | TRUE
56 | bus_LV_1215-1_1_2_node_105 | 0.4 | n |  | TRUE
57 | bus_LV_1215-1_1_2_node_106 | 0.4 | n |  | TRUE
58 | bus_LV_1215-1_1_2_node_107 | 0.4 | n |  | TRUE
59 | bus_LV_1215-1_1_2_node_108 | 0.4 | n |  | TRUE
60 | bus_LV_1215-1_1_2_node_115 | 0.4 | n |  | TRUE
61 | bus_LV_1215-1_1_2_node_116 | 0.4 | n |  | TRUE
62 | bus_LV_1215-1_1_2_node_119 | 0.4 | n |  | TRUE
63 | bus_LV_1215-1_1_2_node_117 | 0.4 | n |  | TRUE
64 | bus_LV_1215-1_1_2_node_118 | 0.4 | n |  | TRUE
65 | bus_LV_1215-1_1_2_node_120 | 0.4 | n |  | TRUE
66 | bus_LV_1215-1_1_2_node_126 | 0.4 | n |  | TRUE
67 | bus_LV_1215-1_1_2_node_127 | 0.4 | n |  | TRUE
68 | bus_MV_12_0_node_23 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1215-1_1_2_load_104 | 1 | 0.00109 | 0.00027319 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1215-1_1_2_load_100 | 2 | 0.0020318 | 0.00050922 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1215-1_1_2_load_58 | 3 | 0.0014979 | 0.00037542 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1215-1_1_2_load_59 | 4 | 0.0013695 | 0.00034322 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1215-1_1_2_load_60 | 5 | 0.0015847 | 0.00039717 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1215-1_1_2_load_61 | 6 | 0.0010508 | 0.00026336 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1215-1_1_2_load_62 | 7 | 0.0020625 | 0.0005169 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1215-1_1_2_load_114 | 8 | 0.0037851 | 0.00094863 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1215-1_1_2_load_63 | 11 | 0.002823 | 0.00070751 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1215-1_1_2_load_64 | 12 | 0.0032128 | 0.0008052 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1215-1_1_2_load_66 | 13 | 0.0026281 | 0.00065866 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1215-1_1_2_load_68 | 14 | 0.0019053 | 0.00047752 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1215-1_1_2_load_89 | 15 | 0.0023083 | 0.0005785 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1215-1_1_2_load_74 | 16 | 0.0017234 | 0.00043194 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1215-1_1_2_load_90 | 17 | 0.003824 | 0.00095839 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1215-1_1_2_load_75 | 18 | 0.0015665 | 0.00039261 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1215-1_1_2_load_69 | 19 | 0.0015575 | 0.00039034 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1215-1_1_2_load_70 | 20 | 0.0018527 | 0.00046433 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1215-1_1_2_load_71 | 21 | 0.0015619 | 0.00039144 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1215-1_1_2_load_72 | 22 | 0.0015862 | 0.00039754 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1215-1_1_2_load_77 | 24 | 0.0024318 | 0.00060947 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1215-1_1_2_load_82 | 25 | 0.0020288 | 0.00050846 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1215-1_1_2_load_79 | 26 | 0.0015938 | 0.00039945 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1215-1_1_2_load_91 | 27 | 0.0023997 | 0.00060142 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1215-1_1_2_load_78 | 28 | 0.0011399 | 0.00028568 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1215-1_1_2_load_97 | 29 | 0.0013781 | 0.00034537 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1215-1_1_2_load_80 | 30 | 0.000719 | 0.0001802 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1215-1_1_2_load_81 | 31 | 0.0016054 | 0.00040235 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1215-1_1_2_load_88 | 32 | 0.00098387 | 0.00024658 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1215-1_1_2_load_83 | 33 | 0.0014126 | 0.00035404 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1215-1_1_2_load_84 | 34 | 0.0013532 | 0.00033913 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1215-1_1_2_load_85 | 35 | 0.0013838 | 0.0003468 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1215-1_1_2_load_86 | 36 | 0.0016463 | 0.0004126 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1215-1_1_2_load_87 | 37 | 0.0021041 | 0.00052735 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1215-1_1_2_load_125 | 38 | 0.0021003 | 0.00052639 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1215-1_1_2_load_130 | 39 | 0.003311 | 0.00082983 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1215-1_1_2_load_98 | 40 | 0.0017519 | 0.00043906 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1215-1_1_2_load_92 | 41 | 0.0015417 | 0.00038639 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1215-1_1_2_load_93 | 42 | 0.0011783 | 0.00029531 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1215-1_1_2_load_94 | 43 | 0.0005213 | 0.00013065 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1215-1_1_2_load_96 | 45 | 0.0016127 | 0.00040418 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1215-1_1_2_load_99 | 46 | 0.0011499 | 0.00028819 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1215-1_1_2_load_123 | 47 | 0.0050218 | 0.0012586 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1215-1_1_2_load_124 | 48 | 0.0034394 | 0.00086199 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1215-1_1_2_load_101 | 49 | 0.0014225 | 0.00035651 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1215-1_1_2_load_103 | 50 | 0.0017402 | 0.00043613 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1215-1_1_2_load_111 | 51 | 0.0028126 | 0.0007049 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1215-1_1_2_load_109 | 52 | 0.001022 | 0.00025615 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1215-1_1_2_load_110 | 53 | 0.0018308 | 0.00045884 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1215-1_1_2_load_122 | 54 | 0.0016494 | 0.00041337 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1215-1_1_2_load_121 | 55 | 0.0012959 | 0.00032477 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1215-1_1_2_load_105 | 56 | 0.0019624 | 0.00049184 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1215-1_1_2_load_106 | 57 | 0.0017145 | 0.0004297 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1215-1_1_2_load_107 | 58 | 0.00083746 | 0.00020989 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1215-1_1_2_load_108 | 59 | 0.0011059 | 0.00027717 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1215-1_1_2_load_115 | 60 | 0.0018801 | 0.0004712 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1215-1_1_2_load_116 | 61 | 0.0017532 | 0.00043941 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1215-1_1_2_load_119 | 62 | 0.0081399 | 0.0020401 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1215-1_1_2_load_117 | 63 | 0.0031684 | 0.00079407 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1215-1_1_2_load_120 | 65 | 0.0013658 | 0.00034229 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1215-1_1_2_load_126 | 66 | 0.0024469 | 0.00061326 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1215-1_1_2_load_127 | 67 | 0.0033359 | 0.00083607 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1215-1_1_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.15882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1215-1_1_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.11551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1215-1_1_2_line_2 | NAYY 4x150 SE | 1 | 52 | 0.059602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1215-1_1_2_line_3 | NAYY 4x150 SE | 2 | 49 | 0.025971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1215-1_1_2_line_4 | NAYY 4x150 SE | 3 | 4 | 0.024137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1215-1_1_2_line_5 | NAYY 4x150 SE | 3 | 5 | 0.019816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1215-1_1_2_line_6 | NAYY 4x150 SE | 4 | 6 | 0.036651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1215-1_1_2_line_7 | NAYY 4x150 SE | 5 | 7 | 0.02172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1215-1_1_2_line_8 | NAYY 4x150 SE | 5 | 8 | 0.13305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1215-1_1_2_line_9 | NAYY 4x150 SE | 7 | 9 | 0.05659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1215-1_1_2_line_10 | NAYY 4x150 SE | 9 | 10 | 0.06844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1215-1_1_2_line_11 | NAYY 4x150 SE | 10 | 14 | 0.016245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1215-1_1_2_line_12 | NAYY 4x150 SE | 10 | 11 | 0.012811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1215-1_1_2_line_13 | NAYY 4x150 SE | 11 | 12 | 0.028309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1215-1_1_2_line_14 | NAYY 4x150 SE | 12 | 13 | 0.00070188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1215-1_1_2_line_15 | NAYY 4x150 SE | 13 | 15 | 0.01522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1215-1_1_2_line_16 | NAYY 4x150 SE | 14 | 16 | 0.0054934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1215-1_1_2_line_17 | NAYY 4x150 SE | 15 | 17 | 0.017646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1215-1_1_2_line_18 | NAYY 4x150 SE | 16 | 18 | 0.02148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1215-1_1_2_line_19 | NAYY 4x150 SE | 17 | 36 | 0.00026443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1215-1_1_2_line_20 | NAYY 4x150 SE | 18 | 25 | 0.02746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1215-1_1_2_line_21 | NAYY 4x150 SE | 19 | 20 | 0.022583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1215-1_1_2_line_22 | NAYY 4x150 SE | 19 | 21 | 0.0057158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1215-1_1_2_line_23 | NAYY 4x150 SE | 20 | 22 | 0.0007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1215-1_1_2_line_24 | NAYY 4x150 SE | 21 | 23 | 0.016787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1215-1_1_2_line_25 | NAYY 4x150 SE | 22 | 24 | 0.099731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1215-1_1_2_line_26 | NAYY 4x150 SE | 23 | 25 | 0.007665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1215-1_1_2_line_27 | NAYY 4x150 SE | 23 | 26 | 0.0087227 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1215-1_1_2_line_28 | NAYY 4x150 SE | 24 | 27 | 0.036164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_1215-1_1_2_line_29 | NAYY 4x150 SE | 26 | 28 | 0.028789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1215-1_1_2_line_30 | NAYY 4x150 SE | 27 | 29 | 0.019917 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_1215-1_1_2_line_31 | NAYY 4x150 SE | 28 | 30 | 0.025709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1215-1_1_2_line_32 | NAYY 4x150 SE | 29 | 40 | 0.030069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_1215-1_1_2_line_33 | NAYY 4x150 SE | 30 | 31 | 0.0075965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1215-1_1_2_line_34 | NAYY 4x150 SE | 31 | 32 | 0.00039084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1215-1_1_2_line_35 | NAYY 4x150 SE | 33 | 34 | 0.0015156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1215-1_1_2_line_36 | NAYY 4x150 SE | 33 | 35 | 0.0020742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1215-1_1_2_line_37 | NAYY 4x150 SE | 34 | 36 | 0.025175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1215-1_1_2_line_38 | NAYY 4x150 SE | 35 | 37 | 0.024139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1215-1_1_2_line_39 | NAYY 4x150 SE | 37 | 38 | 0.14562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1215-1_1_2_line_40 | NAYY 4x150 SE | 38 | 39 | 0.17163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1215-1_1_2_line_41 | NAYY 4x150 SE | 40 | 44 | 0.02884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_1215-1_1_2_line_42 | NAYY 4x150 SE | 41 | 42 | 0.019178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_1215-1_1_2_line_43 | NAYY 4x150 SE | 41 | 43 | 0.003289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_1215-1_1_2_line_44 | NAYY 4x150 SE | 42 | 44 | 0.015313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_1215-1_1_2_line_45 | NAYY 4x150 SE | 43 | 45 | 0.0056502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_1215-1_1_2_line_46 | NAYY 4x150 SE | 44 | 46 | 0.0090657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_1215-1_1_2_line_47 | NAYY 4x150 SE | 45 | 47 | 0.019545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_1215-1_1_2_line_48 | NAYY 4x150 SE | 47 | 48 | 0.024679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_1215-1_1_2_line_49 | NAYY 4x150 SE | 48 | 66 | 0.028066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1215-1_1_2_line_50 | NAYY 4x150 SE | 48 | 64 | 0.1863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_1215-1_1_2_line_51 | NAYY 4x150 SE | 49 | 50 | 0.018834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1215-1_1_2_line_52 | NAYY 4x150 SE | 50 | 51 | 0.010092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1215-1_1_2_line_53 | NAYY 4x150 SE | 51 | 53 | 0.023273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1215-1_1_2_line_54 | NAYY 4x150 SE | 52 | 54 | 0.19611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_1215-1_1_2_line_55 | NAYY 4x150 SE | 53 | 59 | 0.0064073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1215-1_1_2_line_56 | NAYY 4x150 SE | 54 | 55 | 0.026665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_1215-1_1_2_line_57 | NAYY 4x150 SE | 55 | 65 | 0.028452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_1215-1_1_2_line_58 | NAYY 4x150 SE | 56 | 57 | 0.0054809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1215-1_1_2_line_59 | NAYY 4x150 SE | 56 | 58 | 0.011768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1215-1_1_2_line_60 | NAYY 4x150 SE | 57 | 59 | 0.022866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1215-1_1_2_line_61 | NAYY 4x150 SE | 60 | 61 | 0.03285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
62 | LV_1215-1_1_2_line_62 | NAYY 4x150 SE | 60 | 62 | 0.1266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
63 | LV_1215-1_1_2_line_63 | NAYY 4x150 SE | 61 | 63 | 0.040213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
64 | LV_1215-1_1_2_line_64 | NAYY 4x150 SE | 62 | 64 | 0.068342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
65 | LV_1215-1_1_2_line_65 | NAYY 4x150 SE | 63 | 65 | 0.03298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
66 | LV_1215-1_1_2_line_66 | NAYY 4x150 SE | 66 | 67 | 0.033236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1215-1_1_2_trafo_99 | 0.25 MVA 20/0.4 kV | 68 | 46 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2687097.6474 | 1203725.3918 | 2687095.5214 | 1203718.2895 | 2687087.0102 | 1203702.8999 | 2687078.7696 | 1203697.6541 | 2687027.7811 | 1203691.7184 | 2686975.5334 | 1203686.5541 | 2686955.5272 | 1203683.6309
1 | 2687097.6474 | 1203725.3918 | 2687010.3932 | 1203722.5406 | 2686982.4309 | 1203718.8453
2 | 2686955.5272 | 1203683.6309 | 2686947.0508 | 1203682.3923 | 2686910.0187 | 1203674.8375 | 2686897.6539 | 1203670.1026
3 | 2686982.4309 | 1203718.8453 | 2686970.4899 | 1203717.2672 | 2686956.7133 | 1203715.2293
4 | 2686515.1073 | 1203785.2979 | 2686530.9819 | 1203790.2875 | 2686538.4204 | 1203791.2192
5 | 2686515.1073 | 1203785.2979 | 2686496.2035 | 1203779.3561
6 | 2686574.8997 | 1203794.7156 | 2686546.2414 | 1203792.1987 | 2686538.4204 | 1203791.2192
7 | 2686475.6071 | 1203772.4621 | 2686495.4936 | 1203779.133 | 2686496.2035 | 1203779.3561
8 | 2686496.2035 | 1203779.3561 | 2686465.4876 | 1203908.8155
9 | 2686429.5279 | 1203742.3434 | 2686432.3948 | 1203746.154 | 2686436.5355 | 1203751.3283 | 2686442.406 | 1203757.3839 | 2686448.4126 | 1203761.9182 | 2686454.0301 | 1203764.9459 | 2686459.433 | 1203767.0365 | 2686475.6071 | 1203772.4621
10 | 2686471.467 | 1203720.5584 | 2686470.8448 | 1203722.5396 | 2686469.0728 | 1203722.992 | 2686466.9654 | 1203722.9615 | 2686454.8141 | 1203718.694 | 2686448.8349 | 1203716.4616 | 2686442.602 | 1203714.9371 | 2686438.7565 | 1203714.6034 | 2686435.1368 | 1203714.9624 | 2686432.3796 | 1203718.2913 | 2686430.439 | 1203721.9878 | 2686428.1918 | 1203729.5157 | 2686427.9243 | 1203734.8487 | 2686428.8404 | 1203739.3759 | 2686429.5279 | 1203742.3434
11 | 2686471.467 | 1203720.5584 | 2686486.5355 | 1203726.6278
12 | 2686471.467 | 1203720.5584 | 2686459.6419 | 1203715.6304
13 | 2686459.6419 | 1203715.6304 | 2686433.511 | 1203704.7407
14 | 2686432.8631 | 1203704.4707 | 2686433.511 | 1203704.7407
15 | 2686418.8143 | 1203698.616 | 2686432.8631 | 1203704.4707
16 | 2686486.5355 | 1203726.6278 | 2686491.6311 | 1203728.6802
17 | 2686418.8143 | 1203698.616 | 2686406.5694 | 1203693.513 | 2686402.8151 | 1203691.2568
18 | 2686491.6311 | 1203728.6802 | 2686492.6271 | 1203729.0814 | 2686501.1548 | 1203730.3057 | 2686509.2346 | 1203729.8779 | 2686512.9072 | 1203730.3245
19 | 2686402.5885 | 1203691.1206 | 2686402.8151 | 1203691.2568
20 | 2686512.9072 | 1203730.3245 | 2686524.1836 | 1203731.6956 | 2686539.8863 | 1203735.2525
21 | 2686568.4693 | 1203744.499 | 2686572.3764 | 1203745.714 | 2686580.2374 | 1203746.7286 | 2686586.7223 | 1203746.0888 | 2686590.6956 | 1203745.3126
22 | 2686568.4693 | 1203744.499 | 2686563.0113 | 1203742.8017
23 | 2686590.6956 | 1203745.3126 | 2686591.3826 | 1203745.1783
24 | 2686547.362 | 1203736.9459 | 2686551.1126 | 1203739.1016 | 2686563.0113 | 1203742.8017
25 | 2686636.3077 | 1203710.7405 | 2686640.335 | 1203712.7557 | 2686652.5659 | 1203719.9266 | 2686654.9486 | 1203724.0528 | 2686656.152 | 1203728.1729 | 2686656.7388 | 1203731.7837 | 2686654.0466 | 1203735.347 | 2686650.8718 | 1203737.0354 | 2686647.2354 | 1203738.0166 | 2686642.1607 | 1203738.4877 | 2686636.8637 | 1203738.0217 | 2686619.6198 | 1203739.6616 | 2686591.3826 | 1203745.1783
26 | 2686547.362 | 1203736.9459 | 2686539.8863 | 1203735.2525
27 | 2686547.362 | 1203736.9459 | 2686545.9412 | 1203733.6454 | 2686541.0395 | 1203732.1338
28 | 2686636.3077 | 1203710.7405 | 2686626.9256 | 1203706.0458 | 2686609.0445 | 1203697.5699 | 2686603.6342 | 1203695.2558
29 | 2686516.1526 | 1203718.6863 | 2686519.7859 | 1203722.7372 | 2686526.4857 | 1203726.6924 | 2686533.1915 | 1203729.7137 | 2686541.0395 | 1203732.1338
30 | 2686603.6342 | 1203695.2558 | 2686589.7524 | 1203689.3183 | 2686585.3062 | 1203687.4603
31 | 2686516.1526 | 1203718.6863 | 2686513.1885 | 1203715.3814 | 2686509.7617 | 1203712.4076 | 2686506.5844 | 1203708.4924 | 2686496.878 | 1203701.9778
32 | 2686556.7445 | 1203678.2095 | 2686564.7096 | 1203680.394 | 2686576.6597 | 1203683.8472 | 2686585.3062 | 1203687.4603
33 | 2686490.5705 | 1203697.7443 | 2686496.878 | 1203701.9778
34 | 2686490.246 | 1203697.5265 | 2686490.5705 | 1203697.7443
35 | 2686379.6952 | 1203677.3994 | 2686380.9976 | 1203678.1744
36 | 2686379.6952 | 1203677.3994 | 2686377.9127 | 1203676.3388
37 | 2686380.9976 | 1203678.1744 | 2686385.9444 | 1203681.1179 | 2686402.5885 | 1203691.1206
38 | 2686357.2458 | 1203663.8763 | 2686358.7689 | 1203664.9478 | 2686377.9127 | 1203676.3388
39 | 2686351.3373 | 1203621.6124 | 2686338.1529 | 1203616.1405 | 2686309.9092 | 1203606.9821 | 2686296.047 | 1203605.7588 | 2686294.3778 | 1203608.5809 | 2686296.9547 | 1203613.5102 | 2686321.9971 | 1203631.4503 | 2686339.2897 | 1203650.1345 | 2686346.5054 | 1203656.3205 | 2686357.2458 | 1203663.8763
40 | 2686351.3373 | 1203621.6124 | 2686327.9309 | 1203451.5866
41 | 2686547.7916 | 1203659.5465 | 2686544.2496 | 1203662.9418 | 2686542.8001 | 1203668.4466 | 2686545.0772 | 1203673.0381 | 2686547.8455 | 1203675.7689 | 2686556.7445 | 1203678.2095
42 | 2686514.7865 | 1203649.5334 | 2686533.1384 | 1203655.101
43 | 2686511.6391 | 1203648.5786 | 2686514.7865 | 1203649.5334
44 | 2686547.7916 | 1203659.5465 | 2686533.1384 | 1203655.101
45 | 2686511.6391 | 1203648.5786 | 2686506.2323 | 1203646.9382
46 | 2686547.7916 | 1203659.5465 | 2686556.4907 | 1203662.0985
47 | 2686506.2323 | 1203646.9382 | 2686489.0228 | 1203641.7172 | 2686487.5744 | 1203641.1359
48 | 2686464.6709 | 1203631.9437 | 2686487.5744 | 1203641.1359
49 | 2686464.6709 | 1203631.9437 | 2686438.6239 | 1203621.4899
50 | 2686464.6709 | 1203631.9437 | 2686527.4033 | 1203456.52
51 | 2686938.0821 | 1203712.4733 | 2686956.7133 | 1203715.2293
52 | 2686938.0821 | 1203712.4733 | 2686928.0992 | 1203710.9966
53 | 2686905.1098 | 1203707.3967 | 2686909.3804 | 1203708.2276 | 2686928.0992 | 1203710.9966
54 | 2686874.6106 | 1203475.3498 | 2686897.6539 | 1203670.1026
55 | 2686898.8204 | 1203706.1731 | 2686905.1098 | 1203707.3967
56 | 2686874.6106 | 1203475.3498 | 2686847.9461 | 1203475.5281
57 | 2686819.4943 | 1203475.7184 | 2686847.9461 | 1203475.5281
58 | 2686870.9952 | 1203700.7596 | 2686876.3752 | 1203701.8063
59 | 2686859.4439 | 1203698.5123 | 2686870.9952 | 1203700.7596
60 | 2686898.8204 | 1203706.1731 | 2686876.3752 | 1203701.8063
61 | 2686713.8536 | 1203472.7488 | 2686729.5665 | 1203476.3199 | 2686746.3024 | 1203476.2079
62 | 2686713.8536 | 1203472.7488 | 2686587.4312 | 1203479.4712
63 | 2686746.3024 | 1203476.2079 | 2686786.5148 | 1203475.939
64 | 2686527.4033 | 1203456.52 | 2686530.4013 | 1203463.3567 | 2686542.634 | 1203466.2469 | 2686571.3941 | 1203469.21 | 2686582.5748 | 1203473.7972 | 2686587.4312 | 1203479.4712
65 | 2686786.5148 | 1203475.939 | 2686819.4943 | 1203475.7184
66 | 2686438.6239 | 1203621.4899 | 2686407.7796 | 1203609.1106

## bus_geodata
| x | y | coords
0 | 2687097.6474 | 1203725.3918
1 | 2686955.5272 | 1203683.6309
2 | 2686982.4309 | 1203718.8453
3 | 2686515.1073 | 1203785.2979
4 | 2686538.4204 | 1203791.2192
5 | 2686496.2035 | 1203779.3561
6 | 2686574.8997 | 1203794.7156
7 | 2686475.6071 | 1203772.4621
8 | 2686465.4876 | 1203908.8155
9 | 2686429.5279 | 1203742.3434
10 | 2686471.467 | 1203720.5584
11 | 2686459.6419 | 1203715.6304
12 | 2686433.511 | 1203704.7407
13 | 2686432.8631 | 1203704.4707
14 | 2686486.5355 | 1203726.6278
15 | 2686418.8143 | 1203698.616
16 | 2686491.6311 | 1203728.6802
17 | 2686402.8151 | 1203691.2568
18 | 2686512.9072 | 1203730.3245
19 | 2686568.4693 | 1203744.499
20 | 2686590.6956 | 1203745.3126
21 | 2686563.0113 | 1203742.8017
22 | 2686591.3826 | 1203745.1783
23 | 2686547.362 | 1203736.9459
24 | 2686636.3077 | 1203710.7405
25 | 2686539.8863 | 1203735.2525
26 | 2686541.0395 | 1203732.1338
27 | 2686603.6342 | 1203695.2558
28 | 2686516.1526 | 1203718.6863
29 | 2686585.3062 | 1203687.4603
30 | 2686496.878 | 1203701.9778
31 | 2686490.5705 | 1203697.7443
32 | 2686490.246 | 1203697.5265
33 | 2686379.6952 | 1203677.3994
34 | 2686380.9976 | 1203678.1744
35 | 2686377.9127 | 1203676.3388
36 | 2686402.5885 | 1203691.1206
37 | 2686357.2458 | 1203663.8763
38 | 2686351.3373 | 1203621.6124
39 | 2686327.9309 | 1203451.5866
40 | 2686556.7445 | 1203678.2095
41 | 2686514.7865 | 1203649.5334
42 | 2686533.1384 | 1203655.101
43 | 2686511.6391 | 1203648.5786
44 | 2686547.7916 | 1203659.5465
45 | 2686506.2323 | 1203646.9382
46 | 2686556.4907 | 1203662.0985
47 | 2686487.5744 | 1203641.1359
48 | 2686464.6709 | 1203631.9437
49 | 2686956.7133 | 1203715.2293
50 | 2686938.0821 | 1203712.4733
51 | 2686928.0992 | 1203710.9966
52 | 2686897.6539 | 1203670.1026
53 | 2686905.1098 | 1203707.3967
54 | 2686874.6106 | 1203475.3498
55 | 2686847.9461 | 1203475.5281
56 | 2686870.9952 | 1203700.7596
57 | 2686876.3752 | 1203701.8063
58 | 2686859.4439 | 1203698.5123
59 | 2686898.8204 | 1203706.1731
60 | 2686713.8536 | 1203472.7488
61 | 2686746.3024 | 1203476.2079
62 | 2686587.4312 | 1203479.4712
63 | 2686786.5148 | 1203475.939
64 | 2686527.4033 | 1203456.52
65 | 2686819.4943 | 1203475.7184
66 | 2686438.6239 | 1203621.4899
67 | 2686407.7796 | 1203609.1106
68 | 2686547.7916 | 1203659.5465

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97619 | -0.16761 | 0 | 0
1 | 0.97979 | -0.14194 | 0.00109 | 0.00027319
2 | 0.97357 | -0.18638 | 0.0020318 | 0.00050922
3 | 0.97408 | -0.18222 | 0.0014979 | 0.00037542
4 | 0.97399 | -0.18283 | 0.0013695 | 0.00034322
5 | 0.97419 | -0.1814 | 0.0015847 | 0.00039717
6 | 0.97393 | -0.18324 | 0.0010508 | 0.00026336
7 | 0.97449 | -0.17927 | 0.0020625 | 0.0005169
8 | 0.97345 | -0.18671 | 0.0037851 | 0.00094863
9 | 0.97543 | -0.17251 | 0 | 0
10 | 0.97656 | -0.16435 | 0 | 0
11 | 0.97604 | -0.16813 | 0.002823 | 0.00070751
12 | 0.97499 | -0.17565 | 0.0032128 | 0.0008052
13 | 0.97496 | -0.17581 | 0.0026281 | 0.00065866
14 | 0.9775 | -0.15764 | 0.0019053 | 0.00047752
15 | 0.97453 | -0.17892 | 0.0023083 | 0.0005785
16 | 0.97783 | -0.15526 | 0.0017234 | 0.00043194
17 | 0.97409 | -0.18211 | 0.003824 | 0.00095839
18 | 0.97919 | -0.1456 | 0.0015665 | 0.00039261
19 | 0.98325 | -0.11673 | 0.0015575 | 0.00039034
20 | 0.98509 | -0.10372 | 0.0018527 | 0.00046433
21 | 0.9828 | -0.11995 | 0.0015619 | 0.00039144
22 | 0.98515 | -0.1033 | 0.0015862 | 0.00039754
23 | 0.9815 | -0.12912 | 0 | 0
24 | 0.99378 | -0.042933 | 0.0024318 | 0.00060947
25 | 0.98098 | -0.13283 | 0.0020288 | 0.00050846
26 | 0.98143 | -0.12966 | 0.0015938 | 0.00039945
27 | 0.99541 | -0.031655 | 0.0023997 | 0.00060142
28 | 0.98124 | -0.13099 | 0.0011399 | 0.00028568
29 | 0.99634 | -0.025219 | 0.0013781 | 0.00034537
30 | 0.98112 | -0.13188 | 0.000719 | 0.0001802
31 | 0.98109 | -0.13208 | 0.0016054 | 0.00040235
32 | 0.98109 | -0.13208 | 0.00098387 | 0.00024658
33 | 0.97363 | -0.18541 | 0.0014126 | 0.00035404
34 | 0.97365 | -0.18525 | 0.0013532 | 0.00033913
35 | 0.9736 | -0.18561 | 0.0013838 | 0.0003468
36 | 0.97408 | -0.18215 | 0.0016463 | 0.0004126
37 | 0.97334 | -0.18752 | 0.0021041 | 0.00052735
38 | 0.97218 | -0.19587 | 0.0021003 | 0.00052639
39 | 0.97135 | -0.20189 | 0.003311 | 0.00082983
40 | 0.99778 | -0.015316 | 0.0017519 | 0.00043906
41 | 0.99781 | -0.015167 | 0.0015417 | 0.00038639
42 | 0.99857 | -0.0098899 | 0.0011783 | 0.00029531
43 | 0.99768 | -0.016048 | 0.0005213 | 0.00013065
44 | 0.99919 | -0.0055915 | 0 | 0
45 | 0.99747 | -0.017546 | 0.0016127 | 0.00040418
46 | 1 | 0 | -0.12617 | -0.03167
47 | 0.99675 | -0.022575 | 0.0050218 | 0.0012586
48 | 0.99592 | -0.028311 | 0.0034394 | 0.00086199
49 | 0.97306 | -0.19005 | 0.0014225 | 0.00035651
50 | 0.97273 | -0.19244 | 0.0017402 | 0.00043613
51 | 0.97258 | -0.19353 | 0.0028126 | 0.0007049
52 | 0.98123 | -0.13168 | 0.001022 | 0.00025615
53 | 0.97233 | -0.19537 | 0.0018308 | 0.00045884
54 | 0.98376 | -0.1138 | 0.0016494 | 0.00041337
55 | 0.98413 | -0.11115 | 0.0012959 | 0.00032477
56 | 0.9721 | -0.197 | 0.0019624 | 0.00049184
57 | 0.97212 | -0.19684 | 0.0017145 | 0.0004297
58 | 0.97209 | -0.1971 | 0.00083746 | 0.00020989
59 | 0.97227 | -0.19575 | 0.0011059 | 0.00027717
60 | 0.98646 | -0.094668 | 0.0018801 | 0.0004712
61 | 0.98582 | -0.099204 | 0.0017532 | 0.00043941
62 | 0.98911 | -0.076017 | 0.0081399 | 0.0020401
63 | 0.98508 | -0.1044 | 0.0031684 | 0.00079407
64 | 0.99094 | -0.063155 | 0 | 0
65 | 0.98456 | -0.10813 | 0.0013658 | 0.00034229
66 | 0.99569 | -0.029946 | 0.0024469 | 0.00061326
67 | 0.99553 | -0.031063 | 0.0033359 | 0.00083607
68 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.015514 | -0.0038926 | 0.015569 | 0.0039119 | 5.5428e-05 | 1.9325e-05 | 0.023649 | 0.023649 | 0.023649 | 0.97619 | -0.16761 | 0.97979 | -0.14194 | 8.7591
1 | 0.015514 | 0.0038926 | -0.015474 | -0.0038785 | 4.0313e-05 | 1.4065e-05 | 0.023649 | 0.02365 | 0.02365 | 0.97619 | -0.16761 | 0.97357 | -0.18638 | 8.7593
2 | -0.016659 | -0.0041851 | 0.016683 | 0.0041935 | 2.3814e-05 | 8.4073e-06 | 0.025304 | 0.025304 | 0.025304 | 0.97979 | -0.14194 | 0.98123 | -0.13168 | 9.3719
3 | 0.013442 | 0.0033693 | -0.013435 | -0.003367 | 6.8403e-06 | 2.3081e-06 | 0.020545 | 0.020545 | 0.020545 | 0.97357 | -0.18638 | 0.97306 | -0.19005 | 7.6091
4 | 0.0024205 | 0.00060592 | -0.0024203 | -0.00060615 | 2.0591e-07 | -2.2123e-07 | 0.0036974 | 0.0036975 | 0.0036975 | 0.97408 | -0.18222 | 0.97399 | -0.18283 | 1.3694
5 | -0.0039185 | -0.00098134 | 0.0039189 | 0.00098127 | 4.4301e-07 | -7.6303e-08 | 0.0059857 | 0.0059856 | 0.0059857 | 0.97408 | -0.18222 | 0.97419 | -0.1814 | 2.2169
6 | 0.0010509 | 0.00026293 | -0.0010508 | -0.00026336 | 5.8943e-08 | -4.3345e-07 | 0.0016053 | 0.0016055 | 0.0016055 | 0.97399 | -0.18283 | 0.97393 | -0.18324 | 0.59462
7 | -0.0092915 | -0.0023265 | 0.0092942 | 0.0023273 | 2.7295e-06 | 7.7931e-07 | 0.014191 | 0.014191 | 0.014191 | 0.97419 | -0.1814 | 0.97449 | -0.17927 | 5.2561
8 | 0.0037879 | 0.00094804 | -0.0037851 | -0.00094863 | 2.7791e-06 | -5.8649e-07 | 0.0057853 | 0.0057859 | 0.0057859 | 0.97419 | -0.1814 | 0.97345 | -0.18671 | 2.1429
9 | -0.011357 | -0.0028442 | 0.011367 | 0.0028475 | 1.0618e-05 | 3.3782e-06 | 0.017341 | 0.01734 | 0.017341 | 0.97449 | -0.17927 | 0.97543 | -0.17251 | 6.4225
10 | -0.011367 | -0.0028475 | 0.01138 | 0.0028516 | 1.2841e-05 | 4.0836e-06 | 0.01734 | 0.01734 | 0.01734 | 0.97543 | -0.17251 | 0.97656 | -0.16435 | 6.4224
11 | -0.039562 | -0.009919 | 0.039599 | 0.009933 | 3.6837e-05 | 1.3965e-05 | 0.060283 | 0.060283 | 0.060283 | 0.97656 | -0.16435 | 0.9775 | -0.15764 | 22.327
12 | 0.028182 | 0.0070674 | -0.028167 | -0.0070619 | 1.4742e-05 | 5.5096e-06 | 0.042943 | 0.042943 | 0.042943 | 0.97656 | -0.16435 | 0.97604 | -0.16813 | 15.9048
13 | 0.025344 | 0.0063544 | -0.025318 | -0.0063446 | 2.6373e-05 | 9.7902e-06 | 0.038639 | 0.038639 | 0.038639 | 0.97604 | -0.16813 | 0.97499 | -0.17565 | 14.3108
14 | 0.022105 | 0.0055394 | -0.022104 | -0.0055392 | 4.9846e-07 | 1.8296e-07 | 0.033736 | 0.033736 | 0.033736 | 0.97499 | -0.17565 | 0.97496 | -0.17581 | 12.4947
15 | 0.019476 | 0.0048805 | -0.019468 | -0.0048775 | 8.3914e-06 | 3.0378e-06 | 0.029725 | 0.029725 | 0.029725 | 0.97496 | -0.17581 | 0.97453 | -0.17892 | 11.0092
16 | -0.041504 | -0.01041 | 0.041518 | 0.010416 | 1.3685e-05 | 5.1944e-06 | 0.063183 | 0.063183 | 0.063183 | 0.9775 | -0.15764 | 0.97783 | -0.15526 | 23.4012
17 | 0.01716 | 0.004299 | -0.017152 | -0.0042963 | 7.5586e-06 | 2.6874e-06 | 0.0262 | 0.0262 | 0.0262 | 0.97453 | -0.17892 | 0.97409 | -0.18211 | 9.7039
18 | -0.043241 | -0.010848 | 0.043299 | 0.01087 | 5.8042e-05 | 2.2054e-05 | 0.065806 | 0.065806 | 0.065806 | 0.97783 | -0.15526 | 0.97919 | -0.1456 | 24.3725
19 | 0.013328 | 0.0033379 | -0.013328 | -0.0033379 | 6.8392e-08 | 2.3013e-08 | 0.020359 | 0.020359 | 0.020359 | 0.97409 | -0.18211 | 0.97408 | -0.18215 | 7.5403
20 | -0.044866 | -0.011262 | 0.044945 | 0.011293 | 7.9667e-05 | 3.0295e-05 | 0.068186 | 0.068186 | 0.068186 | 0.97919 | -0.1456 | 0.98098 | -0.13283 | 25.2542
21 | -0.056254 | -0.014141 | 0.056356 | 0.01418 | 0.00010217 | 3.9008e-05 | 0.085148 | 0.085148 | 0.085148 | 0.98325 | -0.11673 | 0.98509 | -0.10372 | 31.5361
22 | 0.054696 | 0.013751 | -0.054672 | -0.013742 | 2.4447e-05 | 9.3302e-06 | 0.082791 | 0.082791 | 0.082791 | 0.98325 | -0.11673 | 0.9828 | -0.11995 | 30.6632
23 | -0.058209 | -0.014645 | 0.058212 | 0.014646 | 3.3784e-06 | 1.2905e-06 | 0.087946 | 0.087946 | 0.087946 | 0.98509 | -0.10372 | 0.98515 | -0.1033 | 32.5726
24 | 0.05311 | 0.01335 | -0.053042 | -0.013324 | 6.7755e-05 | 2.5847e-05 | 0.080426 | 0.080426 | 0.080426 | 0.9828 | -0.11995 | 0.9815 | -0.12912 | 29.7874
25 | -0.059798 | -0.015043 | 0.060306 | 0.015238 | 0.00050792 | 0.00019407 | 0.090342 | 0.090341 | 0.090342 | 0.98515 | -0.1033 | 0.99378 | -0.042933 | 33.46
26 | 0.046998 | 0.01181 | -0.046974 | -0.011801 | 2.429e-05 | 9.2456e-06 | 0.071264 | 0.071264 | 0.071264 | 0.9815 | -0.12912 | 0.98098 | -0.13283 | 26.3939
27 | 0.0060437 | 0.001514 | -0.0060433 | -0.001514 | 4.5694e-07 | 6.5512e-08 | 0.0091624 | 0.0091624 | 0.0091624 | 0.9815 | -0.12912 | 0.98143 | -0.12966 | 3.3935
28 | -0.062738 | -0.015847 | 0.062837 | 0.015884 | 9.966e-05 | 3.7392e-05 | 0.093983 | 0.093982 | 0.093983 | 0.99378 | -0.042933 | 0.99541 | -0.031655 | 17.4042
29 | 0.0044494 | 0.0011145 | -0.0044486 | -0.0011146 | 8.1754e-07 | -4.9289e-08 | 0.0067459 | 0.0067461 | 0.0067461 | 0.98143 | -0.12966 | 0.98124 | -0.13099 | 2.4985
30 | -0.065237 | -0.016486 | 0.065296 | 0.016508 | 5.9157e-05 | 2.2234e-05 | 0.09757 | 0.097569 | 0.09757 | 0.99541 | -0.031655 | 0.99634 | -0.025219 | 18.0684
31 | 0.0033087 | 0.00082889 | -0.0033083 | -0.00082906 | 4.0387e-07 | -1.6937e-07 | 0.0050175 | 0.0050176 | 0.0050176 | 0.98124 | -0.13099 | 0.98112 | -0.13188 | 1.8584
32 | -0.066674 | -0.016853 | 0.066767 | 0.016888 | 9.3118e-05 | 3.503e-05 | 0.099627 | 0.099627 | 0.099627 | 0.99634 | -0.025219 | 0.99778 | -0.015316 | 18.4495
33 | 0.0025893 | 0.00064886 | -0.0025893 | -0.00064893 | 7.3105e-08 | -6.7812e-08 | 0.0039271 | 0.0039271 | 0.0039271 | 0.98112 | -0.13188 | 0.98109 | -0.13208 | 1.4545
34 | 0.00098387 | 0.00024658 | -0.00098387 | -0.00024658 | 5.4286e-10 | -4.7266e-09 | 0.0014922 | 0.0014922 | 0.0014922 | 0.98109 | -0.13208 | 0.98109 | -0.13208 | 0.55268
35 | -0.010323 | -0.0025845 | 0.010323 | 0.0025845 | 2.3537e-07 | 7.1679e-08 | 0.015776 | 0.015776 | 0.015776 | 0.97363 | -0.18541 | 0.97365 | -0.18525 | 5.843
36 | 0.0089105 | 0.0022304 | -0.0089103 | -0.0022304 | 2.3999e-07 | 6.651e-08 | 0.013617 | 0.013617 | 0.013617 | 0.97363 | -0.18541 | 0.9736 | -0.18561 | 5.0434
37 | -0.011677 | -0.0029237 | 0.011682 | 0.0029253 | 5.0019e-06 | 1.6106e-06 | 0.017844 | 0.017844 | 0.017844 | 0.97365 | -0.18525 | 0.97408 | -0.18215 | 6.6089
38 | 0.0075265 | 0.0018836 | -0.0075245 | -0.0018831 | 1.9928e-06 | 4.6636e-07 | 0.011502 | 0.011502 | 0.011502 | 0.9736 | -0.18561 | 0.97334 | -0.18752 | 4.2601
39 | 0.0054204 | 0.0013557 | -0.0054141 | -0.0013552 | 6.2387e-06 | 5.9169e-07 | 0.0082856 | 0.0082862 | 0.0082862 | 0.97334 | -0.18752 | 0.97218 | -0.19587 | 3.069
40 | 0.0033138 | 0.00082876 | -0.003311 | -0.00082983 | 2.7549e-06 | -1.0667e-06 | 0.0050715 | 0.0050722 | 0.0050722 | 0.97218 | -0.19587 | 0.97135 | -0.20189 | 1.8786
41 | -0.068519 | -0.017327 | 0.068613 | 0.017363 | 9.4057e-05 | 3.5421e-05 | 0.10224 | 0.10224 | 0.10224 | 0.99778 | -0.015316 | 0.99919 | -0.0055915 | 18.9333
42 | -0.055401 | -0.013946 | 0.055442 | 0.013961 | 4.0863e-05 | 1.5215e-05 | 0.08264 | 0.08264 | 0.08264 | 0.99781 | -0.015167 | 0.99857 | -0.0098899 | 15.3037
43 | 0.053859 | 0.01356 | -0.053853 | -0.013557 | 6.6236e-06 | 2.4616e-06 | 0.080341 | 0.080341 | 0.080341 | 0.99781 | -0.015167 | 0.99768 | -0.016048 | 14.8779
44 | -0.05662 | -0.014257 | 0.056654 | 0.014269 | 3.4029e-05 | 1.2687e-05 | 0.084396 | 0.084396 | 0.084396 | 0.99857 | -0.0098899 | 0.99919 | -0.0055915 | 15.6288
45 | 0.053331 | 0.013427 | -0.05332 | -0.013423 | 1.116e-05 | 4.1446e-06 | 0.079563 | 0.079563 | 0.079563 | 0.99768 | -0.016048 | 0.99747 | -0.017546 | 14.734
46 | -0.12527 | -0.031632 | 0.12537 | 0.03167 | 9.8524e-05 | 3.7656e-05 | 0.18664 | 0.18663 | 0.18664 | 0.99919 | -0.0055915 | 1 | 0 | 34.562
47 | 0.051707 | 0.013018 | -0.051671 | -0.013005 | 3.6303e-05 | 1.3453e-05 | 0.077158 | 0.077158 | 0.077158 | 0.99747 | -0.017546 | 0.99675 | -0.022575 | 14.2885
48 | 0.046649 | 0.011746 | -0.046612 | -0.011733 | 3.7365e-05 | 1.3728e-05 | 0.069661 | 0.069661 | 0.069661 | 0.99675 | -0.022575 | 0.99592 | -0.028311 | 12.9002
49 | 0.0057847 | 0.0014492 | -0.0057834 | -0.0014491 | 1.3082e-06 | 1.3804e-07 | 0.0086428 | 0.0086429 | 0.0086429 | 0.99592 | -0.028311 | 0.99569 | -0.029946 | 3.2011
50 | 0.037388 | 0.0094214 | -0.037206 | -0.0093564 | 0.00018151 | 6.4986e-05 | 0.05588 | 0.055881 | 0.055881 | 0.99592 | -0.028311 | 0.99094 | -0.063155 | 10.3484
51 | 0.012012 | 0.0030105 | -0.012008 | -0.0030092 | 3.9657e-06 | 1.2914e-06 | 0.018369 | 0.018369 | 0.018369 | 0.97306 | -0.19005 | 0.97273 | -0.19244 | 6.8035
52 | 0.010268 | 0.0025731 | -0.010267 | -0.0025726 | 1.5537e-06 | 4.7231e-07 | 0.015707 | 0.015707 | 0.015707 | 0.97273 | -0.19244 | 0.97258 | -0.19353 | 5.8176
53 | 0.0074541 | 0.0018677 | -0.0074522 | -0.0018673 | 1.8888e-06 | 4.3772e-07 | 0.011404 | 0.011404 | 0.011404 | 0.97258 | -0.19353 | 0.97233 | -0.19537 | 4.2239
54 | -0.017705 | -0.0044497 | 0.017749 | 0.0044617 | 4.4121e-05 | 1.2002e-05 | 0.026854 | 0.026852 | 0.026854 | 0.98123 | -0.13168 | 0.98376 | -0.1138 | 4.9729
55 | 0.0056214 | 0.0014084 | -0.0056211 | -0.0014084 | 2.9589e-07 | 3.4337e-08 | 0.0086027 | 0.0086027 | 0.0086027 | 0.97233 | -0.19537 | 0.97227 | -0.19575 | 3.1862
56 | -0.019399 | -0.004875 | 0.019406 | 0.0048771 | 7.165e-06 | 2.0784e-06 | 0.029347 | 0.029347 | 0.029347 | 0.98376 | -0.1138 | 0.98413 | -0.11115 | 5.4346
57 | -0.020702 | -0.0052019 | 0.02071 | 0.0052045 | 8.7001e-06 | 2.6228e-06 | 0.031306 | 0.031306 | 0.031306 | 0.98413 | -0.11115 | 0.98456 | -0.10813 | 5.7974
58 | -0.0027999 | -0.00070158 | 0.0028 | 0.00070154 | 6.2822e-08 | -4.3789e-08 | 0.0042859 | 0.0042858 | 0.0042859 | 0.9721 | -0.197 | 0.97212 | -0.19684 | 1.5874
59 | 0.00083747 | 0.00020975 | -0.00083746 | -0.00020989 | 1.2067e-08 | -1.4125e-07 | 0.0012819 | 0.0012819 | 0.0012819 | 0.9721 | -0.197 | 0.97209 | -0.1971 | 0.47479
60 | -0.0045145 | -0.0011312 | 0.0045152 | 0.0011312 | 6.8133e-07 | -2.1487e-08 | 0.0069103 | 0.0069102 | 0.0069103 | 0.97212 | -0.19684 | 0.97227 | -0.19575 | 2.5594
61 | 0.027045 | 0.0067956 | -0.027028 | -0.0067899 | 1.7062e-05 | 5.7242e-06 | 0.040801 | 0.040802 | 0.040802 | 0.98646 | -0.094668 | 0.98582 | -0.099204 | 7.5559
62 | -0.028925 | -0.0072668 | 0.029 | 0.0072925 | 7.5214e-05 | 2.5687e-05 | 0.043637 | 0.043636 | 0.043637 | 0.98646 | -0.094668 | 0.98911 | -0.076017 | 8.081
63 | 0.025274 | 0.0063505 | -0.025256 | -0.0063445 | 1.8266e-05 | 6.0006e-06 | 0.038155 | 0.038156 | 0.038156 | 0.98582 | -0.099204 | 0.98508 | -0.1044 | 7.0658
64 | -0.03714 | -0.0093325 | 0.037206 | 0.0093564 | 6.6586e-05 | 2.3852e-05 | 0.055882 | 0.055881 | 0.055882 | 0.98911 | -0.076017 | 0.99094 | -0.063155 | 10.3485
65 | 0.022088 | 0.0055504 | -0.022076 | -0.0055468 | 1.1458e-05 | 3.5677e-06 | 0.03337 | 0.03337 | 0.03337 | 0.98508 | -0.1044 | 0.98456 | -0.10813 | 6.1796
66 | 0.0033365 | 0.00083583 | -0.0033359 | -0.00083607 | 5.1561e-07 | -2.339e-07 | 0.0049861 | 0.0049862 | 0.0049862 | 0.99569 | -0.029946 | 0.99553 | -0.031063 | 1.8467

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.12732 | 0.031958

## res_load
| p_mw | q_mvar
0 | 0.00109 | 0.00027319
1 | 0.0020318 | 0.00050922
2 | 0.0014979 | 0.00037542
3 | 0.0013695 | 0.00034322
4 | 0.0015847 | 0.00039717
5 | 0.0010508 | 0.00026336
6 | 0.0020625 | 0.0005169
7 | 0.0037851 | 0.00094863
8 | 0.002823 | 0.00070751
9 | 0.0032128 | 0.0008052
10 | 0.0026281 | 0.00065866
11 | 0.0019053 | 0.00047752
12 | 0.0023083 | 0.0005785
13 | 0.0017234 | 0.00043194
14 | 0.003824 | 0.00095839
15 | 0.0015665 | 0.00039261
16 | 0.0015575 | 0.00039034
17 | 0.0018527 | 0.00046433
18 | 0.0015619 | 0.00039144
19 | 0.0015862 | 0.00039754
20 | 0.0024318 | 0.00060947
21 | 0.0020288 | 0.00050846
22 | 0.0015938 | 0.00039945
23 | 0.0023997 | 0.00060142
24 | 0.0011399 | 0.00028568
25 | 0.0013781 | 0.00034537
26 | 0.000719 | 0.0001802
27 | 0.0016054 | 0.00040235
28 | 0.00098387 | 0.00024658
29 | 0.0014126 | 0.00035404
30 | 0.0013532 | 0.00033913
31 | 0.0013838 | 0.0003468
32 | 0.0016463 | 0.0004126
33 | 0.0021041 | 0.00052735
34 | 0.0021003 | 0.00052639
35 | 0.003311 | 0.00082983
36 | 0.0017519 | 0.00043906
37 | 0.0015417 | 0.00038639
38 | 0.0011783 | 0.00029531
39 | 0.0005213 | 0.00013065
40 | 0.0016127 | 0.00040418
41 | 0.0011499 | 0.00028819
42 | 0.0050218 | 0.0012586
43 | 0.0034394 | 0.00086199
44 | 0.0014225 | 0.00035651
45 | 0.0017402 | 0.00043613
46 | 0.0028126 | 0.0007049
47 | 0.001022 | 0.00025615
48 | 0.0018308 | 0.00045884
49 | 0.0016494 | 0.00041337
50 | 0.0012959 | 0.00032477
51 | 0.0019624 | 0.00049184
52 | 0.0017145 | 0.0004297
53 | 0.00083746 | 0.00020989
54 | 0.0011059 | 0.00027717
55 | 0.0018801 | 0.0004712
56 | 0.0017532 | 0.00043941
57 | 0.0081399 | 0.0020401
58 | 0.0031684 | 0.00079407
59 | 0.0013658 | 0.00034229
60 | 0.0024469 | 0.00061326
61 | 0.0033359 | 0.00083607

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1