## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1215-6_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1215-6_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1215-6_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1215-6_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1215-6_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1215-6_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1215-6_0_3_node_28 | 0.4 | n |  | TRUE
7 | bus_LV_1215-6_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1215-6_0_3_node_29 | 0.4 | n |  | TRUE
9 | bus_LV_1215-6_0_3_node_27 | 0.4 | n |  | TRUE
10 | bus_LV_1215-6_0_3_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_1215-6_0_3_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_1215-6_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_1215-6_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_1215-6_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_1215-6_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_1215-6_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1215-6_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_1215-6_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1215-6_0_3_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_1215-6_0_3_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_1215-6_0_3_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_1215-6_0_3_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_1215-6_0_3_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_1215-6_0_3_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_1215-6_0_3_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_1215-6_0_3_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_1215-6_0_3_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_1215-6_0_3_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_1215-6_0_3_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_1215-6_0_3_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_1215-6_0_3_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_1215-6_0_3_node_34 | 0.4 | n |  | TRUE
33 | bus_MV_12_0_node_85 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1215-6_0_3_load_0 | 0 | 0.0045575 | 0.0011422 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1215-6_0_3_load_1 | 1 | 0.0020905 | 0.00052393 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1215-6_0_3_load_2 | 2 | 0.0047056 | 0.0011793 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1215-6_0_3_load_3 | 3 | 0.004004 | 0.0010035 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1215-6_0_3_load_4 | 4 | 0.0048704 | 0.0012206 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1215-6_0_3_load_7 | 7 | 0.0038983 | 0.00097701 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1215-6_0_3_load_29 | 8 | 0.015624 | 0.0039159 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1215-6_0_3_load_27 | 9 | 0.0034486 | 0.00086431 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1215-6_0_3_load_20 | 10 | 0.0061097 | 0.0015312 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1215-6_0_3_load_21 | 11 | 0.0027845 | 0.00069787 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1215-6_0_3_load_6 | 12 | 0.0050434 | 0.001264 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1215-6_0_3_load_8 | 13 | 0.0028401 | 0.0007118 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1215-6_0_3_load_9 | 14 | 0.0030248 | 0.00075809 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1215-6_0_3_load_10 | 15 | 0.002232 | 0.00055938 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1215-6_0_3_load_11 | 16 | 0.0060696 | 0.0015212 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1215-6_0_3_load_14 | 17 | 0.0025055 | 0.00062795 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1215-6_0_3_load_12 | 18 | 0.0028577 | 0.00071622 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1215-6_0_3_load_15 | 19 | 0.0027271 | 0.00068347 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1215-6_0_3_load_17 | 21 | 0.0035571 | 0.00089148 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1215-6_0_3_load_22 | 23 | 0.0028935 | 0.00072517 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1215-6_0_3_load_23 | 24 | 0.011449 | 0.0028693 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1215-6_0_3_load_25 | 26 | 0.0071099 | 0.0017819 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1215-6_0_3_load_30 | 28 | 0.02517 | 0.0063082 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1215-6_0_3_load_32 | 30 | 0.029673 | 0.0074368 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1215-6_0_3_load_33 | 31 | 0.023273 | 0.0058329 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1215-6_0_3_load_34 | 32 | 0.0068762 | 0.0017233 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1215-6_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.027387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1215-6_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.024553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1215-6_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.03383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1215-6_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.029243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1215-6_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.019604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1215-6_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.022377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1215-6_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.013765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1215-6_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.019852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1215-6_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.0092933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1215-6_0_3_line_9 | NAYY 4x150 SE | 7 | 12 | 0.0045387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1215-6_0_3_line_10 | NAYY 4x150 SE | 8 | 28 | 0.027622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1215-6_0_3_line_11 | NAYY 4x150 SE | 9 | 27 | 0.042037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1215-6_0_3_line_12 | NAYY 4x150 SE | 10 | 11 | 0.040008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1215-6_0_3_line_13 | NAYY 4x150 SE | 11 | 23 | 0.018702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1215-6_0_3_line_14 | NAYY 4x150 SE | 12 | 13 | 0.019987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1215-6_0_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.0033826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1215-6_0_3_line_16 | NAYY 4x150 SE | 14 | 15 | 0.041485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1215-6_0_3_line_17 | NAYY 4x150 SE | 15 | 16 | 0.020313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1215-6_0_3_line_18 | NAYY 4x150 SE | 15 | 17 | 0.047719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1215-6_0_3_line_19 | NAYY 4x150 SE | 16 | 18 | 0.042289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1215-6_0_3_line_20 | NAYY 4x150 SE | 19 | 20 | 0.020681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1215-6_0_3_line_21 | NAYY 4x150 SE | 20 | 21 | 0.015262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1215-6_0_3_line_22 | NAYY 4x150 SE | 20 | 22 | 0.006483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1215-6_0_3_line_23 | NAYY 4x150 SE | 22 | 23 | 0.035513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1215-6_0_3_line_24 | NAYY 4x150 SE | 22 | 24 | 0.029924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1215-6_0_3_line_25 | NAYY 4x150 SE | 24 | 25 | 0.034307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1215-6_0_3_line_26 | NAYY 4x150 SE | 25 | 26 | 0.023077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1215-6_0_3_line_27 | NAYY 4x150 SE | 25 | 27 | 0.019491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1215-6_0_3_line_28 | NAYY 4x150 SE | 28 | 29 | 0.031987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1215-6_0_3_line_29 | NAYY 4x150 SE | 29 | 30 | 0.03659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1215-6_0_3_line_30 | NAYY 4x150 SE | 30 | 31 | 0.029931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1215-6_0_3_line_31 | NAYY 4x150 SE | 31 | 32 | 0.037725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1215-6_0_3_trafo_28 | 0.25 MVA 20/0.4 kV | 33 | 6 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2687447.4799 | 1203697.0436 | 2687451.4306 | 1203712.1518 | 2687456.0271 | 1203722.9883
1 | 2687447.4799 | 1203697.0436 | 2687441.2685 | 1203673.2896
2 | 2687456.0271 | 1203722.9883 | 2687462.1034 | 1203737.3133 | 2687467.2903 | 1203754.8306
3 | 2687427.8023 | 1203648.1843 | 2687437.7106 | 1203659.6836 | 2687441.2685 | 1203673.2896
4 | 2687472.8561 | 1203773.6276 | 2687467.2903 | 1203754.8306
5 | 2687409.103 | 1203645.3557 | 2687420.2533 | 1203641.0382 | 2687425.6116 | 1203645.6419 | 2687427.8023 | 1203648.1843
6 | 2687472.8561 | 1203773.6276 | 2687485.655 | 1203768.5609
7 | 2687409.103 | 1203645.3557 | 2687403.2771 | 1203628.5151 | 2687402.6252 | 1203626.5907
8 | 2687409.103 | 1203645.3557 | 2687400.7368 | 1203649.4021
9 | 2687489.875 | 1203766.8903 | 2687485.655 | 1203768.5609
10 | 2687393.1223 | 1203600.7153 | 2687394.9688 | 1203603.9887 | 2687402.6252 | 1203626.5907
11 | 2687361.703 | 1203653.6677 | 2687373.5522 | 1203657.7547 | 2687377.0096 | 1203658.0944 | 2687380.9001 | 1203658.9964 | 2687400.7368 | 1203649.4021
12 | 2687425.1195 | 1203776.4888 | 2687403.5261 | 1203775.7475 | 2687395.7695 | 1203774.3665 | 2687389.7267 | 1203771.832 | 2687386.134 | 1203770.1425
13 | 2687386.134 | 1203770.1425 | 2687384.1871 | 1203769.227 | 2687374.509 | 1203760.8356 | 2687371.9433 | 1203758.1127
14 | 2687508.2897 | 1203759.1394 | 2687501.3207 | 1203762.3594 | 2687489.875 | 1203766.8903
15 | 2687508.2897 | 1203759.1394 | 2687511.3604 | 1203757.7205
16 | 2687511.3604 | 1203757.7205 | 2687520.2825 | 1203753.5981 | 2687526.5741 | 1203740.7153 | 2687526.0358 | 1203723.4518 | 2687526.0331 | 1203723.4047
17 | 2687526.0331 | 1203723.4047 | 2687524.8573 | 1203703.1261
18 | 2687526.0331 | 1203723.4047 | 2687565.3493 | 1203750.4472
19 | 2687524.8573 | 1203703.1261 | 2687545.9405 | 1203666.4671
20 | 2687343.3049 | 1203727.402 | 2687333.888 | 1203734.9581 | 2687325.4241 | 1203736.524
21 | 2687343.3049 | 1203727.402 | 2687333.318 | 1203715.8611
22 | 2687347.563 | 1203732.3008 | 2687343.3049 | 1203727.402
23 | 2687347.563 | 1203732.3008 | 2687349.0729 | 1203734.1574 | 2687362.8873 | 1203748.502 | 2687371.9433 | 1203758.1127
24 | 2687347.563 | 1203732.3008 | 2687351.1108 | 1203728.5391 | 2687358.5761 | 1203704.9387
25 | 2687368.1385 | 1203672.0181 | 2687366.1185 | 1203681.0945 | 2687358.5761 | 1203704.9387
26 | 2687368.1385 | 1203672.0181 | 2687383.1318 | 1203676.0067 | 2687381.1956 | 1203683.3173
27 | 2687361.703 | 1203653.6677 | 2687366.7193 | 1203666.038 | 2687368.1385 | 1203672.0181
28 | 2687369.5373 | 1203586.8389 | 2687385.0149 | 1203586.3428 | 2687393.1223 | 1203600.7153
29 | 2687369.5373 | 1203586.8389 | 2687377.2926 | 1203562.3254 | 2687379.9739 | 1203551.7817
30 | 2687385.592 | 1203522.4876 | 2687385.3287 | 1203529.0324 | 2687384.1236 | 1203535.4634 | 2687379.9739 | 1203551.7817
31 | 2687385.592 | 1203522.4876 | 2687385.592 | 1203522.4876 | 2687384.9109 | 1203515.9845 | 2687383.5828 | 1203510.5394 | 2687381.5972 | 1203505.3069 | 2687378.9682 | 1203500.3542 | 2687371.3852 | 1203488.1382

## bus_geodata
| x | y | coords
0 | 2687447.4799 | 1203697.0436
1 | 2687456.0271 | 1203722.9883
2 | 2687441.2685 | 1203673.2896
3 | 2687467.2903 | 1203754.8306
4 | 2687427.8023 | 1203648.1843
5 | 2687472.8561 | 1203773.6276
6 | 2687409.103 | 1203645.3557
7 | 2687485.655 | 1203768.5609
8 | 2687402.6252 | 1203626.5907
9 | 2687400.7368 | 1203649.4021
10 | 2687425.1195 | 1203776.4888
11 | 2687386.134 | 1203770.1425
12 | 2687489.875 | 1203766.8903
13 | 2687508.2897 | 1203759.1394
14 | 2687511.3604 | 1203757.7205
15 | 2687526.0331 | 1203723.4047
16 | 2687524.8573 | 1203703.1261
17 | 2687565.3493 | 1203750.4472
18 | 2687545.9405 | 1203666.4671
19 | 2687325.4241 | 1203736.524
20 | 2687343.3049 | 1203727.402
21 | 2687333.318 | 1203715.8611
22 | 2687347.563 | 1203732.3008
23 | 2687371.9433 | 1203758.1127
24 | 2687358.5761 | 1203704.9387
25 | 2687368.1385 | 1203672.0181
26 | 2687381.1956 | 1203683.3173
27 | 2687361.703 | 1203653.6677
28 | 2687393.1223 | 1203600.7153
29 | 2687369.5373 | 1203586.8389
30 | 2687379.9739 | 1203551.7817
31 | 2687385.592 | 1203522.4876
32 | 2687371.3852 | 1203488.1382
33 | 2687361.703 | 1203653.6677

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99521 | -0.033438 | 0.0045575 | 0.0011422
1 | 0.99385 | -0.042997 | 0.0020905 | 0.00052393
2 | 0.99659 | -0.023765 | 0.0047056 | 0.0011793
3 | 0.99227 | -0.054123 | 0.004004 | 0.0010035
4 | 0.99843 | -0.010901 | 0.0048704 | 0.0012206
5 | 0.99146 | -0.059789 | 0 | 0
6 | 1 | 0 | -0.19173 | -0.048045
7 | 0.9909 | -0.063773 | 0.0038983 | 0.00097701
8 | 0.99712 | -0.019996 | 0.015624 | 0.0039159
9 | 0.99947 | -0.0037219 | 0.0034486 | 0.00086431
10 | 0.99282 | -0.050388 | 0.0061097 | 0.0015312
11 | 0.99317 | -0.047913 | 0.0027845 | 0.00069787
12 | 0.99074 | -0.064908 | 0.0050434 | 0.001264
13 | 0.99018 | -0.068882 | 0.0028401 | 0.0007118
14 | 0.99009 | -0.069457 | 0.0030248 | 0.00075809
15 | 0.98928 | -0.075239 | 0.002232 | 0.00055938
16 | 0.98902 | -0.077089 | 0.0060696 | 0.0015212
17 | 0.9891 | -0.076459 | 0.0025055 | 0.00062795
18 | 0.98884 | -0.078324 | 0.0028577 | 0.00071622
19 | 0.99387 | -0.042977 | 0.0027271 | 0.00068347
20 | 0.99395 | -0.042407 | 0 | 0
21 | 0.99387 | -0.042956 | 0.0035571 | 0.00089148
22 | 0.99401 | -0.041996 | 0 | 0
23 | 0.99341 | -0.046229 | 0.0028935 | 0.00072517
24 | 0.99478 | -0.036533 | 0.011449 | 0.0028693
25 | 0.99624 | -0.026328 | 0 | 0
26 | 0.996 | -0.027978 | 0.0071099 | 0.0017819
27 | 0.99726 | -0.019151 | 0 | 0
28 | 0.99374 | -0.043645 | 0.02517 | 0.0063082
29 | 0.99098 | -0.063042 | 0 | 0
30 | 0.98782 | -0.085362 | 0.029673 | 0.0074368
31 | 0.98651 | -0.094606 | 0.023273 | 0.0058329
32 | 0.98614 | -0.097268 | 0.0068762 | 0.0017233
33 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.034731 | 0.0087228 | -0.034685 | -0.0087055 | 4.6095e-05 | 1.7373e-05 | 0.051935 | 0.051935 | 0.051935 | 0.99521 | -0.033438 | 0.99385 | -0.042997 | 19.2352
1 | -0.039288 | -0.0098651 | 0.039341 | 0.0098851 | 5.288e-05 | 2.0019e-05 | 0.058749 | 0.058749 | 0.058749 | 0.99521 | -0.033438 | 0.99659 | -0.023765 | 21.759
2 | 0.032594 | 0.0081815 | -0.032544 | -0.0081626 | 5.0282e-05 | 1.8902e-05 | 0.048805 | 0.048805 | 0.048805 | 0.99385 | -0.042997 | 0.99227 | -0.054123 | 18.076
3 | -0.044047 | -0.011064 | 0.044126 | 0.011094 | 7.8945e-05 | 2.9982e-05 | 0.065775 | 0.065775 | 0.065775 | 0.99659 | -0.023765 | 0.99843 | -0.010901 | 24.3612
4 | 0.02854 | 0.0071591 | -0.028517 | -0.0071508 | 2.2409e-05 | 8.3659e-06 | 0.042801 | 0.042801 | 0.042801 | 0.99227 | -0.054123 | 0.99146 | -0.059789 | 15.8522
5 | -0.048996 | -0.012315 | 0.049071 | 0.012343 | 7.448e-05 | 2.8353e-05 | 0.073034 | 0.073034 | 0.073034 | 0.99843 | -0.010901 | 1 | 0 | 27.0495
6 | 0.028517 | 0.0071508 | -0.028502 | -0.0071449 | 1.5735e-05 | 5.8746e-06 | 0.042801 | 0.042801 | 0.042801 | 0.99146 | -0.059789 | 0.9909 | -0.063773 | 15.8522
7 | 0.10157 | 0.025582 | -0.10129 | -0.025473 | 0.00028313 | 0.00010864 | 0.15118 | 0.15118 | 0.15118 | 1 | 0 | 0.99712 | -0.019996 | 55.994
8 | 0.040284 | 0.01012 | -0.040263 | -0.010112 | 2.0843e-05 | 7.8948e-06 | 0.059952 | 0.059952 | 0.059952 | 1 | 0 | 0.99947 | -0.0037219 | 22.2045
9 | 0.024603 | 0.0061679 | -0.024599 | -0.0061665 | 3.8661e-06 | 1.4285e-06 | 0.036947 | 0.036947 | 0.036947 | 0.9909 | -0.063773 | 0.99074 | -0.064908 | 13.6841
10 | 0.085664 | 0.021557 | -0.085382 | -0.021449 | 0.00028181 | 0.00010803 | 0.12787 | 0.12787 | 0.12787 | 0.99712 | -0.019996 | 0.99374 | -0.043645 | 47.3583
11 | 0.036815 | 0.0092477 | -0.036736 | -0.0092179 | 7.8824e-05 | 2.9767e-05 | 0.054818 | 0.054818 | 0.054818 | 0.99947 | -0.0037219 | 0.99726 | -0.019151 | 20.3029
12 | -0.0061097 | -0.0015312 | 0.0061118 | 0.0015315 | 2.0933e-06 | 2.8759e-07 | 0.0091572 | 0.009157 | 0.0091572 | 0.99282 | -0.050388 | 0.99317 | -0.047913 | 3.3915
13 | -0.0088964 | -0.0022294 | 0.0088984 | 0.00223 | 2.0733e-06 | 5.5535e-07 | 0.013329 | 0.013329 | 0.013329 | 0.99317 | -0.047913 | 0.99341 | -0.046229 | 4.9366
14 | 0.019556 | 0.0049025 | -0.019545 | -0.0048986 | 1.076e-05 | 3.8811e-06 | 0.029372 | 0.029372 | 0.029372 | 0.99074 | -0.064908 | 0.99018 | -0.068882 | 10.8786
15 | 0.016705 | 0.0041868 | -0.016704 | -0.0041863 | 1.3302e-06 | 4.6813e-07 | 0.025104 | 0.025104 | 0.025104 | 0.99018 | -0.068882 | 0.99009 | -0.069457 | 9.2978
16 | 0.013679 | 0.0034282 | -0.013668 | -0.0034245 | 1.0941e-05 | 3.6749e-06 | 0.020558 | 0.020558 | 0.020558 | 0.99009 | -0.069457 | 0.98928 | -0.075239 | 7.6142
17 | 0.0089301 | 0.0022377 | -0.0089278 | -0.002237 | 2.2868e-06 | 6.1882e-07 | 0.013432 | 0.013432 | 0.013432 | 0.98928 | -0.075239 | 0.98902 | -0.077089 | 4.9748
18 | 0.002506 | 0.0006275 | -0.0025055 | -0.00062795 | 4.2304e-07 | -4.4987e-07 | 0.0037691 | 0.0037694 | 0.0037694 | 0.98928 | -0.075239 | 0.9891 | -0.076459 | 1.3961
19 | 0.0028582 | 0.00071586 | -0.0028577 | -0.00071622 | 4.8798e-07 | -3.549e-07 | 0.0043001 | 0.0043003 | 0.0043003 | 0.98902 | -0.077089 | 0.98884 | -0.078324 | 1.5927
20 | -0.0027271 | -0.00068347 | 0.0027273 | 0.00068328 | 2.1513e-07 | -1.8529e-07 | 0.0040829 | 0.0040829 | 0.0040829 | 0.99387 | -0.042977 | 0.99395 | -0.042407 | 1.5122
21 | 0.0035573 | 0.00089139 | -0.0035571 | -0.00089148 | 2.701e-07 | -9.3911e-08 | 0.0053255 | 0.0053256 | 0.0053256 | 0.99395 | -0.042407 | 0.99387 | -0.042956 | 1.9724
22 | -0.0062846 | -0.0015747 | 0.006285 | 0.0015747 | 3.5809e-07 | 5.3695e-08 | 0.0094084 | 0.0094083 | 0.0094084 | 0.99395 | -0.042407 | 0.99401 | -0.041996 | 3.4846
23 | 0.011799 | 0.0029573 | -0.011792 | -0.0029551 | 6.9135e-06 | 2.199e-06 | 0.017663 | 0.017663 | 0.017663 | 0.99401 | -0.041996 | 0.99341 | -0.046229 | 6.5418
24 | -0.018084 | -0.004532 | 0.018097 | 0.0045369 | 1.3684e-05 | 4.8749e-06 | 0.027071 | 0.027071 | 0.027071 | 0.99401 | -0.041996 | 0.99478 | -0.036533 | 10.0263
25 | -0.029546 | -0.0074062 | 0.029588 | 0.0074219 | 4.1815e-05 | 1.5637e-05 | 0.044196 | 0.044196 | 0.044196 | 0.99478 | -0.036533 | 0.99624 | -0.026328 | 16.3689
26 | 0.0071115 | 0.0017822 | -0.0071099 | -0.0017819 | 1.6248e-06 | 3.2449e-07 | 0.010622 | 0.010622 | 0.010622 | 0.99624 | -0.026328 | 0.996 | -0.027978 | 3.9341
27 | -0.036699 | -0.0092041 | 0.036736 | 0.0092179 | 3.6548e-05 | 1.3803e-05 | 0.054818 | 0.054818 | 0.054818 | 0.99624 | -0.026328 | 0.99726 | -0.019151 | 20.3029
28 | 0.060212 | 0.015141 | -0.060049 | -0.015079 | 0.00016232 | 6.2016e-05 | 0.090178 | 0.090178 | 0.090178 | 0.99374 | -0.043645 | 0.99098 | -0.063042 | 33.3994
29 | 0.060049 | 0.015079 | -0.059864 | -0.015008 | 0.00018568 | 7.0944e-05 | 0.090178 | 0.090178 | 0.090178 | 0.99098 | -0.063042 | 0.98782 | -0.085362 | 33.3994
30 | 0.030191 | 0.0075712 | -0.030152 | -0.0075567 | 3.8632e-05 | 1.4476e-05 | 0.04548 | 0.04548 | 0.04548 | 0.98782 | -0.085362 | 0.98651 | -0.094606 | 16.8445
31 | 0.0068787 | 0.0017238 | -0.0068762 | -0.0017233 | 2.5342e-06 | 4.9321e-07 | 0.010376 | 0.010376 | 0.010376 | 0.98651 | -0.094606 | 0.98614 | -0.097268 | 3.8428

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.19173 | 0.048045

## res_load
| p_mw | q_mvar
0 | 0.0045575 | 0.0011422
1 | 0.0020905 | 0.00052393
2 | 0.0047056 | 0.0011793
3 | 0.004004 | 0.0010035
4 | 0.0048704 | 0.0012206
5 | 0.0038983 | 0.00097701
6 | 0.015624 | 0.0039159
7 | 0.0034486 | 0.00086431
8 | 0.0061097 | 0.0015312
9 | 0.0027845 | 0.00069787
10 | 0.0050434 | 0.001264
11 | 0.0028401 | 0.0007118
12 | 0.0030248 | 0.00075809
13 | 0.002232 | 0.00055938
14 | 0.0060696 | 0.0015212
15 | 0.0025055 | 0.00062795
16 | 0.0028577 | 0.00071622
17 | 0.0027271 | 0.00068347
18 | 0.0035571 | 0.00089148
19 | 0.0028935 | 0.00072517
20 | 0.011449 | 0.0028693
21 | 0.0071099 | 0.0017819
22 | 0.02517 | 0.0063082
23 | 0.029673 | 0.0074368
24 | 0.023273 | 0.0058329
25 | 0.0068762 | 0.0017233

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1