## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1220-1_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1220-1_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1220-1_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1220-1_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1220-1_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1220-1_0_3_node_43 | 0.4 | n |  | TRUE
6 | bus_LV_1220-1_0_3_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_1220-1_0_3_node_44 | 0.4 | n |  | TRUE
8 | bus_LV_1220-1_0_3_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_1220-1_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_1220-1_0_3_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_1220-1_0_3_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_1220-1_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_1220-1_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_1220-1_0_3_node_34 | 0.4 | n |  | TRUE
15 | bus_LV_1220-1_0_3_node_45 | 0.4 | n |  | TRUE
16 | bus_LV_1220-1_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1220-1_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1220-1_0_3_node_73 | 0.4 | n |  | TRUE
19 | bus_LV_1220-1_0_3_node_56 | 0.4 | n |  | TRUE
20 | bus_LV_1220-1_0_3_node_61 | 0.4 | n |  | TRUE
21 | bus_LV_1220-1_0_3_node_58 | 0.4 | n |  | TRUE
22 | bus_LV_1220-1_0_3_node_55 | 0.4 | n |  | TRUE
23 | bus_LV_1220-1_0_3_node_63 | 0.4 | n |  | TRUE
24 | bus_LV_1220-1_0_3_node_60 | 0.4 | n |  | TRUE
25 | bus_LV_1220-1_0_3_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_1220-1_0_3_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_1220-1_0_3_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_1220-1_0_3_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_1220-1_0_3_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_1220-1_0_3_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_1220-1_0_3_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_1220-1_0_3_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_1220-1_0_3_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_1220-1_0_3_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_1220-1_0_3_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_1220-1_0_3_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_1220-1_0_3_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_1220-1_0_3_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_1220-1_0_3_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_1220-1_0_3_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_1220-1_0_3_node_51 | 0.4 | n |  | TRUE
42 | bus_LV_1220-1_0_3_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_1220-1_0_3_node_53 | 0.4 | n |  | TRUE
44 | bus_LV_1220-1_0_3_node_46 | 0.4 | n |  | TRUE
45 | bus_LV_1220-1_0_3_node_71 | 0.4 | n |  | TRUE
46 | bus_LV_1220-1_0_3_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_1220-1_0_3_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_1220-1_0_3_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_1220-1_0_3_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_1220-1_0_3_node_29 | 0.4 | n |  | TRUE
51 | bus_LV_1220-1_0_3_node_32 | 0.4 | n |  | TRUE
52 | bus_LV_1220-1_0_3_node_67 | 0.4 | n |  | TRUE
53 | bus_LV_1220-1_0_3_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_1220-1_0_3_node_47 | 0.4 | n |  | TRUE
55 | bus_LV_1220-1_0_3_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_1220-1_0_3_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_1220-1_0_3_node_70 | 0.4 | n |  | TRUE
58 | bus_LV_1220-1_0_3_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_1220-1_0_3_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_1220-1_0_3_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_1220-1_0_3_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_1220-1_0_3_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_1220-1_0_3_node_66 | 0.4 | n |  | TRUE
64 | bus_LV_1220-1_0_3_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_1220-1_0_3_node_64 | 0.4 | n |  | TRUE
66 | bus_LV_1220-1_0_3_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_1220-1_0_3_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_1220-1_0_3_node_68 | 0.4 | n |  | TRUE
69 | bus_LV_1220-1_0_3_node_69 | 0.4 | n |  | TRUE
70 | bus_LV_1220-1_0_3_node_72 | 0.4 | n |  | TRUE
71 | bus_MV_132_0_node_60 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1220-1_0_3_load_0 | 0 | 0.0033232 | 0.00083288 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1220-1_0_3_load_1 | 1 | 0.0010652 | 0.00026696 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1220-1_0_3_load_2 | 2 | 0.0013163 | 0.00032988 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1220-1_0_3_load_3 | 3 | 0.0022141 | 0.00055492 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1220-1_0_3_load_43 | 5 | 0.0037328 | 0.00093554 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1220-1_0_3_load_9 | 6 | 0.0010894 | 0.00027303 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1220-1_0_3_load_13 | 8 | 0.0022833 | 0.00057225 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1220-1_0_3_load_5 | 11 | 0.0017139 | 0.00042954 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1220-1_0_3_load_6 | 12 | 0.0015523 | 0.00038903 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1220-1_0_3_load_7 | 13 | 0.00096003 | 0.0002406 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1220-1_0_3_load_34 | 14 | 0.0030071 | 0.00075366 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1220-1_0_3_load_73 | 18 | 0.0024433 | 0.00061236 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1220-1_0_3_load_58 | 21 | 0.0016805 | 0.00042117 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1220-1_0_3_load_55 | 22 | 0.00091931 | 0.0002304 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1220-1_0_3_load_63 | 23 | 0.0048231 | 0.0012088 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1220-1_0_3_load_60 | 24 | 0.0067331 | 0.0016875 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1220-1_0_3_load_14 | 25 | 0.0045147 | 0.0011315 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1220-1_0_3_load_15 | 26 | 0.011643 | 0.002918 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1220-1_0_3_load_16 | 27 | 0.0037361 | 0.00093636 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1220-1_0_3_load_17 | 28 | 0.0060517 | 0.0015167 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1220-1_0_3_load_18 | 29 | 0.0054786 | 0.0013731 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1220-1_0_3_load_26 | 30 | 0.0049092 | 0.0012304 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1220-1_0_3_load_19 | 31 | 0.0037918 | 0.00095031 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1220-1_0_3_load_27 | 32 | 0.010694 | 0.0026802 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1220-1_0_3_load_20 | 33 | 0.0049103 | 0.0012306 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1220-1_0_3_load_35 | 34 | 0.0074592 | 0.0018695 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1220-1_0_3_load_21 | 36 | 0.0060974 | 0.0015282 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1220-1_0_3_load_22 | 37 | 0.0054979 | 0.0013779 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1220-1_0_3_load_24 | 39 | 0.0034722 | 0.00087022 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1220-1_0_3_load_51 | 41 | 0.0038167 | 0.00095657 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1220-1_0_3_load_40 | 42 | 0.0034617 | 0.00086758 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1220-1_0_3_load_71 | 45 | 0.0051476 | 0.0012901 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1220-1_0_3_load_39 | 46 | 0.0037964 | 0.00095148 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1220-1_0_3_load_33 | 49 | 0.014747 | 0.0036961 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1220-1_0_3_load_29 | 50 | 0.0070906 | 0.0017771 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1220-1_0_3_load_67 | 52 | 0.0018731 | 0.00046944 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1220-1_0_3_load_50 | 53 | 0.0076635 | 0.0019207 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1220-1_0_3_load_38 | 55 | 0.015296 | 0.0038335 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1220-1_0_3_load_52 | 56 | 0.010174 | 0.00255 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1220-1_0_3_load_70 | 57 | 0.0041228 | 0.0010333 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1220-1_0_3_load_41 | 58 | 0.0037361 | 0.00093635 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1220-1_0_3_load_42 | 59 | 0.002013 | 0.00050451 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1220-1_0_3_load_48 | 60 | 0.0042638 | 0.0010686 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1220-1_0_3_load_49 | 61 | 0.0068335 | 0.0017126 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1220-1_0_3_load_54 | 62 | 0.00085162 | 0.00021344 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1220-1_0_3_load_64 | 65 | 0.0015052 | 0.00037725 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1220-1_0_3_load_62 | 66 | 0.0064022 | 0.0016045 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1220-1_0_3_load_65 | 67 | 0.0010627 | 0.00026635 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1220-1_0_3_load_72 | 70 | 0.0027401 | 0.00068673 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1220-1_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0054671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1220-1_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.016039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1220-1_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.015987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1220-1_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.018352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1220-1_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.023967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1220-1_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0080513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1220-1_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.015635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_1220-1_0_3_line_7 | NAYY 4x150 SE | 6 | 10 | 0.04297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1220-1_0_3_line_8 | NAYY 4x150 SE | 7 | 15 | 0.006888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1220-1_0_3_line_9 | NAYY 4x150 SE | 7 | 44 | 0.016454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_1220-1_0_3_line_10 | NAYY 4x150 SE | 8 | 9 | 0.013431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1220-1_0_3_line_11 | NAYY 4x150 SE | 9 | 14 | 0.033123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1220-1_0_3_line_12 | NAYY 4x150 SE | 9 | 12 | 0.027628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1220-1_0_3_line_13 | NAYY 4x150 SE | 10 | 16 | 0.039162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1220-1_0_3_line_14 | NAYY 4x150 SE | 10 | 17 | 0.043368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1220-1_0_3_line_15 | NAYY 4x150 SE | 11 | 12 | 0.01588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1220-1_0_3_line_16 | NAYY 4x150 SE | 11 | 13 | 0.021026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1220-1_0_3_line_17 | NAYY 4x150 SE | 14 | 15 | 0.036893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1220-1_0_3_line_18 | NAYY 4x150 SE | 15 | 54 | 0.034408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1220-1_0_3_line_19 | NAYY 4x150 SE | 16 | 18 | 0.071735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1220-1_0_3_line_20 | NAYY 4x150 SE | 16 | 19 | 0.064957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1220-1_0_3_line_21 | NAYY 4x150 SE | 17 | 20 | 0.005254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1220-1_0_3_line_22 | NAYY 4x150 SE | 19 | 21 | 0.028688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1220-1_0_3_line_23 | NAYY 4x150 SE | 19 | 22 | 0.032023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1220-1_0_3_line_24 | NAYY 4x150 SE | 20 | 23 | 0.02774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1220-1_0_3_line_25 | NAYY 4x150 SE | 20 | 24 | 0.010807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1220-1_0_3_line_26 | NAYY 4x150 SE | 21 | 64 | 0.073451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1220-1_0_3_line_27 | NAYY 4x150 SE | 24 | 66 | 0.024478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1220-1_0_3_line_28 | NAYY 4x150 SE | 25 | 26 | 0.011464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1220-1_0_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.0026325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1220-1_0_3_line_30 | NAYY 4x150 SE | 26 | 28 | 0.0082497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1220-1_0_3_line_31 | NAYY 4x150 SE | 27 | 29 | 0.0018021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1220-1_0_3_line_32 | NAYY 4x150 SE | 28 | 30 | 0.014583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1220-1_0_3_line_33 | NAYY 4x150 SE | 29 | 31 | 0.011041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1220-1_0_3_line_34 | NAYY 4x150 SE | 30 | 32 | 0.0043337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1220-1_0_3_line_35 | NAYY 4x150 SE | 31 | 33 | 0.014324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1220-1_0_3_line_36 | NAYY 4x150 SE | 32 | 48 | 0.013489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1220-1_0_3_line_37 | NAYY 4x150 SE | 33 | 34 | 0.019656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1220-1_0_3_line_38 | NAYY 4x150 SE | 34 | 35 | 0.014421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1220-1_0_3_line_39 | NAYY 4x150 SE | 35 | 47 | 0.014476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1220-1_0_3_line_40 | NAYY 4x150 SE | 35 | 55 | 0.014007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_1220-1_0_3_line_41 | NAYY 4x150 SE | 36 | 37 | 0.025044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1220-1_0_3_line_42 | NAYY 4x150 SE | 36 | 38 | 0.058033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1220-1_0_3_line_43 | NAYY 4x150 SE | 37 | 39 | 0.034129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1220-1_0_3_line_44 | NAYY 4x150 SE | 38 | 40 | 0.047709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1220-1_0_3_line_45 | NAYY 4x150 SE | 39 | 41 | 0.0024312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1220-1_0_3_line_46 | NAYY 4x150 SE | 40 | 42 | 0.078598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1220-1_0_3_line_47 | NAYY 4x150 SE | 40 | 43 | 0.047416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1220-1_0_3_line_48 | NAYY 4x150 SE | 42 | 46 | 0.013423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1220-1_0_3_line_49 | NAYY 4x150 SE | 43 | 47 | 0.029584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1220-1_0_3_line_50 | NAYY 4x150 SE | 44 | 45 | 0.020893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_1220-1_0_3_line_51 | NAYY 4x150 SE | 45 | 57 | 0.0086208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_1220-1_0_3_line_52 | NAYY 4x150 SE | 46 | 58 | 0.0048239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1220-1_0_3_line_53 | NAYY 4x150 SE | 47 | 56 | 0.022106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1220-1_0_3_line_54 | NAYY 4x150 SE | 48 | 49 | 0.010924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1220-1_0_3_line_55 | NAYY 4x150 SE | 48 | 50 | 0.016706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1220-1_0_3_line_56 | NAYY 4x150 SE | 49 | 51 | 0.014275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1220-1_0_3_line_57 | NAYY 4x150 SE | 50 | 52 | 0.12425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1220-1_0_3_line_58 | NAYY 4x150 SE | 51 | 53 | 0.008218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1220-1_0_3_line_59 | NAYY 4x150 SE | 54 | 60 | 0.0079808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1220-1_0_3_line_60 | NAYY 4x150 SE | 55 | 57 | 0.014775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
61 | LV_1220-1_0_3_line_61 | NAYY 4x150 SE | 58 | 59 | 0.01822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1220-1_0_3_line_62 | NAYY 4x150 SE | 60 | 61 | 0.027141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1220-1_0_3_line_63 | NAYY 4x150 SE | 62 | 63 | 0.054497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1220-1_0_3_line_64 | NAYY 4x150 SE | 63 | 64 | 0.030548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1220-1_0_3_line_65 | NAYY 4x150 SE | 63 | 65 | 0.053555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1220-1_0_3_line_66 | NAYY 4x150 SE | 65 | 67 | 0.0010932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_1220-1_0_3_line_67 | NAYY 4x150 SE | 67 | 68 | 0.075062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_1220-1_0_3_line_68 | NAYY 4x150 SE | 68 | 69 | 0.11405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_1220-1_0_3_line_69 | NAYY 4x150 SE | 69 | 70 | 0.070682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1220-1_0_3_trafo_43 | 0.25 MVA 20/0.4 kV | 71 | 5 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2688657.6427 | 1173426.6919 | 2688661.7507 | 1173425.4608 | 2688662.9288 | 1173425.4957
1 | 2688657.6427 | 1173426.6919 | 2688653.3003 | 1173427.9931 | 2688645.0652 | 1173436.0282
2 | 2688678.9084 | 1173425.9696 | 2688662.9288 | 1173425.4957
3 | 2688634.7353 | 1173450.9775 | 2688640.5041 | 1173440.4785 | 2688645.0652 | 1173436.0282
4 | 2688702.8645 | 1173426.68 | 2688678.9084 | 1173425.9696
5 | 2688634.7353 | 1173450.9775 | 2688631.042 | 1173449.889 | 2688626.9086 | 1173450.6395
6 | 2688696.0789 | 1173440.7661 | 2688702.8645 | 1173426.68
7 | 2688589.3221 | 1173466.9392 | 2688607.2399 | 1173465.5027 | 2688612.2515 | 1173463.809 | 2688626.9086 | 1173450.6395
8 | 2688690.9326 | 1173445.3595 | 2688696.0789 | 1173440.7661
9 | 2688707.844 | 1173429.2329 | 2688696.0789 | 1173440.7661
10 | 2688649.3673 | 1173500.5905 | 2688640.13 | 1173496.863 | 2688638.1699 | 1173494.4214 | 2688638.0928 | 1173494.0917
11 | 2688649.3673 | 1173500.5905 | 2688655.9056 | 1173485.6335 | 2688659.0102 | 1173479.9759 | 2688664.2432 | 1173472.6153 | 2688665.0427 | 1173471.5713
12 | 2688649.3673 | 1173500.5905 | 2688647.7043 | 1173505.4801 | 2688644.9541 | 1173518.7253 | 2688644.6236 | 1173527.6549
13 | 2688587.4212 | 1173505.557 | 2688589.8352 | 1173491.7619 | 2688587.8648 | 1173471.3649 | 2688589.3221 | 1173466.9392
14 | 2688593.4698 | 1173423.7852 | 2688590.8811 | 1173447.3391 | 2688589.3221 | 1173466.9392
15 | 2688645.3421 | 1173543.4925 | 2688644.4322 | 1173532.8263 | 2688644.6236 | 1173527.6549
16 | 2688645.3421 | 1173543.4925 | 2688645.6383 | 1173546.9638 | 2688648.4867 | 1173564.2728
17 | 2688690.9326 | 1173445.3595 | 2688673.3855 | 1173462.0772 | 2688668.0567 | 1173467.6353 | 2688665.0427 | 1173471.5713
18 | 2688690.9326 | 1173445.3595 | 2688692.946 | 1173471.6165 | 2688693.8005 | 1173473.3079 | 2688696.0554 | 1173475.4647 | 2688698.4205 | 1173477.412
19 | 2688587.4212 | 1173505.557 | 2688596.7293 | 1173550.5885 | 2688597.3181 | 1173558.8801 | 2688597.85 | 1173564.8138 | 2688598.6861 | 1173570.8631 | 2688600.5544 | 1173575.8938
20 | 2688587.4212 | 1173505.557 | 2688585.3059 | 1173514.1421 | 2688585.3225 | 1173523.3813 | 2688589.3286 | 1173535.3922 | 2688591.5184 | 1173544.0298 | 2688591.4662 | 1173551.7115 | 2688589.044 | 1173558.8135 | 2688582.6718 | 1173566.6798
21 | 2688593.4698 | 1173423.7852 | 2688589.5056 | 1173420.3245
22 | 2688582.6718 | 1173566.6798 | 2688570.3783 | 1173588.6563 | 2688570.4035 | 1173592.1632
23 | 2688582.6718 | 1173566.6798 | 2688576.0149 | 1173569.4833 | 2688570.1042 | 1173568.8846 | 2688567.1617 | 1173565.1278 | 2688564.4064 | 1173556.9711 | 2688561.3349 | 1173552.4363
24 | 2688589.5056 | 1173420.3245 | 2688586.3382 | 1173413.6626 | 2688583.7813 | 1173406.0536 | 2688579.9827 | 1173399.1489 | 2688576.8558 | 1173395.9563
25 | 2688589.5056 | 1173420.3245 | 2688588.6936 | 1173431.1007
26 | 2688547.3517 | 1173659.56 | 2688566.4824 | 1173630.3132 | 2688570.5136 | 1173607.4698 | 2688570.4035 | 1173592.1632
27 | 2688586.5392 | 1173455.48 | 2688587.4796 | 1173447.2111 | 2688588.6936 | 1173431.1007
28 | 2688725.8303 | 1173333.0237 | 2688724.6361 | 1173329.1087 | 2688722.7707 | 1173322.3325 | 2688722.6898 | 1173322
29 | 2688725.8303 | 1173333.0237 | 2688726.5984 | 1173335.5416
30 | 2688720.7392 | 1173313.9842 | 2688722.6898 | 1173322
31 | 2688727.2433 | 1173337.2244 | 2688726.5984 | 1173335.5416 | 2688726.5984 | 1173335.5416
32 | 2688720.7392 | 1173313.9842 | 2688718.8988 | 1173306.4211 | 2688717.6631 | 1173299.7347
33 | 2688727.2433 | 1173337.2244 | 2688729.5293 | 1173343.1896 | 2688731.3847 | 1173347.4566
34 | 2688716.8755 | 1173295.4732 | 2688717.6631 | 1173299.7347
35 | 2688737.0777 | 1173360.6004 | 2688733.738 | 1173352.8688 | 2688731.3847 | 1173347.4566
36 | 2688714.8982 | 1173282.1472 | 2688715.2376 | 1173286.6105 | 2688716.8755 | 1173295.4732
37 | 2688745.4886 | 1173378.3627 | 2688743.6038 | 1173374.6168 | 2688738.0493 | 1173362.8498 | 2688737.0777 | 1173360.6004
38 | 2688751.4384 | 1173391.4874 | 2688748.5298 | 1173384.4068 | 2688745.4886 | 1173378.3627
39 | 2688756.9767 | 1173404.8664 | 2688751.4384 | 1173391.4874
40 | 2688751.4384 | 1173391.4874 | 2688743.0923 | 1173395.7555 | 2688739.1991 | 1173398.2661
41 | 2688739.8474 | 1173573.0715 | 2688759.8762 | 1173558.0368
42 | 2688802.4196 | 1173520.7981 | 2688771.3111 | 1173540.7058 | 2688763.5082 | 1173555.3105 | 2688759.8762 | 1173558.0368
43 | 2688739.8474 | 1173573.0715 | 2688712.5532 | 1173593.56
44 | 2688783.0791 | 1173477.2855 | 2688785.8366 | 1173484.2416 | 2688788.3436 | 1173491.5832 | 2688794.4686 | 1173506.1271 | 2688802.4196 | 1173520.7981
45 | 2688710.6088 | 1173595.0195 | 2688712.5532 | 1173593.56
46 | 2688783.0791 | 1173477.2855 | 2688758.8901 | 1173489.0461 | 2688749.4315 | 1173488.9062 | 2688731.0684 | 1173500.8087 | 2688726.9122 | 1173512.4099 | 2688722.1983 | 1173518.9175
47 | 2688767.1126 | 1173432.6443 | 2688768.4182 | 1173436.4104 | 2688774.6338 | 1173454.1464 | 2688776.0285 | 1173457.5803 | 2688781.5319 | 1173473.3046 | 2688783.0791 | 1173477.2855
48 | 2688713.1429 | 1173528.6745 | 2688718.0117 | 1173524.697 | 2688722.1983 | 1173518.9175
49 | 2688756.9767 | 1173404.8664 | 2688759.3536 | 1173410.1492 | 2688764.5016 | 1173425.09 | 2688767.1126 | 1173432.6443
50 | 2688707.844 | 1173429.2329 | 2688721.6709 | 1173413.5691
51 | 2688727.6964 | 1173407.4075 | 2688722.763 | 1173412.3319 | 2688721.6709 | 1173413.5691
52 | 2688713.1429 | 1173528.6745 | 2688709.4072 | 1173531.7264
53 | 2688756.9767 | 1173404.8664 | 2688778.0835 | 1173398.2966
54 | 2688714.8982 | 1173282.1472 | 2688721.7023 | 1173273.6012
55 | 2688714.8982 | 1173282.1472 | 2688713.6342 | 1173265.7296 | 2688713.6248 | 1173265.4897
56 | 2688730.5935 | 1173262.4337 | 2688721.7023 | 1173273.6012
57 | 2688713.6248 | 1173265.4897 | 2688589.4052 | 1173268.2187
58 | 2688730.5935 | 1173262.4337 | 2688735.358 | 1173263.4937 | 2688736.2393 | 1173260.2752
59 | 2688698.4205 | 1173477.412 | 2688698.2886 | 1173485.3917
60 | 2688727.6964 | 1173407.4075 | 2688732.5752 | 1173402.5376 | 2688739.1991 | 1173398.2661
61 | 2688698.7677 | 1173546.0146 | 2688703.3879 | 1173536.6438 | 2688709.4072 | 1173531.7264
62 | 2688683.6109 | 1173506.0663 | 2688695.9169 | 1173496.2198 | 2688697.6081 | 1173493.5654 | 2688698.2028 | 1173490.5835 | 2688698.2886 | 1173485.3917
63 | 2688547.3742 | 1173682.9079 | 2688601.8709 | 1173683.0401
64 | 2688547.3517 | 1173659.56 | 2688554.3144 | 1173678.5187 | 2688553.9646 | 1173681.4931 | 2688552.3886 | 1173683.082 | 2688550.3779 | 1173683.5526 | 2688547.3742 | 1173682.9079
65 | 2688547.3742 | 1173682.9079 | 2688538.506 | 1173666.1002 | 2688527.1944 | 1173652.6585 | 2688522.5046 | 1173641.8828 | 2688520.2617 | 1173640.471 | 2688517.687 | 1173640.2885
66 | 2688517.687 | 1173640.2885 | 2688516.7943 | 1173640.9196
67 | 2688516.7943 | 1173640.9196 | 2688445.491 | 1173617.4661
68 | 2688403.5202 | 1173717.0643 | 2688426.5922 | 1173697.4366 | 2688438.3121 | 1173679.0424 | 2688445.491 | 1173617.4661
69 | 2688403.5202 | 1173717.0643 | 2688374.8679 | 1173733.9305 | 2688350.8374 | 1173762.6332

## bus_geodata
| x | y | coords
0 | 2688657.6427 | 1173426.6919
1 | 2688662.9288 | 1173425.4957
2 | 2688645.0652 | 1173436.0282
3 | 2688678.9084 | 1173425.9696
4 | 2688634.7353 | 1173450.9775
5 | 2688702.8645 | 1173426.68
6 | 2688626.9086 | 1173450.6395
7 | 2688696.0789 | 1173440.7661
8 | 2688638.0928 | 1173494.0917
9 | 2688649.3673 | 1173500.5905
10 | 2688589.3221 | 1173466.9392
11 | 2688645.3421 | 1173543.4925
12 | 2688644.6236 | 1173527.6549
13 | 2688648.4867 | 1173564.2728
14 | 2688665.0427 | 1173471.5713
15 | 2688690.9326 | 1173445.3595
16 | 2688587.4212 | 1173505.557
17 | 2688593.4698 | 1173423.7852
18 | 2688600.5544 | 1173575.8938
19 | 2688582.6718 | 1173566.6798
20 | 2688589.5056 | 1173420.3245
21 | 2688570.4035 | 1173592.1632
22 | 2688561.3349 | 1173552.4363
23 | 2688576.8558 | 1173395.9563
24 | 2688588.6936 | 1173431.1007
25 | 2688725.8303 | 1173333.0237
26 | 2688722.6898 | 1173322
27 | 2688726.5984 | 1173335.5416
28 | 2688720.7392 | 1173313.9842
29 | 2688727.2433 | 1173337.2244
30 | 2688717.6631 | 1173299.7347
31 | 2688731.3847 | 1173347.4566
32 | 2688716.8755 | 1173295.4732
33 | 2688737.0777 | 1173360.6004
34 | 2688745.4886 | 1173378.3627
35 | 2688751.4384 | 1173391.4874
36 | 2688759.8762 | 1173558.0368
37 | 2688739.8474 | 1173573.0715
38 | 2688802.4196 | 1173520.7981
39 | 2688712.5532 | 1173593.56
40 | 2688783.0791 | 1173477.2855
41 | 2688710.6088 | 1173595.0195
42 | 2688722.1983 | 1173518.9175
43 | 2688767.1126 | 1173432.6443
44 | 2688707.844 | 1173429.2329
45 | 2688721.6709 | 1173413.5691
46 | 2688713.1429 | 1173528.6745
47 | 2688756.9767 | 1173404.8664
48 | 2688714.8982 | 1173282.1472
49 | 2688721.7023 | 1173273.6012
50 | 2688713.6248 | 1173265.4897
51 | 2688730.5935 | 1173262.4337
52 | 2688589.4052 | 1173268.2187
53 | 2688736.2393 | 1173260.2752
54 | 2688698.4205 | 1173477.412
55 | 2688739.1991 | 1173398.2661
56 | 2688778.0835 | 1173398.2966
57 | 2688727.6964 | 1173407.4075
58 | 2688709.4072 | 1173531.7264
59 | 2688698.7677 | 1173546.0146
60 | 2688698.2886 | 1173485.3917
61 | 2688683.6109 | 1173506.0663
62 | 2688601.8709 | 1173683.0401
63 | 2688547.3742 | 1173682.9079
64 | 2688547.3517 | 1173659.56
65 | 2688517.687 | 1173640.2885
66 | 2688586.5391 | 1173455.48
67 | 2688516.7943 | 1173640.9196
68 | 2688445.491 | 1173617.4661
69 | 2688403.5202 | 1173717.0643
70 | 2688350.8374 | 1173762.6332
71 | 2688696.0789 | 1173440.7661

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99759 | -0.016852 | 0.0033232 | 0.00083288
1 | 0.99786 | -0.014934 | 0.0010652 | 0.00026696
2 | 0.99686 | -0.021947 | 0.0013163 | 0.00032988
3 | 0.99869 | -0.0091636 | 0.0022141 | 0.00055492
4 | 0.99606 | -0.027542 | 0 | 0
5 | 1 | 0 | -0.22379 | -0.056264
6 | 0.99571 | -0.03 | 0.0010894 | 0.00027303
7 | 0.99794 | -0.014223 | 0 | 0
8 | 0.99688 | -0.021649 | 0.0022833 | 0.00057225
9 | 0.99693 | -0.021341 | 0 | 0
10 | 0.99391 | -0.042672 | 0 | 0
11 | 0.9967 | -0.022942 | 0.0017139 | 0.00042954
12 | 0.99676 | -0.022515 | 0.0015523 | 0.00038903
13 | 0.99667 | -0.023145 | 0.00096003 | 0.0002406
14 | 0.99724 | -0.019174 | 0.0030071 | 0.00075366
15 | 0.99774 | -0.015647 | 0 | 0
16 | 0.99328 | -0.047133 | 0 | 0
17 | 0.9928 | -0.050553 | 0 | 0
18 | 0.99303 | -0.048909 | 0.0024433 | 0.00061236
19 | 0.99246 | -0.05293 | 0 | 0
20 | 0.99266 | -0.051509 | 0 | 0
21 | 0.99214 | -0.055223 | 0.0016805 | 0.00042117
22 | 0.99242 | -0.053228 | 0.00091931 | 0.0002304
23 | 0.99247 | -0.052864 | 0.0048231 | 0.0012088
24 | 0.99246 | -0.052947 | 0.0067331 | 0.0016875
25 | 0.98168 | -0.12831 | 0.0045147 | 0.0011315
26 | 0.9806 | -0.136 | 0.011643 | 0.002918
27 | 0.98194 | -0.12642 | 0.0037361 | 0.00093636
28 | 0.97996 | -0.14054 | 0.0060517 | 0.0015167
29 | 0.98214 | -0.12506 | 0.0054786 | 0.0013731
30 | 0.97896 | -0.14767 | 0.0049092 | 0.0012304
31 | 0.9834 | -0.11611 | 0.0037918 | 0.00095031
32 | 0.9787 | -0.14957 | 0.010694 | 0.0026802
33 | 0.98511 | -0.10398 | 0.0049103 | 0.0012306
34 | 0.9876 | -0.086411 | 0.0074592 | 0.0018695
35 | 0.98958 | -0.072481 | 0 | 0
36 | 0.98224 | -0.12449 | 0.0060974 | 0.0015282
37 | 0.98177 | -0.12781 | 0.0054979 | 0.0013779
38 | 0.98383 | -0.11317 | 0 | 0
39 | 0.98141 | -0.13038 | 0.0034722 | 0.00087022
40 | 0.98514 | -0.10388 | 0 | 0
41 | 0.9814 | -0.13048 | 0.0038167 | 0.00095657
42 | 0.98366 | -0.11442 | 0.0034617 | 0.00086758
43 | 0.98733 | -0.088354 | 0 | 0
44 | 0.99602 | -0.027545 | 0 | 0
45 | 0.99358 | -0.044535 | 0.0051476 | 0.0012901
46 | 0.98347 | -0.11574 | 0.0037964 | 0.00095148
47 | 0.9887 | -0.078698 | 0 | 0
48 | 0.97808 | -0.15399 | 0 | 0
49 | 0.97772 | -0.15654 | 0.014747 | 0.0036961
50 | 0.97786 | -0.15555 | 0.0070906 | 0.0017771
51 | 0.97756 | -0.15768 | 0 | 0
52 | 0.97752 | -0.15799 | 0.0018731 | 0.00046944
53 | 0.97747 | -0.15834 | 0.0076635 | 0.0019207
54 | 0.99719 | -0.019479 | 0 | 0
55 | 0.99097 | -0.062738 | 0.015296 | 0.0038335
56 | 0.98838 | -0.080995 | 0.010174 | 0.00255
57 | 0.9926 | -0.051345 | 0.0041228 | 0.0010333
58 | 0.98343 | -0.11603 | 0.0037361 | 0.00093635
59 | 0.98338 | -0.11641 | 0.002013 | 0.00050451
60 | 0.99707 | -0.020369 | 0.0042638 | 0.0010686
61 | 0.9968 | -0.022231 | 0.0068335 | 0.0017126
62 | 0.99115 | -0.06224 | 0.00085162 | 0.00021344
63 | 0.99122 | -0.061767 | 0 | 0
64 | 0.99149 | -0.059845 | 0 | 0
65 | 0.99081 | -0.064671 | 0.0015052 | 0.00037725
66 | 0.99223 | -0.054536 | 0.0064022 | 0.0016045
67 | 0.9908 | -0.064713 | 0.0010627 | 0.00026635
68 | 0.99051 | -0.066821 | 0 | 0
69 | 0.99006 | -0.070016 | 0 | 0
70 | 0.98978 | -0.071991 | 0.0027401 | 0.00068673
71 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.035052 | -0.0087949 | 0.035062 | 0.0087984 | 9.3271e-06 | 3.5159e-06 | 0.052288 | 0.052288 | 0.052288 | 0.99759 | -0.016852 | 0.99786 | -0.014934 | 19.3659
1 | 0.031729 | 0.007962 | -0.031707 | -0.0079536 | 2.242e-05 | 8.414e-06 | 0.047331 | 0.047331 | 0.047331 | 0.99759 | -0.016852 | 0.99686 | -0.021947 | 17.53
2 | -0.036127 | -0.0090654 | 0.036156 | 0.0090763 | 2.8956e-05 | 1.0928e-05 | 0.053876 | 0.053876 | 0.053876 | 0.99786 | -0.014934 | 0.99869 | -0.0091636 | 19.9542
3 | 0.03039 | 0.0076238 | -0.030367 | -0.0076149 | 2.3569e-05 | 8.8258e-06 | 0.045366 | 0.045366 | 0.045366 | 0.99686 | -0.021947 | 0.99606 | -0.027542 | 16.8023
4 | -0.03837 | -0.0096313 | 0.038419 | 0.0096497 | 4.8888e-05 | 1.8489e-05 | 0.057175 | 0.057175 | 0.057175 | 0.99869 | -0.0091636 | 1 | 0 | 21.176
5 | 0.030367 | 0.0076149 | -0.030356 | -0.0076111 | 1.034e-05 | 3.8722e-06 | 0.045366 | 0.045366 | 0.045366 | 0.99606 | -0.027542 | 0.99571 | -0.03 | 16.8023
6 | 0.18457 | 0.046614 | -0.1842 | -0.046472 | 0.0003683 | 0.00014124 | 0.27477 | 0.27477 | 0.27477 | 1 | 0 | 0.99794 | -0.014223 | 50.8832
7 | 0.029267 | 0.007338 | -0.029216 | -0.0073189 | 5.1295e-05 | 1.9171e-05 | 0.043738 | 0.043738 | 0.043738 | 0.99571 | -0.03 | 0.99391 | -0.042672 | 16.1994
8 | 0.020635 | 0.0051713 | -0.02063 | -0.0051699 | 4.0688e-06 | 1.475e-06 | 0.030768 | 0.030768 | 0.030768 | 0.99794 | -0.014223 | 0.99774 | -0.015647 | 11.3955
9 | 0.16357 | 0.041301 | -0.16326 | -0.041184 | 0.00030564 | 0.00011713 | 0.244 | 0.244 | 0.244 | 0.99794 | -0.014223 | 0.99602 | -0.027545 | 45.1855
10 | -0.0022833 | -0.00057225 | 0.0022834 | 0.00057211 | 9.7347e-08 | -1.3767e-07 | 0.0034082 | 0.0034081 | 0.0034082 | 0.99688 | -0.021649 | 0.99693 | -0.021341 | 1.2623
11 | -0.0065104 | -0.0016308 | 0.0065124 | 0.0016311 | 1.9516e-06 | 3.1859e-07 | 0.0097171 | 0.009717 | 0.0097171 | 0.99693 | -0.021341 | 0.99724 | -0.019174 | 3.5989
12 | 0.004227 | 0.0010587 | -0.0042263 | -0.0010588 | 6.8622e-07 | -9.6246e-08 | 0.006309 | 0.0063091 | 0.0063091 | 0.99693 | -0.021341 | 0.99676 | -0.022515 | 2.3367
13 | 0.01123 | 0.0028091 | -0.011223 | -0.002807 | 6.9066e-06 | 2.1492e-06 | 0.016811 | 0.016812 | 0.016812 | 0.99391 | -0.042672 | 0.99328 | -0.047133 | 6.2265
14 | 0.017985 | 0.0045097 | -0.017966 | -0.0045027 | 1.9622e-05 | 6.9854e-06 | 0.026927 | 0.026927 | 0.026927 | 0.99391 | -0.042672 | 0.9928 | -0.050553 | 9.9731
15 | -0.0026739 | -0.00066988 | 0.0026741 | 0.00066973 | 1.579e-07 | -1.4624e-07 | 0.0039919 | 0.0039918 | 0.0039919 | 0.9967 | -0.022942 | 0.99676 | -0.022515 | 1.4785
16 | 0.00096005 | 0.00024034 | -0.00096003 | -0.0002406 | 2.6952e-08 | -2.6365e-07 | 0.0014332 | 0.0014333 | 0.0014333 | 0.9967 | -0.022942 | 0.99667 | -0.023145 | 0.53085
17 | -0.0095195 | -0.0023847 | 0.0095241 | 0.0023861 | 4.6446e-06 | 1.3048e-06 | 0.014204 | 0.014204 | 0.014204 | 0.99724 | -0.019174 | 0.99774 | -0.015647 | 5.2607
18 | 0.011106 | 0.0027838 | -0.0111 | -0.002782 | 5.8908e-06 | 1.8166e-06 | 0.016564 | 0.016564 | 0.016564 | 0.99774 | -0.015647 | 0.99719 | -0.019479 | 6.1348
19 | 0.0024439 | 0.00061166 | -0.0024433 | -0.00061236 | 5.9998e-07 | -6.9752e-07 | 0.0036609 | 0.0036612 | 0.0036612 | 0.99328 | -0.047133 | 0.99303 | -0.048909 | 1.356
20 | 0.0087795 | 0.0021953 | -0.0087725 | -0.0021935 | 7.01e-06 | 1.8561e-06 | 0.013151 | 0.013151 | 0.013151 | 0.99328 | -0.047133 | 0.99246 | -0.05293 | 4.8707
21 | 0.017966 | 0.0045027 | -0.017963 | -0.0045019 | 2.3772e-06 | 8.4637e-07 | 0.026927 | 0.026927 | 0.026927 | 0.9928 | -0.050553 | 0.99266 | -0.051509 | 9.9731
22 | 0.0078532 | 0.0019635 | -0.0078507 | -0.0019629 | 2.4811e-06 | 5.8368e-07 | 0.011773 | 0.011773 | 0.011773 | 0.99246 | -0.05293 | 0.99214 | -0.055223 | 4.3603
23 | 0.00091935 | 0.00023 | -0.00091931 | -0.0002304 | 3.7962e-08 | -3.9919e-07 | 0.0013783 | 0.0013784 | 0.0013784 | 0.99246 | -0.05293 | 0.99242 | -0.053228 | 0.51052
24 | 0.004824 | 0.0012088 | -0.0048231 | -0.0012088 | 9.0513e-07 | -1.0408e-08 | 0.0072311 | 0.0072313 | 0.0072313 | 0.99266 | -0.051509 | 0.99247 | -0.052864 | 2.6782
25 | 0.013139 | 0.0032931 | -0.013137 | -0.0032922 | 2.616e-06 | 8.6649e-07 | 0.019696 | 0.019696 | 0.019696 | 0.99266 | -0.051509 | 0.99246 | -0.052947 | 7.2949
26 | 0.0061702 | 0.0015417 | -0.0061663 | -0.0015412 | 3.9238e-06 | 5.6125e-07 | 0.0092524 | 0.0092528 | 0.0092528 | 0.99214 | -0.055223 | 0.99149 | -0.059845 | 3.4269
27 | 0.0064036 | 0.0016048 | -0.0064022 | -0.0016045 | 1.408e-06 | 2.2531e-07 | 0.009601 | 0.0096012 | 0.0096012 | 0.99246 | -0.052947 | 0.99223 | -0.054536 | 3.556
28 | 0.064865 | 0.016279 | -0.064795 | -0.016253 | 6.9162e-05 | 2.6456e-05 | 0.098329 | 0.098329 | 0.098329 | 0.98168 | -0.12831 | 0.9806 | -0.136 | 36.4181
29 | -0.069379 | -0.017411 | 0.069397 | 0.017418 | 1.817e-05 | 6.9552e-06 | 0.10517 | 0.10517 | 0.10517 | 0.98168 | -0.12831 | 0.98194 | -0.12642 | 38.9527
30 | 0.053152 | 0.013335 | -0.053119 | -0.013322 | 3.3493e-05 | 1.2778e-05 | 0.080661 | 0.080661 | 0.080661 | 0.9806 | -0.136 | 0.97996 | -0.14054 | 29.8746
31 | -0.073134 | -0.018354 | 0.073147 | 0.01836 | 1.3814e-05 | 5.2903e-06 | 0.11083 | 0.11083 | 0.11083 | 0.98194 | -0.12642 | 0.98214 | -0.12506 | 41.0496
32 | 0.047067 | 0.011806 | -0.047021 | -0.011788 | 4.6486e-05 | 1.7696e-05 | 0.071472 | 0.071472 | 0.071472 | 0.97996 | -0.14054 | 0.97896 | -0.14767 | 26.4712
33 | -0.078626 | -0.019733 | 0.078724 | 0.01977 | 9.7785e-05 | 3.747e-05 | 0.11913 | 0.11913 | 0.11913 | 0.98214 | -0.12506 | 0.9834 | -0.11611 | 44.1239
34 | 0.042112 | 0.010557 | -0.042101 | -0.010553 | 1.108e-05 | 4.2071e-06 | 0.06401 | 0.06401 | 0.06401 | 0.97896 | -0.14767 | 0.9787 | -0.14957 | 23.7076
35 | -0.082516 | -0.02072 | 0.082655 | 0.020774 | 0.00013937 | 5.3422e-05 | 0.12487 | 0.12487 | 0.12487 | 0.9834 | -0.11611 | 0.98511 | -0.10398 | 46.2489
36 | 0.031406 | 0.007873 | -0.031387 | -0.0078658 | 1.9192e-05 | 7.2122e-06 | 0.047751 | 0.047751 | 0.047751 | 0.9787 | -0.14957 | 0.97808 | -0.15399 | 17.6855
37 | -0.087565 | -0.022004 | 0.08778 | 0.022087 | 0.00021464 | 8.2305e-05 | 0.13229 | 0.13229 | 0.13229 | 0.98511 | -0.10398 | 0.9876 | -0.086411 | 48.9959
38 | -0.095239 | -0.023956 | 0.095424 | 0.024027 | 0.00018537 | 7.1112e-05 | 0.14353 | 0.14353 | 0.14353 | 0.9876 | -0.086411 | 0.98958 | -0.072481 | 53.1584
39 | 0.042301 | 0.010628 | -0.042265 | -0.010614 | 3.6558e-05 | 1.3875e-05 | 0.063617 | 0.063617 | 0.063617 | 0.98958 | -0.072481 | 0.9887 | -0.078698 | 23.562
40 | -0.13773 | -0.034656 | 0.13791 | 0.034727 | 0.00018752 | 7.1761e-05 | 0.20714 | 0.20714 | 0.20714 | 0.98958 | -0.072481 | 0.99097 | -0.062738 | 38.3601
41 | 0.012795 | 0.0032072 | -0.012789 | -0.0032052 | 5.8719e-06 | 1.9416e-06 | 0.019384 | 0.019384 | 0.019384 | 0.98224 | -0.12449 | 0.98177 | -0.12781 | 7.1793
42 | -0.018893 | -0.0047353 | 0.018922 | 0.004746 | 2.9664e-05 | 1.0673e-05 | 0.028621 | 0.028621 | 0.028621 | 0.98224 | -0.12449 | 0.98383 | -0.11317 | 10.6004
43 | 0.0072916 | 0.0018273 | -0.007289 | -0.0018268 | 2.601e-06 | 5.6898e-07 | 0.011051 | 0.011052 | 0.011052 | 0.98177 | -0.12781 | 0.98141 | -0.13038 | 4.0932
44 | -0.018922 | -0.004746 | 0.018947 | 0.0047548 | 2.4386e-05 | 8.7727e-06 | 0.028621 | 0.028621 | 0.028621 | 0.98383 | -0.11317 | 0.98514 | -0.10388 | 10.6003
45 | 0.0038168 | 0.00095655 | -0.0038167 | -0.00095657 | 5.0806e-08 | -1.118e-08 | 0.005787 | 0.005787 | 0.005787 | 0.98141 | -0.13038 | 0.9814 | -0.13048 | 2.1433
46 | 0.013028 | 0.0032666 | -0.013009 | -0.0032603 | 1.8994e-05 | 6.3062e-06 | 0.019679 | 0.01968 | 0.01968 | 0.98514 | -0.10388 | 0.98366 | -0.11442 | 7.2887
47 | -0.031975 | -0.0080213 | 0.032044 | 0.0080473 | 6.9025e-05 | 2.5943e-05 | 0.0483 | 0.0483 | 0.0483 | 0.98514 | -0.10388 | 0.98733 | -0.088354 | 17.8889
48 | 0.0095476 | 0.0023927 | -0.0095459 | -0.0023922 | 1.7473e-06 | 5.0167e-07 | 0.014443 | 0.014443 | 0.014443 | 0.98366 | -0.11442 | 0.98347 | -0.11574 | 5.3493
49 | -0.032044 | -0.0080473 | 0.032087 | 0.0080635 | 4.3065e-05 | 1.6185e-05 | 0.0483 | 0.0483 | 0.0483 | 0.98733 | -0.088354 | 0.9887 | -0.078698 | 17.8888
50 | 0.16326 | 0.041184 | -0.16287 | -0.041035 | 0.00038811 | 0.00014873 | 0.244 | 0.244 | 0.244 | 0.99602 | -0.027545 | 0.99358 | -0.044535 | 45.1855
51 | 0.15773 | 0.039745 | -0.15758 | -0.039688 | 0.00015018 | 5.7537e-05 | 0.23629 | 0.23629 | 0.23629 | 0.99358 | -0.044535 | 0.9926 | -0.051345 | 43.7579
52 | 0.0057494 | 0.0014407 | -0.0057492 | -0.0014407 | 2.2778e-07 | 2.6399e-08 | 0.0086989 | 0.008699 | 0.008699 | 0.98347 | -0.11574 | 0.98343 | -0.11603 | 3.2218
53 | 0.010178 | 0.0025509 | -0.010174 | -0.00255 | 3.2365e-06 | 9.6142e-07 | 0.015318 | 0.015318 | 0.015318 | 0.9887 | -0.078698 | 0.98838 | -0.080995 | 5.6733
54 | 0.022421 | 0.0056201 | -0.022413 | -0.0056172 | 7.9312e-06 | 2.9134e-06 | 0.034111 | 0.034111 | 0.034111 | 0.97808 | -0.15399 | 0.97772 | -0.15654 | 12.6335
55 | 0.0089663 | 0.0022457 | -0.0089643 | -0.0022452 | 1.9397e-06 | 5.364e-07 | 0.01364 | 0.013641 | 0.013641 | 0.97808 | -0.15399 | 0.97786 | -0.15555 | 5.052
56 | 0.0076654 | 0.0019211 | -0.0076642 | -0.0019208 | 1.2123e-06 | 2.8727e-07 | 0.011666 | 0.011666 | 0.011666 | 0.97772 | -0.15654 | 0.97756 | -0.15768 | 4.3208
57 | 0.0018737 | 0.00046813 | -0.0018731 | -0.00046944 | 6.302e-07 | -1.3158e-06 | 0.0028507 | 0.0028513 | 0.0028513 | 0.97786 | -0.15555 | 0.97752 | -0.15799 | 1.056
58 | 0.0076642 | 0.0019208 | -0.0076635 | -0.0019207 | 6.9794e-07 | 1.6542e-07 | 0.011666 | 0.011666 | 0.011666 | 0.97756 | -0.15768 | 0.97747 | -0.15834 | 4.3208
59 | 0.0111 | 0.002782 | -0.011099 | -0.0027816 | 1.3664e-06 | 4.2143e-07 | 0.016564 | 0.016564 | 0.016564 | 0.99719 | -0.019479 | 0.99707 | -0.020369 | 6.1349
60 | -0.15321 | -0.038561 | 0.15345 | 0.038654 | 0.0002441 | 9.3503e-05 | 0.23011 | 0.23011 | 0.23011 | 0.99097 | -0.062738 | 0.9926 | -0.051345 | 42.6134
61 | 0.0020131 | 0.00050432 | -0.002013 | -0.00050451 | 1.0549e-07 | -1.906e-07 | 0.0030459 | 0.003046 | 0.003046 | 0.98343 | -0.11603 | 0.98338 | -0.11641 | 1.1282
62 | 0.0068353 | 0.001713 | -0.0068335 | -0.0017126 | 1.7623e-06 | 3.2393e-07 | 0.010201 | 0.010201 | 0.010201 | 0.99707 | -0.020369 | 0.9968 | -0.022231 | 3.7781
63 | -0.00085162 | -0.00021344 | 0.00085168 | 0.00021276 | 5.5577e-08 | -6.8104e-07 | 0.0012785 | 0.0012783 | 0.0012785 | 0.99115 | -0.06224 | 0.99122 | -0.061767 | 0.47353
64 | -0.0061646 | -0.0015409 | 0.0061663 | 0.0015412 | 1.632e-06 | 2.3382e-07 | 0.0092529 | 0.0092528 | 0.0092529 | 0.99122 | -0.061767 | 0.99149 | -0.059845 | 3.427
65 | 0.005313 | 0.0013282 | -0.0053108 | -0.001328 | 2.1253e-06 | 1.2738e-07 | 0.0079746 | 0.0079749 | 0.0079749 | 0.99122 | -0.061767 | 0.99081 | -0.064671 | 2.9536
66 | 0.0038056 | 0.00095079 | -0.0038056 | -0.00095079 | 2.2274e-08 | -5.5126e-09 | 0.0057142 | 0.0057143 | 0.0057143 | 0.99081 | -0.064671 | 0.9908 | -0.064713 | 2.1164
67 | 0.0027428 | 0.00068444 | -0.002742 | -0.00068511 | 7.9443e-07 | -6.6089e-07 | 0.0041182 | 0.0041185 | 0.0041185 | 0.9908 | -0.064713 | 0.99051 | -0.066821 | 1.5254
68 | 0.002742 | 0.00068511 | -0.0027408 | -0.00068611 | 1.2073e-06 | -1.003e-06 | 0.0041185 | 0.0041191 | 0.0041191 | 0.99051 | -0.066821 | 0.99006 | -0.070016 | 1.5256
69 | 0.0027408 | 0.00068611 | -0.0027401 | -0.00068673 | 7.4838e-07 | -6.2086e-07 | 0.0041191 | 0.0041194 | 0.0041194 | 0.99006 | -0.070016 | 0.98978 | -0.071991 | 1.5257

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.22752 | 0.057199

## res_load
| p_mw | q_mvar
0 | 0.0033232 | 0.00083288
1 | 0.0010652 | 0.00026696
2 | 0.0013163 | 0.00032988
3 | 0.0022141 | 0.00055492
4 | 0.0037328 | 0.00093554
5 | 0.0010894 | 0.00027303
6 | 0.0022833 | 0.00057225
7 | 0.0017139 | 0.00042954
8 | 0.0015523 | 0.00038903
9 | 0.00096003 | 0.0002406
10 | 0.0030071 | 0.00075366
11 | 0.0024433 | 0.00061236
12 | 0.0016805 | 0.00042117
13 | 0.00091931 | 0.0002304
14 | 0.0048231 | 0.0012088
15 | 0.0067331 | 0.0016875
16 | 0.0045147 | 0.0011315
17 | 0.011643 | 0.002918
18 | 0.0037361 | 0.00093636
19 | 0.0060517 | 0.0015167
20 | 0.0054786 | 0.0013731
21 | 0.0049092 | 0.0012304
22 | 0.0037918 | 0.00095031
23 | 0.010694 | 0.0026802
24 | 0.0049103 | 0.0012306
25 | 0.0074592 | 0.0018695
26 | 0.0060974 | 0.0015282
27 | 0.0054979 | 0.0013779
28 | 0.0034722 | 0.00087022
29 | 0.0038167 | 0.00095657
30 | 0.0034617 | 0.00086758
31 | 0.0051476 | 0.0012901
32 | 0.0037964 | 0.00095148
33 | 0.014747 | 0.0036961
34 | 0.0070906 | 0.0017771
35 | 0.0018731 | 0.00046944
36 | 0.0076635 | 0.0019207
37 | 0.015296 | 0.0038335
38 | 0.010174 | 0.00255
39 | 0.0041228 | 0.0010333
40 | 0.0037361 | 0.00093635
41 | 0.002013 | 0.00050451
42 | 0.0042638 | 0.0010686
43 | 0.0068335 | 0.0017126
44 | 0.00085162 | 0.00021344
45 | 0.0015052 | 0.00037725
46 | 0.0064022 | 0.0016045
47 | 0.0010627 | 0.00026635
48 | 0.0027401 | 0.00068673

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1