## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1311-16_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1311-16_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1311-16_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1311-16_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1311-16_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1311-16_0_3_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_1311-16_0_3_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_1311-16_0_3_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_1311-16_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1311-16_0_3_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_1311-16_0_3_node_21 | 0.4 | n |  | TRUE
11 | bus_LV_1311-16_0_3_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_1311-16_0_3_node_33 | 0.4 | n |  | TRUE
13 | bus_LV_1311-16_0_3_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_1311-16_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1311-16_0_3_node_35 | 0.4 | n |  | TRUE
16 | bus_LV_1311-16_0_3_node_31 | 0.4 | n |  | TRUE
17 | bus_LV_1311-16_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_1311-16_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1311-16_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_1311-16_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_1311-16_0_3_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_1311-16_0_3_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_1311-16_0_3_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_1311-16_0_3_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_1311-16_0_3_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_1311-16_0_3_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_1311-16_0_3_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_1311-16_0_3_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_1311-16_0_3_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_1311-16_0_3_node_37 | 0.4 | n |  | TRUE
31 | bus_LV_1311-16_0_3_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_1311-16_0_3_node_36 | 0.4 | n |  | TRUE
33 | bus_MV_127_0_node_40 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1311-16_0_3_load_0 | 0 | 0.004227 | 0.0010594 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1311-16_0_3_load_1 | 1 | 0.0052941 | 0.0013268 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1311-16_0_3_load_2 | 2 | 0.013183 | 0.0033039 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1311-16_0_3_load_4 | 4 | 0.0058156 | 0.0014575 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1311-16_0_3_load_9 | 7 | 0.010023 | 0.0025121 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1311-16_0_3_load_5 | 8 | 0.0050681 | 0.0012702 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1311-16_0_3_load_21 | 10 | 0.0054451 | 0.0013647 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1311-16_0_3_load_11 | 11 | 0.0040738 | 0.001021 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1311-16_0_3_load_33 | 12 | 0.0072198 | 0.0018094 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1311-16_0_3_load_6 | 13 | 0.011335 | 0.0028408 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1311-16_0_3_load_8 | 14 | 0.027625 | 0.0069235 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1311-16_0_3_load_35 | 15 | 0.0041127 | 0.0010307 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1311-16_0_3_load_10 | 17 | 0.0052233 | 0.0013091 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1311-16_0_3_load_15 | 20 | 0.0051394 | 0.0012881 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1311-16_0_3_load_34 | 21 | 0.012899 | 0.0032328 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1311-16_0_3_load_26 | 22 | 0.0062255 | 0.0015603 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1311-16_0_3_load_32 | 24 | 0.0040941 | 0.0010261 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1311-16_0_3_load_29 | 25 | 0.0056497 | 0.0014159 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1311-16_0_3_load_20 | 26 | 0.0061292 | 0.0015361 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1311-16_0_3_load_25 | 27 | 0.0028914 | 0.00072465 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1311-16_0_3_load_28 | 28 | 0.014063 | 0.0035245 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1311-16_0_3_load_27 | 29 | 0.008531 | 0.0021381 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1311-16_0_3_load_37 | 30 | 0.0074134 | 0.001858 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1311-16_0_3_load_30 | 31 | 0.0023014 | 0.00057678 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1311-16_0_3_load_36 | 32 | 0.0061371 | 0.0015381 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1311-16_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0074903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1311-16_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0075838 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1311-16_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.003234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1311-16_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.017343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_1311-16_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.016776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1311-16_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.012184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_1311-16_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.025468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1311-16_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.019025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1311-16_0_3_line_8 | NAYY 4x150 SE | 6 | 12 | 0.027364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1311-16_0_3_line_9 | NAYY 4x150 SE | 6 | 9 | 0.013872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_1311-16_0_3_line_10 | NAYY 4x150 SE | 8 | 13 | 0.00087353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1311-16_0_3_line_11 | NAYY 4x150 SE | 9 | 10 | 0.013758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1311-16_0_3_line_12 | NAYY 4x150 SE | 9 | 11 | 0.05712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_1311-16_0_3_line_13 | NAYY 4x150 SE | 10 | 26 | 0.019184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1311-16_0_3_line_14 | NAYY 4x150 SE | 11 | 17 | 0.010231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_1311-16_0_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.024058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1311-16_0_3_line_16 | NAYY 4x150 SE | 14 | 15 | 0.0095703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1311-16_0_3_line_17 | NAYY 4x150 SE | 15 | 16 | 0.013015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1311-16_0_3_line_18 | NAYY 4x150 SE | 16 | 31 | 0.024202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1311-16_0_3_line_19 | NAYY 4x150 SE | 16 | 32 | 0.029289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1311-16_0_3_line_20 | NAYY 4x150 SE | 17 | 18 | 0.035579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1311-16_0_3_line_21 | NAYY 4x150 SE | 18 | 19 | 0.012649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1311-16_0_3_line_22 | NAYY 4x150 SE | 18 | 20 | 0.022234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1311-16_0_3_line_23 | NAYY 4x150 SE | 19 | 21 | 0.011863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1311-16_0_3_line_24 | NAYY 4x150 SE | 20 | 22 | 0.0080719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1311-16_0_3_line_25 | NAYY 4x150 SE | 22 | 27 | 0.0069244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1311-16_0_3_line_26 | NAYY 4x150 SE | 23 | 24 | 0.013896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1311-16_0_3_line_27 | NAYY 4x150 SE | 23 | 25 | 0.0052811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1311-16_0_3_line_28 | NAYY 4x150 SE | 24 | 30 | 0.018937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1311-16_0_3_line_29 | NAYY 4x150 SE | 25 | 31 | 0.0021369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1311-16_0_3_line_30 | NAYY 4x150 SE | 27 | 29 | 0.018287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1311-16_0_3_line_31 | NAYY 4x150 SE | 28 | 29 | 0.0097498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1311-16_0_3_trafo_10 | 0.25 MVA 20/0.4 kV | 33 | 17 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2682703.02 | 1205098.4911 | 2682710.4217 | 1205097.3427
1 | 2682695.5259 | 1205099.6538 | 2682703.02 | 1205098.4911
2 | 2682713.6175 | 1205096.8469 | 2682710.4217 | 1205097.3427
3 | 2682695.5259 | 1205099.6538 | 2682678.3896 | 1205102.321
4 | 2682713.6175 | 1205096.8469 | 2682722.2993 | 1205097.8345 | 2682730.385 | 1205097.9132
5 | 2682666.9207 | 1205105.7506 | 2682670.5345 | 1205103.5436 | 2682678.3896 | 1205102.321
6 | 2682730.385 | 1205097.9132 | 2682739.1754 | 1205095.4556 | 2682743.0655 | 1205094.1642 | 2682754.6793 | 1205090.2927
7 | 2682730.385 | 1205097.9132 | 2682733.5712 | 1205116.6693
8 | 2682666.9207 | 1205105.7506 | 2682675.1255 | 1205119.2061 | 2682681.171 | 1205129.1112
9 | 2682666.9207 | 1205105.7506 | 2682653.6124 | 1205109.7912
10 | 2682733.5712 | 1205116.6693 | 2682733.8024 | 1205117.5117
11 | 2682653.6124 | 1205109.7912 | 2682644.1033 | 1205111.4162 | 2682640.1494 | 1205112.5416
12 | 2682653.6124 | 1205109.7912 | 2682683.7459 | 1205158.3156
13 | 2682621.6984 | 1205117.7931 | 2682640.1494 | 1205112.5416
14 | 2682689.1434 | 1205167.0072 | 2682683.7459 | 1205158.3156
15 | 2682743.9448 | 1205139.0537 | 2682742.3337 | 1205134.3353 | 2682735.5772 | 1205123.9796 | 2682733.8024 | 1205117.5117
16 | 2682743.9448 | 1205139.0537 | 2682747.0373 | 1205148.1106
17 | 2682752.4791 | 1205159.7922 | 2682749.6955 | 1205155.8956 | 2682747.0373 | 1205148.1106
18 | 2682752.4791 | 1205159.7922 | 2682754.7385 | 1205181.1927 | 2682755.0895 | 1205183.8522
19 | 2682752.4791 | 1205159.7922 | 2682766.3539 | 1205146.1646 | 2682774.0398 | 1205140.018
20 | 2682707.913 | 1205197.2322 | 2682689.1434 | 1205167.0072
21 | 2682719.0282 | 1205191.1377 | 2682707.913 | 1205197.2322
22 | 2682707.913 | 1205197.2322 | 2682686.7151 | 1205203.9392
23 | 2682719.0282 | 1205191.1377 | 2682712.8481 | 1205181.012
24 | 2682679.0192 | 1205206.3742 | 2682686.7151 | 1205203.9392
25 | 2682679.0192 | 1205206.3742 | 2682678.3885 | 1205206.5738 | 2682672.6031 | 1205208.9725
26 | 2682756.0603 | 1205191.2064 | 2682769.8452 | 1205189.4562
27 | 2682756.0603 | 1205191.2064 | 2682755.3692 | 1205185.9707
28 | 2682769.8452 | 1205189.4562 | 2682788.6318 | 1205187.0711
29 | 2682755.0895 | 1205183.8522 | 2682755.3692 | 1205185.9707
30 | 2682655.7107 | 1205215.9762 | 2682672.6031 | 1205208.9725
31 | 2682646.7043 | 1205219.7103 | 2682655.7107 | 1205215.9762

## bus_geodata
| x | y | coords
0 | 2682703.02 | 1205098.4911
1 | 2682710.4217 | 1205097.3427
2 | 2682695.5259 | 1205099.6538
3 | 2682713.6175 | 1205096.8469
4 | 2682678.3896 | 1205102.321
5 | 2682730.385 | 1205097.9132
6 | 2682666.9207 | 1205105.7506
7 | 2682754.6793 | 1205090.2927
8 | 2682733.5712 | 1205116.6693
9 | 2682653.6124 | 1205109.7912
10 | 2682640.1494 | 1205112.5416
11 | 2682683.7459 | 1205158.3156
12 | 2682681.171 | 1205129.1112
13 | 2682733.8024 | 1205117.5117
14 | 2682743.9448 | 1205139.0537
15 | 2682747.0373 | 1205148.1106
16 | 2682752.4791 | 1205159.7922
17 | 2682689.1434 | 1205167.0072
18 | 2682707.913 | 1205197.2322
19 | 2682719.0282 | 1205191.1377
20 | 2682686.7151 | 1205203.9392
21 | 2682712.8481 | 1205181.012
22 | 2682679.0192 | 1205206.3742
23 | 2682756.0603 | 1205191.2064
24 | 2682769.8452 | 1205189.4562
25 | 2682755.3692 | 1205185.9707
26 | 2682621.6984 | 1205117.7931
27 | 2682672.6031 | 1205208.9725
28 | 2682646.7043 | 1205219.7103
29 | 2682655.7107 | 1205215.9762
30 | 2682788.6318 | 1205187.0711
31 | 2682755.0895 | 1205183.8522
32 | 2682774.0398 | 1205140.018
33 | 2682707.913 | 1205197.2322

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98903 | -0.076493 | 0.004227 | 0.0010594
1 | 0.98806 | -0.083307 | 0.0052941 | 0.0013268
2 | 0.99005 | -0.069281 | 0.013183 | 0.0033039
3 | 0.98767 | -0.086078 | 0 | 0
4 | 0.99139 | -0.059892 | 0.0058156 | 0.0014575
5 | 0.98563 | -0.10049 | 0 | 0
6 | 0.99238 | -0.052952 | 0 | 0
7 | 0.98526 | -0.10311 | 0.010023 | 0.0025121
8 | 0.98359 | -0.11493 | 0.0050681 | 0.0012702
9 | 0.99358 | -0.04456 | 0 | 0
10 | 0.99335 | -0.046171 | 0.0054451 | 0.0013647
11 | 0.999 | -0.0069093 | 0.0040738 | 0.001021
12 | 0.9921 | -0.054955 | 0.0072198 | 0.0018094
13 | 0.9835 | -0.11555 | 0.011335 | 0.0028408
14 | 0.9815 | -0.12981 | 0.027625 | 0.0069235
15 | 0.98108 | -0.13276 | 0.0041127 | 0.0010307
16 | 0.9806 | -0.13622 | 0 | 0
17 | 1 | 0 | -0.18783 | -0.047151
18 | 0.99747 | -0.017714 | 0 | 0
19 | 0.99723 | -0.019351 | 0 | 0
20 | 0.99629 | -0.025943 | 0.0051394 | 0.0012881
21 | 0.99701 | -0.020887 | 0.012899 | 0.0032328
22 | 0.99593 | -0.028518 | 0.0062255 | 0.0015603
23 | 0.97977 | -0.14213 | 0 | 0
24 | 0.97954 | -0.14379 | 0.0040941 | 0.0010261
25 | 0.97986 | -0.14149 | 0.0056497 | 0.0014159
26 | 0.99319 | -0.047361 | 0.0061292 | 0.0015361
27 | 0.99567 | -0.030295 | 0.0028914 | 0.00072465
28 | 0.99489 | -0.035839 | 0.014063 | 0.0035245
29 | 0.99508 | -0.034457 | 0.008531 | 0.0021381
30 | 0.97933 | -0.14525 | 0.0074134 | 0.001858
31 | 0.97991 | -0.14111 | 0.0023014 | 0.00057678
32 | 0.98034 | -0.13809 | 0.0061371 | 0.0015381
33 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.089657 | 0.022548 | -0.089572 | -0.022516 | 8.508e-05 | 3.2627e-05 | 0.13492 | 0.13492 | 0.13492 | 0.98903 | -0.076493 | 0.98806 | -0.083307 | 49.97
1 | -0.093884 | -0.023608 | 0.093978 | 0.023644 | 9.4454e-05 | 3.6231e-05 | 0.14128 | 0.14128 | 0.14128 | 0.98903 | -0.076493 | 0.99005 | -0.069281 | 52.3254
2 | 0.084278 | 0.021189 | -0.084245 | -0.021176 | 3.2521e-05 | 1.2467e-05 | 0.12695 | 0.12695 | 0.12695 | 0.98806 | -0.083307 | 0.98767 | -0.086078 | 47.0171
3 | -0.10716 | -0.026948 | 0.1073 | 0.027001 | 0.00014042 | 5.3559e-05 | 0.16109 | 0.16109 | 0.16109 | 0.99005 | -0.069281 | 0.99139 | -0.059892 | 29.8318
4 | 0.084245 | 0.021176 | -0.084077 | -0.021112 | 0.0001687 | 6.467e-05 | 0.12695 | 0.12695 | 0.12695 | 0.98767 | -0.086078 | 0.98563 | -0.10049 | 47.0171
5 | -0.11312 | -0.028459 | 0.11323 | 0.028501 | 0.00010963 | 4.1851e-05 | 0.16982 | 0.16982 | 0.16982 | 0.99139 | -0.059892 | 0.99238 | -0.052952 | 31.4483
6 | 0.010027 | 0.0025132 | -0.010023 | -0.0025121 | 3.6419e-06 | 1.0763e-06 | 0.015138 | 0.015138 | 0.015138 | 0.98563 | -0.10049 | 0.98526 | -0.10311 | 5.6067
7 | 0.07405 | 0.018599 | -0.073901 | -0.018542 | 0.00014841 | 5.6838e-05 | 0.11181 | 0.11181 | 0.11181 | 0.98563 | -0.10049 | 0.98359 | -0.11493 | 41.4105
8 | 0.0072218 | 0.0018099 | -0.0072198 | -0.0018094 | 2.0022e-06 | 4.1664e-07 | 0.010829 | 0.010829 | 0.010829 | 0.99238 | -0.052952 | 0.9921 | -0.054955 | 4.0106
9 | -0.12045 | -0.030311 | 0.12059 | 0.030365 | 0.00014124 | 5.3965e-05 | 0.18065 | 0.18065 | 0.18065 | 0.99238 | -0.052952 | 0.99358 | -0.04456 | 33.4535
10 | 0.068833 | 0.017271 | -0.068827 | -0.017269 | 5.9116e-06 | 2.2626e-06 | 0.10414 | 0.10414 | 0.10414 | 0.98359 | -0.11493 | 0.9835 | -0.11555 | 38.5707
11 | 0.011578 | 0.0029018 | -0.011575 | -0.0029009 | 2.5811e-06 | 8.1459e-07 | 0.017339 | 0.017339 | 0.017339 | 0.99358 | -0.04456 | 0.99335 | -0.046171 | 6.422
12 | -0.13217 | -0.033266 | 0.13287 | 0.033534 | 0.00069858 | 0.0002672 | 0.19799 | 0.19799 | 0.19799 | 0.99358 | -0.04456 | 0.999 | -0.0069093 | 36.6645
13 | 0.0061302 | 0.0015363 | -0.0061292 | -0.0015361 | 1.0094e-06 | 1.3995e-07 | 0.0091829 | 0.009183 | 0.009183 | 0.99335 | -0.046171 | 0.99319 | -0.047361 | 3.4011
14 | -0.13694 | -0.034555 | 0.13707 | 0.034605 | 0.00013292 | 5.0853e-05 | 0.20406 | 0.20406 | 0.20406 | 0.999 | -0.0069093 | 1 | 0 | 37.7881
15 | 0.057492 | 0.014428 | -0.057378 | -0.014385 | 0.0001136 | 4.3389e-05 | 0.086991 | 0.086991 | 0.086991 | 0.9835 | -0.11555 | 0.9815 | -0.12981 | 32.219
16 | 0.029754 | 0.0074615 | -0.029741 | -0.007457 | 1.2152e-05 | 4.5531e-06 | 0.04511 | 0.04511 | 0.04511 | 0.9815 | -0.12981 | 0.98108 | -0.13276 | 16.7074
17 | 0.025629 | 0.0064263 | -0.025616 | -0.0064217 | 1.2272e-05 | 4.5557e-06 | 0.038872 | 0.038872 | 0.038872 | 0.98108 | -0.13276 | 0.9806 | -0.13622 | 14.3972
18 | 0.019478 | 0.0048834 | -0.019465 | -0.0048786 | 1.3194e-05 | 4.7694e-06 | 0.029557 | 0.029557 | 0.029557 | 0.9806 | -0.13622 | 0.97991 | -0.14111 | 10.9472
19 | 0.0061387 | 0.0015383 | -0.0061371 | -0.0015381 | 1.5859e-06 | 2.4058e-07 | 0.0093152 | 0.0093153 | 0.0093153 | 0.9806 | -0.13622 | 0.98034 | -0.13809 | 3.4501
20 | 0.049953 | 0.012545 | -0.04983 | -0.012498 | 0.00012269 | 4.6724e-05 | 0.07434 | 0.07434 | 0.07434 | 1 | 0 | 0.99747 | -0.017714 | 27.5334
21 | 0.012905 | 0.0032347 | -0.012902 | -0.0032337 | 2.9253e-06 | 9.6006e-07 | 0.019252 | 0.019252 | 0.019252 | 0.99747 | -0.017714 | 0.99723 | -0.019351 | 7.1302
22 | 0.036926 | 0.0092637 | -0.036883 | -0.0092478 | 4.2104e-05 | 1.5904e-05 | 0.055089 | 0.055089 | 0.055089 | 0.99747 | -0.017714 | 0.99629 | -0.025943 | 20.4032
23 | 0.012902 | 0.0032337 | -0.012899 | -0.0032328 | 2.7435e-06 | 9.0046e-07 | 0.019252 | 0.019252 | 0.019252 | 0.99723 | -0.019351 | 0.99701 | -0.020887 | 7.1302
24 | 0.031744 | 0.0079597 | -0.031733 | -0.0079554 | 1.1323e-05 | 4.2498e-06 | 0.047413 | 0.047413 | 0.047413 | 0.99629 | -0.025943 | 0.99593 | -0.028518 | 17.5602
25 | 0.025507 | 0.0063952 | -0.025501 | -0.0063929 | 6.2759e-06 | 2.3237e-06 | 0.038111 | 0.038111 | 0.038111 | 0.99593 | -0.028518 | 0.99567 | -0.030295 | 14.1153
26 | 0.011512 | 0.0028852 | -0.011509 | -0.0028844 | 2.6504e-06 | 8.4441e-07 | 0.017483 | 0.017483 | 0.017483 | 0.97977 | -0.14213 | 0.97954 | -0.14379 | 6.4753
27 | -0.011512 | -0.0028852 | 0.011513 | 0.0028855 | 1.0073e-06 | 3.209e-07 | 0.017483 | 0.017483 | 0.017483 | 0.97977 | -0.14213 | 0.97986 | -0.14149 | 6.4753
28 | 0.0074149 | 0.0018583 | -0.0074134 | -0.001858 | 1.4993e-06 | 3.3832e-07 | 0.011264 | 0.011264 | 0.011264 | 0.97954 | -0.14379 | 0.97933 | -0.14525 | 4.1719
29 | -0.017162 | -0.0043015 | 0.017163 | 0.0043018 | 9.0573e-07 | 3.2144e-07 | 0.026063 | 0.026063 | 0.026063 | 0.97986 | -0.14149 | 0.97991 | -0.14111 | 9.6529
30 | 0.022609 | 0.0056682 | -0.022596 | -0.0056634 | 1.3029e-05 | 4.7733e-06 | 0.03379 | 0.03379 | 0.03379 | 0.99567 | -0.030295 | 0.99508 | -0.034457 | 12.5149
31 | -0.014063 | -0.0035245 | 0.014065 | 0.0035254 | 2.6915e-06 | 9.0855e-07 | 0.021033 | 0.021033 | 0.021033 | 0.99489 | -0.035839 | 0.99508 | -0.034457 | 7.7901

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.19305 | 0.04846

## res_load
| p_mw | q_mvar
0 | 0.004227 | 0.0010594
1 | 0.0052941 | 0.0013268
2 | 0.013183 | 0.0033039
3 | 0.0058156 | 0.0014575
4 | 0.010023 | 0.0025121
5 | 0.0050681 | 0.0012702
6 | 0.0054451 | 0.0013647
7 | 0.0040738 | 0.001021
8 | 0.0072198 | 0.0018094
9 | 0.011335 | 0.0028408
10 | 0.027625 | 0.0069235
11 | 0.0041127 | 0.0010307
12 | 0.0052233 | 0.0013091
13 | 0.0051394 | 0.0012881
14 | 0.012899 | 0.0032328
15 | 0.0062255 | 0.0015603
16 | 0.0040941 | 0.0010261
17 | 0.0056497 | 0.0014159
18 | 0.0061292 | 0.0015361
19 | 0.0028914 | 0.00072465
20 | 0.014063 | 0.0035245
21 | 0.008531 | 0.0021381
22 | 0.0074134 | 0.001858
23 | 0.0023014 | 0.00057678
24 | 0.0061371 | 0.0015381

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1