## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1311-2_1_4_node_129 | 0.4 | n |  | TRUE
1 | bus_LV_1311-2_1_4_node_127 | 0.4 | n |  | TRUE
2 | bus_LV_1311-2_1_4_node_130 | 0.4 | n |  | TRUE
3 | bus_LV_1311-2_1_4_node_122 | 0.4 | n |  | TRUE
4 | bus_LV_1311-2_1_4_node_131 | 0.4 | n |  | TRUE
5 | bus_LV_1311-2_1_4_node_116 | 0.4 | n |  | TRUE
6 | bus_LV_1311-2_1_4_node_123 | 0.4 | n |  | TRUE
7 | bus_LV_1311-2_1_4_node_132 | 0.4 | n |  | TRUE
8 | bus_LV_1311-2_1_4_node_119 | 0.4 | n |  | TRUE
9 | bus_LV_1311-2_1_4_node_133 | 0.4 | n |  | TRUE
10 | bus_LV_1311-2_1_4_node_134 | 0.4 | n |  | TRUE
11 | bus_LV_1311-2_1_4_node_117 | 0.4 | n |  | TRUE
12 | bus_LV_1311-2_1_4_node_135 | 0.4 | n |  | TRUE
13 | bus_LV_1311-2_1_4_node_108 | 0.4 | n |  | TRUE
14 | bus_LV_1311-2_1_4_node_136 | 0.4 | n |  | TRUE
15 | bus_LV_1311-2_1_4_node_85 | 0.4 | n |  | TRUE
16 | bus_LV_1311-2_1_4_node_71 | 0.4 | n |  | TRUE
17 | bus_LV_1311-2_1_4_node_72 | 0.4 | n |  | TRUE
18 | bus_LV_1311-2_1_4_node_73 | 0.4 | n |  | TRUE
19 | bus_LV_1311-2_1_4_node_74 | 0.4 | n |  | TRUE
20 | bus_LV_1311-2_1_4_node_95 | 0.4 | n |  | TRUE
21 | bus_LV_1311-2_1_4_node_84 | 0.4 | n |  | TRUE
22 | bus_LV_1311-2_1_4_node_79 | 0.4 | n |  | TRUE
23 | bus_LV_1311-2_1_4_node_80 | 0.4 | n |  | TRUE
24 | bus_LV_1311-2_1_4_node_81 | 0.4 | n |  | TRUE
25 | bus_LV_1311-2_1_4_node_82 | 0.4 | n |  | TRUE
26 | bus_LV_1311-2_1_4_node_83 | 0.4 | n |  | TRUE
27 | bus_LV_1311-2_1_4_node_111 | 0.4 | n |  | TRUE
28 | bus_LV_1311-2_1_4_node_112 | 0.4 | n |  | TRUE
29 | bus_LV_1311-2_1_4_node_113 | 0.4 | n |  | TRUE
30 | bus_LV_1311-2_1_4_node_86 | 0.4 | n |  | TRUE
31 | bus_LV_1311-2_1_4_node_97 | 0.4 | n |  | TRUE
32 | bus_LV_1311-2_1_4_node_96 | 0.4 | n |  | TRUE
33 | bus_LV_1311-2_1_4_node_87 | 0.4 | n |  | TRUE
34 | bus_LV_1311-2_1_4_node_93 | 0.4 | n |  | TRUE
35 | bus_LV_1311-2_1_4_node_92 | 0.4 | n |  | TRUE
36 | bus_LV_1311-2_1_4_node_102 | 0.4 | n |  | TRUE
37 | bus_LV_1311-2_1_4_node_98 | 0.4 | n |  | TRUE
38 | bus_LV_1311-2_1_4_node_99 | 0.4 | n |  | TRUE
39 | bus_LV_1311-2_1_4_node_100 | 0.4 | n |  | TRUE
40 | bus_LV_1311-2_1_4_node_101 | 0.4 | n |  | TRUE
41 | bus_LV_1311-2_1_4_node_103 | 0.4 | n |  | TRUE
42 | bus_LV_1311-2_1_4_node_104 | 0.4 | n |  | TRUE
43 | bus_LV_1311-2_1_4_node_105 | 0.4 | n |  | TRUE
44 | bus_LV_1311-2_1_4_node_107 | 0.4 | n |  | TRUE
45 | bus_LV_1311-2_1_4_node_109 | 0.4 | n |  | TRUE
46 | bus_LV_1311-2_1_4_node_106 | 0.4 | n |  | TRUE
47 | bus_LV_1311-2_1_4_node_114 | 0.4 | n |  | TRUE
48 | bus_LV_1311-2_1_4_node_115 | 0.4 | n |  | TRUE
49 | bus_LV_1311-2_1_4_node_118 | 0.4 | n |  | TRUE
50 | bus_LV_1311-2_1_4_node_124 | 0.4 | n |  | TRUE
51 | bus_LV_1311-2_1_4_node_120 | 0.4 | n |  | TRUE
52 | bus_LV_1311-2_1_4_node_121 | 0.4 | n |  | TRUE
53 | bus_LV_1311-2_1_4_node_125 | 0.4 | n |  | TRUE
54 | bus_LV_1311-2_1_4_node_126 | 0.4 | n |  | TRUE
55 | bus_MV_0_node_102 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1311-2_1_4_load_127 | 1 | 0.00013474 | 3.377e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1311-2_1_4_load_130 | 2 | 0.00055137 | 0.00013819 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1311-2_1_4_load_122 | 3 | 0.00041743 | 0.00010462 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1311-2_1_4_load_131 | 4 | 0.00095767 | 0.00024001 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1311-2_1_4_load_116 | 5 | 0.0002567 | 6.4334e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1311-2_1_4_load_132 | 7 | 0.00025059 | 6.2804e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1311-2_1_4_load_133 | 9 | 0.00025921 | 6.4965e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1311-2_1_4_load_135 | 12 | 0.00060976 | 0.00015282 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1311-2_1_4_load_136 | 14 | 0.00040251 | 0.00010088 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1311-2_1_4_load_71 | 16 | 0.00128 | 0.00032081 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1311-2_1_4_load_73 | 18 | 0.0017412 | 0.00043638 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1311-2_1_4_load_74 | 19 | 0.0011936 | 0.00029914 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1311-2_1_4_load_95 | 20 | 0.00076437 | 0.00019157 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1311-2_1_4_load_79 | 22 | 0.00044168 | 0.00011069 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1311-2_1_4_load_81 | 24 | 0.00025369 | 6.3579e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1311-2_1_4_load_82 | 25 | 0.00037178 | 9.3176e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1311-2_1_4_load_112 | 28 | 0.00010004 | 2.5072e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1311-2_1_4_load_97 | 31 | 0.00011102 | 2.7825e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1311-2_1_4_load_96 | 32 | 0.001889 | 0.00047343 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1311-2_1_4_load_92 | 35 | 0.0024036 | 0.00060239 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1311-2_1_4_load_98 | 37 | 0.00052797 | 0.00013232 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1311-2_1_4_load_99 | 38 | 0.00020925 | 5.2442e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1311-2_1_4_load_103 | 41 | 0.0013467 | 0.00033751 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1311-2_1_4_load_104 | 42 | 0.00042601 | 0.00010677 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1311-2_1_4_load_105 | 43 | 0.0015411 | 0.00038625 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1311-2_1_4_load_109 | 45 | 0.00027308 | 6.844e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1311-2_1_4_load_106 | 46 | 0.00028426 | 7.1242e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1311-2_1_4_load_114 | 47 | 0.00016879 | 4.2302e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1311-2_1_4_load_118 | 49 | 0.00026493 | 6.6398e-05 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1311-2_1_4_load_124 | 50 | 0.00027172 | 6.81e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1311-2_1_4_load_120 | 51 | 0.00021764 | 5.4545e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1311-2_1_4_load_125 | 53 | 0.00018255 | 4.5752e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1311-2_1_4_load_126 | 54 | 0.00012722 | 3.1885e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1311-2_1_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.012861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1311-2_1_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.061771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1311-2_1_4_line_2 | NAYY 4x150 SE | 1 | 54 | 0.003278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1311-2_1_4_line_3 | NAYY 4x150 SE | 2 | 3 | 0.022931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1311-2_1_4_line_4 | NAYY 4x150 SE | 3 | 52 | 0.039455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1311-2_1_4_line_5 | NAYY 4x150 SE | 4 | 5 | 0.024392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1311-2_1_4_line_6 | NAYY 4x150 SE | 4 | 6 | 0.035844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1311-2_1_4_line_7 | NAYY 4x150 SE | 5 | 48 | 0.01003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1311-2_1_4_line_8 | NAYY 4x150 SE | 6 | 52 | 0.18437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1311-2_1_4_line_9 | NAYY 4x150 SE | 7 | 8 | 0.15358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1311-2_1_4_line_10 | NAYY 4x150 SE | 7 | 9 | 0.023179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1311-2_1_4_line_11 | NAYY 4x150 SE | 8 | 50 | 0.082769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1311-2_1_4_line_12 | NAYY 4x150 SE | 9 | 10 | 0.074759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1311-2_1_4_line_13 | NAYY 4x150 SE | 10 | 11 | 0.15178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1311-2_1_4_line_14 | NAYY 4x150 SE | 11 | 49 | 0.2105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1311-2_1_4_line_15 | NAYY 4x150 SE | 11 | 43 | 0.29049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1311-2_1_4_line_16 | NAYY 4x150 SE | 12 | 13 | 0.019728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1311-2_1_4_line_17 | NAYY 4x150 SE | 13 | 44 | 0.17492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1311-2_1_4_line_18 | NAYY 4x150 SE | 14 | 15 | 0.011276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1311-2_1_4_line_19 | NAYY 4x150 SE | 15 | 29 | 0.22204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1311-2_1_4_line_20 | NAYY 4x150 SE | 15 | 21 | 0.019869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1311-2_1_4_line_21 | NAYY 4x150 SE | 16 | 17 | 0.10609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1311-2_1_4_line_22 | NAYY 4x150 SE | 17 | 18 | 0.022488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1311-2_1_4_line_23 | NAYY 4x150 SE | 17 | 19 | 0.2874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1311-2_1_4_line_24 | NAYY 4x150 SE | 17 | 20 | 0.51739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1311-2_1_4_line_25 | NAYY 4x150 SE | 19 | 21 | 0.016116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1311-2_1_4_line_26 | NAYY 4x150 SE | 20 | 33 | 0.36242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1311-2_1_4_line_27 | NAYY 4x150 SE | 22 | 23 | 0.022534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1311-2_1_4_line_28 | NAYY 4x150 SE | 22 | 24 | 9.8536e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1311-2_1_4_line_29 | NAYY 4x150 SE | 23 | 25 | 0.007029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1311-2_1_4_line_30 | NAYY 4x150 SE | 23 | 26 | 0.00522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1311-2_1_4_line_31 | NAYY 4x150 SE | 26 | 27 | 0.026664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1311-2_1_4_line_32 | NAYY 4x150 SE | 26 | 28 | 0.010243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1311-2_1_4_line_33 | NAYY 4x150 SE | 27 | 31 | 0.22633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1311-2_1_4_line_34 | NAYY 4x150 SE | 28 | 29 | 0.04552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1311-2_1_4_line_35 | NAYY 4x150 SE | 30 | 31 | 0.12572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1311-2_1_4_line_36 | NAYY 4x150 SE | 30 | 32 | 0.28668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1311-2_1_4_line_37 | NAYY 4x150 SE | 31 | 36 | 0.42156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1311-2_1_4_line_38 | NAYY 4x150 SE | 33 | 34 | 0.37736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1311-2_1_4_line_39 | NAYY 4x150 SE | 34 | 35 | 0.017226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1311-2_1_4_line_40 | NAYY 4x150 SE | 36 | 44 | 0.24361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1311-2_1_4_line_41 | NAYY 4x150 SE | 36 | 45 | 0.27618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1311-2_1_4_line_42 | NAYY 4x150 SE | 36 | 39 | 0.25758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1311-2_1_4_line_43 | NAYY 4x150 SE | 37 | 38 | 0.13975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1311-2_1_4_line_44 | NAYY 4x150 SE | 37 | 39 | 0.0041191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1311-2_1_4_line_45 | NAYY 4x150 SE | 38 | 40 | 0.18896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1311-2_1_4_line_46 | NAYY 4x150 SE | 39 | 41 | 0.035955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1311-2_1_4_line_47 | NAYY 4x150 SE | 40 | 42 | 0.032469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1311-2_1_4_line_48 | NAYY 4x150 SE | 40 | 43 | 0.027565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1311-2_1_4_line_49 | NAYY 4x150 SE | 41 | 46 | 0.0088001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1311-2_1_4_line_50 | NAYY 4x150 SE | 42 | 47 | 0.097641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1311-2_1_4_line_51 | NAYY 4x150 SE | 47 | 48 | 0.33804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1311-2_1_4_line_52 | NAYY 4x150 SE | 50 | 53 | 0.015981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1311-2_1_4_line_53 | NAYY 4x150 SE | 51 | 52 | 0.17655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1311-2_1_4_trafo_102 | 0.25 MVA 20/0.4 kV | 55 | 36 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36
0 | 2681820.5095 | 1206980.783 | 2681807.7916 | 1206982.6993
1 | 2681820.5095 | 1206980.783 | 2681841.9168 | 1206985.8575 | 2681860.0919 | 1206984.2723 | 2681870.7577 | 1206980.1492 | 2681880.8478 | 1206980.2877
2 | 2681804.5293 | 1206982.9437 | 2681806.4414 | 1206982.9027 | 2681807.7916 | 1206982.6993
3 | 2681903.3285 | 1206982.9584 | 2681896.8611 | 1206980.5074 | 2681880.8478 | 1206980.2877
4 | 2681940.4312 | 1206982.1507 | 2681938.2353 | 1206983.1101 | 2681926.3258 | 1206988.6391 | 2681916.343 | 1206987.8905 | 2681903.3285 | 1206982.9584
5 | 2681865.5762 | 1207129.2935 | 2681878.0706 | 1207144.4326 | 2681879.0616 | 1207149.0907
6 | 2681848.3542 | 1207098.151 | 2681851.8448 | 1207107.0268 | 2681855.8356 | 1207116.0317 | 2681864.613 | 1207128.1265 | 2681865.5762 | 1207129.2935
7 | 2681880.0453 | 1207159.0246 | 2681879.9709 | 1207153.3644 | 2681879.0616 | 1207149.0907
8 | 2681940.4312 | 1206982.1507 | 2681939.633 | 1206987.1096 | 2681937.8354 | 1206990.6316 | 2681931.394 | 1206993.9453 | 2681924.6518 | 1206995.3537 | 2681913.1544 | 1206996.3522 | 2681895.2139 | 1206997.4624 | 2681888.4336 | 1207000.538 | 2681882.7873 | 1207005.208 | 2681879.2292 | 1207013.4423 | 2681882.2533 | 1207028.0487 | 2681880.6653 | 1207032.93 | 2681875.6539 | 1207036.786 | 2681866.9727 | 1207040.3915 | 2681855.992 | 1207041.4305 | 2681850.2116 | 1207043.686 | 2681847.5669 | 1207047.9859 | 2681847.5605 | 1207053.4448 | 2681848.4658 | 1207090.014 | 2681848.3542 | 1207098.151
9 | 2682222.1516 | 1206693.2271 | 2682160.6631 | 1206552.488
10 | 2682160.6631 | 1206552.488 | 2682154.9057 | 1206549.4537 | 2682151.2112 | 1206550.4257 | 2682144.7643 | 1206552.4383 | 2682138.6722 | 1206552.2003
11 | 2682222.1516 | 1206693.2271 | 2682243.8031 | 1206668.4983 | 2682274.8831 | 1206650.0146 | 2682285.805 | 1206641.6772
12 | 2682068.596 | 1206567.7341 | 2682075.4134 | 1206568.6395 | 2682084.7123 | 1206570.5019 | 2682094.5752 | 1206569.5146 | 2682105.8709 | 1206565.5563 | 2682124.028 | 1206553.7762 | 2682131.5831 | 1206551.9233 | 2682138.6722 | 1206552.2003
13 | 2682073.8719 | 1206719.4261 | 2682068.596 | 1206567.7341
14 | 2682073.8719 | 1206719.4261 | 2682052.1507 | 1206722.1849 | 2682022.1157 | 1206724.4737 | 2682008.9248 | 1206723.5919 | 2682000.8025 | 1206720.2449 | 2681987.6215 | 1206708.1228 | 2681980.0844 | 1206704.8061 | 2681974.4546 | 1206706.0407 | 2681957.0083 | 1206712.6388 | 2681947.7943 | 1206712.9125 | 2681941.2385 | 1206715.6687 | 2681938.5529 | 1206720.1681 | 2681941.1266 | 1206725.4846 | 2681966.5695 | 1206741.344 | 2681971.9134 | 1206745.9758 | 2681975.7627 | 1206752.544 | 2681973.7915 | 1206758.1872 | 2681966.4222 | 1206760.7289
15 | 2682073.8719 | 1206719.4261 | 2682077.338 | 1206727.3121 | 2682082.1093 | 1206730.4353 | 2682095.7875 | 1206734.5926 | 2682112.7973 | 1206747.0123 | 2682134.3459 | 1206751.8117 | 2682162.3204 | 1206754.9986 | 2682185.1796 | 1206753.5345 | 2682198.3252 | 1206755.4945 | 2682207.8997 | 1206763.2758 | 2682212.2121 | 1206770.9956 | 2682211.5408 | 1206790.4655 | 2682202.4155 | 1206833.4453 | 2682196.429 | 1206860.0243 | 2682197.8259 | 1206877.3213 | 2682195.7927 | 1206896.2833 | 2682193.6638 | 1206902.0197
16 | 2682513.4532 | 1206824.463 | 2682515.4155 | 1206827.203 | 2682516.3441 | 1206836.4996 | 2682516.6205 | 1206841.262 | 2682514.8669 | 1206842.672
17 | 2682498.0896 | 1206980.74 | 2682503.8438 | 1206949.5995 | 2682505.8419 | 1206929.9478 | 2682504.6366 | 1206894.4639 | 2682503.7834 | 1206886.3136 | 2682497.9464 | 1206868.4326 | 2682496.5886 | 1206844.5207 | 2682496.2538 | 1206835.7326 | 2682496.0426 | 1206830.1039 | 2682504.1386 | 1206835.875 | 2682514.8669 | 1206842.672
18 | 2682800.6584 | 1207645.6119 | 2682808.9935 | 1207653.2324
19 | 2682800.6584 | 1207645.6119 | 2682814.2732 | 1207647.035 | 2682834.2392 | 1207651.0813 | 2682843.128 | 1207651.1269 | 2682847.7461 | 1207650.4127 | 2682851.385 | 1207646.8387 | 2682856.6268 | 1207628.0438 | 2682858.8545 | 1207617.1232 | 2682864.4015 | 1207613.5868 | 2682871.0981 | 1207616.5261 | 2682875.7821 | 1207618.737 | 2682876.8859 | 1207616.4619 | 2682876.5261 | 1207611.1646 | 2682874.3524 | 1207605.6087 | 2682870.1354 | 1207596.5999 | 2682864.7158 | 1207592.0551 | 2682863.3503 | 1207591.2689 | 2682862.4412 | 1207591.0228 | 2682862.6028 | 1207589.7909 | 2682860.5547 | 1207588.3282 | 2682860.8143 | 1207586.6085 | 2682864.0865 | 1207584.2524 | 2682864.4921 | 1207581.3339 | 2682867.0705 | 1207580.7471 | 2682871.1209 | 1207580.9479 | 2682872.8581 | 1207579.6045 | 2682871.7167 | 1207577.465 | 2682861.8384 | 1207568.7223 | 2682856.0896 | 1207558.8584 | 2682856.2029 | 1207555.0797 | 2682857.9422 | 1207553.0359 | 2682861.1693 | 1207552.8361 | 2682864.5396 | 1207552.7273 | 2682868.4212 | 1207551.9362 | 2682871.4647 | 1207549.6214 | 2682880.6422 | 1207545.8686 | 2682888.0678 | 1207545.6048
20 | 2682782.8647 | 1207636.815 | 2682791.7211 | 1207640.2956 | 2682800.6584 | 1207645.6119
21 | 2682637.172 | 1207844.4526 | 2682635.0084 | 1207852.4278 | 2682630.2683 | 1207860.8676 | 2682628.4166 | 1207870.4815 | 2682628.0122 | 1207930.4257 | 2682624.7987 | 1207946.1357 | 2682624.5696 | 1207948.5047
22 | 2682637.172 | 1207844.4526 | 2682652.5888 | 1207857.9303 | 2682654.2007 | 1207859.1328
23 | 2682637.172 | 1207844.4526 | 2682625.6806 | 1207842.3811 | 2682620.7654 | 1207840.9455 | 2682619.5536 | 1207840.5951 | 2682615.1209 | 1207835.0747 | 2682612.9855 | 1207827.2846 | 2682614.3506 | 1207814.9177 | 2682623.0459 | 1207791.5786 | 2682645.5831 | 1207757.1016 | 2682659.8021 | 1207730.259 | 2682677.2245 | 1207702.738 | 2682690.5197 | 1207689.358 | 2682713.3777 | 1207671.2852 | 2682729.9209 | 1207656.1936 | 2682741.1365 | 1207648.0216 | 2682751.1172 | 1207643.3569 | 2682763.5382 | 1207643.1289 | 2682768.4936 | 1207642.6098
24 | 2682120.1478 | 1207825.0999 | 2682637.172 | 1207844.4526
25 | 2682782.8647 | 1207636.815 | 2682779.9385 | 1207639.9987 | 2682773.0041 | 1207642.1373 | 2682768.4936 | 1207642.6098
26 | 2681783.4821 | 1207959.2815 | 2682120.1478 | 1207825.0999
27 | 2682860.3181 | 1207505.1602 | 2682852.2913 | 1207507.0945 | 2682843.192 | 1207507.4129 | 2682838.1643 | 1207506.1975
28 | 2682838.0685 | 1207506.1744 | 2682838.1643 | 1207506.1975
29 | 2682860.3181 | 1207505.1602 | 2682861.9876 | 1207511.9878
30 | 2682861.2564 | 1207500.0255 | 2682860.3181 | 1207505.1602
31 | 2682861.2564 | 1207500.0255 | 2682864.2129 | 1207485.9019 | 2682863.2757 | 1207480.5632 | 2682858.8612 | 1207475.3653
32 | 2682861.2564 | 1207500.0255 | 2682869.736 | 1207505.7708
33 | 2682858.8612 | 1207475.3653 | 2682845.8781 | 1207468.4028 | 2682828.9766 | 1207463.2317 | 2682816.6551 | 1207461.7375 | 2682802.5607 | 1207463.6099 | 2682778.7345 | 1207474.1085 | 2682753.1758 | 1207484.5164 | 2682729.2553 | 1207496.3481 | 2682678.5108 | 1207535.8373 | 2682664.1845 | 1207553.4107
34 | 2682888.0678 | 1207545.6048 | 2682887.9537 | 1207540.6779 | 2682882.6112 | 1207530.0302 | 2682879.8334 | 1207516.5051 | 2682873.0841 | 1207508.0393 | 2682869.736 | 1207505.7708
35 | 2682593.9252 | 1207655.6881 | 2682593.7354 | 1207651.8163 | 2682602.0199 | 1207642.7806 | 2682609.6718 | 1207630.5564 | 2682626.0949 | 1207597.7737 | 2682640.7147 | 1207579.8979 | 2682656.3551 | 1207563.0146 | 2682664.1845 | 1207553.4107
36 | 2682593.9252 | 1207655.6881 | 2682581.2381 | 1207655.9127 | 2682556.9165 | 1207659.4342 | 2682548.6321 | 1207668.4699 | 2682540.985 | 1207683.1069 | 2682529.8266 | 1207708.0576 | 2682515.5139 | 1207725.76 | 2682510.0114 | 1207732.6996 | 2682505.2154 | 1207732.5332 | 2682502.7094 | 1207729.541 | 2682503.1859 | 1207724.7779 | 2682508.2395 | 1207713.4627 | 2682512.8882 | 1207701.7305 | 2682515.2687 | 1207647.2728 | 2682517.2632 | 1207621.2725 | 2682535.5322 | 1207597.9433 | 2682546.7068 | 1207591.3581
37 | 2682515.8797 | 1207158.8003 | 2682664.1845 | 1207553.4107
38 | 2681783.4821 | 1207959.2815 | 2681864.3502 | 1207590.6864
39 | 2681864.3502 | 1207590.6864 | 2681850.7352 | 1207583.7175 | 2681849.06 | 1207582.7574
40 | 2682498.0896 | 1206980.74 | 2682498.7055 | 1206992.3004 | 2682502.768 | 1206996.6037 | 2682507.5074 | 1207000.3494 | 2682514.1317 | 1207002.5313 | 2682519.1 | 1207002.3776 | 2682547.8724 | 1206995.0706 | 2682543.2296 | 1206999.1869 | 2682531.7562 | 1207005.5879 | 2682526.5045 | 1207013.5871 | 2682521.2084 | 1207027.5451 | 2682523.2378 | 1207043.0276 | 2682524.7551 | 1207054.845 | 2682522.3099 | 1207068.8758 | 2682515.9481 | 1207083.4639 | 2682512.2966 | 1207109.9416 | 2682510.9457 | 1207135.5839 | 2682511.9914 | 1207153.4542 | 2682515.8797 | 1207158.8003
41 | 2682515.8797 | 1207158.8003 | 2682524.7548 | 1207162.6365 | 2682534.978 | 1207163.5785 | 2682547.6844 | 1207163.1316 | 2682554.8454 | 1207167.7336 | 2682561.6337 | 1207169.0394 | 2682568.4565 | 1207165.6538 | 2682575.1761 | 1207152.6939 | 2682592.9408 | 1207135.6954 | 2682617.3863 | 1207118.4336 | 2682638.2739 | 1207105.4921 | 2682642.8598 | 1207099.9965 | 2682645.3712 | 1207088.8908 | 2682650.8215 | 1207083.0292 | 2682659.8141 | 1207079.4847 | 2682670.0678 | 1207077.1363 | 2682690.7182 | 1207069.8064 | 2682696.3451 | 1207066.0263 | 2682701.2849 | 1207056.9445 | 2682707.5264 | 1207051.0716 | 2682710.8108 | 1207047.3036 | 2682719.4147 | 1207047.6674 | 2682724.5853 | 1207043.8922 | 2682727.8402 | 1207040.0571 | 2682733.6445 | 1207035.4102
42 | 2682374.093 | 1207072.9095 | 2682370.2681 | 1207086.0985 | 2682373.1693 | 1207094.644 | 2682374.2955 | 1207098.4509 | 2682371.2548 | 1207109.9274 | 2682370.5012 | 1207116.588 | 2682371.7516 | 1207121.3194 | 2682376.7016 | 1207124.1339 | 2682385.8866 | 1207124.2607 | 2682399.5421 | 1207123.9267 | 2682406.5871 | 1207127.026 | 2682419.1246 | 1207131.6576 | 2682428.9654 | 1207131.6601 | 2682435.0423 | 1207128.8644 | 2682445.1618 | 1207127.9591 | 2682454.9939 | 1207129.1401 | 2682459.5178 | 1207134.1725 | 2682465.2539 | 1207146.6819 | 2682468.3637 | 1207168.1832 | 2682471.1518 | 1207175.5486 | 2682471.8171 | 1207178.582 | 2682473.6352 | 1207186.8013 | 2682473.871 | 1207187.8941 | 2682478.1431 | 1207191.8779 | 2682486.1714 | 1207190.4101 | 2682491.1772 | 1207189.1785 | 2682496.3685 | 1207183.8801 | 2682499.2154 | 1207177.6377 | 2682502.971 | 1207171.6746 | 2682508.4194 | 1207167.0358 | 2682515.8797 | 1207158.8003
43 | 2682372.042 | 1207069.4735 | 2682371.5511 | 1207066.9817 | 2682367.8365 | 1207061.1601 | 2682363.0009 | 1207057.7689 | 2682357.8811 | 1207057.8873 | 2682352.3366 | 1207060.6682 | 2682344.55 | 1207057.8478 | 2682333.2057 | 1207051.0537 | 2682322.2413 | 1207047.6003 | 2682302.3448 | 1207041.6555 | 2682281.5505 | 1207040.1457 | 2682271.5848 | 1207038.1627 | 2682264.7666 | 1207039.0137 | 2682256.4445 | 1207039.7217 | 2682251.5414 | 1207042.3225 | 2682245.5243 | 1207046.8425
44 | 2682374.093 | 1207072.9095 | 2682372.3044 | 1207070.8057 | 2682372.042 | 1207069.4735
45 | 2682198.8867 | 1206925.6336 | 2682202.5453 | 1206929.4642 | 2682199.0038 | 1206941.979 | 2682198.1133 | 1206952.518 | 2682199.564 | 1206965.3573 | 2682201.5029 | 1206973.1112 | 2682202.5067 | 1206988.5794 | 2682201.3113 | 1207001.3712 | 2682196.8513 | 1207014.3181 | 2682190.6295 | 1207021.5593 | 2682183.3884 | 1207032.6779 | 2682184.5712 | 1207036.252 | 2682193.8931 | 1207039.1488 | 2682203.4105 | 1207041.6593 | 2682211.6084 | 1207038.9259 | 2682219.6037 | 1207035.9897 | 2682223.3043 | 1207034.006 | 2682225.539 | 1207034.6483 | 2682227.7522 | 1207042.9175 | 2682235.8118 | 1207046.3529 | 2682238.148 | 1207047.3524 | 2682245.5243 | 1207046.8425
46 | 2682374.093 | 1207072.9095 | 2682379.4086 | 1207072.9273 | 2682381.4892 | 1207070.9547 | 2682382.3878 | 1207063.7069 | 2682379.194 | 1207043.4886
47 | 2682198.8867 | 1206925.6336 | 2682196.2472 | 1206933.4023 | 2682190.4912 | 1206942.1509 | 2682192.5201 | 1206945.5921 | 2682190.6541 | 1206951.8593 | 2682188.8826 | 1206954.5938
48 | 2682198.8867 | 1206925.6336 | 2682194.4022 | 1206919.379 | 2682190.7505 | 1206916.7048 | 2682190.1769 | 1206911.4157 | 2682193.6638 | 1206902.0197
49 | 2682379.194 | 1207043.4886 | 2682378.7021 | 1207040.3744 | 2682377.1724 | 1207034.9382
50 | 2682126.9211 | 1207029.2034 | 2682152.0554 | 1207002.8609 | 2682170.6308 | 1206984.9161 | 2682181.6016 | 1206965.8326 | 2682188.8826 | 1206954.5938
51 | 2681880.0453 | 1207159.0246 | 2681884.4361 | 1207158.2732 | 2681916.4764 | 1207137.7106 | 2681941.6266 | 1207099.4534 | 2681948.0647 | 1207093.0488 | 2681974.1745 | 1207097.8881 | 2681999.2047 | 1207102.7127 | 2682013.5215 | 1207097.9729 | 2682021.3448 | 1207092.0544 | 2682023.3138 | 1207084.3543 | 2682017.2824 | 1207072.2303 | 2682012.0181 | 1207060.7284 | 2682014.4306 | 1207053.9683 | 2682024.7757 | 1207047.7175 | 2682037.7145 | 1207050.2969 | 2682045.9737 | 1207049.1764 | 2682056.2822 | 1207048.362 | 2682071.6398 | 1207049.7962 | 2682080.0067 | 1207050.2559 | 2682087.7438 | 1207046.7378 | 2682095.5585 | 1207047.5236 | 2682105.8547 | 1207047.5985 | 2682111.6233 | 1207042.3411 | 2682125.3025 | 1207030.8997 | 2682126.9211 | 1207029.2034
52 | 2682299.7377 | 1206640.6733 | 2682291.3783 | 1206637.4227 | 2682285.805 | 1206641.6772
53 | 2681940.4312 | 1206982.1507 | 2681936.523 | 1206968.2437 | 2681928.2603 | 1206949.6628 | 2681928.132 | 1206936.297 | 2681936.8162 | 1206908.6762 | 2681943.4825 | 1206901.7299 | 2681970.37 | 1206898.1856 | 2682005.0062 | 1206887.5321 | 2682030.1987 | 1206879.4256

## bus_geodata
| x | y | coords
0 | 2681820.5095 | 1206980.783
1 | 2681807.7916 | 1206982.6993
2 | 2681880.8478 | 1206980.2877
3 | 2681903.3285 | 1206982.9584
4 | 2681865.5762 | 1207129.2935
5 | 2681879.0616 | 1207149.0907
6 | 2681848.3542 | 1207098.151
7 | 2682160.6631 | 1206552.488
8 | 2682222.1516 | 1206693.2271
9 | 2682138.6722 | 1206552.2003
10 | 2682068.596 | 1206567.7341
11 | 2682073.8719 | 1206719.4261
12 | 2682513.4532 | 1206824.463
13 | 2682514.8669 | 1206842.672
14 | 2682808.9935 | 1207653.2324
15 | 2682800.6584 | 1207645.6119
16 | 2682624.5696 | 1207948.5047
17 | 2682637.172 | 1207844.4526
18 | 2682654.2007 | 1207859.1328
19 | 2682768.4936 | 1207642.6098
20 | 2682120.1478 | 1207825.0999
21 | 2682782.8647 | 1207636.815
22 | 2682838.1643 | 1207506.1975
23 | 2682860.3181 | 1207505.1602
24 | 2682838.0685 | 1207506.1744
25 | 2682861.9875 | 1207511.9878
26 | 2682861.2564 | 1207500.0255
27 | 2682858.8612 | 1207475.3653
28 | 2682869.736 | 1207505.7708
29 | 2682888.0678 | 1207545.6048
30 | 2682593.9252 | 1207655.6881
31 | 2682664.1845 | 1207553.4107
32 | 2682546.7068 | 1207591.3581
33 | 2681783.4821 | 1207959.2815
34 | 2681864.3502 | 1207590.6864
35 | 2681849.06 | 1207582.7574
36 | 2682515.8797 | 1207158.8003
37 | 2682372.042 | 1207069.4735
38 | 2682245.5243 | 1207046.8425
39 | 2682374.093 | 1207072.9095
40 | 2682198.8867 | 1206925.6336
41 | 2682379.194 | 1207043.4886
42 | 2682188.8826 | 1206954.5938
43 | 2682193.6638 | 1206902.0197
44 | 2682498.0896 | 1206980.74
45 | 2682733.6445 | 1207035.4102
46 | 2682377.1724 | 1207034.9382
47 | 2682126.9211 | 1207029.2033
48 | 2681880.0453 | 1207159.0246
49 | 2681966.4222 | 1206760.7289
50 | 2682285.805 | 1206641.6772
51 | 2682030.1987 | 1206879.4256
52 | 2681940.4312 | 1206982.1507
53 | 2682299.7377 | 1206640.6733
54 | 2681804.5293 | 1206982.9437
55 | 2682515.8797 | 1207158.8003

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99144 | -0.061962 | 0 | 0
1 | 0.99144 | -0.061997 | 0.00013474 | 3.377e-05
2 | 0.99146 | -0.061795 | 0.00055137 | 0.00013819
3 | 0.99149 | -0.061604 | 0.00041743 | 0.00010462
4 | 0.99202 | -0.057778 | 0.00095767 | 0.00024001
5 | 0.9921 | -0.05717 | 0.0002567 | 6.4334e-05
6 | 0.99194 | -0.058323 | 0 | 0
7 | 0.99302 | -0.050666 | 0.00025059 | 6.2804e-05
8 | 0.99292 | -0.051399 | 0 | 0
9 | 0.99305 | -0.050495 | 0.00025921 | 6.4965e-05
10 | 0.99315 | -0.049743 | 0 | 0
11 | 0.99336 | -0.048199 | 0 | 0
12 | 0.99962 | -0.0027619 | 0.00060976 | 0.00015282
13 | 0.99964 | -0.0026416 | 0 | 0
14 | 0.98691 | -0.093736 | 0.00040251 | 0.00010088
15 | 0.98691 | -0.09369 | 0 | 0
16 | 0.98375 | -0.1166 | 0.00128 | 0.00032081
17 | 0.98395 | -0.11519 | 0 | 0
18 | 0.98389 | -0.1156 | 0.0017412 | 0.00043638
19 | 0.98653 | -0.096472 | 0.0011936 | 0.00029914
20 | 0.98157 | -0.13264 | 0.00076437 | 0.00019157
21 | 0.9867 | -0.095226 | 0 | 0
22 | 0.99002 | -0.071301 | 0.00044168 | 0.00011069
23 | 0.99004 | -0.071141 | 0 | 0
24 | 0.99002 | -0.071301 | 0.00025369 | 6.3579e-05
25 | 0.99004 | -0.071168 | 0.00037178 | 9.3176e-05
26 | 0.99005 | -0.071084 | 0 | 0
27 | 0.99039 | -0.068602 | 0 | 0
28 | 0.98993 | -0.071927 | 0.00010004 | 2.5072e-05
29 | 0.98942 | -0.075625 | 0 | 0
30 | 0.99299 | -0.050016 | 0 | 0
31 | 0.99333 | -0.04757 | 0.00011102 | 2.7825e-05
32 | 0.99221 | -0.055541 | 0.001889 | 0.00047343
33 | 0.9803 | -0.14188 | 0 | 0
34 | 0.97898 | -0.15139 | 0 | 0
35 | 0.97892 | -0.15182 | 0.0024036 | 0.00060239
36 | 1 | 0 | -0.021241 | -0.0050668
37 | 0.99686 | -0.022582 | 0.00052797 | 0.00013232
38 | 0.99561 | -0.031663 | 0.00020925 | 5.2442e-05
39 | 0.9969 | -0.022293 | 0 | 0
40 | 0.99398 | -0.043548 | 0 | 0
41 | 0.99682 | -0.022883 | 0.0013467 | 0.00033751
42 | 0.99383 | -0.044649 | 0.00042601 | 0.00010677
43 | 0.99387 | -0.044347 | 0.0015411 | 0.00038625
44 | 0.99979 | -0.0015581 | 0 | 0
45 | 0.99989 | -0.00079006 | 0.00027308 | 6.844e-05
46 | 0.99682 | -0.022908 | 0.00028426 | 7.1242e-05
47 | 0.99343 | -0.047535 | 0.00016879 | 4.2302e-05
48 | 0.99214 | -0.056894 | 0 | 0
49 | 0.99328 | -0.048785 | 0.00026493 | 6.6398e-05
50 | 0.99287 | -0.051784 | 0.00027172 | 6.81e-05
51 | 0.9915 | -0.061512 | 0.00021764 | 5.4545e-05
52 | 0.99156 | -0.061106 | 0 | 0
53 | 0.99287 | -0.051814 | 0.00018255 | 4.5752e-05
54 | 0.99143 | -0.062001 | 0.00012722 | 3.1885e-05
55 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.00026197 | 6.5447e-05 | -0.00026197 | -6.5613e-05 | 1.2404e-09 | -1.6538e-07 | 0.0003931 | 0.00039316 | 0.00039316 | 0.99144 | -0.061962 | 0.99144 | -0.061997 | 0.14562
1 | -0.00026197 | -6.5447e-05 | 0.00026197 | 6.4653e-05 | 5.9521e-09 | -7.943e-07 | 0.0003931 | 0.00039282 | 0.0003931 | 0.99144 | -0.061962 | 0.99146 | -0.061795 | 0.14559
2 | 0.00012722 | 3.1843e-05 | -0.00012722 | -3.1885e-05 | 7.4563e-11 | -4.2243e-08 | 0.00019093 | 0.00019094 | 0.00019094 | 0.99144 | -0.061997 | 0.99143 | -0.062001 | 0.07072
3 | -0.00081334 | -0.00020284 | 0.00081337 | 0.00020255 | 2.1307e-08 | -2.8754e-07 | 0.0012203 | 0.0012202 | 0.0012203 | 0.99146 | -0.061795 | 0.99149 | -0.061604 | 0.45198
4 | -0.0012308 | -0.00030717 | 0.0012309 | 0.00030669 | 8.3954e-08 | -4.766e-07 | 0.0018467 | 0.0018465 | 0.0018467 | 0.99149 | -0.061604 | 0.99156 | -0.061106 | 0.68397
5 | -0.0024068 | -0.00059639 | 0.002407 | 0.00059615 | 1.9811e-07 | -2.3874e-07 | 0.0036078 | 0.0036077 | 0.0036078 | 0.99202 | -0.057778 | 0.9921 | -0.05717 | 1.3362
6 | 0.0014492 | 0.00035637 | -0.0014491 | -0.0003568 | 1.0546e-07 | -4.2218e-07 | 0.0021714 | 0.0021715 | 0.0021715 | 0.99202 | -0.057778 | 0.99194 | -0.058323 | 0.80427
7 | -0.0026637 | -0.00066048 | 0.0026638 | 0.00066039 | 9.9776e-08 | -9.1146e-08 | 0.0039927 | 0.0039927 | 0.0039927 | 0.9921 | -0.05717 | 0.99214 | -0.056894 | 1.4788
8 | 0.0014491 | 0.0003568 | -0.0014485 | -0.00035897 | 5.4272e-07 | -2.1704e-06 | 0.0021715 | 0.0021724 | 0.0021724 | 0.99194 | -0.058323 | 0.99156 | -0.061106 | 0.80457
9 | 0.00045434 | 0.00011061 | -0.0004543 | -0.00011258 | 4.4318e-08 | -1.9697e-06 | 0.00067968 | 0.00068037 | 0.00068037 | 0.99302 | -0.050666 | 0.99292 | -0.051399 | 0.25199
10 | -0.00070493 | -0.00017342 | 0.00070495 | 0.00017312 | 1.6102e-08 | -2.9367e-07 | 0.0010552 | 0.0010551 | 0.0010552 | 0.99302 | -0.050666 | 0.99305 | -0.050495 | 0.39081
11 | 0.0004543 | 0.00011258 | -0.00045427 | -0.00011364 | 2.3921e-08 | -1.0613e-06 | 0.00068037 | 0.00068075 | 0.00068075 | 0.99292 | -0.051399 | 0.99287 | -0.051784 | 0.25213
12 | -0.00096416 | -0.00023809 | 0.00096426 | 0.00023716 | 9.7179e-08 | -9.2992e-07 | 0.0014435 | 0.0014431 | 0.0014435 | 0.99305 | -0.050495 | 0.99315 | -0.049743 | 0.53462
13 | -0.00096426 | -0.00023716 | 0.00096445 | 0.00023527 | 1.9716e-07 | -1.8887e-06 | 0.0014431 | 0.0014425 | 0.0014431 | 0.99315 | -0.049743 | 0.99336 | -0.048199 | 0.5345
14 | 0.00026495 | 6.3681e-05 | -0.00026493 | -6.6398e-05 | 2.0641e-08 | -2.7169e-06 | 0.00039594 | 0.00039689 | 0.00039689 | 0.99336 | -0.048199 | 0.99328 | -0.048785 | 0.147
15 | -0.0012294 | -0.00029895 | 0.00123 | 0.00029542 | 6.1221e-07 | -3.5271e-06 | 0.0018384 | 0.0018371 | 0.0018384 | 0.99336 | -0.048199 | 0.99387 | -0.044347 | 0.68089
16 | -0.00060976 | -0.00015282 | 0.00060977 | 0.00015257 | 1.0141e-08 | -2.5472e-07 | 0.00090768 | 0.00090759 | 0.00090768 | 0.99962 | -0.0027619 | 0.99964 | -0.0026416 | 0.33618
17 | -0.00060977 | -0.00015257 | 0.00060986 | 0.00015031 | 8.9832e-08 | -2.259e-06 | 0.00090759 | 0.00090679 | 0.00090759 | 0.99964 | -0.0026416 | 0.99979 | -0.0015581 | 0.33614
18 | -0.00040251 | -0.00010088 | 0.00040252 | 0.00010074 | 2.5914e-09 | -1.4309e-07 | 0.00060689 | 0.00060684 | 0.00060689 | 0.98691 | -0.093736 | 0.98691 | -0.09369 | 0.22478
19 | -0.0078179 | -0.0019417 | 0.0078371 | 0.0019463 | 1.9229e-05 | 4.5514e-06 | 0.011781 | 0.01178 | 0.011781 | 0.98691 | -0.09369 | 0.98942 | -0.075625 | 4.3634
20 | 0.0074154 | 0.001841 | -0.0074139 | -0.0018407 | 1.5481e-06 | 3.416e-07 | 0.011174 | 0.011174 | 0.011174 | 0.98691 | -0.09369 | 0.9867 | -0.095226 | 4.1387
21 | -0.00128 | -0.00032081 | 0.0012803 | 0.00031956 | 2.4812e-07 | -1.2519e-06 | 0.0019362 | 0.0019357 | 0.0019362 | 0.98375 | -0.1166 | 0.98395 | -0.11519 | 0.71711
22 | 0.0017413 | 0.00043613 | -0.0017412 | -0.00043638 | 9.7305e-08 | -2.482e-07 | 0.0026332 | 0.0026333 | 0.0026333 | 0.98395 | -0.11519 | 0.98389 | -0.1156 | 0.9753
23 | -0.0062032 | -0.0015388 | 0.006219 | 0.0015412 | 1.5761e-05 | 2.4021e-06 | 0.0093755 | 0.0093742 | 0.0093755 | 0.98395 | -0.11519 | 0.98653 | -0.096472 | 3.4724
24 | 0.0031817 | 0.00078315 | -0.0031742 | -0.00078684 | 7.4625e-06 | -3.6855e-06 | 0.0048066 | 0.0048089 | 0.0048089 | 0.98395 | -0.11519 | 0.98157 | -0.13264 | 1.7811
25 | -0.0074126 | -0.0018404 | 0.0074139 | 0.0018407 | 1.2557e-06 | 2.7717e-07 | 0.011175 | 0.011174 | 0.011175 | 0.98653 | -0.096472 | 0.9867 | -0.095226 | 4.1387
26 | 0.0024099 | 0.00059527 | -0.0024068 | -0.00059868 | 3.0145e-06 | -3.4157e-06 | 0.0036502 | 0.0036518 | 0.0036518 | 0.98157 | -0.13264 | 0.9803 | -0.14188 | 1.3525
27 | -0.00069536 | -0.00017427 | 0.00069538 | 0.00017399 | 1.5358e-08 | -2.8386e-07 | 0.0010451 | 0.001045 | 0.0010451 | 0.99002 | -0.071301 | 0.99004 | -0.071141 | 0.38709
28 | 0.00025369 | 6.3578e-05 | -0.00025369 | -6.3579e-05 | 9.1646e-12 | -1.2625e-09 | 0.00038129 | 0.00038129 | 0.00038129 | 0.99002 | -0.071301 | 0.99002 | -0.071301 | 0.14122
29 | 0.00037178 | 9.3086e-05 | -0.00037178 | -9.3176e-05 | 1.3694e-09 | -8.9861e-08 | 0.00055875 | 0.00055878 | 0.00055878 | 0.99004 | -0.071141 | 0.99004 | -0.071168 | 0.20695
30 | -0.0010672 | -0.00026708 | 0.0010672 | 0.00026701 | 8.378e-09 | -6.3904e-08 | 0.0016038 | 0.0016038 | 0.0016038 | 0.99004 | -0.071141 | 0.99005 | -0.071084 | 0.59399
31 | -0.0090092 | -0.0022395 | 0.0090122 | 0.0022404 | 3.0476e-06 | 8.2917e-07 | 0.013534 | 0.013534 | 0.013534 | 0.99005 | -0.071084 | 0.99039 | -0.068602 | 5.0126
32 | 0.007942 | 0.0019725 | -0.0079411 | -0.0019723 | 9.0971e-07 | 2.1819e-07 | 0.01193 | 0.01193 | 0.01193 | 0.99005 | -0.071084 | 0.98993 | -0.071927 | 4.4187
33 | -0.0090122 | -0.0022404 | 0.0090381 | 0.0022474 | 2.5867e-05 | 7.0276e-06 | 0.013534 | 0.013533 | 0.013534 | 0.99039 | -0.068602 | 0.99333 | -0.04757 | 5.0126
34 | 0.0078411 | 0.0019472 | -0.0078371 | -0.0019463 | 3.9417e-06 | 9.3112e-07 | 0.01178 | 0.01178 | 0.01178 | 0.98993 | -0.071927 | 0.98942 | -0.075625 | 4.363
35 | -0.0018905 | -0.00047028 | 0.0018911 | 0.00046889 | 6.2891e-07 | -1.385e-06 | 0.0028317 | 0.0028311 | 0.0028317 | 0.99299 | -0.050016 | 0.99333 | -0.04757 | 1.0488
36 | 0.0018905 | 0.00047028 | -0.001889 | -0.00047343 | 1.435e-06 | -3.1536e-06 | 0.0028317 | 0.002833 | 0.002833 | 0.99299 | -0.050016 | 0.99221 | -0.055541 | 1.0492
37 | -0.01104 | -0.0027441 | 0.011112 | 0.0027662 | 7.1871e-05 | 2.2149e-05 | 0.01653 | 0.016528 | 0.01653 | 0.99333 | -0.04757 | 1 | 0 | 6.1224
38 | 0.0024068 | 0.00059868 | -0.0024037 | -0.00060223 | 3.1416e-06 | -3.5429e-06 | 0.0036518 | 0.0036535 | 0.0036535 | 0.9803 | -0.14188 | 0.97898 | -0.15139 | 1.3531
39 | 0.0024037 | 0.00060223 | -0.0024036 | -0.00060239 | 1.4348e-07 | -1.6139e-07 | 0.0036535 | 0.0036536 | 0.0036536 | 0.97898 | -0.15139 | 0.97892 | -0.15182 | 1.3532
40 | 0.00060999 | 0.00014716 | -0.00060986 | -0.00015031 | 1.2484e-07 | -3.1473e-06 | 0.0009057 | 0.00090679 | 0.00090679 | 1 | 0 | 0.99979 | -0.0015581 | 0.33585
41 | 0.00027311 | 6.4828e-05 | -0.00027308 | -6.844e-05 | 2.8374e-08 | -3.612e-06 | 0.00040515 | 0.00040639 | 0.00040639 | 1 | 0 | 0.99989 | -0.00079006 | 0.15051
42 | 0.0084462 | 0.0020885 | -0.0084208 | -0.0020821 | 2.5351e-05 | 6.3815e-06 | 0.012558 | 0.012559 | 0.012559 | 1 | 0 | 0.9969 | -0.022293 | 4.6516
43 | 0.0062615 | 0.0015415 | -0.0062539 | -0.0015404 | 7.6027e-06 | 1.1045e-06 | 0.0093368 | 0.0093375 | 0.0093375 | 0.99686 | -0.022582 | 0.99561 | -0.031663 | 3.4583
44 | -0.0067895 | -0.0016738 | 0.0067897 | 0.0016739 | 2.635e-07 | 4.7641e-08 | 0.010125 | 0.010125 | 0.010125 | 0.99686 | -0.022582 | 0.9969 | -0.022293 | 3.75
45 | 0.0060447 | 0.001488 | -0.006035 | -0.0014867 | 9.6043e-06 | 1.2407e-06 | 0.0090247 | 0.0090256 | 0.0090256 | 0.99561 | -0.031663 | 0.99398 | -0.043548 | 3.3428
46 | 0.0016311 | 0.00040822 | -0.0016309 | -0.00040864 | 1.3297e-07 | -4.1761e-07 | 0.0024344 | 0.0024346 | 0.0024346 | 0.9969 | -0.022293 | 0.99682 | -0.022883 | 0.90169
47 | 0.0032636 | 0.00080531 | -0.0032631 | -0.00080554 | 4.8276e-07 | -2.3512e-07 | 0.0048812 | 0.0048814 | 0.0048814 | 0.99398 | -0.043548 | 0.99383 | -0.044649 | 1.8079
48 | 0.0027715 | 0.00068143 | -0.0027712 | -0.00068167 | 2.9544e-07 | -2.4362e-07 | 0.0041444 | 0.0041445 | 0.0041445 | 0.99398 | -0.043548 | 0.99387 | -0.044347 | 1.535
49 | 0.00028426 | 7.1127e-05 | -0.00028426 | -7.1242e-05 | 9.8864e-10 | -1.1434e-07 | 0.00042429 | 0.00042433 | 0.00042433 | 0.99682 | -0.022883 | 0.99682 | -0.022908 | 0.15716
50 | 0.0028371 | 0.00069877 | -0.002836 | -0.00069962 | 1.0973e-06 | -8.4268e-07 | 0.0042435 | 0.004244 | 0.004244 | 0.99383 | -0.044649 | 0.99343 | -0.047535 | 1.5718
51 | 0.0026672 | 0.00065731 | -0.0026638 | -0.00066039 | 3.3613e-06 | -3.0782e-06 | 0.0039912 | 0.0039927 | 0.0039927 | 0.99343 | -0.047535 | 0.99214 | -0.056894 | 1.4788
52 | 0.00018255 | 4.5545e-05 | -0.00018255 | -4.5752e-05 | 7.4622e-10 | -2.0639e-07 | 0.00027352 | 0.00027359 | 0.00027359 | 0.99287 | -0.051784 | 0.99287 | -0.051814 | 0.10133
53 | -0.00021764 | -5.4545e-05 | 0.00021765 | 5.2272e-05 | 1.1724e-08 | -2.2727e-06 | 0.00032662 | 0.00032583 | 0.00032662 | 0.9915 | -0.061512 | 0.99156 | -0.061106 | 0.12097

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.021241 | 0.0050668

## res_load
| p_mw | q_mvar
0 | 0.00013474 | 3.377e-05
1 | 0.00055137 | 0.00013819
2 | 0.00041743 | 0.00010462
3 | 0.00095767 | 0.00024001
4 | 0.0002567 | 6.4334e-05
5 | 0.00025059 | 6.2804e-05
6 | 0.00025921 | 6.4965e-05
7 | 0.00060976 | 0.00015282
8 | 0.00040251 | 0.00010088
9 | 0.00128 | 0.00032081
10 | 0.0017412 | 0.00043638
11 | 0.0011936 | 0.00029914
12 | 0.00076437 | 0.00019157
13 | 0.00044168 | 0.00011069
14 | 0.00025369 | 6.3579e-05
15 | 0.00037178 | 9.3176e-05
16 | 0.00010004 | 2.5072e-05
17 | 0.00011102 | 2.7825e-05
18 | 0.001889 | 0.00047343
19 | 0.0024036 | 0.00060239
20 | 0.00052797 | 0.00013232
21 | 0.00020925 | 5.2442e-05
22 | 0.0013467 | 0.00033751
23 | 0.00042601 | 0.00010677
24 | 0.0015411 | 0.00038625
25 | 0.00027308 | 6.844e-05
26 | 0.00028426 | 7.1242e-05
27 | 0.00016879 | 4.2302e-05
28 | 0.00026493 | 6.6398e-05
29 | 0.00027172 | 6.81e-05
30 | 0.00021764 | 5.4545e-05
31 | 0.00018255 | 4.5752e-05
32 | 0.00012722 | 3.1885e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1