## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1311-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1311-4_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1311-4_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1311-4_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1311-4_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1311-4_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1311-4_0_4_node_23 | 0.4 | n |  | TRUE
7 | bus_LV_1311-4_0_4_node_24 | 0.4 | n |  | TRUE
8 | bus_LV_1311-4_0_4_node_25 | 0.4 | n |  | TRUE
9 | bus_LV_1311-4_0_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_1311-4_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1311-4_0_4_node_21 | 0.4 | n |  | TRUE
12 | bus_LV_1311-4_0_4_node_65 | 0.4 | n |  | TRUE
13 | bus_LV_1311-4_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_1311-4_0_4_node_64 | 0.4 | n |  | TRUE
15 | bus_LV_1311-4_0_4_node_27 | 0.4 | n |  | TRUE
16 | bus_LV_1311-4_0_4_node_28 | 0.4 | n |  | TRUE
17 | bus_LV_1311-4_0_4_node_67 | 0.4 | n |  | TRUE
18 | bus_LV_1311-4_0_4_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_1311-4_0_4_node_66 | 0.4 | n |  | TRUE
20 | bus_LV_1311-4_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_1311-4_0_4_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_1311-4_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1311-4_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_1311-4_0_4_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_1311-4_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_1311-4_0_4_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_1311-4_0_4_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_1311-4_0_4_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_1311-4_0_4_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_1311-4_0_4_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_1311-4_0_4_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_1311-4_0_4_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_1311-4_0_4_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_1311-4_0_4_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_1311-4_0_4_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_1311-4_0_4_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_1311-4_0_4_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_1311-4_0_4_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_1311-4_0_4_node_59 | 0.4 | n |  | TRUE
40 | bus_LV_1311-4_0_4_node_62 | 0.4 | n |  | TRUE
41 | bus_LV_1311-4_0_4_node_99 | 0.4 | n |  | TRUE
42 | bus_LV_1311-4_0_4_node_60 | 0.4 | n |  | TRUE
43 | bus_LV_1311-4_0_4_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_1311-4_0_4_node_46 | 0.4 | n |  | TRUE
45 | bus_LV_1311-4_0_4_node_47 | 0.4 | n |  | TRUE
46 | bus_LV_1311-4_0_4_node_48 | 0.4 | n |  | TRUE
47 | bus_LV_1311-4_0_4_node_49 | 0.4 | n |  | TRUE
48 | bus_LV_1311-4_0_4_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_1311-4_0_4_node_58 | 0.4 | n |  | TRUE
50 | bus_LV_1311-4_0_4_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_1311-4_0_4_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_1311-4_0_4_node_51 | 0.4 | n |  | TRUE
53 | bus_LV_1311-4_0_4_node_61 | 0.4 | n |  | TRUE
54 | bus_MV_127_0_node_41 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1311-4_0_4_load_0 | 0 | 0.0033642 | 0.00084315 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1311-4_0_4_load_1 | 1 | 0.00273 | 0.00068421 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1311-4_0_4_load_3 | 3 | 0.0035356 | 0.00088609 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1311-4_0_4_load_5 | 5 | 0.0031072 | 0.00077873 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1311-4_0_4_load_23 | 6 | 0.0036143 | 0.00090583 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1311-4_0_4_load_24 | 7 | 0.002755 | 0.00069046 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1311-4_0_4_load_9 | 9 | 0.0015827 | 0.00039666 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1311-4_0_4_load_6 | 10 | 0.017697 | 0.0044354 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1311-4_0_4_load_21 | 11 | 0.0020546 | 0.00051492 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1311-4_0_4_load_65 | 12 | 0.0032361 | 0.00081104 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1311-4_0_4_load_10 | 13 | 0.0026478 | 0.0006636 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1311-4_0_4_load_64 | 14 | 0.0024259 | 0.000608 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1311-4_0_4_load_28 | 16 | 0.0016689 | 0.00041827 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1311-4_0_4_load_67 | 17 | 0.0016683 | 0.00041813 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1311-4_0_4_load_19 | 18 | 0.0055901 | 0.001401 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1311-4_0_4_load_66 | 19 | 0.0042722 | 0.0010707 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1311-4_0_4_load_11 | 20 | 0.0036587 | 0.00091696 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1311-4_0_4_load_12 | 21 | 0.005046 | 0.0012646 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1311-4_0_4_load_13 | 22 | 0.0027837 | 0.00069765 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1311-4_0_4_load_17 | 24 | 0.0043594 | 0.0010926 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1311-4_0_4_load_14 | 25 | 0.0036736 | 0.00092069 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1311-4_0_4_load_15 | 26 | 0.0044727 | 0.001121 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1311-4_0_4_load_32 | 27 | 0.0014308 | 0.0003586 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1311-4_0_4_load_33 | 28 | 0.0016423 | 0.0004116 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1311-4_0_4_load_18 | 29 | 0.0032111 | 0.00080477 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1311-4_0_4_load_20 | 30 | 0.0036406 | 0.00091242 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1311-4_0_4_load_22 | 31 | 0.0024086 | 0.00060366 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1311-4_0_4_load_31 | 33 | 0.0026386 | 0.00066128 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1311-4_0_4_load_29 | 34 | 0.0020526 | 0.00051443 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1311-4_0_4_load_26 | 35 | 0.0078425 | 0.0019655 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1311-4_0_4_load_36 | 36 | 0.006558 | 0.0016436 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1311-4_0_4_load_35 | 37 | 0.0057881 | 0.0014506 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1311-4_0_4_load_34 | 38 | 0.0018362 | 0.0004602 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1311-4_0_4_load_62 | 40 | 0.0027458 | 0.00068816 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1311-4_0_4_load_99 | 41 | 0.0035856 | 0.00089864 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1311-4_0_4_load_60 | 42 | 0.0018575 | 0.00046552 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1311-4_0_4_load_37 | 43 | 0.0023265 | 0.00058307 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1311-4_0_4_load_46 | 44 | 0.0067596 | 0.0016941 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1311-4_0_4_load_47 | 45 | 0.0014892 | 0.00037322 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1311-4_0_4_load_48 | 46 | 0.0036838 | 0.00092324 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1311-4_0_4_load_49 | 47 | 0.0048874 | 0.0012249 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1311-4_0_4_load_57 | 48 | 0.0036203 | 0.00090734 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1311-4_0_4_load_52 | 50 | 0.0071399 | 0.0017894 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1311-4_0_4_load_50 | 51 | 0.00030682 | 7.6896e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1311-4_0_4_load_61 | 53 | 0.0024942 | 0.0006251 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1311-4_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1311-4_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.029606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1311-4_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.022692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1311-4_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.070447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1311-4_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.077519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1311-4_0_4_line_5 | NAYY 4x150 SE | 4 | 9 | 0.06342 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1311-4_0_4_line_6 | NAYY 4x150 SE | 4 | 10 | 0.02718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1311-4_0_4_line_7 | NAYY 4x150 SE | 5 | 11 | 0.020327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1311-4_0_4_line_8 | NAYY 4x150 SE | 6 | 7 | 0.037163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_1311-4_0_4_line_9 | NAYY 4x150 SE | 6 | 8 | 0.034181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_1311-4_0_4_line_10 | NAYY 4x150 SE | 7 | 35 | 0.022272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_1311-4_0_4_line_11 | NAYY 4x150 SE | 8 | 15 | 0.081825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_1311-4_0_4_line_12 | NAYY 4x150 SE | 8 | 16 | 0.0044321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1311-4_0_4_line_13 | NAYY 4x150 SE | 9 | 17 | 0.009825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1311-4_0_4_line_14 | NAYY 4x150 SE | 11 | 18 | 0.0050881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1311-4_0_4_line_15 | NAYY 4x150 SE | 12 | 13 | 0.038745 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_1311-4_0_4_line_16 | NAYY 4x150 SE | 12 | 14 | 0.024308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_1311-4_0_4_line_17 | NAYY 4x150 SE | 13 | 20 | 0.0066043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_1311-4_0_4_line_18 | NAYY 4x150 SE | 13 | 21 | 0.020733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1311-4_0_4_line_19 | NAYY 4x150 SE | 14 | 35 | 0.011961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_1311-4_0_4_line_20 | NAYY 4x150 SE | 15 | 39 | 0.17928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1311-4_0_4_line_21 | NAYY 4x150 SE | 15 | 40 | 0.1007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_1311-4_0_4_line_22 | NAYY 4x150 SE | 17 | 19 | 0.01692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1311-4_0_4_line_23 | NAYY 4x150 SE | 18 | 29 | 0.031631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1311-4_0_4_line_24 | NAYY 4x150 SE | 20 | 22 | 0.0087166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_1311-4_0_4_line_25 | NAYY 4x150 SE | 22 | 23 | 0.035298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_1311-4_0_4_line_26 | NAYY 4x150 SE | 23 | 24 | 0.060402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_1311-4_0_4_line_27 | NAYY 4x150 SE | 23 | 25 | 0.012983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1311-4_0_4_line_28 | NAYY 4x150 SE | 24 | 27 | 0.035051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_1311-4_0_4_line_29 | NAYY 4x150 SE | 25 | 26 | 0.0028021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1311-4_0_4_line_30 | NAYY 4x150 SE | 27 | 28 | 0.027631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_1311-4_0_4_line_31 | NAYY 4x150 SE | 28 | 38 | 0.024571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_1311-4_0_4_line_32 | NAYY 4x150 SE | 29 | 30 | 0.019263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1311-4_0_4_line_33 | NAYY 4x150 SE | 30 | 31 | 0.023743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1311-4_0_4_line_34 | NAYY 4x150 SE | 31 | 32 | 0.0036219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1311-4_0_4_line_35 | NAYY 4x150 SE | 32 | 33 | 0.014613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1311-4_0_4_line_36 | NAYY 4x150 SE | 32 | 34 | 0.016563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1311-4_0_4_line_37 | NAYY 4x150 SE | 33 | 36 | 0.024021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_1311-4_0_4_line_38 | NAYY 4x150 SE | 36 | 37 | 0.0067308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_1311-4_0_4_line_39 | NAYY 4x150 SE | 37 | 38 | 0.02383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_1311-4_0_4_line_40 | NAYY 4x150 SE | 39 | 41 | 0.3665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1311-4_0_4_line_41 | NAYY 4x150 SE | 40 | 42 | 0.059871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_1311-4_0_4_line_42 | NAYY 4x150 SE | 41 | 43 | 0.13802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1311-4_0_4_line_43 | NAYY 4x150 SE | 42 | 49 | 0.074127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_1311-4_0_4_line_44 | NAYY 4x150 SE | 44 | 45 | 0.060488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1311-4_0_4_line_45 | NAYY 4x150 SE | 44 | 46 | 0.019283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1311-4_0_4_line_46 | NAYY 4x150 SE | 46 | 47 | 0.012736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1311-4_0_4_line_47 | NAYY 4x150 SE | 47 | 51 | 0.053337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1311-4_0_4_line_48 | NAYY 4x150 SE | 48 | 49 | 0.15094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1311-4_0_4_line_49 | NAYY 4x150 SE | 48 | 50 | 0.10321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1311-4_0_4_line_50 | NAYY 4x150 SE | 49 | 53 | 0.026048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1311-4_0_4_line_51 | NAYY 4x150 SE | 50 | 52 | 0.062228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1311-4_0_4_line_52 | NAYY 4x150 SE | 51 | 52 | 0.029701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1311-4_0_4_trafo_13 | 0.25 MVA 20/0.4 kV | 54 | 22 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2682114.4314 | 1205359.1718 | 2682127.9073 | 1205359.2874 | 2682136.073 | 1205358.3123
1 | 2682084.9448 | 1205357.4067 | 2682095.687 | 1205359.0109 | 2682114.4314 | 1205359.1718
2 | 2682136.073 | 1205358.3123 | 2682158.6048 | 1205355.6215
3 | 2682084.9448 | 1205357.4067 | 2682093.0057 | 1205353.1815 | 2682094.6118 | 1205348.1336 | 2682091.9769 | 1205345.0177 | 2682082.1989 | 1205345.2167 | 2682065.4254 | 1205352.3797 | 2682059.2673 | 1205352.6619 | 2682056.3302 | 1205351.0539 | 2682054.6869 | 1205348.2962 | 2682051.8363 | 1205344.8215 | 2682051.9991 | 1205337.9638
4 | 2682084.9448 | 1205357.4067 | 2682054.8487 | 1205368.6225 | 2682041.0361 | 1205377.3272 | 2682039.958 | 1205381.604 | 2682041.7556 | 1205385.3089 | 2682050.8584 | 1205387.7355 | 2682061.9739 | 1205387.2861
5 | 2682051.9991 | 1205337.9638 | 2682059.5861 | 1205336.6672 | 2682094.0067 | 1205330.7364 | 2682111.2154 | 1205327.8934 | 2682114.5384 | 1205327.4411
6 | 2682051.9991 | 1205337.9638 | 2682025.046 | 1205341.4717
7 | 2682082.2841 | 1205386.465 | 2682061.9739 | 1205387.2861
8 | 2682169.2723 | 1205536.5294 | 2682174.1209 | 1205535.5469 | 2682180.0497 | 1205533.1269 | 2682181.726 | 1205525.1893 | 2682182.5656 | 1205513.3822 | 2682183.4639 | 1205507.5889
9 | 2682214.887 | 1205497.9728 | 2682196.782 | 1205500.2028 | 2682188.7849 | 1205502.572 | 2682183.6425 | 1205506.437 | 2682183.4639 | 1205507.5889
10 | 2682169.2723 | 1205536.5294 | 2682166.569 | 1205537.0773 | 2682155.4052 | 1205537.9465 | 2682147.1227 | 1205537.2009
11 | 2682201.2988 | 1205572.6891 | 2682205.454 | 1205564.2742 | 2682205.4317 | 1205552.6331 | 2682203.367 | 1205540.1634 | 2682201.0596 | 1205525.4333 | 2682201.0057 | 1205517.7499 | 2682203.0876 | 1205507.9834 | 2682206.4837 | 1205503.872 | 2682214.887 | 1205497.9728
12 | 2682214.887 | 1205497.9728 | 2682219.1169 | 1205496.6493
13 | 2682124.2782 | 1205326.1497 | 2682124.2782 | 1205326.1497 | 2682118.189 | 1205326.9442 | 2682114.5384 | 1205327.4411
14 | 2682087.368 | 1205386.2595 | 2682082.2841 | 1205386.465
15 | 2682112.3606 | 1205529.4157 | 2682111.3402 | 1205490.6844
16 | 2682112.3606 | 1205529.4157 | 2682117.6804 | 1205528.6773 | 2682125.7907 | 1205532.4579 | 2682135.3696 | 1205535.2909
17 | 2682117.6206 | 1205488.7954 | 2682117.6206 | 1205488.7954 | 2682114.2387 | 1205490.2165 | 2682111.3402 | 1205490.6844
18 | 2682091.281 | 1205495.7266 | 2682103.2602 | 1205491.9889 | 2682111.3402 | 1205490.6844
19 | 2682135.3696 | 1205535.2909 | 2682139.5111 | 1205536.5158 | 2682147.1227 | 1205537.2009
20 | 2682201.2988 | 1205572.6891 | 2682195.5368 | 1205576.2565 | 2682182.8413 | 1205585.6211 | 2682159.4305 | 1205590.9024 | 2682130.0254 | 1205592.3321 | 2682098.7575 | 1205581.5287 | 2682072.9659 | 1205572.4239 | 2682059.9855 | 1205566.5529 | 2682045.7912 | 1205560.454 | 2682032.8888 | 1205556.0962
21 | 2682201.2988 | 1205572.6891 | 2682207.8615 | 1205566.7645 | 2682210.5976 | 1205559.2084 | 2682215.1765 | 1205555.9249 | 2682223.4235 | 1205554.1929 | 2682228.473 | 1205554.307 | 2682245.5689 | 1205555.1874 | 2682260.3357 | 1205557.2699 | 2682267.4931 | 1205560.6373 | 2682279.2281 | 1205560.2654 | 2682292.0963 | 1205558.2195
22 | 2682141.0867 | 1205327.9233 | 2682140.1698 | 1205327.8026 | 2682131.2263 | 1205326.501 | 2682124.2782 | 1205326.1497
23 | 2682087.368 | 1205386.2595 | 2682118.973 | 1205384.9818
24 | 2682126.1164 | 1205487.2223 | 2682121.4334 | 1205488.67 | 2682117.6206 | 1205488.7954
25 | 2682133.6664 | 1205455.4392 | 2682135.0788 | 1205468.8894 | 2682133.7173 | 1205479.9333 | 2682130.0483 | 1205484.5302 | 2682126.1164 | 1205487.2223
26 | 2682133.6664 | 1205455.4392 | 2682122.6183 | 1205458.945 | 2682104.343 | 1205461.3842 | 2682085.8456 | 1205460.0624 | 2682074.5867 | 1205456.434
27 | 2682133.6664 | 1205455.4392 | 2682146.6121 | 1205454.4499
28 | 2682074.5867 | 1205456.434 | 2682068.4038 | 1205454.4414 | 2682061.3104 | 1205450.2746 | 2682054.9348 | 1205444.2498 | 2682055.8375 | 1205439.4591 | 2682062.431 | 1205438.3774
29 | 2682149.1735 | 1205453.3139 | 2682146.6121 | 1205454.4499 | 2682146.6121 | 1205454.4499
30 | 2682089.169 | 1205431.8952 | 2682086.6588 | 1205433.0119 | 2682078.2224 | 1205435.7866 | 2682062.431 | 1205438.3774
31 | 2682089.169 | 1205431.8952 | 2682111.6191 | 1205421.908
32 | 2682138.2198 | 1205384.2037 | 2682118.973 | 1205384.9818
33 | 2682161.9433 | 1205383.2446 | 2682138.2198 | 1205384.2037
34 | 2682165.5622 | 1205383.0983 | 2682161.9433 | 1205383.2446
35 | 2682165.5622 | 1205383.0983 | 2682159.7484 | 1205396.5047 | 2682159.7484 | 1205396.5047
36 | 2682165.5622 | 1205383.0983 | 2682181.9702 | 1205380.8388
37 | 2682139.2826 | 1205408.9231 | 2682140.2693 | 1205408.4555 | 2682151.4552 | 1205402.6835 | 2682159.7484 | 1205396.5047
38 | 2682133.2003 | 1205411.8055 | 2682139.2826 | 1205408.9231
39 | 2682133.2003 | 1205411.8055 | 2682115.9199 | 1205419.9947 | 2682111.6191 | 1205421.908
40 | 2682032.8888 | 1205556.0962 | 2681767.6459 | 1205809.0202
41 | 2682347.3614 | 1205578.8828 | 2682346.7535 | 1205578.5744 | 2682320.9897 | 1205569.1354 | 2682302.0818 | 1205558.4346 | 2682293.9647 | 1205557.9225 | 2682292.0963 | 1205558.2195
42 | 2681739.171 | 1205944.0698 | 2681767.6459 | 1205809.0202
43 | 2682404.0918 | 1205622.8492 | 2682389.1726 | 1205615.8389 | 2682385.1368 | 1205607.3222 | 2682373.7701 | 1205600.8501 | 2682365.6445 | 1205592.6884 | 2682360.1213 | 1205585.0073 | 2682355.6521 | 1205583.0889 | 2682347.3614 | 1205578.8828
44 | 2682255.3537 | 1205789.8892 | 2682245.6526 | 1205798.0661 | 2682224.5785 | 1205809.372 | 2682213.0315 | 1205803.3092 | 2682204.0807 | 1205797.1889
45 | 2682255.3537 | 1205789.8892 | 2682265.393 | 1205781.4274 | 2682271.4515 | 1205782.5033
46 | 2682271.4515 | 1205782.5033 | 2682283.9914 | 1205784.7301 | 2682283.9914 | 1205784.7301
47 | 2682334.8516 | 1205791.4118 | 2682328.9099 | 1205788.5072 | 2682301.8387 | 1205792.3031 | 2682283.9914 | 1205784.7301
48 | 2682404.0918 | 1205622.8492 | 2682390.5177 | 1205625.8527 | 2682380.8563 | 1205631.4119 | 2682369.1775 | 1205640.9458 | 2682360.0097 | 1205644.366 | 2682345.1271 | 1205650.687 | 2682311.8001 | 1205666.2375 | 2682297.6494 | 1205671.9017 | 2682287.9454 | 1205674.4919 | 2682276.6702 | 1205675.7373 | 2682265.5107 | 1205673.1639
49 | 2682265.5107 | 1205673.1639 | 2682314.2342 | 1205764.1472
50 | 2682404.0918 | 1205622.8492 | 2682408.4972 | 1205624.4221 | 2682420.6678 | 1205628.8596 | 2682428.4936 | 1205631.9553
51 | 2682361.5353 | 1205804.4562 | 2682331.1193 | 1205780.5325 | 2682320.7565 | 1205770.2387 | 2682314.2342 | 1205764.1472
52 | 2682361.5353 | 1205804.4562 | 2682334.8516 | 1205791.4118

## bus_geodata
| x | y | coords
0 | 2682114.4314 | 1205359.1718
1 | 2682136.073 | 1205358.3123
2 | 2682084.9448 | 1205357.4067
3 | 2682158.6048 | 1205355.6215
4 | 2682051.9991 | 1205337.9638
5 | 2682061.9739 | 1205387.2861
6 | 2682183.4639 | 1205507.5889
7 | 2682169.2723 | 1205536.5294
8 | 2682214.887 | 1205497.9728
9 | 2682114.5384 | 1205327.4411
10 | 2682025.046 | 1205341.4717
11 | 2682082.2841 | 1205386.465
12 | 2682112.3606 | 1205529.4157
13 | 2682111.3402 | 1205490.6844
14 | 2682135.3696 | 1205535.2909
15 | 2682201.2988 | 1205572.6891
16 | 2682219.1169 | 1205496.6493
17 | 2682124.2782 | 1205326.1497
18 | 2682087.368 | 1205386.2595
19 | 2682141.0867 | 1205327.9233
20 | 2682117.6206 | 1205488.7954
21 | 2682091.281 | 1205495.7266
22 | 2682126.1164 | 1205487.2223
23 | 2682133.6664 | 1205455.4392
24 | 2682074.5867 | 1205456.434
25 | 2682146.6121 | 1205454.4499
26 | 2682149.1735 | 1205453.3139
27 | 2682062.431 | 1205438.3774
28 | 2682089.169 | 1205431.8952
29 | 2682118.973 | 1205384.9818
30 | 2682138.2198 | 1205384.2037
31 | 2682161.9433 | 1205383.2446
32 | 2682165.5622 | 1205383.0983
33 | 2682159.7484 | 1205396.5047
34 | 2682181.9702 | 1205380.8388
35 | 2682147.1227 | 1205537.2009
36 | 2682139.2826 | 1205408.9231
37 | 2682133.2003 | 1205411.8055
38 | 2682111.6191 | 1205421.908
39 | 2682032.8888 | 1205556.0962
40 | 2682292.0963 | 1205558.2195
41 | 2681767.6459 | 1205809.0202
42 | 2682347.3614 | 1205578.8828
43 | 2681739.171 | 1205944.0698
44 | 2682255.3537 | 1205789.8892
45 | 2682204.0807 | 1205797.1889
46 | 2682271.4515 | 1205782.5033
47 | 2682283.9914 | 1205784.7301
48 | 2682265.5107 | 1205673.1639
49 | 2682404.0918 | 1205622.8492
50 | 2682314.2342 | 1205764.1472
51 | 2682334.8516 | 1205791.4118
52 | 2682361.5353 | 1205804.4562
53 | 2682428.4936 | 1205631.9553
54 | 2682133.6664 | 1205455.4392

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97411 | -0.18186 | 0.0033642 | 0.00084315
1 | 0.97391 | -0.18329 | 0.00273 | 0.00068421
2 | 0.97452 | -0.17886 | 0 | 0
3 | 0.97379 | -0.18413 | 0.0035356 | 0.00088609
4 | 0.97192 | -0.19759 | 0 | 0
5 | 0.97849 | -0.15056 | 0.0031072 | 0.00077873
6 | 0.99387 | -0.042573 | 0.0036143 | 0.00090583
7 | 0.99512 | -0.03388 | 0.002755 | 0.00069046
8 | 0.99281 | -0.049962 | 0 | 0
9 | 0.97122 | -0.20264 | 0.0015827 | 0.00039666
10 | 0.97121 | -0.20268 | 0.017697 | 0.0044354
11 | 0.97962 | -0.14252 | 0.0020546 | 0.00051492
12 | 0.99745 | -0.017694 | 0.0032361 | 0.00081104
13 | 0.9992 | -0.0055416 | 0.0026478 | 0.0006636
14 | 0.9964 | -0.024944 | 0.0024259 | 0.000608
15 | 0.99037 | -0.067015 | 0 | 0
16 | 0.9928 | -0.050037 | 0.0016689 | 0.00041827
17 | 0.97113 | -0.20325 | 0.0016683 | 0.00041813
18 | 0.97991 | -0.1404 | 0.0055901 | 0.001401
19 | 0.97102 | -0.20402 | 0.0042722 | 0.0010707
20 | 0.99953 | -0.0032204 | 0.0036587 | 0.00091696
21 | 0.99905 | -0.0065878 | 0.005046 | 0.0012646
22 | 1 | 0 | -0.16658 | -0.041868
23 | 0.99771 | -0.015784 | 0 | 0
24 | 0.99414 | -0.040474 | 0.0043594 | 0.0010926
25 | 0.99756 | -0.016845 | 0.0036736 | 0.00092069
26 | 0.99754 | -0.01697 | 0.0044727 | 0.001121
27 | 0.99218 | -0.054106 | 0.0014308 | 0.0003586
28 | 0.99067 | -0.064689 | 0.0016423 | 0.0004116
29 | 0.98203 | -0.12543 | 0.0032111 | 0.00080477
30 | 0.9834 | -0.1157 | 0.0036406 | 0.00091242
31 | 0.98522 | -0.10287 | 0.0024086 | 0.00060366
32 | 0.98551 | -0.10082 | 0 | 0
33 | 0.98673 | -0.092279 | 0.0026386 | 0.00066128
34 | 0.98546 | -0.10117 | 0.0020526 | 0.00051443
35 | 0.99591 | -0.028371 | 0.0078425 | 0.0019655
36 | 0.98777 | -0.08495 | 0.006558 | 0.0016436
37 | 0.9881 | -0.082673 | 0.0057881 | 0.0014506
38 | 0.98935 | -0.07392 | 0.0018362 | 0.0004602
39 | 0.98883 | -0.07792 | 0 | 0
40 | 0.98779 | -0.085028 | 0.0027458 | 0.00068816
41 | 0.9857 | -0.10022 | 0.0035856 | 0.00089864
42 | 0.98638 | -0.094935 | 0.0018575 | 0.00046552
43 | 0.98524 | -0.10353 | 0.0023265 | 0.00058307
44 | 0.97081 | -0.20578 | 0.0067596 | 0.0016941
45 | 0.97068 | -0.20674 | 0.0014892 | 0.00037322
46 | 0.97104 | -0.20409 | 0.0036838 | 0.00092324
47 | 0.97127 | -0.20249 | 0.0048874 | 0.0012249
48 | 0.97857 | -0.15018 | 0.0036203 | 0.00090734
49 | 0.98473 | -0.10653 | 0 | 0
50 | 0.97489 | -0.17641 | 0.0071399 | 0.0017894
51 | 0.97258 | -0.193 | 0.00030682 | 7.6896e-05
52 | 0.97333 | -0.18763 | 0 | 0
53 | 0.98464 | -0.10719 | 0.0024942 | 0.0006251
54 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0062672 | 0.0015704 | -0.006266 | -0.0015702 | 1.2411e-06 | 2.0725e-07 | 0.0095735 | 0.0095736 | 0.0095736 | 0.97411 | -0.18186 | 0.97391 | -0.18329 | 3.5458
1 | -0.0096314 | -0.0024135 | 0.0096354 | 0.0024147 | 3.9989e-06 | 1.1693e-06 | 0.014713 | 0.014712 | 0.014713 | 0.97411 | -0.18186 | 0.97452 | -0.17886 | 5.4491
2 | 0.003536 | 0.00088597 | -0.0035356 | -0.00088609 | 4.1328e-07 | -1.2338e-07 | 0.0054025 | 0.0054026 | 0.0054026 | 0.97391 | -0.18329 | 0.97379 | -0.18413 | 2.0009
3 | 0.025305 | 0.0063509 | -0.025239 | -0.0063266 | 6.5638e-05 | 2.437e-05 | 0.038641 | 0.038642 | 0.038642 | 0.97452 | -0.17886 | 0.97192 | -0.19759 | 14.3118
4 | -0.03494 | -0.0087657 | 0.035078 | 0.0088176 | 0.0001377 | 5.199e-05 | 0.053354 | 0.053354 | 0.053354 | 0.97452 | -0.17886 | 0.97849 | -0.15056 | 19.7607
5 | 0.0075294 | 0.0018868 | -0.0075241 | -0.0018855 | 5.2589e-06 | 1.2373e-06 | 0.011528 | 0.011528 | 0.011528 | 0.97192 | -0.19759 | 0.97122 | -0.20264 | 4.2696
6 | 0.01771 | 0.0044398 | -0.017697 | -0.0044354 | 1.2469e-05 | 4.4592e-06 | 0.027114 | 0.027114 | 0.027114 | 0.97192 | -0.19759 | 0.97121 | -0.20268 | 10.0424
7 | -0.038185 | -0.0095964 | 0.038228 | 0.0096126 | 4.2785e-05 | 1.62e-05 | 0.058079 | 0.058079 | 0.058079 | 0.97849 | -0.15056 | 0.97962 | -0.14252 | 21.5107
8 | -0.046863 | -0.011812 | 0.04692 | 0.011833 | 5.7118e-05 | 2.1004e-05 | 0.070187 | 0.070187 | 0.070187 | 0.99387 | -0.042573 | 0.99512 | -0.03388 | 12.9976
9 | 0.043249 | 0.010906 | -0.043204 | -0.01089 | 4.4747e-05 | 1.6325e-05 | 0.064776 | 0.064776 | 0.064776 | 0.99387 | -0.042573 | 0.99281 | -0.049962 | 11.9955
10 | -0.049675 | -0.012524 | 0.049713 | 0.012538 | 3.8367e-05 | 1.4177e-05 | 0.074306 | 0.074306 | 0.074306 | 0.99512 | -0.03388 | 0.99591 | -0.028371 | 13.7604
11 | 0.041535 | 0.010472 | -0.041436 | -0.010436 | 9.9007e-05 | 3.5969e-05 | 0.062275 | 0.062275 | 0.062275 | 0.99281 | -0.049962 | 0.99037 | -0.067015 | 11.5325
12 | 0.0016689 | 0.00041822 | -0.0016689 | -0.00041827 | 1.7304e-08 | -5.0656e-08 | 0.0025014 | 0.0025014 | 0.0025014 | 0.99281 | -0.049962 | 0.9928 | -0.050037 | 0.92645
13 | 0.0059415 | 0.0014889 | -0.005941 | -0.0014888 | 5.0803e-07 | 7.3821e-08 | 0.009103 | 0.009103 | 0.009103 | 0.97122 | -0.20264 | 0.97113 | -0.20325 | 3.3715
14 | -0.040282 | -0.010127 | 0.040294 | 0.010132 | 1.1892e-05 | 4.5096e-06 | 0.0612 | 0.0612 | 0.0612 | 0.97962 | -0.14252 | 0.97991 | -0.1404 | 22.6665
15 | -0.063307 | -0.015956 | 0.063414 | 0.015996 | 0.00010789 | 4.0484e-05 | 0.094474 | 0.094474 | 0.094474 | 0.99745 | -0.017694 | 0.9992 | -0.0055416 | 17.4952
16 | 0.06007 | 0.015145 | -0.06001 | -0.015122 | 6.095e-05 | 2.2808e-05 | 0.089646 | 0.089646 | 0.089646 | 0.99745 | -0.017694 | 0.9964 | -0.024944 | 16.6012
17 | -0.071109 | -0.017924 | 0.071132 | 0.017933 | 2.3123e-05 | 8.7203e-06 | 0.10593 | 0.10593 | 0.10593 | 0.9992 | -0.0055416 | 0.99953 | -0.0032204 | 19.6171
18 | 0.0050467 | 0.0012647 | -0.005046 | -0.0012646 | 7.3078e-07 | 9.5364e-09 | 0.0075156 | 0.0075157 | 0.0075157 | 0.9992 | -0.0055416 | 0.99905 | -0.0065878 | 2.7836
19 | 0.057584 | 0.014514 | -0.057556 | -0.014503 | 2.7616e-05 | 1.031e-05 | 0.086024 | 0.086024 | 0.086024 | 0.9964 | -0.024944 | 0.99591 | -0.028371 | 15.9303
20 | 0.0059403 | 0.0014838 | -0.0059314 | -0.0014827 | 8.9088e-06 | 1.1231e-06 | 0.0089234 | 0.0089243 | 0.0089243 | 0.99037 | -0.067015 | 0.98883 | -0.07792 | 3.3053
21 | 0.035496 | 0.0089521 | -0.035406 | -0.0089203 | 8.9433e-05 | 3.1813e-05 | 0.053352 | 0.053353 | 0.053353 | 0.99037 | -0.067015 | 0.98779 | -0.085028 | 9.8801
22 | 0.0042726 | 0.0010707 | -0.0042722 | -0.0010707 | 4.525e-07 | -3.5279e-08 | 0.0065467 | 0.0065467 | 0.0065467 | 0.97113 | -0.20325 | 0.97102 | -0.20402 | 2.4247
23 | -0.045884 | -0.011533 | 0.04598 | 0.011569 | 9.5854e-05 | 3.6468e-05 | 0.069688 | 0.069688 | 0.069688 | 0.97991 | -0.1404 | 0.98203 | -0.12543 | 25.8104
24 | -0.074791 | -0.01885 | 0.074825 | 0.018863 | 3.3737e-05 | 1.2747e-05 | 0.11138 | 0.11138 | 0.11138 | 0.99953 | -0.0032204 | 1 | 0 | 20.6257
25 | 0.09096 | 0.023005 | -0.090758 | -0.022928 | 0.00020197 | 7.6758e-05 | 0.13542 | 0.13542 | 0.13542 | 1 | 0 | 0.99771 | -0.015784 | 25.0783
26 | 0.08261 | 0.020886 | -0.082324 | -0.020777 | 0.00028637 | 0.00010857 | 0.12327 | 0.12327 | 0.12327 | 0.99771 | -0.015784 | 0.99414 | -0.040474 | 22.8282
27 | 0.0081476 | 0.0020419 | -0.0081464 | -0.0020417 | 1.1963e-06 | 2.9059e-07 | 0.012152 | 0.012152 | 0.012152 | 0.99771 | -0.015784 | 0.99756 | -0.016845 | 4.5006
28 | 0.077964 | 0.019685 | -0.077815 | -0.019628 | 0.00014906 | 5.6422e-05 | 0.11675 | 0.11675 | 0.11675 | 0.99414 | -0.040474 | 0.99218 | -0.054106 | 21.6199
29 | 0.0044728 | 0.001121 | -0.0044727 | -0.001121 | 7.7833e-08 | -6.6458e-09 | 0.0066719 | 0.0066719 | 0.0066719 | 0.99756 | -0.016845 | 0.99754 | -0.01697 | 2.4711
30 | 0.076384 | 0.01927 | -0.076271 | -0.019227 | 0.00011322 | 4.2834e-05 | 0.1146 | 0.1146 | 0.1146 | 0.99218 | -0.054106 | 0.99067 | -0.064689 | 21.2225
31 | 0.074629 | 0.018815 | -0.074532 | -0.018779 | 9.6398e-05 | 3.6444e-05 | 0.11213 | 0.11214 | 0.11214 | 0.99067 | -0.064689 | 0.98935 | -0.07392 | 20.7658
32 | -0.049191 | -0.012374 | 0.049258 | 0.0124 | 6.6809e-05 | 2.5452e-05 | 0.074554 | 0.074553 | 0.074554 | 0.98203 | -0.12543 | 0.9834 | -0.1157 | 27.6124
33 | -0.052899 | -0.013312 | 0.052994 | 0.013348 | 9.4967e-05 | 3.6224e-05 | 0.080062 | 0.080062 | 0.080062 | 0.9834 | -0.1157 | 0.98522 | -0.10287 | 29.6527
34 | -0.055402 | -0.013952 | 0.055418 | 0.013958 | 1.5833e-05 | 6.0435e-06 | 0.0837 | 0.0837 | 0.0837 | 0.98522 | -0.10287 | 0.98551 | -0.10082 | 31
35 | -0.057471 | -0.014472 | 0.05754 | 0.014499 | 6.8698e-05 | 2.6236e-05 | 0.086799 | 0.086799 | 0.086799 | 0.98551 | -0.10082 | 0.98673 | -0.092279 | 32.1478
36 | 0.0020527 | 0.00051426 | -0.0020526 | -0.00051443 | 9.9279e-08 | -1.7285e-07 | 0.0030993 | 0.0030994 | 0.0030994 | 0.98551 | -0.10082 | 0.98546 | -0.10117 | 1.1479
37 | -0.060178 | -0.01516 | 0.06024 | 0.015183 | 6.176e-05 | 2.314e-05 | 0.090778 | 0.090778 | 0.090778 | 0.98673 | -0.092279 | 0.98777 | -0.08495 | 16.8108
38 | -0.066798 | -0.016827 | 0.066819 | 0.016835 | 2.1277e-05 | 8.011e-06 | 0.10066 | 0.10066 | 0.10066 | 0.98777 | -0.08495 | 0.9881 | -0.082673 | 18.6402
39 | -0.072607 | -0.018285 | 0.072696 | 0.018319 | 8.8941e-05 | 3.3597e-05 | 0.10937 | 0.10937 | 0.10937 | 0.9881 | -0.082673 | 0.98935 | -0.07392 | 20.2544
40 | 0.0059314 | 0.0014827 | -0.0059131 | -0.0014804 | 1.8217e-05 | 2.3201e-06 | 0.0089243 | 0.0089259 | 0.0089259 | 0.98883 | -0.07792 | 0.9857 | -0.10022 | 3.3059
41 | 0.03266 | 0.0082321 | -0.032615 | -0.0082162 | 4.5248e-05 | 1.5872e-05 | 0.049216 | 0.049217 | 0.049217 | 0.98779 | -0.085028 | 0.98638 | -0.094935 | 9.1143
42 | 0.0023275 | 0.00058172 | -0.0023265 | -0.00058307 | 1.0631e-06 | -1.3496e-06 | 0.0035131 | 0.0035137 | 0.0035137 | 0.9857 | -0.10022 | 0.98524 | -0.10353 | 1.3014
43 | 0.030758 | 0.0077507 | -0.030708 | -0.0077334 | 4.9825e-05 | 1.7274e-05 | 0.046415 | 0.046416 | 0.046416 | 0.98638 | -0.094935 | 0.98473 | -0.10653 | 8.5955
44 | 0.0014894 | 0.00037255 | -0.0014892 | -0.00037322 | 1.9668e-07 | -6.7216e-07 | 0.0022826 | 0.0022828 | 0.0022828 | 0.97081 | -0.20578 | 0.97068 | -0.20674 | 0.8455
45 | -0.0082489 | -0.0020667 | 0.0082508 | 0.0020672 | 1.9235e-06 | 5.0131e-07 | 0.012643 | 0.012643 | 0.012643 | 0.97081 | -0.20578 | 0.97104 | -0.20409 | 4.6827
46 | -0.011935 | -0.0029904 | 0.011937 | 0.0029913 | 2.658e-06 | 8.6473e-07 | 0.018288 | 0.018288 | 0.018288 | 0.97104 | -0.20409 | 0.97127 | -0.20249 | 6.7734
47 | -0.016825 | -0.0042162 | 0.016847 | 0.004224 | 2.2112e-05 | 7.8438e-06 | 0.025776 | 0.025776 | 0.025776 | 0.97127 | -0.20249 | 0.97258 | -0.193 | 9.5466
48 | -0.028042 | -0.0070446 | 0.028214 | 0.0071086 | 0.0001713 | 6.3976e-05 | 0.042647 | 0.042646 | 0.042647 | 0.97857 | -0.15018 | 0.98473 | -0.10653 | 15.7952
49 | 0.024422 | 0.0061373 | -0.024333 | -0.0061044 | 8.8846e-05 | 3.288e-05 | 0.037142 | 0.037142 | 0.037142 | 0.97857 | -0.15018 | 0.97489 | -0.17641 | 13.7565
50 | 0.0024944 | 0.00062486 | -0.0024942 | -0.0006251 | 2.3092e-07 | -2.4253e-07 | 0.0037692 | 0.0037693 | 0.0037693 | 0.98473 | -0.10653 | 0.98464 | -0.10719 | 1.396
51 | 0.017193 | 0.004315 | -0.017166 | -0.0043054 | 2.6746e-05 | 9.5122e-06 | 0.026245 | 0.026245 | 0.026245 | 0.97489 | -0.17641 | 0.97333 | -0.18763 | 9.7203
52 | -0.017154 | -0.0043009 | 0.017166 | 0.0043054 | 1.2766e-05 | 4.5411e-06 | 0.026245 | 0.026245 | 0.026245 | 0.97258 | -0.193 | 0.97333 | -0.18763 | 9.7204

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.16937 | 0.042565

## res_load
| p_mw | q_mvar
0 | 0.0033642 | 0.00084315
1 | 0.00273 | 0.00068421
2 | 0.0035356 | 0.00088609
3 | 0.0031072 | 0.00077873
4 | 0.0036143 | 0.00090583
5 | 0.002755 | 0.00069046
6 | 0.0015827 | 0.00039666
7 | 0.017697 | 0.0044354
8 | 0.0020546 | 0.00051492
9 | 0.0032361 | 0.00081104
10 | 0.0026478 | 0.0006636
11 | 0.0024259 | 0.000608
12 | 0.0016689 | 0.00041827
13 | 0.0016683 | 0.00041813
14 | 0.0055901 | 0.001401
15 | 0.0042722 | 0.0010707
16 | 0.0036587 | 0.00091696
17 | 0.005046 | 0.0012646
18 | 0.0027837 | 0.00069765
19 | 0.0043594 | 0.0010926
20 | 0.0036736 | 0.00092069
21 | 0.0044727 | 0.001121
22 | 0.0014308 | 0.0003586
23 | 0.0016423 | 0.0004116
24 | 0.0032111 | 0.00080477
25 | 0.0036406 | 0.00091242
26 | 0.0024086 | 0.00060366
27 | 0.0026386 | 0.00066128
28 | 0.0020526 | 0.00051443
29 | 0.0078425 | 0.0019655
30 | 0.006558 | 0.0016436
31 | 0.0057881 | 0.0014506
32 | 0.0018362 | 0.0004602
33 | 0.0027458 | 0.00068816
34 | 0.0035856 | 0.00089864
35 | 0.0018575 | 0.00046552
36 | 0.0023265 | 0.00058307
37 | 0.0067596 | 0.0016941
38 | 0.0014892 | 0.00037322
39 | 0.0036838 | 0.00092324
40 | 0.0048874 | 0.0012249
41 | 0.0036203 | 0.00090734
42 | 0.0071399 | 0.0017894
43 | 0.00030682 | 7.6896e-05
44 | 0.0024942 | 0.0006251

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1