## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1311-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1311-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1311-5_0_3_node_37 | 0.4 | n |  | TRUE
3 | bus_LV_1311-5_0_3_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_1311-5_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1311-5_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1311-5_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1311-5_0_3_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_1311-5_0_3_node_14 | 0.4 | n |  | TRUE
9 | bus_LV_1311-5_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1311-5_0_3_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_1311-5_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_1311-5_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1311-5_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_1311-5_0_3_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_1311-5_0_3_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_1311-5_0_3_node_26 | 0.4 | n |  | TRUE
17 | bus_LV_1311-5_0_3_node_34 | 0.4 | n |  | TRUE
18 | bus_LV_1311-5_0_3_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_1311-5_0_3_node_33 | 0.4 | n |  | TRUE
20 | bus_LV_1311-5_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_1311-5_0_3_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_1311-5_0_3_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_1311-5_0_3_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_1311-5_0_3_node_27 | 0.4 | n |  | TRUE
25 | bus_LV_1311-5_0_3_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_1311-5_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_1311-5_0_3_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_1311-5_0_3_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_1311-5_0_3_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_1311-5_0_3_node_36 | 0.4 | n |  | TRUE
31 | bus_LV_1311-5_0_3_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_1311-5_0_3_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_1311-5_0_3_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_1311-5_0_3_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_1311-5_0_3_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_1311-5_0_3_node_32 | 0.4 | n |  | TRUE
37 | bus_MV_127_0_node_44 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1311-5_0_3_load_0 | 0 | 0.0027561 | 0.00069074 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1311-5_0_3_load_1 | 1 | 0.0028649 | 0.000718 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1311-5_0_3_load_37 | 2 | 0.0026933 | 0.00067501 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1311-5_0_3_load_2 | 3 | 0.006133 | 0.0015371 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1311-5_0_3_load_5 | 5 | 0.0051288 | 0.0012854 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1311-5_0_3_load_6 | 6 | 0.011812 | 0.0029604 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1311-5_0_3_load_14 | 8 | 0.0035523 | 0.00089029 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1311-5_0_3_load_7 | 9 | 0.0028182 | 0.00070632 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1311-5_0_3_load_11 | 10 | 0.0023915 | 0.00059937 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1311-5_0_3_load_9 | 11 | 0.010901 | 0.002732 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1311-5_0_3_load_8 | 12 | 0.014342 | 0.0035943 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1311-5_0_3_load_12 | 14 | 0.0033395 | 0.00083697 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1311-5_0_3_load_13 | 15 | 0.0038531 | 0.00096567 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1311-5_0_3_load_26 | 16 | 0.0026047 | 0.00065279 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1311-5_0_3_load_34 | 17 | 0.0057247 | 0.0014347 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1311-5_0_3_load_25 | 18 | 0.0024646 | 0.00061769 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1311-5_0_3_load_33 | 19 | 0.0019693 | 0.00049355 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1311-5_0_3_load_15 | 20 | 0.0069337 | 0.0017377 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1311-5_0_3_load_17 | 21 | 0.0030541 | 0.00076543 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1311-5_0_3_load_18 | 22 | 0.0016064 | 0.00040261 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1311-5_0_3_load_28 | 23 | 0.0027721 | 0.00069475 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1311-5_0_3_load_27 | 24 | 0.0035964 | 0.00090133 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1311-5_0_3_load_29 | 25 | 0.0030159 | 0.00075586 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1311-5_0_3_load_19 | 26 | 0.0028381 | 0.0007113 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1311-5_0_3_load_20 | 27 | 0.0021458 | 0.00053778 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1311-5_0_3_load_21 | 28 | 0.0011113 | 0.00027852 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1311-5_0_3_load_38 | 29 | 0.0058036 | 0.0014545 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1311-5_0_3_load_36 | 30 | 0.0016112 | 0.00040379 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1311-5_0_3_load_22 | 31 | 0.0019466 | 0.00048788 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1311-5_0_3_load_30 | 32 | 0.0039663 | 0.00099406 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1311-5_0_3_load_35 | 33 | 0.0022065 | 0.000553 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1311-5_0_3_load_23 | 34 | 0.0019114 | 0.00047904 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1311-5_0_3_load_31 | 35 | 0.0045603 | 0.0011429 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1311-5_0_3_load_32 | 36 | 0.0021518 | 0.00053929 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1311-5_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.02069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_1311-5_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.028476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_1311-5_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.015157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_1311-5_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.093927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1311-5_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0032638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_1311-5_0_3_line_5 | NAYY 4x150 SE | 4 | 7 | 0.084612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1311-5_0_3_line_6 | NAYY 4x150 SE | 5 | 6 | 0.0052212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_1311-5_0_3_line_7 | NAYY 4x150 SE | 6 | 9 | 0.026059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_1311-5_0_3_line_8 | NAYY 4x150 SE | 7 | 8 | 0.034336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1311-5_0_3_line_9 | NAYY 4x150 SE | 8 | 20 | 0.023705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1311-5_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.0094442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_1311-5_0_3_line_11 | NAYY 4x150 SE | 10 | 11 | 0.018851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1311-5_0_3_line_12 | NAYY 4x150 SE | 11 | 12 | 0.0059081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1311-5_0_3_line_13 | NAYY 4x150 SE | 12 | 13 | 0.0069517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1311-5_0_3_line_14 | NAYY 4x150 SE | 13 | 14 | 0.0061458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1311-5_0_3_line_15 | NAYY 4x150 SE | 13 | 15 | 0.035064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1311-5_0_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.012825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1311-5_0_3_line_17 | NAYY 4x150 SE | 15 | 17 | 0.0054285 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1311-5_0_3_line_18 | NAYY 4x150 SE | 16 | 18 | 0.014908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1311-5_0_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.00354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1311-5_0_3_line_20 | NAYY 4x150 SE | 19 | 35 | 0.0085129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1311-5_0_3_line_21 | NAYY 4x150 SE | 20 | 21 | 0.0042781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1311-5_0_3_line_22 | NAYY 4x150 SE | 21 | 22 | 0.0064301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1311-5_0_3_line_23 | NAYY 4x150 SE | 22 | 23 | 0.065749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1311-5_0_3_line_24 | NAYY 4x150 SE | 23 | 24 | 0.0031715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1311-5_0_3_line_25 | NAYY 4x150 SE | 24 | 25 | 0.013485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1311-5_0_3_line_26 | NAYY 4x150 SE | 25 | 32 | 0.0084336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1311-5_0_3_line_27 | NAYY 4x150 SE | 26 | 27 | 0.070449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1311-5_0_3_line_28 | NAYY 4x150 SE | 26 | 28 | 0.018017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1311-5_0_3_line_29 | NAYY 4x150 SE | 26 | 29 | 0.032175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1311-5_0_3_line_30 | NAYY 4x150 SE | 26 | 30 | 0.057725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1311-5_0_3_line_31 | NAYY 4x150 SE | 27 | 31 | 0.027303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1311-5_0_3_line_32 | NAYY 4x150 SE | 30 | 33 | 0.028459 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1311-5_0_3_line_33 | NAYY 4x150 SE | 31 | 34 | 0.027659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1311-5_0_3_line_34 | NAYY 4x150 SE | 32 | 33 | 0.0061181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1311-5_0_3_line_35 | NAYY 4x150 SE | 35 | 36 | 0.042365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1311-5_0_3_trafo_11 | 0.25 MVA 20/0.4 kV | 37 | 10 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2682176.6553 | 1205324.8213 | 2682185.6851 | 1205320.5352 | 2682194.9216 | 1205315.1435
1 | 2682176.6553 | 1205324.8213 | 2682178.6623 | 1205353.2262
2 | 2682194.9216 | 1205315.1435 | 2682197.8173 | 1205313.4532 | 2682208.0079 | 1205307.4957
3 | 2682084.9448 | 1205357.4067 | 2682095.687 | 1205359.0109 | 2682127.9073 | 1205359.2874 | 2682178.6623 | 1205353.2262
4 | 2682210.8255 | 1205305.8485 | 2682208.0079 | 1205307.4957
5 | 2682165.5622 | 1205383.0983 | 2682084.9448 | 1205357.4067
6 | 2682210.8255 | 1205305.8485 | 2682215.333 | 1205303.2134
7 | 2682215.333 | 1205303.2134 | 2682216.2306 | 1205302.6887 | 2682238.3585 | 1205291.0138
8 | 2682165.5622 | 1205383.0983 | 2682199.5774 | 1205378.4141
9 | 2682199.5774 | 1205378.4141 | 2682199.6919 | 1205378.3983 | 2682223.278 | 1205378.0273
10 | 2682246.7113 | 1205286.6067 | 2682238.3585 | 1205291.0138
11 | 2682246.7113 | 1205286.6067 | 2682263.1358 | 1205277.941 | 2682263.3862 | 1205277.8137
12 | 2682268.5711 | 1205274.9844 | 2682265.3499 | 1205276.8152 | 2682263.3862 | 1205277.8137
13 | 2682274.6344 | 1205271.5842 | 2682270.602 | 1205273.8301 | 2682268.5711 | 1205274.9844
14 | 2682274.6344 | 1205271.5842 | 2682280.1583 | 1205268.8902
15 | 2682274.6344 | 1205271.5842 | 2682291.1706 | 1205280.0174 | 2682305.7942 | 1205287.6633
16 | 2682291.6852 | 1205263.2684 | 2682280.1583 | 1205268.8902
17 | 2682310.6048 | 1205290.1786 | 2682305.7942 | 1205287.6633
18 | 2682305.556 | 1205257.8548 | 2682295.2749 | 1205261.5177 | 2682291.6852 | 1205263.2684
19 | 2682310.6048 | 1205290.1786 | 2682313.7419 | 1205291.8188
20 | 2682321.3038 | 1205295.7283 | 2682318.6025 | 1205294.3602 | 2682313.7419 | 1205291.8188
21 | 2682227.5556 | 1205377.9601 | 2682223.278 | 1205378.0273
22 | 2682233.9849 | 1205377.8589 | 2682227.5556 | 1205377.9601
23 | 2682233.9849 | 1205377.8589 | 2682298.5609 | 1205390.2245
24 | 2682301.6935 | 1205390.7201 | 2682298.5609 | 1205390.2245
25 | 2682301.6935 | 1205390.7201 | 2682315.0124 | 1205392.8271
26 | 2682323.3424 | 1205394.1448 | 2682323.3424 | 1205394.1448 | 2682315.0124 | 1205392.8271
27 | 2682298.7052 | 1205471.2101 | 2682326.1505 | 1205465.7627 | 2682365.5758 | 1205459.8581 | 2682368.1642 | 1205459.5802
28 | 2682385.9502 | 1205457.0482 | 2682383.0143 | 1205457.9863 | 2682368.1642 | 1205459.5802
29 | 2682368.1642 | 1205459.5802 | 2682361.0009 | 1205490.9482
30 | 2682368.1642 | 1205459.5802 | 2682356.7691 | 1205402.9908
31 | 2682298.7052 | 1205471.2101 | 2682298.7052 | 1205471.2101 | 2682272.8763 | 1205480.0591
32 | 2682329.2569 | 1205395.7101 | 2682356.7691 | 1205402.9908
33 | 2682246.6974 | 1205488.9865 | 2682268.5376 | 1205481.5455 | 2682272.8763 | 1205480.0591
34 | 2682329.2569 | 1205395.7101 | 2682323.3424 | 1205394.1448
35 | 2682321.3038 | 1205295.7283 | 2682359.0979 | 1205314.8698

## bus_geodata
| x | y | coords
0 | 2682176.6553 | 1205324.8213
1 | 2682194.9216 | 1205315.1435
2 | 2682178.6623 | 1205353.2262
3 | 2682208.0079 | 1205307.4957
4 | 2682084.9448 | 1205357.4067
5 | 2682210.8255 | 1205305.8485
6 | 2682215.333 | 1205303.2134
7 | 2682165.5622 | 1205383.0983
8 | 2682199.5774 | 1205378.4141
9 | 2682238.3585 | 1205291.0138
10 | 2682246.7113 | 1205286.6067
11 | 2682263.3862 | 1205277.8137
12 | 2682268.5711 | 1205274.9844
13 | 2682274.6344 | 1205271.5842
14 | 2682280.1583 | 1205268.8902
15 | 2682305.7942 | 1205287.6633
16 | 2682291.6852 | 1205263.2684
17 | 2682310.6048 | 1205290.1786
18 | 2682305.556 | 1205257.8548
19 | 2682313.7419 | 1205291.8188
20 | 2682223.278 | 1205378.0273
21 | 2682227.5556 | 1205377.9601
22 | 2682233.9849 | 1205377.8589
23 | 2682298.5609 | 1205390.2245
24 | 2682301.6935 | 1205390.7201
25 | 2682315.0124 | 1205392.8271
26 | 2682368.1642 | 1205459.5802
27 | 2682298.7052 | 1205471.2101
28 | 2682385.9502 | 1205457.0482
29 | 2682361.0009 | 1205490.9482
30 | 2682356.7691 | 1205402.9908
31 | 2682272.8763 | 1205480.0591
32 | 2682323.3424 | 1205394.1448
33 | 2682329.257 | 1205395.7101
34 | 2682246.6974 | 1205488.9865
35 | 2682321.3038 | 1205295.7283
36 | 2682359.0979 | 1205314.8698
37 | 2682274.6344 | 1205271.5842

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9961 | -0.026915 | 0.0027561 | 0.00069074
1 | 0.99691 | -0.021343 | 0.0028649 | 0.000718
2 | 0.99504 | -0.034201 | 0.0026933 | 0.00067501
3 | 0.99753 | -0.017049 | 0.006133 | 0.0015371
4 | 0.98844 | -0.080068 | 0 | 0
5 | 0.99768 | -0.016025 | 0.0051288 | 0.0012854
6 | 0.99794 | -0.014253 | 0.011812 | 0.0029604
7 | 0.98249 | -0.12191 | 0 | 0
8 | 0.98008 | -0.13903 | 0.0035523 | 0.00089029
9 | 0.99944 | -0.0038834 | 0.0028182 | 0.00070632
10 | 1 | 0 | -0.1364 | -0.03416
11 | 0.9986 | -0.009783 | 0.010901 | 0.002732
12 | 0.99826 | -0.01221 | 0.014342 | 0.0035943
13 | 0.99799 | -0.014068 | 0 | 0
14 | 0.99792 | -0.014586 | 0.0033395 | 0.00083697
15 | 0.99708 | -0.020492 | 0.0038531 | 0.00096567
16 | 0.99782 | -0.015238 | 0.0026047 | 0.00065279
17 | 0.99696 | -0.021277 | 0.0057247 | 0.0014347
18 | 0.99777 | -0.015606 | 0.0024646 | 0.00061769
19 | 0.99692 | -0.021586 | 0.0019693 | 0.00049355
20 | 0.97853 | -0.15002 | 0.0069337 | 0.0017377
21 | 0.9783 | -0.1517 | 0.0030541 | 0.00076543
22 | 0.97797 | -0.15402 | 0.0016064 | 0.00040261
23 | 0.9748 | -0.1767 | 0.0027721 | 0.00069475
24 | 0.97466 | -0.17771 | 0.0035964 | 0.00090133
25 | 0.97413 | -0.18147 | 0.0030159 | 0.00075586
26 | 0.97161 | -0.19966 | 0.0028381 | 0.0007113
27 | 0.97099 | -0.20414 | 0.0021458 | 0.00053778
28 | 0.97158 | -0.19987 | 0.0011113 | 0.00027852
29 | 0.97133 | -0.20163 | 0.0058036 | 0.0014545
30 | 0.97294 | -0.19004 | 0.0016112 | 0.00040379
31 | 0.97083 | -0.20525 | 0.0019466 | 0.00048788
32 | 0.97384 | -0.18356 | 0.0039663 | 0.00099406
33 | 0.97367 | -0.18483 | 0.0022065 | 0.000553
34 | 0.97075 | -0.20581 | 0.0019114 | 0.00047904
35 | 0.99684 | -0.02216 | 0.0045603 | 0.0011429
36 | 0.99671 | -0.023077 | 0.0021518 | 0.00053929
37 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.05455 | -0.013801 | 0.054593 | 0.013817 | 4.2916e-05 | 1.5967e-05 | 0.081536 | 0.081535 | 0.081536 | 0.9961 | -0.026915 | 0.99691 | -0.021343 | 15.0992
1 | 0.051794 | 0.01311 | -0.051741 | -0.013091 | 5.325e-05 | 1.974e-05 | 0.077418 | 0.077419 | 0.077419 | 0.9961 | -0.026915 | 0.99504 | -0.034201 | 14.3368
2 | -0.057458 | -0.014535 | 0.057493 | 0.014548 | 3.4823e-05 | 1.2998e-05 | 0.085811 | 0.085811 | 0.085811 | 0.99691 | -0.021343 | 0.99753 | -0.017049 | 15.891
3 | 0.049048 | 0.012416 | -0.048732 | -0.012295 | 0.00031569 | 0.00012021 | 0.073391 | 0.073391 | 0.073391 | 0.99504 | -0.034201 | 0.98844 | -0.080068 | 27.182
4 | -0.063626 | -0.016085 | 0.063635 | 0.016089 | 9.1824e-06 | 3.4464e-06 | 0.09496 | 0.09496 | 0.09496 | 0.99753 | -0.017049 | 0.99768 | -0.016025 | 17.5852
5 | 0.048732 | 0.012295 | -0.048448 | -0.012187 | 0.00028439 | 0.0001083 | 0.073391 | 0.073392 | 0.073392 | 0.98844 | -0.080068 | 0.98249 | -0.12191 | 27.1821
6 | -0.068764 | -0.017374 | 0.068781 | 0.017381 | 1.7151e-05 | 6.4603e-06 | 0.10261 | 0.10261 | 0.10261 | 0.99768 | -0.016025 | 0.99794 | -0.014253 | 19.0017
7 | -0.080593 | -0.020341 | 0.080711 | 0.020385 | 0.00011751 | 4.4514e-05 | 0.12022 | 0.12022 | 0.12022 | 0.99794 | -0.014253 | 0.99944 | -0.0038834 | 22.2633
8 | 0.048448 | 0.012187 | -0.048332 | -0.012143 | 0.00011541 | 4.3954e-05 | 0.073392 | 0.073392 | 0.073392 | 0.98249 | -0.12191 | 0.98008 | -0.13903 | 27.1822
9 | 0.04478 | 0.011253 | -0.044712 | -0.011227 | 6.8394e-05 | 2.6007e-05 | 0.067999 | 0.067999 | 0.067999 | 0.98008 | -0.13903 | 0.97853 | -0.15002 | 25.1847
10 | -0.083529 | -0.021092 | 0.083574 | 0.021109 | 4.5612e-05 | 1.7296e-05 | 0.12442 | 0.12442 | 0.12442 | 0.99944 | -0.0038834 | 1 | 0 | 23.0403
11 | 0.052022 | 0.013051 | -0.051951 | -0.013024 | 7.0496e-05 | 2.6867e-05 | 0.077414 | 0.077414 | 0.077414 | 1 | 0 | 0.9986 | -0.009783 | 28.6718
12 | 0.04105 | 0.010292 | -0.041037 | -0.010287 | 1.3795e-05 | 5.2285e-06 | 0.06117 | 0.061171 | 0.061171 | 0.9986 | -0.009783 | 0.99826 | -0.01221 | 22.6557
13 | 0.026695 | 0.0066923 | -0.026688 | -0.0066897 | 6.8688e-06 | 2.551e-06 | 0.039793 | 0.039793 | 0.039793 | 0.99826 | -0.01221 | 0.99799 | -0.014068 | 14.7381
14 | 0.00841 | 0.0021075 | -0.0084094 | -0.0021073 | 6.0299e-07 | 1.5162e-07 | 0.012539 | 0.012539 | 0.012539 | 0.99799 | -0.014068 | 0.99792 | -0.014586 | 4.6442
15 | 0.018278 | 0.0045823 | -0.018262 | -0.0045765 | 1.6252e-05 | 5.7928e-06 | 0.027253 | 0.027254 | 0.027254 | 0.99799 | -0.014068 | 0.99708 | -0.020492 | 10.0939
16 | 0.0050699 | 0.0012703 | -0.0050694 | -0.0012703 | 4.5735e-07 | 8.3666e-09 | 0.0075597 | 0.0075598 | 0.0075598 | 0.99792 | -0.014586 | 0.99782 | -0.015238 | 2.7999
17 | 0.014409 | 0.0036108 | -0.014407 | -0.0036103 | 1.5663e-06 | 5.3163e-07 | 0.021503 | 0.021503 | 0.021503 | 0.99708 | -0.020492 | 0.99696 | -0.021277 | 7.9642
18 | 0.0024648 | 0.00061755 | -0.0024646 | -0.00061769 | 1.2568e-07 | -1.4638e-07 | 0.0036755 | 0.0036756 | 0.0036756 | 0.99782 | -0.015238 | 0.99777 | -0.015606 | 1.3613
19 | 0.0086826 | 0.0021755 | -0.0086822 | -0.0021754 | 3.7097e-07 | 9.6521e-08 | 0.012959 | 0.012959 | 0.012959 | 0.99696 | -0.021277 | 0.99692 | -0.021586 | 4.7996
20 | 0.0067129 | 0.0016819 | -0.0067124 | -0.0016818 | 5.3329e-07 | 9.4126e-08 | 0.01002 | 0.01002 | 0.01002 | 0.99692 | -0.021586 | 0.99684 | -0.02216 | 3.711
21 | 0.037778 | 0.0094892 | -0.037769 | -0.0094858 | 8.8122e-06 | 3.3356e-06 | 0.057455 | 0.057455 | 0.057455 | 0.97853 | -0.15002 | 0.9783 | -0.1517 | 21.2796
22 | 0.034715 | 0.0087204 | -0.034704 | -0.0087162 | 1.119e-05 | 4.2231e-06 | 0.05281 | 0.05281 | 0.05281 | 0.9783 | -0.1517 | 0.97797 | -0.15402 | 19.5591
23 | 0.033097 | 0.0083136 | -0.032993 | -0.0082744 | 0.00010407 | 3.9206e-05 | 0.050365 | 0.050366 | 0.050366 | 0.97797 | -0.15402 | 0.9748 | -0.1767 | 18.6539
24 | 0.030221 | 0.0075796 | -0.030217 | -0.007578 | 4.212e-06 | 1.5805e-06 | 0.046134 | 0.046134 | 0.046134 | 0.9748 | -0.1767 | 0.97466 | -0.17771 | 17.0867
25 | 0.026621 | 0.0066767 | -0.026607 | -0.0066715 | 1.39e-05 | 5.1781e-06 | 0.040644 | 0.040644 | 0.040644 | 0.97466 | -0.17771 | 0.97413 | -0.18147 | 15.0532
26 | 0.023591 | 0.0059157 | -0.023584 | -0.0059131 | 6.8342e-06 | 2.5236e-06 | 0.036037 | 0.036037 | 0.036037 | 0.97413 | -0.18147 | 0.97384 | -0.18356 | 13.3469
27 | 0.0060083 | 0.0015049 | -0.0060046 | -0.0015043 | 3.722e-06 | 5.596e-07 | 0.0092014 | 0.0092017 | 0.0092017 | 0.97161 | -0.19966 | 0.97099 | -0.20414 | 3.408
28 | 0.0011114 | 0.00027831 | -0.0011113 | -0.00027852 | 3.2568e-08 | -2.1061e-07 | 0.001702 | 0.001702 | 0.001702 | 0.97161 | -0.19966 | 0.97158 | -0.19987 | 0.63038
29 | 0.0058052 | 0.0014547 | -0.0058036 | -0.0014545 | 1.587e-06 | 2.12e-07 | 0.0088906 | 0.0088907 | 0.0088907 | 0.97161 | -0.19966 | 0.97133 | -0.20163 | 3.2929
30 | -0.015763 | -0.0039492 | 0.015784 | 0.0039566 | 2.0991e-05 | 7.3576e-06 | 0.02414 | 0.02414 | 0.02414 | 0.97161 | -0.19966 | 0.97294 | -0.19004 | 8.9409
31 | 0.0038588 | 0.00096653 | -0.0038582 | -0.00096663 | 5.9575e-07 | -1.0852e-07 | 0.0059133 | 0.0059134 | 0.0059134 | 0.97099 | -0.20414 | 0.97083 | -0.20525 | 2.1902
32 | -0.017395 | -0.0043604 | 0.017408 | 0.0043648 | 1.2569e-05 | 4.4806e-06 | 0.026604 | 0.026604 | 0.026604 | 0.97294 | -0.19004 | 0.97367 | -0.18483 | 9.8534
33 | 0.0019116 | 0.00047876 | -0.0019114 | -0.00047904 | 1.4815e-07 | -2.85e-07 | 0.0029298 | 0.0029299 | 0.0029299 | 0.97083 | -0.20525 | 0.97075 | -0.20581 | 1.0851
34 | 0.019618 | 0.0049191 | -0.019614 | -0.0049178 | 3.4305e-06 | 1.2433e-06 | 0.029976 | 0.029976 | 0.029976 | 0.97384 | -0.18356 | 0.97367 | -0.18483 | 11.1023
35 | 0.002152 | 0.00053884 | -0.0021518 | -0.00053929 | 2.728e-07 | -4.473e-07 | 0.0032123 | 0.0032125 | 0.0032125 | 0.99684 | -0.02216 | 0.99671 | -0.023077 | 1.1898

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.13879 | 0.034759

## res_load
| p_mw | q_mvar
0 | 0.0027561 | 0.00069074
1 | 0.0028649 | 0.000718
2 | 0.0026933 | 0.00067501
3 | 0.006133 | 0.0015371
4 | 0.0051288 | 0.0012854
5 | 0.011812 | 0.0029604
6 | 0.0035523 | 0.00089029
7 | 0.0028182 | 0.00070632
8 | 0.0023915 | 0.00059937
9 | 0.010901 | 0.002732
10 | 0.014342 | 0.0035943
11 | 0.0033395 | 0.00083697
12 | 0.0038531 | 0.00096567
13 | 0.0026047 | 0.00065279
14 | 0.0057247 | 0.0014347
15 | 0.0024646 | 0.00061769
16 | 0.0019693 | 0.00049355
17 | 0.0069337 | 0.0017377
18 | 0.0030541 | 0.00076543
19 | 0.0016064 | 0.00040261
20 | 0.0027721 | 0.00069475
21 | 0.0035964 | 0.00090133
22 | 0.0030159 | 0.00075586
23 | 0.0028381 | 0.0007113
24 | 0.0021458 | 0.00053778
25 | 0.0011113 | 0.00027852
26 | 0.0058036 | 0.0014545
27 | 0.0016112 | 0.00040379
28 | 0.0019466 | 0.00048788
29 | 0.0039663 | 0.00099406
30 | 0.0022065 | 0.000553
31 | 0.0019114 | 0.00047904
32 | 0.0045603 | 0.0011429
33 | 0.0021518 | 0.00053929

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1