## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1311-6_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1311-6_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1311-6_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1311-6_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1311-6_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1311-6_0_3_node_27 | 0.4 | n |  | TRUE
6 | bus_LV_1311-6_0_3_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_1311-6_0_3_node_35 | 0.4 | n |  | TRUE
8 | bus_LV_1311-6_0_3_node_25 | 0.4 | n |  | TRUE
9 | bus_LV_1311-6_0_3_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_1311-6_0_3_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_1311-6_0_3_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_1311-6_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_1311-6_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_1311-6_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1311-6_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1311-6_0_3_node_37 | 0.4 | n |  | TRUE
17 | bus_LV_1311-6_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1311-6_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1311-6_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_1311-6_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_1311-6_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_1311-6_0_3_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_1311-6_0_3_node_36 | 0.4 | n |  | TRUE
24 | bus_LV_1311-6_0_3_node_28 | 0.4 | n |  | TRUE
25 | bus_LV_1311-6_0_3_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_1311-6_0_3_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_1311-6_0_3_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_1311-6_0_3_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_1311-6_0_3_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_1311-6_0_3_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_1311-6_0_3_node_40 | 0.4 | n |  | TRUE
32 | bus_LV_1311-6_0_3_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_1311-6_0_3_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_1311-6_0_3_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_1311-6_0_3_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_1311-6_0_3_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_1311-6_0_3_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_1311-6_0_3_node_38 | 0.4 | n |  | TRUE
39 | bus_MV_127_0_node_126 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1311-6_0_3_load_0 | 0 | 0.016017 | 0.0040142 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1311-6_0_3_load_1 | 1 | 0.0025248 | 0.00063277 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1311-6_0_3_load_2 | 2 | 0.018647 | 0.0046733 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1311-6_0_3_load_3 | 3 | 0.0028448 | 0.00071299 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1311-6_0_3_load_4 | 4 | 0.0029996 | 0.00075176 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1311-6_0_3_load_10 | 6 | 0.0044265 | 0.0011094 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1311-6_0_3_load_25 | 8 | 0.0096332 | 0.0024143 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1311-6_0_3_load_22 | 9 | 0.016433 | 0.0041185 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1311-6_0_3_load_5 | 11 | 0.0023353 | 0.00058528 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1311-6_0_3_load_6 | 12 | 0.0040732 | 0.0010208 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1311-6_0_3_load_8 | 14 | 0.0063168 | 0.0015831 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1311-6_0_3_load_9 | 15 | 0.006442 | 0.0016145 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1311-6_0_3_load_37 | 16 | 0.0066696 | 0.0016715 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1311-6_0_3_load_12 | 17 | 0.0096054 | 0.0024073 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1311-6_0_3_load_13 | 18 | 0.0080786 | 0.0020247 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1311-6_0_3_load_16 | 21 | 0.01135 | 0.0028446 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1311-6_0_3_load_17 | 22 | 0.0058364 | 0.0014628 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1311-6_0_3_load_36 | 23 | 0.0038036 | 0.00095327 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1311-6_0_3_load_28 | 24 | 0.012835 | 0.0032168 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1311-6_0_3_load_29 | 25 | 0.010082 | 0.0025269 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1311-6_0_3_load_18 | 26 | 0.0051941 | 0.0013018 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1311-6_0_3_load_33 | 28 | 0.0095725 | 0.0023991 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1311-6_0_3_load_31 | 29 | 0.0040297 | 0.0010099 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1311-6_0_3_load_40 | 31 | 0.0066558 | 0.0016681 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1311-6_0_3_load_32 | 32 | 0.0092617 | 0.0023212 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1311-6_0_3_load_23 | 33 | 0.0032259 | 0.00080849 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1311-6_0_3_load_24 | 34 | 0.013708 | 0.0034355 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1311-6_0_3_load_26 | 35 | 0.0027648 | 0.00069291 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1311-6_0_3_load_38 | 38 | 0.01047 | 0.0026239 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1311-6_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0058106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1311-6_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0069096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1311-6_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.019177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1311-6_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.021333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1311-6_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.01563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1311-6_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0020668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1311-6_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.037363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1311-6_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.010916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1311-6_0_3_line_8 | NAYY 4x150 SE | 7 | 16 | 0.019574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1311-6_0_3_line_9 | NAYY 4x150 SE | 7 | 14 | 0.027612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1311-6_0_3_line_10 | NAYY 4x150 SE | 8 | 33 | 0.0033494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1311-6_0_3_line_11 | NAYY 4x150 SE | 9 | 10 | 0.015595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1311-6_0_3_line_12 | NAYY 4x150 SE | 10 | 26 | 0.012379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1311-6_0_3_line_13 | NAYY 4x150 SE | 11 | 12 | 0.024442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1311-6_0_3_line_14 | NAYY 4x150 SE | 11 | 13 | 0.011291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1311-6_0_3_line_15 | NAYY 4x150 SE | 13 | 14 | 0.0091369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1311-6_0_3_line_16 | NAYY 4x150 SE | 13 | 15 | 0.02473 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1311-6_0_3_line_17 | NAYY 4x150 SE | 16 | 37 | 0.0042921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1311-6_0_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.025088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1311-6_0_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.057204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1311-6_0_3_line_20 | NAYY 4x150 SE | 18 | 20 | 0.014785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1311-6_0_3_line_21 | NAYY 4x150 SE | 19 | 21 | 0.035618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1311-6_0_3_line_22 | NAYY 4x150 SE | 20 | 22 | 0.028852 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1311-6_0_3_line_23 | NAYY 4x150 SE | 21 | 23 | 0.020453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1311-6_0_3_line_24 | NAYY 4x150 SE | 22 | 24 | 0.0048217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1311-6_0_3_line_25 | NAYY 4x150 SE | 24 | 25 | 0.022531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1311-6_0_3_line_26 | NAYY 4x150 SE | 25 | 37 | 0.017127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1311-6_0_3_line_27 | NAYY 4x150 SE | 26 | 27 | 0.01787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1311-6_0_3_line_28 | NAYY 4x150 SE | 27 | 28 | 0.036802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1311-6_0_3_line_29 | NAYY 4x150 SE | 28 | 29 | 0.010151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1311-6_0_3_line_30 | NAYY 4x150 SE | 29 | 32 | 0.03174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1311-6_0_3_line_31 | NAYY 4x150 SE | 29 | 30 | 0.033621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1311-6_0_3_line_32 | NAYY 4x150 SE | 30 | 31 | 0.006398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1311-6_0_3_line_33 | NAYY 4x150 SE | 32 | 36 | 0.0083883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1311-6_0_3_line_34 | NAYY 4x150 SE | 33 | 34 | 0.02074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1311-6_0_3_line_35 | NAYY 4x150 SE | 34 | 35 | 0.011388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1311-6_0_3_line_36 | NAYY 4x150 SE | 35 | 36 | 0.017565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1311-6_0_3_line_37 | NAYY 4x150 SE | 37 | 38 | 0.007602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1311-6_0_3_trafo_27 | 0.25 MVA 20/0.4 kV | 39 | 5 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2682525.5437 | 1205236.7667 | 2682530.6403 | 1205233.9761
1 | 2682525.5437 | 1205236.7667 | 2682519.4832 | 1205240.0852
2 | 2682547.4612 | 1205224.7656 | 2682530.6403 | 1205233.9761
3 | 2682519.4832 | 1205240.0852 | 2682500.7716 | 1205250.331
4 | 2682561.1702 | 1205217.2591 | 2682547.4612 | 1205224.7656
5 | 2682498.9588 | 1205251.3236 | 2682500.7716 | 1205250.331
6 | 2682561.1702 | 1205217.2591 | 2682561.3528 | 1205222.754 | 2682555.8978 | 1205254.1432
7 | 2682561.1702 | 1205217.2591 | 2682564.7998 | 1205210.0491 | 2682566.1569 | 1205207.5497
8 | 2682555.8978 | 1205254.1432 | 2682574.6556 | 1205248.5484
9 | 2682555.8978 | 1205254.1432 | 2682545.7115 | 1205279.8074
10 | 2682566.1569 | 1205207.5497 | 2682567.7552 | 1205204.6063
11 | 2682493.2299 | 1205191.2926 | 2682486.3217 | 1205195.1886 | 2682479.5683 | 1205198.8125
12 | 2682493.2299 | 1205191.2926 | 2682503.0338 | 1205183.7343
13 | 2682532.5664 | 1205293.9529 | 2682511.4078 | 1205306.1899
14 | 2682542.3408 | 1205288.2998 | 2682532.5664 | 1205293.9529
15 | 2682542.3408 | 1205288.2998 | 2682545.7115 | 1205279.8074
16 | 2682542.3408 | 1205288.2998 | 2682548.1214 | 1205295.5177 | 2682555.3657 | 1205309.2009
17 | 2682578.7686 | 1205247.3216 | 2682574.6556 | 1205248.5484
18 | 2682662.429 | 1205256.3515 | 2682652.535 | 1205233.2968
19 | 2682684.9889 | 1205308.9196 | 2682662.429 | 1205256.3515
20 | 2682646.7043 | 1205219.7103 | 2682652.535 | 1205233.2968
21 | 2682684.9889 | 1205308.9196 | 2682651.4861 | 1205321.0125
22 | 2682646.7043 | 1205219.7103 | 2682619.9756 | 1205230.5738
23 | 2682634.2924 | 1205331.5546 | 2682634.2924 | 1205331.5546 | 2682643.7261 | 1205323.8135 | 2682651.4861 | 1205321.0125
24 | 2682615.5087 | 1205232.3892 | 2682619.9756 | 1205230.5738
25 | 2682615.5087 | 1205232.3892 | 2682594.6356 | 1205240.8728
26 | 2682578.7686 | 1205247.3216 | 2682594.6356 | 1205240.8728
27 | 2682513.3969 | 1205169.3016 | 2682511.7684 | 1205172.6368 | 2682507.8784 | 1205178.3311 | 2682506.2684 | 1205180.3324 | 2682503.0338 | 1205183.7343
28 | 2682546.6752 | 1205185.0159 | 2682513.3969 | 1205169.3016
29 | 2682546.6752 | 1205185.0159 | 2682555.2492 | 1205179.582
30 | 2682555.2492 | 1205179.582 | 2682558.9164 | 1205177.2579 | 2682568.222 | 1205168.3364 | 2682580.9654 | 1205161.4047
31 | 2682555.2492 | 1205179.582 | 2682540.4658 | 1205149.3851
32 | 2682540.4658 | 1205149.3851 | 2682541.0028 | 1205143.0107
33 | 2682588.585 | 1205160.2461 | 2682585.1849 | 1205159.1095 | 2682580.9654 | 1205161.4047
34 | 2682577.5642 | 1205186.334 | 2682576.197 | 1205189.0599 | 2682567.7552 | 1205204.6063
35 | 2682577.5642 | 1205186.334 | 2682581.8845 | 1205177.7202 | 2682582.1579 | 1205175.9903
36 | 2682588.585 | 1205160.2461 | 2682583.652 | 1205166.5375 | 2682582.1579 | 1205175.9903
37 | 2682582.5494 | 1205253.9226 | 2682578.7686 | 1205247.3216

## bus_geodata
| x | y | coords
0 | 2682525.5437 | 1205236.7667
1 | 2682530.6403 | 1205233.9761
2 | 2682519.4832 | 1205240.0852
3 | 2682547.4612 | 1205224.7656
4 | 2682500.7716 | 1205250.331
5 | 2682561.1702 | 1205217.2591
6 | 2682498.9588 | 1205251.3236
7 | 2682555.8978 | 1205254.1432
8 | 2682566.1569 | 1205207.5497
9 | 2682479.5683 | 1205198.8125
10 | 2682493.2299 | 1205191.2926
11 | 2682532.5664 | 1205293.9529
12 | 2682511.4078 | 1205306.1899
13 | 2682542.3408 | 1205288.2998
14 | 2682545.7115 | 1205279.8074
15 | 2682555.3657 | 1205309.2009
16 | 2682574.6556 | 1205248.5484
17 | 2682662.429 | 1205256.3515
18 | 2682652.535 | 1205233.2968
19 | 2682684.9889 | 1205308.9196
20 | 2682646.7043 | 1205219.7103
21 | 2682651.4861 | 1205321.0125
22 | 2682619.9756 | 1205230.5738
23 | 2682634.2924 | 1205331.5546
24 | 2682615.5087 | 1205232.3892
25 | 2682594.6356 | 1205240.8728
26 | 2682503.0338 | 1205183.7343
27 | 2682513.3969 | 1205169.3016
28 | 2682546.6752 | 1205185.0159
29 | 2682555.2492 | 1205179.582
30 | 2682540.4658 | 1205149.3851
31 | 2682541.0028 | 1205143.0107
32 | 2682580.9654 | 1205161.4047
33 | 2682567.7552 | 1205204.6063
34 | 2682577.5642 | 1205186.334
35 | 2682582.1579 | 1205175.9903
36 | 2682588.585 | 1205160.2461
37 | 2682578.7686 | 1205247.3216
38 | 2682582.5494 | 1205253.9226
39 | 2682555.8978 | 1205254.1432

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99737 | -0.018433 | 0.016017 | 0.0040142
1 | 0.99772 | -0.01598 | 0.0025248 | 0.00063277
2 | 0.99711 | -0.020242 | 0.018647 | 0.0046733
3 | 0.99894 | -0.0074119 | 0.0028448 | 0.00071299
4 | 0.99688 | -0.021832 | 0.0029996 | 0.00075176
5 | 1 | 0 | -0.22834 | -0.057245
6 | 0.99687 | -0.021924 | 0.0044265 | 0.0011094
7 | 0.99473 | -0.036712 | 0 | 0
8 | 0.99874 | -0.0087813 | 0.0096332 | 0.0024143
9 | 0.98885 | -0.078219 | 0.016433 | 0.0041185
10 | 0.98922 | -0.075604 | 0 | 0
11 | 0.9937 | -0.043975 | 0.0023353 | 0.00058528
12 | 0.99355 | -0.044982 | 0.0040732 | 0.0010208
13 | 0.9938 | -0.043244 | 0 | 0
14 | 0.99397 | -0.042057 | 0.0063168 | 0.0015831
15 | 0.99357 | -0.044854 | 0.006442 | 0.0016145
16 | 0.99251 | -0.052296 | 0.0066696 | 0.0016715
17 | 0.98562 | -0.10093 | 0.0096054 | 0.0024073
18 | 0.98652 | -0.094554 | 0.0080786 | 0.0020247
19 | 0.98436 | -0.10985 | 0 | 0
20 | 0.98722 | -0.089577 | 0 | 0
21 | 0.98358 | -0.11542 | 0.01135 | 0.0028446
22 | 0.98859 | -0.079884 | 0.0058364 | 0.0014628
23 | 0.98346 | -0.11622 | 0.0038036 | 0.00095327
24 | 0.98886 | -0.077979 | 0.012835 | 0.0032168
25 | 0.99054 | -0.066149 | 0.010082 | 0.0025269
26 | 0.98952 | -0.07353 | 0.0051941 | 0.0013018
27 | 0.99007 | -0.069592 | 0 | 0
28 | 0.99122 | -0.061496 | 0.0095725 | 0.0023991
29 | 0.99168 | -0.058279 | 0.0040297 | 0.0010099
30 | 0.99136 | -0.060552 | 0 | 0
31 | 0.99129 | -0.060984 | 0.0066558 | 0.0016681
32 | 0.99359 | -0.044809 | 0.0092617 | 0.0023212
33 | 0.9984 | -0.011157 | 0.0032259 | 0.00080849
34 | 0.99638 | -0.025231 | 0.013708 | 0.0034355
35 | 0.9955 | -0.031411 | 0.0027648 | 0.00069291
36 | 0.99421 | -0.040473 | 0 | 0
37 | 0.99206 | -0.055432 | 0 | 0
38 | 0.99195 | -0.056239 | 0.01047 | 0.0026239
39 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.042098 | -0.010551 | 0.042112 | 0.010557 | 1.4303e-05 | 5.4254e-06 | 0.062808 | 0.062808 | 0.062808 | 0.99737 | -0.018433 | 0.99772 | -0.01598 | 23.2621
1 | 0.026081 | 0.0065372 | -0.026074 | -0.0065348 | 6.5282e-06 | 2.4207e-06 | 0.038912 | 0.038912 | 0.038912 | 0.99737 | -0.018433 | 0.99711 | -0.020242 | 14.4117
2 | -0.044637 | -0.01119 | 0.04469 | 0.01121 | 5.3036e-05 | 2.0148e-05 | 0.066573 | 0.066573 | 0.066573 | 0.99772 | -0.01598 | 0.99894 | -0.0074119 | 24.6567
3 | 0.0074277 | 0.0018615 | -0.0074261 | -0.0018611 | 1.6356e-06 | 3.5088e-07 | 0.011085 | 0.011085 | 0.011085 | 0.99711 | -0.020242 | 0.99688 | -0.021832 | 4.1054
4 | -0.047535 | -0.011923 | 0.047584 | 0.011941 | 4.8902e-05 | 1.8604e-05 | 0.070811 | 0.070811 | 0.070811 | 0.99894 | -0.0074119 | 1 | 0 | 26.2262
5 | 0.0044265 | 0.0011094 | -0.0044265 | -0.0011094 | 5.6302e-08 | -5.2907e-09 | 0.0066073 | 0.0066073 | 0.0066073 | 0.99688 | -0.021832 | 0.99687 | -0.021924 | 2.4472
6 | 0.098934 | 0.024929 | -0.098428 | -0.024735 | 0.0005056 | 0.00019397 | 0.14726 | 0.14726 | 0.14726 | 1 | 0 | 0.99473 | -0.036712 | 54.5416
7 | 0.081018 | 0.020374 | -0.080919 | -0.020336 | 9.9039e-05 | 3.7949e-05 | 0.12058 | 0.12058 | 0.12058 | 1 | 0 | 0.99874 | -0.0087813 | 44.6594
8 | 0.079242 | 0.019925 | -0.07907 | -0.019859 | 0.00017169 | 6.5783e-05 | 0.11856 | 0.11856 | 0.11856 | 0.99473 | -0.036712 | 0.99251 | -0.052296 | 43.9116
9 | 0.019186 | 0.0048098 | -0.019172 | -0.0048047 | 1.4193e-05 | 5.1008e-06 | 0.028701 | 0.028701 | 0.028701 | 0.99473 | -0.036712 | 0.99397 | -0.042057 | 10.6301
10 | 0.071286 | 0.017922 | -0.071262 | -0.017913 | 2.3585e-05 | 9.0272e-06 | 0.10623 | 0.10623 | 0.10623 | 0.99874 | -0.0087813 | 0.9984 | -0.011157 | 39.3437
11 | -0.016433 | -0.0041185 | 0.016439 | 0.0041206 | 5.9505e-06 | 2.0885e-06 | 0.024728 | 0.024728 | 0.024728 | 0.98885 | -0.078219 | 0.98922 | -0.075604 | 9.1585
12 | -0.016439 | -0.0041206 | 0.016444 | 0.0041222 | 4.7234e-06 | 1.6577e-06 | 0.024728 | 0.024728 | 0.024728 | 0.98922 | -0.075604 | 0.98952 | -0.07353 | 9.1585
13 | 0.0040737 | 0.0010207 | -0.0040732 | -0.0010208 | 5.6757e-07 | -9.8297e-08 | 0.0061001 | 0.0061003 | 0.0061003 | 0.9937 | -0.043975 | 0.99355 | -0.044982 | 2.2594
14 | -0.006409 | -0.001606 | 0.0064097 | 0.0016061 | 6.4896e-07 | 1.0331e-07 | 0.0095972 | 0.0095971 | 0.0095972 | 0.9937 | -0.043975 | 0.9938 | -0.043244 | 3.5545
15 | -0.012853 | -0.0032209 | 0.012855 | 0.0032216 | 2.1116e-06 | 6.9375e-07 | 0.019245 | 0.019245 | 0.019245 | 0.9938 | -0.043244 | 0.99397 | -0.042057 | 7.1277
16 | 0.0064435 | 0.0016148 | -0.006442 | -0.0016145 | 1.4364e-06 | 2.3209e-07 | 0.0096478 | 0.0096479 | 0.0096479 | 0.9938 | -0.043244 | 0.99357 | -0.044854 | 3.5733
17 | 0.072401 | 0.018188 | -0.072369 | -0.018176 | 3.1565e-05 | 1.2085e-05 | 0.10856 | 0.10856 | 0.10856 | 0.99251 | -0.052296 | 0.99206 | -0.055432 | 40.2081
18 | -0.02479 | -0.0062156 | 0.024812 | 0.0062237 | 2.1929e-05 | 8.1142e-06 | 0.037427 | 0.037427 | 0.037427 | 0.98562 | -0.10093 | 0.98652 | -0.094554 | 13.8618
19 | 0.015184 | 0.0038083 | -0.015166 | -0.0038018 | 1.8761e-05 | 6.4875e-06 | 0.022925 | 0.022926 | 0.022926 | 0.98562 | -0.10093 | 0.98436 | -0.10985 | 8.4909
20 | -0.03289 | -0.0082484 | 0.032913 | 0.008257 | 2.2708e-05 | 8.5448e-06 | 0.049612 | 0.049612 | 0.049612 | 0.98652 | -0.094554 | 0.98722 | -0.089577 | 18.3749
21 | 0.015166 | 0.0038018 | -0.015154 | -0.0037977 | 1.1682e-05 | 4.0405e-06 | 0.022926 | 0.022926 | 0.022926 | 0.98436 | -0.10985 | 0.98358 | -0.11542 | 8.491
22 | -0.032913 | -0.008257 | 0.032957 | 0.0082736 | 4.4313e-05 | 1.6674e-05 | 0.049612 | 0.049612 | 0.049612 | 0.98722 | -0.089577 | 0.98859 | -0.079884 | 18.3749
23 | 0.003804 | 0.00095317 | -0.0038036 | -0.00095327 | 4.2269e-07 | -9.6988e-08 | 0.0057549 | 0.005755 | 0.005755 | 0.98358 | -0.11542 | 0.98346 | -0.11622 | 2.1315
24 | -0.038794 | -0.0097364 | 0.038804 | 0.0097403 | 1.026e-05 | 3.8845e-06 | 0.058397 | 0.058397 | 0.058397 | 0.98859 | -0.079884 | 0.98886 | -0.077979 | 21.6285
25 | -0.051639 | -0.012957 | 0.051724 | 0.012989 | 8.4905e-05 | 3.2366e-05 | 0.077711 | 0.077711 | 0.077711 | 0.98886 | -0.077979 | 0.99054 | -0.066149 | 28.7818
26 | -0.061806 | -0.015516 | 0.061898 | 0.015551 | 9.2152e-05 | 3.5222e-05 | 0.092857 | 0.092857 | 0.092857 | 0.99054 | -0.066149 | 0.99206 | -0.055432 | 34.3914
27 | -0.021638 | -0.005424 | 0.021649 | 0.0054283 | 1.1806e-05 | 4.3113e-06 | 0.032539 | 0.032539 | 0.032539 | 0.98952 | -0.07353 | 0.99007 | -0.069592 | 12.0514
28 | -0.021649 | -0.0054283 | 0.021674 | 0.0054372 | 2.4314e-05 | 8.8776e-06 | 0.032539 | 0.032538 | 0.032539 | 0.99007 | -0.069592 | 0.99122 | -0.061496 | 12.0513
29 | -0.031246 | -0.0078363 | 0.03126 | 0.0078415 | 1.3938e-05 | 5.2298e-06 | 0.046909 | 0.046909 | 0.046909 | 0.99122 | -0.061496 | 0.99168 | -0.058279 | 17.3736
30 | -0.041948 | -0.01052 | 0.042027 | 0.01055 | 7.8473e-05 | 2.9772e-05 | 0.062946 | 0.062946 | 0.062946 | 0.99168 | -0.058279 | 0.99359 | -0.044809 | 23.3133
31 | 0.0066583 | 0.0016685 | -0.0066562 | -0.0016682 | 2.0941e-06 | 3.718e-07 | 0.0099907 | 0.0099909 | 0.0099909 | 0.99168 | -0.058279 | 0.99136 | -0.060552 | 3.7003
32 | 0.0066562 | 0.0016682 | -0.0066558 | -0.0016681 | 3.9851e-07 | 7.0786e-08 | 0.0099909 | 0.0099909 | 0.0099909 | 0.99136 | -0.060552 | 0.99129 | -0.060984 | 3.7003
33 | -0.051288 | -0.012871 | 0.051319 | 0.012883 | 3.0886e-05 | 1.1771e-05 | 0.076816 | 0.076816 | 0.076816 | 0.99359 | -0.044809 | 0.99421 | -0.040473 | 28.4504
34 | 0.068036 | 0.017104 | -0.067903 | -0.017054 | 0.00013312 | 5.0929e-05 | 0.10142 | 0.10142 | 0.10142 | 0.9984 | -0.011157 | 0.99638 | -0.025231 | 37.563
35 | 0.054195 | 0.013618 | -0.054149 | -0.0136 | 4.6564e-05 | 1.7761e-05 | 0.080949 | 0.080949 | 0.080949 | 0.99638 | -0.025231 | 0.9955 | -0.031411 | 29.981
36 | 0.051384 | 0.012907 | -0.051319 | -0.012883 | 6.4675e-05 | 2.4647e-05 | 0.076816 | 0.076816 | 0.076816 | 0.9955 | -0.031411 | 0.99421 | -0.040473 | 28.4504
37 | 0.010471 | 0.0026243 | -0.01047 | -0.0026239 | 1.1701e-06 | 3.5188e-07 | 0.015705 | 0.015705 | 0.015705 | 0.99206 | -0.055432 | 0.99195 | -0.056239 | 5.8168

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.22834 | 0.057245

## res_load
| p_mw | q_mvar
0 | 0.016017 | 0.0040142
1 | 0.0025248 | 0.00063277
2 | 0.018647 | 0.0046733
3 | 0.0028448 | 0.00071299
4 | 0.0029996 | 0.00075176
5 | 0.0044265 | 0.0011094
6 | 0.0096332 | 0.0024143
7 | 0.016433 | 0.0041185
8 | 0.0023353 | 0.00058528
9 | 0.0040732 | 0.0010208
10 | 0.0063168 | 0.0015831
11 | 0.006442 | 0.0016145
12 | 0.0066696 | 0.0016715
13 | 0.0096054 | 0.0024073
14 | 0.0080786 | 0.0020247
15 | 0.01135 | 0.0028446
16 | 0.0058364 | 0.0014628
17 | 0.0038036 | 0.00095327
18 | 0.012835 | 0.0032168
19 | 0.010082 | 0.0025269
20 | 0.0051941 | 0.0013018
21 | 0.0095725 | 0.0023991
22 | 0.0040297 | 0.0010099
23 | 0.0066558 | 0.0016681
24 | 0.0092617 | 0.0023212
25 | 0.0032259 | 0.00080849
26 | 0.013708 | 0.0034355
27 | 0.0027648 | 0.00069291
28 | 0.01047 | 0.0026239

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1