## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1364-12_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1364-12_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1364-12_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1364-12_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1364-12_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1364-12_0_6_node_54 | 0.4 | n |  | TRUE
6 | bus_LV_1364-12_0_6_node_61 | 0.4 | n |  | TRUE
7 | bus_LV_1364-12_0_6_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_1364-12_0_6_node_35 | 0.4 | n |  | TRUE
9 | bus_LV_1364-12_0_6_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_1364-12_0_6_node_36 | 0.4 | n |  | TRUE
11 | bus_LV_1364-12_0_6_node_45 | 0.4 | n |  | TRUE
12 | bus_LV_1364-12_0_6_node_46 | 0.4 | n |  | TRUE
13 | bus_LV_1364-12_0_6_node_47 | 0.4 | n |  | TRUE
14 | bus_LV_1364-12_0_6_node_48 | 0.4 | n |  | TRUE
15 | bus_LV_1364-12_0_6_node_49 | 0.4 | n |  | TRUE
16 | bus_LV_1364-12_0_6_node_57 | 0.4 | n |  | TRUE
17 | bus_LV_1364-12_0_6_node_56 | 0.4 | n |  | TRUE
18 | bus_LV_1364-12_0_6_node_58 | 0.4 | n |  | TRUE
19 | bus_LV_1364-12_0_6_node_43 | 0.4 | n |  | TRUE
20 | bus_LV_1364-12_0_6_node_63 | 0.4 | n |  | TRUE
21 | bus_LV_1364-12_0_6_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_1364-12_0_6_node_7 | 0.4 | n |  | TRUE
23 | bus_LV_1364-12_0_6_node_34 | 0.4 | n |  | TRUE
24 | bus_LV_1364-12_0_6_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_1364-12_0_6_node_6 | 0.4 | n |  | TRUE
26 | bus_LV_1364-12_0_6_node_8 | 0.4 | n |  | TRUE
27 | bus_LV_1364-12_0_6_node_10 | 0.4 | n |  | TRUE
28 | bus_LV_1364-12_0_6_node_52 | 0.4 | n |  | TRUE
29 | bus_LV_1364-12_0_6_node_11 | 0.4 | n |  | TRUE
30 | bus_LV_1364-12_0_6_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_1364-12_0_6_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_1364-12_0_6_node_12 | 0.4 | n |  | TRUE
33 | bus_LV_1364-12_0_6_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_1364-12_0_6_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_1364-12_0_6_node_53 | 0.4 | n |  | TRUE
36 | bus_LV_1364-12_0_6_node_51 | 0.4 | n |  | TRUE
37 | bus_LV_1364-12_0_6_node_44 | 0.4 | n |  | TRUE
38 | bus_LV_1364-12_0_6_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_1364-12_0_6_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_1364-12_0_6_node_13 | 0.4 | n |  | TRUE
41 | bus_LV_1364-12_0_6_node_14 | 0.4 | n |  | TRUE
42 | bus_LV_1364-12_0_6_node_15 | 0.4 | n |  | TRUE
43 | bus_LV_1364-12_0_6_node_17 | 0.4 | n |  | TRUE
44 | bus_LV_1364-12_0_6_node_18 | 0.4 | n |  | TRUE
45 | bus_LV_1364-12_0_6_node_50 | 0.4 | n |  | TRUE
46 | bus_LV_1364-12_0_6_node_62 | 0.4 | n |  | TRUE
47 | bus_LV_1364-12_0_6_node_19 | 0.4 | n |  | TRUE
48 | bus_LV_1364-12_0_6_node_20 | 0.4 | n |  | TRUE
49 | bus_LV_1364-12_0_6_node_25 | 0.4 | n |  | TRUE
50 | bus_LV_1364-12_0_6_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_1364-12_0_6_node_28 | 0.4 | n |  | TRUE
52 | bus_LV_1364-12_0_6_node_29 | 0.4 | n |  | TRUE
53 | bus_LV_1364-12_0_6_node_30 | 0.4 | n |  | TRUE
54 | bus_LV_1364-12_0_6_node_31 | 0.4 | n |  | TRUE
55 | bus_LV_1364-12_0_6_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_1364-12_0_6_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_1364-12_0_6_node_39 | 0.4 | n |  | TRUE
58 | bus_LV_1364-12_0_6_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_1364-12_0_6_node_41 | 0.4 | n |  | TRUE
60 | bus_MV_133_0_node_247 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1364-12_0_6_load_0 | 0 | 0.010009 | 0.0025084 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1364-12_0_6_load_1 | 1 | 0.0028011 | 0.00070203 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1364-12_0_6_load_54 | 5 | 0.019486 | 0.0048836 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1364-12_0_6_load_61 | 6 | 0.0085425 | 0.002141 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1364-12_0_6_load_35 | 8 | 0.010736 | 0.0026908 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1364-12_0_6_load_36 | 10 | 0.0040533 | 0.0010158 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1364-12_0_6_load_45 | 11 | 0.012641 | 0.0031682 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1364-12_0_6_load_46 | 12 | 0.016939 | 0.0042453 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1364-12_0_6_load_47 | 13 | 0.013714 | 0.003437 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1364-12_0_6_load_48 | 14 | 0.013104 | 0.0032843 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1364-12_0_6_load_49 | 15 | 0.013715 | 0.0034373 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1364-12_0_6_load_58 | 18 | 0.0074725 | 0.0018728 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1364-12_0_6_load_63 | 20 | 0.0025285 | 0.00063369 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1364-12_0_6_load_7 | 22 | 0.004 | 0.0010025 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1364-12_0_6_load_34 | 23 | 0.010483 | 0.0026274 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1364-12_0_6_load_37 | 24 | 0.0023746 | 0.00059514 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1364-12_0_6_load_6 | 25 | 0.011544 | 0.0028932 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1364-12_0_6_load_10 | 27 | 0.0019485 | 0.00048834 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1364-12_0_6_load_52 | 28 | 0.0018814 | 0.00047152 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1364-12_0_6_load_21 | 31 | 0.0053636 | 0.0013442 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1364-12_0_6_load_27 | 33 | 0.0058696 | 0.0014711 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1364-12_0_6_load_26 | 34 | 0.0095049 | 0.0023822 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1364-12_0_6_load_53 | 35 | 0.0051446 | 0.0012893 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1364-12_0_6_load_44 | 37 | 0.0027359 | 0.00068567 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1364-12_0_6_load_24 | 39 | 0.0015826 | 0.00039665 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1364-12_0_6_load_13 | 40 | 0.0017828 | 0.0004468 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1364-12_0_6_load_14 | 41 | 0.001715 | 0.00042982 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1364-12_0_6_load_15 | 42 | 0.0019411 | 0.0004865 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1364-12_0_6_load_17 | 43 | 0.001614 | 0.00040451 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1364-12_0_6_load_18 | 44 | 0.0019086 | 0.00047834 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1364-12_0_6_load_50 | 45 | 0.0017824 | 0.0004467 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1364-12_0_6_load_62 | 46 | 0.0019079 | 0.00047817 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1364-12_0_6_load_19 | 47 | 0.0015293 | 0.00038329 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1364-12_0_6_load_20 | 48 | 0.00073077 | 0.00018315 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1364-12_0_6_load_25 | 49 | 0.0015272 | 0.00038276 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1364-12_0_6_load_33 | 50 | 0.0016375 | 0.0004104 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1364-12_0_6_load_28 | 51 | 0.0018763 | 0.00047024 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1364-12_0_6_load_29 | 52 | 0.001919 | 0.00048095 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1364-12_0_6_load_30 | 53 | 0.0019046 | 0.00047733 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1364-12_0_6_load_31 | 54 | 0.0027582 | 0.00069126 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1364-12_0_6_load_32 | 55 | 0.0024102 | 0.00060405 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1364-12_0_6_load_38 | 56 | 0.0025497 | 0.00063901 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1364-12_0_6_load_39 | 57 | 0.00315 | 0.00078945 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1364-12_0_6_load_40 | 58 | 0.0027803 | 0.00069681 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1364-12_0_6_load_41 | 59 | 0.002328 | 0.00058345 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 2 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1364-12_0_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.020665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1364-12_0_6_line_1 | NAYY 4x150 SE | 0 | 2 | 0.057055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1364-12_0_6_line_2 | NAYY 4x150 SE | 1 | 3 | 0.028441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1364-12_0_6_line_3 | NAYY 4x150 SE | 2 | 4 | 0.063238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_1364-12_0_6_line_4 | NAYY 4x150 SE | 2 | 5 | 0.29933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
5 | LV_1364-12_0_6_line_5 | NAYY 4x150 SE | 3 | 6 | 0.021008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1364-12_0_6_line_6 | NAYY 4x150 SE | 4 | 7 | 0.009142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1364-12_0_6_line_7 | NAYY 4x150 SE | 4 | 8 | 0.031643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1364-12_0_6_line_8 | NAYY 4x150 SE | 5 | 17 | 0.10692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
9 | LV_1364-12_0_6_line_9 | NAYY 4x150 SE | 7 | 22 | 0.016379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1364-12_0_6_line_10 | NAYY 4x150 SE | 7 | 9 | 0.049753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1364-12_0_6_line_11 | NAYY 4x150 SE | 8 | 23 | 0.019966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1364-12_0_6_line_12 | NAYY 4x150 SE | 9 | 10 | 0.025803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1364-12_0_6_line_13 | NAYY 4x150 SE | 10 | 24 | 0.02626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1364-12_0_6_line_14 | NAYY 4x150 SE | 11 | 12 | 0.012475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1364-12_0_6_line_15 | NAYY 4x150 SE | 11 | 13 | 0.012012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1364-12_0_6_line_16 | NAYY 4x150 SE | 12 | 14 | 0.019577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1364-12_0_6_line_17 | NAYY 4x150 SE | 13 | 15 | 0.017541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1364-12_0_6_line_18 | NAYY 4x150 SE | 14 | 16 | 0.049619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1364-12_0_6_line_19 | NAYY 4x150 SE | 16 | 18 | 0.10568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1364-12_0_6_line_20 | NAYY 4x150 SE | 16 | 17 | 0.071914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_1364-12_0_6_line_21 | NAYY 4x150 SE | 19 | 20 | 0.006374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1364-12_0_6_line_22 | NAYY 4x150 SE | 19 | 21 | 0.02332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1364-12_0_6_line_23 | NAYY 4x150 SE | 21 | 41 | 0.026685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1364-12_0_6_line_24 | NAYY 4x150 SE | 22 | 25 | 0.0059955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1364-12_0_6_line_25 | NAYY 4x150 SE | 23 | 33 | 0.013946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1364-12_0_6_line_26 | NAYY 4x150 SE | 24 | 56 | 0.020019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1364-12_0_6_line_27 | NAYY 4x150 SE | 25 | 26 | 0.032004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1364-12_0_6_line_28 | NAYY 4x150 SE | 26 | 27 | 0.015668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1364-12_0_6_line_29 | NAYY 4x150 SE | 27 | 28 | 0.0036565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1364-12_0_6_line_30 | NAYY 4x150 SE | 28 | 35 | 0.022485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1364-12_0_6_line_31 | NAYY 4x150 SE | 29 | 30 | 0.010147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1364-12_0_6_line_32 | NAYY 4x150 SE | 29 | 31 | 0.01799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1364-12_0_6_line_33 | NAYY 4x150 SE | 30 | 36 | 0.019355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1364-12_0_6_line_34 | NAYY 4x150 SE | 30 | 37 | 0.010733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1364-12_0_6_line_35 | NAYY 4x150 SE | 31 | 38 | 0.019501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1364-12_0_6_line_36 | NAYY 4x150 SE | 32 | 33 | 0.020185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1364-12_0_6_line_37 | NAYY 4x150 SE | 32 | 34 | 0.013249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1364-12_0_6_line_38 | NAYY 4x150 SE | 34 | 39 | 0.018357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1364-12_0_6_line_39 | NAYY 4x150 SE | 36 | 46 | 0.002063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1364-12_0_6_line_40 | NAYY 4x150 SE | 37 | 50 | 0.0014867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1364-12_0_6_line_41 | NAYY 4x150 SE | 38 | 39 | 0.0042939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1364-12_0_6_line_42 | NAYY 4x150 SE | 38 | 49 | 0.0083923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1364-12_0_6_line_43 | NAYY 4x150 SE | 40 | 41 | 0.0084909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1364-12_0_6_line_44 | NAYY 4x150 SE | 40 | 42 | 0.00016373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1364-12_0_6_line_45 | NAYY 4x150 SE | 42 | 43 | 0.013307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1364-12_0_6_line_46 | NAYY 4x150 SE | 43 | 44 | 0.0018115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1364-12_0_6_line_47 | NAYY 4x150 SE | 44 | 47 | 0.01288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1364-12_0_6_line_48 | NAYY 4x150 SE | 45 | 46 | 0.0081718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1364-12_0_6_line_49 | NAYY 4x150 SE | 47 | 48 | 0.0036965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1364-12_0_6_line_50 | NAYY 4x150 SE | 48 | 49 | 0.0063462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1364-12_0_6_line_51 | NAYY 4x150 SE | 50 | 55 | 0.016645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1364-12_0_6_line_52 | NAYY 4x150 SE | 51 | 52 | 0.0071881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1364-12_0_6_line_53 | NAYY 4x150 SE | 51 | 53 | 0.012378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1364-12_0_6_line_54 | NAYY 4x150 SE | 52 | 54 | 0.0040906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1364-12_0_6_line_55 | NAYY 4x150 SE | 53 | 55 | 0.008094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1364-12_0_6_line_56 | NAYY 4x150 SE | 56 | 57 | 0.016731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1364-12_0_6_line_57 | NAYY 4x150 SE | 57 | 58 | 0.016313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1364-12_0_6_line_58 | NAYY 4x150 SE | 58 | 59 | 0.016712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1364-12_0_6_trafo_2 | 0.25 MVA 20/0.4 kV | 60 | 2 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2689106.7898 | 1205677.1392 | 2689120.0116 | 1205684.5467 | 2689125.3008 | 1205686.0884
1 | 2689063.4063 | 1205640.7957 | 2689077.6637 | 1205651.382 | 2689095.871 | 1205671.022 | 2689106.7898 | 1205677.1392
2 | 2689153.0767 | 1205691.8561 | 2689137.6213 | 1205689.6795 | 2689125.3008 | 1205686.0884
3 | 2689063.4063 | 1205640.7957 | 2689061.3934 | 1205643.145 | 2689048.8494 | 1205643.6472 | 2689045.0675 | 1205645.2585 | 2689028.4471 | 1205660.9877 | 2689022.0542 | 1205670.8766 | 2689022.1724 | 1205679.7843
4 | 2689063.4063 | 1205640.7957 | 2689082.9657 | 1205342.1015
5 | 2689153.0767 | 1205691.8561 | 2689154.2136 | 1205687.5481 | 2689155.8667 | 1205681.2797 | 2689158.4388 | 1205671.5451
6 | 2689015.6786 | 1205686.2361 | 2689022.1724 | 1205679.7843
7 | 2689022.1724 | 1205679.7843 | 2689028.8011 | 1205675.5025 | 2689039.1933 | 1205670.3429 | 2689051.3387 | 1205670.0349
8 | 2688978.3761 | 1205349.8264 | 2689007.6632 | 1205349.9407 | 2689021.2962 | 1205348.8876 | 2689034.0765 | 1205346.3543 | 2689042.383 | 1205344.3768 | 2689059.0423 | 1205337.8209 | 2689070.5672 | 1205338.3598 | 2689082.9657 | 1205342.1015
9 | 2689015.6786 | 1205686.2361 | 2689020.3995 | 1205687.4629 | 2689029.3002 | 1205694.7466
10 | 2688966.5814 | 1205689.3954 | 2688995.2435 | 1205683.8633 | 2689007.7903 | 1205684.1839 | 2689015.6786 | 1205686.2361
11 | 2689066.1608 | 1205683.0534 | 2689063.0223 | 1205681.8169 | 2689051.3387 | 1205670.0349
12 | 2688966.5814 | 1205689.3954 | 2688972.9435 | 1205714.402
13 | 2688972.9435 | 1205714.402 | 2688975.7075 | 1205725.266 | 2688980.3154 | 1205739.5932
14 | 2689086.9574 | 1205252.5872 | 2689087.1504 | 1205257.3986 | 2689085.5559 | 1205264.8905
15 | 2689086.9574 | 1205252.5872 | 2689086.4761 | 1205240.5851
16 | 2689074.9911 | 1205281.042 | 2689077.446 | 1205278.6121 | 2689084.9496 | 1205267.7392 | 2689085.5559 | 1205264.8905
17 | 2689087.8597 | 1205223.1311 | 2689086.3299 | 1205236.9396 | 2689086.4761 | 1205240.5851
18 | 2689034.3802 | 1205305.5988 | 2689040.1891 | 1205306.8417 | 2689051.9079 | 1205301.0126 | 2689064.2884 | 1205291.6356 | 2689074.9911 | 1205281.042
19 | 2689034.3802 | 1205305.5988 | 2689051.8107 | 1205290.7044 | 2689058.6544 | 1205281.7339 | 2689061.6756 | 1205275.5527 | 2689064.0328 | 1205267.4715 | 2689064.3023 | 1205260.6266 | 2689062.7764 | 1205225.2362 | 2689060.4539 | 1205220.7875 | 2689056.4383 | 1205218.1592 | 2689052.3824 | 1205217.6876
20 | 2689034.3802 | 1205305.5988 | 2689028.3124 | 1205310.5004 | 2689017.2847 | 1205319.4641 | 2689013.1784 | 1205323.4277 | 2689011.3686 | 1205325.9246 | 2689007.8896 | 1205326.5954 | 2688992.5478 | 1205339.1861 | 2688978.3761 | 1205349.8264
21 | 2689194.8188 | 1205743.6134 | 2689196.8565 | 1205737.5732
22 | 2689194.8188 | 1205743.6134 | 2689172.0908 | 1205749.1109
23 | 2689172.0908 | 1205749.1109 | 2689164.6942 | 1205723.8283 | 2689164.3615 | 1205723.7458
24 | 2689029.3002 | 1205694.7466 | 2689033.4911 | 1205698.1762 | 2689033.8846 | 1205698.6025
25 | 2689066.1608 | 1205683.0534 | 2689072.1674 | 1205689.3694 | 2689072.0583 | 1205692.0917 | 2689073.7925 | 1205693.8997
26 | 2688987.3529 | 1205758.3257 | 2688981.9451 | 1205744.6606 | 2688980.3154 | 1205739.5932
27 | 2689055.5897 | 1205722.1214 | 2689033.8846 | 1205698.6025
28 | 2689055.5897 | 1205722.1214 | 2689050.1045 | 1205729.2998 | 2689047.0021 | 1205733.801 | 2689046.3036 | 1205734.7356
29 | 2689047.4324 | 1205738.2136 | 2689046.3036 | 1205734.7356 | 2689046.3036 | 1205734.7356
30 | 2689028.1739 | 1205741.0028 | 2689033.7661 | 1205744.4995 | 2689046.8559 | 1205740.0362 | 2689047.6126 | 1205738.7689 | 2689047.4324 | 1205738.2136
31 | 2689095.2185 | 1205745.2944 | 2689086.0729 | 1205740.8439
32 | 2689086.0729 | 1205740.8439 | 2689099.2989 | 1205728.6494
33 | 2689095.2185 | 1205745.2944 | 2689111.1837 | 1205753.0599 | 2689112.8074 | 1205753.3399
34 | 2689095.2185 | 1205745.2944 | 2689089.145 | 1205754.1439
35 | 2689110.817 | 1205713.9399 | 2689110.1149 | 1205718.6769 | 2689099.2989 | 1205728.6494
36 | 2689086.5402 | 1205709.03 | 2689077.4856 | 1205700.0112 | 2689076.8297 | 1205697.0662 | 2689073.7925 | 1205693.8997
37 | 2689086.5402 | 1205709.03 | 2689087.5339 | 1205708.1998 | 2689087.9807 | 1205706.8056 | 2689095.5217 | 1205699.5133
38 | 2689095.5217 | 1205699.5133 | 2689105.8971 | 1205709.7415 | 2689109.6845 | 1205709.798
39 | 2689112.8074 | 1205753.3399 | 2689114.8404 | 1205753.6902
40 | 2689089.145 | 1205754.1439 | 2689088.3038 | 1205755.3697
41 | 2689110.817 | 1205713.9399 | 2689109.6845 | 1205709.798
42 | 2689110.817 | 1205713.9399 | 2689119.0762 | 1205715.4287
43 | 2689164.3615 | 1205723.7458 | 2689156.1206 | 1205721.7005
44 | 2689156.1206 | 1205721.7005 | 2689155.9616 | 1205721.6611
45 | 2689155.9616 | 1205721.6611 | 2689146.1032 | 1205719.2144 | 2689143.0039 | 1205719.773
46 | 2689143.0039 | 1205719.773 | 2689141.2212 | 1205720.0944
47 | 2689128.8894 | 1205717.4234 | 2689131.3768 | 1205718.6498 | 2689138.9256 | 1205720.5081 | 2689141.2212 | 1205720.0944
48 | 2689122.8935 | 1205755.0779 | 2689114.8404 | 1205753.6902
49 | 2689128.8894 | 1205717.4234 | 2689128.1675 | 1205717.0675 | 2689125.3218 | 1205716.5545
50 | 2689119.0762 | 1205715.4287 | 2689125.3218 | 1205716.5545
51 | 2689077.4071 | 1205767.023 | 2689080.9883 | 1205766.029 | 2689088.3038 | 1205755.3697
52 | 2689050.755 | 1205774.4204 | 2689057.6812 | 1205772.498
53 | 2689069.608 | 1205769.1877 | 2689057.6812 | 1205772.498
54 | 2689046.8133 | 1205775.5144 | 2689050.755 | 1205774.4204
55 | 2689069.608 | 1205769.1877 | 2689077.4071 | 1205767.023
56 | 2688993.9668 | 1205773.6929 | 2688988.0443 | 1205760.0727 | 2688987.3529 | 1205758.3257
57 | 2688993.9668 | 1205773.6929 | 2688995.4652 | 1205777.1389 | 2689000.9346 | 1205788.4403
58 | 2689008.2146 | 1205803.4829 | 2689000.9346 | 1205788.4403

## bus_geodata
| x | y | coords
0 | 2689106.7898 | 1205677.1392
1 | 2689125.3008 | 1205686.0884
2 | 2689063.4063 | 1205640.7957
3 | 2689153.0767 | 1205691.8561
4 | 2689022.1724 | 1205679.7843
5 | 2689082.9657 | 1205342.1015
6 | 2689158.4388 | 1205671.5451
7 | 2689015.6786 | 1205686.2361
8 | 2689051.3387 | 1205670.0349
9 | 2688966.5814 | 1205689.3954
10 | 2688972.9435 | 1205714.402
11 | 2689086.9574 | 1205252.5872
12 | 2689085.5559 | 1205264.8905
13 | 2689086.4761 | 1205240.5851
14 | 2689074.9911 | 1205281.042
15 | 2689087.8597 | 1205223.1311
16 | 2689034.3802 | 1205305.5988
17 | 2688978.3761 | 1205349.8264
18 | 2689052.3824 | 1205217.6876
19 | 2689194.8189 | 1205743.6134
20 | 2689196.8565 | 1205737.5732
21 | 2689172.0908 | 1205749.1109
22 | 2689029.3002 | 1205694.7466
23 | 2689066.1608 | 1205683.0534
24 | 2688980.3154 | 1205739.5932
25 | 2689033.8846 | 1205698.6025
26 | 2689055.5897 | 1205722.1214
27 | 2689046.3036 | 1205734.7356
28 | 2689047.4324 | 1205738.2136
29 | 2689086.0729 | 1205740.8439
30 | 2689095.2185 | 1205745.2944
31 | 2689099.2989 | 1205728.6494
32 | 2689086.5402 | 1205709.03
33 | 2689073.7925 | 1205693.8997
34 | 2689095.5217 | 1205699.5133
35 | 2689028.1739 | 1205741.0028
36 | 2689112.8074 | 1205753.3399
37 | 2689089.145 | 1205754.1439
38 | 2689110.817 | 1205713.9399
39 | 2689109.6845 | 1205709.798
40 | 2689156.1206 | 1205721.7005
41 | 2689164.3615 | 1205723.7458
42 | 2689155.9616 | 1205721.6611
43 | 2689143.0039 | 1205719.773
44 | 2689141.2212 | 1205720.0944
45 | 2689122.8935 | 1205755.0779
46 | 2689114.8404 | 1205753.6902
47 | 2689128.8894 | 1205717.4234
48 | 2689125.3218 | 1205716.5545
49 | 2689119.0762 | 1205715.4287
50 | 2689088.3038 | 1205755.3697
51 | 2689057.6812 | 1205772.498
52 | 2689050.755 | 1205774.4204
53 | 2689069.608 | 1205769.1877
54 | 2689046.8133 | 1205775.5144
55 | 2689077.4071 | 1205767.023
56 | 2688987.3529 | 1205758.3257
57 | 2688993.9668 | 1205773.6929
58 | 2689000.9346 | 1205788.4403
59 | 2689008.2146 | 1205803.4829
60 | 2689022.1724 | 1205679.7843

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99826 | -0.012185 | 0.010009 | 0.0025084
1 | 0.99792 | -0.014535 | 0.0028011 | 0.00070203
2 | 1 | 0 | -0.24259 | -0.061082
3 | 0.99758 | -0.016972 | 0 | 0
4 | 0.99455 | -0.03794 | 0 | 0
5 | 0.98584 | -0.098169 | 0.019486 | 0.0048836
6 | 0.99732 | -0.018772 | 0.0085425 | 0.002141
7 | 0.994 | -0.041796 | 0 | 0
8 | 0.99099 | -0.062864 | 0.010736 | 0.0026908
9 | 0.99277 | -0.050476 | 0 | 0
10 | 0.99213 | -0.054985 | 0.0040533 | 0.0010158
11 | 0.97159 | -0.19948 | 0.012641 | 0.0031682
12 | 0.97232 | -0.1942 | 0.016939 | 0.0042453
13 | 0.9711 | -0.20297 | 0.013714 | 0.003437
14 | 0.97396 | -0.18244 | 0.013104 | 0.0032843
15 | 0.97075 | -0.20551 | 0.013715 | 0.0034373
16 | 0.97906 | -0.14602 | 0 | 0
17 | 0.98179 | -0.1267 | 0 | 0
18 | 0.97791 | -0.15426 | 0.0074725 | 0.0018728
19 | 0.9831 | -0.11866 | 0 | 0
20 | 0.98308 | -0.11883 | 0.0025285 | 0.00063369
21 | 0.98319 | -0.11806 | 0 | 0
22 | 0.99342 | -0.045856 | 0.004 | 0.0010025
23 | 0.98905 | -0.076494 | 0.010483 | 0.0026274
24 | 0.99163 | -0.058499 | 0.0023746 | 0.00059514
25 | 0.99325 | -0.047101 | 0.011544 | 0.0028932
26 | 0.99283 | -0.05001 | 0 | 0
27 | 0.99263 | -0.051434 | 0.0019485 | 0.00048834
28 | 0.9926 | -0.051694 | 0.0018814 | 0.00047152
29 | 0.98293 | -0.11986 | 0 | 0
30 | 0.98265 | -0.12185 | 0 | 0
31 | 0.98343 | -0.11634 | 0.0053636 | 0.0013442
32 | 0.98643 | -0.095029 | 0 | 0
33 | 0.98791 | -0.084551 | 0.0058696 | 0.0014711
34 | 0.98546 | -0.10192 | 0.0095049 | 0.0023822
35 | 0.99243 | -0.052867 | 0.0051446 | 0.0012893
36 | 0.98255 | -0.12258 | 0 | 0
37 | 0.98242 | -0.12354 | 0.0027359 | 0.00068567
38 | 0.98411 | -0.11145 | 0 | 0
39 | 0.98436 | -0.1097 | 0.0015826 | 0.00039665
40 | 0.98334 | -0.11698 | 0.0017828 | 0.0004468
41 | 0.98328 | -0.11736 | 0.001715 | 0.00042982
42 | 0.98334 | -0.11697 | 0.0019411 | 0.0004865
43 | 0.98349 | -0.11588 | 0.001614 | 0.00040451
44 | 0.98352 | -0.1157 | 0.0019086 | 0.00047834
45 | 0.98252 | -0.12281 | 0.0017824 | 0.0004467
46 | 0.98254 | -0.12266 | 0.0019079 | 0.00047817
47 | 0.98373 | -0.11417 | 0.0015293 | 0.00038329
48 | 0.9838 | -0.11368 | 0.00073077 | 0.00018315
49 | 0.98393 | -0.11278 | 0.0015272 | 0.00038276
50 | 0.98239 | -0.12373 | 0.0016375 | 0.0004104
51 | 0.98191 | -0.12715 | 0.0018763 | 0.00047024
52 | 0.98186 | -0.1275 | 0.001919 | 0.00048095
53 | 0.98203 | -0.12631 | 0.0019046 | 0.00047733
54 | 0.98184 | -0.12762 | 0.0027582 | 0.00069126
55 | 0.98213 | -0.1256 | 0.0024102 | 0.00060405
56 | 0.99132 | -0.060697 | 0.0025497 | 0.00063901
57 | 0.99112 | -0.062101 | 0.00315 | 0.00078945
58 | 0.991 | -0.062948 | 0.0027803 | 0.00069681
59 | 0.99094 | -0.063344 | 0.002328 | 0.00058345
60 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.011352 | 0.0028454 | -0.011349 | -0.0028443 | 3.6925e-06 | 1.1501e-06 | 0.016922 | 0.016922 | 0.016922 | 0.99826 | -0.012185 | 0.99792 | -0.014535 | 6.2674
1 | -0.021361 | -0.0053538 | 0.021397 | 0.005367 | 3.6095e-05 | 1.3136e-05 | 0.031841 | 0.031841 | 0.031841 | 0.99826 | -0.012185 | 1 | 0 | 11.793
2 | 0.0085475 | 0.0021422 | -0.0085446 | -0.0021415 | 2.8829e-06 | 7.3737e-07 | 0.012745 | 0.012745 | 0.012745 | 0.99792 | -0.014535 | 0.99758 | -0.016972 | 4.7205
3 | 0.12092 | 0.030486 | -0.12028 | -0.030242 | 0.00063925 | 0.00024422 | 0.18 | 0.18 | 0.18 | 1 | 0 | 0.99455 | -0.03794 | 33.3332
4 | 0.099468 | 0.025229 | -0.098102 | -0.024715 | 0.0013659 | 0.00051374 | 0.14812 | 0.14812 | 0.14812 | 1 | 0 | 0.98584 | -0.098169 | 18.2863
5 | 0.0085446 | 0.0021415 | -0.0085425 | -0.002141 | 2.1295e-06 | 5.4484e-07 | 0.012745 | 0.012746 | 0.012746 | 0.99758 | -0.016972 | 0.99732 | -0.018772 | 4.7206
6 | 0.041844 | 0.010496 | -0.041822 | -0.010487 | 2.2361e-05 | 8.4819e-06 | 0.062609 | 0.062609 | 0.062609 | 0.99455 | -0.03794 | 0.994 | -0.041796 | 23.1885
7 | 0.07844 | 0.019747 | -0.078168 | -0.019642 | 0.0002721 | 0.00010425 | 0.11739 | 0.11739 | 0.11739 | 0.99455 | -0.03794 | 0.99099 | -0.062864 | 43.4781
8 | 0.078616 | 0.019831 | -0.078302 | -0.019715 | 0.00031339 | 0.00011646 | 0.11871 | 0.11871 | 0.11871 | 0.98584 | -0.098169 | 0.98179 | -0.1267 | 14.6554
9 | 0.024542 | 0.0061528 | -0.024528 | -0.0061477 | 1.3796e-05 | 5.094e-06 | 0.03674 | 0.03674 | 0.03674 | 0.994 | -0.041796 | 0.99342 | -0.045856 | 13.6075
10 | 0.017279 | 0.0043343 | -0.017259 | -0.0043269 | 2.0776e-05 | 7.3465e-06 | 0.025869 | 0.025869 | 0.025869 | 0.994 | -0.041796 | 0.99277 | -0.050476 | 9.581
11 | 0.067431 | 0.016952 | -0.067304 | -0.016903 | 0.00012777 | 4.8886e-05 | 0.10127 | 0.10127 | 0.10127 | 0.99099 | -0.062864 | 0.98905 | -0.076494 | 37.5073
12 | 0.017259 | 0.0043269 | -0.017248 | -0.0043231 | 1.0775e-05 | 3.8108e-06 | 0.025869 | 0.025869 | 0.025869 | 0.99277 | -0.050476 | 0.99213 | -0.054985 | 9.5811
13 | 0.013195 | 0.0033073 | -0.013188 | -0.0033051 | 6.4175e-06 | 2.1293e-06 | 0.01979 | 0.01979 | 0.01979 | 0.99213 | -0.054985 | 0.99163 | -0.058499 | 7.3296
14 | -0.040088 | -0.010049 | 0.040117 | 0.01006 | 2.9344e-05 | 1.1131e-05 | 0.061397 | 0.061397 | 0.061397 | 0.97159 | -0.19948 | 0.97232 | -0.1942 | 22.7395
15 | 0.027447 | 0.0068809 | -0.027434 | -0.006876 | 1.3245e-05 | 4.9455e-06 | 0.042037 | 0.042037 | 0.042037 | 0.97159 | -0.19948 | 0.9711 | -0.20297 | 15.5691
16 | -0.057056 | -0.014305 | 0.057149 | 0.014341 | 9.3145e-05 | 3.5582e-05 | 0.087319 | 0.087319 | 0.087319 | 0.97232 | -0.1942 | 0.97396 | -0.18244 | 32.3405
17 | 0.01372 | 0.003439 | -0.013715 | -0.0034373 | 4.8378e-06 | 1.6438e-06 | 0.021023 | 0.021023 | 0.021023 | 0.9711 | -0.20297 | 0.97075 | -0.20551 | 7.7864
18 | -0.070254 | -0.017625 | 0.070611 | 0.017762 | 0.00035674 | 0.00013659 | 0.10734 | 0.10734 | 0.10734 | 0.97396 | -0.18244 | 0.97906 | -0.14602 | 39.7557
19 | 0.007481 | 0.0018747 | -0.0074725 | -0.0018728 | 8.5255e-06 | 1.9516e-06 | 0.01137 | 0.01137 | 0.01137 | 0.97906 | -0.14602 | 0.97791 | -0.15426 | 4.2113
20 | -0.078092 | -0.019637 | 0.078302 | 0.019715 | 0.00021079 | 7.8352e-05 | 0.11871 | 0.11871 | 0.11871 | 0.97906 | -0.14602 | 0.98179 | -0.1267 | 14.6556
21 | 0.0025285 | 0.00063363 | -0.0025285 | -0.00063369 | 5.8256e-08 | -5.8412e-08 | 0.0038271 | 0.0038271 | 0.0038271 | 0.9831 | -0.11866 | 0.98308 | -0.11883 | 1.4175
22 | -0.0025285 | -0.00063363 | 0.0025287 | 0.00063342 | 2.1313e-07 | -2.1374e-07 | 0.0038271 | 0.003827 | 0.0038271 | 0.9831 | -0.11866 | 0.98319 | -0.11806 | 1.4174
23 | -0.0025287 | -0.00063342 | 0.002529 | 0.00063317 | 2.4387e-07 | -2.4465e-07 | 0.003827 | 0.0038269 | 0.003827 | 0.98319 | -0.11806 | 0.98328 | -0.11736 | 1.4174
24 | 0.020528 | 0.0051452 | -0.020525 | -0.0051439 | 3.5372e-06 | 1.2829e-06 | 0.030749 | 0.030749 | 0.030749 | 0.99342 | -0.045856 | 0.99325 | -0.047101 | 11.3885
25 | 0.05682 | 0.014275 | -0.056757 | -0.014251 | 6.3612e-05 | 2.4287e-05 | 0.085498 | 0.085498 | 0.085498 | 0.98905 | -0.076494 | 0.98791 | -0.084551 | 31.6658
26 | 0.010814 | 0.00271 | -0.01081 | -0.002709 | 3.2892e-06 | 1.0069e-06 | 0.016227 | 0.016227 | 0.016227 | 0.99163 | -0.058499 | 0.99132 | -0.060697 | 6.0099
27 | 0.0089809 | 0.0022507 | -0.0089773 | -0.0022498 | 3.6152e-06 | 9.7641e-07 | 0.013455 | 0.013455 | 0.013455 | 0.99325 | -0.047101 | 0.99283 | -0.05001 | 4.9832
28 | 0.0089773 | 0.0022498 | -0.0089755 | -0.0022493 | 1.7699e-06 | 4.7815e-07 | 0.013455 | 0.013455 | 0.013455 | 0.99283 | -0.05001 | 0.99263 | -0.051434 | 4.9833
29 | 0.007027 | 0.0017609 | -0.0070268 | -0.0017609 | 2.5318e-07 | 5.0113e-08 | 0.010534 | 0.010534 | 0.010534 | 0.99263 | -0.051434 | 0.9926 | -0.051694 | 3.9014
30 | 0.0051454 | 0.0012894 | -0.0051446 | -0.0012893 | 8.3481e-07 | 3.0493e-08 | 0.0077135 | 0.0077136 | 0.0077136 | 0.9926 | -0.051694 | 0.99243 | -0.052867 | 2.8569
31 | 0.018946 | 0.004749 | -0.018941 | -0.0047471 | 5.2088e-06 | 1.8748e-06 | 0.028682 | 0.028682 | 0.028682 | 0.98293 | -0.11986 | 0.98265 | -0.12185 | 10.6229
32 | -0.018946 | -0.004749 | 0.018955 | 0.0047523 | 9.2348e-06 | 3.3237e-06 | 0.028682 | 0.028682 | 0.028682 | 0.98293 | -0.11986 | 0.98343 | -0.11634 | 10.6229
33 | 0.0036907 | 0.00092467 | -0.0036903 | -0.00092477 | 3.7723e-07 | -1.0008e-07 | 0.0055887 | 0.0055888 | 0.0055888 | 0.98265 | -0.12185 | 0.98255 | -0.12258 | 2.0699
34 | 0.01525 | 0.0038224 | -0.015247 | -0.0038212 | 3.5718e-06 | 1.2378e-06 | 0.023093 | 0.023093 | 0.023093 | 0.98265 | -0.12185 | 0.98242 | -0.12354 | 8.5531
35 | -0.024319 | -0.0060966 | 0.024335 | 0.0061026 | 1.6477e-05 | 6.0895e-06 | 0.036797 | 0.036797 | 0.036797 | 0.98343 | -0.11634 | 0.98411 | -0.11145 | 13.6287
36 | -0.050813 | -0.012752 | 0.050887 | 0.01278 | 7.4013e-05 | 2.8208e-05 | 0.076657 | 0.076657 | 0.076657 | 0.98643 | -0.095029 | 0.98791 | -0.084551 | 28.3914
37 | 0.050813 | 0.012752 | -0.050764 | -0.012733 | 4.8582e-05 | 1.8516e-05 | 0.076657 | 0.076657 | 0.076657 | 0.98643 | -0.095029 | 0.98546 | -0.10192 | 28.3915
38 | 0.04126 | 0.010351 | -0.041215 | -0.010334 | 4.4466e-05 | 1.6869e-05 | 0.062305 | 0.062305 | 0.062305 | 0.98546 | -0.10192 | 0.98436 | -0.1097 | 23.0759
39 | 0.0036903 | 0.00092477 | -0.0036903 | -0.00092478 | 4.0208e-08 | -1.0664e-08 | 0.0055888 | 0.0055888 | 0.0055888 | 0.98255 | -0.12258 | 0.98254 | -0.12266 | 2.0699
40 | 0.012511 | 0.0031355 | -0.01251 | -0.0031354 | 3.3312e-07 | 1.093e-07 | 0.018949 | 0.018949 | 0.018949 | 0.98242 | -0.12354 | 0.98239 | -0.12373 | 7.0183
41 | -0.039623 | -0.0099339 | 0.039632 | 0.0099376 | 9.6176e-06 | 3.6445e-06 | 0.059912 | 0.059912 | 0.059912 | 0.98411 | -0.11145 | 0.98436 | -0.1097 | 22.1898
42 | 0.015287 | 0.0038313 | -0.015285 | -0.0038303 | 2.7981e-06 | 9.6957e-07 | 0.023115 | 0.023115 | 0.023115 | 0.98411 | -0.11145 | 0.98393 | -0.11278 | 8.5611
43 | 0.0042442 | 0.001063 | -0.004244 | -0.001063 | 2.1853e-07 | -2.3659e-08 | 0.0064222 | 0.0064222 | 0.0064222 | 0.98334 | -0.11698 | 0.98328 | -0.11736 | 2.3786
44 | -0.006027 | -0.0015098 | 0.006027 | 0.0015098 | 8.4975e-09 | 1.1912e-09 | 0.0091199 | 0.0091199 | 0.0091199 | 0.98334 | -0.11698 | 0.98334 | -0.11697 | 3.3777
45 | -0.0079681 | -0.0019963 | 0.0079693 | 0.0019966 | 1.2071e-06 | 2.9545e-07 | 0.012057 | 0.012057 | 0.012057 | 0.98334 | -0.11697 | 0.98349 | -0.11588 | 4.4657
46 | -0.0095833 | -0.0024011 | 0.0095836 | 0.0024011 | 2.3763e-07 | 6.841e-08 | 0.014499 | 0.014499 | 0.014499 | 0.98349 | -0.11588 | 0.98352 | -0.1157 | 5.3701
47 | -0.011492 | -0.0028795 | 0.011495 | 0.0028803 | 2.4296e-06 | 7.7099e-07 | 0.017387 | 0.017387 | 0.017387 | 0.98352 | -0.1157 | 0.98373 | -0.11417 | 6.4396
48 | -0.0017824 | -0.0004467 | 0.0017824 | 0.00044661 | 3.7155e-08 | -8.9204e-08 | 0.0026994 | 0.0026993 | 0.0026994 | 0.98252 | -0.12281 | 0.98254 | -0.12266 | 0.99976
49 | -0.013024 | -0.0032635 | 0.013025 | 0.0032638 | 8.9518e-07 | 2.9737e-07 | 0.0197 | 0.0197 | 0.0197 | 0.98373 | -0.11417 | 0.9838 | -0.11368 | 7.2963
50 | -0.013756 | -0.003447 | 0.013757 | 0.0034476 | 1.7142e-06 | 5.787e-07 | 0.020805 | 0.020805 | 0.020805 | 0.9838 | -0.11368 | 0.98393 | -0.11278 | 7.7057
51 | 0.010873 | 0.002725 | -0.01087 | -0.0027241 | 2.8171e-06 | 8.7281e-07 | 0.016469 | 0.016469 | 0.016469 | 0.98239 | -0.12373 | 0.98213 | -0.1256 | 6.0997
52 | 0.0046775 | 0.0011722 | -0.0046772 | -0.0011722 | 2.2537e-07 | -4.2377e-09 | 0.0070883 | 0.0070884 | 0.0070884 | 0.98191 | -0.12715 | 0.98186 | -0.1275 | 2.6253
53 | -0.0065537 | -0.0016424 | 0.0065545 | 0.0016426 | 7.6185e-07 | 1.3644e-07 | 0.0099317 | 0.0099317 | 0.0099317 | 0.98191 | -0.12715 | 0.98203 | -0.12631 | 3.6784
54 | 0.0027582 | 0.00069123 | -0.0027582 | -0.00069126 | 4.4602e-08 | -3.4582e-08 | 0.0041801 | 0.0041801 | 0.0041801 | 0.98186 | -0.1275 | 0.98184 | -0.12762 | 1.5482
55 | -0.0084591 | -0.0021199 | 0.0084599 | 0.0021201 | 8.2977e-07 | 2.1673e-07 | 0.012818 | 0.012818 | 0.012818 | 0.98203 | -0.12631 | 0.98213 | -0.1256 | 4.7473
56 | 0.0082606 | 0.00207 | -0.008259 | -0.0020696 | 1.6051e-06 | 4.017e-07 | 0.012399 | 0.0124 | 0.0124 | 0.99132 | -0.060697 | 0.99112 | -0.062101 | 4.5924
57 | 0.005109 | 0.0012801 | -0.0051084 | -0.0012801 | 5.989e-07 | 2.0139e-08 | 0.0076703 | 0.0076704 | 0.0076704 | 0.99112 | -0.062101 | 0.991 | -0.062948 | 2.8409
58 | 0.0023281 | 0.00058328 | -0.002328 | -0.00058345 | 1.2743e-07 | -1.6629e-07 | 0.0034957 | 0.0034957 | 0.0034957 | 0.991 | -0.062948 | 0.99094 | -0.063344 | 1.2947

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.24259 | 0.061082

## res_load
| p_mw | q_mvar
0 | 0.010009 | 0.0025084
1 | 0.0028011 | 0.00070203
2 | 0.019486 | 0.0048836
3 | 0.0085425 | 0.002141
4 | 0.010736 | 0.0026908
5 | 0.0040533 | 0.0010158
6 | 0.012641 | 0.0031682
7 | 0.016939 | 0.0042453
8 | 0.013714 | 0.003437
9 | 0.013104 | 0.0032843
10 | 0.013715 | 0.0034373
11 | 0.0074725 | 0.0018728
12 | 0.0025285 | 0.00063369
13 | 0.004 | 0.0010025
14 | 0.010483 | 0.0026274
15 | 0.0023746 | 0.00059514
16 | 0.011544 | 0.0028932
17 | 0.0019485 | 0.00048834
18 | 0.0018814 | 0.00047152
19 | 0.0053636 | 0.0013442
20 | 0.0058696 | 0.0014711
21 | 0.0095049 | 0.0023822
22 | 0.0051446 | 0.0012893
23 | 0.0027359 | 0.00068567
24 | 0.0015826 | 0.00039665
25 | 0.0017828 | 0.0004468
26 | 0.001715 | 0.00042982
27 | 0.0019411 | 0.0004865
28 | 0.001614 | 0.00040451
29 | 0.0019086 | 0.00047834
30 | 0.0017824 | 0.0004467
31 | 0.0019079 | 0.00047817
32 | 0.0015293 | 0.00038329
33 | 0.00073077 | 0.00018315
34 | 0.0015272 | 0.00038276
35 | 0.0016375 | 0.0004104
36 | 0.0018763 | 0.00047024
37 | 0.001919 | 0.00048095
38 | 0.0019046 | 0.00047733
39 | 0.0027582 | 0.00069126
40 | 0.0024102 | 0.00060405
41 | 0.0025497 | 0.00063901
42 | 0.00315 | 0.00078945
43 | 0.0027803 | 0.00069681
44 | 0.002328 | 0.00058345

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1