## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1364-15_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1364-15_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1364-15_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1364-15_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1364-15_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1364-15_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1364-15_0_3_node_29 | 0.4 | n |  | TRUE
7 | bus_LV_1364-15_0_3_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_1364-15_0_3_node_23 | 0.4 | n |  | TRUE
9 | bus_LV_1364-15_0_3_node_30 | 0.4 | n |  | TRUE
10 | bus_LV_1364-15_0_3_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_1364-15_0_3_node_37 | 0.4 | n |  | TRUE
12 | bus_LV_1364-15_0_3_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_1364-15_0_3_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_1364-15_0_3_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_1364-15_0_3_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_1364-15_0_3_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_1364-15_0_3_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_1364-15_0_3_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_1364-15_0_3_node_41 | 0.4 | n |  | TRUE
20 | bus_LV_1364-15_0_3_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_1364-15_0_3_node_43 | 0.4 | n |  | TRUE
22 | bus_LV_1364-15_0_3_node_36 | 0.4 | n |  | TRUE
23 | bus_LV_1364-15_0_3_node_35 | 0.4 | n |  | TRUE
24 | bus_LV_1364-15_0_3_node_42 | 0.4 | n |  | TRUE
25 | bus_LV_1364-15_0_3_node_38 | 0.4 | n |  | TRUE
26 | bus_LV_1364-15_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_1364-15_0_3_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_1364-15_0_3_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_1364-15_0_3_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_1364-15_0_3_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_1364-15_0_3_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_1364-15_0_3_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_1364-15_0_3_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_1364-15_0_3_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_1364-15_0_3_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_1364-15_0_3_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_1364-15_0_3_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_1364-15_0_3_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_1364-15_0_3_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_1364-15_0_3_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_1364-15_0_3_node_49 | 0.4 | n |  | TRUE
42 | bus_LV_1364-15_0_3_node_48 | 0.4 | n |  | TRUE
43 | bus_LV_1364-15_0_3_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_1364-15_0_3_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_1364-15_0_3_node_57 | 0.4 | n |  | TRUE
46 | bus_LV_1364-15_0_3_node_58 | 0.4 | n |  | TRUE
47 | bus_LV_1364-15_0_3_node_55 | 0.4 | n |  | TRUE
48 | bus_LV_1364-15_0_3_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_1364-15_0_3_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_1364-15_0_3_node_56 | 0.4 | n |  | TRUE
51 | bus_LV_1364-15_0_3_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_1364-15_0_3_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_1364-15_0_3_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_1364-15_0_3_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_1364-15_0_3_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_1364-15_0_3_node_54 | 0.4 | n |  | TRUE
57 | bus_MV_133_0_node_24 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1364-15_0_3_load_0 | 0 | 0.014624 | 0.003665 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1364-15_0_3_load_1 | 1 | 0.0018116 | 0.00045402 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1364-15_0_3_load_3 | 3 | 0.00062286 | 0.0001561 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1364-15_0_3_load_4 | 4 | 0.0046322 | 0.0011609 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1364-15_0_3_load_5 | 5 | 0.00055274 | 0.00013853 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1364-15_0_3_load_29 | 6 | 0.0044259 | 0.0011092 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1364-15_0_3_load_30 | 9 | 0.00060666 | 0.00015204 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1364-15_0_3_load_37 | 11 | 0.0083127 | 0.0020834 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1364-15_0_3_load_24 | 12 | 0.00029502 | 7.3939e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1364-15_0_3_load_21 | 13 | 0.0037461 | 0.00093887 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1364-15_0_3_load_6 | 14 | 0.0052393 | 0.0013131 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1364-15_0_3_load_7 | 15 | 0.0059949 | 0.0015025 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1364-15_0_3_load_9 | 17 | 0.0021342 | 0.00053489 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1364-15_0_3_load_10 | 18 | 0.0051085 | 0.0012803 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1364-15_0_3_load_41 | 19 | 0.0017169 | 0.00043029 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1364-15_0_3_load_36 | 22 | 0.0037102 | 0.00092987 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1364-15_0_3_load_35 | 23 | 0.01591 | 0.0039874 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1364-15_0_3_load_42 | 24 | 0.010981 | 0.002752 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1364-15_0_3_load_38 | 25 | 0.0039956 | 0.0010014 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1364-15_0_3_load_16 | 26 | 0.011387 | 0.0028538 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1364-15_0_3_load_17 | 27 | 0.0030941 | 0.00077546 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1364-15_0_3_load_18 | 28 | 0.0076502 | 0.0019173 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1364-15_0_3_load_19 | 29 | 0.0020655 | 0.00051765 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1364-15_0_3_load_20 | 30 | 0.0062181 | 0.0015584 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1364-15_0_3_load_27 | 31 | 0.0042069 | 0.0010544 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1364-15_0_3_load_32 | 32 | 0.0048257 | 0.0012094 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1364-15_0_3_load_25 | 33 | 0.0081016 | 0.0020305 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1364-15_0_3_load_33 | 34 | 0.0065327 | 0.0016372 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1364-15_0_3_load_22 | 35 | 0.0041043 | 0.0010286 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1364-15_0_3_load_26 | 38 | 0.010865 | 0.002723 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1364-15_0_3_load_28 | 39 | 0.0154 | 0.0038595 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1364-15_0_3_load_31 | 40 | 0.0004876 | 0.0001222 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1364-15_0_3_load_34 | 43 | 0.0027931 | 0.00070001 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1364-15_0_3_load_58 | 46 | 0.0044552 | 0.0011166 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1364-15_0_3_load_55 | 47 | 0.013116 | 0.0032872 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1364-15_0_3_load_46 | 49 | 0.011002 | 0.0027574 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1364-15_0_3_load_56 | 50 | 0.0031079 | 0.00077892 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1364-15_0_3_load_47 | 51 | 0.0024363 | 0.00061059 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1364-15_0_3_load_50 | 52 | 0.0018119 | 0.00045411 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1364-15_0_3_load_53 | 55 | 0.00086289 | 0.00021626 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1364-15_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0062044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1364-15_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.013506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1364-15_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.076138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1364-15_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.063556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1364-15_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.033258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1364-15_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.01909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1364-15_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.15726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_1364-15_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.01782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1364-15_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.03395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1364-15_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.044419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1364-15_0_3_line_10 | NAYY 4x150 SE | 7 | 11 | 0.0088786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_1364-15_0_3_line_11 | NAYY 4x150 SE | 8 | 12 | 0.0015695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1364-15_0_3_line_12 | NAYY 4x150 SE | 8 | 13 | 0.10484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1364-15_0_3_line_13 | NAYY 4x150 SE | 9 | 40 | 0.020268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1364-15_0_3_line_14 | NAYY 4x150 SE | 10 | 22 | 0.0094635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1364-15_0_3_line_15 | NAYY 4x150 SE | 10 | 23 | 0.019824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1364-15_0_3_line_16 | NAYY 4x150 SE | 11 | 25 | 0.0071767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_1364-15_0_3_line_17 | NAYY 4x150 SE | 12 | 36 | 0.11133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1364-15_0_3_line_18 | NAYY 4x150 SE | 13 | 35 | 0.0036993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1364-15_0_3_line_19 | NAYY 4x150 SE | 14 | 15 | 0.015108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1364-15_0_3_line_20 | NAYY 4x150 SE | 14 | 16 | 0.031863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1364-15_0_3_line_21 | NAYY 4x150 SE | 15 | 17 | 0.0012973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1364-15_0_3_line_22 | NAYY 4x150 SE | 16 | 18 | 0.018283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1364-15_0_3_line_23 | NAYY 4x150 SE | 17 | 19 | 0.014375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1364-15_0_3_line_24 | NAYY 4x150 SE | 18 | 20 | 0.037641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1364-15_0_3_line_25 | NAYY 4x150 SE | 19 | 22 | 0.0049343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1364-15_0_3_line_26 | NAYY 4x150 SE | 20 | 21 | 0.005182 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1364-15_0_3_line_27 | NAYY 4x150 SE | 21 | 24 | 0.019974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1364-15_0_3_line_28 | NAYY 4x150 SE | 24 | 48 | 0.030545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1364-15_0_3_line_29 | NAYY 4x150 SE | 25 | 39 | 0.01408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_1364-15_0_3_line_30 | NAYY 4x150 SE | 26 | 27 | 0.014006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1364-15_0_3_line_31 | NAYY 4x150 SE | 26 | 28 | 0.0032762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1364-15_0_3_line_32 | NAYY 4x150 SE | 27 | 29 | 0.004597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1364-15_0_3_line_33 | NAYY 4x150 SE | 28 | 30 | 0.010349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1364-15_0_3_line_34 | NAYY 4x150 SE | 29 | 31 | 0.0068523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1364-15_0_3_line_35 | NAYY 4x150 SE | 30 | 32 | 0.017432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1364-15_0_3_line_36 | NAYY 4x150 SE | 31 | 33 | 0.0062723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1364-15_0_3_line_37 | NAYY 4x150 SE | 32 | 34 | 0.011222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1364-15_0_3_line_38 | NAYY 4x150 SE | 33 | 38 | 0.0027457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1364-15_0_3_line_39 | NAYY 4x150 SE | 34 | 43 | 0.024194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1364-15_0_3_line_40 | NAYY 4x150 SE | 36 | 37 | 0.051159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1364-15_0_3_line_41 | NAYY 4x150 SE | 37 | 46 | 0.18323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1364-15_0_3_line_42 | NAYY 4x150 SE | 38 | 39 | 0.010679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1364-15_0_3_line_43 | NAYY 4x150 SE | 40 | 41 | 0.0030728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1364-15_0_3_line_44 | NAYY 4x150 SE | 41 | 42 | 0.010798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1364-15_0_3_line_45 | NAYY 4x150 SE | 42 | 51 | 0.03315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1364-15_0_3_line_46 | NAYY 4x150 SE | 43 | 44 | 0.011491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1364-15_0_3_line_47 | NAYY 4x150 SE | 44 | 45 | 0.039639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1364-15_0_3_line_48 | NAYY 4x150 SE | 45 | 50 | 0.023343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1364-15_0_3_line_49 | NAYY 4x150 SE | 46 | 47 | 0.075571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1364-15_0_3_line_50 | NAYY 4x150 SE | 47 | 56 | 0.028336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1364-15_0_3_line_51 | NAYY 4x150 SE | 48 | 49 | 0.011966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1364-15_0_3_line_52 | NAYY 4x150 SE | 52 | 53 | 0.018829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1364-15_0_3_line_53 | NAYY 4x150 SE | 53 | 54 | 0.095695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1364-15_0_3_line_54 | NAYY 4x150 SE | 54 | 55 | 0.015961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1364-15_0_3_line_55 | NAYY 4x150 SE | 55 | 56 | 0.070955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1364-15_0_3_trafo_28 | 0.25 MVA 20/0.4 kV | 57 | 39 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2689242.1997 | 1206423.9618 | 2689245.4725 | 1206429.2328
1 | 2689235.0755 | 1206412.4876 | 2689242.1997 | 1206423.9618
2 | 2689245.4725 | 1206429.2328 | 2689279.4972 | 1206484.0321 | 2689285.6472 | 1206493.9083
3 | 2689235.0755 | 1206412.4876 | 2689201.1567 | 1206358.7393
4 | 2689235.0755 | 1206412.4876 | 2689207.5268 | 1206428.72 | 2689206.4064 | 1206429.344
5 | 2689285.6472 | 1206493.9083 | 2689285.6472 | 1206493.9083 | 2689302.5822 | 1206502.7195
6 | 2689117.2312 | 1206225.7494 | 2689201.1567 | 1206358.7393
7 | 2689190.9559 | 1206438.2009 | 2689192.5167 | 1206437.079 | 2689206.4064 | 1206429.344
8 | 2689332.6999 | 1206518.3896 | 2689302.5822 | 1206502.7195
9 | 2689117.2312 | 1206225.7494 | 2689123.0598 | 1206221.5336 | 2689127.9893 | 1206216.4038 | 2689126.7396 | 1206204.3328 | 2689124.7764 | 1206194.7083 | 2689121.4073 | 1206187.5422 | 2689121.2886 | 1206187.3403
10 | 2689117.2312 | 1206225.7494 | 2689109.3902 | 1206229.9146
11 | 2689190.9559 | 1206438.2009 | 2689189.7036 | 1206439.147
12 | 2689190.9559 | 1206438.2009 | 2689164.5548 | 1206431.1019 | 2689129.7645 | 1206422.9549 | 2689089.0568 | 1206413.5908
13 | 2689349.339 | 1206529.8141 | 2689339.157 | 1206521.7492 | 2689332.6999 | 1206518.3896
14 | 2689121.2886 | 1206187.3403 | 2689116.5339 | 1206179.1579
15 | 2689121.2886 | 1206187.3403 | 2689138.4139 | 1206177.3554
16 | 2689102.807 | 1206232.7506 | 2689107.7239 | 1206230.7997 | 2689109.3902 | 1206229.9146
17 | 2689086.8593 | 1206457.037 | 2689123.0907 | 1206465.9503 | 2689139.63 | 1206466.7199 | 2689154.916 | 1206461.2667 | 2689189.0942 | 1206439.6074 | 2689189.7036 | 1206439.147
18 | 2689089.0568 | 1206413.5908 | 2689085.4517 | 1206412.7615
19 | 2689098.5904 | 1206148.2789 | 2689106.1809 | 1206161.3414
20 | 2689083.3587 | 1206120.3747 | 2689084.7654 | 1206124.4873 | 2689098.5904 | 1206148.2789
21 | 2689106.1809 | 1206161.3414 | 2689106.8327 | 1206162.463
22 | 2689083.3587 | 1206120.3747 | 2689066.073 | 1206126.332
23 | 2689114.0548 | 1206174.8916 | 2689106.8327 | 1206162.463
24 | 2689029.2872 | 1206125.2715 | 2689056.8583 | 1206129.5077 | 2689066.073 | 1206126.332
25 | 2689116.5339 | 1206179.1579 | 2689114.0548 | 1206174.8916
26 | 2689029.2872 | 1206125.2715 | 2689025.1034 | 1206128.3445
27 | 2689025.1034 | 1206128.3445 | 2689034.9839 | 1206145.7032
28 | 2689010.5896 | 1206164.0849 | 2689034.9839 | 1206145.7032
29 | 2689089.7198 | 1206237.9431 | 2689102.807 | 1206232.7506
30 | 2689047.7504 | 1206254.5952 | 2689060.7688 | 1206249.4299
31 | 2689044.7052 | 1206255.8035 | 2689047.7504 | 1206254.5952
32 | 2689065.0418 | 1206247.7346 | 2689060.7688 | 1206249.4299
33 | 2689044.7052 | 1206255.8035 | 2689035.0854 | 1206259.6202
34 | 2689071.4111 | 1206245.2075 | 2689065.0418 | 1206247.7346
35 | 2689035.0854 | 1206259.6202 | 2689018.8823 | 1206266.0491
36 | 2689071.4111 | 1206245.2075 | 2689077.2412 | 1206242.8942
37 | 2689008.4514 | 1206270.1877 | 2689018.8823 | 1206266.0491
38 | 2689079.7934 | 1206241.8816 | 2689077.2412 | 1206242.8942
39 | 2688985.9631 | 1206279.1103 | 2689008.4514 | 1206270.1877
40 | 2689086.8593 | 1206457.037 | 2689081.8998 | 1206459.0977 | 2689061.3482 | 1206456.0447 | 2689041.1021 | 1206454.942 | 2689038.1661 | 1206455.4542 | 2689037.0932 | 1206457.017
41 | 2689037.0932 | 1206457.017 | 2689077.4436 | 1206463.1117 | 2689114.9333 | 1206470.7872 | 2689137.211 | 1206479.4699 | 2689155.9901 | 1206490.1684 | 2689166.5468 | 1206503.4348 | 2689198.033 | 1206530.741
42 | 2689079.7934 | 1206241.8816 | 2689089.7198 | 1206237.9431
43 | 2689351.7477 | 1206531.722 | 2689349.339 | 1206529.8141
44 | 2689358.7679 | 1206539.8546 | 2689353.9277 | 1206533.4446 | 2689351.7477 | 1206531.722
45 | 2689358.7679 | 1206539.8546 | 2689374.6239 | 1206568.9666
46 | 2688975.2822 | 1206283.3482 | 2688985.9631 | 1206279.1103
47 | 2688975.2822 | 1206283.3482 | 2688976.6749 | 1206285.8483 | 2688990.0606 | 1206320.1148
48 | 2688990.0606 | 1206320.1148 | 2688998.5924 | 1206341.8427
49 | 2689255.1251 | 1206580.2535 | 2689198.033 | 1206530.741
50 | 2689276.5324 | 1206598.8188 | 2689255.1251 | 1206580.2535
51 | 2689017.8793 | 1206173.5887 | 2689010.5896 | 1206164.0849
52 | 2689119.8075 | 1206630.2648 | 2689114.7791 | 1206641.5305 | 2689111.7083 | 1206643.4415 | 2689108.8434 | 1206643.6839
53 | 2689211.9275 | 1206654.8122 | 2689205.9182 | 1206651.2979 | 2689171.327 | 1206644.6769 | 2689145.798 | 1206640.3595 | 2689119.8075 | 1206630.2648
54 | 2689211.9275 | 1206654.8122 | 2689214.315 | 1206653.3358 | 2689221.7669 | 1206646.3315 | 2689223.8305 | 1206644.2559
55 | 2689276.5324 | 1206598.8188 | 2689272.2188 | 1206600.9224 | 2689246.0545 | 1206618.2204 | 2689238.4093 | 1206624.4102 | 2689229.4866 | 1206634.6502 | 2689226.9407 | 1206641.1276 | 2689223.8305 | 1206644.2559

## bus_geodata
| x | y | coords
0 | 2689242.1997 | 1206423.9618
1 | 2689245.4725 | 1206429.2328
2 | 2689235.0755 | 1206412.4876
3 | 2689285.6472 | 1206493.9083
4 | 2689201.1567 | 1206358.7393
5 | 2689206.4064 | 1206429.344
6 | 2689302.5822 | 1206502.7195
7 | 2689117.2312 | 1206225.7494
8 | 2689190.9559 | 1206438.2009
9 | 2689332.6999 | 1206518.3896
10 | 2689121.2886 | 1206187.3403
11 | 2689109.3902 | 1206229.9146
12 | 2689189.7036 | 1206439.147
13 | 2689089.0568 | 1206413.5908
14 | 2689098.5904 | 1206148.2789
15 | 2689106.1809 | 1206161.3414
16 | 2689083.3587 | 1206120.3747
17 | 2689106.8327 | 1206162.463
18 | 2689066.073 | 1206126.332
19 | 2689114.0548 | 1206174.8916
20 | 2689029.2872 | 1206125.2715
21 | 2689025.1034 | 1206128.3445
22 | 2689116.5339 | 1206179.1579
23 | 2689138.4139 | 1206177.3554
24 | 2689034.9839 | 1206145.7032
25 | 2689102.807 | 1206232.7506
26 | 2689047.7504 | 1206254.5952
27 | 2689060.7688 | 1206249.4299
28 | 2689044.7052 | 1206255.8035
29 | 2689065.0418 | 1206247.7346
30 | 2689035.0854 | 1206259.6202
31 | 2689071.4111 | 1206245.2074
32 | 2689018.8823 | 1206266.0491
33 | 2689077.2412 | 1206242.8942
34 | 2689008.4514 | 1206270.1877
35 | 2689085.4517 | 1206412.7615
36 | 2689086.8593 | 1206457.037
37 | 2689037.0932 | 1206457.017
38 | 2689079.7934 | 1206241.8816
39 | 2689089.7198 | 1206237.9431
40 | 2689349.339 | 1206529.8141
41 | 2689351.7477 | 1206531.722
42 | 2689358.7679 | 1206539.8546
43 | 2688985.9631 | 1206279.1103
44 | 2688975.2822 | 1206283.3482
45 | 2688990.0606 | 1206320.1148
46 | 2689198.033 | 1206530.741
47 | 2689255.1251 | 1206580.2535
48 | 2689010.5896 | 1206164.0849
49 | 2689017.8793 | 1206173.5887
50 | 2688998.5924 | 1206341.8427
51 | 2689374.6239 | 1206568.9666
52 | 2689108.8434 | 1206643.6839
53 | 2689119.8075 | 1206630.2649
54 | 2689211.9275 | 1206654.8122
55 | 2689223.8305 | 1206644.2559
56 | 2689276.5324 | 1206598.8188
57 | 2689089.7198 | 1206237.9431

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98503 | -0.10459 | 0.014624 | 0.003665
1 | 0.98493 | -0.10525 | 0.0018116 | 0.00045402
2 | 0.98552 | -0.10111 | 0 | 0
3 | 0.98399 | -0.11199 | 0.00062286 | 0.0001561
4 | 0.99051 | -0.065987 | 0.0046322 | 0.0011609
5 | 0.98411 | -0.11104 | 0.00055274 | 0.00013853
6 | 0.98377 | -0.11356 | 0.0044259 | 0.0011092
7 | 0.99721 | -0.019344 | 0 | 0
8 | 0.98337 | -0.11628 | 0 | 0
9 | 0.98359 | -0.1148 | 0.00060666 | 0.00015204
10 | 0.99326 | -0.047013 | 0 | 0
11 | 0.99798 | -0.013978 | 0.0083127 | 0.0020834
12 | 0.98332 | -0.11661 | 0.00029502 | 7.3939e-05
13 | 0.98218 | -0.12479 | 0.0037461 | 0.00093887
14 | 0.99071 | -0.064893 | 0.0052393 | 0.0013131
15 | 0.99142 | -0.059928 | 0.0059949 | 0.0015025
16 | 0.98947 | -0.073686 | 0 | 0
17 | 0.99149 | -0.059423 | 0.0021342 | 0.00053489
18 | 0.98875 | -0.078741 | 0.0051085 | 0.0012803
19 | 0.99233 | -0.053521 | 0.0017169 | 0.00043029
20 | 0.98756 | -0.087202 | 0 | 0
21 | 0.98739 | -0.088368 | 0 | 0
22 | 0.99263 | -0.051411 | 0.0037102 | 0.00092987
23 | 0.9928 | -0.050206 | 0.01591 | 0.0039874
24 | 0.98676 | -0.092867 | 0.010981 | 0.002752
25 | 0.99865 | -0.0093472 | 0.0039956 | 0.0010014
26 | 0.9966 | -0.023826 | 0.011387 | 0.0028538
27 | 0.99745 | -0.017846 | 0.0030941 | 0.00077546
28 | 0.99645 | -0.024852 | 0.0076502 | 0.0019173
29 | 0.99775 | -0.015743 | 0.0020655 | 0.00051765
30 | 0.9961 | -0.027296 | 0.0062181 | 0.0015584
31 | 0.99822 | -0.012468 | 0.0042069 | 0.0010544
32 | 0.99567 | -0.030326 | 0.0048257 | 0.0012094
33 | 0.99868 | -0.0092093 | 0.0081016 | 0.0020305
34 | 0.99547 | -0.031732 | 0.0065327 | 0.0016372
35 | 0.98215 | -0.12494 | 0.0041043 | 0.0010286
36 | 0.98002 | -0.14002 | 0 | 0
37 | 0.9785 | -0.15082 | 0 | 0
38 | 0.99892 | -0.0075611 | 0.010865 | 0.002723
39 | 1 | 0 | -0.20634 | -0.051755
40 | 0.98351 | -0.11541 | 0.0004876 | 0.0001222
41 | 0.9835 | -0.11549 | 0 | 0
42 | 0.98346 | -0.11576 | 0 | 0
43 | 0.99527 | -0.033172 | 0.0027931 | 0.00070001
44 | 0.99522 | -0.033533 | 0 | 0
45 | 0.99504 | -0.034776 | 0 | 0
46 | 0.97305 | -0.18978 | 0.0044552 | 0.0011166
47 | 0.9713 | -0.2024 | 0.013116 | 0.0032872
48 | 0.98627 | -0.096314 | 0 | 0
49 | 0.98608 | -0.097665 | 0.011002 | 0.0027574
50 | 0.99494 | -0.035507 | 0.0031079 | 0.00077892
51 | 0.98334 | -0.1166 | 0.0024363 | 0.00061059
52 | 0.97057 | -0.20774 | 0.0018119 | 0.00045411
53 | 0.97062 | -0.20738 | 0 | 0
54 | 0.97087 | -0.20553 | 0 | 0
55 | 0.97091 | -0.20523 | 0.00086289 | 0.00021626
56 | 0.97119 | -0.20321 | 0 | 0
57 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.010403 | 0.0026062 | -0.010402 | -0.0026059 | 9.5605e-07 | 2.8874e-07 | 0.015714 | 0.015714 | 0.015714 | 0.98503 | -0.10459 | 0.98493 | -0.10525 | 5.8202
1 | -0.025026 | -0.0062712 | 0.025038 | 0.0062757 | 1.2045e-05 | 4.4607e-06 | 0.037805 | 0.037805 | 0.037805 | 0.98503 | -0.10459 | 0.98552 | -0.10111 | 14.0019
2 | 0.0085902 | 0.0021519 | -0.0085822 | -0.0021498 | 8.0017e-06 | 2.1095e-06 | 0.012978 | 0.012978 | 0.012978 | 0.98493 | -0.10525 | 0.98399 | -0.11199 | 4.8066
3 | -0.054291 | -0.013638 | 0.054558 | 0.01374 | 0.00026656 | 0.00010171 | 0.081984 | 0.081984 | 0.081984 | 0.98552 | -0.10111 | 0.99051 | -0.065987 | 30.3646
4 | 0.029253 | 0.0073626 | -0.029212 | -0.0073474 | 4.0506e-05 | 1.5156e-05 | 0.044179 | 0.04418 | 0.04418 | 0.98552 | -0.10111 | 0.98411 | -0.11104 | 16.3628
5 | 0.0079594 | 0.0019937 | -0.0079576 | -0.0019933 | 1.7257e-06 | 4.2128e-07 | 0.012036 | 0.012036 | 0.012036 | 0.98399 | -0.11199 | 0.98377 | -0.11356 | 4.4578
6 | -0.05919 | -0.014901 | 0.059578 | 0.015046 | 0.00038813 | 0.00014521 | 0.088943 | 0.088942 | 0.088943 | 0.99051 | -0.065987 | 0.99721 | -0.019344 | 16.4709
7 | 0.02866 | 0.0072089 | -0.028639 | -0.0072011 | 2.0891e-05 | 7.8087e-06 | 0.043344 | 0.043344 | 0.043344 | 0.98411 | -0.11104 | 0.98337 | -0.11628 | 16.0533
8 | 0.0035318 | 0.00088403 | -0.0035312 | -0.00088423 | 6.045e-07 | -1.9849e-07 | 0.0053417 | 0.0053418 | 0.0053418 | 0.98377 | -0.11356 | 0.98359 | -0.1148 | 1.9785
9 | 0.062245 | 0.015657 | -0.062006 | -0.015565 | 0.00023921 | 9.1428e-05 | 0.0929 | 0.092901 | 0.092901 | 0.99721 | -0.019344 | 0.99326 | -0.047013 | 34.4076
10 | -0.12182 | -0.030703 | 0.12191 | 0.030738 | 9.1598e-05 | 3.4998e-05 | 0.18184 | 0.18184 | 0.18184 | 0.99721 | -0.019344 | 0.99798 | -0.013978 | 33.6744
11 | 0.020779 | 0.0052314 | -0.020778 | -0.005231 | 9.6875e-07 | 3.5269e-07 | 0.031451 | 0.031451 | 0.031451 | 0.98337 | -0.11628 | 0.98332 | -0.11661 | 11.6484
12 | 0.0078598 | 0.0019697 | -0.0078505 | -0.0019675 | 9.2541e-06 | 2.2308e-06 | 0.011893 | 0.011894 | 0.011894 | 0.98337 | -0.11628 | 0.98218 | -0.12479 | 4.4051
13 | 0.0029245 | 0.00073219 | -0.0029243 | -0.00073235 | 2.4754e-07 | -1.6202e-07 | 0.004424 | 0.0044241 | 0.0044241 | 0.98359 | -0.1148 | 0.98351 | -0.11541 | 1.6386
14 | 0.046089 | 0.011575 | -0.04606 | -0.011565 | 2.816e-05 | 1.0708e-05 | 0.069055 | 0.069055 | 0.069055 | 0.99326 | -0.047013 | 0.99263 | -0.051411 | 25.5759
15 | 0.015917 | 0.0039898 | -0.01591 | -0.0039874 | 7.0338e-06 | 2.4488e-06 | 0.023846 | 0.023846 | 0.023846 | 0.99326 | -0.047013 | 0.9928 | -0.050206 | 8.8318
16 | -0.13023 | -0.032821 | 0.13031 | 0.032853 | 8.4477e-05 | 3.2303e-05 | 0.19424 | 0.19424 | 0.19424 | 0.99798 | -0.013978 | 0.99865 | -0.0093472 | 35.9697
17 | 0.020483 | 0.0051571 | -0.020416 | -0.0051328 | 6.6777e-05 | 2.4276e-05 | 0.031004 | 0.031005 | 0.031005 | 0.98332 | -0.11661 | 0.98002 | -0.14002 | 11.4832
18 | 0.0041044 | 0.0010286 | -0.0041043 | -0.0010286 | 8.9256e-08 | -1.2487e-08 | 0.0062183 | 0.0062183 | 0.0062183 | 0.98218 | -0.12479 | 0.98215 | -0.12494 | 2.3031
19 | -0.032433 | -0.0081403 | 0.032456 | 0.0081488 | 2.2375e-05 | 8.411e-06 | 0.048718 | 0.048718 | 0.048718 | 0.99071 | -0.064893 | 0.99142 | -0.059928 | 18.0437
20 | 0.027194 | 0.0068272 | -0.027161 | -0.0068149 | 3.3177e-05 | 1.2351e-05 | 0.040849 | 0.040849 | 0.040849 | 0.99071 | -0.064893 | 0.98947 | -0.073686 | 15.1292
21 | -0.038451 | -0.0096512 | 0.038453 | 0.0096522 | 2.6965e-06 | 1.0204e-06 | 0.057716 | 0.057716 | 0.057716 | 0.99142 | -0.059928 | 0.99149 | -0.059423 | 21.3762
22 | 0.027161 | 0.0068149 | -0.027142 | -0.0068078 | 1.9037e-05 | 7.0873e-06 | 0.040849 | 0.040849 | 0.040849 | 0.98947 | -0.073686 | 0.98875 | -0.078741 | 15.1292
23 | -0.040588 | -0.010187 | 0.040621 | 0.0102 | 3.3287e-05 | 1.2617e-05 | 0.060919 | 0.060919 | 0.060919 | 0.99149 | -0.059423 | 0.99233 | -0.053521 | 22.5625
24 | 0.022033 | 0.0055275 | -0.022008 | -0.005518 | 2.5829e-05 | 9.4519e-06 | 0.033161 | 0.033161 | 0.033161 | 0.98875 | -0.078741 | 0.98756 | -0.087202 | 12.2819
25 | -0.042338 | -0.01063 | 0.04235 | 0.010635 | 1.2413e-05 | 4.7103e-06 | 0.063493 | 0.063493 | 0.063493 | 0.99233 | -0.053521 | 0.99263 | -0.051411 | 23.516
26 | 0.022008 | 0.005518 | -0.022004 | -0.0055167 | 3.5558e-06 | 1.3013e-06 | 0.033161 | 0.033161 | 0.033161 | 0.98756 | -0.087202 | 0.98739 | -0.088368 | 12.2819
27 | 0.022004 | 0.0055167 | -0.02199 | -0.0055117 | 1.3706e-05 | 5.0161e-06 | 0.033161 | 0.033161 | 0.033161 | 0.98739 | -0.088368 | 0.98676 | -0.092867 | 12.2819
28 | 0.01101 | 0.0027597 | -0.011004 | -0.0027581 | 5.2537e-06 | 1.6307e-06 | 0.016602 | 0.016603 | 0.016603 | 0.98676 | -0.092867 | 0.98627 | -0.096314 | 6.1491
29 | -0.13431 | -0.033855 | 0.13448 | 0.033922 | 0.00017605 | 6.7342e-05 | 0.20019 | 0.20019 | 0.20019 | 0.99865 | -0.0093472 | 1 | 0 | 37.0722
30 | -0.042539 | -0.010663 | 0.042574 | 0.010676 | 3.5257e-05 | 1.3378e-05 | 0.063515 | 0.063515 | 0.063515 | 0.9966 | -0.023826 | 0.99745 | -0.017846 | 23.524
31 | 0.031152 | 0.0078088 | -0.031147 | -0.0078071 | 4.4229e-06 | 1.6584e-06 | 0.046513 | 0.046513 | 0.046513 | 0.9966 | -0.023826 | 0.99645 | -0.024852 | 17.2271
32 | -0.045668 | -0.011451 | 0.045681 | 0.011457 | 1.3315e-05 | 5.0611e-06 | 0.068131 | 0.068131 | 0.068131 | 0.99745 | -0.017846 | 0.99775 | -0.015743 | 25.2336
33 | 0.023497 | 0.0058898 | -0.023489 | -0.0058869 | 7.9513e-06 | 2.9234e-06 | 0.035089 | 0.035089 | 0.035089 | 0.99645 | -0.024852 | 0.9961 | -0.027296 | 12.996
34 | -0.047747 | -0.011974 | 0.047769 | 0.011982 | 2.1683e-05 | 8.25e-06 | 0.071211 | 0.071211 | 0.071211 | 0.99775 | -0.015743 | 0.99822 | -0.012468 | 26.3745
35 | 0.017271 | 0.0043285 | -0.017264 | -0.0043259 | 7.2407e-06 | 2.5581e-06 | 0.0258 | 0.0258 | 0.0258 | 0.9961 | -0.027296 | 0.99567 | -0.030326 | 9.5557
36 | -0.051975 | -0.013037 | 0.051999 | 0.013046 | 2.3497e-05 | 8.9553e-06 | 0.077482 | 0.077482 | 0.077482 | 0.99822 | -0.012468 | 0.99868 | -0.0092093 | 28.6971
37 | 0.012438 | 0.0031165 | -0.012436 | -0.0031157 | 2.4196e-06 | 7.8468e-07 | 0.018588 | 0.018588 | 0.018588 | 0.99567 | -0.030326 | 0.99547 | -0.031732 | 6.8846
38 | -0.060101 | -0.015076 | 0.060114 | 0.015081 | 1.3741e-05 | 5.2489e-06 | 0.089553 | 0.089553 | 0.089553 | 0.99868 | -0.0092093 | 0.99892 | -0.0075611 | 33.1679
39 | 0.0059032 | 0.0014785 | -0.005902 | -0.0014783 | 1.1754e-06 | 1.376e-07 | 0.0088236 | 0.0088237 | 0.0088237 | 0.99547 | -0.031732 | 0.99527 | -0.033172 | 3.268
40 | 0.020416 | 0.0051328 | -0.020385 | -0.0051216 | 3.0688e-05 | 1.1159e-05 | 0.031005 | 0.031005 | 0.031005 | 0.98002 | -0.14002 | 0.9785 | -0.15082 | 11.4833
41 | 0.020385 | 0.0051216 | -0.020275 | -0.0050817 | 0.00010991 | 3.9986e-05 | 0.031005 | 0.031006 | 0.031006 | 0.9785 | -0.15082 | 0.97305 | -0.18978 | 11.4836
42 | -0.070979 | -0.017804 | 0.071054 | 0.017833 | 7.4505e-05 | 2.8516e-05 | 0.10574 | 0.10574 | 0.10574 | 0.99892 | -0.0075611 | 1 | 0 | 39.1623
43 | 0.0024367 | 0.00061015 | -0.0024366 | -0.00061017 | 2.6057e-08 | -2.8972e-08 | 0.0036864 | 0.0036864 | 0.0036864 | 0.98351 | -0.11541 | 0.9835 | -0.11549 | 1.3653
44 | 0.0024366 | 0.00061017 | -0.0024366 | -0.00061028 | 9.1568e-08 | -1.018e-07 | 0.0036864 | 0.0036865 | 0.0036865 | 0.9835 | -0.11549 | 0.98346 | -0.11576 | 1.3654
45 | 0.0024366 | 0.00061028 | -0.0024363 | -0.00061059 | 2.8113e-07 | -3.1246e-07 | 0.0036865 | 0.0036866 | 0.0036866 | 0.98346 | -0.11576 | 0.98334 | -0.1166 | 1.3654
46 | 0.0031089 | 0.00077833 | -0.0031088 | -0.00077842 | 1.549e-07 | -8.9746e-08 | 0.0046478 | 0.0046479 | 0.0046479 | 0.99527 | -0.033172 | 0.99522 | -0.033533 | 1.7214
47 | 0.0031088 | 0.00077842 | -0.0031082 | -0.00077873 | 5.3436e-07 | -3.0946e-07 | 0.0046479 | 0.004648 | 0.004648 | 0.99522 | -0.033533 | 0.99504 | -0.034776 | 1.7215
48 | 0.0031082 | 0.00077873 | -0.0031079 | -0.00077892 | 3.147e-07 | -1.8215e-07 | 0.004648 | 0.0046482 | 0.0046482 | 0.99504 | -0.034776 | 0.99494 | -0.035507 | 1.7215
49 | 0.01582 | 0.0039651 | -0.015793 | -0.0039554 | 2.76e-05 | 9.6785e-06 | 0.024193 | 0.024193 | 0.024193 | 0.97305 | -0.18978 | 0.9713 | -0.2024 | 8.9604
50 | 0.0026765 | 0.00066817 | -0.0026762 | -0.0006684 | 2.9715e-07 | -2.364e-07 | 0.0040993 | 0.0040995 | 0.0040995 | 0.9713 | -0.2024 | 0.97119 | -0.20321 | 1.5183
51 | 0.011004 | 0.0027581 | -0.011002 | -0.0027574 | 2.0582e-06 | 6.3893e-07 | 0.016603 | 0.016603 | 0.016603 | 0.98627 | -0.096314 | 0.98608 | -0.097665 | 6.1491
52 | -0.0018119 | -0.00045411 | 0.001812 | 0.00045391 | 9.0664e-08 | -1.9784e-07 | 0.0027779 | 0.0027778 | 0.0027779 | 0.97057 | -0.20774 | 0.97062 | -0.20738 | 1.0289
53 | -0.001812 | -0.00045391 | 0.0018125 | 0.0004529 | 4.607e-07 | -1.0059e-06 | 0.0027778 | 0.0027774 | 0.0027778 | 0.97062 | -0.20738 | 0.97087 | -0.20553 | 1.0288
54 | -0.0018125 | -0.0004529 | 0.0018125 | 0.00045274 | 7.6826e-08 | -1.6784e-07 | 0.0027774 | 0.0027773 | 0.0027774 | 0.97087 | -0.20553 | 0.97091 | -0.20523 | 1.0287
55 | -0.0026754 | -0.000669 | 0.0026762 | 0.0006684 | 7.4414e-07 | -5.9155e-07 | 0.0040998 | 0.0040995 | 0.0040998 | 0.97091 | -0.20523 | 0.97119 | -0.20321 | 1.5184

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.22174 | 0.055615

## res_load
| p_mw | q_mvar
0 | 0.014624 | 0.003665
1 | 0.0018116 | 0.00045402
2 | 0.00062286 | 0.0001561
3 | 0.0046322 | 0.0011609
4 | 0.00055274 | 0.00013853
5 | 0.0044259 | 0.0011092
6 | 0.00060666 | 0.00015204
7 | 0.0083127 | 0.0020834
8 | 0.00029502 | 7.3939e-05
9 | 0.0037461 | 0.00093887
10 | 0.0052393 | 0.0013131
11 | 0.0059949 | 0.0015025
12 | 0.0021342 | 0.00053489
13 | 0.0051085 | 0.0012803
14 | 0.0017169 | 0.00043029
15 | 0.0037102 | 0.00092987
16 | 0.01591 | 0.0039874
17 | 0.010981 | 0.002752
18 | 0.0039956 | 0.0010014
19 | 0.011387 | 0.0028538
20 | 0.0030941 | 0.00077546
21 | 0.0076502 | 0.0019173
22 | 0.0020655 | 0.00051765
23 | 0.0062181 | 0.0015584
24 | 0.0042069 | 0.0010544
25 | 0.0048257 | 0.0012094
26 | 0.0081016 | 0.0020305
27 | 0.0065327 | 0.0016372
28 | 0.0041043 | 0.0010286
29 | 0.010865 | 0.002723
30 | 0.0154 | 0.0038595
31 | 0.0004876 | 0.0001222
32 | 0.0027931 | 0.00070001
33 | 0.0044552 | 0.0011166
34 | 0.013116 | 0.0032872
35 | 0.011002 | 0.0027574
36 | 0.0031079 | 0.00077892
37 | 0.0024363 | 0.00061059
38 | 0.0018119 | 0.00045411
39 | 0.00086289 | 0.00021626

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1