## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1364-37_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1364-37_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1364-37_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1364-37_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1364-37_0_5_node_37 | 0.4 | n |  | TRUE
5 | bus_LV_1364-37_0_5_node_38 | 0.4 | n |  | TRUE
6 | bus_LV_1364-37_0_5_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_1364-37_0_5_node_34 | 0.4 | n |  | TRUE
8 | bus_LV_1364-37_0_5_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_1364-37_0_5_node_26 | 0.4 | n |  | TRUE
10 | bus_LV_1364-37_0_5_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_1364-37_0_5_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_1364-37_0_5_node_25 | 0.4 | n |  | TRUE
13 | bus_LV_1364-37_0_5_node_29 | 0.4 | n |  | TRUE
14 | bus_LV_1364-37_0_5_node_5 | 0.4 | n |  | TRUE
15 | bus_LV_1364-37_0_5_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_1364-37_0_5_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_1364-37_0_5_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_1364-37_0_5_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_1364-37_0_5_node_39 | 0.4 | n |  | TRUE
20 | bus_LV_1364-37_0_5_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_1364-37_0_5_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_1364-37_0_5_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_1364-37_0_5_node_35 | 0.4 | n |  | TRUE
24 | bus_LV_1364-37_0_5_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_1364-37_0_5_node_11 | 0.4 | n |  | TRUE
26 | bus_LV_1364-37_0_5_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_1364-37_0_5_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_1364-37_0_5_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_1364-37_0_5_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_1364-37_0_5_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_1364-37_0_5_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_1364-37_0_5_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_1364-37_0_5_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_1364-37_0_5_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_1364-37_0_5_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_1364-37_0_5_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_1364-37_0_5_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_1364-37_0_5_node_40 | 0.4 | n |  | TRUE
39 | bus_MV_133_0_node_123 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1364-37_0_5_load_0 | 0 | 0.0016072 | 0.00040281 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1364-37_0_5_load_2 | 2 | 0.0020548 | 0.00051498 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1364-37_0_5_load_38 | 5 | 0.0038068 | 0.00095408 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1364-37_0_5_load_12 | 8 | 0.012616 | 0.0031619 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1364-37_0_5_load_28 | 10 | 0.003184 | 0.00079799 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1364-37_0_5_load_25 | 12 | 0.0053826 | 0.001349 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1364-37_0_5_load_29 | 13 | 0.0058664 | 0.0014703 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1364-37_0_5_load_5 | 14 | 0.0047973 | 0.0012023 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1364-37_0_5_load_6 | 15 | 0.0053327 | 0.0013365 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1364-37_0_5_load_8 | 17 | 0.0042021 | 0.0010531 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1364-37_0_5_load_9 | 18 | 0.0047095 | 0.0011803 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1364-37_0_5_load_39 | 19 | 0.0037663 | 0.00094393 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1364-37_0_5_load_10 | 20 | 0.028774 | 0.0072115 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1364-37_0_5_load_31 | 24 | 0.00086033 | 0.00021562 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1364-37_0_5_load_11 | 25 | 0.0055392 | 0.0013883 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1364-37_0_5_load_18 | 27 | 0.0015969 | 0.00040021 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1364-37_0_5_load_16 | 28 | 0.010121 | 0.0025366 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1364-37_0_5_load_15 | 29 | 0.011171 | 0.0027996 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1364-37_0_5_load_21 | 30 | 0.025323 | 0.0063466 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1364-37_0_5_load_20 | 32 | 0.032684 | 0.0081913 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1364-37_0_5_load_22 | 33 | 0.0030015 | 0.00075224 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1364-37_0_5_load_23 | 34 | 0.0255 | 0.0063909 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1364-37_0_5_load_30 | 35 | 0.014273 | 0.0035771 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1364-37_0_5_load_32 | 36 | 0.0013641 | 0.00034188 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1364-37_0_5_load_36 | 37 | 0.0030174 | 0.00075624 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1364-37_0_5_load_40 | 38 | 0.0010393 | 0.00026048 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1364-37_0_5_line_0 | NAYY 4x150 SE | 0 | 1 | 0.069499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1364-37_0_5_line_1 | NAYY 4x150 SE | 1 | 2 | 0.046954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1364-37_0_5_line_2 | NAYY 4x150 SE | 1 | 3 | 0.046705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1364-37_0_5_line_3 | NAYY 4x150 SE | 3 | 9 | 0.030704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1364-37_0_5_line_4 | NAYY 4x150 SE | 3 | 10 | 0.022919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1364-37_0_5_line_5 | NAYY 4x150 SE | 3 | 6 | 0.093051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1364-37_0_5_line_6 | NAYY 4x150 SE | 4 | 5 | 0.054543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1364-37_0_5_line_7 | NAYY 4x150 SE | 4 | 6 | 0.25605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_1364-37_0_5_line_8 | NAYY 4x150 SE | 4 | 7 | 0.04409 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_1364-37_0_5_line_9 | NAYY 4x150 SE | 5 | 19 | 0.033757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1364-37_0_5_line_10 | NAYY 4x150 SE | 6 | 8 | 0.025283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1364-37_0_5_line_11 | NAYY 4x150 SE | 7 | 37 | 0.043052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1364-37_0_5_line_12 | NAYY 4x150 SE | 7 | 36 | 0.054044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_1364-37_0_5_line_13 | NAYY 4x150 SE | 9 | 11 | 0.014502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1364-37_0_5_line_14 | NAYY 4x150 SE | 9 | 12 | 0.029325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1364-37_0_5_line_15 | NAYY 4x150 SE | 10 | 13 | 0.015127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1364-37_0_5_line_16 | NAYY 4x150 SE | 11 | 35 | 0.024347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1364-37_0_5_line_17 | NAYY 4x150 SE | 14 | 15 | 0.0048937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1364-37_0_5_line_18 | NAYY 4x150 SE | 14 | 16 | 0.026532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1364-37_0_5_line_19 | NAYY 4x150 SE | 15 | 17 | 0.027447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1364-37_0_5_line_20 | NAYY 4x150 SE | 16 | 18 | 0.017065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1364-37_0_5_line_21 | NAYY 4x150 SE | 17 | 20 | 0.020749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1364-37_0_5_line_22 | NAYY 4x150 SE | 18 | 21 | 0.023941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1364-37_0_5_line_23 | NAYY 4x150 SE | 20 | 25 | 2.1353e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1364-37_0_5_line_24 | NAYY 4x150 SE | 21 | 26 | 0.18302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_1364-37_0_5_line_25 | NAYY 4x150 SE | 21 | 22 | 0.095887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_1364-37_0_5_line_26 | NAYY 4x150 SE | 22 | 23 | 0.099488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1364-37_0_5_line_27 | NAYY 4x150 SE | 22 | 24 | 0.062209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_1364-37_0_5_line_28 | NAYY 4x150 SE | 23 | 38 | 0.012649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1364-37_0_5_line_29 | NAYY 4x150 SE | 24 | 36 | 0.010973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_1364-37_0_5_line_30 | NAYY 4x150 SE | 26 | 31 | 0.067544 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_1364-37_0_5_line_31 | NAYY 4x150 SE | 27 | 28 | 0.010339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1364-37_0_5_line_32 | NAYY 4x150 SE | 28 | 29 | 0.054645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1364-37_0_5_line_33 | NAYY 4x150 SE | 29 | 30 | 0.065798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_1364-37_0_5_line_34 | NAYY 4x150 SE | 30 | 33 | 0.025085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_1364-37_0_5_line_35 | NAYY 4x150 SE | 30 | 32 | 0.028408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1364-37_0_5_line_36 | NAYY 4x150 SE | 31 | 34 | 0.064664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_1364-37_0_5_line_37 | NAYY 4x150 SE | 33 | 34 | 0.010157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1364-37_0_5_trafo_14 | 0.25 MVA 20/0.4 kV | 39 | 21 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2687936.834 | 1206008.007 | 2687933.5354 | 1205938.5865
1 | 2687936.834 | 1206008.007 | 2687930.8198 | 1206006.284 | 2687925.777 | 1206000.0612 | 2687919.5832 | 1205990.9085 | 2687912.6582 | 1205978.1982 | 2687909.6469 | 1205971.6992
2 | 2687963.7206 | 1206026.2482 | 2687951.9834 | 1206035.5592 | 2687940.3929 | 1206018.3995 | 2687938.3695 | 1206013.7556 | 2687936.834 | 1206008.007
3 | 2687963.7206 | 1206026.2482 | 2687987.9754 | 1206007.3377
4 | 2687963.7206 | 1206026.2482 | 2687977.0845 | 1206044.8674
5 | 2687890.283 | 1206083.3264 | 2687895.8148 | 1206078.5492 | 2687910.3397 | 1206066.9109 | 2687915.6792 | 1206062.798 | 2687938.7757 | 1206045.0376 | 2687940.276 | 1206043.8811 | 2687942.6381 | 1206042.0592 | 2687943.9696 | 1206041.0003 | 2687945.8492 | 1206039.9162 | 2687951.9834 | 1206035.5592 | 2687963.7206 | 1206026.2482
6 | 2687691.3772 | 1206244.5631 | 2687683.7302 | 1206243.1943 | 2687658.8102 | 1206234.0002 | 2687656.0849 | 1206231.0472 | 2687640.475 | 1206226.738
7 | 2687691.3772 | 1206244.5631 | 2687890.283 | 1206083.3264
8 | 2687691.3772 | 1206244.5631 | 2687647.1589 | 1206244.7696
9 | 2687640.475 | 1206226.738 | 2687632.8582 | 1206224.6354 | 2687624.097 | 1206224.0286 | 2687607.1615 | 1206226.19
10 | 2687890.283 | 1206083.3264 | 2687893.771 | 1206088.2032 | 2687907.9705 | 1206101.256
11 | 2687604.6985 | 1206243.3678 | 2687621.0585 | 1206240.8506 | 2687628.8144 | 1206241.0201 | 2687634.6923 | 1206241.1398 | 2687647.1589 | 1206244.7696
12 | 2687647.1589 | 1206244.7696 | 2687625.241 | 1206247.6498 | 2687616.0454 | 1206250.2165 | 2687606.8866 | 1206255.4522 | 2687597.0475 | 1206262.04
13 | 2688000.3219 | 1206015.0024 | 2687987.9754 | 1206007.3377
14 | 2687987.9754 | 1206007.3377 | 2688011.3436 | 1205989.6213
15 | 2687977.0845 | 1206044.8674 | 2687979.7307 | 1206048.5542 | 2687986.7337 | 1206050.7922 | 2687989.7114 | 1206049.5242
16 | 2688000.3219 | 1206015.0024 | 2688023.0218 | 1206023.8066
17 | 2687510.8412 | 1206128.9862 | 2687513.0925 | 1206127.4377 | 2687514.4351 | 1206125.7441
18 | 2687491.6282 | 1206147.0804 | 2687494.838 | 1206143.4584 | 2687504.0715 | 1206133.6429 | 2687510.8412 | 1206128.9862
19 | 2687531.3301 | 1206104.1162 | 2687527.5381 | 1206109.2153 | 2687514.4351 | 1206125.7441
20 | 2687491.6282 | 1206147.0804 | 2687492.1239 | 1206155.8156 | 2687492.9653 | 1206164.0883
21 | 2687531.3301 | 1206104.1162 | 2687543.7117 | 1206087.4666
22 | 2687495.3881 | 1206187.9066 | 2687492.9653 | 1206164.0883
23 | 2687543.7117 | 1206087.4666 | 2687543.7244 | 1206087.4495
24 | 2687495.3881 | 1206187.9066 | 2687313.761 | 1206210.4628
25 | 2687528.5862 | 1206277.863 | 2687495.3881 | 1206187.9066
26 | 2687528.5862 | 1206277.863 | 2687528.6441 | 1206279.6206 | 2687529.6886 | 1206281.0035 | 2687531.6133 | 1206282.0212 | 2687545.2133 | 1206284.6112 | 2687561.8738 | 1206291.6712 | 2687577.6094 | 1206297.4835 | 2687611.445 | 1206327.3105
27 | 2687528.5862 | 1206277.863 | 2687529.2571 | 1206276.7166 | 2687531.4826 | 1206275.8931 | 2687535.3555 | 1206275.2828 | 2687545.3457 | 1206272.9944 | 2687557.0316 | 1206271.2535 | 2687578.5215 | 1206273.1699 | 2687583.4381 | 1206271.9301 | 2687586.3627 | 1206270.1163 | 2687588.2439 | 1206268.5682
28 | 2687611.445 | 1206327.3105 | 2687615.9845 | 1206325.3314 | 2687620.7239 | 1206323.2106 | 2687623.0436 | 1206322.1884
29 | 2687588.2439 | 1206268.5682 | 2687592.3758 | 1206265.1679 | 2687597.0475 | 1206262.04
30 | 2687313.761 | 1206210.4628 | 2687309.1697 | 1206277.8508
31 | 2687166.2953 | 1206211.0087 | 2687156.0355 | 1206209.7287
32 | 2687166.2953 | 1206211.0087 | 2687211.8216 | 1206216.6883 | 2687219.8334 | 1206217.5725 | 2687220.5376 | 1206217.613
33 | 2687220.5376 | 1206217.613 | 2687217.8811 | 1206283.3579
34 | 2687217.8811 | 1206283.3579 | 2687223.4493 | 1206283.4572 | 2687242.8951 | 1206285.1126
35 | 2687189.6546 | 1206283.9199 | 2687192.4697 | 1206282.9044 | 2687217.8811 | 1206283.3579
36 | 2687309.1697 | 1206277.8508 | 2687309.512 | 1206279.9238 | 2687309.3823 | 1206282.0344 | 2687308.7974 | 1206284.0605 | 2687307.7738 | 1206285.9134 | 2687305.9735 | 1206287.8328 | 2687303.7022 | 1206289.1893 | 2687301.1516 | 1206289.8858 | 2687298.5128 | 1206289.8472 | 2687253.0152 | 1206285.9741
37 | 2687253.0152 | 1206285.9741 | 2687242.8951 | 1206285.1126

## bus_geodata
| x | y | coords
0 | 2687933.5354 | 1205938.5865
1 | 2687936.834 | 1206008.007
2 | 2687909.6469 | 1205971.6992
3 | 2687963.7206 | 1206026.2482
4 | 2687691.3772 | 1206244.5631
5 | 2687640.475 | 1206226.738
6 | 2687890.283 | 1206083.3264
7 | 2687647.1589 | 1206244.7696
8 | 2687907.9705 | 1206101.256
9 | 2687987.9754 | 1206007.3377
10 | 2687977.0845 | 1206044.8674
11 | 2688000.3219 | 1206015.0024
12 | 2688011.3436 | 1205989.6213
13 | 2687989.7114 | 1206049.5242
14 | 2687510.8412 | 1206128.9862
15 | 2687514.4351 | 1206125.7441
16 | 2687491.6282 | 1206147.0804
17 | 2687531.3301 | 1206104.1162
18 | 2687492.9653 | 1206164.0883
19 | 2687607.1615 | 1206226.19
20 | 2687543.7117 | 1206087.4666
21 | 2687495.3881 | 1206187.9066
22 | 2687528.5862 | 1206277.863
23 | 2687611.445 | 1206327.3105
24 | 2687588.2439 | 1206268.5682
25 | 2687543.7244 | 1206087.4495
26 | 2687313.761 | 1206210.4628
27 | 2687156.0355 | 1206209.7287
28 | 2687166.2953 | 1206211.0087
29 | 2687220.5376 | 1206217.613
30 | 2687217.8811 | 1206283.3579
31 | 2687309.1697 | 1206277.8508
32 | 2687189.6546 | 1206283.9199
33 | 2687242.8951 | 1206285.1126
34 | 2687253.0152 | 1206285.9741
35 | 2688023.0218 | 1206023.8066
36 | 2687597.0475 | 1206262.04
37 | 2687604.6985 | 1206243.3678
38 | 2687623.0436 | 1206322.1884
39 | 2687491.6282 | 1206147.0804

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97573 | -0.17055 | 0.0016072 | 0.00040281
1 | 0.97589 | -0.16938 | 0 | 0
2 | 0.97575 | -0.17039 | 0.0020548 | 0.00051498
3 | 0.97614 | -0.16758 | 0 | 0
4 | 0.98895 | -0.076786 | 0 | 0
5 | 0.98835 | -0.081007 | 0.0038068 | 0.00095408
6 | 0.98054 | -0.13614 | 0 | 0
7 | 0.99064 | -0.064961 | 0 | 0
8 | 0.98008 | -0.13946 | 0.012616 | 0.0031619
9 | 0.97526 | -0.17391 | 0 | 0
10 | 0.97584 | -0.16975 | 0.003184 | 0.00079799
11 | 0.97495 | -0.17608 | 0 | 0
12 | 0.97503 | -0.17557 | 0.0053826 | 0.001349
13 | 0.97571 | -0.17068 | 0.0058664 | 0.0014703
14 | 0.99512 | -0.034087 | 0.0047973 | 0.0012023
15 | 0.99481 | -0.03625 | 0.0053327 | 0.0013365
16 | 0.99698 | -0.021101 | 0 | 0
17 | 0.9933 | -0.046928 | 0.0042021 | 0.0010531
18 | 0.99817 | -0.012775 | 0.0047095 | 0.0011803
19 | 0.98817 | -0.082307 | 0.0037663 | 0.00094393
20 | 0.99227 | -0.054138 | 0.028774 | 0.0072115
21 | 1 | 0 | -0.22693 | -0.057247
22 | 0.9959 | -0.028343 | 0 | 0
23 | 0.99575 | -0.02939 | 0 | 0
24 | 0.99328 | -0.046522 | 0.00086033 | 0.00021562
25 | 0.99227 | -0.054139 | 0.0055392 | 0.0013883
26 | 0.98532 | -0.10147 | 0 | 0
27 | 0.97054 | -0.20673 | 0.0015969 | 0.00040021
28 | 0.97056 | -0.20655 | 0.010121 | 0.0025366
29 | 0.9715 | -0.19977 | 0.011171 | 0.0027996
30 | 0.97261 | -0.19181 | 0.025323 | 0.0063466
31 | 0.97991 | -0.13967 | 0 | 0
32 | 0.97125 | -0.20162 | 0.032684 | 0.0081913
33 | 0.9741 | -0.18112 | 0.0030015 | 0.00075224
34 | 0.97472 | -0.17664 | 0.0255 | 0.0063909
35 | 0.97444 | -0.17973 | 0.014273 | 0.0035771
36 | 0.99282 | -0.04969 | 0.0013641 | 0.00034188
37 | 0.99045 | -0.066283 | 0.0030174 | 0.00075624
38 | 0.99573 | -0.029523 | 0.0010393 | 0.00026048
39 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0016072 | -0.00040281 | 0.0016075 | 0.00040205 | 2.6051e-07 | -7.6799e-07 | 0.0024511 | 0.0024508 | 0.0024511 | 0.97573 | -0.17055 | 0.97589 | -0.16938 | 0.90782
1 | 0.0020551 | 0.0005145 | -0.0020548 | -0.00051498 | 2.8768e-07 | -4.7593e-07 | 0.0031333 | 0.0031335 | 0.0031335 | 0.97589 | -0.16938 | 0.97575 | -0.17039 | 1.1606
2 | -0.0036626 | -0.00091655 | 0.0036635 | 0.00091631 | 9.0875e-07 | -2.3418e-07 | 0.0055841 | 0.0055839 | 0.0055841 | 0.97589 | -0.16938 | 0.97614 | -0.16758 | 2.0682
3 | 0.019685 | 0.0049364 | -0.019668 | -0.0049302 | 1.7254e-05 | 6.2528e-06 | 0.030009 | 0.030009 | 0.030009 | 0.97614 | -0.16758 | 0.97526 | -0.17391 | 11.1146
4 | 0.0090539 | 0.0022691 | -0.0090511 | -0.0022683 | 2.7242e-06 | 7.6136e-07 | 0.013802 | 0.013802 | 0.013802 | 0.97614 | -0.16758 | 0.97584 | -0.16975 | 5.1118
5 | -0.032403 | -0.0081219 | 0.032545 | 0.0081752 | 0.00014167 | 5.3319e-05 | 0.049395 | 0.049394 | 0.049395 | 0.97614 | -0.16758 | 0.98054 | -0.13614 | 18.2944
6 | 0.0075783 | 0.0018988 | -0.0075738 | -0.0018978 | 4.4251e-06 | 1.0026e-06 | 0.011402 | 0.011403 | 0.011403 | 0.98895 | -0.076786 | 0.98835 | -0.081007 | 4.2232
7 | 0.045542 | 0.011477 | -0.045167 | -0.011339 | 0.00037538 | 0.00013786 | 0.068547 | 0.068549 | 0.068549 | 0.98895 | -0.076786 | 0.98054 | -0.13614 | 12.6943
8 | -0.05312 | -0.013376 | 0.053208 | 0.013408 | 8.7927e-05 | 3.2685e-05 | 0.079949 | 0.079949 | 0.079949 | 0.98895 | -0.076786 | 0.99064 | -0.064961 | 14.8054
9 | 0.003767 | 0.00094376 | -0.0037663 | -0.00094393 | 6.7752e-07 | -1.7194e-07 | 0.0056713 | 0.0056715 | 0.0056715 | 0.98835 | -0.081007 | 0.98817 | -0.082307 | 2.1005
10 | 0.012622 | 0.0031639 | -0.012616 | -0.0031619 | 5.7886e-06 | 1.9076e-06 | 0.019155 | 0.019155 | 0.019155 | 0.98054 | -0.13614 | 0.98008 | -0.13946 | 7.0944
11 | 0.003018 | 0.00075589 | -0.0030174 | -0.00075624 | 5.5205e-07 | -3.4185e-07 | 0.0045331 | 0.0045333 | 0.0045333 | 0.99064 | -0.064961 | 0.99045 | -0.066283 | 1.679
12 | -0.056226 | -0.014164 | 0.056346 | 0.014209 | 0.00012035 | 4.4892e-05 | 0.084482 | 0.084482 | 0.084482 | 0.99064 | -0.064961 | 0.99282 | -0.04969 | 15.6448
13 | 0.014284 | 0.0035811 | -0.01428 | -0.0035796 | 4.2986e-06 | 1.4724e-06 | 0.021795 | 0.021795 | 0.021795 | 0.97526 | -0.17391 | 0.97495 | -0.17608 | 8.0723
14 | 0.0053839 | 0.0013491 | -0.0053826 | -0.001349 | 1.2348e-06 | 1.0908e-07 | 0.0082145 | 0.0082146 | 0.0082146 | 0.97526 | -0.17391 | 0.97503 | -0.17557 | 3.0424
15 | 0.0058671 | 0.0014704 | -0.0058664 | -0.0014703 | 7.5551e-07 | 1.0163e-07 | 0.0089466 | 0.0089466 | 0.0089466 | 0.97584 | -0.16975 | 0.97571 | -0.17068 | 3.3136
16 | 0.01428 | 0.0035796 | -0.014273 | -0.0035771 | 7.217e-06 | 2.4723e-06 | 0.021795 | 0.021795 | 0.021795 | 0.97495 | -0.17608 | 0.97444 | -0.17973 | 8.0723
17 | 0.043953 | 0.011029 | -0.04394 | -0.011024 | 1.3192e-05 | 5.0103e-06 | 0.065728 | 0.065728 | 0.065728 | 0.99512 | -0.034087 | 0.99481 | -0.03625 | 24.3436
18 | -0.04875 | -0.012231 | 0.048838 | 0.012265 | 8.7989e-05 | 3.3496e-05 | 0.072901 | 0.072901 | 0.072901 | 0.99512 | -0.034087 | 0.99698 | -0.021101 | 27.0004
19 | 0.038607 | 0.0096874 | -0.03855 | -0.0096658 | 5.7121e-05 | 2.1614e-05 | 0.057751 | 0.057751 | 0.057751 | 0.99481 | -0.03625 | 0.9933 | -0.046928 | 21.3893
20 | -0.048838 | -0.012265 | 0.048895 | 0.012286 | 5.6591e-05 | 2.1543e-05 | 0.072901 | 0.072901 | 0.072901 | 0.99698 | -0.021101 | 0.99817 | -0.012775 | 27.0004
21 | 0.034348 | 0.0086127 | -0.034313 | -0.0085997 | 3.4281e-05 | 1.2917e-05 | 0.051456 | 0.051456 | 0.051456 | 0.9933 | -0.046928 | 0.99227 | -0.054138 | 19.0579
22 | -0.053604 | -0.013467 | 0.0537 | 0.013503 | 9.5424e-05 | 3.6388e-05 | 0.079922 | 0.079921 | 0.079922 | 0.99817 | -0.012775 | 1 | 0 | 29.6006
23 | 0.0055392 | 0.0013883 | -0.0055392 | -0.0013883 | 9.191e-10 | 7.7446e-11 | 0.0083066 | 0.0083066 | 0.0083066 | 0.99227 | -0.054138 | 0.99227 | -0.054139 | 3.0765
24 | 0.11241 | 0.028563 | -0.11081 | -0.027953 | 0.0016002 | 0.00061074 | 0.1674 | 0.1674 | 0.1674 | 1 | 0 | 0.98532 | -0.10147 | 31.0005
25 | 0.060025 | 0.015181 | -0.059786 | -0.015091 | 0.00023892 | 8.9389e-05 | 0.089366 | 0.089367 | 0.089367 | 1 | 0 | 0.9959 | -0.028343 | 16.5494
26 | 0.0010395 | 0.00025908 | -0.0010393 | -0.00026032 | 1.497e-07 | -1.2367e-06 | 0.0015526 | 0.0015531 | 0.0015531 | 0.9959 | -0.028343 | 0.99575 | -0.02939 | 0.57522
27 | 0.058746 | 0.014832 | -0.058597 | -0.014776 | 0.00014967 | 5.5952e-05 | 0.087814 | 0.087815 | 0.087815 | 0.9959 | -0.028343 | 0.99328 | -0.046522 | 16.262
28 | 0.0010393 | 0.00026032 | -0.0010393 | -0.00026048 | 1.9039e-08 | -1.5721e-07 | 0.0015531 | 0.0015531 | 0.0015531 | 0.99575 | -0.02939 | 0.99573 | -0.029523 | 0.57524
29 | 0.057736 | 0.014561 | -0.057711 | -0.014551 | 2.5632e-05 | 9.5746e-06 | 0.086526 | 0.086526 | 0.086526 | 0.99328 | -0.046522 | 0.99282 | -0.04969 | 16.0233
30 | 0.11081 | 0.027953 | -0.11022 | -0.027727 | 0.00059057 | 0.00022543 | 0.1674 | 0.1674 | 0.1674 | 0.98532 | -0.10147 | 0.97991 | -0.13967 | 31.0007
31 | -0.0015969 | -0.00040021 | 0.0015969 | 0.0004001 | 3.8672e-08 | -1.129e-07 | 0.0024483 | 0.0024482 | 0.0024483 | 0.97054 | -0.20673 | 0.97056 | -0.20655 | 0.90678
32 | -0.011718 | -0.0029367 | 0.011729 | 0.0029403 | 1.1006e-05 | 3.557e-06 | 0.017966 | 0.017965 | 0.017966 | 0.97056 | -0.20655 | 0.9715 | -0.19977 | 6.6539
33 | -0.0229 | -0.0057399 | 0.022925 | 0.005748 | 2.5256e-05 | 8.0825e-06 | 0.035075 | 0.035075 | 0.035075 | 0.9715 | -0.19977 | 0.97261 | -0.19181 | 6.4954
34 | -0.080977 | -0.020303 | 0.081097 | 0.020348 | 0.00012013 | 4.558e-05 | 0.12389 | 0.12389 | 0.12389 | 0.97261 | -0.19181 | 0.9741 | -0.18112 | 22.9428
35 | 0.032728 | 0.0082081 | -0.032684 | -0.0081913 | 4.4448e-05 | 1.6743e-05 | 0.050074 | 0.050074 | 0.050074 | 0.97261 | -0.19181 | 0.97125 | -0.20162 | 18.5459
36 | 0.11022 | 0.027727 | -0.10965 | -0.027511 | 0.00056539 | 0.00021584 | 0.1674 | 0.1674 | 0.1674 | 0.97991 | -0.13967 | 0.97472 | -0.17664 | 31.0008
37 | -0.084098 | -0.021101 | 0.084151 | 0.02112 | 5.2306e-05 | 1.9865e-05 | 0.12848 | 0.12848 | 0.12848 | 0.9741 | -0.18112 | 0.97472 | -0.17664 | 23.7918

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.22693 | 0.057247

## res_load
| p_mw | q_mvar
0 | 0.0016072 | 0.00040281
1 | 0.0020548 | 0.00051498
2 | 0.0038068 | 0.00095408
3 | 0.012616 | 0.0031619
4 | 0.003184 | 0.00079799
5 | 0.0053826 | 0.001349
6 | 0.0058664 | 0.0014703
7 | 0.0047973 | 0.0012023
8 | 0.0053327 | 0.0013365
9 | 0.0042021 | 0.0010531
10 | 0.0047095 | 0.0011803
11 | 0.0037663 | 0.00094393
12 | 0.028774 | 0.0072115
13 | 0.00086033 | 0.00021562
14 | 0.0055392 | 0.0013883
15 | 0.0015969 | 0.00040021
16 | 0.010121 | 0.0025366
17 | 0.011171 | 0.0027996
18 | 0.025323 | 0.0063466
19 | 0.032684 | 0.0081913
20 | 0.0030015 | 0.00075224
21 | 0.0255 | 0.0063909
22 | 0.014273 | 0.0035771
23 | 0.0013641 | 0.00034188
24 | 0.0030174 | 0.00075624
25 | 0.0010393 | 0.00026048

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1