## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1364-46_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1364-46_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1364-46_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1364-46_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1364-46_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1364-46_0_2_node_24 | 0.4 | n |  | TRUE
6 | bus_LV_1364-46_0_2_node_23 | 0.4 | n |  | TRUE
7 | bus_LV_1364-46_0_2_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1364-46_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1364-46_0_2_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1364-46_0_2_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1364-46_0_2_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_1364-46_0_2_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_1364-46_0_2_node_41 | 0.4 | n |  | TRUE
14 | bus_LV_1364-46_0_2_node_39 | 0.4 | n |  | TRUE
15 | bus_LV_1364-46_0_2_node_29 | 0.4 | n |  | TRUE
16 | bus_LV_1364-46_0_2_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_1364-46_0_2_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1364-46_0_2_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_1364-46_0_2_node_32 | 0.4 | n |  | TRUE
20 | bus_LV_1364-46_0_2_node_34 | 0.4 | n |  | TRUE
21 | bus_LV_1364-46_0_2_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_1364-46_0_2_node_37 | 0.4 | n |  | TRUE
23 | bus_LV_1364-46_0_2_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_1364-46_0_2_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_1364-46_0_2_node_43 | 0.4 | n |  | TRUE
26 | bus_LV_1364-46_0_2_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_1364-46_0_2_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_1364-46_0_2_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_1364-46_0_2_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_1364-46_0_2_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_1364-46_0_2_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_1364-46_0_2_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_1364-46_0_2_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_1364-46_0_2_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_1364-46_0_2_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_1364-46_0_2_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_1364-46_0_2_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_1364-46_0_2_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_1364-46_0_2_node_42 | 0.4 | n |  | TRUE
40 | bus_LV_1364-46_0_2_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_1364-46_0_2_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_1364-46_0_2_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_1364-46_0_2_node_44 | 0.4 | n |  | TRUE
44 | bus_LV_1364-46_0_2_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_1364-46_0_2_node_31 | 0.4 | n |  | TRUE
46 | bus_MV_133_0_node_113 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1364-46_0_2_load_0 | 0 | 0.0027303 | 0.00068427 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1364-46_0_2_load_1 | 1 | 0.0012604 | 0.00031588 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1364-46_0_2_load_2 | 2 | 0.0026375 | 0.00066102 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1364-46_0_2_load_3 | 3 | 0.0041221 | 0.0010331 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1364-46_0_2_load_4 | 4 | 0.0020888 | 0.0005235 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1364-46_0_2_load_24 | 5 | 0.0084311 | 0.002113 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1364-46_0_2_load_23 | 6 | 0.0022771 | 0.00057069 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1364-46_0_2_load_5 | 7 | 0.01672 | 0.0041905 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1364-46_0_2_load_6 | 8 | 0.0026511 | 0.00066443 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1364-46_0_2_load_9 | 11 | 0.00185 | 0.00046364 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1364-46_0_2_load_10 | 12 | 0.0029529 | 0.00074007 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1364-46_0_2_load_41 | 13 | 0.0023796 | 0.00059639 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1364-46_0_2_load_39 | 14 | 0.0013817 | 0.00034629 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1364-46_0_2_load_29 | 15 | 0.0034758 | 0.00087113 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1364-46_0_2_load_34 | 20 | 0.0082314 | 0.002063 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1364-46_0_2_load_37 | 22 | 0.0026531 | 0.00066494 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1364-46_0_2_load_43 | 25 | 0.0022647 | 0.00056759 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1364-46_0_2_load_26 | 28 | 0.0025185 | 0.00063119 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1364-46_0_2_load_38 | 29 | 0.0040954 | 0.0010264 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1364-46_0_2_load_33 | 32 | 0.0058316 | 0.0014615 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1364-46_0_2_load_27 | 33 | 0.0085461 | 0.0021418 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1364-46_0_2_load_28 | 35 | 0.0023542 | 0.00059002 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1364-46_0_2_load_35 | 37 | 0.010965 | 0.0027481 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1364-46_0_2_load_45 | 38 | 0.01137 | 0.0028496 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1364-46_0_2_load_42 | 39 | 0.0017919 | 0.00044909 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1364-46_0_2_load_40 | 40 | 0.00119 | 0.00029825 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1364-46_0_2_load_30 | 41 | 0.011767 | 0.002949 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1364-46_0_2_load_36 | 42 | 0.0083311 | 0.002088 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1364-46_0_2_load_44 | 43 | 0.005773 | 0.0014469 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1364-46_0_2_load_25 | 44 | 0.00238 | 0.00059648 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1364-46_0_2_load_31 | 45 | 0.0022571 | 0.00056568 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1364-46_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.006796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1364-46_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.027091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1364-46_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.015017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1364-46_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0011617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1364-46_0_2_line_4 | NAYY 4x150 SE | 4 | 5 | 0.0021523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1364-46_0_2_line_5 | NAYY 4x150 SE | 5 | 6 | 0.026193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1364-46_0_2_line_6 | NAYY 4x150 SE | 6 | 44 | 0.038527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1364-46_0_2_line_7 | NAYY 4x150 SE | 7 | 8 | 0.0016391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1364-46_0_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.050013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1364-46_0_2_line_9 | NAYY 4x150 SE | 8 | 10 | 0.036856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1364-46_0_2_line_10 | NAYY 4x150 SE | 9 | 11 | 0.026563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1364-46_0_2_line_11 | NAYY 4x150 SE | 9 | 12 | 0.025818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1364-46_0_2_line_12 | NAYY 4x150 SE | 10 | 13 | 0.01643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1364-46_0_2_line_13 | NAYY 4x150 SE | 10 | 14 | 0.0087802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1364-46_0_2_line_14 | NAYY 4x150 SE | 11 | 15 | 0.036483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1364-46_0_2_line_15 | NAYY 4x150 SE | 12 | 16 | 0.046662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1364-46_0_2_line_16 | NAYY 4x150 SE | 13 | 39 | 0.035361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1364-46_0_2_line_17 | NAYY 4x150 SE | 14 | 40 | 0.0012705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1364-46_0_2_line_18 | NAYY 4x150 SE | 15 | 36 | 0.014584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1364-46_0_2_line_19 | NAYY 4x150 SE | 16 | 29 | 0.0027154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1364-46_0_2_line_20 | NAYY 4x150 SE | 16 | 21 | 0.013812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1364-46_0_2_line_21 | NAYY 4x150 SE | 17 | 18 | 0.033424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1364-46_0_2_line_22 | NAYY 4x150 SE | 17 | 19 | 0.015586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1364-46_0_2_line_23 | NAYY 4x150 SE | 17 | 20 | 0.020589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1364-46_0_2_line_24 | NAYY 4x150 SE | 18 | 36 | 0.017458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1364-46_0_2_line_25 | NAYY 4x150 SE | 18 | 37 | 0.0094189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1364-46_0_2_line_26 | NAYY 4x150 SE | 19 | 41 | 0.018007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1364-46_0_2_line_27 | NAYY 4x150 SE | 19 | 30 | 0.049151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1364-46_0_2_line_28 | NAYY 4x150 SE | 21 | 22 | 0.040503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1364-46_0_2_line_29 | NAYY 4x150 SE | 22 | 42 | 0.03715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1364-46_0_2_line_30 | NAYY 4x150 SE | 23 | 24 | 0.008017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1364-46_0_2_line_31 | NAYY 4x150 SE | 23 | 25 | 0.038715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1364-46_0_2_line_32 | NAYY 4x150 SE | 24 | 33 | 0.012102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1364-46_0_2_line_33 | NAYY 4x150 SE | 25 | 43 | 0.049434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1364-46_0_2_line_34 | NAYY 4x150 SE | 26 | 27 | 0.16933 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1364-46_0_2_line_35 | NAYY 4x150 SE | 26 | 28 | 0.016005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1364-46_0_2_line_36 | NAYY 4x150 SE | 27 | 29 | 0.012282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1364-46_0_2_line_37 | NAYY 4x150 SE | 28 | 44 | 0.025208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1364-46_0_2_line_38 | NAYY 4x150 SE | 30 | 31 | 0.13635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1364-46_0_2_line_39 | NAYY 4x150 SE | 30 | 32 | 0.015671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1364-46_0_2_line_40 | NAYY 4x150 SE | 31 | 38 | 0.03014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1364-46_0_2_line_41 | NAYY 4x150 SE | 33 | 34 | 0.01475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1364-46_0_2_line_42 | NAYY 4x150 SE | 34 | 35 | 0.009849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1364-46_0_2_line_43 | NAYY 4x150 SE | 35 | 36 | 0.0080561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1364-46_0_2_line_44 | NAYY 4x150 SE | 41 | 45 | 0.0041828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1364-46_0_2_trafo_29 | 0.25 MVA 20/0.4 kV | 46 | 15 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2689378.1622 | 1206331.3315 | 2689380.3934 | 1206337.7508
1 | 2689378.1622 | 1206331.3315 | 2689376.1844 | 1206325.641 | 2689372.3279 | 1206304.93
2 | 2689386.1791 | 1206351.5916 | 2689382.1784 | 1206342.8865 | 2689380.3934 | 1206337.7508
3 | 2689372.1152 | 1206303.7879 | 2689372.1152 | 1206303.7879 | 2689372.3279 | 1206304.93
4 | 2689372.1152 | 1206303.7879 | 2689371.4876 | 1206301.7291
5 | 2689363.0097 | 1206276.9767 | 2689366.5037 | 1206285.3807 | 2689371.4876 | 1206301.7291
6 | 2689335.4572 | 1206251.6309 | 2689352.3599 | 1206261.7535 | 2689356.747 | 1206265.933 | 2689360.9312 | 1206271.9774 | 2689363.0097 | 1206276.9767
7 | 2689417.5676 | 1206272.1577 | 2689418.3289 | 1206273.6093
8 | 2689431.2659 | 1206231.9374 | 2689410.7956 | 1206254.8904 | 2689410.0749 | 1206256.2805 | 2689410.2219 | 1206258.1506 | 2689417.5676 | 1206272.1577
9 | 2689435.4461 | 1206306.2489 | 2689418.3289 | 1206273.6093
10 | 2689431.2659 | 1206231.9374 | 2689435.1707 | 1206235.3092 | 2689447.1154 | 1206245.7839 | 2689451.2643 | 1206249.4202
11 | 2689431.2659 | 1206231.9374 | 2689411.7401 | 1206215.0466
12 | 2689435.4461 | 1206306.2489 | 2689420.9038 | 1206313.8941
13 | 2689435.4461 | 1206306.2489 | 2689439.4973 | 1206314.0387
14 | 2689451.2643 | 1206249.4202 | 2689478.7011 | 1206273.4669
15 | 2689376.4497 | 1206184.5188 | 2689411.7401 | 1206215.0466
16 | 2689396.8444 | 1206334.6784 | 2689395.4597 | 1206331.6557 | 2689396.7946 | 1206327.851 | 2689399.5432 | 1206325.1237 | 2689420.9038 | 1206313.8941
17 | 2689439.4973 | 1206314.0387 | 2689440.0835 | 1206315.1659
18 | 2689489.6688 | 1206283.0794 | 2689478.7011 | 1206273.4669
19 | 2689376.4497 | 1206184.5188 | 2689374.3154 | 1206182.8401
20 | 2689376.4497 | 1206184.5188 | 2689381.2176 | 1206179.0199 | 2689385.4153 | 1206174.0128
21 | 2689500.7256 | 1206269.5695 | 2689507.3817 | 1206274.0945 | 2689514.9996 | 1206279.9125 | 2689525.315 | 1206271.7173 | 2689527.2281 | 1206269.9337
22 | 2689538.6302 | 1206259.2755 | 2689527.2281 | 1206269.9337
23 | 2689527.2281 | 1206269.9337 | 2689543.0005 | 1206283.1677
24 | 2689489.6688 | 1206283.0794 | 2689494.921 | 1206276.7317 | 2689500.7256 | 1206269.5695
25 | 2689500.7256 | 1206269.5695 | 2689493.3807 | 1206263.6731
26 | 2689538.6302 | 1206259.2755 | 2689556.6081 | 1206258.2564
27 | 2689538.6302 | 1206259.2755 | 2689542.9771 | 1206253.9594 | 2689545.4386 | 1206246.0466 | 2689550.2185 | 1206212.385
28 | 2689385.4153 | 1206174.0128 | 2689415.7801 | 1206200.8165
29 | 2689443.6311 | 1206225.4013 | 2689415.7801 | 1206200.8165
30 | 2689521.7307 | 1206313.9136 | 2689520.6683 | 1206321.8584
31 | 2689520.6683 | 1206321.8584 | 2689508.4915 | 1206326.8792 | 2689497.8876 | 1206327.4428 | 2689484.0813 | 1206333.1119
32 | 2689521.7307 | 1206313.9136 | 2689516.9795 | 1206306.6376 | 2689514.3949 | 1206304.4097
33 | 2689438.3522 | 1206351.8891 | 2689484.0813 | 1206333.1119
34 | 2689303.4238 | 1206225.9757 | 2689294.0323 | 1206214.6389 | 2689287.1311 | 1206199.5369 | 2689285.3436 | 1206189.3701 | 2689281.4293 | 1206150.0191 | 2689288.7997 | 1206150.0404 | 2689297.166 | 1206150.5992 | 2689307.9438 | 1206152.6729 | 2689333.1453 | 1206159.1875 | 2689364.6617 | 1206175.2474
35 | 2689303.4238 | 1206225.9757 | 2689314.8818 | 1206237.1508
36 | 2689364.6617 | 1206175.2474 | 2689374.3154 | 1206182.8401
37 | 2689335.4572 | 1206251.6309 | 2689328.7486 | 1206247.6132 | 2689316.2286 | 1206238.4643 | 2689314.8818 | 1206237.1508
38 | 2689550.2185 | 1206212.385 | 2689554.93 | 1206179.2339 | 2689575.49 | 1206161.5084 | 2689580.2255 | 1206159.7005 | 2689584.7099 | 1206159.4231 | 2689591.8742 | 1206161.0094 | 2689612.2592 | 1206168.12 | 2689619.7849 | 1206168.9335 | 2689620.2803 | 1206171.9095 | 2689628.521 | 1206180.828 | 2689635.3435 | 1206188.4576 | 2689638.5182 | 1206191.3072
39 | 2689550.2185 | 1206212.385 | 2689565.7135 | 1206214.7246
40 | 2689638.5182 | 1206191.3072 | 2689638.924 | 1206193.1589 | 2689638.9151 | 1206195.2713 | 2689638.3091 | 1206199.1536 | 2689635.8662 | 1206204.2981 | 2689633.7617 | 1206207.6799 | 2689629.36 | 1206210.5601 | 2689622.0631 | 1206210.7174
41 | 2689503.2227 | 1206294.7791 | 2689514.3949 | 1206304.4097
42 | 2689503.2227 | 1206294.7791 | 2689495.7671 | 1206288.3435
43 | 2689489.6688 | 1206283.0794 | 2689495.7671 | 1206288.3435
44 | 2689560.7842 | 1206258.0197 | 2689556.6081 | 1206258.2564

## bus_geodata
| x | y | coords
0 | 2689378.1622 | 1206331.3315
1 | 2689380.3934 | 1206337.7508
2 | 2689372.3279 | 1206304.93
3 | 2689386.1791 | 1206351.5916
4 | 2689372.1152 | 1206303.7879
5 | 2689371.4876 | 1206301.7291
6 | 2689363.0097 | 1206276.9767
7 | 2689417.5676 | 1206272.1577
8 | 2689418.3289 | 1206273.6093
9 | 2689431.2659 | 1206231.9374
10 | 2689435.4461 | 1206306.2489
11 | 2689451.2643 | 1206249.4202
12 | 2689411.7401 | 1206215.0466
13 | 2689420.9038 | 1206313.8941
14 | 2689439.4973 | 1206314.0387
15 | 2689478.7011 | 1206273.4669
16 | 2689376.4497 | 1206184.5188
17 | 2689527.2281 | 1206269.9337
18 | 2689500.7256 | 1206269.5695
19 | 2689538.6302 | 1206259.2755
20 | 2689543.0005 | 1206283.1677
21 | 2689385.4153 | 1206174.0128
22 | 2689415.7801 | 1206200.8165
23 | 2689520.6683 | 1206321.8584
24 | 2689521.7307 | 1206313.9136
25 | 2689484.0813 | 1206333.1119
26 | 2689303.4238 | 1206225.9757
27 | 2689364.6617 | 1206175.2474
28 | 2689314.8818 | 1206237.1508
29 | 2689374.3154 | 1206182.8401
30 | 2689550.2185 | 1206212.385
31 | 2689638.5182 | 1206191.3072
32 | 2689565.7135 | 1206214.7246
33 | 2689514.3949 | 1206304.4097
34 | 2689503.2227 | 1206294.7791
35 | 2689495.7671 | 1206288.3435
36 | 2689489.6688 | 1206283.0794
37 | 2689493.3807 | 1206263.6731
38 | 2689622.0631 | 1206210.7174
39 | 2689396.8444 | 1206334.6784
40 | 2689440.0835 | 1206315.1659
41 | 2689556.6081 | 1206258.2564
42 | 2689443.6311 | 1206225.4013
43 | 2689438.3522 | 1206351.8891
44 | 2689335.4572 | 1206251.6309
45 | 2689560.7842 | 1206258.0197
46 | 2689489.6688 | 1206283.0794

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97679 | -0.16322 | 0.0027303 | 0.00068427
1 | 0.97674 | -0.1636 | 0.0012604 | 0.00031588
2 | 0.97711 | -0.16092 | 0.0026375 | 0.00066102
3 | 0.97665 | -0.16425 | 0.0041221 | 0.0010331
4 | 0.97713 | -0.16079 | 0.0020888 | 0.0005235
5 | 0.97717 | -0.1605 | 0.0084311 | 0.002113
6 | 0.97799 | -0.15468 | 0.0022771 | 0.00057069
7 | 0.9914 | -0.059949 | 0.01672 | 0.0041905
8 | 0.99138 | -0.060105 | 0.0026511 | 0.00066443
9 | 0.99328 | -0.046706 | 0 | 0
10 | 0.99102 | -0.062633 | 0 | 0
11 | 0.99607 | -0.027237 | 0.00185 | 0.00046364
12 | 0.99154 | -0.058878 | 0.0029529 | 0.00074007
13 | 0.99092 | -0.06333 | 0.0023796 | 0.00059639
14 | 0.99099 | -0.062862 | 0.0013817 | 0.00034629
15 | 1 | 0 | -0.14601 | -0.036565
16 | 0.98859 | -0.079577 | 0 | 0
17 | 0.9954 | -0.032214 | 0 | 0
18 | 0.99729 | -0.018945 | 0 | 0
19 | 0.9947 | -0.037123 | 0 | 0
20 | 0.99515 | -0.033921 | 0.0082314 | 0.002063
21 | 0.98837 | -0.081128 | 0 | 0
22 | 0.98773 | -0.085679 | 0.0026531 | 0.00066494
23 | 0.99752 | -0.017359 | 0 | 0
24 | 0.99761 | -0.016712 | 0 | 0
25 | 0.99707 | -0.020485 | 0.0022647 | 0.00056759
26 | 0.98093 | -0.1337 | 0 | 0
27 | 0.98795 | -0.084055 | 0 | 0
28 | 0.98026 | -0.13843 | 0.0025185 | 0.00063119
29 | 0.98846 | -0.080481 | 0.0040954 | 0.0010264
30 | 0.99348 | -0.045672 | 0 | 0
31 | 0.99125 | -0.061397 | 0 | 0
32 | 0.99335 | -0.046596 | 0.0058316 | 0.0014615
33 | 0.99775 | -0.015736 | 0.0085461 | 0.0021418
34 | 0.9981 | -0.013283 | 0 | 0
35 | 0.99833 | -0.011646 | 0.0023542 | 0.00059002
36 | 0.99855 | -0.010117 | 0 | 0
37 | 0.99714 | -0.019981 | 0.010965 | 0.0027481
38 | 0.99076 | -0.06488 | 0.01137 | 0.0028496
39 | 0.99083 | -0.063975 | 0.0017919 | 0.00044909
40 | 0.99099 | -0.062878 | 0.00119 | 0.00029825
41 | 0.99434 | -0.039672 | 0.011767 | 0.002949
42 | 0.98728 | -0.088847 | 0.0083311 | 0.002088
43 | 0.99667 | -0.023352 | 0.005773 | 0.0014469
44 | 0.97931 | -0.14522 | 0.00238 | 0.00059648
45 | 0.99432 | -0.039767 | 0.0022571 | 0.00056568
46 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0053831 | 0.001349 | -0.0053829 | -0.0013489 | 2.8518e-07 | 2.462e-08 | 0.0082004 | 0.0082005 | 0.0082005 | 0.97679 | -0.16322 | 0.97674 | -0.1636 | 3.0372
1 | -0.0081134 | -0.0020332 | 0.008116 | 0.0020339 | 2.5824e-06 | 6.5401e-07 | 0.01236 | 0.01236 | 0.01236 | 0.97679 | -0.16322 | 0.97711 | -0.16092 | 4.5777
2 | 0.0041225 | 0.0010331 | -0.0041221 | -0.0010331 | 3.6962e-07 | -4.5781e-08 | 0.0062804 | 0.0062804 | 0.0062804 | 0.97674 | -0.1636 | 0.97665 | -0.16425 | 2.3261
3 | -0.010754 | -0.0026949 | 0.010754 | 0.002695 | 1.944e-07 | 6.0217e-08 | 0.016376 | 0.016376 | 0.016376 | 0.97711 | -0.16092 | 0.97713 | -0.16079 | 6.0652
4 | -0.012842 | -0.0032185 | 0.012843 | 0.0032186 | 5.1369e-07 | 1.7061e-07 | 0.019557 | 0.019557 | 0.019557 | 0.97713 | -0.16079 | 0.97717 | -0.1605 | 7.2433
5 | -0.021274 | -0.0053317 | 0.021291 | 0.0053379 | 1.7153e-05 | 6.2688e-06 | 0.032396 | 0.032396 | 0.032396 | 0.97717 | -0.1605 | 0.97799 | -0.15468 | 11.9984
6 | -0.023568 | -0.0059086 | 0.023599 | 0.00592 | 3.0915e-05 | 1.1406e-05 | 0.03586 | 0.03586 | 0.03586 | 0.97799 | -0.15468 | 0.97931 | -0.14522 | 13.2815
7 | 0.0093975 | 0.0023544 | -0.0093973 | -0.0023543 | 2.0348e-07 | 5.7126e-08 | 0.014105 | 0.014105 | 0.014105 | 0.9914 | -0.059949 | 0.99138 | -0.060105 | 5.2239
8 | -0.026118 | -0.0065449 | 0.026166 | 0.0065627 | 4.7957e-05 | 1.7799e-05 | 0.039201 | 0.0392 | 0.039201 | 0.9914 | -0.059949 | 0.99328 | -0.046706 | 14.5187
9 | 0.0067462 | 0.0016899 | -0.0067439 | -0.0016895 | 2.3579e-06 | 4.3184e-07 | 0.010125 | 0.010126 | 0.010126 | 0.99138 | -0.060105 | 0.99102 | -0.062633 | 3.7502
10 | -0.073176 | -0.018409 | 0.073375 | 0.018486 | 0.00019928 | 7.6301e-05 | 0.10965 | 0.10965 | 0.10965 | 0.99328 | -0.046706 | 0.99607 | -0.027237 | 40.6104
11 | 0.04701 | 0.011847 | -0.04693 | -0.011816 | 7.9954e-05 | 3.0418e-05 | 0.070448 | 0.070448 | 0.070448 | 0.99328 | -0.046706 | 0.99154 | -0.058878 | 26.0918
12 | 0.004172 | 0.001045 | -0.0041716 | -0.0010451 | 4.0228e-07 | -5.6946e-08 | 0.0062641 | 0.0062642 | 0.0062642 | 0.99102 | -0.062633 | 0.99092 | -0.06333 | 2.3201
13 | 0.0025718 | 0.00064444 | -0.0025717 | -0.00064452 | 8.1699e-08 | -8.1705e-08 | 0.0038615 | 0.0038616 | 0.0038616 | 0.99102 | -0.062633 | 0.99099 | -0.062862 | 1.4302
14 | -0.075225 | -0.018949 | 0.075513 | 0.019059 | 0.00028767 | 0.00011017 | 0.11241 | 0.11241 | 0.11241 | 0.99607 | -0.027237 | 1 | 0 | 41.6339
15 | 0.043977 | 0.011076 | -0.04385 | -0.011028 | 0.0001269 | 4.8207e-05 | 0.066016 | 0.066017 | 0.066017 | 0.99154 | -0.058878 | 0.98859 | -0.079577 | 24.4506
16 | 0.001792 | 0.00044869 | -0.0017919 | -0.00044909 | 1.5978e-07 | -3.9404e-07 | 0.0026908 | 0.002691 | 0.002691 | 0.99092 | -0.06333 | 0.99083 | -0.063975 | 0.99667
17 | 0.00119 | 0.00029823 | -0.00119 | -0.00029825 | 2.5315e-09 | -1.5396e-08 | 0.0017869 | 0.0017869 | 0.0017869 | 0.99099 | -0.062862 | 0.99099 | -0.062878 | 0.66181
18 | 0.069695 | 0.017506 | -0.069597 | -0.017468 | 9.7901e-05 | 3.7463e-05 | 0.10372 | 0.10372 | 0.10372 | 1 | 0 | 0.99855 | -0.010117 | 38.4151
19 | 0.032853 | 0.0082712 | -0.032849 | -0.0082696 | 4.1456e-06 | 1.5596e-06 | 0.049463 | 0.049463 | 0.049463 | 0.98859 | -0.079577 | 0.98846 | -0.080481 | 18.3198
20 | 0.010997 | 0.0027567 | -0.010995 | -0.002756 | 2.3616e-06 | 7.3125e-07 | 0.016553 | 0.016553 | 0.016553 | 0.98859 | -0.079577 | 0.98837 | -0.081128 | 6.1308
21 | -0.039537 | -0.0099157 | 0.039609 | 0.0099433 | 7.2862e-05 | 2.7588e-05 | 0.059105 | 0.059105 | 0.059105 | 0.9954 | -0.032214 | 0.99729 | -0.018945 | 21.8909
22 | 0.031303 | 0.0078523 | -0.031282 | -0.0078443 | 2.1299e-05 | 7.9896e-06 | 0.046798 | 0.046798 | 0.046798 | 0.9954 | -0.032214 | 0.9947 | -0.037123 | 17.3324
23 | 0.0082333 | 0.0020635 | -0.0082314 | -0.002063 | 1.9462e-06 | 4.8098e-07 | 0.012308 | 0.012308 | 0.012308 | 0.9954 | -0.032214 | 0.99515 | -0.033921 | 4.5585
24 | -0.050576 | -0.012692 | 0.050638 | 0.012716 | 6.2045e-05 | 2.3635e-05 | 0.075468 | 0.075468 | 0.075468 | 0.99729 | -0.018945 | 0.99855 | -0.010117 | 27.9512
25 | 0.010967 | 0.0027486 | -0.010965 | -0.0027481 | 1.5736e-06 | 4.8237e-07 | 0.016363 | 0.016363 | 0.016363 | 0.99729 | -0.018945 | 0.99714 | -0.019981 | 6.0604
26 | 0.014029 | 0.0035163 | -0.014024 | -0.0035146 | 4.9488e-06 | 1.6697e-06 | 0.020986 | 0.020986 | 0.020986 | 0.9947 | -0.037123 | 0.99434 | -0.039672 | 7.7728
27 | 0.017253 | 0.004328 | -0.017233 | -0.0043207 | 2.0433e-05 | 7.2217e-06 | 0.025811 | 0.025811 | 0.025811 | 0.9947 | -0.037123 | 0.99348 | -0.045672 | 9.5598
28 | 0.010995 | 0.002756 | -0.010988 | -0.0027539 | 6.9253e-06 | 2.1448e-06 | 0.016553 | 0.016553 | 0.016553 | 0.98837 | -0.081128 | 0.98773 | -0.085679 | 6.1309
29 | 0.0083348 | 0.0020889 | -0.0083311 | -0.002088 | 3.6549e-06 | 9.3046e-07 | 0.012556 | 0.012557 | 0.012557 | 0.98773 | -0.085679 | 0.98728 | -0.088847 | 4.6506
30 | -0.0080435 | -0.0020155 | 0.0080442 | 0.0020157 | 7.202e-07 | 1.7233e-07 | 0.011999 | 0.011998 | 0.011999 | 0.99752 | -0.017359 | 0.99761 | -0.016712 | 4.4439
31 | 0.0080435 | 0.0020155 | -0.00804 | -0.0020147 | 3.478e-06 | 8.3251e-07 | 0.011999 | 0.011999 | 0.011999 | 0.99752 | -0.017359 | 0.99707 | -0.020485 | 4.444
32 | -0.0080442 | -0.0020157 | 0.0080453 | 0.0020159 | 1.0872e-06 | 2.6011e-07 | 0.011998 | 0.011998 | 0.011998 | 0.99761 | -0.016712 | 0.99775 | -0.015736 | 4.4439
33 | 0.0057753 | 0.0014471 | -0.005773 | -0.0014469 | 2.2915e-06 | 2.3687e-07 | 0.0086189 | 0.0086191 | 0.0086191 | 0.99707 | -0.020485 | 0.99667 | -0.023352 | 3.1923
34 | -0.028541 | -0.0071638 | 0.028739 | 0.0072378 | 0.00019809 | 7.4035e-05 | 0.043299 | 0.043298 | 0.043299 | 0.98093 | -0.1337 | 0.98795 | -0.084055 | 16.0367
35 | 0.028541 | 0.0071638 | -0.028522 | -0.0071568 | 1.8724e-05 | 6.9997e-06 | 0.043299 | 0.043299 | 0.043299 | 0.98093 | -0.1337 | 0.98026 | -0.13843 | 16.0367
36 | -0.028739 | -0.0072378 | 0.028753 | 0.0072432 | 1.4368e-05 | 5.3687e-06 | 0.043298 | 0.043298 | 0.043298 | 0.98795 | -0.084055 | 0.98846 | -0.080481 | 16.0364
37 | 0.026004 | 0.0065256 | -0.025979 | -0.0065165 | 2.4512e-05 | 9.1104e-06 | 0.039476 | 0.039476 | 0.039476 | 0.98026 | -0.13843 | 0.97931 | -0.14522 | 14.6208
38 | 0.0114 | 0.0028591 | -0.011376 | -0.0028513 | 2.481e-05 | 7.7805e-06 | 0.017076 | 0.017076 | 0.017076 | 0.99348 | -0.045672 | 0.99125 | -0.061397 | 6.3246
39 | 0.0058324 | 0.0014616 | -0.0058316 | -0.0014615 | 7.4621e-07 | 8.4113e-08 | 0.0087356 | 0.0087357 | 0.0087357 | 0.99348 | -0.045672 | 0.99335 | -0.046596 | 3.2354
40 | 0.011376 | 0.0028513 | -0.01137 | -0.0028496 | 5.4844e-06 | 1.721e-06 | 0.017076 | 0.017077 | 0.017077 | 0.99125 | -0.061397 | 0.99076 | -0.06488 | 6.3247
41 | -0.016591 | -0.0041578 | 0.016597 | 0.0041598 | 5.6352e-06 | 1.9747e-06 | 0.024744 | 0.024744 | 0.024744 | 0.99775 | -0.015736 | 0.9981 | -0.013283 | 9.1644
42 | -0.016597 | -0.0041598 | 0.016601 | 0.0041611 | 3.7627e-06 | 1.3185e-06 | 0.024744 | 0.024744 | 0.024744 | 0.9981 | -0.013283 | 0.99833 | -0.011646 | 9.1643
43 | -0.018955 | -0.0047511 | 0.018959 | 0.0047526 | 4.0126e-06 | 1.4379e-06 | 0.028253 | 0.028253 | 0.028253 | 0.99833 | -0.011646 | 0.99855 | -0.010117 | 10.4639
44 | 0.0022571 | 0.00056564 | -0.0022571 | -0.00056568 | 2.9779e-08 | -4.2801e-08 | 0.0033778 | 0.0033778 | 0.0033778 | 0.99434 | -0.039672 | 0.99432 | -0.039767 | 1.251

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.14948 | 0.037436

## res_load
| p_mw | q_mvar
0 | 0.0027303 | 0.00068427
1 | 0.0012604 | 0.00031588
2 | 0.0026375 | 0.00066102
3 | 0.0041221 | 0.0010331
4 | 0.0020888 | 0.0005235
5 | 0.0084311 | 0.002113
6 | 0.0022771 | 0.00057069
7 | 0.01672 | 0.0041905
8 | 0.0026511 | 0.00066443
9 | 0.00185 | 0.00046364
10 | 0.0029529 | 0.00074007
11 | 0.0023796 | 0.00059639
12 | 0.0013817 | 0.00034629
13 | 0.0034758 | 0.00087113
14 | 0.0082314 | 0.002063
15 | 0.0026531 | 0.00066494
16 | 0.0022647 | 0.00056759
17 | 0.0025185 | 0.00063119
18 | 0.0040954 | 0.0010264
19 | 0.0058316 | 0.0014615
20 | 0.0085461 | 0.0021418
21 | 0.0023542 | 0.00059002
22 | 0.010965 | 0.0027481
23 | 0.01137 | 0.0028496
24 | 0.0017919 | 0.00044909
25 | 0.00119 | 0.00029825
26 | 0.011767 | 0.002949
27 | 0.0083311 | 0.002088
28 | 0.005773 | 0.0014469
29 | 0.00238 | 0.00059648
30 | 0.0022571 | 0.00056568

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1