## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1364-53_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1364-53_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1364-53_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1364-53_0_3_node_68 | 0.4 | n |  | TRUE
4 | bus_LV_1364-53_0_3_node_56 | 0.4 | n |  | TRUE
5 | bus_LV_1364-53_0_3_node_29 | 0.4 | n |  | TRUE
6 | bus_LV_1364-53_0_3_node_30 | 0.4 | n |  | TRUE
7 | bus_LV_1364-53_0_3_node_37 | 0.4 | n |  | TRUE
8 | bus_LV_1364-53_0_3_node_35 | 0.4 | n |  | TRUE
9 | bus_LV_1364-53_0_3_node_3 | 0.4 | n |  | TRUE
10 | bus_LV_1364-53_0_3_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_1364-53_0_3_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_1364-53_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_1364-53_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_1364-53_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1364-53_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1364-53_0_3_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_1364-53_0_3_node_50 | 0.4 | n |  | TRUE
18 | bus_LV_1364-53_0_3_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_1364-53_0_3_node_33 | 0.4 | n |  | TRUE
20 | bus_LV_1364-53_0_3_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_1364-53_0_3_node_11 | 0.4 | n |  | TRUE
22 | bus_LV_1364-53_0_3_node_51 | 0.4 | n |  | TRUE
23 | bus_LV_1364-53_0_3_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_1364-53_0_3_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_1364-53_0_3_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_1364-53_0_3_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_1364-53_0_3_node_52 | 0.4 | n |  | TRUE
28 | bus_LV_1364-53_0_3_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_1364-53_0_3_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_1364-53_0_3_node_54 | 0.4 | n |  | TRUE
31 | bus_LV_1364-53_0_3_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_1364-53_0_3_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_1364-53_0_3_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_1364-53_0_3_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_1364-53_0_3_node_59 | 0.4 | n |  | TRUE
36 | bus_LV_1364-53_0_3_node_16 | 0.4 | n |  | TRUE
37 | bus_LV_1364-53_0_3_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_1364-53_0_3_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_1364-53_0_3_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_1364-53_0_3_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_1364-53_0_3_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_1364-53_0_3_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_1364-53_0_3_node_48 | 0.4 | n |  | TRUE
44 | bus_LV_1364-53_0_3_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_1364-53_0_3_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_1364-53_0_3_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_1364-53_0_3_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_1364-53_0_3_node_64 | 0.4 | n |  | TRUE
49 | bus_LV_1364-53_0_3_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_1364-53_0_3_node_62 | 0.4 | n |  | TRUE
51 | bus_LV_1364-53_0_3_node_63 | 0.4 | n |  | TRUE
52 | bus_LV_1364-53_0_3_node_60 | 0.4 | n |  | TRUE
53 | bus_LV_1364-53_0_3_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_1364-53_0_3_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_1364-53_0_3_node_46 | 0.4 | n |  | TRUE
56 | bus_LV_1364-53_0_3_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_1364-53_0_3_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_1364-53_0_3_node_61 | 0.4 | n |  | TRUE
59 | bus_LV_1364-53_0_3_node_27 | 0.4 | n |  | TRUE
60 | bus_LV_1364-53_0_3_node_65 | 0.4 | n |  | TRUE
61 | bus_LV_1364-53_0_3_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_1364-53_0_3_node_28 | 0.4 | n |  | TRUE
63 | bus_LV_1364-53_0_3_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_1364-53_0_3_node_66 | 0.4 | n |  | TRUE
65 | bus_LV_1364-53_0_3_node_67 | 0.4 | n |  | TRUE
66 | bus_LV_1364-53_0_3_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_1364-53_0_3_node_53 | 0.4 | n |  | TRUE
68 | bus_MV_133_0_node_121 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1364-53_0_3_load_0 | 0 | 0.0014982 | 0.00037549 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1364-53_0_3_load_1 | 1 | 0.001305 | 0.00032706 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1364-53_0_3_load_68 | 3 | 0.0022852 | 0.00057273 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1364-53_0_3_load_29 | 5 | 0.002263 | 0.00056716 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1364-53_0_3_load_30 | 6 | 0.0062447 | 0.0015651 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1364-53_0_3_load_37 | 7 | 0.0029674 | 0.00074369 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1364-53_0_3_load_35 | 8 | 0.0020323 | 0.00050935 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1364-53_0_3_load_3 | 9 | 0.0026803 | 0.00067175 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1364-53_0_3_load_4 | 10 | 0.0026797 | 0.00067159 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1364-53_0_3_load_9 | 15 | 0.0026811 | 0.00067196 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1364-53_0_3_load_12 | 16 | 0.0053826 | 0.001349 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1364-53_0_3_load_50 | 17 | 0.0026965 | 0.0006758 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1364-53_0_3_load_33 | 19 | 0.0032426 | 0.00081267 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1364-53_0_3_load_19 | 20 | 0.004926 | 0.0012346 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1364-53_0_3_load_11 | 21 | 0.0047915 | 0.0012009 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1364-53_0_3_load_51 | 22 | 0.0022941 | 0.00057495 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1364-53_0_3_load_15 | 25 | 0.0050274 | 0.00126 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1364-53_0_3_load_14 | 26 | 0.0026685 | 0.00066879 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1364-53_0_3_load_52 | 27 | 0.0048963 | 0.0012271 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1364-53_0_3_load_32 | 28 | 0.0056701 | 0.0014211 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1364-53_0_3_load_17 | 29 | 0.0054877 | 0.0013753 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1364-53_0_3_load_54 | 30 | 0.0026134 | 0.00065497 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1364-53_0_3_load_25 | 31 | 0.010204 | 0.0025573 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1364-53_0_3_load_31 | 32 | 0.0025961 | 0.00065064 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1364-53_0_3_load_34 | 33 | 0.0057327 | 0.0014367 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1364-53_0_3_load_36 | 34 | 0.0038486 | 0.00096455 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1364-53_0_3_load_59 | 35 | 0.0011392 | 0.00028551 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1364-53_0_3_load_16 | 36 | 0.0088717 | 0.0022234 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1364-53_0_3_load_20 | 37 | 0.0097255 | 0.0024374 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1364-53_0_3_load_26 | 39 | 0.009535 | 0.0023897 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1364-53_0_3_load_22 | 40 | 0.0071876 | 0.0018014 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1364-53_0_3_load_21 | 41 | 0.012704 | 0.003184 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1364-53_0_3_load_23 | 42 | 0.0052745 | 0.0013219 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1364-53_0_3_load_39 | 44 | 0.0078745 | 0.0019735 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1364-53_0_3_load_40 | 45 | 0.0053823 | 0.0013489 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1364-53_0_3_load_41 | 46 | 0.0062248 | 0.0015601 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1364-53_0_3_load_43 | 47 | 0.0064995 | 0.0016289 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1364-53_0_3_load_64 | 48 | 0.0044904 | 0.0011254 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1364-53_0_3_load_63 | 51 | 0.002721 | 0.00068195 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1364-53_0_3_load_38 | 53 | 0.004876 | 0.0012221 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1364-53_0_3_load_46 | 55 | 0.0030997 | 0.00077686 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1364-53_0_3_load_49 | 57 | 0.0023727 | 0.00059466 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1364-53_0_3_load_61 | 58 | 0.0050962 | 0.0012772 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1364-53_0_3_load_27 | 59 | 0.0014623 | 0.00036648 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1364-53_0_3_load_65 | 60 | 0.0033268 | 0.00083377 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1364-53_0_3_load_47 | 61 | 0.0055012 | 0.0013787 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1364-53_0_3_load_58 | 63 | 0.0041051 | 0.0010288 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1364-53_0_3_load_67 | 65 | 0.00091583 | 0.00022953 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1364-53_0_3_load_53 | 67 | 0.0039619 | 0.00099295 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 57 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1364-53_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.017363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1364-53_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.014513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1364-53_0_3_line_2 | NAYY 4x150 SE | 2 | 7 | 0.15697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1364-53_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.028001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1364-53_0_3_line_4 | NAYY 4x150 SE | 4 | 65 | 0.015061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1364-53_0_3_line_5 | NAYY 4x150 SE | 4 | 66 | 0.029984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1364-53_0_3_line_6 | NAYY 4x150 SE | 5 | 6 | 0.0012438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1364-53_0_3_line_7 | NAYY 4x150 SE | 6 | 32 | 0.025084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1364-53_0_3_line_8 | NAYY 4x150 SE | 7 | 8 | 0.0010614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1364-53_0_3_line_9 | NAYY 4x150 SE | 8 | 33 | 0.015916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1364-53_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.04356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1364-53_0_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.02184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1364-53_0_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.014493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1364-53_0_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.020944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1364-53_0_3_line_14 | NAYY 4x150 SE | 11 | 14 | 0.06025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1364-53_0_3_line_15 | NAYY 4x150 SE | 12 | 15 | 0.023216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1364-53_0_3_line_16 | NAYY 4x150 SE | 13 | 16 | 0.018834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1364-53_0_3_line_17 | NAYY 4x150 SE | 14 | 17 | 0.025624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1364-53_0_3_line_18 | NAYY 4x150 SE | 16 | 21 | 0.023777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1364-53_0_3_line_19 | NAYY 4x150 SE | 17 | 22 | 0.0011758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1364-53_0_3_line_20 | NAYY 4x150 SE | 18 | 19 | 0.018619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1364-53_0_3_line_21 | NAYY 4x150 SE | 18 | 20 | 0.048069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1364-53_0_3_line_22 | NAYY 4x150 SE | 20 | 23 | 0.010253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1364-53_0_3_line_23 | NAYY 4x150 SE | 21 | 24 | 0.013972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1364-53_0_3_line_24 | NAYY 4x150 SE | 23 | 37 | 0.023248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1364-53_0_3_line_25 | NAYY 4x150 SE | 23 | 36 | 0.039913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1364-53_0_3_line_26 | NAYY 4x150 SE | 24 | 25 | 0.01615 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1364-53_0_3_line_27 | NAYY 4x150 SE | 25 | 29 | 0.016944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1364-53_0_3_line_28 | NAYY 4x150 SE | 26 | 27 | 0.029941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1364-53_0_3_line_29 | NAYY 4x150 SE | 26 | 28 | 0.011414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1364-53_0_3_line_30 | NAYY 4x150 SE | 27 | 30 | 0.020576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1364-53_0_3_line_31 | NAYY 4x150 SE | 27 | 31 | 0.024807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1364-53_0_3_line_32 | NAYY 4x150 SE | 28 | 32 | 0.011098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1364-53_0_3_line_33 | NAYY 4x150 SE | 29 | 36 | 0.0064196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1364-53_0_3_line_34 | NAYY 4x150 SE | 31 | 57 | 0.020829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_1364-53_0_3_line_35 | NAYY 4x150 SE | 31 | 42 | 0.021488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_1364-53_0_3_line_36 | NAYY 4x150 SE | 32 | 67 | 0.041663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1364-53_0_3_line_37 | NAYY 4x150 SE | 33 | 34 | 0.035269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1364-53_0_3_line_38 | NAYY 4x150 SE | 33 | 35 | 0.055497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1364-53_0_3_line_39 | NAYY 4x150 SE | 34 | 53 | 0.00043435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1364-53_0_3_line_40 | NAYY 4x150 SE | 37 | 38 | 0.014965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1364-53_0_3_line_41 | NAYY 4x150 SE | 38 | 39 | 0.011465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1364-53_0_3_line_42 | NAYY 4x150 SE | 38 | 40 | 0.025357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1364-53_0_3_line_43 | NAYY 4x150 SE | 39 | 59 | 0.035149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1364-53_0_3_line_44 | NAYY 4x150 SE | 40 | 43 | 0.027947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1364-53_0_3_line_45 | NAYY 4x150 SE | 40 | 41 | 0.01367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1364-53_0_3_line_46 | NAYY 4x150 SE | 41 | 42 | 0.010091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_1364-53_0_3_line_47 | NAYY 4x150 SE | 42 | 44 | 0.070098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1364-53_0_3_line_48 | NAYY 4x150 SE | 43 | 55 | 0.025934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1364-53_0_3_line_49 | NAYY 4x150 SE | 44 | 45 | 0.027948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1364-53_0_3_line_50 | NAYY 4x150 SE | 45 | 46 | 0.023066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1364-53_0_3_line_51 | NAYY 4x150 SE | 46 | 49 | 0.012072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1364-53_0_3_line_52 | NAYY 4x150 SE | 47 | 48 | 0.034871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1364-53_0_3_line_53 | NAYY 4x150 SE | 47 | 49 | 0.038881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1364-53_0_3_line_54 | NAYY 4x150 SE | 49 | 54 | 0.056145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1364-53_0_3_line_55 | NAYY 4x150 SE | 50 | 51 | 0.048942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1364-53_0_3_line_56 | NAYY 4x150 SE | 50 | 52 | 0.042576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1364-53_0_3_line_57 | NAYY 4x150 SE | 50 | 53 | 0.074024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1364-53_0_3_line_58 | NAYY 4x150 SE | 51 | 56 | 0.039885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1364-53_0_3_line_59 | NAYY 4x150 SE | 52 | 58 | 0.017553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1364-53_0_3_line_60 | NAYY 4x150 SE | 54 | 56 | 0.017967 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1364-53_0_3_line_61 | NAYY 4x150 SE | 55 | 61 | 0.0079165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1364-53_0_3_line_62 | NAYY 4x150 SE | 59 | 60 | 0.041497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1364-53_0_3_line_63 | NAYY 4x150 SE | 60 | 64 | 0.041297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1364-53_0_3_line_64 | NAYY 4x150 SE | 62 | 63 | 0.030006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1364-53_0_3_line_65 | NAYY 4x150 SE | 62 | 64 | 0.04378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1364-53_0_3_line_66 | NAYY 4x150 SE | 66 | 67 | 0.016705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1364-53_0_3_trafo_49 | 0.25 MVA 20/0.4 kV | 68 | 57 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2688113.2312 | 1206557.3984 | 2688118.5771 | 1206558.7133 | 2688128.3733 | 1206552.0313
1 | 2688142.1326 | 1206556.6485 | 2688128.3733 | 1206552.0313
2 | 2688296.6517 | 1206529.0467 | 2688142.1326 | 1206556.6485
3 | 2688254.208 | 1206443.3409 | 2688233.2861 | 1206424.6639
4 | 2688254.208 | 1206443.3409 | 2688251.2991 | 1206437.9165 | 2688249.4432 | 1206429.2057
5 | 2688277.4412 | 1206461.0403 | 2688276.7532 | 1206458.7064 | 2688261.7396 | 1206450.9461 | 2688254.208 | 1206443.3409
6 | 2688305.5404 | 1206416.0707 | 2688306.3648 | 1206417.0021
7 | 2688325.0927 | 1206433.3983 | 2688321.7563 | 1206431.5875 | 2688313.479 | 1206425.0385 | 2688306.3648 | 1206417.0021
8 | 2688296.6517 | 1206529.0467 | 2688297.6924 | 1206529.2556
9 | 2688313.2974 | 1206532.3874 | 2688297.6924 | 1206529.2556
10 | 2688344.5434 | 1206354.7733 | 2688384.7154 | 1206371.617
11 | 2688324.0247 | 1206348.222 | 2688328.8777 | 1206348.2048 | 2688344.5434 | 1206354.7733
12 | 2688398.4392 | 1206376.2304 | 2688388.4443 | 1206373.1804 | 2688384.7154 | 1206371.617
13 | 2688324.0247 | 1206348.222 | 2688329.3309 | 1206354.0709 | 2688336.9933 | 1206364.6579
14 | 2688324.0247 | 1206348.222 | 2688282.9939 | 1206328.38 | 2688277.7474 | 1206324.6666 | 2688275.5638 | 1206321.6212 | 2688274.5886 | 1206317.1039
15 | 2688398.4392 | 1206376.2304 | 2688400.3151 | 1206371.7997 | 2688407.9485 | 1206355.0527
16 | 2688336.9933 | 1206364.6579 | 2688338.4246 | 1206371.7615 | 2688341.6074 | 1206380.2586 | 2688343.6153 | 1206381.7714
17 | 2688274.5886 | 1206317.1039 | 2688270.8759 | 1206317.1601 | 2688265.715 | 1206315.883 | 2688250.5794 | 1206309.0798
18 | 2688343.6153 | 1206381.7714 | 2688362.6056 | 1206396.0793
19 | 2688250.5794 | 1206309.0798 | 2688249.507 | 1206308.5977
20 | 2688484.1548 | 1206385.8396 | 2688489.6849 | 1206386.8333 | 2688502.2695 | 1206390.0933
21 | 2688484.1548 | 1206385.8396 | 2688479.8162 | 1206414.7721 | 2688470.0477 | 1206413.3931 | 2688461.1362 | 1206414.1941
22 | 2688452.73 | 1206417.4058 | 2688453.589 | 1206414.8724 | 2688461.1362 | 1206414.1941
23 | 2688374.6402 | 1206402.8956 | 2688368.6572 | 1206400.6389 | 2688362.6056 | 1206396.0793
24 | 2688452.73 | 1206417.4058 | 2688458.3148 | 1206419.8346 | 2688461.6353 | 1206423.1415 | 2688465.9751 | 1206430.0325 | 2688467.0261 | 1206434.2309
25 | 2688452.73 | 1206417.4058 | 2688413.4883 | 1206410.1141
26 | 2688374.6402 | 1206402.8956 | 2688390.518 | 1206405.8459
27 | 2688407.1767 | 1206408.9414 | 2688390.518 | 1206405.8459
28 | 2688345.9555 | 1206441.5742 | 2688351.7704 | 1206443.3615 | 2688375.1268 | 1206448.2255
29 | 2688345.9555 | 1206441.5742 | 2688335.0478 | 1206438.2129
30 | 2688375.1268 | 1206448.2255 | 2688365.2864 | 1206466.2957
31 | 2688375.1268 | 1206448.2255 | 2688399.4131 | 1206453.2832
32 | 2688325.0927 | 1206433.3983 | 2688332.5387 | 1206437.4397 | 2688335.0478 | 1206438.2129
33 | 2688407.1767 | 1206408.9414 | 2688413.4883 | 1206410.1141
34 | 2688399.4131 | 1206453.2832 | 2688390.9313 | 1206472.3067
35 | 2688399.4131 | 1206453.2832 | 2688420.4501 | 1206457.6642
36 | 2688325.0927 | 1206433.3983 | 2688294.1446 | 1206461.2917
37 | 2688313.2974 | 1206532.3874 | 2688331.1031 | 1206535.9608 | 2688346.7022 | 1206542.9869
38 | 2688313.2974 | 1206532.3874 | 2688311.3425 | 1206587.8501
39 | 2688346.7022 | 1206542.9869 | 2688347.0982 | 1206543.1653
40 | 2688465.9545 | 1206448.8668 | 2688467.5631 | 1206443.4871 | 2688467.7631 | 1206437.1748 | 2688467.0261 | 1206434.2309
41 | 2688465.9545 | 1206448.8668 | 2688477.4174 | 1206449.0636
42 | 2688465.9545 | 1206448.8668 | 2688462.4251 | 1206452.4724 | 2688443.851 | 1206460.6916
43 | 2688506.6046 | 1206455.5968 | 2688499.5032 | 1206455.6351 | 2688499.2605 | 1206449.4385 | 2688477.4174 | 1206449.0636
44 | 2688443.851 | 1206460.6916 | 2688448.9276 | 1206488.1737
45 | 2688430.3291 | 1206459.7215 | 2688436.7795 | 1206461.0649 | 2688443.851 | 1206460.6916
46 | 2688420.4501 | 1206457.6642 | 2688430.3291 | 1206459.7215
47 | 2688420.4501 | 1206457.6642 | 2688406.3898 | 1206526.3375
48 | 2688448.9276 | 1206488.1737 | 2688450.1445 | 1206489.7149 | 2688464.5529 | 1206491.0737 | 2688474.0395 | 1206491.5467
49 | 2688406.3898 | 1206526.3375 | 2688431.3106 | 1206538.9888
50 | 2688450.2073 | 1206552.0513 | 2688437.6759 | 1206542.2202 | 2688431.3106 | 1206538.9888
51 | 2688459.7051 | 1206559.5023 | 2688450.2073 | 1206552.0513
52 | 2688393.6225 | 1206527.3248 | 2688409.3389 | 1206537.9311 | 2688423.9644 | 1206544.195
53 | 2688459.7051 | 1206559.5023 | 2688423.9644 | 1206544.195
54 | 2688513.1489 | 1206572.514 | 2688508.573 | 1206574.3696 | 2688473.4528 | 1206565.3988 | 2688459.7051 | 1206559.5023
55 | 2688414.5915 | 1206573.5656 | 2688421.1155 | 1206573.1731 | 2688437.4655 | 1206575.4056 | 2688462.1055 | 1206583.4016
56 | 2688414.5915 | 1206573.5656 | 2688389.2364 | 1206607.7682
57 | 2688414.5915 | 1206573.5656 | 2688347.0982 | 1206543.1653
58 | 2688500.3082 | 1206584.4426 | 2688493.1491 | 1206588.1612 | 2688484.7022 | 1206588.9698 | 2688473.0798 | 1206586.963 | 2688462.1055 | 1206583.4016
59 | 2688389.2364 | 1206607.7682 | 2688377.4272 | 1206594.7515
60 | 2688513.1489 | 1206572.514 | 2688508.573 | 1206574.3696 | 2688500.3082 | 1206584.4426
61 | 2688474.0395 | 1206491.5467 | 2688476.2955 | 1206491.6592 | 2688481.951 | 1206491.5028
62 | 2688506.6046 | 1206455.5968 | 2688507.8354 | 1206497.0761
63 | 2688548.5091 | 1206493.0417 | 2688547.0411 | 1206493.5536 | 2688532.8241 | 1206495.1883 | 2688515.5082 | 1206494.4756 | 2688507.8354 | 1206497.0761
64 | 2688548.9762 | 1206449.2644 | 2688540.1788 | 1206450.6126 | 2688535.4587 | 1206451.4209 | 2688519.1415 | 1206451.3451
65 | 2688548.9762 | 1206449.2644 | 2688548.5091 | 1206493.0417
66 | 2688277.4412 | 1206461.0403 | 2688294.1446 | 1206461.2917

## bus_geodata
| x | y | coords
0 | 2688113.2312 | 1206557.3984
1 | 2688128.3733 | 1206552.0313
2 | 2688142.1326 | 1206556.6485
3 | 2688233.2861 | 1206424.6639
4 | 2688254.208 | 1206443.3409
5 | 2688305.5404 | 1206416.0707
6 | 2688306.3648 | 1206417.0021
7 | 2688296.6517 | 1206529.0467
8 | 2688297.6924 | 1206529.2556
9 | 2688344.5434 | 1206354.7733
10 | 2688384.7154 | 1206371.617
11 | 2688324.0247 | 1206348.222
12 | 2688398.4392 | 1206376.2304
13 | 2688336.9933 | 1206364.6579
14 | 2688274.5886 | 1206317.1039
15 | 2688407.9485 | 1206355.0527
16 | 2688343.6153 | 1206381.7714
17 | 2688250.5794 | 1206309.0798
18 | 2688484.1548 | 1206385.8396
19 | 2688502.2695 | 1206390.0933
20 | 2688461.1362 | 1206414.1941
21 | 2688362.6056 | 1206396.0793
22 | 2688249.507 | 1206308.5977
23 | 2688452.73 | 1206417.4058
24 | 2688374.6402 | 1206402.8956
25 | 2688390.518 | 1206405.8459
26 | 2688345.9555 | 1206441.5742
27 | 2688375.1268 | 1206448.2255
28 | 2688335.0478 | 1206438.2129
29 | 2688407.1767 | 1206408.9414
30 | 2688365.2864 | 1206466.2957
31 | 2688399.4131 | 1206453.2832
32 | 2688325.0927 | 1206433.3983
33 | 2688313.2974 | 1206532.3874
34 | 2688346.7022 | 1206542.9869
35 | 2688311.3425 | 1206587.8501
36 | 2688413.4883 | 1206410.1141
37 | 2688467.0261 | 1206434.2309
38 | 2688465.9545 | 1206448.8668
39 | 2688477.4174 | 1206449.0636
40 | 2688443.851 | 1206460.6916
41 | 2688430.3291 | 1206459.7215
42 | 2688420.4501 | 1206457.6642
43 | 2688448.9276 | 1206488.1737
44 | 2688406.3898 | 1206526.3375
45 | 2688431.3106 | 1206538.9888
46 | 2688450.2073 | 1206552.0513
47 | 2688423.9644 | 1206544.195
48 | 2688393.6225 | 1206527.3248
49 | 2688459.7051 | 1206559.5023
50 | 2688414.5914 | 1206573.5656
51 | 2688462.1055 | 1206583.4016
52 | 2688389.2364 | 1206607.7682
53 | 2688347.0982 | 1206543.1653
54 | 2688513.1489 | 1206572.514
55 | 2688474.0395 | 1206491.5467
56 | 2688500.3082 | 1206584.4426
57 | 2688390.9313 | 1206472.3067
58 | 2688377.4272 | 1206594.7515
59 | 2688506.6046 | 1206455.5968
60 | 2688507.8354 | 1206497.0761
61 | 2688481.951 | 1206491.5028
62 | 2688548.9762 | 1206449.2644
63 | 2688519.1415 | 1206451.3451
64 | 2688548.5091 | 1206493.0417
65 | 2688249.4432 | 1206429.2057
66 | 2688277.4412 | 1206461.0403
67 | 2688294.1446 | 1206461.2917
68 | 2688448.9276 | 1206488.1737

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97276 | -0.19205 | 0.0014982 | 0.00037549
1 | 0.9728 | -0.19177 | 0.001305 | 0.00032706
2 | 0.97286 | -0.19134 | 0 | 0
3 | 0.99404 | -0.041693 | 0.0022852 | 0.00057273
4 | 0.99413 | -0.041047 | 0 | 0
5 | 0.99446 | -0.038701 | 0.002263 | 0.00056716
6 | 0.99447 | -0.038672 | 0.0062447 | 0.0015651
7 | 0.97351 | -0.18669 | 0.0029674 | 0.00074369
8 | 0.97351 | -0.18663 | 0.0020323 | 0.00050935
9 | 0.98038 | -0.13796 | 0.0026803 | 0.00067175
10 | 0.98004 | -0.14039 | 0.0026797 | 0.00067159
11 | 0.98064 | -0.13613 | 0 | 0
12 | 0.97999 | -0.14079 | 0 | 0
13 | 0.98104 | -0.1333 | 0 | 0
14 | 0.9802 | -0.13926 | 0 | 0
15 | 0.9799 | -0.14144 | 0.0026811 | 0.00067196
16 | 0.98139 | -0.13075 | 0.0053826 | 0.001349
17 | 0.98002 | -0.14059 | 0.0026965 | 0.0006758
18 | 0.98618 | -0.09677 | 0 | 0
19 | 0.98609 | -0.09739 | 0.0032426 | 0.00081267
20 | 0.9864 | -0.095169 | 0.004926 | 0.0012346
21 | 0.98203 | -0.12621 | 0.0047915 | 0.0012009
22 | 0.98001 | -0.14061 | 0.0022941 | 0.00057495
23 | 0.98652 | -0.094309 | 0 | 0
24 | 0.9825 | -0.12285 | 0 | 0
25 | 0.98305 | -0.11897 | 0.0050274 | 0.00126
26 | 0.99545 | -0.031719 | 0.0026685 | 0.00066879
27 | 0.99659 | -0.023699 | 0.0048963 | 0.0012271
28 | 0.99506 | -0.034473 | 0.0056701 | 0.0014211
29 | 0.98374 | -0.11403 | 0.0054877 | 0.0013753
30 | 0.99652 | -0.02424 | 0.0026134 | 0.00065497
31 | 0.99781 | -0.015199 | 0.010204 | 0.0025573
32 | 0.99477 | -0.036519 | 0.0025961 | 0.00065064
33 | 0.9737 | -0.18531 | 0.0057327 | 0.0014367
34 | 0.97445 | -0.17986 | 0.0038486 | 0.00096455
35 | 0.9736 | -0.18598 | 0.0011392 | 0.00028551
36 | 0.98405 | -0.1118 | 0.0088717 | 0.0022234
37 | 0.98823 | -0.082218 | 0.0097255 | 0.0024374
38 | 0.98954 | -0.072973 | 0 | 0
39 | 0.98924 | -0.07513 | 0.009535 | 0.0023897
40 | 0.99244 | -0.052621 | 0.0071876 | 0.0018014
41 | 0.99431 | -0.039517 | 0.012704 | 0.003184
42 | 0.9951 | -0.034047 | 0.0052745 | 0.0013219
43 | 0.9921 | -0.055059 | 0 | 0
44 | 0.98881 | -0.077959 | 0.0078745 | 0.0019735
45 | 0.98662 | -0.093364 | 0.0053823 | 0.0013489
46 | 0.98499 | -0.10485 | 0.0062248 | 0.0015601
47 | 0.98363 | -0.11451 | 0.0064995 | 0.0016289
48 | 0.9834 | -0.11613 | 0.0044904 | 0.0011254
49 | 0.98424 | -0.11011 | 0 | 0
50 | 0.977 | -0.16159 | 0 | 0
51 | 0.97904 | -0.14702 | 0.002721 | 0.00068195
52 | 0.97668 | -0.16387 | 0 | 0
53 | 0.97447 | -0.17978 | 0.004876 | 0.0012221
54 | 0.98168 | -0.12824 | 0 | 0
55 | 0.99177 | -0.057322 | 0.0030997 | 0.00077686
56 | 0.98086 | -0.13406 | 0 | 0
57 | 1 | 0 | -0.22228 | -0.055859
58 | 0.97655 | -0.1648 | 0.0050962 | 0.0012772
59 | 0.98879 | -0.078325 | 0.0014623 | 0.00036648
60 | 0.98834 | -0.081481 | 0.0033268 | 0.00083377
61 | 0.99171 | -0.057764 | 0.0055012 | 0.0013787
62 | 0.98784 | -0.085057 | 0 | 0
63 | 0.98766 | -0.086317 | 0.0041051 | 0.0010288
64 | 0.9881 | -0.083217 | 0 | 0
65 | 0.99411 | -0.041186 | 0.00091583 | 0.00022953
66 | 0.99427 | -0.040076 | 0 | 0
67 | 0.99434 | -0.039535 | 0.0039619 | 0.00099295
68 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0014982 | -0.00037549 | 0.0014983 | 0.0003753 | 5.6907e-08 | -1.9368e-07 | 0.0022918 | 0.0022917 | 0.0022918 | 0.97276 | -0.19205 | 0.9728 | -0.19177 | 0.84882
1 | -0.0028033 | -0.00070236 | 0.0028035 | 0.00070225 | 1.6651e-07 | -1.1616e-07 | 0.0042879 | 0.0042878 | 0.0042879 | 0.9728 | -0.19177 | 0.97286 | -0.19134 | 1.5881
2 | -0.0028035 | -0.00070225 | 0.0028053 | 0.00070099 | 1.8005e-06 | -1.2578e-06 | 0.0042878 | 0.0042871 | 0.0042878 | 0.97286 | -0.19134 | 0.97351 | -0.18669 | 1.5881
3 | -0.0022852 | -0.00057273 | 0.0022854 | 0.00057244 | 2.0446e-07 | -2.8438e-07 | 0.0034208 | 0.0034207 | 0.0034208 | 0.99404 | -0.041693 | 0.99413 | -0.041047 | 1.267
4 | 0.00091585 | 0.00022934 | -0.00091583 | -0.00022953 | 1.7661e-08 | -1.8849e-07 | 0.0013708 | 0.0013708 | 0.0013708 | 0.99413 | -0.041047 | 0.99411 | -0.041186 | 0.50772
5 | -0.0032013 | -0.00080178 | 0.0032017 | 0.00080156 | 4.2953e-07 | -2.2361e-07 | 0.0047915 | 0.0047913 | 0.0047915 | 0.99413 | -0.041047 | 0.99427 | -0.040076 | 1.7746
6 | -0.002263 | -0.00056716 | 0.002263 | 0.00056714 | 8.899e-09 | -1.2715e-08 | 0.0033861 | 0.0033861 | 0.0033861 | 0.99446 | -0.038701 | 0.99447 | -0.038672 | 1.2541
7 | -0.0085077 | -0.0021322 | 0.0085103 | 0.0021329 | 2.5365e-06 | 6.5003e-07 | 0.01273 | 0.01273 | 0.01273 | 0.99447 | -0.038672 | 0.99477 | -0.036519 | 4.7148
8 | -0.0057726 | -0.0014447 | 0.0057727 | 0.0014447 | 5.1555e-08 | 6.6321e-09 | 0.0088228 | 0.0088228 | 0.0088228 | 0.97351 | -0.18669 | 0.97351 | -0.18663 | 3.2677
9 | -0.007805 | -0.001954 | 0.0078064 | 0.0019544 | 1.4133e-06 | 3.4566e-07 | 0.011929 | 0.011929 | 0.011929 | 0.97351 | -0.18663 | 0.9737 | -0.18531 | 4.4182
10 | 0.005363 | 0.0013434 | -0.0053612 | -0.0013432 | 1.8009e-06 | 1.4357e-07 | 0.0081396 | 0.0081398 | 0.0081398 | 0.98038 | -0.13796 | 0.98004 | -0.14039 | 3.0147
11 | -0.0080433 | -0.0020151 | 0.0080453 | 0.0020156 | 2.031e-06 | 5.0568e-07 | 0.012208 | 0.012208 | 0.012208 | 0.98038 | -0.13796 | 0.98064 | -0.13613 | 4.5214
12 | 0.0026815 | 0.00067163 | -0.0026814 | -0.00067176 | 1.499e-07 | -1.2496e-07 | 0.0040712 | 0.0040713 | 0.0040713 | 0.98004 | -0.14039 | 0.97999 | -0.14079 | 1.5079
13 | -0.013039 | -0.0032665 | 0.013044 | 0.0032682 | 5.1157e-06 | 1.7032e-06 | 0.019785 | 0.019785 | 0.019785 | 0.98064 | -0.13613 | 0.98104 | -0.1333 | 7.3277
14 | 0.0049936 | 0.0012508 | -0.0049915 | -0.0012508 | 2.1585e-06 | 7.042e-08 | 0.0075771 | 0.0075773 | 0.0075773 | 0.98064 | -0.13613 | 0.9802 | -0.13926 | 2.8064
15 | 0.0026814 | 0.00067176 | -0.0026811 | -0.00067196 | 2.4013e-07 | -2.0012e-07 | 0.0040713 | 0.0040714 | 0.0040714 | 0.97999 | -0.14079 | 0.9799 | -0.14144 | 1.5079
16 | -0.013044 | -0.0032682 | 0.013049 | 0.0032697 | 4.6003e-06 | 1.5314e-06 | 0.019785 | 0.019785 | 0.019785 | 0.98104 | -0.1333 | 0.98139 | -0.13075 | 7.3277
17 | 0.0049915 | 0.0012508 | -0.0049906 | -0.0012507 | 9.1806e-07 | 3.0173e-08 | 0.0075773 | 0.0075775 | 0.0075775 | 0.9802 | -0.13926 | 0.98002 | -0.14059 | 2.8065
18 | -0.018431 | -0.0046187 | 0.018443 | 0.0046229 | 1.1587e-05 | 4.156e-06 | 0.027946 | 0.027946 | 0.027946 | 0.98139 | -0.13075 | 0.98203 | -0.12621 | 10.3503
19 | 0.0022941 | 0.00057494 | -0.0022941 | -0.00057495 | 8.9018e-09 | -1.1391e-08 | 0.0034833 | 0.0034833 | 0.0034833 | 0.98002 | -0.14059 | 0.98001 | -0.14061 | 1.2901
20 | 0.0032429 | 0.00081254 | -0.0032426 | -0.00081267 | 2.7816e-07 | -1.3055e-07 | 0.004893 | 0.0048931 | 0.0048931 | 0.98618 | -0.09677 | 0.98609 | -0.09739 | 1.8123
21 | -0.0032429 | -0.00081254 | 0.0032436 | 0.0008122 | 7.1809e-07 | -3.3726e-07 | 0.004893 | 0.0048928 | 0.004893 | 0.98618 | -0.09677 | 0.9864 | -0.095169 | 1.8122
22 | -0.0081696 | -0.0020468 | 0.0081706 | 0.002047 | 9.7167e-07 | 2.4283e-07 | 0.012324 | 0.012324 | 0.012324 | 0.9864 | -0.095169 | 0.98652 | -0.094309 | 4.5644
23 | -0.023234 | -0.0058237 | 0.023245 | 0.0058277 | 1.0806e-05 | 3.9793e-06 | 0.035206 | 0.035206 | 0.035206 | 0.98203 | -0.12621 | 0.9825 | -0.12285 | 13.0393
24 | -0.050949 | -0.012789 | 0.051034 | 0.012821 | 8.5687e-05 | 3.2659e-05 | 0.076855 | 0.076855 | 0.076855 | 0.98652 | -0.094309 | 0.98823 | -0.082218 | 28.4649
25 | 0.042778 | 0.010742 | -0.042674 | -0.010702 | 0.00010372 | 3.9382e-05 | 0.064531 | 0.064532 | 0.064532 | 0.98652 | -0.094309 | 0.98405 | -0.1118 | 23.9006
26 | -0.023245 | -0.0058277 | 0.023258 | 0.0058323 | 1.249e-05 | 4.5994e-06 | 0.035206 | 0.035206 | 0.035206 | 0.9825 | -0.12285 | 0.98305 | -0.11897 | 13.0393
27 | -0.028285 | -0.0070923 | 0.028305 | 0.0070995 | 1.9382e-05 | 7.2398e-06 | 0.042816 | 0.042816 | 0.042816 | 0.98305 | -0.11897 | 0.98374 | -0.11403 | 15.8577
28 | -0.026626 | -0.0066735 | 0.026656 | 0.0066845 | 2.9596e-05 | 1.0994e-05 | 0.039801 | 0.039801 | 0.039801 | 0.99545 | -0.031719 | 0.99659 | -0.023699 | 14.7411
29 | 0.023958 | 0.0060048 | -0.023948 | -0.0060014 | 9.1343e-06 | 3.3649e-06 | 0.035812 | 0.035812 | 0.035812 | 0.99545 | -0.031719 | 0.99506 | -0.034473 | 13.2638
30 | 0.0026136 | 0.00065478 | -0.0026134 | -0.00065497 | 1.9551e-07 | -1.9289e-07 | 0.0039022 | 0.0039023 | 0.0039023 | 0.99659 | -0.023699 | 0.99652 | -0.02424 | 1.4453
31 | -0.034166 | -0.0085665 | 0.034206 | 0.0085816 | 4.0285e-05 | 1.517e-05 | 0.051014 | 0.051014 | 0.051014 | 0.99659 | -0.023699 | 0.99781 | -0.015199 | 18.894
32 | 0.018278 | 0.0045803 | -0.018273 | -0.0045785 | 5.1736e-06 | 1.8457e-06 | 0.027333 | 0.027333 | 0.027333 | 0.99506 | -0.034473 | 0.99477 | -0.036519 | 10.1234
33 | -0.033792 | -0.0084749 | 0.033803 | 0.0084788 | 1.0467e-05 | 3.9442e-06 | 0.051116 | 0.051116 | 0.051116 | 0.98374 | -0.11403 | 0.98405 | -0.1118 | 18.932
34 | -0.22101 | -0.055678 | 0.22148 | 0.055859 | 0.00047092 | 0.00018031 | 0.3297 | 0.3297 | 0.3297 | 0.99781 | -0.015199 | 1 | 0 | 40.7031
35 | 0.1766 | 0.04454 | -0.17614 | -0.044361 | 0.00046538 | 0.00017843 | 0.26346 | 0.26347 | 0.26347 | 0.99781 | -0.015199 | 0.9951 | -0.034047 | 48.7898
36 | 0.0071668 | 0.001795 | -0.0071638 | -0.0017944 | 2.9877e-06 | 6.0845e-07 | 0.01072 | 0.01072 | 0.01072 | 0.99477 | -0.036519 | 0.99434 | -0.039535 | 3.9704
37 | -0.014678 | -0.003676 | 0.014689 | 0.0036798 | 1.1073e-05 | 3.8198e-06 | 0.022431 | 0.022431 | 0.022431 | 0.9737 | -0.18531 | 0.97445 | -0.17986 | 8.3077
38 | 0.0011393 | 0.00028486 | -0.0011392 | -0.00028551 | 1.0496e-07 | -6.4985e-07 | 0.0017408 | 0.0017411 | 0.0017411 | 0.9737 | -0.18531 | 0.9736 | -0.18598 | 0.64484
39 | -0.018538 | -0.0046444 | 0.018538 | 0.0046444 | 2.1719e-07 | 7.8122e-08 | 0.028307 | 0.028307 | 0.028307 | 0.97445 | -0.17986 | 0.97447 | -0.17978 | 10.4842
40 | -0.06076 | -0.015259 | 0.060838 | 0.015289 | 7.8182e-05 | 2.9878e-05 | 0.091499 | 0.091499 | 0.091499 | 0.98823 | -0.082218 | 0.98954 | -0.072973 | 33.8886
41 | 0.018445 | 0.0046221 | -0.018439 | -0.0046201 | 5.5032e-06 | 1.9694e-06 | 0.027736 | 0.027736 | 0.027736 | 0.98954 | -0.072973 | 0.98924 | -0.07513 | 10.2724
42 | -0.079283 | -0.019911 | 0.079507 | 0.019997 | 0.00022495 | 8.6192e-05 | 0.11923 | 0.11923 | 0.11923 | 0.98954 | -0.072973 | 0.99244 | -0.052621 | 44.161
43 | 0.008904 | 0.0022304 | -0.0089001 | -0.0022294 | 3.9342e-06 | 1.0621e-06 | 0.013393 | 0.013393 | 0.013393 | 0.98924 | -0.07513 | 0.98879 | -0.078325 | 4.9604
44 | 0.0086069 | 0.0021571 | -0.008604 | -0.0021563 | 2.9042e-06 | 7.5599e-07 | 0.012905 | 0.012905 | 0.012905 | 0.99244 | -0.052621 | 0.9921 | -0.055059 | 4.7796
45 | -0.095302 | -0.023955 | 0.095476 | 0.024022 | 0.00017423 | 6.6834e-05 | 0.14292 | 0.14292 | 0.14292 | 0.99244 | -0.052621 | 0.99431 | -0.039517 | 52.9318
46 | -0.10818 | -0.027206 | 0.10826 | 0.027238 | 8.2552e-05 | 3.1489e-05 | 0.16193 | 0.16193 | 0.16193 | 0.99431 | -0.039517 | 0.9951 | -0.034047 | 29.9867
47 | 0.062601 | 0.015802 | -0.062217 | -0.015655 | 0.00038363 | 0.00014664 | 0.09365 | 0.09365 | 0.09365 | 0.9951 | -0.034047 | 0.98881 | -0.077959 | 34.6854
48 | 0.008604 | 0.0021563 | -0.0086013 | -0.0021556 | 2.6951e-06 | 7.0179e-07 | 0.012905 | 0.012905 | 0.012905 | 0.9921 | -0.055059 | 0.99177 | -0.057322 | 4.7796
49 | 0.054343 | 0.013681 | -0.054226 | -0.013637 | 0.00011669 | 4.4525e-05 | 0.0818 | 0.081801 | 0.081801 | 0.98881 | -0.077959 | 0.98662 | -0.093364 | 30.2965
50 | 0.048844 | 0.012288 | -0.048766 | -0.012258 | 7.8144e-05 | 2.9761e-05 | 0.073683 | 0.073683 | 0.073683 | 0.98662 | -0.093364 | 0.98499 | -0.10485 | 27.29
51 | 0.042541 | 0.010698 | -0.04251 | -0.010686 | 3.1124e-05 | 1.1817e-05 | 0.064279 | 0.064279 | 0.064279 | 0.98499 | -0.10485 | 0.98424 | -0.11011 | 23.8071
52 | 0.0044914 | 0.0011253 | -0.0044904 | -0.0011254 | 1.0045e-06 | -5.6169e-08 | 0.0067944 | 0.0067945 | 0.0067945 | 0.98363 | -0.11451 | 0.9834 | -0.11613 | 2.5165
53 | -0.010991 | -0.0027542 | 0.010998 | 0.0027563 | 6.7069e-06 | 2.0858e-06 | 0.016627 | 0.016626 | 0.016627 | 0.98363 | -0.11451 | 0.98424 | -0.11011 | 6.158
54 | 0.031512 | 0.0079299 | -0.031433 | -0.0079 | 7.9556e-05 | 2.9887e-05 | 0.047653 | 0.047653 | 0.047653 | 0.98424 | -0.11011 | 0.98168 | -0.12824 | 17.6493
55 | -0.028572 | -0.0071656 | 0.02863 | 0.0071872 | 5.7837e-05 | 2.1631e-05 | 0.043518 | 0.043518 | 0.043518 | 0.977 | -0.16159 | 0.97904 | -0.14702 | 16.1178
56 | 0.0050985 | 0.0012774 | -0.0050969 | -0.0012773 | 1.6019e-06 | 8.314e-08 | 0.0077651 | 0.0077653 | 0.0077653 | 0.977 | -0.16159 | 0.97668 | -0.16387 | 2.876
57 | 0.023473 | 0.0058883 | -0.023414 | -0.0058665 | 5.9045e-05 | 2.1785e-05 | 0.035753 | 0.035753 | 0.035753 | 0.977 | -0.16159 | 0.97447 | -0.17978 | 13.2419
58 | -0.031351 | -0.0078692 | 0.031407 | 0.0078904 | 5.6517e-05 | 2.1235e-05 | 0.047653 | 0.047653 | 0.047653 | 0.97904 | -0.14702 | 0.98086 | -0.13406 | 17.6494
59 | 0.0050969 | 0.0012773 | -0.0050962 | -0.0012772 | 6.6047e-07 | 3.4386e-08 | 0.0077653 | 0.0077653 | 0.0077653 | 0.97668 | -0.16387 | 0.97655 | -0.1648 | 2.876
60 | 0.031433 | 0.0079 | -0.031407 | -0.0078904 | 2.546e-05 | 9.5652e-06 | 0.047653 | 0.047653 | 0.047653 | 0.98168 | -0.12824 | 0.98086 | -0.13406 | 17.6493
61 | 0.0055016 | 0.0013788 | -0.0055012 | -0.0013787 | 3.3657e-07 | 2.73e-08 | 0.0082543 | 0.0082543 | 0.0082543 | 0.99177 | -0.057322 | 0.99171 | -0.057764 | 3.0572
62 | 0.0074378 | 0.0018629 | -0.0074346 | -0.0018622 | 3.244e-06 | 7.1565e-07 | 0.011193 | 0.011193 | 0.011193 | 0.98879 | -0.078325 | 0.98834 | -0.081481 | 4.1455
63 | 0.0041078 | 0.0010284 | -0.0041068 | -0.0010286 | 9.8556e-07 | -1.5004e-07 | 0.0061842 | 0.0061844 | 0.0061844 | 0.98834 | -0.081481 | 0.9881 | -0.083217 | 2.2905
64 | 0.0041058 | 0.0010287 | -0.0041051 | -0.0010288 | 7.1618e-07 | -1.0862e-07 | 0.0061846 | 0.0061847 | 0.0061847 | 0.98784 | -0.085057 | 0.98766 | -0.086317 | 2.2906
65 | -0.0041058 | -0.0010287 | 0.0041068 | 0.0010286 | 1.0449e-06 | -1.5875e-07 | 0.0061846 | 0.0061844 | 0.0061846 | 0.98784 | -0.085057 | 0.9881 | -0.083217 | 2.2906
66 | -0.0032017 | -0.00080156 | 0.0032019 | 0.00080143 | 2.393e-07 | -1.2463e-07 | 0.0047913 | 0.0047912 | 0.0047913 | 0.99427 | -0.040076 | 0.99434 | -0.039535 | 1.7746

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.22466 | 0.056454

## res_load
| p_mw | q_mvar
0 | 0.0014982 | 0.00037549
1 | 0.001305 | 0.00032706
2 | 0.0022852 | 0.00057273
3 | 0.002263 | 0.00056716
4 | 0.0062447 | 0.0015651
5 | 0.0029674 | 0.00074369
6 | 0.0020323 | 0.00050935
7 | 0.0026803 | 0.00067175
8 | 0.0026797 | 0.00067159
9 | 0.0026811 | 0.00067196
10 | 0.0053826 | 0.001349
11 | 0.0026965 | 0.0006758
12 | 0.0032426 | 0.00081267
13 | 0.004926 | 0.0012346
14 | 0.0047915 | 0.0012009
15 | 0.0022941 | 0.00057495
16 | 0.0050274 | 0.00126
17 | 0.0026685 | 0.00066879
18 | 0.0048963 | 0.0012271
19 | 0.0056701 | 0.0014211
20 | 0.0054877 | 0.0013753
21 | 0.0026134 | 0.00065497
22 | 0.010204 | 0.0025573
23 | 0.0025961 | 0.00065064
24 | 0.0057327 | 0.0014367
25 | 0.0038486 | 0.00096455
26 | 0.0011392 | 0.00028551
27 | 0.0088717 | 0.0022234
28 | 0.0097255 | 0.0024374
29 | 0.009535 | 0.0023897
30 | 0.0071876 | 0.0018014
31 | 0.012704 | 0.003184
32 | 0.0052745 | 0.0013219
33 | 0.0078745 | 0.0019735
34 | 0.0053823 | 0.0013489
35 | 0.0062248 | 0.0015601
36 | 0.0064995 | 0.0016289
37 | 0.0044904 | 0.0011254
38 | 0.002721 | 0.00068195
39 | 0.004876 | 0.0012221
40 | 0.0030997 | 0.00077686
41 | 0.0023727 | 0.00059466
42 | 0.0050962 | 0.0012772
43 | 0.0014623 | 0.00036648
44 | 0.0033268 | 0.00083377
45 | 0.0055012 | 0.0013787
46 | 0.0041051 | 0.0010288
47 | 0.00091583 | 0.00022953
48 | 0.0039619 | 0.00099295

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1