## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1364-56_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1364-56_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1364-56_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1364-56_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1364-56_0_4_node_19 | 0.4 | n |  | TRUE
5 | bus_LV_1364-56_0_4_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_1364-56_0_4_node_29 | 0.4 | n |  | TRUE
7 | bus_LV_1364-56_0_4_node_26 | 0.4 | n |  | TRUE
8 | bus_LV_1364-56_0_4_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1364-56_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1364-56_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1364-56_0_4_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1364-56_0_4_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_1364-56_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_1364-56_0_4_node_43 | 0.4 | n |  | TRUE
15 | bus_LV_1364-56_0_4_node_28 | 0.4 | n |  | TRUE
16 | bus_LV_1364-56_0_4_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_1364-56_0_4_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1364-56_0_4_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1364-56_0_4_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_1364-56_0_4_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_1364-56_0_4_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_1364-56_0_4_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_1364-56_0_4_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_1364-56_0_4_node_52 | 0.4 | n |  | TRUE
25 | bus_LV_1364-56_0_4_node_51 | 0.4 | n |  | TRUE
26 | bus_LV_1364-56_0_4_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_1364-56_0_4_node_30 | 0.4 | n |  | TRUE
28 | bus_LV_1364-56_0_4_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_1364-56_0_4_node_54 | 0.4 | n |  | TRUE
30 | bus_LV_1364-56_0_4_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_1364-56_0_4_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_1364-56_0_4_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_1364-56_0_4_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_1364-56_0_4_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_1364-56_0_4_node_53 | 0.4 | n |  | TRUE
36 | bus_LV_1364-56_0_4_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_1364-56_0_4_node_45 | 0.4 | n |  | TRUE
38 | bus_LV_1364-56_0_4_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_1364-56_0_4_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_1364-56_0_4_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_1364-56_0_4_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_1364-56_0_4_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_1364-56_0_4_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_1364-56_0_4_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_1364-56_0_4_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_1364-56_0_4_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_1364-56_0_4_node_47 | 0.4 | n |  | TRUE
48 | bus_LV_1364-56_0_4_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_1364-56_0_4_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_1364-56_0_4_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_1364-56_0_4_node_49 | 0.4 | n |  | TRUE
52 | bus_MV_133_0_node_134 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1364-56_0_4_load_0 | 0 | 0.0038427 | 0.00096307 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1364-56_0_4_load_3 | 2 | 0.002907 | 0.00072856 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1364-56_0_4_load_4 | 3 | 0.0022067 | 0.00055305 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1364-56_0_4_load_17 | 5 | 0.0045148 | 0.0011315 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1364-56_0_4_load_29 | 6 | 0.0040894 | 0.0010249 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1364-56_0_4_load_5 | 8 | 0.002923 | 0.00073256 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1364-56_0_4_load_6 | 9 | 0.0034189 | 0.00085687 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1364-56_0_4_load_7 | 10 | 0.0017541 | 0.00043961 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1364-56_0_4_load_8 | 11 | 0.004287 | 0.0010744 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1364-56_0_4_load_9 | 12 | 0.0011745 | 0.00029435 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1364-56_0_4_load_43 | 14 | 0.0045519 | 0.0011408 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1364-56_0_4_load_28 | 15 | 0.005966 | 0.0014952 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1364-56_0_4_load_11 | 17 | 0.0028184 | 0.00070637 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1364-56_0_4_load_12 | 18 | 0.0030821 | 0.00077245 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1364-56_0_4_load_14 | 20 | 0.0079124 | 0.001983 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1364-56_0_4_load_27 | 23 | 0.0048559 | 0.001217 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1364-56_0_4_load_52 | 24 | 0.01033 | 0.002589 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1364-56_0_4_load_51 | 25 | 0.001834 | 0.00045964 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1364-56_0_4_load_20 | 26 | 0.0036254 | 0.00090862 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1364-56_0_4_load_30 | 27 | 0.0034692 | 0.00086947 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1364-56_0_4_load_21 | 28 | 0.011702 | 0.0029328 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1364-56_0_4_load_54 | 29 | 0.0061792 | 0.0015486 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1364-56_0_4_load_22 | 30 | 0.0033787 | 0.00084679 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1364-56_0_4_load_53 | 35 | 0.006879 | 0.001724 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1364-56_0_4_load_44 | 36 | 0.010612 | 0.0026597 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1364-56_0_4_load_45 | 37 | 0.0044098 | 0.0011052 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1364-56_0_4_load_38 | 38 | 0.0039614 | 0.00099283 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1364-56_0_4_load_33 | 39 | 0.0051739 | 0.0012967 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1364-56_0_4_load_32 | 40 | 0.0042573 | 0.001067 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1364-56_0_4_load_40 | 42 | 0.0047789 | 0.0011977 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1364-56_0_4_load_37 | 43 | 0.0055591 | 0.0013932 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1364-56_0_4_load_35 | 44 | 0.0038253 | 0.00095871 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1364-56_0_4_load_36 | 45 | 0.0035767 | 0.0008964 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1364-56_0_4_load_46 | 46 | 0.0043228 | 0.0010834 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1364-56_0_4_load_47 | 47 | 0.0052892 | 0.0013256 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1364-56_0_4_load_41 | 48 | 0.0030699 | 0.00076938 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1364-56_0_4_load_42 | 49 | 0.004498 | 0.0011273 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1364-56_0_4_load_48 | 50 | 0.00547 | 0.0013709 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1364-56_0_4_load_49 | 51 | 0.0085856 | 0.0021518 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 41 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1364-56_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0042763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1364-56_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.0098231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1364-56_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.019449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1364-56_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.038624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1364-56_0_4_line_4 | NAYY 4x150 SE | 3 | 6 | 0.046092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1364-56_0_4_line_5 | NAYY 4x150 SE | 4 | 5 | 0.065035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1364-56_0_4_line_6 | NAYY 4x150 SE | 5 | 22 | 0.064451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1364-56_0_4_line_7 | NAYY 4x150 SE | 6 | 7 | 0.034885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1364-56_0_4_line_8 | NAYY 4x150 SE | 7 | 31 | 0.005571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1364-56_0_4_line_9 | NAYY 4x150 SE | 8 | 9 | 0.022835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1364-56_0_4_line_10 | NAYY 4x150 SE | 8 | 10 | 0.016358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1364-56_0_4_line_11 | NAYY 4x150 SE | 9 | 11 | 0.0076479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1364-56_0_4_line_12 | NAYY 4x150 SE | 10 | 12 | 0.0094386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1364-56_0_4_line_13 | NAYY 4x150 SE | 11 | 13 | 0.023637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1364-56_0_4_line_14 | NAYY 4x150 SE | 12 | 14 | 0.0025716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1364-56_0_4_line_15 | NAYY 4x150 SE | 13 | 15 | 0.0063583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1364-56_0_4_line_16 | NAYY 4x150 SE | 15 | 16 | 0.079886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1364-56_0_4_line_17 | NAYY 4x150 SE | 16 | 19 | 0.088586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1364-56_0_4_line_18 | NAYY 4x150 SE | 17 | 18 | 0.036125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1364-56_0_4_line_19 | NAYY 4x150 SE | 17 | 19 | 0.047375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1364-56_0_4_line_20 | NAYY 4x150 SE | 18 | 20 | 0.024395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1364-56_0_4_line_21 | NAYY 4x150 SE | 19 | 21 | 0.013017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1364-56_0_4_line_22 | NAYY 4x150 SE | 21 | 22 | 0.004926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1364-56_0_4_line_23 | NAYY 4x150 SE | 21 | 23 | 0.022955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1364-56_0_4_line_24 | NAYY 4x150 SE | 22 | 26 | 0.016807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1364-56_0_4_line_25 | NAYY 4x150 SE | 24 | 25 | 0.052432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1364-56_0_4_line_26 | NAYY 4x150 SE | 25 | 49 | 0.052586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1364-56_0_4_line_27 | NAYY 4x150 SE | 26 | 27 | 0.046156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1364-56_0_4_line_28 | NAYY 4x150 SE | 27 | 32 | 0.0078796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1364-56_0_4_line_29 | NAYY 4x150 SE | 28 | 29 | 0.0071697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1364-56_0_4_line_30 | NAYY 4x150 SE | 29 | 33 | 0.032304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1364-56_0_4_line_31 | NAYY 4x150 SE | 30 | 31 | 0.053265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1364-56_0_4_line_32 | NAYY 4x150 SE | 31 | 34 | 0.010598 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1364-56_0_4_line_33 | NAYY 4x150 SE | 32 | 33 | 0.033481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1364-56_0_4_line_34 | NAYY 4x150 SE | 32 | 40 | 0.021203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1364-56_0_4_line_35 | NAYY 4x150 SE | 33 | 41 | 0.009411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_1364-56_0_4_line_36 | NAYY 4x150 SE | 34 | 35 | 0.035685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1364-56_0_4_line_37 | NAYY 4x150 SE | 36 | 37 | 0.0068278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1364-56_0_4_line_38 | NAYY 4x150 SE | 36 | 38 | 0.057653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1364-56_0_4_line_39 | NAYY 4x150 SE | 37 | 46 | 0.018088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1364-56_0_4_line_40 | NAYY 4x150 SE | 38 | 45 | 0.0048639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1364-56_0_4_line_41 | NAYY 4x150 SE | 39 | 40 | 0.04162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1364-56_0_4_line_42 | NAYY 4x150 SE | 41 | 42 | 0.028569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1364-56_0_4_line_43 | NAYY 4x150 SE | 41 | 43 | 0.023328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1364-56_0_4_line_44 | NAYY 4x150 SE | 43 | 44 | 0.011247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1364-56_0_4_line_45 | NAYY 4x150 SE | 44 | 45 | 0.012964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1364-56_0_4_line_46 | NAYY 4x150 SE | 46 | 47 | 0.010492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1364-56_0_4_line_47 | NAYY 4x150 SE | 47 | 50 | 0.027793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1364-56_0_4_line_48 | NAYY 4x150 SE | 47 | 48 | 0.072033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1364-56_0_4_line_49 | NAYY 4x150 SE | 48 | 49 | 0.012776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1364-56_0_4_line_50 | NAYY 4x150 SE | 50 | 51 | 0.0020156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1364-56_0_4_trafo_39 | 0.25 MVA 20/0.4 kV | 52 | 41 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2688557.318 | 1206449.3993 | 2688553.7943 | 1206448.5131 | 2688553.1591 | 1206448.6121
1 | 2688557.318 | 1206449.3993 | 2688548.8748 | 1206454.4197
2 | 2688557.318 | 1206449.3993 | 2688569.459 | 1206444.1537 | 2688575.6317 | 1206443.3627
3 | 2688548.5091 | 1206493.0417 | 2688548.8748 | 1206454.4197
4 | 2688575.6317 | 1206443.3627 | 2688578.6342 | 1206442.9779 | 2688586.8769 | 1206445.1794 | 2688607.118 | 1206457.8881 | 2688614.5912 | 1206460.6897 | 2688617.2417 | 1206460.7685
5 | 2688548.5091 | 1206493.0417 | 2688547.0411 | 1206493.5536 | 2688532.8241 | 1206495.1883 | 2688515.5082 | 1206494.4756 | 2688505.0736 | 1206498.0121 | 2688502.0743 | 1206499.7243 | 2688500.1442 | 1206503.1869 | 2688498.8432 | 1206516.5273
6 | 2688513.1489 | 1206572.514 | 2688512.5387 | 1206536.2256 | 2688499.204 | 1206529.657 | 2688498.0632 | 1206524.5256 | 2688498.8432 | 1206516.5273
7 | 2688649.3434 | 1206448.8978 | 2688630.7651 | 1206458.9175 | 2688622.8097 | 1206460.9341 | 2688617.2417 | 1206460.7685
8 | 2688649.3434 | 1206448.8978 | 2688648.3143 | 1206443.4234
9 | 2688526.9659 | 1206635.1877 | 2688505.6338 | 1206627.0393
10 | 2688526.9659 | 1206635.1877 | 2688535.0668 | 1206638.2821 | 2688542.6107 | 1206639.7565
11 | 2688498.4894 | 1206624.3102 | 2688505.6338 | 1206627.0393
12 | 2688542.6107 | 1206639.7565 | 2688551.8741 | 1206641.5669
13 | 2688476.4084 | 1206615.8757 | 2688498.4894 | 1206624.3102
14 | 2688554.3979 | 1206642.0602 | 2688551.8741 | 1206641.5669
15 | 2688476.4084 | 1206615.8757 | 2688471.4411 | 1206611.9065
16 | 2688414.5915 | 1206573.5656 | 2688412.4029 | 1206576.0015 | 2688411.4107 | 1206579.3112 | 2688411.6697 | 1206583.3954 | 2688414.4604 | 1206586.5166 | 2688418.8385 | 1206588.2492 | 2688434.4521 | 1206588.3361 | 2688441.286 | 1206589.6159 | 2688448.1678 | 1206593.3092 | 2688471.4411 | 1206611.9065
17 | 2688500.3082 | 1206584.4426 | 2688493.1491 | 1206588.1612 | 2688484.7022 | 1206588.9698 | 2688473.0798 | 1206586.963 | 2688437.4655 | 1206575.4056 | 2688421.1155 | 1206573.1731 | 2688414.5915 | 1206573.5656
18 | 2688580.0988 | 1206608.3147 | 2688574.508 | 1206607.1911 | 2688545.3678 | 1206598.4512
19 | 2688500.3082 | 1206584.4426 | 2688504.241 | 1206586.9692 | 2688540.3047 | 1206596.9326 | 2688545.3678 | 1206598.4512
20 | 2688604.3682 | 1206610.2917 | 2688585.2004 | 1206609.34 | 2688580.0988 | 1206608.3147
21 | 2688508.573 | 1206574.3696 | 2688500.3082 | 1206584.4426
22 | 2688513.1489 | 1206572.514 | 2688508.573 | 1206574.3696
23 | 2688508.573 | 1206574.3696 | 2688486.3323 | 1206568.6886
24 | 2688513.1489 | 1206572.514 | 2688529.8867 | 1206574.0367
25 | 2688702.366 | 1206658.623 | 2688699.3091 | 1206660.6233 | 2688687.8477 | 1206669.8035 | 2688677.1091 | 1206675.8925 | 2688671.4798 | 1206676.9874 | 2688665.6587 | 1206676.6563 | 2688655.9667 | 1206673.53
26 | 2688703.7459 | 1206606.0554 | 2688702.366 | 1206658.623
27 | 2688529.8867 | 1206574.0367 | 2688573.3139 | 1206577.9876 | 2688575.8605 | 1206577.8786
28 | 2688583.733 | 1206577.5418 | 2688575.8605 | 1206577.8786
29 | 2688599.0472 | 1206537.3427 | 2688601.6328 | 1206544.0299 | 2688601.6328 | 1206544.0299
30 | 2688615.7445 | 1206567.9216 | 2688611.7755 | 1206559.1236 | 2688614.7328 | 1206553.0747 | 2688601.6328 | 1206544.0299
31 | 2688648.3143 | 1206443.4234 | 2688640.1622 | 1206442.2905 | 2688599.6022 | 1206428.246 | 2688597.6305 | 1206427.4894
32 | 2688648.3143 | 1206443.4234 | 2688658.7668 | 1206445.3465
33 | 2688583.733 | 1206577.5418 | 2688587.6448 | 1206577.3775 | 2688605.3367 | 1206571.703 | 2688615.7445 | 1206567.9216
34 | 2688583.733 | 1206577.5418 | 2688577.0523 | 1206557.4192
35 | 2688624.9252 | 1206566.3569 | 2688619.7057 | 1206566.4795 | 2688615.7445 | 1206567.9216
36 | 2688658.7668 | 1206445.3465 | 2688694.2022 | 1206449.5598
37 | 2688698.2999 | 1206516.7578 | 2688704.0796 | 1206520.3929
38 | 2688658.7024 | 1206558.6617 | 2688698.2999 | 1206516.7578
39 | 2688719.3914 | 1206530.0231 | 2688704.0796 | 1206520.3929
40 | 2688654.158 | 1206556.9281 | 2688658.7024 | 1206558.6617
41 | 2688568.8974 | 1206516.8375 | 2688569.3194 | 1206526.8392 | 2688572.6377 | 1206544.122 | 2688577.0523 | 1206557.4192
42 | 2688624.9252 | 1206566.3569 | 2688625.4296 | 1206568.2434 | 2688626.3134 | 1206570.1911 | 2688629.2563 | 1206575.3493 | 2688632.5632 | 1206579.5567 | 2688635.8314 | 1206582.2737 | 2688639.4527 | 1206584.2621 | 2688643.9357 | 1206586.0965
43 | 2688624.9252 | 1206566.3569 | 2688623.8508 | 1206556.2454 | 2688624.1182 | 1206552.0689 | 2688625.5812 | 1206549.8447 | 2688628.1575 | 1206548.4487 | 2688631.5368 | 1206548.2987
44 | 2688642.0451 | 1206552.3073 | 2688631.5368 | 1206548.2987 | 2688631.5368 | 1206548.2987
45 | 2688642.0451 | 1206552.3073 | 2688654.158 | 1206556.9281
46 | 2688719.3914 | 1206530.0231 | 2688728.2725 | 1206535.6088
47 | 2688728.2725 | 1206535.6088 | 2688751.7991 | 1206550.4056
48 | 2688693.3599 | 1206598.6154 | 2688728.2725 | 1206535.6088
49 | 2688693.3599 | 1206598.6154 | 2688703.7459 | 1206606.0554
50 | 2688753.5053 | 1206551.4787 | 2688751.7991 | 1206550.4056

## bus_geodata
| x | y | coords
0 | 2688553.1591 | 1206448.6121
1 | 2688557.318 | 1206449.3993
2 | 2688548.8748 | 1206454.4197
3 | 2688575.6317 | 1206443.3627
4 | 2688548.5091 | 1206493.0417
5 | 2688498.8432 | 1206516.5273
6 | 2688617.2417 | 1206460.7685
7 | 2688649.3434 | 1206448.8978
8 | 2688526.9659 | 1206635.1877
9 | 2688505.6338 | 1206627.0393
10 | 2688542.6107 | 1206639.7565
11 | 2688498.4894 | 1206624.3102
12 | 2688551.8741 | 1206641.5669
13 | 2688476.4084 | 1206615.8757
14 | 2688554.3979 | 1206642.0602
15 | 2688471.4411 | 1206611.9065
16 | 2688414.5914 | 1206573.5656
17 | 2688545.3678 | 1206598.4512
18 | 2688580.0988 | 1206608.3147
19 | 2688500.3082 | 1206584.4426
20 | 2688604.3682 | 1206610.2917
21 | 2688508.573 | 1206574.3696
22 | 2688513.1489 | 1206572.514
23 | 2688486.3323 | 1206568.6886
24 | 2688655.9667 | 1206673.53
25 | 2688702.366 | 1206658.623
26 | 2688529.8867 | 1206574.0367
27 | 2688575.8605 | 1206577.8786
28 | 2688599.0472 | 1206537.3427
29 | 2688601.6328 | 1206544.0299
30 | 2688597.6305 | 1206427.4894
31 | 2688648.3143 | 1206443.4234
32 | 2688583.733 | 1206577.5418
33 | 2688615.7445 | 1206567.9216
34 | 2688658.7668 | 1206445.3465
35 | 2688694.2022 | 1206449.5598
36 | 2688698.2999 | 1206516.7578
37 | 2688704.0796 | 1206520.3929
38 | 2688658.7024 | 1206558.6617
39 | 2688568.8974 | 1206516.8375
40 | 2688577.0523 | 1206557.4192
41 | 2688624.9252 | 1206566.3569
42 | 2688643.9357 | 1206586.0965
43 | 2688631.5368 | 1206548.2987
44 | 2688642.0451 | 1206552.3073
45 | 2688654.158 | 1206556.9281
46 | 2688719.3914 | 1206530.0231
47 | 2688728.2725 | 1206535.6088
48 | 2688693.3599 | 1206598.6154
49 | 2688703.7459 | 1206606.0554
50 | 2688751.7991 | 1206550.4056
51 | 2688753.5053 | 1206551.4787
52 | 2688615.7445 | 1206567.9216

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98104 | -0.13297 | 0.0038427 | 0.00096307
1 | 0.98107 | -0.1328 | 0 | 0
2 | 0.98136 | -0.13072 | 0.002907 | 0.00072856
3 | 0.9806 | -0.13615 | 0.0022067 | 0.00055305
4 | 0.98267 | -0.1214 | 0 | 0
5 | 0.98487 | -0.10575 | 0.0045148 | 0.0011315
6 | 0.97964 | -0.14302 | 0.0040894 | 0.0010249
7 | 0.97912 | -0.14675 | 0 | 0
8 | 0.97927 | -0.14564 | 0.002923 | 0.00073256
9 | 0.97961 | -0.14317 | 0.0034189 | 0.00085687
10 | 0.97909 | -0.14692 | 0.0017541 | 0.00043961
11 | 0.97977 | -0.14207 | 0.004287 | 0.0010744
12 | 0.97901 | -0.14748 | 0.0011745 | 0.00029435
13 | 0.98039 | -0.13762 | 0 | 0
14 | 0.97899 | -0.1476 | 0.0045519 | 0.0011408
15 | 0.98056 | -0.13643 | 0.005966 | 0.0014952
16 | 0.98335 | -0.11651 | 0 | 0
17 | 0.98551 | -0.10127 | 0.0028184 | 0.00070637
18 | 0.98494 | -0.10535 | 0.0030821 | 0.00077245
19 | 0.98646 | -0.094547 | 0 | 0
20 | 0.98466 | -0.10734 | 0.0079124 | 0.001983
21 | 0.98717 | -0.089488 | 0 | 0
22 | 0.98748 | -0.08733 | 0 | 0
23 | 0.98701 | -0.09063 | 0.0048559 | 0.001217
24 | 0.98352 | -0.1158 | 0.01033 | 0.002589
25 | 0.9843 | -0.11022 | 0.001834 | 0.00045964
26 | 0.9892 | -0.0752 | 0.0036254 | 0.00090862
27 | 0.99417 | -0.040414 | 0.0034692 | 0.00086947
28 | 0.99834 | -0.011556 | 0.011702 | 0.0029328
29 | 0.99846 | -0.010716 | 0.0061792 | 0.0015486
30 | 0.97877 | -0.14922 | 0.0033787 | 0.00084679
31 | 0.97903 | -0.14735 | 0 | 0
32 | 0.99506 | -0.034234 | 0 | 0
33 | 0.99929 | -0.0049377 | 0 | 0
34 | 0.97893 | -0.14811 | 0 | 0
35 | 0.97857 | -0.15066 | 0.006879 | 0.001724
36 | 0.9898 | -0.071313 | 0.010612 | 0.0026597
37 | 0.98933 | -0.074642 | 0.0044098 | 0.0011052
38 | 0.99466 | -0.037153 | 0.0039614 | 0.00099283
39 | 0.99447 | -0.038424 | 0.0051739 | 0.0012967
40 | 0.99477 | -0.036251 | 0.0042573 | 0.001067
41 | 1 | 0 | -0.18813 | -0.047232
42 | 0.99981 | -0.0013633 | 0.0047789 | 0.0011977
43 | 0.99747 | -0.017595 | 0.0055591 | 0.0013932
44 | 0.99633 | -0.02548 | 0.0038253 | 0.00095871
45 | 0.9951 | -0.034092 | 0.0035767 | 0.0008964
46 | 0.98819 | -0.08266 | 0.0043228 | 0.0010834
47 | 0.9876 | -0.086855 | 0.0052892 | 0.0013256
48 | 0.98554 | -0.10144 | 0.0030699 | 0.00076938
49 | 0.98523 | -0.10363 | 0.004498 | 0.0011273
50 | 0.98703 | -0.090855 | 0.00547 | 0.0013709
51 | 0.98701 | -0.091033 | 0.0085856 | 0.0021518
52 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0038427 | -0.00096307 | 0.0038428 | 0.00096306 | 9.0651e-08 | -1.9132e-08 | 0.0058285 | 0.0058285 | 0.0058285 | 0.98104 | -0.13297 | 0.98107 | -0.1328 | 2.1587
1 | -0.020428 | -0.0051214 | 0.020434 | 0.0051235 | 5.8847e-06 | 2.1393e-06 | 0.030985 | 0.030984 | 0.030985 | 0.98107 | -0.1328 | 0.98136 | -0.13072 | 11.4758
2 | 0.016585 | 0.0041583 | -0.016578 | -0.0041556 | 7.6801e-06 | 2.7084e-06 | 0.025156 | 0.025156 | 0.025156 | 0.98107 | -0.1328 | 0.9806 | -0.13615 | 9.3171
3 | -0.023341 | -0.0058521 | 0.023371 | 0.0058632 | 3.0189e-05 | 1.1123e-05 | 0.035392 | 0.035392 | 0.035392 | 0.98136 | -0.13072 | 0.98267 | -0.1214 | 13.1083
4 | 0.014371 | 0.0036026 | -0.014357 | -0.0035979 | 1.3678e-05 | 4.6799e-06 | 0.021808 | 0.021808 | 0.021808 | 0.9806 | -0.13615 | 0.97964 | -0.14302 | 8.077
5 | -0.023371 | -0.0058632 | 0.023422 | 0.0058819 | 5.0833e-05 | 1.8725e-05 | 0.035392 | 0.035392 | 0.035392 | 0.98267 | -0.1214 | 0.98487 | -0.10575 | 13.1082
6 | -0.027937 | -0.0070134 | 0.028009 | 0.0070402 | 7.1665e-05 | 2.6741e-05 | 0.042213 | 0.042213 | 0.042213 | 0.98487 | -0.10575 | 0.98748 | -0.08733 | 15.6345
7 | 0.010268 | 0.002573 | -0.010263 | -0.0025714 | 5.2951e-06 | 1.5976e-06 | 0.015596 | 0.015596 | 0.015596 | 0.97964 | -0.14302 | 0.97912 | -0.14675 | 5.7764
8 | 0.010263 | 0.0025714 | -0.010262 | -0.0025711 | 8.456e-07 | 2.5517e-07 | 0.015596 | 0.015596 | 0.015596 | 0.97912 | -0.14675 | 0.97903 | -0.14735 | 5.7765
9 | -0.010405 | -0.0026077 | 0.010409 | 0.0026088 | 3.5621e-06 | 1.0826e-06 | 0.015811 | 0.015811 | 0.015811 | 0.97927 | -0.14564 | 0.97961 | -0.14317 | 5.8559
10 | 0.0074823 | 0.0018751 | -0.0074809 | -0.0018748 | 1.3195e-06 | 3.0173e-07 | 0.011369 | 0.011369 | 0.011369 | 0.97927 | -0.14564 | 0.97909 | -0.14692 | 4.2109
11 | -0.013828 | -0.0034656 | 0.01383 | 0.0034663 | 2.1054e-06 | 7.1347e-07 | 0.021004 | 0.021004 | 0.021004 | 0.97961 | -0.14317 | 0.97977 | -0.14207 | 7.7793
12 | 0.0057269 | 0.0014352 | -0.0057264 | -0.0014352 | 4.4617e-07 | 5.291e-08 | 0.0087037 | 0.0087037 | 0.0087037 | 0.97909 | -0.14692 | 0.97901 | -0.14748 | 3.2236
13 | -0.018117 | -0.0045408 | 0.018128 | 0.0045448 | 1.1166e-05 | 3.9969e-06 | 0.027515 | 0.027515 | 0.027515 | 0.97977 | -0.14207 | 0.98039 | -0.13762 | 10.1907
14 | 0.004552 | 0.0011408 | -0.0045519 | -0.0011408 | 7.681e-08 | -2.7926e-09 | 0.0069186 | 0.0069186 | 0.0069186 | 0.97901 | -0.14748 | 0.97899 | -0.1476 | 2.5625
15 | -0.018128 | -0.0045448 | 0.018131 | 0.0045458 | 3.0037e-06 | 1.0751e-06 | 0.027515 | 0.027515 | 0.027515 | 0.98039 | -0.13762 | 0.98056 | -0.13643 | 10.1907
16 | -0.024097 | -0.0060411 | 0.024164 | 0.0060657 | 6.6659e-05 | 2.4628e-05 | 0.036568 | 0.036568 | 0.036568 | 0.98056 | -0.13643 | 0.98335 | -0.11651 | 13.5439
17 | -0.024164 | -0.0060657 | 0.024238 | 0.006093 | 7.3918e-05 | 2.7303e-05 | 0.036568 | 0.036568 | 0.036568 | 0.98335 | -0.11651 | 0.98646 | -0.094547 | 13.5437
18 | 0.011003 | 0.0027579 | -0.010997 | -0.002756 | 6.2217e-06 | 1.9329e-06 | 0.016613 | 0.016613 | 0.016613 | 0.98551 | -0.10127 | 0.98494 | -0.10535 | 6.1531
19 | -0.013821 | -0.0034643 | 0.013834 | 0.0034686 | 1.2874e-05 | 4.3475e-06 | 0.020869 | 0.020869 | 0.020869 | 0.98551 | -0.10127 | 0.98646 | -0.094547 | 7.7292
20 | 0.0079146 | 0.0019836 | -0.0079124 | -0.001983 | 2.1764e-06 | 5.267e-07 | 0.011957 | 0.011957 | 0.011957 | 0.98494 | -0.10535 | 0.98466 | -0.10734 | 4.4286
21 | -0.038072 | -0.0095617 | 0.038099 | 0.0095718 | 2.6796e-05 | 1.014e-05 | 0.057436 | 0.057436 | 0.057436 | 0.98646 | -0.094547 | 0.98717 | -0.089488 | 21.2727
22 | -0.042955 | -0.010789 | 0.042968 | 0.010794 | 1.289e-05 | 4.8947e-06 | 0.064757 | 0.064757 | 0.064757 | 0.98717 | -0.089488 | 0.98748 | -0.08733 | 23.984
23 | 0.0048567 | 0.001217 | -0.0048559 | -0.001217 | 7.6766e-07 | 1.825e-09 | 0.0073207 | 0.0073208 | 0.0073208 | 0.98717 | -0.089488 | 0.98701 | -0.09063 | 2.7114
24 | -0.070977 | -0.017834 | 0.071097 | 0.01788 | 0.00012 | 4.594e-05 | 0.10697 | 0.10697 | 0.10697 | 0.98748 | -0.08733 | 0.9892 | -0.0752 | 39.6184
25 | -0.01033 | -0.002589 | 0.010338 | 0.0025914 | 7.9917e-06 | 2.4078e-06 | 0.015629 | 0.015629 | 0.015629 | 0.98352 | -0.1158 | 0.9843 | -0.11022 | 5.7885
26 | -0.012172 | -0.003051 | 0.012183 | 0.0030546 | 1.1111e-05 | 3.6043e-06 | 0.018401 | 0.018401 | 0.018401 | 0.9843 | -0.11022 | 0.98523 | -0.10363 | 6.8153
27 | -0.074722 | -0.018788 | 0.075086 | 0.018928 | 0.00036402 | 0.00013941 | 0.11242 | 0.11242 | 0.11242 | 0.9892 | -0.0752 | 0.99417 | -0.040414 | 41.6382
28 | -0.078555 | -0.019797 | 0.078623 | 0.019823 | 6.8017e-05 | 2.6058e-05 | 0.11762 | 0.11762 | 0.11762 | 0.99417 | -0.040414 | 0.99506 | -0.034234 | 43.5613
29 | -0.011702 | -0.0029328 | 0.011703 | 0.0029333 | 1.361e-06 | 4.2971e-07 | 0.017442 | 0.017442 | 0.017442 | 0.99834 | -0.011556 | 0.99846 | -0.010716 | 6.46
30 | -0.017883 | -0.0044819 | 0.017897 | 0.004487 | 1.4317e-05 | 5.0838e-06 | 0.026651 | 0.026651 | 0.026651 | 0.99846 | -0.010716 | 0.99929 | -0.0049377 | 9.8706
31 | -0.0033787 | -0.00084679 | 0.0033796 | 0.00084646 | 8.7693e-07 | -3.3234e-07 | 0.0051366 | 0.0051364 | 0.0051366 | 0.97877 | -0.14922 | 0.97903 | -0.14735 | 1.9025
32 | 0.0068822 | 0.0017247 | -0.0068814 | -0.0017245 | 7.2356e-07 | 1.4504e-07 | 0.01046 | 0.01046 | 0.01046 | 0.97903 | -0.14735 | 0.97893 | -0.14811 | 3.8741
33 | -0.088059 | -0.022188 | 0.088421 | 0.022327 | 0.00036251 | 0.00013899 | 0.13173 | 0.13173 | 0.13173 | 0.99506 | -0.034234 | 0.99929 | -0.0049377 | 48.7871
34 | 0.0094354 | 0.0023645 | -0.0094328 | -0.0023637 | 2.634e-06 | 7.3772e-07 | 0.01411 | 0.01411 | 0.01411 | 0.99506 | -0.034234 | 0.99477 | -0.036251 | 5.2258
35 | -0.10632 | -0.026814 | 0.10639 | 0.026842 | 7.3649e-05 | 2.808e-05 | 0.15838 | 0.15838 | 0.15838 | 0.99929 | -0.0049377 | 1 | 0 | 29.3288
36 | 0.0068814 | 0.0017245 | -0.006879 | -0.001724 | 2.4364e-06 | 4.886e-07 | 0.01046 | 0.01046 | 0.01046 | 0.97893 | -0.14811 | 0.97857 | -0.15066 | 3.8742
37 | 0.047975 | 0.012043 | -0.047953 | -0.012034 | 2.2167e-05 | 8.438e-06 | 0.07213 | 0.07213 | 0.07213 | 0.9898 | -0.071313 | 0.98933 | -0.074642 | 26.7149
38 | -0.058587 | -0.014702 | 0.058866 | 0.014809 | 0.00027913 | 0.00010661 | 0.088084 | 0.088084 | 0.088084 | 0.9898 | -0.071313 | 0.99466 | -0.037153 | 32.6238
39 | 0.043543 | 0.010929 | -0.043495 | -0.010911 | 4.8421e-05 | 1.8392e-05 | 0.065498 | 0.065498 | 0.065498 | 0.98933 | -0.074642 | 0.98819 | -0.08266 | 24.2584
40 | -0.062828 | -0.015802 | 0.062855 | 0.015812 | 2.6824e-05 | 1.0254e-05 | 0.09401 | 0.09401 | 0.09401 | 0.99466 | -0.037153 | 0.9951 | -0.034092 | 34.8186
41 | -0.0051739 | -0.0012967 | 0.0051755 | 0.0012968 | 1.5565e-06 | 5.8485e-08 | 0.0077417 | 0.0077415 | 0.0077417 | 0.99447 | -0.038424 | 0.99477 | -0.036251 | 2.8673
42 | 0.0047798 | 0.0011977 | -0.0047789 | -0.0011977 | 9.0179e-07 | -2.7888e-08 | 0.0071123 | 0.0071124 | 0.0071124 | 1 | 0 | 0.99981 | -0.0013633 | 2.6342
43 | 0.07616 | 0.019192 | -0.075973 | -0.019121 | 0.00018708 | 7.1648e-05 | 0.11336 | 0.11336 | 0.11336 | 1 | 0 | 0.99747 | -0.017595 | 41.9869
44 | 0.070414 | 0.017727 | -0.070337 | -0.017698 | 7.748e-05 | 2.9653e-05 | 0.10507 | 0.10507 | 0.10507 | 0.99747 | -0.017595 | 0.99633 | -0.02548 | 38.9154
45 | 0.066511 | 0.016739 | -0.066431 | -0.016708 | 7.9863e-05 | 3.0548e-05 | 0.099359 | 0.099359 | 0.099359 | 0.99633 | -0.02548 | 0.9951 | -0.034092 | 36.7995
46 | 0.039172 | 0.0098272 | -0.039149 | -0.0098186 | 2.278e-05 | 8.6273e-06 | 0.058988 | 0.058988 | 0.058988 | 0.98819 | -0.08266 | 0.9876 | -0.086855 | 21.8476
47 | 0.014064 | 0.0035254 | -0.014056 | -0.0035227 | 7.7872e-06 | 2.6397e-06 | 0.02119 | 0.02119 | 0.02119 | 0.9876 | -0.086855 | 0.98703 | -0.090855 | 7.8482
48 | 0.019796 | 0.0049676 | -0.019756 | -0.0049531 | 3.9995e-05 | 1.4463e-05 | 0.029829 | 0.02983 | 0.02983 | 0.9876 | -0.086855 | 0.98554 | -0.10144 | 11.048
49 | 0.016686 | 0.0041837 | -0.016681 | -0.0041819 | 5.0604e-06 | 1.7836e-06 | 0.025194 | 0.025195 | 0.025195 | 0.98554 | -0.10144 | 0.98523 | -0.10363 | 9.3313
50 | 0.0085859 | 0.0021518 | -0.0085856 | -0.0021518 | 2.1072e-07 | 5.5285e-08 | 0.012944 | 0.012944 | 0.012944 | 0.98703 | -0.090855 | 0.98701 | -0.091033 | 4.794

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.18813 | 0.047232

## res_load
| p_mw | q_mvar
0 | 0.0038427 | 0.00096307
1 | 0.002907 | 0.00072856
2 | 0.0022067 | 0.00055305
3 | 0.0045148 | 0.0011315
4 | 0.0040894 | 0.0010249
5 | 0.002923 | 0.00073256
6 | 0.0034189 | 0.00085687
7 | 0.0017541 | 0.00043961
8 | 0.004287 | 0.0010744
9 | 0.0011745 | 0.00029435
10 | 0.0045519 | 0.0011408
11 | 0.005966 | 0.0014952
12 | 0.0028184 | 0.00070637
13 | 0.0030821 | 0.00077245
14 | 0.0079124 | 0.001983
15 | 0.0048559 | 0.001217
16 | 0.01033 | 0.002589
17 | 0.001834 | 0.00045964
18 | 0.0036254 | 0.00090862
19 | 0.0034692 | 0.00086947
20 | 0.011702 | 0.0029328
21 | 0.0061792 | 0.0015486
22 | 0.0033787 | 0.00084679
23 | 0.006879 | 0.001724
24 | 0.010612 | 0.0026597
25 | 0.0044098 | 0.0011052
26 | 0.0039614 | 0.00099283
27 | 0.0051739 | 0.0012967
28 | 0.0042573 | 0.001067
29 | 0.0047789 | 0.0011977
30 | 0.0055591 | 0.0013932
31 | 0.0038253 | 0.00095871
32 | 0.0035767 | 0.0008964
33 | 0.0043228 | 0.0010834
34 | 0.0052892 | 0.0013256
35 | 0.0030699 | 0.00076938
36 | 0.004498 | 0.0011273
37 | 0.00547 | 0.0013709
38 | 0.0085856 | 0.0021518

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1