## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1364-58_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1364-58_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1364-58_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1364-58_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1364-58_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1364-58_0_3_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_1364-58_0_3_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_1364-58_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1364-58_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1364-58_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1364-58_0_3_node_32 | 0.4 | n |  | TRUE
11 | bus_LV_1364-58_0_3_node_33 | 0.4 | n |  | TRUE
12 | bus_LV_1364-58_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1364-58_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1364-58_0_3_node_34 | 0.4 | n |  | TRUE
15 | bus_LV_1364-58_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_1364-58_0_3_node_35 | 0.4 | n |  | TRUE
17 | bus_LV_1364-58_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1364-58_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1364-58_0_3_node_36 | 0.4 | n |  | TRUE
20 | bus_LV_1364-58_0_3_node_42 | 0.4 | n |  | TRUE
21 | bus_LV_1364-58_0_3_node_40 | 0.4 | n |  | TRUE
22 | bus_LV_1364-58_0_3_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_1364-58_0_3_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_1364-58_0_3_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_1364-58_0_3_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_1364-58_0_3_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_1364-58_0_3_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_1364-58_0_3_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_1364-58_0_3_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_1364-58_0_3_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_1364-58_0_3_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_1364-58_0_3_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_1364-58_0_3_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_1364-58_0_3_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_1364-58_0_3_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_1364-58_0_3_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_1364-58_0_3_node_45 | 0.4 | n |  | TRUE
38 | bus_LV_1364-58_0_3_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_1364-58_0_3_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_1364-58_0_3_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_1364-58_0_3_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_1364-58_0_3_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_1364-58_0_3_node_47 | 0.4 | n |  | TRUE
44 | bus_LV_1364-58_0_3_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_1364-58_0_3_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_1364-58_0_3_node_39 | 0.4 | n |  | TRUE
47 | bus_MV_133_0_node_133 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1364-58_0_3_load_0 | 0 | 0.0059637 | 0.0014946 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1364-58_0_3_load_1 | 1 | 0.0063337 | 0.0015874 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1364-58_0_3_load_3 | 3 | 0.0070095 | 0.0017567 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1364-58_0_3_load_4 | 4 | 0.0053586 | 0.001343 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1364-58_0_3_load_13 | 5 | 0.0032811 | 0.00082233 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1364-58_0_3_load_14 | 6 | 0.0040843 | 0.0010236 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1364-58_0_3_load_5 | 7 | 0.0026725 | 0.00066978 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1364-58_0_3_load_6 | 8 | 0.002428 | 0.00060851 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1364-58_0_3_load_7 | 9 | 0.0035733 | 0.00089556 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1364-58_0_3_load_32 | 10 | 0.0032532 | 0.00081533 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1364-58_0_3_load_33 | 11 | 0.0013392 | 0.00033563 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1364-58_0_3_load_8 | 12 | 0.00206 | 0.00051627 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1364-58_0_3_load_9 | 13 | 0.00089247 | 0.00022367 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1364-58_0_3_load_34 | 14 | 0.0021615 | 0.00054172 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1364-58_0_3_load_10 | 15 | 0.0038832 | 0.00097323 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1364-58_0_3_load_35 | 16 | 0.0031788 | 0.00079668 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1364-58_0_3_load_11 | 17 | 0.00537 | 0.0013459 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1364-58_0_3_load_12 | 18 | 0.0019335 | 0.00048458 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1364-58_0_3_load_36 | 19 | 0.0013412 | 0.00033613 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1364-58_0_3_load_42 | 20 | 0.0037512 | 0.00094014 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1364-58_0_3_load_22 | 22 | 0.00177 | 0.0004436 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1364-58_0_3_load_23 | 23 | 0.0019614 | 0.00049158 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1364-58_0_3_load_15 | 24 | 0.0062951 | 0.0015777 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1364-58_0_3_load_16 | 25 | 0.0027875 | 0.00069861 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1364-58_0_3_load_17 | 26 | 0.00088297 | 0.00022129 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1364-58_0_3_load_19 | 29 | 0.0040003 | 0.0010026 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1364-58_0_3_load_31 | 30 | 0.0011938 | 0.0002992 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1364-58_0_3_load_20 | 31 | 0.0022884 | 0.00057352 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1364-58_0_3_load_30 | 32 | 0.0017053 | 0.00042739 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1364-58_0_3_load_24 | 33 | 0.0016817 | 0.00042148 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1364-58_0_3_load_27 | 36 | 0.001681 | 0.00042131 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1364-58_0_3_load_45 | 37 | 0.015302 | 0.003835 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1364-58_0_3_load_44 | 38 | 0.015351 | 0.0038473 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1364-58_0_3_load_28 | 39 | 0.0016821 | 0.00042158 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1364-58_0_3_load_41 | 40 | 0.0084399 | 0.0021152 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1364-58_0_3_load_29 | 41 | 0.0016992 | 0.00042587 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1364-58_0_3_load_47 | 43 | 0.0058679 | 0.0014706 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1364-58_0_3_load_43 | 44 | 0.045724 | 0.01146 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1364-58_0_3_load_38 | 45 | 0.0033142 | 0.00083062 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1364-58_0_3_load_39 | 46 | 0.0034483 | 0.00086422 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1364-58_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0051815 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1364-58_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.018178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1364-58_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.028398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1364-58_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.008694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1364-58_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0012319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1364-58_0_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.035235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1364-58_0_3_line_6 | NAYY 4x150 SE | 6 | 24 | 0.025651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1364-58_0_3_line_7 | NAYY 4x150 SE | 7 | 8 | 0.0040868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1364-58_0_3_line_8 | NAYY 4x150 SE | 8 | 9 | 0.026146 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1364-58_0_3_line_9 | NAYY 4x150 SE | 9 | 12 | 0.0075211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1364-58_0_3_line_10 | NAYY 4x150 SE | 10 | 11 | 0.035017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1364-58_0_3_line_11 | NAYY 4x150 SE | 11 | 14 | 0.009561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1364-58_0_3_line_12 | NAYY 4x150 SE | 12 | 13 | 0.012205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1364-58_0_3_line_13 | NAYY 4x150 SE | 13 | 15 | 0.016142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1364-58_0_3_line_14 | NAYY 4x150 SE | 14 | 16 | 0.024622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1364-58_0_3_line_15 | NAYY 4x150 SE | 15 | 17 | 0.02739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1364-58_0_3_line_16 | NAYY 4x150 SE | 16 | 19 | 0.012744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1364-58_0_3_line_17 | NAYY 4x150 SE | 17 | 18 | 0.026619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1364-58_0_3_line_18 | NAYY 4x150 SE | 18 | 22 | 0.0078765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_1364-58_0_3_line_19 | NAYY 4x150 SE | 19 | 42 | 0.052955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1364-58_0_3_line_20 | NAYY 4x150 SE | 19 | 43 | 0.086904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1364-58_0_3_line_21 | NAYY 4x150 SE | 20 | 21 | 0.037953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1364-58_0_3_line_22 | NAYY 4x150 SE | 21 | 37 | 0.033101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1364-58_0_3_line_23 | NAYY 4x150 SE | 21 | 45 | 0.015733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1364-58_0_3_line_24 | NAYY 4x150 SE | 22 | 23 | 0.005808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_1364-58_0_3_line_25 | NAYY 4x150 SE | 23 | 33 | 0.016781 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_1364-58_0_3_line_26 | NAYY 4x150 SE | 24 | 25 | 0.035296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1364-58_0_3_line_27 | NAYY 4x150 SE | 25 | 26 | 0.032758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1364-58_0_3_line_28 | NAYY 4x150 SE | 26 | 27 | 0.0079109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1364-58_0_3_line_29 | NAYY 4x150 SE | 27 | 28 | 0.020704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1364-58_0_3_line_30 | NAYY 4x150 SE | 27 | 29 | 0.029655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1364-58_0_3_line_31 | NAYY 4x150 SE | 28 | 30 | 0.020608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1364-58_0_3_line_32 | NAYY 4x150 SE | 29 | 31 | 0.083213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1364-58_0_3_line_33 | NAYY 4x150 SE | 30 | 32 | 0.0062612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1364-58_0_3_line_34 | NAYY 4x150 SE | 32 | 41 | 0.0062441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1364-58_0_3_line_35 | NAYY 4x150 SE | 33 | 34 | 0.0018327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_1364-58_0_3_line_36 | NAYY 4x150 SE | 34 | 35 | 0.032392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_1364-58_0_3_line_37 | NAYY 4x150 SE | 34 | 36 | 0.0040949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1364-58_0_3_line_38 | NAYY 4x150 SE | 35 | 37 | 0.018435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1364-58_0_3_line_39 | NAYY 4x150 SE | 35 | 38 | 0.020423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1364-58_0_3_line_40 | NAYY 4x150 SE | 36 | 39 | 0.0061579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1364-58_0_3_line_41 | NAYY 4x150 SE | 37 | 40 | 0.023122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1364-58_0_3_line_42 | NAYY 4x150 SE | 39 | 41 | 0.0062242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1364-58_0_3_line_43 | NAYY 4x150 SE | 40 | 42 | 0.017496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1364-58_0_3_line_44 | NAYY 4x150 SE | 42 | 44 | 0.027381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1364-58_0_3_line_45 | NAYY 4x150 SE | 45 | 46 | 0.0051155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1364-58_0_3_trafo_12 | 0.25 MVA 20/0.4 kV | 47 | 18 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2688800.8714 | 1206566.245 | 2688804.1835 | 1206568.7552 | 2688804.9637 | 1206569.421
1 | 2688787.2093 | 1206554.2932 | 2688795.5342 | 1206562.2 | 2688800.8714 | 1206566.245
2 | 2688804.9637 | 1206569.421 | 2688823.2902 | 1206585.0612 | 2688826.2135 | 1206588.2208
3 | 2688787.2093 | 1206554.2932 | 2688784.0124 | 1206550.3653 | 2688782.2123 | 1206547.2136
4 | 2688826.2135 | 1206588.2208 | 2688827.0501 | 1206589.1251
5 | 2688827.0501 | 1206589.1251 | 2688850.979 | 1206614.9883
6 | 2688869.3579 | 1206632.8706 | 2688854.175 | 1206618.4426 | 2688850.979 | 1206614.9883
7 | 2688732.8488 | 1206622.7598 | 2688736.6762 | 1206624.1928
8 | 2688761.1624 | 1206633.3606 | 2688736.6762 | 1206624.1928
9 | 2688761.1624 | 1206633.3606 | 2688768.206 | 1206635.9977
10 | 2688710.0387 | 1206678.8511 | 2688710.2828 | 1206686.3032 | 2688711.4328 | 1206690.2896 | 2688714.8841 | 1206693.9877 | 2688731.338 | 1206702.1199
11 | 2688739.9093 | 1206706.3562 | 2688731.338 | 1206702.1199
12 | 2688768.206 | 1206635.9977 | 2688779.6364 | 1206640.2774
13 | 2688794.7538 | 1206645.9374 | 2688779.6364 | 1206640.2774
14 | 2688739.9093 | 1206706.3562 | 2688761.9829 | 1206717.2659
15 | 2688819.1109 | 1206658.2776 | 2688814.3371 | 1206655.1296 | 2688801.9451 | 1206648.6299 | 2688794.7538 | 1206645.9374
16 | 2688761.9829 | 1206717.2659 | 2688773.4079 | 1206722.9126
17 | 2688819.1109 | 1206658.2776 | 2688841.3333 | 1206672.932
18 | 2688841.3333 | 1206672.932 | 2688843.6962 | 1206674.4902 | 2688848.3092 | 1206676.5356
19 | 2688820.8813 | 1206746.3758 | 2688773.4079 | 1206722.9126
20 | 2688773.4079 | 1206722.9126 | 2688748.9003 | 1206806.2889
21 | 2688810.9517 | 1206704.2448 | 2688788.3942 | 1206692.9241 | 2688777.4146 | 1206686.5137
22 | 2688842.7673 | 1206713.3797 | 2688810.9517 | 1206704.2448
23 | 2688810.9517 | 1206704.2448 | 2688804.5448 | 1206718.6145
24 | 2688848.3092 | 1206676.5356 | 2688853.6187 | 1206678.8898
25 | 2688853.6187 | 1206678.8898 | 2688857.2666 | 1206680.5072 | 2688869.4144 | 1206684.51
26 | 2688869.3579 | 1206632.8706 | 2688874.0491 | 1206637.3286 | 2688896.5255 | 1206655.3751
27 | 2688896.5255 | 1206655.3751 | 2688906.5855 | 1206663.4524 | 2688914.643 | 1206673.9682 | 2688917.6013 | 1206679.8773
28 | 2688921.1426 | 1206686.9513 | 2688917.6013 | 1206679.8773
29 | 2688917.9521 | 1206701.4911 | 2688925.5759 | 1206698.7473 | 2688921.1426 | 1206686.9513
30 | 2688921.1426 | 1206686.9513 | 2688940.2418 | 1206664.266
31 | 2688917.9521 | 1206701.4911 | 2688898.505 | 1206694.6727
32 | 2688940.2418 | 1206664.266 | 2689022.8822 | 1206654.5166
33 | 2688892.5964 | 1206692.6012 | 2688898.505 | 1206694.6727
34 | 2688886.704 | 1206690.5352 | 2688892.5964 | 1206692.6012
35 | 2688871.155 | 1206685.0836 | 2688869.4144 | 1206684.51
36 | 2688871.155 | 1206685.0836 | 2688856.9624 | 1206714.2137
37 | 2688871.155 | 1206685.0836 | 2688875.0193 | 1206686.4384
38 | 2688856.9624 | 1206714.2137 | 2688845.1069 | 1206718.6847 | 2688842.7673 | 1206713.3797
39 | 2688856.9624 | 1206714.2137 | 2688860.1526 | 1206722.6668 | 2688870.2671 | 1206727.9003
40 | 2688875.0193 | 1206686.4384 | 2688880.8304 | 1206688.4759
41 | 2688842.7673 | 1206713.3797 | 2688826.8363 | 1206730.1383
42 | 2688880.8304 | 1206688.4759 | 2688886.704 | 1206690.5352
43 | 2688820.8813 | 1206746.3758 | 2688825.1352 | 1206735.9989 | 2688824.9645 | 1206734.1841 | 2688826.8363 | 1206730.1383
44 | 2688820.8813 | 1206746.3758 | 2688845.3911 | 1206758.5823
45 | 2688802.4617 | 1206723.2866 | 2688804.5448 | 1206718.6145

## bus_geodata
| x | y | coords
0 | 2688800.8714 | 1206566.245
1 | 2688804.9637 | 1206569.421
2 | 2688787.2093 | 1206554.2932
3 | 2688826.2135 | 1206588.2208
4 | 2688782.2123 | 1206547.2136
5 | 2688827.0501 | 1206589.1251
6 | 2688850.979 | 1206614.9883
7 | 2688732.8488 | 1206622.7598
8 | 2688736.6762 | 1206624.1928
9 | 2688761.1624 | 1206633.3606
10 | 2688710.0387 | 1206678.8511
11 | 2688731.338 | 1206702.1199
12 | 2688768.206 | 1206635.9977
13 | 2688779.6364 | 1206640.2774
14 | 2688739.9093 | 1206706.3562
15 | 2688794.7538 | 1206645.9374
16 | 2688761.9829 | 1206717.2659
17 | 2688819.1109 | 1206658.2776
18 | 2688841.3333 | 1206672.932
19 | 2688773.4079 | 1206722.9126
20 | 2688777.4146 | 1206686.5137
21 | 2688810.9517 | 1206704.2448
22 | 2688848.3092 | 1206676.5356
23 | 2688853.6187 | 1206678.8898
24 | 2688869.3579 | 1206632.8706
25 | 2688896.5255 | 1206655.3751
26 | 2688917.6013 | 1206679.8773
27 | 2688921.1426 | 1206686.9513
28 | 2688917.9521 | 1206701.4911
29 | 2688940.2418 | 1206664.266
30 | 2688898.505 | 1206694.6727
31 | 2689022.8822 | 1206654.5166
32 | 2688892.5964 | 1206692.6012
33 | 2688869.4144 | 1206684.51
34 | 2688871.155 | 1206685.0836
35 | 2688856.9624 | 1206714.2137
36 | 2688875.0193 | 1206686.4384
37 | 2688842.7673 | 1206713.3797
38 | 2688870.2671 | 1206727.9003
39 | 2688880.8304 | 1206688.4759
40 | 2688826.8363 | 1206730.1383
41 | 2688886.704 | 1206690.5352
42 | 2688820.8813 | 1206746.3758
43 | 2688748.9003 | 1206806.2889
44 | 2688845.3911 | 1206758.5823
45 | 2688804.5448 | 1206718.6145
46 | 2688802.4617 | 1206723.2866
47 | 2688871.155 | 1206685.0836

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98305 | -0.11903 | 0.0059637 | 0.0014946
1 | 0.98313 | -0.11842 | 0.0063337 | 0.0015874
2 | 0.9829 | -0.12004 | 0 | 0
3 | 0.98386 | -0.11325 | 0.0070095 | 0.0017567
4 | 0.98284 | -0.12052 | 0.0053586 | 0.001343
5 | 0.9839 | -0.11294 | 0.0032811 | 0.00082233
6 | 0.98533 | -0.1028 | 0.0040843 | 0.0010236
7 | 0.99785 | -0.015098 | 0.0026725 | 0.00066978
8 | 0.99786 | -0.014988 | 0.002428 | 0.00060851
9 | 0.99805 | -0.013652 | 0.0035733 | 0.00089556
10 | 0.98484 | -0.10635 | 0.0032532 | 0.00081533
11 | 0.98501 | -0.10518 | 0.0013392 | 0.00033563
12 | 0.99814 | -0.012998 | 0.00206 | 0.00051627
13 | 0.99833 | -0.011685 | 0.00089247 | 0.00022367
14 | 0.98507 | -0.10473 | 0.0021615 | 0.00054172
15 | 0.9986 | -0.0098054 | 0.0038832 | 0.00097323
16 | 0.98531 | -0.10302 | 0.0031788 | 0.00079668
17 | 0.99921 | -0.0055542 | 0.00537 | 0.0013459
18 | 1 | 0 | -0.19797 | -0.049689
19 | 0.98549 | -0.10172 | 0.0013412 | 0.00033613
20 | 0.99008 | -0.069314 | 0.0037512 | 0.00094014
21 | 0.99028 | -0.067864 | 0 | 0
22 | 0.99901 | -0.0068546 | 0.00177 | 0.0004436
23 | 0.99829 | -0.011866 | 0.0019614 | 0.00049158
24 | 0.98652 | -0.094357 | 0.0062951 | 0.0015777
25 | 0.98848 | -0.080507 | 0.0027875 | 0.00069861
26 | 0.99043 | -0.066772 | 0.00088297 | 0.00022129
27 | 0.99091 | -0.063392 | 0 | 0
28 | 0.99236 | -0.053239 | 0 | 0
29 | 0.99064 | -0.065291 | 0.0040003 | 0.0010026
30 | 0.9938 | -0.043163 | 0.0011938 | 0.0002992
31 | 0.99037 | -0.067232 | 0.0022884 | 0.00057352
32 | 0.99424 | -0.040031 | 0.0017053 | 0.00042739
33 | 0.99622 | -0.026221 | 0.0016817 | 0.00042148
34 | 0.996 | -0.027777 | 0 | 0
35 | 0.99337 | -0.046159 | 0 | 0
36 | 0.99567 | -0.030096 | 0.001681 | 0.00042131
37 | 0.99078 | -0.064322 | 0.015302 | 0.003835
38 | 0.99292 | -0.049331 | 0.015351 | 0.0038473
39 | 0.99518 | -0.033483 | 0.0016821 | 0.00042158
40 | 0.9884 | -0.081131 | 0.0084399 | 0.0021152
41 | 0.99471 | -0.036804 | 0.0016992 | 0.00042587
42 | 0.98681 | -0.09239 | 0 | 0
43 | 0.98476 | -0.10696 | 0.0058679 | 0.0014706
44 | 0.985 | -0.10525 | 0.045724 | 0.01146
45 | 0.99013 | -0.068947 | 0.0033142 | 0.00083062
46 | 0.99011 | -0.069127 | 0.0034483 | 0.00086422
47 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.011323 | -0.0028377 | 0.011324 | 0.002838 | 9.4986e-07 | 2.9963e-07 | 0.01714 | 0.01714 | 0.01714 | 0.98305 | -0.11903 | 0.98313 | -0.11842 | 6.3481
1 | 0.0053597 | 0.0013431 | -0.005359 | -0.001343 | 7.466e-07 | 5.672e-08 | 0.0081129 | 0.0081129 | 0.0081129 | 0.98305 | -0.11903 | 0.9829 | -0.12004 | 3.0048
2 | -0.017658 | -0.0044254 | 0.017671 | 0.0044299 | 1.2657e-05 | 4.5079e-06 | 0.026726 | 0.026726 | 0.026726 | 0.98313 | -0.11842 | 0.98386 | -0.11325 | 9.8987
3 | 0.005359 | 0.001343 | -0.0053586 | -0.001343 | 3.5708e-07 | 2.7153e-08 | 0.0081129 | 0.008113 | 0.008113 | 0.9829 | -0.12004 | 0.98284 | -0.12052 | 3.0048
4 | -0.02468 | -0.0061867 | 0.024681 | 0.0061871 | 1.0711e-06 | 3.9631e-07 | 0.037328 | 0.037328 | 0.037328 | 0.98386 | -0.11325 | 0.9839 | -0.11294 | 13.825
5 | -0.027962 | -0.0070094 | 0.028002 | 0.0070241 | 3.9321e-05 | 1.4675e-05 | 0.04229 | 0.04229 | 0.04229 | 0.9839 | -0.11294 | 0.98533 | -0.1028 | 15.6629
6 | -0.032086 | -0.0080477 | 0.032124 | 0.0080618 | 3.7585e-05 | 1.4129e-05 | 0.048458 | 0.048458 | 0.048458 | 0.98533 | -0.1028 | 0.98652 | -0.094357 | 17.9473
7 | -0.0026725 | -0.00066978 | 0.0026725 | 0.00066974 | 4.0502e-08 | -3.7808e-08 | 0.0039852 | 0.0039852 | 0.0039852 | 0.99785 | -0.015098 | 0.99786 | -0.014988 | 1.476
8 | -0.0051005 | -0.0012783 | 0.0051014 | 0.0012783 | 9.4381e-07 | 2.1384e-08 | 0.0076059 | 0.0076057 | 0.0076059 | 0.99786 | -0.014988 | 0.99805 | -0.013652 | 2.817
9 | -0.0086748 | -0.0021738 | 0.0086755 | 0.002174 | 7.8502e-07 | 2.0364e-07 | 0.012933 | 0.012933 | 0.012933 | 0.99805 | -0.013652 | 0.99814 | -0.012998 | 4.7901
10 | -0.0032532 | -0.00081533 | 0.0032537 | 0.00081509 | 5.2791e-07 | -2.4261e-07 | 0.0049153 | 0.0049152 | 0.0049153 | 0.98484 | -0.10635 | 0.98501 | -0.10518 | 1.8205
11 | -0.0045929 | -0.0011507 | 0.0045932 | 0.0011507 | 2.872e-07 | -1.1246e-08 | 0.0069383 | 0.0069382 | 0.0069383 | 0.98501 | -0.10518 | 0.98507 | -0.10473 | 2.5697
12 | -0.010736 | -0.0026903 | 0.010737 | 0.0026909 | 1.9507e-06 | 5.9073e-07 | 0.016004 | 0.016004 | 0.016004 | 0.99814 | -0.012998 | 0.99833 | -0.011685 | 5.9275
13 | -0.01163 | -0.0029146 | 0.011633 | 0.0029155 | 3.0267e-06 | 9.5297e-07 | 0.017334 | 0.017334 | 0.017334 | 0.99833 | -0.011685 | 0.9986 | -0.0098054 | 6.4201
14 | -0.0067547 | -0.0016924 | 0.0067563 | 0.0016927 | 1.5995e-06 | 3.0167e-07 | 0.010203 | 0.010203 | 0.010203 | 0.98507 | -0.10473 | 0.98531 | -0.10302 | 3.779
15 | -0.015516 | -0.0038888 | 0.015525 | 0.0038919 | 9.1365e-06 | 3.1555e-06 | 0.023121 | 0.023121 | 0.023121 | 0.9986 | -0.0098054 | 0.99921 | -0.0055542 | 8.5632
16 | -0.0099351 | -0.0024894 | 0.0099369 | 0.0024899 | 1.7902e-06 | 5.2618e-07 | 0.015004 | 0.015004 | 0.015004 | 0.98531 | -0.10302 | 0.98549 | -0.10172 | 5.5569
17 | -0.020895 | -0.0052378 | 0.020911 | 0.0052436 | 1.6084e-05 | 5.8372e-06 | 0.031118 | 0.031118 | 0.031118 | 0.99921 | -0.0055542 | 1 | 0 | 11.5251
18 | 0.17625 | 0.044446 | -0.17608 | -0.044381 | 0.00016916 | 6.4855e-05 | 0.26236 | 0.26236 | 0.26236 | 1 | 0 | 0.99901 | -0.0068546 | 48.5859
19 | -0.01715 | -0.0042972 | 0.017172 | 0.0043051 | 2.2158e-05 | 7.8465e-06 | 0.025895 | 0.025895 | 0.025895 | 0.98549 | -0.10172 | 0.98681 | -0.09239 | 9.5908
20 | 0.0058722 | 0.0014712 | -0.0058679 | -0.0014706 | 4.2631e-06 | 5.332e-07 | 0.0088663 | 0.0088667 | 0.0088667 | 0.98549 | -0.10172 | 0.98476 | -0.10696 | 3.284
21 | -0.0037512 | -0.00094014 | 0.003752 | 0.00093995 | 7.5272e-07 | -1.9867e-07 | 0.0056378 | 0.0056376 | 0.0056378 | 0.99008 | -0.069314 | 0.99028 | -0.067864 | 2.0881
22 | -0.010516 | -0.0026349 | 0.010521 | 0.0026365 | 5.1567e-06 | 1.5573e-06 | 0.015801 | 0.015801 | 0.015801 | 0.99028 | -0.067864 | 0.99078 | -0.064322 | 5.8521
23 | 0.0067636 | 0.001695 | -0.0067626 | -0.0016948 | 1.014e-06 | 1.8763e-07 | 0.010163 | 0.010163 | 0.010163 | 0.99028 | -0.067864 | 0.99013 | -0.068947 | 3.7641
24 | 0.17431 | 0.043937 | -0.17419 | -0.04389 | 0.00012224 | 4.6864e-05 | 0.25973 | 0.25973 | 0.25973 | 0.99901 | -0.0068546 | 0.99829 | -0.011866 | 48.0977
25 | 0.17223 | 0.043399 | -0.17189 | -0.043266 | 0.00034528 | 0.00013236 | 0.2568 | 0.2568 | 0.2568 | 0.99829 | -0.011866 | 0.99622 | -0.026221 | 47.5564
26 | -0.038419 | -0.0096395 | 0.038493 | 0.0096675 | 7.3971e-05 | 2.7999e-05 | 0.057953 | 0.057953 | 0.057953 | 0.98652 | -0.094357 | 0.98848 | -0.080507 | 21.464
27 | -0.04128 | -0.010366 | 0.041359 | 0.010396 | 7.8952e-05 | 2.9945e-05 | 0.062149 | 0.062149 | 0.062149 | 0.98848 | -0.080507 | 0.99043 | -0.066772 | 23.0181
28 | -0.042242 | -0.010617 | 0.042262 | 0.010625 | 1.9889e-05 | 7.5479e-06 | 0.063475 | 0.063475 | 0.063475 | 0.99043 | -0.066772 | 0.99091 | -0.063392 | 23.5094
29 | -0.048553 | -0.0122 | 0.048622 | 0.012227 | 6.87e-05 | 2.6156e-05 | 0.072922 | 0.072922 | 0.072922 | 0.99091 | -0.063392 | 0.99236 | -0.053239 | 27.0081
30 | 0.0062909 | 0.0015755 | -0.0062893 | -0.0015752 | 1.6513e-06 | 2.532e-07 | 0.0094465 | 0.0094466 | 0.0094466 | 0.99091 | -0.063392 | 0.99064 | -0.065291 | 3.4987
31 | -0.048622 | -0.012227 | 0.04869 | 0.012253 | 6.838e-05 | 2.6033e-05 | 0.072922 | 0.072922 | 0.072922 | 0.99236 | -0.053239 | 0.9938 | -0.043163 | 27.008
32 | 0.002289 | 0.00057268 | -0.0022884 | -0.00057352 | 6.1377e-07 | -8.35e-07 | 0.0034379 | 0.0034382 | 0.0034382 | 0.99064 | -0.065291 | 0.99037 | -0.067232 | 1.2734
33 | -0.049884 | -0.012552 | 0.049906 | 0.01256 | 2.1807e-05 | 8.306e-06 | 0.074709 | 0.074709 | 0.074709 | 0.9938 | -0.043163 | 0.99424 | -0.040031 | 27.67
34 | -0.051611 | -0.012988 | 0.051634 | 0.012996 | 2.3258e-05 | 8.8645e-06 | 0.077261 | 0.077261 | 0.077261 | 0.99424 | -0.040031 | 0.99471 | -0.036804 | 28.6153
35 | 0.1702 | 0.042845 | -0.17017 | -0.042831 | 3.6976e-05 | 1.4174e-05 | 0.25429 | 0.25429 | 0.25429 | 0.99622 | -0.026221 | 0.996 | -0.027777 | 47.0912
36 | 0.1134 | 0.028539 | -0.11311 | -0.028428 | 0.00029023 | 0.00011078 | 0.16946 | 0.16946 | 0.16946 | 0.996 | -0.027777 | 0.99337 | -0.046159 | 31.3819
37 | 0.056766 | 0.014292 | -0.056748 | -0.014285 | 1.8388e-05 | 7.019e-06 | 0.084831 | 0.084831 | 0.084831 | 0.996 | -0.027777 | 0.99567 | -0.030096 | 31.4188
38 | 0.097753 | 0.024579 | -0.097506 | -0.024484 | 0.00024674 | 9.4664e-05 | 0.14646 | 0.14646 | 0.14646 | 0.99337 | -0.046159 | 0.99078 | -0.064322 | 54.2433
39 | 0.015358 | 0.0038496 | -0.015351 | -0.0038473 | 6.7448e-06 | 2.3299e-06 | 0.023005 | 0.023005 | 0.023005 | 0.99337 | -0.046159 | 0.99292 | -0.049331 | 8.5205
40 | 0.055066 | 0.013863 | -0.05504 | -0.013853 | 2.6038e-05 | 9.9347e-06 | 0.082318 | 0.082318 | 0.082318 | 0.99567 | -0.030096 | 0.99518 | -0.033483 | 30.4883
41 | 0.071684 | 0.018013 | -0.071516 | -0.017949 | 0.00016728 | 6.4042e-05 | 0.10768 | 0.10768 | 0.10768 | 0.99078 | -0.064322 | 0.9884 | -0.081131 | 39.8797
42 | 0.053358 | 0.013432 | -0.053334 | -0.013422 | 2.4735e-05 | 9.4325e-06 | 0.079803 | 0.079803 | 0.079803 | 0.99518 | -0.033483 | 0.99471 | -0.036804 | 29.5567
43 | 0.063076 | 0.015833 | -0.062978 | -0.015796 | 9.8465e-05 | 3.7647e-05 | 0.094969 | 0.094969 | 0.094969 | 0.9884 | -0.081131 | 0.98681 | -0.09239 | 35.1738
44 | 0.045806 | 0.011491 | -0.045724 | -0.01146 | 8.1522e-05 | 3.1005e-05 | 0.069074 | 0.069075 | 0.069075 | 0.98681 | -0.09239 | 0.985 | -0.10525 | 25.5832
45 | 0.0034484 | 0.00086419 | -0.0034483 | -0.00086422 | 8.5729e-08 | -3.2819e-08 | 0.0051824 | 0.0051824 | 0.0051824 | 0.99013 | -0.068947 | 0.99011 | -0.069127 | 1.9194

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.1999 | 0.050174

## res_load
| p_mw | q_mvar
0 | 0.0059637 | 0.0014946
1 | 0.0063337 | 0.0015874
2 | 0.0070095 | 0.0017567
3 | 0.0053586 | 0.001343
4 | 0.0032811 | 0.00082233
5 | 0.0040843 | 0.0010236
6 | 0.0026725 | 0.00066978
7 | 0.002428 | 0.00060851
8 | 0.0035733 | 0.00089556
9 | 0.0032532 | 0.00081533
10 | 0.0013392 | 0.00033563
11 | 0.00206 | 0.00051627
12 | 0.00089247 | 0.00022367
13 | 0.0021615 | 0.00054172
14 | 0.0038832 | 0.00097323
15 | 0.0031788 | 0.00079668
16 | 0.00537 | 0.0013459
17 | 0.0019335 | 0.00048458
18 | 0.0013412 | 0.00033613
19 | 0.0037512 | 0.00094014
20 | 0.00177 | 0.0004436
21 | 0.0019614 | 0.00049158
22 | 0.0062951 | 0.0015777
23 | 0.0027875 | 0.00069861
24 | 0.00088297 | 0.00022129
25 | 0.0040003 | 0.0010026
26 | 0.0011938 | 0.0002992
27 | 0.0022884 | 0.00057352
28 | 0.0017053 | 0.00042739
29 | 0.0016817 | 0.00042148
30 | 0.001681 | 0.00042131
31 | 0.015302 | 0.003835
32 | 0.015351 | 0.0038473
33 | 0.0016821 | 0.00042158
34 | 0.0084399 | 0.0021152
35 | 0.0016992 | 0.00042587
36 | 0.0058679 | 0.0014706
37 | 0.045724 | 0.01146
38 | 0.0033142 | 0.00083062
39 | 0.0034483 | 0.00086422

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1