## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1365-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1365-4_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1365-4_0_4_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_1365-4_0_4_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_1365-4_0_4_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_1365-4_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1365-4_0_4_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_1365-4_0_4_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_1365-4_0_4_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_1365-4_0_4_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_1365-4_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1365-4_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_1365-4_0_4_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_1365-4_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_1365-4_0_4_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_1365-4_0_4_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_1365-4_0_4_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_1365-4_0_4_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_1365-4_0_4_node_25 | 0.4 | n |  | TRUE
19 | bus_LV_1365-4_0_4_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_1365-4_0_4_node_31 | 0.4 | n |  | TRUE
21 | bus_LV_1365-4_0_4_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_1365-4_0_4_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_1365-4_0_4_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_1365-4_0_4_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_1365-4_0_4_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_1365-4_0_4_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_1365-4_0_4_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_1365-4_0_4_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_1365-4_0_4_node_47 | 0.4 | n |  | TRUE
30 | bus_LV_1365-4_0_4_node_46 | 0.4 | n |  | TRUE
31 | bus_LV_1365-4_0_4_node_48 | 0.4 | n |  | TRUE
32 | bus_LV_1365-4_0_4_node_45 | 0.4 | n |  | TRUE
33 | bus_LV_1365-4_0_4_node_51 | 0.4 | n |  | TRUE
34 | bus_LV_1365-4_0_4_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_1365-4_0_4_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_1365-4_0_4_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_1365-4_0_4_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_1365-4_0_4_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_1365-4_0_4_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_1365-4_0_4_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_1365-4_0_4_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_1365-4_0_4_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_1365-4_0_4_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_1365-4_0_4_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_1365-4_0_4_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_1365-4_0_4_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_1365-4_0_4_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_1365-4_0_4_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_1365-4_0_4_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_1365-4_0_4_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_1365-4_0_4_node_50 | 0.4 | n |  | TRUE
52 | bus_MV_127_0_node_130 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1365-4_0_4_load_0 | 0 | 0.0013729 | 0.00034407 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1365-4_0_4_load_1 | 1 | 0.00087202 | 0.00021855 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1365-4_0_4_load_4 | 2 | 0.0016512 | 0.00041384 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1365-4_0_4_load_5 | 3 | 0.0017807 | 0.00044628 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1365-4_0_4_load_2 | 4 | 0.00285 | 0.00071427 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1365-4_0_4_load_6 | 5 | 0.0025532 | 0.0006399 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1365-4_0_4_load_7 | 6 | 0.0073176 | 0.001834 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1365-4_0_4_load_3 | 7 | 0.0020449 | 0.00051249 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1365-4_0_4_load_18 | 8 | 0.0039487 | 0.00098964 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1365-4_0_4_load_17 | 9 | 0.01892 | 0.0047418 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1365-4_0_4_load_8 | 10 | 0.0020254 | 0.00050761 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1365-4_0_4_load_9 | 11 | 0.0033853 | 0.00084845 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1365-4_0_4_load_12 | 14 | 0.0029626 | 0.00074251 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1365-4_0_4_load_14 | 16 | 0.0058647 | 0.0014698 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1365-4_0_4_load_15 | 17 | 0.0033899 | 0.0008496 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1365-4_0_4_load_25 | 18 | 0.004223 | 0.0010584 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1365-4_0_4_load_22 | 19 | 0.00561 | 0.001406 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1365-4_0_4_load_31 | 20 | 0.010287 | 0.002578 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1365-4_0_4_load_16 | 21 | 0.0019399 | 0.00048617 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1365-4_0_4_load_26 | 22 | 0.008403 | 0.002106 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1365-4_0_4_load_29 | 24 | 0.011564 | 0.0028982 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1365-4_0_4_load_19 | 25 | 0.0034698 | 0.00086961 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1365-4_0_4_load_20 | 26 | 0.014649 | 0.0036714 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1365-4_0_4_load_23 | 27 | 0.0071637 | 0.0017954 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1365-4_0_4_load_47 | 29 | 0.0024367 | 0.0006107 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1365-4_0_4_load_46 | 30 | 0.0038802 | 0.00097246 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1365-4_0_4_load_48 | 31 | 0.0030065 | 0.00075349 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1365-4_0_4_load_45 | 32 | 0.010947 | 0.0027436 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1365-4_0_4_load_51 | 33 | 0.0048874 | 0.0012249 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1365-4_0_4_load_27 | 34 | 0.0056113 | 0.0014063 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1365-4_0_4_load_28 | 35 | 0.0022159 | 0.00055537 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1365-4_0_4_load_30 | 36 | 0.004083 | 0.0010233 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1365-4_0_4_load_32 | 37 | 0.0050868 | 0.0012749 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1365-4_0_4_load_38 | 38 | 0.0012821 | 0.00032132 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1365-4_0_4_load_33 | 40 | 0.0062371 | 0.0015632 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1365-4_0_4_load_34 | 41 | 0.0028839 | 0.00072278 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1365-4_0_4_load_36 | 42 | 0.0070308 | 0.0017621 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1365-4_0_4_load_37 | 43 | 0.0012556 | 0.00031468 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1365-4_0_4_load_39 | 44 | 0.0020176 | 0.00050567 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1365-4_0_4_load_40 | 45 | 0.0029102 | 0.00072937 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1365-4_0_4_load_41 | 46 | 0.0049334 | 0.0012364 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1365-4_0_4_load_42 | 47 | 0.011023 | 0.0027626 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1365-4_0_4_load_49 | 50 | 0.0039116 | 0.00098033 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1365-4_0_4_load_50 | 51 | 0.0018454 | 0.00046249 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1365-4_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.081502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1365-4_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.16843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1365-4_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.20842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1365-4_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.033437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1365-4_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.058867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1365-4_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.071166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1365-4_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.017746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1365-4_0_4_line_7 | NAYY 4x150 SE | 5 | 10 | 0.064856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1365-4_0_4_line_8 | NAYY 4x150 SE | 6 | 11 | 0.023758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1365-4_0_4_line_9 | NAYY 4x150 SE | 8 | 9 | 0.015692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1365-4_0_4_line_10 | NAYY 4x150 SE | 9 | 21 | 0.0066569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1365-4_0_4_line_11 | NAYY 4x150 SE | 10 | 12 | 0.024175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1365-4_0_4_line_12 | NAYY 4x150 SE | 12 | 13 | 0.008875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_1365-4_0_4_line_13 | NAYY 4x150 SE | 12 | 14 | 0.040039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1365-4_0_4_line_14 | NAYY 4x150 SE | 13 | 15 | 0.013015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1365-4_0_4_line_15 | NAYY 4x150 SE | 13 | 16 | 0.014892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1365-4_0_4_line_16 | NAYY 4x150 SE | 14 | 17 | 0.0093253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1365-4_0_4_line_17 | NAYY 4x150 SE | 15 | 18 | 0.021528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1365-4_0_4_line_18 | NAYY 4x150 SE | 15 | 19 | 0.024858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1365-4_0_4_line_19 | NAYY 4x150 SE | 16 | 20 | 0.025715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1365-4_0_4_line_20 | NAYY 4x150 SE | 17 | 21 | 0.02044 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1365-4_0_4_line_21 | NAYY 4x150 SE | 18 | 22 | 0.025411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1365-4_0_4_line_22 | NAYY 4x150 SE | 19 | 23 | 0.044004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1365-4_0_4_line_23 | NAYY 4x150 SE | 20 | 24 | 0.034453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1365-4_0_4_line_24 | NAYY 4x150 SE | 22 | 33 | 0.017659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1365-4_0_4_line_25 | NAYY 4x150 SE | 23 | 27 | 0.019895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1365-4_0_4_line_26 | NAYY 4x150 SE | 23 | 25 | 0.018311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1365-4_0_4_line_27 | NAYY 4x150 SE | 24 | 34 | 0.036586 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1365-4_0_4_line_28 | NAYY 4x150 SE | 25 | 26 | 0.055831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1365-4_0_4_line_29 | NAYY 4x150 SE | 27 | 28 | 0.023884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1365-4_0_4_line_30 | NAYY 4x150 SE | 28 | 29 | 0.015617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1365-4_0_4_line_31 | NAYY 4x150 SE | 28 | 30 | 0.0072128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1365-4_0_4_line_32 | NAYY 4x150 SE | 29 | 31 | 0.021594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1365-4_0_4_line_33 | NAYY 4x150 SE | 30 | 32 | 0.003238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1365-4_0_4_line_34 | NAYY 4x150 SE | 31 | 50 | 0.033218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1365-4_0_4_line_35 | NAYY 4x150 SE | 32 | 49 | 0.056784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1365-4_0_4_line_36 | NAYY 4x150 SE | 34 | 35 | 0.0021378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1365-4_0_4_line_37 | NAYY 4x150 SE | 35 | 36 | 0.0035455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1365-4_0_4_line_38 | NAYY 4x150 SE | 36 | 37 | 0.020284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1365-4_0_4_line_39 | NAYY 4x150 SE | 37 | 38 | 0.014369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1365-4_0_4_line_40 | NAYY 4x150 SE | 38 | 39 | 0.004547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1365-4_0_4_line_41 | NAYY 4x150 SE | 39 | 43 | 0.0042899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1365-4_0_4_line_42 | NAYY 4x150 SE | 39 | 40 | 0.031597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1365-4_0_4_line_43 | NAYY 4x150 SE | 40 | 41 | 0.011064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1365-4_0_4_line_44 | NAYY 4x150 SE | 41 | 42 | 0.032385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1365-4_0_4_line_45 | NAYY 4x150 SE | 43 | 44 | 0.0094489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1365-4_0_4_line_46 | NAYY 4x150 SE | 44 | 45 | 0.0099008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1365-4_0_4_line_47 | NAYY 4x150 SE | 45 | 46 | 0.018718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1365-4_0_4_line_48 | NAYY 4x150 SE | 47 | 48 | 0.05995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1365-4_0_4_line_49 | NAYY 4x150 SE | 48 | 49 | 0.06621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1365-4_0_4_line_50 | NAYY 4x150 SE | 50 | 51 | 0.012749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1365-4_0_4_trafo_10 | 0.25 MVA 20/0.4 kV | 52 | 12 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2686895.2104 | 1209380.1617 | 2686940.1069 | 1209448.1828
1 | 2686788.2681 | 1209521.0823 | 2686940.1069 | 1209448.1828
2 | 2687077.1076 | 1209605.2424 | 2686940.1069 | 1209448.1828
3 | 2686779.8608 | 1209546.6403 | 2686779.8608 | 1209546.6403 | 2686788.0498 | 1209542.3454 | 2686793.8408 | 1209533.5906 | 2686788.2681 | 1209521.0823
4 | 2687077.1076 | 1209605.2424 | 2687079.7772 | 1209604.8916 | 2687082.4215 | 1209604.9747 | 2687095.4819 | 1209609.6462 | 2687099.0662 | 1209611.4663 | 2687102.1607 | 1209613.5128 | 2687104.3298 | 1209615.4235 | 2687106.2208 | 1209617.6304 | 2687107.3087 | 1209619.6587 | 2687108.299 | 1209622.1192 | 2687108.9774 | 1209625.12 | 2687109.3417 | 1209627.7604 | 2687109.5886 | 1209631.6777 | 2687108.882 | 1209643.1662
5 | 2687077.1076 | 1209605.2424 | 2687076.7306 | 1209605.2919 | 2687072.6524 | 1209606.5777 | 2687069.2549 | 1209608.6183 | 2687053.4864 | 1209619.6956 | 2687041.0156 | 1209629.32 | 2687031.4634 | 1209636.8968 | 2687027.7039 | 1209641.8675 | 2687024.8942 | 1209650.5211 | 2687024.8942 | 1209650.5211
6 | 2686779.8608 | 1209546.6403 | 2686772.5348 | 1209559.5423 | 2686770.1255 | 1209561.1721
7 | 2687080.6378 | 1209697.7365 | 2687100.2281 | 1209679.2168 | 2687102.6127 | 1209676.2607 | 2687104.2596 | 1209673.8387 | 2687105.6917 | 1209670.513 | 2687106.3054 | 1209667.5311 | 2687108.6614 | 1209646.7518 | 2687108.882 | 1209643.1662
8 | 2687034.5811 | 1209668.6076 | 2687029.4487 | 1209667.6432 | 2687026.7018 | 1209664.7012 | 2687025.1882 | 1209661.1101 | 2687024.7967 | 1209657.2019 | 2687024.725 | 1209654.2989 | 2687024.8942 | 1209650.5211
9 | 2686976.1733 | 1209698.498 | 2686990.4961 | 1209704.9093
10 | 2686996.5721 | 1209707.6291 | 2686990.4961 | 1209704.9093
11 | 2687064.6117 | 1209715.7767 | 2687071.334 | 1209707.2914 | 2687075.4769 | 1209702.6154 | 2687080.6378 | 1209697.7365
12 | 2687064.6117 | 1209715.7767 | 2687071.0986 | 1209721.8531
13 | 2687064.6117 | 1209715.7767 | 2687060.8453 | 1209715.4993 | 2687056.4392 | 1209715.813 | 2687052.414 | 1209716.0767 | 2687044.6583 | 1209716.2081 | 2687039.8527 | 1209716.2936 | 2687030.3622 | 1209716.5221 | 2687024.6078 | 1209716.5808
14 | 2687071.0986 | 1209721.8531 | 2687067.1685 | 1209725.4982 | 2687061.8126 | 1209730.9903
15 | 2687071.0986 | 1209721.8531 | 2687081.1732 | 1209713.3723 | 2687082.5238 | 1209712.3018
16 | 2687024.6078 | 1209716.5808 | 2687021.8469 | 1209716.609 | 2687018.8701 | 1209716.3988 | 2687015.3771 | 1209715.6141
17 | 2687061.8126 | 1209730.9903 | 2687078.0097 | 1209745.1719
18 | 2687061.8126 | 1209730.9903 | 2687058.3862 | 1209734.4982 | 2687044.3828 | 1209748.7139
19 | 2687082.5238 | 1209712.3018 | 2687093.4324 | 1209703.6559 | 2687102.7159 | 1209696.3785
20 | 2686996.5721 | 1209707.6291 | 2687010.1672 | 1209713.7146 | 2687015.3771 | 1209715.6141 | 2687015.3771 | 1209715.6141
21 | 2687078.0097 | 1209745.1719 | 2687085.7938 | 1209751.9874 | 2687090.5819 | 1209752.0573 | 2687098.4967 | 1209745.5031
22 | 2687013.5018 | 1209780.0625 | 2687027.3983 | 1209765.9558 | 2687044.3828 | 1209748.7139
23 | 2687130.1954 | 1209675.5984 | 2687106.7436 | 1209693.2211 | 2687102.7159 | 1209696.3785
24 | 2687111.3253 | 1209733.4478 | 2687106.8103 | 1209738.6186 | 2687098.4967 | 1209745.5031
25 | 2687013.5018 | 1209780.0625 | 2687006.3268 | 1209787.2848 | 2686999.4808 | 1209794.177
26 | 2687013.5018 | 1209780.0625 | 2687005.2227 | 1209771.7807 | 2687000.5553 | 1209767.1129
27 | 2687159.4441 | 1209653.6196 | 2687130.1954 | 1209675.5984
28 | 2687000.5553 | 1209767.1129 | 2686961.0791 | 1209727.6327
29 | 2686982.6494 | 1209811.122 | 2686999.4808 | 1209794.177
30 | 2686982.6494 | 1209811.122 | 2686994.0877 | 1209820.1391 | 2686994.9542 | 1209820.7347
31 | 2686982.6494 | 1209811.122 | 2686977.5331 | 1209816.2061
32 | 2687012.7788 | 1209832.9242 | 2687008.237 | 1209829.8629 | 2686994.9542 | 1209820.7347
33 | 2686975.2362 | 1209818.4885 | 2686977.5331 | 1209816.2061
34 | 2687012.7788 | 1209832.9242 | 2687029.3294 | 1209844.0798 | 2687040.0614 | 1209851.8658
35 | 2686934.9572 | 1209858.5138 | 2686975.2362 | 1209818.4885
36 | 2687159.4441 | 1209653.6196 | 2687161.1532 | 1209652.3353
37 | 2687161.1532 | 1209652.3353 | 2687163.9876 | 1209650.2054
38 | 2687180.2035 | 1209638.02 | 2687163.9876 | 1209650.2054
39 | 2687180.2035 | 1209638.02 | 2687183.2606 | 1209635.7228 | 2687191.793 | 1209629.526
40 | 2687195.4698 | 1209626.8509 | 2687191.9046 | 1209629.4449 | 2687191.793 | 1209629.526
41 | 2687195.4698 | 1209626.8509 | 2687198.9417 | 1209624.3311
42 | 2687195.4698 | 1209626.8509 | 2687177.2067 | 1209601.0671
43 | 2687177.2067 | 1209601.0671 | 2687172.392 | 1209591.1052
44 | 2687156.2346 | 1209571.2967 | 2687164.6219 | 1209569.5848 | 2687167.0484 | 1209571.0434 | 2687169.0289 | 1209574.9304 | 2687171.0749 | 1209588.3803 | 2687172.392 | 1209591.1052
45 | 2687198.9417 | 1209624.3311 | 2687206.5888 | 1209618.7811
46 | 2687214.6017 | 1209612.9657 | 2687214.6017 | 1209612.9657 | 2687206.5888 | 1209618.7811
47 | 2687230.8289 | 1209603.6448 | 2687228.9937 | 1209604.5483 | 2687214.6017 | 1209612.9657
48 | 2686888.3637 | 1209861.8597 | 2686892.2737 | 1209802.0369
49 | 2686888.3637 | 1209861.8597 | 2686909.1399 | 1209883.6988 | 2686921.5551 | 1209871.5828 | 2686934.9572 | 1209858.5138
50 | 2687044.2778 | 1209862.3977 | 2687045.0766 | 1209859.4196 | 2687043.9371 | 1209854.6777 | 2687040.0614 | 1209851.8658

## bus_geodata
| x | y | coords
0 | 2686895.2104 | 1209380.1617
1 | 2686940.1069 | 1209448.1828
2 | 2686788.2681 | 1209521.0823
3 | 2687077.1076 | 1209605.2424
4 | 2686779.8608 | 1209546.6403
5 | 2687108.882 | 1209643.1662
6 | 2687024.8942 | 1209650.5211
7 | 2686770.1255 | 1209561.1721
8 | 2686976.1733 | 1209698.498
9 | 2686990.4961 | 1209704.9093
10 | 2687080.6378 | 1209697.7365
11 | 2687034.5811 | 1209668.6076
12 | 2687064.6117 | 1209715.7767
13 | 2687071.0986 | 1209721.8531
14 | 2687024.6078 | 1209716.5808
15 | 2687061.8126 | 1209730.9903
16 | 2687082.5238 | 1209712.3018
17 | 2687015.3771 | 1209715.6141
18 | 2687078.0097 | 1209745.1719
19 | 2687044.3828 | 1209748.7139
20 | 2687102.7159 | 1209696.3785
21 | 2686996.5721 | 1209707.6291
22 | 2687098.4967 | 1209745.5031
23 | 2687013.5018 | 1209780.0625
24 | 2687130.1954 | 1209675.5984
25 | 2687000.5553 | 1209767.1129
26 | 2686961.0791 | 1209727.6327
27 | 2686999.4808 | 1209794.177
28 | 2686982.6494 | 1209811.122
29 | 2686994.9542 | 1209820.7347
30 | 2686977.5331 | 1209816.2061
31 | 2687012.7788 | 1209832.9242
32 | 2686975.2362 | 1209818.4885
33 | 2687111.3253 | 1209733.4478
34 | 2687159.4441 | 1209653.6196
35 | 2687161.1532 | 1209652.3353
36 | 2687163.9876 | 1209650.2054
37 | 2687180.2035 | 1209638.02
38 | 2687191.793 | 1209629.526
39 | 2687195.4698 | 1209626.8509
40 | 2687177.2067 | 1209601.0671
41 | 2687172.392 | 1209591.1052
42 | 2687156.2346 | 1209571.2967
43 | 2687198.9417 | 1209624.3311
44 | 2687206.5888 | 1209618.7811
45 | 2687214.6017 | 1209612.9657
46 | 2687230.8289 | 1209603.6448
47 | 2686892.2737 | 1209802.0369
48 | 2686888.3637 | 1209861.8597
49 | 2686934.9573 | 1209858.5138
50 | 2687040.0614 | 1209851.8658
51 | 2687044.2778 | 1209862.3977
52 | 2687071.0986 | 1209721.8531

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99229 | -0.054161 | 0.0013729 | 0.00034407
1 | 0.99245 | -0.053024 | 0.00087202 | 0.00021855
2 | 0.99087 | -0.064236 | 0.0016512 | 0.00041384
3 | 0.99509 | -0.034426 | 0.0017807 | 0.00044628
4 | 0.99063 | -0.065901 | 0.00285 | 0.00071427
5 | 0.99689 | -0.021789 | 0.0025532 | 0.0006399
6 | 0.994 | -0.042115 | 0.0073176 | 0.001834
7 | 0.99058 | -0.06627 | 0.0020449 | 0.00051249
8 | 0.99681 | -0.02235 | 0.0039487 | 0.00098964
9 | 0.9969 | -0.021728 | 0.01892 | 0.0047418
10 | 0.9991 | -0.0062605 | 0.0020254 | 0.00050761
11 | 0.99388 | -0.042928 | 0.0033853 | 0.00084845
12 | 1 | 0 | -0.21829 | -0.054723
13 | 0.99899 | -0.0070399 | 0 | 0
14 | 0.99822 | -0.012477 | 0.0029626 | 0.00074251
15 | 0.99739 | -0.018187 | 0 | 0
16 | 0.99742 | -0.017972 | 0.0058647 | 0.0014698
17 | 0.99784 | -0.015112 | 0.0033899 | 0.0008496
18 | 0.99685 | -0.021973 | 0.004223 | 0.0010584
19 | 0.99495 | -0.035184 | 0.00561 | 0.001406
20 | 0.99492 | -0.035409 | 0.010287 | 0.002578
21 | 0.99712 | -0.020199 | 0.0019399 | 0.00048617
22 | 0.99636 | -0.025367 | 0.008403 | 0.002106
23 | 0.99099 | -0.062966 | 0 | 0
24 | 0.99208 | -0.055312 | 0.011564 | 0.0028982
25 | 0.99052 | -0.06634 | 0.0034698 | 0.00086961
26 | 0.98934 | -0.074671 | 0.014649 | 0.0036714
27 | 0.98972 | -0.071923 | 0.0071637 | 0.0017954
28 | 0.98845 | -0.080957 | 0 | 0
29 | 0.98819 | -0.082745 | 0.0024367 | 0.0006107
30 | 0.98818 | -0.082863 | 0.0038802 | 0.00097246
31 | 0.98792 | -0.084681 | 0.0030065 | 0.00075349
32 | 0.98807 | -0.083591 | 0.010947 | 0.0027436
33 | 0.99624 | -0.026235 | 0.0048874 | 0.0012249
34 | 0.98968 | -0.072257 | 0.0056113 | 0.0014063
35 | 0.98955 | -0.073128 | 0.0022159 | 0.00055537
36 | 0.98936 | -0.074492 | 0.004083 | 0.0010233
37 | 0.98838 | -0.081458 | 0.0050868 | 0.0012749
38 | 0.98778 | -0.085654 | 0.0012821 | 0.00032132
39 | 0.9876 | -0.086923 | 0 | 0
40 | 0.98687 | -0.092151 | 0.0062371 | 0.0015632
41 | 0.98671 | -0.093276 | 0.0028839 | 0.00072278
42 | 0.98638 | -0.095611 | 0.0070308 | 0.0017621
43 | 0.98754 | -0.087411 | 0.0012556 | 0.00031468
44 | 0.9874 | -0.088365 | 0.0020176 | 0.00050567
45 | 0.98729 | -0.08916 | 0.0029102 | 0.00072937
46 | 0.98716 | -0.090106 | 0.0049334 | 0.0012364
47 | 0.98516 | -0.10428 | 0.011023 | 0.0027626
48 | 0.98611 | -0.097493 | 0 | 0
49 | 0.98717 | -0.090004 | 0 | 0
50 | 0.98764 | -0.086638 | 0.0039116 | 0.00098033
51 | 0.98761 | -0.086879 | 0.0018454 | 0.00046249
52 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0013729 | -0.00034407 | 0.0013731 | 0.0003431 | 2.1551e-07 | -9.7011e-07 | 0.0020587 | 0.0020583 | 0.0020587 | 0.99229 | -0.054161 | 0.99245 | -0.053024 | 0.76249
1 | 0.0065575 | 0.0016422 | -0.0065473 | -0.0016404 | 1.016e-05 | 1.7345e-06 | 0.0098314 | 0.0098322 | 0.0098322 | 0.99245 | -0.053024 | 0.99087 | -0.064236 | 3.6415
2 | -0.0088026 | -0.0022038 | 0.0088253 | 0.0022098 | 2.2649e-05 | 6.0108e-06 | 0.013197 | 0.013196 | 0.013197 | 0.99245 | -0.053024 | 0.99509 | -0.034426 | 4.8878
3 | 0.0048961 | 0.0012266 | -0.004895 | -0.0012266 | 1.1279e-06 | 3.2293e-09 | 0.0073524 | 0.0073526 | 0.0073526 | 0.99087 | -0.064236 | 0.99063 | -0.065901 | 2.7232
4 | -0.021321 | -0.0053418 | 0.021358 | 0.0053554 | 3.7336e-05 | 1.3594e-05 | 0.031881 | 0.031881 | 0.031881 | 0.99509 | -0.034426 | 0.99689 | -0.021789 | 11.8079
5 | 0.010715 | 0.0026857 | -0.010703 | -0.0026822 | 1.14e-05 | 3.4613e-06 | 0.016022 | 0.016023 | 0.016023 | 0.99509 | -0.034426 | 0.994 | -0.042115 | 5.9344
6 | 0.002045 | 0.00051231 | -0.0020449 | -0.00051249 | 1.0448e-07 | -1.8827e-07 | 0.0030717 | 0.0030717 | 0.0030717 | 0.99063 | -0.065901 | 0.99058 | -0.06627 | 1.1377
7 | -0.023911 | -0.0059953 | 0.023963 | 0.0060143 | 5.1556e-05 | 1.8982e-05 | 0.035692 | 0.035692 | 0.035692 | 0.99689 | -0.021789 | 0.9991 | -0.0062605 | 13.2194
8 | 0.0033857 | 0.00084828 | -0.0033853 | -0.00084845 | 3.8083e-07 | -1.6144e-07 | 0.0050683 | 0.0050685 | 0.0050685 | 0.994 | -0.042115 | 0.99388 | -0.042928 | 1.8772
9 | -0.0039487 | -0.00098964 | 0.0039491 | 0.00098957 | 3.4023e-07 | -7.3722e-08 | 0.0058946 | 0.0058945 | 0.0058946 | 0.99681 | -0.02235 | 0.9969 | -0.021728 | 2.1832
10 | -0.022869 | -0.0057313 | 0.022874 | 0.0057331 | 4.8402e-06 | 1.7748e-06 | 0.034135 | 0.034135 | 0.034135 | 0.9969 | -0.021728 | 0.99712 | -0.020199 | 12.6426
11 | -0.025988 | -0.0065219 | 0.026011 | 0.0065303 | 2.2603e-05 | 8.3764e-06 | 0.038709 | 0.038708 | 0.038709 | 0.9991 | -0.0062605 | 1 | 0 | 14.3365
12 | 0.16023 | 0.040351 | -0.16008 | -0.04029 | 0.0001575 | 6.0346e-05 | 0.2385 | 0.2385 | 0.2385 | 1 | 0 | 0.99899 | -0.0070399 | 44.1663
13 | 0.031248 | 0.0078419 | -0.031194 | -0.0078217 | 5.4025e-05 | 2.0255e-05 | 0.046501 | 0.046501 | 0.046501 | 1 | 0 | 0.99822 | -0.012477 | 17.2227
14 | 0.086185 | 0.021691 | -0.086051 | -0.021639 | 0.00013391 | 5.1332e-05 | 0.12841 | 0.12841 | 0.12841 | 0.99899 | -0.0070399 | 0.99739 | -0.018187 | 47.5579
15 | 0.073892 | 0.0186 | -0.073779 | -0.018557 | 0.00011263 | 4.3125e-05 | 0.11009 | 0.11009 | 0.11009 | 0.99899 | -0.0070399 | 0.99742 | -0.017972 | 40.7748
16 | 0.028231 | 0.0070792 | -0.028221 | -0.0070753 | 1.0306e-05 | 3.8421e-06 | 0.042085 | 0.042085 | 0.042085 | 0.99822 | -0.012477 | 0.99784 | -0.015112 | 15.587
17 | 0.017529 | 0.0043946 | -0.01752 | -0.0043914 | 9.1884e-06 | 3.2532e-06 | 0.026153 | 0.026153 | 0.026153 | 0.99739 | -0.018187 | 0.99685 | -0.021973 | 9.6863
18 | 0.068521 | 0.017245 | -0.068359 | -0.017183 | 0.00016218 | 6.2055e-05 | 0.10225 | 0.10225 | 0.10225 | 0.99739 | -0.018187 | 0.99495 | -0.035184 | 37.8717
19 | 0.067914 | 0.017087 | -0.067749 | -0.017024 | 0.0001648 | 6.305e-05 | 0.10134 | 0.10134 | 0.10134 | 0.99742 | -0.017972 | 0.99492 | -0.035409 | 37.5343
20 | 0.024831 | 0.0062257 | -0.024814 | -0.0062193 | 1.7489e-05 | 6.4599e-06 | 0.03703 | 0.03703 | 0.03703 | 0.99784 | -0.015112 | 0.99712 | -0.020199 | 13.7148
21 | 0.013297 | 0.003333 | -0.013291 | -0.0033309 | 6.2474e-06 | 2.0717e-06 | 0.019849 | 0.019849 | 0.019849 | 0.99685 | -0.021973 | 0.99636 | -0.025367 | 7.3517
22 | 0.062749 | 0.015777 | -0.062507 | -0.015684 | 0.00024192 | 9.2477e-05 | 0.093863 | 0.093863 | 0.093863 | 0.99495 | -0.035184 | 0.99099 | -0.062966 | 34.7643
23 | 0.057463 | 0.014446 | -0.057304 | -0.014385 | 0.00015885 | 6.0649e-05 | 0.085958 | 0.085958 | 0.085958 | 0.99492 | -0.035409 | 0.99208 | -0.055312 | 31.8364
24 | 0.004888 | 0.0012249 | -0.0048874 | -0.0012249 | 5.8721e-07 | -4.1104e-09 | 0.0073 | 0.0073001 | 0.0073001 | 0.99636 | -0.025367 | 0.99624 | -0.026235 | 2.7037
25 | 0.044363 | 0.011134 | -0.044308 | -0.011113 | 5.5096e-05 | 2.0935e-05 | 0.066618 | 0.066618 | 0.066618 | 0.99099 | -0.062966 | 0.98972 | -0.071923 | 24.6735
26 | 0.018144 | 0.0045498 | -0.018136 | -0.0045468 | 8.4816e-06 | 3.0264e-06 | 0.027245 | 0.027245 | 0.027245 | 0.99099 | -0.062966 | 0.99052 | -0.06634 | 10.0908
27 | 0.04574 | 0.011487 | -0.045633 | -0.011446 | 0.00010748 | 4.0867e-05 | 0.068614 | 0.068614 | 0.068614 | 0.99208 | -0.055312 | 0.98968 | -0.072257 | 25.4125
28 | 0.014666 | 0.0036772 | -0.014649 | -0.0036714 | 1.6912e-05 | 5.7868e-06 | 0.022033 | 0.022033 | 0.022033 | 0.99052 | -0.06634 | 0.98934 | -0.074671 | 8.1603
29 | 0.037144 | 0.009318 | -0.037098 | -0.0093004 | 4.6484e-05 | 1.7572e-05 | 0.055848 | 0.055848 | 0.055848 | 0.98972 | -0.071923 | 0.98845 | -0.080957 | 20.6846
30 | 0.011207 | 0.0028085 | -0.011204 | -0.0028077 | 2.7736e-06 | 8.6665e-07 | 0.016871 | 0.016871 | 0.016871 | 0.98845 | -0.080957 | 0.98819 | -0.082745 | 6.2485
31 | 0.025891 | 0.0064919 | -0.025884 | -0.0064893 | 6.8378e-06 | 2.5375e-06 | 0.038977 | 0.038977 | 0.038977 | 0.98845 | -0.080957 | 0.98818 | -0.082863 | 14.4361
32 | 0.0087673 | 0.002197 | -0.008765 | -0.0021963 | 2.3485e-06 | 6.2668e-07 | 0.013202 | 0.013202 | 0.013202 | 0.98819 | -0.082745 | 0.98792 | -0.084681 | 4.8895
33 | 0.022004 | 0.0055169 | -0.022002 | -0.005516 | 2.2183e-06 | 8.1172e-07 | 0.033135 | 0.033135 | 0.033135 | 0.98818 | -0.082863 | 0.98807 | -0.083591 | 12.2721
34 | 0.0057585 | 0.0014429 | -0.005757 | -0.0014427 | 1.5594e-06 | 1.7454e-07 | 0.0086734 | 0.0086736 | 0.0086736 | 0.98792 | -0.084681 | 0.98764 | -0.086638 | 3.2124
35 | 0.011055 | 0.0027725 | -0.011045 | -0.0027694 | 9.8215e-06 | 3.0509e-06 | 0.016649 | 0.016649 | 0.016649 | 0.98807 | -0.083591 | 0.98717 | -0.090004 | 6.1663
36 | 0.040021 | 0.01004 | -0.040017 | -0.010038 | 4.8307e-06 | 1.8305e-06 | 0.060177 | 0.060177 | 0.060177 | 0.98968 | -0.072257 | 0.98955 | -0.073128 | 22.2878
37 | 0.037801 | 0.0094825 | -0.037794 | -0.0094797 | 7.149e-06 | 2.7041e-06 | 0.056845 | 0.056845 | 0.056845 | 0.98955 | -0.073128 | 0.98936 | -0.074492 | 21.0537
38 | 0.033711 | 0.0084565 | -0.033678 | -0.0084442 | 3.2541e-05 | 1.2255e-05 | 0.050704 | 0.050704 | 0.050704 | 0.98936 | -0.074492 | 0.98838 | -0.081458 | 18.7793
39 | 0.028591 | 0.0071693 | -0.028575 | -0.0071631 | 1.6614e-05 | 6.2061e-06 | 0.043046 | 0.043046 | 0.043046 | 0.98838 | -0.081458 | 0.98778 | -0.085654 | 15.943
40 | 0.027293 | 0.0068418 | -0.027288 | -0.00684 | 4.7962e-06 | 1.7865e-06 | 0.041115 | 0.041115 | 0.041115 | 0.98778 | -0.085654 | 0.9876 | -0.086923 | 15.2277
41 | 0.01112 | 0.002787 | -0.01112 | -0.0027867 | 7.5148e-07 | 2.3414e-07 | 0.016755 | 0.016755 | 0.016755 | 0.9876 | -0.086923 | 0.98754 | -0.087411 | 6.2056
42 | 0.016167 | 0.004053 | -0.016156 | -0.0040489 | 1.17e-05 | 4.0958e-06 | 0.02436 | 0.02436 | 0.02436 | 0.9876 | -0.086923 | 0.98687 | -0.092151 | 9.0221
43 | 0.0099186 | 0.0024858 | -0.009917 | -0.0024853 | 1.5442e-06 | 4.5258e-07 | 0.014955 | 0.014955 | 0.014955 | 0.98687 | -0.092151 | 0.98671 | -0.093276 | 5.539
44 | 0.0070331 | 0.0017625 | -0.0070308 | -0.0017621 | 2.2733e-06 | 4.6084e-07 | 0.010606 | 0.010606 | 0.010606 | 0.98671 | -0.093276 | 0.98638 | -0.095611 | 3.9283
45 | 0.0098641 | 0.0024721 | -0.0098628 | -0.0024717 | 1.3025e-06 | 3.801e-07 | 0.014863 | 0.014863 | 0.014863 | 0.98754 | -0.087411 | 0.9874 | -0.088365 | 5.5049
46 | 0.0078451 | 0.001966 | -0.0078443 | -0.0019658 | 8.6354e-07 | 2.0551e-07 | 0.011823 | 0.011823 | 0.011823 | 0.9874 | -0.088365 | 0.98729 | -0.08916 | 4.3788
47 | 0.0049341 | 0.0012364 | -0.0049334 | -0.0012364 | 6.4593e-07 | 9.0996e-09 | 0.0074364 | 0.0074365 | 0.0074365 | 0.98729 | -0.08916 | 0.98716 | -0.090106 | 2.7543
48 | -0.011023 | -0.0027626 | 0.011033 | 0.0027658 | 1.037e-05 | 3.2243e-06 | 0.01665 | 0.016649 | 0.01665 | 0.98516 | -0.10428 | 0.98611 | -0.097493 | 6.1665
49 | -0.011033 | -0.0027658 | 0.011045 | 0.0027694 | 1.1452e-05 | 3.5591e-06 | 0.016649 | 0.016649 | 0.016649 | 0.98611 | -0.097493 | 0.98717 | -0.090004 | 6.1664
50 | 0.0018454 | 0.00046235 | -0.0018454 | -0.00046249 | 6.1495e-08 | -1.3949e-07 | 0.0027803 | 0.0027804 | 0.0027804 | 0.98764 | -0.086638 | 0.98761 | -0.086879 | 1.0298

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.21829 | 0.054723

## res_load
| p_mw | q_mvar
0 | 0.0013729 | 0.00034407
1 | 0.00087202 | 0.00021855
2 | 0.0016512 | 0.00041384
3 | 0.0017807 | 0.00044628
4 | 0.00285 | 0.00071427
5 | 0.0025532 | 0.0006399
6 | 0.0073176 | 0.001834
7 | 0.0020449 | 0.00051249
8 | 0.0039487 | 0.00098964
9 | 0.01892 | 0.0047418
10 | 0.0020254 | 0.00050761
11 | 0.0033853 | 0.00084845
12 | 0.0029626 | 0.00074251
13 | 0.0058647 | 0.0014698
14 | 0.0033899 | 0.0008496
15 | 0.004223 | 0.0010584
16 | 0.00561 | 0.001406
17 | 0.010287 | 0.002578
18 | 0.0019399 | 0.00048617
19 | 0.008403 | 0.002106
20 | 0.011564 | 0.0028982
21 | 0.0034698 | 0.00086961
22 | 0.014649 | 0.0036714
23 | 0.0071637 | 0.0017954
24 | 0.0024367 | 0.0006107
25 | 0.0038802 | 0.00097246
26 | 0.0030065 | 0.00075349
27 | 0.010947 | 0.0027436
28 | 0.0048874 | 0.0012249
29 | 0.0056113 | 0.0014063
30 | 0.0022159 | 0.00055537
31 | 0.004083 | 0.0010233
32 | 0.0050868 | 0.0012749
33 | 0.0012821 | 0.00032132
34 | 0.0062371 | 0.0015632
35 | 0.0028839 | 0.00072278
36 | 0.0070308 | 0.0017621
37 | 0.0012556 | 0.00031468
38 | 0.0020176 | 0.00050567
39 | 0.0029102 | 0.00072937
40 | 0.0049334 | 0.0012364
41 | 0.011023 | 0.0027626
42 | 0.0039116 | 0.00098033
43 | 0.0018454 | 0.00046249

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1