## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1365-6_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1365-6_0_3_node_48 | 0.4 | n |  | TRUE
2 | bus_LV_1365-6_0_3_node_46 | 0.4 | n |  | TRUE
3 | bus_LV_1365-6_0_3_node_1 | 0.4 | n |  | TRUE
4 | bus_LV_1365-6_0_3_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_1365-6_0_3_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_1365-6_0_3_node_27 | 0.4 | n |  | TRUE
7 | bus_LV_1365-6_0_3_node_42 | 0.4 | n |  | TRUE
8 | bus_LV_1365-6_0_3_node_26 | 0.4 | n |  | TRUE
9 | bus_LV_1365-6_0_3_node_37 | 0.4 | n |  | TRUE
10 | bus_LV_1365-6_0_3_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_1365-6_0_3_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_1365-6_0_3_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_1365-6_0_3_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_1365-6_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1365-6_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_1365-6_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_1365-6_0_3_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_1365-6_0_3_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_1365-6_0_3_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_1365-6_0_3_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_1365-6_0_3_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_1365-6_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1365-6_0_3_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_1365-6_0_3_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_1365-6_0_3_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_1365-6_0_3_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_1365-6_0_3_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_1365-6_0_3_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_1365-6_0_3_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_1365-6_0_3_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_1365-6_0_3_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_1365-6_0_3_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_1365-6_0_3_node_29 | 0.4 | n |  | TRUE
34 | bus_LV_1365-6_0_3_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_1365-6_0_3_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_1365-6_0_3_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_1365-6_0_3_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_1365-6_0_3_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_1365-6_0_3_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_1365-6_0_3_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_1365-6_0_3_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_1365-6_0_3_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_1365-6_0_3_node_51 | 0.4 | n |  | TRUE
44 | bus_LV_1365-6_0_3_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_1365-6_0_3_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_1365-6_0_3_node_41 | 0.4 | n |  | TRUE
47 | bus_LV_1365-6_0_3_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_1365-6_0_3_node_50 | 0.4 | n |  | TRUE
49 | bus_LV_1365-6_0_3_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_1365-6_0_3_node_47 | 0.4 | n |  | TRUE
51 | bus_MV_1_0_node_59 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1365-6_0_3_load_0 | 0 | 0.007065 | 0.0017707 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1365-6_0_3_load_48 | 1 | 0.0055214 | 0.0013838 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1365-6_0_3_load_46 | 2 | 0.0026054 | 0.00065298 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1365-6_0_3_load_2 | 4 | 0.0042675 | 0.0010695 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1365-6_0_3_load_3 | 5 | 0.0051342 | 0.0012868 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1365-6_0_3_load_27 | 6 | 0.0045603 | 0.0011429 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1365-6_0_3_load_26 | 8 | 0.0036093 | 0.00090457 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1365-6_0_3_load_4 | 10 | 0.004495 | 0.0011265 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1365-6_0_3_load_5 | 11 | 0.005264 | 0.0013193 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1365-6_0_3_load_6 | 12 | 0.0032332 | 0.0008103 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1365-6_0_3_load_8 | 14 | 0.0015942 | 0.00039954 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1365-6_0_3_load_10 | 15 | 0.0037918 | 0.00095031 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1365-6_0_3_load_9 | 16 | 0.0079116 | 0.0019828 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1365-6_0_3_load_24 | 18 | 0.0027266 | 0.00068334 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1365-6_0_3_load_11 | 20 | 0.0025029 | 0.00062728 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1365-6_0_3_load_12 | 21 | 0.00464 | 0.0011629 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1365-6_0_3_load_13 | 22 | 0.0039276 | 0.00098434 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1365-6_0_3_load_15 | 24 | 0.0034027 | 0.00085279 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1365-6_0_3_load_17 | 26 | 0.0039998 | 0.0010024 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1365-6_0_3_load_18 | 27 | 0.0045246 | 0.001134 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1365-6_0_3_load_25 | 28 | 0.0039487 | 0.00098964 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1365-6_0_3_load_28 | 29 | 0.0047894 | 0.0012003 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1365-6_0_3_load_21 | 30 | 0.0020617 | 0.00051671 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1365-6_0_3_load_22 | 31 | 0.0023648 | 0.00059266 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1365-6_0_3_load_23 | 32 | 0.0020355 | 0.00051016 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1365-6_0_3_load_29 | 33 | 0.0021301 | 0.00053385 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1365-6_0_3_load_30 | 34 | 0.0027343 | 0.00068528 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1365-6_0_3_load_32 | 36 | 0.0038506 | 0.00096506 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1365-6_0_3_load_33 | 37 | 0.003332 | 0.00083509 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1365-6_0_3_load_34 | 38 | 0.011942 | 0.002993 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1365-6_0_3_load_40 | 39 | 0.006403 | 0.0016048 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1365-6_0_3_load_39 | 41 | 0.0048414 | 0.0012134 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1365-6_0_3_load_51 | 43 | 0.0037082 | 0.00092935 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1365-6_0_3_load_43 | 44 | 0.0026872 | 0.00067347 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1365-6_0_3_load_44 | 45 | 0.0038791 | 0.00097219 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1365-6_0_3_load_41 | 46 | 0.0019317 | 0.00048413 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1365-6_0_3_load_45 | 47 | 0.0022892 | 0.00057373 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1365-6_0_3_load_50 | 48 | 0.004558 | 0.0011423 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1365-6_0_3_load_49 | 49 | 0.0022934 | 0.00057477 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1365-6_0_3_load_47 | 50 | 0.0025973 | 0.00065094 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1365-6_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.059096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1365-6_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.013733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1365-6_0_3_line_2 | NAYY 4x150 SE | 2 | 50 | 0.004621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1365-6_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.015441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_1365-6_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.016869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_1365-6_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.03077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_1365-6_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.023465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_1365-6_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.0086601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_1365-6_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.003635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_1365-6_0_3_line_9 | NAYY 4x150 SE | 8 | 32 | 0.0098341 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1365-6_0_3_line_10 | NAYY 4x150 SE | 9 | 44 | 0.014222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1365-6_0_3_line_11 | NAYY 4x150 SE | 9 | 40 | 0.030103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_1365-6_0_3_line_12 | NAYY 4x150 SE | 10 | 11 | 0.019082 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1365-6_0_3_line_13 | NAYY 4x150 SE | 10 | 12 | 0.0083698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1365-6_0_3_line_14 | NAYY 4x150 SE | 11 | 13 | 0.030365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1365-6_0_3_line_15 | NAYY 4x150 SE | 12 | 14 | 0.0012298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1365-6_0_3_line_16 | NAYY 4x150 SE | 13 | 15 | 0.01634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1365-6_0_3_line_17 | NAYY 4x150 SE | 13 | 16 | 0.01903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1365-6_0_3_line_18 | NAYY 4x150 SE | 15 | 17 | 0.0099636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1365-6_0_3_line_19 | NAYY 4x150 SE | 17 | 18 | 0.01644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1365-6_0_3_line_20 | NAYY 4x150 SE | 17 | 19 | 0.008359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1365-6_0_3_line_21 | NAYY 4x150 SE | 18 | 29 | 0.0078077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1365-6_0_3_line_22 | NAYY 4x150 SE | 19 | 24 | 0.027403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1365-6_0_3_line_23 | NAYY 4x150 SE | 20 | 21 | 0.025102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1365-6_0_3_line_24 | NAYY 4x150 SE | 20 | 22 | 0.0032994 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1365-6_0_3_line_25 | NAYY 4x150 SE | 21 | 23 | 0.0052594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1365-6_0_3_line_26 | NAYY 4x150 SE | 22 | 24 | 0.023274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1365-6_0_3_line_27 | NAYY 4x150 SE | 23 | 25 | 0.014746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1365-6_0_3_line_28 | NAYY 4x150 SE | 23 | 26 | 0.053126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1365-6_0_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.016382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1365-6_0_3_line_30 | NAYY 4x150 SE | 26 | 28 | 0.024429 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1365-6_0_3_line_31 | NAYY 4x150 SE | 29 | 33 | 0.0041329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1365-6_0_3_line_32 | NAYY 4x150 SE | 30 | 31 | 0.013446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1365-6_0_3_line_33 | NAYY 4x150 SE | 31 | 32 | 0.012184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1365-6_0_3_line_34 | NAYY 4x150 SE | 33 | 34 | 0.012332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1365-6_0_3_line_35 | NAYY 4x150 SE | 34 | 35 | 0.036599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1365-6_0_3_line_36 | NAYY 4x150 SE | 35 | 36 | 0.0040453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1365-6_0_3_line_37 | NAYY 4x150 SE | 35 | 37 | 0.032048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1365-6_0_3_line_38 | NAYY 4x150 SE | 36 | 38 | 0.015441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1365-6_0_3_line_39 | NAYY 4x150 SE | 37 | 39 | 0.015023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1365-6_0_3_line_40 | NAYY 4x150 SE | 38 | 40 | 0.036952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_1365-6_0_3_line_41 | NAYY 4x150 SE | 39 | 41 | 0.0092837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1365-6_0_3_line_42 | NAYY 4x150 SE | 40 | 42 | 0.036018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1365-6_0_3_line_43 | NAYY 4x150 SE | 41 | 46 | 0.0088465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1365-6_0_3_line_44 | NAYY 4x150 SE | 42 | 43 | 0.024529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1365-6_0_3_line_45 | NAYY 4x150 SE | 44 | 45 | 0.0029882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1365-6_0_3_line_46 | NAYY 4x150 SE | 45 | 47 | 0.017691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1365-6_0_3_line_47 | NAYY 4x150 SE | 47 | 48 | 0.0034034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1365-6_0_3_line_48 | NAYY 4x150 SE | 48 | 49 | 0.016567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1365-6_0_3_line_49 | NAYY 4x150 SE | 49 | 50 | 0.019621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1365-6_0_3_trafo_26 | 0.25 MVA 20/0.4 kV | 51 | 8 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2686889.1256 | 1209799.6521 | 2686842.725 | 1209763.0549
1 | 2686889.1256 | 1209799.6521 | 2686900.0722 | 1209807.9445
2 | 2686900.0722 | 1209807.9445 | 2686903.7557 | 1209810.7348
3 | 2686851.3647 | 1209842.1526 | 2686843.7584 | 1209855.5905
4 | 2686851.3647 | 1209842.1526 | 2686860.0855 | 1209843.0801 | 2686868.0693 | 1209844.4394
5 | 2686830.3311 | 1209883.2411 | 2686838.6 | 1209864.7039 | 2686843.7584 | 1209855.5905
6 | 2686885.8556 | 1209859.2214 | 2686876.1973 | 1209849.0741 | 2686872.8071 | 1209846.4564 | 2686868.7982 | 1209844.5635 | 2686868.0693 | 1209844.4394
7 | 2686825.2313 | 1209890.2133 | 2686827.4873 | 1209887.6128 | 2686830.2625 | 1209883.3949 | 2686830.3311 | 1209883.2411
8 | 2686885.8556 | 1209859.2214 | 2686888.3637 | 1209861.8597
9 | 2686825.2313 | 1209890.2133 | 2686823.5057 | 1209892.2024 | 2686818.4682 | 1209897.3478
10 | 2686888.3637 | 1209861.8597 | 2686898.601 | 1209851.9868
11 | 2686888.3637 | 1209861.8597 | 2686909.1399 | 1209883.6988
12 | 2686830.4376 | 1210007.1122 | 2686830.4376 | 1210007.1122 | 2686819.0117 | 1209991.8296
13 | 2686830.4376 | 1210007.1122 | 2686835.9643 | 1210012.3071 | 2686836.5463 | 1210012.8337
14 | 2686793.0114 | 1209977.6372 | 2686809.0555 | 1209983.0408 | 2686812.9534 | 1209985.2434 | 2686818.0751 | 1209990.577 | 2686819.0117 | 1209991.8296
15 | 2686836.5463 | 1210012.8337 | 2686837.4583 | 1210013.6587
16 | 2686793.0114 | 1209977.6372 | 2686794.8118 | 1209967.2677 | 2686795.7153 | 1209961.5231
17 | 2686793.0114 | 1209977.6372 | 2686786.4999 | 1209995.518
18 | 2686796.1803 | 1209951.5884 | 2686796.0767 | 1209959.2252 | 2686795.7153 | 1209961.5231
19 | 2686796.1803 | 1209951.5884 | 2686811.6612 | 1209946.0547
20 | 2686796.1803 | 1209951.5884 | 2686789.7468 | 1209954.3744 | 2686788.5144 | 1209954.968
21 | 2686811.6612 | 1209946.0547 | 2686819.0133 | 1209943.4267
22 | 2686788.5144 | 1209954.968 | 2686778.4539 | 1209940.0675 | 2686773.8105 | 1209931.8663
23 | 2686770.0841 | 1209906.5952 | 2686774.0984 | 1209884.1562 | 2686774.1002 | 1209881.8494
24 | 2686770.0841 | 1209906.5952 | 2686769.5031 | 1209909.8431
25 | 2686773.6151 | 1209876.622 | 2686774.1013 | 1209880.2982 | 2686774.1002 | 1209881.8494
26 | 2686769.5031 | 1209909.8431 | 2686768.48 | 1209915.5619 | 2686768.7709 | 1209920.6472 | 2686770.3166 | 1209925.6952 | 2686773.8105 | 1209931.8663
27 | 2686773.6151 | 1209876.622 | 2686771.3122 | 1209870.8514 | 2686766.9952 | 1209863.4838
28 | 2686773.6151 | 1209876.622 | 2686779.1958 | 1209863.4834 | 2686770.5406 | 1209825.6082
29 | 2686766.9952 | 1209863.4838 | 2686753.6493 | 1209872.9836
30 | 2686765.0983 | 1209801.7927 | 2686770.5406 | 1209825.6082
31 | 2686822.9051 | 1209942.0355 | 2686819.0133 | 1209943.4267
32 | 2686809.9449 | 1209906.0539 | 2686800.5384 | 1209915.662
33 | 2686818.4682 | 1209897.3478 | 2686809.9449 | 1209906.0539
34 | 2686822.9051 | 1209942.0355 | 2686834.5177 | 1209937.8846
35 | 2686867.0346 | 1209921.2772 | 2686858.5245 | 1209926.2455 | 2686848.8876 | 1209931.8645 | 2686838.9791 | 1209936.2898 | 2686834.5177 | 1209937.8846
36 | 2686867.0346 | 1209921.2772 | 2686870.0934 | 1209918.6299
37 | 2686867.0346 | 1209921.2772 | 2686870.6782 | 1209936.2401 | 2686861.6518 | 1209950.2286
38 | 2686870.0934 | 1209918.6299 | 2686879.2138 | 1209910.7364 | 2686881.7207 | 1209908.471
39 | 2686853.5064 | 1209962.8517 | 2686861.6518 | 1209950.2286
40 | 2686909.1399 | 1209883.6988 | 2686894.5428 | 1209896.8838 | 2686881.7207 | 1209908.471
41 | 2686848.4729 | 1209970.6524 | 2686853.5064 | 1209962.8517
42 | 2686934.9572 | 1209858.5138 | 2686921.5551 | 1209871.5828 | 2686909.1399 | 1209883.6988
43 | 2686843.6764 | 1209978.0857 | 2686848.4729 | 1209970.6524
44 | 2686934.9572 | 1209858.5138 | 2686952.3564 | 1209841.2243
45 | 2686898.601 | 1209851.9868 | 2686900.7519 | 1209849.9124
46 | 2686913.4862 | 1209837.6315 | 2686900.7519 | 1209849.9124
47 | 2686913.4862 | 1209837.6315 | 2686915.936 | 1209835.2689
48 | 2686918.3562 | 1209823.8088 | 2686923.1281 | 1209828.3328 | 2686915.936 | 1209835.2689
49 | 2686903.7557 | 1209810.7348 | 2686907.787 | 1209813.7887 | 2686918.3562 | 1209823.8088

## bus_geodata
| x | y | coords
0 | 2686842.725 | 1209763.0549
1 | 2686889.1256 | 1209799.6521
2 | 2686900.0722 | 1209807.9445
3 | 2686851.3647 | 1209842.1526
4 | 2686843.7584 | 1209855.5905
5 | 2686868.0693 | 1209844.4394
6 | 2686830.3311 | 1209883.2411
7 | 2686885.8556 | 1209859.2214
8 | 2686825.2313 | 1209890.2133
9 | 2686888.3637 | 1209861.8597
10 | 2686830.4376 | 1210007.1122
11 | 2686819.0117 | 1209991.8296
12 | 2686836.5463 | 1210012.8337
13 | 2686793.0114 | 1209977.6372
14 | 2686837.4583 | 1210013.6587
15 | 2686795.7153 | 1209961.5231
16 | 2686786.4999 | 1209995.518
17 | 2686796.1803 | 1209951.5884
18 | 2686811.6612 | 1209946.0547
19 | 2686788.5144 | 1209954.968
20 | 2686770.0841 | 1209906.5952
21 | 2686774.1002 | 1209881.8494
22 | 2686769.5031 | 1209909.8431
23 | 2686773.6151 | 1209876.622
24 | 2686773.8105 | 1209931.8663
25 | 2686766.9952 | 1209863.4838
26 | 2686770.5406 | 1209825.6082
27 | 2686753.6493 | 1209872.9836
28 | 2686765.0983 | 1209801.7927
29 | 2686819.0133 | 1209943.4267
30 | 2686800.5384 | 1209915.662
31 | 2686809.9449 | 1209906.0539
32 | 2686818.4682 | 1209897.3478
33 | 2686822.9051 | 1209942.0355
34 | 2686834.5177 | 1209937.8846
35 | 2686867.0346 | 1209921.2772
36 | 2686870.0934 | 1209918.6299
37 | 2686861.6518 | 1209950.2286
38 | 2686881.7207 | 1209908.471
39 | 2686853.5064 | 1209962.8517
40 | 2686909.1399 | 1209883.6988
41 | 2686848.4729 | 1209970.6524
42 | 2686934.9573 | 1209858.5138
43 | 2686952.3564 | 1209841.2243
44 | 2686898.601 | 1209851.9868
45 | 2686900.7519 | 1209849.9124
46 | 2686843.6764 | 1209978.0857
47 | 2686913.4862 | 1209837.6315
48 | 2686915.936 | 1209835.2689
49 | 2686918.3562 | 1209823.8088
50 | 2686903.7557 | 1209810.7348
51 | 2686851.3647 | 1209842.1526

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9863 | -0.095546 | 0.007065 | 0.0017707
1 | 0.98691 | -0.091263 | 0.0055214 | 0.0013838
2 | 0.98716 | -0.089492 | 0.0026054 | 0.00065298
3 | 0.99426 | -0.039694 | 0 | 0
4 | 0.99583 | -0.028772 | 0.0042675 | 0.0010695
5 | 0.99254 | -0.051665 | 0.0051342 | 0.0012868
6 | 0.99906 | -0.0064528 | 0.0045603 | 0.0011429
7 | 0.99023 | -0.067772 | 0 | 0
8 | 1 | 0 | -0.15908 | -0.040021
9 | 0.98987 | -0.070274 | 0 | 0
10 | 0.97381 | -0.1841 | 0.004495 | 0.0011265
11 | 0.97407 | -0.18223 | 0.005264 | 0.0013193
12 | 0.97375 | -0.18453 | 0.0032332 | 0.0008103
13 | 0.97472 | -0.17758 | 0 | 0
14 | 0.97375 | -0.18455 | 0.0015942 | 0.00039954
15 | 0.97526 | -0.17371 | 0.0037918 | 0.00095031
16 | 0.9745 | -0.17916 | 0.0079116 | 0.0019828
17 | 0.97564 | -0.17097 | 0 | 0
18 | 0.97692 | -0.1618 | 0.0027266 | 0.00068334
19 | 0.97531 | -0.17333 | 0 | 0
20 | 0.97333 | -0.18754 | 0.0025029 | 0.00062728
21 | 0.9727 | -0.19208 | 0.00464 | 0.0011629
22 | 0.97343 | -0.18686 | 0.0039276 | 0.00098434
23 | 0.97261 | -0.19277 | 0 | 0
24 | 0.97423 | -0.18109 | 0.0034027 | 0.00085279
25 | 0.97251 | -0.19347 | 0 | 0
26 | 0.97199 | -0.19723 | 0.0039998 | 0.0010024
27 | 0.9724 | -0.19425 | 0.0045246 | 0.001134
28 | 0.97185 | -0.19825 | 0.0039487 | 0.00098964
29 | 0.97756 | -0.15723 | 0.0047894 | 0.0012003
30 | 0.99979 | -0.0014501 | 0.0020617 | 0.00051671
31 | 0.99983 | -0.0011732 | 0.0023648 | 0.00059266
32 | 0.99991 | -0.00063458 | 0.0020355 | 0.00051016
33 | 0.97793 | -0.15461 | 0.0021301 | 0.00053385
34 | 0.97907 | -0.14652 | 0.0027343 | 0.00068528
35 | 0.98258 | -0.12159 | 0 | 0
36 | 0.98306 | -0.11816 | 0.0038506 | 0.00096506
37 | 0.98181 | -0.12707 | 0.003332 | 0.00083509
38 | 0.985 | -0.10447 | 0.011942 | 0.002993
39 | 0.98152 | -0.12912 | 0.006403 | 0.0016048
40 | 0.98764 | -0.085898 | 0 | 0
41 | 0.98143 | -0.12977 | 0.0048414 | 0.0012134
42 | 0.98745 | -0.087267 | 0 | 0
43 | 0.98732 | -0.088198 | 0.0037082 | 0.00092935
44 | 0.98919 | -0.075132 | 0.0026872 | 0.00067347
45 | 0.98905 | -0.076071 | 0.0038791 | 0.00097219
46 | 0.98141 | -0.12994 | 0.0019317 | 0.00048413
47 | 0.98836 | -0.080938 | 0.0022892 | 0.00057373
48 | 0.98824 | -0.081795 | 0.004558 | 0.0011423
49 | 0.98776 | -0.085198 | 0.0022934 | 0.00057477
50 | 0.98726 | -0.088772 | 0.0025973 | 0.00065094
51 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.007065 | -0.0017707 | 0.0070692 | 0.0017715 | 4.1894e-06 | 8.5662e-07 | 0.010659 | 0.010659 | 0.010659 | 0.9863 | -0.095546 | 0.98691 | -0.091263 | 3.9477
1 | -0.012591 | -0.0031553 | 0.012594 | 0.0031563 | 3.0882e-06 | 1.0122e-06 | 0.018983 | 0.018983 | 0.018983 | 0.98691 | -0.091263 | 0.98716 | -0.089492 | 7.0309
2 | -0.015199 | -0.0038093 | 0.015201 | 0.0038098 | 1.5135e-06 | 5.2305e-07 | 0.022911 | 0.022911 | 0.022911 | 0.98716 | -0.089492 | 0.98726 | -0.088772 | 8.4855
3 | -0.14217 | -0.035875 | 0.14239 | 0.035959 | 0.00021828 | 8.3552e-05 | 0.21286 | 0.21286 | 0.21286 | 0.99426 | -0.039694 | 0.99583 | -0.028772 | 39.418
4 | 0.14217 | 0.035875 | -0.14193 | -0.035784 | 0.00023846 | 9.1278e-05 | 0.21286 | 0.21286 | 0.21286 | 0.99426 | -0.039694 | 0.99254 | -0.051665 | 39.418
5 | -0.14665 | -0.037029 | 0.14712 | 0.037205 | 0.00046142 | 0.00017667 | 0.21923 | 0.21923 | 0.21923 | 0.99583 | -0.028772 | 0.99906 | -0.0064528 | 40.5988
6 | 0.1368 | 0.034497 | -0.13649 | -0.03438 | 0.00030815 | 0.00011791 | 0.20516 | 0.20516 | 0.20516 | 0.99254 | -0.051665 | 0.99023 | -0.067772 | 37.9926
7 | -0.15168 | -0.038348 | 0.15181 | 0.038401 | 0.00013804 | 5.2864e-05 | 0.22603 | 0.22603 | 0.22603 | 0.99906 | -0.0064528 | 1 | 0 | 41.8566
8 | 0.13649 | 0.03438 | -0.13644 | -0.034361 | 4.7736e-05 | 1.8266e-05 | 0.20516 | 0.20516 | 0.20516 | 0.99023 | -0.067772 | 0.98987 | -0.070274 | 37.9926
9 | 0.006463 | 0.0016194 | -0.0064624 | -0.0016194 | 5.6754e-07 | 8.9279e-08 | 0.0096169 | 0.009617 | 0.009617 | 1 | 0 | 0.99991 | -0.00063458 | 3.5618
10 | 0.033571 | 0.0084217 | -0.033548 | -0.0084132 | 2.2604e-05 | 8.5112e-06 | 0.050468 | 0.050468 | 0.050468 | 0.98987 | -0.070274 | 0.98919 | -0.075132 | 18.6918
11 | 0.10287 | 0.02594 | -0.10264 | -0.025854 | 0.00022475 | 8.5671e-05 | 0.15469 | 0.15469 | 0.15469 | 0.98987 | -0.070274 | 0.98764 | -0.085898 | 28.6468
12 | -0.0093226 | -0.0023364 | 0.009325 | 0.0023371 | 2.4162e-06 | 6.9184e-07 | 0.014245 | 0.014245 | 0.014245 | 0.97381 | -0.1841 | 0.97407 | -0.18223 | 5.276
13 | 0.0048276 | 0.0012098 | -0.0048273 | -0.0012098 | 2.842e-07 | 5.1845e-09 | 0.0073767 | 0.0073767 | 0.0073767 | 0.97381 | -0.1841 | 0.97375 | -0.18453 | 2.7321
14 | -0.014589 | -0.0036564 | 0.014598 | 0.0036596 | 9.4112e-06 | 3.2415e-06 | 0.022287 | 0.022286 | 0.022287 | 0.97407 | -0.18223 | 0.97472 | -0.17758 | 8.2543
15 | 0.0015942 | 0.00039952 | -0.0015942 | -0.00039954 | 4.5542e-09 | -1.3547e-08 | 0.0024361 | 0.0024361 | 0.0024361 | 0.97375 | -0.18453 | 0.97375 | -0.18455 | 0.90226
16 | -0.022512 | -0.0056429 | 0.022524 | 0.0056473 | 1.2042e-05 | 4.4279e-06 | 0.034367 | 0.034367 | 0.034367 | 0.97472 | -0.17758 | 0.97526 | -0.17371 | 12.7285
17 | 0.0079133 | 0.0019833 | -0.0079116 | -0.0019828 | 1.733e-06 | 4.2938e-07 | 0.012081 | 0.012081 | 0.012081 | 0.97472 | -0.17758 | 0.9745 | -0.17916 | 4.4743
18 | -0.026316 | -0.0065976 | 0.026326 | 0.0066013 | 1.0024e-05 | 3.7308e-06 | 0.040152 | 0.040152 | 0.040152 | 0.97526 | -0.17371 | 0.97564 | -0.17097 | 14.8712
19 | -0.053349 | -0.013382 | 0.053417 | 0.013408 | 6.7923e-05 | 2.5919e-05 | 0.08137 | 0.08137 | 0.08137 | 0.97564 | -0.17097 | 0.97692 | -0.1618 | 30.137
20 | 0.027023 | 0.0067805 | -0.027014 | -0.0067772 | 8.8615e-06 | 3.3039e-06 | 0.041218 | 0.041218 | 0.041218 | 0.97564 | -0.17097 | 0.97531 | -0.17333 | 15.2658
21 | -0.056143 | -0.014091 | 0.056179 | 0.014105 | 3.5635e-05 | 1.3608e-05 | 0.085523 | 0.085523 | 0.085523 | 0.97692 | -0.1618 | 0.97756 | -0.15723 | 31.6751
22 | 0.027014 | 0.0067772 | -0.026985 | -0.0067663 | 2.9051e-05 | 1.0832e-05 | 0.041218 | 0.041218 | 0.041218 | 0.97531 | -0.17333 | 0.97423 | -0.18109 | 15.2659
23 | 0.017131 | 0.0042943 | -0.017121 | -0.0042905 | 1.0744e-05 | 3.8207e-06 | 0.026191 | 0.026191 | 0.026191 | 0.97333 | -0.18754 | 0.9727 | -0.19208 | 9.7003
24 | -0.019634 | -0.0049216 | 0.019636 | 0.0049222 | 1.8551e-06 | 6.7247e-07 | 0.030017 | 0.030017 | 0.030017 | 0.97333 | -0.18754 | 0.97343 | -0.18686 | 11.1174
25 | 0.012481 | 0.0031276 | -0.012479 | -0.0031272 | 1.1963e-06 | 3.9485e-07 | 0.019092 | 0.019093 | 0.019093 | 0.9727 | -0.19208 | 0.97261 | -0.19277 | 7.0713
26 | -0.023564 | -0.0059066 | 0.023583 | 0.0059135 | 1.8844e-05 | 6.9579e-06 | 0.036021 | 0.036021 | 0.036021 | 0.97343 | -0.18686 | 0.97423 | -0.18109 | 13.341
27 | 0.0045255 | 0.0011339 | -0.0045251 | -0.001134 | 4.411e-07 | -1.3333e-08 | 0.0069237 | 0.0069237 | 0.0069237 | 0.97261 | -0.19277 | 0.97251 | -0.19347 | 2.5643
28 | 0.007954 | 0.0019932 | -0.007949 | -0.001992 | 4.9091e-06 | 1.2292e-06 | 0.012169 | 0.012169 | 0.012169 | 0.97261 | -0.19277 | 0.97199 | -0.19723 | 4.5071
29 | 0.0045251 | 0.001134 | -0.0045246 | -0.001134 | 4.9003e-07 | -1.4765e-08 | 0.0069237 | 0.0069238 | 0.0069238 | 0.97251 | -0.19347 | 0.9724 | -0.19425 | 2.5644
30 | 0.0039493 | 0.00098956 | -0.0039487 | -0.00098964 | 5.5722e-07 | -8.8434e-08 | 0.0060459 | 0.006046 | 0.006046 | 0.97199 | -0.19723 | 0.97185 | -0.19825 | 2.2393
31 | -0.060968 | -0.015305 | 0.060991 | 0.015314 | 2.2216e-05 | 8.4927e-06 | 0.092813 | 0.092813 | 0.092813 | 0.97756 | -0.15723 | 0.97793 | -0.15461 | 34.3752
32 | -0.0020617 | -0.00051671 | 0.0020618 | 0.00051657 | 7.8999e-08 | -1.4595e-07 | 0.0030685 | 0.0030684 | 0.0030685 | 0.99979 | -0.0014501 | 0.99983 | -0.0011732 | 1.1365
33 | -0.0044265 | -0.0011092 | 0.0044269 | 0.0011092 | 3.2995e-07 | -3.2898e-08 | 0.0065878 | 0.0065878 | 0.0065878 | 0.99983 | -0.0011732 | 0.99991 | -0.00063458 | 2.4399
34 | -0.063121 | -0.015847 | 0.063192 | 0.015875 | 7.1e-05 | 2.7153e-05 | 0.096054 | 0.096054 | 0.096054 | 0.97793 | -0.15461 | 0.97907 | -0.14652 | 35.5756
35 | -0.065926 | -0.01656 | 0.066155 | 0.016648 | 0.00022934 | 8.7745e-05 | 0.10021 | 0.10021 | 0.10021 | 0.97907 | -0.14652 | 0.98258 | -0.12159 | 37.1147
36 | -0.08268 | -0.020791 | 0.08272 | 0.020806 | 3.959e-05 | 1.5176e-05 | 0.12524 | 0.12524 | 0.12524 | 0.98258 | -0.12159 | 0.98306 | -0.11816 | 46.3836
37 | 0.016525 | 0.004143 | -0.016513 | -0.0041386 | 1.2525e-05 | 4.4117e-06 | 0.025026 | 0.025026 | 0.025026 | 0.98258 | -0.12159 | 0.98181 | -0.12707 | 9.269
38 | -0.086571 | -0.021771 | 0.086736 | 0.021834 | 0.00016551 | 6.3461e-05 | 0.13106 | 0.13106 | 0.13106 | 0.98306 | -0.11816 | 0.985 | -0.10447 | 48.5423
39 | 0.013181 | 0.0033035 | -0.013177 | -0.0033023 | 3.7408e-06 | 1.2489e-06 | 0.019976 | 0.019976 | 0.019976 | 0.98181 | -0.12707 | 0.98152 | -0.12912 | 7.3986
40 | -0.098678 | -0.024827 | 0.098935 | 0.024925 | 0.00025632 | 9.764e-05 | 0.1491 | 0.1491 | 0.1491 | 0.985 | -0.10447 | 0.98764 | -0.085898 | 27.612
41 | 0.0067737 | 0.0016975 | -0.0067731 | -0.0016974 | 6.1091e-07 | 1.1764e-07 | 0.010269 | 0.010269 | 0.010269 | 0.98152 | -0.12912 | 0.98143 | -0.12977 | 3.8034
42 | 0.0037093 | 0.00092903 | -0.0037086 | -0.00092922 | 7.0192e-07 | -1.9086e-07 | 0.0055884 | 0.0055886 | 0.0055886 | 0.98764 | -0.085898 | 0.98745 | -0.087267 | 2.0698
43 | 0.0019317 | 0.00048403 | -0.0019317 | -0.00048413 | 4.7352e-08 | -9.3575e-08 | 0.0029288 | 0.0029288 | 0.0029288 | 0.98143 | -0.12977 | 0.98141 | -0.12994 | 1.0848
44 | 0.0037086 | 0.00092922 | -0.0037082 | -0.00092935 | 4.7804e-07 | -1.2987e-07 | 0.0055886 | 0.0055887 | 0.0055887 | 0.98745 | -0.087267 | 0.98732 | -0.088198 | 2.0699
45 | 0.030861 | 0.0077397 | -0.030857 | -0.0077382 | 4.0189e-06 | 1.5074e-06 | 0.046426 | 0.046426 | 0.046426 | 0.98919 | -0.075132 | 0.98905 | -0.076071 | 17.1947
46 | 0.026978 | 0.006766 | -0.02696 | -0.0067593 | 1.8188e-05 | 6.7683e-06 | 0.04059 | 0.04059 | 0.04059 | 0.98905 | -0.076071 | 0.98836 | -0.080938 | 15.0332
47 | 0.02467 | 0.0061855 | -0.024668 | -0.0061844 | 2.9299e-06 | 1.0833e-06 | 0.037143 | 0.037143 | 0.037143 | 0.98836 | -0.080938 | 0.98824 | -0.081795 | 13.7567
48 | 0.02011 | 0.0050421 | -0.0201 | -0.0050387 | 9.4788e-06 | 3.4335e-06 | 0.03028 | 0.03028 | 0.03028 | 0.98824 | -0.081795 | 0.98776 | -0.085198 | 11.2149
49 | 0.017807 | 0.0044639 | -0.017798 | -0.0044608 | 8.8106e-06 | 3.1377e-06 | 0.026825 | 0.026825 | 0.026825 | 0.98776 | -0.085198 | 0.98726 | -0.088772 | 9.9353

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.16269 | 0.040925

## res_load
| p_mw | q_mvar
0 | 0.007065 | 0.0017707
1 | 0.0055214 | 0.0013838
2 | 0.0026054 | 0.00065298
3 | 0.0042675 | 0.0010695
4 | 0.0051342 | 0.0012868
5 | 0.0045603 | 0.0011429
6 | 0.0036093 | 0.00090457
7 | 0.004495 | 0.0011265
8 | 0.005264 | 0.0013193
9 | 0.0032332 | 0.0008103
10 | 0.0015942 | 0.00039954
11 | 0.0037918 | 0.00095031
12 | 0.0079116 | 0.0019828
13 | 0.0027266 | 0.00068334
14 | 0.0025029 | 0.00062728
15 | 0.00464 | 0.0011629
16 | 0.0039276 | 0.00098434
17 | 0.0034027 | 0.00085279
18 | 0.0039998 | 0.0010024
19 | 0.0045246 | 0.001134
20 | 0.0039487 | 0.00098964
21 | 0.0047894 | 0.0012003
22 | 0.0020617 | 0.00051671
23 | 0.0023648 | 0.00059266
24 | 0.0020355 | 0.00051016
25 | 0.0021301 | 0.00053385
26 | 0.0027343 | 0.00068528
27 | 0.0038506 | 0.00096506
28 | 0.003332 | 0.00083509
29 | 0.011942 | 0.002993
30 | 0.006403 | 0.0016048
31 | 0.0048414 | 0.0012134
32 | 0.0037082 | 0.00092935
33 | 0.0026872 | 0.00067347
34 | 0.0038791 | 0.00097219
35 | 0.0019317 | 0.00048413
36 | 0.0022892 | 0.00057373
37 | 0.004558 | 0.0011423
38 | 0.0022934 | 0.00057477
39 | 0.0025973 | 0.00065094

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1