## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1366-3_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1366-3_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1366-3_0_2_node_35 | 0.4 | n |  | TRUE
3 | bus_LV_1366-3_0_2_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_1366-3_0_2_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_1366-3_0_2_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_1366-3_0_2_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1366-3_0_2_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1366-3_0_2_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1366-3_0_2_node_22 | 0.4 | n |  | TRUE
10 | bus_LV_1366-3_0_2_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_1366-3_0_2_node_24 | 0.4 | n |  | TRUE
12 | bus_LV_1366-3_0_2_node_26 | 0.4 | n |  | TRUE
13 | bus_LV_1366-3_0_2_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_1366-3_0_2_node_61 | 0.4 | n |  | TRUE
15 | bus_LV_1366-3_0_2_node_50 | 0.4 | n |  | TRUE
16 | bus_LV_1366-3_0_2_node_33 | 0.4 | n |  | TRUE
17 | bus_LV_1366-3_0_2_node_34 | 0.4 | n |  | TRUE
18 | bus_LV_1366-3_0_2_node_36 | 0.4 | n |  | TRUE
19 | bus_LV_1366-3_0_2_node_40 | 0.4 | n |  | TRUE
20 | bus_LV_1366-3_0_2_node_37 | 0.4 | n |  | TRUE
21 | bus_LV_1366-3_0_2_node_38 | 0.4 | n |  | TRUE
22 | bus_LV_1366-3_0_2_node_39 | 0.4 | n |  | TRUE
23 | bus_LV_1366-3_0_2_node_104 | 0.4 | n |  | TRUE
24 | bus_LV_1366-3_0_2_node_45 | 0.4 | n |  | TRUE
25 | bus_LV_1366-3_0_2_node_46 | 0.4 | n |  | TRUE
26 | bus_LV_1366-3_0_2_node_47 | 0.4 | n |  | TRUE
27 | bus_LV_1366-3_0_2_node_48 | 0.4 | n |  | TRUE
28 | bus_LV_1366-3_0_2_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_1366-3_0_2_node_57 | 0.4 | n |  | TRUE
30 | bus_LV_1366-3_0_2_node_58 | 0.4 | n |  | TRUE
31 | bus_LV_1366-3_0_2_node_51 | 0.4 | n |  | TRUE
32 | bus_LV_1366-3_0_2_node_52 | 0.4 | n |  | TRUE
33 | bus_LV_1366-3_0_2_node_53 | 0.4 | n |  | TRUE
34 | bus_LV_1366-3_0_2_node_54 | 0.4 | n |  | TRUE
35 | bus_LV_1366-3_0_2_node_65 | 0.4 | n |  | TRUE
36 | bus_LV_1366-3_0_2_node_101 | 0.4 | n |  | TRUE
37 | bus_LV_1366-3_0_2_node_102 | 0.4 | n |  | TRUE
38 | bus_LV_1366-3_0_2_node_64 | 0.4 | n |  | TRUE
39 | bus_LV_1366-3_0_2_node_66 | 0.4 | n |  | TRUE
40 | bus_LV_1366-3_0_2_node_67 | 0.4 | n |  | TRUE
41 | bus_LV_1366-3_0_2_node_103 | 0.4 | n |  | TRUE
42 | bus_MV_0_node_36 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1366-3_0_2_load_0 | 0 | 0.0039402 | 0.0009875 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1366-3_0_2_load_2 | 3 | 0.0029531 | 0.00074011 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1366-3_0_2_load_3 | 5 | 0.0032369 | 0.00081124 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1366-3_0_2_load_5 | 7 | 0.0021185 | 0.00053094 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1366-3_0_2_load_22 | 9 | 0.00054749 | 0.00013721 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1366-3_0_2_load_24 | 11 | 0.00076769 | 0.0001924 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1366-3_0_2_load_26 | 12 | 0.0024331 | 0.00060979 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1366-3_0_2_load_25 | 13 | 0.00070397 | 0.00017643 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1366-3_0_2_load_61 | 14 | 0.0012677 | 0.00031771 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1366-3_0_2_load_50 | 15 | 0.00033876 | 8.4902e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1366-3_0_2_load_33 | 16 | 0.0037847 | 0.00094854 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1366-3_0_2_load_34 | 17 | 0.0033818 | 0.00084757 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1366-3_0_2_load_36 | 18 | 0.002789 | 0.00069899 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1366-3_0_2_load_37 | 20 | 0.00098483 | 0.00024682 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1366-3_0_2_load_39 | 22 | 0.0021952 | 0.00055017 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1366-3_0_2_load_104 | 23 | 0.0005511 | 0.00013812 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1366-3_0_2_load_45 | 24 | 0.0013781 | 0.00034538 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1366-3_0_2_load_46 | 25 | 0.0043193 | 0.0010825 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1366-3_0_2_load_48 | 27 | 0.00051687 | 0.00012954 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1366-3_0_2_load_49 | 28 | 0.00061676 | 0.00015457 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1366-3_0_2_load_57 | 29 | 0.002262 | 0.00056692 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1366-3_0_2_load_58 | 30 | 0.0013683 | 0.00034294 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1366-3_0_2_load_51 | 31 | 0.00057134 | 0.00014319 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1366-3_0_2_load_52 | 32 | 0.00069156 | 0.00017332 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1366-3_0_2_load_53 | 33 | 0.00049203 | 0.00012331 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1366-3_0_2_load_54 | 34 | 0.00087251 | 0.00021867 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1366-3_0_2_load_101 | 36 | 0.00025307 | 6.3426e-05 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1366-3_0_2_load_64 | 38 | 0.00046991 | 0.00011777 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1366-3_0_2_load_67 | 40 | 0.00062229 | 0.00015596 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1366-3_0_2_load_103 | 41 | 0.00098785 | 0.00024758 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1366-3_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.11875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1366-3_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.11886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1366-3_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.13279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1366-3_0_2_line_3 | NAYY 4x150 SE | 2 | 11 | 0.1752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1366-3_0_2_line_4 | NAYY 4x150 SE | 2 | 16 | 0.13397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1366-3_0_2_line_5 | NAYY 4x150 SE | 3 | 4 | 0.03041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1366-3_0_2_line_6 | NAYY 4x150 SE | 4 | 8 | 0.040346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1366-3_0_2_line_7 | NAYY 4x150 SE | 5 | 6 | 0.022443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1366-3_0_2_line_8 | NAYY 4x150 SE | 6 | 7 | 0.0060955 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1366-3_0_2_line_9 | NAYY 4x150 SE | 7 | 8 | 0.024161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1366-3_0_2_line_10 | NAYY 4x150 SE | 9 | 10 | 0.023009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1366-3_0_2_line_11 | NAYY 4x150 SE | 9 | 11 | 0.18298 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1366-3_0_2_line_12 | NAYY 4x150 SE | 10 | 12 | 0.022159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1366-3_0_2_line_13 | NAYY 4x150 SE | 11 | 13 | 0.021276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1366-3_0_2_line_14 | NAYY 4x150 SE | 12 | 15 | 0.018675 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1366-3_0_2_line_15 | NAYY 4x150 SE | 13 | 14 | 0.024519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1366-3_0_2_line_16 | NAYY 4x150 SE | 15 | 31 | 0.0026919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1366-3_0_2_line_17 | NAYY 4x150 SE | 16 | 17 | 0.033368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1366-3_0_2_line_18 | NAYY 4x150 SE | 17 | 18 | 0.0031466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1366-3_0_2_line_19 | NAYY 4x150 SE | 18 | 19 | 0.15997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1366-3_0_2_line_20 | NAYY 4x150 SE | 19 | 21 | 0.036946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1366-3_0_2_line_21 | NAYY 4x150 SE | 20 | 21 | 0.08156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1366-3_0_2_line_22 | NAYY 4x150 SE | 20 | 22 | 0.029623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1366-3_0_2_line_23 | NAYY 4x150 SE | 20 | 23 | 0.1047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1366-3_0_2_line_24 | NAYY 4x150 SE | 23 | 37 | 0.070233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1366-3_0_2_line_25 | NAYY 4x150 SE | 24 | 25 | 0.03001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1366-3_0_2_line_26 | NAYY 4x150 SE | 24 | 26 | 0.091018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1366-3_0_2_line_27 | NAYY 4x150 SE | 26 | 27 | 0.096348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1366-3_0_2_line_28 | NAYY 4x150 SE | 26 | 28 | 0.02695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1366-3_0_2_line_29 | NAYY 4x150 SE | 27 | 29 | 0.031063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1366-3_0_2_line_30 | NAYY 4x150 SE | 28 | 30 | 0.079226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1366-3_0_2_line_31 | NAYY 4x150 SE | 29 | 36 | 0.18989 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1366-3_0_2_line_32 | NAYY 4x150 SE | 30 | 37 | 0.11451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1366-3_0_2_line_33 | NAYY 4x150 SE | 31 | 32 | 0.11496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1366-3_0_2_line_34 | NAYY 4x150 SE | 32 | 33 | 0.005631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1366-3_0_2_line_35 | NAYY 4x150 SE | 33 | 34 | 0.0091925 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1366-3_0_2_line_36 | NAYY 4x150 SE | 34 | 35 | 0.39 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1366-3_0_2_line_37 | NAYY 4x150 SE | 35 | 38 | 0.011733 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1366-3_0_2_line_38 | NAYY 4x150 SE | 37 | 41 | 0.029569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1366-3_0_2_line_39 | NAYY 4x150 SE | 38 | 39 | 0.048281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1366-3_0_2_line_40 | NAYY 4x150 SE | 39 | 40 | 0.54404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1366-3_0_2_trafo_36 | 0.25 MVA 20/0.4 kV | 42 | 18 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2690813.0782 | 1205012.7435 | 2690814.7959 | 1205003.8527 | 2690810.2184 | 1204988.1839 | 2690799.5512 | 1204957.7349 | 2690793.171 | 1204942.0387 | 2690794.2721 | 1204929.1692 | 2690802.9021 | 1204915.5025 | 2690813.4947 | 1204904.757
1 | 2690813.4947 | 1204904.757 | 2690826.6755 | 1204786.6346
2 | 2690813.0782 | 1205012.7435 | 2690801.3398 | 1205010.697 | 2690772.565 | 1205010.793 | 2690760.5053 | 1205009.3644 | 2690747.8519 | 1205003.9463 | 2690691.6388 | 1204968.9917
3 | 2690826.6755 | 1204786.6346 | 2690871.1735 | 1204617.1802
4 | 2690826.6755 | 1204786.6346 | 2690825.7083 | 1204778.7036 | 2690822.9363 | 1204773.369 | 2690737.197 | 1204748.4606 | 2690706.9401 | 1204753.5384
5 | 2690665.8141 | 1204952.9334 | 2690691.6388 | 1204968.9917
6 | 2690629.9364 | 1204934.2766 | 2690637.3715 | 1204938.1475 | 2690665.8141 | 1204952.9334
7 | 2690626.9121 | 1204963.5944 | 2690629.4537 | 1204971.0712 | 2690634.7293 | 1204979.379 | 2690637.8196 | 1204982.9269
8 | 2690626.9121 | 1204963.5944 | 2690625.0841 | 1204958.2187 | 2690625.1144 | 1204957.8023
9 | 2690629.9364 | 1204934.2766 | 2690625.8529 | 1204947.6679 | 2690625.1144 | 1204957.8023
10 | 2690982.3933 | 1204788.1613 | 2690978.3059 | 1204765.518
11 | 2690978.3059 | 1204765.518 | 2690871.1735 | 1204617.1802
12 | 2690982.3933 | 1204788.1613 | 2690998.7051 | 1204803.1599
13 | 2690855.593 | 1204602.692 | 2690871.1735 | 1204617.1802
14 | 2691012.4519 | 1204815.8 | 2690998.7051 | 1204803.1599
15 | 2690836.4638 | 1204588.0057 | 2690841.5352 | 1204589.6198 | 2690855.593 | 1204602.692
16 | 2691012.4519 | 1204815.8 | 2691014.4335 | 1204817.622
17 | 2690675.3262 | 1204744.8917 | 2690701.5983 | 1204754.4349 | 2690706.9401 | 1204753.5384
18 | 2690672.3688 | 1204743.8174 | 2690675.3262 | 1204744.8917
19 | 2690513.4107 | 1204761.7404 | 2690672.3688 | 1204743.8174
20 | 2690496.8969 | 1204748.9484 | 2690503.1593 | 1204770.4685 | 2690513.5818 | 1204764 | 2690513.4107 | 1204761.7404
21 | 2690496.8969 | 1204748.9484 | 2690471.2479 | 1204751.5504 | 2690455.4712 | 1204755.3806 | 2690444.3336 | 1204763.3505 | 2690434.9215 | 1204778.4624 | 2690432.2132 | 1204786.0386
22 | 2690438.2539 | 1204814.1141 | 2690432.5409 | 1204801.0079 | 2690430.8695 | 1204789.7974 | 2690432.2132 | 1204786.0386
23 | 2690432.2132 | 1204786.0386 | 2690354.0265 | 1204716.4084
24 | 2690354.0265 | 1204716.4084 | 2690369.2888 | 1204705.8546 | 2690397.1865 | 1204682.8839 | 2690407.1611 | 1204670.8269
25 | 2690455.4888 | 1204378.0848 | 2690450.4848 | 1204369.4625 | 2690438.8233 | 1204353.164
26 | 2690459.5072 | 1204465.4622 | 2690466.6259 | 1204450.6047 | 2690468.8172 | 1204431.0251 | 2690462.1442 | 1204395.8898 | 2690457.4699 | 1204381.4984 | 2690455.4888 | 1204378.0848
27 | 2690459.5072 | 1204465.4622 | 2690488.7129 | 1204463.2143 | 2690553.4128 | 1204480.8344
28 | 2690459.5072 | 1204465.4622 | 2690444.9272 | 1204488.1281
29 | 2690553.4128 | 1204480.8344 | 2690583.3844 | 1204488.9967
30 | 2690444.9272 | 1204488.1281 | 2690440.8294 | 1204494.4985 | 2690428.2636 | 1204517.3566 | 2690416.4523 | 1204529.5969 | 2690414.597 | 1204539.5643 | 2690420.304 | 1204557.0761
31 | 2690583.3844 | 1204488.9967 | 2690687.6294 | 1204330.277
32 | 2690420.304 | 1204557.0761 | 2690407.1611 | 1204670.8269
33 | 2691014.4335 | 1204817.622 | 2691121.7021 | 1204776.28
34 | 2691121.7021 | 1204776.28 | 2691125.4887 | 1204776.246 | 2691126.3706 | 1204774.6264
35 | 2691130.7662 | 1204766.5529 | 2691126.3706 | 1204774.6264
36 | 2691130.7662 | 1204766.5529 | 2691225.0327 | 1204388.1208
37 | 2691225.0327 | 1204388.1208 | 2691222.751 | 1204376.6117
38 | 2690407.1611 | 1204670.8269 | 2690377.6097 | 1204668.3447
39 | 2691233.3042 | 1204331.8212 | 2691233.8835 | 1204343.7045 | 2691233.3246 | 1204356.8713 | 2691229.7582 | 1204365.6893 | 2691225.2074 | 1204369.2222 | 2691222.9392 | 1204373.7572 | 2691222.751 | 1204376.6117
40 | 2691233.3042 | 1204331.8212 | 2691224.4126 | 1203787.8514

## bus_geodata
| x | y | coords
0 | 2690813.4947 | 1204904.757
1 | 2690813.0782 | 1205012.7435
2 | 2690826.6755 | 1204786.6346
3 | 2690691.6388 | 1204968.9917
4 | 2690665.8141 | 1204952.9334
5 | 2690637.8196 | 1204982.9269
6 | 2690626.9121 | 1204963.5944
7 | 2690625.1144 | 1204957.8023
8 | 2690629.9364 | 1204934.2766
9 | 2690978.3059 | 1204765.518
10 | 2690982.3933 | 1204788.1613
11 | 2690871.1735 | 1204617.1802
12 | 2690998.7051 | 1204803.1599
13 | 2690855.593 | 1204602.692
14 | 2690836.4638 | 1204588.0057
15 | 2691012.4519 | 1204815.8
16 | 2690706.9401 | 1204753.5384
17 | 2690675.3262 | 1204744.8917
18 | 2690672.3688 | 1204743.8174
19 | 2690513.4107 | 1204761.7404
20 | 2690432.2132 | 1204786.0386
21 | 2690496.8969 | 1204748.9484
22 | 2690438.2539 | 1204814.1141
23 | 2690354.0265 | 1204716.4084
24 | 2690455.4888 | 1204378.0848
25 | 2690438.8233 | 1204353.164
26 | 2690459.5072 | 1204465.4622
27 | 2690553.4128 | 1204480.8344
28 | 2690444.9272 | 1204488.1281
29 | 2690583.3844 | 1204488.9967
30 | 2690420.304 | 1204557.0761
31 | 2691014.4335 | 1204817.622
32 | 2691121.7021 | 1204776.28
33 | 2691126.3706 | 1204774.6264
34 | 2691130.7662 | 1204766.5529
35 | 2691225.0327 | 1204388.1208
36 | 2690687.6294 | 1204330.277
37 | 2690407.1611 | 1204670.8269
38 | 2691222.751 | 1204376.6117
39 | 2691233.3042 | 1204331.8212
40 | 2691224.4126 | 1203787.8514
41 | 2690377.6097 | 1204668.3447
42 | 2690672.3688 | 1204743.8174

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99229 | -0.054315 | 0.0039402 | 0.0009875
1 | 0.99086 | -0.064367 | 0 | 0
2 | 0.99438 | -0.03954 | 0 | 0
3 | 0.98927 | -0.075625 | 0.0029531 | 0.00074011
4 | 0.98904 | -0.077289 | 0 | 0
5 | 0.98841 | -0.081764 | 0.0032369 | 0.00081124
6 | 0.98851 | -0.081021 | 0 | 0
7 | 0.98854 | -0.08082 | 0.0021185 | 0.00053094
8 | 0.98873 | -0.079498 | 0 | 0
9 | 0.99006 | -0.070448 | 0.00054749 | 0.00013721
10 | 0.98985 | -0.071995 | 0 | 0
11 | 0.99192 | -0.05713 | 0.00076769 | 0.0001924
12 | 0.98964 | -0.073486 | 0.0024331 | 0.00060979
13 | 0.99186 | -0.057557 | 0.00070397 | 0.00017643
14 | 0.99181 | -0.057872 | 0.0012677 | 0.00031771
15 | 0.98953 | -0.074279 | 0.00033876 | 8.4902e-05
16 | 0.99863 | -0.0096042 | 0.0037847 | 0.00094854
17 | 0.99987 | -0.00092371 | 0.0033818 | 0.00084757
18 | 1 | 0 | -0.045818 | -0.011291
19 | 0.99644 | -0.024895 | 0 | 0
20 | 0.99381 | -0.043437 | 0.00098483 | 0.00024682
21 | 0.99562 | -0.030667 | 0 | 0
22 | 0.99371 | -0.044095 | 0.0021952 | 0.00055017
23 | 0.99196 | -0.056508 | 0.0005511 | 0.00013812
24 | 0.98684 | -0.092805 | 0.0013781 | 0.00034538
25 | 0.98665 | -0.094134 | 0.0043193 | 0.0010825
26 | 0.98759 | -0.087487 | 0 | 0
27 | 0.98717 | -0.090503 | 0.00051687 | 0.00012954
28 | 0.98793 | -0.085069 | 0.00061676 | 0.00015457
29 | 0.98706 | -0.09131 | 0.002262 | 0.00056692
30 | 0.989 | -0.077467 | 0.0013683 | 0.00034294
31 | 0.98952 | -0.074384 | 0.00057134 | 0.00014319
32 | 0.989 | -0.078195 | 0.00069156 | 0.00017332
33 | 0.98898 | -0.078341 | 0.00049203 | 0.00012331
34 | 0.98895 | -0.078534 | 0.00087251 | 0.00021867
35 | 0.98834 | -0.083188 | 0 | 0
36 | 0.98699 | -0.09182 | 0.00025307 | 6.3426e-05
37 | 0.99077 | -0.064903 | 0 | 0
38 | 0.98832 | -0.083326 | 0.00046991 | 0.00011777
39 | 0.98828 | -0.08366 | 0 | 0
40 | 0.98779 | -0.087265 | 0.00062229 | 0.00015596
41 | 0.99073 | -0.065201 | 0.00098785 | 0.00024758
42 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0083372 | 0.0020885 | -0.0083257 | -0.0020856 | 1.1583e-05 | 2.9231e-06 | 0.012502 | 0.012503 | 0.012503 | 0.99229 | -0.054315 | 0.99086 | -0.064367 | 4.6306
1 | -0.012277 | -0.003076 | 0.012303 | 0.0030842 | 2.5138e-05 | 8.1298e-06 | 0.018411 | 0.01841 | 0.018411 | 0.99229 | -0.054315 | 0.99438 | -0.03954 | 6.8188
2 | 0.0083257 | 0.0020856 | -0.0083127 | -0.0020823 | 1.2953e-05 | 3.2743e-06 | 0.012503 | 0.012503 | 0.012503 | 0.99086 | -0.064367 | 0.98927 | -0.075625 | 4.6308
3 | 0.0098208 | 0.0024465 | -0.0097972 | -0.0024397 | 2.3596e-05 | 6.8081e-06 | 0.014691 | 0.014692 | 0.014692 | 0.99438 | -0.03954 | 0.99192 | -0.05713 | 5.4413
4 | -0.022123 | -0.0055307 | 0.022215 | 0.0055642 | 9.159e-05 | 3.3482e-05 | 0.033101 | 0.0331 | 0.033101 | 0.99438 | -0.03954 | 0.99863 | -0.0096042 | 12.2596
5 | 0.0053596 | 0.0013422 | -0.0053584 | -0.0013422 | 1.2332e-06 | 8.3945e-08 | 0.0080613 | 0.0080615 | 0.0080615 | 0.98927 | -0.075625 | 0.98904 | -0.077289 | 2.9857
6 | 0.0053584 | 0.0013422 | -0.0053568 | -0.001342 | 1.6362e-06 | 1.1168e-07 | 0.0080615 | 0.0080617 | 0.0080617 | 0.98904 | -0.077289 | 0.98873 | -0.079498 | 2.9858
7 | -0.0032369 | -0.00081124 | 0.0032372 | 0.00081108 | 3.3255e-07 | -1.5978e-07 | 0.004873 | 0.0048729 | 0.004873 | 0.98841 | -0.081764 | 0.98851 | -0.081021 | 1.8048
8 | -0.0032372 | -0.00081108 | 0.0032373 | 0.00081104 | 9.0318e-08 | -4.3407e-08 | 0.0048729 | 0.0048729 | 0.0048729 | 0.98851 | -0.081021 | 0.98854 | -0.08082 | 1.8048
9 | -0.0053558 | -0.001342 | 0.0053568 | 0.001342 | 9.7985e-07 | 6.7052e-08 | 0.0080618 | 0.0080617 | 0.0080618 | 0.98854 | -0.08082 | 0.98873 | -0.079498 | 2.9858
10 | 0.0064974 | 0.0016139 | -0.006496 | -0.0016137 | 1.3677e-06 | 2.3022e-07 | 0.0097601 | 0.0097602 | 0.0097602 | 0.99006 | -0.070448 | 0.98985 | -0.071995 | 3.6149
11 | -0.0070448 | -0.0017511 | 0.0070576 | 0.0017537 | 1.2787e-05 | 2.5605e-06 | 0.010583 | 0.010582 | 0.010583 | 0.99006 | -0.070448 | 0.99192 | -0.05713 | 3.9196
12 | 0.006496 | 0.0016137 | -0.0064947 | -0.0016135 | 1.3172e-06 | 2.2185e-07 | 0.0097602 | 0.0097603 | 0.0097603 | 0.98985 | -0.071995 | 0.98964 | -0.073486 | 3.6149
13 | 0.0019718 | 0.00049362 | -0.0019717 | -0.00049385 | 1.1615e-07 | -2.2994e-07 | 0.0029578 | 0.0029579 | 0.0029579 | 0.99192 | -0.05713 | 0.99186 | -0.057557 | 1.0955
14 | 0.0040616 | 0.0010037 | -0.0040611 | -0.0010037 | 4.3389e-07 | -7.3043e-08 | 0.0061019 | 0.006102 | 0.006102 | 0.98964 | -0.073486 | 0.98953 | -0.074279 | 2.26
15 | 0.0012677 | 0.00031742 | -0.0012677 | -0.00031771 | 5.534e-08 | -2.9515e-07 | 0.0019018 | 0.0019019 | 0.0019019 | 0.99186 | -0.057557 | 0.99181 | -0.057872 | 0.70441
16 | 0.0037224 | 0.00091885 | -0.0037223 | -0.00091886 | 5.2537e-08 | -1.4373e-08 | 0.0055926 | 0.0055926 | 0.0055926 | 0.98953 | -0.074279 | 0.98952 | -0.074384 | 2.0713
17 | -0.026 | -0.0065127 | 0.026031 | 0.0065243 | 3.1248e-05 | 1.1582e-05 | 0.03874 | 0.03874 | 0.03874 | 0.99863 | -0.0096042 | 0.99987 | -0.00092371 | 14.348
18 | -0.029413 | -0.0073719 | 0.029416 | 0.0073733 | 3.762e-06 | 1.4057e-06 | 0.043772 | 0.043772 | 0.043772 | 0.99987 | -0.00092371 | 1 | 0 | 16.212
19 | 0.015601 | 0.0039174 | -0.015547 | -0.0038988 | 5.3809e-05 | 1.8604e-05 | 0.023217 | 0.023218 | 0.023218 | 1 | 0 | 0.99644 | -0.024895 | 8.5993
20 | 0.015547 | 0.0038988 | -0.015535 | -0.0038945 | 1.2428e-05 | 4.2992e-06 | 0.023218 | 0.023218 | 0.023218 | 0.99644 | -0.024895 | 0.99562 | -0.030667 | 8.5994
21 | -0.015508 | -0.003885 | 0.015535 | 0.0038945 | 2.7437e-05 | 9.4938e-06 | 0.023219 | 0.023218 | 0.023219 | 0.99381 | -0.043437 | 0.99562 | -0.030667 | 8.5995
22 | 0.0021954 | 0.00054987 | -0.0021952 | -0.00055017 | 1.9973e-07 | -3.0698e-07 | 0.003287 | 0.0032872 | 0.0032872 | 0.99381 | -0.043437 | 0.99371 | -0.044095 | 1.2175
23 | 0.012327 | 0.0030883 | -0.012305 | -0.0030811 | 2.2256e-05 | 7.2061e-06 | 0.018457 | 0.018458 | 0.018458 | 0.99381 | -0.043437 | 0.99196 | -0.056508 | 6.8361
24 | 0.011754 | 0.002943 | -0.01174 | -0.0029387 | 1.3623e-05 | 4.3341e-06 | 0.017631 | 0.017631 | 0.017631 | 0.99196 | -0.056508 | 0.99077 | -0.064903 | 6.5301
25 | 0.0043201 | 0.0010825 | -0.0043193 | -0.0010825 | 7.9462e-07 | -7.7717e-08 | 0.0065141 | 0.0065142 | 0.0065142 | 0.98684 | -0.092805 | 0.98665 | -0.094134 | 2.4127
26 | -0.0056982 | -0.0014278 | 0.0057024 | 0.0014283 | 4.1926e-06 | 4.4877e-07 | 0.008592 | 0.0085916 | 0.008592 | 0.98684 | -0.092805 | 0.98759 | -0.087487 | 3.1822
27 | 0.0030335 | 0.00075643 | -0.0030323 | -0.00075718 | 1.2554e-06 | -7.4948e-07 | 0.0045693 | 0.0045698 | 0.0045698 | 0.98759 | -0.087487 | 0.98717 | -0.090503 | 1.6925
28 | -0.0087359 | -0.0021847 | 0.0087389 | 0.0021855 | 2.9128e-06 | 7.7535e-07 | 0.013161 | 0.013161 | 0.013161 | 0.98759 | -0.087487 | 0.98793 | -0.085069 | 4.8744
29 | 0.0025154 | 0.00062764 | -0.0025151 | -0.00062793 | 2.7853e-07 | -2.8996e-07 | 0.0037906 | 0.0037908 | 0.0037908 | 0.98717 | -0.090503 | 0.98706 | -0.09131 | 1.404
30 | -0.0093556 | -0.0023401 | 0.0093654 | 0.0023428 | 9.814e-06 | 2.7591e-06 | 0.01409 | 0.014089 | 0.01409 | 0.98793 | -0.085069 | 0.989 | -0.077467 | 5.2184
31 | 0.00025309 | 6.1006e-05 | -0.00025307 | -6.3426e-05 | 1.7211e-08 | -2.4204e-06 | 0.00038069 | 0.00038154 | 0.00038154 | 0.98706 | -0.09131 | 0.98699 | -0.09182 | 0.14131
32 | -0.010734 | -0.0026858 | 0.010752 | 0.0026914 | 1.8632e-05 | 5.694e-06 | 0.016148 | 0.016148 | 0.016148 | 0.989 | -0.077467 | 0.99077 | -0.064903 | 5.9808
33 | 0.003151 | 0.00077567 | -0.0031494 | -0.00077653 | 1.6074e-06 | -8.5771e-07 | 0.0047335 | 0.004734 | 0.004734 | 0.98952 | -0.074384 | 0.989 | -0.078195 | 1.7533
34 | 0.0024578 | 0.00060321 | -0.0024578 | -0.00060326 | 4.7934e-08 | -5.382e-08 | 0.0036935 | 0.0036935 | 0.0036935 | 0.989 | -0.078195 | 0.98898 | -0.078341 | 1.368
35 | 0.0019657 | 0.00047995 | -0.0019657 | -0.00048005 | 5.0028e-08 | -9.871e-08 | 0.0029532 | 0.0029533 | 0.0029533 | 0.98898 | -0.078341 | 0.98895 | -0.078534 | 1.0938
36 | 0.0010932 | 0.00026138 | -0.0010925 | -0.00026613 | 6.5561e-07 | -4.7488e-06 | 0.0016405 | 0.0016422 | 0.0016422 | 0.98895 | -0.078534 | 0.98834 | -0.083188 | 0.60822
37 | 0.0010925 | 0.00026613 | -0.0010925 | -0.00026627 | 1.9745e-08 | -1.4276e-07 | 0.0016422 | 0.0016423 | 0.0016423 | 0.98834 | -0.083188 | 0.98832 | -0.083326 | 0.60824
38 | 0.0009879 | 0.00024721 | -0.00098785 | -0.00024758 | 4.0614e-08 | -3.6516e-07 | 0.0014836 | 0.0014837 | 0.0014837 | 0.99077 | -0.064903 | 0.99073 | -0.065201 | 0.54952
39 | 0.00062261 | 0.0001485 | -0.00062259 | -0.00014911 | 2.6332e-08 | -6.0854e-07 | 0.00093479 | 0.000935 | 0.000935 | 0.98832 | -0.083326 | 0.98828 | -0.08366 | 0.3463
40 | 0.00062259 | 0.00014911 | -0.00062229 | -0.00015596 | 2.9754e-07 | -6.8532e-06 | 0.000935 | 0.00093742 | 0.00093742 | 0.98828 | -0.08366 | 0.98779 | -0.087265 | 0.34719

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.048607 | 0.01199

## res_load
| p_mw | q_mvar
0 | 0.0039402 | 0.0009875
1 | 0.0029531 | 0.00074011
2 | 0.0032369 | 0.00081124
3 | 0.0021185 | 0.00053094
4 | 0.00054749 | 0.00013721
5 | 0.00076769 | 0.0001924
6 | 0.0024331 | 0.00060979
7 | 0.00070397 | 0.00017643
8 | 0.0012677 | 0.00031771
9 | 0.00033876 | 8.4902e-05
10 | 0.0037847 | 0.00094854
11 | 0.0033818 | 0.00084757
12 | 0.002789 | 0.00069899
13 | 0.00098483 | 0.00024682
14 | 0.0021952 | 0.00055017
15 | 0.0005511 | 0.00013812
16 | 0.0013781 | 0.00034538
17 | 0.0043193 | 0.0010825
18 | 0.00051687 | 0.00012954
19 | 0.00061676 | 0.00015457
20 | 0.002262 | 0.00056692
21 | 0.0013683 | 0.00034294
22 | 0.00057134 | 0.00014319
23 | 0.00069156 | 0.00017332
24 | 0.00049203 | 0.00012331
25 | 0.00087251 | 0.00021867
26 | 0.00025307 | 6.3426e-05
27 | 0.00046991 | 0.00011777
28 | 0.00062229 | 0.00015596
29 | 0.00098785 | 0.00024758

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1