## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1366-5_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1366-5_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1366-5_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1366-5_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1366-5_0_6_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_1366-5_0_6_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_1366-5_0_6_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_1366-5_0_6_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1366-5_0_6_node_70 | 0.4 | n |  | TRUE
9 | bus_LV_1366-5_0_6_node_76 | 0.4 | n |  | TRUE
10 | bus_LV_1366-5_0_6_node_30 | 0.4 | n |  | TRUE
11 | bus_LV_1366-5_0_6_node_26 | 0.4 | n |  | TRUE
12 | bus_LV_1366-5_0_6_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_1366-5_0_6_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_1366-5_0_6_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_1366-5_0_6_node_25 | 0.4 | n |  | TRUE
16 | bus_LV_1366-5_0_6_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1366-5_0_6_node_51 | 0.4 | n |  | TRUE
18 | bus_LV_1366-5_0_6_node_71 | 0.4 | n |  | TRUE
19 | bus_LV_1366-5_0_6_node_69 | 0.4 | n |  | TRUE
20 | bus_LV_1366-5_0_6_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_1366-5_0_6_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_1366-5_0_6_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1366-5_0_6_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_1366-5_0_6_node_85 | 0.4 | n |  | TRUE
25 | bus_LV_1366-5_0_6_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_1366-5_0_6_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_1366-5_0_6_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_1366-5_0_6_node_80 | 0.4 | n |  | TRUE
29 | bus_LV_1366-5_0_6_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_1366-5_0_6_node_44 | 0.4 | n |  | TRUE
31 | bus_LV_1366-5_0_6_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_1366-5_0_6_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_1366-5_0_6_node_45 | 0.4 | n |  | TRUE
34 | bus_LV_1366-5_0_6_node_43 | 0.4 | n |  | TRUE
35 | bus_LV_1366-5_0_6_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_1366-5_0_6_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_1366-5_0_6_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_1366-5_0_6_node_50 | 0.4 | n |  | TRUE
39 | bus_LV_1366-5_0_6_node_56 | 0.4 | n |  | TRUE
40 | bus_LV_1366-5_0_6_node_55 | 0.4 | n |  | TRUE
41 | bus_LV_1366-5_0_6_node_46 | 0.4 | n |  | TRUE
42 | bus_LV_1366-5_0_6_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_1366-5_0_6_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_1366-5_0_6_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_1366-5_0_6_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_1366-5_0_6_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_1366-5_0_6_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_1366-5_0_6_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_1366-5_0_6_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_1366-5_0_6_node_81 | 0.4 | n |  | TRUE
51 | bus_LV_1366-5_0_6_node_52 | 0.4 | n |  | TRUE
52 | bus_LV_1366-5_0_6_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_1366-5_0_6_node_82 | 0.4 | n |  | TRUE
54 | bus_LV_1366-5_0_6_node_83 | 0.4 | n |  | TRUE
55 | bus_LV_1366-5_0_6_node_84 | 0.4 | n |  | TRUE
56 | bus_LV_1366-5_0_6_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_1366-5_0_6_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_1366-5_0_6_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_1366-5_0_6_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_1366-5_0_6_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_1366-5_0_6_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_1366-5_0_6_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_1366-5_0_6_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_1366-5_0_6_node_57 | 0.4 | n |  | TRUE
65 | bus_LV_1366-5_0_6_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_1366-5_0_6_node_59 | 0.4 | n |  | TRUE
67 | bus_LV_1366-5_0_6_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_1366-5_0_6_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_1366-5_0_6_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_1366-5_0_6_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_1366-5_0_6_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_1366-5_0_6_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_1366-5_0_6_node_68 | 0.4 | n |  | TRUE
74 | bus_LV_1366-5_0_6_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_1366-5_0_6_node_77 | 0.4 | n |  | TRUE
76 | bus_LV_1366-5_0_6_node_74 | 0.4 | n |  | TRUE
77 | bus_LV_1366-5_0_6_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_1366-5_0_6_node_78 | 0.4 | n |  | TRUE
79 | bus_LV_1366-5_0_6_node_75 | 0.4 | n |  | TRUE
80 | bus_MV_133_0_node_250 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1366-5_0_6_load_0 | 0 | 0.0035304 | 0.00088481 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1366-5_0_6_load_12 | 5 | 0.004748 | 0.00119 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1366-5_0_6_load_10 | 6 | 0.0056321 | 0.0014115 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1366-5_0_6_load_76 | 9 | 0.004714 | 0.0011814 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1366-5_0_6_load_30 | 10 | 0.0031089 | 0.00077916 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1366-5_0_6_load_26 | 11 | 0.0010749 | 0.0002694 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1366-5_0_6_load_17 | 13 | 0.0084527 | 0.0021184 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1366-5_0_6_load_16 | 14 | 0.023483 | 0.0058853 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1366-5_0_6_load_51 | 17 | 0.0090813 | 0.002276 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1366-5_0_6_load_71 | 18 | 0.0040266 | 0.0010092 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1366-5_0_6_load_69 | 19 | 0.0010811 | 0.00027094 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1366-5_0_6_load_13 | 22 | 0.0024969 | 0.00062579 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1366-5_0_6_load_85 | 24 | 0.0039607 | 0.00099264 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1366-5_0_6_load_18 | 26 | 0.0063978 | 0.0016034 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1366-5_0_6_load_23 | 27 | 0.0027877 | 0.00069866 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1366-5_0_6_load_80 | 28 | 0.0034884 | 0.00087427 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1366-5_0_6_load_19 | 29 | 0.015732 | 0.0039428 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1366-5_0_6_load_22 | 31 | 0.0034152 | 0.00085594 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1366-5_0_6_load_21 | 32 | 0.019305 | 0.0048384 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1366-5_0_6_load_45 | 33 | 0.0035753 | 0.00089604 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1366-5_0_6_load_43 | 34 | 0.0031559 | 0.00079095 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1366-5_0_6_load_29 | 36 | 0.0015293 | 0.00038327 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1366-5_0_6_load_47 | 37 | 0.0044422 | 0.0011133 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1366-5_0_6_load_56 | 39 | 0.0010393 | 0.00026047 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1366-5_0_6_load_55 | 40 | 0.0017283 | 0.00043315 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1366-5_0_6_load_46 | 41 | 0.0010837 | 0.00027159 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1366-5_0_6_load_31 | 42 | 0.0034981 | 0.00087672 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1366-5_0_6_load_32 | 43 | 0.012541 | 0.0031431 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1366-5_0_6_load_34 | 45 | 0.0041803 | 0.0010477 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1366-5_0_6_load_35 | 46 | 0.0028359 | 0.00071074 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1366-5_0_6_load_37 | 48 | 0.0016952 | 0.00042487 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1366-5_0_6_load_81 | 50 | 0.0024192 | 0.00060631 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1366-5_0_6_load_52 | 51 | 0.0016423 | 0.00041161 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1366-5_0_6_load_49 | 52 | 0.0075377 | 0.0018891 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1366-5_0_6_load_83 | 54 | 0.0046643 | 0.001169 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1366-5_0_6_load_84 | 55 | 0.0014397 | 0.00036083 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1366-5_0_6_load_53 | 56 | 0.0023824 | 0.00059709 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1366-5_0_6_load_38 | 57 | 0.0025366 | 0.00063573 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1366-5_0_6_load_39 | 58 | 0.0017028 | 0.00042677 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1366-5_0_6_load_40 | 59 | 0.0027818 | 0.00069718 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1366-5_0_6_load_42 | 60 | 0.0036815 | 0.00092268 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1366-5_0_6_load_62 | 61 | 0.0016917 | 0.00042399 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1366-5_0_6_load_54 | 62 | 0.0048994 | 0.0012279 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1366-5_0_6_load_57 | 64 | 0.0021913 | 0.0005492 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1366-5_0_6_load_58 | 65 | 0.0033601 | 0.00084213 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1366-5_0_6_load_59 | 66 | 0.0010772 | 0.00026997 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1366-5_0_6_load_61 | 68 | 0.0013856 | 0.00034726 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1366-5_0_6_load_65 | 69 | 0.0037224 | 0.00093293 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1366-5_0_6_load_64 | 70 | 0.0049135 | 0.0012314 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1366-5_0_6_load_66 | 71 | 0.0011045 | 0.00027681 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1366-5_0_6_load_67 | 72 | 0.0010876 | 0.00027257 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1366-5_0_6_load_77 | 75 | 0.00075781 | 0.00018993 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1366-5_0_6_load_74 | 76 | 0.0021011 | 0.00052658 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1366-5_0_6_load_73 | 77 | 0.0033012 | 0.00082736 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1366-5_0_6_load_78 | 78 | 0.0049274 | 0.0012349 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1366-5_0_6_load_75 | 79 | 0.0048752 | 0.0012218 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1366-5_0_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.025339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_1366-5_0_6_line_1 | NAYY 4x150 SE | 0 | 2 | 0.029269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_1366-5_0_6_line_2 | NAYY 4x150 SE | 1 | 3 | 0.009927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_1366-5_0_6_line_3 | NAYY 4x150 SE | 2 | 4 | 0.17413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_1366-5_0_6_line_4 | NAYY 4x150 SE | 3 | 5 | 0.039282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_1366-5_0_6_line_5 | NAYY 4x150 SE | 3 | 6 | 0.010119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_1366-5_0_6_line_6 | NAYY 4x150 SE | 4 | 7 | 0.17898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1366-5_0_6_line_7 | NAYY 4x150 SE | 4 | 8 | 0.004366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_1366-5_0_6_line_8 | NAYY 4x150 SE | 4 | 9 | 0.038608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1366-5_0_6_line_9 | NAYY 4x150 SE | 5 | 15 | 0.0085439 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_1366-5_0_6_line_10 | NAYY 4x150 SE | 6 | 16 | 0.029575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_1366-5_0_6_line_11 | NAYY 4x150 SE | 7 | 10 | 0.026623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1366-5_0_6_line_12 | NAYY 4x150 SE | 7 | 11 | 0.02507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1366-5_0_6_line_13 | NAYY 4x150 SE | 8 | 18 | 0.011098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1366-5_0_6_line_14 | NAYY 4x150 SE | 8 | 19 | 0.072329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_1366-5_0_6_line_15 | NAYY 4x150 SE | 11 | 20 | 0.013868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1366-5_0_6_line_16 | NAYY 4x150 SE | 12 | 13 | 0.021074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1366-5_0_6_line_17 | NAYY 4x150 SE | 12 | 14 | 0.013757 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1366-5_0_6_line_18 | NAYY 4x150 SE | 13 | 21 | 0.0086714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1366-5_0_6_line_19 | NAYY 4x150 SE | 15 | 27 | 0.0056221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_1366-5_0_6_line_20 | NAYY 4x150 SE | 15 | 17 | 0.0098078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1366-5_0_6_line_21 | NAYY 4x150 SE | 16 | 22 | 0.039632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1366-5_0_6_line_22 | NAYY 4x150 SE | 16 | 23 | 0.043874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_1366-5_0_6_line_23 | NAYY 4x150 SE | 18 | 76 | 0.023129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1366-5_0_6_line_24 | NAYY 4x150 SE | 19 | 73 | 0.007978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_1366-5_0_6_line_25 | NAYY 4x150 SE | 20 | 35 | 0.047996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1366-5_0_6_line_26 | NAYY 4x150 SE | 20 | 36 | 0.0022695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1366-5_0_6_line_27 | NAYY 4x150 SE | 21 | 30 | 0.018462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1366-5_0_6_line_28 | NAYY 4x150 SE | 21 | 31 | 0.02247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1366-5_0_6_line_29 | NAYY 4x150 SE | 22 | 24 | 0.0005243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1366-5_0_6_line_30 | NAYY 4x150 SE | 23 | 25 | 0.034864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1366-5_0_6_line_31 | NAYY 4x150 SE | 23 | 26 | 0.018087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1366-5_0_6_line_32 | NAYY 4x150 SE | 25 | 28 | 0.025033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1366-5_0_6_line_33 | NAYY 4x150 SE | 26 | 29 | 0.02914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1366-5_0_6_line_34 | NAYY 4x150 SE | 27 | 32 | 0.0084004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_1366-5_0_6_line_35 | NAYY 4x150 SE | 30 | 33 | 0.055857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1366-5_0_6_line_36 | NAYY 4x150 SE | 30 | 34 | 0.011495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1366-5_0_6_line_37 | NAYY 4x150 SE | 31 | 32 | 0.003884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1366-5_0_6_line_38 | NAYY 4x150 SE | 34 | 60 | 0.035457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1366-5_0_6_line_39 | NAYY 4x150 SE | 35 | 37 | 0.024359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1366-5_0_6_line_40 | NAYY 4x150 SE | 37 | 41 | 0.017915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1366-5_0_6_line_41 | NAYY 4x150 SE | 38 | 39 | 0.038622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_1366-5_0_6_line_42 | NAYY 4x150 SE | 38 | 40 | 0.067583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_1366-5_0_6_line_43 | NAYY 4x150 SE | 39 | 61 | 0.028957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_1366-5_0_6_line_44 | NAYY 4x150 SE | 40 | 46 | 0.094624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_1366-5_0_6_line_45 | NAYY 4x150 SE | 42 | 43 | 0.024596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1366-5_0_6_line_46 | NAYY 4x150 SE | 42 | 44 | 0.0067365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1366-5_0_6_line_47 | NAYY 4x150 SE | 43 | 45 | 0.033062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1366-5_0_6_line_48 | NAYY 4x150 SE | 43 | 46 | 0.01816 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1366-5_0_6_line_49 | NAYY 4x150 SE | 44 | 47 | 0.15466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1366-5_0_6_line_50 | NAYY 4x150 SE | 44 | 48 | 0.0030397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1366-5_0_6_line_51 | NAYY 4x150 SE | 45 | 49 | 0.054208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1366-5_0_6_line_52 | NAYY 4x150 SE | 47 | 50 | 0.26469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1366-5_0_6_line_53 | NAYY 4x150 SE | 48 | 51 | 0.027455 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1366-5_0_6_line_54 | NAYY 4x150 SE | 49 | 52 | 0.019432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1366-5_0_6_line_55 | NAYY 4x150 SE | 50 | 53 | 0.094651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1366-5_0_6_line_56 | NAYY 4x150 SE | 51 | 56 | 0.0032401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1366-5_0_6_line_57 | NAYY 4x150 SE | 53 | 54 | 0.084868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1366-5_0_6_line_58 | NAYY 4x150 SE | 54 | 55 | 0.015021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1366-5_0_6_line_59 | NAYY 4x150 SE | 56 | 62 | 0.036897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1366-5_0_6_line_60 | NAYY 4x150 SE | 57 | 58 | 0.0091603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1366-5_0_6_line_61 | NAYY 4x150 SE | 57 | 59 | 0.0058148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1366-5_0_6_line_62 | NAYY 4x150 SE | 59 | 60 | 0.0079691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1366-5_0_6_line_63 | NAYY 4x150 SE | 61 | 63 | 0.069812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
64 | LV_1366-5_0_6_line_64 | NAYY 4x150 SE | 63 | 70 | 0.0098479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
65 | LV_1366-5_0_6_line_65 | NAYY 4x150 SE | 63 | 68 | 0.020346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1366-5_0_6_line_66 | NAYY 4x150 SE | 64 | 65 | 0.0061846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_1366-5_0_6_line_67 | NAYY 4x150 SE | 64 | 66 | 0.01451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_1366-5_0_6_line_68 | NAYY 4x150 SE | 65 | 67 | 0.0097972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_1366-5_0_6_line_69 | NAYY 4x150 SE | 66 | 68 | 0.014215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_1366-5_0_6_line_70 | NAYY 4x150 SE | 67 | 69 | 0.007527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_1366-5_0_6_line_71 | NAYY 4x150 SE | 70 | 71 | 0.0096554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
72 | LV_1366-5_0_6_line_72 | NAYY 4x150 SE | 71 | 72 | 0.013822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
73 | LV_1366-5_0_6_line_73 | NAYY 4x150 SE | 72 | 73 | 0.012301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
74 | LV_1366-5_0_6_line_74 | NAYY 4x150 SE | 73 | 74 | 0.033334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_1366-5_0_6_line_75 | NAYY 4x150 SE | 74 | 75 | 0.015929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_1366-5_0_6_line_76 | NAYY 4x150 SE | 75 | 78 | 0.010022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_1366-5_0_6_line_77 | NAYY 4x150 SE | 76 | 77 | 0.033403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_1366-5_0_6_line_78 | NAYY 4x150 SE | 77 | 79 | 0.0019882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1366-5_0_6_trafo_6 | 0.25 MVA 20/0.4 kV | 80 | 4 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2689774.6392 | 1204067.7798 | 2689788.0192 | 1204052.8934 | 2689792.1554 | 1204049.5428
1 | 2689816.6088 | 1204033.5439 | 2689797.5864 | 1204045.1432 | 2689792.1554 | 1204049.5428
2 | 2689766.9654 | 1204074.102 | 2689774.6392 | 1204067.7798
3 | 2689816.6088 | 1204033.5439 | 2689830.2768 | 1204024.8215 | 2689836.5903 | 1204021.4253 | 2689859.6196 | 1204009.0302 | 2689867.8596 | 1204003.0169 | 2689876.4513 | 1203995.886 | 2689882.0657 | 1203987.8763 | 2689885.974 | 1203978.4623 | 2689886.7672 | 1203970.2577 | 2689891.2056 | 1203970.6136 | 2689897.4113 | 1203973.8758 | 2689913.8426 | 1203987.3208 | 2689930.8587 | 1204000.8414 | 2689934.3052 | 1204001.8829 | 2689938.2606 | 1203999.9523 | 2689940.2152 | 1203995.9791 | 2689941.7966 | 1203987.9866
4 | 2689766.9654 | 1204074.102 | 2689779.1709 | 1204080.6452 | 2689802.0076 | 1204091.8414
5 | 2689766.9654 | 1204074.102 | 2689758.3589 | 1204079.4237
6 | 2689840.4733 | 1203879.1906 | 2689840.7671 | 1203892.537 | 2689844.5081 | 1203903.8452 | 2689873.0556 | 1203948.5038 | 2689886.7672 | 1203970.2577 | 2689891.2056 | 1203970.6136 | 2689897.4113 | 1203973.8758 | 2689913.8426 | 1203987.3208 | 2689930.8587 | 1204000.8414 | 2689934.3052 | 1204001.8829 | 2689938.2606 | 1203999.9523 | 2689940.2152 | 1203995.9791 | 2689941.7966 | 1203987.9866
7 | 2689941.7966 | 1203987.9866 | 2689944.0822 | 1203984.263
8 | 2689941.7966 | 1203987.9866 | 2689912.2253 | 1203963.1648
9 | 2689809.6791 | 1204095.6025 | 2689802.0076 | 1204091.8414
10 | 2689732.898 | 1204094.4367 | 2689740.1604 | 1204090.6767 | 2689758.3589 | 1204079.4237
11 | 2689840.4733 | 1203879.1906 | 2689848.1159 | 1203877.4933 | 2689865.5549 | 1203884.6825
12 | 2689840.4733 | 1203879.1906 | 2689839.7334 | 1203854.1317
13 | 2689944.0822 | 1203984.263 | 2689938.4067 | 1203974.7257
14 | 2689944.0822 | 1203984.263 | 2689947.3159 | 1203981.7545 | 2689953.5348 | 1203982.115 | 2689972.8236 | 1203997.8047 | 2689982.8605 | 1204003.3373 | 2690001.8872 | 1204010.1617 | 2690007.2561 | 1204011.2013
15 | 2689839.3241 | 1203840.27 | 2689839.7334 | 1203854.1317
16 | 2689861.8638 | 1204085.3918 | 2689851.2982 | 1204103.6259
17 | 2689861.8638 | 1204085.3918 | 2689858.953 | 1204079.5998 | 2689855.6186 | 1204073.1343
18 | 2689846.9506 | 1204111.1288 | 2689851.2982 | 1204103.6259
19 | 2689809.6791 | 1204095.6025 | 2689814.8683 | 1204097.766
20 | 2689809.6791 | 1204095.6025 | 2689812.5066 | 1204091.2533 | 2689815.0235 | 1204087.3787
21 | 2689732.898 | 1204094.4367 | 2689750.4635 | 1204106.3418 | 2689765.7647 | 1204116.5824
22 | 2689732.898 | 1204094.4367 | 2689721.2241 | 1204100.1095 | 2689718.3301 | 1204104.8358 | 2689735.8955 | 1204116.7408 | 2689739.6907 | 1204118.3767
23 | 2689944.6738 | 1203958.3968 | 2689942.439 | 1203957.9766 | 2689937.916 | 1203960.1988 | 2689935.8975 | 1203963.8708 | 2689935.4519 | 1203967.6888 | 2689935.7703 | 1203970.2953 | 2689938.4067 | 1203974.7257
24 | 2690015.0887 | 1204012.7179 | 2690007.2561 | 1204011.2013
25 | 2689839.3241 | 1203840.27 | 2689867.4101 | 1203829.1741 | 2689875.4322 | 1203825.0143 | 2689882.7966 | 1203820.0663
26 | 2689839.3241 | 1203840.27 | 2689839.2098 | 1203838.0034
27 | 2689846.9506 | 1204111.1288 | 2689853.6826 | 1204114.2988 | 2689859.1455 | 1204117.3607 | 2689862.7966 | 1204120.4733
28 | 2689846.9506 | 1204111.1288 | 2689831.0937 | 1204104.5304 | 2689826.2068 | 1204102.493
29 | 2689765.7647 | 1204116.5824 | 2689766.2004 | 1204116.874
30 | 2689739.6907 | 1204118.3767 | 2689732.8054 | 1204137.5525 | 2689745.9365 | 1204143.7649
31 | 2689739.6907 | 1204118.3767 | 2689756.2956 | 1204125.5484
32 | 2689745.9365 | 1204143.7649 | 2689720.9204 | 1204144.6889
33 | 2689784.1001 | 1204133.8653 | 2689768.7861 | 1204130.633 | 2689762.5747 | 1204128.2603 | 2689756.2956 | 1204125.5484
34 | 2689814.8683 | 1204097.766 | 2689822.6219 | 1204100.9984
35 | 2689862.7966 | 1204120.4733 | 2689870.2216 | 1204125.1213 | 2689878.9695 | 1204129.8338 | 2689888.9267 | 1204135.5985 | 2689902.6564 | 1204146.012 | 2689908.0987 | 1204152.441
36 | 2689862.7966 | 1204120.4733 | 2689858.897 | 1204123.7612 | 2689855.81 | 1204125.6271 | 2689853.0991 | 1204126.2756
37 | 2689826.2068 | 1204102.493 | 2689822.6219 | 1204100.9984
38 | 2689853.0991 | 1204126.2756 | 2689849.6826 | 1204125.7683 | 2689838.6554 | 1204122.3447 | 2689824.487 | 1204123.3767 | 2689819.8068 | 1204127.5204
39 | 2689882.7966 | 1203820.0663 | 2689881.8245 | 1203806.7985 | 2689879.2725 | 1203796.0416
40 | 2689876.2307 | 1203778.4279 | 2689877.0304 | 1203786.591 | 2689879.2725 | 1203796.0416
41 | 2690039.9449 | 1203872.1671 | 2690035.5548 | 1203872.1342 | 2690032.06 | 1203876.3065 | 2690027.6247 | 1203890.3711 | 2690026.6486 | 1203897.0719 | 2690028.2125 | 1203903.3662 | 2690028.546 | 1203904.0768
42 | 2690039.9449 | 1203872.1671 | 2690041.3908 | 1203875.6912 | 2690043.4858 | 1203887.6417 | 2690044.9437 | 1203890.3654 | 2690047.8798 | 1203893.4673 | 2690051.1127 | 1203894.5501 | 2690054.2501 | 1203893.8858 | 2690056.7849 | 1203890.2995 | 2690054.4996 | 1203877.8569 | 2690054.2505 | 1203874.6955 | 2690054.8484 | 1203871.8804 | 2690058.8617 | 1203870.6624 | 2690064.4729 | 1203873.9936 | 2690065.687 | 1203877.6504
43 | 2690028.546 | 1203904.0768 | 2690035.1868 | 1203918.2255 | 2690039.887 | 1203922.4213 | 2690046.1783 | 1203925.5516
44 | 2690065.687 | 1203877.6504 | 2690067.5299 | 1203883.2013 | 2690070.1105 | 1203896.7491 | 2690075.651 | 1203909.2964 | 2690082.5498 | 1203921.0859 | 2690094.1274 | 1203929.9107 | 2690121.7258 | 1203948.0945
45 | 2690138.8118 | 1203953.9339 | 2690136.1412 | 1203948.8792 | 2690128.7051 | 1203941.4399 | 2690126.3484 | 1203933.4184
46 | 2690124.4495 | 1203926.9551 | 2690126.3484 | 1203933.4184
47 | 2690138.8118 | 1203953.9339 | 2690156.6149 | 1203958.1387 | 2690170.0406 | 1203962.4775 | 2690170.6524 | 1203962.7243
48 | 2690138.8118 | 1203953.9339 | 2690126.2541 | 1203950.5645 | 2690121.7258 | 1203948.0945
49 | 2690124.4495 | 1203926.9551 | 2690128.7325 | 1203918.9589 | 2690138.6477 | 1203911.3813 | 2690149.1256 | 1203906.8587 | 2690153.7247 | 1203899.6012 | 2690153.8721 | 1203889.8414 | 2690152.3521 | 1203869.0604 | 2690153.4394 | 1203850.9761 | 2690156.5043 | 1203836.9798 | 2690163.2544 | 1203822.8391 | 2690168.3121 | 1203811.9305 | 2690172.277 | 1203805.3527 | 2690185.296 | 1203798.3558
50 | 2690124.4495 | 1203926.9551 | 2690124.0859 | 1203923.9372
51 | 2690209.7672 | 1203998.3231 | 2690192.8576 | 1203975.7863 | 2690186.8289 | 1203970.3917 | 2690180.0618 | 1203966.5203 | 2690170.6524 | 1203962.7243
52 | 2690185.296 | 1203798.3558 | 2690050.2348 | 1203570.7117
53 | 2690119.4482 | 1203896.9261 | 2690122.1639 | 1203907.986 | 2690124.0859 | 1203923.9372
54 | 2690209.7672 | 1203998.3231 | 2690203.0391 | 1204016.5556
55 | 2690032.5024 | 1203479.142 | 2690040.5352 | 1203515.1755 | 2690046.6921 | 1203527.7543 | 2690044.754 | 1203546.7709 | 2690047.7692 | 1203563.3049 | 2690050.2348 | 1203570.7117
56 | 2690119.4482 | 1203896.9261 | 2690118.6756 | 1203893.7794
57 | 2690032.5024 | 1203479.142 | 2690051.4316 | 1203503.1319 | 2690069.6602 | 1203519.0727 | 2690082.2548 | 1203530.1476 | 2690092.7588 | 1203538.3415
58 | 2690092.7588 | 1203538.3415 | 2690096.8762 | 1203541.5533 | 2690106.5472 | 1203543.1336
59 | 2690118.6756 | 1203893.7794 | 2690109.8773 | 1203857.947
60 | 2689804.0636 | 1204144.1787 | 2689809.5342 | 1204138.106 | 2689810.1956 | 1204137.3736
61 | 2689814.0929 | 1204133.0582 | 2689810.1956 | 1204137.3736
62 | 2689819.8068 | 1204127.5204 | 2689816.2508 | 1204130.6688 | 2689814.0929 | 1204133.0582
63 | 2690044.1334 | 1203979.4005 | 2690046.397 | 1203968.0605 | 2690050.2265 | 1203954.8095 | 2690059.1278 | 1203939.7783 | 2690061.7689 | 1203932.1687 | 2690060.29 | 1203927.8102 | 2690055.2496 | 1203926.5 | 2690046.1783 | 1203925.5516
64 | 2690044.1334 | 1203979.4005 | 2690040.7372 | 1203988.6442
65 | 2690044.1334 | 1203979.4005 | 2690037.5736 | 1203976.4107 | 2690027.9732 | 1203967.4431
66 | 2690010.5221 | 1203944.8042 | 2690009.7979 | 1203943.7374 | 2690007.0371 | 1203939.695
67 | 2690010.5221 | 1203944.8042 | 2690018.6719 | 1203956.8094
68 | 2690001.5117 | 1203931.6046 | 2690007.0371 | 1203939.695
69 | 2690018.6719 | 1203956.8094 | 2690022.2814 | 1203962.1265 | 2690027.9732 | 1203967.4431
70 | 2690001.5117 | 1203931.6046 | 2689994.0454 | 1203932.7151
71 | 2690035.1015 | 1203996.4842 | 2690040.7372 | 1203988.6442
72 | 2690035.1015 | 1203996.4842 | 2690032.4985 | 1204000.1053 | 2690025.4633 | 1204006.2822
73 | 2690015.0887 | 1204012.7179 | 2690022.1654 | 1204009.1778 | 2690025.4633 | 1204006.2822
74 | 2690015.0887 | 1204012.7179 | 2690022.0316 | 1204026.1202 | 2690031.1754 | 1204041.9239
75 | 2690031.1754 | 1204041.9239 | 2690046.7531 | 1204045.2505
76 | 2690056.5539 | 1204047.3434 | 2690046.7531 | 1204045.2505
77 | 2689975.7166 | 1203970.5437 | 2689961.0174 | 1203964.2605 | 2689948.0311 | 1203959.0281 | 2689944.6738 | 1203958.3968
78 | 2689977.5448 | 1203971.3251 | 2689975.7166 | 1203970.5437

## bus_geodata
| x | y | coords
0 | 2689792.1554 | 1204049.5428
1 | 2689774.6392 | 1204067.7798
2 | 2689816.6088 | 1204033.5439
3 | 2689766.9654 | 1204074.102
4 | 2689941.7966 | 1203987.9866
5 | 2689802.0076 | 1204091.8414
6 | 2689758.3589 | 1204079.4237
7 | 2689840.4733 | 1203879.1906
8 | 2689944.0822 | 1203984.263
9 | 2689912.2253 | 1203963.1648
10 | 2689865.5549 | 1203884.6825
11 | 2689839.7334 | 1203854.1317
12 | 2689861.8638 | 1204085.3918
13 | 2689851.2982 | 1204103.6259
14 | 2689855.6186 | 1204073.1343
15 | 2689809.6791 | 1204095.6025
16 | 2689732.898 | 1204094.4367
17 | 2689815.0235 | 1204087.3787
18 | 2689938.4067 | 1203974.7257
19 | 2690007.2561 | 1204011.2013
20 | 2689839.3241 | 1203840.27
21 | 2689846.9506 | 1204111.1288
22 | 2689765.7647 | 1204116.5824
23 | 2689739.6907 | 1204118.3767
24 | 2689766.2004 | 1204116.874
25 | 2689745.9365 | 1204143.7649
26 | 2689756.2956 | 1204125.5484
27 | 2689814.8683 | 1204097.766
28 | 2689720.9204 | 1204144.6889
29 | 2689784.1001 | 1204133.8653
30 | 2689862.7966 | 1204120.4733
31 | 2689826.2068 | 1204102.493
32 | 2689822.6219 | 1204100.9984
33 | 2689908.0987 | 1204152.441
34 | 2689853.0991 | 1204126.2756
35 | 2689882.7966 | 1203820.0663
36 | 2689839.2098 | 1203838.0034
37 | 2689879.2725 | 1203796.0416
38 | 2690039.9449 | 1203872.1671
39 | 2690028.546 | 1203904.0768
40 | 2690065.687 | 1203877.6504
41 | 2689876.2307 | 1203778.4279
42 | 2690126.3484 | 1203933.4184
43 | 2690138.8118 | 1203953.9339
44 | 2690124.4495 | 1203926.9551
45 | 2690170.6524 | 1203962.7243
46 | 2690121.7258 | 1203948.0945
47 | 2690185.296 | 1203798.3558
48 | 2690124.0859 | 1203923.9372
49 | 2690209.7672 | 1203998.3231
50 | 2690050.2348 | 1203570.7117
51 | 2690119.4482 | 1203896.9261
52 | 2690203.0391 | 1204016.5556
53 | 2690032.5024 | 1203479.142
54 | 2690092.7588 | 1203538.3415
55 | 2690106.5472 | 1203543.1336
56 | 2690118.6756 | 1203893.7794
57 | 2689810.1956 | 1204137.3736
58 | 2689804.0636 | 1204144.1787
59 | 2689814.0929 | 1204133.0582
60 | 2689819.8068 | 1204127.5204
61 | 2690046.1783 | 1203925.5516
62 | 2690109.8773 | 1203857.947
63 | 2690044.1334 | 1203979.4005
64 | 2690010.5221 | 1203944.8042
65 | 2690007.0371 | 1203939.695
66 | 2690018.6719 | 1203956.8094
67 | 2690001.5117 | 1203931.6046
68 | 2690027.9732 | 1203967.4431
69 | 2689994.0454 | 1203932.7151
70 | 2690040.7372 | 1203988.6442
71 | 2690035.1015 | 1203996.4842
72 | 2690025.4633 | 1204006.2822
73 | 2690015.0887 | 1204012.7179
74 | 2690031.1754 | 1204041.9239
75 | 2690046.7531 | 1204045.2505
76 | 2689944.6738 | 1203958.3968
77 | 2689975.7166 | 1203970.5437
78 | 2690056.5539 | 1204047.3434
79 | 2689977.5448 | 1203971.3251
80 | 2689944.0822 | 1203984.263

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98064 | -0.13458 | 0.0035304 | 0.00088481
1 | 0.97829 | -0.15126 | 0 | 0
2 | 0.98343 | -0.11489 | 0 | 0
3 | 0.97737 | -0.15781 | 0 | 0
4 | 1 | 0 | -0.24563 | -0.061963
5 | 0.97482 | -0.17606 | 0.004748 | 0.00119
6 | 0.97709 | -0.1598 | 0.0056321 | 0.0014115
7 | 0.99712 | -0.020177 | 0 | 0
8 | 0.9997 | -0.0020549 | 0 | 0
9 | 0.99974 | -0.0018176 | 0.004714 | 0.0011814
10 | 0.997 | -0.021009 | 0.0031089 | 0.00077916
11 | 0.99683 | -0.022227 | 0.0010749 | 0.0002694
12 | 0.97047 | -0.20728 | 0 | 0
13 | 0.9712 | -0.20204 | 0.0084527 | 0.0021184
14 | 0.97 | -0.2107 | 0.023483 | 0.0058853
15 | 0.97429 | -0.17983 | 0 | 0
16 | 0.9764 | -0.16477 | 0 | 0
17 | 0.97416 | -0.18077 | 0.0090813 | 0.002276
18 | 0.99948 | -0.0036412 | 0.0040266 | 0.0010092
19 | 0.99552 | -0.031057 | 0.0010811 | 0.00027094
20 | 0.99669 | -0.023211 | 0 | 0
21 | 0.97161 | -0.19911 | 0 | 0
22 | 0.97603 | -0.16745 | 0.0024969 | 0.00062579
23 | 0.97558 | -0.17066 | 0 | 0
24 | 0.97602 | -0.16747 | 0.0039607 | 0.00099264
25 | 0.9754 | -0.17194 | 0 | 0
26 | 0.97499 | -0.17486 | 0.0063978 | 0.0016034
27 | 0.97398 | -0.18205 | 0.0027877 | 0.00069866
28 | 0.97527 | -0.17285 | 0.0034884 | 0.00087427
29 | 0.97432 | -0.17968 | 0.015732 | 0.0039428
30 | 0.97114 | -0.20252 | 0 | 0
31 | 0.97324 | -0.1874 | 0.0034152 | 0.00085594
32 | 0.97354 | -0.18524 | 0.019305 | 0.0048384
33 | 0.97084 | -0.20463 | 0.0035753 | 0.00089604
34 | 0.9709 | -0.2042 | 0.0031559 | 0.00079095
35 | 0.99631 | -0.02588 | 0 | 0
36 | 0.99669 | -0.023246 | 0.0015293 | 0.00038327
37 | 0.99612 | -0.027234 | 0.0044422 | 0.0011133
38 | 0.98742 | -0.087764 | 0 | 0
39 | 0.98886 | -0.077584 | 0.0010393 | 0.00026047
40 | 0.98488 | -0.10565 | 0.0017283 | 0.00043315
41 | 0.99609 | -0.02743 | 0.0010837 | 0.00027159
42 | 0.9794 | -0.14464 | 0.0034981 | 0.00087672
43 | 0.98021 | -0.13884 | 0.012541 | 0.0031431
44 | 0.97921 | -0.14599 | 0 | 0
45 | 0.97965 | -0.14287 | 0.0041803 | 0.0010477
46 | 0.98145 | -0.12999 | 0.0028359 | 0.00071074
47 | 0.97728 | -0.15982 | 0 | 0
48 | 0.97917 | -0.14632 | 0.0016952 | 0.00042487
49 | 0.97905 | -0.14712 | 0 | 0
50 | 0.97398 | -0.18356 | 0.0024192 | 0.00060631
51 | 0.97881 | -0.14888 | 0.0016423 | 0.00041161
52 | 0.97884 | -0.14865 | 0.0075377 | 0.0018891
53 | 0.97313 | -0.18965 | 0 | 0
54 | 0.97237 | -0.19512 | 0.0046643 | 0.001169
55 | 0.97234 | -0.19535 | 0.0014397 | 0.00036083
56 | 0.97877 | -0.14912 | 0.0023824 | 0.00059709
57 | 0.97023 | -0.20908 | 0.0025366 | 0.00063573
58 | 0.9702 | -0.20925 | 0.0017028 | 0.00042677
59 | 0.97026 | -0.20882 | 0.0027818 | 0.00069718
60 | 0.97034 | -0.20823 | 0.0036815 | 0.00092268
61 | 0.98997 | -0.069816 | 0.0016917 | 0.00042399
62 | 0.97851 | -0.15101 | 0.0048994 | 0.0012279
63 | 0.99272 | -0.050559 | 0 | 0
64 | 0.99198 | -0.055836 | 0.0021913 | 0.0005492
65 | 0.99191 | -0.056281 | 0.0033601 | 0.00084213
66 | 0.99217 | -0.054472 | 0.0010772 | 0.00026997
67 | 0.99186 | -0.056651 | 0 | 0
68 | 0.99238 | -0.052979 | 0.0013856 | 0.00034726
69 | 0.99182 | -0.056935 | 0.0037224 | 0.00093293
70 | 0.9932 | -0.047266 | 0.0049135 | 0.0012314
71 | 0.99369 | -0.0438 | 0.0011045 | 0.00027681
72 | 0.99441 | -0.038767 | 0.0010876 | 0.00027257
73 | 0.99507 | -0.034227 | 0 | 0
74 | 0.99479 | -0.036139 | 0 | 0
75 | 0.99466 | -0.037053 | 0.00075781 | 0.00018993
76 | 0.99914 | -0.006018 | 0.0021011 | 0.00052658
77 | 0.99875 | -0.0087501 | 0.0033012 | 0.00082736
78 | 0.99459 | -0.037551 | 0.0049274 | 0.0012349
79 | 0.99873 | -0.0088471 | 0.0048752 | 0.0012218
80 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.12739 | 0.032048 | -0.12709 | -0.031935 | 0.00029553 | 0.00011303 | 0.19334 | 0.19334 | 0.19334 | 0.98064 | -0.13458 | 0.97829 | -0.15126 | 35.8043
1 | -0.13092 | -0.032933 | 0.13128 | 0.033071 | 0.00036055 | 0.00013793 | 0.1987 | 0.1987 | 0.1987 | 0.98064 | -0.13458 | 0.98343 | -0.11489 | 36.7963
2 | 0.12709 | 0.031935 | -0.12698 | -0.031891 | 0.00011578 | 4.4282e-05 | 0.19334 | 0.19334 | 0.19334 | 0.97829 | -0.15126 | 0.97737 | -0.15781 | 35.8044
3 | -0.13128 | -0.033071 | 0.13343 | 0.033891 | 0.0021449 | 0.00082047 | 0.1987 | 0.1987 | 0.1987 | 0.98343 | -0.11489 | 1 | 0 | 36.7963
4 | 0.08919 | 0.022413 | -0.088964 | -0.022327 | 0.00022606 | 8.5962e-05 | 0.13581 | 0.13581 | 0.13581 | 0.97737 | -0.15781 | 0.97482 | -0.17606 | 25.15
5 | 0.037788 | 0.0094775 | -0.037778 | -0.0094737 | 1.045e-05 | 3.7659e-06 | 0.057534 | 0.057534 | 0.057534 | 0.97737 | -0.15781 | 0.97709 | -0.1598 | 10.6544
6 | 0.011277 | 0.002827 | -0.011246 | -0.0028173 | 3.1452e-05 | 9.7555e-06 | 0.016781 | 0.016782 | 0.016782 | 1 | 0 | 0.99712 | -0.020177 | 6.2154
7 | 0.095412 | 0.024063 | -0.095385 | -0.024053 | 2.7478e-05 | 1.0454e-05 | 0.14203 | 0.14203 | 0.14203 | 1 | 0 | 0.9997 | -0.0020549 | 26.3015
8 | 0.0047152 | 0.0011814 | -0.004714 | -0.0011814 | 1.186e-06 | -5.0241e-08 | 0.0070161 | 0.0070163 | 0.0070163 | 1 | 0 | 0.99974 | -0.0018176 | 2.5986
9 | 0.084216 | 0.021137 | -0.084171 | -0.021121 | 4.406e-05 | 1.6733e-05 | 0.12856 | 0.12856 | 0.12856 | 0.97482 | -0.17606 | 0.97429 | -0.17983 | 23.8079
10 | 0.032146 | 0.0080622 | -0.032124 | -0.0080544 | 2.2116e-05 | 7.7658e-06 | 0.048957 | 0.048957 | 0.048957 | 0.97709 | -0.1598 | 0.9764 | -0.16477 | 9.0661
11 | 0.0031092 | 0.00077895 | -0.0031089 | -0.00077916 | 3.5765e-07 | -2.0967e-07 | 0.0046399 | 0.00464 | 0.00464 | 0.99712 | -0.020177 | 0.997 | -0.021009 | 1.7185
12 | 0.0081365 | 0.0020383 | -0.0081342 | -0.0020378 | 2.3062e-06 | 5.6011e-07 | 0.012142 | 0.012142 | 0.012142 | 0.99712 | -0.020177 | 0.99683 | -0.022227 | 4.497
13 | 0.014314 | 0.0035877 | -0.014311 | -0.0035867 | 3.1436e-06 | 1.0636e-06 | 0.021306 | 0.021306 | 0.021306 | 0.9997 | -0.0020549 | 0.99948 | -0.0036412 | 7.891
14 | 0.081071 | 0.020465 | -0.080742 | -0.02034 | 0.00032889 | 0.00012461 | 0.12072 | 0.12072 | 0.12072 | 0.9997 | -0.0020549 | 0.99552 | -0.031057 | 22.3562
15 | 0.0070592 | 0.0017684 | -0.0070583 | -0.0017682 | 9.6085e-07 | 1.888e-07 | 0.010537 | 0.010537 | 0.010537 | 0.99683 | -0.022227 | 0.99669 | -0.023211 | 3.9027
16 | -0.023494 | -0.0058894 | 0.023511 | 0.0058957 | 1.7064e-05 | 6.3026e-06 | 0.036023 | 0.036023 | 0.036023 | 0.97047 | -0.20728 | 0.9712 | -0.20204 | 13.3418
17 | 0.023494 | 0.0058894 | -0.023483 | -0.0058853 | 1.114e-05 | 4.1145e-06 | 0.036023 | 0.036023 | 0.036023 | 0.97047 | -0.20728 | 0.97 | -0.2107 | 13.3419
18 | -0.031963 | -0.0080141 | 0.031976 | 0.008019 | 1.2978e-05 | 4.8841e-06 | 0.048974 | 0.048973 | 0.048974 | 0.9712 | -0.20204 | 0.97161 | -0.19911 | 18.1383
19 | 0.075089 | 0.018844 | -0.075066 | -0.018836 | 2.3074e-05 | 8.7345e-06 | 0.11469 | 0.11469 | 0.11469 | 0.97429 | -0.17983 | 0.97398 | -0.18205 | 21.2391
20 | 0.0090825 | 0.0022763 | -0.0090813 | -0.002276 | 1.1776e-06 | 3.308e-07 | 0.013871 | 0.013871 | 0.013871 | 0.97429 | -0.17983 | 0.97416 | -0.18077 | 5.1376
21 | 0.00646 | 0.0016189 | -0.0064576 | -0.0016184 | 2.3969e-06 | 4.264e-07 | 0.0098449 | 0.0098451 | 0.0098451 | 0.9764 | -0.16477 | 0.97603 | -0.16745 | 3.6463
22 | 0.025664 | 0.0064356 | -0.025643 | -0.0064286 | 2.0941e-05 | 6.9575e-06 | 0.039112 | 0.039113 | 0.039113 | 0.9764 | -0.16477 | 0.97558 | -0.17066 | 7.2431
23 | 0.010284 | 0.0025775 | -0.010281 | -0.0025765 | 3.3833e-06 | 9.9825e-07 | 0.015311 | 0.015311 | 0.015311 | 0.99948 | -0.0036412 | 0.99914 | -0.006018 | 5.6707
24 | 0.079661 | 0.020069 | -0.079626 | -0.020056 | 3.5313e-05 | 1.3374e-05 | 0.11911 | 0.11911 | 0.11911 | 0.99552 | -0.031057 | 0.99507 | -0.034227 | 22.057
25 | 0.005529 | 0.0013849 | -0.0055269 | -0.0013848 | 2.0406e-06 | 1.5957e-07 | 0.0082543 | 0.0082545 | 0.0082545 | 0.99669 | -0.023211 | 0.99631 | -0.02588 | 3.0572
26 | 0.0015293 | 0.00038325 | -0.0015293 | -0.00038327 | 7.3822e-09 | -2.6738e-08 | 0.0022832 | 0.0022832 | 0.0022832 | 0.99669 | -0.023211 | 0.99669 | -0.023246 | 0.84562
27 | 0.017453 | 0.004375 | -0.017445 | -0.004372 | 8.231e-06 | 2.9372e-06 | 0.02673 | 0.02673 | 0.02673 | 0.97161 | -0.19911 | 0.97114 | -0.20252 | 9.8999
28 | -0.04943 | -0.012394 | 0.04951 | 0.012425 | 8.0354e-05 | 3.0627e-05 | 0.075703 | 0.075703 | 0.075703 | 0.97161 | -0.19911 | 0.97324 | -0.1874 | 28.0382
29 | 0.0039607 | 0.00099264 | -0.0039607 | -0.00099264 | 1.1929e-08 | -1.9647e-09 | 0.0060383 | 0.0060383 | 0.0060383 | 0.97603 | -0.16745 | 0.97602 | -0.16747 | 2.2364
30 | 0.0034894 | 0.00087393 | -0.0034888 | -0.00087412 | 6.1622e-07 | -1.9824e-07 | 0.0053221 | 0.0053222 | 0.0053222 | 0.97558 | -0.17066 | 0.9754 | -0.17194 | 1.9712
31 | 0.022153 | 0.0055547 | -0.02214 | -0.00555 | 1.2887e-05 | 4.7309e-06 | 0.033791 | 0.033791 | 0.033791 | 0.97558 | -0.17066 | 0.97499 | -0.17486 | 12.5151
32 | 0.0034888 | 0.00087412 | -0.0034884 | -0.00087427 | 4.4248e-07 | -1.4223e-07 | 0.0053222 | 0.0053223 | 0.0053223 | 0.9754 | -0.17194 | 0.97527 | -0.17285 | 1.9712
33 | 0.015743 | 0.0039465 | -0.015732 | -0.0039428 | 1.0497e-05 | 3.6741e-06 | 0.024026 | 0.024027 | 0.024027 | 0.97499 | -0.17486 | 0.97432 | -0.17968 | 8.8987
34 | 0.072278 | 0.018137 | -0.072246 | -0.018125 | 3.1963e-05 | 1.2084e-05 | 0.11043 | 0.11043 | 0.11043 | 0.97398 | -0.18205 | 0.97354 | -0.18524 | 20.4504
35 | 0.0035763 | 0.00089576 | -0.0035753 | -0.00089604 | 1.0466e-06 | -2.8837e-07 | 0.0054796 | 0.0054798 | 0.0054798 | 0.97114 | -0.20252 | 0.97084 | -0.20463 | 2.0296
36 | 0.013869 | 0.0034763 | -0.013865 | -0.0034752 | 3.2392e-06 | 1.1036e-06 | 0.02125 | 0.02125 | 0.02125 | 0.97114 | -0.20252 | 0.9709 | -0.2042 | 7.8705
37 | -0.052925 | -0.013281 | 0.052941 | 0.013287 | 1.5872e-05 | 6.0563e-06 | 0.080925 | 0.080925 | 0.080925 | 0.97324 | -0.1874 | 0.97354 | -0.18524 | 29.9721
38 | 0.010709 | 0.0026842 | -0.010704 | -0.0026824 | 5.9607e-06 | 1.8543e-06 | 0.016414 | 0.016414 | 0.016414 | 0.9709 | -0.2042 | 0.97034 | -0.20823 | 6.0791
39 | 0.0055269 | 0.0013848 | -0.0055259 | -0.0013847 | 1.0357e-06 | 8.1183e-08 | 0.0082545 | 0.0082546 | 0.0082546 | 0.99631 | -0.02588 | 0.99612 | -0.027234 | 3.0573
40 | 0.0010837 | 0.00027137 | -0.0010837 | -0.00027159 | 2.9295e-08 | -2.2194e-07 | 0.0016188 | 0.0016188 | 0.0016188 | 0.99612 | -0.027234 | 0.99609 | -0.02743 | 0.59957
41 | -0.051914 | -0.013056 | 0.051987 | 0.013084 | 7.3782e-05 | 2.7388e-05 | 0.078249 | 0.078249 | 0.078249 | 0.98742 | -0.087764 | 0.98886 | -0.077584 | 14.4906
42 | 0.051914 | 0.013056 | -0.051785 | -0.013008 | 0.00012911 | 4.7933e-05 | 0.078249 | 0.07825 | 0.07825 | 0.98742 | -0.087764 | 0.98488 | -0.10565 | 14.4907
43 | -0.053027 | -0.013344 | 0.053084 | 0.013366 | 5.7551e-05 | 2.1391e-05 | 0.079813 | 0.079812 | 0.079813 | 0.98886 | -0.077584 | 0.98997 | -0.069816 | 14.7801
44 | 0.050056 | 0.012575 | -0.049887 | -0.012513 | 0.00016891 | 6.2564e-05 | 0.075639 | 0.075639 | 0.075639 | 0.98488 | -0.10565 | 0.98145 | -0.12999 | 14.0073
45 | -0.022704 | -0.0056899 | 0.022722 | 0.0056966 | 1.8261e-05 | 6.7139e-06 | 0.034494 | 0.034494 | 0.034494 | 0.9794 | -0.14464 | 0.98021 | -0.13884 | 12.7756
46 | 0.019206 | 0.0048132 | -0.019202 | -0.0048119 | 3.5791e-06 | 1.2918e-06 | 0.029179 | 0.029179 | 0.029179 | 0.9794 | -0.14464 | 0.97921 | -0.14599 | 10.8072
47 | 0.011731 | 0.0029403 | -0.011724 | -0.0029382 | 6.5424e-06 | 2.0998e-06 | 0.017808 | 0.017808 | 0.017808 | 0.98021 | -0.13884 | 0.97965 | -0.14287 | 6.5955
48 | -0.046994 | -0.01178 | 0.047051 | 0.011802 | 5.7672e-05 | 2.1952e-05 | 0.07134 | 0.07134 | 0.07134 | 0.98021 | -0.13884 | 0.98145 | -0.12999 | 26.4222
49 | 0.0085775 | 0.0021493 | -0.0085611 | -0.002145 | 1.6397e-05 | 4.3647e-06 | 0.013034 | 0.013035 | 0.013035 | 0.97921 | -0.14599 | 0.97728 | -0.15982 | 4.8278
50 | 0.010625 | 0.0026626 | -0.010624 | -0.0026624 | 4.9442e-07 | 1.5193e-07 | 0.016145 | 0.016145 | 0.016145 | 0.97921 | -0.14599 | 0.97917 | -0.14632 | 5.9797
51 | 0.0075438 | 0.0018905 | -0.0075393 | -0.0018895 | 4.4412e-06 | 1.0261e-06 | 0.011458 | 0.011459 | 0.011459 | 0.97965 | -0.14287 | 0.97905 | -0.14712 | 4.2439
52 | 0.0085611 | 0.002145 | -0.008533 | -0.0021375 | 2.8067e-05 | 7.4894e-06 | 0.013035 | 0.013036 | 0.013036 | 0.97728 | -0.15982 | 0.97398 | -0.18356 | 4.8282
53 | 0.0089289 | 0.0022376 | -0.0089257 | -0.0022367 | 3.1543e-06 | 8.6797e-07 | 0.013569 | 0.013569 | 0.013569 | 0.97917 | -0.14632 | 0.97881 | -0.14888 | 5.0256
54 | 0.0075393 | 0.0018895 | -0.0075377 | -0.0018891 | 1.5921e-06 | 3.6803e-07 | 0.011459 | 0.011459 | 0.011459 | 0.97905 | -0.14712 | 0.97884 | -0.14865 | 4.244
55 | 0.0061138 | 0.0015312 | -0.0061087 | -0.0015304 | 5.1527e-06 | 8.0488e-07 | 0.0093402 | 0.0093406 | 0.0093406 | 0.97398 | -0.18356 | 0.97313 | -0.18965 | 3.4595
56 | 0.0072834 | 0.0018251 | -0.0072831 | -0.001825 | 2.4787e-07 | 5.461e-08 | 0.011072 | 0.011072 | 0.011072 | 0.97881 | -0.14888 | 0.97877 | -0.14912 | 4.1009
57 | 0.0061087 | 0.0015304 | -0.0061041 | -0.0015296 | 4.6205e-06 | 7.2358e-07 | 0.0093406 | 0.009341 | 0.009341 | 0.97313 | -0.18965 | 0.97237 | -0.19512 | 3.4596
58 | 0.0014398 | 0.00036066 | -0.0014397 | -0.00036083 | 4.5501e-08 | -1.6882e-07 | 0.0022032 | 0.0022033 | 0.0022033 | 0.97237 | -0.19512 | 0.97234 | -0.19535 | 0.81604
59 | 0.0049007 | 0.0012279 | -0.0048994 | -0.0012279 | 1.278e-06 | 2.7941e-08 | 0.0074504 | 0.0074505 | 0.0074505 | 0.97877 | -0.14912 | 0.97851 | -0.15101 | 2.7595
60 | 0.0017029 | 0.00042667 | -0.0017028 | -0.00042677 | 3.8988e-08 | -9.8129e-08 | 0.0026116 | 0.0026117 | 0.0026117 | 0.97023 | -0.20908 | 0.9702 | -0.20925 | 0.96729
61 | -0.0042395 | -0.0010624 | 0.0042396 | 0.0010624 | 1.5339e-07 | -1.2816e-08 | 0.006502 | 0.006502 | 0.006502 | 0.97023 | -0.20908 | 0.97026 | -0.20882 | 2.4081
62 | -0.0070214 | -0.0017596 | 0.007022 | 0.0017597 | 5.766e-07 | 1.2334e-07 | 0.010768 | 0.010768 | 0.010768 | 0.97026 | -0.20882 | 0.97034 | -0.20823 | 3.9882
63 | -0.054776 | -0.01379 | 0.054924 | 0.013845 | 0.00014773 | 5.5019e-05 | 0.082355 | 0.082355 | 0.082355 | 0.98997 | -0.069816 | 0.99272 | -0.050559 | 15.251
64 | -0.066669 | -0.016789 | 0.0667 | 0.0168 | 3.0701e-05 | 1.1553e-05 | 0.09996 | 0.09996 | 0.09996 | 0.99272 | -0.050559 | 0.9932 | -0.047266 | 18.5111
65 | 0.011745 | 0.0029439 | -0.011741 | -0.0029426 | 3.9351e-06 | 1.2505e-06 | 0.017605 | 0.017605 | 0.017605 | 0.99272 | -0.050559 | 0.99238 | -0.052979 | 6.5205
66 | 0.0070833 | 0.0017751 | -0.0070829 | -0.001775 | 4.3569e-07 | 8.7739e-08 | 0.010625 | 0.010625 | 0.010625 | 0.99198 | -0.055836 | 0.99191 | -0.056281 | 3.9353
67 | -0.0092747 | -0.0023243 | 0.0092764 | 0.0023247 | 1.7525e-06 | 4.8668e-07 | 0.013912 | 0.013912 | 0.013912 | 0.99198 | -0.055836 | 0.99217 | -0.054472 | 5.1528
68 | 0.0037228 | 0.00093283 | -0.0037226 | -0.00093289 | 1.9067e-07 | -5.3121e-08 | 0.0055846 | 0.0055847 | 0.0055847 | 0.99191 | -0.056281 | 0.99186 | -0.056651 | 2.0684
69 | -0.010354 | -0.0025947 | 0.010356 | 0.0025953 | 2.1387e-06 | 6.3897e-07 | 0.015528 | 0.015528 | 0.015528 | 0.99217 | -0.054472 | 0.99238 | -0.052979 | 5.7511
70 | 0.0037226 | 0.00093289 | -0.0037224 | -0.00093293 | 1.4649e-07 | -4.0802e-08 | 0.0055847 | 0.0055847 | 0.0055847 | 0.99186 | -0.056651 | 0.99182 | -0.056935 | 2.0684
71 | -0.071613 | -0.018032 | 0.071648 | 0.018045 | 3.4697e-05 | 1.3095e-05 | 0.10732 | 0.10732 | 0.10732 | 0.9932 | -0.047266 | 0.99369 | -0.0438 | 19.8743
72 | -0.072752 | -0.018321 | 0.072804 | 0.018341 | 5.1212e-05 | 1.9338e-05 | 0.10898 | 0.10898 | 0.10898 | 0.99369 | -0.0438 | 0.99441 | -0.038767 | 20.1806
73 | -0.073891 | -0.018613 | 0.073938 | 0.018631 | 4.695e-05 | 1.7738e-05 | 0.1106 | 0.1106 | 0.1106 | 0.99441 | -0.038767 | 0.99507 | -0.034227 | 20.4819
74 | 0.0056878 | 0.0014251 | -0.0056863 | -0.0014249 | 1.5047e-06 | 1.4585e-07 | 0.0085053 | 0.0085055 | 0.0085055 | 0.99507 | -0.034227 | 0.99479 | -0.036139 | 3.1502
75 | 0.0056863 | 0.0014249 | -0.0056856 | -0.0014249 | 7.1908e-07 | 6.9789e-08 | 0.0085055 | 0.0085056 | 0.0085056 | 0.99479 | -0.036139 | 0.99466 | -0.037053 | 3.1502
76 | 0.0049278 | 0.0012349 | -0.0049274 | -0.0012349 | 3.3985e-07 | 6.4244e-10 | 0.0073719 | 0.0073719 | 0.0073719 | 0.99466 | -0.037053 | 0.99459 | -0.037551 | 2.7303
77 | 0.0081796 | 0.0020499 | -0.0081765 | -0.0020492 | 3.0931e-06 | 7.5236e-07 | 0.012182 | 0.012182 | 0.012182 | 0.99914 | -0.006018 | 0.99875 | -0.0087501 | 4.5118
78 | 0.0048753 | 0.0012218 | -0.0048752 | -0.0012218 | 6.5454e-08 | -8.4315e-10 | 0.0072635 | 0.0072636 | 0.0072636 | 0.99875 | -0.0087501 | 0.99873 | -0.0088471 | 2.6902

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.24563 | 0.061963

## res_load
| p_mw | q_mvar
0 | 0.0035304 | 0.00088481
1 | 0.004748 | 0.00119
2 | 0.0056321 | 0.0014115
3 | 0.004714 | 0.0011814
4 | 0.0031089 | 0.00077916
5 | 0.0010749 | 0.0002694
6 | 0.0084527 | 0.0021184
7 | 0.023483 | 0.0058853
8 | 0.0090813 | 0.002276
9 | 0.0040266 | 0.0010092
10 | 0.0010811 | 0.00027094
11 | 0.0024969 | 0.00062579
12 | 0.0039607 | 0.00099264
13 | 0.0063978 | 0.0016034
14 | 0.0027877 | 0.00069866
15 | 0.0034884 | 0.00087427
16 | 0.015732 | 0.0039428
17 | 0.0034152 | 0.00085594
18 | 0.019305 | 0.0048384
19 | 0.0035753 | 0.00089604
20 | 0.0031559 | 0.00079095
21 | 0.0015293 | 0.00038327
22 | 0.0044422 | 0.0011133
23 | 0.0010393 | 0.00026047
24 | 0.0017283 | 0.00043315
25 | 0.0010837 | 0.00027159
26 | 0.0034981 | 0.00087672
27 | 0.012541 | 0.0031431
28 | 0.0041803 | 0.0010477
29 | 0.0028359 | 0.00071074
30 | 0.0016952 | 0.00042487
31 | 0.0024192 | 0.00060631
32 | 0.0016423 | 0.00041161
33 | 0.0075377 | 0.0018891
34 | 0.0046643 | 0.001169
35 | 0.0014397 | 0.00036083
36 | 0.0023824 | 0.00059709
37 | 0.0025366 | 0.00063573
38 | 0.0017028 | 0.00042677
39 | 0.0027818 | 0.00069718
40 | 0.0036815 | 0.00092268
41 | 0.0016917 | 0.00042399
42 | 0.0048994 | 0.0012279
43 | 0.0021913 | 0.0005492
44 | 0.0033601 | 0.00084213
45 | 0.0010772 | 0.00026997
46 | 0.0013856 | 0.00034726
47 | 0.0037224 | 0.00093293
48 | 0.0049135 | 0.0012314
49 | 0.0011045 | 0.00027681
50 | 0.0010876 | 0.00027257
51 | 0.00075781 | 0.00018993
52 | 0.0021011 | 0.00052658
53 | 0.0033012 | 0.00082736
54 | 0.0049274 | 0.0012349
55 | 0.0048752 | 0.0012218

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1