## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1367-12_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1367-12_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1367-12_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1367-12_0_4_node_60 | 0.4 | n |  | TRUE
4 | bus_LV_1367-12_0_4_node_59 | 0.4 | n |  | TRUE
5 | bus_LV_1367-12_0_4_node_61 | 0.4 | n |  | TRUE
6 | bus_LV_1367-12_0_4_node_58 | 0.4 | n |  | TRUE
7 | bus_LV_1367-12_0_4_node_39 | 0.4 | n |  | TRUE
8 | bus_LV_1367-12_0_4_node_48 | 0.4 | n |  | TRUE
9 | bus_LV_1367-12_0_4_node_3 | 0.4 | n |  | TRUE
10 | bus_LV_1367-12_0_4_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_1367-12_0_4_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_1367-12_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_1367-12_0_4_node_46 | 0.4 | n |  | TRUE
14 | bus_LV_1367-12_0_4_node_47 | 0.4 | n |  | TRUE
15 | bus_LV_1367-12_0_4_node_7 | 0.4 | n |  | TRUE
16 | bus_LV_1367-12_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_1367-12_0_4_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_1367-12_0_4_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_1367-12_0_4_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_1367-12_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_1367-12_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_1367-12_0_4_node_57 | 0.4 | n |  | TRUE
23 | bus_LV_1367-12_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_1367-12_0_4_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_1367-12_0_4_node_33 | 0.4 | n |  | TRUE
26 | bus_LV_1367-12_0_4_node_31 | 0.4 | n |  | TRUE
27 | bus_LV_1367-12_0_4_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_1367-12_0_4_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_1367-12_0_4_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_1367-12_0_4_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_1367-12_0_4_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_1367-12_0_4_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_1367-12_0_4_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_1367-12_0_4_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_1367-12_0_4_node_73 | 0.4 | n |  | TRUE
36 | bus_LV_1367-12_0_4_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_1367-12_0_4_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_1367-12_0_4_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_1367-12_0_4_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_1367-12_0_4_node_21 | 0.4 | n |  | TRUE
41 | bus_LV_1367-12_0_4_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_1367-12_0_4_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_1367-12_0_4_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_1367-12_0_4_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_1367-12_0_4_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_1367-12_0_4_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_1367-12_0_4_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_1367-12_0_4_node_34 | 0.4 | n |  | TRUE
49 | bus_LV_1367-12_0_4_node_84 | 0.4 | n |  | TRUE
50 | bus_LV_1367-12_0_4_node_85 | 0.4 | n |  | TRUE
51 | bus_LV_1367-12_0_4_node_63 | 0.4 | n |  | TRUE
52 | bus_LV_1367-12_0_4_node_62 | 0.4 | n |  | TRUE
53 | bus_LV_1367-12_0_4_node_32 | 0.4 | n |  | TRUE
54 | bus_LV_1367-12_0_4_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_1367-12_0_4_node_68 | 0.4 | n |  | TRUE
56 | bus_LV_1367-12_0_4_node_79 | 0.4 | n |  | TRUE
57 | bus_LV_1367-12_0_4_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_1367-12_0_4_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_1367-12_0_4_node_71 | 0.4 | n |  | TRUE
60 | bus_LV_1367-12_0_4_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_1367-12_0_4_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_1367-12_0_4_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_1367-12_0_4_node_42 | 0.4 | n |  | TRUE
64 | bus_LV_1367-12_0_4_node_43 | 0.4 | n |  | TRUE
65 | bus_LV_1367-12_0_4_node_72 | 0.4 | n |  | TRUE
66 | bus_LV_1367-12_0_4_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_1367-12_0_4_node_70 | 0.4 | n |  | TRUE
68 | bus_LV_1367-12_0_4_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_1367-12_0_4_node_80 | 0.4 | n |  | TRUE
70 | bus_LV_1367-12_0_4_node_51 | 0.4 | n |  | TRUE
71 | bus_LV_1367-12_0_4_node_52 | 0.4 | n |  | TRUE
72 | bus_LV_1367-12_0_4_node_53 | 0.4 | n |  | TRUE
73 | bus_LV_1367-12_0_4_node_78 | 0.4 | n |  | TRUE
74 | bus_LV_1367-12_0_4_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_1367-12_0_4_node_67 | 0.4 | n |  | TRUE
76 | bus_LV_1367-12_0_4_node_69 | 0.4 | n |  | TRUE
77 | bus_LV_1367-12_0_4_node_81 | 0.4 | n |  | TRUE
78 | bus_LV_1367-12_0_4_node_83 | 0.4 | n |  | TRUE
79 | bus_LV_1367-12_0_4_node_75 | 0.4 | n |  | TRUE
80 | bus_LV_1367-12_0_4_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_1367-12_0_4_node_77 | 0.4 | n |  | TRUE
82 | bus_MV_134_0_node_18 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1367-12_0_4_load_0 | 0 | 0.0030176 | 0.00075629 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1367-12_0_4_load_2 | 2 | 0.0017684 | 0.00044321 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1367-12_0_4_load_59 | 4 | 0.0022807 | 0.00057159 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1367-12_0_4_load_61 | 5 | 0.0040241 | 0.0010085 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1367-12_0_4_load_58 | 6 | 0.0027258 | 0.00068316 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1367-12_0_4_load_39 | 7 | 0.0025798 | 0.00064656 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1367-12_0_4_load_48 | 8 | 0.0037444 | 0.00093845 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1367-12_0_4_load_3 | 9 | 0.0030945 | 0.00077555 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1367-12_0_4_load_4 | 10 | 0.0025328 | 0.00063478 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1367-12_0_4_load_5 | 11 | 0.0057091 | 0.0014308 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1367-12_0_4_load_6 | 12 | 0.003697 | 0.00092656 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1367-12_0_4_load_46 | 13 | 0.0031436 | 0.00078785 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1367-12_0_4_load_47 | 14 | 0.0030621 | 0.00076744 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1367-12_0_4_load_7 | 15 | 0.0039794 | 0.00099733 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1367-12_0_4_load_8 | 16 | 0.0028229 | 0.00070747 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1367-12_0_4_load_10 | 18 | 0.003474 | 0.00087067 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1367-12_0_4_load_11 | 19 | 0.0020909 | 0.00052403 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1367-12_0_4_load_12 | 20 | 0.0034558 | 0.00086609 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1367-12_0_4_load_13 | 21 | 0.0021383 | 0.00053591 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1367-12_0_4_load_57 | 22 | 0.0034014 | 0.00085248 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1367-12_0_4_load_14 | 23 | 0.0028944 | 0.00072539 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1367-12_0_4_load_37 | 24 | 0.0028476 | 0.00071368 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1367-12_0_4_load_33 | 25 | 0.0046832 | 0.0011737 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1367-12_0_4_load_31 | 26 | 0.0032542 | 0.00081558 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1367-12_0_4_load_15 | 27 | 0.0031811 | 0.00079727 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1367-12_0_4_load_16 | 28 | 0.0031044 | 0.00077804 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1367-12_0_4_load_18 | 30 | 0.0026014 | 0.00065196 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1367-12_0_4_load_19 | 31 | 0.0057046 | 0.0014297 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1367-12_0_4_load_20 | 32 | 0.0036392 | 0.00091206 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1367-12_0_4_load_35 | 33 | 0.0018439 | 0.00046211 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1367-12_0_4_load_73 | 35 | 0.0031326 | 0.0007851 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1367-12_0_4_load_30 | 38 | 0.0052733 | 0.0013216 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1367-12_0_4_load_26 | 39 | 0.0026032 | 0.00065241 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1367-12_0_4_load_21 | 40 | 0.0013494 | 0.0003382 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1367-12_0_4_load_22 | 41 | 0.0043106 | 0.0010803 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1367-12_0_4_load_23 | 42 | 0.0020919 | 0.00052429 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1367-12_0_4_load_24 | 43 | 0.00199 | 0.00049874 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1367-12_0_4_load_25 | 44 | 0.0042634 | 0.0010685 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1367-12_0_4_load_44 | 45 | 0.0021684 | 0.00054346 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1367-12_0_4_load_50 | 46 | 0.005842 | 0.0014642 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1367-12_0_4_load_45 | 47 | 0.0041514 | 0.0010404 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1367-12_0_4_load_84 | 49 | 0.0038914 | 0.00097528 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1367-12_0_4_load_85 | 50 | 0.0071359 | 0.0017884 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1367-12_0_4_load_63 | 51 | 0.0030674 | 0.00076875 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1367-12_0_4_load_62 | 52 | 0.0021144 | 0.00052991 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1367-12_0_4_load_32 | 53 | 0.010042 | 0.0025168 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1367-12_0_4_load_79 | 56 | 0.0085838 | 0.0021513 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1367-12_0_4_load_38 | 57 | 0.0027591 | 0.00069151 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1367-12_0_4_load_71 | 59 | 0.0034295 | 0.00085952 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1367-12_0_4_load_55 | 60 | 0.0032982 | 0.00082662 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1367-12_0_4_load_40 | 61 | 0.0034746 | 0.00087082 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1367-12_0_4_load_42 | 63 | 0.003627 | 0.000909 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1367-12_0_4_load_43 | 64 | 0.0041888 | 0.0010498 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1367-12_0_4_load_70 | 67 | 0.0027285 | 0.00068383 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1367-12_0_4_load_66 | 68 | 0.0028073 | 0.00070359 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1367-12_0_4_load_80 | 69 | 0.0018393 | 0.00046096 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1367-12_0_4_load_51 | 70 | 0.0031918 | 0.00079994 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1367-12_0_4_load_52 | 71 | 0.0019058 | 0.00047763 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1367-12_0_4_load_53 | 72 | 0.0050959 | 0.0012772 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1367-12_0_4_load_78 | 73 | 0.0028422 | 0.00071231 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1367-12_0_4_load_65 | 74 | 0.00294 | 0.00073684 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1367-12_0_4_load_67 | 75 | 0.002546 | 0.00063808 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1367-12_0_4_load_69 | 76 | 0.0025432 | 0.00063739 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_1367-12_0_4_load_81 | 77 | 0.0010807 | 0.00027085 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_1367-12_0_4_load_83 | 78 | 0.00089742 | 0.00022492 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_1367-12_0_4_load_75 | 79 | 0.008823 | 0.0022112 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_1367-12_0_4_load_76 | 80 | 0.012973 | 0.0032513 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 15 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1367-12_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.022269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1367-12_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.0061937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1367-12_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.091571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1367-12_0_4_line_3 | NAYY 4x150 SE | 3 | 7 | 0.043461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1367-12_0_4_line_4 | NAYY 4x150 SE | 3 | 8 | 0.016633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1367-12_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.013593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1367-12_0_4_line_6 | NAYY 4x150 SE | 4 | 5 | 0.023109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1367-12_0_4_line_7 | NAYY 4x150 SE | 4 | 6 | 0.0026705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1367-12_0_4_line_8 | NAYY 4x150 SE | 5 | 73 | 5.3077e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1367-12_0_4_line_9 | NAYY 4x150 SE | 7 | 36 | 0.015056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1367-12_0_4_line_10 | NAYY 4x150 SE | 8 | 14 | 0.0063516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1367-12_0_4_line_11 | NAYY 4x150 SE | 9 | 10 | 0.0062353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1367-12_0_4_line_12 | NAYY 4x150 SE | 9 | 11 | 0.01171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1367-12_0_4_line_13 | NAYY 4x150 SE | 10 | 12 | 0.022428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1367-12_0_4_line_14 | NAYY 4x150 SE | 12 | 13 | 0.0046858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1367-12_0_4_line_15 | NAYY 4x150 SE | 13 | 14 | 0.01785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1367-12_0_4_line_16 | NAYY 4x150 SE | 15 | 16 | 0.023889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1367-12_0_4_line_17 | NAYY 4x150 SE | 15 | 17 | 0.014414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_1367-12_0_4_line_18 | NAYY 4x150 SE | 16 | 18 | 0.0076976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1367-12_0_4_line_19 | NAYY 4x150 SE | 17 | 19 | 0.0019909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_1367-12_0_4_line_20 | NAYY 4x150 SE | 17 | 20 | 0.012626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
21 | LV_1367-12_0_4_line_21 | NAYY 4x150 SE | 19 | 21 | 0.011878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
22 | LV_1367-12_0_4_line_22 | NAYY 4x150 SE | 20 | 22 | 0.015981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
23 | LV_1367-12_0_4_line_23 | NAYY 4x150 SE | 21 | 23 | 0.0026747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_1367-12_0_4_line_24 | NAYY 4x150 SE | 22 | 24 | 0.00028014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
25 | LV_1367-12_0_4_line_25 | NAYY 4x150 SE | 23 | 25 | 0.01788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1367-12_0_4_line_26 | NAYY 4x150 SE | 24 | 36 | 0.016709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_1367-12_0_4_line_27 | NAYY 4x150 SE | 25 | 26 | 0.0065268 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1367-12_0_4_line_28 | NAYY 4x150 SE | 26 | 53 | 0.023042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1367-12_0_4_line_29 | NAYY 4x150 SE | 27 | 28 | 0.02026 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1367-12_0_4_line_30 | NAYY 4x150 SE | 27 | 29 | 0.0070893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1367-12_0_4_line_31 | NAYY 4x150 SE | 28 | 30 | 0.018934 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1367-12_0_4_line_32 | NAYY 4x150 SE | 29 | 31 | 0.020343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1367-12_0_4_line_33 | NAYY 4x150 SE | 29 | 32 | 0.016145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1367-12_0_4_line_34 | NAYY 4x150 SE | 30 | 33 | 0.017771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1367-12_0_4_line_35 | NAYY 4x150 SE | 31 | 34 | 0.013509 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1367-12_0_4_line_36 | NAYY 4x150 SE | 32 | 35 | 0.023251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1367-12_0_4_line_37 | NAYY 4x150 SE | 33 | 36 | 0.010943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1367-12_0_4_line_38 | NAYY 4x150 SE | 34 | 37 | 0.02687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1367-12_0_4_line_39 | NAYY 4x150 SE | 34 | 38 | 0.020297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1367-12_0_4_line_40 | NAYY 4x150 SE | 34 | 39 | 0.015632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1367-12_0_4_line_41 | NAYY 4x150 SE | 36 | 57 | 0.032653 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1367-12_0_4_line_42 | NAYY 4x150 SE | 37 | 49 | 0.020345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1367-12_0_4_line_43 | NAYY 4x150 SE | 37 | 50 | 0.037948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1367-12_0_4_line_44 | NAYY 4x150 SE | 38 | 51 | 0.030111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1367-12_0_4_line_45 | NAYY 4x150 SE | 40 | 41 | 0.019631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1367-12_0_4_line_46 | NAYY 4x150 SE | 40 | 42 | 0.0036782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1367-12_0_4_line_47 | NAYY 4x150 SE | 41 | 43 | 0.0010868 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1367-12_0_4_line_48 | NAYY 4x150 SE | 42 | 44 | 0.0024306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1367-12_0_4_line_49 | NAYY 4x150 SE | 43 | 45 | 0.019211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1367-12_0_4_line_50 | NAYY 4x150 SE | 44 | 46 | 0.022282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1367-12_0_4_line_51 | NAYY 4x150 SE | 45 | 47 | 0.0071497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1367-12_0_4_line_52 | NAYY 4x150 SE | 46 | 48 | 0.013856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1367-12_0_4_line_53 | NAYY 4x150 SE | 47 | 65 | 0.022174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1367-12_0_4_line_54 | NAYY 4x150 SE | 48 | 54 | 0.024101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1367-12_0_4_line_55 | NAYY 4x150 SE | 48 | 53 | 0.021688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1367-12_0_4_line_56 | NAYY 4x150 SE | 51 | 52 | 0.018113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1367-12_0_4_line_57 | NAYY 4x150 SE | 54 | 55 | 0.011162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1367-12_0_4_line_58 | NAYY 4x150 SE | 54 | 56 | 0.021228 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1367-12_0_4_line_59 | NAYY 4x150 SE | 55 | 67 | 0.015272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1367-12_0_4_line_60 | NAYY 4x150 SE | 55 | 68 | 0.01295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1367-12_0_4_line_61 | NAYY 4x150 SE | 56 | 69 | 0.018888 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1367-12_0_4_line_62 | NAYY 4x150 SE | 57 | 58 | 0.013374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1367-12_0_4_line_63 | NAYY 4x150 SE | 58 | 59 | 0.013284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1367-12_0_4_line_64 | NAYY 4x150 SE | 58 | 60 | 0.016465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1367-12_0_4_line_65 | NAYY 4x150 SE | 60 | 63 | 0.00034588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1367-12_0_4_line_66 | NAYY 4x150 SE | 61 | 62 | 0.015305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_1367-12_0_4_line_67 | NAYY 4x150 SE | 62 | 63 | 0.012009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_1367-12_0_4_line_68 | NAYY 4x150 SE | 62 | 64 | 0.0039978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_1367-12_0_4_line_69 | NAYY 4x150 SE | 65 | 66 | 0.04999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_1367-12_0_4_line_70 | NAYY 4x150 SE | 66 | 71 | 0.039165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_1367-12_0_4_line_71 | NAYY 4x150 SE | 67 | 74 | 0.015494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_1367-12_0_4_line_72 | NAYY 4x150 SE | 68 | 75 | 0.030283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_1367-12_0_4_line_73 | NAYY 4x150 SE | 69 | 81 | 0.0034142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_1367-12_0_4_line_74 | NAYY 4x150 SE | 70 | 71 | 0.0091495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_1367-12_0_4_line_75 | NAYY 4x150 SE | 70 | 72 | 0.0095101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_1367-12_0_4_line_76 | NAYY 4x150 SE | 75 | 76 | 0.00089081 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_1367-12_0_4_line_77 | NAYY 4x150 SE | 76 | 77 | 0.073739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_1367-12_0_4_line_78 | NAYY 4x150 SE | 77 | 78 | 0.032821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_1367-12_0_4_line_79 | NAYY 4x150 SE | 79 | 80 | 0.02241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_1367-12_0_4_line_80 | NAYY 4x150 SE | 80 | 81 | 0.016225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1367-12_0_4_trafo_7 | 0.25 MVA 20/0.4 kV | 82 | 15 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2700767.1225 | 1203537.9118 | 2700788.5294 | 1203531.7744
1 | 2700767.1225 | 1203537.9118 | 2700761.2344 | 1203539.8336
2 | 2700743.066 | 1203449.5569 | 2700767.1225 | 1203537.9118
3 | 2700743.066 | 1203449.5569 | 2700720.7297 | 1203412.2751
4 | 2700743.066 | 1203449.5569 | 2700727.0785 | 1203454.1445
5 | 2700743.066 | 1203449.5569 | 2700756.1565 | 1203445.895
6 | 2700780.9832 | 1203438.9502 | 2700758.7283 | 1203445.1756
7 | 2700756.1565 | 1203445.895 | 2700758.7283 | 1203445.1756
8 | 2700781.0343 | 1203438.9359 | 2700780.9832 | 1203438.9502
9 | 2700712.9919 | 1203399.3599 | 2700720.7297 | 1203412.2751
10 | 2700727.0785 | 1203454.1445 | 2700720.9733 | 1203455.8964
11 | 2700677.7543 | 1203468.2982 | 2700671.7609 | 1203470.018
12 | 2700660.505 | 1203473.2479 | 2700671.7609 | 1203470.018
13 | 2700677.7543 | 1203468.2982 | 2700699.312 | 1203462.1121
14 | 2700703.8161 | 1203460.8197 | 2700699.312 | 1203462.1121
15 | 2700703.8161 | 1203460.8197 | 2700720.9733 | 1203455.8964
16 | 2700683.6425 | 1203361.8332 | 2700670.885 | 1203366.7724 | 2700669.0338 | 1203368.6869 | 2700671.4714 | 1203375.8282
17 | 2700697.0839 | 1203356.6292 | 2700683.6425 | 1203361.8332
18 | 2700673.9581 | 1203383.1131 | 2700671.4714 | 1203375.8282
19 | 2700697.0839 | 1203356.6292 | 2700696.3864 | 1203354.7645
20 | 2700697.0839 | 1203356.6292 | 2700701.4889 | 1203368.4615
21 | 2700696.3864 | 1203354.7645 | 2700692.2252 | 1203343.6397
22 | 2700707.0645 | 1203383.4383 | 2700701.4889 | 1203368.4615
23 | 2700691.2881 | 1203341.1344 | 2700692.2252 | 1203343.6397
24 | 2700707.1623 | 1203383.7008 | 2700707.0645 | 1203383.4383
25 | 2700685.0241 | 1203324.3878 | 2700691.2881 | 1203341.1344
26 | 2700712.9919 | 1203399.3599 | 2700707.1623 | 1203383.7008
27 | 2700685.0241 | 1203324.3878 | 2700682.7375 | 1203318.2746
28 | 2700674.6648 | 1203296.6927 | 2700682.7375 | 1203318.2746
29 | 2700668.6037 | 1203416.6811 | 2700649.7295 | 1203424.0461
30 | 2700643.1252 | 1203426.6233 | 2700649.7295 | 1203424.0461
31 | 2700686.2426 | 1203409.798 | 2700668.6037 | 1203416.6811
32 | 2700643.1252 | 1203426.6233 | 2700624.172 | 1203434.0144
33 | 2700643.1252 | 1203426.6233 | 2700637.6384 | 1203411.4386
34 | 2700702.7978 | 1203403.3379 | 2700686.2426 | 1203409.798
35 | 2700611.5859 | 1203438.9226 | 2700624.172 | 1203434.0144
36 | 2700637.6384 | 1203411.4386 | 2700631.0187 | 1203393.1187 | 2700629.4709 | 1203389.6791 | 2700629.4709 | 1203389.6791
37 | 2700712.9919 | 1203399.3599 | 2700702.7978 | 1203403.3379
38 | 2700611.5859 | 1203438.9226 | 2700619.3298 | 1203462.1578 | 2700618.8794 | 1203464.4962
39 | 2700611.5859 | 1203438.9226 | 2700604.4053 | 1203419.9387
40 | 2700611.5859 | 1203438.9226 | 2700596.9098 | 1203444.3044
41 | 2700712.9919 | 1203399.3599 | 2700743.4627 | 1203387.6241
42 | 2700618.8794 | 1203464.4962 | 2700624.7917 | 1203483.9646
43 | 2700618.8794 | 1203464.4962 | 2700600.9891 | 1203472.0779 | 2700600.4034 | 1203473.8692 | 2700605.9678 | 1203489.5959
44 | 2700593.7524 | 1203391.775 | 2700604.4053 | 1203419.9387
45 | 2700707.178 | 1203263.1229 | 2700725.8324 | 1203257.0084
46 | 2700703.6828 | 1203264.2685 | 2700707.178 | 1203263.1229
47 | 2700726.8651 | 1203256.6699 | 2700725.8324 | 1203257.0084
48 | 2700703.6828 | 1203264.2685 | 2700701.3732 | 1203265.0256
49 | 2700726.8651 | 1203256.6699 | 2700745.1203 | 1203250.6863
50 | 2700680.2 | 1203271.9657 | 2700701.3732 | 1203265.0256
51 | 2700745.1203 | 1203250.6863 | 2700751.9143 | 1203248.4594
52 | 2700667.0668 | 1203276.3797 | 2700673.8797 | 1203274.0373 | 2700680.2 | 1203271.9657
53 | 2700772.9851 | 1203241.5528 | 2700751.9143 | 1203248.4594
54 | 2700644.224 | 1203284.2557 | 2700650.4551 | 1203282.1148 | 2700667.0668 | 1203276.3797
55 | 2700667.0668 | 1203276.3797 | 2700674.6648 | 1203296.6927
56 | 2700587.3442 | 1203374.8331 | 2700593.7524 | 1203391.775
57 | 2700644.224 | 1203284.2557 | 2700633.6447 | 1203287.9022
58 | 2700644.224 | 1203284.2557 | 2700651.063 | 1203304.3519
59 | 2700633.6447 | 1203287.9022 | 2700619.1978 | 1203292.8539
60 | 2700633.6447 | 1203287.9022 | 2700630.4342 | 1203275.3569
61 | 2700651.063 | 1203304.3519 | 2700657.148 | 1203322.2324
62 | 2700755.9428 | 1203382.8173 | 2700743.4627 | 1203387.6241
63 | 2700755.9428 | 1203382.8173 | 2700768.3386 | 1203378.0427
64 | 2700755.9428 | 1203382.8173 | 2700749.6868 | 1203367.5876
65 | 2700749.5554 | 1203367.2676 | 2700749.6868 | 1203367.5876
66 | 2700744.9922 | 1203356.1589 | 2700759.3331 | 1203350.8135
67 | 2700744.9922 | 1203356.1589 | 2700749.5554 | 1203367.2676
68 | 2700744.9922 | 1203356.1589 | 2700741.246 | 1203357.5548
69 | 2700790.2223 | 1203288.4868 | 2700772.9851 | 1203241.5528
70 | 2700790.2223 | 1203288.4868 | 2700753.4827 | 1203302.0546
71 | 2700604.5406 | 1203297.8776 | 2700619.1978 | 1203292.8539
72 | 2700630.4342 | 1203275.3569 | 2700628.6466 | 1203268.3714 | 2700625.2293 | 1203245.5539
73 | 2700658.248 | 1203325.4646 | 2700657.148 | 1203322.2324
74 | 2700744.8998 | 1203305.2243 | 2700753.4827 | 1203302.0546
75 | 2700735.9786 | 1203308.5188 | 2700744.8998 | 1203305.2243
76 | 2700625.0974 | 1203244.6729 | 2700625.2293 | 1203245.5539
77 | 2700610.068 | 1203172.5386 | 2700610.3638 | 1203176.8232 | 2700616.0859 | 1203204.4384 | 2700624.5148 | 1203240.7829 | 2700625.0974 | 1203244.6729
78 | 2700619.9729 | 1203143.151 | 2700615.6254 | 1203146.8692 | 2700610.8992 | 1203154.5392 | 2700609.5992 | 1203165.7472 | 2700610.068 | 1203172.5386
79 | 2700621.607 | 1203337.716 | 2700642.86 | 1203330.6098
80 | 2700658.248 | 1203325.4646 | 2700642.86 | 1203330.6098

## bus_geodata
| x | y | coords
0 | 2700788.5294 | 1203531.7744
1 | 2700767.1225 | 1203537.9118
2 | 2700761.2344 | 1203539.8336
3 | 2700743.066 | 1203449.5569
4 | 2700758.7283 | 1203445.1756
5 | 2700780.9832 | 1203438.9502
6 | 2700756.1565 | 1203445.895
7 | 2700720.7297 | 1203412.2751
8 | 2700727.0785 | 1203454.1445
9 | 2700671.7609 | 1203470.018
10 | 2700677.7543 | 1203468.2982
11 | 2700660.505 | 1203473.2479
12 | 2700699.312 | 1203462.1121
13 | 2700703.8161 | 1203460.8197
14 | 2700720.9733 | 1203455.8964
15 | 2700683.6425 | 1203361.8332
16 | 2700671.4714 | 1203375.8282
17 | 2700697.0839 | 1203356.6292
18 | 2700673.9581 | 1203383.1131
19 | 2700696.3864 | 1203354.7645
20 | 2700701.4889 | 1203368.4615
21 | 2700692.2252 | 1203343.6397
22 | 2700707.0645 | 1203383.4383
23 | 2700691.2881 | 1203341.1344
24 | 2700707.1623 | 1203383.7009
25 | 2700685.0241 | 1203324.3878
26 | 2700682.7375 | 1203318.2746
27 | 2700649.7295 | 1203424.0461
28 | 2700668.6037 | 1203416.6811
29 | 2700643.1252 | 1203426.6233
30 | 2700686.2426 | 1203409.798
31 | 2700624.172 | 1203434.0144
32 | 2700637.6384 | 1203411.4386
33 | 2700702.7978 | 1203403.3379
34 | 2700611.5859 | 1203438.9226
35 | 2700629.4709 | 1203389.6791
36 | 2700712.9919 | 1203399.3599
37 | 2700618.8794 | 1203464.4962
38 | 2700604.4053 | 1203419.9387
39 | 2700596.9098 | 1203444.3044
40 | 2700707.178 | 1203263.1229
41 | 2700725.8324 | 1203257.0084
42 | 2700703.6828 | 1203264.2685
43 | 2700726.8651 | 1203256.6699
44 | 2700701.3732 | 1203265.0256
45 | 2700745.1203 | 1203250.6863
46 | 2700680.2 | 1203271.9657
47 | 2700751.9143 | 1203248.4594
48 | 2700667.0668 | 1203276.3797
49 | 2700624.7917 | 1203483.9646
50 | 2700605.9678 | 1203489.5959
51 | 2700593.7524 | 1203391.775
52 | 2700587.3442 | 1203374.8331
53 | 2700674.6648 | 1203296.6927
54 | 2700644.224 | 1203284.2557
55 | 2700633.6447 | 1203287.9022
56 | 2700651.063 | 1203304.3519
57 | 2700743.4627 | 1203387.6241
58 | 2700755.9428 | 1203382.8173
59 | 2700768.3386 | 1203378.0427
60 | 2700749.6868 | 1203367.5876
61 | 2700759.3331 | 1203350.8135
62 | 2700744.9922 | 1203356.1589
63 | 2700749.5554 | 1203367.2676
64 | 2700741.246 | 1203357.5548
65 | 2700772.9851 | 1203241.5528
66 | 2700790.2223 | 1203288.4868
67 | 2700619.1978 | 1203292.8539
68 | 2700630.4342 | 1203275.3569
69 | 2700657.148 | 1203322.2324
70 | 2700744.8998 | 1203305.2243
71 | 2700753.4827 | 1203302.0546
72 | 2700735.9786 | 1203308.5188
73 | 2700781.0343 | 1203438.9359
74 | 2700604.5406 | 1203297.8776
75 | 2700625.2293 | 1203245.5539
76 | 2700625.0974 | 1203244.6729
77 | 2700610.068 | 1203172.5386
78 | 2700619.9729 | 1203143.151
79 | 2700621.607 | 1203337.716
80 | 2700642.86 | 1203330.6098
81 | 2700658.248 | 1203325.4646
82 | 2700697.0839 | 1203356.6292

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9911 | -0.062333 | 0.0030176 | 0.00075629
1 | 0.9912 | -0.06165 | 0 | 0
2 | 0.99118 | -0.061762 | 0.0017684 | 0.00044321
3 | 0.99183 | -0.057195 | 0 | 0
4 | 0.99156 | -0.059081 | 0.0022807 | 0.00057159
5 | 0.99133 | -0.060692 | 0.0040241 | 0.0010085
6 | 0.9916 | -0.058833 | 0.0027258 | 0.00068316
7 | 0.99443 | -0.03887 | 0.0025798 | 0.00064656
8 | 0.99123 | -0.061414 | 0.0037444 | 0.00093845
9 | 0.99002 | -0.069949 | 0.0030945 | 0.00077555
10 | 0.9901 | -0.06939 | 0.0025328 | 0.00063478
11 | 0.98993 | -0.070629 | 0.0057091 | 0.0014308
12 | 0.99047 | -0.066801 | 0.003697 | 0.00092656
13 | 0.99057 | -0.066085 | 0.0031436 | 0.00078785
14 | 0.99104 | -0.062785 | 0.0030621 | 0.00076744
15 | 1 | 0 | -0.2407 | -0.060425
16 | 0.99979 | -0.0015021 | 0.0028229 | 0.00070747
17 | 0.9984 | -0.011112 | 0 | 0
18 | 0.99975 | -0.0017691 | 0.003474 | 0.00087067
19 | 0.99829 | -0.011838 | 0.0020909 | 0.00052403
20 | 0.99766 | -0.01626 | 0.0034558 | 0.00086609
21 | 0.99768 | -0.016091 | 0.0021383 | 0.00053591
22 | 0.99675 | -0.022601 | 0.0034014 | 0.00085248
23 | 0.99748 | -0.0175 | 0.0028944 | 0.00072539
24 | 0.99674 | -0.02271 | 0.0028476 | 0.00071368
25 | 0.99484 | -0.03587 | 0.0046832 | 0.0011737
26 | 0.99392 | -0.042292 | 0.0032542 | 0.00081558
27 | 0.99115 | -0.061929 | 0.0031811 | 0.00079727
28 | 0.99231 | -0.053754 | 0.0031044 | 0.00077804
29 | 0.99078 | -0.064565 | 0 | 0
30 | 0.99348 | -0.045535 | 0.0026014 | 0.00065196
31 | 0.98991 | -0.070736 | 0.0057046 | 0.0014297
32 | 0.99062 | -0.065678 | 0.0036392 | 0.00091206
33 | 0.99464 | -0.037373 | 0.0018439 | 0.00046211
34 | 0.98944 | -0.074054 | 0 | 0
35 | 0.99052 | -0.066419 | 0.0031326 | 0.0007851
36 | 0.99539 | -0.032153 | 0 | 0
37 | 0.98901 | -0.077078 | 0 | 0
38 | 0.98913 | -0.076219 | 0.0052733 | 0.0013216
39 | 0.98938 | -0.074469 | 0.0026032 | 0.00065241
40 | 0.98621 | -0.096599 | 0.0013494 | 0.0003382
41 | 0.98556 | -0.1012 | 0.0043106 | 0.0010803
42 | 0.98634 | -0.095686 | 0.0020919 | 0.00052429
43 | 0.98553 | -0.10141 | 0.00199 | 0.00049874
44 | 0.98643 | -0.095031 | 0.0042634 | 0.0010685
45 | 0.98507 | -0.10467 | 0.0021684 | 0.00054346
46 | 0.98742 | -0.088059 | 0.005842 | 0.0014642
47 | 0.98492 | -0.10573 | 0.0041514 | 0.0010404
48 | 0.98814 | -0.082903 | 0 | 0
49 | 0.9889 | -0.077886 | 0.0038914 | 0.00097528
50 | 0.98862 | -0.079843 | 0.0071359 | 0.0017884
51 | 0.98891 | -0.077812 | 0.0030674 | 0.00076875
52 | 0.98885 | -0.078203 | 0.0021144 | 0.00052991
53 | 0.99078 | -0.064294 | 0.010042 | 0.0025168
54 | 0.98648 | -0.094696 | 0 | 0
55 | 0.98623 | -0.096477 | 0 | 0
56 | 0.98549 | -0.10172 | 0.0085838 | 0.0021513
57 | 0.99442 | -0.038996 | 0.0027591 | 0.00069151
58 | 0.99407 | -0.04143 | 0 | 0
59 | 0.99401 | -0.04189 | 0.0034295 | 0.00085952
60 | 0.99373 | -0.043857 | 0.0032982 | 0.00082662
61 | 0.99351 | -0.045365 | 0.0034746 | 0.00087082
62 | 0.99359 | -0.044827 | 0 | 0
63 | 0.99372 | -0.043897 | 0.003627 | 0.000909
64 | 0.99356 | -0.044997 | 0.0041888 | 0.0010498
65 | 0.9846 | -0.10806 | 0 | 0
66 | 0.98386 | -0.11331 | 0 | 0
67 | 0.9861 | -0.097366 | 0.0027285 | 0.00068383
68 | 0.98604 | -0.097792 | 0.0028073 | 0.00070359
69 | 0.98484 | -0.10631 | 0.0018393 | 0.00046096
70 | 0.98317 | -0.11821 | 0.0031918 | 0.00079994
71 | 0.98328 | -0.11743 | 0.0019058 | 0.00047763
72 | 0.9831 | -0.11871 | 0.0050959 | 0.0012772
73 | 0.99133 | -0.060694 | 0.0028422 | 0.00071231
74 | 0.98604 | -0.097834 | 0.00294 | 0.00073684
75 | 0.98573 | -0.099993 | 0.002546 | 0.00063808
76 | 0.98573 | -0.10003 | 0.0025432 | 0.00063739
77 | 0.98552 | -0.10154 | 0.0010807 | 0.00027085
78 | 0.98547 | -0.10184 | 0.00089742 | 0.00022492
79 | 0.98394 | -0.11276 | 0.008823 | 0.0022112
80 | 0.98422 | -0.11072 | 0.012973 | 0.0032513
81 | 0.98473 | -0.10708 | 0 | 0
82 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0030176 | -0.00075629 | 0.0030179 | 0.00075611 | 2.8523e-07 | -1.7731e-07 | 0.0045306 | 0.0045305 | 0.0045306 | 0.9911 | -0.062333 | 0.9912 | -0.06165 | 1.678
1 | 0.0017684 | 0.00044314 | -0.0017684 | -0.00044321 | 2.724e-08 | -6.9355e-08 | 0.0026548 | 0.0026548 | 0.0026548 | 0.9912 | -0.06165 | 0.99118 | -0.061762 | 0.98328
2 | -0.0047863 | -0.0011992 | 0.0047893 | 0.0011992 | 2.9499e-06 | -4.6468e-08 | 0.0071853 | 0.0071849 | 0.0071853 | 0.9912 | -0.06165 | 0.99183 | -0.057195 | 2.6612
3 | -0.041684 | -0.010449 | 0.04179 | 0.01049 | 0.00010606 | 4.0232e-05 | 0.062538 | 0.062538 | 0.062538 | 0.99183 | -0.057195 | 0.99443 | -0.03887 | 23.1623
4 | 0.025017 | 0.0062733 | -0.025003 | -0.0062679 | 1.4622e-05 | 5.4092e-06 | 0.037534 | 0.037534 | 0.037534 | 0.99183 | -0.057195 | 0.99123 | -0.061414 | 13.9015
5 | 0.011877 | 0.0029768 | -0.011875 | -0.002976 | 2.6933e-06 | 8.6048e-07 | 0.017819 | 0.017819 | 0.017819 | 0.99183 | -0.057195 | 0.9916 | -0.058833 | 6.5997
6 | 0.0068677 | 0.0017211 | -0.0068662 | -0.0017208 | 1.5317e-06 | 2.9111e-07 | 0.010306 | 0.010306 | 0.010306 | 0.99156 | -0.059081 | 0.99133 | -0.060692 | 3.8172
7 | -0.0091484 | -0.0022927 | 0.0091487 | 0.0022928 | 3.1408e-07 | 8.6352e-08 | 0.013729 | 0.013729 | 0.013729 | 0.99156 | -0.059081 | 0.9916 | -0.058833 | 5.0847
8 | 0.0028422 | 0.00071231 | -0.0028422 | -0.00071231 | 6.0206e-10 | -4.5339e-10 | 0.0042661 | 0.0042661 | 0.0042661 | 0.99133 | -0.060692 | 0.99133 | -0.060694 | 1.5801
9 | -0.04437 | -0.011136 | 0.044411 | 0.011152 | 4.1419e-05 | 1.5735e-05 | 0.066398 | 0.066398 | 0.066398 | 0.99443 | -0.03887 | 0.99539 | -0.032153 | 24.5919
10 | 0.021258 | 0.0053295 | -0.021254 | -0.005328 | 4.0365e-06 | 1.4706e-06 | 0.031913 | 0.031913 | 0.031913 | 0.99123 | -0.061414 | 0.99104 | -0.062785 | 11.8197
11 | -0.0088041 | -0.0022064 | 0.0088048 | 0.0022066 | 6.8129e-07 | 1.8185e-07 | 0.013233 | 0.013233 | 0.013233 | 0.99002 | -0.069949 | 0.9901 | -0.06939 | 4.901
12 | 0.0057096 | 0.0014309 | -0.0057091 | -0.0014308 | 5.3813e-07 | 5.6411e-08 | 0.0085816 | 0.0085817 | 0.0085817 | 0.99002 | -0.069949 | 0.98993 | -0.070629 | 3.1784
13 | -0.011338 | -0.0028414 | 0.011342 | 0.0028427 | 4.0632e-06 | 1.2742e-06 | 0.017039 | 0.017039 | 0.017039 | 0.9901 | -0.06939 | 0.99047 | -0.066801 | 6.3108
14 | -0.015039 | -0.0037692 | 0.01504 | 0.0037698 | 1.4925e-06 | 5.1374e-07 | 0.022593 | 0.022593 | 0.022593 | 0.99047 | -0.066801 | 0.99057 | -0.066085 | 8.3679
15 | -0.018184 | -0.0045576 | 0.018192 | 0.0045606 | 8.3105e-06 | 2.9665e-06 | 0.027315 | 0.027315 | 0.027315 | 0.99057 | -0.066085 | 0.99104 | -0.062785 | 10.1168
16 | 0.0062983 | 0.0015783 | -0.006297 | -0.0015781 | 1.3093e-06 | 1.9025e-07 | 0.0093719 | 0.009372 | 0.009372 | 1 | 0 | 0.99979 | -0.0015021 | 3.4711
17 | 0.23361 | 0.058847 | -0.23324 | -0.058708 | 0.00036248 | 0.00013885 | 0.34771 | 0.34771 | 0.34771 | 1 | 0 | 0.9984 | -0.011112 | 42.9277
18 | 0.0034742 | 0.00087062 | -0.003474 | -0.00087067 | 1.2842e-07 | -5.1547e-08 | 0.0051707 | 0.0051707 | 0.0051707 | 0.99979 | -0.0015021 | 0.99975 | -0.0017691 | 1.9151
19 | 0.11044 | 0.027832 | -0.11043 | -0.027828 | 1.1226e-05 | 4.2397e-06 | 0.16465 | 0.16465 | 0.16465 | 0.9984 | -0.011112 | 0.99829 | -0.011838 | 20.3272
20 | 0.12281 | 0.030875 | -0.12272 | -0.030842 | 8.8007e-05 | 3.3354e-05 | 0.18306 | 0.18306 | 0.18306 | 0.9984 | -0.011112 | 0.99766 | -0.01626 | 22.6005
21 | 0.10834 | 0.027304 | -0.10827 | -0.02728 | 6.4464e-05 | 2.4328e-05 | 0.16153 | 0.16153 | 0.16153 | 0.99829 | -0.011838 | 0.99768 | -0.016091 | 19.9425
22 | 0.11926 | 0.029976 | -0.11916 | -0.029936 | 0.00010521 | 3.9841e-05 | 0.17791 | 0.17791 | 0.17791 | 0.99766 | -0.01626 | 0.99675 | -0.022601 | 21.9642
23 | 0.10613 | 0.026744 | -0.10611 | -0.026736 | 2.0924e-05 | 7.9778e-06 | 0.15834 | 0.15834 | 0.15834 | 0.99768 | -0.016091 | 0.99748 | -0.0175 | 29.3231
24 | 0.11576 | 0.029084 | -0.11575 | -0.029083 | 1.7406e-06 | 6.585e-07 | 0.17283 | 0.17283 | 0.17283 | 0.99675 | -0.022601 | 0.99674 | -0.02271 | 21.3373
25 | 0.10322 | 0.026011 | -0.10295 | -0.025909 | 0.00026469 | 0.00010157 | 0.15403 | 0.15403 | 0.15403 | 0.99748 | -0.0175 | 0.99484 | -0.03587 | 57.0471
26 | 0.11291 | 0.028369 | -0.11276 | -0.028313 | 0.00014816 | 5.6548e-05 | 0.16858 | 0.16858 | 0.16858 | 0.99674 | -0.02271 | 0.99539 | -0.032153 | 31.2187
27 | 0.098269 | 0.024735 | -0.098181 | -0.024702 | 8.8035e-05 | 3.3775e-05 | 0.14702 | 0.14702 | 0.14702 | 0.99484 | -0.03587 | 0.99392 | -0.042292 | 54.4527
28 | 0.094927 | 0.023886 | -0.094636 | -0.023774 | 0.00029054 | 0.00011145 | 0.14215 | 0.14215 | 0.14215 | 0.99392 | -0.042292 | 0.99078 | -0.064294 | 52.6483
29 | -0.039807 | -0.0099818 | 0.039852 | 0.0099989 | 4.5155e-05 | 1.7106e-05 | 0.059764 | 0.059763 | 0.059764 | 0.99115 | -0.061929 | 0.99231 | -0.053754 | 22.1347
30 | 0.036626 | 0.0091845 | -0.036612 | -0.0091795 | 1.3376e-05 | 5.0532e-06 | 0.054988 | 0.054988 | 0.054988 | 0.99115 | -0.061929 | 0.99078 | -0.064565 | 20.3658
31 | -0.042956 | -0.010777 | 0.043005 | 0.010796 | 4.903e-05 | 1.8613e-05 | 0.064419 | 0.064419 | 0.064419 | 0.99231 | -0.053754 | 0.99348 | -0.045535 | 23.8588
32 | 0.029839 | 0.0074823 | -0.029814 | -0.0074728 | 2.5496e-05 | 9.5443e-06 | 0.044816 | 0.044816 | 0.044816 | 0.99078 | -0.064565 | 0.98991 | -0.070736 | 16.5984
33 | 0.0067731 | 0.0016972 | -0.0067721 | -0.001697 | 1.0425e-06 | 1.9306e-07 | 0.010172 | 0.010172 | 0.010172 | 0.99078 | -0.064565 | 0.99062 | -0.065678 | 3.7675
34 | -0.045607 | -0.011448 | 0.045658 | 0.011467 | 5.1752e-05 | 1.9674e-05 | 0.068315 | 0.068315 | 0.068315 | 0.99348 | -0.045535 | 0.99464 | -0.037373 | 25.3018
35 | 0.024109 | 0.006043 | -0.024098 | -0.006039 | 1.1071e-05 | 4.0847e-06 | 0.036241 | 0.036241 | 0.036241 | 0.98991 | -0.070736 | 0.98944 | -0.074054 | 13.4224
36 | 0.0031329 | 0.00078492 | -0.0031326 | -0.0007851 | 3.213e-07 | -1.7573e-07 | 0.0047059 | 0.004706 | 0.004706 | 0.99062 | -0.065678 | 0.99052 | -0.066419 | 1.743
37 | -0.047502 | -0.011929 | 0.047537 | 0.011942 | 3.4492e-05 | 1.3124e-05 | 0.071073 | 0.071073 | 0.071073 | 0.99464 | -0.037373 | 0.99539 | -0.032153 | 26.3234
38 | 0.011035 | 0.0027656 | -0.011031 | -0.0027642 | 4.6179e-06 | 1.4312e-06 | 0.016596 | 0.016596 | 0.016596 | 0.98944 | -0.074054 | 0.98901 | -0.077078 | 6.1466
39 | 0.010459 | 0.0026211 | -0.010456 | -0.0026201 | 3.1337e-06 | 9.4466e-07 | 0.01573 | 0.01573 | 0.01573 | 0.98944 | -0.074054 | 0.98913 | -0.076219 | 5.8259
40 | 0.0026033 | 0.00065227 | -0.0026032 | -0.00065241 | 1.4951e-07 | -1.4325e-07 | 0.0039151 | 0.0039151 | 0.0039151 | 0.98944 | -0.074054 | 0.98938 | -0.074469 | 1.45
41 | 0.02081 | 0.0052183 | -0.02079 | -0.0052112 | 1.9719e-05 | 7.1604e-06 | 0.03111 | 0.03111 | 0.03111 | 0.99539 | -0.032153 | 0.99442 | -0.038996 | 11.5221
42 | 0.0038919 | 0.00097519 | -0.0038914 | -0.00097528 | 4.3528e-07 | -9.3633e-08 | 0.0058554 | 0.0058555 | 0.0058555 | 0.98901 | -0.077078 | 0.9889 | -0.077886 | 2.1687
43 | 0.0071387 | 0.001789 | -0.0071359 | -0.0017884 | 2.7316e-06 | 5.6385e-07 | 0.01074 | 0.010741 | 0.010741 | 0.98901 | -0.077078 | 0.98862 | -0.079843 | 3.978
44 | 0.005183 | 0.0012985 | -0.0051819 | -0.0012985 | 1.1423e-06 | 5.2927e-08 | 0.007797 | 0.0077971 | 0.0077971 | 0.98913 | -0.076219 | 0.98891 | -0.077812 | 2.8878
45 | 0.022856 | 0.0057318 | -0.022842 | -0.0057264 | 1.457e-05 | 5.3533e-06 | 0.034487 | 0.034487 | 0.034487 | 0.98621 | -0.096599 | 0.98556 | -0.1012 | 12.7731
46 | -0.024206 | -0.00607 | 0.024209 | 0.0060711 | 3.0617e-06 | 1.1306e-06 | 0.036523 | 0.036523 | 0.036523 | 0.98621 | -0.096599 | 0.98634 | -0.095686 | 13.5272
47 | 0.018531 | 0.0046461 | -0.018531 | -0.0046459 | 5.309e-07 | 1.9034e-07 | 0.027979 | 0.027979 | 0.027979 | 0.98556 | -0.1012 | 0.98553 | -0.10141 | 10.3627
48 | -0.026301 | -0.0065954 | 0.026303 | 0.0065963 | 2.3879e-06 | 8.8741e-07 | 0.039679 | 0.039679 | 0.039679 | 0.98634 | -0.095686 | 0.98643 | -0.095031 | 14.696
49 | 0.016541 | 0.0041472 | -0.016533 | -0.0041445 | 7.477e-06 | 2.6311e-06 | 0.024975 | 0.024975 | 0.024975 | 0.98553 | -0.10141 | 0.98507 | -0.10467 | 9.2499
50 | -0.030567 | -0.0076648 | 0.030596 | 0.0076759 | 2.9562e-05 | 1.1085e-05 | 0.046111 | 0.046111 | 0.046111 | 0.98643 | -0.095031 | 0.98742 | -0.088059 | 17.078
51 | 0.014365 | 0.0036011 | -0.014363 | -0.0036004 | 2.1007e-06 | 7.1695e-07 | 0.021699 | 0.021699 | 0.021699 | 0.98507 | -0.10467 | 0.98492 | -0.10573 | 8.0368
52 | -0.036438 | -0.00914 | 0.036464 | 0.0091499 | 2.6072e-05 | 9.8505e-06 | 0.054914 | 0.054914 | 0.054914 | 0.98742 | -0.088059 | 0.98814 | -0.082903 | 20.3386
53 | 0.010211 | 0.0025599 | -0.010208 | -0.0025589 | 3.2932e-06 | 9.8449e-07 | 0.015427 | 0.015427 | 0.015427 | 0.98492 | -0.10573 | 0.9846 | -0.10806 | 5.7139
54 | 0.047912 | 0.012024 | -0.047833 | -0.011994 | 7.8298e-05 | 2.9806e-05 | 0.072155 | 0.072155 | 0.072155 | 0.98814 | -0.082903 | 0.98648 | -0.094696 | 26.724
55 | -0.084376 | -0.021174 | 0.084594 | 0.021258 | 0.00021851 | 8.3764e-05 | 0.12707 | 0.12707 | 0.12707 | 0.98814 | -0.082903 | 0.99078 | -0.064294 | 47.0626
56 | 0.0021145 | 0.00052973 | -0.0021144 | -0.00052991 | 1.1442e-07 | -1.8837e-07 | 0.0031816 | 0.0031817 | 0.0031817 | 0.98891 | -0.077812 | 0.98885 | -0.078203 | 1.1784
57 | 0.015552 | 0.0038966 | -0.015549 | -0.0038952 | 3.833e-06 | 1.3318e-06 | 0.023459 | 0.023459 | 0.023459 | 0.98648 | -0.094696 | 0.98623 | -0.096477 | 8.6885
58 | 0.032281 | 0.0080977 | -0.03225 | -0.0080859 | 3.1411e-05 | 1.181e-05 | 0.048696 | 0.048696 | 0.048696 | 0.98648 | -0.094696 | 0.98549 | -0.10172 | 18.0355
59 | 0.0056694 | 0.0014206 | -0.0056687 | -0.0014205 | 6.9729e-07 | 7.3337e-08 | 0.0085539 | 0.008554 | 0.008554 | 0.98623 | -0.096477 | 0.9861 | -0.097366 | 3.1681
60 | 0.0098791 | 0.0024746 | -0.0098773 | -0.0024741 | 1.7952e-06 | 5.2524e-07 | 0.014905 | 0.014905 | 0.014905 | 0.98623 | -0.096477 | 0.98604 | -0.097792 | 5.5204
61 | 0.023666 | 0.0059346 | -0.023651 | -0.005929 | 1.505e-05 | 5.5481e-06 | 0.035735 | 0.035735 | 0.035735 | 0.98549 | -0.10172 | 0.98484 | -0.10631 | 13.2352
62 | 0.018031 | 0.0045197 | -0.018025 | -0.0045175 | 6.0751e-06 | 2.1632e-06 | 0.026981 | 0.026981 | 0.026981 | 0.99442 | -0.038996 | 0.99407 | -0.04143 | 9.993
63 | 0.0034297 | 0.00085943 | -0.0034295 | -0.00085952 | 2.1847e-07 | -8.8171e-08 | 0.0051339 | 0.0051339 | 0.0051339 | 0.99407 | -0.04143 | 0.99401 | -0.04189 | 1.9015
64 | 0.014595 | 0.0036581 | -0.01459 | -0.0036564 | 4.9038e-06 | 1.6727e-06 | 0.021847 | 0.021847 | 0.021847 | 0.99407 | -0.04143 | 0.99373 | -0.043857 | 8.0916
65 | 0.011292 | 0.0028298 | -0.011292 | -0.0028298 | 6.1704e-08 | 1.9251e-08 | 0.016908 | 0.016908 | 0.016908 | 0.99373 | -0.043857 | 0.99372 | -0.043897 | 6.2624
66 | -0.0034746 | -0.00087082 | 0.0034749 | 0.00087072 | 2.5863e-07 | -9.8731e-08 | 0.005204 | 0.005204 | 0.005204 | 0.99351 | -0.045365 | 0.99359 | -0.044827 | 1.9274
67 | -0.0076638 | -0.0019205 | 0.0076648 | 0.0019208 | 9.8717e-07 | 2.2412e-07 | 0.011477 | 0.011477 | 0.011477 | 0.99359 | -0.044827 | 0.99372 | -0.043897 | 4.2509
68 | 0.0041889 | 0.0010498 | -0.0041888 | -0.0010498 | 9.8179e-08 | -1.4016e-08 | 0.0062734 | 0.0062734 | 0.0062734 | 0.99359 | -0.044827 | 0.99356 | -0.044997 | 2.3235
69 | 0.010208 | 0.0025589 | -0.010201 | -0.0025567 | 7.4244e-06 | 2.2202e-06 | 0.015427 | 0.015428 | 0.015428 | 0.9846 | -0.10806 | 0.98386 | -0.11331 | 5.714
70 | 0.010201 | 0.0025567 | -0.010195 | -0.002555 | 5.8168e-06 | 1.7402e-06 | 0.015428 | 0.015428 | 0.015428 | 0.98386 | -0.11331 | 0.98328 | -0.11743 | 5.714
71 | 0.0029402 | 0.00073672 | -0.00294 | -0.00073684 | 1.9032e-07 | -1.2445e-07 | 0.0044367 | 0.0044368 | 0.0044368 | 0.9861 | -0.097366 | 0.98604 | -0.097834 | 1.6432
72 | 0.0070699 | 0.0017705 | -0.0070678 | -0.00177 | 2.1508e-06 | 4.4107e-07 | 0.010669 | 0.010669 | 0.010669 | 0.98604 | -0.097792 | 0.98573 | -0.099993 | 3.9514
73 | 0.021812 | 0.0054681 | -0.021809 | -0.0054672 | 2.3139e-06 | 8.4653e-07 | 0.032956 | 0.032956 | 0.032956 | 0.98484 | -0.10631 | 0.98473 | -0.10708 | 12.206
74 | -0.008288 | -0.0020771 | 0.0082889 | 0.0020773 | 8.9834e-07 | 2.2947e-07 | 0.012544 | 0.012544 | 0.012544 | 0.98317 | -0.11821 | 0.98328 | -0.11743 | 4.6459
75 | 0.0050962 | 0.0012772 | -0.0050959 | -0.0012772 | 3.5304e-07 | 1.5193e-08 | 0.0077131 | 0.0077131 | 0.0077131 | 0.98317 | -0.11821 | 0.9831 | -0.11871 | 2.8567
76 | 0.0045218 | 0.001132 | -0.0045218 | -0.001132 | 2.5896e-08 | -1.3956e-09 | 0.0068255 | 0.0068255 | 0.0068255 | 0.98573 | -0.099993 | 0.98573 | -0.10003 | 2.5279
77 | 0.0019786 | 0.00049458 | -0.0019781 | -0.00049536 | 4.1039e-07 | -7.8194e-07 | 0.0029863 | 0.0029866 | 0.0029866 | 0.98573 | -0.10003 | 0.98552 | -0.10154 | 1.1062
78 | 0.00089746 | 0.00022451 | -0.00089742 | -0.00022492 | 3.7601e-08 | -4.0372e-07 | 0.0013549 | 0.0013551 | 0.0013551 | 0.98552 | -0.10154 | 0.98547 | -0.10184 | 0.50188
79 | -0.008823 | -0.0022112 | 0.0088255 | 0.0022119 | 2.4896e-06 | 6.7282e-07 | 0.013343 | 0.013343 | 0.013343 | 0.98394 | -0.11276 | 0.98422 | -0.11072 | 4.9419
80 | -0.021798 | -0.0054632 | 0.021809 | 0.0054672 | 1.0996e-05 | 4.0231e-06 | 0.032956 | 0.032956 | 0.032956 | 0.98422 | -0.11072 | 0.98473 | -0.10708 | 12.206

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.24468 | 0.061422

## res_load
| p_mw | q_mvar
0 | 0.0030176 | 0.00075629
1 | 0.0017684 | 0.00044321
2 | 0.0022807 | 0.00057159
3 | 0.0040241 | 0.0010085
4 | 0.0027258 | 0.00068316
5 | 0.0025798 | 0.00064656
6 | 0.0037444 | 0.00093845
7 | 0.0030945 | 0.00077555
8 | 0.0025328 | 0.00063478
9 | 0.0057091 | 0.0014308
10 | 0.003697 | 0.00092656
11 | 0.0031436 | 0.00078785
12 | 0.0030621 | 0.00076744
13 | 0.0039794 | 0.00099733
14 | 0.0028229 | 0.00070747
15 | 0.003474 | 0.00087067
16 | 0.0020909 | 0.00052403
17 | 0.0034558 | 0.00086609
18 | 0.0021383 | 0.00053591
19 | 0.0034014 | 0.00085248
20 | 0.0028944 | 0.00072539
21 | 0.0028476 | 0.00071368
22 | 0.0046832 | 0.0011737
23 | 0.0032542 | 0.00081558
24 | 0.0031811 | 0.00079727
25 | 0.0031044 | 0.00077804
26 | 0.0026014 | 0.00065196
27 | 0.0057046 | 0.0014297
28 | 0.0036392 | 0.00091206
29 | 0.0018439 | 0.00046211
30 | 0.0031326 | 0.0007851
31 | 0.0052733 | 0.0013216
32 | 0.0026032 | 0.00065241
33 | 0.0013494 | 0.0003382
34 | 0.0043106 | 0.0010803
35 | 0.0020919 | 0.00052429
36 | 0.00199 | 0.00049874
37 | 0.0042634 | 0.0010685
38 | 0.0021684 | 0.00054346
39 | 0.005842 | 0.0014642
40 | 0.0041514 | 0.0010404
41 | 0.0038914 | 0.00097528
42 | 0.0071359 | 0.0017884
43 | 0.0030674 | 0.00076875
44 | 0.0021144 | 0.00052991
45 | 0.010042 | 0.0025168
46 | 0.0085838 | 0.0021513
47 | 0.0027591 | 0.00069151
48 | 0.0034295 | 0.00085952
49 | 0.0032982 | 0.00082662
50 | 0.0034746 | 0.00087082
51 | 0.003627 | 0.000909
52 | 0.0041888 | 0.0010498
53 | 0.0027285 | 0.00068383
54 | 0.0028073 | 0.00070359
55 | 0.0018393 | 0.00046096
56 | 0.0031918 | 0.00079994
57 | 0.0019058 | 0.00047763
58 | 0.0050959 | 0.0012772
59 | 0.0028422 | 0.00071231
60 | 0.00294 | 0.00073684
61 | 0.002546 | 0.00063808
62 | 0.0025432 | 0.00063739
63 | 0.0010807 | 0.00027085
64 | 0.00089742 | 0.00022492
65 | 0.008823 | 0.0022112
66 | 0.012973 | 0.0032513

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1